448

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

In the Matter of:

3

PETITION TO DETERMINE NEED FOR WEST     DOCKET NO. 080203-EI

4   COUNTY ENERGY CENTER UNIT 3 ELECTRICAL

POWER PLANT, BY FLORIDA POWER & LIGHT

5   COMPANY.

---------------------------------------

6   PETITION FOR DETERMINATION OF NEED FOR  DOCKET NO. 080245-EI

CONVERSION OF RIVIERA PLANT IN PALM

7   BEACH COUNTY, BY FLORIDA POWER & LIGHT

COMPANY.

8   ---------------------------------------

PETITION FOR DETERMINATION OF NEED FOR  DOCKET NO. 080246-EI

9   CONVERSION OF CAPE CANAVERAL PLANT IN

BREVARD COUNTY BY FLORIDA POWER &

10   LIGHT COMPANY.

______________________________________/

11

12

13                              VOLUME 4

14                        Pages 448 through 573

15             ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

16               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

17

PROCEEDINGS:        HEARING

18

BEFORE:             CHAIRMAN MATTHEW M. CARTER, II

19                       COMMISSIONER LISA POLAK EDGAR

COMMISSIONER KATRINA J. McMURRIAN

20                       COMMISSIONER NANCY ARGENZIANO

COMMISSIONER NATHAN A. SKOP

21

DATE:               Monday, June 23, 2008

22

TIME:               Concluded 4:45 p.m.

23

PLACE:              Betty Easley Conference Center

24                       Room 148, 4075 Esplanade Way

Tallahassee, Florida

25

FLORIDA PUBLIC SERVICE COMMISSION

449

1   REPORTED BY:        LINDA BOLES, RPR, CRR

Official FPSC Reporter

2                       (850) 413-6734

3   APPEARANCES:        (As heretofore noted.)

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

450

1                              I N D E X

2                              WITNESSES

3   NAME:                                                PAGE NO.

4   DR. STEVEN R. SIM

5        Direct Examination by Mr. Anderson              452

Prefiled Direct (West County 3 Docket)          455

6             Testimony Inserted

Prefiled Direct (Conversion Dockets)            500

7             Testimony Inserted

8

9

10

11

12

13   CERTIFICATE OF REPORTER                              573

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

451

1                              EXHIBITS

2   NUMBER:                                        ID.    ADMTD.

3   31 through 46                                         556

4   86 through 94                                         556

5   97                                                    557

6   100  (Late-Filed) Natural Gas Analysis         549

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

452

1                         P R O C E E D I N G S

2             (Transcript follows in sequence from Volume 3.)

3             CHAIRMAN CARTER:  We are back on the record.  And as

4   we left, we were just getting ready to present the next

5   witness.  Mr. Anderson, you're recognized.

6             MR. ANDERSON:  Thank you.  FPL calls as its next

7   witness Dr. Steven Sim, who has not been sworn.

8             CHAIRMAN CARTER:  Dr. Sim, would you please stand and

9   raise your right hand?

10                          DR. STEVEN R. SIM

11   was called as a witness on behalf of Florida Power & Light

12   Company and, having been duly sworn, testified as follows:

13             CHAIRMAN CARTER:  Mr. Anderson.

14             MR. ANDERSON:  Thank you.

15                         DIRECT EXAMINATION

16   BY MR. ANDERSON:

17        Q    Would you tell us your name and your business

18   address?

19        A    My name is Steve Sim.  My business address is 9250

20   West Flagler Street, Miami.

21        Q    By whom are you employed and in what capacity?

22        A    By Florida Power & Light Company as a Senior Manager

23   in the Integrated Resource Planning and the Resource Assessment

24   and Planning Business Unit.

25        Q    Have you prepared and filed 44 pages of prefiled

FLORIDA PUBLIC SERVICE COMMISSION

453

1   direct testimony in the West County 3 docket?

2        A    Yes.

3        Q    And 33 pages of prefiled direct testimony in the

4   conversion dockets for Cape Canaveral and Riviera?

5        A    Yes.

6        Q    Did you file errata to your testimony?

7        A    Yes, I did.

8        Q    In addition to your errata, do you have any further

9   changes or revisions?

10        A    No.

11        Q    If I asked you the same questions contained in your

12   prefiled direct testimony and subject to your errata, would

13   your answers be the same?

14        A    Yes, they would.

15             MR. ANDERSON:  FPL asks that Dr. Sim's prefiled

16   direct testimony be inserted into the record as though read.

17             CHAIRMAN CARTER:  The prefiled testimony will be

18   inserted into the record as though read.

19   BY MR. ANDERSON:

20        Q    You're sponsoring some exhibits?

21        A    I'm sorry?

22        Q    You're sponsoring some exhibits today?

23        A    I'm sponsoring those that are in my testimony.

24        Q    Okay.  So Exhibits SRS-1 through 16 for West

25   County 3; correct?

FLORIDA PUBLIC SERVICE COMMISSION

454

1        A    Yes.

2        Q    And for the conversion dockets we have, what,

3   Exhibits SRS-1 through 9; right?

4        A    I believe so, yes.

5             MR. ANDERSON:  Okay.  Mr. Chairman, Dr. Sim's

6   exhibits have been premarked as hearing IDs Number 31 through

7   46 and 86 through 94.

8             CHAIRMAN CARTER:  86 through 94?

9             MR. ANDERSON:  Yes.

10             CHAIRMAN CARTER:  Thank you.

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

536

1   BY MR. ANDERSON:

2        Q    Dr. Sim, have you prepared a summary of your

3   testimony?

4        A    Yes, I have.

5        Q    Please provide your summary to the Commission.

6        A    Okay.  Good afternoon, Chairman Carter and

7   Commissioners.  In regard to the projected economic impacts to

8   FPL's customers, the projected total economic benefit to our

9   customers of adding West County 3 in 2011 plus the conversions

10   of Cape Canaveral and Riviera is approximately $1.2 billion

11   cumulative present value revenue requirements.  Adding West

12   County 3 in 2011 is projected to be at least $606 million CPVRR

13   less expensive than any individual proposal or combinations of

14   proposals that were received in response to FPL's December 2007

15   RFP.  Therefore, West County 3 in 2011 is a better economic

16   choice for FPL's customers than any of the RFP proposals.

17             Furthermore, adding West County 3 in 2011 was

18   originally projected to be $137 million CPVRR less expensive

19   than delaying West County 3 to 2012 and $460 million CPVRR less

20   expensive than delaying a similar greenfield unit to 2013.  A

21   later analysis using updated fuel costs and environmental

22   compliance cost forecasts resulted in the $460 million worth of

23   savings increasing to $735 million CPVRR savings.  Therefore,

24   adding West County 3 in 2011 is a better economic choice for

25   FPL's customers than delaying this unit or a similar unit to

FLORIDA PUBLIC SERVICE COMMISSION

537

1   2012 or 2013.

2             An additional benefit of bringing West County 3 in

3   service in 2011 is that bringing this capacity in earlier than

4   a reliability-only perspective alone would require allows FPL

5   the opportunity to take older, less efficient FPL units out of

6   service and replace them with new fuel-efficient generation.

7   Taking advantage of this opportunity to convert FPL's existing

8   Cape Canaveral and Riviera plants is projected to result in an

9   additional economic benefit to FPL's customers of $457 million

10   CPVRR, thus resulting in a total economic savings for our

11   customers of approximately $1.2 billion CPVRR.  Consequently,

12   the addition of West County 3 in 2011 followed by the

13   conversions of Cape Canaveral and Riviera is the best choice

14   for FPL's customers from an economic perspective.

15             In regard to the noneconomic impacts to our

16   customers, assuming that West County 3 is added in 2011, the

17   conversions of Cape Canaveral and Riviera are projected to

18   lower FPL's system emissions through 2040 by approximately

19   15.7 million tons of CO2, 60,000 tons of SO2 and 55,000 tons of

20   NOx.  Likewise, the conversions of Cape Canaveral and Riviera

21   are projected to lower FPL's annual system fuel usage in the

22   2013 through 2017 time frame by approximately $9.6 trillion

23   Btus of oil and 2.1 trillion Btus of natural gas.

24             Adding West County 3 in 2011 was also projected to be

25   significantly less risky than any individual proposal or

FLORIDA PUBLIC SERVICE COMMISSION

538

1   combination of proposals received in response to FPL's RFP.

2   Consequently, the addition of West County 3 in 2011 plus the

3   conversions of Cape Canaveral and Riviera is also the best

4   choice for FPL's customers from a noneconomic perspective.

5   That concludes my summary.

6             MR. ANDERSON:  Dr. Sim is available for questions.

7             CHAIRMAN CARTER:  Thank you.

8             Commissioner Skop, you're recognized.

9             COMMISSIONER SKOP:  Thank you, Mr. Chairman.

10             Good afternoon, Dr. Sim.

11             THE WITNESS:  Good afternoon.

12             COMMISSIONER SKOP:  Just one quick question.  And I

13   guess this -- or actually two quick questions, but this got

14   deferred to you from Mrs. Morley or Dr. Morley.  With respect

15   to the economic and growth assumptions, and I've read your

16   prefiled testimony, she deferred to you in terms of the

17   sensitivity analysis on what would happen if those underlying

18   economic growth price of consumer commodities like electricity

19   or income -- if those parameters changed, what would be the

20   sensitivity analysis on the cumulative present value revenue

21   requirement that you calculated?

22             THE WITNESS:  I believe the sensitivity that we did

23   looked at a lower load growth forecast than what we did our

24   analyses on.  And in regard to the conversions, the number that

25   we have presented is $457 million cumulative present value

FLORIDA PUBLIC SERVICE COMMISSION

539

1   revenue requirements.  With a lower load forecast it drops but

2   only by a small amount to, if memory serves me correctly,

3   $434 million CPVRR.  So still very significant savings even

4   with a lower load forecast.

5             COMMISSIONER SKOP:  Okay.  So the, taken as a

6   composite group, the sensitivity analysis, depending on the

7   underlying assumptions, is not really that drastic.  It still

8   converges to the same result; is that correct?

9             THE WITNESS:  Essentially the same result.  Yes, sir.

10             COMMISSIONER SKOP:  Essentially the same result.  And

11   what was the most critical variable in terms of when you're

12   looking at your sensitivity analysis out of all of those

13   underlying assumptions?

14             THE WITNESS:  In regard to either the 457 or the 434?

15             COMMISSIONER SKOP:  Yes, sir.

16             THE WITNESS:  I would say there were two factors:

17   One would be fuel cost and the other would be the environmental

18   compliance cost.  Of the two, I would tend to pick the fuel

19   cost as probably the larger driver.

20             COMMISSIONER SKOP:  Okay.  So the growth and the

21   personal income and the retail rate of electricity, none of

22   those factors really influenced the outcome of either analysis?

23             THE WITNESS:  A relatively minor player compared to

24   the other drivers.

25             COMMISSIONER SKOP:  Okay.  And, like I say, I was

FLORIDA PUBLIC SERVICE COMMISSION

540

1   willing to stipulate to your testimony and I was happy that, I

2   guess, one of my colleagues had called you, and that was the

3   question I had.

4             One question in passing, however, I noticed that

5   there is a difference looking at the -- and I'm trying to get

6   this right in my head because I'm looking at two different

7   books.  So give me a second here to flip this page.

8             The one docket has, one of your exhibits, and that

9   would be SRS-4, and I'm not sure whether that's in the WCEC

10   3 or whether that's in the -- I assume that's in the WCEC

11   3 proposal, and that would be the ten-year power site plan for

12   2007 through 2016.  And correct me if I'm wrong because I just

13   noticed it and it was puzzling me at the time.  And the other

14   one in the, in the conversion project has the updated ten-year

15   power plant site plan for 2008 through 2017, and I believe

16   that's in SRS-1; is that correct?

17             THE WITNESS:  I believe that's correct.

18             COMMISSIONER SKOP:  Okay.  And the difference

19   between, on using the WCEC 3 in the April 2007 versus the

20   April 2008 plan between the two plants, is there a reason why

21   they were, they were different?

22             THE WITNESS:  Different in what respect,

23   Commissioner?

24             COMMISSIONER SKOP:  Well, it's funny that you ask

25   that question.  I guess with respect to -- on Page 64 of the --

FLORIDA PUBLIC SERVICE COMMISSION

541

1   first let me ask a question.  Are you directly responsible for

2   the ten-year power plant site plan?  Do you prepare that or is

3   that --

4             THE WITNESS:  I play a large role in it.  Yes, sir.

5             COMMISSIONER SKOP:  Okay.  At least with the one that

6   was filed for WCEC, WCEC 3, the one dated April 2007 with the

7   2007 through 2016 time frame, the testimony beginning on Page

8   64 for renewable resources seems to be substantially different

9   than the one in the updated time frame on the, of the

10   conversion projects.  And I guess that struck me as a little

11   bit odd, so I was trying to get some additional insight from

12   you in that regard because I think on -- and let me find the

13   page here, if I may.  Beginning on Page --

14             THE WITNESS:  Commissioner, while you're looking that

15   up, if I may, may I have a copy of the 2007 site plan?  I have

16   a copy with me of the 2008.

17             COMMISSIONER SKOP:  Okay.  I think your counsel would

18   be able to provide that for you.  I don't have my spare.  I

19   mean, I only have my one copy.

20             THE WITNESS:  It should be in the yellow exhibits

21   book.  Yes, sir.

22             COMMISSIONER SKOP:  And at the, on the 2007 one --

23   and I'll give you a minute to, to have a copy of that.  If

24   you'd look at the bottom of Page 66.

25             THE WITNESS:  Yes, sir.  I have it in front of me.

FLORIDA PUBLIC SERVICE COMMISSION

542

1   Thank you.

2             COMMISSIONER SKOP:  And if you would generally

3   describe the discussion at the bottom of Page 66, what program

4   that pertains to.

5             THE WITNESS:  At the bottom of Page 66 it's

6   discussing our Green Pricing Research Project, which later

7   developed into what we are currently calling the Sunshine

8   Energy Program.

9             COMMISSIONER SKOP:  Okay.  And, again, I'm going to

10   leave it at that.  But I guess my concern is frankly this is

11   the -- and the testimony between the two on that subject

12   matter, the 2007 testimony goes into quite far detail about

13   that program; whereas, the -- I mean, the 2007 is far more

14   detailed and it's a little bit more limited and succinct than

15   the 2008 site plan.  But I guess my concern just in passing,

16   because, again, this program is the subject of a separate

17   docketed matter before the Commission and, you know, this is

18   twice now in the course of a need determination proceeding that

19   basically they've opened the door.  And, you know, I don't

20   know, and maybe you can, you know, discuss, but that program

21   really has no relevance on the proceeding before us today; is

22   that correct?

23             THE WITNESS:  In terms of capacity need, I would say,

24   no, it has, it has very little impact on the capacity need.

25             COMMISSIONER SKOP:  Okay.  I'll save my questions for

FLORIDA PUBLIC SERVICE COMMISSION

543

1   another day.  But, again, I just, it caught my attention and,

2   again, I had previously made a comment upon that.  But, again,

3   I think that just as a point in passing that's the second time

4   that they've opened the door, and I would not want to

5   needlessly hold up these proceedings asking a bunch of

6   questions related to that program that are better saved for the

7   appropriate time.  So thank you very much.

8             CHAIRMAN CARTER:  Commissioner Argenziano, you're

9   recognized.

10             COMMISSIONER ARGENZIANO:  Yes.  Thank you.

11             Hi, Dr. Sim, thank you.  I think you know I'm going

12   to ask a few questions.  You've been the guy I've been pointed

13   to to ask the questions, and maybe I'll ask the questions just

14   a little bit differently.

15             I'm very intrigued about the availability and the

16   sustainability of natural gas and with the shale markets, and I

17   had forgotten about Texas.  I think it's the Hainesville,

18   Texas, well that's been of great interest lately.  And I guess

19   my concern is the cost to extract natural gas from shale.  I

20   believe you have to do vertical wells rather than horizontal

21   wells, which are, I think, quite a bit costlier, and I'm

22   wondering if that cost at some point -- let me, let me take a

23   step back.  Has any natural gas actually come out of any of

24   those wells yet from the shale?

25             THE WITNESS:  I'm afraid that's beyond my area of

FLORIDA PUBLIC SERVICE COMMISSION

544

1   expertise.  I don't deal in the fuel department.

2             COMMISSIONER ARGENZIANO:  Okay.  Okay.  So then maybe

3   you're not the guy I'm supposed to ask the questions to.

4             Let me just, let me just pose this to FPL and staff

5   and maybe I can get this information.  Because my, what I'm

6   looking at is we want to reduce CO2, but I want our money to go

7   in the most cost-efficient way.  And I think -- I don't think

8   large companies are going to, I hope not, expend a lot of

9   dollars if there's no sustainable source out there.  And I

10   guess what the questions that I need answered, is the, are

11   those sources sustainable?  And if we are dealing with now

12   getting the natural gas from the shale versus our more

13   conventional extraction, how do we know that it's sustainable

14   other than hearing that there's probably a lot of, of natural

15   gas 11,000 feet below or whatever it is in the case of -- I

16   think it's the Marcellas wells in the Appalachian range.  I

17   think they're a mile down, anticipated to have quite a bit of

18   natural gas.  But I guess the answer I want is how do we know?

19   And I want somebody to give me more information on are we, you

20   know, going to expend all these dollars and not have the

21   natural gas there?  So if there's some information that would

22   help me, I would appreciate that.  And I don't know -- Dr. Sim,

23   I guess you can't answer that or --

24             THE WITNESS:  In general I can try to address it,

25   Commissioner.

FLORIDA PUBLIC SERVICE COMMISSION

545

1             COMMISSIONER ARGENZIANO:  Okay.

2             THE WITNESS:  Not only FPL but all of the utilities

3   collectively through the FRCC look on a regular basis, the FRCC

4   certainly annually as part of its reporting, as to whether or

5   not there's sufficient natural gas delivery over the long term

6   to support the natural gas-fired new units that are coming into

7   the state.  And we have been assured time and time again by a

8   variety of experts that there is sufficient supply of natural

9   gas from conventional sources to power these units through the

10   expected lifetime of the units.

11             Price is something that is, I think, a little bit

12   more in question.  I think we see, as you do, the increase in

13   natural gas prices.  And, frankly, that's one reason in our

14   projections why we see the, in particular the two conversions

15   being particularly attractive because we will greatly improve

16   the efficiency with which natural gas is burned.

17             For example, just taking the two conversion units,

18   the existing units at Canaveral and Riviera are approximately

19   1350 megawatts of capacity and they're operating at a heat rate

20   of about 10,000 Btus per kilowatt hour.  The new units after

21   they're converted will be running at approximately 6,580 Btus

22   per kilowatt hour or, as I like to think of it in simple terms,

23   the current units are running about three units of fuel for

24   every kilowatt hour they put out.  The new units will be about

25   two units of fuel to put out, which is a huge increase in

FLORIDA PUBLIC SERVICE COMMISSION

546

1   efficiency.  It allows the natural gas that we will be using to

2   be used much more efficiently and to use less of it.

3             As indicated in my summary, I believe over the 2013

4   through 2017 snapshot of time we're going to be using about two

5   trillion Btus of gas less on our system than we would otherwise

6   due to the conversions.

7             COMMISSIONER ARGENZIANO:  And that is resource

8   efficiency, which is great.  I think that's fantastic.  What

9   I'm worried about is cost efficiency afterwards.  At what

10   point -- and I don't know that that's going to happen, but what

11   I'm looking at is the extraction of natural gas seems to be

12   getting a lot harder or more difficult and more costly, and I

13   don't know if there's an infinite number that the efficiency

14   remains or where is it that it cuts off?  In other words, at

15   some point, quite simply put, as simple as I can, is that at

16   some point is it going to be ten years from now or five years

17   from now that it wouldn't be cost-efficient anymore because the

18   price was so high to extract that natural gas, and would the

19   dollars be better spent putting windmills and solar -- and I

20   know solar is not quite as efficient as it can be yet but it's

21   on the verge -- and that's probably what I'm looking for,

22   something that makes me feel more comfortable about, you know,

23   the cost.  Because everything I'm reading about it and finding

24   about it is it's very costly at this time and some of the wells

25   haven't even produced any gas yet even though there's, there is

FLORIDA PUBLIC SERVICE COMMISSION

547

1   evidence, as you indicate, that there is natural gas down

2   there.  But I would like to read that and know what leads them

3   to believe that.  Thank you.

4             CHAIRMAN CARTER:  Mr. Anderson, do you have, do you

5   have access to information that you could supply later on just

6   for --

7             MR. ANDERSON:  Let me consult with my colleagues for

8   a moment because we're very interested in ensuring you have

9   whatever you need to be comfortable with your decision.  Just

10   one moment.

11             CHAIRMAN CARTER:  Okay.

12             COMMISSIONER ARGENZIANO:  I'm going to, I'm going to

13   do a little research on it myself as far as trying to go to the

14   USGS and find out what they have.  I'm sure that there, there

15   have been scientists and geologists and so on that have looked

16   into it and it may answer some of the questions I have.  But

17   everything I'm reading to this point sounds promising but it

18   just doesn't give me everything.  It sounds promising, but yet,

19   okay, how much is it finally going to cost to be able to do it

20   because you have to drill differently, you have to go down

21   further, and how much, you know, energy would be expended?  And

22   that's just things I would just like to have because part of

23   our job is looking at cost efficiency also.

24             CHAIRMAN CARTER:  Absolutely.  And also, staff, if

25   there's information that you have access to that would be

FLORIDA PUBLIC SERVICE COMMISSION

548

1   helpful in this process, we certainly would appreciate that.

2             Mr. Anderson.

3             MR. ANDERSON:  Yeah.  One thing we could offer that

4   might be of assistance is, you know, there have been references

5   to a number of government studies and things.  And, for

6   example, there's Department of Energy data with respect to gas

7   efficiency and things like that.  My suggestion would be, you

8   know, if it's acceptable to the Commission, would be to

9   coordinate with your counsel and submit such information as a

10   late-filed exhibit.  Would that be helpful?

11             COMMISSIONER ARGENZIANO:  Mr. Chairman, I think that

12   would be very helpful.  I think part of, you know, looking at

13   this in that greater sense would be, would be most helpful,

14   anything you can come up with.  And I'll do my own diligence on

15   trying to find out some of that information too.

16             MR. ANDERSON:  That would be great.  And if that

17   could, with the Chairman's permission, just be indicated as

18   admitted, we'll provide that to staff as a late-filed exhibit.

19             COMMISSIONER ARGENZIANO:  Thank you.

20             MS. BROWN:  And we could have a short title of

21   Natural Gas Analysis.

22             CHAIRMAN CARTER:  And that will be Exhibit 100.

23             MS. BROWN:  Yes.

24             CHAIRMAN CARTER:  Natural Gas Analysis.  This will be

25   our short title, Natural Gas Analysis.

FLORIDA PUBLIC SERVICE COMMISSION

549

1             (Late-Filed Exhibit 100 identified for the record.)

2             Commissioner Argenziano, you're recognized.  That's

3   it?

4             Commissioners, anything further?

5             Mr. Anderson, you're recognized, sir.  Wait, one

6   second.

7             Staff?

8             MS. BROWN:  We have no questions.  Thank you,

9   Commissioner.

10             CHAIRMAN CARTER:  Mr. Anderson.

11             MR. ANDERSON:  Thank you, Chairman Carter.  The

12   Commissioners have asked some very thoughtful questions today.

13   Earlier today Commissioner Argenziano in particular asked some

14   questions relating to solar and things.  And just for the

15   purposes of completeness of the record we asked Dr. Sim just to

16   do some computations to kind of put what FPL's proposal -- will

17   that help?

18             COMMISSIONER ARGENZIANO:  Yes.

19             MR. ANDERSON:  Yes.  What I'd ask Dr. Sim to just

20   take a moment to do is kind of provide a comparison of what, if

21   you were to take the amount of money involved, you know,

22   generally speaking for West County 3 in the conversions, what

23   does that translate into if you did that solar PV, for example,

24   for megawatts, how much land, how many customers, just to kind

25   of put that in perspective.  And if I might, I'd just ask

FLORIDA PUBLIC SERVICE COMMISSION

550

1   Dr. Sim to, to address that topic.

2             THE WITNESS:  I'll be happy to.  I did the

3   calculation in regard both to photovoltaics and in regard to

4   solar water heaters because I believe both were mentioned in

5   the morning session.  And what I did, I started with the

6   approximately $3.26 billion of installed capital dollars that

7   these three units are projected to cost.  And if we spent all

8   of that solely on photovoltaics or solely on solar water

9   heaters, what would we get out of it?  And here are the

10   results.  If we spent it on photovoltaics, if I use a, what I

11   think is a reasonable number for the cost of photovoltaics of

12   about $7,000 a KW installed, we'd end up with about

13   465 megawatts of installed PV capacity.  That would be the name

14   plate rating and it doesn't represent what those photovoltaic

15   modules would be able to contribute in regard to firm capacity.

16             At present we don't know how much would be firm

17   capacity because our summer peak hour is at 4:00 to 5:00 p.m.

18   in the afternoon on summer, not where the name plate rating is

19   designed to be measured at, which is essentially solar noon

20   when the sun is directly overhead.  So by 4:00 to 5:00 p.m.

21   The sun is hitting these modules at a pretty oblique angle,

22   but -- and it is possible that we might get zero megawatts in

23   the afternoon of firm capacity.  But for the sake of this

24   calculation, I used what I think is an optimistic estimate of

25   about 20 percent of the name plate rating would be providing

FLORIDA PUBLIC SERVICE COMMISSION

551

1   firm capacity at our summer peak hour.

2             Now let me just take a step aside.  Our winter peak

3   hour is from 6:00 to 7:00 in the morning.  Essentially zero

4   megawatts of contribution from photovoltaics would be occurring

5   in our winter.  But, and by comparison, the proposed three

6   generating units after I subtract out the amount of megawatts

7   at the existing units that would be taken away, it's about

8   2300 megawatts of incremental firm summer capacity from the

9   proposed units versus, using the 20 percent number, about

10   90 megawatts from photovoltaics at our summer peak hour.  So

11   2300 versus 90.

12             In regard to land, photovoltaics, if I use an

13   assumption of about six acres are required for every one

14   megawatt, I come to just under 2,800 acres or about 4.4 square

15   miles of additional land would be needed for the photovoltaics,

16   where the proposed generating units that FPL has brought before

17   you, all of this will be built on land already dedicated to

18   power plants.

19             Now in regard to how much, how many customers would

20   essentially be served by this expenditure on photovoltaics, the

21   equivalent annual usage would be about the equivalent of 56,000

22   residential customers.  By comparison's sake, the three power

23   plants we brought before you, their expected output will be

24   serving the full annual needs of about 2 million residential

25   customers.  So about 56,000 versus 2 million.

FLORIDA PUBLIC SERVICE COMMISSION

552

1             Now switching over and doing the same type of

2   calculation for solar water heaters where we again spend the

3   $3.26 billion on solar heaters, using what I think is a

4   reasonable number of about $3,000 for every solar water heater

5   installation it comes to just under 1.1 million solar water

6   heaters could be bought and installed.  Now in regard to what

7   the demand reduction and the equivalent generation that would

8   represent, the KW reduction for each solar water heater, I'm

9   assuming it's going to take all of our, all of the average

10   electric water heating load off of those 1.1 million customers.

11   It comes to about 220 megawatts of summer demand reduction, and

12   with our 20 percent reserve margin criteria, that equates to

13   about 260 megawatts of equivalent generation that wouldn't be

14   needed.  However, those same dollars being spent on the

15   proposed generating units we have in front of you again is

16   2300 versus the 260.

17             Now taking the annual usage of residential customers

18   and the projected annual kilowatt hour savings, what we come to

19   is the equivalent total residential usage that spending

20   $3.26 billion on solar water heaters would come to is a little

21   under 121,000 residential customers, the equivalent of their

22   annual usage again versus the 2 million residential customers

23   whose full annual usage would be supplied by the three units we

24   brought before you today.

25             COMMISSIONER ARGENZIANO:  I have some questions.

FLORIDA PUBLIC SERVICE COMMISSION

553

1             CHAIRMAN CARTER:  You're recognized.

2             COMMISSIONER ARGENZIANO:  Thank you for that.  But

3   now in regards to the solar water heaters, you're referring to

4   peak demand; right?

5             THE WITNESS:  I'm referring both to summer peak

6   demand, that's correct, in the .2 KW, and also in regard to the

7   total kilowatt hour usage that the solar water heaters are

8   designed to take off the system.

9             COMMISSIONER ARGENZIANO:  Take off.  Okay.

10             THE WITNESS:  Yes.

11             COMMISSIONER ARGENZIANO:  But it would offset some of

12   the average usage, wouldn't it?  I mean, it might be --

13             THE WITNESS:  Well, it would, it would certainly

14   decrease.

15             COMMISSIONER ARGENZIANO:  Right.  But not enough,

16   you're saying, to supply -- to not have to build additional

17   plants.

18             THE WITNESS:  It would, it would contribute far less,

19   as these numbers show, than would be supplied by spending the

20   same amount of money on the proposed units we have.

21             COMMISSIONER ARGENZIANO:  Okay.  And just two other

22   questions very quickly.  In regards to the six acres versus one

23   megawatt and I guess your peak hours for sun generation, but

24   that's not -- that would be for typical photovoltaic panels.

25   But there are thermal photovoltaic, voltaic mechanisms that you

FLORIDA PUBLIC SERVICE COMMISSION

554

1   can use that store the heat, aren't there?

2             THE WITNESS:  There are.  They're generally not

3   thought of as photovoltaics.  They're generally referred to,

4   Commissioner, as solar thermal units.

5             COMMISSIONER ARGENZIANO:  Right.  Right.

6             THE WITNESS:  Which we are planning, I think,

7   75 megawatts of that at our existing Martin Unit to displace

8   fossil fuel.

9             COMMISSIONER ARGENZIANO:  And how does that

10   comparison cost when you're talking about actually storing the

11   heat and being able to use it?

12             THE WITNESS:  I have not done that comparison.

13   Typically though what happens, as you store the heat, you are

14   putting out less energy or, excuse me, less at the peak hour

15   than you otherwise would because you're using some of the

16   energy for storage.  So it works a little bit against the

17   concept that way.

18             The proposal that we have, I believe, in front of you

19   in a separate filing for that 75 megawatts of solar thermal is

20   not designed to be a contributor to our peak output.  Rather

21   it's designed in my terminology simply as a fuel substitute.

22   For every hour it can produce steam, it, we back off fossil

23   fuel, in this case natural gas-fired steam, that would be

24   driving our unit.

25             COMMISSIONER ARGENZIANO:  And just one last question.

FLORIDA PUBLIC SERVICE COMMISSION

555

1   I don't know if you have the answer to this.  In regards to

2   innovation when it comes to new solar technology coming down,

3   not there yet, but as far as capturing more of the sun's colors

4   for greater efficiency, how far away is that or is it something

5   that's feasible soon?  Do you know?

6             THE WITNESS:  I've not heard of anything that is

7   imminent.  I've tried to keep up with solar technology since

8   the mid '70s when I worked at the Florida Solar Energy Center.

9   And there are always possibilities of breakthroughs but there's

10   nothing that I know that is imminent.  If there is, we will be

11   very happy to try to take advantage of it.

12             COMMISSIONER ARGENZIANO:  Thank you very much.  Thank

13   you.

14             CHAIRMAN CARTER:  Commissioners, anything further?

15   Thank you.

16             Mr. Anderson, you're recognized.

17             Staff, any --

18             MS. BROWN:  No questions.

19             CHAIRMAN CARTER:  Mr. Anderson.

20             MR. ANDERSON:  We'd like to offer Dr. Sim's exhibits,

21   which are Numbers 31 through 46 and 86 through 94.

22             CHAIRMAN CARTER:  One second.  31 through --

23             MR. ANDERSON:  46.

24             CHAIRMAN CARTER:  -- 46.  Any objections?  No

25   objections, show it done.

FLORIDA PUBLIC SERVICE COMMISSION

556

1             (Exhibits 31 through 46 admitted into the record.)

2             Now we go to Exhibits Number 86 through 94.

3             MR. ANDERSON:  94.  Right.

4             CHAIRMAN CARTER:  Any objections?  No objections,

5   show it done.

6             (Exhibits 86 through 94 admitted into the record.)

7             Thank you.  The witness may be excused.

8             MS. BROWN:  Mr. Chairman.

9             CHAIRMAN CARTER:  Yes, ma'am.  You're recognized,

10   Ms. Brown.

11             MS. BROWN:  I may have missed this, but I wanted to

12   check on Mr. Kosky's exhibits.  Were they entered into the

13   record?

14             MR. ANDERSON:  I'm not recalling.  My notes are

15   always just to do that, but --

16             CHAIRMAN CARTER:  Yes.  30 -- let me see here.

17             MS. BROWN:  It's 28 and 29.

18             CHAIRMAN CARTER:  Mr. Kosky is 28, 29, 30, and the

19   other ones were -- help me find.

20             MS. BROWN:  79 through 85.

21             CHAIRMAN CARTER:  Yes.  Yes.  79 through 85.  Yes.

22             MS. BROWN:  All right.

23             MR. ANDERSON:  I think it was 78 through 85.  Yeah.

24             CHAIRMAN CARTER:  78 through 85?

25             MR. ANDERSON:  Exactly.

FLORIDA PUBLIC SERVICE COMMISSION

557

1             CHAIRMAN CARTER:  Yes.  They have been.

2             MR. ANDERSON:  Thank you, counsel.

3             MS. BROWN:  One more housekeeping item with respect

4   to the exhibit list.

5             CHAIRMAN CARTER:  Yes, ma'am.

6             MS. BROWN:  We need to move the public witness's

7   composite exhibit into the record.  It's Exhibit 97.  It's been

8   compiled by our paralegal and is ready to go.

9             CHAIRMAN CARTER:  Okay.  That was the information we

10   got this morning from our public testimony.

11             MS. BROWN:  Yes.  And then one final matter.

12             CHAIRMAN CARTER:  Any objections?

13             MR. ANDERSON:  No.

14             CHAIRMAN CARTER:  Without objection, show it done.

15             (Exhibit 97 admitted into the record.)

16             Yes, ma'am.

17             MS. BROWN:  With respect to the two late-filed

18   exhibits, we need a date for when they will be supplied, and

19   they'll become part of the record at that time, subject to any

20   objection.

21             CHAIRMAN CARTER:  That would be Exhibits 99 and 100.

22             MS. BROWN:  Yes.

23             CHAIRMAN CARTER:  99 is the information requested

24   from the University of Florida on the population data and

25   100 is the natural gas analysis.

FLORIDA PUBLIC SERVICE COMMISSION

558

1             MS. BROWN:  That's correct.  We were hoping for

2   June 30th.

3             CHAIRMAN CARTER:  Is that possible, Mr. Anderson?

4             MR. ANDERSON:  Yes, it is, Mr. Chairman.

5             CHAIRMAN CARTER:  Okay.  Show it done.

6             MS. BROWN:  All right.

7             CHAIRMAN CARTER:  Ms. Brown, you're recognized.

8             MS. BROWN:  All right.  We have the record of our

9   proceeding now.  In light of the testimony that's been given

10   today, staff would like to come back with a written

11   recommendation, posthearing recommendation for you on this

12   matter.  And in light of that, the transcript of the hearing

13   will be due June 27th, the posthearing brief will be due 7/11,

14   with the staff recommendation August 7th and an agenda

15   August 19th.

16             CHAIRMAN CARTER:  Okay.  Commissioner Skop, you had a

17   comment.

18             COMMISSIONER SKOP:  Thank you, Mr. Chair.  And just

19   to staff with respect to the written recommendation, again,

20   we're in a consolidated posture.  We, too, are on an

21   accelerated time frame.  But, again, that has judicial

22   economies to the extent we're able to combine everything in a

23   single hearing right now.

24             What I would expect to see is a detailed staff

25   discussion on why departure from the Bid Rule is warranted,

FLORIDA PUBLIC SERVICE COMMISSION

559

1   with specific discussion in relation to protecting the consumer

2   protection aspects that are alluded to within, I believe it was

3   provision 15 or 16 that talks about pursuant to the same

4   language that's in the preliminary staff response to Item, I

5   believe, or Issue 24.  And also, too, I think would need a

6   little bit of staff development to the extent of not locking in

7   the turbine technology at the appropriate time.  So I would

8   like to see discussion in all of those areas within the rec,

9   please.

10             CHAIRMAN CARTER:  Commissioner McMurrian.

11             COMMISSIONER McMURRIAN:  Thank you, Chairman.

12             While we're talking about that again, I wanted to

13   share my thoughts on those concerns that you raised,

14   Commissioner Skop, because I want to make sure -- I want to

15   share my thoughts so the parties have the opportunity to

16   respond to, to my thinking on that as well in their briefs and

17   staff in their recommendation.

18             I don't want to take a position on the issues

19   regarding whether or not we waive the Bid Rule.  I know that

20   will be addressed in the recommendation.  It's my belief, and,

21   again, it's a belief, and I'm hoping for a lot of clarity when

22   we get the staff recommendation on this, that just because we

23   might waive the Bid Rule process, that we wouldn't be waiving

24   protections that we are statutorily able to afford under our

25   other statutory, excuse me, other statutory provisions.  And

FLORIDA PUBLIC SERVICE COMMISSION

560

1   that just -- I think we talked about that a little bit earlier.

2   It's my opinion that in asking to waive the Bid Rule process

3   it's more about not going through the RFP process.  And I'm

4   just sharing my thoughts, Commissioner Skop.  I'm not trying to

5   argue with you about it.

6             But, again, I do want clarification on that because

7   even if we were to waive the Bid Rule process in some other

8   forum, I want to make sure that we have the authority to, I

9   mean, we have the ability to look at other protections to

10   afford consumers in that respect, that we don't have to

11   strictly abide by that one sentence in the Bid Rule to have the

12   protections that I think we already have under Florida law.

13             CHAIRMAN CARTER:  Anything -- are you -- is it on the

14   same issue?

15             COMMISSIONER SKOP:  Yes, sir.

16             CHAIRMAN CARTER:  Okay.  You're recognized, sir.

17             COMMISSIONER SKOP:  Thank you, Mr. Chair.

18             And I think that, just in response to Commissioner

19   McMurrian's concerns, which I do agree to that there may be

20   some statutory provisions overarching, but, you know, for the

21   folks at home here let's lay this out and make it concise.  We

22   have three need determination proceedings that are typically

23   handled separately.  They've been consolidated into one.  Two

24   of the three are in an accelerated docket for administrative

25   convenience to have the hearing.  On top of that, there's

FLORIDA PUBLIC SERVICE COMMISSION

561

1   additional concessions being requested:  Departure from the Bid

2   Rule, which, again, I agree with on the RFP.  There's also an

3   additional concession being requested that they don't want to

4   definitize the technology yet, they want flexibility.  And also

5   they want an affirmative finding of need pursuant to the

6   consolidation request for each individual plant.  Okay.  So

7   there are things that they want, and I think in upholding the

8   public trust and interest there's things that the Commission

9   needs to make sure.

10             Now pursuant to the rule which says, "If a public

11   utility selects a self-build option, costs in addition to those

12   identified in the need determination proceeding shall not be

13   recoverable unless the utility can demonstrate that such costs

14   were prudently incurred and due to extraordinary

15   circumstances."  That's express.  That's not implied for other

16   things.  But, again, I do think, and I want to collect my

17   thoughts for a second, I do think that that's a very, very,

18   very important consideration.

19             Again, they are asking for things that are ahead of

20   their time.  By their own admission they don't need a ruling by

21   October 2008.  They have not yet filed for site cert on either

22   one of the proposed conversion plants.  You know, if they need

23   more time to definitize costs, then, you know, perhaps maybe we

24   can wait on that.  But if they're asking for accelerated

25   treatment and approval by this Commission, I think it's in the

FLORIDA PUBLIC SERVICE COMMISSION

562

1   interest of fairness for the ratepayers to make sure that we're

2   protected.  And I'm not willing to give up anything.  Okay?

3             So my concern, I think that we do have those

4   protections, but in the totality of the circumstances, you

5   know, to me that's an important consideration that I feel

6   strongly about.  I mean, we're talking about nearly a

7   $4 billion decision here.  And if you don't collar that and

8   lock it in -- you know, if they feel that costs will escalate,

9   they can justify that at the appropriate time.  But we still

10   have this express language.  And maybe that's the lawyer in me,

11   but, again, they're the ones that are asking for this on an

12   accelerated time frame.  I mean, some could construe this as

13   being the rocket docket.  But the fact remains, if they need

14   time to go further definitize the costs and have confidence in

15   that, then maybe that's something certainly they could do on

16   their own volition.  But if they're going to come forth before

17   the Commission and request for accelerated review in the need

18   determination process on top of additional concessions, then

19   I'm just putting adequate protections in place that already

20   exist that are express, and I think that's a very important

21   position for the Commission to do.

22             I know that the Bid Rule, essentially the RFP

23   process -- and I see the whole screening process.  But, again,

24   the catchall there is that they under the Bid Rule commit to

25   the numbers that they provided in all the prefiled testimony

FLORIDA PUBLIC SERVICE COMMISSION

563

1   for each of the three respective plants.  And if they're not

2   willing to do that, then maybe the Commission ought to require

3   they go definitize the estimates a little bit more and come

4   back to us.  But to me it seems a reasonable tradeoff to

5   request that, and I know staff in their preliminary position

6   feels the same way.  So, again, that's my, that's my thoughts

7   on that.

8             CHAIRMAN CARTER:  Commissioner McMurrian.

9             COMMISSIONER McMURRIAN:  I didn't mean to get into a

10   volleyball here, but I, perhaps I was -- well, I can tell that

11   I was inarticulate in what I said.  I was not suggesting,

12   Commissioner Skop, not to lay that out in the, in the

13   recommendation in some way.

14             I guess what I was saying was, I was trying to share

15   what my understanding of our general authority would be so that

16   that's addressed as well.  And I guess it's because I share

17   those same concerns you do; that I would want to know that if

18   we were, if we had a similar case and perhaps this hadn't come

19   up in the way it's been brought up, that we still have those

20   protections for customers even if we weren't being faced with

21   that specific issue and the wording that's been added to that

22   Issue 24 that you pointed out earlier.  I'm not suggesting that

23   that shouldn't be in there.  I'm just trying to suggest that I

24   think that we do have protections in place.  And, again, this

25   is my understanding, and I think it will give the parties an

FLORIDA PUBLIC SERVICE COMMISSION

564

1   ability to respond to that, but that we do have protections in

2   place, even if we were to waive the Bid Rule with respect to

3   the two conversion projects and even if we didn't have some

4   language in the rec that specifically said that.  I want to --

5   I want that extra comfort that we have that ability to afford

6   those protections in general.  So that's what I'm getting at.

7   I'm not suggesting that that language come out or that that not

8   be addressed in some way at all.  So thank you, Chairman.

9             CHAIRMAN CARTER:  Thank you.

10             Commissioner Edgar, you're recognized.

11             COMMISSIONER EDGAR:  Thank you, Mr. Chairman.  Just

12   in an effort to add just a closing, and I'm terrible at telling

13   jokes so I won't even begin to try, but I do think this is

14   maybe the first time that I've heard the Florida PSC compared

15   to the FCC.  So sometimes we are, as a government agency are

16   asked, are criticized for moving too slow, sometimes it seems,

17   you know, people may say that we're moving too fast.  What I do

18   know is that our staff and our aides and everybody else

19   involved tries very hard to move forward with all due diligence

20   and thoroughness.  And I appreciate the questions and

21   discussions that we've had today particularly pointed towards

22   fuel diversity and options and costs.  I think that that

23   discussion and that information is very, very, very helpful and

24   goes right to the heart of what our role is, trying to do those

25   economic analyses and have those cost benefit discussions, and

FLORIDA PUBLIC SERVICE COMMISSION

565

1   I think that's very helpful.

2             You know, we, the Bid Rule has been waived before.

3   In my own view I see it as a tool, not the be-all end-all, not

4   the only protection.  I do see it as a tool.  And I also

5   believe that there are a number of statutes that we can point

6   to for overarching authority to look at and assure prudence and

7   I think that this goes right along with that.

8             So my last statement would just be to say that I know

9   each of us takes very, very seriously the public trust with

10   which we have been charged.  I certainly in my almost 19 years

11   of government service think about that truly every day.  And I

12   think that proceedings such as we've had today and the expert

13   testimony go hand in hand with that public trust.  So to my

14   Commissioners, thank you all for your thoughtful questions, and

15   I look forward to reading the briefs and the staff

16   recommendation.

17             CHAIRMAN CARTER:  Commissioner Argenziano.

18             COMMISSIONER ARGENZIANO:  I guess what I'd like to

19   have, and I guess I'd like to ask Commissioner Skop because

20   maybe I've been reading and, and thinking about other questions

21   pertaining to the shale and doing some things here, I would

22   like for you to succinctly, if you could, give me your

23   concerns.  We are talking about $4 billion and you're talking

24   about the bidding process.  I'd like you to articulate to me,

25   if you would bear with me once again because I was distracted,

FLORIDA PUBLIC SERVICE COMMISSION

566

1   I'd like to know your concern there and hear it again, please.

2             COMMISSIONER SKOP:  Thank you, Mr. Chair,

3   Commissioner Argenziano.

4             Again, my concern is couple fold.  Again, the

5   consolidation, as I previously mentioned, again, being properly

6   consolidated, but the issue with that is that two of the three

7   need determinations that are typically heard on a standalone

8   basis one by one by one have been related back to the original

9   filing date and for administrative convenience all heard in one

10   hearing that is here before us today.

11             Now staff initially had some concerns and apparently

12   some things were worked through, but staff has addressed the

13   fact that they can step up to the plate and get this done.  The

14   underlying question to me is even if we can do something, why

15   do we need to do it so quick?  But beyond that with respect to

16   the Bid Rule, on top of the accelerated procedure under which

17   this is moving forward, there has been a request to depart from

18   the Bid Rule, which may or may not be justified.  Certainly you

19   can make some reasonable assumptions that they've effectively

20   done a proxy.  But the issue that I have, and, again, this is,

21   you know, putting on the consumer advocate hat that we're

22   supposed to be cognizant of, is under the selection of

23   generating capacity, Rule, PSC Rule 25-22.082(15), it talks

24   about "If a public utility selects a self-build option, costs

25   in addition to those identified in the need determination

FLORIDA PUBLIC SERVICE COMMISSION

567

1   proceeding shall not be recoverable unless the utility can

2   demonstrate that such costs were prudently incurred and due to

3   extraordinary circumstance."

4             So at least what this provision provides to me -- and

5   if we waive it, as Mr. Anderson has said, I had to extract it

6   from him, but if we waive the Bid Rule, we also waive that

7   express provision.  Now there may be some other catchall

8   provisions, statutory things we could go point to and say we

9   ultimately have the, the prudency review, but at the end of the

10   day this expressly states under normal circumstances subject to

11   the Bid Rule not being waived that they are held accountable to

12   the numbers that I had the witnesses articulate that are in the

13   prefiled testimony for each of the respective plants absent

14   extraordinary circumstance and making sure that such costs were

15   prudently incurred.  To me as a lawyer it's an express

16   provision, it's there, and to waive it, you know, basically to

17   waive it basically foregoes that express provision that

18   protects the consumer.

19             And all I'm saying again, my issues aren't

20   necessarily technical, I recognize the environmental benefits,

21   I recognize the fuel cost savings, I recognize the efficiency

22   gains and the new technology, but my concerns are making sure,

23   particularly in the heightened scrutiny of an accelerated

24   process, that as we move forward we're not giving away

25   concessions that the utility are clearly asking for and we're

FLORIDA PUBLIC SERVICE COMMISSION

568

1   protecting the consumer.  And I think it's fair and reasonable,

2   if they want something on an accelerated basis -- I mean, two

3   of the three plants they haven't filed for site cert yet, they

4   don't know what the true cost is going to be because they

5   haven't firmly definitized the technology, and they're asking

6   for flexibility to be able to choose whatever they want to do

7   and asking for waiver of the Bid Rule, which is also a waiver

8   of locking in the cost that they've estimated.  And, you know,

9   to me, I'm concerned that if we don't hold them to that

10   standard, it's analogous to unrestrained costs that under the

11   favorable cost recovery treatment that's in the current

12   settlement agreement under the GBRA treatment they get first

13   year system revenue requirements and they just put it right in

14   the rate base.

15             And the bottom line here is that if this cost is what

16   they've stated in the prefiled testimony and that goes in the

17   rate base or whatever it is less than that, fine.  But if it

18   grows unbounded and suddenly that is the first year system

19   revenue requirement and we've waived our provision, who's to

20   say that, you know, they can't justify that?  They can justify

21   whatever they want to justify.  But to me, I'm not for on an

22   accelerated basis giving up express language that protects the

23   consumers.  It's plain and simple; we need to protect the

24   consumers.  I don't know why, you know, you have other

25   utilities looking to add additional baseload generation in the

FLORIDA PUBLIC SERVICE COMMISSION

569

1   same time frame and they're going through the normal process.

2             COMMISSIONER ARGENZIANO:  Okay.  Why -- that would be

3   my question, why are we not going through the normal process,

4   for what purpose?  If somebody would repeat that to me.  I may

5   be dense or whatever it is.  I'd like to know.

6             COMMISSIONER SKOP:  Well, essentially, at least I

7   think from what I've heard from the testimony of Mr. Taylor and

8   such, is that they conducted an RFP for WCEC 3 and did not do

9   so for the, for the conversion plants because it was temporally

10   in time.  They just took it and tweaked it to use it as a proxy

11   or a substitute for having to repeat the whole RFP process.

12   There may be some merit in that.  But there's certainly no

13   merit in my eyes in giving away express provisions.  If we

14   waive, arbitrarily waive the Bid Rule, we're giving out all the

15   express provisions.  I mean, maybe they don't have to rebid,

16   but certainly that provision in (15) protects the consumers.

17             COMMISSIONER ARGENZIANO:  Then that would be,

18   Mr. Chair, that would be my question to our counsel.  Are we

19   waiving, are we really waiving that protection for the

20   consumer?

21             CHAIRMAN CARTER:  I think that -- let me just kind

22   of, as I get ready to ask staff to comment, let me kind of jump

23   in here first.  This morning staff pointed out that that

24   specific language is in staff's recommendation, that specific

25   language that Commissioner Skop has talked about in terms of

FLORIDA PUBLIC SERVICE COMMISSION

570

1   the language in provision (15).  That will be in staff's

2   recommendation.

3             The other aspect of it is that complete issue will be

4   briefed by the parties and will be reviewed also by staff.  So

5   by the time we get ready to make a decision, we'll have that

6   information in front of us.

7             Staff, did I correctly characterize that?

8             MS. BROWN:  Yes, Mr. Chairman.  We will address all

9   these matters in our posthearing recommendation.

10             COMMISSIONER ARGENZIANO:  Okay.  So that, that

11   addresses the concern on the waiving of the consumers.

12             COMMISSIONER SKOP:  And to, Mr. Chair, to

13   Commissioner Argenziano's point -- and, again, I commend staff.

14   Again, I extended my apologies.  That certainly is staff's

15   initial position in terms of the Prehearing Order and

16   ultimately you guys will decide what comes in the final rec.

17             What I'd like to see is a little bit more

18   definitization of that because, again, I think that the concern

19   is it may find its way in there.  But, you know, certainly it's

20   an important issue as we move forward because, again, I think

21   the alternative is if they're not able to commit to the number

22   like they would in the normal process by what they put in bound

23   or paper -- because in any other need determination they're

24   bound to that number.  In WCEC 3, based -- if we don't waive

25   the Bid Rule because they did the bid for the RFP on WCEC 3,

FLORIDA PUBLIC SERVICE COMMISSION

571

1   they're bound to that number pursuant to this rule.  Now if we

2   waive it for the conversion plants, they're not bound to that

3   number anymore.  And to me it's just very important, if they're

4   not ready to commit themselves to the numbers that they

5   presented in direct testimony to this Commission, then maybe

6   they need to take a step back and go definitize the numbers a

7   little bit more.

8             COMMISSIONER ARGENZIANO:  Well, all I can say is at

9   this point to staff also, I am very concerned.  I do not want

10   to see any consumer protections being eliminated or, or waived.

11   So I'll look forward to the staff's recommendation, and I

12   understand fully what your concern is.

13             MS. BROWN:  And, Commissioner Argenziano, if I might

14   add, at the agenda there will be plenty of opportunity to

15   further discuss this and analyze what should be included in the

16   order.

17             CHAIRMAN CARTER:  Thank you.  Commissioners, anything

18   further?  Thank you all.

19             Ms. Brown, did we cover -- you gave the hearing dates

20   for briefs?

21             MS. BROWN:  Yes.  Yes.

22             CHAIRMAN CARTER:  Any concluding matters?

23             MS. BROWN:  Not that I'm aware of.

24             CHAIRMAN CARTER:  Mr. Anderson.

25             MR. ANDERSON:  We look forward to addressing all

FLORIDA PUBLIC SERVICE COMMISSION

572

1   these considerations in the brief.  We did want to take a

2   moment to thank very much your staff.  They've done an enormous

3   amount of work in their usual very high quality, integrity way,

4   and we're very appreciative to them.  Thank you.

5             CHAIRMAN CARTER:  Thank you.  Commissioners, with

6   that, we are adjourned.

7             (Proceeding adjourned at 4:45 p.m.)

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

573

1   STATE OF FLORIDA    )

:         CERTIFICATE OF REPORTER

2   COUNTY OF LEON      )

3

4             I, LINDA BOLES, RPR, CRR, Official Commission

Reporter, do hereby certify that the foregoing proceeding was

5   heard at the time and place herein stated.

6             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

7   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

8   proceedings.

9             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

10   or employee of any of the parties' attorneys or counsel

connected with the action, nor am I financially interested in

11   the action.

12              DATED THIS _____ day of June, 2008.

13

14                  _________________________________

LINDA BOLES, RPR, CRR

15                  FPSC Official Commission Reporter

(850) 413-6734

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION