|  | Contributor |  | Rich Zambo | Rich Zambo | Rich Zambo | Rich Zambo |
| --- | --- | --- | --- | --- | --- | --- |
| SOURCE | Company |  | FICA | FICA | FICA | FICA |
|  | Area | (if any) | FP&L, PEF, TECO | FP&L, PEF, TECO | FP&L, PEF, TECO | FP&L, PEF, TECO |
|  | Resource |  | Waste Heat | Waste Heat | Waste Heat | Waste Heat |
|  | Type |  | Waste Heat | Waste Heat | Waste Heat | Waste Heat |
|  | Scale |  | UNIT | UNIT | AGGREGATE | AGGREGATE |
|  | Status |  | Existing | Potential | Existing | Potential |
| AVAILABILITY | Capacity | (MW) | 8 MW to 58 MW (30 MW average) | Increments of about 8 MW dependent on site specifics(1) | 370 MW Existing | 140 MW Potential(1) |
|  | In-Service | (Year) | Existing | 2010 | Existing | 2010 |
|  | Construction | (Years) | Existing | 2 to 3 | Existing | 2 to 3 |
|  | Life of Unit | (Years) | 30 | 30 | 30 | 30 |
|  | Fuel Type |  | Waste Heat | Waste Heat | Waste Heat | Waste Heat |
| PERFORMANCE | Summer Peak | (MW) | 8 MW to 58 MW (30 MW average) | Available in 8 MW increments | 370 MW | 140 MW Potential |
|  | Winter Peak | (MW) | 8 MW to 58 MW (30 MW average) | Available in 8 MW increments | 370 MW | 140 MW Potential |
|  | Heat Rate | (BTU/kWh) | N/A (3) | N/A (3) | N/A (3) | N/A (3) |
|  | Availability | (%) | 95% | 95% | 95% | 95% |
|  | Generation | (MWh) | 170,000 MWH for 30 MW unit size (6) | 55,000 MWH | 2,100,000 MWH (6) | 1,000,000 MWH |
|  | Capacity | (%) | 65%(7) | 80%(2) | 65%(7) | 80%(2) |
| ENVIRONMENTAL | (CO2) | (lb/kWh) | 0.00 | 0.00 | 0.00 | 0.00 |
|  | (SO2) | (lb/kWh) | 0.00 | 0.00 | 0.00 | 0.00 |
|  | (NOX) | (lb/kWh) | 0.00 | 0.00 | 0.00 | 0.00 |
|  | (Hg) | (lb/kWh) | 0.00 | 0.00 | 0.00 | 0.00 |
|  | Water Usage | (gal/kWh) | 0.00 | 0.00 | 0.00 | 0.00 |
| ESTIMATED COST DATA | First Year | (Year) | 2008 (Existing) | 2010 | 2008 (Existing) | 2010 |
|  | Installed Capital | ($/kW) | N/A | $3,500 to $4,000 (4) | N/A | $3,500 to $4,000 (4) |
|  | Escalation Rate | (%) | Greater of 5% or CPI(4) | Greater of 5% or CPI | Greater of 5% or CPI(4) | Greater of 5% or CPI |
|  | Fixed O&M | ($/kW-year) | $40/kW-year | $40/kW-year | $40/kW-year | $40/kW-year |
|  | Escalation Rate | (%) | Greater of 5% or CPI(4) | Greater of 5% or CPI | Greater of 5% or CPI(4) | Greater of 5% or CPI |
|  | Variable O&M | ($/kWh) | 0.5 to 1.0 cent/kWh(4) | ½ to 1 cent/kWh(4) | ½ to 1 cent/kWh(4) | ½ to 1 cent/kWh(4) |
|  | Escalation Rate | (%) | Greater of 5% or CPI(4) | Greater of 5% or CPI(4) | Greater of 5% or CPI(4) | Greater of 5% or CPI(4) |
|  | Energy / Fuel | ($/kWh) | No fuel consumed except minimal natural gas for start-up. | No fuel consumed except minimal natural gas for start-up. | No fuel consumed except minimal natural gas for start-up. | No fuel consumed except minimal natural gas for start-up. |
|  | Escalation Rate | (%) | N/A (See above) | N/A (See above) | N/A (See above) | N/A (See above) |
|  | Discount Rate | (%) | Not Applicable (See note 5) | Not Applicable (See note 5) | Not Applicable (See note 5) | Not Applicable (See note 5) |
|  | Levelized Cost | (cents/kWh) | 10¢-12¢/kWh plus CPI excluding non-electric energy components (5) | 10¢-12¢/kWh plus CPI excluding non-electric energy components (5) | 10¢-12¢/kWh plus CPI excluding non-electric energy components (5) | 10¢-12¢/kWh plus CPI excluding non-electric energy components (5) |
|  |  |  | Footnotes: This data response is a good faith effort to provide the best available data under the constraints imposed. “Ranges” are used when specific data is not available or applicable in the circumstances. All rights are reserved to update or modify the data presented. | (1) The latest technology for additional waste heat recovery is typically available in increments of approximately 8 megawatt as a retrofit to existing sulfuric acid plants or as original equipment on new plants. Depending on site specifics incremental generating capacity could be as small as 8 megawatt or multiples of 8 megawatts |  | (1) The latest technology for additional waste heat recovery is typically available in increments of approximately 8 megawatt as a retrofit to existing sulfuric acid plants or as original equipment on new plants. Depending on site specifics incremental generating capacity could be as small as 8 megawatt or multiples of 8 megawatts |
|  |  |  | (2) The data forms request information sufficient to calculate and compare “effective” capacity contributions of each technology. FICA strongly encourages the Commission to do so. For Example: | (2) The data forms request information sufficient to calculate and compare “effective” capacity contributions each technology. FICA strongly encourages the Commission to do so. For Example: | (2) The data forms request information sufficient to calculate and compare “effective” capacity contributions each technology. FICA strongly encourages the Commission to do so. For Example: | (2) The data forms request information sufficient to calculate and compare “effective” capacity contributions each technology. FICA strongly encourages the Commission to do so. For Example: |

|  |  |  | An 800 mW coal plant, with an installed cost of $4 Billion would equate to a nominal installed cost $5,000 per kW. Assuming an 80% capacity factor, the effective capacity would be 640 mW and the effective cost would be $6250 per kW. (This cost does not include the cost of fuel or environmental costs which are substantial) | An 800 mW coal plant, with an installed cost of $4 Billion would equate to a nominal installed cost $5,000 per kW. Assuming an 80% capacity factor, the effective capacity would be 640 mW and the effective cost would be $6250 per kW. (This cost does not include the cost of fuel or environmental costs which are substantial) | An 800 mW coal plant, with an installed cost of $4 Billion would equate to a nominal installed cost $5,000 per kW. Assuming an 80% capacity factor, the effective capacity would be 640 mW and the effective cost would be $6250 per kW. (This cost does not include the cost of fuel or environmental costs which are substantial) | An 800 mW coal plant, with an installed cost of $4 Billion would equate to a nominal installed cost $5,000 per kW. Assuming an 80% capacity factor, the effective capacity would be 640 mW and the effective cost would be $6250 per kW. (This cost does not include the cost of fuel or environmental costs which are substantial) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | An 80 mW solar facility with an installed cost of $500 Million would equate to a nominal installed cost of $ $6,250 per kW. Assuming a 22% capacity factor, the effective capacity would be 17.6 mW and the effective cost would be in excess of $28,000 per kW. (This cost does not include environmental costs associated with some solar technologies.) | An 80 mW solar facility with an installed cost of $500 Million would equate to a nominal installed cost of $ $6,250 per kW. Assuming a 22% capacity factor, the effective capacity would be 17.6 mW and the effective cost would be in excess of $28,000 per kW. (This cost does not include environmental costs associated with some solar technologies.) | An 80 mW solar facility with an installed cost of $500 Million would equate to a nominal installed cost of $ $6,250 per kW. Assuming a 22% capacity factor, the effective capacity would be 17.6 mW and the effective cost would be in excess of $28,000 per kW. (This cost does not include environmental costs associated with some solar technologies.) | An 80 mW solar facility with an installed cost of $500 Million would equate to a nominal installed cost of $ $6,250 per kW. Assuming a 22% capacity factor, the effective capacity would be 17.6 mW and the effective cost would be in excess of $28,000 per kW. (This cost does not include environmental costs associated with some solar technologies.) |
|  |  |  | At $4,000 per kW), the effective installed cost of waste heat capacity would be $5,000 per kW - over 80% less than the effective cost of solar. Waste heat has all the positive attributes of solar photo-voltaic but at a much lower nominal and effective capacity cost per kW. Like solar photo-voltaic, waste heat has zero environmental costs or impacts. | At $4,000 per kW), the effective installed cost of waste heat capacity would be $5,000 per kW - over 80% less than the effective cost of solar. Waste heat has all the positive attributes of solar photo-voltaic but at a much lower nominal and effective capacity cost per kW. Like solar photo-voltaic, waste heat has zero environmental costs or impacts. | At $4,000 per kW), the effective installed cost of waste heat capacity would be $5,000 per kW - over 80% less than the effective cost of solar. Waste heat has all the positive attributes of solar photo-voltaic but at a much lower nominal and effective capacity cost per kW. Like solar photo-voltaic, waste heat has zero environmental costs or impacts. | At $4,000 per kW), the effective installed cost of waste heat capacity would be $5,000 per kW - over 80% less than the effective cost of solar. Waste heat has all the positive attributes of solar photo-voltaic but at a much lower nominal and effective capacity cost per kW. Like solar photo-voltaic, waste heat has zero environmental costs or impacts. |
|  |  |  | (3) Waste heat produces both process steam for manufacturing and byproduct electricity. As such, heat rate in the sense of a dedicated “fuel consuming” generating plant is not monitored or applicable in this instance. | (3) Waste heat produces both process steam for manufacturing and byproduct electricity. As such, heat rate in the sense of a dedicated “fuel consuming” generating plant is not monitored or applicable in this instance. | (3) Waste heat produces both process steam for manufacturing and byproduct electricity. As such, heat rate in the sense of a dedicated “fuel consuming” generating plant is not monitored or applicable in this instance. | (3) Waste heat produces both process steam for manufacturing and byproduct electricity. As such, heat rate in the sense of a dedicated “fuel consuming” generating plant is not monitored or applicable in this instance. |
|  |  |  | (4) This number is only a representative estimate that can vary significantly by specific application and various facility specific factors. (5) This is based on quantitative and qualitative factors including, but not limited to, internal hurdle rate, expected return on investment, other investment opportunities, risk assessment, and opportunity costs. Because retail electric rates are a major factor in determining the number, it will increase as electric rates increase. Basically this would be a price at which selling firm capacity and energy would be considered. (6) This number can vary significantly due to various factors such as, but not limited to, demand for fertilizer products and the associated production rates of sulfuric acid. Data provided is based on current operations which may not be representative of future operating rates (7) This number represents average capability that may vary due to factors such as facility specific characteristics and market demand for fertilizer products. Higher numbers in the 80% range are typical when fertilizer manufacturing is at facility design rates. Note also that turbine generator capacity is often oversized for various reasons, including a potential for future expansions, frame-size price breaks, or other operational factors. | (4) This number is only a representative estimate that can vary significantly by specific application and various facility specific factors. (5) This is based on quantitative and qualitative factors including, but not limited to, internal hurdle rate, expected return on investment, other investment opportunities, risk assessment and opportunity costs. Basically this is a price at which developing potential waste heat generating capacity would be considered. (6) This number can vary significantly due to various factors such as, but not limited to, demand for fertilizer products and the associated production rates of sulfuric acid. Data provided is based on current operations which may not be representative of future operating rates | (4) This number is only a representative estimate that can vary significantly by specific application and various facility specific factors. (5) This is based on quantitative and qualitative factors including, but not limited to, internal hurdle rate, expected return on investment, other investment opportunities, risk assessment, and opportunity costs. Because retail electric rates are a major factor in determining the number, it will increase as electric rates increase. Basically this would be a price at which selling firm capacity and energy would be considered. (6) This number can vary significantly due to various factors such as, but not limited to, demand for fertilizer products and the associated production rates of sulfuric acid. Data provided is based on current operations which may not be representative of future operating rates (7) This number represents average capability that may vary due to factors such as facility specific characteristics and market demand for fertilizer products. Higher numbers in the 80% range are typical when fertilizer manufacturing is at facility design rates. Note also that turbine generator capacity is often oversized for various reasons, including a potential for future expansions, frame-size price breaks, or other operational factors. | (4) This number is only a representative estimate that can vary significantly by specific application and various facility specific factors. (5) This is based on quantitative and qualitative factors including, but not limited to, internal hurdle rate, expected return on investment, other investment opportunities, risk assessment and opportunity costs. Basically this is a price at which developing potential waste heat generating capacity would be considered. (6) This number can vary significantly due to various factors such as, but not limited to, demand for fertilizer products and the associated production rates of sulfuric acid. Data provided is based on current operations which may not be representative of future operating rates |

Respectfully submitted via electronic filing by:

/s/	Richard A. Zambo													___________________________

Richard A. Zambo

Florida Bar No. 312525

Richard A. Zambo, P.A.

2336 S.E. Ocean Boulevard, #309

Stuart, Florida 34996

Ph:  (772) 221-0263

FAX:  (772) 232-0205														Email:	richzambo@aol.com

Attorney for: FICA, Tampa, SWA