Before The Florida Public Service Commission

In re: Establishment Of Rule On	)				         Docket No. 080503 - EI

Renewable Portfolio Standard	)

______________________________)				      Filed November 12, 2008

Questions Posed By Florida Industrial Cogeneration Association,

City of Tampa and Solid Waste Authority of Palm Beach County

Re:  Navigant Consulting's November 5, 2008 Florida Renewable Energy Potential Assessment Draft Report To Be Discussed During November 18, 2008 Florida Public Service Commission Staff Conference Call As Per November 5, 2008 FPSC Notice.

_____________________________________________________________________________

With respect to off-shore Wind energy:

         What costs are included for interconnecting the generators to the electrical grid?

         What costs are included for transmission from interconnection points to load centers?

         What costs are included for maintenance of interconnection/transmission components?

         What costs are included for “backup” during the hours the technology is unavailable?             	(i.e. to what extent can wind capacity actually avoid/defer traditional capacity?)

With respect to Solar energy:

         What assumptions are made regarding “degradation” of PV performance over time?

         What assumptions are made regarding impacts on transmission and distribution systems?

         What costs are included for “backup” during the hours the technology is unavailable?            	(i.e. to what extent can solar PV capacity actually avoid/defer traditional capacity?)

With respect to each technology addressed in the report:

         What are the “all-in” costs per kW for each of technology addressed?

         What are the levelized costs per kWh for each of technology addressed?

         What specifically is included in per kW and kWh costs for each technology addressed?

/s/	Richard A. Zambo

Richard A. Zambo, P.A. 
	2336 S.E. Ocean Boulevard, #309
	Stuart, Florida 34996
	Phone: 772 221 0263; FAX: 772 232 0205
	email: richzambo@aol.com

Attorney for:	Florida Industrial Cogeneration Association

City of Tampa

Solid Waste Authority of Palm Beach County