1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

3                                     DOCKET NO. UNDOCKETED

4       In the Matter of:

5       TEN-YEAR SITE PLANS

WORKSHOPS

6       _____________________/

7

8

PROCEEDINGS:        WORKSHOP

9

COMMISSIONERS

10       PARTICIPATING:      CHAIRMAN MATTHEW M. CARTER, II

COMMISSIONER LISA POLAK EDGAR

11                           COMMISSIONER KATRINA J. McMURRIAN

COMMISSIONER NANCY ARGENZIANO

12                           COMMISSIONER NATHAN A. SKOP

13       DATE:               Wednesday, August 19, 2009

14       TIME:               Commenced at 9:35 a.m.

Concluded at 10:10 a.m.

15

PLACE:              Betty Easley Conference Center

16                           Room 148

4075 Esplanade Way

17                           Tallahassee, Florida

18       REPORTED BY:        LINDA BOLES, RPR, CRR

Official FPSC Reporter

19                           (850) 413-6734

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1       PARTICIPATING:

2       SARAH ROGERS

VINCE ORDAX

3       JENNIFER BRUBAKER

PHILLIP ELLIS

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1                         P R O C E E D I N G S

2                 CHAIRMAN CARTER:  Good morning to one and all.

3                 COMMISSIONER EDGAR:  Good morning.

4                 COMMISSIONER McMURRIAN:  Good morning.

5                 CHAIRMAN CARTER:  Commissioner Argenziano, can

6       you hear us okay?

7                 COMMISSIONER ARGENZIANO:  Yes, I can hear you.

8       Can you hear me?

9                 CHAIRMAN CARTER:  Absolutely fine.  Fantastic.

10       Good morning to you.

11                 COMMISSIONER ARGENZIANO:  Good morning.

12                 CHAIRMAN CARTER:  I'd like to also say good

13       morning to everyone here in the hearing room, and

14       welcome to our workshop on the electric utilities'

15       Ten-Year Site Plans.

16                 Counsel, would you please read the notice?

17                 MS. BRUBAKER:  Certainly.  Pursuant to notice,

18       this time and place has been set aside for the purpose

19       of conducting a Commission workshop in the undocketed

20       review of Ten-Year Site Plans.

21                 CHAIRMAN CARTER:  Okay.  Just, I want to just

22       make a couple of statements.  And I think I'm -- some

23       people say brain dead.  I think I've revived my brain

24       slightly from yesterday.  But we have a brief agenda for

25       today's workshop.  It was attached to the notice.  I

FLORIDA PUBLIC SERVICE COMMISSION

4

1       think all parties received that.

2                 And basically the Florida Reliability

3       Coordinating Council is here to summarize the 2009

4       regional load and resource plan, and to also give us an

5       update on the evaluation of interdependency of electric

6       generation and natural gas pipelines.

7                 Commissioners and staff, you can ask

8       questions, if you wish.  And rather than me belabor the

9       point, why don't we proceed.  At this time I'd like to

10       turn the workshop over to staff.

11                 Staff, you're recognized.

12                 MR. ELLIS:  Thank you, Mr. Chairman.  Our

13       presenter today will be Ms. Sarah Rogers, who is

14       President and CEO of the FRCC.

15                 CHAIRMAN CARTER:  Good morning.  Welcome back.

16                 MS. ROGERS:  Good morning, Chairman Carter and

17       Commissioners.  Thank you for having us here today.

18                 We don't have a lot of change from previous

19       Ten-Year Site Plans, so I'll go through it fairly

20       quickly.  If you have any questions, please free to ask

21       as we go along.

22                 I would like to recognize, however, John Odom,

23       who is our Vice President of Planning and Operations;

24       Vince Ordax, who is our Manager of Planning; and Scott

25       Beecher, who is a Planning Engineer who puts together

FLORIDA PUBLIC SERVICE COMMISSION

5

1       the presentation for me each year.  So they, they do a

2       lot of work.

3                 CHAIRMAN CARTER:  So if anything goes wrong,

4       it's their fault; right?

5                 MS. ROGERS:  No.  I didn't execute their plan

6       well is the way I would put it.

7                 As you mentioned, we're going to go over the

8       load and resource plan, we're going to discuss fuel

9       reliability and we're going to review for you the

10       transmission planning process.

11                 Just to remind you, the purpose of the Florida

12       Reliability Coordinating Council is to ensure and

13       enhance the reliability and the adequacy of the bulk

14       electric supply in the State of Florida now and into the

15       future.  Just as a reminder, we're a not-for-profit

16       company.  We don't own any generation, any transmission,

17       any distribution assets.  We're simply here to ensure

18       the reliability and work together with the utilities to

19       coordinate their plans.

20                 Let's get right into the load and resource

21       plan.  The major change that you'll see is a significant

22       decrease in the load forecast, and there's several

23       reasons for that.  There's the deterioration of the

24       economic conditions, lower customer growth.  In fact,

25       for the first time in 63 years the population of Florida

FLORIDA PUBLIC SERVICE COMMISSION

6

1       has decreased as opposed to increased.  And 63 years ago

2       was during World War I (sic.) when we had a lot of

3       military people leave the state.  So this is very

4       unusual for us.

5                 There's also reductions in per customer

6       consumption, mandated energy efficiency, voluntary

7       conservation.  And in addition we've done some model

8       calibrations on the winter load that will be reflected

9       as well in the load forecast.

10                 Our summer peak has decreased from last year's

11       projections by about 8.6 percent, and this chart is

12       after the activation and exercise of dispatchable load

13       management and interruptibles.

14                 Something noteworthy on this next slide for

15       the winter is you'll see we've transitioned from being a

16       winter peaking state to a summer peaking state, with

17       revisions to the models and the forecasts for winter.

18       And there's an average decrease year, on year by

19       14 percent.  So that's fairly significant.  But the good

20       news is that helps us with our reserve margins.

21                 And we'll get into the generation forecast.

22       What we've done here is we've stacked the capacity

23       increases so that you can sort of see what's in state

24       and what's out of state.  So the first bars, the bottom

25       bars are in state, until you get up to the -- I don't

FLORIDA PUBLIC SERVICE COMMISSION

7

1       know what color you would call that.  The smaller light

2       blue bars at the top.  So Florida continues to be fairly

3       independent from the rest of the United States by having

4       most of the generation requirements within the state,

5       which I believe from a reliability standpoint is a good

6       thing.

7                 COMMISSIONER EDGAR:  Just -- because I'm, I'm

8       still trying to focus this morning.  I apologize.

9                 MS. ROGERS:  I'm sorry, and I'm going quickly.

10                 COMMISSIONER EDGAR:  No.  No.  No.  It's me,

11       not you.  The green, where it says "cumulative

12       additions," what is, what does that categorize or what

13       is that categorizing?

14                 MS. ROGERS:  That's additions by the utilities

15       in the state for generation inside the state.

16                 COMMISSIONER EDGAR:  So on-site additional --

17       okay.  All right.  Thank you.

18                 MS. ROGERS:  You're welcome.

19                 Well, now that we know what the load forecast

20       looks like and the generation forecast, let's look at

21       the reserve margins.  The reserve margins look very

22       comfortable.  I'll remind you that this is without load

23       management interruptibles.  And the winter looks much

24       higher than the summer for two reasons.  One was the

25       decrease in the load forecast, and also the generator

FLORIDA PUBLIC SERVICE COMMISSION

8

1       winter ratings are larger than in the summer.  So a

2       generator can produce more megawatts in the wintertime

3       than it can in the summertime.

4                 And if we look at this same chart without

5       invoking load management and interruptibles, you'll see

6       that we still are fairly comfortable on the winter side.

7       And there's, the reserve margin does fall short of the

8       15 percent, which means that there are occasions where

9       load management and interruptibles may be invoked in the

10       summertime.

11                 This is an important slide to look at because

12       we want to make sure that the reserve margin is not made

13       up of solely load management and interruptibles, meaning

14       that any time a generator or generators were

15       unavailable, that we were invoking that.  Because when

16       people have -- when the utilities have utilized load

17       management interruptibles significantly in the past, the

18       population sometimes or the general public sometimes

19       unsubscribes from those programs, and we like to see

20       that subscribership up.  So this is a good sign as well.

21       On average it's around, the load management and

22       interruptibles are around 30 percent of the reserve

23       margin.  So that's a good number.

24                 Our assessment, we look to ensure that the

25       regional planning reserve margin meets the 15 percent,

FLORIDA PUBLIC SERVICE COMMISSION

9

1       and the planned reserve margin actually exceeds

2       20 percent for all peak periods in the next ten years.

3       And that's again with the availability of dispatchable

4       load management and interruptibles.

5                 I showed you this slide last year to

6       demonstrate that Florida really leads the nation in load

7       management and interruptibles.  If you look at the other

8       reliability areas, Florida is at 7 percent demand-side

9       management as a percentage of regional peak.  And this

10       is very positive.  It enables us to avoid building about

11       3,200 megawatts of generation.  You know, they always

12       say the cheapest generation is the generation you don't

13       build.  And this is a compliment to the working

14       relationship between the Public Service Commission and

15       the utilities to make these programs work and to

16       encourage our public to participate in these programs.

17       Last year we were at 6.2 percent, so it continues to

18       increase.

19                 When we look at fuel diversity, there's a

20       little change here.  As the load forecast goes down, the

21       energy from gas will go down slightly.  And this slide

22       does include the addition of Levy 1 and 2 in 2016 and

23       2017.  And as you're aware, there's been an announcement

24       of approximately a 20-month delay.  So in the 2018 time

25       frame it probably would still look the same, assuming

FLORIDA PUBLIC SERVICE COMMISSION

10

1       that those two Levy units came in by 2018.

2                 But we are still dependent on, highly

3       dependent upon natural gas relative to the rest of the

4       United States.  The average in the United States is

5       about 20 percent.  Again, if you look at it from a

6       capacity standpoint, again, the story is the same.  And

7       this includes member-owned -- or the generation within

8       the FRCC region and purchases from nonutility generators

9       within the region.  So it doesn't include any exports or

10       generation that's owned by the utilities outside of the

11       state.

12                 CHAIRMAN CARTER:  Do you mind going back one

13       slide, please?  On the 2009, the renewables is less than

14       1 percent, and for 2018 is 1 percent.  Is there any way

15       to determine how that, what that makeup will be?

16                 MS. ROGERS:  I have a slide coming up to show

17       you that.

18                 CHAIRMAN CARTER:  Oh, okay.  Good.  I spoke

19       too soon.  Just ignore the man behind the screen.

20                 MS. ROGERS:  Well, no.  You're setting me up

21       perfectly.  In fact, if we -- I just talked about that

22       one.

23                 All right.  The renewable resource, again, the

24       majority of that is coming from municipal solid waste.

25       We've seen an increase in the biomass over the years.

FLORIDA PUBLIC SERVICE COMMISSION

11

1       And biomass, we include biomass solids like wood waste,

2       biomass liquids and biomass gases.

3                 And if we look going forward, the additions,

4       you can see the additions are mainly on the biomass

5       side:  A little bit of hydro, some solar, the Hutchinson

6       Island wind project.  And about 56 percent of this new

7       capacity is under firm contract with the utilities right

8       now.

9                 Does that answer the question that you're

10       looking for?

11                 CHAIRMAN CARTER:  Absolutely.  Thank you.

12                 MS. ROGERS:  Good.  Good.

13                 Conservation also is very important in the

14       state.  And this is really the energy efficiency

15       programs that the utilities have where they work with

16       residents, residential and commercial customers on HVAC,

17       duct repair, business lighting, commercial water heating

18       and refrigeration.

19                 And the nice story here is that, you know, I

20       mentioned before we've avoided about 3,200 megawatts of

21       generation through demand-side management.  In addition,

22       there's about 2,500 megawatts that have been avoided

23       through energy efficiency programs, and we project that

24       to continue to rise.  And that's, I think that's very

25       positive for the state as well.

FLORIDA PUBLIC SERVICE COMMISSION

12

1                 On the nuclear outlook, now this is the plans

2       that were submitted to us, so we do know that there has

3       been an announcement on the delay for Levy 1 and 2, but

4       we are seeing some significant additions to the system

5       from the nuclear side.  We're essentially doubling the

6       amount of capacity in the state.

7                 Energy production from natural gas.  Last year

8       this chart was a little different.  We've seen a

9       decrease in the energy production from natural gas, and

10       that's primarily related to the decrease in the load

11       forecasts.  Because nuclear and coal are a first step in

12       the dispatch, generally changes in the load forecast are

13       going to impact the amount of natural gas consumed.

14                 So our conclusion is the results of the

15       resource adequacy review indicate that the FRCC region

16       has planned adequate resources to remain reliable over

17       the next year, next ten years.

18                 I'm going to switch gears now and talk to you

19       a little bit about fuel reliability.  And there's three

20       subjects we're going to talk about:  The fuel

21       reliability working group, natural gas storage and fuel

22       reliability coordination and some of the tools and plans

23       that we have in place.

24                 A couple of years back FRCC started a

25       dedicated fuel reliability working group that reviews

FLORIDA PUBLIC SERVICE COMMISSION

13

1       the interdependencies of fuel availability and electric

2       reliability.

3                 And, Chairman Carter, we've expanded that

4       beyond just natural gas to include all fuel types,

5       because you never know when one is going to cause us

6       impacts.  So we look at all the fuels now.  And we

7       coordinate regional responses to fuel issues in

8       emergencies.  We have a gas study project that models

9       the natural gas system similarly to the way we model the

10       electric transmission system, where we can simulate

11       outages on the natural gas pipelines and see what

12       effects that would have on, on the generation within the

13       state.  We also, this group provides realtime emergency

14       response for storms, and they develop regional fuel

15       reliability positions.

16                 CHAIRMAN CARTER:  In your simulations do

17       you -- the time for the outages, do you do that on a

18       normal worst-case scenario -- well, I shouldn't say

19       normal, but -- that would be a worst-case scenario -- an

20       interruption for a storm or natural event for a week or

21       two weeks or something like that?

22                 MS. ROGERS:  Yes.  We can do that with the,

23       with the models.  And what we've looked at -- we haven't

24       looked at every contingency the way we do on the

25       transmission system.  And each year they identify what

FLORIDA PUBLIC SERVICE COMMISSION

14

1       contingencies to look at and then we evaluate those.

2       And what we've discovered so far with these models is

3       that the fact that the majority of the generation that's

4       dependent upon natural gas also has either an alternate

5       fuel source or alternate pipeline capability, we really

6       don't have a lot of vulnerability from interruptions of

7       gas supply.

8                 CHAIRMAN CARTER:  Thank you.

9                 MS. ROGERS:  This is also a good story to show

10       you the natural gas storage accessible to Florida.

11                 The first line that says, is the Southeast

12       Supply Header, and that's really been a very positive

13       impact for Florida.

14                 As you may recall, last year gas production in

15       the Gulf was interrupted for a fairly significant amount

16       of time.  And when that happened in 2005, we did have

17       some generating capacity alerts and some concerns within

18       the state.  But the Southeast Supply Header actually

19       connects the Florida system to onshore gas production.

20       So we're no longer solely dependent upon the Gulf

21       production.  And then when you look at the increase in

22       the natural gas storage, that's also a very positive

23       sign for Florida and a very positive impact to

24       reliability for the state.

25                 The tools and plans that we have in place,

FLORIDA PUBLIC SERVICE COMMISSION

15

1       last year we incorporated fuel shortages into our

2       generating capacity shortage plan.  We incorporated it

3       into our hurricane manual.  We have some communication

4       protocols between the Reliability Coordinator in the

5       state and the generator operators and the natural gas

6       transportation service providers.  We've really had a

7       great relationship with the natural gas transmission

8       owners.

9                 And as I mentioned before, the gas study

10       project.  In 2010 we're going to look more deeply into

11       the fuel oil storage, exactly how much are the utilities

12       storing and what, how many days does that provide us.

13       We'll continue to look at loss of pipeline and loss of

14       natural gas supply to the region from the Gulf and

15       continue the modeling updates.

16                 So in summary, the fuel reliability working

17       group which reports to the operating subcommittee and

18       our standing committee of the operating committee, they

19       promote fuel reliability awareness, they continue to

20       refine the processes for minimizing impacts on fuel

21       issues, we perform proactive fuel assessments and

22       studies, we look at the natural gas storage, and we've

23       seen that that's increasing.  We've got supply diversity

24       increasing with the Cypress Pipeline and access to

25       liquid natural gas and, as I mentioned before, the

FLORIDA PUBLIC SERVICE COMMISSION

16

1       Southeast Supply Header.  And we have good communication

2       protocols in place between the Reliability Coordinator,

3       the State Capacity Emergency Coordinator, and the

4       pipeline companies.

5                 CHAIRMAN CARTER:  Excuse me.  Are they -- when

6       you say supply diversity increasing and you mentioned

7       Cypress, are they expanding that line or just still

8       going to be just coming in from north of Jacksonville,

9       that area?

10                 MS. ROGERS:  I don't believe that they've

11       expanded it, but that does provide us, you know, with

12       some diversity.

13                 CHAIRMAN CARTER:  Oh, okay.  Thank you.

14                 MS. ROGERS:  And in conclusion, we do not

15       anticipate any fuel transportation issues affecting

16       resource capabilities during peak periods or extreme

17       weather based on the fuel studies that we've done, the

18       current fuel diversity and the alternate fuel

19       capability.

20                 We're getting through this rather quickly.  So

21       this is the last subject I'm going to talk to you about.

22                 CHAIRMAN CARTER:  You guys do a good job.

23                 MS. ROGERS:  The last subject I'm going to

24       talk to you about is just our transmission planning

25       process.  When the Public Service Commission closed the

FLORIDA PUBLIC SERVICE COMMISSION

17

1       docket on GridFlorida, they had asked the utilities and

2       FRCC to look for ways to improve our regional planning

3       process and coordinate -- and coordination of the plans

4       amongst the utilities.  And we developed the FRCC

5       planning process as a result of that, and it's governed

6       by our planning committee, which is a standing committee

7       of the board of directors.  The planning committee

8       promotes the reliability of the bulk electric system.

9       They assess and encourage generation and transmission

10       adequacy.  They provide a vehicle for ensuring that

11       transmission planning within the state will provide for

12       the development of a robust transmission network.

13                 And within the planning committee there are

14       three working groups.  We have a transmission working

15       group that assesses the long-term transmission plans of

16       the utilities; the stability working group, which

17       assesses the stability of the bulk electric system; and

18       we have the reliability working group that performs a

19       reliability assessment of the FRCC resource adequacy.

20                 The types of studies that we do, we do a

21       summer seasonal assessment and a winter seasonal

22       assessment.  We perform the ten-year transmission

23       reliability study, we look at inter-regional

24       transmission studies and we look at resource

25       deliverability.  And I'll talk a little bit about those.

FLORIDA PUBLIC SERVICE COMMISSION

18

1                 But first what we measure against are the NERC

2       transmission planning standards.  And these standards

3       essentially require that if you lose a single element,

4       that minimal local loss of load occurs.  That if you

5       lose multiple elements, that there's a controlled loss

6       of load.  And in extreme outage events that there's no

7       wide area cascading loss of load like the Northeast

8       blackout in 2005.  And then we also performed the 2009

9       to 2018 transmission plans to make sure that they

10       satisfy these tests.

11                 CHAIRMAN CARTER:  Commissioner Skop?

12                 COMMISSIONER SKOP:  Thank you, Mr. Chair.

13                 Good morning, Ms. Rogers.  With respect to the

14       reliability standards test, what lessons learned and

15       best practices has FRCC implemented as a result of last

16       year's outage?

17                 MS. ROGERS:  We performed an event analysis,

18       and the event analysis team identified, I believe it was

19       19 actions to take.  And in the transmission planning

20       area, I'm going to have to ask Vince.  Were there any

21       recommendations specifically?

22                 MR. ORDAX:  Just I guess to continue to review

23       the types of contingencies that we're evaluating and

24       make sure that we're capturing, basically meeting the

25       requirements of the standards.  And we've been doing

FLORIDA PUBLIC SERVICE COMMISSION

19

1       that, except, you know, we need to make sure we update

2       those lists continuously.

3                 COMMISSIONER SKOP:  Thank you.

4                 MS. ROGERS:  And if you look at that outage,

5       there was the disabling of two levels of protection and

6       then a fault on the system.  So that would be considered

7       a multiple element outage, and there was controlled loss

8       of load.  So it did meet this measure.

9                 When we look at the inter-regional

10       transmission study, what we essentially look at there is

11       the amount of reliable import and export capability on

12       the FRCC Southern transmission interface.  And these are

13       the numbers.  They're very similar to last year.

14       There's no change in the summer import or export.

15       There's a slight increase in the winter export of 100

16       megawatts and a slight decrease on the export in the

17       wintertime of 200 megawatts.

18                 CHAIRMAN CARTER:  One second.

19                 Commissioner Skop.

20                 COMMISSIONER SKOP:  Thank you, Mr. Chair.

21                 Just one more question with respect to the

22       Southern transmission interface.  Is that, I guess as

23       Florida continues to grow and add additional baseload

24       generation, is that interface going to be adequate in

25       terms of being able to bring power in, importing power

FLORIDA PUBLIC SERVICE COMMISSION

20

1       into Florida, or are additional transmission upgrades

2       going to be necessary?

3                 MS. ROGERS:  We, that's one reason we evaluate

4       the import/export.  And we have not had a lot of

5       transmission requests to import additional generation

6       that we are dependent upon without the in-state

7       generation.  Is that making sense?

8                 COMMISSIONER SKOP:  It does.

9                 MS. ROGERS:  And, Vince, do you want to,

10       again --

11                 MR. ORDAX:  Yeah.  Actually on one of the

12       slides that Sarah had up there earlier it shows that

13       we're bringing in, we're expected to bring in less power

14       from Southern into Florida.  So the export -- the import

15       into Florida is decreasing, is expected to decrease over

16       time, so we'll be relying less on the interface.  So I

17       wouldn't expect to see the interface needing to be

18       increased unless some resources are built and purchased

19       to bring power into Florida.

20                 COMMISSIONER SKOP:  Okay.  And I guess just to

21       understand my, my concern would be, you know, just the

22       updating and replacement of aging infrastructure to make

23       sure that we have high reliability standards, so.

24                 MS. ROGERS:  Thank you.  And the slide that

25       Vince was referencing is Slide 8.  I assume you may have

FLORIDA PUBLIC SERVICE COMMISSION

21

1       the slide.  I can try to --

2                 COMMISSIONER SKOP:  That's fine.

3                 MS. ROGERS:  Okay.  My eyes are getting bad.

4       I can't read the page numbers from the podium.

5                 We also look at resource deliverability, and I

6       think this is very important for the State of Florida.

7       And not all regions do this.  But we evaluate the

8       transmission requests to ensure that transmission

9       service requests do not have negative impacts on

10       adjacent utilities' transmission systems.  And we, since

11       we last met, we've completed five of those of

12       evaluations for a total of 632 megawatts.

13                 We also, FRCC reviews the generation

14       interconnect service requests, again to make sure that

15       there are not unforeseen impacts on adjacent

16       transmission systems.  And we've completed eight of

17       those for a total of 2,088 megawatts, and we've got

18       three evaluations currently under review.

19                 So our conclusion on the transmission

20       reliability is that the results of the assessment

21       indicate that the planned transmission system within

22       FRCC is expected to remain reliable for the next ten

23       years.  And so essentially our story here today, to sum

24       it up for you, is that we've reviewed the load forecast.

25       The load forecast has gone down.  We've reviewed the

FLORIDA PUBLIC SERVICE COMMISSION

22

1       generation additions and they're adequate to meet the

2       needs, and the transmission system itself is adequate to

3       deliver that to the customers in the state.

4                 And then I've got two slides that show some of

5       the significant transmission projects.  And it's not my

6       intent go over those, but within the next ten years we

7       will, the utilities in the state will be building about

8       625 miles of transmission class projects, so.

9                 And it's open for any further questions.

10                 CHAIRMAN CARTER:  Commissioner McMurrian.

11                 COMMISSIONER McMURRIAN:  Thank you.

12                 Ms. Rogers, I was just looking at this list.

13       And for the ones that are identified with the Levy unit,

14       the transmission projects, would the, the in-service

15       dates on these remain the same or would they also be

16       subject to delay?

17                 MS. ROGERS:  I don't know the answer to that.

18                 Is someone from Progress Energy here who could

19       answer that?

20                 So the question is are the lines associated

21       with the Levy plant going, are the in-service dates

22       going to be delayed for, for example, the 20 months that

23       we expect the units to be delayed?

24                 CHAIRMAN CARTER:  Turn your microphone on.

25       Have a seat and turn your microphone on.  There you go.

FLORIDA PUBLIC SERVICE COMMISSION

23

1                 UNIDENTIFIED SPEAKER:  I guess the short

2       answer would be yes.  But, you know, with the

3       construction of the transmission, because it's such, you

4       know, a major transmission project, it'll probably be

5       sequenced in, you know, maybe a couple of years before

6       the actual units come online.

7                 COMMISSIONER McMURRIAN:  Okay.  Thank you.

8                 CHAIRMAN CARTER:  Commissioner Edgar.

9                 COMMISSIONER EDGAR:  Two points or questions,

10       and the first is perhaps maybe completely unrelated.  So

11       if, so I'll just --

12                 CHAIRMAN CARTER:  It's not like we haven't

13       asked that already.

14                 COMMISSIONER EDGAR:  I mean really probably

15       unrelated.  But is the FRCC doing anything or are you

16       aware of, are utilities doing anything regarding line

17       loss or how to reduce line loss?

18                 MS. ROGERS:  The FRCC doesn't get directly

19       involved in that.  The utilities provide us what their

20       line losses are for the models, but we don't do anything

21       to, to analyze that.

22                 COMMISSIONER EDGAR:  Which is actually a

23       question that I've been, an issue that I've been

24       interested in.

25                 MR. ORDAX:  Yeah.  At the FRCC we don't --

FLORIDA PUBLIC SERVICE COMMISSION

24

1                 COMMISSIONER EDGAR:  It's not you.

2                 MR. ORDAX:  No.  Right.

3                 COMMISSIONER EDGAR:  Okay.  But it comes to

4       mind, obviously, looking at new transmission projects,

5       thinking about, you know, how we're continuing to

6       improve the efficiency of, of what we have that is

7       already sited and built and paid for.  So that's kind of

8       what, where my thinking was then.

9                 What I hope is a more related --

10                 CHAIRMAN CARTER:  Can I piggyback on your

11       first question?

12                 COMMISSIONER EDGAR:  I'm sorry?

13                 CHAIRMAN CARTER:  May I piggyback on your

14       first question?

15                 COMMISSIONER EDGAR:  Absolutely.

16                 CHAIRMAN CARTER:  Even though you guys don't

17       do that, do you, do you have knowledge of any companies

18       that are, in Florida that are currently dealing with

19       this issue, even from a study standpoint or a planning

20       standpoint or many even some pilot programs on the loss

21       of power during the lines?

22                 MR. ORDAX:  They might evaluate those.  I'm

23       not aware of any that do it specifically.  But when they

24       evaluate alternatives for a specific solution or a

25       project, they probably -- they may consider losses in

FLORIDA PUBLIC SERVICE COMMISSION

25

1       their analysis in order to select the preferred

2       alternative.  That's at their, at their level of detail,

3       but -- and they may do it or may not do it.  But all

4       those losses, like Sarah said, the models are very

5       detailed, so we would see that.  And whenever you add

6       any new transmission, especially the magnitude that

7       Progress is going to do, I would expect the losses to go

8       down.  Usually when you reduce the impedence on the

9       network that's what happens.

10                 CHAIRMAN CARTER:  Thank you, Commissioner.

11                 COMMISSIONER EDGAR:  Thank you.

12                 And I'll just say, Tom, that may be something

13       I want to look into a little bit at some point.

14                 What I hope will be perhaps a more related

15       question, I am looking back at Slide 10.

16                 MS. ROGERS:  Uh-huh.

17                 COMMISSIONER EDGAR:  And you did discuss this

18       particular slide in detail, but if you could do that for

19       me again because I do think this is an important one, as

20       you said.  And, again, regarding the comment you made

21       earlier about Florida's peak time moving from winter to

22       summer and with the summer reserve margin without the

23       load management and interruptible not completely being

24       projected -- anyway, if you could just, just discuss

25       that point a little bit more and what that means.

FLORIDA PUBLIC SERVICE COMMISSION

26

1                 MS. ROGERS:  Certainly.  The FRCC region has a

2       requirement to have a 15 percent reserve margin.  And

3       that's really to take into account unexpected losses of

4       elements of generation and perhaps transmission.  And

5       this slide shows that even in the summertime we exceed

6       that 15 percent without the utilization of load

7       management and interruptibles.  And from a reliability

8       standpoint we view that as a positive because our

9       experience has been when the utilities utilize load

10       management and interruptibles on a regular basis, that

11       it's a voluntary program and people can unsubscribe to

12       it.  So it's only -- when everyone wants electricity is

13       during the extreme weather, and so that is typically

14       when load management interruptibles are utilized when

15       people least want them to be utilized.  And so people

16       are willing to put up with it upon occasion, but if it

17       were an everyday occurrence, sometimes you see people

18       unsubscribe to the system.

19                 COMMISSIONER EDGAR:  So another point from

20       this slide, do I have this right, is that in the summer

21       months without the interruptible and without the load

22       management we exceed the 15 percent reserve margin

23       projected out for the ten years and that the -- and

24       that's the good news -- and, and that in the winter

25       months even significantly above the 20 percent?

FLORIDA PUBLIC SERVICE COMMISSION

27

1                 MS. ROGERS:  Correct.  That's correct.

2                 COMMISSIONER EDGAR:  Thank you.

3                 MS. ROGERS:  You're very welcome.

4                 CHAIRMAN CARTER:  Commissioners, anything

5       further from the bench?

6                 Staff?

7                 MR. ELLIS:  Staff has no questions at this

8       time, although we'd like to note that the staff's review

9       of the 2009 Ten-Year Site Plans is tentatively scheduled

10       for Internal Affairs on October 5th.

11                 CHAIRMAN CARTER:  Okay.  Good deal.

12                 Commissioners, anything further?

13                 Ms. Rogers, once again you have wowed us with

14       your whizbang presentation.

15                 MS. ROGERS:  I kept it short.

16                 CHAIRMAN CARTER:  And you guys did a pretty

17       good job with the slides.  Thank you so very, very much.

18                 MS. ROGERS:  You're very welcome.  Thank you.

19                 CHAIRMAN CARTER:  Staff, anything further?

20                 MR. ELLIS:  Nothing further.

21                 CHAIRMAN CARTER:  One second.  Do we have

22       anyone from the audience that wants to give some public

23       input on the presentation today?  Going once.  All

24       right.  Hearing none, we are adjourned.

25                 (Workshop adjourned at 10:10 a.m.)

FLORIDA PUBLIC SERVICE COMMISSION

28

1       STATE OF FLORIDA    )

:         CERTIFICATE OF REPORTER

2       COUNTY OF LEON      )

3

4                 I, LINDA BOLES, RPR, CRR, Official Commission

Reporter, do hereby certify that the foregoing

5       proceeding was heard at the time and place herein

stated.

6

IT IS FURTHER CERTIFIED that I

7       stenographically reported the said proceedings; that the

same has been transcribed under my direct supervision;

8       and that this transcript constitutes a true

transcription of my notes of said proceedings.

9

I FURTHER CERTIFY that I am not a relative,

10       employee, attorney or counsel of any of the parties, nor

am I a relative or employee of any of the parties'

11       attorneys or counsel connected with the action, nor am I

financially interested in the action.

12

DATED THIS _____ day of _____________________,

13       2009.

14

15                  ________________________________

LINDA BOLES, RPR, CRR

16                 FPSC Official Commission Reporter

(850) 413-6734

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION