1

1                              BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

3       In the Matter of:

DOCKET NO. 090451-EM

4

JOINT PETITION TO DETERMINE

5       NEED FOR GAINESVILLE RENEWABLE

ENERGY CENTER IN ALACHUA COUNTY,

6       BY GAINESVILLE REGIONAL UTILITIES

AND GAINESVILLE RENEWABLE ENERGY

7       CENTER, LLC.

__________________________________/

8

9

10

11

12                               VOLUME 1

13                         Pages 1 through 187

14              ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

15               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

16

17       PROCEEDINGS:        SERVICE and TECHNICAL HEARING

18       COMMISSIONERS

PARTICIPATING:      COMMISSIONER LISA POLAK EDGAR

19                           COMMISSIONER NANCY ARGENZIANO

COMMISSIONER NATHAN A. SKOP

20                           COMMISSIONER DAVID E. KLEMENT

21       DATE:               Wednesday, December 16, 2009

22       TIME:               Commenced at 9:30 a.m.

23

REPORTED BY:        JANE FAUROT, RPR

24                           LINDA BOLES, RPR, CRR

Official FPSC Reporters

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1       APPEARANCES:

2                 ROY C. YOUNG, ESQUIRE and SCHEF WRIGHT,

3       ESQUIRE, Young Law Firm, 225 South Adams Street, Suite

4       200, Tallahassee, Florida 32301, appearing on behalf of

5       Gainesville Regional Utilities and Gainesville Renewable

6       Energy.

7                 ERIK L. SAYLER, ESQUIRE and MARTHA CARTER

8       BROWN, ESQUIRE, FPSC General Counsel's Office, 2540

9       Shumard Oak Boulevard, Tallahassee, Florida 32399-0850,

10       appearing on behalf of the Florida Public Service

11       Commission Staff.

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1                              I N D E X

2

3                                                      PAGE NO.

4       Statement by Mr. Bussing                         11

5       Statement by Ms. Dian Deevey                     32

6       Opening Statement by Mr. Wright                  47

7

8

9

10                              WITNESSES

11

NAME:                                          PAGE NO.

12

SHERWIN L. HENRY

13

Direct Examination by Mr. Wright                55

14       Prefiled Testimony of Pegeen Hanrahan Inserted  57

Cross Examination by Mr. Sayler                 65

15

EDWARD J. REGAN

16

Direct Examination by Mr. Wright                68

17       Prefiled Direct Testimony Inserted              76

Cross Examination by Mr. Sayler                135

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

4

1                              EXHIBITS

2       NUMBER:                                 ID.    ADMTD.

3       23        Composite, Tom Bussing        9        38

4       1         Comprehensive Exhibit List    36       36

5       2-6       Public Hearing Exhibits       36       36

6       7         Staff's Stipulated Exhibit    37       37

7       24        Staff's Summary Package       38       38

of GRU's Testimony and Exhibits

8

25        Staff's Rate Impact Chart     38       38

9

26        Corrected Interrogatory       41       41

10                 Responses

11       27        GREC Need for Power

Application                   42       42

12

28        Notice of Publication         43       44

13

29        12/9/09 PowerPoint            44       44

14                 Presentation

15       30        Executed Climate Change

Agreement                     44       44

16

8   EJR-1                               71

17

18       9   EJR-2                               71

19       10  EJR-3                               71

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

5

1

2

3

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

6

1                         P R O C E E D I N G S

2                 COMMISSIONER EDGAR:  Good morning.  If I could

3       ask everybody to gather; we'll get started here. I call

4       this hearing to order, and I ask that our staff read the

5       notice to help us start off.

6                 MR. SAYLER:  By notice issued November 13th,

7       2009, this time and place were set for a hearing

8       conference in Docket Number 090451-EM, the joint

9       petition to determine need for Gainesville Renewable

10       Energy Center in Alachua County by Gainesville Regional

11       Utilities and Gainesville Renewable Energy Center, LLC.

12       The purpose of the hearing is set forth out in the

13       notice.

14                 COMMISSIONER EDGAR:  Thank you.  And let's

15       take appearances from the attorneys representing the

16       parties to this matter.

17                 MR. WRIGHT:  Thank you, Madam Chairman.

18                 Schef Wright and Roy Young of the law firm of

19       Young van Assenderp appearing on behalf of Gainesville

20       Regional Utilities and Gainesville Renewable Energy

21       Center, LLC.

22                 COMMISSIONER EDGAR:  Thank you.  And staff.

23                 MR. SAYLER:  Erik Sayler and Martha Brown

24       appearing on behalf of the Commission.

25                 MS. BRUBAKER:  Jennifer Brubaker and Mary Anne

FLORIDA PUBLIC SERVICE COMMISSION

7

1       Helton, advisors to the Commission.

2                 COMMISSIONER EDGAR:  Thank you.

3                 Mr. Sayler, preliminary matters.  And let me

4       just say, I'm sorry, before I ask you to go over that.

5       This is sort of a two-part proceeding.  We will go over

6       some preliminary matters, and then we will have the

7       continuation of the public testimony portion of this

8       proceeding, which is a continuation, basically, of the

9       public comment period that we had in Gainesville last

10       week.  Then after the public testimony portion we will

11       move into the technical evidentiary portion.

12                 So, Mr. Sayler, anything preliminary to

13       address?

14                 MR. SAYLER:  There are a number of stipulated

15       exhibits and staff would recommend that that be taken up

16       after we convene the technical hearing.

17                 COMMISSIONER EDGAR:  Okay.  Does that work for

18       you, Mr. Wright?

19                 MR. WRIGHT:  Yes, Madam Chairman.  Thank you.

20                 COMMISSIONER EDGAR:  Thank you.

21                 MR. SAYLER:  And staff also suggests that any

22       exhibits proffered during the testimony be numbered

23       sequentially following the exhibit list, and staff

24       suggests waiting until the technical portion of the

25       hearing before moving any of those additional exhibits

FLORIDA PUBLIC SERVICE COMMISSION

8

1       into the record.

2                 COMMISSIONER EDGAR:  Yes, sir.

3                 MR. SAYLER:  And, also, to give the utility an

4       opportunity to take a look at any exhibits proffered by

5       witnesses during the public testimony portion before

6       moving those into the record.

7                 COMMISSIONER EDGAR:  Mr. Wright, have you had

8       the opportunity to look at the exhibits that were marked

9       while we were in Gainesville?

10                 MR. WRIGHT:  Madam Chairman, the exhibits from

11       the Gainesville public hearing, yes, we have, and we

12       don't object to their admission.

13                 COMMISSIONER EDGAR:  Okay.  We will take that

14       up, then.  I just wanted to make sure that you had had

15       that opportunity.  Okay.

16                 Anything else before we move into the public

17       testimony portion?

18                 MR. SAYLER:  Not that I'm aware of.

19                 COMMISSIONER EDGAR:  Commissioners, any

20       comments before we do that?  Okay.

21                 Then I understand that we have some people who

22       have driven over from Gainesville to address us.  We

23       appreciate you making the drive.

24                 Just as we did in Gainesville, for those of

25       you who were able to join us then, I will call the names

FLORIDA PUBLIC SERVICE COMMISSION

9

1       from the list that we have.  Because your testimony will

2       be part of the record of this proceeding, we'll need to

3       swear you in.  And so, if you would, stand with me as a

4       group and raise your right hand.

5                 (Witnesses sworn.)

6                 COMMISSIONER EDGAR:  If you do have -- for

7       those of you that would like to speak to us, if you do

8       have any documents that you would like to become a part

9       of the record, please share that with us when you come

10       forward.  And I'm going to go down the list that I have,

11       and the first name that I have is Tom Bussing.

12                 Mr. Bussing, welcome.  I recognize you from

13       when we were in Gainesville last week.  If you would

14       have a seat there, and make sure that your microphone is

15       on.  And I'm told that it is.  Go ahead and proceed and

16       make yourself comfortable.

17                 MR. BUSSING:  Testing.  I have a loud voice, I

18       don't want to knock anybody over.

19                 COMMISSIONER EDGAR:  Go ahead and have a seat.

20                 MR. BUSSING:  Should I bring my exhibits?

21                 COMMISSIONER EDGAR:  Oh, yes, please.  Do you

22       have multiple copies?  Let me ask, can somebody on staff

23       maybe help us and help Mr. Bussing distribute?  Just

24       take a moment, that's fine.

25                 (Pause.)

FLORIDA PUBLIC SERVICE COMMISSION

10

1                 COMMISSIONER EDGAR:  Okay, thank you.

2                 Okay.  Mr. Bussing, you have passed out and

3       our staff is helping to distribute two documents; one is

4       labeled the ratepayer case, and the second is labeled or

5       titled Natural Gas from Shale Portends Opportunity for

6       Americans, The Economy.  Are those the correct

7       documents?

8                 MR. BUSSING:  Yes, Madam Chair, those are

9       the --

10                 COMMISSIONER EDGAR:  Okay.  If you will give

11       us just a minute.

12                 And, Mr. Sayler, I believe we are at Exhibit

13       Number 23.

14                 MR. SAYLER:  Yes, ma'am.  Are you going to do

15       them separately or together as a composite?

16                 COMMISSIONER EDGAR:  Let's do a composite.

17                 MR. SAYLER:  All right.  Composite Exhibit

18       Number 23 from Witness Tom Bussing.  A short title would

19       be Ratepayer Case and Natural Gas from Shale.

20                 COMMISSIONER EDGAR:  It works for me.

21                 Mr. Wright, are you with us?

22                 MR. WRIGHT:  Yes, I am, Madam Chairman.

23                 COMMISSIONER EDGAR:  Thank you.

24                 (Composite Exhibit Number 23 marked for

25       identification.)

FLORIDA PUBLIC SERVICE COMMISSION

11

1                 COMMISSIONER EDGAR:  Okay.  Mr. Bussing, I

2       think we have the documents.  Again, thank you for

3       joining us, and we look forward to your comments.

4                 MR. BUSSING:  Thank you, Madam Chair.

5                 For the record, my name is Tom Bussing.  I'm a

6       former mayor of the City of Gainesville, and I am

7       thoroughly familiar with issues affecting our regional

8       utility.  I need about ten or more minutes of your time

9       to share with you my concerns about the application

10       before you.

11                 COMMISSIONER EDGAR:  Okay, Mr. Bussing, I will

12       ask, because we did have the opportunity for your

13       comments, which are part of the record, that you use

14       your time here this morning to not recover, but to talk

15       about any other information that you would like to share

16       with us.

17                 MS. BUSSING:  Yes.  Definitely, I will refer,

18       but very briefly, to the testimony I gave in

19       Gainesville.  And if it is a convenience to the Chair,

20       two of the other speakers who came with me agree that my

21       remarks incorporate their concerns, and they are willing

22       to cede their time in order to expedite the hearing and

23       allow me to complete my remarks.

24                 COMMISSIONER EDGAR:  Well, anyone who has

25       driven all this way to speak to us we are glad to hear

FLORIDA PUBLIC SERVICE COMMISSION

12

1       from.  So if they would like to speak to us, that is

2       fine.  Why don't you go ahead, and just recognizing that

3       I would ask you to spend your time on new information to

4       share with us.

5                 MR. BUSSING:  I will.

6                 COMMISSIONER EDGAR:  Okay.

7                 MR. BUSSING:  Thank you.

8                 We, the ratepayers, need to be represented in

9       these proceedings.  We know that you are by law

10       committed to make sure that the utility provides safe,

11       affordable, and reliable service.  The GRU proposal

12       fails on all three of these criteria.  Due to time

13       constraints, I will focus largely on the costs.

14                 This proposed plan is neither affordable nor

15       cost-effective based on GRU's own calculations.  The

16       proposal is experimental and costly.  GRU does not offer

17       evidence that the proposed service will be affordable.

18       GRU concedes from the beginning this proposed plant

19       would be more costly than even combined cycle natural

20       gas.  GRU hopes it will become more cost-effective in

21       time due to energy market changes.  The evidence is

22       absent.

23                 GRU's projection of utility power needs is

24       flawed.  There is insufficient evidence to justify a

25       need for this power.  GRU's future energy use projection

FLORIDA PUBLIC SERVICE COMMISSION

13

1       is merely conjecture.  It represents a hope that energy

2       use will expand.

3                 They have presented no valid evidence to

4       support that claim.  The data revealed that

5       conservation, the most affordable source of power, is

6       advancing in Gainesville.  GRU ignored the potential for

7       retrofitting combustion turbines at Deer Haven as

8       combined cycle units.  These would reclaim additional

9       power from fuel we already used in the combustion

10       turbine.  You should ask in the hearing why doesn't GRU

11       maximize these existing gas units at Deer Haven.

12                 GRU's projection of future natural gas prices

13       is flawed.  Shale gas has drastically altered

14       projections about price and supply of natural gas in

15       this country.  Expanding estimates of recoverable

16       supplies, that is the second piece of evidence that I

17       have submitted -- I can expand on this if time allows,

18       but you should be sure to ask in this hearing why has

19       GRU not included this new information on shale gas in

20       their model.

21                 GRU's projection on wood fuel costs is flawed.

22       GRU claims it has everything covered except the unknown

23       fuel costs.  Fuel costs are key to analyzing this

24       proposal and yet that topic is redacted out of the

25       public version of the contract, which for the benefit of

FLORIDA PUBLIC SERVICE COMMISSION

14

1       Commissioner Argenziano that was not Gainesville, I did

2       present and they are in the evidence the contract, as

3       the public has seen that these critical areas, eight

4       pages are redacted out.  May I inquire as to whether

5       your copies of the contract are similarly redacted?

6                 COMMISSIONER EDGAR:  Mr. Sayler, is that

7       document that Mr. Bussing is referring to one of the

8       confidential documents that has been entered into the --

9       or has been marked for this proceeding?

10                 MR. SAYLER:  Yes, it has been marked for this

11       proceeding.  It is in staff's stipulated composite

12       exhibit.  We also have copies available now.  We had

13       planned to pass those out during the technical hearing,

14       but we have them available now if the Commissioners

15       would like to see that confidential purchased power

16       agreement.

17                 COMMISSIONER EDGAR:  Okay.  Commissioner Skop,

18       do you want that now?  We were going to do that as part

19       of the technical portion.

20                 Okay.  Commissioner Skop would like to have

21       that information now.  So we will take a moment.  And,

22       Mr. Bussing, this will not be part of your time.  We

23       will take a moment and ask our staff to distribute that.

24       So the short answer to your question is, yes, that

25       information unredacted is available to the Commissioners

FLORIDA PUBLIC SERVICE COMMISSION

15

1       and our staff.

2                 MS. BUSSING:  All right.  Thank you.  And that

3       is the reason that I put these few pages into evidence,

4       because this is what the public is allowed to know about

5       fuel procurement and specifications, testing, including

6       all the terms of the potential buy-out by our utility,

7       the public utility, GRU.  If they choose to buy this

8       plant all of that information is a big blackout to the

9       public.

10                 Getting back on track, the point is it's the

11       ratepayers who will have to pay for the 100 million

12       megawatts of power that we don't need at an unknown and

13       noncompetitive price for 30 years.  The petitioners

14       ignored natural competitive demand for limited

15       feedstock.  Wood chip prices will be driven up by

16       demand, including even shipment of wood to Europe.

17                 The public interest cannot be served by

18       secrecy over these critical aspects of the deal between

19       GRU and the contractor.  This redaction eliminates the

20       public's ability to grasp critical aspects of the

21       document.  This conceals its impact on the cost and

22       availability of power and contractual arrangements that

23       can threaten the future of our utility.

24                 GRU mischaracterizes this proposal as green

25       and sustainable.  The scale, 100-megawatts, is too big

FLORIDA PUBLIC SERVICE COMMISSION

16

1       for what is subscribed as a waste-wood harvest.  The

2       entire sustainable waste-wood presentation is not

3       factual and is misleading.  This plant is designed to

4       cause a massive, historic, and continuous tree harvest

5       across the region.  Testimony from the service forest

6       industry speaks to the reality of fuel plantations in

7       our future.

8                 In addition, we do not know what will be

9       burned in this plant.  With the need to keep moisture

10       content below 40 percent, most existing operations fill

11       in with drier waste.  For example, construction and

12       demolition waste to keep the boiler fires going.  You

13       should ask in this hearing how do we know what else will

14       be burned in this plant.

15                 This plant will eliminate local control over

16       utility operations.  This is readily seen already in the

17       heavy redaction or blackout of the contract itself,

18       eight and a half pages out of 32.  This proposal will

19       put local ratepayers, not private investment interests,

20       at risk.

21                 GRU doesn't forecast a need for this capacity

22       before 2023.  Furthermore, GRU's plan is to sell

23       50 percent of the new output on the interchange.

24       Ratepayers know this cannot work when the wood fuel

25       power is more expensive.  You should ask in the hearing,

FLORIDA PUBLIC SERVICE COMMISSION

17

1       how can GRU sell 50 percent of the plant's output when

2       combined cycle natural gas electricity is more

3       affordable.  The plain fact is that GRU needs to cover

4       losses from the outset.  They admit this power will not

5       be competitive on the market.  GRU is asking the Public

6       Service Commission to endorse a gamble that they, GRU,

7       can find special customers who will pay the premium for

8       a green tag product.  You should ask why does GRU plan

9       to sell the green power on the interchange?  Why not

10       sell some of the other existing capacity and go green

11       locally?  The answer is because it's not a native load

12       project, an investment in our future.

13                 This is a merchant plant.  GRU has built a low

14       return on power generation into its billing structure.

15       This was achieved by unbundling GRU rates on paper into

16       separate generation and distribution areas.  In reaction

17       to the threat of utility deregulation in the 1990s, GRU

18       unbundled their customer rates, shifting its billing so

19       that transmission and distribution became the major

20       profit center rather than power generation to remain

21       competitive with adjacent outside utilities.  Now, even

22       if nonGRU external power was cheaper than GRU's,

23       competitors would have to pay GRU to wheel it into the

24       customers.  This allowed GRU to weather the threat of

25       competition.

FLORIDA PUBLIC SERVICE COMMISSION

18

1                 GRU now seeks your permission to gamble by

2       contracting for this merchant plant as an outside

3       revenue source as they hope to sell the power for a

4       green tag markup on the interchange.  It's obviously not

5       profitable to sell it in the local native load which has

6       been discounted in GRU's unbundled rate structure, but

7       it might be lucrative on the tight green energy market.

8       But that requires you to abandon your sworn duty of

9       providing affordable and reliable power.  To explain the

10       notable discrepancies, what you are actually considering

11       is a merchant plant.  You should ask in this hearing

12       about the impact of the unbundled rate structure on

13       revenues of this merchant plant.

14                 Rather than validate this gamble, in order to

15       protect the public you will not approve this siting

16       petition as offered.  The business model of this

17       merchant plant is flawed as evidenced by the fuel

18       supply, shale gas, an abundant amount of evidence that

19       GRU is risking more than the ratepayers' costs, it is

20       risking the entire public utility.

21                 This is a very expensive plant.  The public

22       owners and ratepayers cannot afford to bail GRU out if

23       the merchant experiment fails for any one of the many

24       reasons, some of which the public are prevented from

25       viewing.  It is reasonable to assume that the ratepayers

FLORIDA PUBLIC SERVICE COMMISSION

19

1       will have to pay for 100 megawatts of power that are not

2       needed at an unknown price for 30 years.  You should ask

3       what happens to the ratepayers if the cost of wood goes

4       up or the cost of natural gas goes down.

5                 The petitioners say this project needs rapid

6       approval in order to qualify for the subsidies and tax

7       credits.  GRU says it wants to build now because the

8       market is down, prices are better.  Not only is this

9       great rush unseemly, but it shows that the cart has

10       gotten ahead of the horse.  Those are issues pertaining

11       to private investor profits not to public interest.

12                 The Gainesville City Commission is betting the

13       future of its public utility on a costly misadventure.

14       Just three years ago, the Gainesville City Commission

15       was planning to build a 450-megawatt coal-fired plant

16       despite public opposition that it was not needed and

17       would be a source of pollution.  The City Commission is

18       generally a good institution, but in this case has

19       failed to adequately represent and disclose the actual

20       costs and dangers of this contractual obligation.  As

21       can sometimes occur, a major misstep no matter how well

22       intentioned can severely damage the interest of a public

23       utility and its owners, the citizens of Gainesville.

24                 The City Commission has been largely

25       uninvolved in GRU issues and has of late been visibly

FLORIDA PUBLIC SERVICE COMMISSION

20

1       intimidated by complex utility issues.  As an example,

2       they misunderstood demand-side management, which has

3       publicly resulted in a puzzling but obvious

4       contradiction suggesting that you can expand capacity

5       while asking people to conserve.

6                 To protect the public, the Public Service

7       Commission must see that the dollar costs of DSM

8       expenditures are justified only by crossing off an

9       expensive capital project like the proposed wood

10       incinerator.

11                 COMMISSIONER EDGAR:  Mr. Bussing, about how

12       much more do you have with your prepared comments?

13                 MR. BUSSING:  I have a half page to complete.

14                 COMMISSIONER EDGAR:  All right.  Thank you.

15                 MR. BUSSING:  The City Commission's approval

16       of this enterprise, this merchant plant, does not comply

17       with the requirements for PSC approval.  Our local

18       government, although well intentioned, has failed to

19       scrutinize this project.  We must turn to our state

20       Public Service Commission to remedy this unfortunate

21       situation.

22                 GRU's claim of an open and transparent process

23       came to an abrupt end at the contract with Nacogdoches

24       now know as American Renewables.  The contract blackout

25       inhibits ratepayers from preparing a case through an

FLORIDA PUBLIC SERVICE COMMISSION

21

1       illegal abuse of the trade secret loophole to keep vital

2       information from the public.  Pricing operations, forest

3       stewardship, even the terms of a GRU buy-out all are

4       blacked out.  Even definitions are blacked out in the

5       public version of this contract.

6                 So, in conclusion, please require that the

7       contract be open for the public to see.  Then please

8       remand this proposal for improvements including full

9       disclosure, accuracy in forecasting fuel costs and

10       pricing of alternatives, and a valid assessment of the

11       need for power in our utility system.

12                 Thank you for your time.

13                 COMMISSIONER EDGAR:  Thank you, Mr. Bussing.

14                 Commissioners, questions?

15                 Commissioner Skop.

16                 COMMISSIONER SKOP:  Thank you, Madam Chair.

17                 Good morning, Mr. Bussing.  I appreciate your

18       analysis.  Again, I think you raised several of the

19       concerns that I expressed in terms of trying to get

20       additional information to some of the questions you

21       raised.  So I look forward, during the course of the

22       evidentiary proceeding, to addressing some of those

23       issues that you have raised as well as capacity and the

24       use of existing generating resources to get a better

25       understanding of the proposal before us.  I do thank you

FLORIDA PUBLIC SERVICE COMMISSION

22

1       and appreciate your time in traveling to Tallahassee

2       from Gainesville and also appreciate your thoughtful

3       analysis.

4                 COMMISSIONER EDGAR:  Commissioner Klement, did

5       you have a question?

6                 COMMISSIONER KLEMENT:  I do.

7                 COMMISSIONER EDGAR:  Okay.  Commissioner

8       Klement.

9                 COMMISSIONER KLEMENT:  Thank you, Mr. Bussing.

10                 I'm not very familiar with forestry because we

11       don't have any trees where I come from in Florida.  I

12       understood you to say that -- to imply that if there

13       were -- developed fuel plantations out of this, trees

14       just grown for this, that sounded like it would be a bad

15       thing.  Is that true?  And if so, why is it?

16                 MS. BUSSING:  Well, there's probably more than

17       one answer to your question.  It's a very broad

18       question.  One point I want to raise is that the

19       justification for this as renewable fuel and being

20       carbon neutral is in some way leaving some biomass on

21       the land.  And when you work with forests you understand

22       that there is not a leaf or a twig that is wasted.

23                 We live on a sandbar here.  And if there isn't

24       a constant deposit of this organic material to make a

25       soil in which trees can survive -- the trees have been

FLORIDA PUBLIC SERVICE COMMISSION

23

1       developed and evolved to create the soil that nourishes

2       and sustains them.  If you continue to grow small trees

3       and harvest them as quick as possible, you will never

4       get saw timber, you won't have habitat for wild turkeys

5       and deer.  There is a real need that we restore some of

6       the forest that was here when we arrived as a nation in

7       America.  And restoring the land and protecting the land

8       is a very important part of our obligation as citizens.

9                 COMMISSIONER KLEMENT:  Thank you.  Another

10       question?

11                 COMMISSIONER EDGAR:  Yes, sir.

12                 COMMISSIONER KLEMENT:  I have understood you

13       this morning and last week at the hearing to imply that

14       construction and demolition burning would be bad.  Why

15       is that?  I thought that would make use of the materials

16       that otherwise goes into a landfill, at least the

17       burnable things.

18                 MS. BUSSING:  Yes.  You know, I talk to a lot

19       of people, and I often here exactly the opinion you are

20       expressing.  People don't want to waste things.  They

21       would like to see some good come out of it.  I have

22       studied emissions of these incinerator operations, and I

23       can tell you that there is a lot of bad stuff that comes

24       out of a smokestack.  They call it clean and green.  I

25       could cite work that shows wood lignin in the

FLORIDA PUBLIC SERVICE COMMISSION

24

1       incineration process converts to dioxin.  It's a

2       precursor to generating dioxin in emissions.  These are

3       facts.

4                 As far as C&D, I always tell people have you

5       ever gone by those C&D dumpsters, do you ever get up on

6       your toes and look in and see what's in there?  Because

7       it is not just 2X4s, it is full of old roofing, visqueen

8       plastic, soda cans, bottles, and whatever somebody goes

9       by and says, hey, I'll throw my bag of garbage in there.

10       So it's not a well-controlled source.

11                 And when you start adding those plastics and

12       petroleum derivatives to a burning situation, like I

13       say, dioxins and other hazardous air pollutants are the

14       burden that we will carry for generations.  They do not

15       biodegrade.  They are endocrine disruptors and, yes,

16       even the cleanest burning plant is going to be very bad

17       for public health.

18                 COMMISSIONER KLEMENT:  Thank you.

19                 COMMISSIONER EDGAR:  Commissioner Argenziano.

20                 COMMISSIONER ARGENZIANO:  Thank you.

21                 First, if I can ask staff a question.  As to

22       the redaction portion for the public, have we made a

23       determination as to the confidentiality.

24                 MR. SAYLER:  No, ma'am, we have not.  That

25       confidentiality motion is still pending.

FLORIDA PUBLIC SERVICE COMMISSION

25

1                 COMMISSIONER ARGENZIANO:  How long is that

2       process?

3                 MR. SAYLER:  We have a draft that has been

4       circulated, and I have yet to contact the Prehearing

5       Officer to present that draft to him.

6                 COMMISSIONER ARGENZIANO:  Okay.  And the

7       reason I make the comment is because it has been brought

8       up, and by statute there are certain things that we are

9       mandated to keep confidential, but we have to make that

10       determination as to whether they really are the issues

11       that we're mandated to adhere to.  So that's the reason

12       I asked for that, because at what point -- if we

13       determine that some of the information does not need to

14       be redacted or if it truly is confidential by statute,

15       people deserve an answer to that.  So I'd like to kind

16       of figure out when and how we can do that.

17                 And, secondly, I thought we had a

18       presentation -- and, Commissioner Klement, this was

19       before you were here, quite awhile ago on, well, I think

20       it was when we were doing our RPS when the silviculture

21       industry came before us.  And I remember as I was chair

22       of agriculture in the senate, that the issue, even when

23       I left the senate was that there probably wasn't too

24       much sustainability in that type of operation because

25       there would be required a lot of land.

FLORIDA PUBLIC SERVICE COMMISSION

26

1                 Where would the additional wood products come

2       from on this?  And, I'm sorry, I only read part of that

3       as far as construction debris, but didn't we have a

4       presentation on sustainability that indicated it really

5       wasn't that sustainable from those who do?  I want to

6       get it cleared out now, because I need to --

7                 COMMISSIONER EDGAR:  Commissioner, if I may,

8       let's try it this way and then we can see.  And I

9       recall, absolutely, in my memory, which is a little

10       foggy, but during our RPS deliberations, in particular,

11       we did have some presentations on that subject.

12                 Mr. Wright, my memory is that one, if not

13       more, of the witnesses that we will be hearing from here

14       shortly will speak to those points, but I would like to

15       ask you to respond to that.

16                 MR. WRIGHT:  That is exactly correct, and that

17       is exactly what I was going to tell the Commissioners.

18       Thank you.

19                 COMMISSIONER ARGENZIANO:  And one question to

20       Mr. -- is it Bussing?  I'm sorry.

21                 MR. BUSSING:  Bussing.

22                 COMMISSIONER ARGENZIANO:  Bussing, I'm sorry.

23                 MR. BUSSING:  Thank you.

24                 COMMISSIONER ARGENZIANO:  You had indicated

25       that you didn't think that GRU had complied with the

FLORIDA PUBLIC SERVICE COMMISSION

27

1       PSC's approval for this plant.  Could you be specific as

2       to where you believe that is?

3                 MR. BUSSING:  You know, I don't even have

4       intervenor status to -- I realize a lot of the docket

5       information is available.  My main exposure has been

6       listening to GRU's presentation of their own case.  And

7       I understand our utility, and I understand a lot of the

8       forces that have been driving this.  I mean, this is

9       really a converted coal plant.  Like I say, three years

10       ago they were working on a 450-megawatt coal plant using

11       the existing air pollution permit at Deer Haven.  That

12       is the whole driving issue.

13                 COMMISSIONER ARGENZIANO:  If I can, I don't

14       mean to cut you off, why I'm asking is because what I

15       have to look at as a Commissioner is what the statutes

16       tell me I have to look at when making a need

17       determination for this type of a contract.  And there

18       are things that must be complied with, and I thought you

19       were indicating that you found that there was not

20       compliance, and that's what I was trying to get at.  If

21       you found that, now is the time to tell me.

22                 MR. BUSSING:  Yes.  My main focus is looking

23       at the projections they show a simple line graph with a

24       decline in usage of energy in Gainesville over the last

25       several years, and a trend that we would hope will

FLORIDA PUBLIC SERVICE COMMISSION

28

1       continue.  It keeps money in the local economy.  But

2       then they return to the same linear increase projection

3       of gas prices as if they had a crystal ball.  That is

4       not evidence.  That is just wishful thinking.

5                 And as far as the -- I don't know the details

6       of how they are pricing or how the contract is priced,

7       because it is all blacked out.  But the idea there are

8       large operations in Southern Georgia that are going to

9       be shipping six million tons of wood pellets to Munich,

10       Germany.  There are new wood burning plants appearing

11       before you and probably will be more.  And rather than

12       be, say, a 20-megawatt understandable located at a saw

13       mill using the waste wood where it is, the idea of

14       trucking in a million tons of wood per year and claiming

15       that it is going to be cost competitive somewhere down

16       the line.

17                 GRU admits that when they put this on they

18       project increasing rates for the customers.  That's

19       already in their presentments.  They are going to raise

20       their rates.  What they tell us is that somehow in the

21       next few years, the two lines are going to cross and gas

22       is going to get more expensive, and the wood is going to

23       get cheaper or something.  But I believe that the wood

24       potentially could get a lot more expensive and there is

25       a lot of competition.

FLORIDA PUBLIC SERVICE COMMISSION

29

1                 They are ignoring, I believe, the way a market

2       operates.  They do not have fixed contracts for this

3       fuel.  The places in Germany -- in Georgia that are

4       shipping to my Munich, Germany, I believe, have

5       long-term contracts with large scale landowners, and

6       they have -- they own the wood on the stump.  So their

7       price projections for the wood are just -- there's no

8       evidence on the record.  And that's what I mean, there

9       is no evidence for their position.  It is all wishful

10       thinking.

11                 And the shale gas is an important part of

12       that, when I gave out that handout, because they have

13       increased from what they said we only had about ten

14       years of natural gas supply in the ground in America.

15       It's going to be a crisis.  Apparently now those

16       projections are up to 90 years of natural gas, and there

17       is more natural gas in storage right now today than

18       there ever has been in the United States of America.

19                 So, I don't have a crystal ball.  I can't

20       guarantee what we will see in the future, but the people

21       that I talked to and that know what's going on in the

22       energy field believe that natural gas is likely to be

23       very plentiful for decades at least.

24                 COMMISSIONER EDGAR:  Thank you, Mr. Bussing.

25                 Commissioners, anything further?

FLORIDA PUBLIC SERVICE COMMISSION

30

1                 Commissioner Skop.

2                 COMMISSIONER SKOP:  Thank you, Madam Chair.

3                 And thank you, again, Doctor Bussing.  Just

4       two follow-ups to Commissioner Argenziano's question

5       with respect to the pending confidentiality of the

6       redacted data.  Again, we have our own internal

7       processes, as staff and Commissioner Argenziano alluded

8       to, and we will handle that internally.  Also, again,

9       you know, that's our process, but it is equally open to

10       both the city and the petitioner to self disclose that

11       information if they want complete transparency so the

12       public and members of the community can make their own

13       informed decisions.

14                 So, again, there may be legitimate trade

15       secret or business proprietary reasons for why they are

16       choosing the treatment that they have done; but, again,

17       nothing prevents them from opening that up, should they

18       wish to do so.  And I have taken a look at the

19       unredacted version and looked at the parts that, the

20       pages that you have mentioned already.  So, thank you.

21                 MR. BUSSING:  Well, I thank you because -- and

22       the Public Service Commission.  This is the first venue

23       that I have been to where somebody is actually going to

24       look at it.  Because in the City of Gainesville, you

25       know, they have kind of circled the wagons and driven --

FLORIDA PUBLIC SERVICE COMMISSION

31

1       when this plant was voted by the City Commission in the

2       negotiation process, every citizen at that meeting but

3       one, something like 16 speakers came up one after

4       another and said don't do it, don't do it, don't do it.

5                 What the stonewalling by City Hall has done is

6       basically drive most of us into the woods.  Some of us

7       are -- you know, I feel an obligation as a former

8       elected official.  I have some experience with the

9       utility issues.  I have a doctorate in a scientific

10       field.  I'm not intimidated by data and analysis.  So I

11       felt an obligation to come up to Tallahassee, and I

12       thank you, again, for giving us the time to bring our

13       concerns to you.

14                 COMMISSIONER EDGAR:  Thank you.

15                 Mr. Wright, any questions?

16                 MR. WRIGHT:  No, Madam Chairman.  Thank you.

17                 COMMISSIONER EDGAR:  Thank you.

18                 Thank you for coming.  Thank you for your

19       comments.

20                 The next person that I have on our list is

21       Karen Orr.  Ms. Orr, would you like to speak?

22                 MS. ORR:  Tom Bussing covered my concerns.

23                 COMMISSIONER EDGAR:  Okay.  Thank you.

24       December McSherry.

25                 MS. McSHERRY:  Doctor Bussing covered my

FLORIDA PUBLIC SERVICE COMMISSION

32

1       concerns, also.

2                 COMMISSIONER EDGAR:  Thank you very much.

3       Thank you for coming.

4                 Dian Deevey.  And, Ms. Deevey, I also recall

5       your talking to us when we were in Gainesville, so thank

6       you for making the drive, as well.  And similarly, I

7       would ask that you use your time to cover information

8       that you did not share with us in Gainesville last week.

9       Do you have any additional documents to provide?

10                 MS. DEEVEY:  No, I do not.

11                 COMMISSIONER EDGAR:  Okay.  Thank you for

12       coming.  Go right ahead.

13                 MS. DEEVEY:  Thank you.

14                 Thank you for the opportunity to address you

15       today.  I am a customer of GRU.  I guess that makes me

16       an interested party.

17                 I'm concerned about several issues relating to

18       the Gainesville Renewable Energy Center, and I have some

19       questions about those issues.  The application for

20       certification of need contains forecasts of capacity and

21       energy through 2044.  Section 4.6.2 of the application

22       describes how the forecasts were produced and briefly

23       describes the delivery of energy to two wholesale

24       all-requirements customers that GRU now supplies with

25       electricity.  They are the City of Alachua and Clay

FLORIDA PUBLIC SERVICE COMMISSION

33

1       Electric Cooperative.  Both of these customers serve

2       retail customers in locations near or adjacent to

3       Gainesville.

4                 Section 4.6.2 of the application contains the

5       following statement about these customers' loads:

6       Quote, "These loads are considered part of the system's

7       native load for facilities planning through the forecast

8       horizon."  As far as -- that's the end of the quote.  As

9       far as I have been able to determine, the current

10       contracts for these wholesale sales extend only through

11       December 31, 2012, and GRU has no contractual obligation

12       to continue sales beyond that date, although both

13       contracts allow for an automatic one-year extension

14       provided neither party cancels.

15                 As far as I can determine, only three one-year

16       extensions are allowed for the contract with Alachua,

17       but there is no limit as far as I can determine in the

18       contract with Seminole as long as both parties agree.

19       And if they cancel, they must give one year's notice of

20       doing so.

21                 So my question in connection with this -- I

22       have two -- do these forecasts of capacity and energy

23       needs for the period 2013 through 2044 that are in the

24       application include sales to Alachua and Clay?  If so,

25       what proportion of total capacity and energy needs is

FLORIDA PUBLIC SERVICE COMMISSION

34

1       attributed to these two wholesale customers?  As far as

2       I can determine, the amounts are quite large,

3       comparatively large compared to the retail customer

4       load.

5                 I also have questions about GRU's evaluations

6       of demand-side management programs.  As far as I can

7       determine, the utility may be using avoided cost

8       estimates, that is to say the amount of energy they save

9       if a demand-side program is initiated, that the avoided

10       cost estimates are low, and they may cause it to reject

11       programs that are economically feasible and could reduce

12       both capacity and energy needs.

13                 I addressed the Commissioners at the hearing

14       in Gainesville last week about the reliability of wood

15       fuel supply and its cost, and whether all the fuel used

16       will, in fact, be considered carbon neutral, but I will

17       not mention those further.  Thank you very much.

18                 COMMISSIONER EDGAR:  Any questions for

19       Ms. Deevey?

20                 Commissioner Skop.

21                 COMMISSIONER SKOP:  Thank you.

22                 Thank you, Ms. Deevey, for taking the time,

23       again, to drive up from Gainesville to Tallahassee.  I

24       appreciate your comments.  And, again, I think that you

25       and the others, Doctor Bussing and the others that have

FLORIDA PUBLIC SERVICE COMMISSION

35

1       driven up are perfectly welcome to stay and hear the

2       proceedings.

3                 I think during the course of those proceedings

4       you will hear some of the tough questions that you have

5       brought will be asked and hopefully there will be some

6       clarification on some of the points that have been

7       raised.

8                 MS. DEEVEY:  Yes, but I don't have intervenor

9       status.  Is the public allowed to participate later on?

10                 COMMISSIONER SKOP:  No.  But I assure you

11       between the Commissioners, all of us, this is an

12       exclusive forum for a determination of need pursuant to

13       statute, and many of the questions that have been raised

14       regarding capacity and most cost-effective option and

15       all of those, all of those statutory provisions are

16       things that the Commission has to consider in rendering

17       that determination.  So, again, I think that you are

18       welcome --

19                 MS. DEEVEY:  Yes, I know you will.

20                 COMMISSIONER SKOP:  -- to stay, and I

21       appreciate you taking the time to drive up this morning.

22                 MS. DEEVEY:  Thank you.  You're very welcome.

23                 COMMISSIONER EDGAR:  Thank you very much.

24                 Let me just go ahead and ask is there anybody

25       who did not sign up that wanted to speak to the

FLORIDA PUBLIC SERVICE COMMISSION

36

1       Commission as part of the public testimony portion of

2       this proceeding?

3                 Seeing none, then that concludes the public

4       testimony portion.  We will move to the technical

5       hearing, which I convene now.

6                 Mr. Wright, do you need to take a short break

7       to look over exhibits, or do you want to forge ahead?

8                 MR. WRIGHT:  Madam Chairman, I would just as

9       soon forge ahead if that is convenient for the

10       Commission.

11                 COMMISSIONER EDGAR:  That's fine with me.

12       Thank you.

13                 MR. WRIGHT:  All righty.

14                 COMMISSIONER EDGAR:  Okay.  And I'm seeing

15       nods around.

16                 Mr. Sayler, preliminary matters.

17                 MR. SAYLER:  Staff would like to note that

18       Witness Kamhoot has been excused from the hearing, and

19       would recommend that at the time when he comes to --

20       during the order of his testimony that GRU will move his

21       testimony and exhibits into the record at that time.

22                 COMMISSIONER EDGAR:  Yes, that is the way we

23       will handle that.  Thank you.

24                 MR. SAYLER:  Staff also wants to note that

25       there are some stipulated exhibits that we would like to

FLORIDA PUBLIC SERVICE COMMISSION

37

1       move into the record.  The first one being the exhibit

2       list, the Comprehensive Exhibit List, which is Exhibit

3       1.

4                 COMMISSIONER EDGAR:  Any objection?

5                 MR. WRIGHT:  No objection.

6                 COMMISSIONER EDGAR:  Hearing no objection,

7       Exhibit 1, Comprehensive Exhibit List, is hereby moved

8       into the record.

9                 (Exhibit 1 marked for identification and

10       admitted into the record.)

11                 MR. SAYLER:  And at this time staff would like

12       to move the public hearing exhibits from Gainesville

13       into the record.  They are marked Exhibits 2 through 6.

14                 COMMISSIONER EDGAR:  Mr. Wright?

15                 MR. WRIGHT:  No objection, Madam Chairman.

16                 COMMISSIONER EDGAR:  Commissioners, any

17       comments or questions about that?

18                 Seeing none, Exhibits 2 through 6 are entered

19       into the record at this time.

20                 (Exhibit Numbers 2 through 6 marked for

21       identification and admitted into the record.)

22                 MR. SAYLER:  And with apologies for skipping,

23       what about moving in Tom Bussing's Composite Exhibit,

24       which is Exhibit 23, since we are now in the technical

25       portion of the hearing.

FLORIDA PUBLIC SERVICE COMMISSION

38

1                 COMMISSIONER EDGAR:  Mr. Wright.

2                 MR. WRIGHT:  We have no objection to those

3       exhibits, Madam Chairman.

4                 COMMISSIONER EDGAR:  Exhibit 23 is entered

5       into the record.

6                 (Exhibit Number 23 admitted into the record.)

7                 MR. SAYLER:  Now moving back to the first page

8       of the Comprehensive Exhibit List, staff would like to

9       move in Staff's Stipulated Composite Exhibit, which is

10       identified as Hearing Exhibit Number 7.

11                 COMMISSIONER EDGAR:  Mr. Wright.

12                 MR. WRIGHT:  We have stipulated to that, Madam

13       Chairman.  No objection.

14                 COMMISSIONER EDGAR:  Okay.  Exhibit 7 is

15       entered into the record.

16                 (Exhibit Number 7 marked for identification

17       and admitted into the record.)

18                 MR. SAYLER:  And staff has also received

19       stipulations from the utility on two more exhibits, and

20       I have passed them out to the Commissioners.  There is a

21       yellow copy and a blue copy.  The yellow copy is the

22       summary package of GRU's testimony and exhibits.  It

23       contains information from their application and from

24       interrogatory responses, and that will need to be marked

25       for identification.

FLORIDA PUBLIC SERVICE COMMISSION

39

1                 COMMISSIONER EDGAR:  Okay.  So, Commissioners,

2       the packet with the yellow sheet titled staff summary

3       package, GRU's testimony and exhibits, will be marked as

4       Exhibit 24.

5                 MR. SAYLER:  And then the blue one, which is

6       just a chart which is also derived from that summary

7       package as Exhibit 25.

8                 COMMISSIONER EDGAR:  So marked.

9                 (Exhibit Numbers 24 and 25 marked for

10       identification.)

11                 MR. SAYLER:  And for a title, Staff's Rate

12       Impact Chart.  And then I believe that the utility also

13       has some exhibits that they will be moving and some

14       stipulated exhibits that they will be moving into the

15       record.

16                 COMMISSIONER EDGAR:  Mr. Wright, am I to

17       understand that you have stipulated to Exhibits 24 and

18       25, or would you prefer to take those up during the

19       question portion of the hearing?

20                 MR. WRIGHT:  A couple of things.  I am sure

21       that we have.  I, unfortunately, do not seem to have a

22       copy, or at least not one that I can identify of 24.

23                 COMMISSIONER EDGAR:  I'll bet we can help you

24       with that.  24 was the yellow.

25                 MR. WRIGHT:  All right.  This one I got.

FLORIDA PUBLIC SERVICE COMMISSION

40

1       Madam Chairman, I was correct, we have seen these.  We

2       have agreed that we have no objection to them.  I just

3       wanted to be sure I saw it.  Thank you.

4                 COMMISSIONER EDGAR:  Absolutely.  Lots of

5       paper.

6                 Okay.  So hearing no objection, we can go

7       ahead and enter Exhibits 24 and 25 in at this time.

8                 Mr. Wright?

9                 MR. WRIGHT:  Fine by us, Madam Chairman.

10       Thank you.

11                 (Exhibit Numbers 24 and 25 admitted into the

12       record.)

13                 COMMISSIONER EDGAR:  Mr. Sayler.

14                 MR. SAYLER:  Staff has no further exhibits at

15       this time.

16                 COMMISSIONER EDGAR:  Mr. Wright.

17                 MR. WRIGHT:  Madam Chairman, there are four

18       interrogatory -- this may or may not be the appropriate

19       time, but we'll give it a shot.  There are four

20       interrogatory responses that were sponsored by -- or

21       averred to by Mr. Bachmeier that we discovered late in

22       the game.  We discovered that a few numbers had been

23       incorrectly accounted for.  We have corrected those.

24       Unfortunately, it was too late to get them back into the

25       compact disk that the staff prepared their composite

FLORIDA PUBLIC SERVICE COMMISSION

41

1       exhibit on.

2                 So we have hard copies of that.  We have

3       communicated with the staff and we are all on the same

4       page on that.  We could go ahead and move those in since

5       they actually are corrected versions of the

6       interrogatory answers replacing documents that are in

7       the Staff's Composite Exhibit.  It might make sense to

8       go ahead and move that exhibit in now.

9                 COMMISSIONER EDGAR:  Mr. Sayler.

10                 MR. SAYLER:  Staff concurs.

11                 MR. WRIGHT:  So that will be 26.  And if you

12       wanted you could identify the witness as Mr. Richard

13       Bachmeier.

14                 COMMISSIONER EDGAR:  Okay.  And Mr. Bachmeier

15       is Number 4 on my list of witnesses, just to help me

16       keep track of that.  So Witness Bachmeier, and it is

17       corrected interrogatories?

18                 MR. WRIGHT:  Corrected Interrogatory

19       Responses.  If you want to know, it is 54, 56, 57, and

20       60.

21                 COMMISSIONER EDGAR:  Okay.  We'll mark as

22       Exhibit 26, Corrected Interrogatory Responses 54, 56,

23       57, and 60 for Witness Bachmeier.

24                 Do we need to distribute those?  Thank you.

25       And, Mr. Wright, do you want to go ahead and enter those

FLORIDA PUBLIC SERVICE COMMISSION

42

1       at this time?

2                 MR. WRIGHT:  Yes, Madam Chairman.  Thank you.

3                 COMMISSIONER EDGAR:  Okay.  So, Mr. Sayler, we

4       will enter Exhibit 26 into the record as it is being

5       distributed.

6                 (Exhibit Number 26 marked for identification

7       and admitted into the record.)

8                 COMMISSIONER EDGAR:  Mr. Sayler, any other

9       matters?

10                 Mr. Wright.

11                 MR. WRIGHT:  Madam Chairman, finally, and we

12       have discussed this with the staff, we have long since

13       filed a document that looks like this, the Need for

14       Power Application.  We would ask that it be marked for

15       identification as Exhibit 27.  The various component

16       parts of that exhibit are all sponsored by our various

17       witnesses, as is normal in these cases.  And I have

18       discussed this with Mr. Sayler, and staff are amenable

19       to stipulating this exhibit in at this time, and if that

20       is satisfactory with the Commissioners, we would so

21       move.

22                 COMMISSIONER EDGAR:  That seems logical to me.

23                 Mr. Sayler.

24                 MR. SAYLER:  And staff concurs.

25                 COMMISSIONER EDGAR:  And this is the GRU

FLORIDA PUBLIC SERVICE COMMISSION

43

1       application.  Is there a more formal title?

2                 MR. WRIGHT:  I would title it GREC need for

3       power application.

4                 COMMISSIONER EDGAR:  GREC Need for Power

5       Application, which is marked as Exhibit 27.  Do you want

6       to take that up after the witnesses?

7                 MR. WRIGHT:  Since the staff are willing to

8       stipulate to its admission, I would move that it be

9       admitted now.

10                 COMMISSIONER EDGAR:  Any concerns?

11       Commissioners, any concerns?  No.

12                 Okay.  Then we will go ahead and enter Exhibit

13       Number 27 into the record.

14                 (Exhibit Number 27 marked for identification

15       and admitted into the record.)

16                 COMMISSIONER EDGAR:  Thank you.

17                 MR. WRIGHT:  Thank you, Madam Chairman.

18                 COMMISSIONER EDGAR:  Any other exhibits, Mr.

19       Wright?

20                 MR. WRIGHT:  Not that I'm aware of at this

21       time, Madam Chairman.

22                 COMMISSIONER EDGAR:  Mr. Sayler.

23                 MR. SAYLER:  Madam Chairman, it was my

24       understanding that GRU also had a notice of publication

25       for the hearing, prehearing, and the public hearing.

FLORIDA PUBLIC SERVICE COMMISSION

44

1       And we had also agreed previously to stipulate to the

2       public hearing PowerPoint presentation that was

3       presented last week, and GRU was going to submit that

4       into the record.

5                 COMMISSIONER EDGAR:  We did not mark that.

6                 MR. SAYLER:  That has not been marked and it

7       has not been circulated.  And similarly, the City of

8       Gainesville's Mayor's Executed Climate Change Agreement,

9       that was also --

10                 COMMISSIONER EDGAR:  Which was also discussed,

11       I recall.

12                 Mr. Wright, is that your understanding?  Is it

13       your understanding that you are offering those

14       documents?

15                 MR. WRIGHT:  Yes, ma'am.  I apologize, I was

16       slightly confused about the procedural aspects.  But,

17       yes, we would ask that the notice of publication --

18                 COMMISSIONER EDGAR:  Okay.  Let's take them

19       one at a time just so I don't get confused.

20                 MR. WRIGHT:  Yes, ma'am.

21                 COMMISSIONER EDGAR:  But if you can pass them

22       out as a group.  Okay.  So we will mark as 28 the notice

23       of publication.

24                 MR. WRIGHT:  Thank you, Madam Chairman.

25                 (Exhibit Number 28 marked for identification.)

FLORIDA PUBLIC SERVICE COMMISSION

45

1                 COMMISSIONER EDGAR:  The Power-Point

2       presentation -- 12/09/09 Public Hearing Power-Point

3       Presentation we can mark as 29.

4                 Does that work, Mr. Wright?

5                 MR. WRIGHT:  Yes, ma'am.  Thank you.

6                 (Exhibit Number 29 marked for identification.)

7                 COMMISSIONER EDGAR:  The Executed Climate

8       Change Agreement, Exhibit 30.

9                 MR. WRIGHT:  Yes, ma'am.  Thank you.

10                 (Exhibit Number 30 marked for identification.)

11                 COMMISSIONER EDGAR:  Am I forgetting one?  Is

12       that it?  Mr. Wright, is that all?

13                 MR. WRIGHT:  I believe so, Madam Chairman.

14       Thank you.

15                 COMMISSIONER EDGAR:  Okay.  I think I have my

16       documents, so at this time we will enter into the record

17       Exhibits 28, 29, and 30.  Thank you.

18                 MR. WRIGHT:  Thank you.

19                 (Exhibit Numbers 28 through 30 admitted into

20       the record.)

21                 COMMISSIONER EDGAR:  Any other matters at this

22       time?

23                 MR. SAYLER:  Staff will note for the record

24       that the parties have agreed to stipulate Issue 1, which

25       can either be voted upon today or taken up at the -- in

FLORIDA PUBLIC SERVICE COMMISSION

46

1       the post-hearing recommendation, assuming there's no

2       bench decision today.

3                 COMMISSIONER EDGAR:  Commissioners, Issue 1

4       has been stipulated by staff and the parties, party.  So

5       the question from staff is we can take that up and go

6       ahead and vote on it and dispose of that, or we can wait

7       and have that taken up as part of the written

8       recommendation, if indeed that's the way we go.

9                 Ms. Helton, did you need me?

10                 MS. HELTON:  I was just going to suggest that

11       if you decide not to approve the stipulation that it

12       would be appropriate to do that today so that the

13       parties will know whether to brief that issue and staff

14       will know whether to make a recommendation to you.

15                 COMMISSIONER EDGAR:  Commissioners, any

16       comments, questions, concerns about proposed stipulated

17       Issue 1?

18                 Commissioner Skop, take a moment.  And I know

19       we all have it in our prehearing order, but for the

20       record, Issue 1 reads as follows:  Are Gainesville

21       Regional Utilities and Gainesville Regional Energy

22       Center, LLC, proper applicants within the meaning of

23       Section 403.519, Florida Statutes.

24                 COMMISSIONER SKOP:  Madam Chairman, I'm fine

25       with the proposed stipulation.

FLORIDA PUBLIC SERVICE COMMISSION

47

1                 COMMISSIONER EDGAR:  Commissioners, any

2       questions or concerns?  Hearing none, is there a motion

3       to adopt the proposed stipulation on Issue 1?

4                 COMMISSIONER SKOP:  So moved.

5                 COMMISSIONER EDGAR:  Is there a second?

6                 COMMISSIONER KLEMENT:  Second.

7                 COMMISSIONER EDGAR:  Properly motioned and

8       seconded.  All in favor of the motion say aye.

9                 (Simultaneous vote.)

10                 COMMISSIONER EDGAR:  All opposed?  Issue 1 is

11       adopted.

12                 Any other matters that we can address at this

13       time?

14                 MR. SAYLER:  Staff is not aware of any

15       additional matters at this time.

16                 COMMISSIONER EDGAR:  Mr. Wright, anything

17       else?

18                 MR. WRIGHT:  Not other than that I have a

19       brief opening statement, Madam Chairman.

20                 COMMISSIONER EDGAR:  And we are looking

21       forward to hearing it.

22                 Commissioners, any comments before we move

23       into the opening statements and then the presentation of

24       witnesses?  No.

25                 Mr. Wright, you are recognized for your

FLORIDA PUBLIC SERVICE COMMISSION

48

1       opening statement.

2                 MR. WRIGHT:  Thank you, Madam Chairman.  As

3       you all know, I'm Schef Wright, and I have the privilege

4       today, along with my partner Roy Young, of representing

5       Gainesville Regional Utilities, which is the utility arm

6       of the City of Gainesville, and Gainesville Renewable

7       Energy Center, LLC, in this case.

8                 This is a need determination proceeding for

9       the Gainesville Renewable Energy Center project.  The

10       project is a 100-megawatt net nominal renewable energy

11       power plant that will be collocated at GRU's existing

12       Deer Haven generating station.  The process will utilize

13       bubbling fluidized bed technology to burn/combust clean

14       woody biomass, mostly forest residue, mill residues, and

15       urban wood waste to generate electricity.

16                 Gainesville Regional Utilities will purchase

17       the output of the project pursuant to a 30-year power

18       purchase agreement, and GRU's rights to the output

19       include all of the renewable energy credits,

20       environmental attributes, carbon credits or allowances,

21       and the like that are associated with the renewable

22       energy to be produced by the project.

23                 GRU does anticipate that it will sell

24       50 percent of the project's output to other utilities

25       for the first ten years of the project's service life,

FLORIDA PUBLIC SERVICE COMMISSION

49

1       and testimony I think already has indicated at the

2       public hearing in Gainesville and will indicate that GRU

3       is already in discussions with four potential retail

4       serving offtakers in Florida.  As the Commission just

5       approved our stipulation, GRU and GREC are proper

6       applicants for the determination of need here.

7                 The evidence to be presented in this case will

8       show the following:  First, as background, that the

9       GREC, Gainesville Renewable Energy Center, project was

10       chosen by unanimous vote of the Gainesville City

11       Commission following a seven-year power supply

12       evaluation process that included 37 public televised

13       sessions including City Commission meetings, workshops,

14       and other forums.

15                 Through this process the Gainesville City

16       Commission first decided to pursue a woody biomass fuel

17       generation option, and then conducted a national RFP

18       process to which GRU received proposals from 11 bidders.

19       From these, GRU, Gainesville, invited the three highest

20       ranked proposers to submit binding proposals.  Among

21       those was an entity, then Nacogdoches Power, and,

22       subsequently, American Renewables, and Gainesville

23       Renewable Energy Center, LLC, the project

24       owner-developer entity.

25                 In May of 2008, the City of Gainesville

FLORIDA PUBLIC SERVICE COMMISSION

50

1       unanimously directed GRU to negotiate -- or authorized,

2       I should say, GRU to negotiate a power purchase

3       agreement with Nacogdoches/American Renewables, GREC,

4       the company.  Following that, and following nearly a

5       year of negotiations, the Gainesville City Commission in

6       May of this year unanimously approved the power purchase

7       agreement negotiated between Gainesville and GREC, the

8       company.

9                 As you all know, there are essentially six

10       criteria that the Commission must consider in making its

11       decision on petitions for determination of need.  None

12       is specifically determinative.  None is specifically a

13       sine qua non.  I think all must be considered.

14                 The evidence in this case will demonstrate

15       that the proposed GREC project satisfies all of these

16       criteria.  It will meet the need for electric system

17       reliability and integrity.  Although based on current

18       forecasts, GRU does not need additional capacity to meet

19       minimum reserve margins until approximately 2023.  The

20       project will enhance the reliability and integrity of

21       GRU's power supply system, particularly in light of its

22       aging generating fleet.

23                 Regarding the criterion that proposed power

24       plants are to provide adequate electricity at a

25       reasonable cost, the project has and the PAA taken

FLORIDA PUBLIC SERVICE COMMISSION

51

1       together have a lower projected levelized cost of

2       electricity than natural gas fired alternatives over the

3       planning horizon.  The plant has a guaranteed heat rate,

4       or the contract has a guaranteed heat rate, and 30-year

5       fixed pricing for everything but fuel and chemicals.

6                 It will reduce GRU's reliance on its

7       coal-fired generating plant and will reduce GRU's and

8       its customers' exposure to volatile natural gas prices.

9       With regard to fuel diversity and supply reliability,

10       this will be biomass fuel, native mostly Florida,

11       probably almost all Florida native biomass from North

12       Central Florida generally within a 75-mile radius of the

13       project.  This will enable GRU to reduce its reliance on

14       coal and natural gas as its primary generating fuels

15       from more than 90 percent today to roughly 55 percent by

16       2023.

17                 Gainesville already has an aggressive

18       renewable energy program.  It has a landfill gas

19       program, it has a fully subscribed very healthy solar

20       photovoltaic program, and on the DSM side it also is

21       developing a solid solar thermal water heating program.

22       Even with these initiatives, GRU needs and desires

23       additional renewable energy which will be provided by

24       the project.

25                 Regarding energy conservation measures

FLORIDA PUBLIC SERVICE COMMISSION

52

1       available, the City of Gainesville has an aggressive DSM

2       and energy conservation programs which have been based

3       on the total resource cost test recently approved by

4       this Commission since 2006.  GRU's energy conservation

5       programs are so successful that they have led GRU's

6       residential consumption to be the lowest in the state of

7       Florida at 831 kilowatt hours per customer per month.

8                 Finally, with regard to whether the proposed

9       power plant is the most cost-effective alternative

10       available, the evidence shows levelized costs of

11       electricity analyses of the GREC project versus gas

12       alternatives including combined cycle and combustion

13       turbine and two pulverized coal alternatives.  The GREC

14       project and the power purchase agreement represent the

15       lowest cost alternative in 23 of 28 cases analyzed, and

16       the only cases in which it is not the lowest cost

17       alternative involved cases that use pulverized coal

18       technology with no carbon regulatory costs.

19                 In addition to the fact that the Gainesville

20       City Commission, based on extensive public input,

21       decided against coal and in favor of woody biomass, we

22       have to note the reality that the prospects for

23       permitting coal plants in Florida today or in the

24       foreseeable future are doubtful at best.

25                 Now, I have summarized, and our witnesses'

FLORIDA PUBLIC SERVICE COMMISSION

53

1       testimony and exhibits will describe in more detail the

2       extensive process that GRU and the Gainesville City

3       Commission followed in choosing the GREC project.  The

4       selection and approval of the GREC project and the power

5       purchase agreement reflect extensive public input from

6       the Gainesville community as reflected and embodied in

7       the unanimous decision of the Gainesville City

8       Commission after 37 public hearings and workshops to

9       pursue this renewable energy alternative.

10                 The Gainesville Renewable Energy Center is the

11       most cost-effective alternative available to meet

12       Gainesville's/GRU's long-term need for electric capacity

13       and energy and to provide the many benefits of

14       Florida-based renewable energy for GRU and for its

15       customers.  There is no other alternative available to

16       Gainesville or GRU that will provide all of these

17       benefits at a lower cost than the Gainesville Renewable

18       Energy Center.

19                 Gainesville Regional Utilities, the City of

20       Gainesville, and Gainesville Renewable Energy Center,

21       LLC, respectfully ask that you grant our joint petition

22       for determination of need for the Gainesville Renewable

23       Energy Center.

24                 Thank you.

25                 COMMISSIONER EDGAR:  Thank you, Mr. Wright.

FLORIDA PUBLIC SERVICE COMMISSION

54

1                 Commissioner.

2                 COMMISSIONER SKOP:  Thank you, Madam Chairman.

3                 Mr. Wright, in your opening statement you made

4       the assertion that the proposed plant will result in the

5       reduction of coal generation for the City of

6       Gainesville, and that seems to differ from what I'm

7       seeing on Pages 20 and 21 of the handout that was given

8       at the City Commission in Gainesville, the public

9       hearing.  Who would be the best witness to address that

10       concern, because I do have a problem with the statement

11       that was made and the way it was characterized?

12                 MR. WRIGHT:  I believe that Mr. Ed Regan would

13       be the appropriate witness.

14                 COMMISSIONER SKOP:  Thank you.

15                 COMMISSIONER EDGAR:  Thank you, Mr. Wright.

16                 MR. WRIGHT:  Thank you, Madam Chairman.

17                 COMMISSIONER EDGAR:  I am showing, am I

18       correct, Mr. Wright, that you have five witnesses?

19                 MR. WRIGHT:  In addition to Mr. Kamhoot, yes,

20       ma'am, five witnesses who will testify live.

21                 COMMISSIONER EDGAR:  Okay.  Let's go ahead and

22       swear you in as a group.  If all of the witnesses would

23       please stand together with me and raise your right hand.

24                 Do we have six?

25                 MR. WRIGHT:  Mr. Kamhoot is going to take the

FLORIDA PUBLIC SERVICE COMMISSION

55

1       oath, as well, Madam Chairman.

2                 COMMISSIONER EDGAR:  Oh.  I didn't realize you

3       were here.  Welcome.

4                 (Witnesses sworn.)

5                 COMMISSIONER EDGAR:  Mr. Wright, call your

6       first witness.

7                 MR. WRIGHT:  Thank you, Madam Chairman.

8                 GRU and GREC, LLC, call Mayor Pro Tem Sherwin

9       Henry.

10                 COMMISSIONER EDGAR:  And, Mr. Wright, your

11       witnesses' summaries will be five minutes or under?

12                 MR. WRIGHT:  Yes, ma'am.  We practiced them

13       extensively, and they are all under five minutes.

14                 COMMISSIONER EDGAR:  I would expect no less.

15                 Welcome, Commissioner.

16                 THE WITNESS:  Good morning, Chair Edgar and

17       fellow Commissioners.  First of all, let me start --

18                 COMMISSIONER EDGAR:  Hold on.  Mr. Wright has

19       some preliminary matters that he need to address with

20       you before you address us.

21                 THE WITNESS:  Sure.

22                 COMMISSIONER EDGAR:  7mr. Wright.

23                 MR. WRIGHT:  Thank you, Madam Chairman.

24                           SHERWIN L. HENRY

25       was called as a witness on behalf of Gainesville

FLORIDA PUBLIC SERVICE COMMISSION

56

1       Renewable Energy Center, and having been duly sworn,

2       testified as follows:

3                         DIRECT EXAMINATION

4       BY MR. WRIGHT:

5            Q.   Mayor Henry, please state your name and

6       business address for the record.

7            A.   Sherwin L. Henry, 200 East University Avenue,

8       Gainesville, Florida 32601.

9            Q.   And you are the Mayor Pro Tem of the City of

10       Gainesville and a City Commissioner, correct?

11            A.   Mayor Pro Tem as well as Gainesville City

12       Commission elected from District 1.

13            Q.   Thank you.  You are adopting the Prefiled

14       Direct Testimony submitted by Mayor Pegeen Hanranhan in

15       this case, correct?

16            A.   Yes, I am.

17            Q.   And other than information that is on its face

18       personal to Mayor Hanranhan, if I were to ask you the

19       questions contained in that Prefiled Direct Testimony,

20       would your answers be the same as reflected therein?

21            A.   Yes, they would.

22            Q.   And do you adopt this as your sworn testimony

23       to the Florida Public Service Commission today?

24            A.   Yes, I do.

25            Q.   Thank you.  And you don't have any exhibits to

FLORIDA PUBLIC SERVICE COMMISSION

57

1       your testimony, do you?

2            A.   No, I don't.

3                 MR. WRIGHT:  Madam Chairman, with that, I

4       would ask that the prefiled direct testimony of Mayor

5       Pegeen Hanranhan, as adopted by Mayor Pro Tem Sherwin

6       Henry, be entered into the record as though read.

7                 COMMISSIONER EDGAR:  As requested, the

8       prefiled testimony will be entered into the record as

9       though read.

10                 MR. WRIGHT:  Thank you.

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

63

1       BY MR. WRIGHT:

2            Q.   And now, Mayor Henry, would you please

3       summarize your testimony for the Commissioners.

4            A.   Sure.  Again, good morning and thank you for

5       this opportunity to speak before you.  I am Sherwin

6       Henry and I serve as the Gainesville City Commissioner

7       District 1 and Mayor Pro Tem of the City of Gainesville.

8       I am adopting the Prefiled Direct Testimony of our

9       Mayor, Pegeen Hanrahan, because she is attending the

10       United Nations Climate Change Conference in Copenhagen,

11       Denmark.

12                 My testimony addresses the seven-year process

13       that led to the City's and GRU's decision to contract

14       with Gainesville Regional Energy Center, LLC, to

15       purchase the output of the Gainesville Renewable Energy

16       Center project.  Our process was conducted fully in the

17       public eye with 37 public televised sessions including

18       City Commission meetings, workshops, and other public

19       meetings.  Our desire to pursue the GREC biomass project

20       is consistent with the desires of our community and the

21       Gainesville City Commission to reduce carbon emissions

22       and to obtain for our citizens the additional benefits

23       of renewable energy such as fuel diversity and reduced

24       price volatility.

25                 In 2005 our City Commission unanimously

FLORIDA PUBLIC SERVICE COMMISSION

64

1       adopted a resolution authorizing Mayor Hanrahan to sign

2       the U.S. Mayors Climate Protection Agreement which

3       commits our city to reduce our carbon emissions.  GRU,

4       as the arm of the City that operates our utilities, has

5       implemented extensive energy conservation programs that

6       have led to GRU's having the lowest energy consumption

7       by residential customers of all of Florida's electric

8       utilities.

9                 Even with this achievement, and with our

10       extensive commitment to renewables, including solar,

11       photovoltaic, and landfill gas projects, we need

12       additional generation resources to meet our long-term

13       energy needs as our aging power plants are retired, to

14       address anticipated environmental regulations, including

15       carbon regulation, and to provide long-term fuel

16       diversity and cost protection to our citizens and

17       customers.

18                 The Gainesville City Commission went through a

19       seven-year process fully vetted in 37 public sessions

20       that led us to choose the GREC biomass project and the

21       contract with GREC, LLC.  Even with short-term increases

22       in our customers' bills, the GREC project is the best

23       lowest-cost energy alternative available to meet the

24       needs and goals of our community.

25                 As expressed through the unanimous decisions

FLORIDA PUBLIC SERVICE COMMISSION

65

1       of their elected representatives, the Gainesville City

2       Commission, we respectfully ask that you approve the

3       project by granting our petition for determination of

4       need for the Gainesville Renewable Energy Center.  And

5       that ends my summary statement.

6                 MR. WRIGHT:  Thank you, Mr. Henry.

7                 Thank you, Madam Chairman.  Mr. Henry is

8       available for cross-examination.

9                 COMMISSIONER EDGAR:  Questions from staff for

10       this witness?

11                 MR. SAYLER:  Just a few, Madam Chairman.

12                          CROSS EXAMINATION

13       BY MR. SAYLER:

14            Q.   Good morning, Commissioner Henry.  How are

15       you?

16            A.   Great.  How are you this morning?

17            Q.   Excellent.  My name is Erik Sayler.  I'm an

18       attorney with the Public Service Commission, and we do

19       have just a few questions, some of which you have

20       already covered in your opening remarks, so I will skip

21       those, or your opening statement.

22            A.   Okay.

23            Q.   But, first, can you just -- when the City

24       Commission was making its decision, was the Gainesville

25       City Commission and Commissioners aware that by

FLORIDA PUBLIC SERVICE COMMISSION

66

1       approving the Gainesville Renewable Energy Center

2       project, or GREC project, the Commission was aware that

3       it could potentially put upward pressure on the rates of

4       GRU customers, is that correct?

5            A.   Yes, we were made aware as the process

6       proceeded or progressed.

7            Q.   Okay.  And in your testimony you indicated

8       that there were potential short-term increases, but just

9       in the early years, is that correct?

10            A.   Repeat the question again, sir?

11            Q.   That there would be some moderate short-term

12       increases during the early years of the project, is that

13       correct?

14            A.   That is correct.

15            Q.   All right.  And when it comes to setting rates

16       for Gainesville Regional Utilities, it is the City

17       Commission which approves and adopts any rate increases

18       or rate decreases, is that correct?

19            A.   That is correct.

20            Q.   And it is your testimony today that the City

21       Commission and GRU customers were made aware of those

22       potential rate increases?

23            A.   Yes, they were.

24                 MR. SAYLER:  And that concludes staff's

25       questioning for the witness.

FLORIDA PUBLIC SERVICE COMMISSION

67

1                 Thank you very much for your time.

2                 COMMISSIONER EDGAR:  Are there questions from

3       the bench?  Mr. Wright.

4                 MR. WRIGHT:  I have no direct.  Thank you,

5       Madam Chairman.

6                 COMMISSIONER EDGAR:  Commissioner, thank you

7       very much.  You are excused.

8                 THE WITNESS:  Thank you.

9                 COMMISSIONER EDGAR:  Mr. Wright.

10                 MR. WRIGHT:  We would call Mr. Edward J.

11       Regan.  Could I have a moment, Madam Chairman?

12                 COMMISSIONER EDGAR:  Do you need a break or

13       just a moment in place?

14                 MR. WRIGHT:  Actually a break would be better.

15                 COMMISSIONER EDGAR:  Okay.  And the court

16       reporter might appreciate it, as well.

17                 Commissioners, let's take ten minutes.  And we

18       will be back in ten.

19                 (Recess.)

20                 COMMISSIONER EDGAR:  If we could all gather.

21       We are back on the record.  And, Mr. Wright, I believe

22       you had just called your second witness.

23                 MR. WRIGHT:  Thank you, Madam Chairman.  So I

24       had.

25                           EDWARD J. REGAN

FLORIDA PUBLIC SERVICE COMMISSION

68

1       was called as a witness on behalf of Gainesville

2       Regional Utilities and Gainesville Renewable Energy

3       Center, LLC, and, having been duly sworn, testified as

4       follows:

5                          DIRECT EXAMINATION

6       BY MR. WRIGHT:

7            Q.   Welcome back, Mr. Regan.

8            A.   Glad to be here.

9            Q.   Please state your name and business address

10       for the record.

11            A.   My name is Edward J. Regan.  My job title is

12       Assistant General Manager for Strategic Planning for

13       Gainesville Regional Utilities, and my business address

14       is 301 Southeast 4th Avenue in Gainesville, Florida

15       32601.

16            Q.   Thank you.  And are you the same Edward J.

17       Regan who prepared and caused to be filed in this

18       testimony prefiled direct testimony consisting of

19       21 pages?

20            A.   I am.

21            Q.   Do you have any changes or corrections to be

22       made to that testimony?

23            A.   I do.

24            Q.   Thank you.

25                 MR. WRIGHT:  Madam Chairman, just as a

FLORIDA PUBLIC SERVICE COMMISSION

69

1       procedural note, you have in the back of your notebooks,

2       I am reliably advised, copies of Mr. Regan's errata, but

3       he will walk through the changes so that it's clearly in

4       the record.

5                 COMMISSIONER EDGAR:  I'll see if I can find

6       it.

7                 MR. WRIGHT:  Okay.

8                 COMMISSIONER EDGAR:  Mr. Sayler, I'm sure that

9       it is here in front of me, but I am quite sure that I

10       also do not see it.  Can you point me to the right

11       section?

12                 MR. SAYLER:  It is right after -- in my

13       notebook it's right after Page 21, but -- of the

14       testimony.

15                 COMMISSIONER EDGAR:  Thank you.  I now see it.

16       Everybody else good to go?

17                 Okay.  Thank you, Mr. Wright.

18                 MR. WRIGHT:  Thank you, Madam Chairman.

19       BY MR. WRIGHT:

20            Q.   Mr. Regan, would you please advise the

21       Commissioners and the court reporter of the changes and

22       corrections to your testimony item by item?

23            A.   Yes, I will.  On Page 1, Line 23, I would like

24       to delete the words "managing generating dispatch

25       operations."  My job functions have changed in the last

FLORIDA PUBLIC SERVICE COMMISSION

70

1       month.

2                 Exhibit Number EJR-2, the header says "Page 1

3       of 2."  It really ought to say "Page 1 of 1."  On Page

4       19, Line 10, the number "42" should be "44."  And on

5       Page 19, Line 16, the number "$102 million" should be

6       "$48.8 million."

7            Q.   And with those changes and corrections, if I

8       were to ask you the questions contained in your prefiled

9       direct testimony today, would your answers be the same?

10            A.   They would.

11            Q.   And do you adopt this as your sworn testimony

12       to the Florida Public Service Commission today?

13            A.   I do.

14            Q.   Thank you.

15                 MR. WRIGHT:  Madam Chairman, I would ask that

16       the prefiled direct testimony of Mr. Edward J. Regan be

17       entered into the record as though read.

18                 COMMISSIONER EDGAR:  The prefiled direct

19       testimony of the witness will be entered into the record

20       as though read, with the changes noted by the witness.

21       BY MR. WRIGHT:

22            Q.   Mr. Regan, did you also sponsor exhibits in

23       this -- did you prepare and cause to be filed exhibits

24       in this docket consisting of EJR-1 through EJR-3?

25            A.   Are those the ones attached to my direct

FLORIDA PUBLIC SERVICE COMMISSION

71

1       testimony?

2            Q.   Yes, sir.

3            A.   Yes, I did.

4            Q.   Okay.  I think that you noted a, a correction

5       in your testimony to EJR-2.  Is there a typographic

6       correction to be made to one of your exhibits?

7            A.   That was the correction that I spoke of.

8            Q.   Okay.  Thank you.

9                 MR. WRIGHT:  Madam Chairman, I would note that

10       Mr. Regan's exhibits EJR-1 through 3 have been

11       identified or marked for identification as Exhibits

12       8 through 10 on the Comprehensive Exhibit List.

13                 COMMISSIONER EDGAR:  Thank you.

14            (Exhibits 8 through 10 marked for identification.)

15       BY MR. WRIGHT:

16            Q.   And, Mr. Regan, did you also sponsor certain

17       sections of the Need for Power Application?

18            A.   Yes, I did.

19            Q.   If you would please just enumerate those

20       sections that you sponsored.  The application has

21       already been admitted, but so the Commissioners will

22       know which sections you're sponsoring, that would, that

23       would be helpful.

24            A.   Yes.  I'm sponsoring Section 1 in the need

25       application, Section 2, Section 3, Section 5, Section 6,

FLORIDA PUBLIC SERVICE COMMISSION

72

1       Sections 8.1 through 8.4, 9.3, 9.5, 13, 15, 16 and 17.2,

2       all of which were prepared by me or under my direct

3       supervision.

4            Q.   Thank you, Mr. Regan.

5                 MR. WRIGHT:  And, Madam Chairman,

6       Commissioners, I would note that if there's any doubt,

7       these are enumerated on Page 3 of Mr. Regan's testimony.

8                 COMMISSIONER EDGAR:  Okay.  Mr. Wright, before

9       we go any further, I notice, now that I have it in front

10       of me on the errata sheet, that it does say that there

11       are some corrections to the Need for Power Application

12       and we had already entered that.  Does that need to be

13       addressed?

14                 MR. WRIGHT:  I need a moment.

15                 COMMISSIONER EDGAR:  Sure.

16                 (Pause.)

17                 MR. WRIGHT:  Thank you, Madam Chairman.  May I

18       proceed?

19                 COMMISSIONER EDGAR:  Yes, you may.

20       BY MR. WRIGHT:

21            Q.   Mr. Regan, as part of your errata, did you

22       also submit changes to certain of the sections of the

23       Need for Power Application?

24            A.   Yes, I did.

25            Q.   Thank you.  Could you walk us through those,

FLORIDA PUBLIC SERVICE COMMISSION

73

1       please?

2            A.   Okay.  On Page 15-2 of the need application,

3       Table 15-1 gave a substitute table.  The reason for the

4       change was that it did not accurately reflect the range

5       of rate impacts that we presented to our City

6       Commission.  In fact, the range of impacts were higher

7       than were shown in that table due to having

8       inadvertently picked up the wrong column off of a

9       spreadsheet or the wrong row off a spreadsheet.  So that

10       was revised.

11                 On Page 15-2, in Row 3 there's a number for

12       the high natural gas price scenario in the column for

13       2019.  The negative 2.5 percent should be negative

14       1.6 percent.  I believe it's just a scrivener's error.

15                 On Page 16-1, the last paragraph, these are

16       changes that were also made in the testimony, my

17       testimony.  The last paragraph, Line 3 on Page 16-1,

18       should replace 42 with 44, and on Page 16-1, the last

19       paragraph, replace 102 with 48.8.

20            Q.   And are those all the corrections to the

21       sections of the Need for Power Application that you are

22       sponsoring?

23            A.   That is correct.

24            Q.   Thank you.

25                 COMMISSIONER EDGAR:  And, again, just, just so

FLORIDA PUBLIC SERVICE COMMISSION

74

1       I'm clear, is -- do we need to do anything further,

2       realizing that that, that is changes in Exhibit 27 that

3       has already been entered, or those errata changes

4       already incorporated into Exhibit 27?

5                 MR. WRIGHT:  I believe the answer is that they

6       are not incorporated into 27 as admitted.  If it, if it

7       --

8                 COMMISSIONER EDGAR:  I just want to make sure

9       we have the right information in the record.

10                 MR. WRIGHT:  Absolutely, and obviously we want

11       the same.  Perhaps it would be best if we simply

12       submitted corrected pages, that they can be put into 27.

13                 COMMISSIONER EDGAR:  Okay.  Will there be

14       errata to other sections of Exhibit 27 with some of the

15       other witnesses that are sponsoring portions?

16                 MR. WRIGHT:  I believe, I believe that one

17       other witness has corrections to sections from the Need

18       for Power Application.

19                 COMMISSIONER EDGAR:  Okay.  Well, maybe, maybe

20       a way to handle it, and I'll, you know, look to staff

21       too, would be, and we can do this at the conclusion of

22       the witnesses, that may be the neatest, neat, clearest,

23       would be to enter the errata altogether as a marked

24       exhibit as a -- that's just a thought.

25                 MR. WRIGHT:  That would be great.  And we did

FLORIDA PUBLIC SERVICE COMMISSION

75

1       file, we did file with the Clerk and deliver to staff a

2       copy, copies of the errata on Friday -- or Monday, I

3       guess.  Thank you.

4                 COMMISSIONER EDGAR:  Mr. Sayler, any thoughts?

5                 MR. SAYLER:  My understanding, this will be

6       handled at the conclusion of testimony, or were you

7       contemplating a late-filed exhibit for --

8                 COMMISSIONER EDGAR:  No.  My, my suggestion

9       was that we handle it at the conclusion of the testimony

10       today prior to adjournment.

11                 MR. SAYLER:  Excellent.

12                 COMMISSIONER EDGAR:  Okay.  Let's try it that

13       way.  Again, just so that everybody is clear and we have

14       the correct information and the correct exhibits.

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

97

1                 COMMISSIONER EDGAR:  I'm sorry, Mr. Wright.

2       Go right ahead.

3                 MR. WRIGHT:  Thank you very much, Madam

4       Chairman.  And with that, I would ask Mr. Regan to

5       summarize his testimony.

6                 THE WITNESS:  The purpose of my testimony is

7       to demonstrate how GREC, this is called GREC, meets all

8       the statutory criteria which the Florida Public Service

9       Commission must consider in making its determination of

10       need.

11                 The first consideration is the contribution

12       the proposed facility makes toward electric system

13       reliability and integrity.  Two-thirds of GRU's

14       generation capacity is over 28 years old and

15       65 megawatts will be retired in the next ten years.  In

16       order to maintain GRU's 15 percent capacity reserve

17       margin, additional baseload capacity will be needed by

18       2023.

19                 GREC will contribute to GRU's system

20       reliability in two ways:  It will meet the planning

21       reserve margins, and it will provide highly reliable

22       baseload capacity that will immediately improve the

23       average age and reliability of GRU's generation fleet.

24                 The second consideration is the contribution

25       the facility makes to providing adequate electricity at

FLORIDA PUBLIC SERVICE COMMISSION

98

1       reasonable cost.  GREC will provide adequate electricity

2       at reasonable cost because of the reliability benefits

3       just described, that I just described and the following

4       four reasons.

5                 One, GREC has a lower levelized cost per

6       kilowatt hour than natural gas-fired alternatives.

7                 Two, the PPA has a guaranteed heat rate and

8       30-year fixed prices for everything but fuels and

9       chemicals, both of which will protect customers from

10       price escalation and unanticipated construction and

11       operating expenses.

12                 Three, GRU will own all the environmental and

13       renewable energy attributes from GREC, which are a very

14       valuable hedge against pending regulations.

15                 Four, GREC will reduce reliance on GRU's

16       coal-fired Deerhaven 2 which supplies over two-thirds of

17       Gainesville's energy requirements, and will also reduce

18       exposure to the volatile price of natural gas for the

19       remainder of our generation units.

20                 The third consideration in Section 403 is the

21       contribution the proposed facility will make towards

22       fuel diversity and supply reliability.  Currently, GRU

23       relies on coal and natural gas to meet roughly

24       94 percent of its electrical energy requirements.  Coal

25       is supplied over a single rail spur and natural gas is

FLORIDA PUBLIC SERVICE COMMISSION

99

1       supplied over a single pipeline.

2                 With GREC, GRU's reliance on coal and gas will

3       be reduced by 18.5 percent just by GREC alone by 2023

4       and by over a third or 33 percent by 2032.  Fuel for

5       GREC will be obtained from numerous companies and

6       suppliers spread geographically throughout the North

7       Central Florida region and is not prone to a single

8       contingency outage as are the other fuels.

9                 The fourth consideration in Section 403 is the

10       proposed facility -- is if the proposed facility is the

11       most cost-effective.  GREC is the most cost-effective

12       firm baseload renewable energy facility available

13       because of the following five reasons.

14                 First, woody biomass is by far the most

15       abundant and least costly form of renewable energy in

16       North Central Florida.

17                 Two, the GREC LLC's proposal was chosen after

18       a nationwide competitive solicitation.

19                 Three, the size of GREC optimizes both the

20       unit heat rate and the cost per unit KW.

21                 Four, GRU gets to keep all the environmental

22       attributes of the project.

23                 And, five, the PPA provides significant

24       financial benefits not available if GRU were to own and

25       operate this plant.

FLORIDA PUBLIC SERVICE COMMISSION

100

1                 First, federal tax and grant incentives are

2       not eligible for a tax exemption entity (phonetic) like

3       Gainesville.

4                 Second, there are numerous risk protections in

5       the contract.  There are seasonally adjusted

6       availability guarantees with performance bonds, there is

7       a contractual heat rate, and there is no exposure to

8       cost overrun or other kinds of financial problems based

9       on unforeseen events.

10                 The fifth and sixth considerations in Section

11       403 are the extent to which the applicant is taking

12       advantage of renewable energy and conservation, and if

13       additional demand-side management could mitigate the

14       need for the proposed facility.

15                 The following achievements demonstrate that

16       GRU meets these criteria.  GRU's residential customers

17       have the lowest average electrical consumption of any

18       generating utility in Florida; 830 kilowatt hours a

19       month.  I was hired at GRU 30 years ago to set up those

20       programs.

21                 Two, the use of the total resource cost test

22       assures the maximum cost-effective conservation program

23       design.

24                 Three, all customer classes are eligible for

25       rebates and they all have rate designs that incentivize

FLORIDA PUBLIC SERVICE COMMISSION

101

1       energy management.

2                 Four, GRU supply-side programs include

3       generation, transmission and distribution improvements,

4       as well as distributed generation.

5                 Five, GRU's existing renewable programs

6       include landfill gas to energy, solar thermal and

7       photovoltaic rebates, and the first European style solar

8       feed in tariff offered by any electric utility in the

9       United States.

10                 In conclusion, GREC will increase the use of

11       renewable energy, improve system reliability and

12       increase fuel diversity and supply reliability all at a

13       reasonable cost.

14                 The GREC proposal satisfies all the statutory

15       criteria for determination of need by the Florida Public

16       Service Commission.  Thank you for the opportunity to

17       speak.  And I want to apologize if I garbled a little

18       bit.  I had my braces tightened and they hurt.

19                 COMMISSIONER EDGAR:  Commissioner Skop.

20                 THE WITNESS:  That concludes my comments.

21                 MR. WRIGHT:  And, and Mr. Regan is available

22       for cross-examination, Madam Chair.

23                 COMMISSIONER EDGAR:  Did you have questions?

24       Do you want to do that before staff or after?

25                 COMMISSIONER SKOP:  Before.

FLORIDA PUBLIC SERVICE COMMISSION

102

1                 COMMISSIONER EDGAR:  Okay.  Commissioner Skop.

2                 COMMISSIONER SKOP:  Thank you, Madam Chair.

3                 Good morning, Mr. Regan.

4                 THE WITNESS:  Good morning.

5                 COMMISSIONER SKOP:  And I have the same

6       problem too.  I get my braces tightened next Monday, so

7       I think I will probably be similarly situated.

8                 I have quite a few questions regarding the

9       application for the determination of need.  I guess

10       starting on Page 4 of your prefiled testimony, Lines 7

11       through 22 basically recite the statutory criteria for

12       the Commission granting a determination of need pursuant

13       to Section 403.519, Florida Statutes.  And I think that

14       the remainder of your testimony seeks to match GRU's

15       petition to the statutory criteria.

16                 If I could ask you to turn to, now to Page 5

17       of your prefiled testimony, Lines 7 through 10, you

18       state that GRU does not forecast a need for capacity to

19       simply maintain a 15 percent reserve margin until 2023.

20       You also state the reserve margin is not the only

21       criterion for additional generating capacity.

22                 I guess the question I have in relation to

23       that statement, and if I could refer you to I think what

24       has been marked as Exhibit 29, which is the presentation

25       that was given at the City Commission meeting with the,

FLORIDA PUBLIC SERVICE COMMISSION

103

1       the charts.

2                 THE WITNESS:  I have it before me.

3                 COMMISSIONER SKOP:  Okay.

4                 THE WITNESS:  Page 21, did you say?

5                 COMMISSIONER SKOP:  20, please, to start with.

6       I'll give everyone a moment to -- okay.

7                 On this chart on Page 20 of Exhibit 29,

8       basically it details the load forecast with reserve

9       margin from the period of 2000 through 2044; is that

10       correct?

11                 THE WITNESS:  That's correct.

12                 COMMISSIONER SKOP:  Okay.  And basically the

13       black line that we're seeing here indicates peak load

14       plus your reserve requirement, which is unlike the FRCC

15       requirement of a 20 percent, GRU uses a 15 percent

16       reserve margin; is that correct?

17                 THE WITNESS:  That is correct.

18                 COMMISSIONER SKOP:  Okay.  So basically that

19       line represents, the black line represents the peak load

20       requirement of your customers plus a 15 percent reserve

21       margin.

22                 THE WITNESS:  That is correct.

23                 COMMISSIONER SKOP:  Okay.  The question I have

24       in relation to that, and, again, subject to check, is

25       that in 2010, if you look at the bar chart here on that

FLORIDA PUBLIC SERVICE COMMISSION

104

1       page, your installed generation capacity appears to be,

2       from that bar line for 2010, 715 megawatts of total

3       generating capability; whereas, if you look on the black

4       line, which indicates the load, peak load plus the

5       15 percent reserve margin, it would seem to correspond

6       to a requirement of 505 megawatts.

7                 Now subject to check and backing out that

8       15 percent reserve margin so I could actually calculate

9       what the reserve margin currently is, subject to check,

10       backing out the 15 percent reserve from the 505 megawatt

11       number, it would indicate that your peak load

12       requirement in 2010 is approximately 439 megawatts.

13                 So if you take the installed generation with,

14       shown on 2010 and divide it by your peak load, it would

15       seem to me that in 2010 you have approximately a

16       63 percent reserve margin for installed generating

17       capability.  Would, would you agree to that, subject to

18       check?

19                 THE WITNESS:  I would agree to that

20       calculation subject to check.  I would like to point out

21       that the black part of that bar is 100 megawatts of

22       firm, a slice of the baseload system from Progress

23       Energy, which we actually have contracted for for many

24       of the same reasons that we're interested in, in the

25       GREC project, for system reliability, integrity and a

FLORIDA PUBLIC SERVICE COMMISSION

105

1       hedge against a high fuel price.

2                 COMMISSIONER SKOP:  And I appreciate that and

3       I understand that, and apparently that PPA lapses in

4       2013, if I'm correct.  Is that also right?

5                 THE WITNESS:  It actually lapses in two

6       phases.

7                 COMMISSIONER SKOP:  Okay.  All right.  Now

8       moving -- with respect to that, that PPA and one of the

9       other concerns that have been brought up in terms of

10       wholesale sales to Alachua, City of -- I mean,

11       Alachua -- City of Alachua, excuse me, and Clay, is any

12       of that Progress PPA used to serve those wholesale

13       loads, given the high reserve margin that Gainesville

14       currently has or GRU currently has?

15                 THE WITNESS:  Both of those contracts have

16       fuel price based on formulas related to system average

17       production costs.  To the extent that Progress is being

18       dispatched on our behalf, it becomes a part of our

19       system average production cost.

20                 COMMISSIONER SKOP:  Okay.  All right.  Thank

21       you.

22                 THE WITNESS:  So I think the answer would be

23       yes.

24                 COMMISSIONER SKOP:  Okay.  Moving on Page 20

25       to the 2022 mark or actually 2023 mark, that's where GRU

FLORIDA PUBLIC SERVICE COMMISSION

106

1       actually drops below the black line, indicating a need

2       for additional generating capacity; is that correct?

3                 THE WITNESS:  That is correct.

4                 COMMISSIONER SKOP:  Okay.  Now looking at

5       2022, if you look at the bar chart there, and after that

6       Progress PPA has expired, it appears that the installed

7       generating capability without the addition of the new

8       plant is approximately 580 megawatts with a -- and

9       looking on the black line for 2022, you see that the

10       requirement for peak generation plus 15 percent reserve

11       is approximately 545 megawatts.  So backing that reserve

12       margin out to calculate what the reserve margin actually

13       would be in 2022 without doing anything, and subject to

14       check, if you take 580 divided by 473, you'd get a

15       22 percent reserve margin in 2022.  Would you agree with

16       that number, subject to check?

17                 THE WITNESS:  Subject to check, I would agree

18       that it's certainly above the 15 percent.

19                 COMMISSIONER SKOP:  Okay.  And that's not

20       necessarily a bad thing for major IOUs.  For major IOUs,

21       you know, we adopt a 20 percent reserve margin for, for

22       reliability and planning purposes.

23                 I guess what, what I'm trying to gain a better

24       appreciation and understanding of, if there is excess or

25       surplus capacity through 2023, then from a, a capacity

FLORIDA PUBLIC SERVICE COMMISSION

107

1       need basis there is no need to add an additional 100

2       megawatt plant during that time period; is that correct?

3                 THE WITNESS:  That is correct for strictly

4       capacity reasons for meeting your planning reserve

5       margins.

6                 COMMISSIONER SKOP:  Okay.  All right.  Thank

7       you.

8                 Now on Page 5 of your prefiled testimony on

9       Lines 15 through 18 you discuss the Deerhaven 2 facility

10       that serves 50 percent of GRU's peak demand and is a

11       coal-fired plant; is that correct?

12                 THE WITNESS:  That's correct.

13                 COMMISSIONER SKOP:  Okay.  Now you mentioned

14       this is, is an aging facility that'll be 32 years old

15       in, in 2013; is that correct?

16                 THE WITNESS:  Yes.  That's correct.

17                 COMMISSIONER SKOP:  Okay.  Subject to check, I

18       mean, what was the useful life of that plant when it was

19       put into service?  And the reason I'm asking this is

20       that the majority of our investor-owned utilities, when

21       they have a coal plant or either a nuclear plant, the

22       actual service life of the plant is typically sometimes

23       almost double what the initial service life would be.  I

24       mean, we have, we have useful lives for coal plants that

25       are, you know, approaching 60 years.  So I'm trying to

FLORIDA PUBLIC SERVICE COMMISSION

108

1       get a better perspective on how a plant that may be

2       32 years old, in three or four years from now you're

3       expected to retire that plant.  Because I'm not seeing

4       that from the chart on Page 20 of the graph because I

5       don't see the retirement there.

6                 THE WITNESS:  Let me -- can I make sure I'm

7       hearing your question correctly?

8                 COMMISSIONER SKOP:  Okay.

9                 THE WITNESS:  The unit is currently 28 years

10       old.  What year were you looking at?

11                 COMMISSIONER SKOP:  Well, I'm trying to, I'm

12       trying to understand.  I mean, typically -- obviously I

13       think you've agreed to the question that the need to add

14       100 megawatts of additional generating capacity is not

15       predicated on the need for additional capacity nor the

16       need for additional rely -- reserve margin.  So I'm

17       trying to understand, you know --

18                 THE WITNESS:  Yeah.

19                 COMMISSIONER SKOP:  -- pursuant to the

20       statutory criteria, what would justify the need for 100

21       megawatts of additional --

22                 THE WITNESS:  Okay.

23                 COMMISSIONER SKOP:  -- baseload generation,

24       for lack of a better word.  Because I believe that the

25       biomass project will be more baseload than intermediate

FLORIDA PUBLIC SERVICE COMMISSION

109

1       load.

2                 So looking on Page 20, again, you have -- and

3       this is without the biomass project.  You have adequate

4       reserve through 2022, dropping off slightly in 2023.

5       But I don't see any detrimental impact to the base

6       capacity, which is in most part generated by Deerhaven

7       2, I would imagine, for the most part.  I don't see

8       baseload capacity falling off there as, as seems to be

9       alluded to.

10                 I mean, typically a coal plant -- I think the

11       argument is being made that it's 32 years old and it may

12       not be as available, but it seems to be, that doesn't

13       seem to be kind of reflected.  Is that chart just

14       reflecting the installed baseload capacity and not

15       taking into account the degradation of the unit?  Or how

16       sure are we that, that Deerhaven is going to fall off

17       the cliff?  I mean, because it seems to me to be

18       important to the discussion because it seems to be

19       emphasized that we have, that GRU has an aged generating

20       fleet.  But if that is just a statement rather than

21       substance, I mean, if Deerhaven 2 is not going to be

22       retired any time in the near future and still continue

23       to serve native baseload generation, then to me, you

24       know, we need to find another criteria to justify the

25       need to add 100 megawatts.  So if you could briefly

FLORIDA PUBLIC SERVICE COMMISSION

110

1       explain that, I'd appreciate it.

2                 THE WITNESS:  Okay.  I think I'm going to

3       attempt to answer your questions by sort of walking

4       through the sequence of retirements and helping explain

5       that.

6                 But before I do that, I will say that to have,

7       our system -- not only does this one unit provide

8       50 percent of our peak capacity, it, it's close to --

9       70 percent of the energy, if you average it over the

10       last five years -- 2008 was an extraordinary year, it

11       was a much lower year.  It was a bad year for that unit.

12                 What that does is it puts a lot of our fuel

13       costs -- it is a coal unit.  Its production costs,

14       subject to check, is something on the order of $42 a

15       megawatt hour.  Gas units, we don't have any gas unit

16       that has a heat rate better than nine.  Our CTs are up

17       in the 14s and 15s.  So when that unit goes down, it

18       makes a big difference in our price.

19                 And, in fact, I've been doing bond ratings for

20       Gainesville Regional Utilities since 1989, and it's

21       always been an issue with the rating, rating agencies is

22       our reliance on that one unit.  And just for plain old

23       reliability and cost, that unit is very important.

24                 However, we are assuming that it will

25       certainly meet its 50-year life, which is its nominal

FLORIDA PUBLIC SERVICE COMMISSION

111

1       rated life.  Hopefully it'll go further.  We're not

2       planning any facilities out in the 2023 -- 32 time

3       frame.  That's not really that germane.  But it's

4       important to look -- we wanted to look at the whole mix

5       of our generation fleet over the life of this contract.

6                 Prior to 2023 we are going to be retiring

7       three CTs at Kelly Station which are currently in excess

8       of 40 years old.  Their heat rates are such that they're

9       way out of the money.  They're very expensive to keep in

10       operating condition.  Just heating them up and running

11       them at all becomes pretty cost prohibitive.

12                 Just as a little sidebar, one of the issues

13       we're looking at is can we replace those with units that

14       would allow us to distribute chilled water throughout

15       the community as a distributed generation source.

16                 Then we have Kelly 7, which is also of a high

17       vintage, and that's -- and there's a little table off to

18       the side there that shows those numbers.  Kelly Fossil

19       Steam 7 is currently 48 years of age, and that's also

20       something that will be coming off.  Those are all

21       relatively small.  The next unit up in line would be

22       Deerhaven 1, which is an 80-megawatt fossil steam fired

23       by natural gas.

24                 So we're not, you know, we're not trying --

25       we're not claiming that we're going to retire

FLORIDA PUBLIC SERVICE COMMISSION

112

1       Deerhaven 2 as a part of the need for this GREC.  But by

2       2023, if you'll notice that there are incremental steps

3       through time through there -- it's a little confusing

4       because we're also increasing our capacity in solar.

5       And for -- in solar our, our data indicates that the, we

6       do take a credit for solar with a 35 percent coincidence

7       factor, and that's been adjusted in this, into this

8       table.

9                 COMMISSIONER SKOP:  Okay.

10                 THE WITNESS:  So it has some benefits of peak,

11       but not 100 percent.  So does that help the Commissioner

12       with his question?

13                 COMMISSIONER SKOP:  It does.  Thank you,

14       Mr. Regan.  And, again, I think the, if I understood

15       what you stated is that Deerhaven 2 has a 50-year

16       service life and basically it will be approximately

17       32 years old in 2013.  Is that an accurate statement?

18                 THE WITNESS:  Yes.  And in our internal

19       debates we have just finished completing, if I might

20       elucidate on that, completed retrofitting that unit with

21       the equipment it needs to meet the CAIR and CAMR

22       requirements for mercury and sulfur and everything.  And

23       we would certainly hope that we get more than 50 years

24       out of it.  The uncertainty of that date is one of the

25       reasons why throughout this entire proceeding we have

FLORIDA PUBLIC SERVICE COMMISSION

113

1       assigned zero avoided capacity benefit to GREC.  It's

2       all been avoided fuel.

3                 COMMISSIONER SKOP:  Okay.  On Page 5 of the

4       prefiled testimony you indicated in 2013 that the

5       availability of Deerhaven 2 is expected to decrease.

6       But you stated you recently made improvements to, to

7       comply with federal environmental emissions regulations.

8       Why would you make those improvements if you thought

9       that the unit, didn't have confidence and that the

10       availability would go down substantially?  Why would GRU

11       make those type of investments?

12                 I'm trying -- I guess what I'm trying to

13       understand here is the statements being made, and I

14       understand on the basis of capacity there does not

15       appear to be a need with a, with a, you know, 63 percent

16       reserve margin.  So, again, we're getting into

17       reliability issues now, and that's what I'm trying to

18       get a better appreciation for.  But what I'm, what I see

19       is a baseload generating unit with the assertion in the

20       prefiled testimony that in the near term that unit is

21       going to degrade substantially, yet it's nowhere near to

22       its 50-year service life.  So I'm trying to rationalize

23       how that might be, you know, appropriate.  I mean, what

24       is the effective forced outage rate for the unit?

25                 THE WITNESS:  I don't have that specific

FLORIDA PUBLIC SERVICE COMMISSION

114

1       number with me right now.

2                 COMMISSIONER SKOP:  Okay.

3                 THE WITNESS:  But I do know that in planning

4       for that unit we are doing things to improve or reduce

5       the frequency of boiler leaks (phonetic), replacing a

6       super heater.  But if you take out the GADS data for

7       units of this type, there is a very pronounced trend

8       towards increased frequency of outage, that we're doing

9       everything possible.

10                 If, if we were going to justify the GREC

11       facility strictly on meeting reserve margins, we would

12       be building it six years later than we're building it

13       now.  And so the six years advance is really to attain

14       some of the other benefits we're talking to, primarily

15       to meet our carbon goals.

16                 COMMISSIONER SKOP:  Okay.  And that was one of

17       the questions that again I had on Page 21 of the, what

18       has been marked as Exhibit 29, which shows the effect of

19       adding the proposed biomass project, 100 megawatts, to

20       the prior chart shown on Page 20.  And it seems that

21       even in 2023 you will still need some form of additional

22       generation even with the addition of the biomass plant;

23       is that correct?

24                 THE WITNESS:  If I recall the table,

25       specifically our capacity reserve margin is plus or

FLORIDA PUBLIC SERVICE COMMISSION

115

1       minus a half of a percentage of the 15 percent.

2                 COMMISSIONER SKOP:  Okay.  So --

3                 THE WITNESS:  And that's certainly well within

4       the error of the forecast.

5                 COMMISSIONER SKOP:  Okay.  So you would, you

6       would not expect to add any additional generation

7       probably through 2032 as shown on that graph.  You'd

8       meet any deficit of reserve margin through purchased

9       power or being able to purchase power, if necessary.

10                 THE WITNESS:  That is correct.  I would like

11       to say that this forecast reflects not only a major

12       downturn in the economy, but a growth rate that is

13       60 percent lower than prior years.  If you look at the

14       history, you can see what the curve was like, and that's

15       in reflection of our demand-side management programs.

16                 COMMISSIONER SKOP:  Okay.  With respect to

17       that statement and a prior statement you made about GRU

18       through its, I guess, educating the customers, its

19       customers, of which I am one, you state that GRU has the

20       lowest consumption of any --

21                 THE WITNESS:  Generating utility in Florida.

22                 COMMISSIONER SKOP:  Yes.  Okay.  If, if GRU

23       continues to, to push and advocate for energy

24       conservation and efficiency measures, what will that do

25       to the need for additional generation vis-a-vis that

FLORIDA PUBLIC SERVICE COMMISSION

116

1       there appears to be significant excess generation

2       capacity on, on Page 21 of that chart?  So, so, again,

3       trying to better understand, is there -- I think there's

4       no -- is it fair to say there's no need based on

5       capacity through 2023?

6                 THE WITNESS:  Absolutely.

7                 COMMISSIONER SKOP:  Okay.  All right.

8                 THE WITNESS:  The, to answer your question,

9       if, if our conservation programs are more successful

10       than we think, which, in particular our redesigns, those

11       were a venture to social science, and we can have a long

12       discussion as to whether the price elasticities we were

13       assuming were, are accurate at the, at the kind of

14       market changes we're seeing.  But if the conservation

15       programs are more effective than we thought than in

16       2023, we'll have a little bit more than a 15 percent

17       reserve margin and we will be carrying a little bit

18       extra reserves longer than that.

19                 But keep in mind that a lot of our generating

20       units are paid for and have, they're expensive to run

21       because they are a relatively low efficiency.

22                 COMMISSIONER SKOP:  Okay.  Thank you.  Now

23       with respect to the chart shown on Page 21, which shows

24       the addition of the 100-megawatt biomass plant, and also

25       looking at Page 14 of your prefiled testimony beginning

FLORIDA PUBLIC SERVICE COMMISSION

117

1       at Lines 11 through 22, you talk about the need to add

2       the biomass plant, and I think previously mentioned to

3       address the city's initiatives for reducing CO2

4       emissions and some of the other measures.  And also I

5       think you've, you've mentioned that the city, I mean the

6       company will retain the environmental attributes

7       associated with the project.

8                 What, I guess, measures in terms of adding the

9       additional capacity -- I think you mentioned four

10       municipalities are interested in purchasing the power

11       from the biomass plant.  But is it correct to understand

12       there is no formal contract in place regarding the

13       desire to sell 50 percent of the 100 megawatt capacity?

14                 THE WITNESS:  There is a formal contract in

15       place that is a confidentiality agreement so that they

16       can review the PPA and discuss the terms and conditions

17       of that, which is absolutely essential for them to

18       understand, but we have not struck a purchased power

19       agreement yet at this time.

20                 COMMISSIONER SKOP:  Okay.  Referring back

21       again to the graph on Page 21 of Exhibit 29, the

22       proposed biomass plant is supposed to come into service

23       in 2013, and on that chart again there's significant

24       excess capacity during that time, including during the

25       time from 2013 to 2023 when GRU proposes to sell

FLORIDA PUBLIC SERVICE COMMISSION

118

1       50 percent of the generation of the biomass plant.

2                 I think the question I would have there, and,

3       you know, you can address it either via the cost of

4       generation or what have you, but there doesn't appear to

5       be a need based upon additional capacity.  So I'm trying

6       to understand that if the need were granted for the

7       biomass plant, which is 100 megawatts of green power,

8       and GRU is, I mean GRU as well as the City of

9       Gainesville and the mayor and the mayor pro tem is

10       committed to being green and all the other initiatives,

11       whether it be the feed in tariff, many of the energy

12       conservation measures that GRU has done, and I often

13       commend GRU during our hearings for the steps they've

14       taken in that regard.

15                 But I guess my question would be is why would

16       you sell off the green power as opposed to entering into

17       agreements to sell off your intermediate and peaking

18       excess capability?  Because you already have that.  I

19       mean, even without the biomass plant, you don't need

20       another electron through 2023.  So during that period

21       why would you not keep that green power in, in

22       Gainesville and contract what is shown by the blue line

23       and the red lines on Page 21, contract that instead,

24       sell off that power or basically have offtake

25       arrangements for, for that excess capacity?

FLORIDA PUBLIC SERVICE COMMISSION

119

1                 Because the concern I have for the GRU

2       ratepayers is they've made the investment for generating

3       assets that are essentially stranded by virtue of the

4       significant levels of excess capacity that's available

5       for generation.  So it's kind of like the, either the

6       assets are going to be sitting there idle or they're

7       going to be, you know, curtailed like a combined cycle

8       unit, you may not run it at full load, you may curtail

9       it or even cycle it off.  But I'm trying to get a better

10       handle on the decision to sell off the green power as

11       opposed to some of the other generating resources that,

12       that are indicated by the red and blue lines during that

13       period from 2013 through 2024.

14                 THE WITNESS:  Let me organize my, my thoughts

15       for a second.

16                 COMMISSIONER SKOP:  Okay.

17                 THE WITNESS:  There's, there's --

18                 COMMISSIONER SKOP:  And I apologize for the

19       data dump on that one, but, again, I'm trying to get a

20       better handle on what the thought process here was.

21                 THE WITNESS:  First of all, when -- and, you

22       know, Schef is giving me the beady eyes, so I have to be

23       careful here.

24                 COMMISSIONER SKOP:  It's probably because I

25       ask tough questions.

FLORIDA PUBLIC SERVICE COMMISSION

120

1                 THE WITNESS:  First of all, we have not signed

2       a PPA for selling the power.  And as your staff have

3       recognized, there are contingencies under which we would

4       not.  But the, the first -- and that would be if one, if

5       the high case that AEO produced for HR 20 -- I always

6       get these numbers wrong -- 2554, I think that's it, the

7       Waxman bill, if that does go through, this unit would

8       likely, it would be in the money from day one.  We would

9       not sell the power off.  That's the first thing.

10                 The second thing is that the dispatch merit

11       for this unit will be below that of coal.  It will be

12       dispatched before coal.  But the fixed charge that goes

13       with that energy is, is what puts it above the market in

14       the early years, as your staff has shown you.

15                 And so to mitigate the effect on our

16       ratepayers under the scenario that there is no carbon

17       regulation, it hasn't happened.  I mean, we all thought

18       retail deregulation was coming, but it didn't.  So we

19       are, are planning -- our base case is business as usual,

20       straight up utility economics.

21                 So that -- we really had in mind a little bit

22       smaller unit when we started the RFP process.  We were

23       looking, if you go back to the RFP, we were in the

24       range, subject to check, between 60 to 80 megawatts.

25       This unit, when we saw the advantages it brought in

FLORIDA PUBLIC SERVICE COMMISSION

121

1       terms of almost, and it's actually described in Section

2       15, I believe, 30 percent reduction in the cost per

3       kilowatt because of its size and because it had -- one

4       of our Commission, Commission's objectives when they

5       adjusted our evaluation criteria is just because it's

6       low cost fuel doesn't mean you want to waste it.  It's a

7       very efficient unit for a unit of this type.

8                 And so those kinds of benefits, it became

9       obvious that it's a unit -- we're going to need capacity

10       out in the future.  I think we all can agree to that.

11       Maybe not -- certainly by 2032 we're going to need more

12       capacity, even if Deerhaven keeps going for another five

13       years.  The -- so we, so particularly because, and I

14       don't want this to come out the wrong way, but it is on

15       our land.  It's in the City of Gainesville.  It's our

16       unit.  So we thought, well, why not go ahead and take

17       advantage of those things.

18                 We reviewed our fuel studies, which indicate

19       that a much larger unit could actually be supported, and

20       decided to go with this unit.  And as a hedge, we, we

21       wanted to find out if there was interest in offloading

22       part of the capacity, and that's where we are with that

23       discussion.

24                 Now in terms of -- there is no doubt in our

25       minds that the, the, this unit will free up some of our

FLORIDA PUBLIC SERVICE COMMISSION

122

1       other capacity, including some coal.  The question of

2       how do we -- what is the value of that?  This is

3       probably the second most conservative feature of our

4       analysis is that we took no economic value consideration

5       at all of the value of that freed up capacity into the

6       market, and that's really for two reasons.

7                 The first reason is the City Commission may

8       choose not to run those units as a way of furthering

9       their carbon goals.  If we put in a biomass unit and run

10       the plant to its maximum, where is the net change in

11       carbon?  So that's an issue.

12                 The second issue is a lot more practical, and

13       that is -- I've been involved in power marketing for a

14       long time, I'm on the, sit on an operating committee for

15       the Energy Authority, and to try to value those

16       resources in the market today would be an endless

17       conversation.  So we said just for conservative's sake,

18       let's just assume it's zero, and that's what we did.

19                 COMMISSIONER SKOP:  And thank you for that.

20       And, Madam Chair, I just have a few more questions.

21                 So if I, if I understood the thought process

22       on, on, you know, how you would look at the biomass

23       plant in terms of -- I think initially you thought that

24       you would, if you didn't think carbon was coming, that

25       you would shift it out six years to the right on that

FLORIDA PUBLIC SERVICE COMMISSION

123

1       chart.

2                 THE WITNESS:  Yeah.

3                 COMMISSIONER SKOP:  Carbon legislation has not

4       come yet, and so that drove the decision to somewhat

5       hedge by selling 50 percent of the generation.  And you

6       said that this biomass unit would be dispatched before

7       coal.  Now is that only true if the Waxman-Markey bill

8       and carbon legislation actually happens?

9                 THE WITNESS:  No.  That -- I think I forgot to

10       say something that's fairly germane is that the 50

11       megawatts lets us meet our stated policy objective of

12       meeting the Kyoto Protocol.  I just, I forgot to say

13       that.  The dispatch is without any consideration of

14       carbon or RECs.

15                 COMMISSIONER SKOP:  For price.  Okay.  So, so

16       dispatch would not be economic dispatch, because I think

17       you previously stated the cost per megawatt for coal was

18       about $42 per megawatt.

19                 THE WITNESS:  You could infer that the cost,

20       the incremental cost of turning this unit on that our

21       ratepayers would bear is -- and I'll have to explain a

22       little bit about the contract structure, but let me just

23       say this, it is below that number.  And the contract is

24       a performance contract.  There is no fixed capacity

25       charge.  If the unit is not going, you don't pay

FLORIDA PUBLIC SERVICE COMMISSION

124

1       anything.

2                 COMMISSIONER SKOP:  Okay.

3                 THE WITNESS:  As long as it's available

4       though, for every megawatt that they could produce,

5       there is a nonfuel energy charge that we will pay.

6                 COMMISSIONER SKOP:  Okay.  I had hoped not to

7       get into that, but I guess you said something and I'm

8       trying to clarify what I'm hearing because I'm hearing

9       different things.

10                 Earlier in your testimony I think you stated

11       that the, the dispatch cost for your coal unit is

12       approximately $42 per megawatt.

13                 THE WITNESS:  Subject to check.

14                 COMMISSIONER SKOP:  Okay.  And I thought that

15       I just heard you say that, that even if carbon

16       legislation did not pass, the biomass plant would be

17       dispatched before the coal unit; is that correct?

18                 THE WITNESS:  It would be dispatched after our

19       nuclear capacity and before the coal unit.

20                 COMMISSIONER SKOP:  Okay.  Now -- and you

21       stated that that was to meet the Kyoto Protocol in terms

22       of CO2 emissions, is that correct, for that dispatch

23       decision?

24                 THE WITNESS:  I was casting back to the

25       conversation on the strategic decision to market

FLORIDA PUBLIC SERVICE COMMISSION

125

1       50 megawatts.  And one of, one of our planning

2       assumptions is that, well, what if there is no carbon

3       regulation?  We still have a policy commitment by the

4       City Commission to meet the Kyoto Protocol, and the

5       50 megawatts allows us to do that.

6                 COMMISSIONER SKOP:  Okay.  Would you, would

7       you agree that there's a difference between economic

8       dispatch and then discretionary dispatch as to meeting

9       protocols?

10                 THE WITNESS:  Absolutely.

11                 COMMISSIONER SKOP:  Okay.  So if the dispatch

12       cost for coal is approximately $42 per megawatt, subject

13       to check, and you indicated that the biomass project

14       would be dispatched prior to coal, then that's not based

15       on economic dispatch; is that correct?

16                 THE WITNESS:  That is based on economic

17       dispatch.

18                 COMMISSIONER SKOP:  Okay.  Can I ask you to

19       turn --

20                 THE WITNESS:  The production costs will be

21       south of $42.

22                 COMMISSIONER SKOP:  Can I ask you to turn to

23       the confidential document Appendix 3 for the contract

24       price, please?

25                 THE WITNESS:  I don't have that before me.

FLORIDA PUBLIC SERVICE COMMISSION

126

1                 COMMISSIONER SKOP:  Okay.  Can somebody

2       provide that to you?

3                 MR. WRIGHT:  Madam Chairman, could I just --

4                 COMMISSIONER EDGAR:  Mr. Wright.

5                 MR. WRIGHT:  I, I just would ask that

6       Commissioner Skop repeat the page number.  I was

7       reaching for it.

8                 COMMISSIONER SKOP:  It's in Roman numeral, so

9       it's XIV, Appendix 3, Contract Prices.  That does, it

10       does not have a page.

11                 COMMISSIONER EDGAR:  Would that be 14?

12                 MR. WRIGHT:  According to my Latin, yes,

13       ma'am.

14                 COMMISSIONER SKOP:  Yeah.  Thank you.

15                 MS. HELTON:  Madam Chairman?

16                 COMMISSIONER EDGAR:  Ms. Helton.

17                 MS. HELTON:  If I could just state for the

18       record so that everybody understands, the yellow

19       highlighted, highlighted information is confidential and

20       that should not be, that information there should not be

21       stated on the record.  So if we can, as Commissioner

22       Skop knows, but I'm trying to make sure everybody else

23       knows, ask our questions in such a way so that that

24       information is not revealed.

25                 COMMISSIONER EDGAR:  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

127

1                 COMMISSIONER SKOP:  Thank you, Madam Chair.

2                 Mr. Regan, do you have that document in front

3       of you?  I believe, as Commissioner Edgar pointed out, I

4       believe it's Page 14 in Roman numerals.

5                 THE WITNESS:  If you'll give me a second.  The

6       version that was just handed to me doesn't -- oh, here

7       it is.  Well, I've got Attachment 1.  Were you looking

8       for Attachment 3?

9                 COMMISSIONER SKOP:  No.  I'm looking for

10       Appendix 3.

11                 COMMISSIONER EDGAR:  Appendix 3.  I'm sorry,

12       Commissioner.  Towards the back, Appendix 3, after the

13       regular numbers it starts with the Roman numerals again.

14                 THE WITNESS:  It's not in this version.

15                 (Pause.)

16                 Schef found it for me.

17                 COMMISSIONER EDGAR:  Okay.

18                 COMMISSIONER SKOP:  So, Mr. Regan, are you now

19       at what is marked Appendix 3, Contract Prices, which

20       shows the confidential data?

21                 THE WITNESS:  Uh-huh.

22                 COMMISSIONER SKOP:  Are you on that page?

23                 THE WITNESS:  Yeah.

24                 COMMISSIONER SKOP:  Okay.  Now you previously

25       stated that the dispatch cost of coal is approximately

FLORIDA PUBLIC SERVICE COMMISSION

128

1       $42 per megawatt, megawatt hour I guess.  And the --

2                 THE WITNESS:  Subject to check.

3                 COMMISSIONER SKOP:  Subject to check.  And

4       that the biomass plant would be dispatched before coal

5       because the cost of generation is lower than coal.  I

6       believe you just stated that; is that correct?

7                 THE WITNESS:  Yes.

8                 COMMISSIONER SKOP:  Okay.  So now without

9       disclosing the confidential information on that page, if

10       you would look at the non-fuel energy charge column or,

11       I mean, row, the fixed O&M charge row and the variable

12       O&M charge row, and those are the non-fuel energy

13       charges before you get to fuel, would you agree that

14       those charges are significantly above what you testified

15       that's the dispatch cost of coal?

16                 THE WITNESS:  Those prices are irrelevant to

17       the dispatch decision.  Can I explain why?

18                 COMMISSIONER SKOP:  Okay.  Please.

19                 THE WITNESS:  The way this contract is

20       structured, most utilities are very familiar with so

21       much a kilowatt month kind of a fixed capacity charge,

22       and we did not want that.  We wanted a performance

23       contract.  So a very important part of this contract is

24       how we determine what is the available capacity from the

25       unit.  So if 100 megawatts is available and we, we have

FLORIDA PUBLIC SERVICE COMMISSION

129

1       the option of turning it off or dispatching it less than

2       100 megawatts, but for those 100 megawatts, as long as

3       it's available under the contract, the non-fuel energy

4       charges will still accrue, which are a sunk cost, and so

5       the variable cost for the economic dispatch decision is

6       the production cost, the fuel production cost.

7                 COMMISSIONER SKOP:  Okay.  I'll accept that

8       subject to check, noting that this is a firm energy

9       price and doesn't reflect capacity.  But I would also --

10       would you agree that if you have additional excess

11       stranded capacity that's already been paid for by the

12       ratepayers, that over and above that you're paying these

13       energy charges irrespective -- it's like a take-or-pay

14       contract; is that correct?  You're paying for something

15       that you wouldn't necessarily need because you already

16       have it; is that correct?

17                 THE WITNESS:  That portion of the bill or the

18       price, which does cover all the capital charges, the O&M

19       charges and so on, could be characterized as

20       take-or-pay, provided it's available.

21                 COMMISSIONER SKOP:  Okay.  And subject to

22       check, would you agree that those charges escalate on an

23       annual basis?

24                 THE WITNESS:  No.  Those, those charges are

25       fixed for 30 years.

FLORIDA PUBLIC SERVICE COMMISSION

130

1                 COMMISSIONER SKOP:  I'll get back to that.

2                 THE WITNESS:  There's a construction cost

3       adjuster, which is that that number was fixed when we

4       signed a contract May 7th.  And there's an agreed upon

5       formula that when a notice to commence proceeds, that

6       there will be an adjustment based on the changes in the

7       construction costs between here and there, and after

8       that they're fixed for 30 years.

9                 COMMISSIONER SKOP:  Okay.  I'll, I'll come

10       back to that.  I have not had a lot of time to review

11       the contract.  But in my preliminary review I did see an

12       escalation provision that gave me a little bit of pause.

13       But let me, let me go quickly, because, again, I want to

14       give my colleagues an opportunity to ask questions.

15                 You mentioned that on the basis of economic

16       dispatch it would just boil down to the fuel charge.  So

17       let's compare the cost of coal as delivered and the cost

18       of fuel for this project as delivered.  I know that

19       there's no number for fuel charge because it's based on

20       the fuel charge and a price adjuster.  Is it correct --

21       I think Commissioner Klement -- I mean, I'm sorry.  I

22       said it wrong and I've got to, I've got to break myself.

23       Commissioner Klement raised this issue at the public

24       hearing about that, you know, GRU does not currently

25       have a fuel contract in place.  So I think the

FLORIDA PUBLIC SERVICE COMMISSION

131

1       Commissioner's concerns, and I'll let him elaborate,

2       were that what happens if you get squeezed for fuel and

3       the prices go up?  So do we have a flavor on what per

4       ton the expected biomass delivered cost would be in

5       relation to coal, the difference?

6                 THE WITNESS:  If you're asking if we have a

7       flavor, or are you asking what the flavor is?

8                 COMMISSIONER SKOP:  Well, I'm trying to

9       understand because I don't, I don't see a number here in

10       front of me.  I could probably guestimate the

11       as-delivered cost of coal, which has gone up somewhat in

12       recent years.  But what I'm trying to understand is if

13       you're saying that the basis for economic dispatch lies

14       solely on the cost of this variable fuel charge versus

15       what you told me for $42 is the dispatch cost of

16       coal-fired generation, then I'm trying to understand and

17       appreciate how significant that difference is.

18                 THE WITNESS:  I'm going to have to talk in

19       generalities because of the confidentiality aspects of

20       it.

21                 COMMISSIONER SKOP:  Okay.

22                 THE WITNESS:  If you go back to our fuel

23       studies performed by IFAS through the University of

24       Florida, what they did for us is they produced price

25       distance curves under a wide range of circumstances.

FLORIDA PUBLIC SERVICE COMMISSION

132

1       And they modeled it using aerial satellite photo imagery

2       because a lot of the survey data on what's being planted

3       and not being planted is known to be very erroneous.

4       And they also used a, an algorithm that routed trucks,

5       if you will, from various sources and modeled the cost

6       of, of diesel and the trucks and all that kind of stuff,

7       and they modeled it at a diesel price that was twice

8       that of the current market and is easily twice that of

9       the current market now.

10                 So from that modeling we understand the

11       underlying cost structures for the fuel, and from that

12       we, we do have a view on, frankly, the grower -- except

13       for the circumstances where there happens to be

14       something, somebody cutting down pulpwood almost within

15       a few miles of the plant, we could never afford to

16       pay -- it wouldn't make any sense to pay the prices that

17       growers get for roundwood or pulpwood or for chip and

18       saw lumber.  So we definitely are looking at the, the

19       waste residuals and the other kinds of products that

20       Mr. Levine from American -- from GREC LLC will discuss.

21                 From that, and knowing the production costs,

22       what we saw and what GREC was giving us as a target

23       price, also the fact that the target price has something

24       in it that we call gain sharing.  In other words, if

25       they beat that price, they keep a fraction of the gains,

FLORIDA PUBLIC SERVICE COMMISSION

133

1       and if they don't meet that price, they eat a part of

2       the loss, if you will.  We're, we were pretty

3       comfortable that we could bring it in probably, you

4       know, 10 or 15 percent, maybe 20 percent lower than

5       coal.

6                 COMMISSIONER SKOP:  Okay.  Thank you.  And

7       with respect to my prior question --

8                 THE WITNESS:  And I tried to make it clear

9       that everything there was based on the work we did.

10                 COMMISSIONER SKOP:  Okay.  Thank you.  With

11       respect to my prior question, then I'll yield, I

12       actually found on Page 19 what I, what I thought, and

13       basically it was the nonfuel energy charge escalated to

14       the time of construction commencement, and I think that

15       was nonconfidential, is 2.5 percent per year that you

16       had discussed in your prefiled testimony.  So thank you,

17       and I'll yield to my colleagues.  Thank you, Madam

18       Chair.

19                 COMMISSIONER EDGAR:  Commissioners, any

20       questions at this time?  Commissioner Klement.

21                 COMMISSIONER KLEMENT:  Thank you, Madam Chair.

22                 Mr. Regan, is it -- can you address Dr.

23       Bussing's assertions about the, what's the word,

24       combustibility cleanliness factor for burning this?  He

25       asserted that it would not be, it would add to the

FLORIDA PUBLIC SERVICE COMMISSION

134

1       carbon load rather than reduce it.

2                 THE WITNESS:  Yes, I can.  When you burn

3       biomass, you're obviously going to make CO2.  That's

4       stipulated.  However, qualitatively and recognized both

5       by United States organizations and organizations

6       internationally, there's a very big difference between

7       going in the ground and taking carbon from the ground

8       deep in the mineral deposits of fossil fuels and adding

9       that to the budget of the atmosphere as opposed to the

10       carbon that's circulating in the atmosphere.

11                 And I can get pretty technical pretty quick,

12       but the bottom line is you can think of it as the

13       biomass -- and he was correct, we do live on a sandbar.

14       Very little carbon stays in the soil.  The biomass that

15       falls over is going to rot and go into CO2 anyway.  But

16       it's biomass -- it's carbon that's cycling, which is why

17       all of these -- I could give you the list of the

18       acronyms of all the various organizations including an

19       EPA notice of proposed rulemaking for treating CO2 as a

20       pollutant.  They've identified that biomass fuel, the

21       CO2 from that would not be considered as a pollutant

22       because it's not a net gain for the atmosphere.  And so

23       that's why biomass plants are considered to be carbon

24       neutral.  And in fact, you know, one of our conservative

25       things that we've done in this is we're saying it's

FLORIDA PUBLIC SERVICE COMMISSION

135

1       carbon neutral.

2                 We have done the carbon balance studies on

3       the, the diesel that would be used to move and to chip

4       the stuff and all that, and it is a very small quantity

5       compared to, for example, compared to coal, the fossil

6       fuels used in producing and delivering this fuel are

7       less than 4 percent that of burning coal.

8                 Biomass is also considered in EPA's work that

9       when it falls over and rots -- and by the way, the

10       people that drove up here from Gainesville passed many,

11       many piles of our future fuel that are rotting and

12       producing methane, which is a very potent greenhouse

13       gas.  So they consider it to be typically I think in

14       order, subject to check, 20 percent more potent than

15       just straight CO2.  But for all the work we're doing

16       here, we're just calling it carbon neutral.

17                 COMMISSIONER KLEMENT:  Thank you.  That's all,

18       Madam.

19                 COMMISSIONER EDGAR:  Questions from staff.

20                 MR. SAYLER:  Yes.  Thank you, Madam Chair.

21                          CROSS EXAMINATION

22       BY MR. SAYLER:

23            Q.   Earlier in your testimony you indicated that

24       there was no need for the GREC project until 2023, but

25       you also indicated that one of the benefits would be

FLORIDA PUBLIC SERVICE COMMISSION

136

1       that it would enhance reliability; is that correct?

2            A.   Not exactly.  What I said, there was no need

3       for the unit strictly for capacity purposes until 2023.

4       But there are other reasons for doing it, including

5       reliability enhancements, not just for Deerhaven 2 but

6       for our other units as well.  It diversifies our fleet,

7       and for the other benefits such as carbon reduction,

8       fuel diversity, fuel supply security and so on.

9            Q.   Okay.  With regard to fuel diversity, if

10       you'll look at the yellow handout, Page, the first page

11       that has the pie graphs on it.  The exhibit number is

12       Exhibit Number 24.  We're going to be referring to Page

13       1 of 8.  And it has GRU's Fuel Mix as the title of the

14       table at the top of the page.

15            A.   Uh-huh.

16            Q.   And this table and pie graph shows GRU's

17       actual fuel mix for 2008 and its projected fuel mix for

18       2014 both with and without the GREC facility; is that

19       correct?

20            A.   The exhibit I'm looking at has three pie

21       graphs that have 2008 I guess percentage of fuel by type

22       to 2014.  And with -- 2014 with and without resale.  And

23       the number in the upper left column under 2008 for

24       nuclear is 4.8 percent, because mine doesn't have an

25       exhibit number on it.  Is that right?

FLORIDA PUBLIC SERVICE COMMISSION

137

1            Q.   Okay.  Yes.  You are on the -- we are on the

2       same page.

3            A.   Yes.  Good.

4            Q.   Okay.  And when we, when we're talking about

5       these, these exhibits, when we say without resale, that

6       means GREC or GRU is unable to sell 100 percent, or the

7       50 megawatts that they're planning or have assumed that

8       they're selling; is that correct?

9            A.   Those were scenarios that we did production

10       cost modeling for at the request of the PSC staff.

11            Q.   All right.

12            A.   And when we gave you those results, we did not

13       think -- we were very careful to caveat those results as

14       we did not think they were plausible for us to assume

15       that firm baseload capacity would have zero benefit in

16       the State of Florida.  However, we performed the work as

17       requested.

18            Q.   All right.  So in 2008, according to that

19       middle pie graph, about 61 percent of GRU's fuel comes

20       from coal, followed by 16 percent natural gas and

21       approximately 14 percent from purchased power from

22       Progress Energy; is that correct?

23            A.   That is, that is what the pie charts say, and

24       that is in fact correct for 2008.  But we had submitted

25       a note to be appended to this exhibit of staff that we

FLORIDA PUBLIC SERVICE COMMISSION

138

1       were not aware was not appended.  And it says that from

2       2004 through 2008, GRU's coal-fired generation provided

3       an average of 68 percent of total system energy.  Also

4       during fiscal year 2009, coal-fired generation provided

5       33 percent, 33.6 percent of GRU energy purchases from

6       the PEF PPA.  The PEF PPA is a slice of the Progress

7       system including nuclear, coal and natural gas units.

8                 So we feel that the characterization of our

9       burn for 2008, which was, as I said, a very bad year for

10       Deerhaven 2, lots of outages, lots of expensive outages,

11       that was the year that the price of gas spiked to $14 on

12       the spot market, $14 a million Btu, I think I would

13       suggest caution in interpreting anything, conclusions

14       you draw from using strictly that number.

15            Q.   All right.  Well, thank you for the

16       clarification of that note.

17                 In 2014, if GRU keeps all the output from the

18       GREC facility and coal usage goes down to 50 percent and

19       natural gas down to 5 percent, while purchased, while

20       purchase from GREC increases to 37 percent of GRU's

21       system energy needs; is that correct?

22            A.   I couldn't hear the last part of the question.

23            Q.   While the purchase from GREC increases to

24       approximately 37 percent of GRU's system energy needs;

25       is that correct?

FLORIDA PUBLIC SERVICE COMMISSION

139

1            A.   Did you say that -- you're asking me does GREC

2       provide 37 percent of our energy needs?

3            Q.   No.  I mean, just the pie chart there, 2014

4       without resale, coal usage goes down approximately to

5       50 percent, natural gas approximately to 5 percent, and

6       the GREC facility increases to approximately 37 percent

7       of GRU's system energy needs.  It illustrates just the

8       fuel diversity based upon the figures provided by GRU.

9            A.   Oh, are you looking at the resale or without

10       resale?

11            Q.   Without resale.

12            A.   That would be 36.9 percent.  Subject to check,

13       that seems reasonable for that particular case.

14            Q.   All right.  So generally speaking, GREC could

15       serve to replace purchased power as well as fossil fuels

16       on GRU's system.

17            A.   Yes.

18            Q.   All right.  And so the choices faced by GRU in

19       making the decision to pursue the GREC facility in 2013

20       is -- excuse me.  Let me rephrase my question.

21                 So the choices faced by GRU are to add GREC in

22       2013 for the purposes of fuel diversity and economic

23       benefits or to wait and add capacity in 2023 to add

24       reserve margin.

25            A.   Your, your answer was incomplete.  The

FLORIDA PUBLIC SERVICE COMMISSION

140

1       decision to add it now in anticipation -- and one of the

2       benefits of adding it now, one of the benefits is that

3       we avoid having to add something in 2023.  The benefits

4       for adding it now are system reliability, system

5       integrity and meeting the carbon policy, and as a

6       potential hedge against any environmental regulations

7       related to carbon dioxide control or renewable portfolio

8       standard.

9            Q.   All right.  Thank you for the more complete

10       answer.

11                 If you will turn to the Exhibit Number 25, it

12       has the blue cover sheet, and that's Exhibit 25.  The

13       top of the chart states monthly rate impact per 1,200

14       kilowatt hour.  I would also like to know that it's --

15            A.   Wait.  Is that in -- I'm not sure I have that

16       one.  Oh.  Oh, yeah, I have it over here.  This is that

17       one-pager.  Oh, okay.  Thank you.  I was just confused.

18            Q.   We're dealing with lots of paper, so it's easy

19       to get things shuffled.

20            A.   Yeah.

21            Q.   I just want to note that this illustrative pie

22       graph is similar to the values presented on Page 7 of 8

23       and 8 of 8 in staff's Exhibit 24.  Just -- staff felt it

24       was easier to see a graphic versus look at a chart full

25       of numbers.

FLORIDA PUBLIC SERVICE COMMISSION

141

1            A.   Mr. Bachmeier and myself have reviewed this

2       graph and checked the numbers, and we agree with what

3       you say.

4            Q.   All right.  Thank you.  Would you agree that

5       this chart shows the rate impact of the GREC project

6       both with and without the 50 megawatt resale and both

7       with and without carbon regulation; is that correct?

8            A.   I -- no, it's not correct.

9            Q.   Please --

10            A.   Because the rate impact, if we were not able

11       to sell long-term fixed contracts, would have a market

12       value much greater than zero.

13            Q.   Okay.

14            A.   And the assumptions in this graph is that that

15       would not occur.

16            Q.   Okay.  Would you agree that the best-case

17       scenario for GRU customers for a monthly rate impact

18       would be resale of the 50 megawatts at full price and

19       carbon regulation as illustrated by the yellow line on

20       this graphic?

21            A.   That's the most favorable scenario put on to

22       this graphic.

23            Q.   Yes.

24            A.   More favorable scenarios might include if gas

25       prices go anywhere close to the production cost of oil

FLORIDA PUBLIC SERVICE COMMISSION

142

1       shale methane gas.

2            Q.   Okay.  And the worst-case scenario, at this

3       time based upon the figures that GRU provided the

4       worst-case scenario for GRU customers from a rate impact

5       perspective would be the no carbon regulation and no

6       resale scenario as illustrated by the pink line on that

7       chart or the upper line; is that correct?

8            A.   That is the worst-case scenario on this graph.

9       Yes.

10            Q.   And according to GRU's best-case scenario,

11       with carbon regulation and full resale starting in 2014,

12       the residential bill impact would be $5.97 per month; is

13       that correct?

14            A.   Without any other mitigating factors that

15       might occur, that is correct.

16            Q.   Similarly, the worst-case scenario for GRU

17       customers, assuming no carbon regulation and no resale

18       starting in 2014, the residential bill impact would be

19       $27.03 per month.

20            A.   By the way, this is all based on a

21       1,200-kilowatt hour bill.

22            Q.   A 1,200-kilowatt hour bill.  Yes, sir.

23            A.   And all these numbers are relative to a

24       1,200-kilowatt hour bill.  Our average customer uses

25       831.  So, you know, I have to -- I can't agree that

FLORIDA PUBLIC SERVICE COMMISSION

143

1       these are what our typical customer would see.

2            Q.   Yes, sir.

3            A.   And I believe that's what you were asking me,

4       if that's the bill a typical customer would see.

5            Q.   Right.  The 1,200-kilowatt hour month is kind

6       of the Florida average for kilowatt hours and it's

7       something that our Commission is used to discussing or

8       understanding average kilowatt hour bills.  But we also

9       understand that the average kilowatt hour usage, as I

10       believe you testified earlier, is about eight hundred

11       and -- what was it, 37 or 31 kilowatt hours a month?

12            A.   Yeah.  And in my job as Strategic Planning

13       Director I've been doing bill comparisons since 1989,

14       and statewide we all compare the bills on a thousand and

15       continue to compare them on a thousand.  The first time

16       I heard that 1,200 was the new statewide average for

17       bill comparisons was when the interrogatories came back.

18                 COMMISSIONER EDGAR:  Mr. Sayler, we're going

19       to ask you to pause for a moment.

20                 Commissioner Skop.

21                 COMMISSIONER SKOP:  Thank you, Madam Chair.

22                 Just a question of staff.  How hard would it

23       be to regenerate this graph using GRU's average rate?

24       Is it based on interrogatory response data or is that

25       something that staff could quickly adjust?

FLORIDA PUBLIC SERVICE COMMISSION

144

1                 MR. SAYLER:  We can do a general number and an

2       approximate.  But it -- for -- it might be better to do

3       that as a late-filed exhibit.  We can adjust it.  It's

4       just assuming that it's a straight line, it's a

5       proportional decrease.

6                 Would that be a proportional decrease if we

7       were to generate that or are there other factors

8       involved in computing the number?  Because this was

9       based on an interrogatory response that we received from

10       GRU.

11                 COMMISSIONER EDGAR:  Mr. Wright, do you have

12       anything to add to that?

13                 MR. WRIGHT:  Not at this time.  I was waiting

14       for my witness to respond since he's --

15                 COMMISSIONER EDGAR:  I thought he was looking

16       to you, but maybe I was wrong.

17                 THE WITNESS:  I was -- I don't have my glasses

18       on.  I was scanning my eyes around.

19                 As I understand, subject to check, I would

20       agree that a proportionality would do.  Because when we

21       were asked to deal with the 1,200, we didn't model

22       separately the customer service charge.  We have several

23       steps in our rates.  We just used our average cost per

24       kilowatt hour for the rate class, residential rate --

25       well, for -- and so I believe that you could just do it

FLORIDA PUBLIC SERVICE COMMISSION

145

1       by strictly taking 830 divided by 1,200 times these

2       numbers.

3                 COMMISSIONER SKOP:  Very good.  Thank you.

4                 COMMISSIONER EDGAR:  Commissioner, did -- I'm

5       sorry.  I'm not sure where we left.

6                 COMMISSIONER SKOP:  I think it would be

7       helpful.  Actually I think this, this chart that staff

8       prepared is a result of the interrogatory data.  The

9       graphical representation, I thought it would be -- I

10       thought it's very helpful.  I don't know what my

11       colleagues think.  But certainly if the concern from the

12       witness that the 1,200-kilowatt hour representation is,

13       is misleading and not accurate, then certainly adjusting

14       it to reflect the average consumption and showing the

15       proposed impact under the various scenarios provides a

16       more realistic comparison of the data, and I'd be

17       interested in seeing that before making a final

18       decision.

19                 MR. SAYLER:  Madam Chairman, if -- with your

20       pleasure, staff would like to ask for a late-filed

21       exhibit just to illustrate that just so that we have

22       clarity for the record, if the utility is willing to do

23       that.  Or, alternatively, staff can -- no.  Never mind.

24                 If the utility is willing to provide a

25       late-filed exhibit based upon the same numbers that you

FLORIDA PUBLIC SERVICE COMMISSION

146

1       provided initially in response to Interrogatory 54.

2                 COMMISSIONER EDGAR:  Mr. Wright?

3                 THE WITNESS:  We, we would be glad to do that.

4       Thank you for the opportunity.

5                 MR. WRIGHT:  My witness took care of it.

6       Thank you.

7                 COMMISSIONER EDGAR:  Commissioner.

8                 COMMISSIONER SKOP:  Thank you, Madam Chair.

9                 Mr. Regan, I thought, if I heard you

10       correctly, and this may be something staff could do if

11       they based it on the initial interrogatory response data

12       and it was based on 1,200, and I think just applying the

13       simply ratio that you mentioned, the 831 or whatever the

14       average consumption is divided by 1,200 times each data

15       point on that would generate the new curve without the

16       additional need for a late-filed.  So is that something

17       staff could do internally just by using the ratio?

18                 MR. SAYLER:  Yes, Commissioner.

19                 COMMISSIONER SKOP:  Okay.  I thought that's

20       what Mr. Regan offered, and so that may avoid the need

21       for the late-filed altogether.  So thank you.

22                 THE WITNESS:  We're here at your pleasure.

23                 COMMISSIONER EDGAR:  So is that a withdrawal

24       of the request for --

25                 COMMISSIONER SKOP:  I think it's a withdrawal

FLORIDA PUBLIC SERVICE COMMISSION

147

1       of the request.

2                 COMMISSIONER EDGAR:  Okay.  I just wanted --

3                 COMMISSIONER SKOP:  I think internally they

4       can rerun the numbers and print out a new graph and --

5                 COMMISSIONER EDGAR:  But yet if that's

6       something that's going to be considered maybe clearer to

7       actually have it for everybody and have it entered in

8       and labeled in case there is, you know, at

9       decision-making time a desire to refer to it, it's just

10       --

11                 COMMISSIONER SKOP:  I'll yield, yield to the

12       Chair.

13                 COMMISSIONER EDGAR:  Okay.  I'm thinking

14       procedurally that may be, may be better, Mr. Wright, if

15       indeed you're comfortable.  We do try to avoid

16       late-filed, but occasionally it is the best mechanism.

17                 MR. WRIGHT:  Yes, ma'am.  I agree with, with

18       your comments, that I think for purposes of addressing

19       this issue in possibly briefs that, that it would be

20       helpful to have this identified as a separate exhibit.

21                 COMMISSIONER EDGAR:  Okay.  Then we will mark

22       as to be Late-Filed Exhibit 31 to be provided by staff

23       and, of course, distributed appropriately.  And an

24       estimate as to when that would be available to come in.

25                 MR. SAYLER:  Staff --

FLORIDA PUBLIC SERVICE COMMISSION

148

1                 MS. BROWN:  Madam Chairman, if I might

2       intervene, we would feel more comfortable if GRU

3       calculated this and provided it to us.

4                 COMMISSIONER EDGAR:  That, you know, upon

5       further reflection, I think that is a superior

6       suggestion.

7                 Mr. Wright, can you accommodate?

8                 MR. WRIGHT:  Yes, ma'am.

9                 COMMISSIONER EDGAR:  Okay.  Then to be

10       provided by GRU, Late-Filed Exhibit 31, monthly rate

11       impact per average kilowatt hour bill.  Is that what

12       we're talking about?

13                 MR. SAYLER:  Yes, ma'am.

14                 COMMISSIONER EDGAR:  Then that's what we'll

15       label it.

16            (Late-Filed Exhibit 31 identified for the record.)

17                 Okay.  Mr. Sayler.

18                 MR. SAYLER:  All right.  Thank you.  And let

19       me get my pages reorganized.

20                 COMMISSIONER EDGAR:  Sure.

21       BY MR. SAYLER:

22            Q.   With regard to the purchased power agreement

23       between GRU and GREC LLC, does the purchased power

24       agreement or PPA between GRU and the LLC discuss the

25       purchase of environmental attributes such as renewable

FLORIDA PUBLIC SERVICE COMMISSION

149

1       energy credits or RECs, carbon offsets and other items?

2            A.   Yes.

3            Q.   It discusses the ownership.  Excuse me.

4            A.   Yes.  It makes it very clear that based on the

5       price, in consideration of the prices in here, we get

6       all of those attributes.

7            Q.   Under the current version of the Waxman-Markey

8       Bill passed by the U.S. House of Representatives, would

9       GRU be required to meet a renewable portfolio standard

10       or RPS?

11            A.   I believe under the current incarnation of

12       that we would be exempt.

13            Q.   Okay.  And with regard -- backing up again to

14       those environmental attributes or RECs obtained from the

15       GREC facility, those will, the ownership will be

16       retained by GRU; is that correct?

17            A.   That's true.

18            Q.   What does GRU at this time plan to do with

19       these environmental attributes that it obtains from the

20       GREC facility?

21            A.   It depends on if any kind of market is

22       developed, for example, for renewable energy credits,

23       they would have some market value.  And then it depends

24       on the City Commission's policies on whether they want

25       to retire the credits.

FLORIDA PUBLIC SERVICE COMMISSION

150

1                 But, frankly, under the Waxman-Markey, I'm

2       thinking about sulfur dioxide, we need those very

3       desperately because of our liability by virtue of

4       having -- coal is a pretty big piece of our generation

5       pie.

6                 So the value, that would be a value to our

7       customers by having avoided, having to buy carbon

8       offsets or install carbon capture and sequestration or

9       something like that.

10            Q.   All right.  Thank you.  Also regarding the PPA

11       signed with the GREC LLC, can you take a moment and

12       describe some of the protections contained within that

13       contract for GRU's customers in the event of either a

14       default or a nonperformance by GREC LLC?

15            A.   The --

16            Q.   So long as they're not confidential.  My

17       apologies.

18            A.   If they go into default, and there are very

19       specific triggers for that, the contract disappears and

20       that unit no longer has a place to put energy.  They

21       cannot put it anywhere else except to us, which means

22       that now we're probably talking to the banker and who's

23       going to manage it going into receivership?  That's a

24       pretty dire circumstance.  There are some bond and some

25       financial things that go with that.  The -- we would

FLORIDA PUBLIC SERVICE COMMISSION

151

1       then be looking around for replacement power at that

2       time.

3            Q.   Thank you.

4            A.   It would be much like a unit of ours catching

5       fire.  It can happen.

6            Q.   And let's hope not.

7            A.   Let's hope not.

8                 MR. SAYLER:  I'm just taking a look at some of

9       our questions to see if some of them have been

10       previously addressed.  If you'll give me a moment.

11                 COMMISSIONER EDGAR:  Take a moment.

12       BY MR. SAYLER:

13            Q.   Referring, Mr. Regan, if you'll refer back to

14       the yellow cover sheeted exhibit, Exhibit 24, if you

15       will turn to Page 4 of 8, and at the top of that page it

16       is entitled Cumulative Total Cost Analysis.

17            A.   Cumulative Total Cost Analysis.

18            Q.   Uh-huh.

19            A.   And mine doesn't have an exhibit number on it.

20       Well, maybe it does on the front.  Oh.

21            Q.   There is a blank left at the top right-hand

22       portion where we generally write it in because sometimes

23       exhibits get moved in at various portions of the --

24            A.   If the upper left-hand resale number is

25       225,616, then that's probably the one I've got.

FLORIDA PUBLIC SERVICE COMMISSION

152

1            Q.   We're on the same page again.

2            A.   Okay.

3            Q.   As part of GRU's analysis first, staff has

4       asked that GRU compare the system cost of adding the

5       GREC facility in 2013 with no new construction until

6       2023; is that correct?

7            A.   Correct.

8            Q.   And that would be illustrated by the two or

9       actually four right-hand columns where it talks about

10       the difference from no new construction that shows some

11       red values that eventually sometimes in some of the

12       columns they change to black; is that right?

13            A.   Correct.

14            Q.   All right.  And for purposes of this analysis

15       you assumed no additional generation beyond 2023 for any

16       of the scenarios; is that correct?

17            A.   Because we were going to have unserved energy

18       we used a proxy for the market value of capacity and

19       energy.

20            Q.   And when you compared -- when compared to no

21       new construction or, excuse me, no construction, does

22       your analysis show any savings by 2023 for GRU under any

23       of the scenarios either with or without resale or with

24       or without carbon regulation?

25            A.   These are cumulative net present value

FLORIDA PUBLIC SERVICE COMMISSION

153

1       numbers.  I'm not sure that you can call them savings,

2       which is sort of a cash flow number.  Are you -- if --

3       could you rephrase the question?  The gaps are certainly

4       growing smaller.

5            Q.   Would the total system cost be greater?

6            A.   In the, on this table the scenarios where the

7       numbers are red and in brackets, the cost is greater

8       than the no construction cost case.

9            Q.   All right.  And according to this table,

10       carbon regulation, with carbon regulation and resale of

11       half of the GREC capacity, the GREC project will show

12       savings starting in 2027; is that correct?

13            A.   That's correct.

14            Q.   However, according to the cumulative total

15       cost analysis, whether there is carbon regulation or

16       resale, there will be no savings associated with the

17       GREC project for at least the first ten years.

18            A.   I would like to point out that the, the issue

19       of cost-effectiveness, this, this analysis reflects

20       basically an internal rate of return analysis.  It's

21       the, it's the merit of the cost-effectiveness.  It is

22       not a measure of whether or not it is cost-effective.

23       What would be a more appropriate measure of whether or

24       not it's cost-effective would be the levelized cost

25       analysis we've given you or a net present value

FLORIDA PUBLIC SERVICE COMMISSION

154

1       difference.

2            Q.   All right.  Thank you for your time and for

3       answering our questions.  That concludes staff's

4       questions for you, Mr. Regan.

5                 COMMISSIONER EDGAR:  Thank you.

6       Commissioners?  Commissioner Argenziano.

7                 COMMISSIONER ARGENZIANO:  Thank you.  And I'm

8       not sure if you're the proper person to ask some of the

9       questions, and it's just a few because most of them have

10       been asked.

11                 When I look at the statute, what my job is to

12       be here is I look under 403.502, and if there's a need,

13       the need determination of course to meet the need for

14       electrical energy, there's environmental impacts that I

15       need to ask staff a question on that before I go

16       further.

17                 Do we rely on DEP when it comes to those

18       environmental questions that were asked in the, to look

19       at in the statute, and have we heard from DEP, or does

20       DEP wait until after we make the need determination?

21       And if so, how do we make a need determination that the

22       statute asks us to look at environmental impacts if we

23       don't hear from DEP first, or does that come down the

24       line?

25                 COMMISSIONER EDGAR:  Ms. Helton.

FLORIDA PUBLIC SERVICE COMMISSION

155

1                 MS. HELTON:  And I hope somebody will correct

2       me if I make a misstatement.  My understanding of the

3       need determination process for the Public Service

4       Commission is that we're acting under Statute 403.519.

5       And in subsection --

6                 COMMISSIONER EDGAR:  (3).

7                 COMMISSIONER ARGENZIANO:  (3).

8                 MS. HELTON:  (3).  Thank you.  I'm having a

9       hard time adjusting my eyes here.  It states the factors

10       that the Commission shall, I think it says shall

11       consider -- in making this -- "In making its

12       determination, the Commission shall take into account

13       the need for electric system reliability and integrity,

14       the need for adequate electricity at a reasonable cost,

15       the need for fuel diversity and supply of reliability,

16       whether the proposed plant is the most cost-effective

17       alternative available, and whether renewable energy

18       sources and technologies as well as conservation

19       measures are utilized to the extent reasonably

20       available."

21                 COMMISSIONER ARGENZIANO:  Okay.  Ms. Helton, I

22       read that.

23                 MS. HELTON:  Okay.  I'm sorry.

24                 COMMISSIONER ARGENZIANO:  And I know that part

25       of it.  I was looking at 403.502 under legislative

FLORIDA PUBLIC SERVICE COMMISSION

156

1       intent and that's where I'm trying to get an answer to.

2                 MS. HELTON:  Okay.

3                 COMMISSIONER EDGAR:  Because of the way

4       legislative intent is written it would say that we

5       include environmental.  But I'm wondering if that means

6       that we shift only to 403.519, which says this is what

7       the Commission looks at, and we'll leave the rest of

8       this intent up to DEP.

9                 MS. HELTON:  That has always been my

10       understanding.

11                 COMMISSIONER ARGENZIANO:  Okay.

12                 MS. HELTON:  The purpose, as I understand it

13       for the Commission here, is to determine the need.  And

14       we send over our final order as the report that's

15       required in this part of the, of Chapter 403, and our

16       goal is not to look at the environmental impact.

17                 COMMISSIONER ARGENZIANO:  Okay.  So we can't

18       look at the environmental.  DEP will look at that

19       sometime down the line.

20                 MS. HELTON:  Yes, ma'am.

21                 COMMISSIONER ARGENZIANO:  Okay.  Then going

22       to -- thank you, because I wanted to clarify that.

23                 COMMISSIONER EDGAR:  Commissioner, if I may.

24       I'm sorry.

25                 COMMISSIONER ARGENZIANO:  Please.

FLORIDA PUBLIC SERVICE COMMISSION

157

1                 COMMISSIONER EDGAR:  Speaking just from my own

2       experience, there have been some times in the past where

3       environmental considerations have been discussed in part

4       of the record looking under the cost-effectiveness

5       criteria because there have been times when addressing

6       environmental issues, the cost factors kind of come into

7       that for the overall cost which comes into that

8       cost-effectiveness criteria.  But that is, in my

9       experience it's related but a little different, if I --

10       hopefully I'm being somewhat clear -- for the cost of

11       it.

12                 And as to the timing, often that, that is

13       partially determined, determined by the applicant, but

14       at times that DEP, for their role under the statutes and

15       what we do, sometimes they happen on parallel tracks and

16       sometimes they are done consecutively.

17                 COMMISSIONER ARGENZIANO:  Uh-huh.  Okay.

18       Thank you.  Well, that answers that question.  And in

19       looking at the Section 403.519 in regards to reliability

20       and integrity, reasonable cost, diversity, the supply

21       reliability, I'm sorry, the cost-effectiveness, I guess

22       the question I had asked previously about

23       sustainability, two things.  One, can you, can you tell

24       me how you determined the need for the future electric?

25       That gives me an idea the needs for the future electric

FLORIDA PUBLIC SERVICE COMMISSION

158

1       capacity that we're talking about so I have an idea.  Is

2       it increased population to the area, is it decreasing

3       population, more use?  Because it seems that the

4       consumption issue is very well taken care of.  It seems

5       to be the lowest in the state, which is kind of

6       admirable, I would say, in looking at a lot of the

7       consumption throughout the state.  I think you've done a

8       good job there.  But how did you determine the need?

9                 THE WITNESS:  We forecast our capacity

10       requirements?  Are you asking how we forecasts our

11       capacity requirements?

12                 COMMISSIONER ARGENZIANO:  In other words, did

13       you take into consideration declining populations in the

14       state of Florida?

15                 THE WITNESS:  Yes.  We used an econometric

16       model.  We used the Florida business and economic --

17       BEBR -- anyway, the BEBR at the University of Florida,

18       they generate the population forecasts for our county.

19       We rely on those.  And then the econometric model is fit

20       with -- we subscribe to data sources that give us

21       projections of disposable income, household size, and

22       there's a factor in there for price, so we actually have

23       an empirical price elasticity in the models.

24                 So from that we forecast what we consider to

25       be the effect of our previous programs, but not our

FLORIDA PUBLIC SERVICE COMMISSION

159

1       future programs, conservation programs.  And then we

2       subtract the effect or projected effects of our future

3       programs from that forecast, both for the energy and the

4       load.

5                 What we don't do -- we do take into account

6       price elasticity when we do the forward projection of

7       our price, so that gets factored into it.  So those

8       things all kind of work together to get to our number.

9       To meet our targets, that 831-kilowatt hours a month

10       will be going down.

11                 COMMISSIONER ARGENZIANO:  And I imagine -- I

12       think several years ago most cities in the state of

13       Florida were rising population-wise and the consumption

14       of energy was rising at a much faster rate.  Has the

15       rate slowed down but still inclining?  Is that what you

16       are finding?  According to the University of Florida, I

17       think they have just reworked a study from a year ago or

18       so.

19                 THE WITNESS:  The combination of extremely

20       high fuel prices in 2008 and the economy really made a

21       big difference in our loads as you can see in our

22       numbers here.  Anecdotally, it has affected every

23       company in Florida.  And so we believe we have reset our

24       forecasts based on the latest and greatest information,

25       and they are about -- they are the best that can be

FLORIDA PUBLIC SERVICE COMMISSION

160

1       done.

2                 COMMISSIONER ARGENZIANO:  But resetting the

3       forecasts, are they lower than what was originally

4       perceived to accommodate the decline?

5                 THE WITNESS:  Oh, yes.

6                 COMMISSIONER ARGENZIANO:  Okay.  So they are

7       lower, but there is still a need, according to GRU.

8                 THE WITNESS:  Even though it is so low, and

9       the growth rate has been cut to almost nothing, if you

10       look at that curve, it is pretty flat.  What is really

11       driving the need is the fact that we have these units

12       that are just going to fall apart.

13                 COMMISSIONER ARGENZIANO:  And --

14                 THE WITNESS:  At some point or another, they

15       can't last forever.  The capacity need.  Now, there are

16       other needs.

17                 COMMISSIONER ARGENZIANO:  Gotcha.  And to

18       reliability, which the statute asks that I look at, I

19       look at sustainability as reliability, too, because

20       without sustaining the source it's not reliable.  And as

21       I mentioned before, I had heard here in the presentation

22       that biomass was not as sustainable, and could you help

23       me on how GRU has figured out the sustainability of

24       that.

25                 THE WITNESS:  There are several different

FLORIDA PUBLIC SERVICE COMMISSION

161

1       aspects of sustainability.  One of them is, first of

2       all, what is the resource base.  And I mentioned earlier

3       that we did not go back to the some of the Division of

4       Forestry studies that were being touted.  IFAS used

5       aerial photography because we -- the people we are

6       working with know who did not report.  You know, which

7       companies were not in that database and that kind of

8       thing.  So we didn't think that information was accurate

9       to begin with.  The second thing is we were looking at

10       multiple fuel supply sources and not just forest waste.

11       There is urban forestry, there's land-clearing

12       activities, and there are other -- you know, this is not

13       a confirmed number, it is anecdotal, but we were

14       approached by the Marion County North Florida

15       Thoroughbred Breeders Association.  Keep in mind, this

16       plant is going to use a million tons a year of biomass.

17       They have 500,000 tons of pine shavings a year they are

18       trying to figure out what to do with.  But that's

19       neither here nor there.  We are relying on the studies

20       that were done by IFAS.

21                 But then the City Commission and the

22       Gainesville community, who is very environmentally

23       concerned, said wait a minute, what about this business

24       of nutrient depletion of the soil?  Are you going to

25       hurt the bugs and bunnies, I mean, all of those kinds of

FLORIDA PUBLIC SERVICE COMMISSION

162

1       issues.  And based on that, one of the reasons why it

2       took a year to negotiate this contract is that as

3       minimum standards for the acquisition of this biomass

4       there are very strict standards that have to be adhered

5       to.  Mr. Levin will be able to handle that in more

6       detail, but they include, for example, that they are

7       only going be taking materials from forests that were

8       harvested pursuant to the best management practices as

9       promulgated by the Division of Forestry.  No stumps.

10       Taking out stumps is very bad for soil horizons and

11       erosion.

12                 But to go a step further, recognizing that

13       there are prohibitions about conversion of natural

14       forests to plantations.  There is a financial incentive

15       program that we have created that is very similar to our

16       solar feed-in tariff.  The solar feed-in tariff is

17       designed to be a market transforming technique.  The

18       technique we are using to promote better forest

19       management practices, which in the long run we have

20       heard actually improve forest productivity and wildlife

21       values is if they get involved with some these

22       organizations that have independent certifications.  So

23       we will be basically giving them a financial incentive

24       to be involved in those independent certifications.

25                 You know, we've talked to a lot of people.

FLORIDA PUBLIC SERVICE COMMISSION

163

1       Our fuels people go in the field with the people from

2       GREC to talk to the suppliers.  From the very beginning

3       we want to make sure that we really felt comfortable

4       that the fuel supplies were there.  I don't know if its

5       DEP, or somebody hired the Navigant Group -- was it the

6       PSC or the DEP hired the Navigant Group that came up

7       with, I think it was up in North Florida, 400 megawatts

8       of sustainable economically feasible biomass; 1,000

9       megawatts of technically feasible.  So, you know,

10       that was -- there is an old saying, you know, no hoof,

11       no horse.  No fuel, no plant.  So, boy, that was top on

12       our list.  So we really researched it pretty thoroughly.

13                 And we are very proud of our forest

14       stewardship program.  It's the first one like it in the

15       country where we are actually going to be incentivizing

16       the producers.  And the way that works is that if they

17       get certified when they show up with their fuel at the

18       door, they show their certificate and American Renewals

19       will -- in this case, GREC will pay the premium and will

20       make it up to them.

21                 COMMISSIONER ARGENZIANO:  Just two others

22       question, I think.  Are you in competition, then, for

23       supplies with the paper mills?

24                 THE WITNESS:  Absolutely.  If you go back to

25       our studies, you will see that that was taken into

FLORIDA PUBLIC SERVICE COMMISSION

164

1       account plus other generating units.  We had assumed

2       another 120 megawatts of generating units in our region

3       and looked at the effect on that.  But what was

4       interesting is that the -- there were several different

5       scenarios.  There is a point where the distance from the

6       plant is more important.  You're not competitive any

7       longer because the transportation cost is probably the

8       biggest part of the cost.

9                 COMMISSIONER ARGENZIANO:  Well, that's my

10       concern as far as the land mass.  If the bulk of your

11       fuel comes from the -- is it the pine forests?

12                 THE WITNESS:  Well, and also there's a lot of

13       what they call long-leaf pine restoration going on, and

14       there is a big program by the Division of Forestry to

15       remove woody material from the forests for fire -- to

16       reduce the risk, of fire protection.  One of the unique

17       attributes that we liked -- by the way, forest

18       stewardship is one of the ranking criteria under

19       environmental -- that we like about Nacogdoches is the

20       contract structures that recognize we are not locking

21       into -- they're calls and puts spppp, but there are

22       large opportunity fuels in our region.  For example,

23       from forest fires.  Beetles.  Huge vast acreages of -- I

24       mean, tonnage that doesn't even come close to our plant

25       that just gets wasted.

FLORIDA PUBLIC SERVICE COMMISSION

165

1                 COMMISSIONER ARGENZIANO:  And I appreciate

2       that.  That helps me.  But I was under the impression

3       was you couldn't grow a pine forest quick enough to

4       supply.  And maybe just your plant, not a problem, but

5       between the paper mills and other plants, I just

6       wondered if sustainability -- and I guess if you have

7       long-term contracts that helps to ensure.  But I just

8       didn't know if there were other avenues, like you are

9       sitting in Marion County you have the Breeders

10       Association, I think you said, was another source.  Is

11       that a reliable source?

12                 THE WITNESS:  A potential source.  Oh, yes.  I

13       mean, they have been doing that for years and years.  By

14       the way, I'm an environmental engineer and my speciality

15       was system ecology.  The growth cycle of trees and those

16       kinds of things have been taken into account.

17                 COMMISSIONER ARGENZIANO:  Because that is

18       really carbon neutral, when you are talking about carbon

19       neutral --

20                 THE WITNESS:  Absolutely, yes.

21                 COMMISSIONER ARGENZIANO:  -- is being able to

22       replant as fast as you --

23                 THE WITNESS:  Right.  In fact, that is one of

24       the requirements in the fuel specifications.  If you

25       want to continue to be a supplier, you will replant

FLORIDA PUBLIC SERVICE COMMISSION

166

1       within a certain number of years.  Again, Mr. Levine

2       will be able to address that.

3                 COMMISSIONER ARGENZIANO:  Thank you very much.

4                 COMMISSIONER EDGAR:  Commissioners, anything

5       further?

6                 Commissioner Skop.

7                 COMMISSIONER SKOP:  Thank you, Madam Chair.

8                 Mr. Regan, just a few more questions.  I guess

9       starting with the blue sheet and the graph that staff

10       prepared on the monthly rate impact for 1200-kilowatt

11       hours.  I have applied the ratio based on the average

12       consumption versus the 1200 to what I believe, subject

13       to check, to be the first pink box for 2014 as well as

14       the first yellow triangle for 2014.  And subject to

15       check, would you agree that the potential bill impact

16       for the best case, which would be regulated CO2 and the

17       resale, would be approximately $5 per month to the

18       average ratepayer?

19                 THE WITNESS:  Subject to check, that looks

20       like about six bucks sitting there.  I guess we could

21       dig out the tables, but it's going to bring it down

22       probably just below the five line, don't you think?

23                 COMMISSIONER SKOP:  Okay.  Somewhere real

24       close to five, maybe.  And also for the first pink box,

25       which is the base case assuming no resale of the

FLORIDA PUBLIC SERVICE COMMISSION

167

1       capacity that would be added, applying the ratio for

2       average consumption would be -- the approximate bill

3       impact to the average ratepayer, subject to check, would

4       be approximately $18.70 per month?

5                 THE WITNESS:  That seems reasonable, subject

6       to check.

7                 COMMISSIONER SKOP:  All right.  And then

8       briefly just to speak to the yellow group of sheets.

9       Actually, if I had looked at this a little bit more

10       closely I wouldn't have had to do my math.  On Page 2,

11       which shows the reserve margin expressed as a

12       percentage, and I think, subject to check, on that page,

13       and this is a summer reserve margin for 2010, the

14       current reserve margin is about 62 percent,

15       62.4 percent.  So you would agree with that number,

16       right?

17                 THE WITNESS:  I would agree with that number.

18                 COMMISSIONER ARGENZIANO:  Okay.  And then in

19       2022, without adding any -- with no new construction, or

20       not adding the plant, the reserve margin would still be

21       22.6 percent, is that correct?

22                 THE WITNESS:  That's correct.

23                 COMMISSIONER SKOP:  Okay.  All right.  And

24       then on Page 5 it shows basically the existing

25       generating units with and without the resale.  The Deer

FLORIDA PUBLIC SERVICE COMMISSION

168

1       Haven 1 unit, is that basically a steam-fired combined

2       cycle type of plant?  It says fuel, natural gas, but the

3       Unit ST, so I'm trying to get a better understanding.  I

4       know Kelly is a combined cycle one, but I'm trying to

5       figure out what the Deer Haven unit might be.

6                 THE WITNESS:  Deer Haven 1 is the unit where

7       the gas is boiled in a boiler with water walls and then

8       the steam runs a steam-driven.  So it's not a combined

9       cycle.

10                 COMMISSIONER SKOP:  Okay.  So just basically a

11       normal boiler?

12                 THE WITNESS:  Yes.

13                 COMMISSIONER SKOP:  So if you look at the last

14       table at the bottom of that page, no new construction

15       until 2023.  For Deer Haven 1 and J. R. Kelly, no

16       relation to J. R., which is a combined cycle plant, you

17       can see that the capacity factors of both of those units

18       are in the low to mid 20s, is that correct?

19                 THE WITNESS:  Yes.  Can I point out that the

20       Kelly plant has a number of different units, and so the

21       CC-1 is a different unit than the other ones.  Something

22       you said, maybe we need to clarify that.  Yes, it looks

23       like it's going up to the 20 --

24                 COMMISSIONER SKOP:  I guess what I'm trying to

25       illustrate is by adding the plant it looks to me, just

FLORIDA PUBLIC SERVICE COMMISSION

169

1       from inspection, that the capacity factor or the

2       utilization of the Deer Haven 1 and the J. R. Kelly

3       combined cycle unit are going to go significantly down

4       from what they would be run at without the new unit.

5                 THE WITNESS:  Right.  Therefore reducing

6       fossil fuels reducing carbon.

7                 COMMISSIONER SKOP:  Okay.  But doesn't that

8       strand, in a sense, existing generating assets, that is

9       a stranded investment because it's not being utilized

10       absent selling off electricity from those units?

11                 THE WITNESS:  That's correct.  But, again,

12       like I said, there is a number of different management

13       options that at this time we didn't try to quantify for

14       this proceeding.

15                 COMMISSIONER SKOP:  Okay.  And then I'll get

16       to that in a moment.  Just two more questions, Madam

17       Chairman.  On Page 8 of 8 of that document it shows the

18       fuel price assumptions.  Do we have an unredacted

19       version of this specific sheet showing the biomass

20       costs?

21                 MR. SAYLER:  No, we don't have the specific

22       sheet, but we do have the values.

23                 COMMISSIONER SKOP:  Oh, you do have the

24       values?  Is it possible to look at those briefly?  And

25       I'll go to my final question.  Mr. Kelly (sic), on Page

FLORIDA PUBLIC SERVICE COMMISSION

170

1       19 of your prefiled testimony, you talk about the

2       economic benefits to the local community as a result of

3       proceeding forward with the proposed plant.  And can you

4       briefly discuss those.

5                 THE WITNESS:  Are you talking about the

6       section between Lines 9 and 16?

7                 COMMISSIONER SKOP:  Yes, sir.

8                 THE WITNESS:  Okay.  What this addresses is

9       that GREC will create jobs during the construction of

10       the facility and it will also create long-term jobs to

11       supply the plant.  The number of 44 comes from the

12       staffing and management plan of the GREC, LLC Group.

13       The additional jobs, which when we applied a number

14       developed by the National Renewable Energy Laboratory

15       came up to 490 jobs, by the way, are jobs that will be

16       working in the forestry industry.  They will be

17       foresters, they will be timber surveyors, they will be

18       people driving root rakes.  There will be people running

19       the chippers and people driving the trucks.  And so

20       that's what those jobs represent.  And all of those

21       employees are expected to live in our immediate region

22       of North Central Florida.

23                 COMMISSIONER SKOP:  And to that point, I

24       recognize that the proposed plant would

25       provide substantial economic benefits to Alachua County

FLORIDA PUBLIC SERVICE COMMISSION

171

1       and the surrounding community, so it would be a plant of

2       regional significance.  I think what I'm struggling with

3       is that often, pursuant to statute, we don't -- the

4       Commission doesn't get to or have the discretion to

5       consider all of those benefits.  We have to look at the

6       statutory criteria.  So I'm trying to better match how

7       the criteria that we base need determinations on can be

8       met.  Certainly we have to look at the costs and the

9       reliability and integrity and the need for diversity and

10       supply reliability, but also whether it is the most

11       cost-effective option.

12                 What steps, in light of some of the concerns

13       that I have brought forth, typically being the lack of

14       existing contracts to protect the ratepayer, what steps

15       is GRU taking to protect its ratepayers?  Because

16       currently it is asking to build, or permission to build

17       a 100-megawatt biomass plant.  But, again, GRU and its

18       ratepayers are obligated to pay for all of that

19       capacity.  So unless they sell it or take other actions

20       to sell its intermediate and peaking generation, which

21       apparently hasn't been done yet, as well as lock up a

22       fuel contract, what is being done to mitigate that

23       potential risk to the ratepayer, because it seems like a

24       lot of risk is being shifted to the ratepayer here?

25                 THE WITNESS:  If you go back to your graph,

FLORIDA PUBLIC SERVICE COMMISSION

172

1       whether or not you adjust it, I would prefer to use your

2       adjusted numbers, that's an index or an indicator of

3       risk.  And what was a very profound experience for me

4       was when we sat down and talked to each of the

5       Commissioners individually, as we are want to do, and

6       show them the range of effects, they understand that

7       GREC is not adding risk, GREC is taking away risk.  For

8       example, just the price moves in gas where we went from

9       about -- we almost had 70 mills on our fuel adjustment,

10       and we went from about 40 to 70 mills on our fuel

11       adjustment like that.  A huge risk.  When we had to

12       modify the coal plant to put on the scrubbers -- the

13       equipment we had to put on it, the SCR scrubbers and bag

14       house, and all the things that go with that, that was a

15       15 percent rate increase right there.  And then when you

16       look at the kinds of numbers that third-party people are

17       producing for the cost of the risk of carbon constraint,

18       these costs look small.  So this is -- GREC is a play to

19       reduce risk.

20                 You know, in going back to your question

21       about -- you were saying that you couldn't really

22       consider the things in my testimony on Page 19.  Well,

23       you know, in economic theory cost-effectiveness is the

24       weighing of costs and benefits.  And this really, I

25       think, highlights why you are going to see

FLORIDA PUBLIC SERVICE COMMISSION

173

1       municipalities doing different things than

2       investor-owned utilities.  This proposal would make no

3       sense for an investor-owned utility because they don't

4       own it.  They don't get a rate of return.  Why would

5       they do this?  The feed-in tariff makes no sense for an

6       investor-owned utility, yet you will see municipalities

7       doing these kinds of things because their idea of

8       cost/benefit goes to a little broader definition of

9       public welfare.  I don't think that definition of

10       welfare is actually out of your scope.

11                 COMMISSIONER SKOP:  Based on the excess

12       capacity and not having an actual need for additional

13       generation until 2023, but recognizing the intangibles

14       in terms of wanting to reduce carbon and trying to stay

15       ahead of the curve, effectively is this request asking

16       consumers to pay more now in anticipation of future

17       benefits that are yet to be quantified?

18                 THE WITNESS:  It's asking our customers to say

19       invest now for something that we're going to use for

20       30 years.

21                 COMMISSIONER SKOP:  Just one final question.

22       I don't know if staff -- the sheet that you had just

23       handed out, is it possible to get Mr. Regan a copy of

24       that, the thicker packet, and also to his counsel.

25                 MR. SAYLER:  Yes, Commissioner.

FLORIDA PUBLIC SERVICE COMMISSION

174

1                 COMMISSIONER SKOP:  It's marked as 090451-EM,

2       it's a confidential document, Part 2 of 2.  And the

3       Bates number is 10127.

4                 THE WITNESS:  Mine says 9 of 11.  Does yours

5       Oh, that's --

6                 COMMISSIONER EDGAR:  That's the number of

7       copies.

8                 THE WITNESS:  Okay.

9                 COMMISSIONER SKOP:  I'm sorry.  I'm looking at

10       Bates number -- this document has got so many numbers on

11       it, but the Bates number at the bottom right, 10127.

12                 THE WITNESS:  Okay.

13                 COMMISSIONER SKOP:  Do you have that document?

14       It's a thick one.

15                 THE WITNESS:  I do.

16                 COMMISSIONER SKOP:  Okay.  And it's Part 2 of

17       2.  It's the thicker package.

18                 THE WITNESS:  Yes.

19                 COMMISSIONER SKOP:  Okay.  And, again, this

20       data is confidential, so I can't speak specifically to

21       it, but do you see the column entitled fuel rate in

22       dollars per megawatt hour?

23                 COMMISSIONER EDGAR:  The fourth column over.

24                 COMMISSIONER SKOP:  Thank you.

25                 THE WITNESS:  This one seems to be cents per

FLORIDA PUBLIC SERVICE COMMISSION

175

1       kilowatt hour.

2                 COMMISSIONER SKOP:  And dollars per megawatt

3       hour.  It's a fuel rate, it is the fourth column over.

4       The title is entitled fuel rate.

5                 MR. WRIGHT:  Madam Chairman.

6                 COMMISSIONER EDGAR:  Yes, sir.

7                 MR. WRIGHT:  Thank you.  I apologize, but I

8       got a step behind.  Can I please be advised where we

9       are?

10                 COMMISSIONER EDGAR:  Where we are?

11                 MR. WRIGHT:  Yes.

12                 COMMISSIONER EDGAR:  I will try.  And

13       Commissioner Skop will tell me if I've got it wrong.

14       The most recent document in the red folder, okay, it has

15       two pieces, the thicker document, first page, and I

16       believe we are looking at the fourth column from the

17       left.

18                 MR. WRIGHT:  Thank you.

19                 COMMISSIONER EDGAR:  You're welcome.

20                 MR. WRIGHT:  Thank you.  The documents bear

21       the same Bates number, and I was still on the first one.

22       Thank you.

23                 COMMISSIONER EDGAR:  I just wanted to let

24       Commissioner Skop know I really was listening.

25                 COMMISSIONER SKOP:  Thank you.  I appreciate

FLORIDA PUBLIC SERVICE COMMISSION

176

1       the column counting, that was a better way to do it.

2                 Do you see that, Mr. Regan?

3                 THE WITNESS:  I do.

4                 COMMISSIONER SKOP:  Okay.  In terms of the

5       fuel rate, I think that when we had our previous

6       discussion you indicated that economic dispatch as it

7       pertains to the biomass unit would be determinative of

8       the fuel cost on a dollar per megawatt hour basis, is

9       that correct?

10                 THE WITNESS:  Right.  And the indicative

11       number for coal I was giving you was for 2009.

12                 COMMISSIONER SKOP:  Okay.  Is there a --

13                 THE WITNESS:  This goes a long way to answer

14       your question very explicitly.

15                 COMMISSIONER SKOP:  Okay.  That's what I was

16       getting to, because I'm looking at the escalation of

17       those numbers in that column in estimation of what

18       coal-fired generation or dispatch would be on a dollar

19       per megawatt hour basis, and I'm trying to harmonize the

20       statement that this would be the most economically

21       dispatched unit over a coal-fired absent pending carbon

22       legislation, just as it exists today.

23                 THE WITNESS:  Well, this is the GREC price.

24       I believe there's a coal price in here somewhere.

25                 COMMISSIONER SKOP:  Yes, let me find that real

FLORIDA PUBLIC SERVICE COMMISSION

177

1       quick.  Thank you.

2                 Staff, are you aware of a specific Bates page

3       on that?

4                 THE WITNESS:  Give me a second to figure this

5       out.

6                 MR. SAYLER:  We're looking.

7                 If you look at the top left-hand corner of the

8       page -- well, actually, if you look at the top

9       right-hand corner of Page 81 of 118, and my

10       understanding is the fuel rate is in MBtu.

11                 COMMISSIONER SKOP:  I think that -- is that

12       for a proposed type of unit, because I see 125-megawatt

13       type.  I don't believe that's confidential, but a

14       pulverized coal unit, so is that --

15                 MR. SAYLER:  It's one of the alternatives that

16       they provided.  They did a levelized cost analysis of

17       coal/gas, and I believe that's one of the units that

18       they did the levelized cost for.

19                 COMMISSIONER SKOP:  Let's try and have staff

20       take a look at that in terms of the economic dispatch.

21       But, again, that's probably not an apple-to-apple

22       comparison, and certainly not the one that would, based

23       on the numbers, go in favor of the dispatch costs.  So I

24       just wanted to thank you, Mr. Regan.  And no further

25       questions.

FLORIDA PUBLIC SERVICE COMMISSION

178

1                 THE WITNESS:  Okay.

2                 COMMISSIONER ARGENZIANO:  Madam Chair.

3                 COMMISSIONER EDGAR:  Commissioner Argenziano.

4                 COMMISSIONER ARGENZIANO:  One last question,

5       because we had a question before that was asked of us to

6       ask, and it's a good question.  So had GRU looked into

7       retrofitting the combustion turbines with the jet gas

8       units that the gentleman had spoke of, that Mr. --

9                 THE WITNESS:  To converting the existing gas

10       units to combined cycle?  We actually did, and that led

11       to the decision to convert the J. R. Kelly Unit 8 to a

12       combined cycle unit because of the availability of gas

13       at the Kelly plant site downtown and the constraints of

14       the gas supply and the cost of that, of upgrading the

15       pipeline to the area.

16                 COMMISSIONER ARGENZIANO:  Have you found

17       another scenario that you may have examined to be more

18       cost-effective than the one you chose?

19                 THE WITNESS:  Once we were directed to pursue

20       renewable energy, we had been beating the bushes on all

21       kinds of technologies, integrated gasification, you

22       know, plasma arch, digesters, every kind of thing, but

23       when it came to renewable energy, we feel that this

24       particular plant is admirably suited.  A bubbling boiler

25       design is admirably suited to high moisture content

FLORIDA PUBLIC SERVICE COMMISSION

179

1       material of uneven sizes throughout the world it has

2       been shown.  And one of the things that made it come

3       through the rankings fairly well in the first go-round

4       is that it is basically very robustly designed, and the

5       staff that we had reviewing it have actually operated

6       biomass plants in the past.

7                 COMMISSIONER ARGENZIANO:  Thank you.

8                 COMMISSIONER EDGAR:  Commissioner Skop.

9                 COMMISSIONER SKOP:  Thank you, Madam Chair.

10                 Mr. Regan, just one final question.  As I

11       understand it, GRU is -- again, the head of GRU is the

12       general manager, is that correct, and ultimately they

13       report to the City Commission as a whole?

14                 THE WITNESS:  The general manager reports --

15       he is an at-will employee of the City Commission.

16                 COMMISSIONER SKOP:  Okay.  I guess with

17       respect to the proposed project, again, some of the

18       concern that I have articulated -- and, again, this is

19       not the decisional phase, but, I think that, you know,

20       we have heard from consumers that had similar concerns,

21       and I think Commissioner Argenziano just brought up a

22       question.  Again, if the proposed project were to be

23       approved in light of the concerns that have been raised,

24       would it be incumbent upon GRU as well as the City

25       Commission that operates essentially as the board of

FLORIDA PUBLIC SERVICE COMMISSION

180

1       directors of GRU to mitigate any proposed risk to the

2       ratepayers by virtue of the fact that there are some

3       significant contracts that are not yet in place?

4                 I mean, ultimately, again, we're asking for

5       approval, and lot of things have not been definitized,

6       so that represents, in my view, risk to the ratepayer.

7       That risk is being shifted to the ratepayer irrespective

8       of if we don't sell the electricity or the excess

9       capacity who pays, the ratepayer.  So ultimately, if the

10       Commission is being asked to approve a project and all

11       the details of the proposed project are not definitized

12       sufficiently, then that incremental risk is beyond our

13       ability to protect the ratepayers on a forward-going

14       basis.

15                 So, again, ultimately would you acknowledge

16       that that risk would have to be mitigated by GRU if not

17       by the City Commission effectively functioning as the

18       board of directors of GRU at some point in the future?

19                 THE WITNESS:  For the purposes of answering

20       your question, there are things -- there may be things

21       we haven't thought of to mitigate risk, and any ideas

22       are welcomed.  And the City Commission has a great deal

23       of flexibility in setting rates and general transfer

24       levels which, in essence, manage that risk that you are

25       talking about.

FLORIDA PUBLIC SERVICE COMMISSION

181

1                 COMMISSIONER SKOP:  Okay.  Well, I know at

2       least from some of the discussions that have come up,

3       you know, before my joining the Commission, again, the

4       transfer fund is very important for the City.

5                 THE WITNESS:  Absolutely.

6                 COMMISSIONER SKOP:  And, again, absent

7       mitigating that risk, I could see one or two options.

8       Either you pass the cost onto the ratepayer or you dig

9       into the general revenue fund, which is not a really

10       good thing as far as the City's budget is concerned.

11                 So, again, what I'm trying to emphasize here

12       is my view of the perceived risk is the fact that we are

13       being asked to approve a project where you don't have a

14       definitized fuel contract on a long-term basis, and you

15       don't have firm contracts in place to sell either the --

16       half of the portion of the proposed plant or any of your

17       existing excess capacity.  And a lot of -- you know,

18       having contracts in place would go a long way towards

19       mitigating that risk.

20                 And I don't think we can condition approval on

21       that, or maybe we could.  But, again, those are things

22       that, you know, once we approve or disapprove a project

23       as the exclusive forum for determination of need, it is

24       out of our hands there.  But, again, there has been a

25       lot of instances, and I think Commissioner Argenziano

FLORIDA PUBLIC SERVICE COMMISSION

182

1       can point to some where we have approved something one

2       day only to have fingers pointed back at the Commission

3       the next day.  And sometimes Public Counsel has even

4       done that to us.

5                 So, again, my concern is there seems to be

6       quite a bit of risk here that is not definitized as to

7       what the outcome might be.  And by virtue of the chart

8       that is presented, there could be a host of outcomes,

9       some not too positive for the ratepayers.

10                 THE WITNESS:  There is actually one additional

11       court of approval, and that is the financing market, the

12       financial markets.  Strategically, at this phase of the

13       game to go and try to lock up fuel contracts -- we did

14       that once with Deer Haven 2, and, boy, was that a

15       mistake.  So the time to go after fuel contracts

16       strategically is after you have your permits and your

17       need so that people will get down and get their pencil

18       out.

19                 The final court of appeal that I'm speaking to

20       here is what we do know is required in the case of the

21       Nacogdoches plant, and what we are hearing from our bond

22       counsel and also -- we have met with the rating agencies

23       about this project, is that they are not going to get

24       their financing that would enable -- there's three

25       things that enable the notice to commence and that is

FLORIDA PUBLIC SERVICE COMMISSION

183

1       the permits and the financing.  They are going to have

2       to have 100 percent of the contracts in place to get the

3       financing.  And if they don't satisfy the financial that

4       this a competitive unit, they are not going to get the

5       money and the contract is moot.

6                 COMMISSIONER SKOP:  I understand.  And I

7       appreciate those provisions of the agreement that

8       protect the City and the ratepayers from construction

9       risk and performance risk.  I've got that.  What I do

10       see, though, is an undertaking where GRU is agreeing by

11       the contract to purchase the entire 100 megawatts of

12       capacity over and above the excess capacity that it

13       currently has until 2023, and something has got to give

14       between there.  Either one of two things has to happen.

15       Either you have to sell the biomass or you have to sell

16       some of the stranded excess capacity that is well and

17       above your reserve margin requirements in order to

18       provide benefit to the ratepayers.

19                 As far as the fuel contract, I can foresee

20       that you might not want to enter into that until you

21       have the approvals and construction starts.  But as

22       Commissioner Argenziano has alluded to and Commissioner

23       Klement -- it's the French versus the German

24       pronunciation, and I've got to get it right.  I

25       apologize to my colleague.  But there seems to be

FLORIDA PUBLIC SERVICE COMMISSION

184

1       significant or could be significant upward pressure on

2       fuel stock prices by virtue of the competitive nature of

3       the industry if you have more biomass plants or wood

4       pulp industries.  So how would you address -- I mean,

5       would you envision -- let me be succinct.  Would you

6       envision entering into a long-term contract for fuel

7       supply when it was appropriate to do so?

8                 THE WITNESS:  Oh, absolutely.  First of all, I

9       want to say that everybody at GRU staff totally

10       understands and respects the magnitude of the decision

11       that you are confronted with.  And the questions you are

12       asking are totally appropriate and they are the

13       questions that we ask ourselves.

14                 One of the things that I should mention to you

15       is that in the delivered fuel price cost, the actual

16       payment to the grower is probably less than 15 percent.

17       So if the grower is looking for a premium, you know,

18       it's not like it's going to be against the whole fuel

19       amount.  And the chipping, the processing, the trucking,

20       that's an incredibly competitive business, and so that

21       is -- what I'm trying to do is help you understand how

22       we see the risk.  And when you talk about the fuel risk

23       of that 15 or 20 percent maybe moving compared to the

24       risk we are sitting bare naked with coal and gas, we see

25       the equation in the other direction.

FLORIDA PUBLIC SERVICE COMMISSION

185

1                 COMMISSIONER SKOP:  Okay.  And I respect that

2       and appreciate it.  Like I say, this is going to be

3       quite a difficult decision, at least from my

4       perspective.  Thank you.

5                 THE WITNESS:  You're welcome.

6                 COMMISSIONER EDGAR:  Commissioners.

7                 Mr. Wright, redirect.

8                 MR. WRIGHT:  Excuse me, Madam Chairman.  I do

9       have a moderate amount of redirect.  And one other

10       thing, we actually have the updated table.  I need a

11       break.  I don't know if it is your pleasure --

12                 COMMISSIONER EDGAR:  Mr. Wright, my goal --

13       and I do say goal -- was to try to finish with this

14       witness, which I admit has gone -- this is a criticism,

15       it just has gone longer than I had expected.  So thank

16       you to everyone for your patience.  But I was planning

17       to give us all a short nourishment break.  So if you

18       would -- we can do that now.

19                 I would like to keep it -- because we need to

20       finish for a variety of reasons.  So I'm seeing 1:20, am

21       I reading that right, if we come back at 2:00.  I

22       realize that it does not give people a lot of time, but

23       we do need to push through this afternoon.

24                 Staff, can you eat quickly?

25                 MR. SAYLER:  We can accommodate that, yes.

FLORIDA PUBLIC SERVICE COMMISSION

186

1       And we will also need to collect the red folders.

2                 COMMISSIONER EDGAR:  Okay.  I will ask staff

3       to pick up the red folders.  There are two, I believe,

4       each at the bench.  We will come back at 2:00 o'clock,

5       at which point we will take up -- do you want to do that

6       now, the exhibit?  Is that what you were saying?

7                 MR. WRIGHT:  What I was going to say is that I

8       have the magic device here of the updated exhibit that I

9       think --

10                 COMMISSIONER EDGAR:  That we had marked?  All

11       right.  Then when I would do --

12                 MR. WRIGHT:  And I thought I would get with

13       staff during the break and have them print it and then

14       we will have a hard copy.

15                 COMMISSIONER EDGAR:  We are along the same

16       line.  Please get with staff.  Staff, please get with

17       Mr. Wright to work on producing copies of that exhibit

18       that we discussed earlier that was to late-filed but

19       will not be late-filed perhaps.  We will come back at

20       2:00, at which time we will take up that exhibit,

21       hopefully, and also begin redirect.

22                 MR. WRIGHT:  Thank you, Madam Chairman.

23                 COMMISSIONER EDGAR:  Thank you.  We are on

24       break.

25                 (Lunch recess.)

FLORIDA PUBLIC SERVICE COMMISSION

187

1

2       STATE OF FLORIDA    )

3                           :    CERTIFICATE OF REPORTERS

4       COUNTY OF LEON      )

5

WE, JANE FAUROT, RPR, and LINDA BOLES, RPR,

6       CRR, Official Commission Reporters, do hereby certify

that the foregoing proceeding was heard at the time and

7       place herein stated.

8                 IT IS FURTHER CERTIFIED that we

stenographically reported the said proceedings; that the

9       same has been transcribed under our direct supervision;

and that this transcript constitutes a true

10       transcription of our notes of said proceedings.

11                 WE FURTHER CERTIFY that we are not a relative,

employee, attorney or counsel of any of the parties, nor

12       are we a relative or employee of any of the parties'

attorneys or counsel connected with the action, nor are

13       we financially interested in the action.

14

15                  DATED THIS 23rd DAY OF DECEMBER, 2009.

16

17       ________________________  __________________________

JANE FAUROT, RPR          LINDA BOLES, RPR, CRR

18       Commission Reporter       Commission Reporter

(850) 413-6732            (850) 413-6734

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION