1

1                              BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

3

In the Matter of:                  DOCKET NO. UNDOCKETED

4

2010 HURRICANE SEASON PREPARATION

5       BRIEFING BY ELECTRIC UTILITIES

AND THE THREE MAJOR INCUMBENT

6       LOCAL EXCHANGE CARRIERS.

__________________________________/

7

8

9       PROCEEDINGS:    INFORMATIONAL WORKSHOP

10       COMMISSIONERS

PARTICIPATING:  COMMISSIONER LISA POLAK EDGAR

11                       COMMISSIONER NATHAN A. SKOP

COMMISSIONER DAVID E. KLEMENT

12                       COMMISSIONER BEN A. "STEVE" STEVENS III

13       DATE:           Monday, May 17, 2010

14       TIME:           Commenced at 9:30 a.m.

Concluded at 12:25 p.m.

15

PLACE:          Betty Easley Conference Center

16                       Hearing Room 148

4075 Esplanade Way

17                       Tallahassee, Florida

18       REPORTED BY:    LINDA BOLES, RPR, CRR

Official FPSC Reporter

19                       (850) 413-6734

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1       PRESENTATIONS BY:

2                  RICHARD SHAHEEN, Senior Director, Engineering

3       & Technical Services, Florida Power and Light Company.

4                 JASON CUTLIFFE, Director, Distribution Asset

5       Management, Progress Energy Florida.

6                 T. J. SZELISTOWSKI, Director Energy Delivery,

7       Tampa Electric Company.

8                 ANDY MCQUAGGE, Power Delivery Services

9       Manager, Gulf Power Company.

10                 JORGE PUENTES, Electric Operations Manager,

11       Northeast Division, Florida Public Utilities Company.

12                 BARRY MOLINE, Executive Director, Florida

13       Municipal Electric Association.

14                 BARBARA QUINONES, Director, City of Homestead

15       Energy Services.

16                 DONNY FUGATE, Manager of Operations,

17       Choctawhatchee Electric Cooperative, Inc.

18                 KIRK SMITH, Area Manager for AT&T; JEFF

19       PATTON, Area Manager, Customer Service Centers; and DAVE

20       CUNDIFF, Area Vice President, Mobility C & E, AT&T

21       Florida.

22                 CHRIS CARDENAS, Emergency Operations Manager,

23       Verizon.

24                 ERIC SMITH, Vice President and General

25       Manager, CenturyLink.

FLORIDA PUBLIC SERVICE COMMISSION

3

1       IN APPEARANCES (Continued):

2       FOR THE FPSC:

3                 KEINO YOUNG, ESQUIRE, and LISA BENNETT,

4       ESQUIRE, representing the Commission Staff.

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

4

1                              I N D E X

2                              WITNESSES

3       NAME:                                        PAGE NO.

4       RICHARD SHAHEEN                                 10

5       JASON CUTLIFFE                                  25

6       T. J. SZELISTOWSKI                              32

7       ANDY McQUAGGE                                   45

8       JORGE PUENTES                                   53

9       BARRY MOLINE                                    59

10       BARBARA QUINONES                                62

11       DONNY FUGATE                                    73

12       KIRK SMITH                                      84

13       JEFF PATTON                                     86

14       DAVE CUNDIFF                                    97

15       CHRIS CARDENAS                                 101

16       ERIC MILLER                                    108

17

18

19

20

21

22       CERTIFICATE OF REPORTER                        115

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

5

1                        P R O C E E D I N G S

2                 COMMISSIONER SKOP:  Good morning.  I'd like to

3       convene the 2010 Hurricane Season Preparation Workshop.

4       And if staff could please read the notice.

5                 MR. YOUNG:  Good morning.  By notice issued

6       April 13th, 2010, this time and place has been set for a

7       2010 Hurricane Season Preparation Workshop.  The purpose

8       of the workshop is set out in the notice.

9                 COMMISSIONER SKOP:  Thank you.  And if we

10       could take appearances, please.

11                 MR. BUTLER:  Yes.  I'll go first.  John Butler

12       on behalf of Florida Power & Light Company.  With me is

13       Richard Shaheen, who will be making our presentation.

14                 MR. BADDERS:  Good morning, Commissioners.

15       Russell Badders on behalf of Gulf Power.  With me is

16       Andy McQuagge, who will be doing our presentation.

17                 COMMISSIONER SKOP:  Thank you.

18                 MR. BRYAN:  Good morning, Commissioners.

19       Howard Bryan (phonetic) with Tampa Electric Company, and

20       T. J. Szelistowski will be making our presentation this

21       morning.

22                 COMMISSIONER SKOP:  Thank you.

23                 MR. KEATING:  Good morning, Commissioners.

24       Beth Keating, Akerman, Senterfitt, here today on behalf

25       of Florida Public Utilities Company.  With me today is

FLORIDA PUBLIC SERVICE COMMISSION

6

1       Buddy Shelley and Jorge Puentes, who will be making our

2       presentation.

3                 COMMISSIONER SKOP:  Thank you.

4                 MR. HATCH:  Good morning, Commissioners.

5       Tracy Hatch on behalf of AT&T Florida.  Making our

6       presentation today will be Kirk Smith, Jeff Patton and

7       Dave Cundiff.

8                 COMMISSIONER SKOP:  Thank you.

9                 MR. CHRISTIAN:  Good morning.  This is Dave

10       Christian with Verizon Communications.  Chris Cardenas

11       will be making a presentation on behalf of Verizon

12       Florida.

13                 COMMISSIONER SKOP:  Thank you.

14                 MR. CUTLIFFE:  Good morning, Commissioners.

15       Jason Cutliffe with Progress Energy Florida.  I'll be

16       making the presentation this morning.

17                 COMMISSIONER SKOP:  Thank you.

18                 MR. MOLINE:  Good morning.  I'm Barry Moline

19       with the Florida Municipal Electric Association and I'm

20       going to be making a short presentation.  And then

21       Barbara Quinones, the Director of the Electric Utility

22       for the City of Homestead, will be making a presentation

23       for the municipal electric utilities.

24                 COMMISSIONER SKOP:  Thank you.

25                 MS. HERSHEL:  Good morning, Commissioners.

FLORIDA PUBLIC SERVICE COMMISSION

7

1       Michelle Hershel.  I'm with Florida Electric

2       Cooperatives Association.  And Donny Fugate with CHELCO

3       will be making the presentation this morning.

4                 COMMISSIONER SKOP:  Thank you.  Staff?

5                 MS. KHAZRAEE:  I'm sorry.

6                 COMMISSIONER SKOP:  Oh, I'm sorry.

7                 MS. KHAZRAEE:  I snuck up on the other end.

8       Sorry.

9                 COMMISSIONER SKOP:  That's all right.

10                 MS. KHAZRAEE:  Sandy Khazraee with

11       CenturyLink.  And Eric Miller will be making our

12       presentation this morning.  Thank you.

13                 COMMISSIONER SKOP:  Thank you.

14                 MR. YOUNG:  Keino Young on behalf of staff.

15                 COMMISSIONER SKOP:  Thank you.  I'm going to

16       read some opening remarks and then look to the bench for

17       additional comments, and then we'll get started.

18                 In 2006, the Florida Public Service Commission

19       adopted a multifaceted approach and response to ensure

20       that all utilities' infrastructures will be better able

21       to withstand the impact of hurricanes and implement

22       lessons learned from the 2004/2005 hurricane seasons.

23       The Commission adopted ten storm hardening initiatives

24       and required investor-owned utilities to file formal

25       storm hardening plans subject to Commission approval.

FLORIDA PUBLIC SERVICE COMMISSION

8

1                 In our July 2007 report to the Legislature,

2       the Commission cited our most critical recommendation

3       that Florida maintain a high level of storm preparation.

4       The annual Hurricane Season Preparation Workshop

5       provides utilities and local exchange companies a forum

6       to advise the Commission of their individual hurricane

7       season preparation activities.  This is the fifth year

8       that the Commission has conducted such workshop.

9                 The hurricane forecasting experts at Colorado

10       State University published their forecast for the 2010

11       hurricane season last month.  Their forecasts indicated

12       that they conclude to foresee above-average activity for

13       the 2010 Atlantic hurricane season.  Specifically, they

14       expect 15 named storms in the Atlantic Basin, including

15       the Gulf of Mexico, with eight storms reaching hurricane

16       status and four of the eight growing to Category 3, 4 or

17       5 in intensity.

18                 To put this forecast into perspective, the

19       projection for the 2009 hurricane season was for, quote,

20       about as much activity as the average season, end quote,

21       with 12 named storms, six reaching hurricane status, and

22       two of the six growing to Category 3, 4 or 5 in

23       hurricane intensity.  The actual 2009 storm activity is

24       shown on the slide now being displayed.  You will note

25       that there were nine storms, three reaching hurricane

FLORIDA PUBLIC SERVICE COMMISSION

9

1       intensity, and two major hurricanes.  Florida was

2       fortunate in not having a hurricane make landfall in the

3       state last year, and only one named storm, Claudette,

4       which caused only minimal damage in the Western

5       Panhandle.  We should view the hurricane season of 2010

6       with caution and recognize that preparedness is the key

7       to making storm impacts -- or, excuse me, preparedness

8       is the key to minimizing storm impacts.

9                 We ask that each of our presenters candidly

10       address the status of their company's preparation for

11       the 2010 hurricane season.  We'd ask them to please

12       include, one, the status of work achieved to protect

13       facilities to date; two, work in progress; and, three,

14       work to be accomplished in the near future.

15                 Finally, we ask that you specifically and

16       frankly address items of concern or areas of

17       vulnerability within each of your respective service

18       areas.  It is understood that while electric utilities

19       own the vast majority of electric transmission and

20       distribution infrastructure in the state, local exchange

21       companies own many of the poles upon which the electric

22       utility infrastructure is placed.  The ILECs, therefore,

23       have a vital role in preparation for the hurricane

24       season.  We welcome their participation as well.  We

25       look forward to hearing everyone's comments.

FLORIDA PUBLIC SERVICE COMMISSION

10

1                 And with that, I've concluded my comments.

2       Are there any comments from the bench?

3                 Commissioner Edgar.

4                 COMMISSIONER EDGAR:  Thank you, Commissioner

5       Skop.  Just to say, as many of you know, this is an area

6       of particular interest to me.  I know that our companies

7       in this state have done great work in being prepared and

8       embracing the concept of preparedness, and I'm looking

9       forward to the presentations.  Thank you.

10                 COMMISSIONER SKOP:  Thank you.

11                 Okay.  With that, we'll begin with our

12       presentations.  And first would be Florida Power &

13       Light, Mr. Richard Shaheen.

14                 MR. BUTLER:  Thank you, Commissioner.

15                 MR. SHAHEEN:  Good morning, Commissioners and

16       staff.  My name is Richard Shaheen.  I am FPL's Senior

17       Director of Distribution, Engineering and Technical

18       Services.  Included in my responsibilities is being part

19       of the team that oversees FPL's storm restoration and

20       preparedness activities.

21                 Thank you for providing this opportunity to us

22       this morning to review FPL's hurricane preparedness

23       plans for the 2010 storm season.  My presentation will

24       address activities and results for our distribution and

25       transmission systems.

FLORIDA PUBLIC SERVICE COMMISSION

11

1                 Let me start off by saying FPL is well

2       prepared and we are ready to respond should our

3       communities be faced with hurricane activity this year.

4       And even though we've been fortunate in avoiding a major

5       hurricane since 2005, we have maintained our focus and

6       continued our efforts to improve our systems and

7       processes as well as strengthen our infrastructure to be

8       better prepared should a hurricane impact our service

9       territory.

10                 FPL's hurricane preparations are a year-long

11       effort that is concentrated on four key elements.

12       First, we continue to strengthen our distribution

13       transmission infrastructure.  This is being accomplished

14       through our hardening plans, our pole inspection

15       programs and our vegetation management programs, all of

16       which have been reviewed and approved by the Commission.

17                 Second, as we do every year, we continue to

18       prepare our storm organization, ensuring we have the

19       right people in the right roles with the necessary

20       training and knowledge so that they can respond quickly

21       and safely.

22                 Third, we continue to improve our already well

23       tested restoration plan by incorporating lessons learned

24       and utilizing technology.

25                 And, finally, we continue to look for ways to

FLORIDA PUBLIC SERVICE COMMISSION

12

1       provide more and better information for our customers.

2       Now let me discuss each of these elements in more

3       detail.

4                 Distribution hardening.  Hardening is a key

5       component of our plan to strengthen our infrastructure.

6       For our distribution system FPL is using a three-prong

7       approach.

8                 One, we're hardening our critical

9       infrastructure facilities, for instance, hospitals,

10       911 centers, police and fire stations, to the National

11       Electric Safety Code extreme wind loading criteria, or

12       EWL.

13                 Two, we're incrementally hardening what we

14       refer to as our community projects.  These are major

15       thoroughfares where key community needs are located like

16       grocery stores, gas stations and pharmacies.

17                 And, three, we're utilizing our design

18       guidelines to construct all new facilities, major

19       planned work and relocation projects, as well as our

20       daily work activities to the extreme wind loading

21       criteria.

22                 For our critical infrastructures, our CIFs, we

23       initially concentrated on infrastructure serving acute

24       care facilities throughout our system.  Since 2007,

25       we've hardened to EWL more than 500 overhead line miles

FLORIDA PUBLIC SERVICE COMMISSION

13

1       on 159 feeders serving 266 CIF customers, including all

2       107 overhead-served acute care facilities within the FPL

3       service territory.

4                 For 2010, an additional 39 of these CIF

5       projects are planned as we focus now on facilities

6       serving 911, fire and police and Emergency Operation

7       Centers throughout our service territory.  With this

8       2010 plan, all 911 facilities will be hardened to the

9       EWL criteria.

10                 We also continue to target what we refer to as

11       critical poles, such as poles where our lines cross

12       major interstate highways or the first feeder poles

13       outside our substations referred to as the 01 switch,

14       which are critical to expediting our restoration

15       efforts.  The combination of 36 of these projects are

16       planned for 2010.

17                 And, finally, we additionally plan to complete

18       five incremental hardening projects in 2010, bringing

19       the total community projects to 60 since 2007.

20                 Transmission hardening.  Even with FPL's

21       transmission system already constructed to extreme wind

22       loading criteria, we continue to improve the strength

23       and resilience of the transmission system by replacing

24       wood poles and structures with concrete and replacing

25       ceramic post insulators on concrete poles with more

FLORIDA PUBLIC SERVICE COMMISSION

14

1       reliable polymer post insulators.

2                 Since 2007, FPL has replaced over 6,600 wood

3       transmission structures.  Additionally, we have replaced

4       more than 2,400 ceramic post insulators.  In 2010 we're

5       planning to replace approximately 700 additional wood

6       structures, as well as over 200 additional ceramic post

7       insulators on concrete structures.

8                 Distribution pole inspections.  FPL began the

9       implementation of its systemwide eight-year distribution

10       pole inspection program in May 2006, ensuring that each

11       pole meets strength and loading requirements.  At the

12       end of 2009, FPL had inspected approximately 47 percent

13       of its 1.1 million poles and is on target with its

14       eight-year pole inspection cycle.  In 2010 we will again

15       plan to inspect at least one-eighth of our distribution

16       pole population.

17                 Transmission pole inspections.  All of our

18       approximately 65,000 wood, concrete and steel

19       transmission structures are on a six-year inspection

20       cycle.  FPL is ahead of schedule on its six-year cycle,

21       and in 2010 plans to inspect at least one-sixth of our

22       system.  Additionally, to complement our distribution

23       hardening and storm preparation efforts, we plan to

24       complete inspections on all 500 kV lines and

25       transmission facilities serving critical infrastructure

FLORIDA PUBLIC SERVICE COMMISSION

15

1       facilities prior to the 2010 storm season.  These

2       inspections are currently underway and on schedule to be

3       completed as planned.

4                 Distribution vegetation management.  Like

5       hardening, vegetation management is a key component in

6       our plan to strengthen the infrastructure.  We continue

7       to maintain our feeders on a three-year average trim

8       cycle and are on schedule toward achieving our approved

9       six-year average trim cycle for laterals by the approved

10       target date of 2013.

11                 Also, consistent with our efforts over the

12       last couple of years, we're on schedule to complete the

13       trimming of all lines serving our top critical

14       infrastructure facilities prior to the height of the

15       2010 hurricane season.

16                 Finally, as we all know, no vegetation

17       management program can be effective without the

18       cooperation of our customers.  We continue to

19       proactively promote our, quote, Right Tree - Right Place

20       program with our community leaders to ensure that future

21       planting of trees will avoid conflicts with our lines.

22       Also, we continue seeking their support in trying to

23       remove existing trees that are interfering with our

24       lines.

25                 Transmission vegetation management.  The

FLORIDA PUBLIC SERVICE COMMISSION

16

1       vegetation management plan for FPL's transmission

2       right-of-way is very straightforward.  Twice a year we

3       inspect 100 percent of our transmission right-of-way and

4       perform all necessary trimming to make sure that the

5       required North American Electric Reliability Council's

6       standard clearances are maintained.

7                 Annual preparations.  Each year we ensure that

8       all storm roles and key personnel are identified and

9       placed into the right roles.  We conduct extensive

10       training, including our annual hurricane dry run

11       exercise.  This year's exercise was held on May 7th.

12       This a company-wide exercise that includes our field as

13       well as support personnel.  The exercise tests our

14       systems and processes to ensure they're ready.  As in

15       the past, we invited several officials from our county

16       Emergency Operation Centers to join us during the dry

17       run to further improve our understanding of one

18       another's storm operations.

19                 Also, FPL's storm organization includes

20       forensic teams that are responsible for observations and

21       the collection of data associated with damaged

22       infrastructure.  We've been fortunate to have had few

23       opportunities for data collection over the past few

24       storm seasons, but ultimately this information will

25       allow us to better understand how our infrastructure

FLORIDA PUBLIC SERVICE COMMISSION

17

1       performed and of course provide valuable lessons for

2       future evaluation and action.

3                 Restoration plans.  Our restoration plan has

4       one clear objective:  To safely restore electric service

5       for our community's critical infrastructure functions

6       and needs along with the greatest number of customers in

7       the shortest time possible.  For the 2010 storm season,

8       all of our resource plans are in place.  For example, we

9       have the necessary arrangements for catering, housing,

10       water, staging sites throughout our system, equipment

11       for these sites, arrangements with foreign utilities

12       through mutual assistance agreements, agreements with

13       contract crews and increased material and fuel

14       inventories.

15                 Also in 2010, FPL will complete the

16       implementation of the Incident Command System, ICS,

17       which relates to the National Incident Management

18       System, further enhancing communications with external

19       agencies.

20                 Communications.  Experience during the 2004

21       and 2005 storm seasons taught us that communicating with

22       our customers and communities can be just as important

23       as our restoration efforts.  As a result, we meet

24       annually with county emergency managers to identify

25       critical infrastructure locations within each

FLORIDA PUBLIC SERVICE COMMISSION

18

1       jurisdiction.  We also make certain that we've assigned

2       representatives to support each of the 27 county and

3       seven satellite Emergency Operation Centers located

4       throughout our service territory.  We have developed a

5       dedicated government update website to be utilized for

6       major storm events.  This has been customized to provide

7       media alerts and releases, customer outage information

8       and maps specific to municipalities, critical

9       infrastructure facility information, as well as

10       estimated times of restoration information.  We have

11       also enhanced our e-mail distribution process that

12       targets key messages to governmental audiences.

13                 Further, FPL has also participated in the

14       National Hurricane Conference discussing with government

15       and community leaders how to bring communities back to

16       normal after severe storm events.  And we will

17       participate in the upcoming Governor's Hurricane

18       Conference to continue to get the word out on the

19       importance of hurricane preparedness.

20                 Additionally in 2009, FPL's community outreach

21       teams conducted 168 presentations to local

22       community-based organizations, including the topic of

23       storm readiness.  And finally, our outage communication

24       system has been enhanced and now allows us to provide

25       even more detailed estimated times of restoration.

FLORIDA PUBLIC SERVICE COMMISSION

19

1                 And finally, Commissioners, we again were all

2       asked to address in our presentations any areas of

3       concern or vulnerability.  Our four items to note remain

4       the same as past years.

5                 The first one is that our service territory

6       may be affected by a storm or storms before we complete

7       all of our hardening efforts.  The second is being

8       affected by multiple storms over a short period like we

9       experienced in 2004 and 2005.  Third, catastrophic

10       storms likes Hurricane Andrew or Hurricane Katrina can

11       destroy everything in their path.  And last, a shortage

12       of sufficient resources may occur, whether it be

13       materials, equipment and/or personnel.  While some of

14       these are beyond our control and means, we still will do

15       what we can to reasonably mitigate these occurrences.

16                 In summary, FPL is confident that it's well

17       prepared for the 2010 season.  Our hardening, vegetation

18       management and pole inspection initiatives are

19       strengthening our system, and our storm organization is

20       in place, well trained and ready.  We've refined our

21       already well tested restoration plan.  And lastly, we're

22       in position to better communicate with our customers.

23                 We, like all of you, are hoping for an

24       inactive hurricane system.  However, should hurricanes

25       affect our communities in 2010, FPL is ready to respond.

FLORIDA PUBLIC SERVICE COMMISSION

20

1       Thank you.

2                 COMMISSIONER SKOP:  Thank you.  Questions from

3       the bench?

4                 Commissioner Edgar.

5                 COMMISSIONER EDGAR:  Thank you.  And thank you

6       for your presentation.  Excuse me.  Using transmission

7       hardening as one example, the strengthening and updating

8       of our infrastructure is something that I personally

9       believe in very strongly and support and encourage in

10       this instance and in many others.

11                 But as you've mentioned in a later slide, I

12       believe, the data collection in that feedback loop,

13       because we have not had a storm in the past few years,

14       has not been the same as it would be if of course we had

15       had multiple incidences since this hardening effort has

16       been initiated or given a boost anyway.

17                 So with that sort of as backdrop, can you

18       discuss briefly how your company is assessing and

19       determining whether these efforts are indeed a good use

20       of resources and time?

21                 MR. SHAHEEN:  Well, as you know, certainly we

22       won't know for sure until the system has been stressed

23       or taxed with a true hurricane strength type of event.

24       However, along the way as we experience smaller events

25       like tornadoes or other storms that are kind of severe

FLORIDA PUBLIC SERVICE COMMISSION

21

1       in nature even though localized, we do review how

2       systems have performed.  We looked at hardened

3       facilities versus nonhardened facilities and tried to

4       gauge just on that smaller data set whether it is being

5       effective or not.

6                 One experience we had regarding a tornado, we

7       were able to do a good comparison between a hardened and

8       nonhardened facility, and it showed, as we thought, that

9       the hardened facility, given the wind challenge, did

10       hold up better than a nonhardened facility.  Beyond

11       that, we would have to wait and see for a real storm to

12       get a truly valid sample.

13                 COMMISSIONER EDGAR:  And then, and I would ask

14       this of all presenters or ask them to address it, have

15       you or those that you're working with come across

16       instances or things that this Commission could do that

17       would be more helpful in this effort?  Do you think that

18       we could do rules or requirements that get in the way or

19       that are particularly helpful?  Anything from the

20       regulatory standpoint?

21                 MR. SHAHEEN:  In particular to hardening of

22       the infrastructure is what your reference is?

23                 COMMISSIONER EDGAR:  Well, or storm

24       preparedness as a larger concept.

25                 MR. SHAHEEN:  Well, I do recognize that we do

FLORIDA PUBLIC SERVICE COMMISSION

22

1       have a workshop coming up in a few weeks where we'll be

2       able to round table a lot of discussion around hardening

3       and hardening plans and probably compare with other

4       utilities, as well as discuss with staff and the

5       Commission some of the plans going forward.  At this

6       point I wouldn't have anything to offer further than

7       this is what we've been getting.

8                 COMMISSIONER EDGAR:  Okay.  And when I say

9       preparedness, I actually would add, you know, the

10       response piece of that in that as the greater, greater

11       concept.  Thank you.

12                 COMMISSIONER SKOP:  Thank you, Commissioner

13       Edgar.

14                 Commissioner Klement.

15                 COMMISSIONER KLEMENT:  Thank you, Mr. Shaheen.

16                 Aren't a number of your generating plants

17       located on salt water or tributaries of salt water

18       subject to tidal flow?

19                 MR. SHAHEEN:  A number of our generating

20       facilities are coastal in their location, yes.

21                 COMMISSIONER KLEMENT:  Right.

22                 MR. SHAHEEN:  Both on the Gulf Coast and on

23       the Atlantic Coast.

24                 COMMISSIONER KLEMENT:  Right.  Have you made

25       any contingency plans for the oil spill being driven

FLORIDA PUBLIC SERVICE COMMISSION

23

1       into the areas where you intake water for your cooling?

2                 MR. SHAHEEN:  I could not speak specifically

3       to any recent changes in plans, but I can provide that

4       as part of our normal business in our Power Generation

5       Division we have numerous oil response teams that have

6       processes in place and that are trained to respond to

7       any particular oil event that would affect any of our

8       generating facilities.  I would imagine those teams and

9       those processes would come into play should anything

10       affect us in regards to the most recent events that

11       occurred.

12                 COMMISSIONER KLEMENT:  Do you know how you

13       would deal with oil?  I mean, I would imagine it would

14       play havoc with the generating plants, wouldn't it, if

15       it got into the water?

16                 MR. SHAHEEN:  I, I really couldn't speak to

17       that.  I'm not as familiar with the oil response as our

18       power generation folks might be.

19                 COMMISSIONER KLEMENT:  Does climate change and

20       sea level rise play a role in your long range planning

21       for hurricane preparedness?

22                 MR. SHAHEEN:  Not to my knowledge.

23                 COMMISSIONER KLEMENT:  Are you aware that in

24       the foreseeable future, perhaps your lifetime, that sea

25       level rise -- sea levels are expected to rise as much as

FLORIDA PUBLIC SERVICE COMMISSION

24

1       a foot before many of us -- or at least many of you are

2       my age?

3                 MR. SHAHEEN:  I've heard of such.  But, again,

4       I couldn't speak specifically to the effect it may have

5       on our --

6                 COMMISSIONER KLEMENT:  Well, I would just like

7       to suggest there is a study -- are you aware of a study

8       being done -- that has been done on Southwest Florida,

9       the Gulf Coast in the Sarasota and Fort Myers area, by

10       University of Pennsylvania professor Tim Frazier, in

11       which he has modeled sea level rise in conjunction with

12       various categories of hurricanes, 1 through 5.  And I've

13       seen those presentations; they're quite shocking.  There

14       would be for the Category 4 and 5, for example, in your

15       service area south of Manatee, Sarasota, Fort Myers, Lee

16       County, the sea level -- seas would be -- storm surge

17       would be many miles inland, many, and would -- that

18       would inundate your plants unless you have done some

19       kind of diking or some kind of preparedness.  But this

20       is current research that I'm aware of, and I would

21       suggest that the company consider doing something about

22       putting that into a long range plan.  Because we know

23       that five -- that many hurricanes are going to be

24       generated as climate change gets worse.  That's part of

25       the problem that we're facing is the, the buildup of

FLORIDA PUBLIC SERVICE COMMISSION

25

1       hurricanes.

2                 Thank you.  That's all I have.

3                 COMMISSIONER SKOP:  Thank you, Commissioner

4       Klement.  Any additional questions from the bench?

5       Hearing none, thank you, Mr. Shaheen.  And the

6       Commission recognizes and appreciates FPL's storm

7       hardening and storm restoration efforts, and keep up the

8       good work.

9                 MR. SHAHEEN:  Thank you very much.

10                 COMMISSIONER SKOP:  Okay.  Next is Progress

11       Energy Florida, and I believe we're going to hear from

12       Jason Cutliffe.

13                 MR. CUTLIFFE:  Good morning, Commissioners.  I

14       appreciate the opportunity to be with you today and

15       report the status of Progress Energy Florida's 2010

16       hurricane season preparation.

17                 My name is Jason Cutliffe, and I'm the

18       Director of Distribution Asset Management.  My

19       responsibilities include planning for maintenance,

20       reliability, load growth and coordination for major

21       storm restoration.

22                 Our T&D delivery system and infrastructure

23       performed well during the active hurricane seasons of

24       2004 and 2005, and we've improved the system since.

25       We've taken additional aggressive steps to harden the

FLORIDA PUBLIC SERVICE COMMISSION

26

1       system in conjunction with the PSC initiatives such as

2       the wood pole inspection process, ongoing 10-point storm

3       preparedness plan and the storm hardening plan.

4                 Our hurricane restoration operational plan

5       also functioned well in 2004 and 2005, and we continue

6       to review it annually for improvement.  Lessons learned

7       from past major and mid-level storms, annual drills and

8       other utility experiences have been incorporated into

9       our written response plan for 2010.

10                 Progress's organization and T&D delivery

11       system are well prepared for the 2010 hurricane season,

12       and I'll now review the four key elements of our storm

13       plan.

14                 Distribution system inspection, maintenance

15       and replacement work is the basis for our overall annual

16       resource plan.  Manpower and materials are identified a

17       year in advance to ensure that work is prioritized,

18       constructed efficiently and completed on schedule.  As a

19       result, the wood pole plant is on a firm eight-year

20       inspection cycle.  Since this time last year, over

21       95,000 wood poles have been inspected, over 31,000

22       treated for decay and over 3,000 replaced.

23                 Other system improvements include over 840 pad

24       mount transformer replacements and over 90,000 circuit

25       feet of hardening projects.

FLORIDA PUBLIC SERVICE COMMISSION

27

1                 Our 2010 vegetation management program is also

2       on schedule.  Preseason patrols of all circuit backbones

3       are underway, and by June 30th all priority pruning and

4       tree removal will be complete.  In the last 12 months

5       we've removed over 930 trees, pruned in excess of

6       7,800 trees, and applied herbicide to nearly 500 miles

7       of right-of-way floor.

8                 Other highlights from the PSC's 10-point

9       preparedness plan include completion of structural

10       audits of joint use attachments on over 70,000 poles and

11       a new $12 million work management system that will go in

12       service early in 2011.  The work management system

13       follows a 2008 upgrade to our GIS system.

14                 And as described in our three-year storm

15       hardening plan update filed earlier this month, Progress

16       continues to implement a comprehensive process to

17       identify, prioritize and analyze cost-effective storm

18       hardening options in our service territory.

19                 Transmission system readiness begins with

20       structure inspections and system maintenance.  In 2009,

21       over 4,500 wood pole structures were inspected and

22       nearly 1,500 replaced with steel or concrete in

23       accordance with NESC extreme wind design.  Since 2006,

24       nearly 7,000 wood transmission poles have been replaced

25       with steel or concrete.  Aerial patrols of all circuits

FLORIDA PUBLIC SERVICE COMMISSION

28

1       were completed in April of this year, and a second pass

2       will be made in October.  Inspections have also been

3       completed in all 481 substations, and critical follow-up

4       maintenance identified through those inspections is

5       complete.

6                 Transmission vegetation management projects in

7       2009 cleared over 559 miles of right-of-way, and this

8       work included 548 miles of herbicide application,

9       pruning over 21,000 trees, and removal of over 4,000

10       danger trees outside and 19,000 trees inside the

11       right-of-way.  The PSC's 10-point plan and storm

12       hardening rule have been implemented, including enhanced

13       GIS capability, post-storm forensic data collection,

14       and, most notably, the continued replacement of wood

15       structures with steel and concrete.

16                 The annual storm plan review and update

17       process is also complete for 2010.  Implemented new last

18       year was an enhancement of communication to critical

19       care customers.  Prior to hurricane landfall, customers

20       identified in our system with a critical care need

21       receive a phone call from a Progress agent with

22       information about preparation for the storm.  This

23       information includes nearby shelters equipped to provide

24       critical care assistance and a reminder to check the

25       working condition of backup life support equipment.

FLORIDA PUBLIC SERVICE COMMISSION

29

1                 We completed our annual storm drill in the

2       third week of April this year.  Individual storm

3       organizations were tested on their preparation and

4       ability to react to changing storm conditions.  This

5       year's drill scenario was based on a strong Category 2

6       hurricane entering from the Atlantic on the East Coast

7       and moving northwest across all four Progress Energy

8       regions.

9                 We've taken steps to ensure that critical

10       restoration material and fuel are also ready and

11       available from multiple sources.  Inventory levels of

12       critical materials have been increased over and above

13       normal stock levels in preparation for the upcoming

14       season.  Our supply chain organization has assembled 16

15       storm kits and staged them among our four regions and

16       central warehouse.  Each kit contains enough emergency

17       material to supply 400 linemen for up to three days.

18                 Our transmission organization increased its

19       inventory of poles, insulators and other critical

20       hardware to supply contract and company resources for

21       three to five days.  And we've negotiated retainer

22       contracts with fuel vendors to ensure our fuel needs are

23       met, arrangements that also improve access to fuel when

24       sending repair crews off-system in support of our mutual

25       assistance partners in Florida and elsewhere.  Even

FLORIDA PUBLIC SERVICE COMMISSION

30

1       though we have supplier agreements in place, these

2       additional measures ensure that restoration can begin as

3       soon as the weather clears.

4                 External line and tree trimming resources are

5       critical components of a successful restoration effort.

6       We've taken steps to ensure they're ready and available

7       through arrangements with contractors and relationships

8       with other utilities through mutual assistance groups

9       like the Southeastern Electric Exchange and the Edison

10       Electric Institute.

11                 Our communication and coordination with local

12       governments is robust.  We've established a

13       cross-functional coordination team to ensure a high

14       level of critical information sharing and engagement in

15       both internal and external storm planning activities.

16       Progress is equipped to provide local government and

17       EOCs with the resource and restoration information

18       before, during and after storm events to assist them

19       with local emergency response.  Our program is

20       operational year-round, with more than 70 employees

21       assigned to local governments for emergency planning.

22                 Prior to each storm season, Progress

23       representatives meet with each county EOC to review

24       emergency planning and participate in training and drill

25       activities.  We recently introduced electronic maps for

FLORIDA PUBLIC SERVICE COMMISSION

31

1       the county EOCs, and we send detailed outage information

2       to each EOC in multiple formats, including data that can

3       be imported into county GIS systems.  By placing

4       Progress contacts inside each county EOC and sharing

5       information, we're able to incorporate local government

6       priorities into our overall restoration plan.

7                 And we participate in public education forums

8       in many communities and have continued the "Know Where

9       You Grow" program, which informs the public and

10       community organizations on the most compatible tree

11       species near power lines.  We also participate in

12       emergency first responder events designed to increase

13       readiness and public safety.

14                 Regarding areas of concern or vulnerability,

15       they include the following, and these were also cited in

16       prior years, first and foremost is the impact of

17       catastrophic hurricanes or severe storm surge in

18       low-lying areas resulting in mass evacuations and severe

19       resource shortages.

20                 The second concern is multiple storms making

21       landfall in Florida or in the southeast causing dilution

22       of available line workers.  This effect is exacerbated

23       by economy-driven workforce declines and is a

24       significant area of concern.

25                 We're addressing these areas with measures

FLORIDA PUBLIC SERVICE COMMISSION

32

1       already discussed and by extending our reach nationally

2       to regional mutual assistance groups and contractors.

3       As a seven-time Edison Electric Exchange Emergency

4       Restoration Award recipient, Progress Energy has a track

5       record of high performance in this area.

6                 In summary, our T&D systems have been checked

7       and maintained, the storm response organization is

8       drilled and prepared, and internal and external

9       resources have been secured or committed.  Progress's

10       organization and energy delivery system are prepared for

11       the 2010 hurricane season.

12                 This concludes my prepared remarks.  Thank

13       you, Commissioners, and I'll be happy to take any

14       questions.

15                 COMMISSIONER SKOP:  Thank you.

16                 Questions from the bench?  Hearing none, thank

17       you, Mr. Cutliffe.  I appreciate Progress's work in

18       storm hardening and storm restoration efforts.

19                 That brings us to our next speaker from Tampa

20       Electric Company, and Mr. Szelistowski.  I may not have

21       said that properly, but perhaps --

22                 MR. SZELISTOWSKI:  Thank you.  T. J. will work

23       fine.  I know that's a struggle on the last name.

24                 COMMISSIONER SKOP:  Thank you.

25                 MR. SZELISTOWSKI:  Good morning.  My name is

FLORIDA PUBLIC SERVICE COMMISSION

33

1       T. J. Szelistowski.  I'm Director of Engineering in the

2       Energy Delivery Department of Tampa Electric Company,

3       and I'm pleased this morning to brief the Commissioners

4       on our hurricane preparation for this season.

5                 Tampa Electric Company approaches hurricane

6       preparation in a number of different ways.  I'm going to

7       cover three of those major areas:  Specifically system

8       infrastructure and hardening, our pre-storm preparation

9       activities, and our coordination with our key partners

10       as we go through the preparation.

11                 The first thing I'd like to talk about is our

12       system infrastructure, the physical poles and wires,

13       substations, and how we prepare for a storm season with

14       those facilities.  I'm going to cover three major areas

15       of our wood pole inspection program, the 10-point

16       initiatives that have been discussed previously, as well

17       as our three-year storm hardening plan.

18                 The first thing I'd like to talk about is the

19       wood pole inspection program.  Tampa Electric Company is

20       on an eight-year cycle for both transmission and

21       distribution wood pole inspections.  As part of that

22       inspection, we will inspect approximately 42,000 poles

23       each calendar year, again, a minimum of one-eighth of

24       the system.  We're on track to do that this year, as

25       well as have completed that in previous years.  An

FLORIDA PUBLIC SERVICE COMMISSION

34

1       important part of that is also looking at wind loading

2       analysis for any poles that have joint use attachers on

3       there to ensure that we have adequate strength for the

4       poles that, that are shared by joint users.  Also as

5       part of that process we do reinforcements and identify

6       poles for repair and replacement.

7                 We currently do reinforcements on about

8       2 percent of the distribution poles in the system.  We

9       do not reinforce our transmission poles.  If those don't

10       have adequate strength, we'll go ahead and replace them.

11                 Second, in talking about hurricane

12       preparedness, the 10-point initiatives of the storm

13       preparedness plans, an important part of our

14       preparedness for the year, key to that is our vegetation

15       management program.  As I believe you know, Tampa

16       Electric Company is on a three-year vegetation

17       management cycle for both our feeders, the main lines,

18       as well as the neighborhood laterals.  We've been

19       transitioning to that three-year plan, and I'm happy to

20       say that we're on track for our progress with that.  And

21       we believe this year we will trim approximately

22       one-third of the system both on the feeders and the

23       laterals.

24                 Another major part of the 10-point initiatives

25       or the storm preparedness is our, are our transmission

FLORIDA PUBLIC SERVICE COMMISSION

35

1       inspections.  Our transmission structures, we have

2       approximately 1,300 miles of transmission line in the

3       Tampa Electric Company service territory.  Those

4       inspections are either one-, six- or eight-year cycles

5       depending on the type of inspections.  I mentioned the

6       eight-year ground line wood pole inspection.  In

7       addition to that, we do several other inspections.  We

8       have a six-year comprehensive inspection that's

9       primarily done by helicopter where we do a much more

10       thorough aboveground analysis of the pole looking at

11       insulators, connectors, that type of thing.  And, again,

12       that's a six-year cycle.

13                 We have several inspections that are done on a

14       one-year cycle.  We have -- we do an infrared inspection

15       again by helicopter once a year on the entire

16       transmission system.  An infrared inspection will

17       identify connections or points of connections that may

18       be heating abnormally and may fail prematurely, and so

19       we'll be able to identify those through our infrared

20       inspection.  In addition to that, we also do a ground

21       patrol a minimum of once per year on the transmission

22       system with a ground patrolman.  In addition to that, we

23       have one other inspection for all of our 230 and 138, we

24       patrol for vegetation management reasons twice a year,

25       but we also will identify any obvious problems on the

FLORIDA PUBLIC SERVICE COMMISSION

36

1       transmission system, on the bulk transmission system

2       through that, through that patrol.

3                 In terms of transmission hardening, since the

4       early 1990s Tampa Electric Company has replaced -- has

5       gone to a standard construction for all transmission

6       facilities of non-wood, either concrete or steel

7       structures.  We continue to do that for new construction

8       as well as for maintenance.

9                 A number of other points in the 10-point plan

10       initiatives that I'll touch on briefly.  Joint use

11       coordination; we continue to do a lot of coordination

12       with our joint users, have good relationships with those

13       folks.  We -- one of the things that came up during the

14       2004/2005 review was overlashing, and I can say that

15       over the past year we've had about over a thousand

16       instances where our joint users have notified us of

17       overlashing, not only the initial attachments, but also

18       overlashing attachments.  And that allows us to ensure

19       that those poles maintain the strength that are needed

20       for a storm.

21                 We completed the implementation of our new GIS

22       system.  We officially accepted (phonetic) that in

23       September of 2009.  Continue to make improvements in

24       that.  We have an ongoing committee of users of that, of

25       that system who identify improvements, and we'll

FLORIDA PUBLIC SERVICE COMMISSION

37

1       continue to make improvements with that.

2                 The joint research projects with PURC, we have

3       participated actively in that.  And forensics, somebody

4       asked about forensics earlier.  Forensics, we have a

5       contract with someone who will come, who is poised to

6       come in after a storm, do the analysis of the forensics

7       with the damage to our system.

8                 I'd like to talk a minute about the

9       three-point storm hardening plan -- or three-year storm

10       hardening plan.  As you may know, Tampa Electric Company

11       uses National Electrical Safety Code Grade B

12       construction.  The requirement for most distribution

13       construction is Grade C, which is a weaker construction

14       standard.  Grade B is a stronger construction standard

15       than that.  We use that for all of our distribution

16       design.

17                 Our transmission design uses extreme wind for

18       all of that design.  In fact, across the Tampa Electric

19       Company service territory, extreme wind is anywhere

20       between 110 and 120 miles an hour depending on where you

21       are in the service territory.  We use a 120-mile-an-hour

22       design wind for everything within Tampa Electric on the

23       transmission, with the exception of 230 kV, our highest

24       voltage level.  For that we actually go higher.  We go

25       to 133 miles per hour for all the design on that.

FLORIDA PUBLIC SERVICE COMMISSION

38

1       That's the backbone of Tampa Electric's transmission

2       system.

3                 Another part of our three-year storm hardening

4       plan involved two extreme wind pilot hardening projects,

5       one serving an important hospital in our service

6       territory, and we have completed that.  We have a Port

7       of Tampa project that really is a three-stage project.

8       We've completed two of those three -- two of the three

9       projects associated with that.  The Port of Tampa brings

10       in approximately 40 percent of the gasoline for the, for

11       Florida, the peninsula of Florida, and so obviously is a

12       very important facility for the state as well as for

13       Tampa Electric.

14                 A number of other things on our three-point

15       plan I'll touch on briefly.  We've converted 11 overhead

16       distribution interstate crossings to underground.  These

17       are primarily on evacuation routes.  We have completed

18       conversion of the last piece of 4,000-volt distribution

19       we have in our system.  In the past we have had a mix of

20       4,000 volt as well as 13,000 volt.  What this does from

21       a hardening standpoint is allows us to have a consistent

22       system.  So for materials, for backing up those circuits

23       from another direction, both of those provide hardening

24       opportunities for us.

25                 Our downtown underground network, we have done

FLORIDA PUBLIC SERVICE COMMISSION

39

1       inspection and testing and repair on that system.  And

2       we've gone to a standard of stainless steel for all of

3       our pad mounted transformers and switch gears from an

4       underground construction standpoint.

5                 I'd like to talk for just a minute about our

6       pre-storm preparation and the activities associated with

7       that.  As I believe most of the companies do, we have a

8       mock storm or a hurricane preparation mock storm every

9       year.  One of the things that we do as a follow-up to

10       our storm every year, as we go through the storm we do

11       lessons learned right after the mock storm.  Last year

12       we identified over 100 either key learning opportunities

13       or potential opportunities for improvement to our plan.

14       And so over the course of the next several months we

15       follow up on those and have made a number of changes to

16       our, to our, to our hurricane plan based on that mock

17       storm.  So it's not just going through the motions.

18       It's also saying, well, what can we do different?

19                 And the way that works is, is we'll present

20       situations to the folks that are, that will be actively

21       involved with storm restoration and we ask them, well,

22       what would happen if this happened and you parked all

23       your vehicles here?  What happens if that flooded?  What

24       would you do?  And so through that, through that

25       preparation again we have identified improvements and

FLORIDA PUBLIC SERVICE COMMISSION

40

1       have followed back through on those.

2                 We have incident, incident bases throughout

3       the system to house either foreign crews or trucks or

4       equipment or material, and every year we look at those

5       to make sure they're still available for us in terms of

6       access.  Sometimes those generally are private property

7       and they'll change hands, say a mall.  We make sure that

8       we have good relationships with the people who own those

9       and operate those facilities to make sure that we have

10       access every year.

11                 Another major part is our team member

12       preparation, the employees of Tampa Electric Company and

13       TECO Energy.  Everybody has a secondary role in their

14       job for storm assignments.  We review those every year.

15       In addition, we have a number of things we do for the

16       personal preparation.  In addition to, to the actual

17       storm, mock storm, we also provide them information how

18       to get themselves ready.  Because probably the most

19       vital time for those employees to our customers is after

20       a storm, and we want to make sure that they've taken

21       care of their home and taken care of their family so

22       that they can be there for our customers.

23                 We increase our inventory for storm season, as

24       do, I believe, the other companies.  We have a number of

25       internal mock storm exercises.  We do it by a department

FLORIDA PUBLIC SERVICE COMMISSION

41

1       level or a section level, as well as a larger overall

2       transmission distribution level.  And we're in the

3       process of doing those now, have been for some time.

4                 We also are heavily involved with external

5       preparation activities that I'd like to talk to, talk

6       about in terms of coordination with others.  Local

7       governments, really two parts to that for us.  We are

8       actively involved with the emergency planners across the

9       Tampa Electric Company service territory, both local

10       municipalities, the EOCs, and work with them to

11       develop -- redevelop, to look at redevelopment, look at

12       different types of scenarios that could happen after

13       storms.  We also work with our first responders, fire,

14       police, sheriff's office, to make sure that, two things:

15       One, that they're prepared, that they understand what

16       they're looking at in the field, and also that we work

17       with them in search and rescue teams as well.

18                 One last important partner that we have in the

19       restoration effort is the public.  Obviously there are a

20       lot of safety issues and a lot of concerns from folks as

21       we go through a restoration effort.  We do a lot of

22       sharing of information this time of year leading up to

23       storm season.  We also have predetermined communications

24       so that we can quickly get information out to our

25       customers in terms of restoration efforts and timing of

FLORIDA PUBLIC SERVICE COMMISSION

42

1       restoration.

2                 Other key partners in our restoration effort,

3       specifically contractors and other utilities, this is

4       really key.  And you had asked for us to comment on what

5       our concerns were and our vulnerabilities, and it really

6       concerns this.  Not so much in either of these -- I will

7       tell you that we have wonderful relationships with the

8       other utilities and with our contractors to provide

9       restoration efforts.  As I'm sure you know, no utility

10       can staff up for a major hurricane restoration, and

11       because of that we all lean on each other.  And we lean

12       on our contractors.  We have relationships with the

13       contractors that are on our service -- on our property

14       now, as well as contractors that work in the southeast.

15                 In addition to that, we have a strong

16       Southeastern Electric Exchange, and we help each other

17       after storms.  I'm sure probably every utility in this

18       room has, in the last several years has been to help

19       somebody else.  We've been very lucky in Florida and

20       haven't had to ask for help recently.  But that really

21       is probably, from my, from my stance, what keeps me up

22       at night in terms of hurricane preparation.

23                 In 2004, with the first storm that we

24       encountered, we had a lot of help.  The second storm,

25       folks start to get worn out.  If you have multiple

FLORIDA PUBLIC SERVICE COMMISSION

43

1       storms, even if it's not just in Florida, even if it

2       just affects the southeast, you have the potential to

3       really wear the folks out that are working very long

4       days to restore the power.  So that's really the main

5       thing that keeps me up at night is the multiple storms

6       and the fact that we're really taxing the workforce in

7       that case.

8                 In summary, Tampa Electric Company is well

9       prepared for the 2010 storm season.  You had asked about

10       the oil, and I would be happy to comment on that real

11       quick.  We, we have an oil spill plan that we have

12       drilled in the past.  We have booms that can be put out

13       in the intake canals.  Generally the intake canals, the

14       water intake is lower, probably 18 or so feet

15       underwater.  So a slick on the top is not generally an

16       issue.  Where do you have an issue is if you have a

17       large biological kill because of an oil spill, horseshoe

18       crabs, fish, that kind of thing.  We do have a rotating

19       screen that will keep debris out of, out of the intake.

20       But, again, I believe all the utilities have spent time

21       talking about that to ensure that they're ready.

22                 And in terms of fuel also, you know, Tampa

23       Electric Company has installed a rail system in the last

24       12 months as an alternative if there's any issues across

25       the Gulf in terms of delivery of fuel.  We don't believe

FLORIDA PUBLIC SERVICE COMMISSION

44

1       there will be and we don't believe we'll be affected in

2       Tampa, but we do have plans in case we are.

3                 That really concludes my, my remarks, and I'd

4       be happy to answer any questions.

5                 COMMISSIONER SKOP:  Questions from the bench?

6                 COMMISSIONER KLEMENT:  Yes.

7                 COMMISSIONER SKOP:  Commissioner Klement.

8                 COMMISSIONER KLEMENT:  Have you, as I asked

9       FPL, have you calculated sea level rise into your long

10       range plans to harden your, your generating plants?

11                 MR. SZELISTOWSKI:  Yeah.  I meant to, I meant

12       to comment on that as well.  We have storm doors at our

13       plants that will account for a storm surge that they can

14       actually put the doors up for flooding.  A one- to

15       two- -- we plan for worst case in a lot of situations.

16       Generally our facilities themselves are overhead, and so

17       a one- to two-foot difference in storm surge -- again,

18       we plan for a much heavier storm surge -- generally

19       would not give us a lot of issues.  You know, a one- to

20       two-foot difference, the variation between storms could

21       easily be that much.

22                 COMMISSIONER KLEMENT:  Right.

23                 MR. SZELISTOWSKI:  It is something to think

24       about.  But, again, again, where do you have some issues

25       with that is if you have a lot of underground facilities

FLORIDA PUBLIC SERVICE COMMISSION

45

1       that are close.  And as you point out, Florida is pretty

2       flat, so a foot rise isn't a foot in.  It's quite a bit

3       more.  And so underground facilities would be the most

4       prone to issues in that particular case.  About half of

5       our facilities are overhead on distribution and are far

6       enough inland that a one-foot rise we don't believe

7       would be a major issue for us.  In terms of plants,

8       again, we do have storm doors that can be put up.

9                 COMMISSIONER KLEMENT:  Okay.  Thank you.

10                 COMMISSIONER SKOP:  Any additional questions?

11       Hearing none, thank you, Mr. Szelistowski.  And I

12       appreciate Tampa Electric's storm hardening efforts.

13                 Next on the -- our next presenter will be Gulf

14       Power Company, and the Commission will hear from Andy

15       McQuagge.

16                 MR. McQUAGGE:  Good morning.  My name is Andy

17       McQuagge.  I'm the Power Delivery Services Manager for

18       Gulf Power Company, and I'll be presenting our storm

19       preparedness briefing this morning.

20                 Gulf Power's storm preparedness activities

21       basically fall into two main categories:  Storm

22       hardening projects and initiatives and storm restoration

23       recovery plans.

24                 Our storm hardening projects and initiatives

25       include our vegetation management program, our

FLORIDA PUBLIC SERVICE COMMISSION

46

1       inspections and maintenance programs, our extreme wind

2       loading projects, our Grade B construction, our

3       coordination with third party attachers and local

4       government.  Our storm restoration recovery plans

5       include our storm recovery plan; our annual storm drill,

6       which we will hold on May 27th; our Southern Company

7       affiliate and mutual assistance support; and our

8       employee awareness.

9                 In the area of vegetation management on the

10       transmission side of the business, on our 444 miles of

11       230 kV right-of-way we have completed our ground

12       inspections, and all vegetation hazards that were

13       identified have been corrected.

14                 On our 115 kV system, which is 1,037 miles,

15       our ground inspections are about 50 percent complete.

16       The vegetation hazards are being addressed as, as we go,

17       and we're on schedule to be completed by the end of

18       June 2010.

19                 On our 46 kV right-of-way, of which we have

20       113 miles, our ground inspections began in May, and

21       we're on schedule to complete those by August of this

22       year.

23                 In the distribution side of the business, each

24       year one-third of our mainline feeders are

25       systematically pruned, while the remaining two-thirds

FLORIDA PUBLIC SERVICE COMMISSION

47

1       are inspected and trimmed to correct any deficiencies

2       that could pose a problem to us over the next 12 months.

3       In addition, Gulf's vegetation management program

4       addresses removal of hazard trees outside of the

5       right-of-way.

6                 As an update, our mainline annual trim

7       schedule, we have completed the 281 miles.  We've

8       completed the 563 miles of inspection and correction on

9       our other two-thirds of our mainline feeders.  On our

10       six-year cycle on our lateral trim we have completed

11       565 miles of the 1,261 that we have scheduled for this

12       year, and our removal program will begin in the third

13       quarter of this year.

14                 In our inspections and maintenance on our

15       transmission system, our transmission system has been

16       flown aerially once this year.  We do that quarterly.

17       Our comprehensive walking and climbing inspection on our

18       metal structures began in February and is scheduled to

19       be completed in December.  On our wood structures, those

20       inspections began in May, and they'll also be completed

21       by December.

22                 In addition, year to date 2010 we have storm

23       hardened 39 structures by installing additional storm

24       guys.  We actually did 338 of those structures in 2009.

25       We've replaced 59 wood crossarms to date this year.  We

FLORIDA PUBLIC SERVICE COMMISSION

48

1       did 215 last year.  And our steel groundline inspections

2       will begin in June of 2010, and our wood groundline

3       inspection will begin in September of 2010.

4                 On our distribution pole inspections, we

5       completed the third year of our eight-year inspection

6       cycle in 2009.  We contracted those inspections to

7       OSMOSE, and we met our target of inspecting one-eighth

8       of the wood poles on our distribution system, which for

9       Gulf is about 33,000 poles a year.

10                 In addition, in our joint use audit pole

11       strength assessments where we pulled a sample of

12       500 poles which are 20 years or older and have three or

13       more attachers, we met that goal.  And none of the poles

14       that we ran strength analysis on failed.  So we did meet

15       that goal.

16                 We also continue with our semiannual meeting

17       with our third party attachers.  Our first set of

18       meetings this year was held on February 19th and

19       February 25th.  And at those meetings we discuss where

20       our construction projects will be, where our OSMOSE

21       inspections will be, any pole installation issues or any

22       operational issues.  And our next meetings with our

23       third party attachers are scheduled for August 26th and

24       the 27th of this year.

25                 In addition, in the event of a major event,

FLORIDA PUBLIC SERVICE COMMISSION

49

1       Gulf and AT&T have an agreement in which we will have a

2       person manning their storm center, and in return they

3       will have someone in our storm center.

4                 In the area of infrared inspections on our

5       distribution system, we're 100 complete -- 100 percent

6       complete with those inspections, and all issues found

7       will be corrected by June 1st.  In addition to our

8       infrared inspections, we also do a field inspection with

9       our engineering and construction personnel.  Those

10       inspections are also 100 percent complete, and those

11       repairs will be completed by the end of June.

12                 Gulf Power continues its transition to Grade B

13       construction, which we instituted in January of 2008.

14       We have completed training for all our field personnel,

15       and we continue to use Grade B construction for all new

16       construction or maintenance projects.

17                 In addition, our extreme wind loading projects

18       are complete as filed in our storm hardening plan.  As

19       the others have mentioned, the emphasis of those

20       projects has been on critical infrastructure and

21       interstate crossings.

22                 In addition to that, Gulf Power has installed

23       17 wind monitoring stations in proximity to our extreme

24       wind loading projects in order to give us wind data in

25       the event that we do have a storm.  We are planning to

FLORIDA PUBLIC SERVICE COMMISSION

50

1       install two more additional monitoring stations this

2       year.

3                 In the area of local government coordination,

4       our district and local managers interact with our city

5       and county personnel on a weekly, if not daily, basis on

6       a variety of issues, including emergency preparedness as

7       needed.  We staff our EOCs any time they are activated

8       24 hours a day, seven days a week, and that does --

9       that's not just during hurricanes.  That's for any event

10       in which our EOC is opened.  We furnish outage

11       information to them at the same time that we provide

12       information to the state EOC in the event of a major

13       disaster, and we also present information to them any

14       time they have a specific request as far as an outage.

15                 You can see a list of the drills that we have

16       participated in or will participate in.  There has been

17       one change since I put this slide together.  The

18       Escambia County drill is going to be rescheduled.  And

19       we don't have a final date on that, but we will

20       participate when that is rescheduled.

21                 As far as our storm recovery plan, our 2010

22       storm procedures have been updated and are complete.

23       Our employees were mailed their employee storm

24       assignments on May 1st of this year, and we're currently

25       holding our storm training and refresher courses with an

FLORIDA PUBLIC SERVICE COMMISSION

51

1       emphasis on field evaluation.

2                 Additionally, our storm contracts with our

3       vendors are in place.  We have began a ramp up of

4       material for our storm stock and fuel.  All staging

5       sites that we have have been verified that we still have

6       access and all have been mapped so we know exactly how

7       those staging sites will be set up.  And our forensic

8       data process, even though we've not used it, is in place

9       and we have tested it over the last two years.  We

10       actually did mobilize it in Claudette, but we didn't,

11       didn't have a need to use it.  In addition, all of our

12       EOC representatives and our company emergency management

13       center staff are NIM (phonetic) certified.

14                 In summary, Gulf is fully prepared for the

15       upcoming 2010 storm season.  We're on target with our

16       transmission and distribution storm hardening

17       initiatives.  We continue with our ongoing coordination

18       with government, community groups, third party attachers

19       and other utilities.  We have a storm recovery plan that

20       is proven and battle tested, as evidenced by our

21       response in 2004 and 2005 in Hurricanes Ivan and Dennis.

22       Our training and refresher courses are ongoing and we

23       have experienced teams ready, if needed.

24                 Consistent with the other utilities, I think

25       our major areas of concern and vulnerability are a major

FLORIDA PUBLIC SERVICE COMMISSION

52

1       storm impacting multiple utilities within the state or

2       multiple storms simultaneously or within a short time.

3       The fact is with the economy slowdown, many utilities

4       have laid off a lot of their contractors, and in return

5       contractors have laid off their resources.  So there are

6       just not as many resources available.  We continue to

7       work with our contractors and other utilities through

8       our mutual assistance process and through our affiliates

9       with our Southern Company brothers and sisters.

10                 So with that, I'll take any questions.

11                 COMMISSIONER SKOP:  Questions from the bench?

12                 Commissioner Stevens, you're recognized.

13                 COMMISSIONER STEVENS:  No questions.

14       Unfortunately, living in Pensacola, you get a lot of

15       experience with hurricanes.  So I just wanted to say I

16       appreciate what Gulf Power does in their response and

17       their efforts, and they do set the example for that

18       response.  So thank you.

19                 COMMISSIONER SKOP:  Thank you.  Other

20       questions from the bench?

21                 Thank you, Mr. McQuagge, and appreciate all of

22       Gulf Power's efforts.  I know that Gulf Power's service

23       area has experienced a majority of the close calls in

24       past years.  Hopefully that won't occur.  But I

25       appreciate all your response and preparation efforts.

FLORIDA PUBLIC SERVICE COMMISSION

53

1       Thank you.

2                 The next presenter will be Florida Public

3       Utilities Company, and the Commission will hear from

4       Mr. Puentes.

5                 MR. PUENTES:  Good morning, Commissioners, and

6       good morning, staff.  My name is Jorge Puentes.  I am

7       the Electric Operations Manager for the Northeast

8       Division.  I am in charge of all operations in that

9       division.

10                 Florida Public Utilities is a small

11       electric-owned utility.  As of October of 2009, now

12       we're a wholly-owned subsidiary of Chesapeake based --

13       Chesapeake Utilities.  They're based out of Dover,

14       Delaware.

15                 Our electric customer base is relatively

16       small.  We only have 28,000 customers.  About 15,000 of

17       them are in our Northeast Division.  They, they are in

18       Amelia Island and Fernandina Beach.  About 13,000 of

19       them are in our Northwest Division, which encompasses

20       parts of Jackson, Calhoun and Liberty Counties.

21                 While both divisions are a little bit

22       different and operate in different environments, one

23       being an island, so it has the coastal impact, the other

24       one being rural, we both use an enhanced set of

25       procedures that allow us to prepare us for the hurricane

FLORIDA PUBLIC SERVICE COMMISSION

54

1       preparation season.

2                 In the vegetation management, for example, we

3       focus on the main feeders in areas of reliability.  We

4       do this by patrolling our lines before the hurricane

5       season and try to take care of any issues that we may

6       see where reliability has been a problem.  We also focus

7       our efforts in replacing any of the decayed poles that

8       we have found in our previous inspections, and we try to

9       replace, of course, the ones that have been noted as

10       more dangerous in terms of falling or being decayed.

11                 Given that one of our divisions is in the

12       coastal area, we do a visual beach inspection and

13       replace any hardware that is damaged due to corrosion or

14       any other factors.  We also like to visit our

15       substations and inspect them before on a constant basis.

16       And before the hurricane season we try to remove any

17       trees or danger items that are close to them.  We

18       visually go and inspect our line reclosers, capacitors,

19       our voltage regulators throughout our system.

20                 We continue this process by also evaluating

21       our inventory to ensure that we have adequate supplies.

22       We base this on previous experience or hurricanes for

23       the storms that we have experienced.  We ensure that we

24       have enough poles, conductors and connectors that will

25       be needed to address any storm that has hit our

FLORIDA PUBLIC SERVICE COMMISSION

55

1       territory.

2                 We continue to be involved with mutual

3       assistance groups.  We're part of the Southeastern

4       Exchange, and we participate in their monthly conference

5       calls or whenever hurricanes occur.  And we also like to

6       deal with our contractors constantly and verify that

7       they would have resources available for us in case we

8       are in need.

9                 Before June 1st we always review and revise

10       our emergency procedures.  This involves looking at all

11       the things that each division would have to do, getting

12       all the personnel together, proactively communicating

13       with the employees, all of these procedures, and

14       ensuring that radios, any of the supplies needed are

15       always available.

16                 Both of our divisions now have a GIS system,

17       an outage management system.  The northwest side has

18       SCADA capabilities, and the northeast is planning to use

19       this in the future, apply, apply it in the future.  But

20       right now our GIS system has been in place for the past

21       couple of years and for us is a very useful tool because

22       it predicts some of the outages without having to go out

23       and take a look at what's happening in the field.  It's

24       a very useful system for both of our divisions.

25                 In terms of the storm hardening initiatives,

FLORIDA PUBLIC SERVICE COMMISSION

56

1       we continue to implement these initiatives.  For

2       example, we have implemented our extreme wind loading

3       for new construction, 130-mile-per-hour winds for the

4       Northwest Division -- I mean, Northeast Division, and

5       120 miles for the Northwest.  We focus on trying to

6       address any danger trees that are in the area.  For

7       example, in 2009 we complete, we removed 139 of those

8       trees, and in total since 2008 we have removed

9       approximately 530.

10                 We use OSMOSE as a contractor to inspect our

11       pole plant.  We do this by inspecting about one-eighth

12       of those every year since 2008.  We have about 26,000 of

13       these poles.  About 5,000 are in the Northeast Division

14       and 21,000 in the Northwest.

15                 Last year, in 2009, we completed about 3,924

16       inspections, and in total since 2008 we have inspected

17       about 5,815 of those.

18                 In terms of our transmission inspections, the

19       only division that has transmission is the Northeast

20       Division.  The Northwest only operates at a distribution

21       level.  We operate at a 138 kV down to the 69 kV and

22       down to a 12 kV section.  We right now are doing visual

23       inspections, we have done that for 2008 and 2009, but we

24       plan to do a climbing inspection of all of these

25       facilities in 2010.  We plan to use a contractor to do

FLORIDA PUBLIC SERVICE COMMISSION

57

1       that in this year.

2                 Continuing with our storm hardening

3       initiatives, our vegetation management program has been

4       designed to do a three-year cycle for feeders and a

5       six-year cycle for our laterals.  In 2009, we trimmed

6       about 50 miles of feeders and about 109 miles of

7       laterals.  In total since 2008 we have trimmed 119 miles

8       of feeders and 197 approximately miles of laterals.

9                 In terms of our joint use audits, we began

10       that also in 2008 and continued in 2009.  And we,

11       wherever we have inspected and identified any issues

12       with, with loading of, where joint use facilities are

13       also on our poles, we have done a loading analysis and

14       we have moved those to comply with the new loading

15       criteria that we have.

16                 We constantly also work with our current EOCs,

17       and we plan to, during the storm plan to provide

18       personnel at those locations so that they're able to be

19       more familiar with what's going on with our operations

20       during the hurricanes.

21                 In terms of the forensics data collection, we

22       have participated with the PURC, that's the Public

23       Utility Research Center, and we have established the

24       procedures.  And this year what we plan to do is to use

25       a contractor to help us with that initiative.

FLORIDA PUBLIC SERVICE COMMISSION

58

1                 In terms of storm hardening projects, during

2       2009 we, we had one project that was completed with

3       extreme wind loading standards.  This was adding --

4       replacing 14 69 kV poles with spun concrete poles along

5       the beach, and this was on the Northeast Division.  In

6       the Marianna Northwest Divisions we continued to follow

7       with the overhead to underground conversion near Chipola

8       College.

9                 Before I provide my concluding remarks and

10       summary, I'd like to address some areas, a few areas of

11       concerns of vulnerability.  As discussed in previous

12       presentations, we would be concerned about severe or

13       catastrophic hurricanes and multiple impacts.  However,

14       we continue to mitigate these by continuing to apply

15       this enhanced hurricane preparation process.  We do this

16       by continuing to inspect, maintain and repair our T&D

17       assets, by continuing to coordinate with our EOC and

18       other utilities and resources, and we continue doing

19       this by implementing these storm hardening initiatives

20       and projects.  And based on, on this and using our

21       resources to focus on this enhanced process, we believe

22       that Florida Public Utilities is adequately prepared for

23       the 2010 hurricane season.  With that, I'd like to see

24       if you guys have any questions.

25                 COMMISSIONER SKOP:  Thank you.  Questions from

FLORIDA PUBLIC SERVICE COMMISSION

59

1       the bench?  Hearing none, thank you, Mr. Puentes.

2                 MR. PUENTES:  Thank you.

3                 COMMISSIONER SKOP:  Okay.  The next presenter

4       will be Florida Municipal Electric Association,

5       Mr. Barry Moline.

6                 MR. MOLINE:  Good morning, Mr. Chairman and

7       Commissioners.  I'm Barry Moline with the Florida

8       Municipal Electric Association.  Let's do the other one

9       first.  That'll be the second one.  Great.  Thank you.

10                 What I'd like to do first is give you a

11       profile of who the municipal utilities are, and there's

12       34 municipal electric utilities across Florida.  We have

13       1.3 million customer meters, 14 percent of Florida's

14       population, and we're characterized, interestingly, by

15       some very large utilities, JEA, which is around the size

16       of Gulf Power, Orlando, Tallahassee, and some very small

17       utilities, Bushnell, Chattahoochee in the Panhandle, but

18       combined we're the third, we have, we serve the third

19       largest number of customers behind FPL and Progress

20       Energy.  And this is where we're located, in Blountstown

21       in the Panhandle all the way down to Key West.

22                 A question about power supply and where

23       municipal utilities get their power, and it varies with,

24       with each community.  And 12 of the 34 actually generate

25       electricity.  You'll hear from Barbara Quinones from the

FLORIDA PUBLIC SERVICE COMMISSION

60

1       City of Homestead, they do generate some of their

2       electricity, but a lot of them purchase power through a

3       joint power agency, the Florida Municipal Power Agency.

4       Fourteen of those utilities purchase all their

5       electricity through them.  And others purchase from the

6       investor-owned utilities throughout the state, and one

7       actually purchases from Glades Electric Cooperative.

8                 This is the, the breakout of the number of

9       customers served by, by all utilities in Florida.  So

10       you can see that FPL has almost half of the state,

11       followed by Progress Energy, and the municipals, co-ops,

12       Tampa and Gulf Power.

13                 For mutual aid, we rely on mutual aid to

14       coordinate our, our efforts when a storm hits.  And what

15       we try to do for small efforts, or let's say a tornado

16       hits a community and they need some additional

17       assistance, we'll handle that from other communities

18       inside Florida.  Or if a hurricane hits in South

19       Florida, we'll generally try to moves crews from North

20       Florida down to South Florida.  If it's overwhelming,

21       if, if a hurricane has hit a large area or if we have

22       several hurricanes in a row, we'll get crews from the

23       southeast.  And we have coordinators throughout the

24       southeast that I usually stay in touch with or always

25       stay in touch with.

FLORIDA PUBLIC SERVICE COMMISSION

61

1                 And, of course, that goes in both directions.

2       We'll go north, if necessary.  And then we rely on our

3       national trade association, the American Public Power

4       Association, to coordinate our national mutual aid.  We

5       all signed a mutual aid agreement, and many of the

6       utilities in this room have mutual aid agreements to

7       supply crews to each other in times of need.

8                 During the '04 and '05 seasons we did get

9       support from all these states that you see there in

10       blue.  So the mutual aid comes from a wide variety of

11       geography.

12                 And I'm going to turn it over to Barbara

13       Quinones, the Director of the Electric Utility in

14       Homestead in just a minute.  But, Commissioner Skop, you

15       asked a question at the beginning about what kind of

16       support you would -- that the PSC might be able to

17       offer.  And while I actually don't have a recommendation

18       for you, but I do want to say that the staff who works

19       in emergency operations and directed by Ed Mills does an

20       outstanding job of coordinating with utilities, not just

21       during hurricane season, but all season, all year long.

22       Even when, when -- you probably all see the e-mails as

23       well during the year, when a bad storm is coming through

24       some part of the state that might require some, some

25       assistance or, you know, some major activity, you know,

FLORIDA PUBLIC SERVICE COMMISSION

62

1       some tornado activity, for example, we -- they activate

2       and we get information from, from Ed.  And, of course,

3       there's other kinds of emergency assistance that go on

4       and we're in the loop on all those.  And I feel like we

5       have an outstanding emergency response that's directed

6       by the Public Service Commission.  So the information

7       that you all provide is excellent and we appreciate

8       that.

9                 COMMISSIONER SKOP:  Thank you, Mr. Moline.

10                 Commissioner Edgar, did Mr. Moline's comments

11       address your previous concern?

12                 MR. MOLINE:  Oh.

13                 COMMISSIONER SKOP:  Great.  Great.

14                 Any other, any other additional questions from

15       the bench?  Commissioner Edgar.

16                 COMMISSIONER EDGAR:  People do it all the

17       time.

18                 COMMISSIONER SKOP:  Okay.  All right.  Thank

19       you, Mr. Moline.

20                 MR. MOLINE:  Thank you.

21                 COMMISSIONER SKOP:  The next presenter will be

22       the City of Homestead Energy Services, and

23       Ms. Quinones -- excuse me, Quinones.  Sorry.

24                 MS. QUINONES:  I'm bringing the mike down.

25       You can hear me all right?  Okay.

FLORIDA PUBLIC SERVICE COMMISSION

63

1                 Good morning, Commissioners.  It's a pleasure

2       to be here today.  I'm Barbara Quinones, Director for

3       the Electric Utility in the City of Homestead.  And I

4       want to thank you for the opportunity to present our

5       preparations for hurricanes and other emergencies.

6                 In today's presentation I'll do a brief

7       overview of our system and talk to you a little bit

8       about our hurricane experience and the procedures and

9       processes that we've put in place to be prepared for

10       future hurricanes.  With 2010 sounding like it's going

11       to be another busy hurricane year, we, we have been

12       preparing and feel that we're up for the challenge.

13                 As Barry Moline mentioned, there are over 30

14       municipal utilities in the State of Florida.  And you

15       see us in Homestead down there in the lower part of

16       Dade -- of Miami-Dade County.  And as some of the last

17       usable land in Miami-Dade County, the City of

18       Homestead's population has more than doubled in the last

19       ten years, which, as you can imagine, has been a

20       challenge for the electric utility to keep up with that

21       growth.  And we are anticipating additional growth once

22       the economy picks up a little bit.

23                 Our system is very compact.  We're only about

24       14.5 square miles, but we are complete in that we have a

25       generation plant.  We also have transmission,

FLORIDA PUBLIC SERVICE COMMISSION

64

1       substations and a distribution system, and we go down to

2       the meters.  So we go from the generation plant down to

3       the meters.  We also purchase power from, from, through

4       long-term contracts with other utilities, and we have

5       part ownership in some offsite plants as well.  Our

6       power plant only covers about 10 percent of the need for

7       generation.  So the remainder of the power is, is

8       purchased.

9                 And, Commissioner Klement, you had asked about

10       coastal generation.  We're about 12 miles, our power

11       plant is about 12 miles inland and it is built up.  It

12       could withstand a surge of probably three to four feet,

13       but that's about all we could withstand at this point.

14       So it's a, it's a good, a good point to keep in mind as

15       we're looking at our power plant and plans for the

16       future.

17                 And we serve about 21 -- 21,500 customers.  We

18       also have round-the-clock dispatch, and approximately

19       34 percent of our system is underground.

20                 For those of us who were in Florida in 1992,

21       and I was here in 1992, we remember Hurricane Andrew,

22       "The Big One" as we like to call it in Homestead.  And I

23       did work the 1992 hurricane, not, not with this utility

24       but with another one.  I was in Dade County, and --

25       although I wasn't really old enough to work it at the

FLORIDA PUBLIC SERVICE COMMISSION

65

1       time.

2                 It was a very traumatic experience for those

3       of us that lived in Miami-Dade County at the time.  And

4       Homestead was the hardest hit city in the county and the

5       state.  As a result of that, a lot of the facilities in

6       Homestead are 20 years old or less because the

7       facilities were basically rebuilt after Hurricane

8       Andrew.

9                 Since Hurricane Andrew, we've had a pretty

10       long history of working hurricanes unfortunately at

11       home, as well as providing support to other municipals

12       throughout the state, and you see the list here.

13                 In terms of storm preparation, again, our

14       distribution system for the most part is relatively

15       young and we don't have a tremendous amount of problems

16       with it.  A lot of our, our feeder circuit problems stem

17       from the substations.  Our substation facilities were

18       not as hard hit by Hurricane Andrew, and some of the

19       components in the substations have been aging.  We have

20       a plan in place where we have begun to replace some of

21       that aging equipment, and in the last year we replaced

22       20 percent of our feeder breakers and we had 50 percent

23       that were new since 2006.  So at this point in time

24       70 percent of our feeder breakers are brand new since

25       2006.  The remaining 30 percent we will address over the

FLORIDA PUBLIC SERVICE COMMISSION

66

1       next two years.

2                 We also look at the outage drivers for main

3       circuit outages and we address those as they occur.  We

4       do some forensics at the time.  We're fortunate that we

5       have a small system.  And when we do have outages, we're

6       able to just bore right in and, and correct any problems

7       that we find at the time.

8                 We are also involved in the pole inspection

9       program on the eight-year cycle, as many of the other

10       utilities are, and we're two years into that and are on

11       schedule with all our inspections and on the follow-up

12       on the priority deteriorated poles.  We also are working

13       with AT&T to transfer facilities on the poles that

14       they've identified as needing to be replaced due to

15       deterioration.

16                 We are hardening all new facilities and all

17       replacement facilities, and we have designs underway

18       right now for undergrounding a couple of our main

19       arterial facilities, some of our main roads.  The

20       overhead facilities are along some beautified routes

21       with a lot of trees, and we want those to go

22       underground.

23                 We're also undergrounding all of the first

24       runs of our main feeders out of the substations.  A

25       couple of our substations are very, very old, and the

FLORIDA PUBLIC SERVICE COMMISSION

67

1       first runs out of them are, are overhead.  And these are

2       some reliability concerns because it's very congested

3       there and some of the circuits even cross over each

4       other.  So when one circuit comes down, it knocks out

5       one or two others.  And we have the engineering

6       completed to underground these runs, and now we are

7       looking to do the construction in this fiscal year.

8                 For vegetation management, our distribution

9       feeder circuits are on a two-year cycle and our

10       transmission circuits are on a three-year cycle.  We

11       also do thermovision looking for hot spots on our

12       transmission, substation and distribution facilities,

13       and we address all hot spots that are identified each

14       year.

15                 In 2009, we formalized our hurricane list for

16       materials working with our procurement department, and

17       we now have all of our hurricane materials identified

18       and the stock levels associated with each of those so

19       that we're prepared in the event of a, of a hurricane.

20                 Our construction standards are to the

21       150-mile-per-hour wind contours.  Because of the

22       location where we are in the state, we also utilize

23       extreme wind loading, front lot line construction, and

24       the majority of the new facilities are placed

25       underground.

FLORIDA PUBLIC SERVICE COMMISSION

68

1                 All new transmission poles or scheduled

2       replacements are concrete, and we also do look at the

3       wind loading needed for foreign utility attachments.  We

4       work closely with our, our cable and telephone

5       providers.

6                 We also use the Incident Command System.  And

7       we have a new gentleman in place now who is heading up

8       our, our Incident Command Center for the emergency

9       operations.  The electrical utility provides one or two

10       liaisons over to the emergency ops center during the,

11       during any event, and then we manage the restoration of

12       the electrical facilities through our control center in

13       the electric utility.  But we continuously provide

14       updates to the EOC, which is basically going to be

15       across the street.  So it's very close-by.

16                 We do a yearly review, as the other utilities

17       have mentioned, both the city and the electric utility,

18       hurricane and emergency response procedures and

19       processes.  We review the storm assignments.  In my

20       group we do provide a yearly training for the employees.

21       We cover processes, we cover any revisions, we talk to

22       them about their assignments, and also everyone is

23       assigned a number of main circuits or feeders, and they

24       go out and they patrol those and look for any problems

25       ahead of time that we can address prior to a storm.

FLORIDA PUBLIC SERVICE COMMISSION

69

1                 During emergency response there's a phone

2       number for employees to call in and advise us of any

3       problems that they may have or to tell us that they are

4       available to come to work.  We have a tremendous focus

5       on safety.  We perform tale (phonetic) boards with both

6       our crews and other visiting crews to talk about hazards

7       and to talk about safety procedures and ensure that

8       there, there are no stones left unturned in the, in the

9       safety arena.

10                 We put our plans in motion when we're

11       responding.  And depending on -- every, every storm has

12       its own characteristics, its own personality.  So

13       depending on the characteristics of the storm, we put

14       the assignments in place and dedicate our engineering

15       support, our assessment teams, the crew resources, the

16       liaisons with the city, we identify those immediately

17       after we see what we have.

18                 And some of the lessons learned from other

19       hurricanes are that you've really got to do a solid

20       assessment upfront and understand what you're dealing

21       with so that you get the proper support and so that you

22       communicate effectively with your customers and let them

23       know the expected time frame that it's going to take you

24       to restore power.

25                 Our restoration priorities are, of course,

FLORIDA PUBLIC SERVICE COMMISSION

70

1       hazardous situations first, followed by critical

2       customers, hospitals, police and fire, the 911, the

3       telephone communications.  And then the circuits with

4       the most customers served, and also those circuits that

5       you can get up quickly because they have less damage

6       than others, and there are always directives from the

7       EOC as well to take into consideration.

8                 We work hand in hand with the customer service

9       team for emergency response and ensure that they know as

10       much as we do.  And we also utilize, as Barry mentioned,

11       mutual aid from the other utilities throughout the

12       state, the municipals and the co-ops as well, and also

13       utilities from other states through the American Public

14       Power Association.

15                 We track our storm restoration in our control

16       center.  We do have GIS information.  And, again, we, we

17       communicate regularly with our EOC, with customer

18       service and with our customers via all the news medias,

19       radio, print, newspaper, television, and just being out

20       there onsite with the customers and talking to them.  A

21       lot of them also just walk in.  We're a pretty tightknit

22       community, and they will walk into the customer service

23       building and ask questions or they'll go over to City

24       Hall.  And we keep all of these entities well-informed

25       of where we are with restoration and what our

FLORIDA PUBLIC SERVICE COMMISSION

71

1       projections are at that point in time.

2                 And even though I'm the Director of the

3       utility, something a little bit different for me is I

4       deal frequently with customer issues.  And a customer

5       will go to customer service and they don't get

6       satisfaction, and so they'll, they'll escalate it and

7       they'll give me a call or send me an e-mail.  And I take

8       a lot of pride in handling our customers' concerns.  My

9       team takes a lot of pride in handling our customers'

10       concerns as well.  We're part of that community and they

11       look to us to resolve their electrical issues.  And so

12       we're very motivated when there's a hurricane or even

13       just a bad storm to get out into the community and get

14       that power restored.  And it's very rewarding work and

15       it's all about, it's all about the customers.

16                 We coordinate very well with the other

17       departments in the city.  It's very nice to have your

18       police and fire as part of your overall emergency plan,

19       and it's good to have the elected officials on board.

20       We're working jointly.  These are people we have

21       wonderful relationships with, and it just expedites the

22       process for all of us.

23                 A lot of our plans are similar to what you've

24       seen with the other utilities and our challenges are

25       similar.  Where do we get the resources if Florida is

FLORIDA PUBLIC SERVICE COMMISSION

72

1       hit multiple times like in '04 and '05?  How do you

2       divvy things up?  Similar challenges.

3                 But I do want to thank the PSC Commissioners

4       for your leadership following the '04 and '05 hurricane

5       season and getting everybody on the same page, so to

6       speak, and helping us to, to formalize some of the

7       processes that were in place in different utilities

8       throughout the state, but making it something that, that

9       everyone is involved in.  So I appreciate your

10       leadership with that.  And that concludes my

11       presentation.

12                 COMMISSIONER SKOP:  Thank you.  Questions from

13       the bench?

14                 COMMISSIONER KLEMENT:  Yes.

15                 COMMISSIONER SKOP:  Commissioner Klement.

16                 COMMISSIONER KLEMENT:  Thank you,

17       Ms. Quinones.  I didn't -- I just want to clarify, I

18       wasn't concerned about a one- or two-foot surge.  I was

19       concerned about a one- or two-foot rise in the sea level

20       and then a surge that would be much, much more than

21       that.  But thank you.  That's a good presentation.

22                 COMMISSIONER SKOP:  Thank you.

23                 Commissioner Edgar.

24                 COMMISSIONER EDGAR:  I just want to say that

25       was very informative, and thank you for coming up here

FLORIDA PUBLIC SERVICE COMMISSION

73

1       to spend some of your time with us today.

2                 COMMISSIONER SKOP:  Any additional questions?

3                 Thank you, Ms. Quinones.  And I appreciate

4       your time and efforts that you put forth into making the

5       presentation before the Commission this morning.  Thank

6       you.

7                 MS. QUINONES:  Thank you.

8                 COMMISSIONER SKOP:  Commissioners, this seems

9       like a good breaking point to stretch our legs and give

10       the court reporter a brief break.  So we'll reconvene

11       and stand at recess until 25 after the hour.

12                 (Recess taken.)

13                 Okay.  We're going to go back on the record.

14       And our next presenter will be the Choctawhatchee

15       Electric Cooperative, and Mr. Fugate.

16                 MR. FUGATE:  Good morning, Commissioners and

17       staff.  Thank you for allowing me to be here.  My name

18       is Donny Fugate, Vice President of Operations for

19       Choctawhatchee Electric Cooperative.

20                 We are -- primarily serve Walton, Okaloosa,

21       all of Walton County, North Okaloosa County, and extend

22       over into Santa Rosa and Holmes to give you a little

23       fact of where we are out in the Panhandle.  Our service

24       area is about 60 miles east and west, and we're about

25       52 miles north and south.  We serve from the Gulf of

FLORIDA PUBLIC SERVICE COMMISSION

74

1       Mexico all the way up to the Alabama/Florida line.  We

2       have about 46,000 members and currently we have 143

3       employees.

4                 I'm going to take a little different approach

5       than some of the other presenters today.  And we, as, as

6       many of them, we have our system hardening approach, we

7       look at identifying X number of poles per year that we

8       change out, upgrade to extreme wind loading.  Most of

9       those are concrete poles that we're changing wood

10       structures out to concrete.  We have an eight-year

11       inspection program, just like many of them, on our pole

12       inspections.  And we currently run about 1 percent

13       reject rate on, on our inspection.

14                 We have a five-year cutting cycle on our

15       maintenance and vegetation program.  And being more

16       rural in area, we do a ground-to-sky type application in

17       areas where we have the ability to do that.  Of course

18       in some of the more urban areas we can't do that, but we

19       still try to take that approach.

20                 So the -- looking at the hurricanes that have

21       impacted CHELCO over the years, and I know we were kind

22       of looking at the 2004/2005 season, but I put Opal in

23       here.  And the reason I did is that from Opal to Ivan we

24       made significant changes in our planning, and I kind of

25       wanted to touch on the planning today more than, than

FLORIDA PUBLIC SERVICE COMMISSION

75

1       what, you know, we, as the other utilities that have

2       spoken before me, we certainly do the system hardening

3       aspects.  And I think y'all heard quite a bit about

4       that, so I won't touch on those today.  But I wanted to

5       touch more on the plan, on our restoration plan.

6                 Opal hit in '95 and it was a ten-day event --

7       or 11-day event.  Excuse me.  Then we had Ivan in 2004,

8       and we had made significant changes in our plan based on

9       what we learned from Opal in '95 until Ivan hit in '04.

10       Ivan was an eight-day event for us.  It's what we call a

11       Level 2.  And of course we had Dennis in '05 and

12       Katrina.  Katrina didn't really impact CHELCO and so --

13       but we learned from Katrina because we spent 45 days,

14       had crews over in Alabama, Mississippi, and wound up in

15       Louisiana.  So we, we took that process and what we

16       learned from that, what we observed that worked and

17       didn't work and made some changes to our plan and also

18       added one more level to our plan.

19                 We made -- as I stated, we made some

20       significant changes.  We created a command and control,

21       and all information flows in and out of that command and

22       control.  All major decisions are made there.  We --

23       being a cooperative, we, we can make adjustments pretty

24       quick out of the command and control, and the overall

25       restoration effort is controlled out of that point.

FLORIDA PUBLIC SERVICE COMMISSION

76

1                 We decentralized our restoration

2       responsibilities.  In the Opal time frame, we had a

3       handful of people that were trying to run everything,

4       and so we decentralized that and made those adjustments.

5       We empowered our employees to make decisions in the

6       field, and improved our crew dispersement.  Advanced

7       agreements also, as with the other utilities, we have

8       advanced agreements, mutual aid and contractual

9       agreements that we have preplanned and predesignated.

10                 We tried to enlarge those in our contractual

11       agreements.  We went out into the, not only the

12       southeastern region, but we advanced and went further

13       out into the Oklahoma, Arkansas area and have contacts

14       and contractual obligations or agreements with people

15       that far away because we were also concerned about

16       multiple events in the State of Florida that would zap

17       the resources that, you know, we would be able to pull

18       from.

19                 This is a picture to, to give you an

20       indication of what we had in Ivan, and I wanted to just

21       give you a visual of Ivan and how it impacted our

22       service area.  All that you see in red is, is out and

23       what is in blue is energized.  And as you can see, there

24       was very little energized after Ivan hit.  This was the

25       morning after it hit.

FLORIDA PUBLIC SERVICE COMMISSION

77

1                 And I'll just step you through our restoration

2       process based on our plan.  Day 1, Day 2, Day 3, Day 4,

3       Day 5, Day 6, Day 7, and Day 8.  So as I said, it took

4       us eight days to restore our system based on our Level

5       II analysis of that situation.

6                 I want to talk a little bit about the levels.

7       We created these, as I say, after Opal and before Ivan.

8       The Level I is a minimal response by our system.  That's

9       an internal response handled by our crews and some,

10       some, maybe some mutual aid of local other utilities

11       that would come and assist us if we needed it, if it was

12       a, kind of a high Level I.

13                 A Level II is substantial response required,

14       and I'll get into a little more detail in these as I

15       move forward in some slides.  But this was an Ivan

16       response.

17                 And a Level III is -- we added after the

18       Katrina event and our participation in that restoration

19       effort over in, in Alabama, Louisiana and Mississippi.

20       We, we did not have anything, and I don't think anyone

21       had anything that was prepared for a Katrina.  Nobody

22       was, had any idea of that type of devastation.

23                 A Level I response is minimal system damage

24       anticipated, widespread outage conditions, estimated 24-

25       to 36-hour restoration.  CHELCO crews and some possible

FLORIDA PUBLIC SERVICE COMMISSION

78

1       internal assistance only, and rotation of crews for

2       around-the-clock restoration.

3                 We have, currently we have a CIS system, we

4       have an outage management system, and we're currently in

5       the process of installing SCADA at our cooperative.

6       Once -- when we have SCADA up and running, it will give

7       us a tremendous amount of control and information that

8       we can obtain through all these systems working hand in

9       hand.  But this, this would be an internal type of

10       restoration.

11                 A Level II, as I said, was an Ivan type to

12       relate to so you make a reference to these points.

13       Substantial damage and outage conditions, widespread

14       anticipated, including some transmission and substation

15       facilities.  Now CHELCO has an all requirements contract

16       with Power South, so we do not own the substations.  We

17       own the load side of the substations and that's where we

18       take over.  So but we're still, our members are affected

19       if that transmission or substation is out.  So it's a

20       concern of ours, and we work very closely with Power

21       South.  Our estimated time of restoration is five to ten

22       days.  At that point, our command and control takes over

23       and we take it away from our energy control system

24       because there would be so much of the system out that it

25       would be difficult for them to handle.

FLORIDA PUBLIC SERVICE COMMISSION

79

1                 The Level II continued.  We would have

2       anywhere from 200 to 250 outside personnel assisting,

3       which would require coordination for food and lodging of

4       about 125 to 130 rooms.

5                 A Level III, and as I stated a few minutes

6       earlier, that this was a level that we added after the

7       Katrina incident.  Extensive widespread systemwide

8       destruction anticipated.  Estimated time of restoration

9       would be unknown.  CHELCO and all assigned internal

10       crews assisting.  Large numbers of outside assistance,

11       anywhere from 375 to 475 or up depending on it.  We have

12       predetermined staging areas, and there's three sites

13       that we've identified, public sites that we can use and

14       made arrangements to have those sites that we would

15       actually have staging areas and we would put food,

16       lodging and showers, laundry, the whole, the whole gamut

17       there, because in this situation you have no, no local

18       facilities to work with because everything is out of

19       power.  All materials would be delivered directly to

20       those predetermined sites, and we would work 16-hour

21       days.

22                 I want to talk for just a few minutes, if I

23       can, about some of the key coordinators in our plan to

24       give you an idea of how it's put together and who's

25       responsible for what.  Our CEC, the Emergency

FLORIDA PUBLIC SERVICE COMMISSION

80

1       Coordinator, is the primary leader.  That person makes

2       all the primary determinations and makes sure all the

3       coordination is in place.  A lot of times -- in our

4       case, the Workforce Assignment Coordinator normally

5       is -- an individual does those two roles.  Operations

6       Liaison is in the command center, and they coordinate

7       the information to flow between the co-op and the Power

8       South EOCs, and just a number of information, statewide,

9       et cetera.

10                 Our GIS Manager is responsible for the

11       relay -- relaying the restoration progress by the outage

12       management program.  And those -- the maps that I shared

13       with you just a few minutes ago is part of that

14       responsibility, and we feel like that it's good that our

15       restoration crews when they come in, they can see this,

16       that we've got constant information flowing back and

17       forth for them to see how the restoration process is

18       going.

19                 Of course, we have Food and Lodging

20       Coordinators that are responsible for coordinating all

21       the food and the lodging that's required for the

22       restoration effort.

23                 Director of Communications certainly speaks

24       for itself.  It's the individual responsible for making

25       all the communications with media.

FLORIDA PUBLIC SERVICE COMMISSION

81

1                 Our Call Center Coordinator is a very

2       important aspect of it because that is the individual

3       that will make sure that the call center is manned 24

4       hours a day during a restoration process and answering

5       the calls of the general public and our members.

6                 Area Supervisors again is an important

7       position in our plan in that the Area Supervisors are

8       assigned by substation and they are given the

9       responsibility and authority to govern any action or

10       restoration that goes on out of that substation.  So

11       they have total control.

12                 Our Energy Control Center is where all of our

13       SCADA equipment will be housed that we're currently

14       putting into place.  It's where all of our outage

15       management coordination would take place.  And of course

16       our loss control and safety, safety is a very important

17       aspect of this.  We have -- this individual is tasked

18       with meeting all incoming crews and personnel and

19       discussing and briefing them on the safety aspects.  We

20       give them information on the local hospitals and where

21       they can be reached and all the other emergency contact

22       information.

23                 We, as all the other utilities that have

24       spoken here today, we plan and review and update our

25       plan yearly.  We look at what, what has changed and make

FLORIDA PUBLIC SERVICE COMMISSION

82

1       those updates.  We just completed our annual employee

2       training this, this past week where we review each

3       employee's assigned task and responsibility.  We talk

4       about the plan and go over that with them so that

5       everybody is aware.  And then they're encouraged, if

6       they have -- we have a question and answer period there.

7       But then if they have other questions, they can deal,

8       speak directly with their supervisors.

9                 And of course we do contract and -- contact

10       and contract updates each year to have the most

11       up-to-date information on rates and equipment and that

12       sort of thing for -- in case we need to call on these

13       contractors.  We also contact all of our mutual aid

14       agreement people through the statewide, and so we know

15       we have those agreements in place.

16                 "Plans are nothing; planning is everything,"

17       by Dwight D. Eisenhower.  A plan by itself is no good,

18       but planning is everything to be prepared, and we think

19       that at CHELCO we are prepared and ready.  Any

20       questions?

21                 COMMISSIONER SKOP:  Questions from the bench?

22                 Commissioner Edgar.

23                 COMMISSIONER EDGAR:  Thank you.  And I'm a big

24       believer in planning.  I have a question for you, if you

25       would hold on for a moment.  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

83

1                 The slides that you had that showed the

2       outages, the graphics on those slides that showed the

3       outages during Ivan, very, very illustrative, really

4       interesting slides.  Thank you.

5                 But the one, the first one that shows that

6       almost your entire service area was out from Ivan in the

7       immediate time frame with just a very few patches that

8       continued to receive service, I guess from the

9       post-analysis, those areas that did not experience an

10       outage from that storm, was there anything consistent as

11       to why they did not?  I mean, were they underground,

12       were they hardened, were they just lucky to not be hit

13       by the stronger winds?

14                 MR. FUGATE:  It was, it was actually amazing.

15       And the -- there was one area kind of to the south along

16       the bay or just north of the bay that would be our, what

17       we call the Blue Water Development.  That's primarily

18       underground.  We do have overhead circuits feeding out

19       of there a short distance, and then it goes, goes all to

20       underground.  That area did not sustain any, any outage.

21                 The area to the north up around DeFuniak

22       Springs was all overhead.  It was just a unique

23       situation.  So certainly the area down around Blue Water

24       would be prone to storm surge more than, than up north.

25       But we, we looked at that and tried to see, okay, you

FLORIDA PUBLIC SERVICE COMMISSION

84

1       know, certainly the underground, I think, would speak

2       for itself, that being primarily underground there was

3       less effect from the winds except on the overhead

4       circuits that did feed it, even though we didn't lose

5       all of those.  We lost a couple.  But on the north,

6       north it was, it sustained the same wind that everything

7       else did overhead-wise and it stayed on.

8                 COMMISSIONER EDGAR:  Thank you.

9                 COMMISSIONER SKOP:  Any additional questions?

10       Hearing none, thank you, Mr. Fugate.  Appreciate your

11       presentation and the actions that, and preparations your

12       electric cooperative has taken.

13                 Okay.  The next presenter will be AT&T

14       Florida, and the Commissioners will hear from Messers

15       Smith, Patton and Cundiff.

16                 MR. SMITH:  Thank you and good morning.  On

17       behalf of the team from AT&T, we appreciate the time we

18       have today to update you on the activities we have

19       toward our storm preparation for both the wireline and

20       wireless parts of our business.

21                 Today we'll discuss several points:  Our pole

22       inspection program, our increased generator inventory,

23       an overview of AT&T's preparation, restoration processes

24       in both wire and wireless facilities, and a look at the

25       hierarchy of support we have within AT&T from the local

FLORIDA PUBLIC SERVICE COMMISSION

85

1       level to the Global Network Operations Center.

2                 AT&T has 461,173 poles in Florida, and we are

3       inspecting these on an eight-year cycle.  For joint use

4       poles, AT&T has prioritized our efforts to work jointly

5       with our power company partners to realize the most

6       beneficial result of the pole inspection program.

7                 Through year-end 2009 AT&T has inspected

8       218,499 poles.  More than 20,000 have been inspected

9       this year, and we anticipate inspecting approximately

10       40,000 through the end of the year.  And through the

11       course of the program, since 2006, AT&T has replaced

12       5,287 poles.

13                 We have added a significant number of portable

14       generators to support our digital loop carrier sites.

15       We have a regional generator pool that is maintained in

16       the Jacksonville, Florida, area; a seasonal generator

17       pool that is stationed in Hialeah, Florida; and a third

18       generator pool that is currently under construction in

19       Margate.

20                 Through the nine southeast states, AT&T -- you

21       got it?

22                 (Technical difficulties with PowerPoint

23       presentation.)

24                 Thank you.  Through our nine southeastern

25       states, AT&T has 2,028 digital loop carrier sites with

FLORIDA PUBLIC SERVICE COMMISSION

86

1       permanent generators to support these sites in the event

2       of a commercial power outage.  1,441 of these sites are

3       in Florida.

4                 Post-merger, AT&T adopted the southeast region

5       model for generator deployment in the case of emergency

6       commercial power outage and has since built generator

7       sites outside the nine southeast states.  So we now have

8       at our disposal over 10,000 portable generators in the

9       event of a significant impact.

10                 Here you see a couple of visuals of permanent

11       generator sites and some of the wraps that we've put

12       around some of our critical equipment to prevent against

13       sand and water intrusion.  But none of these plants work

14       without our greatest asset, which is our people.  And at

15       this point we'll turn it over to Mr. Jeff Patton to walk

16       you through some of our, our personnel resource.

17                 MR. PATTON:  Good morning.  My name is Jeff

18       Patton.  My responsibilities at AT&T include managing

19       emergency operations for the southeast region.

20                 What I'm going to talk about just a little bit

21       right now is our manpower in the past was BellSouth.  Of

22       course you knew we had about 65,000 people.  Now with

23       being part of AT&T, we have had our enhanced (phonetic)

24       assets in excess of 275,000 employees that we can call

25       on if we have a disaster that affects us in a way that,

FLORIDA PUBLIC SERVICE COMMISSION

87

1       something along the lines of Andrew or Katrina did.

2                 We have programs in place with our employees.

3       We cover them in advance of an event.  We have processes

4       in 72 hours, 36 hours, 48 hours and 24 hours before,

5       prior to landfall where we allow employees to leave work

6       to take care of personal issues, evacuate their

7       families, secure their personal belongings according to

8       government, local and state government orders of

9       mandatory or voluntary evacuation.  And we have

10       employees ready to come in and replace those employees

11       when they do evacuate.

12                 We stage our folks out of harm's way to make

13       quick re-entry into the area when needed after an event.

14       Once an event takes place, we have a system set in place

15       where our employees are asked to contact the company at

16       one of two different numbers.  One number is to let us

17       know that they are okay or let us know that they need

18       assistance.  The other number they call and we provide

19       information to the employees as to the effect of the

20       event on our company, expectations of them to report to

21       work, locations where we might report, ask them to

22       report to work, or locations where we have aid set up to

23       provide services like we did with 2004 where we built

24       tent cities for our employees and their families to live

25       until they could find another location to make home and

FLORIDA PUBLIC SERVICE COMMISSION

88

1       we provide services to them.  Let me see if I can make

2       this thing work.  There you go.

3                 Okay.  We hold annual preparedness meetings

4       throughout the corporation.  All business units are

5       included.  We just completed a training process where my

6       partner and I traveled around the nine southeastern

7       states and Puerto Rico and, excuse me, covered a

8       training process for emergency operations, the new

9       enhanced processes that we placed, put in place rather

10       within the last year, and at that meeting we also ran a

11       tabletop mock disaster exercise, like I said, just

12       within the last two months.  And we periodically do that

13       throughout the year.

14                 As you know, we have to stay prepared for more

15       than just hurricanes.  We have large tornadoes, ice

16       storms, floods and wildfires that we have to prepare for

17       and make sure our folks are ready to handle any

18       situation in a disaster.

19                 Let me make sure I'm on the right slide here.

20       Okay.  Again, we have readiness teams mobilized, ready

21       to enter into an area that's been affected.  We stage

22       them in a safe location.  We have already worked with

23       our procurement organization and identified materials

24       and assets that we might need this year during hurricane

25       season, and we have overstocked our warehouses so that

FLORIDA PUBLIC SERVICE COMMISSION

89

1       we can bring those materials into any area within the

2       southeast that is affected by a natural event.

3                 We have a corporate real estate organization

4       that has contracted with property owners to identify and

5       secure staging areas large enough to handle the wireless

6       and wireline organizations now that we have merged that

7       into one AT&T.  If we have to move into an area,

8       mobilize a tremendous amount of assets, again, we've

9       identified locations where we can put all of those

10       assets and the support that our employees would need to

11       recover our customer services.

12                 We have sweep teams that we've created that we

13       would move into an area and identify the company assets

14       affected by the storm and a database that we've recently

15       created and enhanced that we would enter that

16       information into, and that system will identify the

17       organization responsible for rebuilding and replacing

18       the assets that were affected by the storm.

19                 And we have written contracts with the vendors

20       that we've used over the years to provide us with

21       materials needed for replacing and repairing assets that

22       are damaged, as well as the tools that we would need.

23       If we bring large amounts of employees into an area to

24       work a recovery, we might need tools delivered where

25       those employees might not be able to bring their test

FLORIDA PUBLIC SERVICE COMMISSION

90

1       sets and tools with them for travel restrictions.  So we

2       have contracts in place with those vendors as well.

3                 The way we set up emergency operations in the

4       State of Florida is aligned with our districts that we

5       have.  We have one north district, which is

6       headquartered in Jacksonville, and our south district,

7       which is headquartered in Miami.  The district level

8       manager is the lead for that center.  The term we use in

9       AT&T is Local Response Center.  We call them LRCs.

10       That's our Emergency Operation Center specific to the

11       district.  In the nine states in the southeast and

12       Puerto Rico we have 12 LRCs.

13                 The center that I manage is the Emergency

14       Operations Center, which is located in Atlanta, and my

15       backup center is in Birmingham.  And then we have our

16       Global Network Operations Center, which is located in

17       Bedminster, New Jersey.  The folks up there are the

18       organization that monitor worldwide operations of AT&T,

19       and they can see the effects that a storm in Florida has

20       on our network in comparison to what's going on around

21       the world, and they help us to manage the assets of the

22       company to handle all type of events in Florida as well

23       as around the world.

24                 Our LRC support organization is, like many of

25       the speakers I've heard earlier talk about their GIS

FLORIDA PUBLIC SERVICE COMMISSION

91

1       systems, we also have GIS mapping.  And what we use

2       those for is we take the projections from the National

3       Hurricane Center and HURRTRAK and impact weather

4       companies that we contract with and we input that data

5       into the GIS tracking, mapping system and do a layout on

6       top of what we know as our assets, company buildings.

7       And we also look at where we have employees, their

8       homes, and we look at the areas that are projected to be

9       affected by the hurricane so we can start moving people

10       as well as assets in advance of the event making

11       landfall.

12                 We have two network reliability centers, one

13       located in Charlotte, one located in Nashville, and they

14       monitor the network and the traffic across our network

15       on a daily basis, but, of course, more intently during

16       an event to help us make sure that we're looking at the

17       places we need to work, aim our recovery effort, to make

18       sure we go to the places we need to go.  Because when

19       you're out in the field, it's easy to see what's on the

20       ground, but you don't really see what is all affected by

21       an event.

22                 We created strike teams when we were

23       BellSouth, and AT&T recognized these as the best

24       processes in place, so we've spread those across the 22

25       states of AT&T -- I'm sorry, I was corrected the other

FLORIDA PUBLIC SERVICE COMMISSION

92

1       day -- the 50 states of AT&T now that we're wireless and

2       wireline.  We have a safety strike team where we bring

3       in trained, qualified safety managers to ensure that our

4       employees and their families are taken care of and not

5       put in harm's way during an event and during the

6       recovery of an event.

7                 We have the generator strike team that deploys

8       and maintains and manages the generators that Kirk spoke

9       about a moment ago.  Excuse me.  We have cell site and

10       911 strike teams.  These folks are specific skill set,

11       capable employees, management and nonmanagement

12       employees of the company, that I preposition them in a

13       safe zone when the event makes landfall.  And then we

14       circle back around and come in behind the storm right at

15       landfall and attack the cell sites and the 911 systems

16       that are affected by that event to try to restore the

17       service as quickly as possible.

18                 We have a damage prevention strike team, which

19       is a little unique.  When I've made this presentation

20       before, I have a lot of questions as to why we have

21       damage prevention during a hurricane.  But damage

22       prevention is in the recovery of a hurricane because we

23       have a lot of folks out there trying to clean up the

24       mess and they cut down our cables and they rip them out

25       of the ground when they're using front-end loaders and

FLORIDA PUBLIC SERVICE COMMISSION

93

1       trimming trees and cutting trees.  So we bring in a team

2       of specially trained employees to work with the

3       contractors, local government and other utilities in

4       hopes that we don't have any further damage that we

5       didn't incur during -- that it did not incur during the

6       event during our recovery.

7                 And the way -- we spoke a moment ago about the

8       LRC setup with the EOC and the GNOC.  If the event is

9       large enough where the LRC doesn't have the assets

10       toward the recovery here in the State of Florida, they

11       would call me, I would look across the nine-state region

12       and talk to our management team and bring in the assets

13       needed to assist the local folks in Florida.  If I can't

14       obtain what they need within the nine-state region, then

15       I would call the GNOC, which is located, as I said

16       earlier, in Bedminster, New Jersey.  The GNOC would go

17       across the corporation and get whatever assets,

18       manpower, resources are needed to come in and work a

19       recovery effort.

20                 And this is just a picture of the command

21       center, the GNOC.  It's a phenomenal place down there.

22       It kind of resembles what I saw on Apollo 13 as what

23       NASA might look like.

24                 We also have an asset unique to AT&T, it's our

25       Network Disaster Recovery Team.  These are specially

FLORIDA PUBLIC SERVICE COMMISSION

94

1       skilled, trained employees, management and

2       nonmanagement, 35 full-time, well over 150 part-time.

3       The 150 part-time meaning they have full-time jobs

4       somewhere else in the company.  If we have an event,

5       they are called, they have bags packed in the trunks of

6       their cars, and their families understand that they're

7       going to leave at a minute's notice.  And these folks

8       will come in and move a tremendous amount of assets we

9       have in warehouses at undisclosed locations around the

10       country.  Because we do have central offices on wheels,

11       we have 3500 kV generators, we have heating and cooling

12       towers on semi trucks.  These are self -- a fully

13       maintained organization of people that would move into

14       an area to rebuild whatever is needed.

15                 We have capability of deploying them outside

16       the continental United States.  They did deploy to Chile

17       in reaction to the earthquake, and just went home

18       yesterday after a deployment to Nashville where they

19       helped us bring one of our central offices back online.

20       The Bellevue central office had about 28 inches of water

21       in it with the floods in Nashville a couple of weeks

22       ago.  And, as you can imagine, it pretty much destroyed

23       all of our electronics.

24                 Part of the NDR team is communications

25       capability.  They have satellite vehicles that can set

FLORIDA PUBLIC SERVICE COMMISSION

95

1       up quick satellite communications, radio vehicles that

2       can set up radio shots, and, of course, cellular

3       capability with COLTs and COWs, the cell towers on light

4       trucks and the cell towers on trailers that we can bring

5       into an area that we can a get T1 into and try to

6       restore cell service in a, you know, in a quick time

7       frame.

8                 And I think that's me, isn't it?  Yeah.  I'm

9       sorry.

10                 COMMISSIONER EDGAR:  Commissioner?

11                 MR. PATTON:  Sometimes I get to talking about

12       it and I talk a little too fast.

13                 COMMISSIONER SKOP:  Commissioner Edgar.

14                 COMMISSIONER EDGAR:  Thank you.  I'd like --

15       before you switch, I'd like to go ahead and ask a quick

16       question, if I may.

17                 MR. PATTON:  Yes, ma'am.

18                 COMMISSIONER EDGAR:  One of the issues that we

19       heard about when we were doing our review work back in

20       2005 and a little more in 2006 was a question or a

21       problem with access sometimes after a storm event, that

22       safety first, of course, and emergency personnel would

23       need to go in first.  But then -- and I think that one

24       of the issues was primarily with the possibility of

25       downed live electric wires, that for repair and response

FLORIDA PUBLIC SERVICE COMMISSION

96

1       personnel from both the cell phone standpoint and a

2       landline standpoint sometimes had difficulty getting

3       into the areas because of some of those requirements for

4       more immediate responders.  Is that an issue that

5       remains or has that primarily been worked out?

6                 MR. PATTON:  Well, first with your comment

7       about downed power lines, it's well understood

8       throughout our corporation that our folks don't go into

9       an area if there's downed power or if they see a power

10       company vehicle because that means the power company is

11       in there and we're not going to put our folks in harm's

12       way.  Our access issues have been either a local

13       government or law enforcement agency that's set up a

14       road block to a restricted area.

15                 Usually if we're driving a company identified

16       vehicle, if we're uniformed and we have our ID badges,

17       we don't have those kind of access issues.  A lot of

18       times our issues with access is when we send our

19       contractors into those areas to replace the downed poles

20       or assist us in placing cables on poles or pulling our

21       cables up that have been torn down.  So, yes, ma'am,

22       it's a continuing issue gaining access after an event.

23                 COMMISSIONER EDGAR:  Thank you.

24                 MR. PATTON:  Yes, ma'am.

25                 COMMISSIONER SKOP:  Thank you.  Any additional

FLORIDA PUBLIC SERVICE COMMISSION

97

1       questions from the bench for Mr. Patton?  Hearing none,

2       Mr. Cundiff.

3                 MR. CUNDIFF:  Good afternoon.  My name is Dave

4       Cundiff.  I've got overall responsibility for the

5       Mobility network for AT&T for the southeast United

6       States.  AT&T Mobility operates over 2,500 cell sites in

7       Florida that cover upwards to 99 percent of the State of

8       Florida population.  Of those, of those cell sites,

9       50 percent of them have permanent generators stationed

10       at them.  These 50 percent cover our, what we call our

11       Priority 1 cell sites, which gives obviously evacuation

12       zones, hospitals, EOCs the coverage that it needs post,

13       post, post disasters.

14                 AT&T Mobility together with wireline, as Jeff

15       indicated, locally manages all emergency recovery via

16       two geographically separate LRCs that Jeff went through.

17       And, again, depending on the severity of it, we will, we

18       will bring in our Emergency Operation Center in Atlanta

19       and our GNOC facility in New Jersey, similar to how

20       Jeff, Jeff indicated.

21                 Within Mobility we do have a Mobility Network

22       Operations Center.  That is our 24 by 7, 365 day center

23       stationed in Atlanta, with fallback capabilities to our

24       center in Seattle just in case it is a very large

25       disaster, that will manage and operate our network from

FLORIDA PUBLIC SERVICE COMMISSION

98

1       a remote perspective during the restoration.

2                 After a storm, we employ critical tools and

3       databases to help track the operational status of our

4       cell sites.  The daily statuses that we put out go to,

5       go to the FCC amongst other, other federal departments.

6       Attached on the screen is a quick snapshot of what we

7       call our AWATS (phonetic) Disaster Recovery System.

8       This gives us a realtime view of our network and allows

9       us to quickly and efficiently understand what the

10       situation is and how we're going to respond to it,

11       whether it's a power issue, whether it's a transport

12       issue or whether it's more of a physical situation.

13                 In addition to our, to our own employees, AT&T

14       Mobility has local contractors throughout the State of

15       Florida on retainer to assist with post storm damage

16       analysis, restoration, generator deployment, refueling

17       and debris clearing.  We find that during these

18       disasters that's quite extensive, and we also bring in

19       crews from throughout the southeast United States when

20       we do not have the local folks to support those.

21                 AT&T Mobility has approximately 104,

22       170 portable generators staged in Lakeland year-round,

23       and we have more than 300 throughout the southeast, of

24       which 80 are stored in Tallahassee actually during,

25       during hurricane season.

FLORIDA PUBLIC SERVICE COMMISSION

99

1                 We also employ an inventory of over 330 what

2       we call COWs, cell sites on wheels, that are available

3       for use across AT&T, including satellite COLTs that can

4       provide instant coverage during disaster recovery in

5       remote areas.  Approximately 15 of these are permanently

6       stored in Florida.  These assets are regularly deployed

7       via direction from the state and federal agencies for

8       quick restoration or to add coverage needed by first

9       responders and/or long-term needed restoration locations

10       similar to a National, National Guard type deployment.

11                 Once an event occurs, given the wireless

12       communications and the mission critical aspect of it, we

13       utilize key tracking systems and processes to ensure

14       that all sites are inspected and brought to 100 percent

15       service levels as efficiently and as effectively as

16       possible.  This includes repairs for power and refueling

17       operations, as well as any type of debris clearing.

18       Again, this is a simple snapshot of how we identify very

19       quickly, and we keep, we keep it in the main focus until

20       everything is 100 percent green from our network

21       perspective.  That does conclude our AT&T presentation.

22       We'll be glad to answer any questions.

23                 COMMISSIONER SKOP:  Thank you.  Questions from

24       the bench?

25                 Commissioner Edgar.

FLORIDA PUBLIC SERVICE COMMISSION

100

1                 COMMISSIONER EDGAR:  Thank you.  I had a

2       question probably for Mr. Smith.

3                 On one of your, I think it was actually Slide

4       4, it talks about joint use poles and the joint

5       inspections, and that is another issue that I recall

6       there being some discussion about a few years ago and

7       how to, you know, best divvy up the responsibility and

8       the resources and the cost, and so I'm just wondering if

9       you can elaborate on how that is working now that we're

10       here a few years later.

11                 MR. SMITH:  Sure.  I think whatever problems

12       we may have had early on were really just problems of

13       establishing what the process was going to be.  I put it

14       in the very, very good category.  Annually what we

15       receive from each one of our powers on the power -- our

16       partners on the power side of the house, basically a

17       game plan, okay, of what they're going to do in terms of

18       the critical infrastructure, some of the things you

19       heard the Florida Power & Light folks talk about.  We

20       get an opportunity to take that ahead of time and assess

21       that and try to fold that into our plans.  There are

22       workshops that are held that we, that we attend

23       in-person with the power company.  So, you know, just

24       from, just a plain business logistic standpoint, it's

25       working very well.

FLORIDA PUBLIC SERVICE COMMISSION

101

1                 COMMISSIONER EDGAR:  Good.  All right.  Thank

2       you.

3                 MR. SMITH:  Thank you.

4                 COMMISSIONER SKOP:  Thank you.  Any additional

5       questions?  I just want to thank AT&T and its presenters

6       for their presentation this morning and all their

7       efforts on storm hardening.

8                 And, Commissioners, at this point, we're next

9       scheduled to hear from Verizon.  But, again, as the

10       lunch hour moves toward us, and I promised my colleagues

11       that I would recognize lunch.  I'll look to the bench to

12       see what the pleasure is.  My thought, my thoughts would

13       be to go to 12:30, then break for lunch, but perhaps we

14       can cover both of the remaining presentations by then.

15                 (Inaudible.  Microphone off.)

16                 COMMISSIONER SKOP:  Okay.  Thank you.  All

17       right.  Our next presenter is Verizon, and the

18       Commission will hear from Mr. Cardenas.

19                 MR. CARDENAS:  Good afternoon, everybody.  My

20       name is Chris Cardenas.  I'm the Emergency Operations

21       Center Manager for the State of Florida.  I appreciate

22       the opportunity to talk with you this morning on Verizon

23       Telecom's emergency plans for 2010.

24                 From an overview perspective, I'll be

25       presenting on four major subjects today.  I'll paint a

FLORIDA PUBLIC SERVICE COMMISSION

102

1       high level overview of our telecom presence in Florida.

2       I'll then outline our emergency operations

3       organizational structure for managing events.  Next I'll

4       break down key functionalities for our Emergency

5       Operations Center, then I'll move into what we're doing

6       within Verizon Telecom to prepare ourselves for 2010.

7                 I think it's important to paint a high level

8       picture of what Verizon Telecom has in Florida and

9       visualize why it's critical to proactively manage and

10       maintain our emergency plans.  We provide voice, data

11       and video in the Central Florida area which covers

12       approximately 5,000 square miles and about 1.2 million

13       access lines.  We employ over 3,900 employees, maintain

14       over 1,600 telecom fleet vehicles, and maintain a

15       presence in 300 buildings across the Central Florida

16       area.  With this investment in the Florida communities,

17       we want to ensure we maintain the network when a crisis

18       hits.

19                 The EOC structure is based on a centralized

20       point of contact to maximize the consistency and

21       productivity of the teams involved.  It also creates an

22       environment to leverage perspectives from a preparation

23       perspective and a recovery perspective.  The National

24       Emergency Control Center is the national liaison that

25       manages events that cross multiple regions within our

FLORIDA PUBLIC SERVICE COMMISSION

103

1       footprint.  They also provide additional support in

2       bringing in tools and resources needed and our

3       communications team for company leaders.  They provide

4       weather monitoring, reporting to assist us in tracking

5       the event.  And what we have pictured there on the right

6       is the network or the National Emergency Control Center.

7       During an event it's open 24 by 7 and it provides us

8       continual feedback to help us manage through the crisis.

9                 Our RCC, our Regional Control Center, consists

10       of our region's executive team and members from key

11       business units.  The team works as the policy group to

12       maintain consistency in planning and communications,

13       along with maximizing the productivity by keeping

14       everybody on the same page.  The Region Control Center

15       interfaces with the National Emergency Control Center

16       and is the hub for communication both internally and

17       externally.

18                 The Division Control Center includes our

19       dispatch leaders along with other key business unit

20       managers who work with the field on plant protection and

21       damage assessment.  They provide checks and balances for

22       all the teams in the field like construction, the field

23       technicians, central office, engineering groups, et

24       cetera.  They compile the data received from the field

25       and create a service restoration plan.  They also track

FLORIDA PUBLIC SERVICE COMMISSION

104

1       trouble volume and funnel all that data up through the

2       Region Control Center.

3                 The Damage Assessment Group, the DAG, is on

4       the bottom of that organizational structure, and they're

5       the folks in the frontline.  They are a combination of

6       working team leads from multiple business groups working

7       together to protect the outside plant facilities and

8       provide a status on the damages.  They also assist the

9       Division Control Center in creating those emergency

10       restoration plans, and they are also linked into the

11       Region Control Center.

12                 Here on Slide 7 is a visual picture of what we

13       have in a typical Region Control Center conference call.

14       It's made up of key members of each business unit within

15       our organization, key members including folks like our

16       regulatory group, field operations, real estate,

17       security, human resources and so on.

18                 On this slide I now want to talk through some

19       of the important items we manage in the Region Control

20       Center prior to, during and after a hurricane.  We are

21       continually updating our emergency plans based on

22       changes in the organization, changes in resources and

23       equipment, and lessons learned from previous exercises

24       and events.  The flow chart there on the right depicts

25       the emergency plan which is sparked by an event or

FLORIDA PUBLIC SERVICE COMMISSION

105

1       exercise.  We respond and begin the recovery process for

2       our organization and resume business.  From there we

3       move on to restoring the facilities and returning to

4       normal.  The information we learn from this we review

5       and update our plans with, and we're prepared to circle

6       all around again.

7                 For roles and responsibilities, the Region

8       Control Center manages multiple plans to be prepared for

9       different events.  The Area Preparedness Plan supports

10       multiple scenarios, primarily hurricanes.  The Mission

11       Critical Plans are specific for our call centers and our

12       region centers.  So if we have a situation where we have

13       to evacuate, then we can move those calls out to other

14       areas.  And we also have locations where we can put our

15       staff, if needed.

16                 The Work Stoppage Plan is primarily driven

17       around labor and contractual challenges that may occur,

18       and then the Pandemic Plan for any pandemic activities

19       that we may experience.

20                 We will be linked with the county EOCs.  We

21       provide dedicated contacts to work in their EOCs when

22       applicable.  With our regulatory team and the RCC, we'll

23       provide updates to the Commission on the impact to us

24       and the progress that we're making in restoration and

25       provide communications to DMS telecommunications and the

FLORIDA PUBLIC SERVICE COMMISSION

106

1       wireless providers.

2                 On Slide 10, we continue to facilitate the

3       event out of our Emergency Operations Center which is

4       located in Temple Terrace, Florida.  This location has a

5       full generator backup and is away from the evacuation

6       zones.  Our dispatch team who facilitates the DCC, as we

7       mentioned earlier, and the network team also manage

8       operations out of the same building.  We have food,

9       bedding and stored food -- and -- we have food and

10       bedding stored for short-term lodging.

11                 We've also scheduled a hurricane exercise for

12       June the 8th specific for Florida, and we'll be

13       participating in a national event facilitated by the

14       NECC on June 21st.  Updates to both these exercises will

15       be made to our plans based on the lessons learned from

16       the events.

17                 Here on Slide 11 we talk a little bit about

18       pole hardening.  This is our fourth year on the pole

19       hardening initiative program.  To date we've inspected

20       half of the pole inventory through the rigorous

21       inspection process.  Poles that fail are replaced.  We

22       don't do the repairs.  We go ahead and replace the poles

23       that fail the inspection.  And we work very closely with

24       the other utilities when our facilities are impacted.

25                 Each hurricane season we increase our

FLORIDA PUBLIC SERVICE COMMISSION

107

1       materials on hand by 10 percent.  We also secure backup

2       tools.  For example, we secured an additional

3       850-kilowatt generator and have accommodation trailers

4       like you see there below and comfort trailers available

5       to us.  We also proactively conduct routines on our

6       network.  We do annual testing and monthly generator

7       testing.  We also prepare for an event and go through

8       our checklist of items and run additional routines at

9       those times.

10                 We do more than just plan for hurricanes.  We

11       had an exercise conducted nationally in the Washington,

12       D.C., area.  Verizon conducted a national disaster

13       recovery exercise to show how critical communication

14       infrastructure can be restored following a catastrophic

15       event.  In this scenario we had a commercial airliner

16       and a private airliner collide in mid-air over the

17       Northern Virginia area.  Some of that debris landed on

18       Verizon facilities.  And this gave us an opportunity to

19       utilize some of the tools we had in place and also to

20       ensure that our plans have the components to address

21       unique scenarios that come up versus the ones that are

22       always visible and not on the forefront.

23                 Before I go into questions, you know, one of

24       the questions that was brought up was, you know, what

25       keeps us nervous or what keeps us up late at night?  And

FLORIDA PUBLIC SERVICE COMMISSION

108

1       I think probably, as mentioned earlier by several other

2       folks, is Verizon has presence in a lot of the coastline

3       up through, from Florida up through New York and New

4       Jersey and along in the Gulf Coast, including primarily

5       Texas.  So the one thing that always has me worried is

6       an event that crosses multiple areas, and then the

7       resources and tools available to manage through it.

8       We've experienced it before and we've successfully gone

9       through it.  One of the most recent ones I recall was

10       Hurricane Ike which came up through Texas, but what a

11       lot of people didn't realize is that it caused a lot of

12       damage up in the midwest areas because that event was so

13       large.  And so we managed through both events

14       simultaneously very well.

15                 But with that said, I'll open it up to any

16       questions you may have for me today.

17                 COMMISSIONER SKOP:  Questions from the bench?

18       Hearing none, thank you, Mr. Cardenas.  Appreciate all

19       your efforts and that of Verizon.

20                 MR. CARDENAS:  Thank you very much.

21                 COMMISSIONER SKOP:  Okay.  Commissioners, our

22       last scheduled presenter is CenturyLink, and it looks

23       like Mr. Miller and Ms. Khazraee will be presenting.

24                 MR. MILLER:  Thank you, Mr. Chairman and

25       Commissioners.  Hopefully I can get us out of here at

FLORIDA PUBLIC SERVICE COMMISSION

109

1       12:30.

2                 All right.  My name is Eric Miller.  I'm Vice

3       President for CenturyLink.  For those of you who may not

4       be familiar, CenturyLink is actually a result of the

5       acquisition of CenturyTel of Embarq in the middle of

6       last year.  We have approximately 1.4 million access

7       lines in the State of Florida and employ about

8       3,800 employees in the state.

9                 I'm not getting it to go forward here.

10                 (Technical difficulties with PowerPoint

11       presentation.)

12                 All right.  Well, I'm going to go ahead and

13       start talking.  Hopefully you have the presentation in

14       front of you.  Our, our approach is one of an ongoing

15       preventative approach as much as possible, that's both

16       through design and communication that's out there.  We

17       put storm hardening requirements in all of our

18       engineering as we add to our plant in the state.  Or

19       when we have a situation where a storm has come through

20       and we have to re-engineer an area, we obviously

21       re-engineer with the idea that a storm could come back

22       through at any point in time.

23                 Additionally, as some of my peers have

24       referenced, we conduct ongoing maintenance with our

25       generators.  We have fixed generators that serve the

FLORIDA PUBLIC SERVICE COMMISSION

110

1       digital line devices out in the field and then have a

2       fleet of portable generators that are stored throughout

3       the State of Florida.

4                 In preparation for hurricane season, we go out

5       and maintenance all those generators, the portable

6       generators that are out there, and then ensure that we

7       have adequate fuel onsite to handle any situation that

8       may arise.

9                 Additionally, we have an ongoing maintenance

10       project throughout the year doing battery replacement

11       throughout the facility so that -- both through the

12       backup power as well as battery power we have the

13       ability to ensure service in the case of an outage.

14                 Similar to my peers, we have an ongoing

15       process of pole inspections and go throughout

16       determining whether those are hardened.  If they're not,

17       we go through and replace them if we have any issues.

18                 As the storm approaches, we take an approach

19       that emphasizes communication.  We have local resources

20       in place throughout the State of Florida that before any

21       storm should occur, they've established a relationship

22       with the local Emergency Operation Centers so that they

23       can go through and be called at the point that a

24       hurricane may be coming through or any other weather

25       event.  Again, those are located locally and participate

FLORIDA PUBLIC SERVICE COMMISSION

111

1       from a local standpoint.

2                 We also have Emergency Operation Centers

3       within our organization located in North Florida, South

4       Florida and Central Florida that are put on notice any

5       time a storm is identified that could be approaching the

6       state.  We receive daily updates from our National

7       Operation Center during hurricane season, and then calls

8       are initiated if there's any risk that's identified.

9                 We communicate regularly and frequently both

10       internally and externally to make sure all the resources

11       are in place.  Our network operation centers, as you may

12       have heard reference before, we have a network operation

13       center focused on the State of Florida that is located

14       here in Tallahassee.  Nationally we have network

15       operation centers located in Monroe, Louisiana, Gardner,

16       Florida, I mean -- Gardner, Florida -- Gardner, Kansas,

17       and La Crosse, Wisconsin.

18                 After the storm, we activate our rapid

19       response teams.  We have supplies placed along with

20       tools and materials throughout the State of Florida and

21       in adjoining states that can be used in the event of a

22       weather event.  We activate a rapid response team, which

23       are employees that have been identified to move

24       throughout the state and go in after we've identified

25       that an area is safe to enter.

FLORIDA PUBLIC SERVICE COMMISSION

112

1                 We mobilize area survey teams to canvass the

2       area, prioritize the work that's involved, so focusing

3       on those facilities that are needed for any type of

4       recovery first, and then migrating into residential

5       service at that point in time.  We begin restoration

6       immediately and then focus on the priorities that I just

7       identified.  And then finally we collect any forensic

8       data to identify anything that we may want to improve in

9       the future; changes to the plant, changes to facilities

10       to keep any type of outage from occurring in the future.

11       So I wrapped that up relatively quickly, and I would

12       open it up to questions at this point in time.

13                 COMMISSIONER SKOP:  Thank you.  Questions from

14       the bench?

15                 Commissioner Edgar.

16                 COMMISSIONER EDGAR:  Any issues in particular?

17       I mean, very good overview and thank you.  Any issues in

18       particular that would be helpful to bring to our

19       attention?

20                 MR. MILLER:  No.  I'll just reference what

21       some of my peers did as far as, you know, getting into

22       areas where emergency personnel have cordoned that off.

23       You know, if we have folks -- we try and use folks in

24       company vehicles, but obviously if we're trying to get

25       people in there, whether it's contractors or even our

FLORIDA PUBLIC SERVICE COMMISSION

113

1       employees in their personal vehicles, we have run into

2       issues in the past.  We've taken the step of identifying

3       for our rapid response teams, you know, identification,

4       both badges and then also documentation that they're

5       part of a rapid response team so that hopefully when

6       they get into the area, but that would be the main thing

7       that I would bring up.

8                 COMMISSIONER EDGAR:  Thank you.

9                 MR. MILLER:  No problem.

10                 COMMISSIONER SKOP:  Thank you.  Any additional

11       questions?  All right.  Thank you, Mr. Miller.

12       Appreciate it.

13                 MR. MILLER:  Thank you.

14                 COMMISSIONER SKOP:  Commissioners, at this

15       point, barring any other presenters, which I don't see

16       any, I just wanted to look to the bench for concluding

17       comments or questions.  Hearing none, I just wanted to

18       make one concluding comment.  I just wanted to thank all

19       of today's presenters or participants for their

20       informative presentations and commend the respective

21       companies for their ongoing infrastructure hardening and

22       storm preparation efforts that their teams have been

23       undertaking on behalf of the customers.  So with that,

24       staff, are there any other additional matters that we

25       need to address before we adjourn?

FLORIDA PUBLIC SERVICE COMMISSION

114

1                 MS. BENNETT:  I'm hearing a sidebar here.  Let

2       me check with staff and make sure that they don't have

3       any additional questions.

4                 COMMISSIONER SKOP:  All right.  Thank you.

5                 (Pause.)

6                 MS. BENNETT:  We don't have any additional

7       questions or procedural matters.

8                 COMMISSIONER SKOP:  All right.  Thank you.

9       With that, Commissioners, we stand adjourned.  Thank

10       you.

11                 (Workshop concluded at 12:25 p.m.)

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

115

1       STATE OF FLORIDA    )

:         CERTIFICATE OF REPORTER

2       COUNTY OF LEON      )

3

4                 I, LINDA BOLES, RPR, CRR, Official Commission

Reporter, do hereby certify that the foregoing

5       proceeding was heard at the time and place herein

stated.

6

IT IS FURTHER CERTIFIED that I

7       stenographically reported the said proceedings; that the

same has been transcribed under my direct supervision;

8       and that this transcript constitutes a true

transcription of my notes of said proceedings.

9

I FURTHER CERTIFY that I am not a relative,

10       employee, attorney or counsel of any of the parties, nor

am I a relative or employee of any of the parties'

11       attorneys or counsel connected with the action, nor am I

financially interested in the action.

12

DATED THIS _____ day of _____________________,

13       2010.

14

15                   ________________________________

LINDA BOLES, RPR, CRR

16                      FPSC Official Commission Reporter

(850) 413-6734

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION