15 | 728 | 728 Duct/Pipe Insulation / Instruments | 0 | 0 | -4362.0718 | 50.7682 | 55.8932 | 71.3805 | 76.0299 | 80.0719 | 89.0885 | 93.7292 | 96.7682 | 90.987 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3657.3551 | -3856.1511 | 0.12585 | 4288.34 | 1016.627 | 48.7607 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 1016.627 | 0.17452 | 0 | 6295234.7038 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
15 | 729 | 729 Window Film (Standard) / Instruments | 0 | 0 | -288.5031 | 25.9869 | 28.6119 | 36.6842 | 39.0953 | 41.4215 | 45.4713 | 48.4516 | 49.8813 | 46.7329 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 73.8337 | -28.4393 | 0.90943 | 190.99 | 521.1756 | 4.2361 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 521.1756 | 0.089801 | 0 | 5768332.9803 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
15 | 730 | 730 Roof Insulation / Instruments | 0 | 0 | -306.3493 | 23.3257 | 25.2007 | 32.108 | 34.7505 | 35.8199 | 40.1851 | 42.6695 | 44.0914 | 41.0289 | 42.6695 | 42.5914 | 47.6695 | 43.9195 | 47.0445 | 47.4507 | 51.1382 | 52.4507 | 54.7007 | 56.3882 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 498.8533 | 118.7942 | 1.3613 | 205.8 | 460.6598 | 5.1643 | No | No | No | Keep | 126.0982 | 2 | 61.27% | 123 | 30.34% | 460.6598 | 0.080408 | 0 | 4196823.1358 | 63.6558 | M | 1 | 1 | 0.03 | 0.08 | 0.16 | 0.3 | 0.5 | 0.7 | 0.84 | 0.92 | 0.97 | 1
15 | 731 | 731 Cool Roof - DX / Instruments | 0 | 0 | -1859.414 | 126.471 | 139.596 | 177.5823 | 189.7942 | 201.6516 | 221.7913 | 235.6897 | 241.2835 | 226.596 | 237.3147 | 232.2678 | 266.7522 | 243.346 | 257.0335 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1137.7556 | -11.6467 | 0.99413 | 1860.01 | 2541.4581 | 8.4601 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 2541.4581 | 0.43381 | 0 | 4741072.7662 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
15 | 801 | 801 Premium T8, Electronic Ballast / Instruments | 0 | 0 | -278.3545 | 122.8905 | 134.8905 | 172.0008 | 183.4334 | 195.0321 | 214.6795 | 227.578 | 233.6248 | 218.7186 | 229.6717 | 224.9998 | 258.3592 | 236.2655 | 248.9217 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2622.7116 | 1510.0386 | 4.7929 | 275.12 | 2460.8413 | 1.2924 | No | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 2460.8413 | 0.40463 | 0.28215 | 18500460.3848 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
15 | 802 | 802 CFL Hardwired, Modular 18W / Instruments | 0 | 0 | -1215.841 | 288.114 | 317.239 | 404.6716 | 432.0544 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 226.238 | 6.3175 | 1.0042 | 1374.08 | 5786.7513 | 2.7449 | No | No | Yes | Keep | 372.8763 | 2 | 27.14% | 123 | 30.34% | 5786.7513 | 1.0801 | 0.6635 | 655815.019 | 9.9471 | M | 1 | 1 | 0.03 | 0.08 | 0.16 | 0.3 | 0.5 | 0.7 | 0.84 | 0.92 | 0.97 | 1
15 | 803 | 803 CFL Screw-in 18W / Instruments | 0 | 0 | -31.931 | 288.114 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 256.183 | 238.6904 | 1.7622 | 190.17 | 5786.7513 | 0.37988 | Yes | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 5786.7513 | 1.0801 | 0.6635 | 655815.019 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
15 | 804 | 804 High Bay T5 / Instruments | 0 | 0 | -267.8334 | 264.4616 | 291.5866 | 370.1764 | 393.8259 | 419.0925 | 461.7116 | 488.7741 | 501.2116 | 472.1491 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3395.1561 | 2362.2569 | 5.4789 | 404.42 | 5301.7981 | 0.88176 | Yes | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 5301.7981 | 0.70263 | 0.60789 | 956103.4359 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
15 | 805 | 805 Occupancy Sensor / Instruments | 0 | 0 | -434.2538 | 101.6412 | 111.8912 | 142.7574 | 151.7808 | 160.6041 | 177.1568 | 187.9146 | 193.0553 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 792.5477 | 473.6374 | 1.8861 | 411.52 | 2032.9532 | 2.3399 | No | No | Yes | Keep | 59.7855 | 2 | 14.53% | 123 | 30.34% | 2032.9532 | 0.055359 | 0.23312 | 6492147.8675 | 98.4704 | M | 1 | 1 | 0.03 | 0.08 | 0.16 | 0.3 | 0.5 | 0.7 | 0.84 | 0.92 | 0.97 | 1
15 | 901 | 901 Replace V-belts / Instruments | 0 | 0 | -123.7299 | 0.39515 | 0.52015 | 0.52698 | 0.52015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -121.7674 | -122.0582 | 0.01566 | 1 | 6.3883 | 1.8095 | No | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 6.3883 | 0.00084658 | 0.00073247 | 5725707.7263 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 101 | 101 Compressed Air-O&M / Misc | 0 | 0 | -140.2415 | 93.5085 | 102.6335 | 130.4548 | 139.1013 | 146.9792 | 162.4773 | 171.9032 | 176.3407 | 166.575 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1149.7319 | 786.0773 | 4.3883 | 109 | 1866.5816 | 0.67503 | Yes | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 1866.5816 | 0.23318 | 0.20135 | 9228124.8609 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 102 | 102 Compressed Air - Controls / Misc | 0 | 0 | -240.5833 | 70.2917 | 77.4167 | 98.3327 | 104.3688 | 110.4186 | 122.0885 | 129.362 | 133.0339 | 125.1198 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 729.8492 | 456.2888 | 2.4767 | 186 | 1403.599 | 1.5318 | No | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 1403.599 | 0.17535 | 0.15141 | 3076041.6203 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 103 | 103 Compressed Air - System Optimization / Misc | 0 | 0 | -179.9521 | 118.0479 | 130.1729 | 165.3067 | 175.6836 | 186.5244 | 205.3213 | 217.6651 | 223.9307 | 210.626 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1453.3265 | 992.8247 | 4.3541 | 173 | 2365.3243 | 0.84547 | Yes | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 2365.3243 | 0.29549 | 0.25515 | 6152083.2406 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 104 | 104 Compressed Air- Sizing / Misc | 0 | 0 | -122.7318 | 50.2682 | 55.6432 | 70.9264 | 75.5583 | 79.3542 | 88.276 | 92.6823 | 96.4245 | 90.5963 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 576.9976 | 379.5666 | 3.2068 | 49 | 1012.6388 | 0.55935 | Yes | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 1012.6388 | 0.1265 | 0.10924 | 4921666.5925 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 105 | 105 Comp Air - Replace 1-5 HP motor / Misc | 0 | 0 | -684.0369 | 15.9631 | 17.8381 | 22.7102 | 23.8 | 25.1096 | 27.8225 | 29.4984 | 30.1077 | 28.9671 | 29.7952 | 29.4046 | 33.0296 | 30.3421 | 31.6859 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -307.9628 | -451.8502 | 0.3545 | 577 | 320.569 | 20.8064 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 320.569 | 0.040047 | 0.03458 | 513821.9923 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 106 | 106 Comp Air - ASD (1-5 hp) / Misc | 0 | 0 | -917.4368 | 34.8132 | 38.0632 | 48.4216 | 51.4401 | 54.2204 | 60.1726 | 63.6922 | 66.1141 | 61.8953 | 64.3328 | 63.5828 | 72.161 | 65.536 | 69.3948 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -103.5967 | -415.4137 | 0.56318 | 828 | 690.9492 | 13.8524 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 690.9492 | 0.0078063 | 0.074543 | 479619.171 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 107 | 107 Comp Air - Motor practices-1 (1-5 HP) / Misc | 0 | 0 | -326.0494 | 25.4506 | 28.0756 | 35.4438 | 38.3481 | 39.9174 | 44.1225 | 46.3725 | 48.0288 | 45.7944 | 47.435 | 46.4819 | 52.7319 | 48.0756 | 51.5605 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 271.7894 | 42.7154 | 1.1217 | 228 | 510.91 | 5.1586 | No | No | No | Keep | 139.6041 | 2 | 61.23% | 123 | 30.34% | 510.91 | 0.063826 | 0.055113 | 590599.9911 | 8.958 | M | 3 | 3 | 0.09 | 0.24 | 0.48 | 0.9 | 1.5 | 2.1 | 2.52 | 2.76 | 2.91 | 3
16 | 108 | 108 Comp Air - Replace 6-100 HP motor / Misc | 0 | 0 | -425.3919 | 19.1081 | 21.2331 | 26.9665 | 28.072 | 29.8874 | 32.4441 | 34.6238 | 35.7722 | 33.7956 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -163.4888 | -237.1416 | 0.4659 | 321 | 377.5601 | 9.8279 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 377.5601 | 0.047167 | 0.040728 | 2723404.209 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 109 | 109 Comp Air - ASD (6-100 hp) / Misc | 0 | 0 | -117.5779 | 34.5471 | 37.7971 | 47.8576 | 51.1184 | 53.6525 | 60.0158 | 62.8049 | 65.6955 | 60.7814 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 356.6923 | 223.013 | 2.4769 | 28 | 686.0252 | 0.4718 | Yes | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 686.0252 | 0.0077506 | 0.074011 | 4052854.8101 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 110 | 110 Comp Air - Motor practices-1 (6-100 HP) / Misc | 0 | 0 | -167.1981 | 13.0519 | 14.1769 | 18.1388 | 19.2502 | 20.5138 | 22.0675 | 23.4504 | 24.4582 | 23.005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.9147 | -39.226 | 0.78208 | 57 | 255.455 | 2.5793 | No | No | Yes | Drop | NA | NA | NA | 123 | 5.628% | 255.455 | 0.031913 | 0.027556 | 4392587.4338 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 111 | 111 Comp Air - Replace 100+ HP motor / Misc | 0 | 0 | -202.4966 | 16.8784 | 18.6284 | 23.6079 | 25.2563 | 26.7641 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -91.3615 | -111.4175 | 0.49124 | 96 | 336.4289 | 3.2985 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 336.4289 | 0.042029 | 0.036291 | 2772620.8749 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 112 | 112 Comp Air - ASD (100+ hp) / Misc | 0 | 0 | -151.5779 | 34.5471 | 37.7971 | 47.8576 | 51.0627 | 53.6525 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 73.339 | 32.8503 | 1.1776 | 62 | 685.758 | 1.0451 | No | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 685.758 | 0.0077477 | 0.073983 | 6776169.5535 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 113 | 113 Comp Air - Motor practices-1 (100+ HP) / Misc | 0 | 0 | -137.956 | 8.419 | 8.669 | 11.711 | 12.5314 | 12.297 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -84.3285 | -93.9502 | 0.35651 | 23 | 159.6594 | 1.6652 | No | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 159.6594 | 0.019946 | 0.017223 | 7296370.7234 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 201 | 201 Fans - O&M / Misc | 0 | 0 | -123.3109 | 11.0641 | 11.8141 | 14.9625 | 16.2594 | 17.3248 | 18.611 | 19.7476 | 20.3179 | 19.5601 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26.3506 | -15.8134 | 0.88199 | 11 | 215.0295 | 0.59134 | Yes | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 215.0295 | 0.026863 | 0.023196 | 2284837.5899 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 202 | 202 Fans - Controls / Misc | 0 | 0 | -920.8668 | 205.8832 | 226.7582 | 287.7289 | 306.4457 | 325.1596 | 358.2192 | 379.6567 | 389.4067 | 365.9145 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1924.3058 | 1122.3385 | 1.9994 | 1000 | 4120.2423 | 2.8056 | No | No | Yes | Keep | 287.1299 | 2 | 28.71% | 123 | 30.34% | 4120.2423 | 0.51473 | 0.44446 | 1142418.795 | 17.3278 | N | 1 | 1 | 0.03 | 0.08 | 0.16 | 0.3 | 0.5 | 0.7 | 0.84 | 0.92 | 0.97 | 1
16 | 203 | 203 Fans - System Optimization / Misc | 0 | 0 | -637.9367 | 136.9383 | 151.4383 | 191.5486 | 204.0584 | 216.6697 | 238.2117 | 252.4305 | 259.8289 | 244.3445 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1257.5321 | 723.1682 | 1.9355 | 650 | 2748.5319 | 2.7337 | No | No | Yes | Keep | 174.4585 | 2 | 26.84% | 123 | 30.34% | 2748.5319 | 0.16216 | 0.29651 | 685451.277 | 10.3967 | N | 1 | 1 | 0.03 | 0.08 | 0.16 | 0.3 | 0.5 | 0.7 | 0.84 | 0.92 | 0.97 | 1
16 | 204 | 204 Fans- Improve components / Misc | 0 | 0 | -149.8075 | 27.8175 | 30.4425 | 38.8732 | 41.2862 | 43.6163 | 47.8019 | 50.5519 | 52.5206 | 49.5206 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 232.6231 | 124.8556 | 1.7054 | 54 | 554.3729 | 1.126 | No | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 554.3729 | 0.069256 | 0.059801 | 913935.036 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 205 | 205 Fans - Replace 1-5 HP motor / Misc | 0 | 0 | -684.0369 | 15.9631 | 17.8381 | 22.7102 | 23.8 | 25.1096 | 27.8225 | 29.4984 | 30.1077 | 28.9671 | 29.7952 | 29.4046 | 33.0296 | 30.3421 | 31.6859 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -307.9628 | -451.8502 | 0.3545 | 577 | 320.569 | 20.8064 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 320.569 | 0.040047 | 0.03458 | 190829.6355 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 206 | 206 Fans - ASD (1-5 hp) / Misc | 0 | 0 | -917.1828 | 34.8172 | 38.0672 | 48.4256 | 51.6942 | 54.2244 | 60.1766 | 63.4422 | 66.3641 | 61.1453 | 64.8328 | 63.5828 | 72.161 | 65.536 | 69.4735 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -103.2398 | -415.0822 | 0.56353 | 828 | 692.745 | 13.8165 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 692.745 | 0.0078267 | 0.074736 | 169367.6669 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 207 | 207 Fans - Motor practices-1 (1-5 HP) / Misc | 0 | 0 | -326.0494 | 25.4506 | 28.0756 | 35.4438 | 38.3481 | 39.9174 | 44.1225 | 46.3725 | 48.0288 | 45.7944 | 47.435 | 46.4819 | 52.7319 | 48.0756 | 51.5605 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 271.7894 | 42.7154 | 1.1217 | 228 | 510.91 | 5.1586 | No | No | No | Keep | 139.6041 | 2 | 61.23% | 123 | 30.34% | 510.91 | 0.063826 | 0.055113 | 219344.4086 | 3.3269 | N | 3.3269 | -1 | 0.099808 | 0.26615 | 0.53231 | 0.99808 | 1.6635 | 2.3289 | 2.7946 | 3.0608 | 3.2271 | 3.3269
16 | 208 | 208 Fans - Replace 6-100 HP motor / Misc | 0 | 0 | -425.3919 | 19.1081 | 21.2331 | 26.9665 | 28.072 | 29.8874 | 32.4441 | 34.6238 | 35.7722 | 33.7956 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -163.4888 | -237.1416 | 0.4659 | 321 | 377.5601 | 9.8279 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 377.5601 | 0.047167 | 0.040728 | 1011451.9043 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 209 | 209 Fans - ASD (6-100 hp) / Misc | 0 | 0 | -117.4529 | 34.6721 | 38.0471 | 48.1076 | 51.1184 | 53.6525 | 60.0158 | 63.0549 | 65.6955 | 60.7814 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 357.6923 | 223.8444 | 2.4824 | 28 | 687.5624 | 0.47075 | Yes | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 687.5624 | 0.007768 | 0.074177 | 1448612.5297 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 210 | 210 Fans - Motor practices-1 (6-100 HP) / Misc | 0 | 0 | -167.1981 | 13.0519 | 14.1769 | 18.1388 | 19.2502 | 20.5138 | 22.0675 | 23.4504 | 24.4582 | 23.005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.9147 | -39.226 | 0.78208 | 57 | 255.455 | 2.5793 | No | No | Yes | Drop | NA | NA | NA | 123 | 5.628% | 255.455 | 0.031913 | 0.027556 | 1631374.0392 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 211 | 211 Fans - Replace 100+ HP motor / Misc | 0 | 0 | -202.4966 | 16.8784 | 18.6284 | 23.6079 | 25.2563 | 26.7641 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -91.3615 | -111.4175 | 0.49124 | 96 | 336.4289 | 3.2985 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 336.4289 | 0.042029 | 0.036291 | 1029730.605 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 212 | 212 Fans - ASD (100+ hp) / Misc | 0 | 0 | -151.5779 | 34.6721 | 38.0471 | 48.1076 | 51.0627 | 53.6525 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 73.964 | 33.3954 | 1.1805 | 62 | 686.3691 | 1.0442 | No | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 686.3691 | 0.0077546 | 0.074049 | 2479168.1435 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 213 | 213 Fans - Motor practices-1 (100+ HP) / Misc | 0 | 0 | -137.956 | 8.419 | 8.669 | 11.711 | 12.5314 | 12.297 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -84.3285 | -93.9502 | 0.35651 | 23 | 159.6594 | 1.6652 | No | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 159.6594 | 0.019946 | 0.017223 | 2709817.3816 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 301 | 301 Pumps - O&M / Misc | 0 | 0 | -121.5344 | 56.5906 | 62.2156 | 79.074 | 84.2019 | 89.0515 | 98.3171 | 104.0124 | 107.6531 | 101.2468 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 660.8285 | 440.1388 | 3.4867 | 54 | 1132.3361 | 0.55127 | Yes | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 1132.3361 | 0.14146 | 0.12215 | 2396923.9622 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 302 | 302 Pumps - Controls / Misc | 0 | 0 | -220.5197 | 198.1053 | 218.6053 | 277.0399 | 294.7498 | 313.159 | 344.8475 | 365.1953 | 375.039 | 352.2968 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2518.5181 | 1746.4857 | 5.2084 | 292 | 3966.6929 | 0.85094 | Yes | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 3966.6929 | 0.49554 | 0.4279 | 2097308.467 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 303 | 303 Pumps - System Optimization / Misc | 0 | 0 | -613.8112 | 228.1888 | 251.9388 | 318.9632 | 339.3363 | 360.5765 | 396.8138 | 421.1185 | 431.2826 | 406.1419 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2540.5492 | 1651.4533 | 2.9707 | 715 | 4567.6288 | 1.8095 | No | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 4567.6288 | 0.57062 | 0.49272 | 1797692.9717 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 304 | 304 Pumps - Sizing / Misc | 0 | 0 | -215.8879 | 126.2371 | 139.8621 | 176.6287 | 188.322 | 200.1697 | 219.823 | 233.4558 | 240.0105 | 225.7215 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1534.3425 | 1040.8029 | 4.0612 | 217 | 2534.276 | 0.9898 | Yes | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 2534.276 | 0.3166 | 0.27338 | 1198461.9811 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 305 | 305 Pumps - Replace 1-5 HP motor / Misc | 0 | 0 | -684.0369 | 15.9631 | 17.8381 | 22.7102 | 23.8 | 25.1096 | 27.8225 | 29.4984 | 30.1077 | 28.9671 | 29.7952 | 29.4046 | 33.0296 | 30.3421 | 31.6859 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -307.9628 | -451.8502 | 0.3545 | 577 | 320.569 | 20.8064 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 320.569 | 0.040047 | 0.03458 | 250238.8617 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 306 | 306 Pumps - ASD (1-5 hp) / Misc | 0 | 0 | -917.3118 | 34.8132 | 38.0632 | 48.4216 | 51.6345 | 54.2204 | 60.1726 | 63.4422 | 66.2157 | 61.3953 | 64.8328 | 63.3328 | 72.161 | 65.786 | 69.4735 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -103.3471 | -415.2365 | 0.56337 | 828 | 692.1136 | 13.8291 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 692.1136 | 0.0078196 | 0.074668 | 226127.2516 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 307 | 307 Pumps - Motor practices-1 (1-5 HP) / Misc | 0 | 0 | -326.0494 | 25.4506 | 28.0756 | 35.4438 | 38.3481 | 39.9174 | 44.1225 | 46.3725 | 48.0288 | 45.7944 | 47.435 | 46.4819 | 52.7319 | 48.0756 | 51.5605 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 271.7894 | 42.7154 | 1.1217 | 228 | 510.91 | 5.1586 | No | No | No | Keep | 139.6041 | 2 | 61.23% | 123 | 30.34% | 510.91 | 0.063826 | 0.055113 | 287630.8755 | 4.3627 | N | 1 | 1 | 0.03 | 0.08 | 0.16 | 0.3 | 0.5 | 0.7 | 0.84 | 0.92 | 0.97 | 1
16 | 308 | 308 Pumps - Replace 6-100 HP motor / Misc | 0 | 0 | -425.3919 | 19.1081 | 21.2331 | 26.9665 | 28.072 | 29.8874 | 32.4441 | 34.6238 | 35.7722 | 33.7956 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -163.4888 | -237.1416 | 0.4659 | 321 | 377.5601 | 9.8279 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 377.5601 | 0.047167 | 0.040728 | 1326337.8745 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 309 | 309 Pumps - ASD (6-100 hp) / Misc | 0 | 0 | -117.5779 | 34.6721 | 38.0471 | 48.1076 | 51.3684 | 53.6525 | 59.7658 | 63.0549 | 65.6955 | 60.7814 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 357.5673 | 223.7424 | 2.4817 | 28 | 686.9727 | 0.47115 | Yes | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 686.9727 | 0.0077614 | 0.074114 | 1928021.2854 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 310 | 310 Pumps - Motor practices-1 (6-100 HP) / Misc | 0 | 0 | -167.1981 | 13.0519 | 14.1769 | 18.1388 | 19.2502 | 20.5138 | 22.0675 | 23.4504 | 24.4582 | 23.005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.9147 | -39.226 | 0.78208 | 57 | 255.455 | 2.5793 | No | No | Yes | Drop | NA | NA | NA | 123 | 5.628% | 255.455 | 0.031913 | 0.027556 | 2139254.6363 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 311 | 311 Pumps - Replace 100+ HP motor / Misc | 0 | 0 | -202.4966 | 16.8784 | 18.6284 | 23.6079 | 25.2563 | 26.7641 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -91.3615 | -111.4175 | 0.49124 | 96 | 336.4289 | 3.2985 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 336.4289 | 0.042029 | 0.036291 | 1350307.1141 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 312 | 312 Pumps - ASD (100+ hp) / Misc | 0 | 0 | -151.5941 | 34.4059 | 37.7809 | 47.7819 | 51.0466 | 53.5739 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72.9953 | 32.5546 | 1.176 | 62 | 685.5287 | 1.0455 | No | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 685.5287 | 0.007745 | 0.073958 | 3318543.1112 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 313 | 313 Pumps - Motor practices-1 (100+ HP) / Misc | 0 | 0 | -137.956 | 8.419 | 8.669 | 11.711 | 12.5314 | 12.297 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -84.3285 | -93.9502 | 0.35651 | 23 | 159.6594 | 1.6652 | No | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 159.6594 | 0.019946 | 0.017223 | 3553439.774 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 416 | 416 Process Drives - ASD / Misc | 0 | 0 | -139.8238 | 3.2862 | 3.4112 | 4.5293 | 5.0733 | 5.0743 | 5.708 | 5.2862 | 5.9815 | 5.458 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -96.0159 | -108.2556 | 0.2409 | 19.61 | 61.7655 | 3.6701 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 61.7655 | 0.0077161 | 0.0066628 | 8172272.4644 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 428 | 428 Drives - Scheduling / Misc | 0 | 0 | -203.7995 | 27.8255 | 30.2005 | 38.6312 | 41.35 | 43.3744 | 47.5599 | 50.3099 | 52.6459 | 49.5287 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 177.6266 | 70.0882 | 1.3034 | 108 | 551.4421 | 2.2639 | No | No | Yes | Keep | 12.5914 | 2 | 11.66% | 123 | 30.34% | 551.4421 | 0.012594 | 0.059491 | 2680016.3032 | 40.6495 | N | 5 | 5 | 0.15 | 0.4 | 0.8 | 1.5 | 2.5 | 3.5 | 4.2 | 4.6 | 4.85 | 5
16 | 430 | 430 Efficient Machinery / Misc | 0 | 0 | -172.1257 | 19.1243 | 21.2493 | 27.0422 | 28.6995 | 30.2161 | 32.5774 | 35.0383 | 36.054 | 34.4055 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92.2807 | 17.822 | 1.0933 | 68 | 382.5813 | 2.0546 | No | No | Yes | Keep | 1.8071 | 2 | 2.658% | 123 | 30.34% | 382.5813 | 0.047794 | 0.04127 | 2791683.6492 | 42.3432 | N | 10 | 10 | 0.3 | 0.8 | 1.6 | 3 | 5 | 7 | 8.4 | 9.2 | 9.7 | 10
16 | 509 | 509 Efficient Curing ovens / Misc | 0 | 0 | -866.2145 | 125.0355 | 137.7855 | 174.597 | 185.7728 | 197.3754 | 217.434 | 230.7971 | 236.8596 | 222.5002 | 232.9534 | 228.5784 | 261.5627 | 239.0627 | 252.7502 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2076.8502 | 948.407 | 1.959 | 866 | 2504.461 | 3.9971 | No | No | No | Keep | 432.6868 | 2 | 49.96% | 123 | 30.34% | 2504.461 | 0.31287 | 0.27016 | 1368918.8626 | 20.7632 | N | 1 | 1 | 0.03 | 0.08 | 0.16 | 0.3 | 0.5 | 0.7 | 0.84 | 0.92 | 0.97 | 1
16 | 605 | 605 Process control / Misc | 0 | 0 | -274.3557 | 22.2693 | 23.8943 | 30.7986 | 33.1668 | 33.9949 | 37.9568 | 40.1678 | 41.8162 | 39.2381 | 40.3631 | 39.9568 | 45.8006 | 41.4881 | 45.1131 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 241.6687 | 43.8619 | 1.1482 | 173 | 438.9262 | 4.5561 | No | No | No | Keep | 97.0585 | 2 | 56.1% | 123 | 30.34% | 438.9262 | 0.054833 | 0.047348 | 177088.0664 | 2.686 | N | 30 | 30 | 0.9 | 2.4 | 4.8 | 9 | 15 | 21 | 25.2 | 27.6 | 29.1 | 30
16 | 701 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Misc | 0 | 0 | -218.9776 | 64.1024 | 70.6024 | 89.6385 | 95.3719 | 100.6717 | 111.4539 | 117.9149 | 122.0086 | 114.1336 | 119.493 | 116.9461 | 133.7586 | 122.3211 | 129.9149 | 131.4774 | 142.5086 | 147.5086 | 152.6649 | 157.2899 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020.8034 | 962.8708 | 4.4135 | 159.08 | 1284.4294 | 1.4317 | No | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 1284.4294 | 0.040121 | 0.0086609 | 4168293.8744 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 702 | 702 High Efficiency Chiller Motors / Misc | 0 | 0 | -194.9737 | 16.8663 | 18.3663 | 23.5958 | 25.1886 | 26.502 | 29.1319 | 30.7804 | 31.9366 | 30.1944 | 31.5069 | 30.5538 | 34.8975 | 32.0225 | 33.9449 | 34.5074 | 37.8824 | 38.3512 | 40.5699 | 41.1324 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 392.9577 | 115.2167 | 1.5445 | 88.59 | 337.183 | 3.0371 | No | No | No | Keep | 30.2518 | 2 | 34.15% | 123 | 30.34% | 337.183 | 0.052655 | 0.0022733 | 3751464.487 | 56.9008 | N | 4 | 4 | 0.12 | 0.32 | 0.64 | 1.2 | 2 | 2.8 | 3.36 | 3.68 | 3.88 | 4
16 | 703 | 703 EMS - Chiller / Misc | 0 | 0 | -337.8897 | 59.1953 | 64.3203 | 81.8838 | 86.7793 | 92.624 | 101.4844 | 107.9141 | 110.8516 | 104.2266 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 471.3897 | 243.3592 | 1.615 | 272.71 | 1172.645 | 2.6883 | No | No | Yes | Keep | 69.823 | 2 | 25.6% | 123 | 30.34% | 1172.645 | 0.036629 | 0.0079071 | 235810.8052 | 3.5767 | N | 4 | 4 | 0.12 | 0.32 | 0.64 | 1.2 | 2 | 2.8 | 3.36 | 3.68 | 3.88 | 4
16 | 704 | 704 Chiller Tune Up/Diagnostics / Misc | 0 | 0 | -321.2422 | 44.6878 | 49.0628 | 61.8724 | 66.722 | 70.0081 | 77.2894 | 81.6372 | 84.8481 | 79.1606 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 294.0462 | 120.6038 | 1.3307 | 241.68 | 886.978 | 3.1497 | No | No | No | Keep | 88.2181 | 2 | 36.5% | 123 | 30.34% | 886.978 | 0.13851 | 0.0059801 | 1563110.2029 | 23.7087 | N | 1 | 1 | 0.03 | 0.08 | 0.16 | 0.3 | 0.5 | 0.7 | 0.84 | 0.92 | 0.97 | 1
16 | 705 | 705 VSD for Chiller Pumps and Towers / Misc | 0 | 0 | -259.511 | 55.514 | 60.889 | 77.2386 | 82.1644 | 86.9505 | 95.7874 | 101.4593 | 105.0062 | 98.6859 | 102.9671 | 100.7015 | 114.9828 | 104.9515 | 111.514 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1039.3013 | 541.6068 | 2.7254 | 190.9 | 1106.5832 | 1.9942 | No | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 1106.5832 | 0.034565 | 0.0074617 | 1929847.1187 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 706 | 706 EMS Optimization - Chiller / Misc | 0 | 0 | -168.8357 | 27.2893 | 30.1643 | 38.0949 | 41.008 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -32.2792 | -53.1018 | 0.72838 | 72.5 | 545.8328 | 1.5354 | No | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 545.8328 | 0.085238 | 0.0036801 | 1563110.2029 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 707 | 707 Aerosol Duct Sealing - Chiller / Misc | 0 | 0 | -158.5611 | 54.8689 | 60.6189 | 77.1247 | 81.9948 | 87.3464 | 96.1892 | 101.6267 | 105.0407 | 98.447 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 604.6961 | 389.33 | 2.8349 | 89.18 | 1102.9779 | 0.93464 | Yes | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 1102.9779 | 0.17224 | 0.0074364 | 2032043.2638 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 708 | 708 Duct/Pipe Insulation - Chiller / Misc | 0 | 0 | -7501.985 | 55.135 | 61.135 | 77.4387 | 82.8713 | 87.6633 | 96.5959 | 102.0334 | 105.8225 | 99.0569 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6734.2331 | -6950.8521 | 0.080103 | 7433.12 | 1108.7225 | 77.498 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 1108.7225 | 0.17314 | 0.0074752 | 1875732.2435 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 709 | 709 Window Film (Standard) - Chiller / Misc | 0 | 0 | -409.5489 | 29.2811 | 32.7811 | 41.5136 | 44.0028 | 46.7811 | 51.2343 | 54.5117 | 56.5977 | 52.9258 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.080334 | -115.5118 | 0.73647 | 315.33 | 592.8923 | 6.148 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 592.8923 | 0.092587 | 0.0039974 | 1718736.2619 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 710 | 710 Roof Insulation - Chiller / Misc | 0 | 0 | -455.0476 | 24.7974 | 27.5474 | 35.1656 | 37.5699 | 39.1392 | 43.3443 | 46.3443 | 47.2506 | 44.7662 | 46.6568 | 45.7037 | 52.2037 | 47.7974 | 50.9537 | 51.7974 | 56.0162 | 57.0787 | 59.8599 | 62.0474 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 420.9923 | 6.9389 | 1.0145 | 356.72 | 501.8547 | 8.2166 | No | No | No | Keep | 269.8908 | 2 | 75.66% | 123 | 30.34% | 501.8547 | 0.07837 | 0.0033836 | 1250488.1623 | 18.9669 | M | 1 | 1 | 0.03 | 0.08 | 0.16 | 0.3 | 0.5 | 0.7 | 0.84 | 0.92 | 0.97 | 1
16 | 711 | 711 Cool Roof - Chiller / Misc | 0 | 0 | -3211.5414 | 138.4786 | 152.7286 | 194.2149 | 207.5157 | 220.3731 | 242.6582 | 256.9004 | 263.8223 | 247.5723 | 259.1036 | 254.0879 | 291.4473 | 266.3223 | 281.3223 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65.0061 | -1191.507 | 0.64401 | 3224.02 | 2781.0839 | 13.4007 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 2781.0839 | 0.4343 | 0.01875 | 1412653.1376 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 721 | 721 DX Packaged System, EER=10.9, 10 tons / Misc | 0 | 0 | -440.2198 | 29.1602 | 32.2852 | 40.9209 | 43.5898 | 46.1758 | 50.4492 | 53.7227 | 55.4258 | 52.2383 | 54.3945 | 53.1133 | 60.5977 | 55.2539 | 59.1602 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 246.2675 | -16.7268 | 0.96434 | 346.13 | 585.8445 | 6.8297 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 585.8445 | 0.045747 | 0 | 8175844.3442 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 722 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Misc | 0 | 0 | -1225.407 | 195.178 | 215.178 | 273.6721 | 291.3889 | 310.5393 | 341.5374 | 362.1505 | 370.9787 | 348.9708 | 365.3302 | 357.8146 | 410.3927 | 374.8302 | 396.0026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3388.5572 | 1619.1928 | 2.1431 | 1293.46 | 3916.8716 | 3.8173 | No | No | No | Keep | 615.7764 | 2 | 47.61% | 123 | 30.34% | 3916.8716 | 0.61167 | 0 | 4087922.1721 | 62.004 | N | 1 | 1 | 0.03 | 0.08 | 0.16 | 0.3 | 0.5 | 0.7 | 0.84 | 0.92 | 0.97 | 1
16 | 723 | 723 Geothermal Heat Pump, EER=13, 10 tons / Misc | 0 | 0 | -3157.292 | 74.223 | 81.598 | 103.9378 | 111.2503 | 117.3138 | 129.0667 | 136.8636 | 140.3167 | 132.0667 | 138.473 | 135.4574 | 155.1917 | 142.2542 | 150.3792 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1408.8998 | -2079.1979 | 0.35621 | 3106.64 | 1483.1718 | 24.2126 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 1483.1718 | 0.23276 | 0 | 2023521.4752 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 724 | 724 DX Tune Up/ Advanced Diagnostics / Misc | 0 | 0 | -272.6055 | 25.1845 | 27.8095 | 35.4755 | 37.8759 | 39.4531 | 43.497 | 46.4736 | 48.1689 | 44.8876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 76.2202 | -22.1124 | 0.92562 | 174.29 | 505.1781 | 3.9881 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 505.1781 | 0.083645 | 0 | 2023521.4752 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 725 | 725 DX Coil Cleaning / Misc | 0 | 0 | -125.1969 | 24.1281 | 26.7531 | 34.2687 | 36.4582 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5887 | -22.154 | 0.85127 | 25.95 | 485.3913 | 0.618 | Yes | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 485.3913 | 0.079177 | 0 | 3065941.6291 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 726 | 726 Optimize Controls / Misc | 0 | 0 | -154.0855 | 25.1845 | 27.8095 | 35.4755 | 37.8759 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -27.74 | -47.0147 | 0.73701 | 55.77 | 505.1781 | 1.2761 | No | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 505.1781 | 0.083645 | 0 | 1436291.856 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 727 | 727 Aerosol Duct Sealing / Misc | 0 | 0 | -125.3229 | 50.5021 | 55.6271 | 71.007 | 75.9025 | 79.9416 | 88.5724 | 93.4434 | 96.459 | 90.2793 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 576.4115 | 378.4801 | 3.1696 | 51.45 | 1011.7969 | 0.58781 | Yes | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 1011.7969 | 0.16299 | 0 | 2829059.7164 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 728 | 728 Duct/Pipe Insulation / Misc | 0 | 0 | -4362.0718 | 50.5182 | 55.8932 | 71.0768 | 75.9743 | 80.2702 | 88.6979 | 93.362 | 96.6276 | 90.6276 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3659.024 | -3857.3308 | 0.12559 | 4288.34 | 1016.6288 | 48.7606 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 1016.6288 | 0.16451 | 0 | 2611439.7382 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 729 | 729 Window Film (Standard) / Misc | 0 | 0 | -288.6402 | 25.8498 | 28.5998 | 36.8742 | 39.0832 | 41.1076 | 45.5686 | 47.5451 | 49.8733 | 46.3811 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72.2425 | -29.5202 | 0.90598 | 190.99 | 521.1765 | 4.2361 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 521.1765 | 0.084651 | 0 | 2392866.1403 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 730 | 730 Roof Insulation / Misc | 0 | 0 | -306.3412 | 23.2088 | 25.2088 | 32.116 | 34.7586 | 36.0779 | 40.1932 | 42.9275 | 44.0994 | 41.0369 | 42.6775 | 42.3494 | 48.1775 | 43.9275 | 46.9427 | 47.5989 | 51.2552 | 52.7864 | 55.0364 | 56.7552 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500.7928 | 119.6032 | 1.3638 | 205.8 | 460.6606 | 5.1642 | No | No | No | Keep | 126.0981 | 2 | 61.27% | 123 | 30.34% | 460.6606 | 0.075797 | 0 | 1740959.8255 | 26.4062 | M | 1 | 1 | 0.03 | 0.08 | 0.16 | 0.3 | 0.5 | 0.7 | 0.84 | 0.92 | 0.97 | 1
16 | 731 | 731 Cool Roof - DX / Misc | 0 | 0 | -1859.2689 | 126.6161 | 139.6161 | 177.7987 | 189.7587 | 201.6083 | 221.4208 | 234.8349 | 241.3974 | 226.5067 | 237.7255 | 232.4599 | 266.6474 | 243.7724 | 257.1312 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.0251 | -11.5189 | 0.99419 | 1860.01 | 2541.4627 | 8.4601 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 2541.4627 | 0.40893 | 0 | 1966729.8212 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 801 | 801 Premium T8, Electronic Ballast / Misc | 0 | 0 | -277.9634 | 122.7816 | 135.1566 | 172.2181 | 183.0882 | 194.7464 | 214.555 | 227.9222 | 233.5863 | 219.3753 | 229.8285 | 224.9535 | 257.9378 | 235.9378 | 248.6253 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2622.7492 | 1510.345 | 4.7937 | 275.12 | 2460.8412 | 1.2924 | No | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 2460.8412 | 0.38142 | 0.26546 | 9627645.1106 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 802 | 802 CFL Hardwired, Modular 18W / Misc | 0 | 0 | -1215.5668 | 288.0132 | 317.2632 | 403.9907 | 432.1177 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 225.8178 | 6.0032 | 1.004 | 1374.08 | 5786.7512 | 2.7449 | No | No | Yes | Keep | 372.8763 | 2 | 27.14% | 123 | 30.34% | 5786.7512 | 1.0181 | 0.62423 | 308412.4655 | 4.6779 | M | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 803 | 803 CFL Screw-in 18W / Misc | 0 | 0 | -31.6568 | 288.0132 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 256.3563 | 238.8699 | 1.7627 | 190.17 | 5786.7512 | 0.37988 | Yes | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 5786.7512 | 1.0181 | 0.62423 | 308412.4655 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 804 | 804 High Bay T5 / Misc | 0 | 0 | -267.5753 | 264.2197 | 291.8447 | 370.0283 | 393.4179 | 418.6855 | 460.8212 | 488.6259 | 500.5478 | 471.5947 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3392.2102 | 2360.3526 | 5.4753 | 404.42 | 5301.7979 | 0.88176 | Yes | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 5301.7979 | 0.66233 | 0.57192 | 83271.9247 | NA | M | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | 805 | 805 Occupancy Sensor / Misc | 0 | 0 | -434.5844 | 101.5606 | 111.8106 | 142.1143 | 151.1173 | 159.9415 | 176.0137 | 186.7403 | 192.1309 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 786.8449 | 469.5236 | 1.8784 | 411.52 | 2032.9658 | 2.3399 | No | No | Yes | Keep | 59.7833 | 2 | 14.53% | 123 | 30.34% | 2032.9658 | 0.052184 | 0.21932 | 3277210.8713 | 49.7075 | M | 1 | 1 | 0.03 | 0.08 | 0.16 | 0.3 | 0.5 | 0.7 | 0.84 | 0.92 | 0.97 | 1
16 | 901 | 901 Replace V-belts / Misc | 0 | 0 | -123.7299 | 0.39515 | 0.52015 | 0.52698 | 0.52015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -121.7674 | -122.0582 | 0.01566 | 1 | 6.3883 | 1.8095 | No | Yes | Yes | Drop | NA | NA | NA | 123 | 5.628% | 6.3883 | 0.00079801 | 0.00068912 | 4908486.3007 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
19 | 806 | 806 LED Linear Tube 22W (per unit) / All | 0 | 0 | -163.8777 | 6.8223 | 7.0723 | 9.7081 | 10.5294 | 10.2843 | 11.4942 | 11.8732 | 12.8029 | 12.1076 | 12.1232 | 12.2795 | 13.5764 | 13.1076 | 13.2175 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.879 | -66.9166 | 0.60684 | 47.2 | 132.4 | 4.1209 | No | No | No | Drop | NA | NA | NA | 123 | 5.628% | 132.4 | 0.04 | 0.026 | 120822192 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
19 | 807 | 807 Flood LED 14W (per unit) / All | 0 | 0 | -149.2877 | 6.6973 | 7.0723 | 9.7081 | 10.4727 | 10.0343 | 11.2442 | 11.8692 | 12.4005 | 11.8536 | 12.1192 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -45.8162 | -77.1094 | 0.50447 | 32.61 | 129.1 | 2.9199 | No | No | Yes | Drop | NA | NA | NA | 123 | 5.628% | 129.1 | 0.04 | 0.03 | 5082046 | NA | N | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
19 | 808 | 808 LED High Bay 83W (per unit) / All | 0 | 0 | -372.2607 | 52.0343 | 57.1593 | 73.7677 | 78.7013 | 83.4953 | 92.7609 | 97.7062 | 100.4953 | 94.1906 | 99.2531 | 96.55 | 110.8156 | 101.0656 | 106.6593 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 872.3939 | 394.6333 | 1.9348 | 299.17 | 1051.2 | 3.2898 | No | No | No | Keep | 117.295 | 2 | 39.21% | 123 | 30.34% | 1051.2 | 0.3175 | 0.20288 | 10519180 | 159.5509 | N | 50 | 50 | 1.5 | 4 | 8 | 15 | 25 | 35 | 42 | 46 | 48.5 | 50
19 | 732 | 732 Run Time Optimizer / All | 0 | 0 | -2695.5047 | 543.6203 | 599.3703 | 762.7448 | 812.7297 | 864.4748 | 950.9016 | 1009.6047 | 1033.8859 | 970.2141 | 1018.0891 | 997.1672 | 1145.3078 | 1046.4953 | 1104.5114 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10163.612 | 5231.5408 | 2.6207 | 3105 | 10915 | 3.2884 | No | No | No | Keep | 1216.5245 | 2 | 39.18% | 123 | 30.34% | 10915 | 1.7 | 0 | 22419958 | 340.0573 | M | 10 | 10 | 0.3 | 0.8 | 1.6 | 3 | 5 | 7 | 8.4 | 9.2 | 9.7 | 10
19 | 733 | 733 Dehumidification Hybrid Desiccant Heat Pump PER 5 TON / All | 0 | 0 | -2285.662 | 352.838 | 387.463 | 497.2921 | 533.296 | 566.8341 | 624.1349 | 661.6583 | 676.0255 | 632.1974 | 668.5724 | 653.1817 | 750.713 | 688.213 | 722.463 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6129.22 | 2898.8159 | 2.1052 | 2500 | 7172 | 4.0294 | No | No | No | Keep | 1259.1254 | 2 | 50.37% | 123 | 30.34% | 7172 | 1.78 | 2.5 | 70329745 | 1066.7344 | M | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[36 empty] | 666056.4338 | [5 empty] | 255 | 240412.1051 |  |  | 282107.0837 |  |  | 5.1382 | 4.3373 |  | 30.5867 |  | 2.4601 |  | 0.073794 | 0.19678 | 0.39357 | 0.73794 | 1.2299 | 1.7219 | 2.0662 | 2.263 | 2.386 | 2.4598
[52 empty] | 5.1382 |  | 0.34701 |  | 0.010408 | 0.027754 | 0.055508 | 0.10408 | 0.17346 | 0.24285 | 0.29142 | 0.31917 | 0.33652 | 0.34693
[52 empty] | 4.3373 |  | 0.28893 |  | 0.0086647 | 0.023106 | 0.046212 | 0.086647 | 0.14441 | 0.20218 | 0.24261 | 0.26572 | 0.28016 | 0.28882
4
Note on BJ23: ICF Part
Note on BJ94: ICF Part
Note on BJ164: ICF Part
Note on BJ236: ICF Part
Note on BJ307: ICF Part
Note on BJ378: ICF Part
Note on BJ451: ICF Part
Note on BJ525: ICF Part
Note on BJ597: ICF Part
Note on BJ670: ICF Part
Note on BJ744: ICF Part
Note on BJ818: ICF Part
Note on BJ892: ICF Part
Note on BJ964: ICF Part
Note on BJ1037: ICF Part
Note on BJ1109: ICF Part
Note on BK23: -1 means use ICF
Note on BK94: -1 means use ICF
Note on BK164: -1 means use ICF
Note on BK236: -1 means use ICF
Note on BK307: -1 means use ICF
Note on BK378: -1 means use ICF
Note on BK451: -1 means use ICF
Note on BK525: -1 means use ICF
Note on BK597: -1 means use ICF
Note on BK670: -1 means use ICF
Note on BK744: -1 means use ICF
Note on BK818: -1 means use ICF
Note on BK892: -1 means use ICF
Note on BK964: -1 means use ICF
Note on BK1037: -1 means use ICF
Note on BK1109: -1 means use ICF

## Payback-Acceptance
Payback | Max Adoption Rate
Year | Residential | industrial
0 | 60% | 90%
0.05 | 59.62% | 88.49%
0.1 | 59.23% | 86.98%
0.15 | 58.85% | 85.48%
0.2 | 58.47% | 83.97%
0.25 | 58.08% | 82.46%
0.3 | 57.63% | 80.89%
0.35 | 57.17% | 79.32%
0.4 | 56.71% | 77.75%
0.45 | 56.26% | 76.18%
0.5 | 55.8% | 74.61%
0.55 | 55.31% | 73.23%
0.6 | 54.82% | 71.84%
0.65 | 54.33% | 70.45%
0.7 | 53.84% | 69.07%
0.75 | 53.35% | 67.68%
0.8 | 52.88% | 66.15%
0.85 | 52.41% | 64.62%
0.9 | 51.94% | 63.09%
0.95 | 51.47% | 61.56%
1 | 51% | 60.03%
1.05 | 50.56% | 58.49%
1.1 | 50.13% | 56.94%
1.15 | 49.69% | 55.4%
1.2 | 49.25% | 53.86%
1.25 | 48.82% | 52.32%
1.3 | 48.35% | 50.86%
1.35 | 47.89% | 49.4%
1.4 | 47.42% | 47.94%
1.45 | 46.96% | 46.49%
1.5 | 46.49% | 45.03%
1.55 | 46.02% | 43.58%
1.6 | 45.54% | 42.14%
1.65 | 45.07% | 40.69%
1.7 | 44.59% | 39.25%
1.75 | 44.12% | 37.8%
1.8 | 43.64% | 36.31%
1.85 | 43.17% | 34.81%
1.9 | 42.7% | 33.32%
1.95 | 42.23% | 31.83%
2 | 41.76% | 30.34%
2.05 | 41.3% | 29.01%
2.1 | 40.84% | 27.67%
2.15 | 40.39% | 26.34%
2.2 | 39.93% | 25.01%
2.25 | 39.47% | 23.68%
2.3 | 39.04% | 22.92%
2.35 | 38.61% | 22.16%
2.4 | 38.18% | 21.4%
2.45 | 37.74% | 20.64%
2.5 | 37.31% | 19.88%
2.55 | 36.91% | 19.47%
2.6 | 36.51% | 19.05%
2.65 | 36.12% | 18.64%
2.7 | 35.72% | 18.23%
2.75 | 35.32% | 17.81%
2.8 | 34.96% | 17.5%
2.85 | 34.59% | 17.2%
2.9 | 34.23% | 16.89%
2.95 | 33.87% | 16.58%
3 | 33.51% | 16.28%
3.05 | 33.19% | 16.07%
3.1 | 32.87% | 15.87%
3.15 | 32.55% | 15.66%
3.2 | 32.23% | 15.46%
3.25 | 31.92% | 15.25%
3.3 | 31.64% | 15.08%
3.35 | 31.37% | 14.9%
3.4 | 31.1% | 14.72%
3.45 | 30.82% | 14.55%
3.5 | 30.55% | 14.37%
3.55 | 30.33% | 14.21%
3.6 | 30.11% | 14.04%
3.65 | 29.89% | 13.87%
3.7 | 29.67% | 13.7%
3.75 | 29.45% | 13.54%
3.8 | 29.24% | 13.38%
3.85 | 29.04% | 13.22%
3.9 | 28.83% | 13.06%
3.95 | 28.62% | 12.9%
4 | 28.41% | 12.75%
4.05 | 28.22% | 12.6%
4.1 | 28.03% | 12.45%
4.15 | 27.84% | 12.31%
4.2 | 27.65% | 12.16%
4.25 | 27.46% | 12.01%
4.3 | 27.28% | 11.87%
4.35 | 27.1% | 11.74%
4.4 | 26.91% | 11.6%
4.45 | 26.73% | 11.46%
4.5 | 26.55% | 11.33%
4.55 | 26.4% | 11.2%
4.6 | 26.25% | 11.07%
4.65 | 26.1% | 10.94%
4.7 | 25.95% | 10.81%
4.75 | 25.8% | 10.68%
4.8 | 25.68% | 10.56%
4.85 | 25.55% | 10.44%
4.9 | 25.42% | 10.32%
4.95 | 25.29% | 10.2%
5 | 25.17% | 10.08%
5.05 | 25.04% | 9.976%
5.1 | 24.91% | 9.873%
5.15 | 24.78% | 9.77%
5.2 | 24.65% | 9.666%
5.25 | 24.51% | 9.563%
5.3 | 24.38% | 9.471%
5.35 | 24.25% | 9.379%
5.4 | 24.12% | 9.286%
5.45 | 23.98% | 9.194%
5.5 | 23.85% | 9.101%
5.55 | 23.71% | 9.02%
5.6 | 23.58% | 8.938%
5.65 | 23.44% | 8.856%
5.7 | 23.31% | 8.774%
5.75 | 23.17% | 8.692%
5.8 | 23.04% | 8.621%
5.85 | 22.9% | 8.549%
5.9 | 22.76% | 8.478%
5.95 | 22.63% | 8.406%
6 | 22.49% | 8.335%
6.05 | 22.35% | 8.273%
6.1 | 22.21% | 8.212%
6.15 | 22.07% | 8.151%
6.2 | 21.94% | 8.089%
6.25 | 21.8% | 8.028%
6.3 | 21.67% | 7.967%
6.35 | 21.55% | 7.905%
6.4 | 21.42% | 7.844%
6.45 | 21.29% | 7.782%
6.5 | 21.17% | 7.721%
6.55 | 21.04% | 7.67%
6.6 | 20.92% | 7.618%
6.65 | 20.79% | 7.567%
6.7 | 20.66% | 7.516%
6.75 | 20.54% | 7.465%
6.8 | 20.41% | 7.413%
6.85 | 20.28% | 7.362%
6.9 | 20.15% | 7.311%
6.95 | 20.03% | 7.259%
7 | 19.9% | 7.208%
7.05 | 19.78% | 7.167%
7.1 | 19.67% | 7.126%
7.15 | 19.56% | 7.084%
7.2 | 19.44% | 7.043%
7.25 | 19.33% | 7.002%
7.3 | 19.22% | 6.961%
7.35 | 19.1% | 6.919%
7.4 | 18.99% | 6.878%
7.45 | 18.87% | 6.836%
7.5 | 18.76% | 6.795%
7.55 | 18.64% | 6.754%
7.6 | 18.53% | 6.712%
7.65 | 18.42% | 6.671%
7.7 | 18.3% | 6.629%
7.75 | 18.19% | 6.588%
7.8 | 18.09% | 6.556%
7.85 | 17.99% | 6.525%
7.9 | 17.88% | 6.494%
7.95 | 17.78% | 6.463%
8 | 17.68% | 6.431%
8.05 | 17.58% | 6.4%
8.1 | 17.48% | 6.368%
8.15 | 17.38% | 6.337%
8.2 | 17.28% | 6.306%
8.25 | 17.18% | 6.274%
8.3 | 17.08% | 6.243%
8.35 | 16.98% | 6.211%
8.4 | 16.88% | 6.179%
8.45 | 16.78% | 6.148%
8.5 | 16.68% | 6.116%
8.55 | 16.59% | 6.095%
8.6 | 16.5% | 6.074%
8.65 | 16.42% | 6.053%
8.7 | 16.33% | 6.031%
8.75 | 16.24% | 6.01%
8.8 | 16.16% | 5.989%
8.85 | 16.07% | 5.967%
8.9 | 15.99% | 5.946%
8.95 | 15.9% | 5.924%
9 | 15.81% | 5.903%
9.05 | 15.73% | 5.881%
9.1 | 15.64% | 5.86%
9.15 | 15.55% | 5.838%
9.2 | 15.47% | 5.816%
9.25 | 15.38% | 5.795%
9.3 | 15.31% | 5.784%
9.35 | 15.24% | 5.773%
9.4 | 15.16% | 5.762%
9.45 | 15.09% | 5.751%
9.5 | 15.02% | 5.74%
9.55 | 14.95% | 5.729%
9.6 | 14.87% | 5.718%
9.65 | 14.8% | 5.706%
9.7 | 14.73% | 5.695%
9.75 | 14.66% | 5.684%
9.8 | 14.58% | 5.673%
9.85 | 14.51% | 5.662%
9.9 | 14.44% | 5.65%
9.95 | 14.37% | 5.639%
10 | 14.29% | 5.628%

## Assumptions
Assumptions
1 | Started with updated Technical Potential completed on 9/30/13
2 | Used unstacked Impacts from ITRON, except where measure matched existing DEF measure, DEF impacts were applied.
3 | Impacts are adjusted for Codes and Standards 2015
4 | Included new measures provided by stakeholders and adjusted for FL specific conditions
5 | Used commission prescribed cost effectiveness test for RIM and TRC
6 | RIM and TRC Benefits are equal see tab: RIM & TRC Benefits
7 | RIM Economic Potential uses only lost revenue on cost side of equation
8 | TRC Economic Potential uses only incremental customer cost on cost side of equation
9 | Participation is from Program Managers where available or ICF Adoption curve
10 | Where Program Managers' projections exceeded Applicable Participants from ITRON, Participation set to Applicable Participants
11 | Base Case provided by DEF IRP group on 11/11/13
12 | DEF Retail rates provided by DEF Regulatory Planning on 12/23
13 | Program Costs based on Florida experience as filed in ECCR
14 | Incentive projections were calculated as either the inentive level that brought measure to two year payback or the residual net benefit
15 | For Achievable Potential all measures screened at 2 year payback