## Input
Answer questions 1 thru 16 to complete evaluation. Press RUN for results. (See Title & Results). |  |  |  | Do Not Print this page
1 | Program Title | Com. PV
2 | Demand & Energy Savings
| Winter kW | 1.611
| Summer kW | 3.557
| kWh | 17188
3 | Switch (1=Conservation, 0=Load Management) | 1
4 | Switch (1=Residential, 0=Commercial) | 0
ADJUSTED
5 | Participation | Annual |  |  |  | Cumulative | CUMULATIVE
|  | Total Partic. |  |  |  | Total Partic. | PARTICIPATING
| YEAR | Customers |  |  | YEAR | Customers | CUSTOMERS
| 2015 | 1000 | 1 |  | 2015 | 1000 | 1000
| 2016 | 1000 | 2 |  | 2016 | 2000 | 2000
| 2017 | 1000 | 3 |  | 2017 | 3000 | 3000
| 2018 | 1000 | 4 |  | 2018 | 4000 | 4000
| 2019 | 0 | 5 |  | 2019 | 4000 | 4000
| 2020 | 0 | 6 |  | 2020 | 4000 | 4000
| 2021 | 0 | 7 |  | 2021 | 4000 | 4000
| 2022 | 0 | 8 |  | 2022 | 4000 | 4000
| 2023 | 0 | 9 |  | 2023 | 4000 | 4000
| 2024 | 0 |  |  | 2024 | 4000 | 4000
| 2025 | 0 |  |  | 2025 | 4000 | 4000
| 2026 | 0 |  |  | 2026 | 4000 | 4000
| 2027 | 0 |  |  | 2027 | 4000 | 4000
| 2028 | 0 |  |  | 2028 | 4000 | 4000
| 2029 | 0 |  |  | 2029 | 4000 | 4000
[5 empty] | 2030 | 4000 | 4000
[5 empty] | 2031 | 4000 | 4000
6 | Free Riders | 0% |  |  | 2032 | 4000 | 4000
7 | Study Period for Conservation Program | 25 | Years |  | 2033 | 4000 | 4000
8 | Utility Non Recurring Cost Per Customer | 0 | $/CUST |  | 2034 | 4000 | 4000
9 | Utility Recurring Cost Per Customer (Load Management) | 0 | $/CUST/YR |  | 2035 | 4000 | 4000
10 | Customer Equipment Cost | 38453 | $/CUST |  | 2036 | 4000 | 4000
11 | Customer O & M Cost | 215 | $/CUST/YR |  | 2037 | 4000 | 4000
12 | Customer Tax Credit Per Installation | 0 | $/CUST |  | 2038 | 4000 | 4000
13 | Increased Supply Costs | 0 | $/CUST/YR |  | 2039 | 4000 | 4000
14 | Utility Non Recurring Rebate/Incentive | 0 | $/CUST |  | 2040 | 4000 | 4000
15 | Utility Recurring Rebate/Incentive (Load Management) | 0 | $/CUST/YR
16 | Diversity and Annual Demand | N/A
| Adjustment Factor for Customer Bill: | 1
See Participation C,D,E,F 73
See Participation F_22 F5,6

## Title_RESULTS
Residential
|  | INPUT DATA - PART 1 |  |  |  | PSC FORM CE 1.1 | [9 empty] | Formula Entry | X |  | 0 | <= INPUT % FREE RIDERS; | Summer EUE | 0.686 |  | LOLP CALC | Forced Outage Rate | 0.034 | 0.966
|  | PROGRAM TITLE: | Com. PV |  |  | PAGE 1 OF 1 | [9 empty] | Com./Res. Toggle | X |  |  | THEN PARTICIPANTS IN COL. (1). | Winter EUE | 0.314 |  | PERCENT RED: | Line Loss | 0.066 | 0.934
[6 empty] | RUN DATE: | 2026-07-30 02:52 | [8 empty] | LdMgt. Toggle |  |  |  | 36980.3772 |  |  |  | 25 | Multiplier (see U4) | 0.90224
Study Period (Years)
| PROGRAM DEMAND SAVINGS & LINE LOSSES |  |  |  | AVOIDED GENERATOR, TRANS. & DIST COSTS | [10 empty] | Macros | [8 empty] | Commercial
I. | (1) CUSTOMER KW REDUCTION AT THE METER | 3.557 | KW /CUST | IV. | (1) BASE YEAR | 2015 | [18 empty] | Forced Outage Rate | 0.034 | 0.966
I. | (2) GENERATOR KW REDUCTION PER CUSTOMER | 3.2617 | KW GEN/CUST | IV. | (2) IN-SERVICE YEAR FOR AVOIDED GENERATING UNIT | 2019 |  |  | 1.03 | [6 empty] | What Changes | [8 empty] | Line Loss | 0.065 | 0.935
I. | (3) KW LINE LOSS PERCENTAGE | 7 | % | IV. | (3) IN-SERVICE YEAR FOR AVOIDED T & D | 2016 |  | 3.2651 | Residential | 2013 | 2014 | 2015 |  |  |  | Res Ld. Mgmt. | Comm | Comm/LDMgmt | [6 empty] | Multiplier (see U4) | 0.90321
I. | (4) GENERATION KWH REDUCTION PER CUSTOMER | 18130.8017 | KWH/CUST/YR | IV. | (4) BASE YEAR AVOIDED GENERATING UNIT COST | 650.6394 | $/KW | 3.2617 | Commercial | 613.29 | 631.6887 | 650.6394
I. | (5) KWH LINE LOSS PERCENTAGE | 5.2 | % | IV. | (5) BASE YEAR AVOIDED TRANSMISSION COST | 0 | $/KW | 0 |  | 11.24 | 11.5772 | 11.9245 |  |  |  |  | Gen KW |  |  |  |  | 0.29775 | REDUCTION @
I. | (6) GROUP LINE LOSS MULTIPLIER | 1 |  | IV. | (6) BASE YEAR DISTRIBUTION COST | 0 | $/KW | 571.47 | 1.024 | 54.63 | 56.2689 | 57.957 |  |  |  | Residential | Commercial |  |  |  |  | 0.33975 | 0.25
I. | (7) CUSTOMER KWH PROGRAM INCREASE AT METER | 0 | KWH/CUST/YR | IV. | (7) GEN, TRAN, & DIST COST ESCALATION RATE | 3 | % | [7 empty] | kW | 7.3 | 7% | 7% |  |  |  | 746.25
I. | (8)* CUSTOMER KWH REDUCTION AT METER | 17188 | KWH/CUST/YR | IV. | (8) GENERATOR FIXED O & M COST | 11.9538 | $/KW/YR |  |  | 11.4 | 11.6736 | 11.9538
|  |  |  | IV. | (9) GENERATOR FIXED O&M ESCALATION RATE | 2.4 | % |  |  | 2014 | 2015 |  |  |  | kWh | 5.6 | 5.2% | 5.2%
| ECONOMIC LIFE & K FACTORS |  |  | IV. | (10) TRANSMISSION FIXED O & M COST | 2.9184 | $/KW/YR |  |  | 2.85 | 2.9184
II. | (1) STUDY PERIOD FOR CONSERVATION PROGRAM | 25 | YEARS | IV. | (11) DISTRIBUTION FIXED O & M COST | 11.6941 | $/KW/YR |  |  | 11.42 | 11.6941
II. | (2) GENERATOR ECONOMIC LIFE | 25 | YEARS | IV. | (12) T&D FIXED O&M ESCALATION RATE | 2.4 | % | [8 empty] | GEN KW=
II. | (3) T & D ECONOMIC LIFE | 25 | YEARS | IV. | (13) AVOIDED GEN UNIT VARIABLE O & M COSTS | 0.18 | CENTS/KWH | 1.8 | 0.0018
II. | (4) K FACTOR FOR GENERATION | 1.4625 |  | IV. | (14) GENERATOR VARIABLE O&M COST ESCALATION RATE | 2.4 | % |  | 0.18
II. | (5) K FACTOR FOR T & D | 1.4625 |  | IV. | (15) GENERATOR CAPACITY FACTOR | 13.2 | % |  |  | 2019 | 2018 | 2017 | 2016 | 2015
| (6)* SWITCH REV REQ(0) OR VAL-OF-DEF (1) | 0 |  | IV. | (16) AVOIDED GENERATING UNIT FUEL COST | 4.5623 | CENTS/KWH |  | 1.0521 | 5.59 | 5.3132 | 5.0501 | 4.8 | 4.5623
|  |  |  | IV. | (17) AVOIDED GEN UNIT FUEL ESCALATION RATE | 5.21 | % | 9.4
|  |  |  | IV. | (18)* AVOIDED PURCHASE CAPACITY COST PER KW | 0 | $/KW/YR | 7.7
| UTILITY & CUSTOMER COSTS |  |  | IV. | (19)* CAPACITY COST ESCALATION RATE | 0 | % | 6.6
III. | (1) UTILITY NONRECURRING COST PER CUSTOMER | 0 | $/CUST |  |  |  |  | 7.9
III. | (2) UTILITY RECURRING COST PER CUSTOMER | 0 | $/CUST/YR
III. | (3) UTILITY COST ESCALATION RATE | 2.4 | % |  |  |  |  | Non-Fuel | Res | GSD Rate (2010)
III. | (4) CUSTOMER EQUIPMENT COST | 38453 | $/CUST |  | NON-FUEL ENERGY AND DEMAND CHARGES |  |  | Base Rate | 4.598 | 1.583 |  | kWh
III. | (5) CUSTOMER EQUIPMENT ESCALATION RATE | 2.4 | % | V. | (1) NON-FUEL COST IN CUSTOMER BILL | 2.5959 | CENTS/KWH | Fuel |  |  | 0
III. | (6) CUSTOMER O & M COST | 215 | $/CUST/YR | V. | (2) NON-FUEL ESCALATION RATE | 1 | % | ECCR | 0.295 | 0 | 0.78 | kW
III. | (7) CUSTOMER O & M ESCALATION RATE | 2.4 | % | V. | (3) CUSTOMER DEMAND CHARGE PER KW | 9.64 | $/KW/MO | Capacity | 0.202 | 0 | 0.63 | kw
III. | (8)* CUSTOMER TAX CREDIT PER INSTALLATION | 0 | $/CUST | V. | (4) DEMAND CHARGE ESCALATION RATE | 1 | % | ECRC | 0.483 | 0.477 | 0 | kwh
III. | (9)* CUSTOMER TAX CREDIT ESCALATION RATE | 0 | % | V. | (5)* DIVERSITY and ANNUAL DEMAND ADJUSTMENT |  |  | 2.5959 | 5.578 | 2.06 | 1.41 |  | Energy
III. | (10)* INCREASED SUPPLY COSTS | 0 | $/CUST/YR |  | FACTOR FOR CUSTOMER BILL | 1 |  | 9.64 |  |  |  |  | Demand
III. | (11)* SUPPLY COSTS ESCALATION RATE | 0 | % | [7 empty] | 9.82 | 8.41
III. | (12)* UTILITY DISCOUNT RATE | 0.0734
III. | (13)* UTILITY AFUDC RATE | 0.0645 |  |  | CALCULATED BENEFITS AND COSTS
III. | (14)* UTILITY NON RECURRING REBATE/INCENTIVE | 0 | $/CUST |  | (1)* TRC TEST - BENEFIT/COST RATIO | 0.38612
III. | (15)* UTILITY RECURRING REBATE/INCENTIVE | 0 | $/CUST/YR |  | (2)* PARTICIPANT NET BENEFITS (NPV) | 0.50174
III. | (16)* UTILITY REBATE/INCENTIVE ESCAL RATE | 0 | % |  | (3)* RIM TEST - BENEFIT/COST RATIO | 0.76957
END OF EDITING AREA
YEARLY INPUT DATA: GO TO H5..Q76 & INPUT (Page 2)
PLEASE NOTE: UTILITY NON-LEVELIZED REVENUE REQUIREMENT
FACTORS AT RANGE NAMES GEN_RRTBL AND TRAN_RRTBL.

## Participation
[6 empty] | See N16 for Rev Requirements |  | Do Not Print
PROGRAM TITLE:
2026-07-30 02:52
VI. YEARLY INPUT DATA
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) |  |  | Generation
[14 empty] | Comb. Cycle | Tran & Dist
|  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK |  |  | Rev Reqm't | Rev Reqm't
| CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER |  |  |  | FACTORS | FACTORS
| TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR | [5 empty] | ---- | ----
|  |  | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
2015 | 1000 | 1000 | 3.92 | 4.03 | 0 | 3.92 | 1 | 1 | 0 | 0 | 0 |  | 2019 | 0.16963 | 0.16963 | 0.17935 | 0
2016 | 2000 | 2000 | 3.94 | 3.71 | 0 | 3.94 | 1 | 1 | 0 | 0 | 0 |  | 2020 | 0.16335 | 0.16335 | 0.17255 | 0
2017 | 3000 | 3000 | 3.94 | 3.34 | 0 | 3.94 | 1 | 1 | 0 | 0 | 0 |  | 2021 | 0.15625 | 0.15625 | 0.16486 | 0
2018 | 4000 | 4000 | 4.12 | 3.61 | 0 | 4.12 | 1 | 1 | 0 | 0 | 0 |  | 2022 | 0.14957 | 0.14957 | 0.15762 | 0
2019 | 4000 | 4000 | 4.33 | 3.8 | 0 | 4.33 | 1 | 1 | 0 | 0 | 0 |  | 2023 | 0.14326 | 0.14326 | 0.15079 | 0
2020 | 4000 | 4000 | 4.56 | 4.08 | 0 | 4.56 | 1 | 1 | 0 | 0 | 0 |  | 2024 | 0.13729 | 0.13729 | 0.14432 | 0
2021 | 4000 | 4000 | 4.68 | 4.4 | 0 | 4.7 | 1 | 1 | 0 | 0 | 0 |  | 2025 | 0.13155 | 0.13155 | 0.13811 | 0.02
2022 | 4000 | 4000 | 4.85 | 4.68 | 0 | 4.85 | 1 | 1 | 0 | 0 | 0 |  | 2026 | 0.12589 | 0.12589 | 0.13197 | 0
2023 | 4000 | 4000 | 5.06 | 4.92 | 0 | 5.06 | 1 | 1 | 0 | 0 | 0 |  | 2027 | 0.12023 | 0.12023 | 0.12584 | 0
2024 | 4000 | 4000 | 5.28 | 5.31 | 0 | 5.3 | 1 | 1 | 0 | 0 | 0 |  | 2028 | 0.11457 | 0.11457 | 0.11971 | 0.02
2025 | 4000 | 4000 | 5.42 | 5.7 | 0 | 5.44 | 1 | 1 | 0 | 0 | 0 |  | 2029 | 0.10891 | 0.10891 | 0.11358 | 0.02
2026 | 4000 | 4000 | 5.53 | 5.87 | 0 | 5.53 | 1 | 1 | 0 | 0 | 0 |  | 2030 | 0.10325 | 0.10325 | 0.10745 | 0
2027 | 4000 | 4000 | 5.62 | 6.08 | 0 | 5.63 | 1 | 1 | 0 | 0 | 0 |  | 2031 | 0.097586 | 0.097586 | 0.10132 | 0.01
2028 | 4000 | 4000 | 5.76 | 6.32 | 0 | 5.75 | 1 | 1 | 0 | 0 | 0 |  | 2032 | 0.091926 | 0.091926 | 0.095187 | -0.01
2029 | 4000 | 4000 | 5.97 | 6.79 | 0 | 5.98 | 1 | 1 | 0 | 0 | 0 |  | 2033 | 0.086265 | 0.086265 | 0.089056 | 0.01
2030 | 4000 | 4000 | 6.12 | 7.01 | 0 | 6.12 | 1 | 1 | 0 | 0 | 0 |  | 2034 | 0.081285 | 0.081285 | 0.083662 | 0
2031 | 4000 | 4000 | 6.31 | 7.43 | 0 | 6.32 | 1 | 1 | 0 | 0 | 0 |  | 2035 | 0.077667 | 0.077667 | 0.079743 | 0.01
2032 | 4000 | 4000 | 6.58 | 7.85 | 0 | 6.59 | 1 | 1 | 0 | 0 | 0 |  | 2036 | 0.07473 | 0.07473 | 0.076562 | 0.01
2033 | 4000 | 4000 | 6.89 | 8.27 | 0 | 6.89 | 1 | 1 | 0 | 0 | 0 |  | 2037 | 0.071793 | 0.071793 | 0.07338 | 0
2034 | 4000 | 4000 | 7.14 | 8.4 | 0 | 7.14 | 1 | 1 | 0 | 0 | 0 |  | 2038 | 0.068855 | 0.068855 | 0.070199 | 0
2035 | 4000 | 4000 | 7.6 | 9.2 | 0 | 7.59 | 1 | 1 | 0 | 0 | 0 |  | 2039 | 0.065918 | 0.065918 | 0.067017 | -0.01
2036 | 4000 | 4000 | 8.27 | 9.71 | 0 | 8.28 | 1 | 1 | 0 | 0 | 0 |  | 2040 | 0.062981 | 0.062981 | 0.063836 | 0.01
2037 | 4000 | 4000 | 8.83 | 10.5 | 0 | 8.83 | 1 | 1 | 0 | 0 | 0 |  | 2041 | 0.060043 | 0.060043 | 0.060654 | 0
2038 | 4000 | 4000 | 9.66 | 11.42 | 0 | 9.67 | 1 | 1 | 0 | 0 | 0 |  | 2042 | 0.057106 | 0.057106 | 0.057472 | 0.01
2039 | 4000 | 4000 | 10.18 | 12.18 | 0 | 10.19 | 1 | 1 | 0 | 0 | 0 |  | 2043 | 0.054169 | 0.054169 | 0.054291 | 0.01
2040 | 4000 | 4000 | 10.73 | 12.76 | 0 | 10.74 | 1 | 1 | 0 | 0 | 0 |  | 2044 | 0 | 0 |  | 0.01
2041 | 0 | 0 | 11.53 | 13.56 | 0 | 11.54 | 1 | 1 | 0 | 0 | 0 |  | 2045 | 0 | 0 |  | 0.01
2042 | 0 | 0 | 12.07 | 14.01 | 0 | 12.07 | 1 | 1 | 0 | 0 | 0 |  | 2046 | 0 | 0 |  | 0
2043 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |  | 2047 | 0 | 0 |  | 0
2044 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |  | 2048 | 0 | 0 |  | 0
2045 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |  | 2049 | 0 | 0
2046 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2047 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2048 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2049 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2
1
Unit Size of Avoided Generation Unit | (2): 13047
|  | (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
|  |  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK
|  | CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER
|  | TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
| YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR
|  |  | 0 | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
| 2015 | 1000 | 1000 | 3.92 | 4.03 | 0 | 0 | 1 | 1 | 0 | 0 | 2.02
| 2016 | 2000 | 2000 | 3.94 | 3.71 | 0 | 0 | 1 | 1 | 0 | 0 | 2.1
| 2017 | 3000 | 3000 | 3.94 | 3.34 | 0 | 0 | 1 | 1 | 0 | 0 | 2.4
| 2018 | 4000 | 4000 | 4.12 | 3.61 | 0 | 0 | 1 | 1 | 0 | 0 | 2.41
| 2019 | 4000 | 4000 | 4.33 | 3.8 | 0 | 0 | 1 | 1 | 0 | 0 | 2.79
| 2020 | 4000 | 4000 | 4.56 | 4.08 | 0 | 0 | 1 | 1 | 0 | 0 | 3.05
| 2021 | 4000 | 4000 | 4.68 | 4.4 | 0 | 0 | 1 | 1 | 0 | 0 | 3.18
| 2022 | 4000 | 4000 | 4.85 | 4.68 | 0 | 0 | 1 | 1 | 0 | 0 | 3.07
| 2023 | 4000 | 4000 | 5.06 | 4.92 | 0 | 0 | 1 | 1 | 0 | 0 | 3.49
| 2024 | 4000 | 4000 | 5.28 | 5.31 | 0 | 0 | 1 | 1 | 0 | 0 | 3.53
| 2025 | 4000 | 4000 | 5.42 | 5.7 | 0 | 0 | 1 | 1 | 0 | 0 | 3.81
| 2026 | 4000 | 4000 | 5.53 | 5.87 | 0 | 0 | 1 | 1 | 0 | 0 | 4.29
| 2027 | 4000 | 4000 | 5.62 | 6.08 | 0 | 0 | 1 | 1 | 0 | 0 | 4.43
| 2028 | 4000 | 4000 | 5.76 | 6.32 | 0 | 0 | 1 | 1 | 0 | 0 | 4.61
| 2029 | 4000 | 4000 | 5.97 | 6.79 | 0 | 0 | 1 | 1 | 0 | 0 | 5.23
| 2030 | 4000 | 4000 | 6.12 | 7.01 | 0 | 0 | 1 | 1 | 0 | 0 | 5.38
| 2031 | 4000 | 4000 | 6.31 | 7.43 | 0 | 0 | 1 | 1 | 0 | 0 | 5.63
| 2032 | 4000 | 4000 | 6.58 | 7.85 | 0 | 0 | 1 | 1 | 0 | 0 | 6.18
| 2033 | 4000 | 4000 | 6.89 | 8.27 | 0 | 0 | 1 | 1 | 0 | 0 | 6.57
| 2034 | 4000 | 4000 | 7.14 | 8.4 | 0 | 0 | 1 | 1 | 0 | 0 | 6.76
| 2035 | 4000 | 4000 | 7.6 | 9.2 | 0 | 0 | 1 | 1 | 0 | 0 | 7.26
| 2036 | 4000 | 4000 | 8.27 | 9.71 | 0 | 0 | 1 | 1 | 0 | 0 | 7.3
| 2037 | 4000 | 4000 | 8.83 | 10.5 | 0 | 0 | 1 | 1 | 0 | 0 | 7.35
| 2038 | 4000 | 4000 | 9.66 | 11.42 | 0 | 0 | 1 | 1 | 0 | 0 | 8.21
| 2039 | 4000 | 4000 | 10.18 | 12.18 | 0 | 0 | 1 | 1 | 0 | 0 | 8.04
| 2040 | 4000 | 4000 | 10.73 | 12.76 | 0 | 0 | 1 | 1 | 0 | 0 | 8.31
| 2041 | 0 | 0 | 11.53 | 13.56 | 0 | 0 | 1 | 1 | 0 | 0 | 9.05
| 2042 | 0 | 0 | 12.07 | 14.01 | 0 | 0 | 1 | 1 | 0 | 0 | 8.99
| 2043 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9.37
| 2044 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9.75
| 2045 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2046 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2047 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2048 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2049 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0

## f-11B
|  | CALCULATION OF AFUDC AND IN-SERVICE COST OF PLANT | [7 empty] | PSC FORM CE 1.1B
|  |  |  | PLANT: | 2019 | Avoided Unit |  |  |  | PAGE 1 OF 1
2026-07-30 02:52
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
| NO. YEARS | PLANT | CUMULATIVE |  |  | CUMULATIVE | CUMULATIVE | YEARLY | INCREMENTAL | CUMULATIVE | <-- INPUTS FOR OTHER COSTS & BENEFITS - EXTERNALLY CALC., FORMS 2.3, 2.4, & 2.5 -->
| BEFORE | ESCALATION | ESCALATION | YEARLY | ANNUAL | AVERAGE | SPENDING | TOTAL | YEAR-END | YEAR-END |  | (1) | (2) | (3) | (4) | (5) | (6)
| INSERVICE | RATE | FACTOR | EXPENDITURE | SPENDING | SPENDING | WITH AFUDC | AFUDC | BOOK VALUE | BOOK VALUE |  | (1): <-- FORM 2.3 --->; (3): <---- FORM 2.4 --->; (5): <---- FORM 2.5 ---->
YEAR |  | (%) |  | (%) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | YEAR | OTHER COST | OTHER BEN | OTH COST | OTHER BENEFITS | COSTS | BENEFITS
2009 | [11 empty] | ($000) | ($000) | ($000) | ($000) | ($000) | ($000)
2010 | [10 empty] | 2015 | 0 | 0 | 0 | 0 | 0 | 0
2011 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2016 | 0 | 0 | 0 | 0 | 0 | 0
2012 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0
2013 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0
2014 | -7 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0
2015 | -6 | 0.024 | 1.024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020 | 0 | 0 | 0 | 0 | 0 | 0
2016 | -5 | 0.024 | 1.0486 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2021 | 0 | 0 | 0 | 0 | 0 | 0
2017 | -4 | 0.024 | 1.0737 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022 | 0 | 0 | 0 | 0 | 0 | 0
2018 | -3 | 0.024 | 1.0995 | 0 | 0 | 0 | 0 |  | 0 | 0 | 2023 | 0 | 0 | 0 | 0 | 0 | 0
2019 | -2 | 0.024 | 1.1259 | 0.755 | 557.77 | 540.3366 | 557.77 | 17.4334 | 557.77 | 557.77 | 2024 | 0 | 0 | 0 | 0 | 0 | 0
2020 | -1 | 0.024 | 1.1529 | 0.24 | 216.2732 | 175.7512 | 216.2732 | 40.522 | 216.2732 | 774.0432 | 2025 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 0 | 0.022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2026 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2027 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2028 | 0 | 0 | 0 | 0 | 0 | 0
IN-SERVICE YEAR = |  | 2019 | [6 empty] | 774.0432 |  | 2029 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2030 | 0 | 0 | 0 | 0 | 0 | 0
PLANT COSTS (2013$) |  | 650.6394 | [8 empty] | 2031 | 0 | 0 | 0 | 0 | 0 | 0
AFUDC RATE: |  | 6.45% | [8 empty] | 2032 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2033 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2034 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2035 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2036 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2037 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2038 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2039 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2040 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2041 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2042 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2043 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2044 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2045 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2046 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2047 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2048 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2049 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2050 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2051 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2052 | 0 | 0 | 0 | 0 | 0 | 0
PSC FORM CE 1.1
PAGE 1 OF 1 | bar: (2)
[11 empty] | Run date: | (1): 37062
[12 empty] | 37062.5552 | *
*
2001 | bar: (2)
2004
[7 empty] | 16.2994 | [12 empty] | CONS | TRUCTION PERIOD | VALUES
[20 empty] | ACCUM. | BOOK |  | CWIP IN |  | ACCUM. | DEF | ERRED
[12 empty] | (4): Spending Curve; (6): CONSTR. |  | ACCUM. | CONSTR. | VALUE | DEFERRED | RATE CAPITALIZED | C | APITALIZED | TA | X ON
[12 empty] | (5): YEAR; (6): EXPEND. | AFUDC | AFUDC | EXPEND. | NOT CLOSED | TAXES | BASE INTEREST |  | INTEREST | AF | UDC
[14 empty] | 0.77158 | 0.49261 | 2018 | 110769 | 3572 | 3572 | 110769 | 114341 | 205 | 0. 2355. |  | 2355 |  | 205
[14 empty] | 0.25096 | 0.50739 | 2019 | 36029 | 8307 | 11879 | 36029 | 44336 | 650 | 0. 7292. |  | 9647 |  | 650
[12 empty] | (5): 2019; (6): 0 | 0 | 0 | 0 | 0 | 482 | 0. 0. |  | 0 |  | -34
[12 empty] | (5): IN SER; (6): VICE DATE TOT | ALS | 11864 | 143562 | 155426 |  |  |  | 9647
[12 empty] | (5): 0.75457; (6): 540.3366 | 18.8 |  |  | 557.761 | 557.77
[12 empty] | (5): 0.24543; (6): 175.7512 | 43.7211 |  |  | 216.2732
774.0341
716.0878

## Sheet3(F_21)
|  |  | AVOIDED GENERATION UNIT BENEFITS | [5 empty] | PSC FORM CE 2.1
|  |  | PROGRAM: | Com. PV |  |  |  |  | Page 1 of 1
2026-07-30 02:52
|  | * UNIT SIZE OF AVOIDED GENERATION UNIT = |  |  |  | 13047 | KW
|  | * INSERVICE COSTS OF AVOIDED GEN. UNIT (000) = |  |  |  | 10098.9412
(1) | (1A)* | (2) | (2A)* | (3) | (4) | (5) | (6) | (6A)* | (7)
|  | AVOIDED | AVOIDED | AVOIDED | AVOIDED | AVOIDED |  | AVOIDED
| REVENUE | GEN UNIT | ANNUAL | UNIT | GEN UNIT | GEN UNIT |  | PURCHASED | AVOIDED
| REQUIREMENT | CAPACITY | UNIT | FIXED | VARIABLE | FUEL | REPLACEMENT | CAPACITY | GEN UNIT
| FACTOR | COST | KWH GEN | O&M COST | O&M COST | COST | FUEL COST | COSTS | BENEFITS
YEAR |  | $(000) | (000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019 | 0.16963 | 1713.0663 | 15086.0502 | 171.6591 | 29.8571 | 843.3102 | 653.226 | 0 | 2104.6668
2020 | 0.16335 | 1649.6371 | 15086.0502 | 175.7789 | 30.5737 | 887.2467 | 687.9239 | 0 | 2055.3125
2021 | 0.15625 | 1577.9413 | 15086.0502 | 179.9976 | 31.3075 | 933.4722 | 709.0444 | 0 | 2013.6742
2022 | 0.14957 | 1510.4486 | 15086.0502 | 184.3176 | 32.0588 | 982.1061 | 731.6734 | 0 | 1977.2577
2023 | 0.14326 | 1446.7377 | 15086.0502 | 188.7412 | 32.8282 | 1033.2738 | 763.3541 | 0 | 1938.2268
2024 | 0.13729 | 1386.4335 | 15086.0502 | 193.271 | 33.6161 | 1087.1074 | 799.5607 | 0 | 1900.8673
2025 | 0.13155 | 1328.5068 | 15086.0502 | 197.9095 | 34.4229 | 1143.7457 | 820.6811 | 0 | 1883.9038
2026 | 0.12589 | 1271.3416 | 15086.0502 | 202.6593 | 35.2491 | 1203.3349 | 834.2586 | 0 | 1878.3263
2027 | 0.12023 | 1214.1765 | 15086.0502 | 207.5231 | 36.095 | 1266.0286 | 849.3446 | 0 | 1874.4786
2028 | 0.11457 | 1157.0113 | 15086.0502 | 212.5037 | 36.9613 | 1331.9887 | 867.4479 | 0 | 1871.0171
2029 | 0.10891 | 1099.8461 | 15086.0502 | 217.6038 | 37.8484 | 1401.3853 | 902.1458 | 0 | 1854.5378
2030 | 0.10325 | 1042.6809 | 15086.0502 | 222.8263 | 38.7568 | 1474.3975 | 923.2663 | 0 | 1855.3951
2031 | 0.097586 | 985.5157 | 15086.0502 | 228.1741 | 39.6869 | 1551.2136 | 953.4384 | 0 | 1851.152
2032 | 0.091926 | 928.3505 | 15086.0502 | 233.6503 | 40.6394 | 1632.0318 | 994.1707 | 0 | 1840.5013
2033 | 0.086265 | 871.1854 | 15086.0502 | 239.2579 | 41.6147 | 1717.0607 | 1039.4289 | 0 | 1829.6898
2034 | 0.081285 | 820.8966 | 15086.0502 | 245.0001 | 42.6135 | 1806.5195 | 1077.144 | 0 | 1837.8858
2035 | 0.077667 | 784.3585 | 15086.0502 | 250.8801 | 43.6362 | 1900.6392 | 1145.0312 | 0 | 1834.4828
2036 | 0.07473 | 754.6944 | 15086.0502 | 256.9012 | 44.6835 | 1999.6625 | 1249.125 | 0 | 1806.8167
2037 | 0.071793 | 725.0304 | 15086.0502 | 263.0668 | 45.7559 | 2103.8449 | 1332.0982 | 0 | 1805.5998
2038 | 0.068855 | 695.3664 | 15086.0502 | 269.3804 | 46.854 | 2213.4553 | 1458.8211 | 0 | 1766.235
2039 | 0.065918 | 665.7023 | 15086.0502 | 275.8455 | 47.9785 | 2328.7763 | 1537.2685 | 0 | 1781.0342
NOMINAL |  | 23628.9281 | 316807.0534 | 4616.9472 | 803.0377 | 30840.601 | 20328.4526 | 0 | 39561.0614
NPV |  | 10763.347 |  | 1765.0428 | 306.9985 | 10997.8655 | 7472.2813 | 0 | 16360.9726
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet5(p_5)
| * WORKSHEET : DSM PROGRAM FUEL SAVINGS |  |  |  | WORKSHEET FOR FORM CE 2.2
| PROGRAM: | Com. PV |  |  | Page 1 of 1
2026-07-30 02:52
(1) | (2) | (3) | (4) | (5) | (6) | (7)
| REDUCTION |  | INCREASE |  | NET
| IN KWH | AVOIDED | IN KWH | INCREASED | AVOIDED | EFFECTIVE
| GENERATION | MARGINAL | GENERATION | MARGINAL | PROGRAM | PROGRAM
| NET NEW CUST | FUEL COST - | NET NEW CUST | FUEL COST - | FUEL | FUEL
| KWH | REDUCED KWH | KWH | INCREASE KWH | SAVINGS | SAVINGS
YEAR | (000) | $(000) | (000) | $(000) | $(000) | $(000)
2015 | 9065.4008 | 365.3357 | 113.3966 | 0 | 365.3357 | 365.3357
2016 | 27196.2025 | 1008.9791 | 340.1899 | 0 | 1008.9791 | 1008.9791
2017 | 45327.0042 | 1513.9219 | 566.9831 | 0 | 1513.9219 | 1513.9219
2018 | 63457.8059 | 2290.8268 | 793.7764 | 0 | 2290.8268 | 2290.8268
2019 | 72523.2068 | 2755.8819 | 907.173 | 0 | 2755.8819 | 2755.8819
2020 | 72523.2068 | 2958.9468 | 907.173 | 0 | 2958.9468 | 2958.9468
2021 | 72523.2068 | 3191.0211 | 907.173 | 0 | 3191.0211 | 3191.0211
2022 | 72523.2068 | 3394.0861 | 907.173 | 0 | 3394.0861 | 3394.0861
2023 | 72523.2068 | 3568.1418 | 907.173 | 0 | 3568.1418 | 3568.1418
2024 | 72523.2068 | 3850.9823 | 907.173 | 0 | 3850.9823 | 3850.9823
2025 | 72523.2068 | 4133.8228 | 907.173 | 0 | 4133.8228 | 4133.8228
2026 | 72523.2068 | 4257.1122 | 907.173 | 0 | 4257.1122 | 4257.1122
2027 | 72523.2068 | 4409.411 | 907.173 | 0 | 4409.411 | 4409.411
2028 | 72523.2068 | 4583.4667 | 907.173 | 0 | 4583.4667 | 4583.4667
2029 | 72523.2068 | 4924.3257 | 907.173 | 0 | 4924.3257 | 4924.3257
2030 | 72523.2068 | 5083.8768 | 907.173 | 0 | 5083.8768 | 5083.8768
2031 | 72523.2068 | 5388.4743 | 907.173 | 0 | 5388.4743 | 5388.4743
2032 | 72523.2068 | 5693.0717 | 907.173 | 0 | 5693.0717 | 5693.0717
2033 | 72523.2068 | 5997.6692 | 907.173 | 0 | 5997.6692 | 5997.6692
2034 | 72523.2068 | 6091.9494 | 907.173 | 0 | 6091.9494 | 6091.9494
2035 | 72523.2068 | 6672.135 | 907.173 | 0 | 6672.135 | 6672.135
2036 | 72523.2068 | 7042.0034 | 907.173 | 0 | 7042.0034 | 7042.0034
2037 | 72523.2068 | 7614.9367 | 907.173 | 0 | 7614.9367 | 7614.9367
2038 | 72523.2068 | 8282.1502 | 907.173 | 0 | 8282.1502 | 8282.1502
2039 | 72523.2068 | 8833.3266 | 907.173 | 0 | 8833.3266 | 8833.3266
NOMINAL | 1668033.7553 | 113905.8551 | 20864.9789 | 0 | 113905.8551 | 113905.8551
NPV: |  | 42875.0597 |  | 0 | 42875.0597 | 42875.0597
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet2(F_12)
|  |  | INPUT DATA -- PART 2 | [5 empty] | PSC FORM CE 1.2
|  |  | PROGRAM: | Com. PV |  |  |  |  | PAGE 1 OF 1
2026-07-30 02:52
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
UTILITY
AVERAGE
| CUMULATIVE | ADJUSTED | SYSTEM | AVOIDED | INCREASED |  | PROGRAM | PROGRAM | OTHER | OTHER
| TOTAL | CUMULATIVE | FUEL | MARGINAL | MARGINAL | REPLACEMENT | KW | KWH | COSTS | BENEFITS
| PARTICIPATING | PARTICIPATING | COSTS | FUEL COST | FUEL COST | FUEL COST | EFFECTIVENESS | EFFECTIVENESS |  | (CO2)
YEAR | CUSTOMERS | CUSTOMERS | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | FACTOR | FACTOR | ($000) | ($000)
2015 | 1000 | 1000 | 3.92 | 4.03 | 0 | 3.92 | 1 | 1 | 0 | 0
2016 | 2000 | 2000 | 3.94 | 3.71 | 0 | 3.94 | 1 | 1 | 0 | 0
2017 | 3000 | 3000 | 3.94 | 3.34 | 0 | 3.94 | 1 | 1 | 0 | 0
2018 | 4000 | 4000 | 4.12 | 3.61 | 0 | 4.12 | 1 | 1 | 0 | 0
2019 | 4000 | 4000 | 4.33 | 3.8 | 0 | 4.33 | 1 | 1 | 0 | 0
2020 | 4000 | 4000 | 4.56 | 4.08 | 0 | 4.56 | 1 | 1 | 0 | 0
2021 | 4000 | 4000 | 4.68 | 4.4 | 0 | 4.7 | 1 | 1 | 0 | 0
2022 | 4000 | 4000 | 4.85 | 4.68 | 0 | 4.85 | 1 | 1 | 0 | 0
2023 | 4000 | 4000 | 5.06 | 4.92 | 0 | 5.06 | 1 | 1 | 0 | 0
2024 | 4000 | 4000 | 5.28 | 5.31 | 0 | 5.3 | 1 | 1 | 0 | 0
2025 | 4000 | 4000 | 5.42 | 5.7 | 0 | 5.44 | 1 | 1 | 0 | 0
2026 | 4000 | 4000 | 5.53 | 5.87 | 0 | 5.53 | 1 | 1 | 0 | 0
2027 | 4000 | 4000 | 5.62 | 6.08 | 0 | 5.63 | 1 | 1 | 0 | 0
2028 | 4000 | 4000 | 5.76 | 6.32 | 0 | 5.75 | 1 | 1 | 0 | 0
2029 | 4000 | 4000 | 5.97 | 6.79 | 0 | 5.98 | 1 | 1 | 0 | 0
2030 | 4000 | 4000 | 6.12 | 7.01 | 0 | 6.12 | 1 | 1 | 0 | 0
2031 | 4000 | 4000 | 6.31 | 7.43 | 0 | 6.32 | 1 | 1 | 0 | 0
2032 | 4000 | 4000 | 6.58 | 7.85 | 0 | 6.59 | 1 | 1 | 0 | 0
2033 | 4000 | 4000 | 6.89 | 8.27 | 0 | 6.89 | 1 | 1 | 0 | 0
2034 | 4000 | 4000 | 7.14 | 8.4 | 0 | 7.14 | 1 | 1 | 0 | 0
2035 | 4000 | 4000 | 7.6 | 9.2 | 0 | 7.59 | 1 | 1 | 0 | 0
2036 | 4000 | 4000 | 8.27 | 9.71 | 0 | 8.28 | 1 | 1 | 0 | 0
2037 | 4000 | 4000 | 8.83 | 10.5 | 0 | 8.83 | 1 | 1 | 0 | 0
2038 | 4000 | 4000 | 9.66 | 11.42 | 0 | 9.67 | 1 | 1 | 0 | 0
2039 | 4000 | 4000 | 10.18 | 12.18 | 0 | 10.19 | 1 | 1 | 0 | 0

## Sheet4(F_22)
|  | AVOIDED T & D AND PROGRAM FUEL SAVINGS |  |  |  |  | PSC FORM CE 2.2
|  | PROGRAM: | Com. PV |  |  |  | Page 1 of 2
2026-07-30 02:52
|  | * INSERVICE COSTS OF AVOIDED TRANS. (000) = |  |  | 0
|  | * INSERVICE COSTS OF AVOIDED DIST. (000) = |  |  | 0
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10)
| AVOIDED | AVOIDED |  | AVOIDED | AVOIDED
| TRANSMISSION | TRANSMISSION | TOTAL AVOIDED | DISTRIBUTION | DISTRIBUTION | TOTAL AVOIDED | PROGRAM
| CAPACITY | O&M | TRANSMISSION | CAPACITY | O&M | DISTRIBUTION | FUEL
| COST | COST | COST | COST | COST | COST | SAVINGS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 0 | 0 | 0 | 0 | 0 | 365.3357
2016 | 0 | 38.989 | 38.989 | 0 | 0 | 0 | 1008.9791
2017 | 0 | 39.9248 | 39.9248 | 0 | 0 | 0 | 1513.9219
2018 | 0 | 40.8829 | 40.8829 | 0 | 0 | 0 | 2290.8268
2019 | 0 | 41.8641 | 41.8641 | 0 | 0 | 0 | 2755.8819
2020 | 0 | 42.8689 | 42.8689 | 0 | 0 | 0 | 2958.9468
2021 | 0 | 43.8977 | 43.8977 | 0 | 0 | 0 | 3191.0211
2022 | 0 | 44.9513 | 44.9513 | 0 | 0 | 0 | 3394.0861
2023 | 0 | 46.0301 | 46.0301 | 0 | 0 | 0 | 3568.1418
2024 | 0 | 47.1348 | 47.1348 | 0 | 0 | 0 | 3850.9823
2025 | 0 | 48.2661 | 48.2661 | 0 | 0 | 0 | 4133.8228
2026 | 0 | 49.4245 | 49.4245 | 0 | 0 | 0 | 4257.1122
2027 | 0 | 50.6106 | 50.6106 | 0 | 0 | 0 | 4409.411
2028 | 0 | 51.8253 | 51.8253 | 0 | 0 | 0 | 4583.4667
2029 | 0 | 53.0691 | 53.0691 | 0 | 0 | 0 | 4924.3257
2030 | 0 | 54.3428 | 54.3428 | 0 | 0 | 0 | 5083.8768
2031 | 0 | 55.647 | 55.647 | 0 | 0 | 0 | 5388.4743
2032 | 0 | 56.9825 | 56.9825 | 0 | 0 | 0 | 5693.0717
2033 | 0 | 58.3501 | 58.3501 | 0 | 0 | 0 | 5997.6692
2034 | 0 | 59.7505 | 59.7505 | 0 | 0 | 0 | 6091.9494
2035 | 0 | 61.1845 | 61.1845 | 0 | 0 | 0 | 6672.135
2036 | 0 | 62.6529 | 62.6529 | 0 | 0 | 0 | 7042.0034
2037 | 0 | 64.1566 | 64.1566 | 0 | 0 | 0 | 7614.9367
2038 | 0 | 65.6964 | 65.6964 | 0 | 0 | 0 | 8282.1502
2039 | 0 | 67.2731 | 67.2731 | 0 | 0 | 0 | 8833.3266
NOMINAL | 0 | 1245.7755 | 1245.7755 | 0 | 0 | 0 | 113905.8551
NPV: | 0 | 534.4885 | 534.4885 | 0 | 0 | 0 | 42875.0597
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet6(p_6)
|  | * WORKSHEET: UTILITY COSTS AND PARTICIPANT COSTS AND REV LOSS/GAIN | [12 empty] | WORKSHEET FOR FORM CE 2.2
|  | PROGRAM: |  | Com. PV | [10 empty] | Page 2 of 2
2026-07-30 02:52
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14) | (15) | (16) | (17) | (18)
| <----- UTILITY PROGRAM COSTS & REBATES -------> | [5 empty] | <------------------ PARTICIPATING CUSTOMER COSTS & BENEFITS ---------------------->
|  |  | TOTAL |  |  | TOTAL | PARTIC. | PARTIC. | TOTAL | REDUCT. | RED. | RED. | EFFECT. | INC. | INC. | INC. | EFFECT.
| UTIL | UTIL | UTIL | UTIL | UTIL | REBATE/ | CUST | CUST | COSTS | IN | REV. | REV. | REV. | IN | REV. | REV. | REVENUE
| NONREC. | RECUR | PGM | NONREC. | RECUR. | INCENT. | EQUIP | O & M | PARTIC. | CUST. | - FUEL | NONFUEL | REDUCT. | CUST. | - FUEL | NONFUEL | INC.
| COSTS | COSTS | COSTS | REBATES | REBATES | COSTS | COSTS | COSTS | CUST | KWH | PORTION | PORTION | TO CUST | KWH | PORTION | PORTION | IN BILL
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | (000) | $(000) | $(000) | $(000) | (000) | $(000) |  | $(000)
2015 | 0 | 0 | 0 | 0 | 0 | 0 | 38453 | 107.5 | 38560.5 | 8594 | 336.8848 | 428.8285 | 765.7133 | 0 | 0 | 0 | 0
2016 | 0 | 0 | 0 | 0 | 0 | 0 | 39375.872 | 330.24 | 39706.112 | 25782 | 1015.8108 | 1299.3504 | 2315.1612 | 0 | 0 | 0 | 0
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 40320.8929 | 563.6096 | 40884.5025 | 42970 | 1693.018 | 2187.2399 | 3880.2579 | 0 | 0 | 0 | 0
2018 | 0 | 0 | 0 | 0 | 0 | 0 | 41288.5944 | 807.9907 | 42096.5851 | 60158 | 2478.5096 | 3092.7572 | 5571.2668 | 0 | 0 | 0 | 0
2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 945.58 | 945.58 | 68752 | 2976.9616 | 3569.9255 | 6546.8871 | 0 | 0 | 0 | 0
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 968.2739 | 968.2739 | 68752 | 3135.0912 | 3605.6247 | 6740.7159 | 0 | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 991.5125 | 991.5125 | 68752 | 3217.5936 | 3641.681 | 6859.2746 | 0 | 0 | 0 | 0
2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1015.3088 | 1015.3088 | 68752 | 3334.472 | 3678.0978 | 7012.5698 | 0 | 0 | 0 | 0
2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1039.6762 | 1039.6762 | 68752 | 3478.8512 | 3714.8788 | 7193.73 | 0 | 0 | 0 | 0
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1064.6284 | 1064.6284 | 68752 | 3630.1056 | 3752.0275 | 7382.1331 | 0 | 0 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1090.1795 | 1090.1795 | 68752 | 3726.3584 | 3789.5478 | 7515.9062 | 0 | 0 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1116.3438 | 1116.3438 | 68752 | 3801.9856 | 3827.4433 | 7629.4289 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1143.1361 | 1143.1361 | 68752 | 3863.8624 | 3865.7177 | 7729.5801 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1170.5713 | 1170.5713 | 68752 | 3960.1152 | 3904.3749 | 7864.4901 | 0 | 0 | 0 | 0
2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1198.6651 | 1198.6651 | 68752 | 4104.4944 | 3943.4187 | 8047.9131 | 0 | 0 | 0 | 0
2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1227.433 | 1227.433 | 68752 | 4207.6224 | 3982.8528 | 8190.4752 | 0 | 0 | 0 | 0
2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1256.8914 | 1256.8914 | 68752 | 4338.2512 | 4022.6814 | 8360.9326 | 0 | 0 | 0 | 0
2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1287.0568 | 1287.0568 | 68752 | 4523.8816 | 4062.9082 | 8586.7898 | 0 | 0 | 0 | 0
2033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1317.9462 | 1317.9462 | 68752 | 4737.0128 | 4103.5373 | 8840.5501 | 0 | 0 | 0 | 0
2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1349.5769 | 1349.5769 | 68752 | 4908.8928 | 4144.5726 | 9053.4654 | 0 | 0 | 0 | 0
2035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1381.9667 | 1381.9667 | 68752 | 5225.152 | 4186.0184 | 9411.1704 | 0 | 0 | 0 | 0
2036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1415.1339 | 1415.1339 | 68752 | 5685.7904 | 4227.8786 | 9913.669 | 0 | 0 | 0 | 0
2037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1449.0971 | 1449.0971 | 68752 | 6070.8016 | 4270.1573 | 10340.9589 | 0 | 0 | 0 | 0
2038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1483.8755 | 1483.8755 | 68752 | 6641.4432 | 4312.8589 | 10954.3021 | 0 | 0 | 0 | 0
2039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1519.4885 | 1519.4885 | 68752 | 6998.9536 | 4355.9875 | 11354.9411 | 0 | 0 | 0 | 0
NOMINAL | 0 | 0 | 0 | 0 | 0 | 0 | 159438.3593 | 27241.682 | 186680.0412 | 1581296 | 98091.916 | 89970.3668 | 188062.2828 | 0 | 0 | 0 | 0
NPV | 0 | 0 | 0 | 0 | 0 | 0 | 143515.9285 | 11280.3316 | 154796.2601 |  | 38777.7154 | 38889.3455 | 77667.061 |  | 0 | 0 | 0
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet7(F_23)
|  |  | TOTAL RESOURCE COST TESTS | [8 empty] | PSC FORM CE 2.3
|  |  | PROGRAM: | Com. PV | [7 empty] | Page 1 of 1
2026-07-30 02:52
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13)
CUMULATIVE
| INCREASED | UTILITY | PARTICIPANT |  |  |  |  | PROGRAM |  |  |  | DISCOUNTED
| SUPPLY | PROGRAM | PROGRAM | OTHER | TOTAL | AVOIDED | AVOIDED | FUEL | OTHER | TOTAL | NET | NET
| COSTS | COSTS | COSTS | COSTS | COSTS | GEN UNIT | T & D | SAVINGS | BENEFITS | BENEFITS | BENEFITS | BENEFITS
[6 empty] | BENEFITS | BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 0 | 38560.5 | 0 | 38560.5 | 0 | 0 | 365.3357 | 0 | 365.3357 | -38195.1643 | -38195.1643
2016 | 0 | 0 | 39706.112 | 0 | 39706.112 | 0 | 38.989 | 1008.9791 | 0 | 1047.9681 | -38658.1439 | -74209.8316
2017 | 0 | 0 | 40884.5025 | 0 | 40884.5025 | 0 | 39.9248 | 1513.9219 | 0 | 1553.8467 | -39330.6558 | -108345.4682
2018 | 0 | 0 | 42096.5851 | 0 | 42096.5851 | 0 | 40.8829 | 2290.8268 | 0 | 2331.7097 | -39764.8753 | -140497.976
2019 | 0 | 0 | 945.58 | 0 | 945.58 | 2104.6668 | 41.8641 | 2755.8819 | 0 | 4902.4128 | 3956.8328 | -137517.3923
2020 | 0 | 0 | 968.2739 | 0 | 968.2739 | 2055.3125 | 42.8689 | 2958.9468 | 0 | 5057.1282 | 4088.8543 | -134647.9752
2021 | 0 | 0 | 991.5125 | 0 | 991.5125 | 2013.6742 | 43.8977 | 3191.0211 | 0 | 5248.593 | 4257.0806 | -131864.7886
2022 | 0 | 0 | 1015.3088 | 0 | 1015.3088 | 1977.2577 | 44.9513 | 3394.0861 | 0 | 5416.2951 | 4400.9863 | -129184.2697
2023 | 0 | 0 | 1039.6762 | 0 | 1039.6762 | 1938.2268 | 46.0301 | 3568.1418 | 0 | 5552.3987 | 4512.7225 | -126623.6452
2024 | 0 | 0 | 1064.6284 | 0 | 1064.6284 | 1900.8673 | 47.1348 | 3850.9823 | 0 | 5798.9844 | 4734.356 | -124120.9578
2025 | 0 | 0 | 1090.1795 | 0 | 1090.1795 | 1883.9038 | 48.2661 | 4133.8228 | 0 | 6065.9926 | 4975.8131 | -121670.4948
2026 | 0 | 0 | 1116.3438 | 0 | 1116.3438 | 1878.3263 | 49.4245 | 4257.1122 | 0 | 6184.863 | 5068.5192 | -119345.0631
2027 | 0 | 0 | 1143.1361 | 0 | 1143.1361 | 1874.4786 | 50.6106 | 4409.411 | 0 | 6334.5002 | 5191.3641 | -117126.1392
2028 | 0 | 0 | 1170.5713 | 0 | 1170.5713 | 1871.0171 | 51.8253 | 4583.4667 | 0 | 6506.309 | 5335.7377 | -115001.458
2029 | 0 | 0 | 1198.6651 | 0 | 1198.6651 | 1854.5378 | 53.0691 | 4924.3257 | 0 | 6831.9326 | 5633.2675 | -112911.6898
2030 | 0 | 0 | 1227.433 | 0 | 1227.433 | 1855.3951 | 54.3428 | 5083.8768 | 0 | 6993.6147 | 5766.1817 | -110918.8864
2031 | 0 | 0 | 1256.8914 | 0 | 1256.8914 | 1851.152 | 55.647 | 5388.4743 | 0 | 7295.2732 | 6038.3818 | -108974.7125
2032 | 0 | 0 | 1287.0568 | 0 | 1287.0568 | 1840.5013 | 56.9825 | 5693.0717 | 0 | 7590.5556 | 6303.4988 | -107083.9602
2033 | 0 | 0 | 1317.9462 | 0 | 1317.9462 | 1829.6898 | 58.3501 | 5997.6692 | 0 | 7885.7091 | 6567.7629 | -105248.6528
2034 | 0 | 0 | 1349.5769 | 0 | 1349.5769 | 1837.8858 | 59.7505 | 6091.9494 | 0 | 7989.5856 | 6640.0087 | -103520.0372
2035 | 0 | 0 | 1381.9667 | 0 | 1381.9667 | 1834.4828 | 61.1845 | 6672.135 | 0 | 8567.8023 | 7185.8356 | -101777.2456
2036 | 0 | 0 | 1415.1339 | 0 | 1415.1339 | 1806.8167 | 62.6529 | 7042.0034 | 0 | 8911.473 | 7496.3391 | -100083.4702
2037 | 0 | 0 | 1449.0971 | 0 | 1449.0971 | 1805.5998 | 64.1566 | 7614.9367 | 0 | 9484.6931 | 8035.596 | -98392.0049
2038 | 0 | 0 | 1483.8755 | 0 | 1483.8755 | 1766.235 | 65.6964 | 8282.1502 | 0 | 10114.0816 | 8630.2061 | -96699.5989
2039 | 0 | 0 | 1519.4885 | 0 | 1519.4885 | 1781.0342 | 67.2731 | 8833.3266 | 0 | 10681.6338 | 9162.1454 | -95025.7394
NOMINAL | 0 | 0 | 186680.0412 | 0 | 186680.0412 | 39561.0614 | 1245.7755 | 113905.8551 | 0 | 154712.692 | -31967.3493
NPV: | 0 | 0 | 154796.2601 | 0 | 154796.2601 | 16360.9726 | 534.4885 | 42875.0597 | 0 | 59770.5208 | -95025.7394
Discount Rate |  | 0.0734 | Benefit/Cost Ratio - [col (11)/col (6)]: |  |  |  | 0.38612

## Sheet8(F_24)
|  |  |  | PARTICIPANT COSTS AND BENEFITS | [6 empty] | PSC FORM CE 2.4
|  |  |  | PROGRAM: | Com. PV | [5 empty] | Page 1 of 1
2026-07-30 02:52
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12)
SAVINGS
| IN |  |  |  |  | CUSTOMER | CUSTOMER |  |  |  | CUMULATIVE
| PARTICIPANTS | TAX | UTILITY | OTHER | TOTAL | EQUIPMENT | O & M | OTHER | TOTAL | NET | DISCOUNTED
| BILL | CREDITS | REBATES | BENEFITS | BENEFITS | COSTS | COSTS | COSTS | COSTS | BENEFITS | NET BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 765.7133 | 0 | 0 | 0 | 765.7133 | 38453 | 107.5 | 0 | 38560.5 | -37794.7867 | -37794.7867
2016 | 2315.1612 | 0 | 0 | 0 | 2315.1612 | 39375.872 | 330.24 | 0 | 39706.112 | -37390.9508 | -72628.9126
2017 | 3880.2579 | 0 | 0 | 0 | 3880.2579 | 40320.8929 | 563.6096 | 0 | 40884.5025 | -37004.2446 | -104745.4238
2018 | 5571.2668 | 0 | 0 | 0 | 5571.2668 | 41288.5944 | 807.9907 | 0 | 42096.5851 | -36525.3183 | -134278.5374
2019 | 6546.8871 | 0 | 0 | 0 | 6546.8871 | 0 | 945.58 | 0 | 945.58 | 5601.3071 | -130059.212
2020 | 6740.7159 | 0 | 0 | 0 | 6740.7159 | 0 | 968.2739 | 0 | 968.2739 | 5772.442 | -126008.311
2021 | 6859.2746 | 0 | 0 | 0 | 6859.2746 | 0 | 991.5125 | 0 | 991.5125 | 5867.7621 | -122172.0959
2022 | 7012.5698 | 0 | 0 | 0 | 7012.5698 | 0 | 1015.3088 | 0 | 1015.3088 | 5997.261 | -118519.3303
2023 | 7193.73 | 0 | 0 | 0 | 7193.73 | 0 | 1039.6762 | 0 | 1039.6762 | 6154.0538 | -115027.3759
2024 | 7382.1331 | 0 | 0 | 0 | 7382.1331 | 0 | 1064.6284 | 0 | 1064.6284 | 6317.5047 | -111687.8005
2025 | 7515.9062 | 0 | 0 | 0 | 7515.9062 | 0 | 1090.1795 | 0 | 1090.1795 | 6425.7267 | -108523.2915
2026 | 7629.4289 | 0 | 0 | 0 | 7629.4289 | 0 | 1116.3438 | 0 | 1116.3438 | 6513.0851 | -105535.0943
2027 | 7729.5801 | 0 | 0 | 0 | 7729.5801 | 0 | 1143.1361 | 0 | 1143.1361 | 6586.4441 | -102719.877
2028 | 7864.4901 | 0 | 0 | 0 | 7864.4901 | 0 | 1170.5713 | 0 | 1170.5713 | 6693.9188 | -100054.3705
2029 | 8047.9131 | 0 | 0 | 0 | 8047.9131 | 0 | 1198.6651 | 0 | 1198.6651 | 6849.248 | -97513.5112
2030 | 8190.4752 | 0 | 0 | 0 | 8190.4752 | 0 | 1227.433 | 0 | 1227.433 | 6963.0422 | -95107.0705
2031 | 8360.9326 | 0 | 0 | 0 | 8360.9326 | 0 | 1256.8914 | 0 | 1256.8914 | 7104.0412 | -92819.7869
2032 | 8586.7898 | 0 | 0 | 0 | 8586.7898 | 0 | 1287.0568 | 0 | 1287.0568 | 7299.733 | -90630.2113
2033 | 8840.5501 | 0 | 0 | 0 | 8840.5501 | 0 | 1317.9462 | 0 | 1317.9462 | 7522.6039 | -88528.0814
2034 | 9053.4654 | 0 | 0 | 0 | 9053.4654 | 0 | 1349.5769 | 0 | 1349.5769 | 7703.8886 | -86522.5024
2035 | 9411.1704 | 0 | 0 | 0 | 9411.1704 | 0 | 1381.9667 | 0 | 1381.9667 | 8029.2037 | -84575.1675
2036 | 9913.669 | 0 | 0 | 0 | 9913.669 | 0 | 1415.1339 | 0 | 1415.1339 | 8498.535 | -82654.949
2037 | 10340.9589 | 0 | 0 | 0 | 10340.9589 | 0 | 1449.0971 | 0 | 1449.0971 | 8891.8618 | -80783.2427
2038 | 10954.3021 | 0 | 0 | 0 | 10954.3021 | 0 | 1483.8755 | 0 | 1483.8755 | 9470.4266 | -78926.0671
2039 | 11354.9411 | 0 | 0 | 0 | 11354.9411 | 0 | 1519.4885 | 0 | 1519.4885 | 9835.4526 | -77129.1992
NOMINAL | 188062.2828 | 0 | 0 | 0 | 188062.2828 | 159438.3593 | 27241.682 | 0 | 186680.0412 | 1382.2415
NPV: | 77667.061 | 0 | 0 | 0 | 77667.061 | 143515.9285 | 11280.3316 | 0 | 154796.2601 | -77129.1992
In service year of gen unit: |  |  | 2019 |  |  | 0.50174
Discount rate: |  |  | 0.0734

## Sheet9(F_25)
[5 empty] | RATE IMPACT TEST | [7 empty] | PSC FORM CE 2.5
[5 empty] | PROGRAM: | Com. PV | [6 empty] | Page 1 of 1
2026-07-30 02:52
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14)
[7 empty] | AVOIDED |  |  |  |  | NET | CUMULATIVE
| INCREASED | UTILITY |  |  |  |  | GEN UNIT | AVOIDED |  |  |  | BENEFITS | DISCOUNTED
| SUPPLY | PROGRAM |  | REVENUE | OTHER | TOTAL | UNIT & FUEL | T & D | REVENUE | OTHER | TOTAL | TO ALL | NET
| COSTS | COSTS | INCENTIVES | LOSSES | COSTS | COSTS | BENEFITS | BENEFITS | GAINS | BENEFITS | BENEFITS | CUSTOMERS | BENEFIT
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 0 | 0 | 765.7133 | 0 | 765.7133 | 365.3357 | 0 | 0 | 0 | 365.3357 | -400.3777 | -400.3777
2016 | 0 | 0 | 0 | 2315.1612 | 0 | 2315.1612 | 1008.9791 | 38.989 | 0 | 0 | 1047.9681 | -1267.1931 | -1580.919
2017 | 0 | 0 | 0 | 3880.2579 | 0 | 3880.2579 | 1513.9219 | 39.9248 | 0 | 0 | 1553.8467 | -2326.4112 | -3600.0445
2018 | 0 | 0 | 0 | 5571.2668 | 0 | 5571.2668 | 2290.8268 | 40.8829 | 0 | 0 | 2331.7097 | -3239.5571 | -6219.4387
2019 | 0 | 0 | 0 | 6546.8871 | 0 | 6546.8871 | 4860.5486 | 41.8641 | 0 | 0 | 4902.4128 | -1644.4743 | -7458.1803
2020 | 0 | 0 | 0 | 6740.7159 | 0 | 6740.7159 | 5014.2594 | 42.8689 | 0 | 0 | 5057.1282 | -1683.5877 | -8639.6641
2021 | 0 | 0 | 0 | 6859.2746 | 0 | 6859.2746 | 5204.6953 | 43.8977 | 0 | 0 | 5248.593 | -1610.6815 | -9692.6926
2022 | 0 | 0 | 0 | 7012.5698 | 0 | 7012.5698 | 5371.3438 | 44.9513 | 0 | 0 | 5416.2951 | -1596.2747 | -10664.9394
2023 | 0 | 0 | 0 | 7193.73 | 0 | 7193.73 | 5506.3686 | 46.0301 | 0 | 0 | 5552.3987 | -1641.3313 | -11596.2692
2024 | 0 | 0 | 0 | 7382.1331 | 0 | 7382.1331 | 5751.8496 | 47.1348 | 0 | 0 | 5798.9844 | -1583.1487 | -12433.1573
2025 | 0 | 0 | 0 | 7515.9062 | 0 | 7515.9062 | 6017.7266 | 48.2661 | 0 | 0 | 6065.9926 | -1449.9136 | -13147.2034
2026 | 0 | 0 | 0 | 7629.4289 | 0 | 7629.4289 | 6135.4385 | 49.4245 | 0 | 0 | 6184.863 | -1444.5659 | -13809.9688
2027 | 0 | 0 | 0 | 7729.5801 | 0 | 7729.5801 | 6283.8896 | 50.6106 | 0 | 0 | 6334.5002 | -1395.0799 | -14406.2622
2028 | 0 | 0 | 0 | 7864.4901 | 0 | 7864.4901 | 6454.4838 | 51.8253 | 0 | 0 | 6506.309 | -1358.1811 | -14947.0875
2029 | 0 | 0 | 0 | 8047.9131 | 0 | 8047.9131 | 6778.8635 | 53.0691 | 0 | 0 | 6831.9326 | -1215.9805 | -15398.1787
2030 | 0 | 0 | 0 | 8190.4752 | 0 | 8190.4752 | 6939.2719 | 54.3428 | 0 | 0 | 6993.6147 | -1196.8606 | -15811.816
2031 | 0 | 0 | 0 | 8360.9326 | 0 | 8360.9326 | 7239.6262 | 55.647 | 0 | 0 | 7295.2732 | -1065.6594 | -16154.9256
2032 | 0 | 0 | 0 | 8586.7898 | 0 | 8586.7898 | 7533.5731 | 56.9825 | 0 | 0 | 7590.5556 | -996.2342 | -16453.7489
2033 | 0 | 0 | 0 | 8840.5501 | 0 | 8840.5501 | 7827.359 | 58.3501 | 0 | 0 | 7885.7091 | -954.841 | -16720.5714
2034 | 0 | 0 | 0 | 9053.4654 | 0 | 9053.4654 | 7929.8351 | 59.7505 | 0 | 0 | 7989.5856 | -1063.8798 | -16997.5348
2035 | 0 | 0 | 0 | 9411.1704 | 0 | 9411.1704 | 8506.6178 | 61.1845 | 0 | 0 | 8567.8023 | -843.3681 | -17202.0781
2036 | 0 | 0 | 0 | 9913.669 | 0 | 9913.669 | 8848.8201 | 62.6529 | 0 | 0 | 8911.473 | -1002.196 | -17428.5213
2037 | 0 | 0 | 0 | 10340.9589 | 0 | 10340.9589 | 9420.5365 | 64.1566 | 0 | 0 | 9484.6931 | -856.2658 | -17608.7623
2038 | 0 | 0 | 0 | 10954.3021 | 0 | 10954.3021 | 10048.3852 | 65.6964 | 0 | 0 | 10114.0816 | -840.2205 | -17773.5317
2039 | 0 | 0 | 0 | 11354.9411 | 0 | 11354.9411 | 10614.3608 | 67.2731 | 0 | 0 | 10681.6338 | -673.3073 | -17896.5402
NOMINAL | 0 | 0 | 0 | 188062.2828 | 0 | 188062.2828 | 153466.9164 | 1245.7755 | 0 | 0 | 154712.692 | -33349.5908
NPV: | 0 | 0 | 0 | 77667.061 | 0 | 77667.061 | 59236.0323 | 534.4885 | 0 | 0 | 59770.5208 | -17896.5402
Discount rate: |  |  | 0.0734 |  | Benefit/Cost Ratio - [col (12)/col (7)]: |  |  |  | 0.76957

## Value of Defferal
GEN: | [7 empty] | COMPUTATION OF CONSTRUCTION CASH FLOW AND PLANT |  |  |  |  | Do Not Print
COMPUTATION OF GENERATION COSTS & REV. REQUIREMENTS | [7 empty] | IN-SERVICE COSTS FOR AVOIDED TRANS & DIST PLANT
IN-SERVICE AVOIDED GEN. PLANT ($000) = |  |  |  | 10098.9412 |  |  |  | -----------------------------------------------
------------------------------------------ |  |  |  |  | GENERATION |  |  | TRAN: | Avoided Trans. = |  | 0
|  |  |  | COMPUTATION OF VALUE DEFERRAL PAYMENTS |  |  |  |  | Avoided Dist. = |  | 0 |  | TRANSMISSION & DIST.
COMPUTATION OF VALUE DEFERRAL CREDITS
|  |  |  | ip= | 0.03 | Esc. rate | [5 empty] | ip= | 0.03 | Esc. rate
| Gen |  |  | r= | 0.0734 | Disc rate |  | TRAN |  |  |  | r= | 0.0734 | Disc rate
| Offset Cost | 3 |  | l= | 25 | Econ life |  | Offset Cost |  | 3 |  | l= | 25 | Econ life
| Offset Factor | 2 |  | c= | 1 | Risk factor |  | Offset Factor |  | 1 |  | c= | 1 | Risk factor
|  |  |  | k= | 1.4625 | K factor |  | DIST |  |  |  | k= | 1.4625 | K factor
|  |  |  | Ratio= | 0.95957 | calculated ratio |  | Offset Cost |  | 4 |  | Ratio= | 0.95957 | calculated ratio
[8 empty] | Offset Factor |  | 1
|  |  |  | VALUE of DEFERRAL | [7 empty] | VALUE DEFERRAL STARTING
|  |  |  | Factor = | 0.091872 | [6 empty] | FACTOR = | 0.091872
[5 empty] | AVOIDED |  |  |  |  | TRANS | DIST |  | AVOIDED | AVOIDED
|  | CARRYING | ANNUAL | Value | GEN. |  |  |  | CARRYING | ANNUAL | ANNUAL |  | TRANS. | DIST
|  | CHARGE | REV REQ | of Def | V OF D |  |  |  | CHARGE | REV REQ | REV REQ |  | V OF D | V OF D
N | Year | % | COSTS(000) | Factors | ($000) |  | N | Year | % | COSTS(000) | COSTS(000) | Factors | ($000) | $(000)
-- | ---- | ------ | ------ | ------ | ----- |  |  |  | ------ | ------ | ------
1 | 2015 | 0 | 0 | 0 | 0 |  | 1 | 2015 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2016 | 0 | 0 | 0 | 0 |  | 2 | 2016 | 0 | 0 | 0 | 0.091872 | 0 | 0
3 | 2017 | 0 | 0 | 0 | 0 |  | 3 | 2017 | 0 | 0 | 0 | 0.094628 | 0 | 0
4 | 2018 | 0 | 0 | 0 | 0 |  | 4 | 2018 | 0 | 0 | 0 | 0.097467 | 0 | 0
5 | 2019 | 0.16963 | 1713.0663 | 0.091872 | 927.8075 |  | 5 | 2019 | 0.16963 | 0 | 0 | 0.10039 | 0 | 0
6 | 2020 | 0.16335 | 1649.6371 | 0.094628 | 955.6417 |  | 6 | 2020 | 0.16335 | 0 | 0 | 0.1034 | 0 | 0
7 | 2021 | 0.15625 | 1577.9413 | 0.097467 | 984.311 |  | 7 | 2021 | 0.15625 | 0 | 0 | 0.1065 | 0 | 0
8 | 2022 | 0.14957 | 1510.4486 | 0.10039 | 1013.8403 |  | 8 | 2022 | 0.14957 | 0 | 0 | 0.1097 | 0 | 0
9 | 2023 | 0.14326 | 1446.7377 | 0.1034 | 1044.2555 |  | 9 | 2023 | 0.14326 | 0 | 0 | 0.11299 | 0 | 0
10 | 2024 | 0.13729 | 1386.4335 | 0.1065 | 1075.5832 |  | 10 | 2024 | 0.13729 | 0 | 0 | 0.11638 | 0 | 0
11 | 2025 | 0.13155 | 1328.5068 | 0.1097 | 1107.8507 |  | 11 | 2025 | 0.13155 | 0 | 0 | 0.11987 | 0 | 0
12 | 2026 | 0.12589 | 1271.3416 | 0.11299 | 1141.0862 |  | 12 | 2026 | 0.12589 | 0 | 0 | 0.12347 | 0 | 0
13 | 2027 | 0.12023 | 1214.1765 | 0.11638 | 1175.3188 |  | 13 | 2027 | 0.12023 | 0 | 0 | 0.12717 | 0 | 0
14 | 2028 | 0.11457 | 1157.0113 | 0.11987 | 1210.5784 |  | 14 | 2028 | 0.11457 | 0 | 0 | 0.13099 | 0 | 0
15 | 2029 | 0.10891 | 1099.8461 | 0.12347 | 1246.8957 |  | 15 | 2029 | 0.10891 | 0 | 0 | 0.13492 | 0 | 0
16 | 2030 | 0.10325 | 1042.6809 | 0.12717 | 1284.3026 |  | 16 | 2030 | 0.10325 | 0 | 0 | 0.13896 | 0 | 0
17 | 2031 | 0.097586 | 985.5157 | 0.13099 | 1322.8317 |  | 17 | 2031 | 0.097586 | 0 | 0 | 0.14313 | 0 | 0
18 | 2032 | 0.091926 | 928.3505 | 0.13492 | 1362.5166 |  | 18 | 2032 | 0.091926 | 0 | 0 | 0.14743 | 0 | 0
19 | 2033 | 0.086265 | 871.1854 | 0.13896 | 1403.3921 |  | 19 | 2033 | 0.086265 | 0 | 0 | 0.15185 | 0 | 0
20 | 2034 | 0.081285 | 820.8966 | 0.14313 | 1445.4939 |  | 20 | 2034 | 0.081285 | 0 | 0 | 0.15641 | 0 | 0
21 | 2035 | 0.077667 | 784.3585 | 0.14743 | 1488.8587 |  | 21 | 2035 | 0.077667 | 0 | 0 | 0.1611 | 0 | 0
22 | 2036 | 0.07473 | 754.6944 | 0.15185 | 1533.5244 |  | 22 | 2036 | 0.07473 | 0 | 0 | 0.16593 | 0 | 0
23 | 2037 | 0.071793 | 725.0304 | 0.15641 | 1579.5302 |  | 23 | 2037 | 0.071793 | 0 | 0 | 0.17091 | 0 | 0
24 | 2038 | 0.068855 | 695.3664 | 0.1611 | 1626.9161 |  | 24 | 2038 | 0.068855 | 0 | 0 | 0.17604 | 0 | 0
25 | 2039 | 0.065918 | 665.7023 | 0.16593 | 1675.7236 |  | 25 | 2039 | 0.065918 | 0 | 0 | 0.18132 | 0 | 0
26 | 2040 | 0.062981 | 636.0383 | 0.17091 | 1725.9953 |  | 26 | 2040 | 0.062981 | 0 | 0 | 0.18676 | 0 | 0
27 | 2041 | 0.060043 | 606.3743 | 0.17604 | 1777.7751 |  | 27 | 2041 | 0.060043 | 0 | 0 | 0 | 0 | 0
28 | 2042 | 0.057106 | 576.7103 | 0.18132 | 1831.1084 |  | 28 | 2042 | 0.057106 | 0 | 0 | 0 | 0 | 0
29 | 2043 | 0.054169 | 547.0462 | 0.18676 | 1886.0416 |  | 29 | 2043 | 0.054169 | 0 | 0 | 0 | 0 | 0
30 | 2044 | 0 | 0 | 0 | 0 |  | 30 | 2044 | 0 | 0 | 0 | 0 | 0 | 0
31 | 2045 | 0 | 0 | 0 | 0 |  | 31 | 2045 | 0 | 0 | 0 | 0 | 0 | 0
32 | 2046 | 0 | 0 | 0 | 0 |  | 32 | 2046 | 0 | 0 | 0 | 0 | 0 | 0
33 | 2047 | 0 | 0 | 0 | 0 |  | 33 | 2047 | 0 | 0 | 0 | 0 | 0 | 0
34 | 2048 | 0 | 0 | 0 | 0 |  | 34 | 2048 | 0 | 0 | 0 | 0 | 0 | 0
35 | 2049 | 0 | 0 | 0 | 0 |  | 35 | 2049 | 0 | 0 | 0 | 0 | 0 | 0
36 | 2050 | 0 | 0 | 0 | 0 |  | 36 | 2050 | 0 | 0 | 0 | 0 | 0 | 0
37 | 2051 | 0 | 0 | 0 | 0 |  | 37 | 2051 | 0 | 0 | 0 | 0 | 0 | 0
38 | 2052 | 0 | 0 | 0 | 0 |  | 38 | 2052 | 0 | 0 | 0 | 0 | 0 | 0
39 | 2053 | 0 | 0 | 0 | 0 |  | 39 | 2053 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | ----- |  | ----- |  |  |  |  | ----- |  |  | ----
|  | NOMINAL | 25995.0971 |  | 33827.1791 |  |  |  | NOMINAL | 0 |  |  | 0
|  | NPV | 11128.2234 |  | 11125.6491 |  |  |  | NPV | 0 |  |  | 0