## Input
Answer questions 1 thru 16 to complete evaluation. Press RUN for results. (See Title & Results). |  |  |  | Do Not Print this page
1 | Program Title | Com. Solar Water Heating
2 | Demand & Energy Savings
| Winter kW | 0.404
| Summer kW | 0.313
| kWh | 1730
3 | Switch (1=Conservation, 0=Load Management) | 1
4 | Switch (1=Residential, 0=Commercial) | 0
ADJUSTED
5 | Participation | Annual |  |  |  | Cumulative | CUMULATIVE
|  | Total Partic. |  |  |  | Total Partic. | PARTICIPATING
| YEAR | Customers |  |  | YEAR | Customers | CUSTOMERS
| 2015 | 1000 | 1 |  | 2015 | 1000 | 1000
| 2016 | 1000 | 2 |  | 2016 | 2000 | 2000
| 2017 | 1000 | 3 |  | 2017 | 3000 | 3000
| 2018 | 1000 | 4 |  | 2018 | 4000 | 4000
| 2019 | 0 | 5 |  | 2019 | 4000 | 4000
| 2020 | 0 | 6 |  | 2020 | 4000 | 4000
| 2021 | 0 | 7 |  | 2021 | 4000 | 4000
| 2022 | 0 | 8 |  | 2022 | 4000 | 4000
| 2023 | 0 | 9 |  | 2023 | 4000 | 4000
| 2024 | 0 |  |  | 2024 | 4000 | 4000
| 2025 | 0 |  |  | 2025 | 4000 | 4000
| 2026 | 0 |  |  | 2026 | 4000 | 4000
| 2027 | 0 |  |  | 2027 | 4000 | 4000
| 2028 | 0 |  |  | 2028 | 4000 | 4000
| 2029 | 0 |  |  | 2029 | 4000 | 4000
[5 empty] | 2030 | 4000 | 4000
[5 empty] | 2031 | 4000 | 4000
6 | Free Riders | 0% |  |  | 2032 | 4000 | 4000
7 | Study Period for Conservation Program | 25 | Years |  | 2033 | 4000 | 4000
8 | Utility Non Recurring Cost Per Customer | 0 | $/CUST |  | 2034 | 4000 | 4000
9 | Utility Recurring Cost Per Customer (Load Management) | 0 | $/CUST/YR |  | 2035 | 4000 | 4000
10 | Customer Equipment Cost | 5656 | $/CUST |  | 2036 | 4000 | 4000
11 | Customer O & M Cost | 50 | $/CUST/YR |  | 2037 | 4000 | 4000
12 | Customer Tax Credit Per Installation | 0 | $/CUST |  | 2038 | 4000 | 4000
13 | Increased Supply Costs | 0 | $/CUST/YR |  | 2039 | 4000 | 4000
14 | Utility Non Recurring Rebate/Incentive | 0 | $/CUST |  | 2040 | 4000 | 4000
15 | Utility Recurring Rebate/Incentive (Load Management) | 0 | $/CUST/YR
16 | Diversity and Annual Demand | N/A
| Adjustment Factor for Customer Bill: | 1
See Participation C,D,E,F 73
See Participation F_22 F5,6

## Title_RESULTS
Residential
|  | INPUT DATA - PART 1 |  |  |  | PSC FORM CE 1.1 | [9 empty] | Formula Entry | X |  | 0 | <= INPUT % FREE RIDERS; | Summer EUE | 0.686 |  | LOLP CALC | Forced Outage Rate | 0.034 | 0.966
|  | PROGRAM TITLE: | Com. Solar Water Heating |  |  | PAGE 1 OF 1 | [9 empty] | Com./Res. Toggle | X |  |  | THEN PARTICIPANTS IN COL. (1). | Winter EUE | 0.314 |  | PERCENT RED: | Line Loss | 0.066 | 0.934
[6 empty] | RUN DATE: | 2026-07-30 05:48 | [8 empty] | LdMgt. Toggle |  |  |  | 36980.3772 |  |  |  | 25 | Multiplier (see U4) | 0.90224
Study Period (Years)
| PROGRAM DEMAND SAVINGS & LINE LOSSES |  |  |  | AVOIDED GENERATOR, TRANS. & DIST COSTS | [10 empty] | Macros | [8 empty] | Commercial
I. | (1) CUSTOMER KW REDUCTION AT THE METER | 0.404 | KW /CUST | IV. | (1) BASE YEAR | 2015 | [18 empty] | Forced Outage Rate | 0.034 | 0.966
I. | (2) GENERATOR KW REDUCTION PER CUSTOMER | 0.37818 | KW GEN/CUST | IV. | (2) IN-SERVICE YEAR FOR AVOIDED GENERATING UNIT | 2019 |  |  | 1.03 | [6 empty] | What Changes | [8 empty] | Line Loss | 0.065 | 0.935
I. | (3) KW LINE LOSS PERCENTAGE | 7 | % | IV. | (3) IN-SERVICE YEAR FOR AVOIDED T & D | 2016 |  | 0.37858 | Residential | 2013 | 2014 | 2015 |  |  |  | Res Ld. Mgmt. | Comm | Comm/LDMgmt | [6 empty] | Multiplier (see U4) | 0.90321
I. | (4) GENERATION KWH REDUCTION PER CUSTOMER | 1824.8945 | KWH/CUST/YR | IV. | (4) BASE YEAR AVOIDED GENERATING UNIT COST | 650.6394 | $/KW | 0.37818 | Commercial | 613.29 | 631.6887 | 650.6394
I. | (5) KWH LINE LOSS PERCENTAGE | 5.2 | % | IV. | (5) BASE YEAR AVOIDED TRANSMISSION COST | 11.9245 | $/KW | 0 |  | 11.24 | 11.5772 | 11.9245 |  |  |  |  | Gen KW |  |  |  |  | 0.29775 | REDUCTION @
I. | (6) GROUP LINE LOSS MULTIPLIER | 1 |  | IV. | (6) BASE YEAR DISTRIBUTION COST | 57.957 | $/KW | 571.47 | 1.024 | 54.63 | 56.2689 | 57.957 |  |  |  | Residential | Commercial |  |  |  |  | 0.33975 | 0.25
I. | (7) CUSTOMER KWH PROGRAM INCREASE AT METER | 0 | KWH/CUST/YR | IV. | (7) GEN, TRAN, & DIST COST ESCALATION RATE | 3 | % | [7 empty] | kW | 7.3 | 7% | 7% |  |  |  | 746.25
I. | (8)* CUSTOMER KWH REDUCTION AT METER | 1730 | KWH/CUST/YR | IV. | (8) GENERATOR FIXED O & M COST | 11.9538 | $/KW/YR |  |  | 11.4 | 11.6736 | 11.9538
|  |  |  | IV. | (9) GENERATOR FIXED O&M ESCALATION RATE | 2.4 | % |  |  | 2014 | 2015 |  |  |  | kWh | 5.6 | 5.2% | 5.2%
| ECONOMIC LIFE & K FACTORS |  |  | IV. | (10) TRANSMISSION FIXED O & M COST | 2.9184 | $/KW/YR |  |  | 2.85 | 2.9184
II. | (1) STUDY PERIOD FOR CONSERVATION PROGRAM | 25 | YEARS | IV. | (11) DISTRIBUTION FIXED O & M COST | 11.6941 | $/KW/YR |  |  | 11.42 | 11.6941
II. | (2) GENERATOR ECONOMIC LIFE | 25 | YEARS | IV. | (12) T&D FIXED O&M ESCALATION RATE | 2.4 | % | [8 empty] | GEN KW=
II. | (3) T & D ECONOMIC LIFE | 25 | YEARS | IV. | (13) AVOIDED GEN UNIT VARIABLE O & M COSTS | 0.18 | CENTS/KWH | 1.8 | 0.0018
II. | (4) K FACTOR FOR GENERATION | 1.4625 |  | IV. | (14) GENERATOR VARIABLE O&M COST ESCALATION RATE | 2.4 | % |  | 0.18
II. | (5) K FACTOR FOR T & D | 1.4625 |  | IV. | (15) GENERATOR CAPACITY FACTOR | 13.2 | % |  |  | 2019 | 2018 | 2017 | 2016 | 2015
| (6)* SWITCH REV REQ(0) OR VAL-OF-DEF (1) | 0 |  | IV. | (16) AVOIDED GENERATING UNIT FUEL COST | 4.5623 | CENTS/KWH |  | 1.0521 | 5.59 | 5.3132 | 5.0501 | 4.8 | 4.5623
|  |  |  | IV. | (17) AVOIDED GEN UNIT FUEL ESCALATION RATE | 5.21 | % | 9.4
|  |  |  | IV. | (18)* AVOIDED PURCHASE CAPACITY COST PER KW | 0 | $/KW/YR | 7.7
| UTILITY & CUSTOMER COSTS |  |  | IV. | (19)* CAPACITY COST ESCALATION RATE | 0 | % | 6.6
III. | (1) UTILITY NONRECURRING COST PER CUSTOMER | 0 | $/CUST |  |  |  |  | 7.9
III. | (2) UTILITY RECURRING COST PER CUSTOMER | 0 | $/CUST/YR
III. | (3) UTILITY COST ESCALATION RATE | 2.4 | % |  |  |  |  | Non-Fuel | Res | GSD Rate (2010)
III. | (4) CUSTOMER EQUIPMENT COST | 5656 | $/CUST |  | NON-FUEL ENERGY AND DEMAND CHARGES |  |  | Base Rate | 4.598 | 1.583 |  | kWh
III. | (5) CUSTOMER EQUIPMENT ESCALATION RATE | 2.4 | % | V. | (1) NON-FUEL COST IN CUSTOMER BILL | 2.5959 | CENTS/KWH | Fuel |  |  | 0
III. | (6) CUSTOMER O & M COST | 50 | $/CUST/YR | V. | (2) NON-FUEL ESCALATION RATE | 1 | % | ECCR | 0.295 | 0 | 0.78 | kW
III. | (7) CUSTOMER O & M ESCALATION RATE | 2.4 | % | V. | (3) CUSTOMER DEMAND CHARGE PER KW | 9.64 | $/KW/MO | Capacity | 0.202 | 0 | 0.63 | kw
III. | (8)* CUSTOMER TAX CREDIT PER INSTALLATION | 0 | $/CUST | V. | (4) DEMAND CHARGE ESCALATION RATE | 1 | % | ECRC | 0.483 | 0.477 | 0 | kwh
III. | (9)* CUSTOMER TAX CREDIT ESCALATION RATE | 0 | % | V. | (5)* DIVERSITY and ANNUAL DEMAND ADJUSTMENT |  |  | 2.5959 | 5.578 | 2.06 | 1.41 |  | Energy
III. | (10)* INCREASED SUPPLY COSTS | 0 | $/CUST/YR |  | FACTOR FOR CUSTOMER BILL | 1 |  | 9.64 |  |  |  |  | Demand
III. | (11)* SUPPLY COSTS ESCALATION RATE | 0 | % | [7 empty] | 9.82 | 8.41
III. | (12)* UTILITY DISCOUNT RATE | 0.0734
III. | (13)* UTILITY AFUDC RATE | 0.0645 |  |  | CALCULATED BENEFITS AND COSTS
III. | (14)* UTILITY NON RECURRING REBATE/INCENTIVE | 0 | $/CUST |  | (1)* TRC TEST - BENEFIT/COST RATIO | 0.28073
III. | (15)* UTILITY RECURRING REBATE/INCENTIVE | 0 | $/CUST/YR |  | (2)* PARTICIPANT NET BENEFITS (NPV) | -15674.3892
III. | (16)* UTILITY REBATE/INCENTIVE ESCAL RATE | 0 | % |  | (3)* RIM TEST - BENEFIT/COST RATIO | 0.82677
END OF EDITING AREA
YEARLY INPUT DATA: GO TO H5..Q76 & INPUT (Page 2)
PLEASE NOTE: UTILITY NON-LEVELIZED REVENUE REQUIREMENT
FACTORS AT RANGE NAMES GEN_RRTBL AND TRAN_RRTBL.

## Participation
[6 empty] | See N16 for Rev Requirements |  | Do Not Print
PROGRAM TITLE:
2026-07-30 05:48
VI. YEARLY INPUT DATA
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) |  |  | Generation
[14 empty] | Comb. Cycle | Tran & Dist
|  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK |  |  | Rev Reqm't | Rev Reqm't
| CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER |  |  |  | FACTORS | FACTORS
| TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR | [5 empty] | ---- | ----
|  |  | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
2015 | 1000 | 1000 | 3.92 | 4.03 | 0 | 3.92 | 1 | 1 | 0 | 0 | 0 |  | 2019 | 0.16963 | 0.16963 | 0.17935 | 0
2016 | 2000 | 2000 | 3.94 | 3.71 | 0 | 3.94 | 1 | 1 | 0 | 0 | 0 |  | 2020 | 0.16335 | 0.16335 | 0.17255 | 0
2017 | 3000 | 3000 | 3.94 | 3.34 | 0 | 3.94 | 1 | 1 | 0 | 0 | 0 |  | 2021 | 0.15625 | 0.15625 | 0.16486 | 0
2018 | 4000 | 4000 | 4.12 | 3.61 | 0 | 4.12 | 1 | 1 | 0 | 0 | 0 |  | 2022 | 0.14957 | 0.14957 | 0.15762 | 0
2019 | 4000 | 4000 | 4.33 | 3.8 | 0 | 4.33 | 1 | 1 | 0 | 0 | 0 |  | 2023 | 0.14326 | 0.14326 | 0.15079 | 0
2020 | 4000 | 4000 | 4.56 | 4.08 | 0 | 4.56 | 1 | 1 | 0 | 0 | 0 |  | 2024 | 0.13729 | 0.13729 | 0.14432 | 0
2021 | 4000 | 4000 | 4.68 | 4.4 | 0 | 4.7 | 1 | 1 | 0 | 0 | 0 |  | 2025 | 0.13155 | 0.13155 | 0.13811 | 0.02
2022 | 4000 | 4000 | 4.85 | 4.68 | 0 | 4.85 | 1 | 1 | 0 | 0 | 0 |  | 2026 | 0.12589 | 0.12589 | 0.13197 | 0
2023 | 4000 | 4000 | 5.06 | 4.92 | 0 | 5.06 | 1 | 1 | 0 | 0 | 0 |  | 2027 | 0.12023 | 0.12023 | 0.12584 | 0
2024 | 4000 | 4000 | 5.28 | 5.31 | 0 | 5.3 | 1 | 1 | 0 | 0 | 0 |  | 2028 | 0.11457 | 0.11457 | 0.11971 | 0.02
2025 | 4000 | 4000 | 5.42 | 5.7 | 0 | 5.44 | 1 | 1 | 0 | 0 | 0 |  | 2029 | 0.10891 | 0.10891 | 0.11358 | 0.02
2026 | 4000 | 4000 | 5.53 | 5.87 | 0 | 5.53 | 1 | 1 | 0 | 0 | 0 |  | 2030 | 0.10325 | 0.10325 | 0.10745 | 0
2027 | 4000 | 4000 | 5.62 | 6.08 | 0 | 5.63 | 1 | 1 | 0 | 0 | 0 |  | 2031 | 0.097586 | 0.097586 | 0.10132 | 0.01
2028 | 4000 | 4000 | 5.76 | 6.32 | 0 | 5.75 | 1 | 1 | 0 | 0 | 0 |  | 2032 | 0.091926 | 0.091926 | 0.095187 | -0.01
2029 | 4000 | 4000 | 5.97 | 6.79 | 0 | 5.98 | 1 | 1 | 0 | 0 | 0 |  | 2033 | 0.086265 | 0.086265 | 0.089056 | 0.01
2030 | 4000 | 4000 | 6.12 | 7.01 | 0 | 6.12 | 1 | 1 | 0 | 0 | 0 |  | 2034 | 0.081285 | 0.081285 | 0.083662 | 0
2031 | 4000 | 4000 | 6.31 | 7.43 | 0 | 6.32 | 1 | 1 | 0 | 0 | 0 |  | 2035 | 0.077667 | 0.077667 | 0.079743 | 0.01
2032 | 4000 | 4000 | 6.58 | 7.85 | 0 | 6.59 | 1 | 1 | 0 | 0 | 0 |  | 2036 | 0.07473 | 0.07473 | 0.076562 | 0.01
2033 | 4000 | 4000 | 6.89 | 8.27 | 0 | 6.89 | 1 | 1 | 0 | 0 | 0 |  | 2037 | 0.071793 | 0.071793 | 0.07338 | 0
2034 | 4000 | 4000 | 7.14 | 8.4 | 0 | 7.14 | 1 | 1 | 0 | 0 | 0 |  | 2038 | 0.068855 | 0.068855 | 0.070199 | 0
2035 | 4000 | 4000 | 7.6 | 9.2 | 0 | 7.59 | 1 | 1 | 0 | 0 | 0 |  | 2039 | 0.065918 | 0.065918 | 0.067017 | -0.01
2036 | 4000 | 4000 | 8.27 | 9.71 | 0 | 8.28 | 1 | 1 | 0 | 0 | 0 |  | 2040 | 0.062981 | 0.062981 | 0.063836 | 0.01
2037 | 4000 | 4000 | 8.83 | 10.5 | 0 | 8.83 | 1 | 1 | 0 | 0 | 0 |  | 2041 | 0.060043 | 0.060043 | 0.060654 | 0
2038 | 4000 | 4000 | 9.66 | 11.42 | 0 | 9.67 | 1 | 1 | 0 | 0 | 0 |  | 2042 | 0.057106 | 0.057106 | 0.057472 | 0.01
2039 | 4000 | 4000 | 10.18 | 12.18 | 0 | 10.19 | 1 | 1 | 0 | 0 | 0 |  | 2043 | 0.054169 | 0.054169 | 0.054291 | 0.01
2040 | 4000 | 4000 | 10.73 | 12.76 | 0 | 10.74 | 1 | 1 | 0 | 0 | 0 |  | 2044 | 0 | 0 |  | 0.01
2041 | 0 | 0 | 11.53 | 13.56 | 0 | 11.54 | 1 | 1 | 0 | 0 | 0 |  | 2045 | 0 | 0 |  | 0.01
2042 | 0 | 0 | 12.07 | 14.01 | 0 | 12.07 | 1 | 1 | 0 | 0 | 0 |  | 2046 | 0 | 0 |  | 0
2043 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |  | 2047 | 0 | 0 |  | 0
2044 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |  | 2048 | 0 | 0 |  | 0
2045 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |  | 2049 | 0 | 0
2046 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2047 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2048 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2049 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2
1
Unit Size of Avoided Generation Unit | (2): 1513
|  | (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
|  |  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK
|  | CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER
|  | TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
| YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR
|  |  | 0 | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
| 2015 | 1000 | 1000 | 3.92 | 4.03 | 0 | 0 | 1 | 1 | 0 | 0 | 2.02
| 2016 | 2000 | 2000 | 3.94 | 3.71 | 0 | 0 | 1 | 1 | 0 | 0 | 2.1
| 2017 | 3000 | 3000 | 3.94 | 3.34 | 0 | 0 | 1 | 1 | 0 | 0 | 2.4
| 2018 | 4000 | 4000 | 4.12 | 3.61 | 0 | 0 | 1 | 1 | 0 | 0 | 2.41
| 2019 | 4000 | 4000 | 4.33 | 3.8 | 0 | 0 | 1 | 1 | 0 | 0 | 2.79
| 2020 | 4000 | 4000 | 4.56 | 4.08 | 0 | 0 | 1 | 1 | 0 | 0 | 3.05
| 2021 | 4000 | 4000 | 4.68 | 4.4 | 0 | 0 | 1 | 1 | 0 | 0 | 3.18
| 2022 | 4000 | 4000 | 4.85 | 4.68 | 0 | 0 | 1 | 1 | 0 | 0 | 3.07
| 2023 | 4000 | 4000 | 5.06 | 4.92 | 0 | 0 | 1 | 1 | 0 | 0 | 3.49
| 2024 | 4000 | 4000 | 5.28 | 5.31 | 0 | 0 | 1 | 1 | 0 | 0 | 3.53
| 2025 | 4000 | 4000 | 5.42 | 5.7 | 0 | 0 | 1 | 1 | 0 | 0 | 3.81
| 2026 | 4000 | 4000 | 5.53 | 5.87 | 0 | 0 | 1 | 1 | 0 | 0 | 4.29
| 2027 | 4000 | 4000 | 5.62 | 6.08 | 0 | 0 | 1 | 1 | 0 | 0 | 4.43
| 2028 | 4000 | 4000 | 5.76 | 6.32 | 0 | 0 | 1 | 1 | 0 | 0 | 4.61
| 2029 | 4000 | 4000 | 5.97 | 6.79 | 0 | 0 | 1 | 1 | 0 | 0 | 5.23
| 2030 | 4000 | 4000 | 6.12 | 7.01 | 0 | 0 | 1 | 1 | 0 | 0 | 5.38
| 2031 | 4000 | 4000 | 6.31 | 7.43 | 0 | 0 | 1 | 1 | 0 | 0 | 5.63
| 2032 | 4000 | 4000 | 6.58 | 7.85 | 0 | 0 | 1 | 1 | 0 | 0 | 6.18
| 2033 | 4000 | 4000 | 6.89 | 8.27 | 0 | 0 | 1 | 1 | 0 | 0 | 6.57
| 2034 | 4000 | 4000 | 7.14 | 8.4 | 0 | 0 | 1 | 1 | 0 | 0 | 6.76
| 2035 | 4000 | 4000 | 7.6 | 9.2 | 0 | 0 | 1 | 1 | 0 | 0 | 7.26
| 2036 | 4000 | 4000 | 8.27 | 9.71 | 0 | 0 | 1 | 1 | 0 | 0 | 7.3
| 2037 | 4000 | 4000 | 8.83 | 10.5 | 0 | 0 | 1 | 1 | 0 | 0 | 7.35
| 2038 | 4000 | 4000 | 9.66 | 11.42 | 0 | 0 | 1 | 1 | 0 | 0 | 8.21
| 2039 | 4000 | 4000 | 10.18 | 12.18 | 0 | 0 | 1 | 1 | 0 | 0 | 8.04
| 2040 | 4000 | 4000 | 10.73 | 12.76 | 0 | 0 | 1 | 1 | 0 | 0 | 8.31
| 2041 | 0 | 0 | 11.53 | 13.56 | 0 | 0 | 1 | 1 | 0 | 0 | 9.05
| 2042 | 0 | 0 | 12.07 | 14.01 | 0 | 0 | 1 | 1 | 0 | 0 | 8.99
| 2043 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9.37
| 2044 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9.75
| 2045 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2046 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2047 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2048 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2049 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0

## f-11B
|  | CALCULATION OF AFUDC AND IN-SERVICE COST OF PLANT | [7 empty] | PSC FORM CE 1.1B
|  |  |  | PLANT: | 2019 | Avoided Unit |  |  |  | PAGE 1 OF 1
2026-07-30 05:48
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
| NO. YEARS | PLANT | CUMULATIVE |  |  | CUMULATIVE | CUMULATIVE | YEARLY | INCREMENTAL | CUMULATIVE | <-- INPUTS FOR OTHER COSTS & BENEFITS - EXTERNALLY CALC., FORMS 2.3, 2.4, & 2.5 -->
| BEFORE | ESCALATION | ESCALATION | YEARLY | ANNUAL | AVERAGE | SPENDING | TOTAL | YEAR-END | YEAR-END |  | (1) | (2) | (3) | (4) | (5) | (6)
| INSERVICE | RATE | FACTOR | EXPENDITURE | SPENDING | SPENDING | WITH AFUDC | AFUDC | BOOK VALUE | BOOK VALUE |  | (1): <-- FORM 2.3 --->; (3): <---- FORM 2.4 --->; (5): <---- FORM 2.5 ---->
YEAR |  | (%) |  | (%) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | YEAR | OTHER COST | OTHER BEN | OTH COST | OTHER BENEFITS | COSTS | BENEFITS
2009 | [11 empty] | ($000) | ($000) | ($000) | ($000) | ($000) | ($000)
2010 | [10 empty] | 2015 | 0 | 0 | 0 | 0 | 0 | 0
2011 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2016 | 0 | 0 | 0 | 0 | 0 | 0
2012 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0
2013 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0
2014 | -7 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0
2015 | -6 | 0.024 | 1.024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020 | 0 | 0 | 0 | 0 | 0 | 0
2016 | -5 | 0.024 | 1.0486 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2021 | 0 | 0 | 0 | 0 | 0 | 0
2017 | -4 | 0.024 | 1.0737 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022 | 0 | 0 | 0 | 0 | 0 | 0
2018 | -3 | 0.024 | 1.0995 | 0 | 0 | 0 | 0 |  | 0 | 0 | 2023 | 0 | 0 | 0 | 0 | 0 | 0
2019 | -2 | 0.024 | 1.1259 | 0.755 | 557.77 | 540.3366 | 557.77 | 17.4334 | 557.77 | 557.77 | 2024 | 0 | 0 | 0 | 0 | 0 | 0
2020 | -1 | 0.024 | 1.1529 | 0.24 | 216.2732 | 175.7512 | 216.2732 | 40.522 | 216.2732 | 774.0432 | 2025 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 0 | 0.022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2026 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2027 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2028 | 0 | 0 | 0 | 0 | 0 | 0
IN-SERVICE YEAR = |  | 2019 | [6 empty] | 774.0432 |  | 2029 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2030 | 0 | 0 | 0 | 0 | 0 | 0
PLANT COSTS (2013$) |  | 650.6394 | [8 empty] | 2031 | 0 | 0 | 0 | 0 | 0 | 0
AFUDC RATE: |  | 6.45% | [8 empty] | 2032 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2033 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2034 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2035 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2036 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2037 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2038 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2039 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2040 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2041 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2042 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2043 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2044 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2045 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2046 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2047 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2048 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2049 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2050 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2051 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2052 | 0 | 0 | 0 | 0 | 0 | 0
PSC FORM CE 1.1
PAGE 1 OF 1 | bar: (2)
[11 empty] | Run date: | (1): 37062
[12 empty] | 37062.5552 | *
*
2001 | bar: (2)
2004
[7 empty] | 16.2994 | [12 empty] | CONS | TRUCTION PERIOD | VALUES
[20 empty] | ACCUM. | BOOK |  | CWIP IN |  | ACCUM. | DEF | ERRED
[12 empty] | (4): Spending Curve; (6): CONSTR. |  | ACCUM. | CONSTR. | VALUE | DEFERRED | RATE CAPITALIZED | C | APITALIZED | TA | X ON
[12 empty] | (5): YEAR; (6): EXPEND. | AFUDC | AFUDC | EXPEND. | NOT CLOSED | TAXES | BASE INTEREST |  | INTEREST | AF | UDC
[14 empty] | 0.77158 | 0.49261 | 2018 | 110769 | 3572 | 3572 | 110769 | 114341 | 205 | 0. 2355. |  | 2355 |  | 205
[14 empty] | 0.25096 | 0.50739 | 2019 | 36029 | 8307 | 11879 | 36029 | 44336 | 650 | 0. 7292. |  | 9647 |  | 650
[12 empty] | (5): 2019; (6): 0 | 0 | 0 | 0 | 0 | 482 | 0. 0. |  | 0 |  | -34
[12 empty] | (5): IN SER; (6): VICE DATE TOT | ALS | 11864 | 143562 | 155426 |  |  |  | 9647
[12 empty] | (5): 0.75457; (6): 540.3366 | 18.8 |  |  | 557.761 | 557.77
[12 empty] | (5): 0.24543; (6): 175.7512 | 43.7211 |  |  | 216.2732
774.0341
716.0878

## Sheet3(F_21)
|  |  | AVOIDED GENERATION UNIT BENEFITS | [5 empty] | PSC FORM CE 2.1
|  |  | PROGRAM: | Com. Solar Water Heating |  |  |  |  | Page 1 of 1
2026-07-30 05:48
|  | * UNIT SIZE OF AVOIDED GENERATION UNIT = |  |  |  | 1513 | KW
|  | * INSERVICE COSTS OF AVOIDED GEN. UNIT (000) = |  |  |  | 1171.1273
(1) | (1A)* | (2) | (2A)* | (3) | (4) | (5) | (6) | (6A)* | (7)
|  | AVOIDED | AVOIDED | AVOIDED | AVOIDED | AVOIDED |  | AVOIDED
| REVENUE | GEN UNIT | ANNUAL | UNIT | GEN UNIT | GEN UNIT |  | PURCHASED | AVOIDED
| REQUIREMENT | CAPACITY | UNIT | FIXED | VARIABLE | FUEL | REPLACEMENT | CAPACITY | GEN UNIT
| FACTOR | COST | KWH GEN | O&M COST | O&M COST | COST | FUEL COST | COSTS | BENEFITS
YEAR |  | $(000) | (000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019 | 0.16963 | 198.6563 | 1749.1784 | 19.9033 | 3.4618 | 97.7791 | 75.7394 | 0 | 244.0611
2020 | 0.16335 | 191.3008 | 1749.1784 | 20.381 | 3.5449 | 102.8734 | 79.7625 | 0 | 238.3375
2021 | 0.15625 | 182.9865 | 1749.1784 | 20.8701 | 3.63 | 108.2331 | 82.2114 | 0 | 233.5083
2022 | 0.14957 | 175.1597 | 1749.1784 | 21.371 | 3.7171 | 113.872 | 84.8352 | 0 | 229.2847
2023 | 0.14326 | 167.7714 | 1749.1784 | 21.8839 | 3.8063 | 119.8047 | 88.5084 | 0 | 224.758
2024 | 0.13729 | 160.7783 | 1749.1784 | 22.4091 | 3.8977 | 126.0466 | 92.7065 | 0 | 220.4252
2025 | 0.13155 | 154.0608 | 1749.1784 | 22.947 | 3.9912 | 132.6136 | 95.1553 | 0 | 218.4572
2026 | 0.12589 | 147.4316 | 1749.1784 | 23.4977 | 4.087 | 139.5228 | 96.7296 | 0 | 217.8095
2027 | 0.12023 | 140.8024 | 1749.1784 | 24.0616 | 4.1851 | 146.7919 | 98.4787 | 0 | 217.3623
2028 | 0.11457 | 134.1732 | 1749.1784 | 24.6391 | 4.2855 | 154.4398 | 100.5778 | 0 | 216.9599
2029 | 0.10891 | 127.544 | 1749.1784 | 25.2304 | 4.3884 | 162.4861 | 104.6009 | 0 | 215.0481
2030 | 0.10325 | 120.9149 | 1749.1784 | 25.836 | 4.4937 | 170.9516 | 107.0497 | 0 | 215.1464
2031 | 0.097586 | 114.2857 | 1749.1784 | 26.456 | 4.6016 | 179.8582 | 110.5481 | 0 | 214.6534
2032 | 0.091926 | 107.6565 | 1749.1784 | 27.091 | 4.712 | 189.2288 | 115.2709 | 0 | 213.4174
2033 | 0.086265 | 101.0273 | 1749.1784 | 27.7412 | 4.8251 | 199.0876 | 120.5184 | 0 | 212.1628
2034 | 0.081285 | 95.1956 | 1749.1784 | 28.407 | 4.9409 | 209.4601 | 124.8913 | 0 | 213.1121
2035 | 0.077667 | 90.9584 | 1749.1784 | 29.0887 | 5.0595 | 220.3729 | 132.7626 | 0 | 212.7169
2036 | 0.07473 | 87.5184 | 1749.1784 | 29.7869 | 5.1809 | 231.8544 | 144.832 | 0 | 209.5086
2037 | 0.071793 | 84.0784 | 1749.1784 | 30.5017 | 5.3052 | 243.934 | 154.4524 | 0 | 209.3669
2038 | 0.068855 | 80.6384 | 1749.1784 | 31.2338 | 5.4326 | 256.6429 | 169.1455 | 0 | 204.8021
2039 | 0.065918 | 77.1984 | 1749.1784 | 31.9834 | 5.563 | 270.014 | 178.2413 | 0 | 206.5175
NOMINAL |  | 2740.1371 | 36732.7457 | 535.32 | 93.1096 | 3575.8672 | 2357.0178 | 0 | 4587.416
NPV |  | 1248.1754 |  | 204.651 | 35.5955 | 1275.1667 | 866.3867 | 0 | 1897.2018
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet5(p_5)
| * WORKSHEET : DSM PROGRAM FUEL SAVINGS |  |  |  | WORKSHEET FOR FORM CE 2.2
| PROGRAM: | Com. Solar Water Heating |  |  | Page 1 of 1
2026-07-30 05:48
(1) | (2) | (3) | (4) | (5) | (6) | (7)
| REDUCTION |  | INCREASE |  | NET
| IN KWH | AVOIDED | IN KWH | INCREASED | AVOIDED | EFFECTIVE
| GENERATION | MARGINAL | GENERATION | MARGINAL | PROGRAM | PROGRAM
| NET NEW CUST | FUEL COST - | NET NEW CUST | FUEL COST - | FUEL | FUEL
| KWH | REDUCED KWH | KWH | INCREASE KWH | SAVINGS | SAVINGS
YEAR | (000) | $(000) | (000) | $(000) | $(000) | $(000)
2015 | 912.4473 | 36.7716 | 26.3713 | 0 | 36.7716 | 36.7716
2016 | 2737.3418 | 101.5554 | 79.1139 | 0 | 101.5554 | 101.5554
2017 | 4562.2363 | 152.3787 | 131.8565 | 0 | 152.3787 | 152.3787
2018 | 6387.1308 | 230.5754 | 184.5992 | 0 | 230.5754 | 230.5754
2019 | 7299.5781 | 277.384 | 210.9705 | 0 | 277.384 | 277.384
2020 | 7299.5781 | 297.8228 | 210.9705 | 0 | 297.8228 | 297.8228
2021 | 7299.5781 | 321.1814 | 210.9705 | 0 | 321.1814 | 321.1814
2022 | 7299.5781 | 341.6203 | 210.9705 | 0 | 341.6203 | 341.6203
2023 | 7299.5781 | 359.1392 | 210.9705 | 0 | 359.1392 | 359.1392
2024 | 7299.5781 | 387.6076 | 210.9705 | 0 | 387.6076 | 387.6076
2025 | 7299.5781 | 416.0759 | 210.9705 | 0 | 416.0759 | 416.0759
2026 | 7299.5781 | 428.4852 | 210.9705 | 0 | 428.4852 | 428.4852
2027 | 7299.5781 | 443.8143 | 210.9705 | 0 | 443.8143 | 443.8143
2028 | 7299.5781 | 461.3333 | 210.9705 | 0 | 461.3333 | 461.3333
2029 | 7299.5781 | 495.6414 | 210.9705 | 0 | 495.6414 | 495.6414
2030 | 7299.5781 | 511.7004 | 210.9705 | 0 | 511.7004 | 511.7004
2031 | 7299.5781 | 542.3586 | 210.9705 | 0 | 542.3586 | 542.3586
2032 | 7299.5781 | 573.0169 | 210.9705 | 0 | 573.0169 | 573.0169
2033 | 7299.5781 | 603.6751 | 210.9705 | 0 | 603.6751 | 603.6751
2034 | 7299.5781 | 613.1646 | 210.9705 | 0 | 613.1646 | 613.1646
2035 | 7299.5781 | 671.5612 | 210.9705 | 0 | 671.5612 | 671.5612
2036 | 7299.5781 | 708.789 | 210.9705 | 0 | 708.789 | 708.789
2037 | 7299.5781 | 766.4557 | 210.9705 | 0 | 766.4557 | 766.4557
2038 | 7299.5781 | 833.6118 | 210.9705 | 0 | 833.6118 | 833.6118
2039 | 7299.5781 | 889.0886 | 210.9705 | 0 | 889.0886 | 889.0886
NOMINAL | 167890.2954 | 11464.8085 | 4852.3207 | 0 | 11464.8085 | 11464.8085
NPV: |  | 4315.4441 |  | 0 | 4315.4441 | 4315.4441
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet2(F_12)
|  |  | INPUT DATA -- PART 2 | [5 empty] | PSC FORM CE 1.2
|  |  | PROGRAM: | Com. Solar Water Heating |  |  |  |  | PAGE 1 OF 1
2026-07-30 05:48
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
UTILITY
AVERAGE
| CUMULATIVE | ADJUSTED | SYSTEM | AVOIDED | INCREASED |  | PROGRAM | PROGRAM | OTHER | OTHER
| TOTAL | CUMULATIVE | FUEL | MARGINAL | MARGINAL | REPLACEMENT | KW | KWH | COSTS | BENEFITS
| PARTICIPATING | PARTICIPATING | COSTS | FUEL COST | FUEL COST | FUEL COST | EFFECTIVENESS | EFFECTIVENESS |  | (CO2)
YEAR | CUSTOMERS | CUSTOMERS | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | FACTOR | FACTOR | ($000) | ($000)
2015 | 1000 | 1000 | 3.92 | 4.03 | 0 | 3.92 | 1 | 1 | 0 | 0
2016 | 2000 | 2000 | 3.94 | 3.71 | 0 | 3.94 | 1 | 1 | 0 | 0
2017 | 3000 | 3000 | 3.94 | 3.34 | 0 | 3.94 | 1 | 1 | 0 | 0
2018 | 4000 | 4000 | 4.12 | 3.61 | 0 | 4.12 | 1 | 1 | 0 | 0
2019 | 4000 | 4000 | 4.33 | 3.8 | 0 | 4.33 | 1 | 1 | 0 | 0
2020 | 4000 | 4000 | 4.56 | 4.08 | 0 | 4.56 | 1 | 1 | 0 | 0
2021 | 4000 | 4000 | 4.68 | 4.4 | 0 | 4.7 | 1 | 1 | 0 | 0
2022 | 4000 | 4000 | 4.85 | 4.68 | 0 | 4.85 | 1 | 1 | 0 | 0
2023 | 4000 | 4000 | 5.06 | 4.92 | 0 | 5.06 | 1 | 1 | 0 | 0
2024 | 4000 | 4000 | 5.28 | 5.31 | 0 | 5.3 | 1 | 1 | 0 | 0
2025 | 4000 | 4000 | 5.42 | 5.7 | 0 | 5.44 | 1 | 1 | 0 | 0
2026 | 4000 | 4000 | 5.53 | 5.87 | 0 | 5.53 | 1 | 1 | 0 | 0
2027 | 4000 | 4000 | 5.62 | 6.08 | 0 | 5.63 | 1 | 1 | 0 | 0
2028 | 4000 | 4000 | 5.76 | 6.32 | 0 | 5.75 | 1 | 1 | 0 | 0
2029 | 4000 | 4000 | 5.97 | 6.79 | 0 | 5.98 | 1 | 1 | 0 | 0
2030 | 4000 | 4000 | 6.12 | 7.01 | 0 | 6.12 | 1 | 1 | 0 | 0
2031 | 4000 | 4000 | 6.31 | 7.43 | 0 | 6.32 | 1 | 1 | 0 | 0
2032 | 4000 | 4000 | 6.58 | 7.85 | 0 | 6.59 | 1 | 1 | 0 | 0
2033 | 4000 | 4000 | 6.89 | 8.27 | 0 | 6.89 | 1 | 1 | 0 | 0
2034 | 4000 | 4000 | 7.14 | 8.4 | 0 | 7.14 | 1 | 1 | 0 | 0
2035 | 4000 | 4000 | 7.6 | 9.2 | 0 | 7.59 | 1 | 1 | 0 | 0
2036 | 4000 | 4000 | 8.27 | 9.71 | 0 | 8.28 | 1 | 1 | 0 | 0
2037 | 4000 | 4000 | 8.83 | 10.5 | 0 | 8.83 | 1 | 1 | 0 | 0
2038 | 4000 | 4000 | 9.66 | 11.42 | 0 | 9.67 | 1 | 1 | 0 | 0
2039 | 4000 | 4000 | 10.18 | 12.18 | 0 | 10.19 | 1 | 1 | 0 | 0

## Sheet4(F_22)
|  | AVOIDED T & D AND PROGRAM FUEL SAVINGS |  |  |  |  | PSC FORM CE 2.2
|  | PROGRAM: | Com. Solar Water Heating |  |  |  | Page 1 of 2
2026-07-30 05:48
|  | * INSERVICE COSTS OF AVOIDED TRANS. (000) = |  |  | 18.583
|  | * INSERVICE COSTS OF AVOIDED DIST. (000) = |  |  | 96.4682
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10)
| AVOIDED | AVOIDED |  | AVOIDED | AVOIDED
| TRANSMISSION | TRANSMISSION | TOTAL AVOIDED | DISTRIBUTION | DISTRIBUTION | TOTAL AVOIDED | PROGRAM
| CAPACITY | O&M | TRANSMISSION | CAPACITY | O&M | DISTRIBUTION | FUEL
| COST | COST | COST | COST | COST | COST | SAVINGS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 0 | 0 | 0 | 0 | 0 | 36.7716
2016 | 0 | 4.5206 | 4.5206 | 0 | 19.3512 | 19.3512 | 101.5554
2017 | 0 | 4.6291 | 4.6291 | 0 | 19.8156 | 19.8156 | 152.3787
2018 | 0 | 4.7402 | 4.7402 | 0 | 20.2912 | 20.2912 | 230.5754
2019 | 3.1522 | 4.854 | 8.0062 | 16.3637 | 20.7782 | 37.1419 | 277.384
2020 | 3.0355 | 4.9705 | 8.006 | 15.7578 | 21.2768 | 37.0347 | 297.8228
2021 | 2.9036 | 5.0898 | 7.9934 | 15.073 | 21.7875 | 36.8605 | 321.1814
2022 | 2.7794 | 5.212 | 7.9913 | 14.4283 | 22.3104 | 36.7387 | 341.6203
2023 | 2.6621 | 5.337 | 7.9992 | 13.8197 | 22.8458 | 36.6655 | 359.1392
2024 | 2.5512 | 5.4651 | 8.0163 | 13.2436 | 23.3941 | 36.6378 | 387.6076
2025 | 2.4446 | 5.5963 | 8.0409 | 12.6903 | 23.9556 | 36.6459 | 416.0759
2026 | 2.3394 | 5.7306 | 8.07 | 12.1442 | 24.5305 | 36.6748 | 428.4852
2027 | 2.2342 | 5.8681 | 8.1023 | 11.5982 | 25.1193 | 36.7175 | 443.8143
2028 | 2.129 | 6.009 | 8.138 | 11.0521 | 25.7221 | 36.7743 | 461.3333
2029 | 2.0238 | 6.1532 | 8.177 | 10.5061 | 26.3395 | 36.8455 | 495.6414
2030 | 1.9186 | 6.3009 | 8.2195 | 9.96 | 26.9716 | 36.9316 | 511.7004
2031 | 1.8134 | 6.4521 | 8.2655 | 9.414 | 27.6189 | 37.0329 | 542.3586
2032 | 1.7083 | 6.6069 | 8.3152 | 8.8679 | 28.2818 | 37.1497 | 573.0169
2033 | 1.6031 | 6.7655 | 8.3686 | 8.3218 | 28.9605 | 37.2824 | 603.6751
2034 | 1.5105 | 6.9279 | 8.4384 | 7.8415 | 29.6556 | 37.4971 | 613.1646
2035 | 1.4433 | 7.0941 | 8.5374 | 7.4924 | 30.3673 | 37.8598 | 671.5612
2036 | 1.3887 | 7.2644 | 8.6531 | 7.2091 | 31.0961 | 38.3052 | 708.789
2037 | 1.3341 | 7.4387 | 8.7729 | 6.9257 | 31.8424 | 38.7682 | 766.4557
2038 | 1.2795 | 7.6173 | 8.8968 | 6.6424 | 32.6067 | 39.249 | 833.6118
2039 | 1.225 | 7.8001 | 9.0251 | 6.359 | 33.3892 | 39.7482 | 889.0886
NOMINAL | 43.4796 | 144.4436 | 187.9232 | 225.7108 | 618.308 | 844.0189 | 11464.8085
NPV: | 19.8056 | 61.9722 | 81.7778 | 102.8148 | 265.2794 | 368.0942 | 4315.4441
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet6(p_6)
|  | * WORKSHEET: UTILITY COSTS AND PARTICIPANT COSTS AND REV LOSS/GAIN | [12 empty] | WORKSHEET FOR FORM CE 2.2
|  | PROGRAM: |  | Com. Solar Water Heating | [10 empty] | Page 2 of 2
2026-07-30 05:48
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14) | (15) | (16) | (17) | (18)
| <----- UTILITY PROGRAM COSTS & REBATES -------> | [5 empty] | <------------------ PARTICIPATING CUSTOMER COSTS & BENEFITS ---------------------->
|  |  | TOTAL |  |  | TOTAL | PARTIC. | PARTIC. | TOTAL | REDUCT. | RED. | RED. | EFFECT. | INC. | INC. | INC. | EFFECT.
| UTIL | UTIL | UTIL | UTIL | UTIL | REBATE/ | CUST | CUST | COSTS | IN | REV. | REV. | REV. | IN | REV. | REV. | REVENUE
| NONREC. | RECUR | PGM | NONREC. | RECUR. | INCENT. | EQUIP | O & M | PARTIC. | CUST. | - FUEL | NONFUEL | REDUCT. | CUST. | - FUEL | NONFUEL | INC.
| COSTS | COSTS | COSTS | REBATES | REBATES | COSTS | COSTS | COSTS | CUST | KWH | PORTION | PORTION | TO CUST | KWH | PORTION | PORTION | IN BILL
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | (000) | $(000) | $(000) | $(000) | (000) | $(000) |  | $(000)
2015 | 0 | 0 | 0 | 0 | 0 | 0 | 5656 | 25 | 5681 | 865 | 33.908 | 45.8219 | 79.7299 | 0 | 0 | 0 | 0
2016 | 0 | 0 | 0 | 0 | 0 | 0 | 5791.744 | 76.8 | 5868.544 | 2595 | 102.243 | 138.8403 | 241.0833 | 0 | 0 | 0 | 0
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 5930.7459 | 131.072 | 6061.8179 | 4325 | 170.405 | 233.7146 | 404.1196 | 0 | 0 | 0 | 0
2018 | 0 | 0 | 0 | 0 | 0 | 0 | 6073.0838 | 187.9048 | 6260.9886 | 6055 | 249.466 | 330.4724 | 579.9384 | 0 | 0 | 0 | 0
2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 219.9023 | 219.9023 | 6920 | 299.636 | 381.4596 | 681.0956 | 0 | 0 | 0 | 0
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 225.18 | 225.18 | 6920 | 315.552 | 385.2742 | 700.8262 | 0 | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 230.5843 | 230.5843 | 6920 | 323.856 | 389.1269 | 712.9829 | 0 | 0 | 0 | 0
2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 236.1183 | 236.1183 | 6920 | 335.62 | 393.0182 | 728.6382 | 0 | 0 | 0 | 0
2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 241.7852 | 241.7852 | 6920 | 350.152 | 396.9484 | 747.1004 | 0 | 0 | 0 | 0
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 247.588 | 247.588 | 6920 | 365.376 | 400.9179 | 766.2939 | 0 | 0 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 253.5301 | 253.5301 | 6920 | 375.064 | 404.927 | 779.991 | 0 | 0 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 259.6148 | 259.6148 | 6920 | 382.676 | 408.9763 | 791.6523 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 265.8456 | 265.8456 | 6920 | 388.904 | 413.0661 | 801.9701 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 272.2259 | 272.2259 | 6920 | 398.592 | 417.1967 | 815.7887 | 0 | 0 | 0 | 0
2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 278.7593 | 278.7593 | 6920 | 413.124 | 421.3687 | 834.4927 | 0 | 0 | 0 | 0
2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 285.4495 | 285.4495 | 6920 | 423.504 | 425.5824 | 849.0864 | 0 | 0 | 0 | 0
2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 292.3003 | 292.3003 | 6920 | 436.652 | 429.8382 | 866.4902 | 0 | 0 | 0 | 0
2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 299.3155 | 299.3155 | 6920 | 455.336 | 434.1366 | 889.4726 | 0 | 0 | 0 | 0
2033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 306.4991 | 306.4991 | 6920 | 476.788 | 438.478 | 915.266 | 0 | 0 | 0 | 0
2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 313.8551 | 313.8551 | 6920 | 494.088 | 442.8627 | 936.9507 | 0 | 0 | 0 | 0
2035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 321.3876 | 321.3876 | 6920 | 525.92 | 447.2914 | 973.2114 | 0 | 0 | 0 | 0
2036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 329.1009 | 329.1009 | 6920 | 572.284 | 451.7643 | 1024.0483 | 0 | 0 | 0 | 0
2037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 336.9993 | 336.9993 | 6920 | 611.036 | 456.2819 | 1067.3179 | 0 | 0 | 0 | 0
2038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 345.0873 | 345.0873 | 6920 | 668.472 | 460.8447 | 1129.3167 | 0 | 0 | 0 | 0
2039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 353.3694 | 353.3694 | 6920 | 704.456 | 465.4532 | 1169.9092 | 0 | 0 | 0 | 0
NOMINAL | 0 | 0 | 0 | 0 | 0 | 0 | 23451.5736 | 6335.2749 | 29786.8485 | 159160 | 9873.11 | 9613.6625 | 19486.7725 | 0 | 0 | 0 | 0
NPV | 0 | 0 | 0 | 0 | 0 | 0 | 21109.5647 | 2623.3329 | 23732.8976 |  | 3903.0398 | 4155.4687 | 8058.5085 |  | 0 | 0 | 0
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet7(F_23)
|  |  | TOTAL RESOURCE COST TESTS | [8 empty] | PSC FORM CE 2.3
|  |  | PROGRAM: | Com. Solar Water Heating | [7 empty] | Page 1 of 1
2026-07-30 05:48
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13)
CUMULATIVE
| INCREASED | UTILITY | PARTICIPANT |  |  |  |  | PROGRAM |  |  |  | DISCOUNTED
| SUPPLY | PROGRAM | PROGRAM | OTHER | TOTAL | AVOIDED | AVOIDED | FUEL | OTHER | TOTAL | NET | NET
| COSTS | COSTS | COSTS | COSTS | COSTS | GEN UNIT | T & D | SAVINGS | BENEFITS | BENEFITS | BENEFITS | BENEFITS
[6 empty] | BENEFITS | BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 0 | 5681 | 0 | 5681 | 0 | 0 | 36.7716 | 0 | 36.7716 | -5644.2284 | -5644.2284
2016 | 0 | 0 | 5868.544 | 0 | 5868.544 | 0 | 23.8718 | 101.5554 | 0 | 125.4272 | -5743.1168 | -10994.626
2017 | 0 | 0 | 6061.8179 | 0 | 6061.8179 | 0 | 24.4447 | 152.3787 | 0 | 176.8234 | -5884.9944 | -16102.2965
2018 | 0 | 0 | 6260.9886 | 0 | 6260.9886 | 0 | 25.0314 | 230.5754 | 0 | 255.6068 | -6005.3817 | -20958.0412
2019 | 0 | 0 | 219.9023 | 0 | 219.9023 | 244.0611 | 45.1481 | 277.384 | 0 | 566.5932 | 346.6909 | -20696.8875
2020 | 0 | 0 | 225.18 | 0 | 225.18 | 238.3375 | 45.0407 | 297.8228 | 0 | 581.201 | 356.021 | -20447.0443
2021 | 0 | 0 | 230.5843 | 0 | 230.5843 | 233.5083 | 44.8538 | 321.1814 | 0 | 599.5436 | 368.9593 | -20205.8267
2022 | 0 | 0 | 236.1183 | 0 | 236.1183 | 229.2847 | 44.73 | 341.6203 | 0 | 615.6349 | 379.5166 | -19974.6737
2023 | 0 | 0 | 241.7852 | 0 | 241.7852 | 224.758 | 44.6647 | 359.1392 | 0 | 628.562 | 386.7768 | -19755.2074
2024 | 0 | 0 | 247.588 | 0 | 247.588 | 220.4252 | 44.6541 | 387.6076 | 0 | 652.6869 | 405.0988 | -19541.063
2025 | 0 | 0 | 253.5301 | 0 | 253.5301 | 218.4572 | 44.6868 | 416.0759 | 0 | 679.22 | 425.6898 | -19331.4215
2026 | 0 | 0 | 259.6148 | 0 | 259.6148 | 217.8095 | 44.7448 | 428.4852 | 0 | 691.0395 | 431.4246 | -19133.4843
2027 | 0 | 0 | 265.8456 | 0 | 265.8456 | 217.3623 | 44.8198 | 443.8143 | 0 | 705.9964 | 440.1508 | -18945.3524
2028 | 0 | 0 | 272.2259 | 0 | 272.2259 | 216.9599 | 44.9122 | 461.3333 | 0 | 723.2054 | 450.9796 | -18765.7731
2029 | 0 | 0 | 278.7593 | 0 | 278.7593 | 215.0481 | 45.0225 | 495.6414 | 0 | 755.712 | 476.9527 | -18588.8384
2030 | 0 | 0 | 285.4495 | 0 | 285.4495 | 215.1464 | 45.1511 | 511.7004 | 0 | 771.998 | 486.5484 | -18420.6864
2031 | 0 | 0 | 292.3003 | 0 | 292.3003 | 214.6534 | 45.2984 | 542.3586 | 0 | 802.3104 | 510.0101 | -18256.4787
2032 | 0 | 0 | 299.3155 | 0 | 299.3155 | 213.4174 | 45.4649 | 573.0169 | 0 | 831.8992 | 532.5836 | -18096.7288
2033 | 0 | 0 | 306.4991 | 0 | 306.4991 | 212.1628 | 45.6509 | 603.6751 | 0 | 861.4888 | 554.9897 | -17941.6414
2034 | 0 | 0 | 313.8551 | 0 | 313.8551 | 213.1121 | 45.9355 | 613.1646 | 0 | 872.2122 | 558.3571 | -17796.2825
2035 | 0 | 0 | 321.3876 | 0 | 321.3876 | 212.7169 | 46.3972 | 671.5612 | 0 | 930.6753 | 609.2877 | -17648.511
2036 | 0 | 0 | 329.1009 | 0 | 329.1009 | 209.5086 | 46.9583 | 708.789 | 0 | 965.2559 | 636.155 | -17504.7737
2037 | 0 | 0 | 336.9993 | 0 | 336.9993 | 209.3669 | 47.541 | 766.4557 | 0 | 1023.3636 | 686.3643 | -17360.2964
2038 | 0 | 0 | 345.0873 | 0 | 345.0873 | 204.8021 | 48.1458 | 833.6118 | 0 | 1086.5598 | 741.4725 | -17214.8917
2039 | 0 | 0 | 353.3694 | 0 | 353.3694 | 206.5175 | 48.7733 | 889.0886 | 0 | 1144.3794 | 791.01 | -17070.3797
NOMINAL | 0 | 0 | 29786.8485 | 0 | 29786.8485 | 4587.416 | 1031.942 | 11464.8085 | 0 | 17084.1666 | -12702.6819
NPV: | 0 | 0 | 23732.8976 | 0 | 23732.8976 | 1897.2018 | 449.872 | 4315.4441 | 0 | 6662.5179 | -17070.3797
Discount Rate |  | 0.0734 | Benefit/Cost Ratio - [col (11)/col (6)]: |  |  |  | 0.28073

## Sheet8(F_24)
|  |  |  | PARTICIPANT COSTS AND BENEFITS | [6 empty] | PSC FORM CE 2.4
|  |  |  | PROGRAM: | Com. Solar Water Heating | [5 empty] | Page 1 of 1
2026-07-30 05:48
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12)
SAVINGS
| IN |  |  |  |  | CUSTOMER | CUSTOMER |  |  |  | CUMULATIVE
| PARTICIPANTS | TAX | UTILITY | OTHER | TOTAL | EQUIPMENT | O & M | OTHER | TOTAL | NET | DISCOUNTED
| BILL | CREDITS | REBATES | BENEFITS | BENEFITS | COSTS | COSTS | COSTS | COSTS | BENEFITS | NET BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 79.7299 | 0 | 0 | 0 | 79.7299 | 5656 | 25 | 0 | 5681 | -5601.2701 | -5601.2701
2016 | 241.0833 | 0 | 0 | 0 | 241.0833 | 5791.744 | 76.8 | 0 | 5868.544 | -5627.4607 | -10843.9202
2017 | 404.1196 | 0 | 0 | 0 | 404.1196 | 5930.7459 | 131.072 | 0 | 6061.8179 | -5657.6983 | -15754.3172
2018 | 579.9384 | 0 | 0 | 0 | 579.9384 | 6073.0838 | 187.9048 | 0 | 6260.9886 | -5681.0502 | -20347.8186
2019 | 681.0956 | 0 | 0 | 0 | 681.0956 | 0 | 219.9023 | 0 | 219.9023 | 461.1933 | -20000.4132
2020 | 700.8262 | 0 | 0 | 0 | 700.8262 | 0 | 225.18 | 0 | 225.18 | 475.6462 | -19666.621
2021 | 712.9829 | 0 | 0 | 0 | 712.9829 | 0 | 230.5843 | 0 | 230.5843 | 482.3986 | -19351.2393
2022 | 728.6382 | 0 | 0 | 0 | 728.6382 | 0 | 236.1183 | 0 | 236.1183 | 492.5199 | -19051.2591
2023 | 747.1004 | 0 | 0 | 0 | 747.1004 | 0 | 241.7852 | 0 | 241.7852 | 505.3152 | -18764.5314
2024 | 766.2939 | 0 | 0 | 0 | 766.2939 | 0 | 247.588 | 0 | 247.588 | 518.7058 | -18490.3318
2025 | 779.991 | 0 | 0 | 0 | 779.991 | 0 | 253.5301 | 0 | 253.5301 | 526.4609 | -18231.063
2026 | 791.6523 | 0 | 0 | 0 | 791.6523 | 0 | 259.6148 | 0 | 259.6148 | 532.0375 | -17986.9648
2027 | 801.9701 | 0 | 0 | 0 | 801.9701 | 0 | 265.8456 | 0 | 265.8456 | 536.1245 | -17757.8112
2028 | 815.7887 | 0 | 0 | 0 | 815.7887 | 0 | 272.2259 | 0 | 272.2259 | 543.5628 | -17541.3655
2029 | 834.4927 | 0 | 0 | 0 | 834.4927 | 0 | 278.7593 | 0 | 278.7593 | 555.7334 | -17335.2056
2030 | 849.0864 | 0 | 0 | 0 | 849.0864 | 0 | 285.4495 | 0 | 285.4495 | 563.6368 | -17140.4116
2031 | 866.4902 | 0 | 0 | 0 | 866.4902 | 0 | 292.3003 | 0 | 292.3003 | 574.1899 | -16955.5401
2032 | 889.4726 | 0 | 0 | 0 | 889.4726 | 0 | 299.3155 | 0 | 299.3155 | 590.1571 | -16778.5208
2033 | 915.266 | 0 | 0 | 0 | 915.266 | 0 | 306.4991 | 0 | 306.4991 | 608.7668 | -16608.4059
2034 | 936.9507 | 0 | 0 | 0 | 936.9507 | 0 | 313.8551 | 0 | 313.8551 | 623.0956 | -16446.1933
2035 | 973.2114 | 0 | 0 | 0 | 973.2114 | 0 | 321.3876 | 0 | 321.3876 | 651.8238 | -16288.1055
2036 | 1024.0483 | 0 | 0 | 0 | 1024.0483 | 0 | 329.1009 | 0 | 329.1009 | 694.9474 | -16131.0842
2037 | 1067.3179 | 0 | 0 | 0 | 1067.3179 | 0 | 336.9993 | 0 | 336.9993 | 730.3186 | -15977.3547
2038 | 1129.3167 | 0 | 0 | 0 | 1129.3167 | 0 | 345.0873 | 0 | 345.0873 | 784.2294 | -15823.5653
2039 | 1169.9092 | 0 | 0 | 0 | 1169.9092 | 0 | 353.3694 | 0 | 353.3694 | 816.5398 | -15674.3892
NOMINAL | 19486.7725 | 0 | 0 | 0 | 19486.7725 | 23451.5736 | 6335.2749 | 0 | 29786.8485 | -10300.076
NPV: | 8058.5085 | 0 | 0 | 0 | 8058.5085 | 21109.5647 | 2623.3329 | 0 | 23732.8976 | -15674.3892
In service year of gen unit: |  |  | 2019
Discount rate: |  |  | 0.0734 |  |  |  | 0.33955

## Sheet9(F_25)
[5 empty] | RATE IMPACT TEST | [7 empty] | PSC FORM CE 2.5
[5 empty] | PROGRAM: | Com. Solar Water Heating | [6 empty] | Page 1 of 1
2026-07-30 05:48
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14)
[7 empty] | AVOIDED |  |  |  |  | NET | CUMULATIVE
| INCREASED | UTILITY |  |  |  |  | GEN UNIT | AVOIDED |  |  |  | BENEFITS | DISCOUNTED
| SUPPLY | PROGRAM |  | REVENUE | OTHER | TOTAL | UNIT & FUEL | T & D | REVENUE | OTHER | TOTAL | TO ALL | NET
| COSTS | COSTS | INCENTIVES | LOSSES | COSTS | COSTS | BENEFITS | BENEFITS | GAINS | BENEFITS | BENEFITS | CUSTOMERS | BENEFIT
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 0 | 0 | 79.7299 | 0 | 79.7299 | 36.7716 | 0 | 0 | 0 | 36.7716 | -42.9583 | -42.9583
2016 | 0 | 0 | 0 | 241.0833 | 0 | 241.0833 | 101.5554 | 23.8718 | 0 | 0 | 125.4272 | -115.6561 | -150.7057
2017 | 0 | 0 | 0 | 404.1196 | 0 | 404.1196 | 152.3787 | 24.4447 | 0 | 0 | 176.8234 | -227.2961 | -347.9793
2018 | 0 | 0 | 0 | 579.9384 | 0 | 579.9384 | 230.5754 | 25.0314 | 0 | 0 | 255.6068 | -324.3316 | -610.2226
2019 | 0 | 0 | 0 | 681.0956 | 0 | 681.0956 | 521.4451 | 45.1481 | 0 | 0 | 566.5932 | -114.5023 | -696.4744
2020 | 0 | 0 | 0 | 700.8262 | 0 | 700.8262 | 536.1603 | 45.0407 | 0 | 0 | 581.201 | -119.6252 | -780.4232
2021 | 0 | 0 | 0 | 712.9829 | 0 | 712.9829 | 554.6898 | 44.8538 | 0 | 0 | 599.5436 | -113.4393 | -854.5874
2022 | 0 | 0 | 0 | 728.6382 | 0 | 728.6382 | 570.905 | 44.73 | 0 | 0 | 615.6349 | -113.0032 | -923.4145
2023 | 0 | 0 | 0 | 747.1004 | 0 | 747.1004 | 583.8973 | 44.6647 | 0 | 0 | 628.562 | -118.5384 | -990.676
2024 | 0 | 0 | 0 | 766.2939 | 0 | 766.2939 | 608.0328 | 44.6541 | 0 | 0 | 652.6869 | -113.607 | -1050.7312
2025 | 0 | 0 | 0 | 779.991 | 0 | 779.991 | 634.5332 | 44.6868 | 0 | 0 | 679.22 | -100.7711 | -1100.3585
2026 | 0 | 0 | 0 | 791.6523 | 0 | 791.6523 | 646.2947 | 44.7448 | 0 | 0 | 691.0395 | -100.6128 | -1146.5195
2027 | 0 | 0 | 0 | 801.9701 | 0 | 801.9701 | 661.1766 | 44.8198 | 0 | 0 | 705.9964 | -95.9736 | -1187.5411
2028 | 0 | 0 | 0 | 815.7887 | 0 | 815.7887 | 678.2932 | 44.9122 | 0 | 0 | 723.2054 | -92.5833 | -1224.4076
2029 | 0 | 0 | 0 | 834.4927 | 0 | 834.4927 | 710.6894 | 45.0225 | 0 | 0 | 755.712 | -78.7807 | -1253.6328
2030 | 0 | 0 | 0 | 849.0864 | 0 | 849.0864 | 726.8469 | 45.1511 | 0 | 0 | 771.998 | -77.0884 | -1280.2747
2031 | 0 | 0 | 0 | 866.4902 | 0 | 866.4902 | 757.012 | 45.2984 | 0 | 0 | 802.3104 | -64.1798 | -1300.9387
2032 | 0 | 0 | 0 | 889.4726 | 0 | 889.4726 | 786.4343 | 45.4649 | 0 | 0 | 831.8992 | -57.5734 | -1318.208
2033 | 0 | 0 | 0 | 915.266 | 0 | 915.266 | 815.8379 | 45.6509 | 0 | 0 | 861.4888 | -53.7771 | -1333.2356
2034 | 0 | 0 | 0 | 936.9507 | 0 | 936.9507 | 826.2767 | 45.9355 | 0 | 0 | 872.2122 | -64.7386 | -1350.0892
2035 | 0 | 0 | 0 | 973.2114 | 0 | 973.2114 | 884.2781 | 46.3972 | 0 | 0 | 930.6753 | -42.5361 | -1360.4055
2036 | 0 | 0 | 0 | 1024.0483 | 0 | 1024.0483 | 918.2976 | 46.9583 | 0 | 0 | 965.2559 | -58.7924 | -1373.6895
2037 | 0 | 0 | 0 | 1067.3179 | 0 | 1067.3179 | 975.8226 | 47.541 | 0 | 0 | 1023.3636 | -43.9543 | -1382.9417
2038 | 0 | 0 | 0 | 1129.3167 | 0 | 1129.3167 | 1038.414 | 48.1458 | 0 | 0 | 1086.5598 | -42.7569 | -1391.3264
2039 | 0 | 0 | 0 | 1169.9092 | 0 | 1169.9092 | 1095.6061 | 48.7733 | 0 | 0 | 1144.3794 | -25.5298 | -1395.9905
NOMINAL | 0 | 0 | 0 | 19486.7725 | 0 | 19486.7725 | 16052.2245 | 1031.942 | 0 | 0 | 17084.1666 | -2402.6059
NPV: | 0 | 0 | 0 | 8058.5085 | 0 | 8058.5085 | 6212.6459 | 449.872 | 0 | 0 | 6662.5179 | -1395.9905
Discount rate: |  |  | 0.0734 |  | Benefit/Cost Ratio - [col (12)/col (7)]: |  |  |  | 0.82677

## Value of Defferal
GEN: | [7 empty] | COMPUTATION OF CONSTRUCTION CASH FLOW AND PLANT |  |  |  |  | Do Not Print
COMPUTATION OF GENERATION COSTS & REV. REQUIREMENTS | [7 empty] | IN-SERVICE COSTS FOR AVOIDED TRANS & DIST PLANT
IN-SERVICE AVOIDED GEN. PLANT ($000) = |  |  |  | 1171.1273 |  |  |  | -----------------------------------------------
------------------------------------------ |  |  |  |  | GENERATION |  |  | TRAN: | Avoided Trans. = |  | 18.583
|  |  |  | COMPUTATION OF VALUE DEFERRAL PAYMENTS |  |  |  |  | Avoided Dist. = |  | 96.4682 |  | TRANSMISSION & DIST.
COMPUTATION OF VALUE DEFERRAL CREDITS
|  |  |  | ip= | 0.03 | Esc. rate | [5 empty] | ip= | 0.03 | Esc. rate
| Gen |  |  | r= | 0.0734 | Disc rate |  | TRAN |  |  |  | r= | 0.0734 | Disc rate
| Offset Cost | 3 |  | l= | 25 | Econ life |  | Offset Cost |  | 3 |  | l= | 25 | Econ life
| Offset Factor | 2 |  | c= | 1 | Risk factor |  | Offset Factor |  | 1 |  | c= | 1 | Risk factor
|  |  |  | k= | 1.4625 | K factor |  | DIST |  |  |  | k= | 1.4625 | K factor
|  |  |  | Ratio= | 0.95957 | calculated ratio |  | Offset Cost |  | 4 |  | Ratio= | 0.95957 | calculated ratio
[8 empty] | Offset Factor |  | 1
|  |  |  | VALUE of DEFERRAL | [7 empty] | VALUE DEFERRAL STARTING
|  |  |  | Factor = | 0.091872 | [6 empty] | FACTOR = | 0.091872
[5 empty] | AVOIDED |  |  |  |  | TRANS | DIST |  | AVOIDED | AVOIDED
|  | CARRYING | ANNUAL | Value | GEN. |  |  |  | CARRYING | ANNUAL | ANNUAL |  | TRANS. | DIST
|  | CHARGE | REV REQ | of Def | V OF D |  |  |  | CHARGE | REV REQ | REV REQ |  | V OF D | V OF D
N | Year | % | COSTS(000) | Factors | ($000) |  | N | Year | % | COSTS(000) | COSTS(000) | Factors | ($000) | $(000)
-- | ---- | ------ | ------ | ------ | ----- |  |  |  | ------ | ------ | ------
1 | 2015 | 0 | 0 | 0 | 0 |  | 1 | 2015 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2016 | 0 | 0 | 0 | 0 |  | 2 | 2016 | 0 | 0 | 0 | 0.091872 | 1.7073 | 8.8627
3 | 2017 | 0 | 0 | 0 | 0 |  | 3 | 2017 | 0 | 0 | 0 | 0.094628 | 1.7585 | 9.1286
4 | 2018 | 0 | 0 | 0 | 0 |  | 4 | 2018 | 0 | 0 | 0 | 0.097467 | 1.8112 | 9.4024
5 | 2019 | 0.16963 | 198.6563 | 0.091872 | 107.5935 |  | 5 | 2019 | 0.16963 | 3.1522 | 16.3637 | 0.10039 | 1.8656 | 9.6845
6 | 2020 | 0.16335 | 191.3008 | 0.094628 | 110.8213 |  | 6 | 2020 | 0.16335 | 3.0355 | 15.7578 | 0.1034 | 1.9215 | 9.9751
7 | 2021 | 0.15625 | 182.9865 | 0.097467 | 114.146 |  | 7 | 2021 | 0.15625 | 2.9036 | 15.073 | 0.1065 | 1.9792 | 10.2743
8 | 2022 | 0.14957 | 175.1597 | 0.10039 | 117.5704 |  | 8 | 2022 | 0.14957 | 2.7794 | 14.4283 | 0.1097 | 2.0386 | 10.5825
9 | 2023 | 0.14326 | 167.7714 | 0.1034 | 121.0975 |  | 9 | 2023 | 0.14326 | 2.6621 | 13.8197 | 0.11299 | 2.0997 | 10.9
10 | 2024 | 0.13729 | 160.7783 | 0.1065 | 124.7304 |  | 10 | 2024 | 0.13729 | 2.5512 | 13.2436 | 0.11638 | 2.1627 | 11.227
11 | 2025 | 0.13155 | 154.0608 | 0.1097 | 128.4723 |  | 11 | 2025 | 0.13155 | 2.4446 | 12.6903 | 0.11987 | 2.2276 | 11.5638
12 | 2026 | 0.12589 | 147.4316 | 0.11299 | 132.3265 |  | 12 | 2026 | 0.12589 | 2.3394 | 12.1442 | 0.12347 | 2.2944 | 11.9107
13 | 2027 | 0.12023 | 140.8024 | 0.11638 | 136.2963 |  | 13 | 2027 | 0.12023 | 2.2342 | 11.5982 | 0.12717 | 2.3632 | 12.2681
14 | 2028 | 0.11457 | 134.1732 | 0.11987 | 140.3851 |  | 14 | 2028 | 0.11457 | 2.129 | 11.0521 | 0.13099 | 2.4341 | 12.6361
15 | 2029 | 0.10891 | 127.544 | 0.12347 | 144.5967 |  | 15 | 2029 | 0.10891 | 2.0238 | 10.5061 | 0.13492 | 2.5072 | 13.0152
16 | 2030 | 0.10325 | 120.9149 | 0.12717 | 148.9346 |  | 16 | 2030 | 0.10325 | 1.9186 | 9.96 | 0.13896 | 2.5824 | 13.4056
17 | 2031 | 0.097586 | 114.2857 | 0.13099 | 153.4026 |  | 17 | 2031 | 0.097586 | 1.8134 | 9.414 | 0.14313 | 2.6599 | 13.8078
18 | 2032 | 0.091926 | 107.6565 | 0.13492 | 158.0047 |  | 18 | 2032 | 0.091926 | 1.7083 | 8.8679 | 0.14743 | 2.7396 | 14.222
19 | 2033 | 0.086265 | 101.0273 | 0.13896 | 162.7449 |  | 19 | 2033 | 0.086265 | 1.6031 | 8.3218 | 0.15185 | 2.8218 | 14.6487
20 | 2034 | 0.081285 | 95.1956 | 0.14313 | 167.6272 |  | 20 | 2034 | 0.081285 | 1.5105 | 7.8415 | 0.15641 | 2.9065 | 15.0882
21 | 2035 | 0.077667 | 90.9584 | 0.14743 | 172.656 |  | 21 | 2035 | 0.077667 | 1.4433 | 7.4924 | 0.1611 | 2.9937 | 15.5408
22 | 2036 | 0.07473 | 87.5184 | 0.15185 | 177.8357 |  | 22 | 2036 | 0.07473 | 1.3887 | 7.2091 | 0.16593 | 3.0835 | 16.007
23 | 2037 | 0.071793 | 84.0784 | 0.15641 | 183.1708 |  | 23 | 2037 | 0.071793 | 1.3341 | 6.9257 | 0.17091 | 3.176 | 16.4872
24 | 2038 | 0.068855 | 80.6384 | 0.1611 | 188.6659 |  | 24 | 2038 | 0.068855 | 1.2795 | 6.6424 | 0.17604 | 3.2713 | 16.9819
25 | 2039 | 0.065918 | 77.1984 | 0.16593 | 194.3259 |  | 25 | 2039 | 0.065918 | 1.225 | 6.359 | 0.18132 | 3.3694 | 17.4913
26 | 2040 | 0.062981 | 73.7584 | 0.17091 | 200.1557 |  | 26 | 2040 | 0.062981 | 1.1704 | 6.0756 | 0.18676 | 3.4705 | 18.0161
27 | 2041 | 0.060043 | 70.3184 | 0.17604 | 206.1603 |  | 27 | 2041 | 0.060043 | 1.1158 | 5.7923 | 0 | 0 | 0
28 | 2042 | 0.057106 | 66.8784 | 0.18132 | 212.3451 |  | 28 | 2042 | 0.057106 | 1.0612 | 5.5089 | 0 | 0 | 0
29 | 2043 | 0.054169 | 63.4384 | 0.18676 | 218.7155 |  | 29 | 2043 | 0.054169 | 1.0066 | 5.2256 | 0 | 0 | 0
30 | 2044 | 0 | 0 | 0 | 0 |  | 30 | 2044 | 0 | 0 | 0 | 0 | 0 | 0
31 | 2045 | 0 | 0 | 0 | 0 |  | 31 | 2045 | 0 | 0 | 0 | 0 | 0 | 0
32 | 2046 | 0 | 0 | 0 | 0 |  | 32 | 2046 | 0 | 0 | 0 | 0 | 0 | 0
33 | 2047 | 0 | 0 | 0 | 0 |  | 33 | 2047 | 0 | 0 | 0 | 0 | 0 | 0
34 | 2048 | 0 | 0 | 0 | 0 |  | 34 | 2048 | 0 | 0 | 0 | 0 | 0 | 0
35 | 2049 | 0 | 0 | 0 | 0 |  | 35 | 2049 | 0 | 0 | 0 | 0 | 0 | 0
36 | 2050 | 0 | 0 | 0 | 0 |  | 36 | 2050 | 0 | 0 | 0 | 0 | 0 | 0
37 | 2051 | 0 | 0 | 0 | 0 |  | 37 | 2051 | 0 | 0 | 0 | 0 | 0 | 0
38 | 2052 | 0 | 0 | 0 | 0 |  | 38 | 2052 | 0 | 0 | 0 | 0 | 0 | 0
39 | 2053 | 0 | 0 | 0 | 0 |  | 39 | 2053 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | ----- |  | ----- |  |  |  |  | ----- |  |  | ----
|  | NOMINAL | 3014.5307 |  | 3922.7809 |  |  |  | NOMINAL | 47.8335 |  |  | 62.2453
|  | NPV | 1290.4884 |  | 1290.1899 |  |  |  | NPV | 20.477 |  |  | 25.3193