## Input
Answer questions 1 thru 16 to complete evaluation. Press RUN for results. (See Title & Results). |  |  |  | Do Not Print this page
1 | Program Title | Res. Solar Water Heating
2 | Demand & Energy Savings
| Winter kW | 0.404 | 0 |  | 0
| Summer kW | 0.313 | 0.2 |  | 7.97
| kWh | 1730 | 1549 |  | 40520
3 | Switch (1=Conservation, 0=Load Management) | 1
4 | Switch (1=Residential, 0=Commercial) | 1
ADJUSTED
5 | Participation | Annual |  |  |  |  | Cumulative | CUMULATIVE
|  | Total Partic. |  |  |  |  | Total Partic. | PARTICIPATING
| YEAR | Customers |  |  |  | YEAR | Customers | CUSTOMERS
| 2015 | 1000 | 1 |  |  | 2015 | 1000 | 1000
| 2016 | 1000 | 2 |  |  | 2016 | 2000 | 2000
| 2017 | 1000 | 3 |  |  | 2017 | 3000 | 3000
| 2018 | 1000 | 4 |  |  | 2018 | 4000 | 4000
| 2019 | 0 | 5 |  |  | 2019 | 4000 | 4000
| 2020 | 0 | 6 |  |  | 2020 | 4000 | 4000
| 2021 | 0 | 7 |  |  | 2021 | 4000 | 4000
| 2022 | 0 | 8 |  |  | 2022 | 4000 | 4000
| 2023 | 0 | 9 |  |  | 2023 | 4000 | 4000
| 2024 | 0 |  |  |  | 2024 | 4000 | 4000
| 2025 | 0 |  |  |  | 2025 | 4000 | 4000
| 2026 | 0 |  |  |  | 2026 | 4000 | 4000
| 2027 | 0 |  |  |  | 2027 | 4000 | 4000
| 2028 | 0 |  |  |  | 2028 | 4000 | 4000
| 2029 | 0 |  |  |  | 2029 | 4000 | 4000
[6 empty] | 2030 | 4000 | 4000
[6 empty] | 2031 | 4000 | 4000
6 | Free Riders | 0% |  |  |  | 2032 | 4000 | 4000
7 | Study Period for Conservation Program | 25 | Years |  |  | 2033 | 4000 | 4000
8 | Utility Non Recurring Cost Per Customer | 0 | $/CUST |  |  | 2034 | 4000 | 4000
9 | Utility Recurring Cost Per Customer (Load Management) | 0 | $/CUST/YR |  |  | 2035 | 4000 | 4000
10 | Customer Equipment Cost | 5656 | $/CUST |  |  | 2036 | 4000 | 4000
11 | Customer O & M Cost | 50 | $/CUST/YR |  |  | 2037 | 4000 | 4000
12 | Customer Tax Credit Per Installation | 0 | $/CUST |  |  | 2038 | 4000 | 4000
13 | Increased Supply Costs | 0 | $/CUST/YR |  |  | 2039 | 4000 | 4000
14 | Utility Non Recurring Rebate/Incentive | 0 | $/CUST |  |  | 2040 | 4000 | 4000
15 | Utility Recurring Rebate/Incentive (Load Management) | 0 | $/CUST/YR
16 | Diversity and Annual Demand | N/A
| Adjustment Factor for Customer Bill: | 1
See Participation C,D,E,F 73
See Participation F_22 F5,6

## Title_RESULTS
Residential
|  | INPUT DATA - PART 1 |  |  |  | PSC FORM CE 1.1 | [9 empty] | Formula Entry | X |  | 0 | <= INPUT % FREE RIDERS; | Summer EUE | 0.686 |  | LOLP CALC | Forced Outage Rate | 0.034 | 0.966
|  | PROGRAM TITLE: | Res. Solar Water Heating |  |  | PAGE 1 OF 1 | [9 empty] | Com./Res. Toggle | X |  |  | THEN PARTICIPANTS IN COL. (1). | Winter EUE | 0.314 |  | PERCENT RED: | Line Loss | 0.066 | 0.934
[6 empty] | RUN DATE: | 2026-07-29 18:20 | [8 empty] | LdMgt. Toggle |  |  |  | 36980.3772 |  |  |  | 25 | Multiplier (see U4) | 0.90224
Study Period (Years)
| PROGRAM DEMAND SAVINGS & LINE LOSSES |  |  |  | AVOIDED GENERATOR, TRANS. & DIST COSTS | [10 empty] | Macros | [8 empty] | Commercial
I. | (1) CUSTOMER KW REDUCTION AT THE METER | 0.404 | KW /CUST | IV. | (1) BASE YEAR | 2015 | [18 empty] | Forced Outage Rate | 0.034 | 0.966
I. | (2) GENERATOR KW REDUCTION PER CUSTOMER | 0.37858 | KW GEN/CUST | IV. | (2) IN-SERVICE YEAR FOR AVOIDED GENERATING UNIT | 2019 |  |  | 1.03 | [6 empty] | What Changes | [8 empty] | Line Loss | 0.065 | 0.935
I. | (3) KW LINE LOSS PERCENTAGE | 7.3 | % | IV. | (3) IN-SERVICE YEAR FOR AVOIDED T & D | 2016 |  | 0.37858 | Residential | 2013 | 2014 | 2015 |  |  |  | Res Ld. Mgmt. | Comm | Comm/LDMgmt | [6 empty] | Multiplier (see U4) | 0.90321
I. | (4) GENERATION KWH REDUCTION PER CUSTOMER | 1832.6271 | KWH/CUST/YR | IV. | (4) BASE YEAR AVOIDED GENERATING UNIT COST | 650.6394 | $/KW | 0.37818 | Commercial | 613.29 | 631.6887 | 650.6394
I. | (5) KWH LINE LOSS PERCENTAGE | 5.6 | % | IV. | (5) BASE YEAR AVOIDED TRANSMISSION COST | 11.9245 | $/KW | 0 |  | 11.24 | 11.5772 | 11.9245 |  |  |  |  | Gen KW |  |  |  |  | 0.29775 | REDUCTION @
I. | (6) GROUP LINE LOSS MULTIPLIER | 1 |  | IV. | (6) BASE YEAR DISTRIBUTION COST | 57.957 | $/KW | 571.47 | 1.024 | 54.63 | 56.2689 | 57.957 |  |  |  | Residential | Commercial |  |  |  |  | 0.33975 | 0.25
I. | (7) CUSTOMER KWH PROGRAM INCREASE AT METER | 0 | KWH/CUST/YR | IV. | (7) GEN, TRAN, & DIST COST ESCALATION RATE | 3 | % | [7 empty] | kW | 7.3 | 7% | 7% |  |  |  | 746.25
I. | (8)* CUSTOMER KWH REDUCTION AT METER | 1730 | KWH/CUST/YR | IV. | (8) GENERATOR FIXED O & M COST | 11.9538 | $/KW/YR |  |  | 11.4 | 11.6736 | 11.9538
|  |  |  | IV. | (9) GENERATOR FIXED O&M ESCALATION RATE | 2.4 | % |  |  | 2014 | 2015 |  |  |  | kWh | 5.6 | 5.2% | 5.2%
| ECONOMIC LIFE & K FACTORS |  |  | IV. | (10) TRANSMISSION FIXED O & M COST | 2.9184 | $/KW/YR |  |  | 2.85 | 2.9184
II. | (1) STUDY PERIOD FOR CONSERVATION PROGRAM | 25 | YEARS | IV. | (11) DISTRIBUTION FIXED O & M COST | 11.6941 | $/KW/YR |  |  | 11.42 | 11.6941
II. | (2) GENERATOR ECONOMIC LIFE | 25 | YEARS | IV. | (12) T&D FIXED O&M ESCALATION RATE | 2.4 | % | [8 empty] | GEN KW=
II. | (3) T & D ECONOMIC LIFE | 25 | YEARS | IV. | (13) AVOIDED GEN UNIT VARIABLE O & M COSTS | 0.18 | CENTS/KWH | 1.8 | 0.0018
II. | (4) K FACTOR FOR GENERATION | 1.4625 |  | IV. | (14) GENERATOR VARIABLE O&M COST ESCALATION RATE | 2.4 | % |  | 0.18
II. | (5) K FACTOR FOR T & D | 1.4625 |  | IV. | (15) GENERATOR CAPACITY FACTOR | 13.2 | % |  |  | 2019 | 2018 | 2017 | 2016 | 2015
| (6)* SWITCH REV REQ(0) OR VAL-OF-DEF (1) | 0 |  | IV. | (16) AVOIDED GENERATING UNIT FUEL COST | 4.5623 | CENTS/KWH |  | 1.0521 | 5.59 | 5.3132 | 5.0501 | 4.8 | 4.5623
|  |  |  | IV. | (17) AVOIDED GEN UNIT FUEL ESCALATION RATE | 5.21 | % | 9.4
|  |  |  | IV. | (18)* AVOIDED PURCHASE CAPACITY COST PER KW | 0 | $/KW/YR | 7.7
| UTILITY & CUSTOMER COSTS |  |  | IV. | (19)* CAPACITY COST ESCALATION RATE | 0 | % | 6.6
III. | (1) UTILITY NONRECURRING COST PER CUSTOMER | 0 | $/CUST |  |  |  |  | 7.9
III. | (2) UTILITY RECURRING COST PER CUSTOMER | 0 | $/CUST/YR
III. | (3) UTILITY COST ESCALATION RATE | 2.4 | % |  |  |  |  | Non-Fuel | Res | GSD Rate (2010)
III. | (4) CUSTOMER EQUIPMENT COST | 5656 | $/CUST |  | NON-FUEL ENERGY AND DEMAND CHARGES |  |  | Base Rate | 4.598 | 1.583 |  | kWh
III. | (5) CUSTOMER EQUIPMENT ESCALATION RATE | 2.4 | % | V. | (1) NON-FUEL COST IN CUSTOMER BILL | 5.578 | CENTS/KWH | Fuel |  |  | 0
III. | (6) CUSTOMER O & M COST | 50 | $/CUST/YR | V. | (2) NON-FUEL ESCALATION RATE | 1 | % | ECCR | 0.295 | 0 | 0.78 | kW
III. | (7) CUSTOMER O & M ESCALATION RATE | 2.4 | % | V. | (3) CUSTOMER DEMAND CHARGE PER KW | 0 | $/KW/MO | Capacity | 0.202 | 0 | 0.63 | kw
III. | (8)* CUSTOMER TAX CREDIT PER INSTALLATION | 0 | $/CUST | V. | (4) DEMAND CHARGE ESCALATION RATE | 1 | % | ECRC | 0.483 | 0.477 | 0 | kwh
III. | (9)* CUSTOMER TAX CREDIT ESCALATION RATE | 0 | % | V. | (5)* DIVERSITY and ANNUAL DEMAND ADJUSTMENT |  |  | 2.5959 | 5.578 | 2.06 | 1.41 |  | Energy
III. | (10)* INCREASED SUPPLY COSTS | 0 | $/CUST/YR |  | FACTOR FOR CUSTOMER BILL | 1 |  | 9.64 |  |  |  |  | Demand
III. | (11)* SUPPLY COSTS ESCALATION RATE | 0 | % | [7 empty] | 9.82 | 8.41
III. | (12)* UTILITY DISCOUNT RATE | 0.0734
III. | (13)* UTILITY AFUDC RATE | 0.0645 |  |  | CALCULATED BENEFITS AND COSTS
III. | (14)* UTILITY NON RECURRING REBATE/INCENTIVE | 0 | $/CUST |  | (1)* TRC TEST - BENEFIT/COST RATIO | 0.28156
III. | (15)* UTILITY RECURRING REBATE/INCENTIVE | 0 | $/CUST/YR |  | (2)* PARTICIPANT NET BENEFITS (NPV) | 0.34883
III. | (16)* UTILITY REBATE/INCENTIVE ESCAL RATE | 0 | % |  | (3)* RIM TEST - BENEFIT/COST RATIO | 0.80716
END OF EDITING AREA
YEARLY INPUT DATA: GO TO H5..Q76 & INPUT (Page 2)
PLEASE NOTE: UTILITY NON-LEVELIZED REVENUE REQUIREMENT
FACTORS AT RANGE NAMES GEN_RRTBL AND TRAN_RRTBL.

## Participation
[6 empty] | See N16 for Rev Requirements |  | Do Not Print
PROGRAM TITLE:
2026-07-29 18:20
VI. YEARLY INPUT DATA
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) |  |  | Generation
[14 empty] | Comb. Cycle | Tran & Dist
|  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK |  |  | Rev Reqm't | Rev Reqm't
| CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER |  |  |  | FACTORS | FACTORS
| TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR | [5 empty] | ---- | ----
|  |  | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
2015 | 1000 | 1000 | 3.92 | 4.03 | 0 | 3.92 | 1 | 1 | 0 | 0 | 0 |  | 2019 | 0.16963 | 0.16963 | 0.17935 | 0
2016 | 2000 | 2000 | 3.94 | 3.71 | 0 | 3.94 | 1 | 1 | 0 | 0 | 0 |  | 2020 | 0.16335 | 0.16335 | 0.17255 | 0
2017 | 3000 | 3000 | 3.94 | 3.34 | 0 | 3.94 | 1 | 1 | 0 | 0 | 0 |  | 2021 | 0.15625 | 0.15625 | 0.16486 | 0
2018 | 4000 | 4000 | 4.12 | 3.61 | 0 | 4.12 | 1 | 1 | 0 | 0 | 0 |  | 2022 | 0.14957 | 0.14957 | 0.15762 | 0
2019 | 4000 | 4000 | 4.33 | 3.8 | 0 | 4.33 | 1 | 1 | 0 | 0 | 0 |  | 2023 | 0.14326 | 0.14326 | 0.15079 | 0
2020 | 4000 | 4000 | 4.56 | 4.08 | 0 | 4.56 | 1 | 1 | 0 | 0 | 0 |  | 2024 | 0.13729 | 0.13729 | 0.14432 | 0
2021 | 4000 | 4000 | 4.68 | 4.4 | 0 | 4.7 | 1 | 1 | 0 | 0 | 0 |  | 2025 | 0.13155 | 0.13155 | 0.13811 | 0.02
2022 | 4000 | 4000 | 4.85 | 4.68 | 0 | 4.85 | 1 | 1 | 0 | 0 | 0 |  | 2026 | 0.12589 | 0.12589 | 0.13197 | 0
2023 | 4000 | 4000 | 5.06 | 4.92 | 0 | 5.06 | 1 | 1 | 0 | 0 | 0 |  | 2027 | 0.12023 | 0.12023 | 0.12584 | 0
2024 | 4000 | 4000 | 5.28 | 5.31 | 0 | 5.3 | 1 | 1 | 0 | 0 | 0 |  | 2028 | 0.11457 | 0.11457 | 0.11971 | 0.02
2025 | 4000 | 4000 | 5.42 | 5.7 | 0 | 5.44 | 1 | 1 | 0 | 0 | 0 |  | 2029 | 0.10891 | 0.10891 | 0.11358 | 0.02
2026 | 4000 | 4000 | 5.53 | 5.87 | 0 | 5.53 | 1 | 1 | 0 | 0 | 0 |  | 2030 | 0.10325 | 0.10325 | 0.10745 | 0
2027 | 4000 | 4000 | 5.62 | 6.08 | 0 | 5.63 | 1 | 1 | 0 | 0 | 0 |  | 2031 | 0.097586 | 0.097586 | 0.10132 | 0.01
2028 | 4000 | 4000 | 5.76 | 6.32 | 0 | 5.75 | 1 | 1 | 0 | 0 | 0 |  | 2032 | 0.091926 | 0.091926 | 0.095187 | -0.01
2029 | 4000 | 4000 | 5.97 | 6.79 | 0 | 5.98 | 1 | 1 | 0 | 0 | 0 |  | 2033 | 0.086265 | 0.086265 | 0.089056 | 0.01
2030 | 4000 | 4000 | 6.12 | 7.01 | 0 | 6.12 | 1 | 1 | 0 | 0 | 0 |  | 2034 | 0.081285 | 0.081285 | 0.083662 | 0
2031 | 4000 | 4000 | 6.31 | 7.43 | 0 | 6.32 | 1 | 1 | 0 | 0 | 0 |  | 2035 | 0.077667 | 0.077667 | 0.079743 | 0.01
2032 | 4000 | 4000 | 6.58 | 7.85 | 0 | 6.59 | 1 | 1 | 0 | 0 | 0 |  | 2036 | 0.07473 | 0.07473 | 0.076562 | 0.01
2033 | 4000 | 4000 | 6.89 | 8.27 | 0 | 6.89 | 1 | 1 | 0 | 0 | 0 |  | 2037 | 0.071793 | 0.071793 | 0.07338 | 0
2034 | 4000 | 4000 | 7.14 | 8.4 | 0 | 7.14 | 1 | 1 | 0 | 0 | 0 |  | 2038 | 0.068855 | 0.068855 | 0.070199 | 0
2035 | 4000 | 4000 | 7.6 | 9.2 | 0 | 7.59 | 1 | 1 | 0 | 0 | 0 |  | 2039 | 0.065918 | 0.065918 | 0.067017 | -0.01
2036 | 4000 | 4000 | 8.27 | 9.71 | 0 | 8.28 | 1 | 1 | 0 | 0 | 0 |  | 2040 | 0.062981 | 0.062981 | 0.063836 | 0.01
2037 | 4000 | 4000 | 8.83 | 10.5 | 0 | 8.83 | 1 | 1 | 0 | 0 | 0 |  | 2041 | 0.060043 | 0.060043 | 0.060654 | 0
2038 | 4000 | 4000 | 9.66 | 11.42 | 0 | 9.67 | 1 | 1 | 0 | 0 | 0 |  | 2042 | 0.057106 | 0.057106 | 0.057472 | 0.01
2039 | 4000 | 4000 | 10.18 | 12.18 | 0 | 10.19 | 1 | 1 | 0 | 0 | 0 |  | 2043 | 0.054169 | 0.054169 | 0.054291 | 0.01
2040 | 4000 | 4000 | 10.73 | 12.76 | 0 | 10.74 | 1 | 1 | 0 | 0 | 0 |  | 2044 | 0 | 0 |  | 0.01
2041 | 0 | 0 | 11.53 | 13.56 | 0 | 11.54 | 1 | 1 | 0 | 0 | 0 |  | 2045 | 0 | 0 |  | 0.01
2042 | 0 | 0 | 12.07 | 14.01 | 0 | 12.07 | 1 | 1 | 0 | 0 | 0 |  | 2046 | 0 | 0 |  | 0
2043 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |  | 2047 | 0 | 0 |  | 0
2044 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |  | 2048 | 0 | 0 |  | 0
2045 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |  | 2049 | 0 | 0
2046 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2047 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2048 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2049 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2
1
Unit Size of Avoided Generation Unit | (2): 1514
|  | (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
|  |  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK
|  | CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER
|  | TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
| YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR
|  |  | 0 | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
| 2015 | 1000 | 1000 | 3.92 | 4.03 | 0 | 0 | 1 | 1 | 0 | 0 | 2.02
| 2016 | 2000 | 2000 | 3.94 | 3.71 | 0 | 0 | 1 | 1 | 0 | 0 | 2.1
| 2017 | 3000 | 3000 | 3.94 | 3.34 | 0 | 0 | 1 | 1 | 0 | 0 | 2.4
| 2018 | 4000 | 4000 | 4.12 | 3.61 | 0 | 0 | 1 | 1 | 0 | 0 | 2.41
| 2019 | 4000 | 4000 | 4.33 | 3.8 | 0 | 0 | 1 | 1 | 0 | 0 | 2.79
| 2020 | 4000 | 4000 | 4.56 | 4.08 | 0 | 0 | 1 | 1 | 0 | 0 | 3.05
| 2021 | 4000 | 4000 | 4.68 | 4.4 | 0 | 0 | 1 | 1 | 0 | 0 | 3.18
| 2022 | 4000 | 4000 | 4.85 | 4.68 | 0 | 0 | 1 | 1 | 0 | 0 | 3.07
| 2023 | 4000 | 4000 | 5.06 | 4.92 | 0 | 0 | 1 | 1 | 0 | 0 | 3.49
| 2024 | 4000 | 4000 | 5.28 | 5.31 | 0 | 0 | 1 | 1 | 0 | 0 | 3.53
| 2025 | 4000 | 4000 | 5.42 | 5.7 | 0 | 0 | 1 | 1 | 0 | 0 | 3.81
| 2026 | 4000 | 4000 | 5.53 | 5.87 | 0 | 0 | 1 | 1 | 0 | 0 | 4.29
| 2027 | 4000 | 4000 | 5.62 | 6.08 | 0 | 0 | 1 | 1 | 0 | 0 | 4.43
| 2028 | 4000 | 4000 | 5.76 | 6.32 | 0 | 0 | 1 | 1 | 0 | 0 | 4.61
| 2029 | 4000 | 4000 | 5.97 | 6.79 | 0 | 0 | 1 | 1 | 0 | 0 | 5.23
| 2030 | 4000 | 4000 | 6.12 | 7.01 | 0 | 0 | 1 | 1 | 0 | 0 | 5.38
| 2031 | 4000 | 4000 | 6.31 | 7.43 | 0 | 0 | 1 | 1 | 0 | 0 | 5.63
| 2032 | 4000 | 4000 | 6.58 | 7.85 | 0 | 0 | 1 | 1 | 0 | 0 | 6.18
| 2033 | 4000 | 4000 | 6.89 | 8.27 | 0 | 0 | 1 | 1 | 0 | 0 | 6.57
| 2034 | 4000 | 4000 | 7.14 | 8.4 | 0 | 0 | 1 | 1 | 0 | 0 | 6.76
| 2035 | 4000 | 4000 | 7.6 | 9.2 | 0 | 0 | 1 | 1 | 0 | 0 | 7.26
| 2036 | 4000 | 4000 | 8.27 | 9.71 | 0 | 0 | 1 | 1 | 0 | 0 | 7.3
| 2037 | 4000 | 4000 | 8.83 | 10.5 | 0 | 0 | 1 | 1 | 0 | 0 | 7.35
| 2038 | 4000 | 4000 | 9.66 | 11.42 | 0 | 0 | 1 | 1 | 0 | 0 | 8.21
| 2039 | 4000 | 4000 | 10.18 | 12.18 | 0 | 0 | 1 | 1 | 0 | 0 | 8.04
| 2040 | 4000 | 4000 | 10.73 | 12.76 | 0 | 0 | 1 | 1 | 0 | 0 | 8.31
| 2041 | 0 | 0 | 11.53 | 13.56 | 0 | 0 | 1 | 1 | 0 | 0 | 9.05
| 2042 | 0 | 0 | 12.07 | 14.01 | 0 | 0 | 1 | 1 | 0 | 0 | 8.99
| 2043 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9.37
| 2044 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9.75
| 2045 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2046 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2047 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2048 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2049 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0

## f-11B
|  | CALCULATION OF AFUDC AND IN-SERVICE COST OF PLANT | [7 empty] | PSC FORM CE 1.1B
|  |  |  | PLANT: | 2019 | Avoided Unit |  |  |  | PAGE 1 OF 1
2026-07-29 18:20
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
| NO. YEARS | PLANT | CUMULATIVE |  |  | CUMULATIVE | CUMULATIVE | YEARLY | INCREMENTAL | CUMULATIVE | <-- INPUTS FOR OTHER COSTS & BENEFITS - EXTERNALLY CALC., FORMS 2.3, 2.4, & 2.5 -->
| BEFORE | ESCALATION | ESCALATION | YEARLY | ANNUAL | AVERAGE | SPENDING | TOTAL | YEAR-END | YEAR-END |  | (1) | (2) | (3) | (4) | (5) | (6)
| INSERVICE | RATE | FACTOR | EXPENDITURE | SPENDING | SPENDING | WITH AFUDC | AFUDC | BOOK VALUE | BOOK VALUE |  | (1): <-- FORM 2.3 --->; (3): <---- FORM 2.4 --->; (5): <---- FORM 2.5 ---->
YEAR |  | (%) |  | (%) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | YEAR | OTHER COST | OTHER BEN | OTH COST | OTHER BENEFITS | COSTS | BENEFITS
2009 | [11 empty] | ($000) | ($000) | ($000) | ($000) | ($000) | ($000)
2010 | [10 empty] | 2015 | 0 | 0 | 0 | 0 | 0 | 0
2011 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2016 | 0 | 0 | 0 | 0 | 0 | 0
2012 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0
2013 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0
2014 | -7 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0
2015 | -6 | 0.024 | 1.024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020 | 0 | 0 | 0 | 0 | 0 | 0
2016 | -5 | 0.024 | 1.0486 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2021 | 0 | 0 | 0 | 0 | 0 | 0
2017 | -4 | 0.024 | 1.0737 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022 | 0 | 0 | 0 | 0 | 0 | 0
2018 | -3 | 0.024 | 1.0995 | 0 | 0 | 0 | 0 |  | 0 | 0 | 2023 | 0 | 0 | 0 | 0 | 0 | 0
2019 | -2 | 0.024 | 1.1259 | 0.755 | 557.77 | 540.3366 | 557.77 | 17.4334 | 557.77 | 557.77 | 2024 | 0 | 0 | 0 | 0 | 0 | 0
2020 | -1 | 0.024 | 1.1529 | 0.24 | 216.2732 | 175.7512 | 216.2732 | 40.522 | 216.2732 | 774.0432 | 2025 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 0 | 0.022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2026 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2027 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2028 | 0 | 0 | 0 | 0 | 0 | 0
IN-SERVICE YEAR = |  | 2019 | [6 empty] | 774.0432 |  | 2029 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2030 | 0 | 0 | 0 | 0 | 0 | 0
PLANT COSTS (2013$) |  | 650.6394 | [8 empty] | 2031 | 0 | 0 | 0 | 0 | 0 | 0
AFUDC RATE: |  | 6.45% | [8 empty] | 2032 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2033 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2034 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2035 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2036 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2037 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2038 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2039 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2040 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2041 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2042 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2043 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2044 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2045 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2046 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2047 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2048 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2049 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2050 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2051 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2052 | 0 | 0 | 0 | 0 | 0 | 0
PSC FORM CE 1.1
PAGE 1 OF 1 | bar: (2)
[11 empty] | Run date: | (1): 37062
[12 empty] | 37062.5552 | *
*
2001 | bar: (2)
2004
[7 empty] | 16.2994 | [12 empty] | CONS | TRUCTION PERIOD | VALUES
[20 empty] | ACCUM. | BOOK |  | CWIP IN |  | ACCUM. | DEF | ERRED
[12 empty] | (4): Spending Curve; (6): CONSTR. |  | ACCUM. | CONSTR. | VALUE | DEFERRED | RATE CAPITALIZED | C | APITALIZED | TA | X ON
[12 empty] | (5): YEAR; (6): EXPEND. | AFUDC | AFUDC | EXPEND. | NOT CLOSED | TAXES | BASE INTEREST |  | INTEREST | AF | UDC
[14 empty] | 0.77158 | 0.49261 | 2018 | 110769 | 3572 | 3572 | 110769 | 114341 | 205 | 0. 2355. |  | 2355 |  | 205
[14 empty] | 0.25096 | 0.50739 | 2019 | 36029 | 8307 | 11879 | 36029 | 44336 | 650 | 0. 7292. |  | 9647 |  | 650
[12 empty] | (5): 2019; (6): 0 | 0 | 0 | 0 | 0 | 482 | 0. 0. |  | 0 |  | -34
[12 empty] | (5): IN SER; (6): VICE DATE TOT | ALS | 11864 | 143562 | 155426 |  |  |  | 9647
[12 empty] | (5): 0.75457; (6): 540.3366 | 18.8 |  |  | 557.761 | 557.77
[12 empty] | (5): 0.24543; (6): 175.7512 | 43.7211 |  |  | 216.2732
774.0341
716.0878

## Sheet3(F_21)
|  |  | AVOIDED GENERATION UNIT BENEFITS | [5 empty] | PSC FORM CE 2.1
|  |  | PROGRAM: | Res. Solar Water Heating |  |  |  |  | Page 1 of 1
2026-07-29 18:20
|  | * UNIT SIZE OF AVOIDED GENERATION UNIT = |  |  |  | 1514 | KW
|  | * INSERVICE COSTS OF AVOIDED GEN. UNIT (000) = |  |  |  | 1171.9014
(1) | (1A)* | (2) | (2A)* | (3) | (4) | (5) | (6) | (6A)* | (7)
|  | AVOIDED | AVOIDED | AVOIDED | AVOIDED | AVOIDED |  | AVOIDED
| REVENUE | GEN UNIT | ANNUAL | UNIT | GEN UNIT | GEN UNIT |  | PURCHASED | AVOIDED
| REQUIREMENT | CAPACITY | UNIT | FIXED | VARIABLE | FUEL | REPLACEMENT | CAPACITY | GEN UNIT
| FACTOR | COST | KWH GEN | O&M COST | O&M COST | COST | FUEL COST | COSTS | BENEFITS
YEAR |  | $(000) | (000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019 | 0.16963 | 198.7876 | 1751.0511 | 19.9033 | 3.4655 | 97.8838 | 75.8205 | 0 | 244.2197
2020 | 0.16335 | 191.4272 | 1751.0511 | 20.381 | 3.5487 | 102.9835 | 79.8479 | 0 | 238.4925
2021 | 0.15625 | 183.1075 | 1751.0511 | 20.8701 | 3.6339 | 108.3489 | 82.2994 | 0 | 233.661
2022 | 0.14957 | 175.2755 | 1751.0511 | 21.371 | 3.7211 | 113.9939 | 84.926 | 0 | 229.4355
2023 | 0.14326 | 167.8823 | 1751.0511 | 21.8839 | 3.8104 | 119.933 | 88.6032 | 0 | 224.9065
2024 | 0.13729 | 160.8845 | 1751.0511 | 22.4091 | 3.9019 | 126.1815 | 92.8057 | 0 | 220.5713
2025 | 0.13155 | 154.1626 | 1751.0511 | 22.947 | 3.9955 | 132.7556 | 95.2572 | 0 | 218.6034
2026 | 0.12589 | 147.529 | 1751.0511 | 23.4977 | 4.0914 | 139.6721 | 96.8331 | 0 | 217.9571
2027 | 0.12023 | 140.8955 | 1751.0511 | 24.0616 | 4.1896 | 146.9491 | 98.5842 | 0 | 217.5116
2028 | 0.11457 | 134.2619 | 1751.0511 | 24.6391 | 4.2901 | 154.6051 | 100.6854 | 0 | 217.1108
2029 | 0.10891 | 127.6283 | 1751.0511 | 25.2304 | 4.3931 | 162.66 | 104.7129 | 0 | 215.1991
2030 | 0.10325 | 120.9948 | 1751.0511 | 25.836 | 4.4985 | 171.1346 | 107.1643 | 0 | 215.2996
2031 | 0.097586 | 114.3612 | 1751.0511 | 26.456 | 4.6065 | 180.0507 | 110.6664 | 0 | 214.8081
2032 | 0.091926 | 107.7277 | 1751.0511 | 27.091 | 4.7171 | 189.4314 | 115.3943 | 0 | 213.5728
2033 | 0.086265 | 101.0941 | 1751.0511 | 27.7412 | 4.8303 | 199.3007 | 120.6474 | 0 | 212.3188
2034 | 0.081285 | 95.2585 | 1751.0511 | 28.407 | 4.9462 | 209.6843 | 125.0251 | 0 | 213.2709
2035 | 0.077667 | 91.0185 | 1751.0511 | 29.0887 | 5.0649 | 220.6089 | 132.9048 | 0 | 212.8762
2036 | 0.07473 | 87.5763 | 1751.0511 | 29.7869 | 5.1865 | 232.1026 | 144.987 | 0 | 209.6651
2037 | 0.071793 | 84.134 | 1751.0511 | 30.5017 | 5.3109 | 244.1951 | 154.6178 | 0 | 209.524
2038 | 0.068855 | 80.6917 | 1751.0511 | 31.2338 | 5.4384 | 256.9177 | 169.3266 | 0 | 204.9549
2039 | 0.065918 | 77.2494 | 1751.0511 | 31.9834 | 5.5689 | 270.3031 | 178.4321 | 0 | 206.6727
NOMINAL |  | 2741.9481 | 36772.0741 | 535.32 | 93.2093 | 3579.6958 | 2359.5414 | 0 | 4590.6317
NPV |  | 1249.0003 |  | 204.651 | 35.6336 | 1276.5319 | 867.3143 | 0 | 1898.5026
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet5(p_5)
| * WORKSHEET : DSM PROGRAM FUEL SAVINGS |  |  |  | WORKSHEET FOR FORM CE 2.2
| PROGRAM: | Res. Solar Water Heating |  |  | Page 1 of 1
2026-07-29 18:20
(1) | (2) | (3) | (4) | (5) | (6) | (7)
| REDUCTION |  | INCREASE |  | NET
| IN KWH | AVOIDED | IN KWH | INCREASED | AVOIDED | EFFECTIVE
| GENERATION | MARGINAL | GENERATION | MARGINAL | PROGRAM | PROGRAM
| NET NEW CUST | FUEL COST - | NET NEW CUST | FUEL COST - | FUEL | FUEL
| KWH | REDUCED KWH | KWH | INCREASE KWH | SAVINGS | SAVINGS
YEAR | (000) | $(000) | (000) | $(000) | $(000) | $(000)
2015 | 916.3136 | 36.9274 | 26.4831 | 0 | 36.9274 | 36.9274
2016 | 2748.9407 | 101.9857 | 79.4492 | 0 | 101.9857 | 101.9857
2017 | 4581.5678 | 153.0244 | 132.4153 | 0 | 153.0244 | 153.0244
2018 | 6414.1949 | 231.5524 | 185.3814 | 0 | 231.5524 | 231.5524
2019 | 7330.5085 | 278.5593 | 211.8644 | 0 | 278.5593 | 278.5593
2020 | 7330.5085 | 299.0847 | 211.8644 | 0 | 299.0847 | 299.0847
2021 | 7330.5085 | 322.5424 | 211.8644 | 0 | 322.5424 | 322.5424
2022 | 7330.5085 | 343.0678 | 211.8644 | 0 | 343.0678 | 343.0678
2023 | 7330.5085 | 360.661 | 211.8644 | 0 | 360.661 | 360.661
2024 | 7330.5085 | 389.25 | 211.8644 | 0 | 389.25 | 389.25
2025 | 7330.5085 | 417.839 | 211.8644 | 0 | 417.839 | 417.839
2026 | 7330.5085 | 430.3008 | 211.8644 | 0 | 430.3008 | 430.3008
2027 | 7330.5085 | 445.6949 | 211.8644 | 0 | 445.6949 | 445.6949
2028 | 7330.5085 | 463.2881 | 211.8644 | 0 | 463.2881 | 463.2881
2029 | 7330.5085 | 497.7415 | 211.8644 | 0 | 497.7415 | 497.7415
2030 | 7330.5085 | 513.8686 | 211.8644 | 0 | 513.8686 | 513.8686
2031 | 7330.5085 | 544.6568 | 211.8644 | 0 | 544.6568 | 544.6568
2032 | 7330.5085 | 575.4449 | 211.8644 | 0 | 575.4449 | 575.4449
2033 | 7330.5085 | 606.2331 | 211.8644 | 0 | 606.2331 | 606.2331
2034 | 7330.5085 | 615.7627 | 211.8644 | 0 | 615.7627 | 615.7627
2035 | 7330.5085 | 674.4068 | 211.8644 | 0 | 674.4068 | 674.4068
2036 | 7330.5085 | 711.7924 | 211.8644 | 0 | 711.7924 | 711.7924
2037 | 7330.5085 | 769.7034 | 211.8644 | 0 | 769.7034 | 769.7034
2038 | 7330.5085 | 837.1441 | 211.8644 | 0 | 837.1441 | 837.1441
2039 | 7330.5085 | 892.8559 | 211.8644 | 0 | 892.8559 | 892.8559
NOMINAL | 168601.6949 | 11513.3882 | 4872.8814 | 0 | 11513.3882 | 11513.3882
NPV: |  | 4333.7299 |  | 0 | 4333.7299 | 4333.7299
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet2(F_12)
|  |  | INPUT DATA -- PART 2 | [5 empty] | PSC FORM CE 1.2
|  |  | PROGRAM: | Res. Solar Water Heating |  |  |  |  | PAGE 1 OF 1
2026-07-29 18:20
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
UTILITY
AVERAGE
| CUMULATIVE | ADJUSTED | SYSTEM | AVOIDED | INCREASED |  | PROGRAM | PROGRAM | OTHER | OTHER
| TOTAL | CUMULATIVE | FUEL | MARGINAL | MARGINAL | REPLACEMENT | KW | KWH | COSTS | BENEFITS
| PARTICIPATING | PARTICIPATING | COSTS | FUEL COST | FUEL COST | FUEL COST | EFFECTIVENESS | EFFECTIVENESS |  | (CO2)
YEAR | CUSTOMERS | CUSTOMERS | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | FACTOR | FACTOR | ($000) | ($000)
2015 | 1000 | 1000 | 3.92 | 4.03 | 0 | 3.92 | 1 | 1 | 0 | 0
2016 | 2000 | 2000 | 3.94 | 3.71 | 0 | 3.94 | 1 | 1 | 0 | 0
2017 | 3000 | 3000 | 3.94 | 3.34 | 0 | 3.94 | 1 | 1 | 0 | 0
2018 | 4000 | 4000 | 4.12 | 3.61 | 0 | 4.12 | 1 | 1 | 0 | 0
2019 | 4000 | 4000 | 4.33 | 3.8 | 0 | 4.33 | 1 | 1 | 0 | 0
2020 | 4000 | 4000 | 4.56 | 4.08 | 0 | 4.56 | 1 | 1 | 0 | 0
2021 | 4000 | 4000 | 4.68 | 4.4 | 0 | 4.7 | 1 | 1 | 0 | 0
2022 | 4000 | 4000 | 4.85 | 4.68 | 0 | 4.85 | 1 | 1 | 0 | 0
2023 | 4000 | 4000 | 5.06 | 4.92 | 0 | 5.06 | 1 | 1 | 0 | 0
2024 | 4000 | 4000 | 5.28 | 5.31 | 0 | 5.3 | 1 | 1 | 0 | 0
2025 | 4000 | 4000 | 5.42 | 5.7 | 0 | 5.44 | 1 | 1 | 0 | 0
2026 | 4000 | 4000 | 5.53 | 5.87 | 0 | 5.53 | 1 | 1 | 0 | 0
2027 | 4000 | 4000 | 5.62 | 6.08 | 0 | 5.63 | 1 | 1 | 0 | 0
2028 | 4000 | 4000 | 5.76 | 6.32 | 0 | 5.75 | 1 | 1 | 0 | 0
2029 | 4000 | 4000 | 5.97 | 6.79 | 0 | 5.98 | 1 | 1 | 0 | 0
2030 | 4000 | 4000 | 6.12 | 7.01 | 0 | 6.12 | 1 | 1 | 0 | 0
2031 | 4000 | 4000 | 6.31 | 7.43 | 0 | 6.32 | 1 | 1 | 0 | 0
2032 | 4000 | 4000 | 6.58 | 7.85 | 0 | 6.59 | 1 | 1 | 0 | 0
2033 | 4000 | 4000 | 6.89 | 8.27 | 0 | 6.89 | 1 | 1 | 0 | 0
2034 | 4000 | 4000 | 7.14 | 8.4 | 0 | 7.14 | 1 | 1 | 0 | 0
2035 | 4000 | 4000 | 7.6 | 9.2 | 0 | 7.59 | 1 | 1 | 0 | 0
2036 | 4000 | 4000 | 8.27 | 9.71 | 0 | 8.28 | 1 | 1 | 0 | 0
2037 | 4000 | 4000 | 8.83 | 10.5 | 0 | 8.83 | 1 | 1 | 0 | 0
2038 | 4000 | 4000 | 9.66 | 11.42 | 0 | 9.67 | 1 | 1 | 0 | 0
2039 | 4000 | 4000 | 10.18 | 12.18 | 0 | 10.19 | 1 | 1 | 0 | 0

## Sheet4(F_22)
|  | AVOIDED T & D AND PROGRAM FUEL SAVINGS |  |  |  |  | PSC FORM CE 2.2
|  | PROGRAM: | Res. Solar Water Heating |  |  |  | Page 1 of 2
2026-07-29 18:20
|  | * INSERVICE COSTS OF AVOIDED TRANS. (000) = |  |  | 18.5953
|  | * INSERVICE COSTS OF AVOIDED DIST. (000) = |  |  | 96.4682
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10)
| AVOIDED | AVOIDED |  | AVOIDED | AVOIDED
| TRANSMISSION | TRANSMISSION | TOTAL AVOIDED | DISTRIBUTION | DISTRIBUTION | TOTAL AVOIDED | PROGRAM
| CAPACITY | O&M | TRANSMISSION | CAPACITY | O&M | DISTRIBUTION | FUEL
| COST | COST | COST | COST | COST | COST | SAVINGS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 0 | 0 | 0 | 0 | 0 | 36.9274
2016 | 0 | 4.5255 | 4.5255 | 0 | 19.3512 | 19.3512 | 101.9857
2017 | 0 | 4.6341 | 4.6341 | 0 | 19.8156 | 19.8156 | 153.0244
2018 | 0 | 4.7453 | 4.7453 | 0 | 20.2912 | 20.2912 | 231.5524
2019 | 3.1543 | 4.8592 | 8.0135 | 16.3637 | 20.7782 | 37.1419 | 278.5593
2020 | 3.0375 | 4.9758 | 8.0133 | 15.7578 | 21.2768 | 37.0347 | 299.0847
2021 | 2.9055 | 5.0952 | 8.0007 | 15.073 | 21.7875 | 36.8605 | 322.5424
2022 | 2.7812 | 5.2175 | 7.9987 | 14.4283 | 22.3104 | 36.7387 | 343.0678
2023 | 2.6639 | 5.3428 | 8.0067 | 13.8197 | 22.8458 | 36.6655 | 360.661
2024 | 2.5529 | 5.471 | 8.0238 | 13.2436 | 23.3941 | 36.6378 | 389.25
2025 | 2.4462 | 5.6023 | 8.0485 | 12.6903 | 23.9556 | 36.6459 | 417.839
2026 | 2.3409 | 5.7367 | 8.0777 | 12.1442 | 24.5305 | 36.6748 | 430.3008
2027 | 2.2357 | 5.8744 | 8.1101 | 11.5982 | 25.1193 | 36.7175 | 445.6949
2028 | 2.1304 | 6.0154 | 8.1458 | 11.0521 | 25.7221 | 36.7743 | 463.2881
2029 | 2.0252 | 6.1598 | 8.1849 | 10.5061 | 26.3395 | 36.8455 | 497.7415
2030 | 1.9199 | 6.3076 | 8.2275 | 9.96 | 26.9716 | 36.9316 | 513.8686
2031 | 1.8146 | 6.459 | 8.2736 | 9.414 | 27.6189 | 37.0329 | 544.6568
2032 | 1.7094 | 6.614 | 8.3234 | 8.8679 | 28.2818 | 37.1497 | 575.4449
2033 | 1.6041 | 6.7727 | 8.3769 | 8.3218 | 28.9605 | 37.2824 | 606.2331
2034 | 1.5115 | 6.9353 | 8.4468 | 7.8415 | 29.6556 | 37.4971 | 615.7627
2035 | 1.4443 | 7.1017 | 8.546 | 7.4924 | 30.3673 | 37.8598 | 674.4068
2036 | 1.3896 | 7.2722 | 8.6618 | 7.2091 | 31.0961 | 38.3052 | 711.7924
2037 | 1.335 | 7.4467 | 8.7817 | 6.9257 | 31.8424 | 38.7682 | 769.7034
2038 | 1.2804 | 7.6254 | 8.9058 | 6.6424 | 32.6067 | 39.249 | 837.1441
2039 | 1.2258 | 7.8084 | 9.0342 | 6.359 | 33.3892 | 39.7482 | 892.8559
NOMINAL | 43.5083 | 144.5983 | 188.1066 | 225.7108 | 618.308 | 844.0189 | 11513.3882
NPV: | 19.8187 | 62.0386 | 81.8573 | 102.8148 | 265.2794 | 368.0942 | 4333.7299
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet6(p_6)
|  | * WORKSHEET: UTILITY COSTS AND PARTICIPANT COSTS AND REV LOSS/GAIN | [12 empty] | WORKSHEET FOR FORM CE 2.2
|  | PROGRAM: |  | Res. Solar Water Heating | [10 empty] | Page 2 of 2
2026-07-29 18:20
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14) | (15) | (16) | (17) | (18)
| <----- UTILITY PROGRAM COSTS & REBATES -------> | [5 empty] | <------------------ PARTICIPATING CUSTOMER COSTS & BENEFITS ---------------------->
|  |  | TOTAL |  |  | TOTAL | PARTIC. | PARTIC. | TOTAL | REDUCT. | RED. | RED. | EFFECT. | INC. | INC. | INC. | EFFECT.
| UTIL | UTIL | UTIL | UTIL | UTIL | REBATE/ | CUST | CUST | COSTS | IN | REV. | REV. | REV. | IN | REV. | REV. | REVENUE
| NONREC. | RECUR | PGM | NONREC. | RECUR. | INCENT. | EQUIP | O & M | PARTIC. | CUST. | - FUEL | NONFUEL | REDUCT. | CUST. | - FUEL | NONFUEL | INC.
| COSTS | COSTS | COSTS | REBATES | REBATES | COSTS | COSTS | COSTS | CUST | KWH | PORTION | PORTION | TO CUST | KWH | PORTION | PORTION | IN BILL
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | (000) | $(000) | $(000) | $(000) | (000) | $(000) |  | $(000)
2015 | 0 | 0 | 0 | 0 | 0 | 0 | 5656 | 25 | 5681 | 865 | 33.908 | 48.2497 | 82.1577 | 0 | 0 | 0 | 0
2016 | 0 | 0 | 0 | 0 | 0 | 0 | 5791.744 | 76.8 | 5868.544 | 2595 | 102.243 | 146.1966 | 248.4396 | 0 | 0 | 0 | 0
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 5930.7459 | 131.072 | 6061.8179 | 4325 | 170.405 | 246.0976 | 416.5026 | 0 | 0 | 0 | 0
2018 | 0 | 0 | 0 | 0 | 0 | 0 | 6073.0838 | 187.9048 | 6260.9886 | 6055 | 249.466 | 347.982 | 597.448 | 0 | 0 | 0 | 0
2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 219.9023 | 219.9023 | 6920 | 299.636 | 401.6707 | 701.3067 | 0 | 0 | 0 | 0
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 225.18 | 225.18 | 6920 | 315.552 | 405.6874 | 721.2394 | 0 | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 230.5843 | 230.5843 | 6920 | 323.856 | 409.7442 | 733.6002 | 0 | 0 | 0 | 0
2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 236.1183 | 236.1183 | 6920 | 335.62 | 413.8417 | 749.4617 | 0 | 0 | 0 | 0
2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 241.7852 | 241.7852 | 6920 | 350.152 | 417.9801 | 768.1321 | 0 | 0 | 0 | 0
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 247.588 | 247.588 | 6920 | 365.376 | 422.1599 | 787.5359 | 0 | 0 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 253.5301 | 253.5301 | 6920 | 375.064 | 426.3815 | 801.4455 | 0 | 0 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 259.6148 | 259.6148 | 6920 | 382.676 | 430.6453 | 813.3213 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 265.8456 | 265.8456 | 6920 | 388.904 | 434.9518 | 823.8558 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 272.2259 | 272.2259 | 6920 | 398.592 | 439.3013 | 837.8933 | 0 | 0 | 0 | 0
2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 278.7593 | 278.7593 | 6920 | 413.124 | 443.6943 | 856.8183 | 0 | 0 | 0 | 0
2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 285.4495 | 285.4495 | 6920 | 423.504 | 448.1312 | 871.6352 | 0 | 0 | 0 | 0
2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 292.3003 | 292.3003 | 6920 | 436.652 | 452.6125 | 889.2645 | 0 | 0 | 0 | 0
2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 299.3155 | 299.3155 | 6920 | 455.336 | 457.1387 | 912.4747 | 0 | 0 | 0 | 0
2033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 306.4991 | 306.4991 | 6920 | 476.788 | 461.7101 | 938.4981 | 0 | 0 | 0 | 0
2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 313.8551 | 313.8551 | 6920 | 494.088 | 466.3272 | 960.4152 | 0 | 0 | 0 | 0
2035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 321.3876 | 321.3876 | 6920 | 525.92 | 470.9904 | 996.9104 | 0 | 0 | 0 | 0
2036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 329.1009 | 329.1009 | 6920 | 572.284 | 475.7003 | 1047.9843 | 0 | 0 | 0 | 0
2037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 336.9993 | 336.9993 | 6920 | 611.036 | 480.4573 | 1091.4933 | 0 | 0 | 0 | 0
2038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 345.0873 | 345.0873 | 6920 | 668.472 | 485.2619 | 1153.7339 | 0 | 0 | 0 | 0
2039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 353.3694 | 353.3694 | 6920 | 704.456 | 490.1145 | 1194.5705 | 0 | 0 | 0 | 0
NOMINAL | 0 | 0 | 0 | 0 | 0 | 0 | 23451.5736 | 6335.2749 | 29786.8485 | 159160 | 9873.11 | 10123.0281 | 19996.1381 | 0 | 0 | 0 | 0
NPV | 0 | 0 | 0 | 0 | 0 | 0 | 21109.5647 | 2623.3329 | 23732.8976 |  | 3903.0398 | 4375.64 | 8278.6798 |  | 0 | 0 | 0
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet7(F_23)
|  |  | TOTAL RESOURCE COST TESTS | [8 empty] | PSC FORM CE 2.3
|  |  | PROGRAM: | Res. Solar Water Heating | [7 empty] | Page 1 of 1
2026-07-29 18:20
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13)
CUMULATIVE
| INCREASED | UTILITY | PARTICIPANT |  |  |  |  | PROGRAM |  |  |  | DISCOUNTED
| SUPPLY | PROGRAM | PROGRAM | OTHER | TOTAL | AVOIDED | AVOIDED | FUEL | OTHER | TOTAL | NET | NET
| COSTS | COSTS | COSTS | COSTS | COSTS | GEN UNIT | T & D | SAVINGS | BENEFITS | BENEFITS | BENEFITS | BENEFITS
[6 empty] | BENEFITS | BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 0 | 5681 | 0 | 5681 | 0 | 0 | 36.9274 | 0 | 36.9274 | -5644.0726 | -5644.0726
2016 | 0 | 0 | 5868.544 | 0 | 5868.544 | 0 | 23.8767 | 101.9857 | 0 | 125.8624 | -5742.6816 | -10994.0648
2017 | 0 | 0 | 6061.8179 | 0 | 6061.8179 | 0 | 24.4497 | 153.0244 | 0 | 177.4741 | -5884.3438 | -16101.1706
2018 | 0 | 0 | 6260.9886 | 0 | 6260.9886 | 0 | 25.0365 | 231.5524 | 0 | 256.5889 | -6004.3996 | -20956.1212
2019 | 0 | 0 | 219.9023 | 0 | 219.9023 | 244.2197 | 45.1554 | 278.5593 | 0 | 567.9345 | 348.0322 | -20693.9572
2020 | 0 | 0 | 225.18 | 0 | 225.18 | 238.4925 | 45.048 | 299.0847 | 0 | 582.6252 | 357.4453 | -20443.1145
2021 | 0 | 0 | 230.5843 | 0 | 230.5843 | 233.661 | 44.8612 | 322.5424 | 0 | 601.0646 | 370.4803 | -20200.9025
2022 | 0 | 0 | 236.1183 | 0 | 236.1183 | 229.4355 | 44.7374 | 343.0678 | 0 | 617.2407 | 381.1224 | -19968.7714
2023 | 0 | 0 | 241.7852 | 0 | 241.7852 | 224.9065 | 44.6722 | 360.661 | 0 | 630.2397 | 388.4545 | -19748.3532
2024 | 0 | 0 | 247.588 | 0 | 247.588 | 220.5713 | 44.6616 | 389.25 | 0 | 654.4829 | 406.8949 | -19533.2594
2025 | 0 | 0 | 253.5301 | 0 | 253.5301 | 218.6034 | 44.6944 | 417.839 | 0 | 681.1368 | 427.6067 | -19322.6738
2026 | 0 | 0 | 259.6148 | 0 | 259.6148 | 217.9571 | 44.7525 | 430.3008 | 0 | 693.0104 | 433.3956 | -19123.8323
2027 | 0 | 0 | 265.8456 | 0 | 265.8456 | 217.5116 | 44.8276 | 445.6949 | 0 | 708.034 | 442.1884 | -18934.8295
2028 | 0 | 0 | 272.2259 | 0 | 272.2259 | 217.1108 | 44.9201 | 463.2881 | 0 | 725.319 | 453.0931 | -18754.4086
2029 | 0 | 0 | 278.7593 | 0 | 278.7593 | 215.1991 | 45.0305 | 497.7415 | 0 | 757.971 | 479.2117 | -18576.6359
2030 | 0 | 0 | 285.4495 | 0 | 285.4495 | 215.2996 | 45.1591 | 513.8686 | 0 | 774.3273 | 488.8778 | -18407.6788
2031 | 0 | 0 | 292.3003 | 0 | 292.3003 | 214.8081 | 45.3065 | 544.6568 | 0 | 804.7713 | 512.471 | -18242.6788
2032 | 0 | 0 | 299.3155 | 0 | 299.3155 | 213.5728 | 45.4731 | 575.4449 | 0 | 834.4908 | 535.1752 | -18082.1515
2033 | 0 | 0 | 306.4991 | 0 | 306.4991 | 212.3188 | 45.6592 | 606.2331 | 0 | 864.2111 | 557.712 | -17926.3034
2034 | 0 | 0 | 313.8551 | 0 | 313.8551 | 213.2709 | 45.9439 | 615.7627 | 0 | 874.9775 | 561.1224 | -17780.2246
2035 | 0 | 0 | 321.3876 | 0 | 321.3876 | 212.8762 | 46.4058 | 674.4068 | 0 | 933.6888 | 612.3012 | -17631.7223
2036 | 0 | 0 | 329.1009 | 0 | 329.1009 | 209.6651 | 46.967 | 711.7924 | 0 | 968.4245 | 639.3236 | -17487.269
2037 | 0 | 0 | 336.9993 | 0 | 336.9993 | 209.524 | 47.5499 | 769.7034 | 0 | 1026.7772 | 689.7779 | -17342.0731
2038 | 0 | 0 | 345.0873 | 0 | 345.0873 | 204.9549 | 48.1548 | 837.1441 | 0 | 1090.2538 | 745.1665 | -17195.944
2039 | 0 | 0 | 353.3694 | 0 | 353.3694 | 206.6727 | 48.7824 | 892.8559 | 0 | 1148.3111 | 794.9417 | -17050.7138
NOMINAL | 0 | 0 | 29786.8485 | 0 | 29786.8485 | 4590.6317 | 1032.1254 | 11513.3882 | 0 | 17136.1454 | -12650.7031
NPV: | 0 | 0 | 23732.8976 | 0 | 23732.8976 | 1898.5026 | 449.9514 | 4333.7299 | 0 | 6682.1839 | -17050.7138
Discount Rate |  | 0.0734 | Benefit/Cost Ratio - [col (11)/col (6)]: |  |  |  | 0.28156

## Sheet8(F_24)
|  |  |  | PARTICIPANT COSTS AND BENEFITS | [6 empty] | PSC FORM CE 2.4
|  |  |  | PROGRAM: | Res. Solar Water Heating | [5 empty] | Page 1 of 1
2026-07-29 18:20
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12)
SAVINGS
| IN |  |  |  |  | CUSTOMER | CUSTOMER |  |  |  | CUMULATIVE
| PARTICIPANTS | TAX | UTILITY | OTHER | TOTAL | EQUIPMENT | O & M | OTHER | TOTAL | NET | DISCOUNTED
| BILL | CREDITS | REBATES | BENEFITS | BENEFITS | COSTS | COSTS | COSTS | COSTS | BENEFITS | NET BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 82.1577 | 0 | 0 | 0 | 82.1577 | 5656 | 25 | 0 | 5681 | -5598.8423 | -5598.8423
2016 | 248.4396 | 0 | 0 | 0 | 248.4396 | 5791.744 | 76.8 | 0 | 5868.544 | -5620.1044 | -10834.6392
2017 | 416.5026 | 0 | 0 | 0 | 416.5026 | 5930.7459 | 131.072 | 0 | 6061.8179 | -5645.3153 | -15734.2888
2018 | 597.448 | 0 | 0 | 0 | 597.448 | 6073.0838 | 187.9048 | 0 | 6260.9886 | -5663.5406 | -20313.6325
2019 | 701.3067 | 0 | 0 | 0 | 701.3067 | 0 | 219.9023 | 0 | 219.9023 | 481.4043 | -19951.0026
2020 | 721.2394 | 0 | 0 | 0 | 721.2394 | 0 | 225.18 | 0 | 225.18 | 496.0594 | -19602.8852
2021 | 733.6002 | 0 | 0 | 0 | 733.6002 | 0 | 230.5843 | 0 | 230.5843 | 503.0159 | -19274.0243
2022 | 749.4617 | 0 | 0 | 0 | 749.4617 | 0 | 236.1183 | 0 | 236.1183 | 513.3433 | -18961.3611
2023 | 768.1321 | 0 | 0 | 0 | 768.1321 | 0 | 241.7852 | 0 | 241.7852 | 526.3469 | -18662.6995
2024 | 787.5359 | 0 | 0 | 0 | 787.5359 | 0 | 247.588 | 0 | 247.588 | 539.9479 | -18377.2709
2025 | 801.4455 | 0 | 0 | 0 | 801.4455 | 0 | 253.5301 | 0 | 253.5301 | 547.9154 | -18107.4364
2026 | 813.3213 | 0 | 0 | 0 | 813.3213 | 0 | 259.6148 | 0 | 259.6148 | 553.7065 | -17853.3964
2027 | 823.8558 | 0 | 0 | 0 | 823.8558 | 0 | 265.8456 | 0 | 265.8456 | 558.0102 | -17614.8883
2028 | 837.8933 | 0 | 0 | 0 | 837.8933 | 0 | 272.2259 | 0 | 272.2259 | 565.6674 | -17389.6406
2029 | 856.8183 | 0 | 0 | 0 | 856.8183 | 0 | 278.7593 | 0 | 278.7593 | 578.059 | -17175.1986
2030 | 871.6352 | 0 | 0 | 0 | 871.6352 | 0 | 285.4495 | 0 | 285.4495 | 586.1857 | -16972.6117
2031 | 889.2645 | 0 | 0 | 0 | 889.2645 | 0 | 292.3003 | 0 | 292.3003 | 596.9642 | -16780.4075
2032 | 912.4747 | 0 | 0 | 0 | 912.4747 | 0 | 299.3155 | 0 | 299.3155 | 613.1591 | -16596.4887
2033 | 938.4981 | 0 | 0 | 0 | 938.4981 | 0 | 306.4991 | 0 | 306.4991 | 631.9989 | -16419.8818
2034 | 960.4152 | 0 | 0 | 0 | 960.4152 | 0 | 313.8551 | 0 | 313.8551 | 646.5601 | -16251.5606
2035 | 996.9104 | 0 | 0 | 0 | 996.9104 | 0 | 321.3876 | 0 | 321.3876 | 675.5228 | -16087.725
2036 | 1047.9843 | 0 | 0 | 0 | 1047.9843 | 0 | 329.1009 | 0 | 329.1009 | 718.8834 | -15925.2955
2037 | 1091.4933 | 0 | 0 | 0 | 1091.4933 | 0 | 336.9993 | 0 | 336.9993 | 754.494 | -15766.4771
2038 | 1153.7339 | 0 | 0 | 0 | 1153.7339 | 0 | 345.0873 | 0 | 345.0873 | 808.6466 | -15607.8994
2039 | 1194.5705 | 0 | 0 | 0 | 1194.5705 | 0 | 353.3694 | 0 | 353.3694 | 841.2011 | -15454.2179
NOMINAL | 19996.1381 | 0 | 0 | 0 | 19996.1381 | 23451.5736 | 6335.2749 | 0 | 29786.8485 | -9790.7104
NPV: | 8278.6798 | 0 | 0 | 0 | 8278.6798 | 21109.5647 | 2623.3329 | 0 | 23732.8976 | -15454.2179
In service year of gen unit: |  |  | 2019
Discount rate: |  |  | 0.0734 |  |  |  | 0.34883

## Sheet9(F_25)
[5 empty] | RATE IMPACT TEST | [7 empty] | PSC FORM CE 2.5
[5 empty] | PROGRAM: | Res. Solar Water Heating | [6 empty] | Page 1 of 1
2026-07-29 18:20
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14)
[7 empty] | AVOIDED |  |  |  |  | NET | CUMULATIVE
| INCREASED | UTILITY |  |  |  |  | GEN UNIT | AVOIDED |  |  |  | BENEFITS | DISCOUNTED
| SUPPLY | PROGRAM |  | REVENUE | OTHER | TOTAL | UNIT & FUEL | T & D | REVENUE | OTHER | TOTAL | TO ALL | NET
| COSTS | COSTS | INCENTIVES | LOSSES | COSTS | COSTS | BENEFITS | BENEFITS | GAINS | BENEFITS | BENEFITS | CUSTOMERS | BENEFIT
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 0 | 0 | 82.1577 | 0 | 82.1577 | 36.9274 | 0 | 0 | 0 | 36.9274 | -45.2303 | -45.2303
2016 | 0 | 0 | 0 | 248.4396 | 0 | 248.4396 | 101.9857 | 23.8767 | 0 | 0 | 125.8624 | -122.5772 | -159.4256
2017 | 0 | 0 | 0 | 416.5026 | 0 | 416.5026 | 153.0244 | 24.4497 | 0 | 0 | 177.4741 | -239.0285 | -366.8818
2018 | 0 | 0 | 0 | 597.448 | 0 | 597.448 | 231.5524 | 25.0365 | 0 | 0 | 256.5889 | -340.8591 | -642.4887
2019 | 0 | 0 | 0 | 701.3067 | 0 | 701.3067 | 522.7791 | 45.1554 | 0 | 0 | 567.9345 | -133.3722 | -742.9547
2020 | 0 | 0 | 0 | 721.2394 | 0 | 721.2394 | 537.5772 | 45.048 | 0 | 0 | 582.6252 | -138.6141 | -840.2293
2021 | 0 | 0 | 0 | 733.6002 | 0 | 733.6002 | 556.2034 | 44.8612 | 0 | 0 | 601.0646 | -132.5356 | -926.8782
2022 | 0 | 0 | 0 | 749.4617 | 0 | 749.4617 | 572.5033 | 44.7374 | 0 | 0 | 617.2407 | -132.2209 | -1007.4103
2023 | 0 | 0 | 0 | 768.1321 | 0 | 768.1321 | 585.5675 | 44.6722 | 0 | 0 | 630.2397 | -137.8924 | -1085.6537
2024 | 0 | 0 | 0 | 787.5359 | 0 | 787.5359 | 609.8213 | 44.6616 | 0 | 0 | 654.4829 | -133.053 | -1155.9885
2025 | 0 | 0 | 0 | 801.4455 | 0 | 801.4455 | 636.4424 | 44.6944 | 0 | 0 | 681.1368 | -120.3087 | -1215.2375
2026 | 0 | 0 | 0 | 813.3213 | 0 | 813.3213 | 648.258 | 44.7525 | 0 | 0 | 693.0104 | -120.3109 | -1270.436
2027 | 0 | 0 | 0 | 823.8558 | 0 | 823.8558 | 663.2065 | 44.8276 | 0 | 0 | 708.034 | -115.8217 | -1319.9412
2028 | 0 | 0 | 0 | 837.8933 | 0 | 837.8933 | 680.3989 | 44.9201 | 0 | 0 | 725.319 | -112.5742 | -1364.7681
2029 | 0 | 0 | 0 | 856.8183 | 0 | 856.8183 | 712.9406 | 45.0305 | 0 | 0 | 757.971 | -98.8472 | -1401.4373
2030 | 0 | 0 | 0 | 871.6352 | 0 | 871.6352 | 729.1682 | 45.1591 | 0 | 0 | 774.3273 | -97.3079 | -1435.0671
2031 | 0 | 0 | 0 | 889.2645 | 0 | 889.2645 | 759.4648 | 45.3065 | 0 | 0 | 804.7713 | -84.4932 | -1462.2713
2032 | 0 | 0 | 0 | 912.4747 | 0 | 912.4747 | 789.0177 | 45.4731 | 0 | 0 | 834.4908 | -77.9839 | -1485.6628
2033 | 0 | 0 | 0 | 938.4981 | 0 | 938.4981 | 818.5519 | 45.6592 | 0 | 0 | 864.2111 | -74.2869 | -1506.4217
2034 | 0 | 0 | 0 | 960.4152 | 0 | 960.4152 | 829.0336 | 45.9439 | 0 | 0 | 874.9775 | -85.4377 | -1528.664
2035 | 0 | 0 | 0 | 996.9104 | 0 | 996.9104 | 887.283 | 46.4058 | 0 | 0 | 933.6888 | -63.2217 | -1543.9972
2036 | 0 | 0 | 0 | 1047.9843 | 0 | 1047.9843 | 921.4575 | 46.967 | 0 | 0 | 968.4245 | -79.5598 | -1561.9735
2037 | 0 | 0 | 0 | 1091.4933 | 0 | 1091.4933 | 979.2274 | 47.5499 | 0 | 0 | 1026.7772 | -64.7161 | -1575.596
2038 | 0 | 0 | 0 | 1153.7339 | 0 | 1153.7339 | 1042.099 | 48.1548 | 0 | 0 | 1090.2538 | -63.4801 | -1588.0446
2039 | 0 | 0 | 0 | 1194.5705 | 0 | 1194.5705 | 1099.5287 | 48.7824 | 0 | 0 | 1148.3111 | -46.2594 | -1596.4959
NOMINAL | 0 | 0 | 0 | 19996.1381 | 0 | 19996.1381 | 16104.02 | 1032.1254 | 0 | 0 | 17136.1454 | -2859.9927
NPV: | 0 | 0 | 0 | 8278.6798 | 0 | 8278.6798 | 6232.2324 | 449.9514 | 0 | 0 | 6682.1839 | -1596.4959
Discount rate: |  |  | 0.0734 |  | Benefit/Cost Ratio - [col (12)/col (7)]: |  |  |  | 0.80716

## Value of Defferal
GEN: | [7 empty] | COMPUTATION OF CONSTRUCTION CASH FLOW AND PLANT |  |  |  |  | Do Not Print
COMPUTATION OF GENERATION COSTS & REV. REQUIREMENTS | [7 empty] | IN-SERVICE COSTS FOR AVOIDED TRANS & DIST PLANT
IN-SERVICE AVOIDED GEN. PLANT ($000) = |  |  |  | 1171.9014 |  |  |  | -----------------------------------------------
------------------------------------------ |  |  |  |  | GENERATION |  |  | TRAN: | Avoided Trans. = |  | 18.5953
|  |  |  | COMPUTATION OF VALUE DEFERRAL PAYMENTS |  |  |  |  | Avoided Dist. = |  | 96.4682 |  | TRANSMISSION & DIST.
COMPUTATION OF VALUE DEFERRAL CREDITS
|  |  |  | ip= | 0.03 | Esc. rate | [5 empty] | ip= | 0.03 | Esc. rate
| Gen |  |  | r= | 0.0734 | Disc rate |  | TRAN |  |  |  | r= | 0.0734 | Disc rate
| Offset Cost | 3 |  | l= | 25 | Econ life |  | Offset Cost |  | 3 |  | l= | 25 | Econ life
| Offset Factor | 2 |  | c= | 1 | Risk factor |  | Offset Factor |  | 1 |  | c= | 1 | Risk factor
|  |  |  | k= | 1.4625 | K factor |  | DIST |  |  |  | k= | 1.4625 | K factor
|  |  |  | Ratio= | 0.95957 | calculated ratio |  | Offset Cost |  | 4 |  | Ratio= | 0.95957 | calculated ratio
[8 empty] | Offset Factor |  | 1
|  |  |  | VALUE of DEFERRAL | [7 empty] | VALUE DEFERRAL STARTING
|  |  |  | Factor = | 0.091872 | [6 empty] | FACTOR = | 0.091872
[5 empty] | AVOIDED |  |  |  |  | TRANS | DIST |  | AVOIDED | AVOIDED
|  | CARRYING | ANNUAL | Value | GEN. |  |  |  | CARRYING | ANNUAL | ANNUAL |  | TRANS. | DIST
|  | CHARGE | REV REQ | of Def | V OF D |  |  |  | CHARGE | REV REQ | REV REQ |  | V OF D | V OF D
N | Year | % | COSTS(000) | Factors | ($000) |  | N | Year | % | COSTS(000) | COSTS(000) | Factors | ($000) | $(000)
-- | ---- | ------ | ------ | ------ | ----- |  |  |  | ------ | ------ | ------
1 | 2015 | 0 | 0 | 0 | 0 |  | 1 | 2015 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2016 | 0 | 0 | 0 | 0 |  | 2 | 2016 | 0 | 0 | 0 | 0.091872 | 1.7084 | 8.8627
3 | 2017 | 0 | 0 | 0 | 0 |  | 3 | 2017 | 0 | 0 | 0 | 0.094628 | 1.7596 | 9.1286
4 | 2018 | 0 | 0 | 0 | 0 |  | 4 | 2018 | 0 | 0 | 0 | 0.097467 | 1.8124 | 9.4024
5 | 2019 | 0.16963 | 198.7876 | 0.091872 | 107.6646 |  | 5 | 2019 | 0.16963 | 3.1543 | 16.3637 | 0.10039 | 1.8668 | 9.6845
6 | 2020 | 0.16335 | 191.4272 | 0.094628 | 110.8946 |  | 6 | 2020 | 0.16335 | 3.0375 | 15.7578 | 0.1034 | 1.9228 | 9.9751
7 | 2021 | 0.15625 | 183.1075 | 0.097467 | 114.2214 |  | 7 | 2021 | 0.15625 | 2.9055 | 15.073 | 0.1065 | 1.9805 | 10.2743
8 | 2022 | 0.14957 | 175.2755 | 0.10039 | 117.6481 |  | 8 | 2022 | 0.14957 | 2.7812 | 14.4283 | 0.1097 | 2.0399 | 10.5825
9 | 2023 | 0.14326 | 167.8823 | 0.1034 | 121.1775 |  | 9 | 2023 | 0.14326 | 2.6639 | 13.8197 | 0.11299 | 2.1011 | 10.9
10 | 2024 | 0.13729 | 160.8845 | 0.1065 | 124.8128 |  | 10 | 2024 | 0.13729 | 2.5529 | 13.2436 | 0.11638 | 2.1641 | 11.227
11 | 2025 | 0.13155 | 154.1626 | 0.1097 | 128.5572 |  | 11 | 2025 | 0.13155 | 2.4462 | 12.6903 | 0.11987 | 2.2291 | 11.5638
12 | 2026 | 0.12589 | 147.529 | 0.11299 | 132.4139 |  | 12 | 2026 | 0.12589 | 2.3409 | 12.1442 | 0.12347 | 2.2959 | 11.9107
13 | 2027 | 0.12023 | 140.8955 | 0.11638 | 136.3863 |  | 13 | 2027 | 0.12023 | 2.2357 | 11.5982 | 0.12717 | 2.3648 | 12.2681
14 | 2028 | 0.11457 | 134.2619 | 0.11987 | 140.4779 |  | 14 | 2028 | 0.11457 | 2.1304 | 11.0521 | 0.13099 | 2.4357 | 12.6361
15 | 2029 | 0.10891 | 127.6283 | 0.12347 | 144.6923 |  | 15 | 2029 | 0.10891 | 2.0252 | 10.5061 | 0.13492 | 2.5088 | 13.0152
16 | 2030 | 0.10325 | 120.9948 | 0.12717 | 149.033 |  | 16 | 2030 | 0.10325 | 1.9199 | 9.96 | 0.13896 | 2.5841 | 13.4056
17 | 2031 | 0.097586 | 114.3612 | 0.13099 | 153.504 |  | 17 | 2031 | 0.097586 | 1.8146 | 9.414 | 0.14313 | 2.6616 | 13.8078
18 | 2032 | 0.091926 | 107.7277 | 0.13492 | 158.1092 |  | 18 | 2032 | 0.091926 | 1.7094 | 8.8679 | 0.14743 | 2.7415 | 14.222
19 | 2033 | 0.086265 | 101.0941 | 0.13896 | 162.8524 |  | 19 | 2033 | 0.086265 | 1.6041 | 8.3218 | 0.15185 | 2.8237 | 14.6487
20 | 2034 | 0.081285 | 95.2585 | 0.14313 | 167.738 |  | 20 | 2034 | 0.081285 | 1.5115 | 7.8415 | 0.15641 | 2.9084 | 15.0882
21 | 2035 | 0.077667 | 91.0185 | 0.14743 | 172.7701 |  | 21 | 2035 | 0.077667 | 1.4443 | 7.4924 | 0.1611 | 2.9957 | 15.5408
22 | 2036 | 0.07473 | 87.5763 | 0.15185 | 177.9532 |  | 22 | 2036 | 0.07473 | 1.3896 | 7.2091 | 0.16593 | 3.0855 | 16.007
23 | 2037 | 0.071793 | 84.134 | 0.15641 | 183.2918 |  | 23 | 2037 | 0.071793 | 1.335 | 6.9257 | 0.17091 | 3.1781 | 16.4872
24 | 2038 | 0.068855 | 80.6917 | 0.1611 | 188.7906 |  | 24 | 2038 | 0.068855 | 1.2804 | 6.6424 | 0.17604 | 3.2734 | 16.9819
25 | 2039 | 0.065918 | 77.2494 | 0.16593 | 194.4543 |  | 25 | 2039 | 0.065918 | 1.2258 | 6.359 | 0.18132 | 3.3716 | 17.4913
26 | 2040 | 0.062981 | 73.8072 | 0.17091 | 200.2879 |  | 26 | 2040 | 0.062981 | 1.1711 | 6.0756 | 0.18676 | 3.4728 | 18.0161
27 | 2041 | 0.060043 | 70.3649 | 0.17604 | 206.2966 |  | 27 | 2041 | 0.060043 | 1.1165 | 5.7923 | 0 | 0 | 0
28 | 2042 | 0.057106 | 66.9226 | 0.18132 | 212.4855 |  | 28 | 2042 | 0.057106 | 1.0619 | 5.5089 | 0 | 0 | 0
29 | 2043 | 0.054169 | 63.4803 | 0.18676 | 218.86 |  | 29 | 2043 | 0.054169 | 1.0073 | 5.2256 | 0 | 0 | 0
30 | 2044 | 0 | 0 | 0 | 0 |  | 30 | 2044 | 0 | 0 | 0 | 0 | 0 | 0
31 | 2045 | 0 | 0 | 0 | 0 |  | 31 | 2045 | 0 | 0 | 0 | 0 | 0 | 0
32 | 2046 | 0 | 0 | 0 | 0 |  | 32 | 2046 | 0 | 0 | 0 | 0 | 0 | 0
33 | 2047 | 0 | 0 | 0 | 0 |  | 33 | 2047 | 0 | 0 | 0 | 0 | 0 | 0
34 | 2048 | 0 | 0 | 0 | 0 |  | 34 | 2048 | 0 | 0 | 0 | 0 | 0 | 0
35 | 2049 | 0 | 0 | 0 | 0 |  | 35 | 2049 | 0 | 0 | 0 | 0 | 0 | 0
36 | 2050 | 0 | 0 | 0 | 0 |  | 36 | 2050 | 0 | 0 | 0 | 0 | 0 | 0
37 | 2051 | 0 | 0 | 0 | 0 |  | 37 | 2051 | 0 | 0 | 0 | 0 | 0 | 0
38 | 2052 | 0 | 0 | 0 | 0 |  | 38 | 2052 | 0 | 0 | 0 | 0 | 0 | 0
39 | 2053 | 0 | 0 | 0 | 0 |  | 39 | 2053 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | ----- |  | ----- |  |  |  |  | ----- |  |  | ----
|  | NOMINAL | 3016.5231 |  | 3925.3736 |  |  |  | NOMINAL | 47.8652 |  |  | 62.2865
|  | NPV | 1291.3413 |  | 1291.0426 |  |  |  | NPV | 20.4906 |  |  | 25.336