## Input
Answer questions 1 thru 16 to complete evaluation. Press RUN for results. (See Title & Results). |  |  |  | Do Not Print this page
1 | Program Title | Res. PV
2 | Demand & Energy Savings
| Winter kW | 1.053
| Summer kW | 2.325
| kWh | 11236
3 | Switch (1=Conservation, 0=Load Management) | 1
4 | Switch (1=Residential, 0=Commercial) | 1
ADJUSTED
5 | Participation | Annual |  |  |  | Cumulative | CUMULATIVE
|  | Total Partic. |  |  |  | Total Partic. | PARTICIPATING
| YEAR | Customers |  |  | YEAR | Customers | CUSTOMERS
| 2015 | 100 | 1 |  | 2015 | 100 | 100
| 2016 | 100 | 2 |  | 2016 | 200 | 200
| 2017 | 100 | 3 |  | 2017 | 300 | 300
| 2018 | 100 | 4 |  | 2018 | 400 | 400
| 2019 | 0 | 5 |  | 2019 | 400 | 400
| 2020 | 0 | 6 |  | 2020 | 400 | 400
| 2021 | 0 | 7 |  | 2021 | 400 | 400
| 2022 | 0 | 8 |  | 2022 | 400 | 400
| 2023 | 0 | 9 |  | 2023 | 400 | 400
| 2024 | 0 |  |  | 2024 | 400 | 400
| 2025 | 0 |  |  | 2025 | 400 | 400
| 2026 | 0 |  |  | 2026 | 400 | 400
| 2027 | 0 |  |  | 2027 | 400 | 400
| 2028 | 0 |  |  | 2028 | 400 | 400
| 2029 | 0 |  |  | 2029 | 400 | 400
[5 empty] | 2030 | 400 | 400
[5 empty] | 2031 | 400 | 400
6 | Free Riders | 0% |  |  | 2032 | 400 | 400
7 | Study Period for Conservation Program | 25 | Years |  | 2033 | 400 | 400
8 | Utility Non Recurring Cost Per Customer | 28 | $/CUST |  | 2034 | 400 | 400
9 | Utility Recurring Cost Per Customer (Load Management) | 0 | $/CUST/YR |  | 2035 | 400 | 400
10 | Customer Equipment Cost | 23799 | $/CUST |  | 2036 | 400 | 400
11 | Customer O & M Cost | 140 | $/CUST/YR |  | 2037 | 400 | 400
12 | Customer Tax Credit Per Installation | 2931 | $/CUST |  | 2038 | 400 | 400
13 | Increased Supply Costs | 0 | $/CUST/YR |  | 2039 | 400 | 400
14 | Utility Non Recurring Rebate/Incentive | 14028 | $/CUST |  | 2040 | 400 | 400
15 | Utility Recurring Rebate/Incentive (Load Management) | 0 | $/CUST/YR
16 | Diversity and Annual Demand | N/A
| Adjustment Factor for Customer Bill: | 1
See Participation C,D,E,F 73
See Participation F_22 F5,6

## Title_RESULTS
Residential
|  | INPUT DATA - PART 1 |  |  |  | PSC FORM CE 1.1 | [9 empty] | Formula Entry | X |  | 0 | <= INPUT % FREE RIDERS; | Summer EUE | 0.686 |  | LOLP CALC | Forced Outage Rate | 0.034 | 0.966
|  | PROGRAM TITLE: | Res. PV |  |  | PAGE 1 OF 1 | [9 empty] | Com./Res. Toggle | X |  |  | THEN PARTICIPANTS IN COL. (1). | Winter EUE | 0.314 |  | PERCENT RED: | Line Loss | 0.066 | 0.934
[6 empty] | RUN DATE: | 2026-07-30 02:18 | [8 empty] | LdMgt. Toggle |  |  |  | 36980.3772 |  |  |  | 25 | Multiplier (see U4) | 0.90224
Study Period (Years)
| PROGRAM DEMAND SAVINGS & LINE LOSSES |  |  |  | AVOIDED GENERATOR, TRANS. & DIST COSTS | [10 empty] | Macros | [8 empty] | Commercial
I. | (1) CUSTOMER KW REDUCTION AT THE METER | 2.325 | KW /CUST | IV. | (1) BASE YEAR | 2015 | [18 empty] | Forced Outage Rate | 0.034 | 0.966
I. | (2) GENERATOR KW REDUCTION PER CUSTOMER | 2.1342 | KW GEN/CUST | IV. | (2) IN-SERVICE YEAR FOR AVOIDED GENERATING UNIT | 2019 |  |  | 1.03 | [6 empty] | What Changes | [8 empty] | Line Loss | 0.065 | 0.935
I. | (3) KW LINE LOSS PERCENTAGE | 7.3 | % | IV. | (3) IN-SERVICE YEAR FOR AVOIDED T & D | 2016 |  | 2.1342 | Residential | 2013 | 2014 | 2015 |  |  |  | Res Ld. Mgmt. | Comm | Comm/LDMgmt | [6 empty] | Multiplier (see U4) | 0.90321
I. | (4) GENERATION KWH REDUCTION PER CUSTOMER | 11902.5424 | KWH/CUST/YR | IV. | (4) BASE YEAR AVOIDED GENERATING UNIT COST | 650.6394 | $/KW | 2.1319 | Commercial | 613.29 | 631.6887 | 650.6394
I. | (5) KWH LINE LOSS PERCENTAGE | 5.6 | % | IV. | (5) BASE YEAR AVOIDED TRANSMISSION COST | 0 | $/KW | 0 |  | 11.24 | 11.5772 | 11.9245 |  |  |  |  | Gen KW |  |  |  |  | 0.29775 | REDUCTION @
I. | (6) GROUP LINE LOSS MULTIPLIER | 1 |  | IV. | (6) BASE YEAR DISTRIBUTION COST | 0 | $/KW | 571.47 | 1.024 | 54.63 | 56.2689 | 57.957 |  |  |  | Residential | Commercial |  |  |  |  | 0.33975 | 0.25
I. | (7) CUSTOMER KWH PROGRAM INCREASE AT METER | 0 | KWH/CUST/YR | IV. | (7) GEN, TRAN, & DIST COST ESCALATION RATE | 3 | % | [7 empty] | kW | 7.3 | 7% | 7% |  |  |  | 746.25
I. | (8)* CUSTOMER KWH REDUCTION AT METER | 11236 | KWH/CUST/YR | IV. | (8) GENERATOR FIXED O & M COST | 11.9538 | $/KW/YR |  |  | 11.4 | 11.6736 | 11.9538
|  |  |  | IV. | (9) GENERATOR FIXED O&M ESCALATION RATE | 2.4 | % |  |  | 2014 | 2015 |  |  |  | kWh | 5.6 | 5.2% | 5.2%
| ECONOMIC LIFE & K FACTORS |  |  | IV. | (10) TRANSMISSION FIXED O & M COST | 2.9184 | $/KW/YR |  |  | 2.85 | 2.9184
II. | (1) STUDY PERIOD FOR CONSERVATION PROGRAM | 25 | YEARS | IV. | (11) DISTRIBUTION FIXED O & M COST | 11.6941 | $/KW/YR |  |  | 11.42 | 11.6941
II. | (2) GENERATOR ECONOMIC LIFE | 25 | YEARS | IV. | (12) T&D FIXED O&M ESCALATION RATE | 2.4 | % | [8 empty] | GEN KW=
II. | (3) T & D ECONOMIC LIFE | 25 | YEARS | IV. | (13) AVOIDED GEN UNIT VARIABLE O & M COSTS | 0.18 | CENTS/KWH | 1.8 | 0.0018
II. | (4) K FACTOR FOR GENERATION | 1.4625 |  | IV. | (14) GENERATOR VARIABLE O&M COST ESCALATION RATE | 2.4 | % |  | 0.18
II. | (5) K FACTOR FOR T & D | 1.4625 |  | IV. | (15) GENERATOR CAPACITY FACTOR | 13.2 | % |  |  | 2019 | 2018 | 2017 | 2016 | 2015
| (6)* SWITCH REV REQ(0) OR VAL-OF-DEF (1) | 0 |  | IV. | (16) AVOIDED GENERATING UNIT FUEL COST | 4.5623 | CENTS/KWH |  | 1.0521 | 5.59 | 5.3132 | 5.0501 | 4.8 | 4.5623
|  |  |  | IV. | (17) AVOIDED GEN UNIT FUEL ESCALATION RATE | 5.21 | % | 9.4
|  |  |  | IV. | (18)* AVOIDED PURCHASE CAPACITY COST PER KW | 0 | $/KW/YR | 7.7
| UTILITY & CUSTOMER COSTS |  |  | IV. | (19)* CAPACITY COST ESCALATION RATE | 0 | % | 6.6
III. | (1) UTILITY NONRECURRING COST PER CUSTOMER | 28 | $/CUST |  |  |  |  | 7.9
III. | (2) UTILITY RECURRING COST PER CUSTOMER | 0 | $/CUST/YR
III. | (3) UTILITY COST ESCALATION RATE | 2.4 | % |  |  |  |  | Non-Fuel | Res | GSD Rate (2010)
III. | (4) CUSTOMER EQUIPMENT COST | 23799 | $/CUST |  | NON-FUEL ENERGY AND DEMAND CHARGES |  |  | Base Rate | 4.598 | 1.583 |  | kWh
III. | (5) CUSTOMER EQUIPMENT ESCALATION RATE | 2.4 | % | V. | (1) NON-FUEL COST IN CUSTOMER BILL | 5.578 | CENTS/KWH | Fuel |  |  | 0
III. | (6) CUSTOMER O & M COST | 140 | $/CUST/YR | V. | (2) NON-FUEL ESCALATION RATE | 1 | % | ECCR | 0.295 | 0 | 0.78 | kW
III. | (7) CUSTOMER O & M ESCALATION RATE | 2.4 | % | V. | (3) CUSTOMER DEMAND CHARGE PER KW | 0 | $/KW/MO | Capacity | 0.202 | 0 | 0.63 | kw
III. | (8)* CUSTOMER TAX CREDIT PER INSTALLATION | 2931 | $/CUST | V. | (4) DEMAND CHARGE ESCALATION RATE | 1 | % | ECRC | 0.483 | 0.477 | 0 | kwh
III. | (9)* CUSTOMER TAX CREDIT ESCALATION RATE | 0 | % | V. | (5)* DIVERSITY and ANNUAL DEMAND ADJUSTMENT |  |  | 2.5959 | 5.578 | 2.06 | 1.41 |  | Energy
III. | (10)* INCREASED SUPPLY COSTS | 0 | $/CUST/YR |  | FACTOR FOR CUSTOMER BILL | 1 |  | 9.64 |  |  |  |  | Demand
III. | (11)* SUPPLY COSTS ESCALATION RATE | 0 | % | [7 empty] | 9.82 | 8.41
III. | (12)* UTILITY DISCOUNT RATE | 0.0734
III. | (13)* UTILITY AFUDC RATE | 0.0645 |  |  | CALCULATED BENEFITS AND COSTS
III. | (14)* UTILITY NON RECURRING REBATE/INCENTIVE | 14028 | $/CUST |  | (1)* TRC TEST - BENEFIT/COST RATIO | 0.40721
III. | (15)* UTILITY RECURRING REBATE/INCENTIVE | 0 | $/CUST/YR |  | (2)* PARTICIPANT NET BENEFITS (NPV) | 1.1954
III. | (16)* UTILITY REBATE/INCENTIVE ESCAL RATE | 0 | % |  | (3)* RIM TEST - BENEFIT/COST RATIO | 0.3752
END OF EDITING AREA
YEARLY INPUT DATA: GO TO H5..Q76 & INPUT (Page 2)
PLEASE NOTE: UTILITY NON-LEVELIZED REVENUE REQUIREMENT
FACTORS AT RANGE NAMES GEN_RRTBL AND TRAN_RRTBL.

## Participation
[6 empty] | See N16 for Rev Requirements |  | Do Not Print
PROGRAM TITLE:
2026-07-30 02:18
VI. YEARLY INPUT DATA
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) |  |  | Generation
[14 empty] | Comb. Cycle | Tran & Dist
|  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK |  |  | Rev Reqm't | Rev Reqm't
| CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER |  |  |  | FACTORS | FACTORS
| TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR | [5 empty] | ---- | ----
|  |  | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
2015 | 100 | 100 | 3.92 | 4.03 | 0 | 3.92 | 1 | 1 | 0 | 0 | 0 |  | 2019 | 0.16963 | 0.16963 | 0.17935 | 0
2016 | 200 | 200 | 3.94 | 3.71 | 0 | 3.94 | 1 | 1 | 0 | 0 | 0 |  | 2020 | 0.16335 | 0.16335 | 0.17255 | 0
2017 | 300 | 300 | 3.94 | 3.34 | 0 | 3.94 | 1 | 1 | 0 | 0 | 0 |  | 2021 | 0.15625 | 0.15625 | 0.16486 | 0
2018 | 400 | 400 | 4.12 | 3.61 | 0 | 4.12 | 1 | 1 | 0 | 0 | 0 |  | 2022 | 0.14957 | 0.14957 | 0.15762 | 0
2019 | 400 | 400 | 4.33 | 3.8 | 0 | 4.33 | 1 | 1 | 0 | 0 | 0 |  | 2023 | 0.14326 | 0.14326 | 0.15079 | 0
2020 | 400 | 400 | 4.56 | 4.08 | 0 | 4.56 | 1 | 1 | 0 | 0 | 0 |  | 2024 | 0.13729 | 0.13729 | 0.14432 | 0
2021 | 400 | 400 | 4.68 | 4.4 | 0 | 4.7 | 1 | 1 | 0 | 0 | 0 |  | 2025 | 0.13155 | 0.13155 | 0.13811 | 0.02
2022 | 400 | 400 | 4.85 | 4.68 | 0 | 4.85 | 1 | 1 | 0 | 0 | 0 |  | 2026 | 0.12589 | 0.12589 | 0.13197 | 0
2023 | 400 | 400 | 5.06 | 4.92 | 0 | 5.06 | 1 | 1 | 0 | 0 | 0 |  | 2027 | 0.12023 | 0.12023 | 0.12584 | 0
2024 | 400 | 400 | 5.28 | 5.31 | 0 | 5.3 | 1 | 1 | 0 | 0 | 0 |  | 2028 | 0.11457 | 0.11457 | 0.11971 | 0.02
2025 | 400 | 400 | 5.42 | 5.7 | 0 | 5.44 | 1 | 1 | 0 | 0 | 0 |  | 2029 | 0.10891 | 0.10891 | 0.11358 | 0.02
2026 | 400 | 400 | 5.53 | 5.87 | 0 | 5.53 | 1 | 1 | 0 | 0 | 0 |  | 2030 | 0.10325 | 0.10325 | 0.10745 | 0
2027 | 400 | 400 | 5.62 | 6.08 | 0 | 5.63 | 1 | 1 | 0 | 0 | 0 |  | 2031 | 0.097586 | 0.097586 | 0.10132 | 0.01
2028 | 400 | 400 | 5.76 | 6.32 | 0 | 5.75 | 1 | 1 | 0 | 0 | 0 |  | 2032 | 0.091926 | 0.091926 | 0.095187 | -0.01
2029 | 400 | 400 | 5.97 | 6.79 | 0 | 5.98 | 1 | 1 | 0 | 0 | 0 |  | 2033 | 0.086265 | 0.086265 | 0.089056 | 0.01
2030 | 400 | 400 | 6.12 | 7.01 | 0 | 6.12 | 1 | 1 | 0 | 0 | 0 |  | 2034 | 0.081285 | 0.081285 | 0.083662 | 0
2031 | 400 | 400 | 6.31 | 7.43 | 0 | 6.32 | 1 | 1 | 0 | 0 | 0 |  | 2035 | 0.077667 | 0.077667 | 0.079743 | 0.01
2032 | 400 | 400 | 6.58 | 7.85 | 0 | 6.59 | 1 | 1 | 0 | 0 | 0 |  | 2036 | 0.07473 | 0.07473 | 0.076562 | 0.01
2033 | 400 | 400 | 6.89 | 8.27 | 0 | 6.89 | 1 | 1 | 0 | 0 | 0 |  | 2037 | 0.071793 | 0.071793 | 0.07338 | 0
2034 | 400 | 400 | 7.14 | 8.4 | 0 | 7.14 | 1 | 1 | 0 | 0 | 0 |  | 2038 | 0.068855 | 0.068855 | 0.070199 | 0
2035 | 400 | 400 | 7.6 | 9.2 | 0 | 7.59 | 1 | 1 | 0 | 0 | 0 |  | 2039 | 0.065918 | 0.065918 | 0.067017 | -0.01
2036 | 400 | 400 | 8.27 | 9.71 | 0 | 8.28 | 1 | 1 | 0 | 0 | 0 |  | 2040 | 0.062981 | 0.062981 | 0.063836 | 0.01
2037 | 400 | 400 | 8.83 | 10.5 | 0 | 8.83 | 1 | 1 | 0 | 0 | 0 |  | 2041 | 0.060043 | 0.060043 | 0.060654 | 0
2038 | 400 | 400 | 9.66 | 11.42 | 0 | 9.67 | 1 | 1 | 0 | 0 | 0 |  | 2042 | 0.057106 | 0.057106 | 0.057472 | 0.01
2039 | 400 | 400 | 10.18 | 12.18 | 0 | 10.19 | 1 | 1 | 0 | 0 | 0 |  | 2043 | 0.054169 | 0.054169 | 0.054291 | 0.01
2040 | 400 | 400 | 10.73 | 12.76 | 0 | 10.74 | 1 | 1 | 0 | 0 | 0 |  | 2044 | 0 | 0 |  | 0.01
2041 | 0 | 0 | 11.53 | 13.56 | 0 | 11.54 | 1 | 1 | 0 | 0 | 0 |  | 2045 | 0 | 0 |  | 0.01
2042 | 0 | 0 | 12.07 | 14.01 | 0 | 12.07 | 1 | 1 | 0 | 0 | 0 |  | 2046 | 0 | 0 |  | 0
2043 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |  | 2047 | 0 | 0 |  | 0
2044 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |  | 2048 | 0 | 0 |  | 0
2045 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |  | 2049 | 0 | 0
2046 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2047 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2048 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2049 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2
1
Unit Size of Avoided Generation Unit | (2): 854
|  | (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
|  |  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK
|  | CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER
|  | TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
| YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR
|  |  | 0 | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
| 2015 | 100 | 100 | 3.92 | 4.03 | 0 | 0 | 1 | 1 | 0 | 0 | 2.02
| 2016 | 200 | 200 | 3.94 | 3.71 | 0 | 0 | 1 | 1 | 0 | 0 | 2.1
| 2017 | 300 | 300 | 3.94 | 3.34 | 0 | 0 | 1 | 1 | 0 | 0 | 2.4
| 2018 | 400 | 400 | 4.12 | 3.61 | 0 | 0 | 1 | 1 | 0 | 0 | 2.41
| 2019 | 400 | 400 | 4.33 | 3.8 | 0 | 0 | 1 | 1 | 0 | 0 | 2.79
| 2020 | 400 | 400 | 4.56 | 4.08 | 0 | 0 | 1 | 1 | 0 | 0 | 3.05
| 2021 | 400 | 400 | 4.68 | 4.4 | 0 | 0 | 1 | 1 | 0 | 0 | 3.18
| 2022 | 400 | 400 | 4.85 | 4.68 | 0 | 0 | 1 | 1 | 0 | 0 | 3.07
| 2023 | 400 | 400 | 5.06 | 4.92 | 0 | 0 | 1 | 1 | 0 | 0 | 3.49
| 2024 | 400 | 400 | 5.28 | 5.31 | 0 | 0 | 1 | 1 | 0 | 0 | 3.53
| 2025 | 400 | 400 | 5.42 | 5.7 | 0 | 0 | 1 | 1 | 0 | 0 | 3.81
| 2026 | 400 | 400 | 5.53 | 5.87 | 0 | 0 | 1 | 1 | 0 | 0 | 4.29
| 2027 | 400 | 400 | 5.62 | 6.08 | 0 | 0 | 1 | 1 | 0 | 0 | 4.43
| 2028 | 400 | 400 | 5.76 | 6.32 | 0 | 0 | 1 | 1 | 0 | 0 | 4.61
| 2029 | 400 | 400 | 5.97 | 6.79 | 0 | 0 | 1 | 1 | 0 | 0 | 5.23
| 2030 | 400 | 400 | 6.12 | 7.01 | 0 | 0 | 1 | 1 | 0 | 0 | 5.38
| 2031 | 400 | 400 | 6.31 | 7.43 | 0 | 0 | 1 | 1 | 0 | 0 | 5.63
| 2032 | 400 | 400 | 6.58 | 7.85 | 0 | 0 | 1 | 1 | 0 | 0 | 6.18
| 2033 | 400 | 400 | 6.89 | 8.27 | 0 | 0 | 1 | 1 | 0 | 0 | 6.57
| 2034 | 400 | 400 | 7.14 | 8.4 | 0 | 0 | 1 | 1 | 0 | 0 | 6.76
| 2035 | 400 | 400 | 7.6 | 9.2 | 0 | 0 | 1 | 1 | 0 | 0 | 7.26
| 2036 | 400 | 400 | 8.27 | 9.71 | 0 | 0 | 1 | 1 | 0 | 0 | 7.3
| 2037 | 400 | 400 | 8.83 | 10.5 | 0 | 0 | 1 | 1 | 0 | 0 | 7.35
| 2038 | 400 | 400 | 9.66 | 11.42 | 0 | 0 | 1 | 1 | 0 | 0 | 8.21
| 2039 | 400 | 400 | 10.18 | 12.18 | 0 | 0 | 1 | 1 | 0 | 0 | 8.04
| 2040 | 400 | 400 | 10.73 | 12.76 | 0 | 0 | 1 | 1 | 0 | 0 | 8.31
| 2041 | 0 | 0 | 11.53 | 13.56 | 0 | 0 | 1 | 1 | 0 | 0 | 9.05
| 2042 | 0 | 0 | 12.07 | 14.01 | 0 | 0 | 1 | 1 | 0 | 0 | 8.99
| 2043 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9.37
| 2044 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9.75
| 2045 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2046 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2047 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2048 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2049 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0

## f-11B
|  | CALCULATION OF AFUDC AND IN-SERVICE COST OF PLANT | [7 empty] | PSC FORM CE 1.1B
|  |  |  | PLANT: | 2019 | Avoided Unit |  |  |  | PAGE 1 OF 1
2026-07-30 02:18
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
| NO. YEARS | PLANT | CUMULATIVE |  |  | CUMULATIVE | CUMULATIVE | YEARLY | INCREMENTAL | CUMULATIVE | <-- INPUTS FOR OTHER COSTS & BENEFITS - EXTERNALLY CALC., FORMS 2.3, 2.4, & 2.5 -->
| BEFORE | ESCALATION | ESCALATION | YEARLY | ANNUAL | AVERAGE | SPENDING | TOTAL | YEAR-END | YEAR-END |  | (1) | (2) | (3) | (4) | (5) | (6)
| INSERVICE | RATE | FACTOR | EXPENDITURE | SPENDING | SPENDING | WITH AFUDC | AFUDC | BOOK VALUE | BOOK VALUE |  | (1): <-- FORM 2.3 --->; (3): <---- FORM 2.4 --->; (5): <---- FORM 2.5 ---->
YEAR |  | (%) |  | (%) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | YEAR | OTHER COST | OTHER BEN | OTH COST | OTHER BENEFITS | COSTS | BENEFITS
2009 | [11 empty] | ($000) | ($000) | ($000) | ($000) | ($000) | ($000)
2010 | [10 empty] | 2015 | 0 | 0 | 0 | 0 | 0 | 0
2011 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2016 | 0 | 0 | 0 | 0 | 0 | 0
2012 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0
2013 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0
2014 | -7 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0
2015 | -6 | 0.024 | 1.024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020 | 0 | 0 | 0 | 0 | 0 | 0
2016 | -5 | 0.024 | 1.0486 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2021 | 0 | 0 | 0 | 0 | 0 | 0
2017 | -4 | 0.024 | 1.0737 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022 | 0 | 0 | 0 | 0 | 0 | 0
2018 | -3 | 0.024 | 1.0995 | 0 | 0 | 0 | 0 |  | 0 | 0 | 2023 | 0 | 0 | 0 | 0 | 0 | 0
2019 | -2 | 0.024 | 1.1259 | 0.755 | 557.77 | 540.3366 | 557.77 | 17.4334 | 557.77 | 557.77 | 2024 | 0 | 0 | 0 | 0 | 0 | 0
2020 | -1 | 0.024 | 1.1529 | 0.24 | 216.2732 | 175.7512 | 216.2732 | 40.522 | 216.2732 | 774.0432 | 2025 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 0 | 0.022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2026 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2027 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2028 | 0 | 0 | 0 | 0 | 0 | 0
IN-SERVICE YEAR = |  | 2019 | [6 empty] | 774.0432 |  | 2029 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2030 | 0 | 0 | 0 | 0 | 0 | 0
PLANT COSTS (2013$) |  | 650.6394 | [8 empty] | 2031 | 0 | 0 | 0 | 0 | 0 | 0
AFUDC RATE: |  | 6.45% | [8 empty] | 2032 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2033 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2034 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2035 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2036 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2037 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2038 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2039 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2040 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2041 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2042 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2043 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2044 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2045 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2046 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2047 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2048 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2049 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2050 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2051 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2052 | 0 | 0 | 0 | 0 | 0 | 0
PSC FORM CE 1.1
PAGE 1 OF 1 | bar: (2)
[11 empty] | Run date: | (1): 37062
[12 empty] | 37062.5552 | *
*
2001 | bar: (2)
2004
[7 empty] | 16.2994 | [12 empty] | CONS | TRUCTION PERIOD | VALUES
[20 empty] | ACCUM. | BOOK |  | CWIP IN |  | ACCUM. | DEF | ERRED
[12 empty] | (4): Spending Curve; (6): CONSTR. |  | ACCUM. | CONSTR. | VALUE | DEFERRED | RATE CAPITALIZED | C | APITALIZED | TA | X ON
[12 empty] | (5): YEAR; (6): EXPEND. | AFUDC | AFUDC | EXPEND. | NOT CLOSED | TAXES | BASE INTEREST |  | INTEREST | AF | UDC
[14 empty] | 0.77158 | 0.49261 | 2018 | 110769 | 3572 | 3572 | 110769 | 114341 | 205 | 0. 2355. |  | 2355 |  | 205
[14 empty] | 0.25096 | 0.50739 | 2019 | 36029 | 8307 | 11879 | 36029 | 44336 | 650 | 0. 7292. |  | 9647 |  | 650
[12 empty] | (5): 2019; (6): 0 | 0 | 0 | 0 | 0 | 482 | 0. 0. |  | 0 |  | -34
[12 empty] | (5): IN SER; (6): VICE DATE TOT | ALS | 11864 | 143562 | 155426 |  |  |  | 9647
[12 empty] | (5): 0.75457; (6): 540.3366 | 18.8 |  |  | 557.761 | 557.77
[12 empty] | (5): 0.24543; (6): 175.7512 | 43.7211 |  |  | 216.2732
774.0341
716.0878

## Sheet3(F_21)
|  |  | AVOIDED GENERATION UNIT BENEFITS | [5 empty] | PSC FORM CE 2.1
|  |  | PROGRAM: | Res. PV |  |  |  |  | Page 1 of 1
2026-07-30 02:18
|  | * UNIT SIZE OF AVOIDED GENERATION UNIT = |  |  |  | 854 | KW
|  | * INSERVICE COSTS OF AVOIDED GEN. UNIT (000) = |  |  |  | 661.0329
(1) | (1A)* | (2) | (2A)* | (3) | (4) | (5) | (6) | (6A)* | (7)
|  | AVOIDED | AVOIDED | AVOIDED | AVOIDED | AVOIDED |  | AVOIDED
| REVENUE | GEN UNIT | ANNUAL | UNIT | GEN UNIT | GEN UNIT |  | PURCHASED | AVOIDED
| REQUIREMENT | CAPACITY | UNIT | FIXED | VARIABLE | FUEL | REPLACEMENT | CAPACITY | GEN UNIT
| FACTOR | COST | KWH GEN | O&M COST | O&M COST | COST | FUEL COST | COSTS | BENEFITS
YEAR |  | $(000) | (000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019 | 0.16963 | 112.1299 | 987.139 | 11.2203 | 1.9537 | 55.1811 | 42.7431 | 0 | 137.7418
2020 | 0.16335 | 107.9781 | 987.139 | 11.4896 | 2.0006 | 58.056 | 45.0135 | 0 | 134.5107
2021 | 0.15625 | 103.2852 | 987.139 | 11.7653 | 2.0486 | 61.0807 | 46.3955 | 0 | 131.7843
2022 | 0.14957 | 98.8674 | 987.139 | 12.0477 | 2.0977 | 64.263 | 47.8762 | 0 | 129.3996
2023 | 0.14326 | 94.6972 | 987.139 | 12.3369 | 2.1481 | 67.6111 | 49.9492 | 0 | 126.844
2024 | 0.13729 | 90.7499 | 987.139 | 12.6329 | 2.1996 | 71.1337 | 52.3184 | 0 | 124.3978
2025 | 0.13155 | 86.9583 | 987.139 | 12.9361 | 2.2524 | 74.8397 | 53.7004 | 0 | 123.2862
2026 | 0.12589 | 83.2165 | 987.139 | 13.2466 | 2.3065 | 78.7389 | 54.5888 | 0 | 122.9197
2027 | 0.12023 | 79.4747 | 987.139 | 13.5645 | 2.3618 | 82.8412 | 55.5759 | 0 | 122.6663
2028 | 0.11457 | 75.7329 | 987.139 | 13.8901 | 2.4185 | 87.1572 | 56.7605 | 0 | 122.4382
2029 | 0.10891 | 71.9912 | 987.139 | 14.2234 | 2.4766 | 91.6981 | 59.0309 | 0 | 121.3583
2030 | 0.10325 | 68.2494 | 987.139 | 14.5648 | 2.536 | 96.4756 | 60.4129 | 0 | 121.4128
2031 | 0.097586 | 64.5076 | 987.139 | 14.9144 | 2.5969 | 101.5019 | 62.3872 | 0 | 121.1336
2032 | 0.091926 | 60.7658 | 987.139 | 15.2723 | 2.6592 | 106.7902 | 65.0525 | 0 | 120.435
2033 | 0.086265 | 57.024 | 987.139 | 15.6388 | 2.723 | 112.354 | 68.0139 | 0 | 119.7259
2034 | 0.081285 | 53.7323 | 987.139 | 16.0142 | 2.7884 | 118.2076 | 70.4817 | 0 | 120.2607
2035 | 0.077667 | 51.3407 | 987.139 | 16.3985 | 2.8553 | 124.3662 | 74.9238 | 0 | 120.0369
2036 | 0.07473 | 49.399 | 987.139 | 16.7921 | 2.9238 | 130.8457 | 81.7351 | 0 | 118.2255
2037 | 0.071793 | 47.4573 | 987.139 | 17.1951 | 2.994 | 137.6628 | 87.1644 | 0 | 118.1448
2038 | 0.068855 | 45.5157 | 987.139 | 17.6078 | 3.0658 | 144.835 | 95.4563 | 0 | 115.5679
2039 | 0.065918 | 43.574 | 987.139 | 18.0303 | 3.1394 | 152.3809 | 100.5895 | 0 | 116.5352
NOMINAL |  | 1546.6471 | 20729.9185 | 301.7817 | 52.5459 | 2018.0205 | 1330.1698 | 0 | 2588.8255
NPV |  | 704.522 |  | 115.3701 | 20.0881 | 719.6331 | 488.9404 | 0 | 1070.6729
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet5(p_5)
| * WORKSHEET : DSM PROGRAM FUEL SAVINGS |  |  |  | WORKSHEET FOR FORM CE 2.2
| PROGRAM: | Res. PV |  |  | Page 1 of 1
2026-07-30 02:18
(1) | (2) | (3) | (4) | (5) | (6) | (7)
| REDUCTION |  | INCREASE |  | NET
| IN KWH | AVOIDED | IN KWH | INCREASED | AVOIDED | EFFECTIVE
| GENERATION | MARGINAL | GENERATION | MARGINAL | PROGRAM | PROGRAM
| NET NEW CUST | FUEL COST - | NET NEW CUST | FUEL COST - | FUEL | FUEL
| KWH | REDUCED KWH | KWH | INCREASE KWH | SAVINGS | SAVINGS
YEAR | (000) | $(000) | (000) | $(000) | $(000) | $(000)
2015 | 595.1271 | 23.9836 | 7.4153 | 0 | 23.9836 | 23.9836
2016 | 1785.3814 | 66.2376 | 22.2458 | 0 | 66.2376 | 66.2376
2017 | 2975.6356 | 99.3862 | 37.0763 | 0 | 99.3862 | 99.3862
2018 | 4165.8898 | 150.3886 | 51.9068 | 0 | 150.3886 | 150.3886
2019 | 4761.0169 | 180.9186 | 59.322 | 0 | 180.9186 | 180.9186
2020 | 4761.0169 | 194.2495 | 59.322 | 0 | 194.2495 | 194.2495
2021 | 4761.0169 | 209.4847 | 59.322 | 0 | 209.4847 | 209.4847
2022 | 4761.0169 | 222.8156 | 59.322 | 0 | 222.8156 | 222.8156
2023 | 4761.0169 | 234.242 | 59.322 | 0 | 234.242 | 234.242
2024 | 4761.0169 | 252.81 | 59.322 | 0 | 252.81 | 252.81
2025 | 4761.0169 | 271.378 | 59.322 | 0 | 271.378 | 271.378
2026 | 4761.0169 | 279.4717 | 59.322 | 0 | 279.4717 | 279.4717
2027 | 4761.0169 | 289.4698 | 59.322 | 0 | 289.4698 | 289.4698
2028 | 4761.0169 | 300.8963 | 59.322 | 0 | 300.8963 | 300.8963
2029 | 4761.0169 | 323.2731 | 59.322 | 0 | 323.2731 | 323.2731
2030 | 4761.0169 | 333.7473 | 59.322 | 0 | 333.7473 | 333.7473
2031 | 4761.0169 | 353.7436 | 59.322 | 0 | 353.7436 | 353.7436
2032 | 4761.0169 | 373.7398 | 59.322 | 0 | 373.7398 | 373.7398
2033 | 4761.0169 | 393.7361 | 59.322 | 0 | 393.7361 | 393.7361
2034 | 4761.0169 | 399.9254 | 59.322 | 0 | 399.9254 | 399.9254
2035 | 4761.0169 | 438.0136 | 59.322 | 0 | 438.0136 | 438.0136
2036 | 4761.0169 | 462.2947 | 59.322 | 0 | 462.2947 | 462.2947
2037 | 4761.0169 | 499.9068 | 59.322 | 0 | 499.9068 | 499.9068
2038 | 4761.0169 | 543.7081 | 59.322 | 0 | 543.7081 | 543.7081
2039 | 4761.0169 | 579.8919 | 59.322 | 0 | 579.8919 | 579.8919
NOMINAL | 109503.3898 | 7477.7127 | 1364.4068 | 0 | 7477.7127 | 7477.7127
NPV: |  | 2814.6699 |  | 0 | 2814.6699 | 2814.6699
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet2(F_12)
|  |  | INPUT DATA -- PART 2 | [5 empty] | PSC FORM CE 1.2
|  |  | PROGRAM: | Res. PV |  |  |  |  | PAGE 1 OF 1
2026-07-30 02:18
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
UTILITY
AVERAGE
| CUMULATIVE | ADJUSTED | SYSTEM | AVOIDED | INCREASED |  | PROGRAM | PROGRAM | OTHER | OTHER
| TOTAL | CUMULATIVE | FUEL | MARGINAL | MARGINAL | REPLACEMENT | KW | KWH | COSTS | BENEFITS
| PARTICIPATING | PARTICIPATING | COSTS | FUEL COST | FUEL COST | FUEL COST | EFFECTIVENESS | EFFECTIVENESS |  | (CO2)
YEAR | CUSTOMERS | CUSTOMERS | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | FACTOR | FACTOR | ($000) | ($000)
2015 | 100 | 100 | 3.92 | 4.03 | 0 | 3.92 | 1 | 1 | 0 | 0
2016 | 200 | 200 | 3.94 | 3.71 | 0 | 3.94 | 1 | 1 | 0 | 0
2017 | 300 | 300 | 3.94 | 3.34 | 0 | 3.94 | 1 | 1 | 0 | 0
2018 | 400 | 400 | 4.12 | 3.61 | 0 | 4.12 | 1 | 1 | 0 | 0
2019 | 400 | 400 | 4.33 | 3.8 | 0 | 4.33 | 1 | 1 | 0 | 0
2020 | 400 | 400 | 4.56 | 4.08 | 0 | 4.56 | 1 | 1 | 0 | 0
2021 | 400 | 400 | 4.68 | 4.4 | 0 | 4.7 | 1 | 1 | 0 | 0
2022 | 400 | 400 | 4.85 | 4.68 | 0 | 4.85 | 1 | 1 | 0 | 0
2023 | 400 | 400 | 5.06 | 4.92 | 0 | 5.06 | 1 | 1 | 0 | 0
2024 | 400 | 400 | 5.28 | 5.31 | 0 | 5.3 | 1 | 1 | 0 | 0
2025 | 400 | 400 | 5.42 | 5.7 | 0 | 5.44 | 1 | 1 | 0 | 0
2026 | 400 | 400 | 5.53 | 5.87 | 0 | 5.53 | 1 | 1 | 0 | 0
2027 | 400 | 400 | 5.62 | 6.08 | 0 | 5.63 | 1 | 1 | 0 | 0
2028 | 400 | 400 | 5.76 | 6.32 | 0 | 5.75 | 1 | 1 | 0 | 0
2029 | 400 | 400 | 5.97 | 6.79 | 0 | 5.98 | 1 | 1 | 0 | 0
2030 | 400 | 400 | 6.12 | 7.01 | 0 | 6.12 | 1 | 1 | 0 | 0
2031 | 400 | 400 | 6.31 | 7.43 | 0 | 6.32 | 1 | 1 | 0 | 0
2032 | 400 | 400 | 6.58 | 7.85 | 0 | 6.59 | 1 | 1 | 0 | 0
2033 | 400 | 400 | 6.89 | 8.27 | 0 | 6.89 | 1 | 1 | 0 | 0
2034 | 400 | 400 | 7.14 | 8.4 | 0 | 7.14 | 1 | 1 | 0 | 0
2035 | 400 | 400 | 7.6 | 9.2 | 0 | 7.59 | 1 | 1 | 0 | 0
2036 | 400 | 400 | 8.27 | 9.71 | 0 | 8.28 | 1 | 1 | 0 | 0
2037 | 400 | 400 | 8.83 | 10.5 | 0 | 8.83 | 1 | 1 | 0 | 0
2038 | 400 | 400 | 9.66 | 11.42 | 0 | 9.67 | 1 | 1 | 0 | 0
2039 | 400 | 400 | 10.18 | 12.18 | 0 | 10.19 | 1 | 1 | 0 | 0

## Sheet4(F_22)
|  | AVOIDED T & D AND PROGRAM FUEL SAVINGS |  |  |  |  | PSC FORM CE 2.2
|  | PROGRAM: | Res. PV |  |  |  | Page 1 of 2
2026-07-30 02:18
|  | * INSERVICE COSTS OF AVOIDED TRANS. (000) = |  |  | 0
|  | * INSERVICE COSTS OF AVOIDED DIST. (000) = |  |  | 0
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10)
| AVOIDED | AVOIDED |  | AVOIDED | AVOIDED
| TRANSMISSION | TRANSMISSION | TOTAL AVOIDED | DISTRIBUTION | DISTRIBUTION | TOTAL AVOIDED | PROGRAM
| CAPACITY | O&M | TRANSMISSION | CAPACITY | O&M | DISTRIBUTION | FUEL
| COST | COST | COST | COST | COST | COST | SAVINGS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 0 | 0 | 0 | 0 | 0 | 23.9836
2016 | 0 | 2.5512 | 2.5512 | 0 | 0 | 0 | 66.2376
2017 | 0 | 2.6124 | 2.6124 | 0 | 0 | 0 | 99.3862
2018 | 0 | 2.6751 | 2.6751 | 0 | 0 | 0 | 150.3886
2019 | 0 | 2.7393 | 2.7393 | 0 | 0 | 0 | 180.9186
2020 | 0 | 2.8051 | 2.8051 | 0 | 0 | 0 | 194.2495
2021 | 0 | 2.8724 | 2.8724 | 0 | 0 | 0 | 209.4847
2022 | 0 | 2.9413 | 2.9413 | 0 | 0 | 0 | 222.8156
2023 | 0 | 3.0119 | 3.0119 | 0 | 0 | 0 | 234.242
2024 | 0 | 3.0842 | 3.0842 | 0 | 0 | 0 | 252.81
2025 | 0 | 3.1582 | 3.1582 | 0 | 0 | 0 | 271.378
2026 | 0 | 3.234 | 3.234 | 0 | 0 | 0 | 279.4717
2027 | 0 | 3.3117 | 3.3117 | 0 | 0 | 0 | 289.4698
2028 | 0 | 3.3911 | 3.3911 | 0 | 0 | 0 | 300.8963
2029 | 0 | 3.4725 | 3.4725 | 0 | 0 | 0 | 323.2731
2030 | 0 | 3.5559 | 3.5559 | 0 | 0 | 0 | 333.7473
2031 | 0 | 3.6412 | 3.6412 | 0 | 0 | 0 | 353.7436
2032 | 0 | 3.7286 | 3.7286 | 0 | 0 | 0 | 373.7398
2033 | 0 | 3.8181 | 3.8181 | 0 | 0 | 0 | 393.7361
2034 | 0 | 3.9097 | 3.9097 | 0 | 0 | 0 | 399.9254
2035 | 0 | 4.0035 | 4.0035 | 0 | 0 | 0 | 438.0136
2036 | 0 | 4.0996 | 4.0996 | 0 | 0 | 0 | 462.2947
2037 | 0 | 4.198 | 4.198 | 0 | 0 | 0 | 499.9068
2038 | 0 | 4.2988 | 4.2988 | 0 | 0 | 0 | 543.7081
2039 | 0 | 4.4019 | 4.4019 | 0 | 0 | 0 | 579.8919
NOMINAL | 0 | 81.5159 | 81.5159 | 0 | 0 | 0 | 7477.7127
NPV: | 0 | 34.9737 | 34.9737 | 0 | 0 | 0 | 2814.6699
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet6(p_6)
|  | * WORKSHEET: UTILITY COSTS AND PARTICIPANT COSTS AND REV LOSS/GAIN | [12 empty] | WORKSHEET FOR FORM CE 2.2
|  | PROGRAM: |  | Res. PV | [10 empty] | Page 2 of 2
2026-07-30 02:18
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14) | (15) | (16) | (17) | (18)
| <----- UTILITY PROGRAM COSTS & REBATES -------> | [5 empty] | <------------------ PARTICIPATING CUSTOMER COSTS & BENEFITS ---------------------->
|  |  | TOTAL |  |  | TOTAL | PARTIC. | PARTIC. | TOTAL | REDUCT. | RED. | RED. | EFFECT. | INC. | INC. | INC. | EFFECT.
| UTIL | UTIL | UTIL | UTIL | UTIL | REBATE/ | CUST | CUST | COSTS | IN | REV. | REV. | REV. | IN | REV. | REV. | REVENUE
| NONREC. | RECUR | PGM | NONREC. | RECUR. | INCENT. | EQUIP | O & M | PARTIC. | CUST. | - FUEL | NONFUEL | REDUCT. | CUST. | - FUEL | NONFUEL | INC.
| COSTS | COSTS | COSTS | REBATES | REBATES | COSTS | COSTS | COSTS | CUST | KWH | PORTION | PORTION | TO CUST | KWH | PORTION | PORTION | IN BILL
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | (000) | $(000) | $(000) | $(000) | (000) | $(000) |  | $(000)
2015 | 2.8 | 0 | 2.8 | 1402.8 | 0 | 1402.8 | 2379.9 | 7 | 2386.9 | 561.8 | 22.0226 | 31.3372 | 53.3598 | 0 | 0 | 0 | 0
2016 | 2.8672 | 0 | 2.8672 | 1402.8 | 0 | 1402.8 | 2437.0176 | 21.504 | 2458.5216 | 1685.4 | 66.4048 | 94.9517 | 161.3565 | 0 | 0 | 0 | 0
2017 | 2.936 | 0 | 2.936 | 1402.8 | 0 | 1402.8 | 2495.506 | 36.7002 | 2532.2062 | 2809 | 110.6746 | 159.8354 | 270.51 | 0 | 0 | 0 | 0
2018 | 3.0065 | 0 | 3.0065 | 1402.8 | 0 | 1402.8 | 2555.3982 | 52.6133 | 2608.0115 | 3932.6 | 162.0231 | 226.0073 | 388.0304 | 0 | 0 | 0 | 0
2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 61.5727 | 61.5727 | 4494.4 | 194.6075 | 260.877 | 455.4845 | 0 | 0 | 0 | 0
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 63.0504 | 63.0504 | 4494.4 | 204.9446 | 263.4857 | 468.4304 | 0 | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 64.5636 | 64.5636 | 4494.4 | 210.3379 | 266.1206 | 476.4585 | 0 | 0 | 0 | 0
2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 66.1131 | 66.1131 | 4494.4 | 217.9784 | 268.7818 | 486.7602 | 0 | 0 | 0 | 0
2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 67.6998 | 67.6998 | 4494.4 | 227.4166 | 271.4696 | 498.8863 | 0 | 0 | 0 | 0
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 69.3246 | 69.3246 | 4494.4 | 237.3043 | 274.1843 | 511.4886 | 0 | 0 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70.9884 | 70.9884 | 4494.4 | 243.5965 | 276.9262 | 520.5226 | 0 | 0 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72.6922 | 72.6922 | 4494.4 | 248.5403 | 279.6954 | 528.2357 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 74.4368 | 74.4368 | 4494.4 | 252.5853 | 282.4924 | 535.0776 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 76.2233 | 76.2233 | 4494.4 | 258.8774 | 285.3173 | 544.1947 | 0 | 0 | 0 | 0
2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 78.0526 | 78.0526 | 4494.4 | 268.3157 | 288.1705 | 556.4861 | 0 | 0 | 0 | 0
2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 79.9259 | 79.9259 | 4494.4 | 275.0573 | 291.0522 | 566.1094 | 0 | 0 | 0 | 0
2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 81.8441 | 81.8441 | 4494.4 | 283.5966 | 293.9627 | 577.5593 | 0 | 0 | 0 | 0
2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83.8083 | 83.8083 | 4494.4 | 295.7315 | 296.9023 | 592.6338 | 0 | 0 | 0 | 0
2033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85.8198 | 85.8198 | 4494.4 | 309.6642 | 299.8713 | 609.5355 | 0 | 0 | 0 | 0
2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 87.8794 | 87.8794 | 4494.4 | 320.9002 | 302.8701 | 623.7702 | 0 | 0 | 0 | 0
2035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.9885 | 89.9885 | 4494.4 | 341.5744 | 305.8988 | 647.4732 | 0 | 0 | 0 | 0
2036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92.1483 | 92.1483 | 4494.4 | 371.6869 | 308.9577 | 680.6446 | 0 | 0 | 0 | 0
2037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 94.3598 | 94.3598 | 4494.4 | 396.8555 | 312.0473 | 708.9028 | 0 | 0 | 0 | 0
2038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 96.6244 | 96.6244 | 4494.4 | 434.159 | 315.1678 | 749.3268 | 0 | 0 | 0 | 0
2039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 98.9434 | 98.9434 | 4494.4 | 457.5299 | 318.3195 | 775.8494 | 0 | 0 | 0 | 0
NOMINAL | 11.6097 | 0 | 11.6097 | 5611.2 | 0 | 5611.2 | 9867.8218 | 1773.877 | 11641.6988 | 103371.2 | 6412.3852 | 6574.7019 | 12987.0871 | 0 | 0 | 0 | 0
NPV | 10.4503 | 0 | 10.4503 | 5061.4412 | 0 | 5061.4412 | 8882.3644 | 734.5332 | 9616.8976 |  | 2534.9454 | 2841.8897 | 5376.835 |  | 0 | 0 | 0
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet7(F_23)
|  |  | TOTAL RESOURCE COST TESTS | [8 empty] | PSC FORM CE 2.3
|  |  | PROGRAM: | Res. PV | [7 empty] | Page 1 of 1
2026-07-30 02:18
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13)
CUMULATIVE
| INCREASED | UTILITY | PARTICIPANT |  |  |  |  | PROGRAM |  |  |  | DISCOUNTED
| SUPPLY | PROGRAM | PROGRAM | OTHER | TOTAL | AVOIDED | AVOIDED | FUEL | OTHER | TOTAL | NET | NET
| COSTS | COSTS | COSTS | COSTS | COSTS | GEN UNIT | T & D | SAVINGS | BENEFITS | BENEFITS | BENEFITS | BENEFITS
[6 empty] | BENEFITS | BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 2.8 | 2386.9 | 0 | 2389.7 | 0 | 0 | 23.9836 | 0 | 23.9836 | -2365.7164 | -2365.7164
2016 | 0 | 2.8672 | 2458.5216 | 0 | 2461.3888 | 0 | 2.5512 | 66.2376 | 0 | 68.7889 | -2392.5999 | -4594.7083
2017 | 0 | 2.936 | 2532.2062 | 0 | 2535.1422 | 0 | 2.6124 | 99.3862 | 0 | 101.9987 | -2433.1435 | -6706.4683
2018 | 0 | 3.0065 | 2608.0115 | 0 | 2611.018 | 0 | 2.6751 | 150.3886 | 0 | 153.0638 | -2457.9542 | -8693.8854
2019 | 0 | 0 | 61.5727 | 0 | 61.5727 | 137.7418 | 2.7393 | 180.9186 | 0 | 321.3998 | 259.8271 | -8498.164
2020 | 0 | 0 | 63.0504 | 0 | 63.0504 | 134.5107 | 2.8051 | 194.2495 | 0 | 331.5653 | 268.5149 | -8309.7295
2021 | 0 | 0 | 64.5636 | 0 | 64.5636 | 131.7843 | 2.8724 | 209.4847 | 0 | 344.1414 | 279.5778 | -8126.9476
2022 | 0 | 0 | 66.1131 | 0 | 66.1131 | 129.3996 | 2.9413 | 222.8156 | 0 | 355.1566 | 289.0434 | -7950.8993
2023 | 0 | 0 | 67.6998 | 0 | 67.6998 | 126.844 | 3.0119 | 234.242 | 0 | 364.098 | 296.3981 | -7782.716
2024 | 0 | 0 | 69.3246 | 0 | 69.3246 | 124.3978 | 3.0842 | 252.81 | 0 | 380.292 | 310.9674 | -7618.3317
2025 | 0 | 0 | 70.9884 | 0 | 70.9884 | 123.2862 | 3.1582 | 271.378 | 0 | 397.8224 | 326.834 | -7457.3741
2026 | 0 | 0 | 72.6922 | 0 | 72.6922 | 122.9197 | 3.234 | 279.4717 | 0 | 405.6254 | 332.9333 | -7304.6247
2027 | 0 | 0 | 74.4368 | 0 | 74.4368 | 122.6663 | 3.3117 | 289.4698 | 0 | 415.4478 | 341.0111 | -7158.8677
2028 | 0 | 0 | 76.2233 | 0 | 76.2233 | 122.4382 | 3.3911 | 300.8963 | 0 | 426.7256 | 350.5024 | -7019.2982
2029 | 0 | 0 | 78.0526 | 0 | 78.0526 | 121.3583 | 3.4725 | 323.2731 | 0 | 448.1039 | 370.0513 | -6882.0207
2030 | 0 | 0 | 79.9259 | 0 | 79.9259 | 121.4128 | 3.5559 | 333.7473 | 0 | 458.716 | 378.7901 | -6751.1101
2031 | 0 | 0 | 81.8441 | 0 | 81.8441 | 121.1336 | 3.6412 | 353.7436 | 0 | 478.5183 | 396.6742 | -6623.3931
2032 | 0 | 0 | 83.8083 | 0 | 83.8083 | 120.435 | 3.7286 | 373.7398 | 0 | 497.9034 | 414.0951 | -6499.1841
2033 | 0 | 0 | 85.8198 | 0 | 85.8198 | 119.7259 | 3.8181 | 393.7361 | 0 | 517.2801 | 431.4604 | -6378.6161
2034 | 0 | 0 | 87.8794 | 0 | 87.8794 | 120.2607 | 3.9097 | 399.9254 | 0 | 524.0959 | 436.2164 | -6265.0544
2035 | 0 | 0 | 89.9885 | 0 | 89.9885 | 120.0369 | 4.0035 | 438.0136 | 0 | 562.054 | 472.0654 | -6150.5636
2036 | 0 | 0 | 92.1483 | 0 | 92.1483 | 118.2255 | 4.0996 | 462.2947 | 0 | 584.6199 | 492.4716 | -6039.2912
2037 | 0 | 0 | 94.3598 | 0 | 94.3598 | 118.1448 | 4.198 | 499.9068 | 0 | 622.2496 | 527.8898 | -5928.1722
2038 | 0 | 0 | 96.6244 | 0 | 96.6244 | 115.5679 | 4.2988 | 543.7081 | 0 | 663.5748 | 566.9504 | -5816.9917
2039 | 0 | 0 | 98.9434 | 0 | 98.9434 | 116.5352 | 4.4019 | 579.8919 | 0 | 700.829 | 601.8856 | -5707.0315
NOMINAL | 0 | 11.6097 | 11641.6988 | 0 | 11653.3084 | 2588.8255 | 81.5159 | 7477.7127 | 0 | 10148.0541 | -1505.2543
NPV: | 0 | 10.4503 | 9616.8976 | 0 | 9627.3479 | 1070.6729 | 34.9737 | 2814.6699 | 0 | 3920.3164 | -5707.0315
Discount Rate |  | 0.0734 | Benefit/Cost Ratio - [col (11)/col (6)]: |  |  |  | 0.40721

## Sheet8(F_24)
|  |  |  | PARTICIPANT COSTS AND BENEFITS | [6 empty] | PSC FORM CE 2.4
|  |  |  | PROGRAM: | Res. PV | [5 empty] | Page 1 of 1
2026-07-30 02:18
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12)
SAVINGS
| IN |  |  |  |  | CUSTOMER | CUSTOMER |  |  |  | CUMULATIVE
| PARTICIPANTS | TAX | UTILITY | OTHER | TOTAL | EQUIPMENT | O & M | OTHER | TOTAL | NET | DISCOUNTED
| BILL | CREDITS | REBATES | BENEFITS | BENEFITS | COSTS | COSTS | COSTS | COSTS | BENEFITS | NET BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 53.3598 | 293.1 | 1402.8 | 0 | 1749.2598 | 2379.9 | 7 | 0 | 2386.9 | -637.6402 | -637.6402
2016 | 161.3565 | 293.1 | 1402.8 | 0 | 1857.2565 | 2437.0176 | 21.504 | 0 | 2458.5216 | -601.2651 | -1197.7903
2017 | 270.51 | 293.1 | 1402.8 | 0 | 1966.41 | 2495.506 | 36.7002 | 0 | 2532.2062 | -565.7962 | -1688.8529
2018 | 388.0304 | 293.1 | 1402.8 | 0 | 2083.9304 | 2555.3982 | 52.6133 | 0 | 2608.0115 | -524.0811 | -2112.6068
2019 | 455.4845 | 0 | 0 | 0 | 455.4845 | 0 | 61.5727 | 0 | 61.5727 | 393.9118 | -1815.8828
2020 | 468.4304 | 0 | 0 | 0 | 468.4304 | 0 | 63.0504 | 0 | 63.0504 | 405.38 | -1531.4011
2021 | 476.4585 | 0 | 0 | 0 | 476.4585 | 0 | 64.5636 | 0 | 64.5636 | 411.8949 | -1262.1132
2022 | 486.7602 | 0 | 0 | 0 | 486.7602 | 0 | 66.1131 | 0 | 66.1131 | 420.6471 | -1005.9087
2023 | 498.8863 | 0 | 0 | 0 | 498.8863 | 0 | 67.6998 | 0 | 67.6998 | 431.1864 | -761.2435
2024 | 511.4886 | 0 | 0 | 0 | 511.4886 | 0 | 69.3246 | 0 | 69.3246 | 442.164 | -527.5056
2025 | 520.5226 | 0 | 0 | 0 | 520.5226 | 0 | 70.9884 | 0 | 70.9884 | 449.5342 | -306.1213
2026 | 528.2357 | 0 | 0 | 0 | 528.2357 | 0 | 72.6922 | 0 | 72.6922 | 455.5436 | -97.1184
2027 | 535.0776 | 0 | 0 | 0 | 535.0776 | 0 | 74.4368 | 0 | 74.4368 | 460.6409 | 99.7715
2028 | 544.1947 | 0 | 0 | 0 | 544.1947 | 0 | 76.2233 | 0 | 76.2233 | 467.9715 | 286.1169
2029 | 556.4861 | 0 | 0 | 0 | 556.4861 | 0 | 78.0526 | 0 | 78.0526 | 478.4335 | 463.601
2030 | 566.1094 | 0 | 0 | 0 | 566.1094 | 0 | 79.9259 | 0 | 79.9259 | 486.1836 | 631.627
2031 | 577.5593 | 0 | 0 | 0 | 577.5593 | 0 | 81.8441 | 0 | 81.8441 | 495.7152 | 791.2321
2032 | 592.6338 | 0 | 0 | 0 | 592.6338 | 0 | 83.8083 | 0 | 83.8083 | 508.8255 | 943.8557
2033 | 609.5355 | 0 | 0 | 0 | 609.5355 | 0 | 85.8198 | 0 | 85.8198 | 523.7157 | 1090.2038
2034 | 623.7702 | 0 | 0 | 0 | 623.7702 | 0 | 87.8794 | 0 | 87.8794 | 535.8908 | 1229.714
2035 | 647.4732 | 0 | 0 | 0 | 647.4732 | 0 | 89.9885 | 0 | 89.9885 | 557.4846 | 1364.9216
2036 | 680.6446 | 0 | 0 | 0 | 680.6446 | 0 | 92.1483 | 0 | 92.1483 | 588.4964 | 1497.8906
2037 | 708.9028 | 0 | 0 | 0 | 708.9028 | 0 | 94.3598 | 0 | 94.3598 | 614.543 | 1627.2498
2038 | 749.3268 | 0 | 0 | 0 | 749.3268 | 0 | 96.6244 | 0 | 96.6244 | 652.7024 | 1755.2465
2039 | 775.8494 | 0 | 0 | 0 | 775.8494 | 0 | 98.9434 | 0 | 98.9434 | 676.906 | 1878.9124
NOMINAL | 12987.0871 | 1172.4 | 5611.2 | 0 | 19770.6871 | 9867.8218 | 1773.877 | 0 | 11641.6988 | 8128.9884
NPV: | 5376.835 | 1057.5338 | 5061.4412 | 0 | 11495.81 | 8882.3644 | 734.5332 | 0 | 9616.8976 | 1878.9124
In service year of gen unit: |  |  | 2019 |  | 1.1954
Discount rate: |  |  | 0.0734

## Sheet9(F_25)
[5 empty] | RATE IMPACT TEST | [7 empty] | PSC FORM CE 2.5
[5 empty] | PROGRAM: | Res. PV | [6 empty] | Page 1 of 1
2026-07-30 02:18
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14)
[7 empty] | AVOIDED |  |  |  |  | NET | CUMULATIVE
| INCREASED | UTILITY |  |  |  |  | GEN UNIT | AVOIDED |  |  |  | BENEFITS | DISCOUNTED
| SUPPLY | PROGRAM |  | REVENUE | OTHER | TOTAL | UNIT & FUEL | T & D | REVENUE | OTHER | TOTAL | TO ALL | NET
| COSTS | COSTS | INCENTIVES | LOSSES | COSTS | COSTS | BENEFITS | BENEFITS | GAINS | BENEFITS | BENEFITS | CUSTOMERS | BENEFIT
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 2.8 | 1402.8 | 53.3598 | 0 | 1458.9598 | 23.9836 | 0 | 0 | 0 | 23.9836 | -1434.9761 | -1434.9761
2016 | 0 | 2.8672 | 1402.8 | 161.3565 | 0 | 1567.0237 | 66.2376 | 2.5512 | 0 | 0 | 68.7889 | -1498.2348 | -2830.7604
2017 | 0 | 2.936 | 1402.8 | 270.51 | 0 | 1676.246 | 99.3862 | 2.6124 | 0 | 0 | 101.9987 | -1574.2474 | -4197.0721
2018 | 0 | 3.0065 | 1402.8 | 388.0304 | 0 | 1793.8369 | 150.3886 | 2.6751 | 0 | 0 | 153.0638 | -1640.7731 | -5523.7447
2019 | 0 | 0 | 0 | 455.4845 | 0 | 455.4845 | 318.6605 | 2.7393 | 0 | 0 | 321.3998 | -134.0847 | -5624.7474
2020 | 0 | 0 | 0 | 468.4304 | 0 | 468.4304 | 328.7602 | 2.8051 | 0 | 0 | 331.5653 | -136.8651 | -5720.7946
2021 | 0 | 0 | 0 | 476.4585 | 0 | 476.4585 | 341.269 | 2.8724 | 0 | 0 | 344.1414 | -132.3171 | -5807.3006
2022 | 0 | 0 | 0 | 486.7602 | 0 | 486.7602 | 352.2152 | 2.9413 | 0 | 0 | 355.1566 | -131.6036 | -5887.4567
2023 | 0 | 0 | 0 | 498.8863 | 0 | 498.8863 | 361.086 | 3.0119 | 0 | 0 | 364.098 | -134.7883 | -5963.9388
2024 | 0 | 0 | 0 | 511.4886 | 0 | 511.4886 | 377.2078 | 3.0842 | 0 | 0 | 380.292 | -131.1966 | -6033.2922
2025 | 0 | 0 | 0 | 520.5226 | 0 | 520.5226 | 394.6642 | 3.1582 | 0 | 0 | 397.8224 | -122.7002 | -6093.719
2026 | 0 | 0 | 0 | 528.2357 | 0 | 528.2357 | 402.3914 | 3.234 | 0 | 0 | 405.6254 | -122.6103 | -6149.9725
2027 | 0 | 0 | 0 | 535.0776 | 0 | 535.0776 | 412.1362 | 3.3117 | 0 | 0 | 415.4478 | -119.6298 | -6201.1054
2028 | 0 | 0 | 0 | 544.1947 | 0 | 544.1947 | 423.3345 | 3.3911 | 0 | 0 | 426.7256 | -117.4691 | -6247.8814
2029 | 0 | 0 | 0 | 556.4861 | 0 | 556.4861 | 444.6314 | 3.4725 | 0 | 0 | 448.1039 | -108.3822 | -6288.0878
2030 | 0 | 0 | 0 | 566.1094 | 0 | 566.1094 | 455.1601 | 3.5559 | 0 | 0 | 458.716 | -107.3935 | -6325.2032
2031 | 0 | 0 | 0 | 577.5593 | 0 | 577.5593 | 474.8771 | 3.6412 | 0 | 0 | 478.5183 | -99.041 | -6357.0914
2032 | 0 | 0 | 0 | 592.6338 | 0 | 592.6338 | 494.1749 | 3.7286 | 0 | 0 | 497.9034 | -94.7304 | -6385.5061
2033 | 0 | 0 | 0 | 609.5355 | 0 | 609.5355 | 513.462 | 3.8181 | 0 | 0 | 517.2801 | -92.2554 | -6411.2861
2034 | 0 | 0 | 0 | 623.7702 | 0 | 623.7702 | 520.1862 | 3.9097 | 0 | 0 | 524.0959 | -99.6743 | -6437.2346
2035 | 0 | 0 | 0 | 647.4732 | 0 | 647.4732 | 558.0504 | 4.0035 | 0 | 0 | 562.054 | -85.4192 | -6457.9515
2036 | 0 | 0 | 0 | 680.6446 | 0 | 680.6446 | 580.5202 | 4.0996 | 0 | 0 | 584.6199 | -96.0248 | -6479.648
2037 | 0 | 0 | 0 | 708.9028 | 0 | 708.9028 | 618.0516 | 4.198 | 0 | 0 | 622.2496 | -86.6532 | -6497.8882
2038 | 0 | 0 | 0 | 749.3268 | 0 | 749.3268 | 659.2761 | 4.2988 | 0 | 0 | 663.5748 | -85.752 | -6514.7044
2039 | 0 | 0 | 0 | 775.8494 | 0 | 775.8494 | 696.427 | 4.4019 | 0 | 0 | 700.829 | -75.0204 | -6528.4101
NOMINAL | 0 | 11.6097 | 5611.2 | 12987.0871 | 0 | 18609.8968 | 10066.5382 | 81.5159 | 0 | 0 | 10148.0541 | -8461.8427
NPV: | 0 | 10.4503 | 5061.4412 | 5376.835 | 0 | 10448.7265 | 3885.3428 | 34.9737 | 0 | 0 | 3920.3164 | -6528.4101
Discount rate: |  |  | 0.0734 |  | Benefit/Cost Ratio - [col (12)/col (7)]: |  |  |  | 0.3752

## Value of Defferal
GEN: | [7 empty] | COMPUTATION OF CONSTRUCTION CASH FLOW AND PLANT |  |  |  |  | Do Not Print
COMPUTATION OF GENERATION COSTS & REV. REQUIREMENTS | [7 empty] | IN-SERVICE COSTS FOR AVOIDED TRANS & DIST PLANT
IN-SERVICE AVOIDED GEN. PLANT ($000) = |  |  |  | 661.0329 |  |  |  | -----------------------------------------------
------------------------------------------ |  |  |  |  | GENERATION |  |  | TRAN: | Avoided Trans. = |  | 0
|  |  |  | COMPUTATION OF VALUE DEFERRAL PAYMENTS |  |  |  |  | Avoided Dist. = |  | 0 |  | TRANSMISSION & DIST.
COMPUTATION OF VALUE DEFERRAL CREDITS
|  |  |  | ip= | 0.03 | Esc. rate | [5 empty] | ip= | 0.03 | Esc. rate
| Gen |  |  | r= | 0.0734 | Disc rate |  | TRAN |  |  |  | r= | 0.0734 | Disc rate
| Offset Cost | 3 |  | l= | 25 | Econ life |  | Offset Cost |  | 3 |  | l= | 25 | Econ life
| Offset Factor | 2 |  | c= | 1 | Risk factor |  | Offset Factor |  | 1 |  | c= | 1 | Risk factor
|  |  |  | k= | 1.4625 | K factor |  | DIST |  |  |  | k= | 1.4625 | K factor
|  |  |  | Ratio= | 0.95957 | calculated ratio |  | Offset Cost |  | 4 |  | Ratio= | 0.95957 | calculated ratio
[8 empty] | Offset Factor |  | 1
|  |  |  | VALUE of DEFERRAL | [7 empty] | VALUE DEFERRAL STARTING
|  |  |  | Factor = | 0.091872 | [6 empty] | FACTOR = | 0.091872
[5 empty] | AVOIDED |  |  |  |  | TRANS | DIST |  | AVOIDED | AVOIDED
|  | CARRYING | ANNUAL | Value | GEN. |  |  |  | CARRYING | ANNUAL | ANNUAL |  | TRANS. | DIST
|  | CHARGE | REV REQ | of Def | V OF D |  |  |  | CHARGE | REV REQ | REV REQ |  | V OF D | V OF D
N | Year | % | COSTS(000) | Factors | ($000) |  | N | Year | % | COSTS(000) | COSTS(000) | Factors | ($000) | $(000)
-- | ---- | ------ | ------ | ------ | ----- |  |  |  | ------ | ------ | ------
1 | 2015 | 0 | 0 | 0 | 0 |  | 1 | 2015 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2016 | 0 | 0 | 0 | 0 |  | 2 | 2016 | 0 | 0 | 0 | 0.091872 | 0 | 0
3 | 2017 | 0 | 0 | 0 | 0 |  | 3 | 2017 | 0 | 0 | 0 | 0.094628 | 0 | 0
4 | 2018 | 0 | 0 | 0 | 0 |  | 4 | 2018 | 0 | 0 | 0 | 0.097467 | 0 | 0
5 | 2019 | 0.16963 | 112.1299 | 0.091872 | 60.7303 |  | 5 | 2019 | 0.16963 | 0 | 0 | 0.10039 | 0 | 0
6 | 2020 | 0.16335 | 107.9781 | 0.094628 | 62.5522 |  | 6 | 2020 | 0.16335 | 0 | 0 | 0.1034 | 0 | 0
7 | 2021 | 0.15625 | 103.2852 | 0.097467 | 64.4287 |  | 7 | 2021 | 0.15625 | 0 | 0 | 0.1065 | 0 | 0
8 | 2022 | 0.14957 | 98.8674 | 0.10039 | 66.3616 |  | 8 | 2022 | 0.14957 | 0 | 0 | 0.1097 | 0 | 0
9 | 2023 | 0.14326 | 94.6972 | 0.1034 | 68.3524 |  | 9 | 2023 | 0.14326 | 0 | 0 | 0.11299 | 0 | 0
10 | 2024 | 0.13729 | 90.7499 | 0.1065 | 70.403 |  | 10 | 2024 | 0.13729 | 0 | 0 | 0.11638 | 0 | 0
11 | 2025 | 0.13155 | 86.9583 | 0.1097 | 72.5151 |  | 11 | 2025 | 0.13155 | 0 | 0 | 0.11987 | 0 | 0
12 | 2026 | 0.12589 | 83.2165 | 0.11299 | 74.6906 |  | 12 | 2026 | 0.12589 | 0 | 0 | 0.12347 | 0 | 0
13 | 2027 | 0.12023 | 79.4747 | 0.11638 | 76.9313 |  | 13 | 2027 | 0.12023 | 0 | 0 | 0.12717 | 0 | 0
14 | 2028 | 0.11457 | 75.7329 | 0.11987 | 79.2392 |  | 14 | 2028 | 0.11457 | 0 | 0 | 0.13099 | 0 | 0
15 | 2029 | 0.10891 | 71.9912 | 0.12347 | 81.6164 |  | 15 | 2029 | 0.10891 | 0 | 0 | 0.13492 | 0 | 0
16 | 2030 | 0.10325 | 68.2494 | 0.12717 | 84.0649 |  | 16 | 2030 | 0.10325 | 0 | 0 | 0.13896 | 0 | 0
17 | 2031 | 0.097586 | 64.5076 | 0.13099 | 86.5868 |  | 17 | 2031 | 0.097586 | 0 | 0 | 0.14313 | 0 | 0
18 | 2032 | 0.091926 | 60.7658 | 0.13492 | 89.1844 |  | 18 | 2032 | 0.091926 | 0 | 0 | 0.14743 | 0 | 0
19 | 2033 | 0.086265 | 57.024 | 0.13896 | 91.86 |  | 19 | 2033 | 0.086265 | 0 | 0 | 0.15185 | 0 | 0
20 | 2034 | 0.081285 | 53.7323 | 0.14313 | 94.6158 |  | 20 | 2034 | 0.081285 | 0 | 0 | 0.15641 | 0 | 0
21 | 2035 | 0.077667 | 51.3407 | 0.14743 | 97.4542 |  | 21 | 2035 | 0.077667 | 0 | 0 | 0.1611 | 0 | 0
22 | 2036 | 0.07473 | 49.399 | 0.15185 | 100.3779 |  | 22 | 2036 | 0.07473 | 0 | 0 | 0.16593 | 0 | 0
23 | 2037 | 0.071793 | 47.4573 | 0.15641 | 103.3892 |  | 23 | 2037 | 0.071793 | 0 | 0 | 0.17091 | 0 | 0
24 | 2038 | 0.068855 | 45.5157 | 0.1611 | 106.4909 |  | 24 | 2038 | 0.068855 | 0 | 0 | 0.17604 | 0 | 0
25 | 2039 | 0.065918 | 43.574 | 0.16593 | 109.6856 |  | 25 | 2039 | 0.065918 | 0 | 0 | 0.18132 | 0 | 0
26 | 2040 | 0.062981 | 41.6323 | 0.17091 | 112.9762 |  | 26 | 2040 | 0.062981 | 0 | 0 | 0.18676 | 0 | 0
27 | 2041 | 0.060043 | 39.6906 | 0.17604 | 116.3654 |  | 27 | 2041 | 0.060043 | 0 | 0 | 0 | 0 | 0
28 | 2042 | 0.057106 | 37.749 | 0.18132 | 119.8564 |  | 28 | 2042 | 0.057106 | 0 | 0 | 0 | 0 | 0
29 | 2043 | 0.054169 | 35.8073 | 0.18676 | 123.4521 |  | 29 | 2043 | 0.054169 | 0 | 0 | 0 | 0 | 0
30 | 2044 | 0 | 0 | 0 | 0 |  | 30 | 2044 | 0 | 0 | 0 | 0 | 0 | 0
31 | 2045 | 0 | 0 | 0 | 0 |  | 31 | 2045 | 0 | 0 | 0 | 0 | 0 | 0
32 | 2046 | 0 | 0 | 0 | 0 |  | 32 | 2046 | 0 | 0 | 0 | 0 | 0 | 0
33 | 2047 | 0 | 0 | 0 | 0 |  | 33 | 2047 | 0 | 0 | 0 | 0 | 0 | 0
34 | 2048 | 0 | 0 | 0 | 0 |  | 34 | 2048 | 0 | 0 | 0 | 0 | 0 | 0
35 | 2049 | 0 | 0 | 0 | 0 |  | 35 | 2049 | 0 | 0 | 0 | 0 | 0 | 0
36 | 2050 | 0 | 0 | 0 | 0 |  | 36 | 2050 | 0 | 0 | 0 | 0 | 0 | 0
37 | 2051 | 0 | 0 | 0 | 0 |  | 37 | 2051 | 0 | 0 | 0 | 0 | 0 | 0
38 | 2052 | 0 | 0 | 0 | 0 |  | 38 | 2052 | 0 | 0 | 0 | 0 | 0 | 0
39 | 2053 | 0 | 0 | 0 | 0 |  | 39 | 2053 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | ----- |  | ----- |  |  |  |  | ----- |  |  | ----
|  | NOMINAL | 1701.5262 |  | 2214.1803 |  |  |  | NOMINAL | 0 |  |  | 0
|  | NPV | 728.4052 |  | 728.2367 |  |  |  | NPV | 0 |  |  | 0