## Input
Answer questions 1 thru 16 to complete evaluation. Press RUN for results. (See Title & Results). |  |  |  | Do Not Print this page
1 | Program Title | Res. Solar Water Heating
2 | Demand & Energy Savings
| Winter kW | 0.404
| Summer kW | 0.313
| kWh | 1730
3 | Switch (1=Conservation, 0=Load Management) | 1
4 | Switch (1=Residential, 0=Commercial) | 1
ADJUSTED
5 | Participation | Annual |  |  |  | Cumulative | CUMULATIVE
|  | Total Partic. |  |  |  | Total Partic. | PARTICIPATING
| YEAR | Customers |  |  | YEAR | Customers | CUSTOMERS
| 2015 | 100 | 1 |  | 2015 | 100 | 100
| 2016 | 100 | 2 |  | 2016 | 200 | 200
| 2017 | 100 | 3 |  | 2017 | 300 | 300
| 2018 | 100 | 4 |  | 2018 | 400 | 400
| 2019 | 0 | 5 |  | 2019 | 400 | 400
| 2020 | 0 | 6 |  | 2020 | 400 | 400
| 2021 | 0 | 7 |  | 2021 | 400 | 400
| 2022 | 0 | 8 |  | 2022 | 400 | 400
| 2023 | 0 | 9 |  | 2023 | 400 | 400
| 2024 | 0 |  |  | 2024 | 400 | 400
| 2025 | 0 |  |  | 2025 | 400 | 400
| 2026 | 0 |  |  | 2026 | 400 | 400
| 2027 | 0 |  |  | 2027 | 400 | 400
| 2028 | 0 |  |  | 2028 | 400 | 400
| 2029 | 0 |  |  | 2029 | 400 | 400
[5 empty] | 2030 | 400 | 400
[5 empty] | 2031 | 400 | 400
6 | Free Riders | 0% |  |  | 2032 | 400 | 400
7 | Study Period for Conservation Program | 25 | Years |  | 2033 | 400 | 400
8 | Utility Non Recurring Cost Per Customer | 28 | $/CUST |  | 2034 | 400 | 400
9 | Utility Recurring Cost Per Customer (Load Management) | 0 | $/CUST/YR |  | 2035 | 400 | 400
10 | Customer Equipment Cost | 5656 | $/CUST |  | 2036 | 400 | 400
11 | Customer O & M Cost | 50 | $/CUST/YR |  | 2037 | 400 | 400
12 | Customer Tax Credit Per Installation | 1397 | $/CUST |  | 2038 | 400 | 400
13 | Increased Supply Costs | 0 | $/CUST/YR |  | 2039 | 400 | 400
14 | Utility Non Recurring Rebate/Incentive | 1000 | $/CUST |  | 2040 | 400 | 400
15 | Utility Recurring Rebate/Incentive (Load Management) | 0 | $/CUST/YR
16 | Diversity and Annual Demand | N/A
| Adjustment Factor for Customer Bill: | 1
See Participation C,D,E,F 73
See Participation F_22 F5,6

## Title_RESULTS
Residential
|  | INPUT DATA - PART 1 |  |  |  | PSC FORM CE 1.1 | [9 empty] | Formula Entry | X |  | 0 | <= INPUT % FREE RIDERS; | Summer EUE | 0.686 |  | LOLP CALC | Forced Outage Rate | 0.034 | 0.966
|  | PROGRAM TITLE: | Res. Solar Water Heating |  |  | PAGE 1 OF 1 | [9 empty] | Com./Res. Toggle | X |  |  | THEN PARTICIPANTS IN COL. (1). | Winter EUE | 0.314 |  | PERCENT RED: | Line Loss | 0.066 | 0.934
[6 empty] | RUN DATE: | 2026-07-28 21:25 | [8 empty] | LdMgt. Toggle |  |  |  | 36980.3772 |  |  |  | 25 | Multiplier (see U4) | 0.90224
Study Period (Years)
| PROGRAM DEMAND SAVINGS & LINE LOSSES |  |  |  | AVOIDED GENERATOR, TRANS. & DIST COSTS | [10 empty] | Macros | [8 empty] | Commercial
I. | (1) CUSTOMER KW REDUCTION AT THE METER | 0.404 | KW /CUST | IV. | (1) BASE YEAR | 2015 | [18 empty] | Forced Outage Rate | 0.034 | 0.966
I. | (2) GENERATOR KW REDUCTION PER CUSTOMER | 0.37858 | KW GEN/CUST | IV. | (2) IN-SERVICE YEAR FOR AVOIDED GENERATING UNIT | 2019 |  |  | 1.03 | [6 empty] | What Changes | [8 empty] | Line Loss | 0.065 | 0.935
I. | (3) KW LINE LOSS PERCENTAGE | 7.3 | % | IV. | (3) IN-SERVICE YEAR FOR AVOIDED T & D | 2016 |  | 0.37858 | Residential | 2013 | 2014 | 2015 |  |  |  | Res Ld. Mgmt. | Comm | Comm/LDMgmt | [6 empty] | Multiplier (see U4) | 0.90321
I. | (4) GENERATION KWH REDUCTION PER CUSTOMER | 1832.6271 | KWH/CUST/YR | IV. | (4) BASE YEAR AVOIDED GENERATING UNIT COST | 650.6394 | $/KW | 0.37818 | Commercial | 613.29 | 631.6887 | 650.6394
I. | (5) KWH LINE LOSS PERCENTAGE | 5.6 | % | IV. | (5) BASE YEAR AVOIDED TRANSMISSION COST | 11.9245 | $/KW | 0 |  | 11.24 | 11.5772 | 11.9245 |  |  |  |  | Gen KW |  |  |  |  | 0.29775 | REDUCTION @
I. | (6) GROUP LINE LOSS MULTIPLIER | 1 |  | IV. | (6) BASE YEAR DISTRIBUTION COST | 57.957 | $/KW | 571.47 | 1.024 | 54.63 | 56.2689 | 57.957 |  |  |  | Residential | Commercial |  |  |  |  | 0.33975 | 0.25
I. | (7) CUSTOMER KWH PROGRAM INCREASE AT METER | 0 | KWH/CUST/YR | IV. | (7) GEN, TRAN, & DIST COST ESCALATION RATE | 3 | % | [7 empty] | kW | 7.3 | 7% | 7% |  |  |  | 746.25
I. | (8)* CUSTOMER KWH REDUCTION AT METER | 1730 | KWH/CUST/YR | IV. | (8) GENERATOR FIXED O & M COST | 11.9538 | $/KW/YR |  |  | 11.4 | 11.6736 | 11.9538
|  |  |  | IV. | (9) GENERATOR FIXED O&M ESCALATION RATE | 2.4 | % |  |  | 2014 | 2015 |  |  |  | kWh | 5.6 | 5.2% | 5.2%
| ECONOMIC LIFE & K FACTORS |  |  | IV. | (10) TRANSMISSION FIXED O & M COST | 2.9184 | $/KW/YR |  |  | 2.85 | 2.9184
II. | (1) STUDY PERIOD FOR CONSERVATION PROGRAM | 25 | YEARS | IV. | (11) DISTRIBUTION FIXED O & M COST | 11.6941 | $/KW/YR |  |  | 11.42 | 11.6941
II. | (2) GENERATOR ECONOMIC LIFE | 25 | YEARS | IV. | (12) T&D FIXED O&M ESCALATION RATE | 2.4 | % | [8 empty] | GEN KW=
II. | (3) T & D ECONOMIC LIFE | 25 | YEARS | IV. | (13) AVOIDED GEN UNIT VARIABLE O & M COSTS | 0.18 | CENTS/KWH | 1.8 | 0.0018
II. | (4) K FACTOR FOR GENERATION | 1.4625 |  | IV. | (14) GENERATOR VARIABLE O&M COST ESCALATION RATE | 2.4 | % |  | 0.18
II. | (5) K FACTOR FOR T & D | 1.4625 |  | IV. | (15) GENERATOR CAPACITY FACTOR | 13.2 | % |  |  | 2019 | 2018 | 2017 | 2016 | 2015
| (6)* SWITCH REV REQ(0) OR VAL-OF-DEF (1) | 0 |  | IV. | (16) AVOIDED GENERATING UNIT FUEL COST | 4.5623 | CENTS/KWH |  | 1.0521 | 5.59 | 5.3132 | 5.0501 | 4.8 | 4.5623
|  |  |  | IV. | (17) AVOIDED GEN UNIT FUEL ESCALATION RATE | 5.21 | % | 9.4
|  |  |  | IV. | (18)* AVOIDED PURCHASE CAPACITY COST PER KW | 0 | $/KW/YR | 7.7
| UTILITY & CUSTOMER COSTS |  |  | IV. | (19)* CAPACITY COST ESCALATION RATE | 0 | % | 6.6
III. | (1) UTILITY NONRECURRING COST PER CUSTOMER | 28 | $/CUST |  |  |  |  | 7.9
III. | (2) UTILITY RECURRING COST PER CUSTOMER | 0 | $/CUST/YR
III. | (3) UTILITY COST ESCALATION RATE | 2.4 | % |  |  |  |  | Non-Fuel | Res | GSD Rate (2010)
III. | (4) CUSTOMER EQUIPMENT COST | 5656 | $/CUST |  | NON-FUEL ENERGY AND DEMAND CHARGES |  |  | Base Rate | 4.598 | 1.583 |  | kWh
III. | (5) CUSTOMER EQUIPMENT ESCALATION RATE | 2.4 | % | V. | (1) NON-FUEL COST IN CUSTOMER BILL | 5.578 | CENTS/KWH | Fuel |  |  | 0
III. | (6) CUSTOMER O & M COST | 50 | $/CUST/YR | V. | (2) NON-FUEL ESCALATION RATE | 1 | % | ECCR | 0.295 | 0 | 0.78 | kW
III. | (7) CUSTOMER O & M ESCALATION RATE | 2.4 | % | V. | (3) CUSTOMER DEMAND CHARGE PER KW | 0 | $/KW/MO | Capacity | 0.202 | 0 | 0.63 | kw
III. | (8)* CUSTOMER TAX CREDIT PER INSTALLATION | 1397 | $/CUST | V. | (4) DEMAND CHARGE ESCALATION RATE | 1 | % | ECRC | 0.483 | 0.477 | 0 | kwh
III. | (9)* CUSTOMER TAX CREDIT ESCALATION RATE | 0 | % | V. | (5)* DIVERSITY and ANNUAL DEMAND ADJUSTMENT |  |  | 2.5959 | 5.578 | 2.06 | 1.41 |  | Energy
III. | (10)* INCREASED SUPPLY COSTS | 0 | $/CUST/YR |  | FACTOR FOR CUSTOMER BILL | 1 |  | 9.64 |  |  |  |  | Demand
III. | (11)* SUPPLY COSTS ESCALATION RATE | 0 | % | [7 empty] | 9.82 | 8.41
III. | (12)* UTILITY DISCOUNT RATE | 0.0734
III. | (13)* UTILITY AFUDC RATE | 0.0645 |  |  | CALCULATED BENEFITS AND COSTS
III. | (14)* UTILITY NON RECURRING REBATE/INCENTIVE | 1000 | $/CUST |  | (1)* TRC TEST - BENEFIT/COST RATIO | 0.28018
III. | (15)* UTILITY RECURRING REBATE/INCENTIVE | 0 | $/CUST/YR |  | (2)* PARTICIPANT NET BENEFITS (NPV) | 0.71324
III. | (16)* UTILITY REBATE/INCENTIVE ESCAL RATE | 0 | % |  | (3)* RIM TEST - BENEFIT/COST RATIO | 0.55697
END OF EDITING AREA
YEARLY INPUT DATA: GO TO H5..Q76 & INPUT (Page 2)
PLEASE NOTE: UTILITY NON-LEVELIZED REVENUE REQUIREMENT
FACTORS AT RANGE NAMES GEN_RRTBL AND TRAN_RRTBL.

## Participation
[6 empty] | See N16 for Rev Requirements |  | Do Not Print
PROGRAM TITLE:
2026-07-28 21:25
VI. YEARLY INPUT DATA
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) |  |  | Generation
[14 empty] | Comb. Cycle | Tran & Dist
|  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK |  |  | Rev Reqm't | Rev Reqm't
| CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER |  |  |  | FACTORS | FACTORS
| TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR | [5 empty] | ---- | ----
|  |  | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
2015 | 100 | 100 | 3.92 | 4.03 | 0 | 3.92 | 1 | 1 | 0 | 0 | 0 |  | 2019 | 0.16963 | 0.16963 | 0.17935 | 0
2016 | 200 | 200 | 3.94 | 3.71 | 0 | 3.94 | 1 | 1 | 0 | 0 | 0 |  | 2020 | 0.16335 | 0.16335 | 0.17255 | 0
2017 | 300 | 300 | 3.94 | 3.34 | 0 | 3.94 | 1 | 1 | 0 | 0 | 0 |  | 2021 | 0.15625 | 0.15625 | 0.16486 | 0
2018 | 400 | 400 | 4.12 | 3.61 | 0 | 4.12 | 1 | 1 | 0 | 0 | 0 |  | 2022 | 0.14957 | 0.14957 | 0.15762 | 0
2019 | 400 | 400 | 4.33 | 3.8 | 0 | 4.33 | 1 | 1 | 0 | 0 | 0 |  | 2023 | 0.14326 | 0.14326 | 0.15079 | 0
2020 | 400 | 400 | 4.56 | 4.08 | 0 | 4.56 | 1 | 1 | 0 | 0 | 0 |  | 2024 | 0.13729 | 0.13729 | 0.14432 | 0
2021 | 400 | 400 | 4.68 | 4.4 | 0 | 4.7 | 1 | 1 | 0 | 0 | 0 |  | 2025 | 0.13155 | 0.13155 | 0.13811 | 0.02
2022 | 400 | 400 | 4.85 | 4.68 | 0 | 4.85 | 1 | 1 | 0 | 0 | 0 |  | 2026 | 0.12589 | 0.12589 | 0.13197 | 0
2023 | 400 | 400 | 5.06 | 4.92 | 0 | 5.06 | 1 | 1 | 0 | 0 | 0 |  | 2027 | 0.12023 | 0.12023 | 0.12584 | 0
2024 | 400 | 400 | 5.28 | 5.31 | 0 | 5.3 | 1 | 1 | 0 | 0 | 0 |  | 2028 | 0.11457 | 0.11457 | 0.11971 | 0.02
2025 | 400 | 400 | 5.42 | 5.7 | 0 | 5.44 | 1 | 1 | 0 | 0 | 0 |  | 2029 | 0.10891 | 0.10891 | 0.11358 | 0.02
2026 | 400 | 400 | 5.53 | 5.87 | 0 | 5.53 | 1 | 1 | 0 | 0 | 0 |  | 2030 | 0.10325 | 0.10325 | 0.10745 | 0
2027 | 400 | 400 | 5.62 | 6.08 | 0 | 5.63 | 1 | 1 | 0 | 0 | 0 |  | 2031 | 0.097586 | 0.097586 | 0.10132 | 0.01
2028 | 400 | 400 | 5.76 | 6.32 | 0 | 5.75 | 1 | 1 | 0 | 0 | 0 |  | 2032 | 0.091926 | 0.091926 | 0.095187 | -0.01
2029 | 400 | 400 | 5.97 | 6.79 | 0 | 5.98 | 1 | 1 | 0 | 0 | 0 |  | 2033 | 0.086265 | 0.086265 | 0.089056 | 0.01
2030 | 400 | 400 | 6.12 | 7.01 | 0 | 6.12 | 1 | 1 | 0 | 0 | 0 |  | 2034 | 0.081285 | 0.081285 | 0.083662 | 0
2031 | 400 | 400 | 6.31 | 7.43 | 0 | 6.32 | 1 | 1 | 0 | 0 | 0 |  | 2035 | 0.077667 | 0.077667 | 0.079743 | 0.01
2032 | 400 | 400 | 6.58 | 7.85 | 0 | 6.59 | 1 | 1 | 0 | 0 | 0 |  | 2036 | 0.07473 | 0.07473 | 0.076562 | 0.01
2033 | 400 | 400 | 6.89 | 8.27 | 0 | 6.89 | 1 | 1 | 0 | 0 | 0 |  | 2037 | 0.071793 | 0.071793 | 0.07338 | 0
2034 | 400 | 400 | 7.14 | 8.4 | 0 | 7.14 | 1 | 1 | 0 | 0 | 0 |  | 2038 | 0.068855 | 0.068855 | 0.070199 | 0
2035 | 400 | 400 | 7.6 | 9.2 | 0 | 7.59 | 1 | 1 | 0 | 0 | 0 |  | 2039 | 0.065918 | 0.065918 | 0.067017 | -0.01
2036 | 400 | 400 | 8.27 | 9.71 | 0 | 8.28 | 1 | 1 | 0 | 0 | 0 |  | 2040 | 0.062981 | 0.062981 | 0.063836 | 0.01
2037 | 400 | 400 | 8.83 | 10.5 | 0 | 8.83 | 1 | 1 | 0 | 0 | 0 |  | 2041 | 0.060043 | 0.060043 | 0.060654 | 0
2038 | 400 | 400 | 9.66 | 11.42 | 0 | 9.67 | 1 | 1 | 0 | 0 | 0 |  | 2042 | 0.057106 | 0.057106 | 0.057472 | 0.01
2039 | 400 | 400 | 10.18 | 12.18 | 0 | 10.19 | 1 | 1 | 0 | 0 | 0 |  | 2043 | 0.054169 | 0.054169 | 0.054291 | 0.01
2040 | 400 | 400 | 10.73 | 12.76 | 0 | 10.74 | 1 | 1 | 0 | 0 | 0 |  | 2044 | 0 | 0 |  | 0.01
2041 | 0 | 0 | 11.53 | 13.56 | 0 | 11.54 | 1 | 1 | 0 | 0 | 0 |  | 2045 | 0 | 0 |  | 0.01
2042 | 0 | 0 | 12.07 | 14.01 | 0 | 12.07 | 1 | 1 | 0 | 0 | 0 |  | 2046 | 0 | 0 |  | 0
2043 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |  | 2047 | 0 | 0 |  | 0
2044 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |  | 2048 | 0 | 0 |  | 0
2045 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |  | 2049 | 0 | 0
2046 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2047 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2048 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2049 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2
1
Unit Size of Avoided Generation Unit | (2): 151
|  | (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
|  |  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK
|  | CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER
|  | TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
| YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR
|  |  | 0 | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
| 2015 | 100 | 100 | 3.92 | 4.03 | 0 | 0 | 1 | 1 | 0 | 0 | 2.02
| 2016 | 200 | 200 | 3.94 | 3.71 | 0 | 0 | 1 | 1 | 0 | 0 | 2.1
| 2017 | 300 | 300 | 3.94 | 3.34 | 0 | 0 | 1 | 1 | 0 | 0 | 2.4
| 2018 | 400 | 400 | 4.12 | 3.61 | 0 | 0 | 1 | 1 | 0 | 0 | 2.41
| 2019 | 400 | 400 | 4.33 | 3.8 | 0 | 0 | 1 | 1 | 0 | 0 | 2.79
| 2020 | 400 | 400 | 4.56 | 4.08 | 0 | 0 | 1 | 1 | 0 | 0 | 3.05
| 2021 | 400 | 400 | 4.68 | 4.4 | 0 | 0 | 1 | 1 | 0 | 0 | 3.18
| 2022 | 400 | 400 | 4.85 | 4.68 | 0 | 0 | 1 | 1 | 0 | 0 | 3.07
| 2023 | 400 | 400 | 5.06 | 4.92 | 0 | 0 | 1 | 1 | 0 | 0 | 3.49
| 2024 | 400 | 400 | 5.28 | 5.31 | 0 | 0 | 1 | 1 | 0 | 0 | 3.53
| 2025 | 400 | 400 | 5.42 | 5.7 | 0 | 0 | 1 | 1 | 0 | 0 | 3.81
| 2026 | 400 | 400 | 5.53 | 5.87 | 0 | 0 | 1 | 1 | 0 | 0 | 4.29
| 2027 | 400 | 400 | 5.62 | 6.08 | 0 | 0 | 1 | 1 | 0 | 0 | 4.43
| 2028 | 400 | 400 | 5.76 | 6.32 | 0 | 0 | 1 | 1 | 0 | 0 | 4.61
| 2029 | 400 | 400 | 5.97 | 6.79 | 0 | 0 | 1 | 1 | 0 | 0 | 5.23
| 2030 | 400 | 400 | 6.12 | 7.01 | 0 | 0 | 1 | 1 | 0 | 0 | 5.38
| 2031 | 400 | 400 | 6.31 | 7.43 | 0 | 0 | 1 | 1 | 0 | 0 | 5.63
| 2032 | 400 | 400 | 6.58 | 7.85 | 0 | 0 | 1 | 1 | 0 | 0 | 6.18
| 2033 | 400 | 400 | 6.89 | 8.27 | 0 | 0 | 1 | 1 | 0 | 0 | 6.57
| 2034 | 400 | 400 | 7.14 | 8.4 | 0 | 0 | 1 | 1 | 0 | 0 | 6.76
| 2035 | 400 | 400 | 7.6 | 9.2 | 0 | 0 | 1 | 1 | 0 | 0 | 7.26
| 2036 | 400 | 400 | 8.27 | 9.71 | 0 | 0 | 1 | 1 | 0 | 0 | 7.3
| 2037 | 400 | 400 | 8.83 | 10.5 | 0 | 0 | 1 | 1 | 0 | 0 | 7.35
| 2038 | 400 | 400 | 9.66 | 11.42 | 0 | 0 | 1 | 1 | 0 | 0 | 8.21
| 2039 | 400 | 400 | 10.18 | 12.18 | 0 | 0 | 1 | 1 | 0 | 0 | 8.04
| 2040 | 400 | 400 | 10.73 | 12.76 | 0 | 0 | 1 | 1 | 0 | 0 | 8.31
| 2041 | 0 | 0 | 11.53 | 13.56 | 0 | 0 | 1 | 1 | 0 | 0 | 9.05
| 2042 | 0 | 0 | 12.07 | 14.01 | 0 | 0 | 1 | 1 | 0 | 0 | 8.99
| 2043 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9.37
| 2044 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 9.75
| 2045 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2046 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2047 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2048 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2049 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0

## f-11B
|  | CALCULATION OF AFUDC AND IN-SERVICE COST OF PLANT | [7 empty] | PSC FORM CE 1.1B
|  |  |  | PLANT: | 2019 | Avoided Unit |  |  |  | PAGE 1 OF 1
2026-07-28 21:25
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
| NO. YEARS | PLANT | CUMULATIVE |  |  | CUMULATIVE | CUMULATIVE | YEARLY | INCREMENTAL | CUMULATIVE | <-- INPUTS FOR OTHER COSTS & BENEFITS - EXTERNALLY CALC., FORMS 2.3, 2.4, & 2.5 -->
| BEFORE | ESCALATION | ESCALATION | YEARLY | ANNUAL | AVERAGE | SPENDING | TOTAL | YEAR-END | YEAR-END |  | (1) | (2) | (3) | (4) | (5) | (6)
| INSERVICE | RATE | FACTOR | EXPENDITURE | SPENDING | SPENDING | WITH AFUDC | AFUDC | BOOK VALUE | BOOK VALUE |  | (1): <-- FORM 2.3 --->; (3): <---- FORM 2.4 --->; (5): <---- FORM 2.5 ---->
YEAR |  | (%) |  | (%) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | YEAR | OTHER COST | OTHER BEN | OTH COST | OTHER BENEFITS | COSTS | BENEFITS
2009 | [11 empty] | ($000) | ($000) | ($000) | ($000) | ($000) | ($000)
2010 | [10 empty] | 2015 | 0 | 0 | 0 | 0 | 0 | 0
2011 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2016 | 0 | 0 | 0 | 0 | 0 | 0
2012 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0
2013 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0
2014 | -7 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0
2015 | -6 | 0.024 | 1.024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020 | 0 | 0 | 0 | 0 | 0 | 0
2016 | -5 | 0.024 | 1.0486 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2021 | 0 | 0 | 0 | 0 | 0 | 0
2017 | -4 | 0.024 | 1.0737 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022 | 0 | 0 | 0 | 0 | 0 | 0
2018 | -3 | 0.024 | 1.0995 | 0 | 0 | 0 | 0 |  | 0 | 0 | 2023 | 0 | 0 | 0 | 0 | 0 | 0
2019 | -2 | 0.024 | 1.1259 | 0.755 | 557.77 | 540.3366 | 557.77 | 17.4334 | 557.77 | 557.77 | 2024 | 0 | 0 | 0 | 0 | 0 | 0
2020 | -1 | 0.024 | 1.1529 | 0.24 | 216.2732 | 175.7512 | 216.2732 | 40.522 | 216.2732 | 774.0432 | 2025 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 0 | 0.022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2026 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2027 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2028 | 0 | 0 | 0 | 0 | 0 | 0
IN-SERVICE YEAR = |  | 2019 | [6 empty] | 774.0432 |  | 2029 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2030 | 0 | 0 | 0 | 0 | 0 | 0
PLANT COSTS (2013$) |  | 650.6394 | [8 empty] | 2031 | 0 | 0 | 0 | 0 | 0 | 0
AFUDC RATE: |  | 6.45% | [8 empty] | 2032 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2033 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2034 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2035 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2036 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2037 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2038 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2039 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2040 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2041 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2042 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2043 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2044 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2045 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2046 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2047 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2048 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2049 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2050 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2051 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2052 | 0 | 0 | 0 | 0 | 0 | 0
PSC FORM CE 1.1
PAGE 1 OF 1 | bar: (2)
[11 empty] | Run date: | (1): 37062
[12 empty] | 37062.5552 | *
*
2001 | bar: (2)
2004
[7 empty] | 16.2994 | [12 empty] | CONS | TRUCTION PERIOD | VALUES
[20 empty] | ACCUM. | BOOK |  | CWIP IN |  | ACCUM. | DEF | ERRED
[12 empty] | (4): Spending Curve; (6): CONSTR. |  | ACCUM. | CONSTR. | VALUE | DEFERRED | RATE CAPITALIZED | C | APITALIZED | TA | X ON
[12 empty] | (5): YEAR; (6): EXPEND. | AFUDC | AFUDC | EXPEND. | NOT CLOSED | TAXES | BASE INTEREST |  | INTEREST | AF | UDC
[14 empty] | 0.77158 | 0.49261 | 2018 | 110769 | 3572 | 3572 | 110769 | 114341 | 205 | 0. 2355. |  | 2355 |  | 205
[14 empty] | 0.25096 | 0.50739 | 2019 | 36029 | 8307 | 11879 | 36029 | 44336 | 650 | 0. 7292. |  | 9647 |  | 650
[12 empty] | (5): 2019; (6): 0 | 0 | 0 | 0 | 0 | 482 | 0. 0. |  | 0 |  | -34
[12 empty] | (5): IN SER; (6): VICE DATE TOT | ALS | 11864 | 143562 | 155426 |  |  |  | 9647
[12 empty] | (5): 0.75457; (6): 540.3366 | 18.8 |  |  | 557.761 | 557.77
[12 empty] | (5): 0.24543; (6): 175.7512 | 43.7211 |  |  | 216.2732
774.0341
716.0878

## Sheet3(F_21)
|  |  | AVOIDED GENERATION UNIT BENEFITS | [5 empty] | PSC FORM CE 2.1
|  |  | PROGRAM: | Res. Solar Water Heating |  |  |  |  | Page 1 of 1
2026-07-28 21:25
|  | * UNIT SIZE OF AVOIDED GENERATION UNIT = |  |  |  | 151 | KW
|  | * INSERVICE COSTS OF AVOIDED GEN. UNIT (000) = |  |  |  | 116.8805
(1) | (1A)* | (2) | (2A)* | (3) | (4) | (5) | (6) | (6A)* | (7)
|  | AVOIDED | AVOIDED | AVOIDED | AVOIDED | AVOIDED |  | AVOIDED
| REVENUE | GEN UNIT | ANNUAL | UNIT | GEN UNIT | GEN UNIT |  | PURCHASED | AVOIDED
| REQUIREMENT | CAPACITY | UNIT | FIXED | VARIABLE | FUEL | REPLACEMENT | CAPACITY | GEN UNIT
| FACTOR | COST | KWH GEN | O&M COST | O&M COST | COST | FUEL COST | COSTS | BENEFITS
YEAR |  | $(000) | (000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019 | 0.16963 | 19.8262 | 175.1051 | 1.9903 | 0.34655 | 9.7884 | 7.5821 | 0 | 24.3695
2020 | 0.16335 | 19.0921 | 175.1051 | 2.0381 | 0.35487 | 10.2984 | 7.9848 | 0 | 23.7987
2021 | 0.15625 | 18.2624 | 175.1051 | 2.087 | 0.36339 | 10.8349 | 8.2299 | 0 | 23.3177
2022 | 0.14957 | 17.4812 | 175.1051 | 2.1371 | 0.37211 | 11.3994 | 8.4926 | 0 | 22.8972
2023 | 0.14326 | 16.7439 | 175.1051 | 2.1884 | 0.38104 | 11.9933 | 8.8603 | 0 | 22.4463
2024 | 0.13729 | 16.0459 | 175.1051 | 2.2409 | 0.39019 | 12.6182 | 9.2806 | 0 | 22.0146
2025 | 0.13155 | 15.3755 | 175.1051 | 2.2947 | 0.39955 | 13.2756 | 9.5257 | 0 | 21.8196
2026 | 0.12589 | 14.7139 | 175.1051 | 2.3498 | 0.40914 | 13.9672 | 9.6833 | 0 | 21.7567
2027 | 0.12023 | 14.0523 | 175.1051 | 2.4062 | 0.41896 | 14.6949 | 9.8584 | 0 | 21.7139
2028 | 0.11457 | 13.3907 | 175.1051 | 2.4639 | 0.42901 | 15.4605 | 10.0685 | 0 | 21.6756
2029 | 0.10891 | 12.7291 | 175.1051 | 2.523 | 0.43931 | 16.266 | 10.4713 | 0 | 21.4862
2030 | 0.10325 | 12.0675 | 175.1051 | 2.5836 | 0.44985 | 17.1135 | 10.7164 | 0 | 21.498
2031 | 0.097586 | 11.4059 | 175.1051 | 2.6456 | 0.46065 | 18.0051 | 11.0666 | 0 | 21.4506
2032 | 0.091926 | 10.7443 | 175.1051 | 2.7091 | 0.47171 | 18.9431 | 11.5394 | 0 | 21.3288
2033 | 0.086265 | 10.0827 | 175.1051 | 2.7741 | 0.48303 | 19.9301 | 12.0647 | 0 | 21.2052
2034 | 0.081285 | 9.5007 | 175.1051 | 2.8407 | 0.49462 | 20.9684 | 12.5025 | 0 | 21.3019
2035 | 0.077667 | 9.0778 | 175.1051 | 2.9089 | 0.50649 | 22.0609 | 13.2905 | 0 | 21.2636
2036 | 0.07473 | 8.7345 | 175.1051 | 2.9787 | 0.51865 | 23.2103 | 14.4987 | 0 | 20.9434
2037 | 0.071793 | 8.3912 | 175.1051 | 3.0502 | 0.53109 | 24.4195 | 15.4618 | 0 | 20.9302
2038 | 0.068855 | 8.0479 | 175.1051 | 3.1234 | 0.54384 | 25.6918 | 16.9327 | 0 | 20.4742
2039 | 0.065918 | 7.7045 | 175.1051 | 3.1983 | 0.55689 | 27.0303 | 17.8432 | 0 | 20.6469
NOMINAL |  | 273.4704 | 3677.2074 | 53.532 | 9.3209 | 357.9696 | 235.9541 | 0 | 458.3387
NPV |  | 124.57 |  | 20.4651 | 3.5634 | 127.6532 | 86.7314 | 0 | 189.5203
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet5(p_5)
| * WORKSHEET : DSM PROGRAM FUEL SAVINGS |  |  |  | WORKSHEET FOR FORM CE 2.2
| PROGRAM: | Res. Solar Water Heating |  |  | Page 1 of 1
2026-07-28 21:25
(1) | (2) | (3) | (4) | (5) | (6) | (7)
| REDUCTION |  | INCREASE |  | NET
| IN KWH | AVOIDED | IN KWH | INCREASED | AVOIDED | EFFECTIVE
| GENERATION | MARGINAL | GENERATION | MARGINAL | PROGRAM | PROGRAM
| NET NEW CUST | FUEL COST - | NET NEW CUST | FUEL COST - | FUEL | FUEL
| KWH | REDUCED KWH | KWH | INCREASE KWH | SAVINGS | SAVINGS
YEAR | (000) | $(000) | (000) | $(000) | $(000) | $(000)
2015 | 91.6314 | 3.6927 | 2.6483 | 0 | 3.6927 | 3.6927
2016 | 274.8941 | 10.1986 | 7.9449 | 0 | 10.1986 | 10.1986
2017 | 458.1568 | 15.3024 | 13.2415 | 0 | 15.3024 | 15.3024
2018 | 641.4195 | 23.1552 | 18.5381 | 0 | 23.1552 | 23.1552
2019 | 733.0508 | 27.8559 | 21.1864 | 0 | 27.8559 | 27.8559
2020 | 733.0508 | 29.9085 | 21.1864 | 0 | 29.9085 | 29.9085
2021 | 733.0508 | 32.2542 | 21.1864 | 0 | 32.2542 | 32.2542
2022 | 733.0508 | 34.3068 | 21.1864 | 0 | 34.3068 | 34.3068
2023 | 733.0508 | 36.0661 | 21.1864 | 0 | 36.0661 | 36.0661
2024 | 733.0508 | 38.925 | 21.1864 | 0 | 38.925 | 38.925
2025 | 733.0508 | 41.7839 | 21.1864 | 0 | 41.7839 | 41.7839
2026 | 733.0508 | 43.0301 | 21.1864 | 0 | 43.0301 | 43.0301
2027 | 733.0508 | 44.5695 | 21.1864 | 0 | 44.5695 | 44.5695
2028 | 733.0508 | 46.3288 | 21.1864 | 0 | 46.3288 | 46.3288
2029 | 733.0508 | 49.7742 | 21.1864 | 0 | 49.7742 | 49.7742
2030 | 733.0508 | 51.3869 | 21.1864 | 0 | 51.3869 | 51.3869
2031 | 733.0508 | 54.4657 | 21.1864 | 0 | 54.4657 | 54.4657
2032 | 733.0508 | 57.5445 | 21.1864 | 0 | 57.5445 | 57.5445
2033 | 733.0508 | 60.6233 | 21.1864 | 0 | 60.6233 | 60.6233
2034 | 733.0508 | 61.5763 | 21.1864 | 0 | 61.5763 | 61.5763
2035 | 733.0508 | 67.4407 | 21.1864 | 0 | 67.4407 | 67.4407
2036 | 733.0508 | 71.1792 | 21.1864 | 0 | 71.1792 | 71.1792
2037 | 733.0508 | 76.9703 | 21.1864 | 0 | 76.9703 | 76.9703
2038 | 733.0508 | 83.7144 | 21.1864 | 0 | 83.7144 | 83.7144
2039 | 733.0508 | 89.2856 | 21.1864 | 0 | 89.2856 | 89.2856
NOMINAL | 16860.1695 | 1151.3388 | 487.2881 | 0 | 1151.3388 | 1151.3388
NPV: |  | 433.373 |  | 0 | 433.373 | 433.373
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet2(F_12)
|  |  | INPUT DATA -- PART 2 | [5 empty] | PSC FORM CE 1.2
|  |  | PROGRAM: | Res. Solar Water Heating |  |  |  |  | PAGE 1 OF 1
2026-07-28 21:25
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
UTILITY
AVERAGE
| CUMULATIVE | ADJUSTED | SYSTEM | AVOIDED | INCREASED |  | PROGRAM | PROGRAM | OTHER | OTHER
| TOTAL | CUMULATIVE | FUEL | MARGINAL | MARGINAL | REPLACEMENT | KW | KWH | COSTS | BENEFITS
| PARTICIPATING | PARTICIPATING | COSTS | FUEL COST | FUEL COST | FUEL COST | EFFECTIVENESS | EFFECTIVENESS |  | (CO2)
YEAR | CUSTOMERS | CUSTOMERS | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | FACTOR | FACTOR | ($000) | ($000)
2015 | 100 | 100 | 3.92 | 4.03 | 0 | 3.92 | 1 | 1 | 0 | 0
2016 | 200 | 200 | 3.94 | 3.71 | 0 | 3.94 | 1 | 1 | 0 | 0
2017 | 300 | 300 | 3.94 | 3.34 | 0 | 3.94 | 1 | 1 | 0 | 0
2018 | 400 | 400 | 4.12 | 3.61 | 0 | 4.12 | 1 | 1 | 0 | 0
2019 | 400 | 400 | 4.33 | 3.8 | 0 | 4.33 | 1 | 1 | 0 | 0
2020 | 400 | 400 | 4.56 | 4.08 | 0 | 4.56 | 1 | 1 | 0 | 0
2021 | 400 | 400 | 4.68 | 4.4 | 0 | 4.7 | 1 | 1 | 0 | 0
2022 | 400 | 400 | 4.85 | 4.68 | 0 | 4.85 | 1 | 1 | 0 | 0
2023 | 400 | 400 | 5.06 | 4.92 | 0 | 5.06 | 1 | 1 | 0 | 0
2024 | 400 | 400 | 5.28 | 5.31 | 0 | 5.3 | 1 | 1 | 0 | 0
2025 | 400 | 400 | 5.42 | 5.7 | 0 | 5.44 | 1 | 1 | 0 | 0
2026 | 400 | 400 | 5.53 | 5.87 | 0 | 5.53 | 1 | 1 | 0 | 0
2027 | 400 | 400 | 5.62 | 6.08 | 0 | 5.63 | 1 | 1 | 0 | 0
2028 | 400 | 400 | 5.76 | 6.32 | 0 | 5.75 | 1 | 1 | 0 | 0
2029 | 400 | 400 | 5.97 | 6.79 | 0 | 5.98 | 1 | 1 | 0 | 0
2030 | 400 | 400 | 6.12 | 7.01 | 0 | 6.12 | 1 | 1 | 0 | 0
2031 | 400 | 400 | 6.31 | 7.43 | 0 | 6.32 | 1 | 1 | 0 | 0
2032 | 400 | 400 | 6.58 | 7.85 | 0 | 6.59 | 1 | 1 | 0 | 0
2033 | 400 | 400 | 6.89 | 8.27 | 0 | 6.89 | 1 | 1 | 0 | 0
2034 | 400 | 400 | 7.14 | 8.4 | 0 | 7.14 | 1 | 1 | 0 | 0
2035 | 400 | 400 | 7.6 | 9.2 | 0 | 7.59 | 1 | 1 | 0 | 0
2036 | 400 | 400 | 8.27 | 9.71 | 0 | 8.28 | 1 | 1 | 0 | 0
2037 | 400 | 400 | 8.83 | 10.5 | 0 | 8.83 | 1 | 1 | 0 | 0
2038 | 400 | 400 | 9.66 | 11.42 | 0 | 9.67 | 1 | 1 | 0 | 0
2039 | 400 | 400 | 10.18 | 12.18 | 0 | 10.19 | 1 | 1 | 0 | 0

## Sheet4(F_22)
|  | AVOIDED T & D AND PROGRAM FUEL SAVINGS |  |  |  |  | PSC FORM CE 2.2
|  | PROGRAM: | Res. Solar Water Heating |  |  |  | Page 1 of 2
2026-07-28 21:25
|  | * INSERVICE COSTS OF AVOIDED TRANS. (000) = |  |  | 1.8546
|  | * INSERVICE COSTS OF AVOIDED DIST. (000) = |  |  | 9.6468
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10)
| AVOIDED | AVOIDED |  | AVOIDED | AVOIDED
| TRANSMISSION | TRANSMISSION | TOTAL AVOIDED | DISTRIBUTION | DISTRIBUTION | TOTAL AVOIDED | PROGRAM
| CAPACITY | O&M | TRANSMISSION | CAPACITY | O&M | DISTRIBUTION | FUEL
| COST | COST | COST | COST | COST | COST | SAVINGS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6927
2016 | 0 | 0.45255 | 0.45255 | 0 | 1.9351 | 1.9351 | 10.1986
2017 | 0 | 0.46341 | 0.46341 | 0 | 1.9816 | 1.9816 | 15.3024
2018 | 0 | 0.47453 | 0.47453 | 0 | 2.0291 | 2.0291 | 23.1552
2019 | 0.3146 | 0.48592 | 0.80052 | 1.6364 | 2.0778 | 3.7142 | 27.8559
2020 | 0.30295 | 0.49758 | 0.80053 | 1.5758 | 2.1277 | 3.7035 | 29.9085
2021 | 0.28978 | 0.50952 | 0.79931 | 1.5073 | 2.1787 | 3.686 | 32.2542
2022 | 0.27739 | 0.52175 | 0.79914 | 1.4428 | 2.231 | 3.6739 | 34.3068
2023 | 0.26569 | 0.53428 | 0.79996 | 1.382 | 2.2846 | 3.6666 | 36.0661
2024 | 0.25461 | 0.5471 | 0.80171 | 1.3244 | 2.3394 | 3.6638 | 38.925
2025 | 0.24397 | 0.56023 | 0.8042 | 1.269 | 2.3956 | 3.6646 | 41.7839
2026 | 0.23348 | 0.57367 | 0.80715 | 1.2144 | 2.4531 | 3.6675 | 43.0301
2027 | 0.22298 | 0.58744 | 0.81042 | 1.1598 | 2.5119 | 3.6717 | 44.5695
2028 | 0.21248 | 0.60154 | 0.81402 | 1.1052 | 2.5722 | 3.6774 | 46.3288
2029 | 0.20198 | 0.61598 | 0.81796 | 1.0506 | 2.6339 | 3.6846 | 49.7742
2030 | 0.19148 | 0.63076 | 0.82224 | 0.996 | 2.6972 | 3.6932 | 51.3869
2031 | 0.18099 | 0.6459 | 0.82688 | 0.9414 | 2.7619 | 3.7033 | 54.4657
2032 | 0.17049 | 0.6614 | 0.83189 | 0.88679 | 2.8282 | 3.715 | 57.5445
2033 | 0.15999 | 0.67727 | 0.83726 | 0.83218 | 2.8961 | 3.7282 | 60.6233
2034 | 0.15075 | 0.69353 | 0.84428 | 0.78415 | 2.9656 | 3.7497 | 61.5763
2035 | 0.14404 | 0.71017 | 0.85422 | 0.74924 | 3.0367 | 3.786 | 67.4407
2036 | 0.1386 | 0.72722 | 0.86581 | 0.72091 | 3.1096 | 3.8305 | 71.1792
2037 | 0.13315 | 0.74467 | 0.87782 | 0.69257 | 3.1842 | 3.8768 | 76.9703
2038 | 0.1277 | 0.76254 | 0.89024 | 0.66424 | 3.2607 | 3.9249 | 83.7144
2039 | 0.12225 | 0.78084 | 0.9031 | 0.6359 | 3.3389 | 3.9748 | 89.2856
NOMINAL | 4.3393 | 14.4598 | 18.7992 | 22.5711 | 61.8308 | 84.4019 | 1151.3388
NPV: | 1.9766 | 6.2039 | 8.1805 | 10.2815 | 26.5279 | 36.8094 | 433.373
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet6(p_6)
|  | * WORKSHEET: UTILITY COSTS AND PARTICIPANT COSTS AND REV LOSS/GAIN | [12 empty] | WORKSHEET FOR FORM CE 2.2
|  | PROGRAM: |  | Res. Solar Water Heating | [10 empty] | Page 2 of 2
2026-07-28 21:25
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14) | (15) | (16) | (17) | (18)
| <----- UTILITY PROGRAM COSTS & REBATES -------> | [5 empty] | <------------------ PARTICIPATING CUSTOMER COSTS & BENEFITS ---------------------->
|  |  | TOTAL |  |  | TOTAL | PARTIC. | PARTIC. | TOTAL | REDUCT. | RED. | RED. | EFFECT. | INC. | INC. | INC. | EFFECT.
| UTIL | UTIL | UTIL | UTIL | UTIL | REBATE/ | CUST | CUST | COSTS | IN | REV. | REV. | REV. | IN | REV. | REV. | REVENUE
| NONREC. | RECUR | PGM | NONREC. | RECUR. | INCENT. | EQUIP | O & M | PARTIC. | CUST. | - FUEL | NONFUEL | REDUCT. | CUST. | - FUEL | NONFUEL | INC.
| COSTS | COSTS | COSTS | REBATES | REBATES | COSTS | COSTS | COSTS | CUST | KWH | PORTION | PORTION | TO CUST | KWH | PORTION | PORTION | IN BILL
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | (000) | $(000) | $(000) | $(000) | (000) | $(000) |  | $(000)
2015 | 2.8 | 0 | 2.8 | 100 | 0 | 100 | 565.6 | 2.5 | 568.1 | 86.5 | 3.3908 | 4.825 | 8.2158 | 0 | 0 | 0 | 0
2016 | 2.8672 | 0 | 2.8672 | 100 | 0 | 100 | 579.1744 | 7.68 | 586.8544 | 259.5 | 10.2243 | 14.6197 | 24.844 | 0 | 0 | 0 | 0
2017 | 2.936 | 0 | 2.936 | 100 | 0 | 100 | 593.0746 | 13.1072 | 606.1818 | 432.5 | 17.0405 | 24.6098 | 41.6503 | 0 | 0 | 0 | 0
2018 | 3.0065 | 0 | 3.0065 | 100 | 0 | 100 | 607.3084 | 18.7905 | 626.0989 | 605.5 | 24.9466 | 34.7982 | 59.7448 | 0 | 0 | 0 | 0
2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.9902 | 21.9902 | 692 | 29.9636 | 40.1671 | 70.1307 | 0 | 0 | 0 | 0
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22.518 | 22.518 | 692 | 31.5552 | 40.5687 | 72.1239 | 0 | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.0584 | 23.0584 | 692 | 32.3856 | 40.9744 | 73.36 | 0 | 0 | 0 | 0
2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.6118 | 23.6118 | 692 | 33.562 | 41.3842 | 74.9462 | 0 | 0 | 0 | 0
2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.1785 | 24.1785 | 692 | 35.0152 | 41.798 | 76.8132 | 0 | 0 | 0 | 0
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.7588 | 24.7588 | 692 | 36.5376 | 42.216 | 78.7536 | 0 | 0 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25.353 | 25.353 | 692 | 37.5064 | 42.6381 | 80.1445 | 0 | 0 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25.9615 | 25.9615 | 692 | 38.2676 | 43.0645 | 81.3321 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26.5846 | 26.5846 | 692 | 38.8904 | 43.4952 | 82.3856 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27.2226 | 27.2226 | 692 | 39.8592 | 43.9301 | 83.7893 | 0 | 0 | 0 | 0
2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27.8759 | 27.8759 | 692 | 41.3124 | 44.3694 | 85.6818 | 0 | 0 | 0 | 0
2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.545 | 28.545 | 692 | 42.3504 | 44.8131 | 87.1635 | 0 | 0 | 0 | 0
2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29.23 | 29.23 | 692 | 43.6652 | 45.2613 | 88.9265 | 0 | 0 | 0 | 0
2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29.9316 | 29.9316 | 692 | 45.5336 | 45.7139 | 91.2475 | 0 | 0 | 0 | 0
2033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30.6499 | 30.6499 | 692 | 47.6788 | 46.171 | 93.8498 | 0 | 0 | 0 | 0
2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.3855 | 31.3855 | 692 | 49.4088 | 46.6327 | 96.0415 | 0 | 0 | 0 | 0
2035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32.1388 | 32.1388 | 692 | 52.592 | 47.099 | 99.691 | 0 | 0 | 0 | 0
2036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32.9101 | 32.9101 | 692 | 57.2284 | 47.57 | 104.7984 | 0 | 0 | 0 | 0
2037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.6999 | 33.6999 | 692 | 61.1036 | 48.0457 | 109.1493 | 0 | 0 | 0 | 0
2038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34.5087 | 34.5087 | 692 | 66.8472 | 48.5262 | 115.3734 | 0 | 0 | 0 | 0
2039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35.3369 | 35.3369 | 692 | 70.4456 | 49.0115 | 119.4571 | 0 | 0 | 0 | 0
NOMINAL | 11.6097 | 0 | 11.6097 | 400 | 0 | 400 | 2345.1574 | 633.5275 | 2978.6848 | 15916 | 987.311 | 1012.3028 | 1999.6138 | 0 | 0 | 0 | 0
NPV | 10.4503 | 0 | 10.4503 | 360.8099 | 0 | 360.8099 | 2110.9565 | 262.3333 | 2373.2898 |  | 390.304 | 437.564 | 827.868 |  | 0 | 0 | 0
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet7(F_23)
|  |  | TOTAL RESOURCE COST TESTS | [8 empty] | PSC FORM CE 2.3
|  |  | PROGRAM: | Res. Solar Water Heating | [7 empty] | Page 1 of 1
2026-07-28 21:25
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13)
CUMULATIVE
| INCREASED | UTILITY | PARTICIPANT |  |  |  |  | PROGRAM |  |  |  | DISCOUNTED
| SUPPLY | PROGRAM | PROGRAM | OTHER | TOTAL | AVOIDED | AVOIDED | FUEL | OTHER | TOTAL | NET | NET
| COSTS | COSTS | COSTS | COSTS | COSTS | GEN UNIT | T & D | SAVINGS | BENEFITS | BENEFITS | BENEFITS | BENEFITS
[6 empty] | BENEFITS | BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 2.8 | 568.1 | 0 | 570.9 | 0 | 0 | 3.6927 | 0 | 3.6927 | -567.2073 | -567.2073
2016 | 0 | 2.8672 | 586.8544 | 0 | 589.7216 | 0 | 2.3877 | 10.1986 | 0 | 12.5862 | -577.1354 | -1104.8776
2017 | 0 | 2.936 | 606.1818 | 0 | 609.1178 | 0 | 2.445 | 15.3024 | 0 | 17.7474 | -591.3704 | -1618.1364
2018 | 0 | 3.0065 | 626.0989 | 0 | 629.1053 | 0 | 2.5036 | 23.1552 | 0 | 25.6589 | -603.4464 | -2106.0624
2019 | 0 | 0 | 21.9902 | 0 | 21.9902 | 24.3695 | 4.5147 | 27.8559 | 0 | 56.7401 | 34.7499 | -2079.8862
2020 | 0 | 0 | 22.518 | 0 | 22.518 | 23.7987 | 4.504 | 29.9085 | 0 | 58.2111 | 35.6931 | -2054.838
2021 | 0 | 0 | 23.0584 | 0 | 23.0584 | 23.3177 | 4.4854 | 32.2542 | 0 | 60.0573 | 36.9989 | -2030.6489
2022 | 0 | 0 | 23.6118 | 0 | 23.6118 | 22.8972 | 4.473 | 34.3068 | 0 | 61.677 | 38.0652 | -2007.4644
2023 | 0 | 0 | 24.1785 | 0 | 24.1785 | 22.4463 | 4.4665 | 36.0661 | 0 | 62.9789 | 38.8004 | -1985.4482
2024 | 0 | 0 | 24.7588 | 0 | 24.7588 | 22.0146 | 4.4655 | 38.925 | 0 | 65.4051 | 40.6463 | -1963.9616
2025 | 0 | 0 | 25.353 | 0 | 25.353 | 21.8196 | 4.4688 | 41.7839 | 0 | 68.0723 | 42.7193 | -1942.9235
2026 | 0 | 0 | 25.9615 | 0 | 25.9615 | 21.7567 | 4.4746 | 43.0301 | 0 | 69.2614 | 43.3 | -1923.0575
2027 | 0 | 0 | 26.5846 | 0 | 26.5846 | 21.7139 | 4.4822 | 44.5695 | 0 | 70.7656 | 44.181 | -1904.1734
2028 | 0 | 0 | 27.2226 | 0 | 27.2226 | 21.6756 | 4.4914 | 46.3288 | 0 | 72.4959 | 45.2733 | -1886.1456
2029 | 0 | 0 | 27.8759 | 0 | 27.8759 | 21.4862 | 4.5025 | 49.7742 | 0 | 75.7629 | 47.8869 | -1868.3811
2030 | 0 | 0 | 28.545 | 0 | 28.545 | 21.498 | 4.5154 | 51.3869 | 0 | 77.4003 | 48.8553 | -1851.4966
2031 | 0 | 0 | 29.23 | 0 | 29.23 | 21.4506 | 4.5302 | 54.4657 | 0 | 80.4464 | 51.2164 | -1835.0065
2032 | 0 | 0 | 29.9316 | 0 | 29.9316 | 21.3288 | 4.5469 | 57.5445 | 0 | 83.4202 | 53.4886 | -1818.9624
2033 | 0 | 0 | 30.6499 | 0 | 30.6499 | 21.2052 | 4.5655 | 60.6233 | 0 | 86.394 | 55.7441 | -1803.3852
2034 | 0 | 0 | 31.3855 | 0 | 31.3855 | 21.3019 | 4.594 | 61.5763 | 0 | 87.4722 | 56.0867 | -1788.7839
2035 | 0 | 0 | 32.1388 | 0 | 32.1388 | 21.2636 | 4.6402 | 67.4407 | 0 | 93.3444 | 61.2057 | -1773.9396
2036 | 0 | 0 | 32.9101 | 0 | 32.9101 | 20.9434 | 4.6963 | 71.1792 | 0 | 96.8189 | 63.9089 | -1759.4996
2037 | 0 | 0 | 33.6999 | 0 | 33.6999 | 20.9302 | 4.7546 | 76.9703 | 0 | 102.6551 | 68.9552 | -1744.9848
2038 | 0 | 0 | 34.5087 | 0 | 34.5087 | 20.4742 | 4.8151 | 83.7144 | 0 | 109.0037 | 74.495 | -1730.3761
2039 | 0 | 0 | 35.3369 | 0 | 35.3369 | 20.6469 | 4.8779 | 89.2856 | 0 | 114.8104 | 79.4734 | -1715.8569
NOMINAL | 0 | 11.6097 | 2978.6848 | 0 | 2990.2945 | 458.3387 | 103.201 | 1151.3388 | 0 | 1712.8786 | -1277.4159
NPV: | 0 | 10.4503 | 2373.2898 | 0 | 2383.74 | 189.5203 | 44.9899 | 433.373 | 0 | 667.8832 | -1715.8569
Discount Rate |  | 0.0734 | Benefit/Cost Ratio - [col (11)/col (6)]: |  |  |  | 0.28018

## Sheet8(F_24)
|  |  |  | PARTICIPANT COSTS AND BENEFITS | [6 empty] | PSC FORM CE 2.4
|  |  |  | PROGRAM: | Res. Solar Water Heating | [5 empty] | Page 1 of 1
2026-07-28 21:25
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12)
SAVINGS
| IN |  |  |  |  | CUSTOMER | CUSTOMER |  |  |  | CUMULATIVE
| PARTICIPANTS | TAX | UTILITY | OTHER | TOTAL | EQUIPMENT | O & M | OTHER | TOTAL | NET | DISCOUNTED
| BILL | CREDITS | REBATES | BENEFITS | BENEFITS | COSTS | COSTS | COSTS | COSTS | BENEFITS | NET BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 8.2158 | 139.7 | 100 | 0 | 247.9158 | 565.6 | 2.5 | 0 | 568.1 | -320.1842 | -320.1842
2016 | 24.844 | 139.7 | 100 | 0 | 264.544 | 579.1744 | 7.68 | 0 | 586.8544 | -322.3104 | -620.4548
2017 | 41.6503 | 139.7 | 100 | 0 | 281.3503 | 593.0746 | 13.1072 | 0 | 606.1818 | -324.8315 | -902.3807
2018 | 59.7448 | 139.7 | 100 | 0 | 299.4448 | 607.3084 | 18.7905 | 0 | 626.0989 | -326.6541 | -1166.5019
2019 | 70.1307 | 0 | 0 | 0 | 70.1307 | 0 | 21.9902 | 0 | 21.9902 | 48.1404 | -1130.2389
2020 | 72.1239 | 0 | 0 | 0 | 72.1239 | 0 | 22.518 | 0 | 22.518 | 49.6059 | -1095.4272
2021 | 73.36 | 0 | 0 | 0 | 73.36 | 0 | 23.0584 | 0 | 23.0584 | 50.3016 | -1062.5411
2022 | 74.9462 | 0 | 0 | 0 | 74.9462 | 0 | 23.6118 | 0 | 23.6118 | 51.3343 | -1031.2748
2023 | 76.8132 | 0 | 0 | 0 | 76.8132 | 0 | 24.1785 | 0 | 24.1785 | 52.6347 | -1001.4086
2024 | 78.7536 | 0 | 0 | 0 | 78.7536 | 0 | 24.7588 | 0 | 24.7588 | 53.9948 | -972.8658
2025 | 80.1445 | 0 | 0 | 0 | 80.1445 | 0 | 25.353 | 0 | 25.353 | 54.7915 | -945.8823
2026 | 81.3321 | 0 | 0 | 0 | 81.3321 | 0 | 25.9615 | 0 | 25.9615 | 55.3706 | -920.4783
2027 | 82.3856 | 0 | 0 | 0 | 82.3856 | 0 | 26.5846 | 0 | 26.5846 | 55.801 | -896.6275
2028 | 83.7893 | 0 | 0 | 0 | 83.7893 | 0 | 27.2226 | 0 | 27.2226 | 56.5667 | -874.1027
2029 | 85.6818 | 0 | 0 | 0 | 85.6818 | 0 | 27.8759 | 0 | 27.8759 | 57.8059 | -852.6585
2030 | 87.1635 | 0 | 0 | 0 | 87.1635 | 0 | 28.545 | 0 | 28.545 | 58.6186 | -832.3999
2031 | 88.9265 | 0 | 0 | 0 | 88.9265 | 0 | 29.23 | 0 | 29.23 | 59.6964 | -813.1794
2032 | 91.2475 | 0 | 0 | 0 | 91.2475 | 0 | 29.9316 | 0 | 29.9316 | 61.3159 | -794.7876
2033 | 93.8498 | 0 | 0 | 0 | 93.8498 | 0 | 30.6499 | 0 | 30.6499 | 63.1999 | -777.1269
2034 | 96.0415 | 0 | 0 | 0 | 96.0415 | 0 | 31.3855 | 0 | 31.3855 | 64.656 | -760.2947
2035 | 99.691 | 0 | 0 | 0 | 99.691 | 0 | 32.1388 | 0 | 32.1388 | 67.5523 | -743.9112
2036 | 104.7984 | 0 | 0 | 0 | 104.7984 | 0 | 32.9101 | 0 | 32.9101 | 71.8883 | -727.6682
2037 | 109.1493 | 0 | 0 | 0 | 109.1493 | 0 | 33.6999 | 0 | 33.6999 | 75.4494 | -711.7864
2038 | 115.3734 | 0 | 0 | 0 | 115.3734 | 0 | 34.5087 | 0 | 34.5087 | 80.8647 | -695.9286
2039 | 119.4571 | 0 | 0 | 0 | 119.4571 | 0 | 35.3369 | 0 | 35.3369 | 84.1201 | -680.5605
NOMINAL | 1999.6138 | 558.8 | 400 | 0 | 2958.4138 | 2345.1574 | 633.5275 | 0 | 2978.6848 | -20.271
NPV: | 827.868 | 504.0514 | 360.8099 | 0 | 1692.7293 | 2110.9565 | 262.3333 | 0 | 2373.2898 | -680.5605
In service year of gen unit: |  |  | 2019
Discount rate: |  |  | 0.0734 |  |  |  | 0.71324

## Sheet9(F_25)
[5 empty] | RATE IMPACT TEST | [7 empty] | PSC FORM CE 2.5
[5 empty] | PROGRAM: | Res. Solar Water Heating | [6 empty] | Page 1 of 1
2026-07-28 21:25
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14)
[7 empty] | AVOIDED |  |  |  |  | NET | CUMULATIVE
| INCREASED | UTILITY |  |  |  |  | GEN UNIT | AVOIDED |  |  |  | BENEFITS | DISCOUNTED
| SUPPLY | PROGRAM |  | REVENUE | OTHER | TOTAL | UNIT & FUEL | T & D | REVENUE | OTHER | TOTAL | TO ALL | NET
| COSTS | COSTS | INCENTIVES | LOSSES | COSTS | COSTS | BENEFITS | BENEFITS | GAINS | BENEFITS | BENEFITS | CUSTOMERS | BENEFIT
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 2.8 | 100 | 8.2158 | 0 | 111.0158 | 3.6927 | 0 | 0 | 0 | 3.6927 | -107.323 | -107.323
2016 | 0 | 2.8672 | 100 | 24.844 | 0 | 127.7112 | 10.1986 | 2.3877 | 0 | 0 | 12.5862 | -115.1249 | -214.5756
2017 | 0 | 2.936 | 100 | 41.6503 | 0 | 144.5863 | 15.3024 | 2.445 | 0 | 0 | 17.7474 | -126.8389 | -324.6609
2018 | 0 | 3.0065 | 100 | 59.7448 | 0 | 162.7513 | 23.1552 | 2.5036 | 0 | 0 | 25.6589 | -137.0924 | -435.509
2019 | 0 | 0 | 0 | 70.1307 | 0 | 70.1307 | 52.2254 | 4.5147 | 0 | 0 | 56.7401 | -13.3906 | -445.5958
2020 | 0 | 0 | 0 | 72.1239 | 0 | 72.1239 | 53.7071 | 4.504 | 0 | 0 | 58.2111 | -13.9128 | -455.3593
2021 | 0 | 0 | 0 | 73.36 | 0 | 73.36 | 55.572 | 4.4854 | 0 | 0 | 60.0573 | -13.3027 | -464.0564
2022 | 0 | 0 | 0 | 74.9462 | 0 | 74.9462 | 57.204 | 4.473 | 0 | 0 | 61.677 | -13.2691 | -472.1382
2023 | 0 | 0 | 0 | 76.8132 | 0 | 76.8132 | 58.5124 | 4.4665 | 0 | 0 | 62.9789 | -13.8343 | -479.9881
2024 | 0 | 0 | 0 | 78.7536 | 0 | 78.7536 | 60.9396 | 4.4655 | 0 | 0 | 65.4051 | -13.3485 | -487.0444
2025 | 0 | 0 | 0 | 80.1445 | 0 | 80.1445 | 63.6035 | 4.4688 | 0 | 0 | 68.0723 | -12.0722 | -492.9897
2026 | 0 | 0 | 0 | 81.3321 | 0 | 81.3321 | 64.7868 | 4.4746 | 0 | 0 | 69.2614 | -12.0707 | -498.5277
2027 | 0 | 0 | 0 | 82.3856 | 0 | 82.3856 | 66.2834 | 4.4822 | 0 | 0 | 70.7656 | -11.62 | -503.4944
2028 | 0 | 0 | 0 | 83.7893 | 0 | 83.7893 | 68.0044 | 4.4914 | 0 | 0 | 72.4959 | -11.2935 | -507.9915
2029 | 0 | 0 | 0 | 85.6818 | 0 | 85.6818 | 71.2603 | 4.5025 | 0 | 0 | 75.7629 | -9.919 | -511.6711
2030 | 0 | 0 | 0 | 87.1635 | 0 | 87.1635 | 72.8849 | 4.5154 | 0 | 0 | 77.4003 | -9.7633 | -515.0453
2031 | 0 | 0 | 0 | 88.9265 | 0 | 88.9265 | 75.9163 | 4.5302 | 0 | 0 | 80.4464 | -8.48 | -517.7756
2032 | 0 | 0 | 0 | 91.2475 | 0 | 91.2475 | 78.8733 | 4.5469 | 0 | 0 | 83.4202 | -7.8273 | -520.1234
2033 | 0 | 0 | 0 | 93.8498 | 0 | 93.8498 | 81.8285 | 4.5655 | 0 | 0 | 86.394 | -7.4558 | -522.2069
2034 | 0 | 0 | 0 | 96.0415 | 0 | 96.0415 | 82.8782 | 4.594 | 0 | 0 | 87.4722 | -8.5693 | -524.4378
2035 | 0 | 0 | 0 | 99.691 | 0 | 99.691 | 88.7043 | 4.6402 | 0 | 0 | 93.3444 | -6.3466 | -525.977
2036 | 0 | 0 | 0 | 104.7984 | 0 | 104.7984 | 92.1226 | 4.6963 | 0 | 0 | 96.8189 | -7.9795 | -527.78
2037 | 0 | 0 | 0 | 109.1493 | 0 | 109.1493 | 97.9005 | 4.7546 | 0 | 0 | 102.6551 | -6.4942 | -529.147
2038 | 0 | 0 | 0 | 115.3734 | 0 | 115.3734 | 104.1886 | 4.8151 | 0 | 0 | 109.0037 | -6.3697 | -530.3961
2039 | 0 | 0 | 0 | 119.4571 | 0 | 119.4571 | 109.9325 | 4.8779 | 0 | 0 | 114.8104 | -4.6467 | -531.245
NOMINAL | 0 | 11.6097 | 400 | 1999.6138 | 0 | 2411.2235 | 1609.6776 | 103.201 | 0 | 0 | 1712.8786 | -698.3449
NPV: | 0 | 10.4503 | 360.8099 | 827.868 | 0 | 1199.1282 | 622.8933 | 44.9899 | 0 | 0 | 667.8832 | -531.245
Discount rate: |  |  | 0.0734 |  | Benefit/Cost Ratio - [col (12)/col (7)]: |  |  |  | 0.55697

## Value of Defferal
GEN: | [7 empty] | COMPUTATION OF CONSTRUCTION CASH FLOW AND PLANT |  |  |  |  | Do Not Print
COMPUTATION OF GENERATION COSTS & REV. REQUIREMENTS | [7 empty] | IN-SERVICE COSTS FOR AVOIDED TRANS & DIST PLANT
IN-SERVICE AVOIDED GEN. PLANT ($000) = |  |  |  | 116.8805 |  |  |  | -----------------------------------------------
------------------------------------------ |  |  |  |  | GENERATION |  |  | TRAN: | Avoided Trans. = |  | 1.8546
|  |  |  | COMPUTATION OF VALUE DEFERRAL PAYMENTS |  |  |  |  | Avoided Dist. = |  | 9.6468 |  | TRANSMISSION & DIST.
COMPUTATION OF VALUE DEFERRAL CREDITS
|  |  |  | ip= | 0.03 | Esc. rate | [5 empty] | ip= | 0.03 | Esc. rate
| Gen |  |  | r= | 0.0734 | Disc rate |  | TRAN |  |  |  | r= | 0.0734 | Disc rate
| Offset Cost | 3 |  | l= | 25 | Econ life |  | Offset Cost |  | 3 |  | l= | 25 | Econ life
| Offset Factor | 2 |  | c= | 1 | Risk factor |  | Offset Factor |  | 1 |  | c= | 1 | Risk factor
|  |  |  | k= | 1.4625 | K factor |  | DIST |  |  |  | k= | 1.4625 | K factor
|  |  |  | Ratio= | 0.95957 | calculated ratio |  | Offset Cost |  | 4 |  | Ratio= | 0.95957 | calculated ratio
[8 empty] | Offset Factor |  | 1
|  |  |  | VALUE of DEFERRAL | [7 empty] | VALUE DEFERRAL STARTING
|  |  |  | Factor = | 0.091872 | [6 empty] | FACTOR = | 0.091872
[5 empty] | AVOIDED |  |  |  |  | TRANS | DIST |  | AVOIDED | AVOIDED
|  | CARRYING | ANNUAL | Value | GEN. |  |  |  | CARRYING | ANNUAL | ANNUAL |  | TRANS. | DIST
|  | CHARGE | REV REQ | of Def | V OF D |  |  |  | CHARGE | REV REQ | REV REQ |  | V OF D | V OF D
N | Year | % | COSTS(000) | Factors | ($000) |  | N | Year | % | COSTS(000) | COSTS(000) | Factors | ($000) | $(000)
-- | ---- | ------ | ------ | ------ | ----- |  |  |  | ------ | ------ | ------
1 | 2015 | 0 | 0 | 0 | 0 |  | 1 | 2015 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2016 | 0 | 0 | 0 | 0 |  | 2 | 2016 | 0 | 0 | 0 | 0.091872 | 0.17039 | 0.88627
3 | 2017 | 0 | 0 | 0 | 0 |  | 3 | 2017 | 0 | 0 | 0 | 0.094628 | 0.1755 | 0.91286
4 | 2018 | 0 | 0 | 0 | 0 |  | 4 | 2018 | 0 | 0 | 0 | 0.097467 | 0.18076 | 0.94024
5 | 2019 | 0.16963 | 19.8262 | 0.091872 | 10.738 |  | 5 | 2019 | 0.16963 | 0.3146 | 1.6364 | 0.10039 | 0.18619 | 0.96845
6 | 2020 | 0.16335 | 19.0921 | 0.094628 | 11.0602 |  | 6 | 2020 | 0.16335 | 0.30295 | 1.5758 | 0.1034 | 0.19177 | 0.99751
7 | 2021 | 0.15625 | 18.2624 | 0.097467 | 11.392 |  | 7 | 2021 | 0.15625 | 0.28978 | 1.5073 | 0.1065 | 0.19753 | 1.0274
8 | 2022 | 0.14957 | 17.4812 | 0.10039 | 11.7337 |  | 8 | 2022 | 0.14957 | 0.27739 | 1.4428 | 0.1097 | 0.20345 | 1.0583
9 | 2023 | 0.14326 | 16.7439 | 0.1034 | 12.0857 |  | 9 | 2023 | 0.14326 | 0.26569 | 1.382 | 0.11299 | 0.20955 | 1.09
10 | 2024 | 0.13729 | 16.0459 | 0.1065 | 12.4483 |  | 10 | 2024 | 0.13729 | 0.25461 | 1.3244 | 0.11638 | 0.21584 | 1.1227
11 | 2025 | 0.13155 | 15.3755 | 0.1097 | 12.8218 |  | 11 | 2025 | 0.13155 | 0.24397 | 1.269 | 0.11987 | 0.22232 | 1.1564
12 | 2026 | 0.12589 | 14.7139 | 0.11299 | 13.2064 |  | 12 | 2026 | 0.12589 | 0.23348 | 1.2144 | 0.12347 | 0.22899 | 1.1911
13 | 2027 | 0.12023 | 14.0523 | 0.11638 | 13.6026 |  | 13 | 2027 | 0.12023 | 0.22298 | 1.1598 | 0.12717 | 0.23586 | 1.2268
14 | 2028 | 0.11457 | 13.3907 | 0.11987 | 14.0107 |  | 14 | 2028 | 0.11457 | 0.21248 | 1.1052 | 0.13099 | 0.24293 | 1.2636
15 | 2029 | 0.10891 | 12.7291 | 0.12347 | 14.431 |  | 15 | 2029 | 0.10891 | 0.20198 | 1.0506 | 0.13492 | 0.25022 | 1.3015
16 | 2030 | 0.10325 | 12.0675 | 0.12717 | 14.8639 |  | 16 | 2030 | 0.10325 | 0.19148 | 0.996 | 0.13896 | 0.25773 | 1.3406
17 | 2031 | 0.097586 | 11.4059 | 0.13099 | 15.3098 |  | 17 | 2031 | 0.097586 | 0.18099 | 0.9414 | 0.14313 | 0.26546 | 1.3808
18 | 2032 | 0.091926 | 10.7443 | 0.13492 | 15.7691 |  | 18 | 2032 | 0.091926 | 0.17049 | 0.88679 | 0.14743 | 0.27342 | 1.4222
19 | 2033 | 0.086265 | 10.0827 | 0.13896 | 16.2422 |  | 19 | 2033 | 0.086265 | 0.15999 | 0.83218 | 0.15185 | 0.28162 | 1.4649
20 | 2034 | 0.081285 | 9.5007 | 0.14313 | 16.7295 |  | 20 | 2034 | 0.081285 | 0.15075 | 0.78415 | 0.15641 | 0.29007 | 1.5088
21 | 2035 | 0.077667 | 9.0778 | 0.14743 | 17.2314 |  | 21 | 2035 | 0.077667 | 0.14404 | 0.74924 | 0.1611 | 0.29877 | 1.5541
22 | 2036 | 0.07473 | 8.7345 | 0.15185 | 17.7483 |  | 22 | 2036 | 0.07473 | 0.1386 | 0.72091 | 0.16593 | 0.30774 | 1.6007
23 | 2037 | 0.071793 | 8.3912 | 0.15641 | 18.2808 |  | 23 | 2037 | 0.071793 | 0.13315 | 0.69257 | 0.17091 | 0.31697 | 1.6487
24 | 2038 | 0.068855 | 8.0479 | 0.1611 | 18.8292 |  | 24 | 2038 | 0.068855 | 0.1277 | 0.66424 | 0.17604 | 0.32648 | 1.6982
25 | 2039 | 0.065918 | 7.7045 | 0.16593 | 19.3941 |  | 25 | 2039 | 0.065918 | 0.12225 | 0.6359 | 0.18132 | 0.33627 | 1.7491
26 | 2040 | 0.062981 | 7.3612 | 0.17091 | 19.9759 |  | 26 | 2040 | 0.062981 | 0.11681 | 0.60756 | 0.18676 | 0.34636 | 1.8016
27 | 2041 | 0.060043 | 7.0179 | 0.17604 | 20.5752 |  | 27 | 2041 | 0.060043 | 0.11136 | 0.57923 | 0 | 0 | 0
28 | 2042 | 0.057106 | 6.6746 | 0.18132 | 21.1924 |  | 28 | 2042 | 0.057106 | 0.10591 | 0.55089 | 0 | 0 | 0
29 | 2043 | 0.054169 | 6.3313 | 0.18676 | 21.8282 |  | 29 | 2043 | 0.054169 | 0.10046 | 0.52256 | 0 | 0 | 0
30 | 2044 | 0 | 0 | 0 | 0 |  | 30 | 2044 | 0 | 0 | 0 | 0 | 0 | 0
31 | 2045 | 0 | 0 | 0 | 0 |  | 31 | 2045 | 0 | 0 | 0 | 0 | 0 | 0
32 | 2046 | 0 | 0 | 0 | 0 |  | 32 | 2046 | 0 | 0 | 0 | 0 | 0 | 0
33 | 2047 | 0 | 0 | 0 | 0 |  | 33 | 2047 | 0 | 0 | 0 | 0 | 0 | 0
34 | 2048 | 0 | 0 | 0 | 0 |  | 34 | 2048 | 0 | 0 | 0 | 0 | 0 | 0
35 | 2049 | 0 | 0 | 0 | 0 |  | 35 | 2049 | 0 | 0 | 0 | 0 | 0 | 0
36 | 2050 | 0 | 0 | 0 | 0 |  | 36 | 2050 | 0 | 0 | 0 | 0 | 0 | 0
37 | 2051 | 0 | 0 | 0 | 0 |  | 37 | 2051 | 0 | 0 | 0 | 0 | 0 | 0
38 | 2052 | 0 | 0 | 0 | 0 |  | 38 | 2052 | 0 | 0 | 0 | 0 | 0 | 0
39 | 2053 | 0 | 0 | 0 | 0 |  | 39 | 2053 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | ----- |  | ----- |  |  |  |  | ----- |  |  | ----
|  | NOMINAL | 300.8553 |  | 391.5003 |  |  |  | NOMINAL | 4.7739 |  |  | 6.2122
|  | NPV | 128.793 |  | 128.7632 |  |  |  | NPV | 2.0436 |  |  | 2.5269