## Input
Answer questions 1 thru 16 to complete evaluation. Press RUN for results. (See Title & Results). |  |  |  | Do Not Print this page
1 | Program Title | Com. PV Pass TRC & Part
2 | Demand & Energy Savings
| Winter kW | 1.611
| Summer kW | 3.557
| kWh | 17188
3 | Switch (1=Conservation, 0=Load Management) | 1
4 | Switch (1=Residential, 0=Commercial) | 0
ADJUSTED
5 | Participation | Annual |  |  |  | Cumulative | CUMULATIVE
|  | Total Partic. |  |  |  | Total Partic. | PARTICIPATING
| YEAR | Customers |  |  | YEAR | Customers | CUSTOMERS
| 2015 | 1000 |  |  | 2015 | 1000 | 1000
| 2016 | 1000 |  |  | 2016 | 2000 | 2000
| 2017 | 1000 |  |  | 2017 | 3000 | 3000
| 2018 | 1000 |  |  | 2018 | 4000 | 4000
| 2019 | 0 |  |  | 2019 | 4000 | 4000
| 2020 | 0 |  |  | 2020 | 4000 | 4000
| 2021 | 0 |  |  | 2021 | 4000 | 4000
| 2022 | 0 |  |  | 2022 | 4000 | 4000
| 2023 | 0 |  |  | 2023 | 4000 | 4000
| 2024 | 0 |  |  | 2024 | 4000 | 4000
| 2025 | 0 |  |  | 2025 | 4000 | 4000
| 2026 | 0 |  |  | 2026 | 4000 | 4000
| 2027 | 0 |  |  | 2027 | 4000 | 4000
| 2028 | 0 |  |  | 2028 | 4000 | 4000
| 2029 | 0 |  |  | 2029 | 4000 | 4000
[5 empty] | 2030 | 4000 | 4000
[5 empty] | 2031 | 4000 | 4000
6 | Free Riders | 0% |  |  | 2032 | 4000 | 4000
7 | Study Period for Conservation Program | 25 | Years |  | 2033 | 4000 | 4000
8 | Utility Non Recurring Cost Per Customer | 28 | $/CUST |  | 2034 | 4000 | 4000
9 | Utility Recurring Cost Per Customer (Load Management) | 0 | $/CUST/YR |  | 2035 | 4000 | 4000
10 | Customer Equipment Cost | 12885.5 | $/CUST |  | 2036 | 4000 | 4000
11 | Customer O & M Cost | 214.717 | $/CUST/YR |  | 2037 | 4000 | 4000
12 | Customer Tax Credit Per Installation | 3865.66 | $/CUST |  | 2038 | 4000 | 4000
13 | Increased Supply Costs | 0 | $/CUST/YR |  | 2039 | 4000 | 4000
14 | Utility Non Recurring Rebate/Incentive | 0 | $/CUST |  | 2040 | 4000 | 4000
15 | Utility Recurring Rebate/Incentive (Load Management) | 0 | $/CUST/YR
16 | Diversity and Annual Demand | N/A
| Adjustment Factor for Customer Bill: | 1
See Participation C,D,E,F 73
See Participation F_22 F5,6

## Title_RESULTS
Residential
|  | INPUT DATA - PART 1 |  |  |  | PSC FORM CE 1.1 | [7 empty] | <= INPUT % FREE RIDERS; | Summer EUE | 0.686 | LOLP CALC | Forced Outage Rate | 0.034 | 0.966
|  | PROGRAM TITLE: | Com. PV Pass TRC & Part |  |  | PAGE 1 OF 1 | [7 empty] | THEN PARTICIPANTS IN COL. (1). | Winter EUE | 0.314 | PERCENT RED: | Line Loss | 0.066 | 0.934
[6 empty] | RUN DATE: | 2026-07-28 11:42 | [10 empty] | Multiplier (see U4) | 0.90224
| PROGRAM DEMAND SAVINGS & LINE LOSSES |  |  |  | AVOIDED GENERATOR, TRANS. & DIST COSTS | [12 empty] | Commercial
I. | (1) CUSTOMER KW REDUCTION AT THE METER | 3.557 | KW /CUST | IV. | (1) BASE YEAR | 2015 | [11 empty] | Forced Outage Rate | 0.034 | 0.966
I. | (2) GENERATOR KW REDUCTION PER CUSTOMER | 3.2617 | KW GEN/CUST | IV. | (2) IN-SERVICE YEAR FOR AVOIDED GENERATING UNIT | 2019 | [11 empty] | Line Loss | 0.065 | 0.935
I. | (3) KW LINE LOSS PERCENTAGE | 7 | % | IV. | (3) IN-SERVICE YEAR FOR AVOIDED T & D | 2016 |  | 3.2651 | Residential | [8 empty] | Multiplier (see U4) | 0.90321
I. | (4) GENERATION KWH REDUCTION PER CUSTOMER | 18130.8017 | KWH/CUST/YR | IV. | (4) BASE YEAR AVOIDED GENERATING UNIT COST | 650.64 | $/KW | 3.2617 | Commercial
I. | (5) KWH LINE LOSS PERCENTAGE | 5.2 | % | IV. | (5) BASE YEAR AVOIDED TRANSMISSION COST | 0 | $/KW |  |  |  |  | Gen KW
I. | (6) GROUP LINE LOSS MULTIPLIER | 1 |  | IV. | (6) BASE YEAR DISTRIBUTION COST | 0 | $/KW |  |  |  | Residential | Commercial
I. | (7) CUSTOMER KWH PROGRAM INCREASE AT METER | 0 | KWH/CUST/YR | IV. | (7) GEN, TRAN, & DIST COST ESCALATION RATE | 3 | % |  |  | kW | 7.3 | 7% | 7%
I. | (8)* CUSTOMER KWH REDUCTION AT METER | 17188 | KWH/CUST/YR | IV. | (8) GENERATOR FIXED O & M COST | 11.95 | $/KW/YR
|  |  |  | IV. | (9) GENERATOR FIXED O&M ESCALATION RATE | 2.4 | % |  |  | kWh | 5.6 | 5.2% | 5.2%
| ECONOMIC LIFE & K FACTORS |  |  | IV. | (10) TRANSMISSION FIXED O & M COST | 2.92 | $/KW/YR
II. | (1) STUDY PERIOD FOR CONSERVATION PROGRAM | 25 | YEARS | IV. | (11) DISTRIBUTION FIXED O & M COST | 11.69 | $/KW/YR
II. | (2) GENERATOR ECONOMIC LIFE | 25 | YEARS | IV. | (12) T&D FIXED O&M ESCALATION RATE | 2.4 | %
II. | (3) T & D ECONOMIC LIFE | 25 | YEARS | IV. | (13) AVOIDED GEN UNIT VARIABLE O & M COSTS | 0.18 | CENTS/KWH
II. | (4) K FACTOR FOR GENERATION | 1.4625 |  | IV. | (14) GENERATOR VARIABLE O&M COST ESCALATION RATE | 2.4 | %
II. | (5) K FACTOR FOR T & D | 1.4625 |  | IV. | (15) GENERATOR CAPACITY FACTOR | 13.2 | %
| (6)* SWITCH REV REQ(0) OR VAL-OF-DEF (1) | 0 |  | IV. | (16) AVOIDED GENERATING UNIT FUEL COST | 4.56 | CENTS/KWH
|  |  |  | IV. | (17) AVOIDED GEN UNIT FUEL ESCALATION RATE | 5.21 | %
|  |  |  | IV. | (18)* AVOIDED PURCHASE CAPACITY COST PER KW | 0 | $/KW/YR
| UTILITY & CUSTOMER COSTS |  |  | IV. | (19)* CAPACITY COST ESCALATION RATE | 0 | %
III. | (1) UTILITY NONRECURRING COST PER CUSTOMER | 28 | $/CUST
III. | (2) UTILITY RECURRING COST PER CUSTOMER | 0 | $/CUST/YR
III. | (3) UTILITY COST ESCALATION RATE | 2.4 | % |  |  |  |  | Non-Fuel | Res
III. | (4) CUSTOMER EQUIPMENT COST | 12885.5 | $/CUST |  | NON-FUEL ENERGY AND DEMAND CHARGES |  |  | Base Rate | 4.598
III. | (5) CUSTOMER EQUIPMENT ESCALATION RATE | 2.4 | % | V. | (1) NON-FUEL COST IN CUSTOMER BILL | 2.5959 | CENTS/KWH | Fuel
III. | (6) CUSTOMER O & M COST | 214.717 | $/CUST/YR | V. | (2) NON-FUEL ESCALATION RATE | 1 | % | ECCR | 0.295
III. | (7) CUSTOMER O & M ESCALATION RATE | 2.4 | % | V. | (3) CUSTOMER DEMAND CHARGE PER KW | 9.64 | $/KW/MO | Capacity | 0.202
III. | (8)* CUSTOMER TAX CREDIT PER INSTALLATION | 3865.66 | $/CUST | V. | (4) DEMAND CHARGE ESCALATION RATE | 1 | % | ECRC | 0.483
III. | (9)* CUSTOMER TAX CREDIT ESCALATION RATE | 0 | % | V. | (5)* DIVERSITY and ANNUAL DEMAND ADJUSTMENT |  |  | 2.5959 | 5.578
III. | (10)* INCREASED SUPPLY COSTS | 0 | $/CUST/YR |  | FACTOR FOR CUSTOMER BILL | 1 |  | 9.64
III. | (11)* SUPPLY COSTS ESCALATION RATE | 0 | %
III. | (12)* UTILITY DISCOUNT RATE | 0.0734
III. | (13)* UTILITY AFUDC RATE | 0.0645 |  |  | CALCULATED BENEFITS AND COSTS
III. | (14)* UTILITY NON RECURRING REBATE/INCENTIVE | 0 | $/CUST |  | (1)* TRC TEST - BENEFIT/COST RATIO | 1.0051 | 1.0052
III. | (15)* UTILITY RECURRING REBATE/INCENTIVE | 0 | $/CUST/YR |  | (2)* PARTICIPANT NET BENEFITS (NPV) | 1.5434 | 1.5434
III. | (16)* UTILITY REBATE/INCENTIVE ESCAL RATE | 0 | % |  | (3)* RIM TEST - BENEFIT/COST RATIO | 0.76846 | 0.76854
END OF EDITING AREA
YEARLY INPUT DATA: GO TO H5..Q76 & INPUT (Page 2)
PLEASE NOTE: UTILITY NON-LEVELIZED REVENUE REQUIREMENT
FACTORS AT RANGE NAMES GEN_RRTBL AND TRAN_RRTBL.

## Partcipation
[6 empty] | See N16 for Rev Requirements |  | Do Not Print
PROGRAM TITLE:
2026-07-28 11:42
VI. YEARLY INPUT DATA
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) |  |  | Generation
[14 empty] | Comb. Cycle | Tran & Dist
|  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK |  |  | Rev Reqm't | Rev Reqm't
| CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER |  |  |  | FACTORS | FACTORS
| TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR | [5 empty] | ---- | ----
|  |  | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
2015 | 1000 | 1000 | 3.92 | 4.03 | 0 | 3.92 | 1 | 1 | 0 | 0 | 0 |  | 2019 | 0.16963 | 0.16963
2016 | 2000 | 2000 | 3.94 | 3.71 | 0 | 3.94 | 1 | 1 | 0 | 0 | 0 |  | 2020 | 0.16335 | 0.16335
2017 | 3000 | 3000 | 3.94 | 3.34 | 0 | 3.94 | 1 | 1 | 0 | 0 | 0 |  | 2021 | 0.15625 | 0.15625
2018 | 4000 | 4000 | 4.12 | 3.61 | 0 | 4.12 | 1 | 1 | 0 | 0 | 0 |  | 2022 | 0.14957 | 0.14957
2019 | 4000 | 4000 | 4.33 | 3.8 | 0 | 4.33 | 1 | 1 | 0 | 0 | 0 |  | 2023 | 0.14326 | 0.14326
2020 | 4000 | 4000 | 4.56 | 4.08 | 0 | 4.56 | 1 | 1 | 0 | 0 | 0 |  | 2024 | 0.13729 | 0.13729
2021 | 4000 | 4000 | 4.68 | 4.4 | 0 | 4.7 | 1 | 1 | 0 | 0 | 0 |  | 2025 | 0.13155 | 0.13155
2022 | 4000 | 4000 | 4.85 | 4.68 | 0 | 4.85 | 1 | 1 | 0 | 0 | 0 |  | 2026 | 0.12589 | 0.12589
2023 | 4000 | 4000 | 5.06 | 4.92 | 0 | 5.06 | 1 | 1 | 0 | 0 | 0 |  | 2027 | 0.12023 | 0.12023
2024 | 4000 | 4000 | 5.28 | 5.31 | 0 | 5.3 | 1 | 1 | 0 | 0 | 0 |  | 2028 | 0.11457 | 0.11457
2025 | 4000 | 4000 | 5.42 | 5.7 | 0 | 5.44 | 1 | 1 | 0 | 0 | 0 |  | 2029 | 0.10891 | 0.10891
2026 | 4000 | 4000 | 5.53 | 5.87 | 0 | 5.53 | 1 | 1 | 0 | 0 | 0 |  | 2030 | 0.10325 | 0.10325
2027 | 4000 | 4000 | 5.62 | 6.08 | 0 | 5.63 | 1 | 1 | 0 | 0 | 0 |  | 2031 | 0.097586 | 0.097586
2028 | 4000 | 4000 | 5.76 | 6.32 | 0 | 5.75 | 1 | 1 | 0 | 0 | 0 |  | 2032 | 0.091926 | 0.091926
2029 | 4000 | 4000 | 5.97 | 6.79 | 0 | 5.98 | 1 | 1 | 0 | 0 | 0 |  | 2033 | 0.086265 | 0.086265
2030 | 4000 | 4000 | 6.12 | 7.01 | 0 | 6.12 | 1 | 1 | 0 | 0 | 0 |  | 2034 | 0.081285 | 0.081285
2031 | 4000 | 4000 | 6.31 | 7.43 | 0 | 6.32 | 1 | 1 | 0 | 0 | 0 |  | 2035 | 0.077667 | 0.077667
2032 | 4000 | 4000 | 6.58 | 7.85 | 0 | 6.59 | 1 | 1 | 0 | 0 | 0 |  | 2036 | 0.07473 | 0.07473
2033 | 4000 | 4000 | 6.89 | 8.27 | 0 | 6.89 | 1 | 1 | 0 | 0 | 0 |  | 2037 | 0.071793 | 0.071793
2034 | 4000 | 4000 | 7.14 | 8.4 | 0 | 7.14 | 1 | 1 | 0 | 0 | 0 |  | 2038 | 0.068855 | 0.068855
2035 | 4000 | 4000 | 7.6 | 9.2 | 0 | 7.59 | 1 | 1 | 0 | 0 | 0 |  | 2039 | 0.065918 | 0.065918
2036 | 4000 | 4000 | 8.27 | 9.71 | 0 | 8.28 | 1 | 1 | 0 | 0 | 0 |  | 2040 | 0.062981 | 0.062981
2037 | 4000 | 4000 | 8.83 | 10.5 | 0 | 8.83 | 1 | 1 | 0 | 0 | 0 |  | 2041 | 0.060043 | 0.060043
2038 | 4000 | 4000 | 9.66 | 11.42 | 0 | 9.67 | 1 | 1 | 0 | 0 | 0 |  | 2042 | 0.057106 | 0.057106
2039 | 4000 | 4000 | 10.18 | 12.18 | 0 | 10.19 | 1 | 1 | 0 | 0 | 0 |  | 2043 | 0.054169 | 0.054169
2040 | 4000 | 4000 | 10.73 | 12.76 | 0 | 10.74 | 1 | 1 | 0 | 0 | 0 |  | 2044 | 0 | 0
2041 | 0 | 0 | 11.53 | 13.56 | 0 | 11.54 | 1 | 1 | 0 | 0 | 0 |  | 2045 | 0 | 0
2042 | 0 | 0 | 12.07 | 14.01 | 0 | 12.07 | 1 | 1 | 0 | 0 | 0 |  | 2046 | 0 | 0
2043 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |  | 2047 | 0 | 0
2044 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |  | 2048 | 0 | 0
2045 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |  | 2049 | 0 | 0
2046 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2047 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2048 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2049 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2
1
Unit Size of Avoided Generation Unit | (2): 13047
|  | (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
|  |  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK
|  | CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER
|  | TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
| YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR
|  |  | 0 | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
| 2015 | 1000 | 1000 | 3.92 | 4.03 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2016 | 2000 | 2000 | 3.94 | 3.71 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2017 | 3000 | 3000 | 3.94 | 3.34 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2018 | 4000 | 4000 | 4.12 | 3.61 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2019 | 4000 | 4000 | 4.33 | 3.8 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2020 | 4000 | 4000 | 4.56 | 4.08 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2021 | 4000 | 4000 | 4.68 | 4.4 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2022 | 4000 | 4000 | 4.85 | 4.68 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2023 | 4000 | 4000 | 5.06 | 4.92 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2024 | 4000 | 4000 | 5.28 | 5.31 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2025 | 4000 | 4000 | 5.42 | 5.7 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2026 | 4000 | 4000 | 5.53 | 5.87 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2027 | 4000 | 4000 | 5.62 | 6.08 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2028 | 4000 | 4000 | 5.76 | 6.32 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2029 | 4000 | 4000 | 5.97 | 6.79 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2030 | 4000 | 4000 | 6.12 | 7.01 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2031 | 4000 | 4000 | 6.31 | 7.43 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2032 | 4000 | 4000 | 6.58 | 7.85 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2033 | 4000 | 4000 | 6.89 | 8.27 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2034 | 4000 | 4000 | 7.14 | 8.4 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2035 | 4000 | 4000 | 7.6 | 9.2 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2036 | 4000 | 4000 | 8.27 | 9.71 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2037 | 4000 | 4000 | 8.83 | 10.5 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2038 | 4000 | 4000 | 9.66 | 11.42 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2039 | 4000 | 4000 | 10.18 | 12.18 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2040 | 4000 | 4000 | 10.73 | 12.76 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2041 | 0 | 0 | 11.53 | 13.56 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2042 | 0 | 0 | 12.07 | 14.01 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2043 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2044 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2045 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2046 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2047 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2048 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2049 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0

## f-11B
|  | CALCULATION OF AFUDC AND IN-SERVICE COST OF PLANT | [7 empty] | PSC FORM CE 1.1B
|  |  |  | PLANT: | 2019 | Avoided Unit |  |  |  | PAGE 1 OF 1
2026-07-28 11:42
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
| NO. YEARS | PLANT | CUMULATIVE |  |  | CUMULATIVE | CUMULATIVE | YEARLY | INCREMENTAL | CUMULATIVE | <-- INPUTS FOR OTHER COSTS & BENEFITS - EXTERNALLY CALC., FORMS 2.3, 2.4, & 2.5 -->
| BEFORE | ESCALATION | ESCALATION | YEARLY | ANNUAL | AVERAGE | SPENDING | TOTAL | YEAR-END | YEAR-END |  | (1) | (2) | (3) | (4) | (5) | (6)
| INSERVICE | RATE | FACTOR | EXPENDITURE | SPENDING | SPENDING | WITH AFUDC | AFUDC | BOOK VALUE | BOOK VALUE |  | (1): <-- FORM 2.3 --->; (3): <---- FORM 2.4 --->; (5): <---- FORM 2.5 ---->
YEAR |  | (%) |  | (%) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | YEAR | OTHER COST | OTHER BEN | OTH COST | OTHER BENEFITS | COSTS | BENEFITS
2009 | [11 empty] | ($000) | ($000) | ($000) | ($000) | ($000) | ($000)
2010 | [10 empty] | 2015 | 0 | 0 | 0 | 0 | 0 | 0
2011 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2016 | 0 | 0 | 0 | 0 | 0 | 0
2012 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0
2013 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0
2014 | -7 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0
2015 | -6 | 0.024 | 1.024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020 | 0 | 0 | 0 | 0 | 0 | 0
2016 | -5 | 0.024 | 1.0486 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2021 | 0 | 0 | 0 | 0 | 0 | 0
2017 | -4 | 0.024 | 1.0737 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022 | 0 | 0 | 0 | 0 | 0 | 0
2018 | -3 | 0.024 | 1.0995 | 0 | 0 | 0 | 0 |  | 0 | 0 | 2023 | 0 | 0 | 0 | 0 | 0 | 0
2019 | -2 | 0.024 | 1.1259 | 0.755 | 557.77 | 540.3366 | 557.77 | 17.4334 | 557.77 | 557.77 | 2024 | 0 | 0 | 0 | 0 | 0 | 0
2020 | -1 | 0.024 | 1.1529 | 0.24 | 216.2732 | 175.7512 | 216.2732 | 40.522 | 216.2732 | 774.0432 | 2025 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 0 | 0.022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2026 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2027 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2028 | 0 | 0 | 0 | 0 | 0 | 0
IN-SERVICE YEAR = |  | 2019 | [6 empty] | 774.0432 |  | 2029 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2030 | 0 | 0 | 0 | 0 | 0 | 0
PLANT COSTS (2013$) |  | 650.64 | [8 empty] | 2031 | 0 | 0 | 0 | 0 | 0 | 0
AFUDC RATE: |  | 6.45% | [8 empty] | 2032 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2033 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2034 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2035 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2036 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2037 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2038 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2039 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2040 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2041 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2042 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2043 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2044 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2045 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2046 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2047 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2048 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2049 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2050 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2051 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2052 | 0 | 0 | 0 | 0 | 0 | 0
PSC FORM CE 1.1
PAGE 1 OF 1 | bar: (2)
[11 empty] | Run date: | (1): 37062
[12 empty] | 37062.5552 | *

## Sheet3(F_21)
|  |  | AVOIDED GENERATION UNIT BENEFITS | [5 empty] | PSC FORM CE 2.1
|  |  | PROGRAM: | Com. PV Pass TRC & Part |  |  |  |  | Page 1 of 1
2026-07-28 11:42
|  | * UNIT SIZE OF AVOIDED GENERATION UNIT = |  |  |  | 13047 | KW
|  | * INSERVICE COSTS OF AVOIDED GEN. UNIT (000) = |  |  |  | 10098.9412
(1) | (1A)* | (2) | (2A)* | (3) | (4) | (5) | (6) | (6A)* | (7)
|  | AVOIDED | AVOIDED | AVOIDED | AVOIDED | AVOIDED |  | AVOIDED
| REVENUE | GEN UNIT | ANNUAL | UNIT | GEN UNIT | GEN UNIT |  | PURCHASED | AVOIDED
| REQUIREMENT | CAPACITY | UNIT | FIXED | VARIABLE | FUEL | REPLACEMENT | CAPACITY | GEN UNIT
| FACTOR | COST | KWH GEN | O&M COST | O&M COST | COST | FUEL COST | COSTS | BENEFITS
YEAR |  | $(000) | (000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019 | 0.16963 | 1713.0663 | 15086.0502 | 171.605 | 29.8571 | 842.8853 | 653.226 | 0 | 2104.1878
2020 | 0.16335 | 1649.6371 | 15086.0502 | 175.7235 | 30.5737 | 886.7996 | 687.9239 | 0 | 2054.8101
2021 | 0.15625 | 1577.9413 | 15086.0502 | 179.9409 | 31.3075 | 933.0019 | 709.0444 | 0 | 2013.1472
2022 | 0.14957 | 1510.4486 | 15086.0502 | 184.2595 | 32.0588 | 981.6113 | 731.6734 | 0 | 1976.7048
2023 | 0.14326 | 1446.7377 | 15086.0502 | 188.6817 | 32.8282 | 1032.7532 | 763.3541 | 0 | 1937.6467
2024 | 0.13729 | 1386.4335 | 15086.0502 | 193.2101 | 33.6161 | 1086.5597 | 799.5607 | 0 | 1900.2587
2025 | 0.13155 | 1328.5068 | 15086.0502 | 197.8471 | 34.4229 | 1143.1694 | 820.6811 | 0 | 1883.2651
2026 | 0.12589 | 1271.3416 | 15086.0502 | 202.5954 | 35.2491 | 1202.7285 | 834.2586 | 0 | 1877.6561
2027 | 0.12023 | 1214.1765 | 15086.0502 | 207.4577 | 36.095 | 1265.3907 | 849.3446 | 0 | 1873.7753
2028 | 0.11457 | 1157.0113 | 15086.0502 | 212.4367 | 36.9613 | 1331.3176 | 867.4479 | 0 | 1870.279
2029 | 0.10891 | 1099.8461 | 15086.0502 | 217.5352 | 37.8484 | 1400.6792 | 902.1458 | 0 | 1853.7631
2030 | 0.10325 | 1042.6809 | 15086.0502 | 222.756 | 38.7568 | 1473.6546 | 923.2663 | 0 | 1854.582
2031 | 0.097586 | 985.5157 | 15086.0502 | 228.1022 | 39.6869 | 1550.432 | 953.4384 | 0 | 1850.2985
2032 | 0.091926 | 928.3505 | 15086.0502 | 233.5766 | 40.6394 | 1631.2095 | 994.1707 | 0 | 1839.6054
2033 | 0.086265 | 871.1854 | 15086.0502 | 239.1825 | 41.6147 | 1716.1955 | 1039.4289 | 0 | 1828.7492
2034 | 0.081285 | 820.8966 | 15086.0502 | 244.9229 | 42.6135 | 1805.6093 | 1077.144 | 0 | 1836.8983
2035 | 0.077667 | 784.3585 | 15086.0502 | 250.801 | 43.6362 | 1899.6815 | 1145.0312 | 0 | 1833.446
2036 | 0.07473 | 754.6944 | 15086.0502 | 256.8202 | 44.6835 | 1998.6549 | 1249.125 | 0 | 1805.7282
2037 | 0.071793 | 725.0304 | 15086.0502 | 262.9839 | 45.7559 | 2102.7849 | 1332.0982 | 0 | 1804.4569
2038 | 0.068855 | 695.3664 | 15086.0502 | 269.2955 | 46.854 | 2212.34 | 1458.8211 | 0 | 1765.0349
2039 | 0.065918 | 665.7023 | 15086.0502 | 275.7586 | 47.9785 | 2327.6029 | 1537.2685 | 0 | 1779.7739
NOMINAL |  | 23628.9281 | 316807.0534 | 4615.4925 | 803.0377 | 30825.0614 | 20328.4526 | 0 | 39544.067
NPV |  | 10763.347 |  | 1764.4867 | 306.9985 | 10992.324 | 7472.2813 | 0 | 16354.8749
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet5(p_5)
| * WORKSHEET : DSM PROGRAM FUEL SAVINGS |  |  |  | WORKSHEET FOR FORM CE 2.2
| PROGRAM: | Com. PV Pass TRC & Part |  |  | Page 1 of 1
2026-07-28 11:42
(1) | (2) | (3) | (4) | (5) | (6) | (7)
| REDUCTION |  | INCREASE |  | NET
| IN KWH | AVOIDED | IN KWH | INCREASED | AVOIDED | EFFECTIVE
| GENERATION | MARGINAL | GENERATION | MARGINAL | PROGRAM | PROGRAM
| NET NEW CUST | FUEL COST - | NET NEW CUST | FUEL COST - | FUEL | FUEL
| KWH | REDUCED KWH | KWH | INCREASE KWH | SAVINGS | SAVINGS
YEAR | (000) | $(000) | (000) | $(000) | $(000) | $(000)
2015 | 9065.4008 | 365.3357 | 113.2474 | 0 | 365.3357 | 365.3357
2016 | 27196.2025 | 1008.9791 | 339.7421 | 0 | 1008.9791 | 1008.9791
2017 | 45327.0042 | 1513.9219 | 566.2368 | 0 | 1513.9219 | 1513.9219
2018 | 63457.8059 | 2290.8268 | 792.7315 | 0 | 2290.8268 | 2290.8268
2019 | 72523.2068 | 2755.8819 | 905.9789 | 0 | 2755.8819 | 2755.8819
2020 | 72523.2068 | 2958.9468 | 905.9789 | 0 | 2958.9468 | 2958.9468
2021 | 72523.2068 | 3191.0211 | 905.9789 | 0 | 3191.0211 | 3191.0211
2022 | 72523.2068 | 3394.0861 | 905.9789 | 0 | 3394.0861 | 3394.0861
2023 | 72523.2068 | 3568.1418 | 905.9789 | 0 | 3568.1418 | 3568.1418
2024 | 72523.2068 | 3850.9823 | 905.9789 | 0 | 3850.9823 | 3850.9823
2025 | 72523.2068 | 4133.8228 | 905.9789 | 0 | 4133.8228 | 4133.8228
2026 | 72523.2068 | 4257.1122 | 905.9789 | 0 | 4257.1122 | 4257.1122
2027 | 72523.2068 | 4409.411 | 905.9789 | 0 | 4409.411 | 4409.411
2028 | 72523.2068 | 4583.4667 | 905.9789 | 0 | 4583.4667 | 4583.4667
2029 | 72523.2068 | 4924.3257 | 905.9789 | 0 | 4924.3257 | 4924.3257
2030 | 72523.2068 | 5083.8768 | 905.9789 | 0 | 5083.8768 | 5083.8768
2031 | 72523.2068 | 5388.4743 | 905.9789 | 0 | 5388.4743 | 5388.4743
2032 | 72523.2068 | 5693.0717 | 905.9789 | 0 | 5693.0717 | 5693.0717
2033 | 72523.2068 | 5997.6692 | 905.9789 | 0 | 5997.6692 | 5997.6692
2034 | 72523.2068 | 6091.9494 | 905.9789 | 0 | 6091.9494 | 6091.9494
2035 | 72523.2068 | 6672.135 | 905.9789 | 0 | 6672.135 | 6672.135
2036 | 72523.2068 | 7042.0034 | 905.9789 | 0 | 7042.0034 | 7042.0034
2037 | 72523.2068 | 7614.9367 | 905.9789 | 0 | 7614.9367 | 7614.9367
2038 | 72523.2068 | 8282.1502 | 905.9789 | 0 | 8282.1502 | 8282.1502
2039 | 72523.2068 | 8833.3266 | 905.9789 | 0 | 8833.3266 | 8833.3266
NOMINAL | 1668033.7553 | 113905.8551 | 20837.5148 | 0 | 113905.8551 | 113905.8551
NPV: |  | 42875.0597 |  | 0 | 42875.0597 | 42875.0597
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet2(F_12)
|  |  | INPUT DATA -- PART 2 | [5 empty] | PSC FORM CE 1.2
|  |  | PROGRAM: | Com. PV Pass TRC & Part |  |  |  |  | PAGE 1 OF 1
2026-07-28 11:42
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
UTILITY
AVERAGE
| CUMULATIVE | ADJUSTED | SYSTEM | AVOIDED | INCREASED |  | PROGRAM | PROGRAM | OTHER | OTHER
| TOTAL | CUMULATIVE | FUEL | MARGINAL | MARGINAL | REPLACEMENT | KW | KWH | COSTS | BENEFITS
| PARTICIPATING | PARTICIPATING | COSTS | FUEL COST | FUEL COST | FUEL COST | EFFECTIVENESS | EFFECTIVENESS |  | (CO2)
YEAR | CUSTOMERS | CUSTOMERS | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | FACTOR | FACTOR | ($000) | ($000)
2015 | 1000 | 1000 | 3.92 | 4.03 | 0 | 3.92 | 1 | 1 | 0 | 0
2016 | 2000 | 2000 | 3.94 | 3.71 | 0 | 3.94 | 1 | 1 | 0 | 0
2017 | 3000 | 3000 | 3.94 | 3.34 | 0 | 3.94 | 1 | 1 | 0 | 0
2018 | 4000 | 4000 | 4.12 | 3.61 | 0 | 4.12 | 1 | 1 | 0 | 0
2019 | 4000 | 4000 | 4.33 | 3.8 | 0 | 4.33 | 1 | 1 | 0 | 0
2020 | 4000 | 4000 | 4.56 | 4.08 | 0 | 4.56 | 1 | 1 | 0 | 0
2021 | 4000 | 4000 | 4.68 | 4.4 | 0 | 4.7 | 1 | 1 | 0 | 0
2022 | 4000 | 4000 | 4.85 | 4.68 | 0 | 4.85 | 1 | 1 | 0 | 0
2023 | 4000 | 4000 | 5.06 | 4.92 | 0 | 5.06 | 1 | 1 | 0 | 0
2024 | 4000 | 4000 | 5.28 | 5.31 | 0 | 5.3 | 1 | 1 | 0 | 0
2025 | 4000 | 4000 | 5.42 | 5.7 | 0 | 5.44 | 1 | 1 | 0 | 0
2026 | 4000 | 4000 | 5.53 | 5.87 | 0 | 5.53 | 1 | 1 | 0 | 0
2027 | 4000 | 4000 | 5.62 | 6.08 | 0 | 5.63 | 1 | 1 | 0 | 0
2028 | 4000 | 4000 | 5.76 | 6.32 | 0 | 5.75 | 1 | 1 | 0 | 0
2029 | 4000 | 4000 | 5.97 | 6.79 | 0 | 5.98 | 1 | 1 | 0 | 0
2030 | 4000 | 4000 | 6.12 | 7.01 | 0 | 6.12 | 1 | 1 | 0 | 0
2031 | 4000 | 4000 | 6.31 | 7.43 | 0 | 6.32 | 1 | 1 | 0 | 0
2032 | 4000 | 4000 | 6.58 | 7.85 | 0 | 6.59 | 1 | 1 | 0 | 0
2033 | 4000 | 4000 | 6.89 | 8.27 | 0 | 6.89 | 1 | 1 | 0 | 0
2034 | 4000 | 4000 | 7.14 | 8.4 | 0 | 7.14 | 1 | 1 | 0 | 0
2035 | 4000 | 4000 | 7.6 | 9.2 | 0 | 7.59 | 1 | 1 | 0 | 0
2036 | 4000 | 4000 | 8.27 | 9.71 | 0 | 8.28 | 1 | 1 | 0 | 0
2037 | 4000 | 4000 | 8.83 | 10.5 | 0 | 8.83 | 1 | 1 | 0 | 0
2038 | 4000 | 4000 | 9.66 | 11.42 | 0 | 9.67 | 1 | 1 | 0 | 0
2039 | 4000 | 4000 | 10.18 | 12.18 | 0 | 10.19 | 1 | 1 | 0 | 0

## Sheet4(F_22)
|  | AVOIDED T & D AND PROGRAM FUEL SAVINGS |  |  |  |  | PSC FORM CE 2.2
|  | PROGRAM: | Com. PV Pass TRC & Part |  |  |  | Page 1 of 2
2026-07-28 11:42
|  | * INSERVICE COSTS OF AVOIDED TRANS. (000) = |  |  | 0
|  | * INSERVICE COSTS OF AVOIDED DIST. (000) = |  |  | 0
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10)
| AVOIDED | AVOIDED |  | AVOIDED | AVOIDED
| TRANSMISSION | TRANSMISSION | TOTAL AVOIDED | DISTRIBUTION | DISTRIBUTION | TOTAL AVOIDED | PROGRAM
| CAPACITY | O&M | TRANSMISSION | CAPACITY | O&M | DISTRIBUTION | FUEL
| COST | COST | COST | COST | COST | COST | SAVINGS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 0 | 0 | 0 | 0 | 0 | 365.3357
2016 | 0 | 39.0104 | 39.0104 | 0 | 0 | 0 | 1008.9791
2017 | 0 | 39.9466 | 39.9466 | 0 | 0 | 0 | 1513.9219
2018 | 0 | 40.9054 | 40.9054 | 0 | 0 | 0 | 2290.8268
2019 | 0 | 41.8871 | 41.8871 | 0 | 0 | 0 | 2755.8819
2020 | 0 | 42.8924 | 42.8924 | 0 | 0 | 0 | 2958.9468
2021 | 0 | 43.9218 | 43.9218 | 0 | 0 | 0 | 3191.0211
2022 | 0 | 44.9759 | 44.9759 | 0 | 0 | 0 | 3394.0861
2023 | 0 | 46.0553 | 46.0553 | 0 | 0 | 0 | 3568.1418
2024 | 0 | 47.1607 | 47.1607 | 0 | 0 | 0 | 3850.9823
2025 | 0 | 48.2925 | 48.2925 | 0 | 0 | 0 | 4133.8228
2026 | 0 | 49.4515 | 49.4515 | 0 | 0 | 0 | 4257.1122
2027 | 0 | 50.6384 | 50.6384 | 0 | 0 | 0 | 4409.411
2028 | 0 | 51.8537 | 51.8537 | 0 | 0 | 0 | 4583.4667
2029 | 0 | 53.0982 | 53.0982 | 0 | 0 | 0 | 4924.3257
2030 | 0 | 54.3726 | 54.3726 | 0 | 0 | 0 | 5083.8768
2031 | 0 | 55.6775 | 55.6775 | 0 | 0 | 0 | 5388.4743
2032 | 0 | 57.0138 | 57.0138 | 0 | 0 | 0 | 5693.0717
2033 | 0 | 58.3821 | 58.3821 | 0 | 0 | 0 | 5997.6692
2034 | 0 | 59.7833 | 59.7833 | 0 | 0 | 0 | 6091.9494
2035 | 0 | 61.2181 | 61.2181 | 0 | 0 | 0 | 6672.135
2036 | 0 | 62.6873 | 62.6873 | 0 | 0 | 0 | 7042.0034
2037 | 0 | 64.1918 | 64.1918 | 0 | 0 | 0 | 7614.9367
2038 | 0 | 65.7324 | 65.7324 | 0 | 0 | 0 | 8282.1502
2039 | 0 | 67.31 | 67.31 | 0 | 0 | 0 | 8833.3266
NOMINAL | 0 | 1246.4585 | 1246.4585 | 0 | 0 | 0 | 113905.8551
NPV: | 0 | 534.7815 | 534.7815 | 0 | 0 | 0 | 42875.0597
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet6(p_6)
|  | * WORKSHEET: UTILITY COSTS AND PARTICIPANT COSTS AND REV LOSS/GAIN | [12 empty] | WORKSHEET FOR FORM CE 2.2
|  | PROGRAM: |  | Com. PV Pass TRC & Part | [10 empty] | Page 2 of 2
2026-07-28 11:42
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14) | (15) | (16) | (17) | (18)
| <----- UTILITY PROGRAM COSTS & REBATES -------> | [5 empty] | <------------------ PARTICIPATING CUSTOMER COSTS & BENEFITS ---------------------->
|  |  | TOTAL |  |  | TOTAL | PARTIC. | PARTIC. | TOTAL | REDUCT. | RED. | RED. | EFFECT. | INC. | INC. | INC. | EFFECT.
| UTIL | UTIL | UTIL | UTIL | UTIL | REBATE/ | CUST | CUST | COSTS | IN | REV. | REV. | REV. | IN | REV. | REV. | REVENUE
| NONREC. | RECUR | PGM | NONREC. | RECUR. | INCENT. | EQUIP | O & M | PARTIC. | CUST. | - FUEL | NONFUEL | REDUCT. | CUST. | - FUEL | NONFUEL | INC.
| COSTS | COSTS | COSTS | REBATES | REBATES | COSTS | COSTS | COSTS | CUST | KWH | PORTION | PORTION | TO CUST | KWH | PORTION | PORTION | IN BILL
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | (000) | $(000) | $(000) | $(000) | (000) | $(000) |  | $(000)
2015 | 28 | 0 | 28 | 0 | 0 | 0 | 12885.5 | 107.3585 | 12992.8585 | 8594 | 336.8848 | 428.8285 | 765.7133 | 0 | 0 | 0 | 0
2016 | 28.672 | 0 | 28.672 | 0 | 0 | 0 | 13194.752 | 329.8053 | 13524.5573 | 25782 | 1015.8108 | 1299.3504 | 2315.1612 | 0 | 0 | 0 | 0
2017 | 29.3601 | 0 | 29.3601 | 0 | 0 | 0 | 13511.426 | 562.8677 | 14074.2938 | 42970 | 1693.018 | 2187.2399 | 3880.2579 | 0 | 0 | 0 | 0
2018 | 30.0648 | 0 | 30.0648 | 0 | 0 | 0 | 13835.7003 | 806.9272 | 14642.6275 | 60158 | 2478.5096 | 3092.7572 | 5571.2668 | 0 | 0 | 0 | 0
2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 944.3354 | 944.3354 | 68752 | 2976.9616 | 3569.9255 | 6546.8871 | 0 | 0 | 0 | 0
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 966.9994 | 966.9994 | 68752 | 3135.0912 | 3605.6247 | 6740.7159 | 0 | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 990.2074 | 990.2074 | 68752 | 3217.5936 | 3641.681 | 6859.2746 | 0 | 0 | 0 | 0
2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1013.9724 | 1013.9724 | 68752 | 3334.472 | 3678.0978 | 7012.5698 | 0 | 0 | 0 | 0
2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1038.3077 | 1038.3077 | 68752 | 3478.8512 | 3714.8788 | 7193.73 | 0 | 0 | 0 | 0
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1063.2271 | 1063.2271 | 68752 | 3630.1056 | 3752.0275 | 7382.1331 | 0 | 0 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1088.7445 | 1088.7445 | 68752 | 3726.3584 | 3789.5478 | 7515.9062 | 0 | 0 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1114.8744 | 1114.8744 | 68752 | 3801.9856 | 3827.4433 | 7629.4289 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1141.6314 | 1141.6314 | 68752 | 3863.8624 | 3865.7177 | 7729.5801 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1169.0305 | 1169.0305 | 68752 | 3960.1152 | 3904.3749 | 7864.4901 | 0 | 0 | 0 | 0
2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1197.0873 | 1197.0873 | 68752 | 4104.4944 | 3943.4187 | 8047.9131 | 0 | 0 | 0 | 0
2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1225.8174 | 1225.8174 | 68752 | 4207.6224 | 3982.8528 | 8190.4752 | 0 | 0 | 0 | 0
2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1255.237 | 1255.237 | 68752 | 4338.2512 | 4022.6814 | 8360.9326 | 0 | 0 | 0 | 0
2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1285.3627 | 1285.3627 | 68752 | 4523.8816 | 4062.9082 | 8586.7898 | 0 | 0 | 0 | 0
2033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1316.2114 | 1316.2114 | 68752 | 4737.0128 | 4103.5373 | 8840.5501 | 0 | 0 | 0 | 0
2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1347.8005 | 1347.8005 | 68752 | 4908.8928 | 4144.5726 | 9053.4654 | 0 | 0 | 0 | 0
2035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1380.1477 | 1380.1477 | 68752 | 5225.152 | 4186.0184 | 9411.1704 | 0 | 0 | 0 | 0
2036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1413.2712 | 1413.2712 | 68752 | 5685.7904 | 4227.8786 | 9913.669 | 0 | 0 | 0 | 0
2037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1447.1897 | 1447.1897 | 68752 | 6070.8016 | 4270.1573 | 10340.9589 | 0 | 0 | 0 | 0
2038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1481.9223 | 1481.9223 | 68752 | 6641.4432 | 4312.8589 | 10954.3021 | 0 | 0 | 0 | 0
2039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1517.4884 | 1517.4884 | 68752 | 6998.9536 | 4355.9875 | 11354.9411 | 0 | 0 | 0 | 0
NOMINAL | 116.0969 | 0 | 116.0969 | 0 | 0 | 0 | 53427.3783 | 27205.8243 | 80633.2026 | 1581296 | 98091.916 | 89970.3668 | 188062.2828 | 0 | 0 | 0 | 0
NPV | 104.5028 | 0 | 104.5028 | 0 | 0 | 0 | 48091.8133 | 11265.4835 | 59357.2968 |  | 38777.7154 | 38889.3455 | 77667.061 |  | 0 | 0 | 0
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet7(F_23)
|  |  | TOTAL RESOURCE COST TESTS | [8 empty] | PSC FORM CE 2.3
|  |  | PROGRAM: | Com. PV Pass TRC & Part | [7 empty] | Page 1 of 1
2026-07-28 11:42
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13)
CUMULATIVE
| INCREASED | UTILITY | PARTICIPANT |  |  |  |  | PROGRAM |  |  |  | DISCOUNTED
| SUPPLY | PROGRAM | PROGRAM | OTHER | TOTAL | AVOIDED | AVOIDED | FUEL | OTHER | TOTAL | NET | NET
| COSTS | COSTS | COSTS | COSTS | COSTS | GEN UNIT | T & D | SAVINGS | BENEFITS | BENEFITS | BENEFITS | BENEFITS
[6 empty] | BENEFITS | BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 28 | 12992.8585 | 0 | 13020.8585 | 0 | 0 | 365.3357 | 0 | 365.3357 | -12655.5228 | -12655.5228
2016 | 0 | 28.672 | 13524.5573 | 0 | 13553.2293 | 0 | 39.0104 | 1008.9791 | 0 | 1047.9895 | -12505.2398 | -24305.6438
2017 | 0 | 29.3601 | 14074.2938 | 0 | 14103.6539 | 0 | 39.9466 | 1513.9219 | 0 | 1553.8686 | -12549.7853 | -35197.7813
2018 | 0 | 30.0648 | 14642.6275 | 0 | 14672.6922 | 0 | 40.9054 | 2290.8268 | 0 | 2331.7322 | -12340.9601 | -45176.2563
2019 | 0 | 0 | 944.3354 | 0 | 944.3354 | 2104.1878 | 41.8871 | 2755.8819 | 0 | 4901.9567 | 3957.6214 | -42195.0785
2020 | 0 | 0 | 966.9994 | 0 | 966.9994 | 2054.8101 | 42.8924 | 2958.9468 | 0 | 5056.6493 | 4089.6499 | -39325.1031
2021 | 0 | 0 | 990.2074 | 0 | 990.2074 | 2013.1472 | 43.9218 | 3191.0211 | 0 | 5248.0901 | 4257.8827 | -36541.3921
2022 | 0 | 0 | 1013.9724 | 0 | 1013.9724 | 1976.7048 | 44.9759 | 3394.0861 | 0 | 5415.7668 | 4401.7944 | -33860.3809
2023 | 0 | 0 | 1038.3077 | 0 | 1038.3077 | 1937.6467 | 46.0553 | 3568.1418 | 0 | 5551.8438 | 4513.5361 | -31299.2948
2024 | 0 | 0 | 1063.2271 | 0 | 1063.2271 | 1900.2587 | 47.1607 | 3850.9823 | 0 | 5798.4016 | 4735.1745 | -28796.1748
2025 | 0 | 0 | 1088.7445 | 0 | 1088.7445 | 1883.2651 | 48.2925 | 4133.8228 | 0 | 6065.3804 | 4976.6359 | -26345.3065
2026 | 0 | 0 | 1114.8744 | 0 | 1114.8744 | 1877.6561 | 49.4515 | 4257.1122 | 0 | 6184.2199 | 5069.3455 | -24019.4957
2027 | 0 | 0 | 1141.6314 | 0 | 1141.6314 | 1873.7753 | 50.6384 | 4409.411 | 0 | 6333.8247 | 5192.1933 | -21800.2174
2028 | 0 | 0 | 1169.0305 | 0 | 1169.0305 | 1870.279 | 51.8537 | 4583.4667 | 0 | 6505.5994 | 5336.5688 | -19675.2052
2029 | 0 | 0 | 1197.0873 | 0 | 1197.0873 | 1853.7631 | 53.0982 | 4924.3257 | 0 | 6831.187 | 5634.0997 | -17585.1284
2030 | 0 | 0 | 1225.8174 | 0 | 1225.8174 | 1854.582 | 54.3726 | 5083.8768 | 0 | 6992.8314 | 5767.014 | -15592.0373
2031 | 0 | 0 | 1255.237 | 0 | 1255.237 | 1850.2985 | 55.6775 | 5388.4743 | 0 | 7294.4502 | 6039.2132 | -13647.5957
2032 | 0 | 0 | 1285.3627 | 0 | 1285.3627 | 1839.6054 | 57.0138 | 5693.0717 | 0 | 7589.6909 | 6304.3282 | -11756.5946
2033 | 0 | 0 | 1316.2114 | 0 | 1316.2114 | 1828.7492 | 58.3821 | 5997.6692 | 0 | 7884.8005 | 6568.5891 | -9921.0563
2034 | 0 | 0 | 1347.8005 | 0 | 1347.8005 | 1836.8983 | 59.7833 | 6091.9494 | 0 | 7988.6309 | 6640.8305 | -8192.2268
2035 | 0 | 0 | 1380.1477 | 0 | 1380.1477 | 1833.446 | 61.2181 | 6672.135 | 0 | 8566.7991 | 7186.6515 | -6449.2373
2036 | 0 | 0 | 1413.2712 | 0 | 1413.2712 | 1805.7282 | 62.6873 | 7042.0034 | 0 | 8910.4188 | 7497.1476 | -4755.2793
2037 | 0 | 0 | 1447.1897 | 0 | 1447.1897 | 1804.4569 | 64.1918 | 7614.9367 | 0 | 9483.5854 | 8036.3956 | -3063.6456
2038 | 0 | 0 | 1481.9223 | 0 | 1481.9223 | 1765.0349 | 65.7324 | 8282.1502 | 0 | 10112.9175 | 8630.9952 | -1371.0848
2039 | 0 | 0 | 1517.4884 | 0 | 1517.4884 | 1779.7739 | 67.31 | 8833.3266 | 0 | 10680.4104 | 9162.922 | 302.9165
NOMINAL | 0 | 116.0969 | 80633.2026 | 0 | 80749.2995 | 39544.067 | 1246.4585 | 113905.8551 | 0 | 154696.3806 | 73947.0811
NPV: | 0 | 104.5028 | 59357.2968 | 0 | 59461.7996 | 16354.8749 | 534.7815 | 42875.0597 | 0 | 59764.7162 | 302.9165
Discount Rate |  | 0.0734 | Benefit/Cost Ratio - [col (11)/col (6)]: |  |  |  | 1.0051

## Sheet8(F_24)
|  |  |  | PARTICIPANT COSTS AND BENEFITS | [6 empty] | PSC FORM CE 2.4
|  |  |  | PROGRAM: | Com. PV Pass TRC & Part | [5 empty] | Page 1 of 1
2026-07-28 11:42
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12)
SAVINGS
| IN |  |  |  |  | CUSTOMER | CUSTOMER |  |  |  | CUMULATIVE
| PARTICIPANTS | TAX | UTILITY | OTHER | TOTAL | EQUIPMENT | O & M | OTHER | TOTAL | NET | DISCOUNTED
| BILL | CREDITS | REBATES | BENEFITS | BENEFITS | COSTS | COSTS | COSTS | COSTS | BENEFITS | NET BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 765.7133 | 3865.66 | 0 | 0 | 4631.3733 | 12885.5 | 107.3585 | 0 | 12992.8585 | -8361.4852 | -8361.4852
2016 | 2315.1612 | 3865.66 | 0 | 0 | 6180.8212 | 13194.752 | 329.8053 | 0 | 13524.5573 | -7343.7361 | -15203.0504
2017 | 3880.2579 | 3865.66 | 0 | 0 | 7745.9179 | 13511.426 | 562.8677 | 0 | 14074.2938 | -6328.3759 | -20695.538
2018 | 5571.2668 | 3865.66 | 0 | 0 | 9436.9268 | 13835.7003 | 806.9272 | 0 | 14642.6275 | -5205.7006 | -24904.6881
2019 | 6546.8871 | 0 | 0 | 0 | 6546.8871 | 0 | 944.3354 | 0 | 944.3354 | 5602.5517 | -20684.4252
2020 | 6740.7159 | 0 | 0 | 0 | 6740.7159 | 0 | 966.9994 | 0 | 966.9994 | 5773.7165 | -16632.6298
2021 | 6859.2746 | 0 | 0 | 0 | 6859.2746 | 0 | 990.2074 | 0 | 990.2074 | 5869.0672 | -12795.5615
2022 | 7012.5698 | 0 | 0 | 0 | 7012.5698 | 0 | 1013.9724 | 0 | 1013.9724 | 5998.5974 | -9141.9818
2023 | 7193.73 | 0 | 0 | 0 | 7193.73 | 0 | 1038.3077 | 0 | 1038.3077 | 6155.4223 | -5649.2509
2024 | 7382.1331 | 0 | 0 | 0 | 7382.1331 | 0 | 1063.2271 | 0 | 1063.2271 | 6318.9061 | -2308.9347
2025 | 7515.9062 | 0 | 0 | 0 | 7515.9062 | 0 | 1088.7445 | 0 | 1088.7445 | 6427.1617 | 856.281
2026 | 7629.4289 | 0 | 0 | 0 | 7629.4289 | 0 | 1114.8744 | 0 | 1114.8744 | 6514.5545 | 3845.1524
2027 | 7729.5801 | 0 | 0 | 0 | 7729.5801 | 0 | 1141.6314 | 0 | 1141.6314 | 6587.9487 | 6661.0128
2028 | 7864.4901 | 0 | 0 | 0 | 7864.4901 | 0 | 1169.0305 | 0 | 1169.0305 | 6695.4596 | 9327.1329
2029 | 8047.9131 | 0 | 0 | 0 | 8047.9131 | 0 | 1197.0873 | 0 | 1197.0873 | 6850.8258 | 11868.5775
2030 | 8190.4752 | 0 | 0 | 0 | 8190.4752 | 0 | 1225.8174 | 0 | 1225.8174 | 6964.6579 | 14275.5765
2031 | 8360.9326 | 0 | 0 | 0 | 8360.9326 | 0 | 1255.237 | 0 | 1255.237 | 7105.6956 | 16563.3928
2032 | 8586.7898 | 0 | 0 | 0 | 8586.7898 | 0 | 1285.3627 | 0 | 1285.3627 | 7301.4271 | 18753.4765
2033 | 8840.5501 | 0 | 0 | 0 | 8840.5501 | 0 | 1316.2114 | 0 | 1316.2114 | 7524.3387 | 20856.0912
2034 | 9053.4654 | 0 | 0 | 0 | 9053.4654 | 0 | 1347.8005 | 0 | 1347.8005 | 7705.665 | 22862.1326
2035 | 9411.1704 | 0 | 0 | 0 | 9411.1704 | 0 | 1380.1477 | 0 | 1380.1477 | 8031.0227 | 24809.9087
2036 | 9913.669 | 0 | 0 | 0 | 9913.669 | 0 | 1413.2712 | 0 | 1413.2712 | 8500.3977 | 26730.5481
2037 | 10340.9589 | 0 | 0 | 0 | 10340.9589 | 0 | 1447.1897 | 0 | 1447.1897 | 8893.7692 | 28602.656
2038 | 10954.3021 | 0 | 0 | 0 | 10954.3021 | 0 | 1481.9223 | 0 | 1481.9223 | 9472.3798 | 30460.2145
2039 | 11354.9411 | 0 | 0 | 0 | 11354.9411 | 0 | 1517.4884 | 0 | 1517.4884 | 9837.4527 | 32257.4479
NOMINAL | 188062.2828 | 15462.64 | 0 | 0 | 203524.9228 | 53427.3783 | 27205.8243 | 0 | 80633.2026 | 122891.7201
NPV: | 77667.061 | 13947.6837 | 0 | 0 | 91614.7447 | 48091.8133 | 11265.4835 | 0 | 59357.2968 | 32257.4479
In service year of gen unit: |  |  | 2019 |  |  | 1.5434
Discount rate: |  |  | 0.0734

## Sheet9(F_25)
[5 empty] | RATE IMPACT TEST | [7 empty] | PSC FORM CE 2.5
[5 empty] | PROGRAM: | Com. PV Pass TRC & Part | [6 empty] | Page 1 of 1
2026-07-28 11:42
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14)
[7 empty] | AVOIDED |  |  |  |  | NET | CUMULATIVE
| INCREASED | UTILITY |  |  |  |  | GEN UNIT | AVOIDED |  |  |  | BENEFITS | DISCOUNTED
| SUPPLY | PROGRAM |  | REVENUE | OTHER | TOTAL | UNIT & FUEL | T & D | REVENUE | OTHER | TOTAL | TO ALL | NET
| COSTS | COSTS | INCENTIVES | LOSSES | COSTS | COSTS | BENEFITS | BENEFITS | GAINS | BENEFITS | BENEFITS | CUSTOMERS | BENEFIT
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 28 | 0 | 765.7133 | 0 | 793.7133 | 365.3357 | 0 | 0 | 0 | 365.3357 | -428.3777 | -428.3777
2016 | 0 | 28.672 | 0 | 2315.1612 | 0 | 2343.8332 | 1008.9791 | 39.0104 | 0 | 0 | 1047.9895 | -1295.8437 | -1635.6105
2017 | 0 | 29.3601 | 0 | 3880.2579 | 0 | 3909.618 | 1513.9219 | 39.9466 | 0 | 0 | 1553.8686 | -2355.7494 | -3680.199
2018 | 0 | 30.0648 | 0 | 5571.2668 | 0 | 5601.3316 | 2290.8268 | 40.9054 | 0 | 0 | 2331.7322 | -3269.5994 | -6323.8844
2019 | 0 | 0 | 0 | 6546.8871 | 0 | 6546.8871 | 4860.0696 | 41.8871 | 0 | 0 | 4901.9567 | -1644.9303 | -7562.9696
2020 | 0 | 0 | 0 | 6740.7159 | 0 | 6740.7159 | 5013.7569 | 42.8924 | 0 | 0 | 5056.6493 | -1684.0666 | -8744.7895
2021 | 0 | 0 | 0 | 6859.2746 | 0 | 6859.2746 | 5204.1683 | 43.9218 | 0 | 0 | 5248.0901 | -1611.1845 | -9798.1469
2022 | 0 | 0 | 0 | 7012.5698 | 0 | 7012.5698 | 5370.7908 | 44.9759 | 0 | 0 | 5415.7668 | -1596.803 | -10770.7154
2023 | 0 | 0 | 0 | 7193.73 | 0 | 7193.73 | 5505.7885 | 46.0553 | 0 | 0 | 5551.8438 | -1641.8862 | -11702.3601
2024 | 0 | 0 | 0 | 7382.1331 | 0 | 7382.1331 | 5751.2409 | 47.1607 | 0 | 0 | 5798.4016 | -1583.7315 | -12539.5563
2025 | 0 | 0 | 0 | 7515.9062 | 0 | 7515.9062 | 6017.0879 | 48.2925 | 0 | 0 | 6065.3804 | -1450.5258 | -13253.9038
2026 | 0 | 0 | 0 | 7629.4289 | 0 | 7629.4289 | 6134.7684 | 49.4515 | 0 | 0 | 6184.2199 | -1445.209 | -13916.9643
2027 | 0 | 0 | 0 | 7729.5801 | 0 | 7729.5801 | 6283.1863 | 50.6384 | 0 | 0 | 6333.8247 | -1395.7555 | -14513.5464
2028 | 0 | 0 | 0 | 7864.4901 | 0 | 7864.4901 | 6453.7457 | 51.8537 | 0 | 0 | 6505.5994 | -1358.8908 | -15054.6543
2029 | 0 | 0 | 0 | 8047.9131 | 0 | 8047.9131 | 6778.0888 | 53.0982 | 0 | 0 | 6831.187 | -1216.726 | -15506.0221
2030 | 0 | 0 | 0 | 8190.4752 | 0 | 8190.4752 | 6938.4588 | 54.3726 | 0 | 0 | 6992.8314 | -1197.6439 | -15919.9301
2031 | 0 | 0 | 0 | 8360.9326 | 0 | 8360.9326 | 7238.7727 | 55.6775 | 0 | 0 | 7294.4502 | -1066.4824 | -16263.3047
2032 | 0 | 0 | 0 | 8586.7898 | 0 | 8586.7898 | 7532.6771 | 57.0138 | 0 | 0 | 7589.6909 | -997.0989 | -16562.3874
2033 | 0 | 0 | 0 | 8840.5501 | 0 | 8840.5501 | 7826.4184 | 58.3821 | 0 | 0 | 7884.8005 | -955.7495 | -16829.4637
2034 | 0 | 0 | 0 | 9053.4654 | 0 | 9053.4654 | 7928.8477 | 59.7833 | 0 | 0 | 7988.6309 | -1064.8345 | -17106.6757
2035 | 0 | 0 | 0 | 9411.1704 | 0 | 9411.1704 | 8505.5811 | 61.2181 | 0 | 0 | 8566.7991 | -844.3713 | -17311.4623
2036 | 0 | 0 | 0 | 9913.669 | 0 | 9913.669 | 8847.7315 | 62.6873 | 0 | 0 | 8910.4188 | -1003.2501 | -17538.1437
2037 | 0 | 0 | 0 | 10340.9589 | 0 | 10340.9589 | 9419.3936 | 64.1918 | 0 | 0 | 9483.5854 | -857.3736 | -17718.6179
2038 | 0 | 0 | 0 | 10954.3021 | 0 | 10954.3021 | 10047.1851 | 65.7324 | 0 | 0 | 10112.9175 | -841.3847 | -17883.6156
2039 | 0 | 0 | 0 | 11354.9411 | 0 | 11354.9411 | 10613.1005 | 67.31 | 0 | 0 | 10680.4104 | -674.5307 | -18006.8476
NOMINAL | 0 | 116.0969 | 0 | 188062.2828 | 0 | 188178.3797 | 153449.9221 | 1246.4585 | 0 | 0 | 154696.3806 | -33481.999
NPV: | 0 | 104.5028 | 0 | 77667.061 | 0 | 77771.5638 | 59229.9346 | 534.7815 | 0 | 0 | 59764.7162 | -18006.8476
Discount rate: |  |  | 0.0734 |  | Benefit/Cost Ratio - [col (12)/col (7)]: |  |  |  | 0.76846

## Value of Defferal
GEN: | [7 empty] | COMPUTATION OF CONSTRUCTION CASH FLOW AND PLANT |  |  |  |  | Do Not Print
COMPUTATION OF GENERATION COSTS & REV. REQUIREMENTS | [7 empty] | IN-SERVICE COSTS FOR AVOIDED TRANS & DIST PLANT
IN-SERVICE AVOIDED GEN. PLANT ($000) = |  |  |  | 10098.9412 |  |  |  | -----------------------------------------------
------------------------------------------ |  |  |  |  | GENERATION |  |  | TRAN: | Avoided Trans. = |  | 0
|  |  |  | COMPUTATION OF VALUE DEFERRAL PAYMENTS |  |  |  |  | Avoided Dist. = |  | 0 |  | TRANSMISSION & DIST.
COMPUTATION OF VALUE DEFERRAL CREDITS
|  |  |  | ip= | 0.03 | Esc. rate | [5 empty] | ip= | 0.03 | Esc. rate
| Gen |  |  | r= | 0.0734 | Disc rate |  | TRAN |  |  |  | r= | 0.0734 | Disc rate
| Offset Cost | 3 |  | l= | 25 | Econ life |  | Offset Cost |  | 3 |  | l= | 25 | Econ life
| Offset Factor | 2 |  | c= | 1 | Risk factor |  | Offset Factor |  | 1 |  | c= | 1 | Risk factor
|  |  |  | k= | 1.4625 | K factor |  | DIST |  |  |  | k= | 1.4625 | K factor
|  |  |  | Ratio= | 0.95957 | calculated ratio |  | Offset Cost |  | 4 |  | Ratio= | 0.95957 | calculated ratio
[8 empty] | Offset Factor |  | 1
|  |  |  | VALUE of DEFERRAL | [7 empty] | VALUE DEFERRAL STARTING
|  |  |  | Factor = | 0.091872 | [6 empty] | FACTOR = | 0.091872
[5 empty] | AVOIDED |  |  |  |  | TRANS | DIST |  | AVOIDED | AVOIDED
|  | CARRYING | ANNUAL | Value | GEN. |  |  |  | CARRYING | ANNUAL | ANNUAL |  | TRANS. | DIST
|  | CHARGE | REV REQ | of Def | V OF D |  |  |  | CHARGE | REV REQ | REV REQ |  | V OF D | V OF D
N | Year | % | COSTS(000) | Factors | ($000) |  | N | Year | % | COSTS(000) | COSTS(000) | Factors | ($000) | $(000)
-- | ---- | ------ | ------ | ------ | ----- |  |  |  | ------ | ------ | ------
1 | 2015 | 0 | 0 | 0 | 0 |  | 1 | 2015 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2016 | 0 | 0 | 0 | 0 |  | 2 | 2016 | 0 | 0 | 0 | 0.091872 | 0 | 0
3 | 2017 | 0 | 0 | 0 | 0 |  | 3 | 2017 | 0 | 0 | 0 | 0.094628 | 0 | 0
4 | 2018 | 0 | 0 | 0 | 0 |  | 4 | 2018 | 0 | 0 | 0 | 0.097467 | 0 | 0
5 | 2019 | 0.16963 | 1713.0663 | 0.091872 | 927.8075 |  | 5 | 2019 | 0.16963 | 0 | 0 | 0.10039 | 0 | 0
6 | 2020 | 0.16335 | 1649.6371 | 0.094628 | 955.6417 |  | 6 | 2020 | 0.16335 | 0 | 0 | 0.1034 | 0 | 0
7 | 2021 | 0.15625 | 1577.9413 | 0.097467 | 984.311 |  | 7 | 2021 | 0.15625 | 0 | 0 | 0.1065 | 0 | 0
8 | 2022 | 0.14957 | 1510.4486 | 0.10039 | 1013.8403 |  | 8 | 2022 | 0.14957 | 0 | 0 | 0.1097 | 0 | 0
9 | 2023 | 0.14326 | 1446.7377 | 0.1034 | 1044.2555 |  | 9 | 2023 | 0.14326 | 0 | 0 | 0.11299 | 0 | 0
10 | 2024 | 0.13729 | 1386.4335 | 0.1065 | 1075.5832 |  | 10 | 2024 | 0.13729 | 0 | 0 | 0.11638 | 0 | 0
11 | 2025 | 0.13155 | 1328.5068 | 0.1097 | 1107.8507 |  | 11 | 2025 | 0.13155 | 0 | 0 | 0.11987 | 0 | 0
12 | 2026 | 0.12589 | 1271.3416 | 0.11299 | 1141.0862 |  | 12 | 2026 | 0.12589 | 0 | 0 | 0.12347 | 0 | 0
13 | 2027 | 0.12023 | 1214.1765 | 0.11638 | 1175.3188 |  | 13 | 2027 | 0.12023 | 0 | 0 | 0.12717 | 0 | 0
14 | 2028 | 0.11457 | 1157.0113 | 0.11987 | 1210.5784 |  | 14 | 2028 | 0.11457 | 0 | 0 | 0.13099 | 0 | 0
15 | 2029 | 0.10891 | 1099.8461 | 0.12347 | 1246.8957 |  | 15 | 2029 | 0.10891 | 0 | 0 | 0.13492 | 0 | 0
16 | 2030 | 0.10325 | 1042.6809 | 0.12717 | 1284.3026 |  | 16 | 2030 | 0.10325 | 0 | 0 | 0.13896 | 0 | 0
17 | 2031 | 0.097586 | 985.5157 | 0.13099 | 1322.8317 |  | 17 | 2031 | 0.097586 | 0 | 0 | 0.14313 | 0 | 0
18 | 2032 | 0.091926 | 928.3505 | 0.13492 | 1362.5166 |  | 18 | 2032 | 0.091926 | 0 | 0 | 0.14743 | 0 | 0
19 | 2033 | 0.086265 | 871.1854 | 0.13896 | 1403.3921 |  | 19 | 2033 | 0.086265 | 0 | 0 | 0.15185 | 0 | 0
20 | 2034 | 0.081285 | 820.8966 | 0.14313 | 1445.4939 |  | 20 | 2034 | 0.081285 | 0 | 0 | 0.15641 | 0 | 0
21 | 2035 | 0.077667 | 784.3585 | 0.14743 | 1488.8587 |  | 21 | 2035 | 0.077667 | 0 | 0 | 0.1611 | 0 | 0
22 | 2036 | 0.07473 | 754.6944 | 0.15185 | 1533.5244 |  | 22 | 2036 | 0.07473 | 0 | 0 | 0.16593 | 0 | 0
23 | 2037 | 0.071793 | 725.0304 | 0.15641 | 1579.5302 |  | 23 | 2037 | 0.071793 | 0 | 0 | 0.17091 | 0 | 0
24 | 2038 | 0.068855 | 695.3664 | 0.1611 | 1626.9161 |  | 24 | 2038 | 0.068855 | 0 | 0 | 0.17604 | 0 | 0
25 | 2039 | 0.065918 | 665.7023 | 0.16593 | 1675.7236 |  | 25 | 2039 | 0.065918 | 0 | 0 | 0.18132 | 0 | 0
26 | 2040 | 0.062981 | 636.0383 | 0.17091 | 1725.9953 |  | 26 | 2040 | 0.062981 | 0 | 0 | 0.18676 | 0 | 0
27 | 2041 | 0.060043 | 606.3743 | 0.17604 | 1777.7751 |  | 27 | 2041 | 0.060043 | 0 | 0 | 0 | 0 | 0
28 | 2042 | 0.057106 | 576.7103 | 0.18132 | 1831.1084 |  | 28 | 2042 | 0.057106 | 0 | 0 | 0 | 0 | 0
29 | 2043 | 0.054169 | 547.0462 | 0.18676 | 1886.0416 |  | 29 | 2043 | 0.054169 | 0 | 0 | 0 | 0 | 0
30 | 2044 | 0 | 0 | 0 | 0 |  | 30 | 2044 | 0 | 0 | 0 | 0 | 0 | 0
31 | 2045 | 0 | 0 | 0 | 0 |  | 31 | 2045 | 0 | 0 | 0 | 0 | 0 | 0
32 | 2046 | 0 | 0 | 0 | 0 |  | 32 | 2046 | 0 | 0 | 0 | 0 | 0 | 0
33 | 2047 | 0 | 0 | 0 | 0 |  | 33 | 2047 | 0 | 0 | 0 | 0 | 0 | 0
34 | 2048 | 0 | 0 | 0 | 0 |  | 34 | 2048 | 0 | 0 | 0 | 0 | 0 | 0
35 | 2049 | 0 | 0 | 0 | 0 |  | 35 | 2049 | 0 | 0 | 0 | 0 | 0 | 0
36 | 2050 | 0 | 0 | 0 | 0 |  | 36 | 2050 | 0 | 0 | 0 | 0 | 0 | 0
37 | 2051 | 0 | 0 | 0 | 0 |  | 37 | 2051 | 0 | 0 | 0 | 0 | 0 | 0
38 | 2052 | 0 | 0 | 0 | 0 |  | 38 | 2052 | 0 | 0 | 0 | 0 | 0 | 0
39 | 2053 | 0 | 0 | 0 | 0 |  | 39 | 2053 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | ----- |  | ----- |  |  |  |  | ----- |  |  | ----
|  | NOMINAL | 25995.0971 |  | 33827.1791 |  |  |  | NOMINAL | 0 |  |  | 0
|  | NPV | 11128.2234 |  | 11125.6491 |  |  |  | NPV | 0 |  |  | 0