## Input
Answer questions 1 thru 16 to complete evaluation. Press RUN for results. (See Title & Results). |  |  |  | Do Not Print this page
1 | Program Title | Res. PV Pass TRC _Part
2 | Demand & Energy Savings
| Winter kW | 1.053
| Summer kW | 2.325
| kWh | 11236
3 | Switch (1=Conservation, 0=Load Management) | 1
4 | Switch (1=Residential, 0=Commercial) | 1
ADJUSTED
5 | Participation | Annual |  |  |  | Cumulative | CUMULATIVE
|  | Total Partic. |  |  |  | Total Partic. | PARTICIPATING
| YEAR | Customers |  |  | YEAR | Customers | CUSTOMERS
| 2015 | 1000 |  |  | 2015 | 1000 | 1000
| 2016 | 1000 |  |  | 2016 | 2000 | 2000
| 2017 | 1000 |  |  | 2017 | 3000 | 3000
| 2018 | 1000 |  |  | 2018 | 4000 | 4000
| 2019 | 0 |  |  | 2019 | 4000 | 4000
| 2020 | 0 |  |  | 2020 | 4000 | 4000
| 2021 | 0 |  |  | 2021 | 4000 | 4000
| 2022 | 0 |  |  | 2022 | 4000 | 4000
| 2023 | 0 |  |  | 2023 | 4000 | 4000
| 2024 | 0 |  |  | 2024 | 4000 | 4000
| 2025 | 0 |  |  | 2025 | 4000 | 4000
| 2026 | 0 |  |  | 2026 | 4000 | 4000
| 2027 | 0 |  |  | 2027 | 4000 | 4000
| 2028 | 0 |  |  | 2028 | 4000 | 4000
| 2029 | 0 |  |  | 2029 | 4000 | 4000
[5 empty] | 2030 | 4000 | 4000
[5 empty] | 2031 | 4000 | 4000
6 | Free Riders | 0% |  |  | 2032 | 4000 | 4000
7 | Study Period for Conservation Program | 25 | Years |  | 2033 | 4000 | 4000
8 | Utility Non Recurring Cost Per Customer | 28 | $/CUST |  | 2034 | 4000 | 4000
9 | Utility Recurring Cost Per Customer (Load Management) | 0 | $/CUST/YR |  | 2035 | 4000 | 4000
10 | Customer Equipment Cost | 8451.87 | $/CUST |  | 2036 | 4000 | 4000
11 | Customer O & M Cost | 140 | $/CUST/YR |  | 2037 | 4000 | 4000
12 | Customer Tax Credit Per Installation | 2535.56 | $/CUST |  | 2038 | 4000 | 4000
13 | Increased Supply Costs | 0 | $/CUST/YR |  | 2039 | 4000 | 4000
14 | Utility Non Recurring Rebate/Incentive | 0 | $/CUST |  | 2040 | 4000 | 4000
15 | Utility Recurring Rebate/Incentive (Load Management) | 0 | $/CUST/YR
16 | Diversity and Annual Demand | N/A
| Adjustment Factor for Customer Bill: | 1
See Participation C,D,E,F 73
See Participation F_22 F5,6

## Title_RESULTS
Residential
|  | INPUT DATA - PART 1 |  |  |  | PSC FORM CE 1.1 | [7 empty] | <= INPUT % FREE RIDERS; | Summer EUE | 0.686 | LOLP CALC | Forced Outage Rate | 0.034 | 0.966
|  | PROGRAM TITLE: | Res. PV Pass TRC _Part |  |  | PAGE 1 OF 1 | [7 empty] | THEN PARTICIPANTS IN COL. (1). | Winter EUE | 0.314 | PERCENT RED: | Line Loss | 0.066 | 0.934
[6 empty] | RUN DATE: | 2026-07-30 05:56 | [10 empty] | Multiplier (see U4) | 0.90224
| PROGRAM DEMAND SAVINGS & LINE LOSSES |  |  |  | AVOIDED GENERATOR, TRANS. & DIST COSTS | [12 empty] | Commercial
I. | (1) CUSTOMER KW REDUCTION AT THE METER | 2.325 | KW /CUST | IV. | (1) BASE YEAR | 2015 | [11 empty] | Forced Outage Rate | 0.034 | 0.966
I. | (2) GENERATOR KW REDUCTION PER CUSTOMER | 2.1342 | KW GEN/CUST | IV. | (2) IN-SERVICE YEAR FOR AVOIDED GENERATING UNIT | 2019 | [11 empty] | Line Loss | 0.065 | 0.935
I. | (3) KW LINE LOSS PERCENTAGE | 7.3 | % | IV. | (3) IN-SERVICE YEAR FOR AVOIDED T & D | 2016 |  | 2.1342 | Residential | [8 empty] | Multiplier (see U4) | 0.90321
I. | (4) GENERATION KWH REDUCTION PER CUSTOMER | 11902.5424 | KWH/CUST/YR | IV. | (4) BASE YEAR AVOIDED GENERATING UNIT COST | 650.64 | $/KW | 2.1319 | Commercial
I. | (5) KWH LINE LOSS PERCENTAGE | 5.6 | % | IV. | (5) BASE YEAR AVOIDED TRANSMISSION COST | 0 | $/KW |  |  |  |  | Gen KW
I. | (6) GROUP LINE LOSS MULTIPLIER | 1 |  | IV. | (6) BASE YEAR DISTRIBUTION COST | 0 | $/KW |  |  |  | Residential | Commercial
I. | (7) CUSTOMER KWH PROGRAM INCREASE AT METER | 0 | KWH/CUST/YR | IV. | (7) GEN, TRAN, & DIST COST ESCALATION RATE | 3 | % |  |  | kW | 7.3 | 7% | 7%
I. | (8)* CUSTOMER KWH REDUCTION AT METER | 11236 | KWH/CUST/YR | IV. | (8) GENERATOR FIXED O & M COST | 11.95 | $/KW/YR
|  |  |  | IV. | (9) GENERATOR FIXED O&M ESCALATION RATE | 2.4 | % |  |  | kWh | 5.6 | 5.2% | 5.2%
| ECONOMIC LIFE & K FACTORS |  |  | IV. | (10) TRANSMISSION FIXED O & M COST | 2.92 | $/KW/YR
II. | (1) STUDY PERIOD FOR CONSERVATION PROGRAM | 25 | YEARS | IV. | (11) DISTRIBUTION FIXED O & M COST | 11.69 | $/KW/YR
II. | (2) GENERATOR ECONOMIC LIFE | 25 | YEARS | IV. | (12) T&D FIXED O&M ESCALATION RATE | 2.4 | %
II. | (3) T & D ECONOMIC LIFE | 25 | YEARS | IV. | (13) AVOIDED GEN UNIT VARIABLE O & M COSTS | 0.18 | CENTS/KWH
II. | (4) K FACTOR FOR GENERATION | 1.4625 |  | IV. | (14) GENERATOR VARIABLE O&M COST ESCALATION RATE | 2.4 | %
II. | (5) K FACTOR FOR T & D | 1.4625 |  | IV. | (15) GENERATOR CAPACITY FACTOR | 13.2 | %
| (6)* SWITCH REV REQ(0) OR VAL-OF-DEF (1) | 0 |  | IV. | (16) AVOIDED GENERATING UNIT FUEL COST | 4.56 | CENTS/KWH
|  |  |  | IV. | (17) AVOIDED GEN UNIT FUEL ESCALATION RATE | 5.21 | %
|  |  |  | IV. | (18)* AVOIDED PURCHASE CAPACITY COST PER KW | 0 | $/KW/YR
| UTILITY & CUSTOMER COSTS |  |  | IV. | (19)* CAPACITY COST ESCALATION RATE | 0 | %
III. | (1) UTILITY NONRECURRING COST PER CUSTOMER | 28 | $/CUST
III. | (2) UTILITY RECURRING COST PER CUSTOMER | 0 | $/CUST/YR
III. | (3) UTILITY COST ESCALATION RATE | 2.4 | % |  |  |  |  | Non-Fuel | Res
III. | (4) CUSTOMER EQUIPMENT COST | 8451.87 | $/CUST |  | NON-FUEL ENERGY AND DEMAND CHARGES |  |  | Base Rate | 4.598
III. | (5) CUSTOMER EQUIPMENT ESCALATION RATE | 2.4 | % | V. | (1) NON-FUEL COST IN CUSTOMER BILL | 5.578 | CENTS/KWH | Fuel
III. | (6) CUSTOMER O & M COST | 140 | $/CUST/YR | V. | (2) NON-FUEL ESCALATION RATE | 1 | % | ECCR | 0.295
III. | (7) CUSTOMER O & M ESCALATION RATE | 2.4 | % | V. | (3) CUSTOMER DEMAND CHARGE PER KW | 0 | $/KW/MO | Capacity | 0.202
III. | (8)* CUSTOMER TAX CREDIT PER INSTALLATION | 2535.56 | $/CUST | V. | (4) DEMAND CHARGE ESCALATION RATE | 1 | % | ECRC | 0.483
III. | (9)* CUSTOMER TAX CREDIT ESCALATION RATE | 0 | % | V. | (5)* DIVERSITY and ANNUAL DEMAND ADJUSTMENT |  |  | 2.5959 | 5.578
III. | (10)* INCREASED SUPPLY COSTS | 0 | $/CUST/YR |  | FACTOR FOR CUSTOMER BILL | 1 |  | 9.64
III. | (11)* SUPPLY COSTS ESCALATION RATE | 0 | %
III. | (12)* UTILITY DISCOUNT RATE | 0.0734
III. | (13)* UTILITY AFUDC RATE | 0.0645 |  |  | CALCULATED BENEFITS AND COSTS
III. | (14)* UTILITY NON RECURRING REBATE/INCENTIVE | 0 | $/CUST |  | (1)* TRC TEST - BENEFIT/COST RATIO | 1.0052
III. | (15)* UTILITY RECURRING REBATE/INCENTIVE | 0 | $/CUST/YR |  | (2)* PARTICIPANT NET BENEFITS (NPV) | 1.6178
III. | (16)* UTILITY REBATE/INCENTIVE ESCAL RATE | 0 | % |  | (3)* RIM TEST - BENEFIT/COST RATIO | 0.72758
END OF EDITING AREA
YEARLY INPUT DATA: GO TO H5..Q76 & INPUT (Page 2)
PLEASE NOTE: UTILITY NON-LEVELIZED REVENUE REQUIREMENT
FACTORS AT RANGE NAMES GEN_RRTBL AND TRAN_RRTBL.

## Partcipation
[6 empty] | See N16 for Rev Requirements |  | Do Not Print
PROGRAM TITLE:
2026-07-30 05:56
VI. YEARLY INPUT DATA
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) |  |  | Generation
[14 empty] | Comb. Cycle | Tran & Dist
|  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK |  |  | Rev Reqm't | Rev Reqm't
| CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER |  |  |  | FACTORS | FACTORS
| TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR | [5 empty] | ---- | ----
|  |  | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
2015 | 1000 | 1000 | 3.92 | 4.03 | 0 | 3.92 | 1 | 1 | 0 | 0 | 0 |  | 2019 | 0.16963 | 0.16963
2016 | 2000 | 2000 | 3.94 | 3.71 | 0 | 3.94 | 1 | 1 | 0 | 0 | 0 |  | 2020 | 0.16335 | 0.16335
2017 | 3000 | 3000 | 3.94 | 3.34 | 0 | 3.94 | 1 | 1 | 0 | 0 | 0 |  | 2021 | 0.15625 | 0.15625
2018 | 4000 | 4000 | 4.12 | 3.61 | 0 | 4.12 | 1 | 1 | 0 | 0 | 0 |  | 2022 | 0.14957 | 0.14957
2019 | 4000 | 4000 | 4.33 | 3.8 | 0 | 4.33 | 1 | 1 | 0 | 0 | 0 |  | 2023 | 0.14326 | 0.14326
2020 | 4000 | 4000 | 4.56 | 4.08 | 0 | 4.56 | 1 | 1 | 0 | 0 | 0 |  | 2024 | 0.13729 | 0.13729
2021 | 4000 | 4000 | 4.68 | 4.4 | 0 | 4.7 | 1 | 1 | 0 | 0 | 0 |  | 2025 | 0.13155 | 0.13155
2022 | 4000 | 4000 | 4.85 | 4.68 | 0 | 4.85 | 1 | 1 | 0 | 0 | 0 |  | 2026 | 0.12589 | 0.12589
2023 | 4000 | 4000 | 5.06 | 4.92 | 0 | 5.06 | 1 | 1 | 0 | 0 | 0 |  | 2027 | 0.12023 | 0.12023
2024 | 4000 | 4000 | 5.28 | 5.31 | 0 | 5.3 | 1 | 1 | 0 | 0 | 0 |  | 2028 | 0.11457 | 0.11457
2025 | 4000 | 4000 | 5.42 | 5.7 | 0 | 5.44 | 1 | 1 | 0 | 0 | 0 |  | 2029 | 0.10891 | 0.10891
2026 | 4000 | 4000 | 5.53 | 5.87 | 0 | 5.53 | 1 | 1 | 0 | 0 | 0 |  | 2030 | 0.10325 | 0.10325
2027 | 4000 | 4000 | 5.62 | 6.08 | 0 | 5.63 | 1 | 1 | 0 | 0 | 0 |  | 2031 | 0.097586 | 0.097586
2028 | 4000 | 4000 | 5.76 | 6.32 | 0 | 5.75 | 1 | 1 | 0 | 0 | 0 |  | 2032 | 0.091926 | 0.091926
2029 | 4000 | 4000 | 5.97 | 6.79 | 0 | 5.98 | 1 | 1 | 0 | 0 | 0 |  | 2033 | 0.086265 | 0.086265
2030 | 4000 | 4000 | 6.12 | 7.01 | 0 | 6.12 | 1 | 1 | 0 | 0 | 0 |  | 2034 | 0.081285 | 0.081285
2031 | 4000 | 4000 | 6.31 | 7.43 | 0 | 6.32 | 1 | 1 | 0 | 0 | 0 |  | 2035 | 0.077667 | 0.077667
2032 | 4000 | 4000 | 6.58 | 7.85 | 0 | 6.59 | 1 | 1 | 0 | 0 | 0 |  | 2036 | 0.07473 | 0.07473
2033 | 4000 | 4000 | 6.89 | 8.27 | 0 | 6.89 | 1 | 1 | 0 | 0 | 0 |  | 2037 | 0.071793 | 0.071793
2034 | 4000 | 4000 | 7.14 | 8.4 | 0 | 7.14 | 1 | 1 | 0 | 0 | 0 |  | 2038 | 0.068855 | 0.068855
2035 | 4000 | 4000 | 7.6 | 9.2 | 0 | 7.59 | 1 | 1 | 0 | 0 | 0 |  | 2039 | 0.065918 | 0.065918
2036 | 4000 | 4000 | 8.27 | 9.71 | 0 | 8.28 | 1 | 1 | 0 | 0 | 0 |  | 2040 | 0.062981 | 0.062981
2037 | 4000 | 4000 | 8.83 | 10.5 | 0 | 8.83 | 1 | 1 | 0 | 0 | 0 |  | 2041 | 0.060043 | 0.060043
2038 | 4000 | 4000 | 9.66 | 11.42 | 0 | 9.67 | 1 | 1 | 0 | 0 | 0 |  | 2042 | 0.057106 | 0.057106
2039 | 4000 | 4000 | 10.18 | 12.18 | 0 | 10.19 | 1 | 1 | 0 | 0 | 0 |  | 2043 | 0.054169 | 0.054169
2040 | 4000 | 4000 | 10.73 | 12.76 | 0 | 10.74 | 1 | 1 | 0 | 0 | 0 |  | 2044 | 0 | 0
2041 | 0 | 0 | 11.53 | 13.56 | 0 | 11.54 | 1 | 1 | 0 | 0 | 0 |  | 2045 | 0 | 0
2042 | 0 | 0 | 12.07 | 14.01 | 0 | 12.07 | 1 | 1 | 0 | 0 | 0 |  | 2046 | 0 | 0
2043 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |  | 2047 | 0 | 0
2044 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |  | 2048 | 0 | 0
2045 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |  | 2049 | 0 | 0
2046 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2047 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2048 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2049 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2
1
Unit Size of Avoided Generation Unit | (2): 8537
|  | (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
|  |  | ADJUSTED |  | REDUCED KWH | USED KWH | REPLACE. | PROGRAM | PROGRAM |  |  | BLANK
|  | CUMULATIVE | CUMULATIVE | UTIL AVG | PROGRAM | PROGRAM | FUEL COST | KW | KWH | OTHER | OTHER
|  | TOTAL PARTIC. | PARTICIPATING | SYS. FUEL | MARGINAL | MARGINAL | OF AVOIDED | EFFECTIVENESS | EFFECTIVENESS | COSTS | BENEFITS
| YEAR | CUSTOMERS | CUSTOMERS | ADJ. COST | FUEL COST | FUEL COST | GENERATOR | FACTOR | FACTOR
|  |  | 0 | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | P.U./KW | P.U./KWH | ($000) | ($000) | (C/KWH)
| 2015 | 1000 | 1000 | 3.92 | 4.03 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2016 | 2000 | 2000 | 3.94 | 3.71 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2017 | 3000 | 3000 | 3.94 | 3.34 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2018 | 4000 | 4000 | 4.12 | 3.61 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2019 | 4000 | 4000 | 4.33 | 3.8 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2020 | 4000 | 4000 | 4.56 | 4.08 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2021 | 4000 | 4000 | 4.68 | 4.4 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2022 | 4000 | 4000 | 4.85 | 4.68 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2023 | 4000 | 4000 | 5.06 | 4.92 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2024 | 4000 | 4000 | 5.28 | 5.31 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2025 | 4000 | 4000 | 5.42 | 5.7 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2026 | 4000 | 4000 | 5.53 | 5.87 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2027 | 4000 | 4000 | 5.62 | 6.08 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2028 | 4000 | 4000 | 5.76 | 6.32 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2029 | 4000 | 4000 | 5.97 | 6.79 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2030 | 4000 | 4000 | 6.12 | 7.01 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2031 | 4000 | 4000 | 6.31 | 7.43 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2032 | 4000 | 4000 | 6.58 | 7.85 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2033 | 4000 | 4000 | 6.89 | 8.27 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2034 | 4000 | 4000 | 7.14 | 8.4 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2035 | 4000 | 4000 | 7.6 | 9.2 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2036 | 4000 | 4000 | 8.27 | 9.71 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2037 | 4000 | 4000 | 8.83 | 10.5 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2038 | 4000 | 4000 | 9.66 | 11.42 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2039 | 4000 | 4000 | 10.18 | 12.18 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2040 | 4000 | 4000 | 10.73 | 12.76 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2041 | 0 | 0 | 11.53 | 13.56 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2042 | 0 | 0 | 12.07 | 14.01 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2043 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2044 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2045 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2046 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2047 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2048 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2049 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2050 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2051 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2052 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| 2053 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0

## f-11B
|  | CALCULATION OF AFUDC AND IN-SERVICE COST OF PLANT | [7 empty] | PSC FORM CE 1.1B
|  |  |  | PLANT: | 2019 | Avoided Unit |  |  |  | PAGE 1 OF 1
2026-07-30 05:56
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
| NO. YEARS | PLANT | CUMULATIVE |  |  | CUMULATIVE | CUMULATIVE | YEARLY | INCREMENTAL | CUMULATIVE | <-- INPUTS FOR OTHER COSTS & BENEFITS - EXTERNALLY CALC., FORMS 2.3, 2.4, & 2.5 -->
| BEFORE | ESCALATION | ESCALATION | YEARLY | ANNUAL | AVERAGE | SPENDING | TOTAL | YEAR-END | YEAR-END |  | (1) | (2) | (3) | (4) | (5) | (6)
| INSERVICE | RATE | FACTOR | EXPENDITURE | SPENDING | SPENDING | WITH AFUDC | AFUDC | BOOK VALUE | BOOK VALUE |  | (1): <-- FORM 2.3 --->; (3): <---- FORM 2.4 --->; (5): <---- FORM 2.5 ---->
YEAR |  | (%) |  | (%) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | ($/KW) | YEAR | OTHER COST | OTHER BEN | OTH COST | OTHER BENEFITS | COSTS | BENEFITS
2009 | [11 empty] | ($000) | ($000) | ($000) | ($000) | ($000) | ($000)
2010 | [10 empty] | 2015 | 0 | 0 | 0 | 0 | 0 | 0
2011 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2016 | 0 | 0 | 0 | 0 | 0 | 0
2012 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0
2013 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0
2014 | -7 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0
2015 | -6 | 0.024 | 1.024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020 | 0 | 0 | 0 | 0 | 0 | 0
2016 | -5 | 0.024 | 1.0486 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2021 | 0 | 0 | 0 | 0 | 0 | 0
2017 | -4 | 0.024 | 1.0737 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022 | 0 | 0 | 0 | 0 | 0 | 0
2018 | -3 | 0.024 | 1.0995 | 0 | 0 | 0 | 0 |  | 0 | 0 | 2023 | 0 | 0 | 0 | 0 | 0 | 0
2019 | -2 | 0.024 | 1.1259 | 0.755 | 557.77 | 540.3366 | 557.77 | 17.4334 | 557.77 | 557.77 | 2024 | 0 | 0 | 0 | 0 | 0 | 0
2020 | -1 | 0.024 | 1.1529 | 0.24 | 216.2732 | 175.7512 | 216.2732 | 40.522 | 216.2732 | 774.0432 | 2025 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 0 | 0.022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2026 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2027 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2028 | 0 | 0 | 0 | 0 | 0 | 0
IN-SERVICE YEAR = |  | 2019 | [6 empty] | 774.0432 |  | 2029 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2030 | 0 | 0 | 0 | 0 | 0 | 0
PLANT COSTS (2013$) |  | 650.64 | [8 empty] | 2031 | 0 | 0 | 0 | 0 | 0 | 0
AFUDC RATE: |  | 6.45% | [8 empty] | 2032 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2033 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2034 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2035 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2036 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2037 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2038 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2039 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2040 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2041 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2042 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2043 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2044 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2045 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2046 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2047 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2048 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2049 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2050 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2051 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 2052 | 0 | 0 | 0 | 0 | 0 | 0
PSC FORM CE 1.1
PAGE 1 OF 1 | bar: (2)
[11 empty] | Run date: | (1): 37062
[12 empty] | 37062.5552 | *
*

## Sheet3(F_21)
|  |  | AVOIDED GENERATION UNIT BENEFITS | [5 empty] | PSC FORM CE 2.1
|  |  | PROGRAM: | Res. PV Pass TRC _Part |  |  |  |  | Page 1 of 1
2026-07-30 05:56
|  | * UNIT SIZE OF AVOIDED GENERATION UNIT = |  |  |  | 8537 | KW
|  | * INSERVICE COSTS OF AVOIDED GEN. UNIT (000) = |  |  |  | 6608.0065
(1) | (1A)* | (2) | (2A)* | (3) | (4) | (5) | (6) | (6A)* | (7)
|  | AVOIDED | AVOIDED | AVOIDED | AVOIDED | AVOIDED |  | AVOIDED
| REVENUE | GEN UNIT | ANNUAL | UNIT | GEN UNIT | GEN UNIT |  | PURCHASED | AVOIDED
| REQUIREMENT | CAPACITY | UNIT | FIXED | VARIABLE | FUEL | REPLACEMENT | CAPACITY | GEN UNIT
| FACTOR | COST | KWH GEN | O&M COST | O&M COST | COST | FUEL COST | COSTS | BENEFITS
YEAR |  | $(000) | (000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019 | 0.16963 | 1120.905 | 9871.3897 | 112.1677 | 19.5367 | 551.5326 | 427.4312 | 0 | 1376.7109
2020 | 0.16335 | 1079.4016 | 9871.3897 | 114.8598 | 20.0056 | 580.2675 | 450.1354 | 0 | 1344.399
2021 | 0.15625 | 1032.4891 | 9871.3897 | 117.6164 | 20.4857 | 610.4994 | 463.9553 | 0 | 1317.1353
2022 | 0.14957 | 988.3268 | 9871.3897 | 120.4392 | 20.9773 | 642.3065 | 478.7624 | 0 | 1293.2874
2023 | 0.14326 | 946.639 | 9871.3897 | 123.3297 | 21.4808 | 675.7706 | 499.4923 | 0 | 1267.7279
2024 | 0.13729 | 907.1804 | 9871.3897 | 126.2897 | 21.9963 | 710.9783 | 523.1837 | 0 | 1243.261
2025 | 0.13155 | 869.2774 | 9871.3897 | 129.3206 | 22.5243 | 748.0202 | 537.0036 | 0 | 1232.1389
2026 | 0.12589 | 831.8727 | 9871.3897 | 132.4243 | 23.0648 | 786.9921 | 545.8879 | 0 | 1228.4661
2027 | 0.12023 | 794.468 | 9871.3897 | 135.6025 | 23.6184 | 827.9944 | 555.7592 | 0 | 1225.924
2028 | 0.11457 | 757.0633 | 9871.3897 | 138.8569 | 24.1852 | 871.1329 | 567.6049 | 0 | 1223.6335
2029 | 0.10891 | 719.6586 | 9871.3897 | 142.1895 | 24.7657 | 916.5189 | 590.3091 | 0 | 1212.8236
2030 | 0.10325 | 682.2539 | 9871.3897 | 145.6021 | 25.3601 | 964.2695 | 604.1291 | 0 | 1213.3565
2031 | 0.097586 | 644.8492 | 9871.3897 | 149.0965 | 25.9687 | 1014.508 | 623.8718 | 0 | 1210.5506
2032 | 0.091926 | 607.4445 | 9871.3897 | 152.6748 | 26.5919 | 1067.3639 | 650.5246 | 0 | 1203.5506
2033 | 0.086265 | 570.0398 | 9871.3897 | 156.339 | 27.2301 | 1122.9735 | 680.1388 | 0 | 1196.4437
2034 | 0.081285 | 537.1346 | 9871.3897 | 160.0912 | 27.8837 | 1181.4804 | 704.8172 | 0 | 1201.7726
2035 | 0.077667 | 513.2267 | 9871.3897 | 163.9333 | 28.5529 | 1243.0356 | 749.2385 | 0 | 1199.51
2036 | 0.07473 | 493.8167 | 9871.3897 | 167.8677 | 29.2382 | 1307.7977 | 817.3511 | 0 | 1181.3692
2037 | 0.071793 | 474.4067 | 9871.3897 | 171.8966 | 29.9399 | 1375.934 | 871.6437 | 0 | 1180.5334
2038 | 0.068855 | 454.9968 | 9871.3897 | 176.0221 | 30.6584 | 1447.6201 | 954.5634 | 0 | 1154.734
2039 | 0.065918 | 435.5868 | 9871.3897 | 180.2466 | 31.3942 | 1523.0411 | 1005.8946 | 0 | 1164.3742
NOMINAL |  | 15461.0377 | 207299.1846 | 3016.8663 | 525.4588 | 20170.0373 | 13301.6977 | 0 | 25871.7025
NPV |  | 7042.745 |  | 1153.3375 | 200.8811 | 7192.7054 | 4889.4045 | 0 | 10700.2645
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet5(p_5)
| * WORKSHEET : DSM PROGRAM FUEL SAVINGS |  |  |  | WORKSHEET FOR FORM CE 2.2
| PROGRAM: | Res. PV Pass TRC _Part |  |  | Page 1 of 1
2026-07-30 05:56
(1) | (2) | (3) | (4) | (5) | (6) | (7)
| REDUCTION |  | INCREASE |  | NET
| IN KWH | AVOIDED | IN KWH | INCREASED | AVOIDED | EFFECTIVE
| GENERATION | MARGINAL | GENERATION | MARGINAL | PROGRAM | PROGRAM
| NET NEW CUST | FUEL COST - | NET NEW CUST | FUEL COST - | FUEL | FUEL
| KWH | REDUCED KWH | KWH | INCREASE KWH | SAVINGS | SAVINGS
YEAR | (000) | $(000) | (000) | $(000) | $(000) | $(000)
2015 | 5951.2712 | 239.8362 | 74.1525 | 0 | 239.8362 | 239.8362
2016 | 17853.8136 | 662.3765 | 222.4576 | 0 | 662.3765 | 662.3765
2017 | 29756.3559 | 993.8623 | 370.7627 | 0 | 993.8623 | 993.8623
2018 | 41658.8983 | 1503.8862 | 519.0678 | 0 | 1503.8862 | 1503.8862
2019 | 47610.1695 | 1809.1864 | 593.2203 | 0 | 1809.1864 | 1809.1864
2020 | 47610.1695 | 1942.4949 | 593.2203 | 0 | 1942.4949 | 1942.4949
2021 | 47610.1695 | 2094.8475 | 593.2203 | 0 | 2094.8475 | 2094.8475
2022 | 47610.1695 | 2228.1559 | 593.2203 | 0 | 2228.1559 | 2228.1559
2023 | 47610.1695 | 2342.4203 | 593.2203 | 0 | 2342.4203 | 2342.4203
2024 | 47610.1695 | 2528.1 | 593.2203 | 0 | 2528.1 | 2528.1
2025 | 47610.1695 | 2713.7797 | 593.2203 | 0 | 2713.7797 | 2713.7797
2026 | 47610.1695 | 2794.7169 | 593.2203 | 0 | 2794.7169 | 2794.7169
2027 | 47610.1695 | 2894.6983 | 593.2203 | 0 | 2894.6983 | 2894.6983
2028 | 47610.1695 | 3008.9627 | 593.2203 | 0 | 3008.9627 | 3008.9627
2029 | 47610.1695 | 3232.7305 | 593.2203 | 0 | 3232.7305 | 3232.7305
2030 | 47610.1695 | 3337.4729 | 593.2203 | 0 | 3337.4729 | 3337.4729
2031 | 47610.1695 | 3537.4356 | 593.2203 | 0 | 3537.4356 | 3537.4356
2032 | 47610.1695 | 3737.3983 | 593.2203 | 0 | 3737.3983 | 3737.3983
2033 | 47610.1695 | 3937.361 | 593.2203 | 0 | 3937.361 | 3937.361
2034 | 47610.1695 | 3999.2542 | 593.2203 | 0 | 3999.2542 | 3999.2542
2035 | 47610.1695 | 4380.1356 | 593.2203 | 0 | 4380.1356 | 4380.1356
2036 | 47610.1695 | 4622.9475 | 593.2203 | 0 | 4622.9475 | 4622.9475
2037 | 47610.1695 | 4999.0678 | 593.2203 | 0 | 4999.0678 | 4999.0678
2038 | 47610.1695 | 5437.0814 | 593.2203 | 0 | 5437.0814 | 5437.0814
2039 | 47610.1695 | 5798.9186 | 593.2203 | 0 | 5798.9186 | 5798.9186
NOMINAL | 1095033.8983 | 74777.1273 | 13644.0678 | 0 | 74777.1273 | 74777.1273
NPV: |  | 28146.6988 |  | 0 | 28146.6988 | 28146.6988
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet2(F_12)
|  |  | INPUT DATA -- PART 2 | [5 empty] | PSC FORM CE 1.2
|  |  | PROGRAM: | Res. PV Pass TRC _Part |  |  |  |  | PAGE 1 OF 1
2026-07-30 05:56
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
UTILITY
AVERAGE
| CUMULATIVE | ADJUSTED | SYSTEM | AVOIDED | INCREASED |  | PROGRAM | PROGRAM | OTHER | OTHER
| TOTAL | CUMULATIVE | FUEL | MARGINAL | MARGINAL | REPLACEMENT | KW | KWH | COSTS | BENEFITS
| PARTICIPATING | PARTICIPATING | COSTS | FUEL COST | FUEL COST | FUEL COST | EFFECTIVENESS | EFFECTIVENESS |  | (CO2)
YEAR | CUSTOMERS | CUSTOMERS | (C/KWH) | (C/KWH) | (C/KWH) | (C/KWH) | FACTOR | FACTOR | ($000) | ($000)
2015 | 1000 | 1000 | 3.92 | 4.03 | 0 | 3.92 | 1 | 1 | 0 | 0
2016 | 2000 | 2000 | 3.94 | 3.71 | 0 | 3.94 | 1 | 1 | 0 | 0
2017 | 3000 | 3000 | 3.94 | 3.34 | 0 | 3.94 | 1 | 1 | 0 | 0
2018 | 4000 | 4000 | 4.12 | 3.61 | 0 | 4.12 | 1 | 1 | 0 | 0
2019 | 4000 | 4000 | 4.33 | 3.8 | 0 | 4.33 | 1 | 1 | 0 | 0
2020 | 4000 | 4000 | 4.56 | 4.08 | 0 | 4.56 | 1 | 1 | 0 | 0
2021 | 4000 | 4000 | 4.68 | 4.4 | 0 | 4.7 | 1 | 1 | 0 | 0
2022 | 4000 | 4000 | 4.85 | 4.68 | 0 | 4.85 | 1 | 1 | 0 | 0
2023 | 4000 | 4000 | 5.06 | 4.92 | 0 | 5.06 | 1 | 1 | 0 | 0
2024 | 4000 | 4000 | 5.28 | 5.31 | 0 | 5.3 | 1 | 1 | 0 | 0
2025 | 4000 | 4000 | 5.42 | 5.7 | 0 | 5.44 | 1 | 1 | 0 | 0
2026 | 4000 | 4000 | 5.53 | 5.87 | 0 | 5.53 | 1 | 1 | 0 | 0
2027 | 4000 | 4000 | 5.62 | 6.08 | 0 | 5.63 | 1 | 1 | 0 | 0
2028 | 4000 | 4000 | 5.76 | 6.32 | 0 | 5.75 | 1 | 1 | 0 | 0
2029 | 4000 | 4000 | 5.97 | 6.79 | 0 | 5.98 | 1 | 1 | 0 | 0
2030 | 4000 | 4000 | 6.12 | 7.01 | 0 | 6.12 | 1 | 1 | 0 | 0
2031 | 4000 | 4000 | 6.31 | 7.43 | 0 | 6.32 | 1 | 1 | 0 | 0
2032 | 4000 | 4000 | 6.58 | 7.85 | 0 | 6.59 | 1 | 1 | 0 | 0
2033 | 4000 | 4000 | 6.89 | 8.27 | 0 | 6.89 | 1 | 1 | 0 | 0
2034 | 4000 | 4000 | 7.14 | 8.4 | 0 | 7.14 | 1 | 1 | 0 | 0
2035 | 4000 | 4000 | 7.6 | 9.2 | 0 | 7.59 | 1 | 1 | 0 | 0
2036 | 4000 | 4000 | 8.27 | 9.71 | 0 | 8.28 | 1 | 1 | 0 | 0
2037 | 4000 | 4000 | 8.83 | 10.5 | 0 | 8.83 | 1 | 1 | 0 | 0
2038 | 4000 | 4000 | 9.66 | 11.42 | 0 | 9.67 | 1 | 1 | 0 | 0
2039 | 4000 | 4000 | 10.18 | 12.18 | 0 | 10.19 | 1 | 1 | 0 | 0

## Sheet4(F_22)
|  | AVOIDED T & D AND PROGRAM FUEL SAVINGS |  |  |  |  | PSC FORM CE 2.2
|  | PROGRAM: | Res. PV Pass TRC _Part |  |  |  | Page 1 of 2
2026-07-30 05:56
|  | * INSERVICE COSTS OF AVOIDED TRANS. (000) = |  |  | 0
|  | * INSERVICE COSTS OF AVOIDED DIST. (000) = |  |  | 0
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10)
| AVOIDED | AVOIDED |  | AVOIDED | AVOIDED
| TRANSMISSION | TRANSMISSION | TOTAL AVOIDED | DISTRIBUTION | DISTRIBUTION | TOTAL AVOIDED | PROGRAM
| CAPACITY | O&M | TRANSMISSION | CAPACITY | O&M | DISTRIBUTION | FUEL
| COST | COST | COST | COST | COST | COST | SAVINGS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 0 | 0 | 0 | 0 | 0 | 239.8362
2016 | 0 | 25.526 | 25.526 | 0 | 0 | 0 | 662.3765
2017 | 0 | 26.1386 | 26.1386 | 0 | 0 | 0 | 993.8623
2018 | 0 | 26.766 | 26.766 | 0 | 0 | 0 | 1503.8862
2019 | 0 | 27.4084 | 27.4084 | 0 | 0 | 0 | 1809.1864
2020 | 0 | 28.0662 | 28.0662 | 0 | 0 | 0 | 1942.4949
2021 | 0 | 28.7397 | 28.7397 | 0 | 0 | 0 | 2094.8475
2022 | 0 | 29.4295 | 29.4295 | 0 | 0 | 0 | 2228.1559
2023 | 0 | 30.1358 | 30.1358 | 0 | 0 | 0 | 2342.4203
2024 | 0 | 30.8591 | 30.8591 | 0 | 0 | 0 | 2528.1
2025 | 0 | 31.5997 | 31.5997 | 0 | 0 | 0 | 2713.7797
2026 | 0 | 32.3581 | 32.3581 | 0 | 0 | 0 | 2794.7169
2027 | 0 | 33.1347 | 33.1347 | 0 | 0 | 0 | 2894.6983
2028 | 0 | 33.9299 | 33.9299 | 0 | 0 | 0 | 3008.9627
2029 | 0 | 34.7442 | 34.7442 | 0 | 0 | 0 | 3232.7305
2030 | 0 | 35.5781 | 35.5781 | 0 | 0 | 0 | 3337.4729
2031 | 0 | 36.432 | 36.432 | 0 | 0 | 0 | 3537.4356
2032 | 0 | 37.3063 | 37.3063 | 0 | 0 | 0 | 3737.3983
2033 | 0 | 38.2017 | 38.2017 | 0 | 0 | 0 | 3937.361
2034 | 0 | 39.1185 | 39.1185 | 0 | 0 | 0 | 3999.2542
2035 | 0 | 40.0574 | 40.0574 | 0 | 0 | 0 | 4380.1356
2036 | 0 | 41.0187 | 41.0187 | 0 | 0 | 0 | 4622.9475
2037 | 0 | 42.0032 | 42.0032 | 0 | 0 | 0 | 4999.0678
2038 | 0 | 43.0113 | 43.0113 | 0 | 0 | 0 | 5437.0814
2039 | 0 | 44.0435 | 44.0435 | 0 | 0 | 0 | 5798.9186
NOMINAL | 0 | 815.6063 | 815.6063 | 0 | 0 | 0 | 74777.1273
NPV: | 0 | 349.9284 | 349.9284 | 0 | 0 | 0 | 28146.6988
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet6(p_6)
|  | * WORKSHEET: UTILITY COSTS AND PARTICIPANT COSTS AND REV LOSS/GAIN | [12 empty] | WORKSHEET FOR FORM CE 2.2
|  | PROGRAM: |  | Res. PV Pass TRC _Part | [10 empty] | Page 2 of 2
2026-07-30 05:56
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14) | (15) | (16) | (17) | (18)
| <----- UTILITY PROGRAM COSTS & REBATES -------> | [5 empty] | <------------------ PARTICIPATING CUSTOMER COSTS & BENEFITS ---------------------->
|  |  | TOTAL |  |  | TOTAL | PARTIC. | PARTIC. | TOTAL | REDUCT. | RED. | RED. | EFFECT. | INC. | INC. | INC. | EFFECT.
| UTIL | UTIL | UTIL | UTIL | UTIL | REBATE/ | CUST | CUST | COSTS | IN | REV. | REV. | REV. | IN | REV. | REV. | REVENUE
| NONREC. | RECUR | PGM | NONREC. | RECUR. | INCENT. | EQUIP | O & M | PARTIC. | CUST. | - FUEL | NONFUEL | REDUCT. | CUST. | - FUEL | NONFUEL | INC.
| COSTS | COSTS | COSTS | REBATES | REBATES | COSTS | COSTS | COSTS | CUST | KWH | PORTION | PORTION | TO CUST | KWH | PORTION | PORTION | IN BILL
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | (000) | $(000) | $(000) | $(000) | (000) | $(000) |  | $(000)
2015 | 28 | 0 | 28 | 0 | 0 | 0 | 8451.87 | 70 | 8521.87 | 5618 | 220.2256 | 313.372 | 533.5976 | 0 | 0 | 0 | 0
2016 | 28.672 | 0 | 28.672 | 0 | 0 | 0 | 8654.7149 | 215.04 | 8869.7549 | 16854 | 664.0476 | 949.5173 | 1613.5649 | 0 | 0 | 0 | 0
2017 | 29.3601 | 0 | 29.3601 | 0 | 0 | 0 | 8862.428 | 367.0016 | 9229.4296 | 28090 | 1106.746 | 1598.3541 | 2705.1001 | 0 | 0 | 0 | 0
2018 | 30.0648 | 0 | 30.0648 | 0 | 0 | 0 | 9075.1263 | 526.1335 | 9601.2598 | 39326 | 1620.2312 | 2260.0727 | 3880.3039 | 0 | 0 | 0 | 0
2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 615.7265 | 615.7265 | 44944 | 1946.0752 | 2608.7696 | 4554.8448 | 0 | 0 | 0 | 0
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 630.5039 | 630.5039 | 44944 | 2049.4464 | 2634.8573 | 4684.3037 | 0 | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 645.636 | 645.636 | 44944 | 2103.3792 | 2661.2059 | 4764.5851 | 0 | 0 | 0 | 0
2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 661.1313 | 661.1313 | 44944 | 2179.784 | 2687.8179 | 4867.6019 | 0 | 0 | 0 | 0
2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 676.9985 | 676.9985 | 44944 | 2274.1664 | 2714.6961 | 4988.8625 | 0 | 0 | 0 | 0
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 693.2464 | 693.2464 | 44944 | 2373.0432 | 2741.8431 | 5114.8863 | 0 | 0 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 709.8843 | 709.8843 | 44944 | 2435.9648 | 2769.2615 | 5205.2263 | 0 | 0 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 726.9216 | 726.9216 | 44944 | 2485.4032 | 2796.9541 | 5282.3573 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744.3677 | 744.3677 | 44944 | 2525.8528 | 2824.9237 | 5350.7765 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 762.2325 | 762.2325 | 44944 | 2588.7744 | 2853.1729 | 5441.9473 | 0 | 0 | 0 | 0
2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 780.5261 | 780.5261 | 44944 | 2683.1568 | 2881.7046 | 5564.8614 | 0 | 0 | 0 | 0
2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 799.2587 | 799.2587 | 44944 | 2750.5728 | 2910.5217 | 5661.0945 | 0 | 0 | 0 | 0
2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 818.4409 | 818.4409 | 44944 | 2835.9664 | 2939.6269 | 5775.5933 | 0 | 0 | 0 | 0
2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 838.0835 | 838.0835 | 44944 | 2957.3152 | 2969.0232 | 5926.3384 | 0 | 0 | 0 | 0
2033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 858.1975 | 858.1975 | 44944 | 3096.6416 | 2998.7134 | 6095.355 | 0 | 0 | 0 | 0
2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 878.7942 | 878.7942 | 44944 | 3209.0016 | 3028.7005 | 6237.7021 | 0 | 0 | 0 | 0
2035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 899.8853 | 899.8853 | 44944 | 3415.744 | 3058.9875 | 6474.7315 | 0 | 0 | 0 | 0
2036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 921.4826 | 921.4826 | 44944 | 3716.8688 | 3089.5774 | 6806.4462 | 0 | 0 | 0 | 0
2037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 943.5981 | 943.5981 | 44944 | 3968.5552 | 3120.4732 | 7089.0284 | 0 | 0 | 0 | 0
2038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 966.2445 | 966.2445 | 44944 | 4341.5904 | 3151.6779 | 7493.2683 | 0 | 0 | 0 | 0
2039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 989.4344 | 989.4344 | 44944 | 4575.2992 | 3183.1947 | 7758.4939 | 0 | 0 | 0 | 0
NOMINAL | 116.0969 | 0 | 116.0969 | 0 | 0 | 0 | 35044.1392 | 17738.7696 | 52782.9089 | 1033712 | 64123.852 | 65747.0193 | 129870.8713 | 0 | 0 | 0 | 0
NPV | 104.5028 | 0 | 104.5028 | 0 | 0 | 0 | 31544.4301 | 7345.3322 | 38889.7623 |  | 25349.4537 | 28418.8966 | 53768.3503 |  | 0 | 0 | 0
* SUPPLEMENTAL INFORMATION NOT SPECIFIED IN WORKBOOK

## Sheet7(F_23)
|  |  | TOTAL RESOURCE COST TESTS | [8 empty] | PSC FORM CE 2.3
|  |  | PROGRAM: | Res. PV Pass TRC _Part | [7 empty] | Page 1 of 1
2026-07-30 05:56
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13)
CUMULATIVE
| INCREASED | UTILITY | PARTICIPANT |  |  |  |  | PROGRAM |  |  |  | DISCOUNTED
| SUPPLY | PROGRAM | PROGRAM | OTHER | TOTAL | AVOIDED | AVOIDED | FUEL | OTHER | TOTAL | NET | NET
| COSTS | COSTS | COSTS | COSTS | COSTS | GEN UNIT | T & D | SAVINGS | BENEFITS | BENEFITS | BENEFITS | BENEFITS
[6 empty] | BENEFITS | BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 28 | 8521.87 | 0 | 8549.87 | 0 | 0 | 239.8362 | 0 | 239.8362 | -8310.0338 | -8310.0338
2016 | 0 | 28.672 | 8869.7549 | 0 | 8898.4269 | 0 | 25.526 | 662.3765 | 0 | 687.9025 | -8210.5244 | -15959.1155
2017 | 0 | 29.3601 | 9229.4296 | 0 | 9258.7898 | 0 | 26.1386 | 993.8623 | 0 | 1020.0009 | -8238.7888 | -23109.6778
2018 | 0 | 30.0648 | 9601.2598 | 0 | 9631.3246 | 0 | 26.766 | 1503.8862 | 0 | 1530.6522 | -8100.6724 | -29659.6023
2019 | 0 | 0 | 615.7265 | 0 | 615.7265 | 1376.7109 | 27.4084 | 1809.1864 | 0 | 3213.3057 | 2597.5792 | -27702.9105
2020 | 0 | 0 | 630.5039 | 0 | 630.5039 | 1344.399 | 28.0662 | 1942.4949 | 0 | 3314.9601 | 2684.4561 | -25819.0516
2021 | 0 | 0 | 645.636 | 0 | 645.636 | 1317.1353 | 28.7397 | 2094.8475 | 0 | 3440.7225 | 2795.0864 | -23991.685
2022 | 0 | 0 | 661.1313 | 0 | 661.1313 | 1293.2874 | 29.4295 | 2228.1559 | 0 | 3550.8728 | 2889.7415 | -22231.6234
2023 | 0 | 0 | 676.9985 | 0 | 676.9985 | 1267.7279 | 30.1358 | 2342.4203 | 0 | 3640.284 | 2963.2855 | -20550.1857
2024 | 0 | 0 | 693.2464 | 0 | 693.2464 | 1243.261 | 30.8591 | 2528.1 | 0 | 3802.2201 | 3108.9736 | -18906.7122
2025 | 0 | 0 | 709.8843 | 0 | 709.8843 | 1232.1389 | 31.5997 | 2713.7797 | 0 | 3977.5183 | 3267.6339 | -17297.4845
2026 | 0 | 0 | 726.9216 | 0 | 726.9216 | 1228.4661 | 32.3581 | 2794.7169 | 0 | 4055.5411 | 3328.6196 | -15770.317
2027 | 0 | 0 | 744.3677 | 0 | 744.3677 | 1225.924 | 33.1347 | 2894.6983 | 0 | 4153.757 | 3409.3893 | -14313.0555
2028 | 0 | 0 | 762.2325 | 0 | 762.2325 | 1223.6335 | 33.9299 | 3008.9627 | 0 | 4266.5261 | 3504.2936 | -12917.652
2029 | 0 | 0 | 780.5261 | 0 | 780.5261 | 1212.8236 | 34.7442 | 3232.7305 | 0 | 4480.2983 | 3699.7723 | -11545.1509
2030 | 0 | 0 | 799.2587 | 0 | 799.2587 | 1213.3565 | 35.5781 | 3337.4729 | 0 | 4586.4075 | 3787.1488 | -10236.305
2031 | 0 | 0 | 818.4409 | 0 | 818.4409 | 1210.5506 | 36.432 | 3537.4356 | 0 | 4784.4181 | 3965.9772 | -8959.3819
2032 | 0 | 0 | 838.0835 | 0 | 838.0835 | 1203.5506 | 37.3063 | 3737.3983 | 0 | 4978.2552 | 4140.1717 | -7717.5257
2033 | 0 | 0 | 858.1975 | 0 | 858.1975 | 1196.4437 | 38.2017 | 3937.361 | 0 | 5172.0064 | 4313.8089 | -6512.0672
2034 | 0 | 0 | 878.7942 | 0 | 878.7942 | 1201.7726 | 39.1185 | 3999.2542 | 0 | 5240.1453 | 4361.3511 | -5376.6621
2035 | 0 | 0 | 899.8853 | 0 | 899.8853 | 1199.51 | 40.0574 | 4380.1356 | 0 | 5619.7029 | 4719.8176 | -4231.9576
2036 | 0 | 0 | 921.4826 | 0 | 921.4826 | 1181.3692 | 41.0187 | 4622.9475 | 0 | 5845.3354 | 4923.8529 | -3119.4278
2037 | 0 | 0 | 943.5981 | 0 | 943.5981 | 1180.5334 | 42.0032 | 4999.0678 | 0 | 6221.6044 | 5278.0063 | -2008.4256
2038 | 0 | 0 | 966.2445 | 0 | 966.2445 | 1154.734 | 43.0113 | 5437.0814 | 0 | 6634.8266 | 5668.5821 | -896.8018
2039 | 0 | 0 | 989.4344 | 0 | 989.4344 | 1164.3742 | 44.0435 | 5798.9186 | 0 | 7007.3363 | 6017.902 | 202.6266
NOMINAL | 0 | 116.0969 | 52782.9089 | 0 | 52899.0058 | 25871.7025 | 815.6063 | 74777.1273 | 0 | 101464.4361 | 48565.4303
NPV: | 0 | 104.5028 | 38889.7623 | 0 | 38994.2651 | 10700.2645 | 349.9284 | 28146.6988 | 0 | 39196.8917 | 202.6266
Discount Rate |  | 0.0734 | Benefit/Cost Ratio - [col (11)/col (6)]: |  |  |  | 1.0052

## Sheet8(F_24)
|  |  |  | PARTICIPANT COSTS AND BENEFITS | [6 empty] | PSC FORM CE 2.4
|  |  |  | PROGRAM: | Res. PV Pass TRC _Part | [5 empty] | Page 1 of 1
2026-07-30 05:56
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12)
SAVINGS
| IN |  |  |  |  | CUSTOMER | CUSTOMER |  |  |  | CUMULATIVE
| PARTICIPANTS | TAX | UTILITY | OTHER | TOTAL | EQUIPMENT | O & M | OTHER | TOTAL | NET | DISCOUNTED
| BILL | CREDITS | REBATES | BENEFITS | BENEFITS | COSTS | COSTS | COSTS | COSTS | BENEFITS | NET BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 533.5976 | 2535.56 | 0 | 0 | 3069.1576 | 8451.87 | 70 | 0 | 8521.87 | -5452.7124 | -5452.7124
2016 | 1613.5649 | 2535.56 | 0 | 0 | 4149.1249 | 8654.7149 | 215.04 | 0 | 8869.7549 | -4720.63 | -9850.5417
2017 | 2705.1001 | 2535.56 | 0 | 0 | 5240.6601 | 8862.428 | 367.0016 | 0 | 9229.4296 | -3988.7695 | -13312.4516
2018 | 3880.3039 | 2535.56 | 0 | 0 | 6415.8639 | 9075.1263 | 526.1335 | 0 | 9601.2598 | -3185.3959 | -15888.053
2019 | 4554.8448 | 0 | 0 | 0 | 4554.8448 | 0 | 615.7265 | 0 | 615.7265 | 3939.1183 | -12920.8131
2020 | 4684.3037 | 0 | 0 | 0 | 4684.3037 | 0 | 630.5039 | 0 | 630.5039 | 4053.7998 | -10075.9961
2021 | 4764.5851 | 0 | 0 | 0 | 4764.5851 | 0 | 645.636 | 0 | 645.636 | 4118.949 | -7383.1168
2022 | 4867.6019 | 0 | 0 | 0 | 4867.6019 | 0 | 661.1313 | 0 | 661.1313 | 4206.4706 | -4821.072
2023 | 4988.8625 | 0 | 0 | 0 | 4988.8625 | 0 | 676.9985 | 0 | 676.9985 | 4311.8641 | -2374.4193
2024 | 5114.8863 | 0 | 0 | 0 | 5114.8863 | 0 | 693.2464 | 0 | 693.2464 | 4421.6399 | -37.0408
2025 | 5205.2263 | 0 | 0 | 0 | 5205.2263 | 0 | 709.8843 | 0 | 709.8843 | 4495.342 | 2176.8023
2026 | 5282.3573 | 0 | 0 | 0 | 5282.3573 | 0 | 726.9216 | 0 | 726.9216 | 4555.4358 | 4266.8318
2027 | 5350.7765 | 0 | 0 | 0 | 5350.7765 | 0 | 744.3677 | 0 | 744.3677 | 4606.4088 | 6235.7306
2028 | 5441.9473 | 0 | 0 | 0 | 5441.9473 | 0 | 762.2325 | 0 | 762.2325 | 4679.7148 | 8099.1847
2029 | 5564.8614 | 0 | 0 | 0 | 5564.8614 | 0 | 780.5261 | 0 | 780.5261 | 4784.3354 | 9874.0252
2030 | 5661.0945 | 0 | 0 | 0 | 5661.0945 | 0 | 799.2587 | 0 | 799.2587 | 4861.8358 | 11554.285
2031 | 5775.5933 | 0 | 0 | 0 | 5775.5933 | 0 | 818.4409 | 0 | 818.4409 | 4957.1524 | 13150.3362
2032 | 5926.3384 | 0 | 0 | 0 | 5926.3384 | 0 | 838.0835 | 0 | 838.0835 | 5088.2549 | 14676.5726
2033 | 6095.355 | 0 | 0 | 0 | 6095.355 | 0 | 858.1975 | 0 | 858.1975 | 5237.1575 | 16140.0533
2034 | 6237.7021 | 0 | 0 | 0 | 6237.7021 | 0 | 878.7942 | 0 | 878.7942 | 5358.9079 | 17535.1556
2035 | 6474.7315 | 0 | 0 | 0 | 6474.7315 | 0 | 899.8853 | 0 | 899.8853 | 5574.8462 | 18887.2315
2036 | 6806.4462 | 0 | 0 | 0 | 6806.4462 | 0 | 921.4826 | 0 | 921.4826 | 5884.9637 | 20216.9214
2037 | 7089.0284 | 0 | 0 | 0 | 7089.0284 | 0 | 943.5981 | 0 | 943.5981 | 6145.4303 | 21510.5133
2038 | 7493.2683 | 0 | 0 | 0 | 7493.2683 | 0 | 966.2445 | 0 | 966.2445 | 6527.0238 | 22790.4798
2039 | 7758.4939 | 0 | 0 | 0 | 7758.4939 | 0 | 989.4344 | 0 | 989.4344 | 6769.0595 | 24027.1394
NOMINAL | 129870.8713 | 10142.24 | 0 | 0 | 140013.1113 | 35044.1392 | 17738.7696 | 0 | 52782.9089 | 87230.2024
NPV: | 53768.3503 | 9148.5513 | 0 | 0 | 62916.9017 | 31544.4301 | 7345.3322 | 0 | 38889.7623 | 24027.1394
In service year of gen unit: |  |  | 2019 |  | 1.6178
Discount rate: |  |  | 0.0734

## Sheet9(F_25)
[5 empty] | RATE IMPACT TEST | [7 empty] | PSC FORM CE 2.5
[5 empty] | PROGRAM: | Res. PV Pass TRC _Part | [6 empty] | Page 1 of 1
2026-07-30 05:56
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14)
[7 empty] | AVOIDED |  |  |  |  | NET | CUMULATIVE
| INCREASED | UTILITY |  |  |  |  | GEN UNIT | AVOIDED |  |  |  | BENEFITS | DISCOUNTED
| SUPPLY | PROGRAM |  | REVENUE | OTHER | TOTAL | UNIT & FUEL | T & D | REVENUE | OTHER | TOTAL | TO ALL | NET
| COSTS | COSTS | INCENTIVES | LOSSES | COSTS | COSTS | BENEFITS | BENEFITS | GAINS | BENEFITS | BENEFITS | CUSTOMERS | BENEFIT
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2015 | 0 | 28 | 0 | 533.5976 | 0 | 561.5976 | 239.8362 | 0 | 0 | 0 | 239.8362 | -321.7614 | -321.7614
2016 | 0 | 28.672 | 0 | 1613.5649 | 0 | 1642.2369 | 662.3765 | 25.526 | 0 | 0 | 687.9025 | -954.3344 | -1210.8376
2017 | 0 | 29.3601 | 0 | 2705.1001 | 0 | 2734.4602 | 993.8623 | 26.1386 | 0 | 0 | 1020.0009 | -1714.4593 | -2698.8412
2018 | 0 | 30.0648 | 0 | 3880.3039 | 0 | 3910.3687 | 1503.8862 | 26.766 | 0 | 0 | 1530.6522 | -2379.7165 | -4622.998
2019 | 0 | 0 | 0 | 4554.8448 | 0 | 4554.8448 | 3185.8973 | 27.4084 | 0 | 0 | 3213.3057 | -1341.5391 | -5633.546
2020 | 0 | 0 | 0 | 4684.3037 | 0 | 4684.3037 | 3286.8939 | 28.0662 | 0 | 0 | 3314.9601 | -1369.3436 | -6594.5042
2021 | 0 | 0 | 0 | 4764.5851 | 0 | 4764.5851 | 3411.9827 | 28.7397 | 0 | 0 | 3440.7225 | -1323.8626 | -7460.0168
2022 | 0 | 0 | 0 | 4867.6019 | 0 | 4867.6019 | 3521.4433 | 29.4295 | 0 | 0 | 3550.8728 | -1316.7291 | -8262
2023 | 0 | 0 | 0 | 4988.8625 | 0 | 4988.8625 | 3610.1482 | 30.1358 | 0 | 0 | 3640.284 | -1348.5785 | -9027.2151
2024 | 0 | 0 | 0 | 5114.8863 | 0 | 5114.8863 | 3771.361 | 30.8591 | 0 | 0 | 3802.2201 | -1312.6662 | -9721.1201
2025 | 0 | 0 | 0 | 5205.2263 | 0 | 5205.2263 | 3945.9186 | 31.5997 | 0 | 0 | 3977.5183 | -1227.708 | -10325.7354
2026 | 0 | 0 | 0 | 5282.3573 | 0 | 5282.3573 | 4023.1831 | 32.3581 | 0 | 0 | 4055.5411 | -1226.8162 | -10888.5975
2027 | 0 | 0 | 0 | 5350.7765 | 0 | 5350.7765 | 4120.6224 | 33.1347 | 0 | 0 | 4153.757 | -1197.0195 | -11400.2347
2028 | 0 | 0 | 0 | 5441.9473 | 0 | 5441.9473 | 4232.5962 | 33.9299 | 0 | 0 | 4266.5261 | -1175.4212 | -11868.2854
2029 | 0 | 0 | 0 | 5564.8614 | 0 | 5564.8614 | 4445.5541 | 34.7442 | 0 | 0 | 4480.2983 | -1084.5631 | -12270.6247
2030 | 0 | 0 | 0 | 5661.0945 | 0 | 5661.0945 | 4550.8294 | 35.5781 | 0 | 0 | 4586.4075 | -1074.687 | -12642.0386
2031 | 0 | 0 | 0 | 5775.5933 | 0 | 5775.5933 | 4747.9862 | 36.432 | 0 | 0 | 4784.4181 | -991.1752 | -12961.1667
2032 | 0 | 0 | 0 | 5926.3384 | 0 | 5926.3384 | 4940.9489 | 37.3063 | 0 | 0 | 4978.2552 | -948.0832 | -13245.5469
2033 | 0 | 0 | 0 | 6095.355 | 0 | 6095.355 | 5133.8048 | 38.2017 | 0 | 0 | 5172.0064 | -923.3486 | -13503.5691
2034 | 0 | 0 | 0 | 6237.7021 | 0 | 6237.7021 | 5201.0268 | 39.1185 | 0 | 0 | 5240.1453 | -997.5568 | -13763.2664
2035 | 0 | 0 | 0 | 6474.7315 | 0 | 6474.7315 | 5579.6456 | 40.0574 | 0 | 0 | 5619.7029 | -855.0286 | -13970.6377
2036 | 0 | 0 | 0 | 6806.4462 | 0 | 6806.4462 | 5804.3167 | 41.0187 | 0 | 0 | 5845.3354 | -961.1108 | -14187.7978
2037 | 0 | 0 | 0 | 7089.0284 | 0 | 7089.0284 | 6179.6012 | 42.0032 | 0 | 0 | 6221.6044 | -867.424 | -14370.3876
2038 | 0 | 0 | 0 | 7493.2683 | 0 | 7493.2683 | 6591.8154 | 43.0113 | 0 | 0 | 6634.8266 | -858.4417 | -14538.7303
2039 | 0 | 0 | 0 | 7758.4939 | 0 | 7758.4939 | 6963.2928 | 44.0435 | 0 | 0 | 7007.3363 | -751.1576 | -14675.9615
NOMINAL | 0 | 116.0969 | 0 | 129870.8713 | 0 | 129986.9682 | 100648.8298 | 815.6063 | 0 | 0 | 101464.4361 | -28522.5321
NPV: | 0 | 104.5028 | 0 | 53768.3503 | 0 | 53872.8531 | 38846.9633 | 349.9284 | 0 | 0 | 39196.8917 | -14675.9615
Discount rate: |  |  | 0.0734 |  | Benefit/Cost Ratio - [col (12)/col (7)]: |  |  |  | 0.72758

## Value of Defferal
GEN: | [7 empty] | COMPUTATION OF CONSTRUCTION CASH FLOW AND PLANT |  |  |  |  | Do Not Print
COMPUTATION OF GENERATION COSTS & REV. REQUIREMENTS | [7 empty] | IN-SERVICE COSTS FOR AVOIDED TRANS & DIST PLANT
IN-SERVICE AVOIDED GEN. PLANT ($000) = |  |  |  | 6608.0065 |  |  |  | -----------------------------------------------
------------------------------------------ |  |  |  |  | GENERATION |  |  | TRAN: | Avoided Trans. = |  | 0
|  |  |  | COMPUTATION OF VALUE DEFERRAL PAYMENTS |  |  |  |  | Avoided Dist. = |  | 0 |  | TRANSMISSION & DIST.
COMPUTATION OF VALUE DEFERRAL CREDITS
|  |  |  | ip= | 0.03 | Esc. rate | [5 empty] | ip= | 0.03 | Esc. rate
| Gen |  |  | r= | 0.0734 | Disc rate |  | TRAN |  |  |  | r= | 0.0734 | Disc rate
| Offset Cost | 3 |  | l= | 25 | Econ life |  | Offset Cost |  | 3 |  | l= | 25 | Econ life
| Offset Factor | 2 |  | c= | 1 | Risk factor |  | Offset Factor |  | 1 |  | c= | 1 | Risk factor
|  |  |  | k= | 1.4625 | K factor |  | DIST |  |  |  | k= | 1.4625 | K factor
|  |  |  | Ratio= | 0.95957 | calculated ratio |  | Offset Cost |  | 4 |  | Ratio= | 0.95957 | calculated ratio
[8 empty] | Offset Factor |  | 1
|  |  |  | VALUE of DEFERRAL | [7 empty] | VALUE DEFERRAL STARTING
|  |  |  | Factor = | 0.091872 | [6 empty] | FACTOR = | 0.091872
[5 empty] | AVOIDED |  |  |  |  | TRANS | DIST |  | AVOIDED | AVOIDED
|  | CARRYING | ANNUAL | Value | GEN. |  |  |  | CARRYING | ANNUAL | ANNUAL |  | TRANS. | DIST
|  | CHARGE | REV REQ | of Def | V OF D |  |  |  | CHARGE | REV REQ | REV REQ |  | V OF D | V OF D
N | Year | % | COSTS(000) | Factors | ($000) |  | N | Year | % | COSTS(000) | COSTS(000) | Factors | ($000) | $(000)
-- | ---- | ------ | ------ | ------ | ----- |  |  |  | ------ | ------ | ------
1 | 2015 | 0 | 0 | 0 | 0 |  | 1 | 2015 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2016 | 0 | 0 | 0 | 0 |  | 2 | 2016 | 0 | 0 | 0 | 0.091872 | 0 | 0
3 | 2017 | 0 | 0 | 0 | 0 |  | 3 | 2017 | 0 | 0 | 0 | 0.094628 | 0 | 0
4 | 2018 | 0 | 0 | 0 | 0 |  | 4 | 2018 | 0 | 0 | 0 | 0.097467 | 0 | 0
5 | 2019 | 0.16963 | 1120.905 | 0.091872 | 607.0892 |  | 5 | 2019 | 0.16963 | 0 | 0 | 0.10039 | 0 | 0
6 | 2020 | 0.16335 | 1079.4016 | 0.094628 | 625.3019 |  | 6 | 2020 | 0.16335 | 0 | 0 | 0.1034 | 0 | 0
7 | 2021 | 0.15625 | 1032.4891 | 0.097467 | 644.0609 |  | 7 | 2021 | 0.15625 | 0 | 0 | 0.1065 | 0 | 0
8 | 2022 | 0.14957 | 988.3268 | 0.10039 | 663.3828 |  | 8 | 2022 | 0.14957 | 0 | 0 | 0.1097 | 0 | 0
9 | 2023 | 0.14326 | 946.639 | 0.1034 | 683.2842 |  | 9 | 2023 | 0.14326 | 0 | 0 | 0.11299 | 0 | 0
10 | 2024 | 0.13729 | 907.1804 | 0.1065 | 703.7828 |  | 10 | 2024 | 0.13729 | 0 | 0 | 0.11638 | 0 | 0
11 | 2025 | 0.13155 | 869.2774 | 0.1097 | 724.8962 |  | 11 | 2025 | 0.13155 | 0 | 0 | 0.11987 | 0 | 0
12 | 2026 | 0.12589 | 831.8727 | 0.11299 | 746.6431 |  | 12 | 2026 | 0.12589 | 0 | 0 | 0.12347 | 0 | 0
13 | 2027 | 0.12023 | 794.468 | 0.11638 | 769.0424 |  | 13 | 2027 | 0.12023 | 0 | 0 | 0.12717 | 0 | 0
14 | 2028 | 0.11457 | 757.0633 | 0.11987 | 792.1137 |  | 14 | 2028 | 0.11457 | 0 | 0 | 0.13099 | 0 | 0
15 | 2029 | 0.10891 | 719.6586 | 0.12347 | 815.8771 |  | 15 | 2029 | 0.10891 | 0 | 0 | 0.13492 | 0 | 0
16 | 2030 | 0.10325 | 682.2539 | 0.12717 | 840.3534 |  | 16 | 2030 | 0.10325 | 0 | 0 | 0.13896 | 0 | 0
17 | 2031 | 0.097586 | 644.8492 | 0.13099 | 865.564 |  | 17 | 2031 | 0.097586 | 0 | 0 | 0.14313 | 0 | 0
18 | 2032 | 0.091926 | 607.4445 | 0.13492 | 891.5309 |  | 18 | 2032 | 0.091926 | 0 | 0 | 0.14743 | 0 | 0
19 | 2033 | 0.086265 | 570.0398 | 0.13896 | 918.2769 |  | 19 | 2033 | 0.086265 | 0 | 0 | 0.15185 | 0 | 0
20 | 2034 | 0.081285 | 537.1346 | 0.14313 | 945.8252 |  | 20 | 2034 | 0.081285 | 0 | 0 | 0.15641 | 0 | 0
21 | 2035 | 0.077667 | 513.2267 | 0.14743 | 974.1999 |  | 21 | 2035 | 0.077667 | 0 | 0 | 0.1611 | 0 | 0
22 | 2036 | 0.07473 | 493.8167 | 0.15185 | 1003.4259 |  | 22 | 2036 | 0.07473 | 0 | 0 | 0.16593 | 0 | 0
23 | 2037 | 0.071793 | 474.4067 | 0.15641 | 1033.5287 |  | 23 | 2037 | 0.071793 | 0 | 0 | 0.17091 | 0 | 0
24 | 2038 | 0.068855 | 454.9968 | 0.1611 | 1064.5346 |  | 24 | 2038 | 0.068855 | 0 | 0 | 0.17604 | 0 | 0
25 | 2039 | 0.065918 | 435.5868 | 0.16593 | 1096.4706 |  | 25 | 2039 | 0.065918 | 0 | 0 | 0.18132 | 0 | 0
26 | 2040 | 0.062981 | 416.1768 | 0.17091 | 1129.3647 |  | 26 | 2040 | 0.062981 | 0 | 0 | 0.18676 | 0 | 0
27 | 2041 | 0.060043 | 396.7669 | 0.17604 | 1163.2457 |  | 27 | 2041 | 0.060043 | 0 | 0 | 0 | 0 | 0
28 | 2042 | 0.057106 | 377.3569 | 0.18132 | 1198.143 |  | 28 | 2042 | 0.057106 | 0 | 0 | 0 | 0 | 0
29 | 2043 | 0.054169 | 357.9469 | 0.18676 | 1234.0873 |  | 29 | 2043 | 0.054169 | 0 | 0 | 0 | 0 | 0
30 | 2044 | 0 | 0 | 0 | 0 |  | 30 | 2044 | 0 | 0 | 0 | 0 | 0 | 0
31 | 2045 | 0 | 0 | 0 | 0 |  | 31 | 2045 | 0 | 0 | 0 | 0 | 0 | 0
32 | 2046 | 0 | 0 | 0 | 0 |  | 32 | 2046 | 0 | 0 | 0 | 0 | 0 | 0
33 | 2047 | 0 | 0 | 0 | 0 |  | 33 | 2047 | 0 | 0 | 0 | 0 | 0 | 0
34 | 2048 | 0 | 0 | 0 | 0 |  | 34 | 2048 | 0 | 0 | 0 | 0 | 0 | 0
35 | 2049 | 0 | 0 | 0 | 0 |  | 35 | 2049 | 0 | 0 | 0 | 0 | 0 | 0
36 | 2050 | 0 | 0 | 0 | 0 |  | 36 | 2050 | 0 | 0 | 0 | 0 | 0 | 0
37 | 2051 | 0 | 0 | 0 | 0 |  | 37 | 2051 | 0 | 0 | 0 | 0 | 0 | 0
38 | 2052 | 0 | 0 | 0 | 0 |  | 38 | 2052 | 0 | 0 | 0 | 0 | 0 | 0
39 | 2053 | 0 | 0 | 0 | 0 |  | 39 | 2053 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | ----- |  | ----- |  |  |  |  | ----- |  |  | ----
|  | NOMINAL | 17009.2852 |  | 22134.0253 |  |  |  | NOMINAL | 0 |  |  | 0
|  | NPV | 7281.4933 |  | 7279.8088 |  |  |  | NPV | 0 |  |  | 0