## Residential Adj FPL
FPL152339
DSM-14
|  | ROB Adj |  |  |  | New Adj | 2013 Adjusted Values
Measure Number | Measure | GWh | SMW | WMW |  | Factor (%) | GWh | SMW | WMW
101 | 14 SEER Split-System Air Conditioner | 171.8098 | 88.8743 | 0 |  | 0% | 0 | 0 | 0 | see res assumptions file for calcs
102 | 15 SEER Split-System Air Conditioner | 122.2112 | 69.5128 | 0 |  | 43% | 52.5508 | 29.8905 | 0 | see res assumptions file for calcs
103 | 17 SEER Split-System Air Conditioner | 165.3258 | 100.8019 | 0 |  | 64% | 105.8085 | 64.5132 | 0 | see res assumptions file for calcs
104 | 19 SEER Split-System Air Conditioner | 123.0633 | 75.0094 | 0 |  | 72% | 88.6056 | 54.0068 | 0 | see res assumptions file for calcs
105 | 14 SEER Split-System Heat Pump | 548.8313 | 90.4709 | 356.5482 |  | 68% | 373.2053 | 61.5202 | 242.4528 | see res assumptions file for calcs
106 | 15 SEER Split-System Heat Pump | 200.7009 | 50.4446 | 110.6711 |  | 75% | 150.5257 | 37.8335 | 83.0033 | see res assumptions file for calcs
107 | 17 SEER Split-System Heat Pump | 263.8952 | 87.5373 | 125.0179 |  | 80% | 211.1162 | 70.0298 | 100.0143 | see res assumptions file for calcs
109 | HVAC Proper Sizing | 53.4074 | 77.028 | 0 |  | 0% | 0 | 0 | 0 | see res assumptions file for calcs
111 | Sealed Attic w/Sprayed Foam Insulated Roof Deck | 492.6653 | 193.1087 | 408.6907 |  | 93.5% | 460.642 | 180.5567 | 382.1258 | see res assumptions file for calcs
112 | AC Maintenance (Outdoor Coil Cleaning) | 560.6435 | 241.1421 | 0 |  | 93.5% | 524.2017 | 225.4679 | 0 | see res assumptions file for calcs
113 | AC Maintenance (Indoor Coil Cleaning) | 532.5736 | 229.1206 | 0 |  | 93.5% | 497.9564 | 214.2278 | 0 | see res assumptions file for calcs
114 | Proper Refrigerant Charging and Air Flow | 570.9784 | 242.4668 | 0 |  | 93.5% | 533.8648 | 226.7065 | 0 | see res assumptions file for calcs
115 | Electronically Commutated Motors (ECM) on an Air Handler Unit | 348.1862 | 127.2229 | 0 |  | 93.5% | 325.5541 | 118.9534 | 0 | see res assumptions file for calcs
116 | Duct Repair | 690.7535 | 343.2902 | 358.0534 |  | 93.5% | 645.8545 | 320.9763 | 334.78 | see res assumptions file for calcs
117 | Reflective Roof | 427.8447 | 186.9994 | 0 |  | 93.5% | 400.0348 | 174.8445 | 0 | see res assumptions file for calcs
118 | Radient Barrier | 607.3113 | 369.8282 | 150.5596 |  | 93.5% | 567.836 | 345.7893 | 140.7732 | see res assumptions file for calcs
119 | Window Film | 173.1737 | 63.3502 | -18.6005 |  | 93.5% | 161.9174 | 59.2324 | -17.3915 | see res assumptions file for calcs
120 | Window Tinting | 54.4333 | 27.0603 | 0 |  | 93.5% | 50.8951 | 25.3013 | 0 | see res assumptions file for calcs
121 | Default Window With Sunscreen | 511.4367 | 412.4528 | -49.4585 |  | 93.5% | 478.1933 | 385.6433 | -46.2437 | see res assumptions file for calcs
122 | Single Pane Clear Windows to Double Pane Low-E Windows | 335.0175 | 148.4251 | 70.2261 |  | 93.5% | 313.2414 | 138.7775 | 65.6614 | see res assumptions file for calcs
124 | Ceiling R-0 to R-19 Insulation | 66.4021 | 26.7114 | 55.5598 |  | 93.5% | 62.086 | 24.9751 | 51.9484 | see res assumptions file for calcs
125 | Ceiling R-19 to R-38 Insulation | 17.5401 | 6.8344 | 14.3357 |  | 93.5% | 16.4 | 6.3902 | 13.4039 | see res assumptions file for calcs
126 | Wall 2x4 R-0 to Blow-In R-13 Insulation | 36.3701 | 14.1001 | 29.3221 |  | 93.5% | 34.0061 | 13.1835 | 27.4162 | see res assumptions file for calcs
127 | Weather Strip/Caulk w/Blower Door | 69.9311 | 2.3632 | 1.0915 |  | 93.5% | 65.3856 | 2.2096 | 1.0206 | see res assumptions file for calcs
131 | 14 SEER Split-System Heat Pump | 94.4183 | 38.7203 | 17.7532 |  | 0% | 0 | 0 | 0 | see res assumptions file for calcs
132 | 15 SEER Split-System Heat Pump | 200.1896 | 89.6373 | 39.892 |  | 43% | 86.0815 | 38.544 | 17.1536 | see res assumptions file for calcs
133 | 17 SEER Split-System Heat Pump | 253.8563 | 120.9256 | 55.9869 |  | 64% | 162.4681 | 77.3924 | 35.8316 | see res assumptions file for calcs
135 | HVAC Proper Sizing | 12.4176 | 17.7034 | 0 |  | 0% | 0 | 0 | 0 | see res assumptions file for calcs
137 | Sealed Attics | 95.0998 | 35.7087 | 131.8055 |  | 92% | 87.4918 | 32.852 | 121.261 | see res assumptions file for calcs
138 | AC Maintenance (Outdoor Coil Cleaning) | 128.0696 | 54.4786 | 0 |  | 92% | 117.824 | 50.1203 | 0 | see res assumptions file for calcs
139 | AC Maintenance (Indoor Coil Cleaning) | 122.5136 | 52.1158 | 0 |  | 92% | 112.7125 | 47.9465 | 0 | see res assumptions file for calcs
140 | Proper Refrigerant Charging and Air Flow | 128.7598 | 54.0419 | 0 |  | 92% | 118.459 | 49.7186 | 0 | see res assumptions file for calcs
141 | Electronically Commutated Motors (ECM) on an Air Handler Unit | 165.702 | 57.7377 | 90.6353 |  | 92% | 152.4459 | 53.1187 | 83.3845 | see res assumptions file for calcs
142 | Duct Repair | 151.7118 | 89.9999 | 99.708 |  | 92% | 139.5749 | 82.7999 | 91.7313 | see res assumptions file for calcs
143 | Reflective Roof | 94.8083 | 39.5206 | 0 |  | 92% | 87.2236 | 36.3589 | 0 | see res assumptions file for calcs
144 | Radient Barrier | 113.5189 | 68.5529 | 28.9341 |  | 92% | 104.4374 | 63.0686 | 26.6194 | see res assumptions file for calcs
145 | Window Film | 41.1759 | 12.4194 | -3.3226 |  | 92% | 37.8818 | 11.4259 | -3.0568 | see res assumptions file for calcs
146 | Window Tinting | 11.157 | 5.47 | 0 |  | 92% | 10.2644 | 5.0324 | 0 | see res assumptions file for calcs
147 | Default Window With Sunscreen | 105.9964 | 84.4827 | -10.6583 |  | 92% | 97.5167 | 77.7241 | -9.8057 | see res assumptions file for calcs
148 | Single Pane Clear Windows to Double Pane Low-E Windows | 75.0105 | 32.8123 | 16.3423 |  | 92% | 69.0097 | 30.1873 | 15.0349 | see res assumptions file for calcs
150 | Ceiling R-0 to R-19 Insulation | 13.5631 | 5.1508 | 19.2093 |  | 92% | 12.478 | 4.7387 | 17.6726 | see res assumptions file for calcs
151 | Ceiling R-19 to R-38 Insulation | 3.1838 | 1.1864 | 4.4549 |  | 92% | 2.9291 | 1.0915 | 4.0985 | see res assumptions file for calcs
152 | Wall 2x4 R-0 to Blow-In R-13 Insulation | 6.4086 | 2.3819 | 8.9087 |  | 92% | 5.8959 | 2.1913 | 8.196 | see res assumptions file for calcs
153 | Weather Strip/Caulk w/Blower Door | 15.2825 | 0.5107 | 0.24614 |  | 92% | 14.0599 | 0.46985 | 0.22645 | see res assumptions file for calcs
191 | HE Room Air Conditioner - EER 11 | 65.0356 | 36.1364 | 0 |  | 50% | 32.5178 | 18.0682 | 0
192 | HE Room Air Conditioner - EER 12 | 22.1402 | 12.3061 | 0 |  | 66.67% | 14.7601 | 8.2041 | 0
196 | Reflective Roof | 19.4012 | 8.232 | 0 |  | 90% | 17.4611 | 7.4088 | 0
197 | Window Film | 10.3887 | 3.18 | -0.71243 |  | 90% | 9.3498 | 2.862 | -0.64118
198 | Window Tinting | 2.8277 | 1.4082 | 0 |  | 90% | 2.545 | 1.2674 | 0
199 | Default Window With Sunscreen | 23.5331 | 19.0744 | -2.0556 |  | 90% | 21.1798 | 17.167 | -1.85
200 | Single Pane Clear Windows to Double Pane Low-E Windows | 15.0128 | 6.6684 | 2.8592 |  | 90% | 13.5115 | 6.0016 | 2.5733
202 | Ceiling R-0 to R-19 Insulation | 6.6667 | 2.4182 | 1.9634 |  | 90% | 6 | 2.1764 | 1.767
203 | Ceiling R-19 to R-38 Insulation | 2.0663 | 0.73137 | 0.58334 |  | 90% | 1.8597 | 0.65823 | 0.52501
204 | Wall 2x4 R-0 to Blow-In R-13 Insulation | 2.4466 | 0.86428 | 0.66008 |  | 90% | 2.2019 | 0.77785 | 0.59407
205 | Weather Strip/Caulk w/Blower Door | 2.7843 | 0.094494 | 0.039547 |  | 90% | 2.5059 | 0.085045 | 0.035592
221 | CFL (18-Watt integral ballast), 0.5 hr/day | 147.7024 | 7.7279 | 11.0185 |  | 59.52% | 87.9181 | 4.5999 | 6.5586
231 | CFL (18-Watt integral ballast), 2.5 hr/day | 1313.174 | 68.706 | 97.9622 |  | 59.52% | 781.6512 | 40.8965 | 58.3108
241 | CFL (18-Watt integral ballast), 6.0 hr/day | 712.391 | 37.2727 | 53.144 |  | 59.52% | 424.0422 | 22.1861 | 31.6334
251 | ROB 2L4'T8, 1EB | 49.8174 | 2.6065 | 3.7164 |  | 50% | 24.9087 | 1.3032 | 1.8582
252 | RET 2L4'T8, 1EB | 174.414 | 9.1254 | 13.0112 |  | 50% | 87.207 | 4.5627 | 6.5056
301 | HE Refrigerator - Energy Star version of above | 639.6242 | 85.0219 | 78.9771 |  | 90% | 575.6618 | 76.5197 | 71.0794
351 | HE Freezer | 42.3598 | 5.6307 | 5.2303 |  | 75% | 31.7698 | 4.223 | 3.9228
401 | Heat Pump Water Heater (EF=2.9) | 1766.8079 | 168.687 | 466.8505 |  | 98.59% | 1741.8227 | 166.3015 | 460.2486
403 | Solar Water Heat | 93.7079 | 12.7929 | 0 |  | 98.59% | 92.3828 | 12.612 | 0
404 | AC Heat Recovery Units | 475.4051 | 200.591 | 0 |  | 98.59% | 468.6822 | 197.7544 | 0
405 | Low Flow Showerhead | 243.9689 | 23.5524 | 64.7116 |  | 97.05% | 236.763 | 22.8568 | 62.8003
406 | Pipe Wrap | 71.6014 | 6.8537 | 18.9362 |  | 97.05% | 69.4866 | 6.6513 | 18.3769
407 | Faucet Aerators | 127.1698 | 12.2174 | 33.6747 |  | 97.05% | 123.4137 | 11.8565 | 32.6801
408 | Water Heater Blanket | 302.6958 | 28.9169 | 79.9985 |  | 97.05% | 293.7554 | 28.0628 | 77.6357
409 | Water Heater Temperature Check and Adjustment | 18.0573 | 1.7241 | 4.7714 |  | 97.05% | 17.524 | 1.6732 | 4.6305
410 | Water Heater Timeclock | 162.0256 | 15.47 | 42.8131 |  | 97.05% | 157.2401 | 15.0131 | 41.5486
411 | Heat Trap | 327.9954 | 31.3338 | 86.6848 |  | 97.05% | 318.3078 | 30.4083 | 84.1245
502 | Energy Star CW CEE Tier 2 (MEF=2.0) | 542.4871 | 76.2206 | 76.0439 |  | 100% | 542.4871 | 76.2206 | 76.0439
503 | Energy Star CW CEE Tier 3 (MEF=2.2) | 205.7611 | 28.9099 | 28.8429 |  | 100% | 205.7611 | 28.9099 | 28.8429
610 | High Efficiency CD (EF=3.01 w/moisture sensor) | 250.3023 | 40.4037 | 18.8484 |  | 0% | 0 | 0 | 0
701 | Energy Star DW (EF=0.68) | 425.635 | 41.7402 | 30.2239 |  | 100% | 425.635 | 41.7402 | 30.2239
801 | Two Speed Pool Pump (1.5 hp) | 631.3629 | 134.7973 | 26.2102 |  | 100% | 631.3629 | 134.7973 | 26.2102
802 | High Efficiency One Speed Pool Pump (1.5 hp) | 647.147 | 138.1672 | 26.8655 |  | 100% | 647.147 | 138.1672 | 26.8655
803 | Variable-Speed Pool Pump (<1 hp) | 716.4278 | 152.9588 | 29.7416 |  | 100% | 716.4278 | 152.9588 | 29.7416
804 | PV-Powered Pool Pumps | 459.2486 | 98.0505 | 19.0651 |  | 100% | 459.2486 | 98.0505 | 19.0651
901 | Energy Star TV | 17.4203 | 2.1948 | 1.9087 |  | 100% | 17.4203 | 2.1948 | 1.9087
911 | Energy Star TV | 46.058 | 5.7846 | 5.0534 |  | 100% | 46.058 | 5.7846 | 5.0534
921 | Energy Star Set-Top Box | 158.064 | 19.8761 | 17.3332 |  | 100% | 158.064 | 19.8761 | 17.3332
931 | Energy Star DVD Player | 43.8571 | 5.5184 | 4.808 |  | 100% | 43.8571 | 5.5184 | 4.808
941 | Energy Star VCR | 17.234 | 2.1687 | 1.8893 |  | 100% | 17.234 | 2.1687 | 1.8893
951 | Energy Star Desktop PC | 68.1978 | 8.5783 | 7.4775 |  | 100% | 68.1978 | 8.5783 | 7.4775
961 | Energy Star Laptop PC | 7.7705 | 0.97742 | 0.85199 |  | 100% | 7.7705 | 0.97742 | 0.85199
Total | 2009 TP | 20055.5444 | 5703.4029 | 3471.9141 | Codes and Standards |  | 17181.7366 | 4873.9106 | 3028.5449 | -14.33% | decrease
222 | LED (12-Watt), 0.5 hr/day | [5 empty] | 27.6448 | 1.4464 | 2.0569
232 | LED (12-Watt), 2.5 hr/day | [5 empty] | 245.7805 | 12.8594 | 18.3334
242 | LED (12-Watt), 6.0 hr/day | [5 empty] | 133.3348 | 6.9762 | 9.9442
263 | LED Directional 13W (Flood, Outdoor) | [5 empty] | 192.2264 | 0 | 0
302 | Fridge Appliance Recycling | [5 empty] | 946.5913 | 125.824 | 116.8704
352 | Freeze Appliance Recycling | [5 empty] | 24.4577 | 3.2504 | 3.0215
962 | Smart Plug | [5 empty] | 255.0698 | 32.0976 | 27.9578
Total | With Duke and FPL Measures | 20055.5444 | 5703.4029 | 3471.9141 |  |  | 19006.8419 | 5056.3646 | 3206.7289 | -5.229% | decrease

## Commercial Adj FPL
FPL152340
DSM-14
|  | ROB Adj |  |  |  | New Adj | 2013 Adjusted Values
Measure Number | Measure | GWh | SMW | WMW |  | Factor (%) | GWh | SMW | WMW
111 | Premium T8, Elecctronic Ballast | 700.2024 | 131.1577 | 81.4915 |  | 66.67% | 466.8016 | 87.4384 | 54.3277
112 | Premium T8, EB, Reflector | 276.2674 | 52.3984 | 32.2806 |  | 66.67% | 184.1783 | 34.9323 | 21.5204
113 | Occupancy Sensor | 154.6194 | 28.7807 | 19.6002 |  | 94.12% | 145.5242 | 27.0877 | 18.4473
114 | Continuous Dimming | 268.0971 | 50.0437 | 32.0836 |  | 94.12% | 252.3267 | 47.0999 | 30.1963
115 | Lighting Control Tuneup | 13.8926 | 2.6669 | 1.5877 |  | 94.12% | 13.0754 | 2.51 | 1.4943
121 | ROB Premium T8, 1EB | 110.16 | 21.615 | 12.1636 |  | 100% | 110.16 | 21.615 | 12.1636
122 | ROB Premium T8, EB, Reflector | 84.1858 | 16.5472 | 9.5034 |  | 100% | 84.1858 | 16.5472 | 9.5034
123 | Occupancy Sensor | 73.0857 | 14.2077 | 8.9552 |  | 100% | 73.0857 | 14.2077 | 8.9552
124 | Lighting Control Tuneup | 6.1761 | 1.232 | 0.6962 |  | 100% | 6.1761 | 1.232 | 0.6962
131 | CFL Screw-in 18W | 1183.7829 | 227.4015 | 125.8502 |  | 61.4% | 726.8842 | 139.6325 | 77.2765
141 | CFL Hardwired, Modular 18W | 394.5943 | 75.8005 | 41.9501 |  | 61.4% | 242.2947 | 46.5442 | 25.7588
151 | PSMH, 250W, magnetic ballast | 252.0535 | 48.0256 | 23.0317 |  | 100% | 252.0535 | 48.0256 | 23.0317
153 | High Bay T5 | 216.3825 | 41.2289 | 19.7722 |  | 100% | 216.3825 | 41.2289 | 19.7722
161 | LED Exit Sign | 106.8255 | 14.8925 | 16.0833 |  | 8.571% | 9.1565 | 1.2765 | 1.3786
201 | High Pressure Sodium 250W Lamp | 321.624 | 26.0439 | 10.915 |  | 100% | 321.624 | 26.0439 | 10.915
202 | Outdoor Lighting Controls (Photocell/Timeclock) | 25.8638 | 2.0944 | 0.87774 |  | 100% | 25.8638 | 2.0944 | 0.87774
211 | Outdoor Lighting Controls (Photocell/Timeclock) | 30.869 | 2.4557 | 1.0086e-06 |  | 100% | 30.869 | 2.4557 | 1.0086e-06
301 | Centrifugal Chiller, 0.51 kW/ton, 500 tons | 102.8714 | 29.9416 | 0.10549 |  | 100% | 102.8714 | 29.9416 | 0.10549
302 | High Efficiency Chiller Motors | 49.5373 | 10.123 | 0 |  | 100% | 49.5373 | 10.123 | 0
304 | EMS - Chiller | 13.8892 | 2.6997 | 0.26068 |  | 100% | 13.8892 | 2.6997 | 0.26068
305 | Chiller Tune Up/Diagnostics | 56.5976 | 16.1593 | 0.52621 |  | 100% | 56.5976 | 16.1593 | 0.52621
306 | VSD for Chiller Pumps and Towers | 99.6265 | 19.4002 | 0.46419 |  | 100% | 99.6265 | 19.4002 | 0.46419
307 | EMS Optimization | 35.8496 | 1.7326 | 0.16648 |  | 100% | 35.8496 | 1.7326 | 0.16648
308 | Aerosole Duct Sealing | 111.6781 | 21.7092 | 0.52047 |  | 100% | 111.6781 | 21.7092 | 0.52047
309 | Duct/Pipe Insulation | 12.5404 | 2.4423 | 0.058144 |  | 100% | 12.5404 | 2.4423 | 0.058144
311 | Window Film (Standard) | 33.5793 | 6.8913 | -1.0174 |  | 100% | 33.5793 | 6.8913 | -1.0174
313 | Ceiling Insulation | 62.1976 | 37.3479 | 4.4077 |  | 100% | 62.1976 | 37.3479 | 4.4077
314 | Roof Insulation | 21.6146 | 10.9625 | 0.38251 |  | 100% | 21.6146 | 10.9625 | 0.38251
315 | Cool Roof - Chiller | 138.121 | 57.6397 | 0 |  | 100% | 138.121 | 57.6397 | 0
317 | Thermal Energy Storage (TES) | -17.8643 | 61.2294 | 0.16943 |  | 100% | -17.8643 | 61.2294 | 0.16943
321 | DX Packaged System, EER=11.9, 10 tons | 80.3624 | 12.0013 | 0 |  | 100% | 80.3624 | 12.0013 | 0
322 | Hybrid Dessicant-DX System (Trane CDQ) | 507.7383 | 75.9881 | 0 |  | 91.96% | 466.9379 | 69.8819 | 0 | see commercial assumptions
323 | Geothermal Heat Pump, EER=13, 10 tons | 242.1908 | 36.2461 | 1.4316 |  | 91.96% | 222.729 | 33.3334 | 1.3165 | see commercial assumptions
326 | DX Tune Up/ Advanced Diagnostics | 68.0479 | 20.5997 | 0 |  | 92% | 62.604 | 18.9517 | 0 | see commercial assumptions
327 | DX Coil Cleaning | 106.3982 | 32.2087 | 0 |  | 92% | 97.8863 | 29.632 | 0 | see commercial assumptions
328 | Optimize Controls | 71.7253 | 3.6726 | 0.29875 |  | 92% | 65.9873 | 3.3788 | 0.27485 | see commercial assumptions
329 | Aerosole Duct Sealing | 304.1295 | 62.2786 | 0 |  | 92% | 279.7992 | 57.2964 | 0 | see commercial assumptions
330 | Duct/Pipe Insulation | 30.8968 | 6.34 | 0 |  | 92% | 28.425 | 5.8328 | 0 | see commercial assumptions
332 | Window Film (Standard) | 119.4843 | 24.8106 | -12.0985 |  | 92% | 109.9256 | 22.8258 | -11.1306 | see commercial assumptions
334 | Ceiling Insulation | 210.9654 | 125.6099 | 48.6504 |  | 92% | 194.0882 | 115.5611 | 44.7584 | see commercial assumptions
335 | Roof Insulation | 73.5554 | 40.4291 | 17.124 |  | 92% | 67.671 | 37.1948 | 15.7541 | see commercial assumptions
336 | Cool Roof - DX | 414.9973 | 149.2422 | 0 |  | 92% | 381.7976 | 137.3028 | 0 | see commercial assumptions
341 | Packaged HP System, EER=11.6, 10 tons | 16.8092 | 5.1445 | 0 |  | 100% | 16.8092 | 5.1445 | 0
342 | Geothermal Heat Pump, EER=13, 10 tons | 17.0965 | 6.5806 | 0 |  | 94% | 16.0707 | 6.1857 | 0 | see commercial assumptions
344 | Aerosole Duct Sealing | 26.4554 | 5.6845 | 0.096678 |  | 94% | 24.868 | 5.3434 | 0.090877 | see commercial assumptions
345 | Duct/Pipe Insulation | 3.3177 | 0.71385 | 0.012128 |  | 94% | 3.1187 | 0.67102 | 0.0114 | see commercial assumptions
347 | Window Film (Standard) | 7.8972 | 1.696 | -0.044882 |  | 94% | 7.4234 | 1.5943 | -0.042189 | see commercial assumptions
349 | Ceiling Insulation | 18.3525 | 11.4926 | 0.25028 |  | 94% | 17.2513 | 10.8031 | 0.23526 | see commercial assumptions
350 | Roof Insulation | 6.4523 | 3.7303 | 0.089927 |  | 94% | 6.0652 | 3.5065 | 0.084532 | see commercial assumptions
351 | Cool Roof - DX | 33.5553 | 12.8147 | 0 |  | 94% | 31.542 | 12.0459 | 0 | see commercial assumptions
361 | HE PTAC, EER=9.6, 1 ton | 106.7502 | 16.3327 | 0 |  | 100% | 106.7502 | 16.3327 | 0
362 | Occupancy Sensor (hotels) | 140.105 | 7.3492 | 0.4982 |  | 100% | 140.105 | 7.3492 | 0.4982
401 | High Efficiency Fan Motor, 15hp, 1800rpm, 92.4% | 23.4726 | 3.0856 | 4.2431 |  | 100% | 23.4726 | 3.0856 | 4.2431
402 | Variable Speed Drive Control | 244.06 | 8.7094 | 12.9738 |  | 100% | 244.06 | 8.7094 | 12.9738
403 | Air Handler Optimization | 168.7143 | 5.6512 | 7.2445 |  | 100% | 168.7143 | 5.6512 | 7.2445
404 | Electronically Commutated Motors (ECM) on an Air Handler Unit | 291.4507 | 37.4762 | 0 |  | 100% | 291.4507 | 37.4762 | 0
405 | Demand Control Ventilation (DCV) | 189.8266 | 99.2725 | 318.2929 |  | 100% | 189.8266 | 99.2725 | 318.2929
406 | Energy Recovery Ventilation (ERV) | 90.3815 | 64.3335 | 108.1769 |  | 100% | 90.3815 | 64.3335 | 108.1769
407 | Separate Makeup Air / Exhaust Hoods AC | 92.6672 | 12.1616 | 1.8077 |  | 100% | 92.6672 | 12.1616 | 1.8077
501 | High-efficiency fan motors | 114.6466 | 14.2125 | 11.6689 |  | 100% | 114.6466 | 14.2125 | 11.6689
502 | Strip curtains for walk-ins | 33.6357 | 4.1698 | 3.4235 |  | 100% | 33.6357 | 4.1698 | 3.4235
503 | Night covers for display cases | 30.4575 | 0 | 3.1 |  | 100% | 30.4575 | 0 | 3.1
504 | Evaporator fan controller for MT walk-ins | 3.7512 | 0.46503 | 0.3818 |  | 100% | 3.7512 | 0.46503 | 0.3818
505 | Efficient compressor motor | 62.1171 | 7.7006 | 6.3224 |  | 100% | 62.1171 | 7.7006 | 6.3224
506 | Compressor VSD retrofit | 25.7998 | 1.5994 | 1.313 |  | 100% | 25.7998 | 1.5994 | 1.313
507 | Floating head pressure controls | 21.6188 | 2.68 | 2.2004 |  | 100% | 21.6188 | 2.68 | 2.2004
508 | Refrigeration Commissioning | 22.7384 | 2.8188 | 2.3143 |  | 100% | 22.7384 | 2.8188 | 2.3143
509 | Demand Hot Gas Defrost | 9.2667 | 1.1488 | 0.94318 |  | 100% | 9.2667 | 1.1488 | 0.94318
510 | Demand Defrost Electric | 105.3719 | 13.0628 | 10.7249 |  | 100% | 105.3719 | 13.0628 | 10.7249
511 | Anti-sweat (humidistat) controls | 43.4617 | 2.6941 | 4.4236 |  | 100% | 43.4617 | 2.6941 | 4.4236
513 | High R-Value Glass Doors | 13.3932 | 1.6603 | 1.3632 |  | 100% | 13.3932 | 1.6603 | 1.3632
514 | Multiplex Compressor System | 65.0242 | 8.0609 | 6.6182 |  | 100% | 65.0242 | 8.0609 | 6.6182
515 | Oversized Air Cooled Condenser | 45.1759 | 5.6004 | 4.5981 |  | 100% | 45.1759 | 5.6004 | 4.5981
516 | Freezer-Cooler Replacement Gaskets | 44.9959 | 5.5781 | 4.5797 |  | 100% | 44.9959 | 5.5781 | 4.5797
517 | LED Display Lighting | 6.1812 | 0.76627 | 0.62913 |  | 100% | 6.1812 | 0.76627 | 0.62913
601 | High Efficiency Water Heater (electric) | 4.0898 | 0.5471 | 0.33753 |  | 0% | 0 | 0 | 0
603 | Heat Pump Water Heater (air source) | 140.2711 | 18.7642 | 11.5766 |  | 98.59% | 138.2875 | 18.4988 | 11.4129
604 | Solar Water Heater | 1.3487 | 0.18099 | 0.10841 |  | 98.59% | 1.3296 | 0.17843 | 0.10687
606 | Demand controlled circulating systems | 4.7063 | 0.57203 | 0.40623 |  | 97.05% | 4.5673 | 0.55514 | 0.39423
608 | Heat Recovery Unit | 221.576 | 29.3616 | 17.4553 |  | 99% | 219.3602 | 29.068 | 17.2808
609 | Heat Trap | 29.5242 | 3.9274 | 2.3823 |  | 97.05% | 28.6522 | 3.8114 | 2.3119
610 | Hot Water Pipe Insulation | 1.146 | 0.15379 | 0.092114 |  | 97.05% | 1.1122 | 0.14925 | 0.089393
701 | PC Manual Power Management Enabling | 110.8868 | 9.1548 | 22.2524 |  | 100% | 110.8868 | 9.1548 | 22.2524
702 | PC Network Power Management Enabling | 205.6581 | 16.979 | 41.2708 |  | 100% | 205.6581 | 16.979 | 41.2708
711 | Energy Star or Better Monitor | 26.2788 | 3.2954 | 5.2736 |  | 100% | 26.2788 | 3.2954 | 5.2736
712 | Monitor Power Management Enabling | 96.7318 | 7.9861 | 19.4118 |  | 100% | 96.7318 | 7.9861 | 19.4118
721 | Energy Star or Better Monitor | 0.002003 | 0.00025118 | 0.00040195 |  | 100% | 0.002003 | 0.00025118 | 0.00040195
722 | Monitor Power Management Enabling | 0.17024 | 0.014055 | 0.034164 |  | 100% | 0.17024 | 0.014055 | 0.034164
731 | Energy Star or Better Copier | 5.5371 | 0.71601 | 1.2222 |  | 100% | 5.5371 | 0.71601 | 1.2222
732 | Copier Power Management Enabling | 22.0775 | 1.8795 | 4.8733 |  | 100% | 22.0775 | 1.8795 | 4.8733
741 | Printer Power Management Enabling | 104.3955 | 8.8038 | 22.0044 |  | 100% | 104.3955 | 8.8038 | 22.0044
801 | Convection Oven | 40.3322 | 5.5353 | 1.2636 |  | 100% | 40.3322 | 5.5353 | 1.2636
811 | Efficient Fryer | 41.8079 | 6.1052 | 0.98615 |  | 100% | 41.8079 | 6.1052 | 0.98615
901 | Vending Misers (cooled machines only) | 104.3858 | 8.1312 | 10.148 |  | 100% | 104.3858 | 8.1312 | 10.148
Total | 2009 TP | 10455.3378 | 2120.8525 | 1177.6375 | Codes and Standards |  | 9208.8788 | 1874.1893 | 1051.8904 | -11.92% | decrease
154 | LED High Bay 83W | [5 empty] | 70.5405 | 2.8505 | 12.6348
132 | Flood LED 14W | [5 empty] | 163.4515 | 20.7008 | 24.2439
203 | Outdoor LED 104W | [5 empty] | 217.8036 | 0 | 0
146 | LED (12-Watt) | [5 empty] | 113.1533 | 16.3333 | 15.6667
125 | LED Linear Tube 22W | [5 empty] | 107.8043 | 14.1936 | 16.6576
337 | Run Time Optimizer | [5 empty] | 352.5752 | 74.4948 | 0
338 | Dehumidification Hybrid Desiccant Heat Pump PER 5 TON | [5 empty] | 830.057 | 141.5126 | 11.506
611 | 0.5 Faucet Aerator (DI) - Commercial | [5 empty] | 114.3666 | 15.3609 | 9.3167
612 | 1.0 gpm Faucet Aerator (DI) -Commercial | [5 empty] | 27.2593 | 3.6613 | 2.2206
613 | 1.5 gpm Low Flow Showerhead - Commercial | [5 empty] | 8.4669 | 1.1372 | 0.68974
703 | Server Virtulization | [5 empty] | 87.1023 | 7.1911 | 17.4794
813 | Steamer | [5 empty] | 40 | 6 | 1
814 | Holding Cabinet | [5 empty] | 40 | 6 | 1
812 | Griddle | [5 empty] | 42 | 6 | 1
518 | Ice Machine | [5 empty] | 22.7384 | 2.8188 | 2.3143
Total | with Duke and FPL new measures | 10455.3378 | 2120.8525 | 1177.6375 |  |  | 11446.1976 | 2192.4442 | 1167.6202 | 9.477% | increase

## Industrial Adj FPL
FPL152341
DSM-14
DSM ASSYST ADDITIVE SUPPLY ANALYSIS |  |  | Summer | Winter
Vintage | E
Batch | 2 | Cumulative | Cumulative | Cumulative |  | New 2013
Measure |  | GWH | MW | MW |  | Adjustment |  | Summer | Winter
Number | Measure | Savings | Savings | Savings |  | Factor(%) | GWH | MW | MW
101 | Compressed Air-O&M | 60.6711 | 8.9405 | 7.6772 |  | 100% | 60.6711 | 8.9405 | 7.6772
102 | Compressed Air - Controls | 11.3233 | 1.6686 | 1.4328 |  | 100% | 11.3233 | 1.6686 | 1.4328
103 | Compressed Air - System Optimization | 44.5136 | 6.5596 | 5.6326 |  | 100% | 44.5136 | 6.5596 | 5.6326
104 | Compressed Air- Sizing | 18.249 | 2.6892 | 2.3092 |  | 100% | 18.249 | 2.6892 | 2.3092
105 | Comp Air - Replace 1-5 HP motor | 0.40655 | 0.059914 | 0.051447 |  | 100% | 0.40655 | 0.059914 | 0.051447
106 | Comp Air - ASD (1-5 hp) | 0.81049 | 0.010802 | 0.10256 |  | 100% | 0.81049 | 0.010802 | 0.10256
107 | Comp Air - Motor practices-1 (1-5 HP) | 0.75184 | 0.1108 | 0.095142 |  | 100% | 0.75184 | 0.1108 | 0.095142
108 | Comp Air - Replace 6-100 HP motor | 2.5347 | 0.37355 | 0.32076 |  | 100% | 2.5347 | 0.37355 | 0.32076
109 | Comp Air - ASD (6-100 hp) | 10.4012 | 0.13862 | 1.3161 |  | 100% | 10.4012 | 0.13862 | 1.3161
110 | Comp Air - Motor practices-1 (6-100 HP) | 2.8202 | 0.4156 | 0.35687 |  | 100% | 2.8202 | 0.4156 | 0.35687
111 | Comp Air - Replace 100+ HP motor | 2.3188 | 0.34173 | 0.29344 |  | 100% | 2.3188 | 0.34173 | 0.29344
112 | Comp Air - ASD (100+ hp) | 12.6349 | 0.16839 | 1.5988 |  | 100% | 12.6349 | 0.16839 | 1.5988
113 | Comp Air - Motor practices-1 (100+ HP) | 2.9541 | 0.43534 | 0.37382 |  | 100% | 2.9541 | 0.43534 | 0.37382
114 | Power recovery | 0.0090519 | 0.00078801 | 0.00074018 |  | 100% | 0.0090519 | 0.00078801 | 0.00074018
115 | Refinery Controls | 0.046887 | 0.0040817 | 0.003834 |  | 100% | 0.046887 | 0.0040817 | 0.003834
201 | Fans - O&M | 4.261 | 0.59171 | 0.53518 |  | 100% | 4.261 | 0.59171 | 0.53518
202 | Fans - Controls | 36.2087 | 5.0201 | 4.5392 |  | 100% | 36.2087 | 5.0201 | 4.5392
203 | Fans - System Optimization | 15.0763 | 0.98713 | 1.89 |  | 100% | 15.0763 | 0.98713 | 1.89
204 | Fans- Improve components | 4.3497 | 0.60403 | 0.54633 |  | 100% | 4.3497 | 0.60403 | 0.54633
205 | Fans - Replace 1-5 HP motor | 0.42103 | 0.058373 | 0.052782 |  | 100% | 0.42103 | 0.058373 | 0.052782
206 | Fans - ASD (1-5 hp) | 0.80016 | 0.010033 | 0.10031 |  | 100% | 0.80016 | 0.010033 | 0.10031
207 | Fans - Motor practices-1 (1-5 HP) | 0.77862 | 0.10795 | 0.09761 |  | 100% | 0.77862 | 0.10795 | 0.09761
208 | Fans - Replace 6-100 HP motor | 2.625 | 0.36394 | 0.32908 |  | 100% | 2.625 | 0.36394 | 0.32908
209 | Fans - ASD (6-100 hp) | 8.8186 | 0.11075 | 1.1076 |  | 100% | 8.8186 | 0.11075 | 1.1076
210 | Fans - Motor practices-1 (6-100 HP) | 3.3859 | 0.47021 | 0.42529 |  | 100% | 3.3859 | 0.47021 | 0.42529
211 | Fans - Replace 100+ HP motor | 2.4014 | 0.33294 | 0.30105 |  | 100% | 2.4014 | 0.33294 | 0.30105
212 | Fans - ASD (100+ hp) | 14.4563 | 0.18156 | 1.8157 |  | 100% | 14.4563 | 0.18156 | 1.8157
213 | Fans - Motor practices-1 (100+ HP) | 3.5467 | 0.49254 | 0.44548 |  | 100% | 3.5467 | 0.49254 | 0.44548
214 | Optimize drying process | 2.5658 | 0.44551 | 0.41628 |  | 100% | 2.5658 | 0.44551 | 0.41628
215 | Power recovery | 0.0064407 | 0.00056069 | 0.00052666 |  | 100% | 0.0064407 | 0.00056069 | 0.00052666
216 | Refinery Controls | 0.038425 | 0.003345 | 0.003142 |  | 100% | 0.038425 | 0.003345 | 0.003142
301 | Pumps - O&M | 29.5204 | 3.8929 | 3.5213 |  | 100% | 29.5204 | 3.8929 | 3.5213
302 | Pumps - Controls | 86.6361 | 11.4249 | 10.3343 |  | 100% | 86.6361 | 11.4249 | 10.3343
303 | Pumps - System Optimization | 68.2628 | 9.0032 | 8.1436 |  | 100% | 68.2628 | 9.0032 | 8.1436
304 | Pumps - Sizing | 27.5035 | 3.627 | 3.2807 |  | 100% | 27.5035 | 3.627 | 3.2807
305 | Pumps - Replace 1-5 HP motor | 0.56552 | 0.074588 | 0.067467 |  | 100% | 0.56552 | 0.074588 | 0.067467
306 | Pumps - ASD (1-5 hp) | 1.0933 | 0.013041 | 0.13043 |  | 100% | 1.0933 | 0.013041 | 0.13043
307 | Pumps - Motor practices-1 (1-5 HP) | 1.0458 | 0.13794 | 0.12477 |  | 100% | 1.0458 | 0.13794 | 0.12477
308 | Pumps - Replace 6-100 HP motor | 3.5258 | 0.46504 | 0.42064 |  | 100% | 3.5258 | 0.46504 | 0.42064
309 | Pumps - ASD (6-100 hp) | 14.7114 | 0.17545 | 1.7548 |  | 100% | 14.7114 | 0.17545 | 1.7548
310 | Pumps - Motor practices-1 (6-100 HP) | 3.923 | 0.51741 | 0.46801 |  | 100% | 3.923 | 0.51741 | 0.46801
311 | Pumps - Replace 100+ HP motor | 3.2255 | 0.42543 | 0.38481 |  | 100% | 3.2255 | 0.42543 | 0.38481
312 | Pumps - ASD (100+ hp) | 19.6196 | 0.23399 | 2.3403 |  | 100% | 19.6196 | 0.23399 | 2.3403
313 | Pumps - Motor practices-1 (100+ HP) | 4.1093 | 0.54198 | 0.49024 |  | 100% | 4.1093 | 0.54198 | 0.49024
314 | Power recovery | 0.034842 | 0.0030331 | 0.002849 |  | 100% | 0.034842 | 0.0030331 | 0.002849
315 | Refinery Controls | 0.20714 | 0.018033 | 0.016938 |  | 100% | 0.20714 | 0.018033 | 0.016938
401 | Bakery - Process (Mixing) - O&M | 9.9952 | 1.3459 | 1.2319 |  | 100% | 9.9952 | 1.3459 | 1.2319
402 | O&M/drives spinning machines | 2.1131 | 0.52225 | 0.6689 |  | 100% | 2.1131 | 0.52225 | 0.6689
403 | Air conveying systems | 5.37 | 0.22583 | 0.87123 |  | 100% | 5.37 | 0.22583 | 0.87123
404 | Replace V-Belts | 2.4756 | 0.42984 | 0.40163 |  | 100% | 2.4756 | 0.42984 | 0.40163
405 | Drives - EE motor | 4.6359 | 0.62574 | 0.59197 |  | 100% | 4.6359 | 0.62574 | 0.59197
406 | Gap Forming papermachine | 1.0913 | 0.12438 | 0.11863 |  | 100% | 1.0913 | 0.12438 | 0.11863
407 | High Consistency forming | 1.0554 | 0.12029 | 0.11473 |  | 100% | 1.0554 | 0.12029 | 0.11473
408 | Optimization control PM | 3.2057 | 0.36539 | 0.34849 |  | 100% | 3.2057 | 0.36539 | 0.34849
409 | Efficient practices printing press | 5.1365 | 0.68627 | 0.53749 |  | 100% | 5.1365 | 0.68627 | 0.53749
410 | Efficient Printing press (fewer cylinders) | 4.3553 | 0.5819 | 0.45575 |  | 100% | 4.3553 | 0.5819 | 0.45575
411 | Light cylinders | 1.8936 | 0.253 | 0.19815 |  | 100% | 1.8936 | 0.253 | 0.19815
412 | Efficient drives | 0.99518 | 0.13296 | 0.10414 |  | 100% | 0.99518 | 0.13296 | 0.10414
413 | Clean Room - Controls | 3.7006 | 0.43732 | 0.38299 |  | 100% | 3.7006 | 0.43732 | 0.38299
414 | Clean Room - New Designs | 1.8751 | 0.16957 | 0.14732 |  | 100% | 1.8751 | 0.16957 | 0.14732
415 | Drives - Process Controls (batch + site) | 4.0465 | 0.41583 | 0.37232 |  | 100% | 4.0465 | 0.41583 | 0.37232
416 | Process Drives - ASD | 0.50537 | 0.051556 | 0.047259 |  | 100% | 0.50537 | 0.051556 | 0.047259
417 | O&M - Extruders/Injection Moulding | 3.1651 | 0.44045 | 0.3958 |  | 100% | 3.1651 | 0.44045 | 0.3958
418 | Extruders/injection Moulding-multipump | 4.4978 | 0.6259 | 0.56245 |  | 100% | 4.4978 | 0.6259 | 0.56245
419 | Direct drive Extruders | 2.3109 | 0.32158 | 0.28898 |  | 100% | 2.3109 | 0.32158 | 0.28898
420 | Injection Moulding - Impulse Cooling | 1.635 | 0.22752 | 0.20445 |  | 100% | 1.635 | 0.22752 | 0.20445
421 | Injection Moulding - Direct drive | 1.4273 | 0.19862 | 0.17848 |  | 100% | 1.4273 | 0.19862 | 0.17848
422 | Efficient grinding | 3.8537 | 0.448 | 0.42982 |  | 100% | 3.8537 | 0.448 | 0.42982
423 | Process control | 0.7928 | 0.092166 | 0.088426 |  | 100% | 0.7928 | 0.092166 | 0.088426
424 | Process optimization | 0.51931 | 0.060372 | 0.057922 |  | 100% | 0.51931 | 0.060372 | 0.057922
425 | Drives - Process Control | 0.3705 | 0.065306 | 0.060161 |  | 100% | 0.3705 | 0.065306 | 0.060161
426 | Efficient drives - rolling | 0.44483 | 0.078409 | 0.072231 |  | 100% | 0.44483 | 0.078409 | 0.072231
427 | Drives - Optimization process (M&T) | 4.1259 | 0.72806 | 0.5564 |  | 100% | 4.1259 | 0.72806 | 0.5564
428 | Drives - Scheduling | 2.5022 | 0.070244 | 0.31718 |  | 100% | 2.5022 | 0.070244 | 0.31718
429 | Machinery | 2.501 | 0.42289 | 0.33326 |  | 100% | 2.501 | 0.42289 | 0.33326
430 | Efficient Machinery | 0.44933 | 0.053153 | 0.051457 |  | 100% | 0.44933 | 0.053153 | 0.051457
501 | Bakery - Process | 3.951 | 0.532 | 0.48697 |  | 100% | 3.951 | 0.532 | 0.48697
502 | Drying (UV/IR) | 0.86752 | 0.12288 | 0.27461 |  | 100% | 0.86752 | 0.12288 | 0.27461
503 | Heat Pumps - Drying | 0.77409 | 0.13441 | 0.12559 |  | 100% | 0.77409 | 0.13441 | 0.12559
504 | Top-heating (glass) | 0.39161 | 0.045526 | 0.043678 |  | 100% | 0.39161 | 0.045526 | 0.043678
505 | Efficient electric melting | 0.90312 | 0.15919 | 0.14665 |  | 100% | 0.90312 | 0.15919 | 0.14665
506 | Intelligent extruder (DOE) | 0.017917 | 0.0031582 | 0.0029093 |  | 100% | 0.017917 | 0.0031582 | 0.0029093
507 | Near Net Shape Casting | 0.24643 | 0.043437 | 0.040014 |  | 100% | 0.24643 | 0.043437 | 0.040014
508 | Heating - Process Control | 0.92885 | 0.16373 | 0.15083 |  | 100% | 0.92885 | 0.16373 | 0.15083
509 | Efficient Curing ovens | 10.0251 | 1.487 | 1.2759 |  | 100% | 10.0251 | 1.487 | 1.2759
510 | Heating - Optimization process (M&T) | 2.6535 | 0.4579 | 0.37104 |  | 100% | 2.6535 | 0.4579 | 0.37104
511 | Heating - Scheduling | 0.50899 | 0.016413 | 0.071129 |  | 100% | 0.50899 | 0.016413 | 0.071129
551 | Efficient Refrigeration - Operations | 6.5108 | 1.0958 | 0.60186 |  | 100% | 6.5108 | 1.0958 | 0.60186
552 | Optimization Refrigeration | 11.2576 | 1.8948 | 1.0406 |  | 100% | 11.2576 | 1.8948 | 1.0406
601 | Other Process Controls (batch + site) | 2.4504 | 0.2216 | 0.19252 |  | 100% | 2.4504 | 0.2216 | 0.19252
602 | Efficient desalter | 0.0085057 | 0.00074045 | 0.00069551 |  | 100% | 0.0085057 | 0.00074045 | 0.00069551
603 | New transformers welding | 2.9725 | 0.49972 | 0.40614 |  | 100% | 2.9725 | 0.49972 | 0.40614
604 | Efficient processes (welding, etc.) | 4.888 | 0.65303 | 0.57363 |  | 100% | 4.888 | 0.65303 | 0.57363
605 | Process control | 0.032701 | 0.0038683 | 0.0037448 |  | 100% | 0.032701 | 0.0038683 | 0.0037448
606 | Power recovery | 0.0001714 | 1.4921e-05 | 1.4015e-05 |  | 100% | 0.0001714 | 1.4921e-05 | 1.4015e-05
607 | Refinery Controls | 0.00098142 | 8.5437e-05 | 8.0251e-05 |  | 100% | 0.00098142 | 8.5437e-05 | 8.0251e-05
701 | Centrifugal Chiller, 0.51 kW/ton, 500 tons | 19.5271 | 1.0856 | 0.64146 |  | 100% | 19.5271 | 1.0856 | 0.64146
702 | High Efficiency Chiller Motors | 3.8611 | 0.21466 | 0.12684 |  | 100% | 3.8611 | 0.21466 | 0.12684
703 | EMS - Chiller | 0.80433 | 0.044717 | 0.026422 |  | 100% | 0.80433 | 0.044717 | 0.026422
704 | Chiller Tune Up/Diagnostics | 4.0071 | 0.22278 | 0.13163 |  | 100% | 4.0071 | 0.22278 | 0.13163
705 | VSD for Chiller Pumps and Towers | 6.849 | 0.38077 | 0.22499 |  | 100% | 6.849 | 0.38077 | 0.22499
706 | EMS Optimization - Chiller | 2.5301 | 0.14066 | 0.083112 |  | 100% | 2.5301 | 0.14066 | 0.083112
707 | Aerosole Duct Sealing - Chiller | 8.6084 | 0.47859 | 0.28278 |  | 100% | 8.6084 | 0.47859 | 0.28278
708 | Duct/Pipe Insulation - Chiller | 5.1122 | 0.28422 | 0.16793 |  | 100% | 5.1122 | 0.28422 | 0.16793
709 | Window Film (Standard) - Chiller | 2.8532 | 0.15863 | 0.093727 |  | 100% | 2.8532 | 0.15863 | 0.093727
710 | Roof Insulation - Chiller | 1.7168 | 0.095446 | 0.056396 |  | 100% | 1.7168 | 0.095446 | 0.056396
711 | Cool Roof - Chiller | 10.5954 | 0.58906 | 0.34806 |  | 100% | 10.5954 | 0.58906 | 0.34806
721 A | DX Packaged System, EER=11.9, 10 tons | 16.6428 | 0 | 0.5277 |  | 100% | 16.6428 | 0 | 0.5277 | see industrial assumption file
722 | Hybrid Dessicant-DX System (Trane CDQ) | 52.1482 | 0 | 1.6535 |  | 92% | 47.9763 | 0 | 1.5212 | see industrial assumption file
723 | Geothermal Heat Pump, EER=13, 10 tons | 8.3356 | 0 | 0.26378 |  | 67% | 5.5848 | 0 | 0.17673 | see industrial assumption file
724 | DX Tune Up/ Advanced Diagnostics | 2.9322 | 0 | 0.092938 |  | 92% | 2.6976 | 0 | 0.085503 | see industrial assumption file
725 | DX Coil Cleaning | 5.7381 | 0 | 0.18194 |  | 92% | 5.2791 | 0 | 0.16738 | see industrial assumption file
726 | Optimize Controls | 2.1768 | 0 | 0.070314 |  | 92% | 2.0026 | 0 | 0.064689 | see industrial assumption file
727 | Aerosole Duct Sealing | 11.7817 | 0 | 0.38081 |  | 92% | 10.8391 | 0 | 0.35034 | see industrial assumption file
728 | Duct/Pipe Insulation | 6.7859 | 0 | 0.21881 |  | 92% | 6.243 | 0 | 0.2013 | see industrial assumption file
729 | Window Film (Standard) | 3.6152 | 0 | 0.11674 |  | 92% | 3.3259 | 0 | 0.1074 | see industrial assumption file
730 | Roof Insulation | 2.3814 | 0 | 0.076911 |  | 92% | 2.1909 | 0 | 0.070758 | see industrial assumption file
731 | Cool Roof - DX | 14.3158 | 0 | 0.46214 |  | 92% | 13.1705 | 0 | 0.42517 | see industrial assumption file
801 | Premium T8, Elecctronic Ballast | 103.3084 | 15.1379 | 13.2038 |  | 67% | 69.2166 | 10.1424 | 8.8466 | see industrial assumption file
802 | CFL Hardwired, Modular 18W | 12.6879 | 1.8376 | 1.6206 |  | 61% | 7.7396 | 1.1209 | 0.98854 | see industrial assumption file
803 | CFL Screw-in 18W | 16.3043 | 2.3599 | 2.0818 |  | 61% | 9.9456 | 1.4396 | 1.2699 | see industrial assumption file
804 | High Bay T5 | 8.5543 | 1.247 | 1.103 |  | 100% | 8.5543 | 1.247 | 1.103 | see industrial assumption file
805 | Occupancy Sensor | 16.5779 | 2.4266 | 2.1195 |  | 94% | 15.5833 | 2.281 | 1.9923 | see industrial assumption file
901 | Replace V-belts | 0.08835 | 0.013121 | 0.01172 |  | 100% | 0.08835 | 0.013121 | 0.01172
902 | Membranes for wastewater | 0.067405 | 0.016659 | 0.021337 |  | 100% | 0.067405 | 0.016659 | 0.021337
Total | 2009 TP | 1015.5124 | 106.8422 | 108.0414 | Codes and Standards | 122.78 | 958.2182 | 100.064 | 101.7657 | -5.642% | decrease
27348.8337
806 | LED Linear Tube 22W | [5 empty] | 48.7193 | 7.1389 | 6.2268
807 | Flood LED 14W | [5 empty] | 1.6955 | 0.81346 | 0.7175
808 | LED High Bay 83W | [5 empty] | 2.6463 | 0.79584 | 0.70392
732 | Run Time Optimizer | [5 empty] | 18.2024 | 7.56 | 0
733 | Dehumidification Hybrid Desiccant Heat Pump PER 5 TON | [5 empty] | 42.8534 | 14.3612 | 1.4529
Total | with new measures | 1015.5124 | 106.8422 | 108.0414 |  |  | 1072.3351 | 130.7334 | 110.8668 | 5.595% | increase
|  | 2009 TP |  |  |  |  | with new measures and C&D
| Total Technical Potential | 31526.3946 |  |  |  |  | 31525.3746 |  |  | -0.003235% | decrease

## Res Assumptions
FPL152342
DSM-14
From ITRON M File
hvac vs heat pump |  |  | Building Type 1
|  |  | vs 13 | vs 14 | "delta savings%"
| Measure # | Measure Description |  |  | Adj Factor
| 100 | Base 13 SEER Split-System Air Conditioner & Strip Heater | 0%
| 101 | 14 SEER Split-System Air Conditioner | 6.477% | 0%
| 102 | 15 SEER Split-System Air Conditioner | 11.35% | 4.877% | 0.42954
| 103 | 17 SEER Split-System Air Conditioner | 17.96% | 11.49% | 0.63948
| 104 | 19 SEER Split-System Air Conditioner | 22.93% | 16.46% | 0.7176
| 105 | 14 SEER Split-System Heat Pump | 20.34% | 13.87% | 0.68165
| 106 | 15 SEER Split-System Heat Pump | 25.68% | 19.21% | 0.74783
| 107 | 17 SEER Split-System Heat Pump | 33.06% | 26.58% | 0.80407
heat pump only |  |  | Itron - M File
| 131 | 14 SEER Split-System Heat Pump | 8.089%
| 132 | 15 SEER Split-System Heat Pump | 14.25%
| 133 | 17 SEER Split-System Heat Pump | 22.76%
| 111 | Sealed Attic w/Sprayed Foam Insulated Roof Deck | 93.52%
| 137 | Sealed Attics | 91.91%

## Commercial Assumptions
FPL152343
DSM-14
320 | Base DX Packaged System, EER=10.3, 10 tons | Base DX Packaged System, EER=11.2, 10 tons per FBC 2013 | 91.96%
322 | Hybrid Dessicant-DX System (Trane CDQ) |  | 91.96%
323 | Geothermal Heat Pump, EER=13, 10 tons |  | 91.96%
326 | DX Tune Up/ Advanced Diagnostics |  | 91.96%
327 | DX Coil Cleaning |  | 91.96%
328 | Optimize Controls |  | 91.96%
329 | Aerosole Duct Sealing |  | 91.96%
330 | Duct/Pipe Insulation |  | 91.96%
332 | Window Film (Standard) |  | 91.96%
334 | Ceiling Insulation |  | 91.96%
335 | Roof Insulation |  | 91.96%
336 | Cool Roof - DX |  | 91.96%
340 | Base Packaged HP System, EER=10.3, 10 tons | Base Packaged HP System, EER=11.0, 10 tons per FBC 2013 | 93.64%
342 | Geothermal Heat Pump, EER=13, 10 tons |  | 93.64%
344 | Aerosole Duct Sealing |  | 93.64%
345 | Duct/Pipe Insulation |  | 93.64%
347 | Window Film (Standard) |  | 93.64%
349 | Ceiling Insulation |  | 93.64%
350 | Roof Insulation |  | 93.64%
351 | Cool Roof - DX |  | 93.64%

## Industrial Assumptions
FPL152344
DSM-14
720 | Base DX Packaged System, EER=10.3, 10 tons | Base DX Packaged System, EER=11.2, 10 tons | 91.96%
722 | Hybrid Dessicant-DX System (Trane CDQ) |  | 91.96%
723 | Geothermal Heat Pump, EER=13, 10 tons
724 | DX Tune Up/ Advanced Diagnostics |  | 66.67%
725 | DX Coil Cleaning |  | 91.96%
726 | Optimize Controls |  | 91.96%
727 | Aerosole Duct Sealing |  | 91.96%
728 | Duct/Pipe Insulation |  | 91.96%
729 | Window Film (Standard) |  | 91.96%
730 | Roof Insulation |  | 91.96%
731 | Cool Roof - DX |  | 91.96%
measure
801 | Premium T8, Elecctronic Ballast |  | 66.67%
802 | CFL Hardwired, Modular 18W |  | 61.4%
803 | CFL Screw-in 18W |  | 61.4%
804 | High Bay T5 |  | 100%
805 | Occupancy Sensor |  | 94.12%