## Unit & Fin Data-input
FPL 153020
DSM-14
Unit Operating and Cost Data
Unit 1
DSM
Operating and Cost Data
Technology | DSM
Fuel | DSM
Fuel Type Number (see fuel price pages) | 1
Geographic location (for Gas) | (1)
Gas MMBTU/day (e.g 200,000 per 3x1 CC) | 0
Gas Transportation Cost $/MMBTU | 0
Transportation Cost $/KW | 0
Base Operation (MW) annual average rating | 1
Base Op 'Heat Rate, 75 deg. F (BTU/KWH) | 0
Capacity payment ($/kw month) | N
Fixed O&M ($/KW-yr) see note | 0
Capital Replace ($/kW-Yr) | 0
VOM ($/MWh) | 0
Nox emission rate (lb/mmbtu) | 0
SO2 emission rate (lb/mmbtu) | 0
CO2 emission rate (lb/mmbtu) | 0
Hg emission rate (lb/ trillion btu) | 0
Financial Data
Discount rate | 0.0754
I/S Year of Units for comparison | 2015
Book Life (from EDM) or length of proposal | 35
Costs entered in year $ (FOM and Cap. Repl.) | 2015
Note: | The costs in this page for units can be input in different years and the costs will be automatically adjusted to
the i/s year of the analysis.

## O&M escalators-input
FPL 153021
DSM-14
Screening Curve Analysis : O&M Escalators
Cost escalation
|  |  |  | Interim step Unit 1 |  |  | interim step Unit 1 |  |  | Cumulative esc Unit 1 |  |  | Interim step Unit 2 |  |  | interim step Unit 2
Year | FOM escalators (CPH) | VOM escalators (PPI) | Cap Rep escalators (PPI) | FOM escalators (CPH) | VOM escalators (PPI) | Cap Rep escalators (PPI) | FOM escalators (CPH) | VOM escalators (PPI) | Cap Rep escalators (PPI) | FOM escalators (CPH) | VOM escalators (PPI) | Cap Rep escalators (PPI) | FOM escalators (CPH) | VOM escalators (PPI) | Cap Rep escalators (PPI) | FOM escalators (CPH) | VOM escalators (PPI) | Cap Rep escalators (PPI)
2014 | 1.025 | 1.025 | 1.025 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2015 | 1.025 | 1.025 | 1.025 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2016 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2017 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.0506 | 1.0506 | 1.0506 | 1.0506 | 1.0506 | 1.0506 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2018 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.0769 | 1.0769 | 1.0769 | 1.0769 | 1.0769 | 1.0769 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2019 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.1038 | 1.1038 | 1.1038 | 1.1038 | 1.1038 | 1.1038 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2020 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2021 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.1597 | 1.1597 | 1.1597 | 1.1597 | 1.1597 | 1.1597 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2022 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.1887 | 1.1887 | 1.1887 | 1.1887 | 1.1887 | 1.1887 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2023 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.2184 | 1.2184 | 1.2184 | 1.2184 | 1.2184 | 1.2184 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2024 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.2489 | 1.2489 | 1.2489 | 1.2489 | 1.2489 | 1.2489 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.2801 | 1.2801 | 1.2801 | 1.2801 | 1.2801 | 1.2801 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2026 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.3121 | 1.3121 | 1.3121 | 1.3121 | 1.3121 | 1.3121 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2027 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.3449 | 1.3449 | 1.3449 | 1.3449 | 1.3449 | 1.3449 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2028 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.3785 | 1.3785 | 1.3785 | 1.3785 | 1.3785 | 1.3785 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2029 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.413 | 1.413 | 1.413 | 1.413 | 1.413 | 1.413 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2030 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.4483 | 1.4483 | 1.4483 | 1.4483 | 1.4483 | 1.4483 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2031 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.4845 | 1.4845 | 1.4845 | 1.4845 | 1.4845 | 1.4845 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2032 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.5216 | 1.5216 | 1.5216 | 1.5216 | 1.5216 | 1.5216 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2033 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.5597 | 1.5597 | 1.5597 | 1.5597 | 1.5597 | 1.5597 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2034 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.5987 | 1.5987 | 1.5987 | 1.5987 | 1.5987 | 1.5987 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2035 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.6386 | 1.6386 | 1.6386 | 1.6386 | 1.6386 | 1.6386 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2036 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.6796 | 1.6796 | 1.6796 | 1.6796 | 1.6796 | 1.6796 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2037 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.7216 | 1.7216 | 1.7216 | 1.7216 | 1.7216 | 1.7216 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2038 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.7646 | 1.7646 | 1.7646 | 1.7646 | 1.7646 | 1.7646 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2039 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.8087 | 1.8087 | 1.8087 | 1.8087 | 1.8087 | 1.8087 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2040 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.8539 | 1.8539 | 1.8539 | 1.8539 | 1.8539 | 1.8539 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2041 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.9003 | 1.9003 | 1.9003 | 1.9003 | 1.9003 | 1.9003 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2042 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.9478 | 1.9478 | 1.9478 | 1.9478 | 1.9478 | 1.9478 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2043 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.9965 | 1.9965 | 1.9965 | 1.9965 | 1.9965 | 1.9965 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2044 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.0464 | 2.0464 | 2.0464 | 2.0464 | 2.0464 | 2.0464 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2045 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.0976 | 2.0976 | 2.0976 | 2.0976 | 2.0976 | 2.0976 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2046 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.15 | 2.15 | 2.15 | 2.15 | 2.15 | 2.15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2047 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.2038 | 2.2038 | 2.2038 | 2.2038 | 2.2038 | 2.2038 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2048 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.2589 | 2.2589 | 2.2589 | 2.2589 | 2.2589 | 2.2589 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2049 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.3153 | 2.3153 | 2.3153 | 2.3153 | 2.3153 | 2.3153 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2050 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.3732 | 2.3732 | 2.3732 | 2.3732 | 2.3732 | 2.3732 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2051 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.4325 | 2.4325 | 2.4325 | 2.4325 | 2.4325 | 2.4325 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2052 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.4933 | 2.4933 | 2.4933 | 2.4933 | 2.4933 | 2.4933 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2053 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.5557 | 2.5557 | 2.5557 | 2.5557 | 2.5557 | 2.5557 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2054 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.6196 | 2.6196 | 2.6196 | 2.6196 | 2.6196 | 2.6196 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2055 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.6851 | 2.6851 | 2.6851 | 2.6851 | 2.6851 | 2.6851 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2056 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.7522 | 2.7522 | 2.7522 | 2.7522 | 2.7522 | 2.7522 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2057 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.821 | 2.821 | 2.821 | 2.821 | 2.821 | 2.821 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2058 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.8915 | 2.8915 | 2.8915 | 2.8915 | 2.8915 | 2.8915 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2059 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 2.9638 | 2.9638 | 2.9638 | 2.9638 | 2.9638 | 2.9638 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2060 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 3.0379 | 3.0379 | 3.0379 | 3.0379 | 3.0379 | 3.0379 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2061 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 3.1139 | 3.1139 | 3.1139 | 3.1139 | 3.1139 | 3.1139 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2062 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 3.1917 | 3.1917 | 3.1917 | 3.1917 | 3.1917 | 3.1917 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2063 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 3.2715 | 3.2715 | 3.2715 | 3.2715 | 3.2715 | 3.2715 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2064 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 3.3533 | 3.3533 | 3.3533 | 3.3533 | 3.3533 | 3.3533 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2065 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 3.4371 | 3.4371 | 3.4371 | 3.4371 | 3.4371 | 3.4371
2066 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 3.523 | 3.523 | 3.523 | 3.523 | 3.523 | 3.523

## Fuel prices-input
FPL 153022
DSM-14
Fuel prices $/MMBTU nominal
Fuel forecast source:
do no remove |  | DSM
1 |  | 1
2 | 2014 | 4.0929
3 | 2015 | 4.2581
4 | 2016 | 4.5075
5 | 2017 | 4.9309
6 | 2018 | 5.9995
7 | 2019 | 6.154
8 | 2020 | 6.3084
9 | 2021 | 6.4114
10 | 2022 | 6.6173
11 | 2023 | 6.9263
12 | 2024 | 7.3382
13 | 2025 | 7.6471
14 | 2026 | 7.956
15 | 2027 | 8.265
16 | 2028 | 8.6769
17 | 2029 | 8.9858
18 | 2030 | 9.1917
19 | 2031 | 9.5389
20 | 2032 | 9.8993
21 | 2033 | 10.2733
22 | 2034 | 10.6614
23 | 2035 | 11.0643
24 | 2036 | 11.4824
25 | 2037 | 11.9163
26 | 2038 | 12.3667
27 | 2039 | 12.8342
28 | 2040 | 13.3194
29 | 2041 | 13.8229
30 | 2042 | 14.3455
31 | 2043 | 14.888
32 | 2044 | 15.4509
33 | 2045 | 16.0352
34 | 2046 | 16.6416
35 | 2047 | 17.271
36 | 2048 | 17.9243
37 | 2049 | 18.6023
38 | 2050 | 19.306
39 | 2051 | 20.0363
40 | 2052 | 20.7943
41 | 2053 | 21.581
42 | 2054 | 22.3975
43 | 2055 | 23.2449
44 | 2056 | 24.1245
45 | 2057 | 25.0374
46 | 2058 | 25.9848
47 | 2059 | 26.9681
48 | 2060 | 27.9887
49 | 2061 | 29.048
50 | 2062 | 30.1474
51 | 2063 | 31.2884
52 | 2064 | 32.4726
53 | 2065 | 33.7017
54 | 2066 | 34.9774

## Emission costs-input
FPL 153023
DSM-14
Emission prices $/ton nominal
source: | 2014 ICF ENV II
Year | Nox Emission Cost in $ per ton | SO2 Emission Cost in $ per ton | CO2 Emission Cost in $ per ton | Hg Emission Cost in $ per pound
2014 | 496.7158 | 369.9981 | 0 | 0
2015 | 509.1337 | 246.1944 | 0 | 0
2016 | 521.862 | 57.9847 | 0 | 0
2017 | 534.9086 | 59.4343 | 0 | 0
2018 | 548.2813 | 60.9201 | 0 | 0
2019 | 561.9883 | 62.4431 | 0 | 0
2020 | 576.038 | 64.0042 | 0 | 0
2021 | 590.439 | 65.6043 | 0 | 0
2022 | 605.2 | 67.2444 | 0 | 0
2023 | 620.33 | 68.9256 | 8.5054 | 0
2024 | 635.8382 | 70.6487 | 9.7778 | 0
2025 | 651.7342 | 72.4149 | 11.1953 | 0
2026 | 668.0275 | 74.2253 | 12.7667 | 0
2027 | 684.7282 | 76.0809 | 14.501 | 0
2028 | 701.8464 | 77.9829 | 16.4232 | 0
2029 | 719.3926 | 79.9325 | 18.7522 | 0
2030 | 737.3774 | 81.9308 | 21.3676 | 0
2031 | 755.8118 | 83.9791 | 24.1729 | 0
2032 | 774.7071 | 86.0786 | 27.2628 | 0
2033 | 794.0748 | 88.2305 | 30.6538 | 0
2034 | 813.9267 | 90.4363 | 34.3629 | 0
2035 | 834.2748 | 92.6972 | 38.4082 | 0
2036 | 855.1317 | 95.0146 | 42.8083 | 0
2037 | 876.51 | 97.39 | 47.5828 | 0
2038 | 898.4228 | 99.8248 | 52.7522 | 0
2039 | 920.8833 | 102.3204 | 58.3378 | 0
2040 | 943.9054 | 104.8784 | 64.3618 | 0
2041 | 967.503 | 107.5003 | 70.8475 | 0
2042 | 991.6906 | 110.1878 | 77.8191 | 0
2043 | 1016.4829 | 112.9425 | 85.3019 | 0
2044 | 1041.895 | 115.7661 | 93.3223 | 0
2045 | 1067.9423 | 118.6603 | 101.9078 | 0
2046 | 1094.6409 | 121.6268 | 111.0871 | 0
2047 | 1122.0069 | 124.6674 | 120.89 | 0
2048 | 1150.0571 | 127.7841 | 131.3478 | 0
2049 | 1178.8085 | 130.9787 | 142.4928 | 0
2050 | 1208.2787 | 134.2532 | 154.3589 | 0
2051 | 1238.4857 | 137.6095 | 166.9814 | 0
2052 | 1269.4478 | 141.0498 | 180.397 | 0
2053 | 1301.184 | 144.576 | 194.6438 | 0
2054 | 1333.7136 | 148.1904 | 209.7617 | 0
2055 | 1367.0565 | 151.8952 | 225.7922 | 0
2056 | 1401.2329 | 155.6925 | 242.7782 | 0
2057 | 1436.2637 | 159.5849 | 260.7648 | 0
2058 | 1472.1703 | 163.5745 | 279.7987 | 0
2059 | 1508.9746 | 167.6638 | 299.9285 | 0
2060 | 1546.6989 | 171.8554 | 321.2047 | 0
2061 | 1585.3664 | 176.1518 | 343.68 | 0
2062 | 1625.0006 | 180.5556 | 367.409 | 0
2063 | 1665.6256 | 185.0695 | 376.5942 | 0
2064 | 1707.2662 | 189.6962 | 386.0091 | 0
2065 | 1749.9479 | 194.4387 | 395.6593 | 0
2066 | 1793.6966 | 199.2996 | 405.5508 | 0

## Capital costs-input
FPL 153024
DSM-14
Capital Revenue Requirements (nominal $000)
Unit 1
DSM
in-service date |  | 2015
Year | Book Life | rev req or cap pay
2014 | 0 | 0
2015 | 1 | 0
2016 | 2 | 0
2017 | 3 | 0
2018 | 4 | 0
2019 | 5 | 0
2020 | 6 | 0
2021 | 7 | 0
2022 | 8 | 0
2023 | 9 | 0
2024 | 10 | 0
2025 | 11 | 0
2026 | 12 | 0
2027 | 13 | 0
2028 | 14 | 0
2029 | 15 | 0
2030 | 16 | 0
2031 | 17 | 0
2032 | 18 | 0
2033 | 19 | 0
2034 | 20 | 0
2035 | 21 | 0
2036 | 22 | 0
2037 | 23 | 0
2038 | 24 | 0
2039 | 25 | 0
2040 | 26 | 0
2041 | 27 | 0
2042 | 28 | 0
2043 | 29 | 0
2044 | 30 | 0
2045 | 31 | 0
2046 | 32 | 0
2047 | 33 | 0
2048 | 34 | 0
2049 | 35 | 0
2050 | 0 | 0
2051 | 0 | 0
2052 | 0 | 0
2053 | 0 | 0
2054 | 0 | 0
2055 | 0 | 0
2056 | 0 | 0
2057 | 0 | 0
2058 | 0 | 0
2059 | 0 | 0
2060 | 0 | 0
2061 | 0 | 0
2062 | 0 | 0
2063 | 0 | 0
2064 | 0 | 0
2065 | 0 | 0
2066 | 0 | 0

## O&M costs
FPL 153025
DSM-14
O&M Costs
Unit 1
| DSM |  | in year $s | 2015
Year |  | FOM $/kW | CAP REP $/KW | VOM $/KW at 100% CF
2014 |  | 0 | 0 | 0
2015 |  | 0 | 0 | 0
2016 |  | 0 | 0 | 0
2017 |  | 0 | 0 | 0
2018 |  | 0 | 0 | 0
2019 |  | 0 | 0 | 0
2020 |  | 0 | 0 | 0
2021 |  | 0 | 0 | 0
2022 |  | 0 | 0 | 0
2023 |  | 0 | 0 | 0
2024 |  | 0 | 0 | 0
2025 |  | 0 | 0 | 0
2026 |  | 0 | 0 | 0
2027 |  | 0 | 0 | 0
2028 |  | 0 | 0 | 0
2029 |  | 0 | 0 | 0
2030 |  | 0 | 0 | 0
2031 |  | 0 | 0 | 0
2032 |  | 0 | 0 | 0
2033 |  | 0 | 0 | 0
2034 |  | 0 | 0 | 0
2035 |  | 0 | 0 | 0
2036 |  | 0 | 0 | 0
2037 |  | 0 | 0 | 0
2038 |  | 0 | 0 | 0
2039 |  | 0 | 0 | 0
2040 |  | 0 | 0 | 0
2041 |  | 0 | 0 | 0
2042 |  | 0 | 0 | 0
2043 |  | 0 | 0 | 0
2044 |  | 0 | 0 | 0
2045 |  | 0 | 0 | 0
2046 |  | 0 | 0 | 0
2047 |  | 0 | 0 | 0
2048 |  | 0 | 0 | 0
2049 |  | 0 | 0 | 0
2050 |  | 0 | 0 | 0
2051 |  | 0 | 0 | 0
2052 |  | 0 | 0 | 0
2053 |  | 0 | 0 | 0
2054 |  | 0 | 0 | 0
2055 |  | 0 | 0 | 0
2056 |  | 0 | 0 | 0
2057 |  | 0 | 0 | 0
2058 |  | 0 | 0 | 0
2059 |  | 0 | 0 | 0
2060 |  | 0 | 0 | 0
2061 |  | 0 | 0 | 0
2062 |  | 0 | 0 | 0
2063 |  | 0 | 0 | 0
2064 |  | 0 | 0 | 0
2065 |  | 0 | 0 | 0
2066 |  | 0 | 0 | 0

## Total Costs unit 1
FPL 153026
DSM-14
Typical Screening Curve Results for a DSM Program - Case 4
(1) | (2) | (3) | (4) | (3) | (3) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14) | (15) | (16) | (17) | (18)
1
[6 empty] | Fixed Costs |  |  |  |  | Variable Costs | [5 empty] | DSM Costs
Unrecovered
| Discount Factor: | 0.0754 | [5 empty] | Fixed | Capital | Firm Gas | NOx | SO2 | CO2 | Hg | Fuel | Variable | Admin. & | Revenue
| Base (MW) | 1 |  |  | counter | In-Service | Capital | O&M | Replacement | Transportation | Emission | Emission | Emission | Emission | Costs | O&M | Incentive Costs | Losses | Total
| Heat Rate | 0 | Year |  | (hide col) | Year | $000 | $000 | $000 | $000 | $000 | $000 | $000 | $000 | $000 | $000 | $000 | $000 | $000
| Fixed O&M ($/KW-yr) | 0 | 2014 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 85.9228 | 585.9228
| Capital Replace ($/kW-Yr) | 0 | 2015 | 3 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 166.0644 | 166.0644
| VOM ($/MWh) | 0 | 2016 | 4 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 168.931 | 168.931
| Gas Transportation | 0 | 2017 | 5 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 174.4554 | 174.4554
| in-service year | 2015 | 2018 | 6 | 1 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 184.5718 | 184.5718
| book life | 35 | 2019 | 7 | 1 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 196.8942 | 196.8942
| costs in entered in year $s | 2015 | 2020 | 8 | 1 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200.8018 | 200.8018
|  |  | 2021 | 9 | 1 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 205.8944 | 205.8944
Capacity |  |  | 2022 | 10 | 1 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 215.2005 | 215.2005
Factor | Levelized | Levelized | 2023 | 11 | 1 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 212.2662 | 212.2662
(%) | $/KW | $/MWh | 2024 | 12 | 1 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 570 | 214.8594 | 784.8594
0 | 309.0572 | 0 | 2025 | 13 | 1 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 214.1882 | 214.1882
5 | 309.0572 | 705.61 | 2026 | 14 | 1 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 215.6365 | 215.6365
10 | 309.0572 | 352.805 | 2027 | 15 | 1 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 218.4927 | 218.4927
15 | 309.0572 | 235.2033 | 2028 | 16 | 1 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 221.2551 | 221.2551
20 | 309.0572 | 176.4025 | 2029 | 17 | 1 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 224.5845 | 224.5845
25 | 309.0572 | 141.122 | 2030 | 18 | 1 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 227.3353 | 227.3353
30 | 309.0572 | 117.6017 | 2031 | 19 | 1 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 230.8048 | 230.8048
35 | 309.0572 | 100.8014 | 2032 | 20 | 1 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 237.9312 | 237.9312
40 | 309.0572 | 88.2012 | 2033 | 21 | 1 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 249.6544 | 249.6544
45 | 309.0572 | 78.4011 | 2034 | 22 | 1 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 660 | 255.7819 | 915.7819
50 | 309.0572 | 70.561 | 2035 | 23 | 1 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 260.0921 | 260.0921
55 | 309.0572 | 64.1464 | 2036 | 24 | 1 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 270.6346 | 270.6346
60 | 309.0572 | 58.8008 | 2037 | 25 | 1 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 276.0491 | 276.0491
65 | 309.0572 | 54.2777 | 2038 | 26 | 1 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 281.849 | 281.849
70 | 309.0572 | 50.4007 | 2039 | 27 | 1 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 287.4034 | 287.4034
75 | 309.0572 | 47.0407 | 2040 | 28 | 1 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 292.2981 | 292.2981
80 | 309.0572 | 44.1006 | 2041 | 29 | 1 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 298.7462 | 298.7462
85 | 309.0572 | 41.5065 | 2042 | 30 | 1 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 304.7791 | 304.7791
90 | 309.0572 | 39.2006 | 2043 | 31 | 1 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 314.971 | 314.971
95 | 309.0572 | 37.1374 | 2044 | 32 | 1 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 775 | 322.9026 | 1097.9026
100 | 309.0572 | 35.2805 | 2045 | 33 | 1 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 331.1495 | 331.1495
|  |  | 2046 | 34 | 1 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 339.7117 | 339.7117
|  |  | 2047 | 35 | 1 | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 348.5953 | 348.5953
|  |  | 2048 | 36 | 1 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 357.8116 | 357.8116
|  |  | 2049 | 37 | 1 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 366.8116 | 366.8116
|  |  | 2050 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 2051 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 2052 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 2053 | 41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 2054 | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 2055 | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 2056 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 2057 | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 2058 | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 2059 | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 2060 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 2061 | 49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 2062 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 2063 | 51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 2064 | 52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 2065 | 53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 2066 | 54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | NPV 2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1017.2933 | 2759.7116 | 3777.0049
[6 empty] | NPV i/s year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1093.9972 | 2967.7938 | 4061.7911
| . |  |  |  |  | Levelized $/KW i/s year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83.241 | 225.8161 | 309.0572

## Summary
FPL 153027
DSM-14
Data Tables Used in Graphs
0
Capacity
Factor | Levelized | Levelized
(%) | $/KW | $/MWh
0 | 309.0572 | 0
5 | 309.0572 | 705.61
10 | 309.0572 | 352.805
15 | 309.0572 | 235.2033
20 | 309.0572 | 176.4025
25 | 309.0572 | 141.122
30 | 309.0572 | 117.6017
35 | 309.0572 | 100.8014
40 | 309.0572 | 88.2012
45 | 309.0572 | 78.4011
50 | 309.0572 | 70.561
55 | 309.0572 | 64.1464
60 | 309.0572 | 58.8008
65 | 309.0572 | 54.2777
70 | 309.0572 | 50.4007
75 | 309.0572 | 47.0407
80 | 309.0572 | 44.1006
85 | 309.0572 | 41.5065
90 | 309.0572 | 39.2006
95 | 309.0572 | 37.1374
100 | 309.0572 | 35.2805

## chart $kw
FPL 153028
DSM-14

## chart $MWH
FPL 153029
DSM-14

## chart $mWh 50-100
FPL 153030
DSM-14