|  |  |
| --- | --- |
| **Economic Potential -- RIM** | |
| **Remaining Measures Passing** | |
| **#** | **Measure Name** |
| **Residential** | |
| 1 | 100 103 17 SEER Split-System Air Conditioner / Single Detached |
| 2 | 100 104 19 SEER Split-System Air Conditioner / Single Detached |
| 3 | 100 105 14 SEER Split-System Heat Pump / Single Detached |
| 4 | 100 106 15 SEER Split-System Heat Pump / Single Detached |
| 5 | 100 107 17 SEER Split-System Heat Pump / Single Detached |
| 6 | 100 108 13 EER Geothermal Heat Pump / Single Detached |
| 7 | 100 111 Sealed Attic w/Sprayed Foam Insulated Roof Deck / Single Detached |
| 8 | 100 116 Duct Repair / Single Detached |
| 9 | 100 117 Reflective Roof / Single Detached |
| 10 | 100 119 Window Film / Single Detached |
| 11 | 100 120 Window Tinting / Single Detached |
| 12 | 100 121 Default Window With Sunscreen / Single Detached |
| 13 | 100 122 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached |
| 14 | 100 124 Ceiling R-0 to R-19 Insulation / Single Detached |
| 15 | 100 125 Ceiling R-19 to R-38 Insulation / Single Detached |
| 16 | 100 126 Wall 2x4 R-0 to Blow-In R-13 Insulation / Single Detached |
| 17 | 130 132 15 SEER Split-System Heat Pump / Single Detached |
| 18 | 130 133 17 SEER Split-System Heat Pump / Single Detached |
| 19 | 130 134 13 EER Geothermal Heat Pump / Single Detached |
| 20 | 130 137 Sealed Attics / Single Detached |
| 21 | 130 141 Electronically Commutated Motors (ECM) on an Air Handler Unit / Single Detached |
| 22 | 130 142 Duct Repair / Single Detached |
| 23 | 130 143 Reflective Roof / Single Detached |
| 24 | 130 145 Window Film / Single Detached |
| 25 | 130 146 Window Tinting / Single Detached |
| 26 | 130 147 Default Window With Sunscreen / Single Detached |
| 27 | 130 148 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached |
| 28 | 130 150 Ceiling R-0 to R-19 Insulation / Single Detached |
| 29 | 130 151 Ceiling R-19 to R-38 Insulation / Single Detached |
| 30 | 130 152 Wall 2x4 R-0 to Blow-In R-13 Insulation / Single Detached |
| 31 | 190 196 Reflective Roof / Single Detached |
| 32 | 190 197 Window Film / Single Detached |
| 33 | 190 198 Window Tinting / Single Detached |
| 34 | 190 199 Default Window With Sunscreen / Single Detached |
| 35 | 190 200 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached |
| 36 | 190 202 Ceiling R-0 to R-19 Insulation / Single Detached |
| 37 | 190 203 Ceiling R-19 to R-38 Insulation / Single Detached |
| 38 | 190 204 Wall 2x4 R-0 to Blow-In R-13 Insulation / Single Detached |
| 39 | 100 102 15 SEER Split-System Air Conditioner / Multi Attached |
| 40 | 100 103 17 SEER Split-System Air Conditioner / Multi Attached |
| 41 | 100 104 19 SEER Split-System Air Conditioner / Multi Attached |
| 42 | 100 105 14 SEER Split-System Heat Pump / Multi Attached |
| 43 | 100 106 15 SEER Split-System Heat Pump / Multi Attached |
| 44 | 100 111 Sealed Attic w/Sprayed Foam Insulated Roof Deck / Multi Attached |
| 45 | 100 116 Duct Repair / Multi Attached |
| 46 | 100 117 Reflective Roof / Multi Attached |
| 47 | 100 118 Radiant Barrier / Multi Attached |
| 48 | 100 119 Window Film / Multi Attached |
| 49 | 100 124 Ceiling R-0 to R-19 Insulation / Multi Attached |
| 50 | 100 125 Ceiling R-19 to R-38 Insulation / Multi Attached |
| 51 | 100 126 Wall 2x4 R-0 to Blow-In R-13 Insulation / Multi Attached |
| 52 | 130 137 Sealed Attics / Multi Attached |
| 53 | 130 142 Duct Repair / Multi Attached |
| 54 | 130 143 Reflective Roof / Multi Attached |
| 55 | 130 144 Radiant Barrier / Multi Attached |
| 56 | 130 145 Window Film / Multi Attached |
| 57 | 130 146 Window Tinting / Multi Attached |
| 58 | 130 147 Default Window With Sunscreen / Multi Attached |
| 59 | 130 150 Ceiling R-0 to R-19 Insulation / Multi Attached |
| 60 | 130 151 Ceiling R-19 to R-38 Insulation / Multi Attached |
| 61 | 130 152 Wall 2x4 R-0 to Blow-In R-13 Insulation / Multi Attached |
| 62 | 190 192 HE Room Air Conditioner - EER 12 / Multi Attached |
| 63 | 190 199 Default Window With Sunscreen / Multi Attached |
| 64 | 100 102 15 SEER Split-System Air Conditioner / Single Detached - Manufactured |
| 65 | 100 103 17 SEER Split-System Air Conditioner / Single Detached - Manufactured |
| 66 | 100 104 19 SEER Split-System Air Conditioner / Single Detached - Manufactured |
| 67 | 100 105 14 SEER Split-System Heat Pump / Single Detached - Manufactured |
| 68 | 100 106 15 SEER Split-System Heat Pump / Single Detached - Manufactured |
| 69 | 100 107 17 SEER Split-System Heat Pump / Single Detached - Manufactured |
| 70 | 100 108 13 EER Geothermal Heat Pump / Single Detached - Manufactured |
| 71 | 100 111 Sealed Attic w/Sprayed Foam Insulated Roof Deck / Single Detached - Manufactured |
| 72 | 100 116 Duct Repair / Single Detached - Manufactured |
| 73 | 100 118 Radiant Barrier / Single Detached - Manufactured |
| 74 | 100 120 Window Tinting / Single Detached - Manufactured |
| 75 | 100 122 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached - Manufactured |
| 76 | 100 124 Ceiling R-0 to R-19 Insulation / Single Detached - Manufactured |
| 77 | 100 125 Ceiling R-19 to R-38 Insulation / Single Detached - Manufactured |
| 78 | 100 126 Wall 2x4 R-0 to Blow-In R-13 Insulation / Single Detached - Manufactured |
| 79 | 130 132 15 SEER Split-System Heat Pump / Single Detached - Manufactured |
| 80 | 130 137 Sealed Attics / Single Detached - Manufactured |
| 81 | 130 142 Duct Repair / Single Detached - Manufactured |
| 82 | 130 144 Radiant Barrier / Single Detached - Manufactured |
| 83 | 130 146 Window Tinting / Single Detached - Manufactured |
| 84 | 130 148 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached - Manufactured |
| 85 | 130 150 Ceiling R-0 to R-19 Insulation / Single Detached - Manufactured |
| 86 | 130 151 Ceiling R-19 to R-38 Insulation / Single Detached - Manufactured |
| 87 | 130 152 Wall 2x4 R-0 to Blow-In R-13 Insulation / Single Detached - Manufactured |
| 88 | 190 191 HE Room Air Conditioner - EER 11 / Single Detached - Manufactured |
| 89 | 190 192 HE Room Air Conditioner - EER 12 / Single Detached - Manufactured |
| 90 | 190 198 Window Tinting / Single Detached - Manufactured |
| 91 | 190 199 Default Window With Sunscreen / Single Detached - Manufactured |
| 92 | 190 200 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached - Manufactured |
| **Commercial** | |
| 1 | 160 161 LED Exit Sign / Office |
| 2 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Office |
| 3 | 300 305 Chiller Tune Up/Diagnostics / Office |
| 4 | 300 311 Window Film (Standard) / Office |
| 5 | 300 313 Ceiling Insulation / Office |
| 6 | 300 314 Roof Insulation / Office |
| 7 | 300 315 Cool Roof - Chiller / Office |
| 8 | 300 317 Thermal Energy Storage (TES) Positive / Office |
| 9 | 320 321 DX Packaged System, EER=10.9, 10 tons / Office |
| 10 | 320 332 Window Film (Standard) / Office |
| 11 | 320 334 Ceiling Insulation / Office |
| 12 | 320 335 Roof Insulation / Office |
| 13 | 340 342 Geothermal Heat Pump, EER=13, 10 tons / Office |
| 14 | 340 347 Window Film (Standard) / Office |
| 15 | 340 349 Ceiling Insulation / Office |
| 16 | 340 350 Roof Insulation / Office |
| 17 | 340 351 Cool Roof - DX / Office |
| 18 | 360 361 HE PTAC, EER=9.6, 1 ton / Office |
| 19 | 400 405 Demand Control Ventilation (DCV) / Office |
| 20 | 400 406 Energy Recovery Ventilation (ERV) / Office |
| 21 | 160 161 LED Exit Sign / Restaurant or Services |
| 22 | 300 309 Duct/Pipe Insulation / Restaurant or Services |
| 23 | 300 311 Window Film (Standard) / Restaurant or Services |
| 24 | 300 313 Ceiling Insulation / Restaurant or Services |
| 25 | 300 314 Roof Insulation / Restaurant or Services |
| 26 | 300 315 Cool Roof - Chiller / Restaurant or Services |
| 27 | 300 317 Thermal Energy Storage (TES) Positive / Restaurant or Services |
| 28 | 320 321 DX Packaged System, EER=10.9, 10 tons / Restaurant or Services |
| 29 | 340 345 Duct/Pipe Insulation / Restaurant or Services |
| 30 | 340 351 Cool Roof - DX / Restaurant or Services |
| 31 | 400 405 Demand Control Ventilation (DCV) / Restaurant or Services |
| 32 | 400 406 Energy Recovery Ventilation (ERV) / Restaurant or Services |
| 33 | 160 161 LED Exit Sign / Retail |
| 34 | 300 305 Chiller Tune Up/Diagnostics / Retail |
| 35 | 300 311 Window Film (Standard) / Retail |
| 36 | 300 313 Ceiling Insulation / Retail |
| 37 | 300 314 Roof Insulation / Retail |
| 38 | 300 315 Cool Roof - Chiller / Retail |
| 39 | 320 321 DX Packaged System, EER=10.9, 10 tons / Retail |
| 40 | 320 334 Ceiling Insulation / Retail |
| 41 | 320 335 Roof Insulation / Retail |
| 42 | 340 349 Ceiling Insulation / Retail |
| 43 | 340 351 Cool Roof - DX / Retail |
| 44 | 360 361 HE PTAC, EER=9.6, 1 ton / Retail |
| 45 | 400 405 Demand Control Ventilation (DCV) / Retail |
| 46 | 400 406 Energy Recovery Ventilation (ERV) / Retail |
| 47 | 160 161 LED Exit Sign / Food Store |
| 48 | 300 311 Window Film (Standard) / Food Store |
| 49 | 300 313 Ceiling Insulation / Food Store |
| 50 | 300 314 Roof Insulation / Food Store |
| 51 | 320 321 DX Packaged System, EER=10.9, 10 tons / Food Store |
| 52 | 320 334 Ceiling Insulation / Food Store |
| 53 | 320 335 Roof Insulation / Food Store |
| 54 | 340 351 Cool Roof - DX / Food Store |
| 55 | 360 361 HE PTAC, EER=9.6, 1 ton / Food Store |
| 56 | 400 405 Demand Control Ventilation (DCV) / Food Store |
| 57 | 400 406 Energy Recovery Ventilation (ERV) / Food Store |
| 58 | 160 161 LED Exit Sign / School |
| 59 | 300 305 Chiller Tune Up/Diagnostics / School |
| 60 | 300 311 Window Film (Standard) / School |
| 61 | 300 313 Ceiling Insulation / School |
| 62 | 300 314 Roof Insulation / School |
| 63 | 320 321 DX Packaged System, EER=10.9, 10 tons / School |
| 64 | 320 334 Ceiling Insulation / School |
| 65 | 320 335 Roof Insulation / School |
| 66 | 340 349 Ceiling Insulation / School |
| 67 | 340 351 Cool Roof - DX / School |
| 68 | 360 361 HE PTAC, EER=9.6, 1 ton / School |
| 69 | 400 405 Demand Control Ventilation (DCV) / School |
| 70 | 400 406 Energy Recovery Ventilation (ERV) / School |
| 71 | 160 161 LED Exit Sign / College |
| 72 | 300 305 Chiller Tune Up/Diagnostics / College |
| 73 | 300 311 Window Film (Standard) / College |
| 74 | 300 313 Ceiling Insulation / College |
| 75 | 300 314 Roof Insulation / College |
| 76 | 320 321 DX Packaged System, EER=10.9, 10 tons / College |
| 77 | 320 334 Ceiling Insulation / College |
| 78 | 320 335 Roof Insulation / College |
| 79 | 340 349 Ceiling Insulation / College |
| 80 | 340 351 Cool Roof - DX / College |
| 81 | 360 361 HE PTAC, EER=9.6, 1 ton / College |
| 82 | 400 405 Demand Control Ventilation (DCV) / College |
| 83 | 400 406 Energy Recovery Ventilation (ERV) / College |
| 84 | 300 313 Ceiling Insulation / Hospital |
| 85 | 300 314 Roof Insulation / Hospital |
| 86 | 320 321 DX Packaged System, EER=10.9, 10 tons / Hospital |
| 87 | 340 351 Cool Roof - DX / Hospital |
| 88 | 400 405 Demand Control Ventilation (DCV) / Hospital |
| 89 | 400 406 Energy Recovery Ventilation (ERV) / Hospital |
| 90 | 160 161 LED Exit Sign / Other Healthcare |
| 91 | 300 311 Window Film (Standard) / Other Healthcare |
| 92 | 300 313 Ceiling Insulation / Other Healthcare |
| 93 | 300 314 Roof Insulation / Other Healthcare |
| 94 | 320 321 DX Packaged System, EER=10.9, 10 tons / Other Healthcare |
| 95 | 320 334 Ceiling Insulation / Other Healthcare |
| 96 | 320 335 Roof Insulation / Other Healthcare |
| 97 | 340 349 Ceiling Insulation / Other Healthcare |
| 98 | 340 351 Cool Roof - DX / Other Healthcare |
| 99 | 360 361 HE PTAC, EER=9.6, 1 ton / Other Healthcare |
| 100 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Other Healthcare |
| 101 | 400 405 Demand Control Ventilation (DCV) / Other Healthcare |
| 102 | 400 406 Energy Recovery Ventilation (ERV) / Other Healthcare |
| 103 | 300 305 Chiller Tune Up/Diagnostics / Warehouse |
| 104 | 300 311 Window Film (Standard) / Warehouse |
| 105 | 300 313 Ceiling Insulation / Warehouse |
| 106 | 300 314 Roof Insulation / Warehouse |
| 107 | 320 321 DX Packaged System, EER=10.9, 10 tons / Warehouse |
| 108 | 320 334 Ceiling Insulation / Warehouse |
| 109 | 320 335 Roof Insulation / Warehouse |
| 110 | 340 349 Ceiling Insulation / Warehouse |
| 111 | 340 351 Cool Roof - DX / Warehouse |
| 112 | 360 361 HE PTAC, EER=9.6, 1 ton / Warehouse |
| 113 | 400 405 Demand Control Ventilation (DCV) / Warehouse |
| 114 | 400 406 Energy Recovery Ventilation (ERV) / Warehouse |
| 115 | 160 161 LED Exit Sign / Hotel or Motel |
| 116 | 300 311 Window Film (Standard) / Hotel or Motel |
| 117 | 300 313 Ceiling Insulation / Hotel or Motel |
| 118 | 300 314 Roof Insulation / Hotel or Motel |
| 119 | 320 321 DX Packaged System, EER=10.9, 10 tons / Hotel or Motel |
| 120 | 320 334 Ceiling Insulation / Hotel or Motel |
| 121 | 320 335 Roof Insulation / Hotel or Motel |
| 122 | 340 349 Ceiling Insulation / Hotel or Motel |
| 123 | 340 351 Cool Roof - DX / Hotel or Motel |
| 124 | 400 405 Demand Control Ventilation (DCV) / Hotel or Motel |
| 125 | 400 406 Energy Recovery Ventilation (ERV) / Hotel or Motel |
| 126 | 160 161 LED Exit Sign / Other |
| 127 | 300 305 Chiller Tune Up/Diagnostics / Other |
| 128 | 300 311 Window Film (Standard) / Other |
| 129 | 300 313 Ceiling Insulation / Other |
| 130 | 300 314 Roof Insulation / Other |
| 131 | 320 321 DX Packaged System, EER=10.9, 10 tons / Other |
| 132 | 320 334 Ceiling Insulation / Other |
| 133 | 320 335 Roof Insulation / Other |
| 134 | 340 349 Ceiling Insulation / Other |
| 135 | 340 351 Cool Roof - DX / Other |
| 136 | 360 361 HE PTAC, EER=9.6, 1 ton / Other |
| 137 | 400 405 Demand Control Ventilation (DCV) / Other |
| 138 | 400 406 Energy Recovery Ventilation (ERV) / Other |
| 139 | 100 146 LED (12-Watt) / All |
| **Industrial** | |
| 0 | None |
| **Measures Failing** | |
| **#** | **Measure Name** |
| **Residential** | |
| 1 | 100 102 15 SEER Split-System Air Conditioner / Single Detached |
| 2 | 100 110 Attic Venting / Single Detached |
| 3 | 100 112 AC Maintenance (Outdoor Coil Cleaning) / Single Detached |
| 4 | 100 113 AC Maintenance (Indoor Coil Cleaning) / Single Detached |
| 5 | 100 114 Proper Refrigerant Charging and Air Flow / Single Detached |
| 6 | 100 115 Electronically Commutated Motors (ECM) on an Air Handler Unit / Single Detached |
| 7 | 100 118 Radiant Barrier / Single Detached |
| 8 | 100 127 Weather Strip/Caulk w/Blower Door / Single Detached |
| 9 | 130 136 Attic Venting / Single Detached |
| 10 | 130 138 AC Maintenance (Outdoor Coil Cleaning) / Single Detached |
| 11 | 130 139 AC Maintenance (Indoor Coil Cleaning) / Single Detached |
| 12 | 130 140 Proper Refrigerant Charging and Air Flow / Single Detached |
| 13 | 130 144 Radiant Barrier / Single Detached |
| 14 | 130 153 Weather Strip/Caulk w/Blower Door / Single Detached |
| 15 | 190 191 HE Room Air Conditioner - EER 11 / Single Detached |
| 16 | 190 192 HE Room Air Conditioner - EER 12 / Single Detached |
| 17 | 190 205 Weather Strip/Caulk w/Blower Door / Single Detached |
| 18 | 220 221 CFL (18-Watt integral ballast), 0.5 hr/day / Single Detached |
| 19 | 230 231 CFL (18-Watt integral ballast), 2.5 hr/day / Single Detached |
| 20 | 240 241 CFL (18-Watt integral ballast), 6.0 hr/day / Single Detached |
| 21 | 250 251 ROB 2L4'T8, 1EB / Single Detached |
| 22 | 250 252 RET 2L4'T8, 1EB / Single Detached |
| 23 | 260 261 CFL - medium screw based <30 Watts / Single Detached |
| 24 | 260 262 Photocell/timeclock / Single Detached |
| 25 | 300 301 HE Refrigerator - Energy Star version of above / Single Detached |
| 26 | 350 351 HE Freezer / Single Detached |
| 27 | 400 401 Heat Pump Water Heater (EF=2.9) / Single Detached |
| 28 | 400 403 Solar Water Heat / Single Detached |
| 29 | 400 404 AC Heat Recovery Units / Single Detached |
| 30 | 400 405 Low Flow Showerhead / Single Detached |
| 31 | 400 406 Pipe Wrap / Single Detached |
| 32 | 400 407 Faucet Aerators / Single Detached |
| 33 | 400 408 Water Heater Blanket / Single Detached |
| 34 | 400 409 Water Heater Temperature Check and Adjustment / Single Detached |
| 35 | 400 410 Water Heater Timeclock / Single Detached |
| 36 | 400 411 Heat Trap / Single Detached |
| 37 | 500 502 Energy Star CW CEE Tier 2 (MEF=2.0) / Single Detached |
| 38 | 500 503 Energy Star CW CEE Tier 3 (MEF=2.2) / Single Detached |
| 39 | 700 701 Energy Star DW (EF=0.68) / Single Detached |
| 40 | 800 801 Two Speed Pool Pump (1.5 hp) / Single Detached |
| 41 | 800 802 High Efficiency One Speed Pool Pump (1.5 hp) / Single Detached |
| 42 | 800 803 Variable-Speed Pool Pump (<1 hp) / Single Detached |
| 43 | 800 804 PV-Powered Pool Pumps / Single Detached |
| 44 | 900 901 Energy Star TV / Single Detached |
| 45 | 910 911 Energy Star TV / Single Detached |
| 46 | 920 921 Energy Star Set-Top Box / Single Detached |
| 47 | 930 931 Energy Star DVD Player / Single Detached |
| 48 | 940 941 Energy Star VCR / Single Detached |
| 49 | 950 951 Energy Star Desktop PC / Single Detached |
| 50 | 960 961 Energy Star Laptop PC / Single Detached |
| 51 | 100 107 17 SEER Split-System Heat Pump / Multi Attached |
| 52 | 100 108 13 EER Geothermal Heat Pump / Multi Attached |
| 53 | 100 110 Attic Venting / Multi Attached |
| 54 | 100 112 AC Maintenance (Outdoor Coil Cleaning) / Multi Attached |
| 55 | 100 113 AC Maintenance (Indoor Coil Cleaning) / Multi Attached |
| 56 | 100 114 Proper Refrigerant Charging and Air Flow / Multi Attached |
| 57 | 100 115 Electronically Commutated Motors (ECM) on an Air Handler Unit / Multi Attached |
| 58 | 100 120 Window Tinting / Multi Attached |
| 59 | 100 121 Default Window With Sunscreen / Multi Attached |
| 60 | 100 122 Single Pane Clear Windows to Double Pane Low-E Windows / Multi Attached |
| 61 | 100 127 Weather Strip/Caulk w/Blower Door / Multi Attached |
| 62 | 130 132 15 SEER Split-System Heat Pump / Multi Attached |
| 63 | 130 133 17 SEER Split-System Heat Pump / Multi Attached |
| 64 | 130 134 13 EER Geothermal Heat Pump / Multi Attached |
| 65 | 130 136 Attic Venting / Multi Attached |
| 66 | 130 138 AC Maintenance (Outdoor Coil Cleaning) / Multi Attached |
| 67 | 130 139 AC Maintenance (Indoor Coil Cleaning) / Multi Attached |
| 68 | 130 140 Proper Refrigerant Charging and Air Flow / Multi Attached |
| 69 | 130 141 Electronically Commutated Motors (ECM) on an Air Handler Unit / Multi Attached |
| 70 | 130 148 Single Pane Clear Windows to Double Pane Low-E Windows / Multi Attached |
| 71 | 130 153 Weather Strip/Caulk w/Blower Door / Multi Attached |
| 72 | 190 191 HE Room Air Conditioner - EER 11 / Multi Attached |
| 73 | 190 196 Reflective Roof / Multi Attached |
| 74 | 190 197 Window Film / Multi Attached |
| 75 | 190 198 Window Tinting / Multi Attached |
| 76 | 190 200 Single Pane Clear Windows to Double Pane Low-E Windows / Multi Attached |
| 77 | 190 202 Ceiling R-0 to R-19 Insulation / Multi Attached |
| 78 | 190 203 Ceiling R-19 to R-38 Insulation / Multi Attached |
| 79 | 190 204 Wall 2x4 R-0 to Blow-In R-13 Insulation / Multi Attached |
| 80 | 190 205 Weather Strip/Caulk w/Blower Door / Multi Attached |
| 81 | 220 221 CFL (18-Watt integral ballast), 0.5 hr/day / Multi Attached |
| 82 | 230 231 CFL (18-Watt integral ballast), 2.5 hr/day / Multi Attached |
| 83 | 240 241 CFL (18-Watt integral ballast), 6.0 hr/day / Multi Attached |
| 84 | 250 251 ROB 2L4'T8, 1EB / Multi Attached |
| 85 | 250 252 RET 2L4'T8, 1EB / Multi Attached |
| 86 | 260 261 CFL - medium screw based <30 Watts / Multi Attached |
| 87 | 260 262 Photocell/timeclock / Multi Attached |
| 88 | 300 301 HE Refrigerator - Energy Star version of above / Multi Attached |
| 89 | 350 351 HE Freezer / Multi Attached |
| 90 | 400 401 Heat Pump Water Heater (EF=2.9) / Multi Attached |
| 91 | 400 403 Solar Water Heat / Multi Attached |
| 92 | 400 404 AC Heat Recovery Units / Multi Attached |
| 93 | 400 405 Low Flow Showerhead / Multi Attached |
| 94 | 400 406 Pipe Wrap / Multi Attached |
| 95 | 400 407 Faucet Aerators / Multi Attached |
| 96 | 400 408 Water Heater Blanket / Multi Attached |
| 97 | 400 409 Water Heater Temperature Check and Adjustment / Multi Attached |
| 98 | 400 410 Water Heater Timeclock / Multi Attached |
| 99 | 400 411 Heat Trap / Multi Attached |
| 100 | 500 502 Energy Star CW CEE Tier 2 (MEF=2.0) / Multi Attached |
| 101 | 500 503 Energy Star CW CEE Tier 3 (MEF=2.2) / Multi Attached |
| 102 | 700 701 Energy Star DW (EF=0.68) / Multi Attached |
| 103 | 800 801 Two Speed Pool Pump (1.5 hp) / Multi Attached |
| 104 | 800 802 High Efficiency One Speed Pool Pump (1.5 hp) / Multi Attached |
| 105 | 800 803 Variable-Speed Pool Pump (<1 hp) / Multi Attached |
| 106 | 800 804 PV-Powered Pool Pumps / Multi Attached |
| 107 | 900 901 Energy Star TV / Multi Attached |
| 108 | 910 911 Energy Star TV / Multi Attached |
| 109 | 920 921 Energy Star Set-Top Box / Multi Attached |
| 110 | 930 931 Energy Star DVD Player / Multi Attached |
| 111 | 940 941 Energy Star VCR / Multi Attached |
| 112 | 950 951 Energy Star Desktop PC / Multi Attached |
| 113 | 960 961 Energy Star Laptop PC / Multi Attached |
| 114 | 100 110 Attic Venting / Single Detached - Manufactured |
| 115 | 100 112 AC Maintenance (Outdoor Coil Cleaning) / Single Detached - Manufactured |
| 116 | 100 113 AC Maintenance (Indoor Coil Cleaning) / Single Detached - Manufactured |
| 117 | 100 114 Proper Refrigerant Charging and Air Flow / Single Detached - Manufactured |
| 118 | 100 115 Electronically Commutated Motors (ECM) on an Air Handler Unit / Single Detached - Manufactured |
| 119 | 100 117 Reflective Roof / Single Detached - Manufactured |
| 120 | 100 119 Window Film / Single Detached - Manufactured |
| 121 | 100 121 Default Window With Sunscreen / Single Detached - Manufactured |
| 122 | 100 127 Weather Strip/Caulk w/Blower Door / Single Detached - Manufactured |
| 123 | 130 133 17 SEER Split-System Heat Pump / Single Detached - Manufactured |
| 124 | 130 134 13 EER Geothermal Heat Pump / Single Detached - Manufactured |
| 125 | 130 136 Attic Venting / Single Detached - Manufactured |
| 126 | 130 138 AC Maintenance (Outdoor Coil Cleaning) / Single Detached - Manufactured |
| 127 | 130 139 AC Maintenance (Indoor Coil Cleaning) / Single Detached - Manufactured |
| 128 | 130 140 Proper Refrigerant Charging and Air Flow / Single Detached - Manufactured |
| 129 | 130 141 Electronically Commutated Motors (ECM) on an Air Handler Unit / Single Detached - Manufactured |
| 130 | 130 143 Reflective Roof / Single Detached - Manufactured |
| 131 | 130 145 Window Film / Single Detached - Manufactured |
| 132 | 130 147 Default Window With Sunscreen / Single Detached - Manufactured |
| 133 | 130 153 Weather Strip/Caulk w/Blower Door / Single Detached - Manufactured |
| 134 | 190 196 Reflective Roof / Single Detached - Manufactured |
| 135 | 190 197 Window Film / Single Detached - Manufactured |
| 136 | 190 202 Ceiling R-0 to R-19 Insulation / Single Detached - Manufactured |
| 137 | 190 203 Ceiling R-19 to R-38 Insulation / Single Detached - Manufactured |
| 138 | 190 204 Wall 2x4 R-0 to Blow-In R-13 Insulation / Single Detached - Manufactured |
| 139 | 190 205 Weather Strip/Caulk w/Blower Door / Single Detached - Manufactured |
| 140 | 220 221 CFL (18-Watt integral ballast), 0.5 hr/day / Single Detached - Manufactured |
| 141 | 230 231 CFL (18-Watt integral ballast), 2.5 hr/day / Single Detached - Manufactured |
| 142 | 240 241 CFL (18-Watt integral ballast), 6.0 hr/day / Single Detached - Manufactured |
| 143 | 250 251 ROB 2L4'T8, 1EB / Single Detached - Manufactured |
| 144 | 250 252 RET 2L4'T8, 1EB / Single Detached - Manufactured |
| 145 | 260 261 CFL - medium screw based <30 Watts / Single Detached - Manufactured |
| 146 | 260 262 Photocell/timeclock / Single Detached - Manufactured |
| 147 | 300 301 HE Refrigerator - Energy Star version of above / Single Detached - Manufactured |
| 148 | 350 351 HE Freezer / Single Detached - Manufactured |
| 149 | 400 401 Heat Pump Water Heater (EF=2.9) / Single Detached - Manufactured |
| 150 | 400 403 Solar Water Heat / Single Detached - Manufactured |
| 151 | 400 404 AC Heat Recovery Units / Single Detached - Manufactured |
| 152 | 400 405 Low Flow Showerhead / Single Detached - Manufactured |
| 153 | 400 406 Pipe Wrap / Single Detached - Manufactured |
| 154 | 400 407 Faucet Aerators / Single Detached - Manufactured |
| 155 | 400 408 Water Heater Blanket / Single Detached - Manufactured |
| 156 | 400 409 Water Heater Temperature Check and Adjustment / Single Detached - Manufactured |
| 157 | 400 410 Water Heater Timeclock / Single Detached - Manufactured |
| 158 | 400 411 Heat Trap / Single Detached - Manufactured |
| 159 | 500 502 Energy Star CW CEE Tier 2 (MEF=2.0) / Single Detached - Manufactured |
| 160 | 500 503 Energy Star CW CEE Tier 3 (MEF=2.2) / Single Detached - Manufactured |
| 161 | 700 701 Energy Star DW (EF=0.68) / Single Detached - Manufactured |
| 162 | 800 801 Two Speed Pool Pump (1.5 hp) / Single Detached - Manufactured |
| 163 | 800 802 High Efficiency One Speed Pool Pump (1.5 hp) / Single Detached - Manufactured |
| 164 | 800 803 Variable-Speed Pool Pump (<1 hp) / Single Detached - Manufactured |
| 165 | 800 804 PV-Powered Pool Pumps / Single Detached - Manufactured |
| 166 | 900 901 Energy Star TV / Single Detached - Manufactured |
| 167 | 910 911 Energy Star TV / Single Detached - Manufactured |
| 168 | 920 921 Energy Star Set-Top Box / Single Detached - Manufactured |
| 169 | 930 931 Energy Star DVD Player / Single Detached - Manufactured |
| 170 | 940 941 Energy Star VCR / Single Detached - Manufactured |
| 171 | 950 951 Energy Star Desktop PC / Single Detached - Manufactured |
| 172 | 960 961 Energy Star Laptop PC / Single Detached - Manufactured |
| 173 | 200 222 LED 12W, 0.5hr/hday / All |
| 174 | 200 232 LED 12W, 2.5hr/hday / All |
| 175 | 200 242 LED 12W, 6.0hr/hday / All |
| 176 | 260 263 LED Directional 13W (Flood, Outdoor) / All |
| 177 | 999 302 Refrigerator recycling / All |
| 178 | 999 352 Freezer recycling / All |
| 179 | 999 962 Smart Plug / All |
| **Commercial** | |
| 1 | 110 111 Premium T8, Electronic Ballast / Office |
| 2 | 110 112 Premium T8, EB, Reflector / Office |
| 3 | 110 113 Occupancy Sensor / Office |
| 4 | 110 114 Continuous Dimming / Office |
| 5 | 110 115 Lighting Control Tuneup / Office |
| 6 | 120 121 ROB Premium T8, 1EB / Office |
| 7 | 120 122 ROB Premium T8, EB, Reflector / Office |
| 8 | 120 123 Occupancy Sensor / Office |
| 9 | 120 124 Lighting Control Tuneup / Office |
| 10 | 130 131 CFL Screw-in 18W / Office |
| 11 | 140 141 CFL Hardwired, Modular 18W / Office |
| 12 | 150 151 PSMH, 250W, magnetic ballast / Office |
| 13 | 150 153 High Bay T5 / Office |
| 14 | 200 201 High Pressure Sodium 250W Lamp / Office |
| 15 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Office |
| 16 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / Office |
| 17 | 300 302 High Efficiency Chiller Motors / Office |
| 18 | 300 304 EMS - Chiller / Office |
| 19 | 300 306 VSD for Chiller Pumps and Towers / Office |
| 20 | 300 308 Aerosol Duct Sealing / Office |
| 21 | 300 309 Duct/Pipe Insulation / Office |
| 22 | 300 317 Thermal Energy Storage (TES) Negative / Office |
| 23 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Office |
| 24 | 320 323 Geothermal Heat Pump, EER=13, 10 tons / Office |
| 25 | 320 327 DX Coil Cleaning / Office |
| 26 | 320 328 Optimize Controls / Office |
| 27 | 320 329 Aerosol Duct Sealing / Office |
| 28 | 320 330 Duct/Pipe Insulation / Office |
| 29 | 340 344 Aerosol Duct Sealing / Office |
| 30 | 340 345 Duct/Pipe Insulation / Office |
| 31 | 360 362 Occupancy Sensor (hotels) / Office |
| 32 | 400 401 High Efficiency Fan Motor, 15hp, 1800rpm, 92.4% / Office |
| 33 | 400 402 Variable Speed Drive Control / Office |
| 34 | 400 403 Air Handler Optimization / Office |
| 35 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Office |
| 36 | 600 603 Heat Pump Water Heater (air source) / Office |
| 37 | 600 604 Solar Water Heater / Office |
| 38 | 600 606 Demand controlled circulating systems / Office |
| 39 | 600 608 Heat Recovery Unit / Office |
| 40 | 600 609 Heat Trap / Office |
| 41 | 600 610 Hot Water Pipe Insulation / Office |
| 42 | 700 701 PC Manual Power Management Enabling / Office |
| 43 | 700 702 PC Network Power Management Enabling / Office |
| 44 | 710 711 Energy Star or Better Monitor / Office |
| 45 | 710 712 Monitor Power Management Enabling / Office |
| 46 | 720 722 Monitor Power Management Enabling / Office |
| 47 | 730 731 Energy Star or Better Copier / Office |
| 48 | 730 732 Copier Power Management Enabling / Office |
| 49 | 800 801 Convection Oven / Office |
| 50 | 810 811 Efficient Fryer / Office |
| 51 | 900 901 Vending Misers (cooled machines only) / Office |
| 52 | 110 111 Premium T8, Electronic Ballast / Restaurant or Services |
| 53 | 110 112 Premium T8, EB, Reflector / Restaurant or Services |
| 54 | 110 113 Occupancy Sensor / Restaurant or Services |
| 55 | 110 114 Continuous Dimming / Restaurant or Services |
| 56 | 110 115 Lighting Control Tuneup / Restaurant or Services |
| 57 | 120 121 ROB Premium T8, 1EB / Restaurant or Services |
| 58 | 120 122 ROB Premium T8, EB, Reflector / Restaurant or Services |
| 59 | 120 123 Occupancy Sensor / Restaurant or Services |
| 60 | 120 124 Lighting Control Tuneup / Restaurant or Services |
| 61 | 130 131 CFL Screw-in 18W / Restaurant or Services |
| 62 | 140 141 CFL Hardwired, Modular 18W / Restaurant or Services |
| 63 | 150 151 PSMH, 250W, magnetic ballast / Restaurant or Services |
| 64 | 150 152 PSMH, 250 W, electronic ballast / Restaurant or Services |
| 65 | 150 153 High Bay T5 / Restaurant or Services |
| 66 | 200 201 High Pressure Sodium 250W Lamp / Restaurant or Services |
| 67 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Restaurant or Services |
| 68 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / Restaurant or Services |
| 69 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Restaurant or Services |
| 70 | 300 302 High Efficiency Chiller Motors / Restaurant or Services |
| 71 | 300 304 EMS - Chiller / Restaurant or Services |
| 72 | 300 305 Chiller Tune Up/Diagnostics / Restaurant or Services |
| 73 | 300 306 VSD for Chiller Pumps and Towers / Restaurant or Services |
| 74 | 300 308 Aerosol Duct Sealing / Restaurant or Services |
| 75 | 300 317 Thermal Energy Storage (TES) Negative / Restaurant or Services |
| 76 | 320 326 DX Tune Up/ Advanced Diagnostics / Restaurant or Services |
| 77 | 320 327 DX Coil Cleaning / Restaurant or Services |
| 78 | 320 328 Optimize Controls / Restaurant or Services |
| 79 | 320 329 Aerosol Duct Sealing / Restaurant or Services |
| 80 | 320 330 Duct/Pipe Insulation / Restaurant or Services |
| 81 | 320 332 Window Film (Standard) / Restaurant or Services |
| 82 | 320 334 Ceiling Insulation / Restaurant or Services |
| 83 | 320 335 Roof Insulation / Restaurant or Services |
| 84 | 320 336 Cool Roof - DX / Restaurant or Services |
| 85 | 340 342 Geothermal Heat Pump, EER=13, 10 tons / Restaurant or Services |
| 86 | 340 344 Aerosol Duct Sealing / Restaurant or Services |
| 87 | 340 347 Window Film (Standard) / Restaurant or Services |
| 88 | 340 349 Ceiling Insulation / Restaurant or Services |
| 89 | 360 361 HE PTAC, EER=9.6, 1 ton / Restaurant or Services |
| 90 | 360 362 Occupancy Sensor (hotels) / Restaurant or Services |
| 91 | 400 401 High Efficiency Fan Motor, 15hp, 1800rpm, 92.4% / Restaurant or Services |
| 92 | 400 402 Variable Speed Drive Control / Restaurant or Services |
| 93 | 400 403 Air Handler Optimization / Restaurant or Services |
| 94 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Restaurant or Services |
| 95 | 400 407 Separate Makeup Air / Exhaust Hoods AC / Restaurant or Services |
| 96 | 600 603 Heat Pump Water Heater (air source) / Restaurant or Services |
| 97 | 600 604 Solar Water Heater / Restaurant or Services |
| 98 | 600 606 Demand controlled circulating systems / Restaurant or Services |
| 99 | 600 608 Heat Recovery Unit / Restaurant or Services |
| 100 | 600 609 Heat Trap / Restaurant or Services |
| 101 | 600 610 Hot Water Pipe Insulation / Restaurant or Services |
| 102 | 700 701 PC Manual Power Management Enabling / Restaurant or Services |
| 103 | 700 702 PC Network Power Management Enabling / Restaurant or Services |
| 104 | 710 711 Energy Star or Better Monitor / Restaurant or Services |
| 105 | 710 712 Monitor Power Management Enabling / Restaurant or Services |
| 106 | 720 722 Monitor Power Management Enabling / Restaurant or Services |
| 107 | 730 731 Energy Star or Better Copier / Restaurant or Services |
| 108 | 730 732 Copier Power Management Enabling / Restaurant or Services |
| 109 | 800 801 Convection Oven / Restaurant or Services |
| 110 | 810 811 Efficient Fryer / Restaurant or Services |
| 111 | 900 901 Vending Misers (cooled machines only) / Restaurant or Services |
| 112 | 110 111 Premium T8, Electronic Ballast / Retail |
| 113 | 110 112 Premium T8, EB, Reflector / Retail |
| 114 | 110 113 Occupancy Sensor / Retail |
| 115 | 110 114 Continuous Dimming / Retail |
| 116 | 120 121 ROB Premium T8, 1EB / Retail |
| 117 | 120 122 ROB Premium T8, EB, Reflector / Retail |
| 118 | 120 123 Occupancy Sensor / Retail |
| 119 | 120 124 Lighting Control Tuneup / Retail |
| 120 | 130 131 CFL Screw-in 18W / Retail |
| 121 | 140 141 CFL Hardwired, Modular 18W / Retail |
| 122 | 150 151 PSMH, 250W, magnetic ballast / Retail |
| 123 | 150 152 PSMH, 250 W, electronic ballast / Retail |
| 124 | 150 153 High Bay T5 / Retail |
| 125 | 200 201 High Pressure Sodium 250W Lamp / Retail |
| 126 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Retail |
| 127 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / Retail |
| 128 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Retail |
| 129 | 300 302 High Efficiency Chiller Motors / Retail |
| 130 | 300 304 EMS - Chiller / Retail |
| 131 | 300 306 VSD for Chiller Pumps and Towers / Retail |
| 132 | 300 307 EMS Optimization / Retail |
| 133 | 300 308 Aerosol Duct Sealing / Retail |
| 134 | 300 309 Duct/Pipe Insulation / Retail |
| 135 | 300 317 Thermal Energy Storage (TES) Positive / Retail |
| 136 | 300 317 Thermal Energy Storage (TES) Negative / Retail |
| 137 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Retail |
| 138 | 320 323 Geothermal Heat Pump, EER=13, 10 tons / Retail |
| 139 | 320 326 DX Tune Up/ Advanced Diagnostics / Retail |
| 140 | 320 327 DX Coil Cleaning / Retail |
| 141 | 320 329 Aerosol Duct Sealing / Retail |
| 142 | 320 330 Duct/Pipe Insulation / Retail |
| 143 | 340 344 Aerosol Duct Sealing / Retail |
| 144 | 340 345 Duct/Pipe Insulation / Retail |
| 145 | 400 402 Variable Speed Drive Control / Retail |
| 146 | 400 403 Air Handler Optimization / Retail |
| 147 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Retail |
| 148 | 600 603 Heat Pump Water Heater (air source) / Retail |
| 149 | 600 606 Demand controlled circulating systems / Retail |
| 150 | 600 608 Heat Recovery Unit / Retail |
| 151 | 600 609 Heat Trap / Retail |
| 152 | 600 610 Hot Water Pipe Insulation / Retail |
| 153 | 700 701 PC Manual Power Management Enabling / Retail |
| 154 | 700 702 PC Network Power Management Enabling / Retail |
| 155 | 710 711 Energy Star or Better Monitor / Retail |
| 156 | 710 712 Monitor Power Management Enabling / Retail |
| 157 | 720 722 Monitor Power Management Enabling / Retail |
| 158 | 730 732 Copier Power Management Enabling / Retail |
| 159 | 740 741 Printer Power Management Enabling / Retail |
| 160 | 800 801 Convection Oven / Retail |
| 161 | 810 811 Efficient Fryer / Retail |
| 162 | 900 901 Vending Misers (cooled machines only) / Retail |
| 163 | 110 111 Premium T8, Electronic Ballast / Food Store |
| 164 | 110 114 Continuous Dimming / Food Store |
| 165 | 110 115 Lighting Control Tuneup / Food Store |
| 166 | 120 121 ROB Premium T8, 1EB / Food Store |
| 167 | 120 122 ROB Premium T8, EB, Reflector / Food Store |
| 168 | 120 123 Occupancy Sensor / Food Store |
| 169 | 120 124 Lighting Control Tuneup / Food Store |
| 170 | 130 131 CFL Screw-in 18W / Food Store |
| 171 | 150 151 PSMH, 250W, magnetic ballast / Food Store |
| 172 | 150 152 PSMH, 250 W, electronic ballast / Food Store |
| 173 | 150 153 High Bay T5 / Food Store |
| 174 | 200 201 High Pressure Sodium 250W Lamp / Food Store |
| 175 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Food Store |
| 176 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / Food Store |
| 177 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Food Store |
| 178 | 300 302 High Efficiency Chiller Motors / Food Store |
| 179 | 300 304 EMS - Chiller / Food Store |
| 180 | 300 305 Chiller Tune Up/Diagnostics / Food Store |
| 181 | 300 306 VSD for Chiller Pumps and Towers / Food Store |
| 182 | 300 307 EMS Optimization / Food Store |
| 183 | 300 308 Aerosol Duct Sealing / Food Store |
| 184 | 300 309 Duct/Pipe Insulation / Food Store |
| 185 | 300 317 Thermal Energy Storage (TES) Positive / Food Store |
| 186 | 300 317 Thermal Energy Storage (TES) Negative / Food Store |
| 187 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Food Store |
| 188 | 320 323 Geothermal Heat Pump, EER=13, 10 tons / Food Store |
| 189 | 320 326 DX Tune Up/ Advanced Diagnostics / Food Store |
| 190 | 320 327 DX Coil Cleaning / Food Store |
| 191 | 320 329 Aerosol Duct Sealing / Food Store |
| 192 | 320 330 Duct/Pipe Insulation / Food Store |
| 193 | 340 344 Aerosol Duct Sealing / Food Store |
| 194 | 340 345 Duct/Pipe Insulation / Food Store |
| 195 | 340 349 Ceiling Insulation / Food Store |
| 196 | 400 402 Variable Speed Drive Control / Food Store |
| 197 | 400 403 Air Handler Optimization / Food Store |
| 198 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Food Store |
| 199 | 500 501 High-efficiency fan motors / Food Store |
| 200 | 500 502 Strip curtains for walk-ins / Food Store |
| 201 | 500 503 Night covers for display cases / Food Store |
| 202 | 500 505 Efficient compressor motor / Food Store |
| 203 | 500 507 Floating head pressure controls / Food Store |
| 204 | 500 510 Demand Defrost Electric / Food Store |
| 205 | 500 513 High R-Value Glass Doors / Food Store |
| 206 | 500 515 Oversized Air Cooled Condenser / Food Store |
| 207 | 500 517 LED Display Lighting / Food Store |
| 208 | 600 603 Heat Pump Water Heater (air source) / Food Store |
| 209 | 600 606 Demand controlled circulating systems / Food Store |
| 210 | 600 608 Heat Recovery Unit / Food Store |
| 211 | 600 609 Heat Trap / Food Store |
| 212 | 600 610 Hot Water Pipe Insulation / Food Store |
| 213 | 700 701 PC Manual Power Management Enabling / Food Store |
| 214 | 700 702 PC Network Power Management Enabling / Food Store |
| 215 | 710 711 Energy Star or Better Monitor / Food Store |
| 216 | 710 712 Monitor Power Management Enabling / Food Store |
| 217 | 730 732 Copier Power Management Enabling / Food Store |
| 218 | 740 741 Printer Power Management Enabling / Food Store |
| 219 | 800 801 Convection Oven / Food Store |
| 220 | 810 811 Efficient Fryer / Food Store |
| 221 | 900 901 Vending Misers (cooled machines only) / Food Store |
| 222 | 110 111 Premium T8, Electronic Ballast / School |
| 223 | 110 114 Continuous Dimming / School |
| 224 | 110 115 Lighting Control Tuneup / School |
| 225 | 120 121 ROB Premium T8, 1EB / School |
| 226 | 120 122 ROB Premium T8, EB, Reflector / School |
| 227 | 120 123 Occupancy Sensor / School |
| 228 | 120 124 Lighting Control Tuneup / School |
| 229 | 130 131 CFL Screw-in 18W / School |
| 230 | 150 151 PSMH, 250W, magnetic ballast / School |
| 231 | 150 152 PSMH, 250 W, electronic ballast / School |
| 232 | 150 153 High Bay T5 / School |
| 233 | 200 201 High Pressure Sodium 250W Lamp / School |
| 234 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / School |
| 235 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / School |
| 236 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / School |
| 237 | 300 302 High Efficiency Chiller Motors / School |
| 238 | 300 304 EMS - Chiller / School |
| 239 | 300 306 VSD for Chiller Pumps and Towers / School |
| 240 | 300 307 EMS Optimization / School |
| 241 | 300 308 Aerosol Duct Sealing / School |
| 242 | 300 309 Duct/Pipe Insulation / School |
| 243 | 300 317 Thermal Energy Storage (TES) Positive / School |
| 244 | 300 317 Thermal Energy Storage (TES) Negative / School |
| 245 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / School |
| 246 | 320 323 Geothermal Heat Pump, EER=13, 10 tons / School |
| 247 | 320 326 DX Tune Up/ Advanced Diagnostics / School |
| 248 | 320 327 DX Coil Cleaning / School |
| 249 | 320 329 Aerosol Duct Sealing / School |
| 250 | 320 330 Duct/Pipe Insulation / School |
| 251 | 340 344 Aerosol Duct Sealing / School |
| 252 | 340 345 Duct/Pipe Insulation / School |
| 253 | 400 402 Variable Speed Drive Control / School |
| 254 | 400 403 Air Handler Optimization / School |
| 255 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / School |
| 256 | 600 603 Heat Pump Water Heater (air source) / School |
| 257 | 600 606 Demand controlled circulating systems / School |
| 258 | 600 608 Heat Recovery Unit / School |
| 259 | 600 609 Heat Trap / School |
| 260 | 600 610 Hot Water Pipe Insulation / School |
| 261 | 700 701 PC Manual Power Management Enabling / School |
| 262 | 700 702 PC Network Power Management Enabling / School |
| 263 | 710 711 Energy Star or Better Monitor / School |
| 264 | 710 712 Monitor Power Management Enabling / School |
| 265 | 720 722 Monitor Power Management Enabling / School |
| 266 | 730 732 Copier Power Management Enabling / School |
| 267 | 740 741 Printer Power Management Enabling / School |
| 268 | 800 801 Convection Oven / School |
| 269 | 810 811 Efficient Fryer / School |
| 270 | 900 901 Vending Misers (cooled machines only) / School |
| 271 | 110 111 Premium T8, Electronic Ballast / College |
| 272 | 110 114 Continuous Dimming / College |
| 273 | 110 115 Lighting Control Tuneup / College |
| 274 | 120 121 ROB Premium T8, 1EB / College |
| 275 | 120 122 ROB Premium T8, EB, Reflector / College |
| 276 | 120 123 Occupancy Sensor / College |
| 277 | 120 124 Lighting Control Tuneup / College |
| 278 | 130 131 CFL Screw-in 18W / College |
| 279 | 150 151 PSMH, 250W, magnetic ballast / College |
| 280 | 150 152 PSMH, 250 W, electronic ballast / College |
| 281 | 150 153 High Bay T5 / College |
| 282 | 200 201 High Pressure Sodium 250W Lamp / College |
| 283 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / College |
| 284 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / College |
| 285 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / College |
| 286 | 300 302 High Efficiency Chiller Motors / College |
| 287 | 300 304 EMS - Chiller / College |
| 288 | 300 306 VSD for Chiller Pumps and Towers / College |
| 289 | 300 307 EMS Optimization / College |
| 290 | 300 308 Aerosol Duct Sealing / College |
| 291 | 300 309 Duct/Pipe Insulation / College |
| 292 | 300 317 Thermal Energy Storage (TES) Positive / College |
| 293 | 300 317 Thermal Energy Storage (TES) Negative / College |
| 294 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / College |
| 295 | 320 323 Geothermal Heat Pump, EER=13, 10 tons / College |
| 296 | 320 326 DX Tune Up/ Advanced Diagnostics / College |
| 297 | 320 327 DX Coil Cleaning / College |
| 298 | 320 329 Aerosol Duct Sealing / College |
| 299 | 320 330 Duct/Pipe Insulation / College |
| 300 | 340 344 Aerosol Duct Sealing / College |
| 301 | 340 345 Duct/Pipe Insulation / College |
| 302 | 400 402 Variable Speed Drive Control / College |
| 303 | 400 403 Air Handler Optimization / College |
| 304 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / College |
| 305 | 600 603 Heat Pump Water Heater (air source) / College |
| 306 | 600 606 Demand controlled circulating systems / College |
| 307 | 600 608 Heat Recovery Unit / College |
| 308 | 600 609 Heat Trap / College |
| 309 | 600 610 Hot Water Pipe Insulation / College |
| 310 | 700 701 PC Manual Power Management Enabling / College |
| 311 | 700 702 PC Network Power Management Enabling / College |
| 312 | 710 711 Energy Star or Better Monitor / College |
| 313 | 710 712 Monitor Power Management Enabling / College |
| 314 | 720 721 Energy Star or Better Monitor / College |
| 315 | 720 722 Monitor Power Management Enabling / College |
| 316 | 730 732 Copier Power Management Enabling / College |
| 317 | 740 741 Printer Power Management Enabling / College |
| 318 | 800 801 Convection Oven / College |
| 319 | 810 811 Efficient Fryer / College |
| 320 | 900 901 Vending Misers (cooled machines only) / College |
| 321 | 110 111 Premium T8, Electronic Ballast / Hospital |
| 322 | 110 114 Continuous Dimming / Hospital |
| 323 | 110 115 Lighting Control Tuneup / Hospital |
| 324 | 120 121 ROB Premium T8, 1EB / Hospital |
| 325 | 120 122 ROB Premium T8, EB, Reflector / Hospital |
| 326 | 120 123 Occupancy Sensor / Hospital |
| 327 | 120 124 Lighting Control Tuneup / Hospital |
| 328 | 130 131 CFL Screw-in 18W / Hospital |
| 329 | 150 151 PSMH, 250W, magnetic ballast / Hospital |
| 330 | 150 152 PSMH, 250 W, electronic ballast / Hospital |
| 331 | 150 153 High Bay T5 / Hospital |
| 332 | 160 161 LED Exit Sign / Hospital |
| 333 | 200 201 High Pressure Sodium 250W Lamp / Hospital |
| 334 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Hospital |
| 335 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / Hospital |
| 336 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Hospital |
| 337 | 300 302 High Efficiency Chiller Motors / Hospital |
| 338 | 300 304 EMS - Chiller / Hospital |
| 339 | 300 305 Chiller Tune Up/Diagnostics / Hospital |
| 340 | 300 306 VSD for Chiller Pumps and Towers / Hospital |
| 341 | 300 307 EMS Optimization / Hospital |
| 342 | 300 308 Aerosol Duct Sealing / Hospital |
| 343 | 300 309 Duct/Pipe Insulation / Hospital |
| 344 | 300 311 Window Film (Standard) / Hospital |
| 345 | 300 317 Thermal Energy Storage (TES) Positive / Hospital |
| 346 | 300 317 Thermal Energy Storage (TES) Negative / Hospital |
| 347 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Hospital |
| 348 | 320 323 Geothermal Heat Pump, EER=13, 10 tons / Hospital |
| 349 | 320 326 DX Tune Up/ Advanced Diagnostics / Hospital |
| 350 | 320 327 DX Coil Cleaning / Hospital |
| 351 | 320 329 Aerosol Duct Sealing / Hospital |
| 352 | 320 330 Duct/Pipe Insulation / Hospital |
| 353 | 320 334 Ceiling Insulation / Hospital |
| 354 | 320 335 Roof Insulation / Hospital |
| 355 | 340 344 Aerosol Duct Sealing / Hospital |
| 356 | 340 345 Duct/Pipe Insulation / Hospital |
| 357 | 340 349 Ceiling Insulation / Hospital |
| 358 | 360 361 HE PTAC, EER=9.6, 1 ton / Hospital |
| 359 | 400 402 Variable Speed Drive Control / Hospital |
| 360 | 400 403 Air Handler Optimization / Hospital |
| 361 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Hospital |
| 362 | 600 603 Heat Pump Water Heater (air source) / Hospital |
| 363 | 600 606 Demand controlled circulating systems / Hospital |
| 364 | 600 608 Heat Recovery Unit / Hospital |
| 365 | 600 609 Heat Trap / Hospital |
| 366 | 600 610 Hot Water Pipe Insulation / Hospital |
| 367 | 700 701 PC Manual Power Management Enabling / Hospital |
| 368 | 700 702 PC Network Power Management Enabling / Hospital |
| 369 | 710 711 Energy Star or Better Monitor / Hospital |
| 370 | 710 712 Monitor Power Management Enabling / Hospital |
| 371 | 720 722 Monitor Power Management Enabling / Hospital |
| 372 | 730 732 Copier Power Management Enabling / Hospital |
| 373 | 740 741 Printer Power Management Enabling / Hospital |
| 374 | 800 801 Convection Oven / Hospital |
| 375 | 810 811 Efficient Fryer / Hospital |
| 376 | 900 901 Vending Misers (cooled machines only) / Hospital |
| 377 | 110 111 Premium T8, Electronic Ballast / Other Healthcare |
| 378 | 110 114 Continuous Dimming / Other Healthcare |
| 379 | 110 115 Lighting Control Tuneup / Other Healthcare |
| 380 | 120 121 ROB Premium T8, 1EB / Other Healthcare |
| 381 | 120 122 ROB Premium T8, EB, Reflector / Other Healthcare |
| 382 | 120 123 Occupancy Sensor / Other Healthcare |
| 383 | 120 124 Lighting Control Tuneup / Other Healthcare |
| 384 | 130 131 CFL Screw-in 18W / Other Healthcare |
| 385 | 150 151 PSMH, 250W, magnetic ballast / Other Healthcare |
| 386 | 150 152 PSMH, 250 W, electronic ballast / Other Healthcare |
| 387 | 150 153 High Bay T5 / Other Healthcare |
| 388 | 200 201 High Pressure Sodium 250W Lamp / Other Healthcare |
| 389 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Other Healthcare |
| 390 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / Other Healthcare |
| 391 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Other Healthcare |
| 392 | 300 302 High Efficiency Chiller Motors / Other Healthcare |
| 393 | 300 304 EMS - Chiller / Other Healthcare |
| 394 | 300 305 Chiller Tune Up/Diagnostics / Other Healthcare |
| 395 | 300 306 VSD for Chiller Pumps and Towers / Other Healthcare |
| 396 | 300 307 EMS Optimization / Other Healthcare |
| 397 | 300 308 Aerosol Duct Sealing / Other Healthcare |
| 398 | 300 309 Duct/Pipe Insulation / Other Healthcare |
| 399 | 300 317 Thermal Energy Storage (TES) Positive / Other Healthcare |
| 400 | 300 317 Thermal Energy Storage (TES) Negative / Other Healthcare |
| 401 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Other Healthcare |
| 402 | 320 323 Geothermal Heat Pump, EER=13, 10 tons / Other Healthcare |
| 403 | 320 326 DX Tune Up/ Advanced Diagnostics / Other Healthcare |
| 404 | 320 327 DX Coil Cleaning / Other Healthcare |
| 405 | 320 329 Aerosol Duct Sealing / Other Healthcare |
| 406 | 320 330 Duct/Pipe Insulation / Other Healthcare |
| 407 | 340 344 Aerosol Duct Sealing / Other Healthcare |
| 408 | 340 345 Duct/Pipe Insulation / Other Healthcare |
| 409 | 400 402 Variable Speed Drive Control / Other Healthcare |
| 410 | 400 403 Air Handler Optimization / Other Healthcare |
| 411 | 600 603 Heat Pump Water Heater (air source) / Other Healthcare |
| 412 | 600 606 Demand controlled circulating systems / Other Healthcare |
| 413 | 600 608 Heat Recovery Unit / Other Healthcare |
| 414 | 600 609 Heat Trap / Other Healthcare |
| 415 | 600 610 Hot Water Pipe Insulation / Other Healthcare |
| 416 | 700 701 PC Manual Power Management Enabling / Other Healthcare |
| 417 | 700 702 PC Network Power Management Enabling / Other Healthcare |
| 418 | 710 711 Energy Star or Better Monitor / Other Healthcare |
| 419 | 710 712 Monitor Power Management Enabling / Other Healthcare |
| 420 | 720 722 Monitor Power Management Enabling / Other Healthcare |
| 421 | 730 732 Copier Power Management Enabling / Other Healthcare |
| 422 | 740 741 Printer Power Management Enabling / Other Healthcare |
| 423 | 800 801 Convection Oven / Other Healthcare |
| 424 | 810 811 Efficient Fryer / Other Healthcare |
| 425 | 900 901 Vending Misers (cooled machines only) / Other Healthcare |
| 426 | 110 111 Premium T8, Electronic Ballast / Warehouse |
| 427 | 110 114 Continuous Dimming / Warehouse |
| 428 | 110 115 Lighting Control Tuneup / Warehouse |
| 429 | 120 121 ROB Premium T8, 1EB / Warehouse |
| 430 | 120 122 ROB Premium T8, EB, Reflector / Warehouse |
| 431 | 120 123 Occupancy Sensor / Warehouse |
| 432 | 120 124 Lighting Control Tuneup / Warehouse |
| 433 | 130 131 CFL Screw-in 18W / Warehouse |
| 434 | 150 151 PSMH, 250W, magnetic ballast / Warehouse |
| 435 | 150 152 PSMH, 250 W, electronic ballast / Warehouse |
| 436 | 150 153 High Bay T5 / Warehouse |
| 437 | 160 161 LED Exit Sign / Warehouse |
| 438 | 200 201 High Pressure Sodium 250W Lamp / Warehouse |
| 439 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Warehouse |
| 440 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / Warehouse |
| 441 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Warehouse |
| 442 | 300 302 High Efficiency Chiller Motors / Warehouse |
| 443 | 300 304 EMS - Chiller / Warehouse |
| 444 | 300 306 VSD for Chiller Pumps and Towers / Warehouse |
| 445 | 300 307 EMS Optimization / Warehouse |
| 446 | 300 308 Aerosol Duct Sealing / Warehouse |
| 447 | 300 309 Duct/Pipe Insulation / Warehouse |
| 448 | 300 317 Thermal Energy Storage (TES) Positive / Warehouse |
| 449 | 300 317 Thermal Energy Storage (TES) Negative / Warehouse |
| 450 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Warehouse |
| 451 | 320 323 Geothermal Heat Pump, EER=13, 10 tons / Warehouse |
| 452 | 320 326 DX Tune Up/ Advanced Diagnostics / Warehouse |
| 453 | 320 327 DX Coil Cleaning / Warehouse |
| 454 | 320 329 Aerosol Duct Sealing / Warehouse |
| 455 | 320 330 Duct/Pipe Insulation / Warehouse |
| 456 | 340 344 Aerosol Duct Sealing / Warehouse |
| 457 | 340 345 Duct/Pipe Insulation / Warehouse |
| 458 | 400 402 Variable Speed Drive Control / Warehouse |
| 459 | 400 403 Air Handler Optimization / Warehouse |
| 460 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Warehouse |
| 461 | 600 603 Heat Pump Water Heater (air source) / Warehouse |
| 462 | 600 606 Demand controlled circulating systems / Warehouse |
| 463 | 600 608 Heat Recovery Unit / Warehouse |
| 464 | 600 609 Heat Trap / Warehouse |
| 465 | 600 610 Hot Water Pipe Insulation / Warehouse |
| 466 | 700 701 PC Manual Power Management Enabling / Warehouse |
| 467 | 700 702 PC Network Power Management Enabling / Warehouse |
| 468 | 710 711 Energy Star or Better Monitor / Warehouse |
| 469 | 710 712 Monitor Power Management Enabling / Warehouse |
| 470 | 720 722 Monitor Power Management Enabling / Warehouse |
| 471 | 730 732 Copier Power Management Enabling / Warehouse |
| 472 | 740 741 Printer Power Management Enabling / Warehouse |
| 473 | 800 801 Convection Oven / Warehouse |
| 474 | 810 811 Efficient Fryer / Warehouse |
| 475 | 900 901 Vending Misers (cooled machines only) / Warehouse |
| 476 | 110 111 Premium T8, Electronic Ballast / Hotel or Motel |
| 477 | 110 114 Continuous Dimming / Hotel or Motel |
| 478 | 110 115 Lighting Control Tuneup / Hotel or Motel |
| 479 | 120 121 ROB Premium T8, 1EB / Hotel or Motel |
| 480 | 120 122 ROB Premium T8, EB, Reflector / Hotel or Motel |
| 481 | 120 123 Occupancy Sensor / Hotel or Motel |
| 482 | 120 124 Lighting Control Tuneup / Hotel or Motel |
| 483 | 130 131 CFL Screw-in 18W / Hotel or Motel |
| 484 | 150 151 PSMH, 250W, magnetic ballast / Hotel or Motel |
| 485 | 150 152 PSMH, 250 W, electronic ballast / Hotel or Motel |
| 486 | 150 153 High Bay T5 / Hotel or Motel |
| 487 | 200 201 High Pressure Sodium 250W Lamp / Hotel or Motel |
| 488 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Hotel or Motel |
| 489 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / Hotel or Motel |
| 490 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Hotel or Motel |
| 491 | 300 302 High Efficiency Chiller Motors / Hotel or Motel |
| 492 | 300 304 EMS - Chiller / Hotel or Motel |
| 493 | 300 305 Chiller Tune Up/Diagnostics / Hotel or Motel |
| 494 | 300 306 VSD for Chiller Pumps and Towers / Hotel or Motel |
| 495 | 300 307 EMS Optimization / Hotel or Motel |
| 496 | 300 308 Aerosol Duct Sealing / Hotel or Motel |
| 497 | 300 309 Duct/Pipe Insulation / Hotel or Motel |
| 498 | 300 317 Thermal Energy Storage (TES) Positive / Hotel or Motel |
| 499 | 300 317 Thermal Energy Storage (TES) Negative / Hotel or Motel |
| 500 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Hotel or Motel |
| 501 | 320 323 Geothermal Heat Pump, EER=13, 10 tons / Hotel or Motel |
| 502 | 320 326 DX Tune Up/ Advanced Diagnostics / Hotel or Motel |
| 503 | 320 327 DX Coil Cleaning / Hotel or Motel |
| 504 | 320 329 Aerosol Duct Sealing / Hotel or Motel |
| 505 | 320 330 Duct/Pipe Insulation / Hotel or Motel |
| 506 | 340 344 Aerosol Duct Sealing / Hotel or Motel |
| 507 | 340 345 Duct/Pipe Insulation / Hotel or Motel |
| 508 | 360 361 HE PTAC, EER=9.6, 1 ton / Hotel or Motel |
| 509 | 400 402 Variable Speed Drive Control / Hotel or Motel |
| 510 | 400 403 Air Handler Optimization / Hotel or Motel |
| 511 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Hotel or Motel |
| 512 | 600 603 Heat Pump Water Heater (air source) / Hotel or Motel |
| 513 | 600 606 Demand controlled circulating systems / Hotel or Motel |
| 514 | 600 608 Heat Recovery Unit / Hotel or Motel |
| 515 | 600 609 Heat Trap / Hotel or Motel |
| 516 | 600 610 Hot Water Pipe Insulation / Hotel or Motel |
| 517 | 700 701 PC Manual Power Management Enabling / Hotel or Motel |
| 518 | 700 702 PC Network Power Management Enabling / Hotel or Motel |
| 519 | 710 711 Energy Star or Better Monitor / Hotel or Motel |
| 520 | 710 712 Monitor Power Management Enabling / Hotel or Motel |
| 521 | 730 732 Copier Power Management Enabling / Hotel or Motel |
| 522 | 740 741 Printer Power Management Enabling / Hotel or Motel |
| 523 | 800 801 Convection Oven / Hotel or Motel |
| 524 | 810 811 Efficient Fryer / Hotel or Motel |
| 525 | 900 901 Vending Misers (cooled machines only) / Hotel or Motel |
| 526 | 110 111 Premium T8, Electronic Ballast / Other |
| 527 | 110 114 Continuous Dimming / Other |
| 528 | 110 115 Lighting Control Tuneup / Other |
| 529 | 120 121 ROB Premium T8, 1EB / Other |
| 530 | 120 122 ROB Premium T8, EB, Reflector / Other |
| 531 | 120 123 Occupancy Sensor / Other |
| 532 | 120 124 Lighting Control Tuneup / Other |
| 533 | 130 131 CFL Screw-in 18W / Other |
| 534 | 150 151 PSMH, 250W, magnetic ballast / Other |
| 535 | 150 152 PSMH, 250 W, electronic ballast / Other |
| 536 | 150 153 High Bay T5 / Other |
| 537 | 200 201 High Pressure Sodium 250W Lamp / Other |
| 538 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Other |
| 539 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / Other |
| 540 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Other |
| 541 | 300 302 High Efficiency Chiller Motors / Other |
| 542 | 300 304 EMS - Chiller / Other |
| 543 | 300 306 VSD for Chiller Pumps and Towers / Other |
| 544 | 300 307 EMS Optimization / Other |
| 545 | 300 308 Aerosol Duct Sealing / Other |
| 546 | 300 309 Duct/Pipe Insulation / Other |
| 547 | 300 317 Thermal Energy Storage (TES) Positive / Other |
| 548 | 300 317 Thermal Energy Storage (TES) Negative / Other |
| 549 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Other |
| 550 | 320 323 Geothermal Heat Pump, EER=13, 10 tons / Other |
| 551 | 320 326 DX Tune Up/ Advanced Diagnostics / Other |
| 552 | 320 327 DX Coil Cleaning / Other |
| 553 | 320 329 Aerosol Duct Sealing / Other |
| 554 | 320 330 Duct/Pipe Insulation / Other |
| 555 | 340 344 Aerosol Duct Sealing / Other |
| 556 | 340 345 Duct/Pipe Insulation / Other |
| 557 | 400 403 Air Handler Optimization / Other |
| 558 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Other |
| 559 | 600 603 Heat Pump Water Heater (air source) / Other |
| 560 | 600 604 Solar Water Heater / Other |
| 561 | 600 606 Demand controlled circulating systems / Other |
| 562 | 600 608 Heat Recovery Unit / Other |
| 563 | 600 609 Heat Trap / Other |
| 564 | 600 610 Hot Water Pipe Insulation / Other |
| 565 | 700 701 PC Manual Power Management Enabling / Other |
| 566 | 700 702 PC Network Power Management Enabling / Other |
| 567 | 710 711 Energy Star or Better Monitor / Other |
| 568 | 710 712 Monitor Power Management Enabling / Other |
| 569 | 720 721 Energy Star or Better Monitor / Other |
| 570 | 720 722 Monitor Power Management Enabling / Other |
| 571 | 730 731 Energy Star or Better Copier / Other |
| 572 | 730 732 Copier Power Management Enabling / Other |
| 573 | 740 741 Printer Power Management Enabling / Other |
| 574 | 800 801 Convection Oven / Other |
| 575 | 900 901 Vending Misers (cooled machines only) / Other |
| 576 | 100 125 LED Linear Tube 22W / All |
| 577 | 100 132 Flood LED 14W / All |
| 578 | 100 154 LED High Bay 83W (400W equivalent) / All |
| 579 | 200 203 Outdoor LED 104W / All |
| 580 | 300 337 Run Time Optimizer / All |
| 581 | 300 338 dehumidification hybrid desiccant heat pump / All |
| 582 | 800 518 Ice Machine / All |
| 583 | 600 611 0.5 Faucet Aerator (DI) - Commercial / All |
| 584 | 600 612 1.0 gpm Faucet Aerator (DI) -Commercial / All |
| 585 | 600 613 1.5 gpm Shower Head (DI) - Commercial / All |
| 586 | 800 812 Griddle / All |
| 587 | 800 813 Steamer / All |
| 588 | 800 814 Holding Cabinet / All |
| 589 | 700 910 Server Virtualization / All |
| **Industrial** | |
| 1 | 101 Compressed Air-O&M / Food |
| 2 | 102 Compressed Air - Controls / Food |
| 3 | 103 Compressed Air - System Optimization / Food |
| 4 | 104 Compressed Air- Sizing / Food |
| 5 | 105 Comp Air - Replace 1-5 HP motor / Food |
| 6 | 106 Comp Air - ASD (1-5 hp) / Food |
| 7 | 107 Comp Air - Motor practices-1 (1-5 HP) / Food |
| 8 | 108 Comp Air - Replace 6-100 HP motor / Food |
| 9 | 109 Comp Air - ASD (6-100 hp) / Food |
| 10 | 110 Comp Air - Motor practices-1 (6-100 HP) / Food |
| 11 | 111 Comp Air - Replace 100+ HP motor / Food |
| 12 | 112 Comp Air - ASD (100+ hp) / Food |
| 13 | 113 Comp Air - Motor practices-1 (100+ HP) / Food |
| 14 | 201 Fans - O&M / Food |
| 15 | 202 Fans - Controls / Food |
| 16 | 203 Fans - System Optimization / Food |
| 17 | 204 Fans- Improve components / Food |
| 18 | 205 Fans - Replace 1-5 HP motor / Food |
| 19 | 206 Fans - ASD (1-5 hp) / Food |
| 20 | 207 Fans - Motor practices-1 (1-5 HP) / Food |
| 21 | 208 Fans - Replace 6-100 HP motor / Food |
| 22 | 209 Fans - ASD (6-100 hp) / Food |
| 23 | 210 Fans - Motor practices-1 (6-100 HP) / Food |
| 24 | 211 Fans - Replace 100+ HP motor / Food |
| 25 | 212 Fans - ASD (100+ hp) / Food |
| 26 | 213 Fans - Motor practices-1 (100+ HP) / Food |
| 27 | 301 Pumps - O&M / Food |
| 28 | 302 Pumps - Controls / Food |
| 29 | 303 Pumps - System Optimization / Food |
| 30 | 304 Pumps - Sizing / Food |
| 31 | 305 Pumps - Replace 1-5 HP motor / Food |
| 32 | 306 Pumps - ASD (1-5 hp) / Food |
| 33 | 307 Pumps - Motor practices-1 (1-5 HP) / Food |
| 34 | 308 Pumps - Replace 6-100 HP motor / Food |
| 35 | 309 Pumps - ASD (6-100 hp) / Food |
| 36 | 310 Pumps - Motor practices-1 (6-100 HP) / Food |
| 37 | 311 Pumps - Replace 100+ HP motor / Food |
| 38 | 312 Pumps - ASD (100+ hp) / Food |
| 39 | 313 Pumps - Motor practices-1 (100+ HP) / Food |
| 40 | 401 Bakery - Process (Mixing) - O&M / Food |
| 41 | 501 Bakery - Process / Food |
| 42 | 551 Efficient Refrigeration - Operations / Food |
| 43 | 552 Optimization Refrigeration / Food |
| 44 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Food |
| 45 | 702 High Efficiency Chiller Motors / Food |
| 46 | 703 EMS - Chiller / Food |
| 47 | 704 Chiller Tune Up/Diagnostics / Food |
| 48 | 705 VSD for Chiller Pumps and Towers / Food |
| 49 | 706 EMS Optimization - Chiller / Food |
| 50 | 707 Aerosol Duct Sealing - Chiller / Food |
| 51 | 708 Duct/Pipe Insulation - Chiller / Food |
| 52 | 709 Window Film (Standard) - Chiller / Food |
| 53 | 710 Roof Insulation - Chiller / Food |
| 54 | 711 Cool Roof - Chiller / Food |
| 55 | 721 DX Packaged System, EER=10.9, 10 tons / Food |
| 56 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Food |
| 57 | 723 Geothermal Heat Pump, EER=13, 10 tons / Food |
| 58 | 724 DX Tune Up/ Advanced Diagnostics / Food |
| 59 | 725 DX Coil Cleaning / Food |
| 60 | 726 Optimize Controls / Food |
| 61 | 727 Aerosol Duct Sealing / Food |
| 62 | 728 Duct/Pipe Insulation / Food |
| 63 | 729 Window Film (Standard) / Food |
| 64 | 730 Roof Insulation / Food |
| 65 | 731 Cool Roof - DX / Food |
| 66 | 801 Premium T8, Electronic Ballast / Food |
| 67 | 802 CFL Hardwired, Modular 18W / Food |
| 68 | 803 CFL Screw-in 18W / Food |
| 69 | 804 High Bay T5 / Food |
| 70 | 805 Occupancy Sensor / Food |
| 71 | 901 Replace V-belts / Food |
| 72 | 101 Compressed Air-O&M / Textiles |
| 73 | 102 Compressed Air - Controls / Textiles |
| 74 | 103 Compressed Air - System Optimization / Textiles |
| 75 | 104 Compressed Air- Sizing / Textiles |
| 76 | 105 Comp Air - Replace 1-5 HP motor / Textiles |
| 77 | 106 Comp Air - ASD (1-5 hp) / Textiles |
| 78 | 107 Comp Air - Motor practices-1 (1-5 HP) / Textiles |
| 79 | 108 Comp Air - Replace 6-100 HP motor / Textiles |
| 80 | 109 Comp Air - ASD (6-100 hp) / Textiles |
| 81 | 110 Comp Air - Motor practices-1 (6-100 HP) / Textiles |
| 82 | 111 Comp Air - Replace 100+ HP motor / Textiles |
| 83 | 112 Comp Air - ASD (100+ hp) / Textiles |
| 84 | 113 Comp Air - Motor practices-1 (100+ HP) / Textiles |
| 85 | 201 Fans - O&M / Textiles |
| 86 | 202 Fans - Controls / Textiles |
| 87 | 203 Fans - System Optimization / Textiles |
| 88 | 204 Fans- Improve components / Textiles |
| 89 | 205 Fans - Replace 1-5 HP motor / Textiles |
| 90 | 206 Fans - ASD (1-5 hp) / Textiles |
| 91 | 207 Fans - Motor practices-1 (1-5 HP) / Textiles |
| 92 | 208 Fans - Replace 6-100 HP motor / Textiles |
| 93 | 209 Fans - ASD (6-100 hp) / Textiles |
| 94 | 210 Fans - Motor practices-1 (6-100 HP) / Textiles |
| 95 | 211 Fans - Replace 100+ HP motor / Textiles |
| 96 | 212 Fans - ASD (100+ hp) / Textiles |
| 97 | 213 Fans - Motor practices-1 (100+ HP) / Textiles |
| 98 | 301 Pumps - O&M / Textiles |
| 99 | 302 Pumps - Controls / Textiles |
| 100 | 303 Pumps - System Optimization / Textiles |
| 101 | 304 Pumps - Sizing / Textiles |
| 102 | 305 Pumps - Replace 1-5 HP motor / Textiles |
| 103 | 306 Pumps - ASD (1-5 hp) / Textiles |
| 104 | 307 Pumps - Motor practices-1 (1-5 HP) / Textiles |
| 105 | 308 Pumps - Replace 6-100 HP motor / Textiles |
| 106 | 309 Pumps - ASD (6-100 hp) / Textiles |
| 107 | 310 Pumps - Motor practices-1 (6-100 HP) / Textiles |
| 108 | 311 Pumps - Replace 100+ HP motor / Textiles |
| 109 | 312 Pumps - ASD (100+ hp) / Textiles |
| 110 | 313 Pumps - Motor practices-1 (100+ HP) / Textiles |
| 111 | 402 O&M/drives spinning machines / Textiles |
| 112 | 502 Drying (UV/IR) / Textiles |
| 113 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Textiles |
| 114 | 702 High Efficiency Chiller Motors / Textiles |
| 115 | 703 EMS - Chiller / Textiles |
| 116 | 704 Chiller Tune Up/Diagnostics / Textiles |
| 117 | 705 VSD for Chiller Pumps and Towers / Textiles |
| 118 | 706 EMS Optimization - Chiller / Textiles |
| 119 | 707 Aerosol Duct Sealing - Chiller / Textiles |
| 120 | 708 Duct/Pipe Insulation - Chiller / Textiles |
| 121 | 709 Window Film (Standard) - Chiller / Textiles |
| 122 | 710 Roof Insulation - Chiller / Textiles |
| 123 | 711 Cool Roof - Chiller / Textiles |
| 124 | 721 DX Packaged System, EER=10.9, 10 tons / Textiles |
| 125 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Textiles |
| 126 | 723 Geothermal Heat Pump, EER=13, 10 tons / Textiles |
| 127 | 724 DX Tune Up/ Advanced Diagnostics / Textiles |
| 128 | 725 DX Coil Cleaning / Textiles |
| 129 | 726 Optimize Controls / Textiles |
| 130 | 727 Aerosol Duct Sealing / Textiles |
| 131 | 728 Duct/Pipe Insulation / Textiles |
| 132 | 729 Window Film (Standard) / Textiles |
| 133 | 730 Roof Insulation / Textiles |
| 134 | 731 Cool Roof - DX / Textiles |
| 135 | 801 Premium T8, Electronic Ballast / Textiles |
| 136 | 802 CFL Hardwired, Modular 18W / Textiles |
| 137 | 803 CFL Screw-in 18W / Textiles |
| 138 | 804 High Bay T5 / Textiles |
| 139 | 805 Occupancy Sensor / Textiles |
| 140 | 901 Replace V-belts / Textiles |
| 141 | 902 Membranes for wastewater / Textiles |
| 142 | 101 Compressed Air-O&M / Lumber |
| 143 | 102 Compressed Air - Controls / Lumber |
| 144 | 103 Compressed Air - System Optimization / Lumber |
| 145 | 104 Compressed Air- Sizing / Lumber |
| 146 | 105 Comp Air - Replace 1-5 HP motor / Lumber |
| 147 | 106 Comp Air - ASD (1-5 hp) / Lumber |
| 148 | 107 Comp Air - Motor practices-1 (1-5 HP) / Lumber |
| 149 | 108 Comp Air - Replace 6-100 HP motor / Lumber |
| 150 | 109 Comp Air - ASD (6-100 hp) / Lumber |
| 151 | 110 Comp Air - Motor practices-1 (6-100 HP) / Lumber |
| 152 | 111 Comp Air - Replace 100+ HP motor / Lumber |
| 153 | 112 Comp Air - ASD (100+ hp) / Lumber |
| 154 | 113 Comp Air - Motor practices-1 (100+ HP) / Lumber |
| 155 | 201 Fans - O&M / Lumber |
| 156 | 202 Fans - Controls / Lumber |
| 157 | 203 Fans - System Optimization / Lumber |
| 158 | 204 Fans- Improve components / Lumber |
| 159 | 205 Fans - Replace 1-5 HP motor / Lumber |
| 160 | 206 Fans - ASD (1-5 hp) / Lumber |
| 161 | 207 Fans - Motor practices-1 (1-5 HP) / Lumber |
| 162 | 208 Fans - Replace 6-100 HP motor / Lumber |
| 163 | 209 Fans - ASD (6-100 hp) / Lumber |
| 164 | 210 Fans - Motor practices-1 (6-100 HP) / Lumber |
| 165 | 211 Fans - Replace 100+ HP motor / Lumber |
| 166 | 212 Fans - ASD (100+ hp) / Lumber |
| 167 | 213 Fans - Motor practices-1 (100+ HP) / Lumber |
| 168 | 214 Optimize drying process / Lumber |
| 169 | 301 Pumps - O&M / Lumber |
| 170 | 302 Pumps - Controls / Lumber |
| 171 | 303 Pumps - System Optimization / Lumber |
| 172 | 304 Pumps - Sizing / Lumber |
| 173 | 305 Pumps - Replace 1-5 HP motor / Lumber |
| 174 | 306 Pumps - ASD (1-5 hp) / Lumber |
| 175 | 307 Pumps - Motor practices-1 (1-5 HP) / Lumber |
| 176 | 308 Pumps - Replace 6-100 HP motor / Lumber |
| 177 | 309 Pumps - ASD (6-100 hp) / Lumber |
| 178 | 310 Pumps - Motor practices-1 (6-100 HP) / Lumber |
| 179 | 311 Pumps - Replace 100+ HP motor / Lumber |
| 180 | 312 Pumps - ASD (100+ hp) / Lumber |
| 181 | 313 Pumps - Motor practices-1 (100+ HP) / Lumber |
| 182 | 403 Air conveying systems / Lumber |
| 183 | 404 Replace V-Belts / Lumber |
| 184 | 405 Drives - EE motor / Lumber |
| 185 | 503 Heat Pumps - Drying / Lumber |
| 186 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Lumber |
| 187 | 702 High Efficiency Chiller Motors / Lumber |
| 188 | 703 EMS - Chiller / Lumber |
| 189 | 704 Chiller Tune Up/Diagnostics / Lumber |
| 190 | 705 VSD for Chiller Pumps and Towers / Lumber |
| 191 | 706 EMS Optimization - Chiller / Lumber |
| 192 | 707 Aerosol Duct Sealing - Chiller / Lumber |
| 193 | 708 Duct/Pipe Insulation - Chiller / Lumber |
| 194 | 709 Window Film (Standard) - Chiller / Lumber |
| 195 | 710 Roof Insulation - Chiller / Lumber |
| 196 | 711 Cool Roof - Chiller / Lumber |
| 197 | 721 DX Packaged System, EER=10.9, 10 tons / Lumber |
| 198 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Lumber |
| 199 | 723 Geothermal Heat Pump, EER=13, 10 tons / Lumber |
| 200 | 724 DX Tune Up/ Advanced Diagnostics / Lumber |
| 201 | 725 DX Coil Cleaning / Lumber |
| 202 | 726 Optimize Controls / Lumber |
| 203 | 727 Aerosol Duct Sealing / Lumber |
| 204 | 728 Duct/Pipe Insulation / Lumber |
| 205 | 729 Window Film (Standard) / Lumber |
| 206 | 730 Roof Insulation / Lumber |
| 207 | 731 Cool Roof - DX / Lumber |
| 208 | 801 Premium T8, Electronic Ballast / Lumber |
| 209 | 802 CFL Hardwired, Modular 18W / Lumber |
| 210 | 803 CFL Screw-in 18W / Lumber |
| 211 | 804 High Bay T5 / Lumber |
| 212 | 805 Occupancy Sensor / Lumber |
| 213 | 901 Replace V-belts / Lumber |
| 214 | 101 Compressed Air-O&M / Paper |
| 215 | 102 Compressed Air - Controls / Paper |
| 216 | 103 Compressed Air - System Optimization / Paper |
| 217 | 104 Compressed Air- Sizing / Paper |
| 218 | 105 Comp Air - Replace 1-5 HP motor / Paper |
| 219 | 106 Comp Air - ASD (1-5 hp) / Paper |
| 220 | 107 Comp Air - Motor practices-1 (1-5 HP) / Paper |
| 221 | 108 Comp Air - Replace 6-100 HP motor / Paper |
| 222 | 109 Comp Air - ASD (6-100 hp) / Paper |
| 223 | 110 Comp Air - Motor practices-1 (6-100 HP) / Paper |
| 224 | 111 Comp Air - Replace 100+ HP motor / Paper |
| 225 | 112 Comp Air - ASD (100+ hp) / Paper |
| 226 | 113 Comp Air - Motor practices-1 (100+ HP) / Paper |
| 227 | 201 Fans - O&M / Paper |
| 228 | 202 Fans - Controls / Paper |
| 229 | 203 Fans - System Optimization / Paper |
| 230 | 204 Fans- Improve components / Paper |
| 231 | 205 Fans - Replace 1-5 HP motor / Paper |
| 232 | 206 Fans - ASD (1-5 hp) / Paper |
| 233 | 207 Fans - Motor practices-1 (1-5 HP) / Paper |
| 234 | 208 Fans - Replace 6-100 HP motor / Paper |
| 235 | 209 Fans - ASD (6-100 hp) / Paper |
| 236 | 210 Fans - Motor practices-1 (6-100 HP) / Paper |
| 237 | 211 Fans - Replace 100+ HP motor / Paper |
| 238 | 212 Fans - ASD (100+ hp) / Paper |
| 239 | 213 Fans - Motor practices-1 (100+ HP) / Paper |
| 240 | 301 Pumps - O&M / Paper |
| 241 | 302 Pumps - Controls / Paper |
| 242 | 303 Pumps - System Optimization / Paper |
| 243 | 304 Pumps - Sizing / Paper |
| 244 | 305 Pumps - Replace 1-5 HP motor / Paper |
| 245 | 306 Pumps - ASD (1-5 hp) / Paper |
| 246 | 307 Pumps - Motor practices-1 (1-5 HP) / Paper |
| 247 | 308 Pumps - Replace 6-100 HP motor / Paper |
| 248 | 309 Pumps - ASD (6-100 hp) / Paper |
| 249 | 310 Pumps - Motor practices-1 (6-100 HP) / Paper |
| 250 | 311 Pumps - Replace 100+ HP motor / Paper |
| 251 | 312 Pumps - ASD (100+ hp) / Paper |
| 252 | 313 Pumps - Motor practices-1 (100+ HP) / Paper |
| 253 | 405 Drives - EE motor / Paper |
| 254 | 406 Gap Forming papermachine / Paper |
| 255 | 407 High Consistency forming / Paper |
| 256 | 408 Optimization control PM / Paper |
| 257 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Paper |
| 258 | 702 High Efficiency Chiller Motors / Paper |
| 259 | 703 EMS - Chiller / Paper |
| 260 | 704 Chiller Tune Up/Diagnostics / Paper |
| 261 | 705 VSD for Chiller Pumps and Towers / Paper |
| 262 | 706 EMS Optimization - Chiller / Paper |
| 263 | 707 Aerosol Duct Sealing - Chiller / Paper |
| 264 | 708 Duct/Pipe Insulation - Chiller / Paper |
| 265 | 709 Window Film (Standard) - Chiller / Paper |
| 266 | 710 Roof Insulation - Chiller / Paper |
| 267 | 711 Cool Roof - Chiller / Paper |
| 268 | 721 DX Packaged System, EER=10.9, 10 tons / Paper |
| 269 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Paper |
| 270 | 723 Geothermal Heat Pump, EER=13, 10 tons / Paper |
| 271 | 724 DX Tune Up/ Advanced Diagnostics / Paper |
| 272 | 725 DX Coil Cleaning / Paper |
| 273 | 726 Optimize Controls / Paper |
| 274 | 727 Aerosol Duct Sealing / Paper |
| 275 | 728 Duct/Pipe Insulation / Paper |
| 276 | 729 Window Film (Standard) / Paper |
| 277 | 730 Roof Insulation / Paper |
| 278 | 731 Cool Roof - DX / Paper |
| 279 | 801 Premium T8, Electronic Ballast / Paper |
| 280 | 802 CFL Hardwired, Modular 18W / Paper |
| 281 | 803 CFL Screw-in 18W / Paper |
| 282 | 804 High Bay T5 / Paper |
| 283 | 805 Occupancy Sensor / Paper |
| 284 | 901 Replace V-belts / Paper |
| 285 | 101 Compressed Air-O&M / Printing |
| 286 | 102 Compressed Air - Controls / Printing |
| 287 | 103 Compressed Air - System Optimization / Printing |
| 288 | 104 Compressed Air- Sizing / Printing |
| 289 | 105 Comp Air - Replace 1-5 HP motor / Printing |
| 290 | 106 Comp Air - ASD (1-5 hp) / Printing |
| 291 | 107 Comp Air - Motor practices-1 (1-5 HP) / Printing |
| 292 | 108 Comp Air - Replace 6-100 HP motor / Printing |
| 293 | 109 Comp Air - ASD (6-100 hp) / Printing |
| 294 | 110 Comp Air - Motor practices-1 (6-100 HP) / Printing |
| 295 | 111 Comp Air - Replace 100+ HP motor / Printing |
| 296 | 112 Comp Air - ASD (100+ hp) / Printing |
| 297 | 113 Comp Air - Motor practices-1 (100+ HP) / Printing |
| 298 | 201 Fans - O&M / Printing |
| 299 | 202 Fans - Controls / Printing |
| 300 | 203 Fans - System Optimization / Printing |
| 301 | 204 Fans- Improve components / Printing |
| 302 | 205 Fans - Replace 1-5 HP motor / Printing |
| 303 | 206 Fans - ASD (1-5 hp) / Printing |
| 304 | 207 Fans - Motor practices-1 (1-5 HP) / Printing |
| 305 | 208 Fans - Replace 6-100 HP motor / Printing |
| 306 | 209 Fans - ASD (6-100 hp) / Printing |
| 307 | 210 Fans - Motor practices-1 (6-100 HP) / Printing |
| 308 | 211 Fans - Replace 100+ HP motor / Printing |
| 309 | 212 Fans - ASD (100+ hp) / Printing |
| 310 | 213 Fans - Motor practices-1 (100+ HP) / Printing |
| 311 | 301 Pumps - O&M / Printing |
| 312 | 302 Pumps - Controls / Printing |
| 313 | 303 Pumps - System Optimization / Printing |
| 314 | 304 Pumps - Sizing / Printing |
| 315 | 305 Pumps - Replace 1-5 HP motor / Printing |
| 316 | 306 Pumps - ASD (1-5 hp) / Printing |
| 317 | 307 Pumps - Motor practices-1 (1-5 HP) / Printing |
| 318 | 308 Pumps - Replace 6-100 HP motor / Printing |
| 319 | 309 Pumps - ASD (6-100 hp) / Printing |
| 320 | 310 Pumps - Motor practices-1 (6-100 HP) / Printing |
| 321 | 311 Pumps - Replace 100+ HP motor / Printing |
| 322 | 312 Pumps - ASD (100+ hp) / Printing |
| 323 | 313 Pumps - Motor practices-1 (100+ HP) / Printing |
| 324 | 409 Efficient practices printing press / Printing |
| 325 | 410 Efficient Printing press (fewer cylinders) / Printing |
| 326 | 411 Light cylinders / Printing |
| 327 | 412 Efficient drives / Printing |
| 328 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Printing |
| 329 | 702 High Efficiency Chiller Motors / Printing |
| 330 | 703 EMS - Chiller / Printing |
| 331 | 704 Chiller Tune Up/Diagnostics / Printing |
| 332 | 705 VSD for Chiller Pumps and Towers / Printing |
| 333 | 706 EMS Optimization - Chiller / Printing |
| 334 | 707 Aerosol Duct Sealing - Chiller / Printing |
| 335 | 708 Duct/Pipe Insulation - Chiller / Printing |
| 336 | 709 Window Film (Standard) - Chiller / Printing |
| 337 | 710 Roof Insulation - Chiller / Printing |
| 338 | 711 Cool Roof - Chiller / Printing |
| 339 | 721 DX Packaged System, EER=10.9, 10 tons / Printing |
| 340 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Printing |
| 341 | 723 Geothermal Heat Pump, EER=13, 10 tons / Printing |
| 342 | 724 DX Tune Up/ Advanced Diagnostics / Printing |
| 343 | 725 DX Coil Cleaning / Printing |
| 344 | 726 Optimize Controls / Printing |
| 345 | 727 Aerosol Duct Sealing / Printing |
| 346 | 728 Duct/Pipe Insulation / Printing |
| 347 | 729 Window Film (Standard) / Printing |
| 348 | 730 Roof Insulation / Printing |
| 349 | 731 Cool Roof - DX / Printing |
| 350 | 801 Premium T8, Electronic Ballast / Printing |
| 351 | 802 CFL Hardwired, Modular 18W / Printing |
| 352 | 803 CFL Screw-in 18W / Printing |
| 353 | 804 High Bay T5 / Printing |
| 354 | 805 Occupancy Sensor / Printing |
| 355 | 901 Replace V-belts / Printing |
| 356 | 101 Compressed Air-O&M / Chemicals |
| 357 | 102 Compressed Air - Controls / Chemicals |
| 358 | 103 Compressed Air - System Optimization / Chemicals |
| 359 | 104 Compressed Air- Sizing / Chemicals |
| 360 | 105 Comp Air - Replace 1-5 HP motor / Chemicals |
| 361 | 106 Comp Air - ASD (1-5 hp) / Chemicals |
| 362 | 107 Comp Air - Motor practices-1 (1-5 HP) / Chemicals |
| 363 | 108 Comp Air - Replace 6-100 HP motor / Chemicals |
| 364 | 109 Comp Air - ASD (6-100 hp) / Chemicals |
| 365 | 110 Comp Air - Motor practices-1 (6-100 HP) / Chemicals |
| 366 | 111 Comp Air - Replace 100+ HP motor / Chemicals |
| 367 | 112 Comp Air - ASD (100+ hp) / Chemicals |
| 368 | 113 Comp Air - Motor practices-1 (100+ HP) / Chemicals |
| 369 | 201 Fans - O&M / Chemicals |
| 370 | 202 Fans - Controls / Chemicals |
| 371 | 203 Fans - System Optimization / Chemicals |
| 372 | 204 Fans- Improve components / Chemicals |
| 373 | 205 Fans - Replace 1-5 HP motor / Chemicals |
| 374 | 206 Fans - ASD (1-5 hp) / Chemicals |
| 375 | 207 Fans - Motor practices-1 (1-5 HP) / Chemicals |
| 376 | 208 Fans - Replace 6-100 HP motor / Chemicals |
| 377 | 209 Fans - ASD (6-100 hp) / Chemicals |
| 378 | 210 Fans - Motor practices-1 (6-100 HP) / Chemicals |
| 379 | 211 Fans - Replace 100+ HP motor / Chemicals |
| 380 | 212 Fans - ASD (100+ hp) / Chemicals |
| 381 | 213 Fans - Motor practices-1 (100+ HP) / Chemicals |
| 382 | 301 Pumps - O&M / Chemicals |
| 383 | 302 Pumps - Controls / Chemicals |
| 384 | 303 Pumps - System Optimization / Chemicals |
| 385 | 304 Pumps - Sizing / Chemicals |
| 386 | 305 Pumps - Replace 1-5 HP motor / Chemicals |
| 387 | 306 Pumps - ASD (1-5 hp) / Chemicals |
| 388 | 307 Pumps - Motor practices-1 (1-5 HP) / Chemicals |
| 389 | 308 Pumps - Replace 6-100 HP motor / Chemicals |
| 390 | 309 Pumps - ASD (6-100 hp) / Chemicals |
| 391 | 310 Pumps - Motor practices-1 (6-100 HP) / Chemicals |
| 392 | 311 Pumps - Replace 100+ HP motor / Chemicals |
| 393 | 312 Pumps - ASD (100+ hp) / Chemicals |
| 394 | 313 Pumps - Motor practices-1 (100+ HP) / Chemicals |
| 395 | 413 Clean Room - Controls / Chemicals |
| 396 | 414 Clean Room - New Designs / Chemicals |
| 397 | 415 Drives - Process Controls (batch + site) / Chemicals |
| 398 | 416 Process Drives - ASD / Chemicals |
| 399 | 601 Other Process Controls (batch + site) / Chemicals |
| 400 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Chemicals |
| 401 | 702 High Efficiency Chiller Motors / Chemicals |
| 402 | 703 EMS - Chiller / Chemicals |
| 403 | 704 Chiller Tune Up/Diagnostics / Chemicals |
| 404 | 705 VSD for Chiller Pumps and Towers / Chemicals |
| 405 | 706 EMS Optimization - Chiller / Chemicals |
| 406 | 707 Aerosol Duct Sealing - Chiller / Chemicals |
| 407 | 708 Duct/Pipe Insulation - Chiller / Chemicals |
| 408 | 709 Window Film (Standard) - Chiller / Chemicals |
| 409 | 710 Roof Insulation - Chiller / Chemicals |
| 410 | 711 Cool Roof - Chiller / Chemicals |
| 411 | 721 DX Packaged System, EER=10.9, 10 tons / Chemicals |
| 412 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Chemicals |
| 413 | 723 Geothermal Heat Pump, EER=13, 10 tons / Chemicals |
| 414 | 724 DX Tune Up/ Advanced Diagnostics / Chemicals |
| 415 | 725 DX Coil Cleaning / Chemicals |
| 416 | 726 Optimize Controls / Chemicals |
| 417 | 727 Aerosol Duct Sealing / Chemicals |
| 418 | 728 Duct/Pipe Insulation / Chemicals |
| 419 | 729 Window Film (Standard) / Chemicals |
| 420 | 730 Roof Insulation / Chemicals |
| 421 | 731 Cool Roof - DX / Chemicals |
| 422 | 801 Premium T8, Electronic Ballast / Chemicals |
| 423 | 802 CFL Hardwired, Modular 18W / Chemicals |
| 424 | 803 CFL Screw-in 18W / Chemicals |
| 425 | 804 High Bay T5 / Chemicals |
| 426 | 805 Occupancy Sensor / Chemicals |
| 427 | 101 Compressed Air-O&M / Petroleum |
| 428 | 102 Compressed Air - Controls / Petroleum |
| 429 | 103 Compressed Air - System Optimization / Petroleum |
| 430 | 104 Compressed Air- Sizing / Petroleum |
| 431 | 105 Comp Air - Replace 1-5 HP motor / Petroleum |
| 432 | 106 Comp Air - ASD (1-5 hp) / Petroleum |
| 433 | 107 Comp Air - Motor practices-1 (1-5 HP) / Petroleum |
| 434 | 108 Comp Air - Replace 6-100 HP motor / Petroleum |
| 435 | 109 Comp Air - ASD (6-100 hp) / Petroleum |
| 436 | 110 Comp Air - Motor practices-1 (6-100 HP) / Petroleum |
| 437 | 111 Comp Air - Replace 100+ HP motor / Petroleum |
| 438 | 112 Comp Air - ASD (100+ hp) / Petroleum |
| 439 | 113 Comp Air - Motor practices-1 (100+ HP) / Petroleum |
| 440 | 114 Power recovery / Petroleum |
| 441 | 115 Refinery Controls / Petroleum |
| 442 | 201 Fans - O&M / Petroleum |
| 443 | 202 Fans - Controls / Petroleum |
| 444 | 203 Fans - System Optimization / Petroleum |
| 445 | 204 Fans- Improve components / Petroleum |
| 446 | 205 Fans - Replace 1-5 HP motor / Petroleum |
| 447 | 206 Fans - ASD (1-5 hp) / Petroleum |
| 448 | 207 Fans - Motor practices-1 (1-5 HP) / Petroleum |
| 449 | 208 Fans - Replace 6-100 HP motor / Petroleum |
| 450 | 209 Fans - ASD (6-100 hp) / Petroleum |
| 451 | 210 Fans - Motor practices-1 (6-100 HP) / Petroleum |
| 452 | 211 Fans - Replace 100+ HP motor / Petroleum |
| 453 | 212 Fans - ASD (100+ hp) / Petroleum |
| 454 | 213 Fans - Motor practices-1 (100+ HP) / Petroleum |
| 455 | 215 Power recovery / Petroleum |
| 456 | 216 Refinery Controls / Petroleum |
| 457 | 301 Pumps - O&M / Petroleum |
| 458 | 302 Pumps - Controls / Petroleum |
| 459 | 303 Pumps - System Optimization / Petroleum |
| 460 | 304 Pumps - Sizing / Petroleum |
| 461 | 305 Pumps - Replace 1-5 HP motor / Petroleum |
| 462 | 306 Pumps - ASD (1-5 hp) / Petroleum |
| 463 | 307 Pumps - Motor practices-1 (1-5 HP) / Petroleum |
| 464 | 308 Pumps - Replace 6-100 HP motor / Petroleum |
| 465 | 309 Pumps - ASD (6-100 hp) / Petroleum |
| 466 | 310 Pumps - Motor practices-1 (6-100 HP) / Petroleum |
| 467 | 311 Pumps - Replace 100+ HP motor / Petroleum |
| 468 | 312 Pumps - ASD (100+ hp) / Petroleum |
| 469 | 313 Pumps - Motor practices-1 (100+ HP) / Petroleum |
| 470 | 314 Power recovery / Petroleum |
| 471 | 315 Refinery Controls / Petroleum |
| 472 | 602 Efficient desalter / Petroleum |
| 473 | 606 Power recovery / Petroleum |
| 474 | 607 Refinery Controls / Petroleum |
| 475 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Petroleum |
| 476 | 702 High Efficiency Chiller Motors / Petroleum |
| 477 | 703 EMS - Chiller / Petroleum |
| 478 | 704 Chiller Tune Up/Diagnostics / Petroleum |
| 479 | 705 VSD for Chiller Pumps and Towers / Petroleum |
| 480 | 706 EMS Optimization - Chiller / Petroleum |
| 481 | 707 Aerosol Duct Sealing - Chiller / Petroleum |
| 482 | 708 Duct/Pipe Insulation - Chiller / Petroleum |
| 483 | 709 Window Film (Standard) - Chiller / Petroleum |
| 484 | 710 Roof Insulation - Chiller / Petroleum |
| 485 | 711 Cool Roof - Chiller / Petroleum |
| 486 | 721 DX Packaged System, EER=10.9, 10 tons / Petroleum |
| 487 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Petroleum |
| 488 | 723 Geothermal Heat Pump, EER=13, 10 tons / Petroleum |
| 489 | 724 DX Tune Up/ Advanced Diagnostics / Petroleum |
| 490 | 725 DX Coil Cleaning / Petroleum |
| 491 | 726 Optimize Controls / Petroleum |
| 492 | 727 Aerosol Duct Sealing / Petroleum |
| 493 | 728 Duct/Pipe Insulation / Petroleum |
| 494 | 729 Window Film (Standard) / Petroleum |
| 495 | 730 Roof Insulation / Petroleum |
| 496 | 731 Cool Roof - DX / Petroleum |
| 497 | 801 Premium T8, Electronic Ballast / Petroleum |
| 498 | 802 CFL Hardwired, Modular 18W / Petroleum |
| 499 | 803 CFL Screw-in 18W / Petroleum |
| 500 | 804 High Bay T5 / Petroleum |
| 501 | 805 Occupancy Sensor / Petroleum |
| 502 | 901 Replace V-belts / Petroleum |
| 503 | 101 Compressed Air-O&M / Rubber-Plastics |
| 504 | 102 Compressed Air - Controls / Rubber-Plastics |
| 505 | 103 Compressed Air - System Optimization / Rubber-Plastics |
| 506 | 104 Compressed Air- Sizing / Rubber-Plastics |
| 507 | 105 Comp Air - Replace 1-5 HP motor / Rubber-Plastics |
| 508 | 106 Comp Air - ASD (1-5 hp) / Rubber-Plastics |
| 509 | 107 Comp Air - Motor practices-1 (1-5 HP) / Rubber-Plastics |
| 510 | 108 Comp Air - Replace 6-100 HP motor / Rubber-Plastics |
| 511 | 109 Comp Air - ASD (6-100 hp) / Rubber-Plastics |
| 512 | 110 Comp Air - Motor practices-1 (6-100 HP) / Rubber-Plastics |
| 513 | 111 Comp Air - Replace 100+ HP motor / Rubber-Plastics |
| 514 | 112 Comp Air - ASD (100+ hp) / Rubber-Plastics |
| 515 | 113 Comp Air - Motor practices-1 (100+ HP) / Rubber-Plastics |
| 516 | 201 Fans - O&M / Rubber-Plastics |
| 517 | 202 Fans - Controls / Rubber-Plastics |
| 518 | 203 Fans - System Optimization / Rubber-Plastics |
| 519 | 204 Fans- Improve components / Rubber-Plastics |
| 520 | 205 Fans - Replace 1-5 HP motor / Rubber-Plastics |
| 521 | 206 Fans - ASD (1-5 hp) / Rubber-Plastics |
| 522 | 207 Fans - Motor practices-1 (1-5 HP) / Rubber-Plastics |
| 523 | 208 Fans - Replace 6-100 HP motor / Rubber-Plastics |
| 524 | 209 Fans - ASD (6-100 hp) / Rubber-Plastics |
| 525 | 210 Fans - Motor practices-1 (6-100 HP) / Rubber-Plastics |
| 526 | 211 Fans - Replace 100+ HP motor / Rubber-Plastics |
| 527 | 212 Fans - ASD (100+ hp) / Rubber-Plastics |
| 528 | 213 Fans - Motor practices-1 (100+ HP) / Rubber-Plastics |
| 529 | 301 Pumps - O&M / Rubber-Plastics |
| 530 | 302 Pumps - Controls / Rubber-Plastics |
| 531 | 303 Pumps - System Optimization / Rubber-Plastics |
| 532 | 304 Pumps - Sizing / Rubber-Plastics |
| 533 | 305 Pumps - Replace 1-5 HP motor / Rubber-Plastics |
| 534 | 306 Pumps - ASD (1-5 hp) / Rubber-Plastics |
| 535 | 307 Pumps - Motor practices-1 (1-5 HP) / Rubber-Plastics |
| 536 | 308 Pumps - Replace 6-100 HP motor / Rubber-Plastics |
| 537 | 309 Pumps - ASD (6-100 hp) / Rubber-Plastics |
| 538 | 310 Pumps - Motor practices-1 (6-100 HP) / Rubber-Plastics |
| 539 | 311 Pumps - Replace 100+ HP motor / Rubber-Plastics |
| 540 | 312 Pumps - ASD (100+ hp) / Rubber-Plastics |
| 541 | 313 Pumps - Motor practices-1 (100+ HP) / Rubber-Plastics |
| 542 | 417 O&M - Extruders/Injection Moulding / Rubber-Plastics |
| 543 | 418 Extruders/injection Moulding-multipump / Rubber-Plastics |
| 544 | 419 Direct drive Extruders / Rubber-Plastics |
| 545 | 420 Injection Moulding - Impulse Cooling / Rubber-Plastics |
| 546 | 421 Injection Moulding - Direct drive / Rubber-Plastics |
| 547 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Rubber-Plastics |
| 548 | 702 High Efficiency Chiller Motors / Rubber-Plastics |
| 549 | 703 EMS - Chiller / Rubber-Plastics |
| 550 | 704 Chiller Tune Up/Diagnostics / Rubber-Plastics |
| 551 | 705 VSD for Chiller Pumps and Towers / Rubber-Plastics |
| 552 | 706 EMS Optimization - Chiller / Rubber-Plastics |
| 553 | 707 Aerosol Duct Sealing - Chiller / Rubber-Plastics |
| 554 | 708 Duct/Pipe Insulation - Chiller / Rubber-Plastics |
| 555 | 709 Window Film (Standard) - Chiller / Rubber-Plastics |
| 556 | 710 Roof Insulation - Chiller / Rubber-Plastics |
| 557 | 711 Cool Roof - Chiller / Rubber-Plastics |
| 558 | 721 DX Packaged System, EER=10.9, 10 tons / Rubber-Plastics |
| 559 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Rubber-Plastics |
| 560 | 723 Geothermal Heat Pump, EER=13, 10 tons / Rubber-Plastics |
| 561 | 724 DX Tune Up/ Advanced Diagnostics / Rubber-Plastics |
| 562 | 725 DX Coil Cleaning / Rubber-Plastics |
| 563 | 726 Optimize Controls / Rubber-Plastics |
| 564 | 727 Aerosol Duct Sealing / Rubber-Plastics |
| 565 | 728 Duct/Pipe Insulation / Rubber-Plastics |
| 566 | 729 Window Film (Standard) / Rubber-Plastics |
| 567 | 730 Roof Insulation / Rubber-Plastics |
| 568 | 731 Cool Roof - DX / Rubber-Plastics |
| 569 | 801 Premium T8, Electronic Ballast / Rubber-Plastics |
| 570 | 802 CFL Hardwired, Modular 18W / Rubber-Plastics |
| 571 | 803 CFL Screw-in 18W / Rubber-Plastics |
| 572 | 804 High Bay T5 / Rubber-Plastics |
| 573 | 805 Occupancy Sensor / Rubber-Plastics |
| 574 | 901 Replace V-belts / Rubber-Plastics |
| 575 | 101 Compressed Air-O&M / Stone-Clay-Glass |
| 576 | 102 Compressed Air - Controls / Stone-Clay-Glass |
| 577 | 103 Compressed Air - System Optimization / Stone-Clay-Glass |
| 578 | 104 Compressed Air- Sizing / Stone-Clay-Glass |
| 579 | 105 Comp Air - Replace 1-5 HP motor / Stone-Clay-Glass |
| 580 | 106 Comp Air - ASD (1-5 hp) / Stone-Clay-Glass |
| 581 | 107 Comp Air - Motor practices-1 (1-5 HP) / Stone-Clay-Glass |
| 582 | 108 Comp Air - Replace 6-100 HP motor / Stone-Clay-Glass |
| 583 | 109 Comp Air - ASD (6-100 hp) / Stone-Clay-Glass |
| 584 | 110 Comp Air - Motor practices-1 (6-100 HP) / Stone-Clay-Glass |
| 585 | 111 Comp Air - Replace 100+ HP motor / Stone-Clay-Glass |
| 586 | 112 Comp Air - ASD (100+ hp) / Stone-Clay-Glass |
| 587 | 113 Comp Air - Motor practices-1 (100+ HP) / Stone-Clay-Glass |
| 588 | 201 Fans - O&M / Stone-Clay-Glass |
| 589 | 202 Fans - Controls / Stone-Clay-Glass |
| 590 | 203 Fans - System Optimization / Stone-Clay-Glass |
| 591 | 204 Fans- Improve components / Stone-Clay-Glass |
| 592 | 205 Fans - Replace 1-5 HP motor / Stone-Clay-Glass |
| 593 | 206 Fans - ASD (1-5 hp) / Stone-Clay-Glass |
| 594 | 207 Fans - Motor practices-1 (1-5 HP) / Stone-Clay-Glass |
| 595 | 208 Fans - Replace 6-100 HP motor / Stone-Clay-Glass |
| 596 | 209 Fans - ASD (6-100 hp) / Stone-Clay-Glass |
| 597 | 210 Fans - Motor practices-1 (6-100 HP) / Stone-Clay-Glass |
| 598 | 211 Fans - Replace 100+ HP motor / Stone-Clay-Glass |
| 599 | 212 Fans - ASD (100+ hp) / Stone-Clay-Glass |
| 600 | 213 Fans - Motor practices-1 (100+ HP) / Stone-Clay-Glass |
| 601 | 301 Pumps - O&M / Stone-Clay-Glass |
| 602 | 302 Pumps - Controls / Stone-Clay-Glass |
| 603 | 303 Pumps - System Optimization / Stone-Clay-Glass |
| 604 | 304 Pumps - Sizing / Stone-Clay-Glass |
| 605 | 305 Pumps - Replace 1-5 HP motor / Stone-Clay-Glass |
| 606 | 306 Pumps - ASD (1-5 hp) / Stone-Clay-Glass |
| 607 | 307 Pumps - Motor practices-1 (1-5 HP) / Stone-Clay-Glass |
| 608 | 308 Pumps - Replace 6-100 HP motor / Stone-Clay-Glass |
| 609 | 309 Pumps - ASD (6-100 hp) / Stone-Clay-Glass |
| 610 | 310 Pumps - Motor practices-1 (6-100 HP) / Stone-Clay-Glass |
| 611 | 311 Pumps - Replace 100+ HP motor / Stone-Clay-Glass |
| 612 | 312 Pumps - ASD (100+ hp) / Stone-Clay-Glass |
| 613 | 313 Pumps - Motor practices-1 (100+ HP) / Stone-Clay-Glass |
| 614 | 405 Drives - EE motor / Stone-Clay-Glass |
| 615 | 415 Drives - Process Controls (batch + site) / Stone-Clay-Glass |
| 616 | 422 Efficient grinding / Stone-Clay-Glass |
| 617 | 423 Process control / Stone-Clay-Glass |
| 618 | 424 Process optimization / Stone-Clay-Glass |
| 619 | 504 Top-heating (glass) / Stone-Clay-Glass |
| 620 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Stone-Clay-Glass |
| 621 | 702 High Efficiency Chiller Motors / Stone-Clay-Glass |
| 622 | 703 EMS - Chiller / Stone-Clay-Glass |
| 623 | 704 Chiller Tune Up/Diagnostics / Stone-Clay-Glass |
| 624 | 705 VSD for Chiller Pumps and Towers / Stone-Clay-Glass |
| 625 | 706 EMS Optimization - Chiller / Stone-Clay-Glass |
| 626 | 707 Aerosol Duct Sealing - Chiller / Stone-Clay-Glass |
| 627 | 708 Duct/Pipe Insulation - Chiller / Stone-Clay-Glass |
| 628 | 709 Window Film (Standard) - Chiller / Stone-Clay-Glass |
| 629 | 710 Roof Insulation - Chiller / Stone-Clay-Glass |
| 630 | 711 Cool Roof - Chiller / Stone-Clay-Glass |
| 631 | 721 DX Packaged System, EER=10.9, 10 tons / Stone-Clay-Glass |
| 632 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Stone-Clay-Glass |
| 633 | 723 Geothermal Heat Pump, EER=13, 10 tons / Stone-Clay-Glass |
| 634 | 724 DX Tune Up/ Advanced Diagnostics / Stone-Clay-Glass |
| 635 | 725 DX Coil Cleaning / Stone-Clay-Glass |
| 636 | 726 Optimize Controls / Stone-Clay-Glass |
| 637 | 727 Aerosol Duct Sealing / Stone-Clay-Glass |
| 638 | 728 Duct/Pipe Insulation / Stone-Clay-Glass |
| 639 | 729 Window Film (Standard) / Stone-Clay-Glass |
| 640 | 730 Roof Insulation / Stone-Clay-Glass |
| 641 | 731 Cool Roof - DX / Stone-Clay-Glass |
| 642 | 801 Premium T8, Electronic Ballast / Stone-Clay-Glass |
| 643 | 802 CFL Hardwired, Modular 18W / Stone-Clay-Glass |
| 644 | 803 CFL Screw-in 18W / Stone-Clay-Glass |
| 645 | 804 High Bay T5 / Stone-Clay-Glass |
| 646 | 805 Occupancy Sensor / Stone-Clay-Glass |
| 647 | 901 Replace V-belts / Stone-Clay-Glass |
| 648 | 101 Compressed Air-O&M / Primary Metals |
| 649 | 102 Compressed Air - Controls / Primary Metals |
| 650 | 103 Compressed Air - System Optimization / Primary Metals |
| 651 | 104 Compressed Air- Sizing / Primary Metals |
| 652 | 105 Comp Air - Replace 1-5 HP motor / Primary Metals |
| 653 | 106 Comp Air - ASD (1-5 hp) / Primary Metals |
| 654 | 107 Comp Air - Motor practices-1 (1-5 HP) / Primary Metals |
| 655 | 108 Comp Air - Replace 6-100 HP motor / Primary Metals |
| 656 | 109 Comp Air - ASD (6-100 hp) / Primary Metals |
| 657 | 110 Comp Air - Motor practices-1 (6-100 HP) / Primary Metals |
| 658 | 111 Comp Air - Replace 100+ HP motor / Primary Metals |
| 659 | 112 Comp Air - ASD (100+ hp) / Primary Metals |
| 660 | 113 Comp Air - Motor practices-1 (100+ HP) / Primary Metals |
| 661 | 201 Fans - O&M / Primary Metals |
| 662 | 202 Fans - Controls / Primary Metals |
| 663 | 203 Fans - System Optimization / Primary Metals |
| 664 | 204 Fans- Improve components / Primary Metals |
| 665 | 205 Fans - Replace 1-5 HP motor / Primary Metals |
| 666 | 206 Fans - ASD (1-5 hp) / Primary Metals |
| 667 | 207 Fans - Motor practices-1 (1-5 HP) / Primary Metals |
| 668 | 208 Fans - Replace 6-100 HP motor / Primary Metals |
| 669 | 209 Fans - ASD (6-100 hp) / Primary Metals |
| 670 | 210 Fans - Motor practices-1 (6-100 HP) / Primary Metals |
| 671 | 211 Fans - Replace 100+ HP motor / Primary Metals |
| 672 | 212 Fans - ASD (100+ hp) / Primary Metals |
| 673 | 213 Fans - Motor practices-1 (100+ HP) / Primary Metals |
| 674 | 301 Pumps - O&M / Primary Metals |
| 675 | 302 Pumps - Controls / Primary Metals |
| 676 | 303 Pumps - System Optimization / Primary Metals |
| 677 | 304 Pumps - Sizing / Primary Metals |
| 678 | 305 Pumps - Replace 1-5 HP motor / Primary Metals |
| 679 | 306 Pumps - ASD (1-5 hp) / Primary Metals |
| 680 | 307 Pumps - Motor practices-1 (1-5 HP) / Primary Metals |
| 681 | 308 Pumps - Replace 6-100 HP motor / Primary Metals |
| 682 | 309 Pumps - ASD (6-100 hp) / Primary Metals |
| 683 | 310 Pumps - Motor practices-1 (6-100 HP) / Primary Metals |
| 684 | 311 Pumps - Replace 100+ HP motor / Primary Metals |
| 685 | 312 Pumps - ASD (100+ hp) / Primary Metals |
| 686 | 313 Pumps - Motor practices-1 (100+ HP) / Primary Metals |
| 687 | 415 Drives - Process Controls (batch + site) / Primary Metals |
| 688 | 425 Drives - Process Control / Primary Metals |
| 689 | 426 Efficient drives - rolling / Primary Metals |
| 690 | 505 Efficient electric melting / Primary Metals |
| 691 | 506 Intelligent extruder (DOE) / Primary Metals |
| 692 | 507 Near Net Shape Casting / Primary Metals |
| 693 | 508 Heating - Process Control / Primary Metals |
| 694 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Primary Metals |
| 695 | 702 High Efficiency Chiller Motors / Primary Metals |
| 696 | 703 EMS - Chiller / Primary Metals |
| 697 | 704 Chiller Tune Up/Diagnostics / Primary Metals |
| 698 | 705 VSD for Chiller Pumps and Towers / Primary Metals |
| 699 | 706 EMS Optimization - Chiller / Primary Metals |
| 700 | 707 Aerosol Duct Sealing - Chiller / Primary Metals |
| 701 | 708 Duct/Pipe Insulation - Chiller / Primary Metals |
| 702 | 709 Window Film (Standard) - Chiller / Primary Metals |
| 703 | 710 Roof Insulation - Chiller / Primary Metals |
| 704 | 711 Cool Roof - Chiller / Primary Metals |
| 705 | 721 DX Packaged System, EER=10.9, 10 tons / Primary Metals |
| 706 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Primary Metals |
| 707 | 723 Geothermal Heat Pump, EER=13, 10 tons / Primary Metals |
| 708 | 724 DX Tune Up/ Advanced Diagnostics / Primary Metals |
| 709 | 725 DX Coil Cleaning / Primary Metals |
| 710 | 726 Optimize Controls / Primary Metals |
| 711 | 727 Aerosol Duct Sealing / Primary Metals |
| 712 | 728 Duct/Pipe Insulation / Primary Metals |
| 713 | 729 Window Film (Standard) / Primary Metals |
| 714 | 730 Roof Insulation / Primary Metals |
| 715 | 731 Cool Roof - DX / Primary Metals |
| 716 | 801 Premium T8, Electronic Ballast / Primary Metals |
| 717 | 802 CFL Hardwired, Modular 18W / Primary Metals |
| 718 | 803 CFL Screw-in 18W / Primary Metals |
| 719 | 804 High Bay T5 / Primary Metals |
| 720 | 805 Occupancy Sensor / Primary Metals |
| 721 | 901 Replace V-belts / Primary Metals |
| 722 | 101 Compressed Air-O&M / Fab Metals |
| 723 | 102 Compressed Air - Controls / Fab Metals |
| 724 | 103 Compressed Air - System Optimization / Fab Metals |
| 725 | 104 Compressed Air- Sizing / Fab Metals |
| 726 | 105 Comp Air - Replace 1-5 HP motor / Fab Metals |
| 727 | 106 Comp Air - ASD (1-5 hp) / Fab Metals |
| 728 | 107 Comp Air - Motor practices-1 (1-5 HP) / Fab Metals |
| 729 | 108 Comp Air - Replace 6-100 HP motor / Fab Metals |
| 730 | 109 Comp Air - ASD (6-100 hp) / Fab Metals |
| 731 | 110 Comp Air - Motor practices-1 (6-100 HP) / Fab Metals |
| 732 | 111 Comp Air - Replace 100+ HP motor / Fab Metals |
| 733 | 112 Comp Air - ASD (100+ hp) / Fab Metals |
| 734 | 113 Comp Air - Motor practices-1 (100+ HP) / Fab Metals |
| 735 | 201 Fans - O&M / Fab Metals |
| 736 | 202 Fans - Controls / Fab Metals |
| 737 | 203 Fans - System Optimization / Fab Metals |
| 738 | 204 Fans- Improve components / Fab Metals |
| 739 | 205 Fans - Replace 1-5 HP motor / Fab Metals |
| 740 | 206 Fans - ASD (1-5 hp) / Fab Metals |
| 741 | 207 Fans - Motor practices-1 (1-5 HP) / Fab Metals |
| 742 | 208 Fans - Replace 6-100 HP motor / Fab Metals |
| 743 | 209 Fans - ASD (6-100 hp) / Fab Metals |
| 744 | 210 Fans - Motor practices-1 (6-100 HP) / Fab Metals |
| 745 | 211 Fans - Replace 100+ HP motor / Fab Metals |
| 746 | 212 Fans - ASD (100+ hp) / Fab Metals |
| 747 | 213 Fans - Motor practices-1 (100+ HP) / Fab Metals |
| 748 | 301 Pumps - O&M / Fab Metals |
| 749 | 302 Pumps - Controls / Fab Metals |
| 750 | 303 Pumps - System Optimization / Fab Metals |
| 751 | 304 Pumps - Sizing / Fab Metals |
| 752 | 305 Pumps - Replace 1-5 HP motor / Fab Metals |
| 753 | 306 Pumps - ASD (1-5 hp) / Fab Metals |
| 754 | 307 Pumps - Motor practices-1 (1-5 HP) / Fab Metals |
| 755 | 308 Pumps - Replace 6-100 HP motor / Fab Metals |
| 756 | 309 Pumps - ASD (6-100 hp) / Fab Metals |
| 757 | 310 Pumps - Motor practices-1 (6-100 HP) / Fab Metals |
| 758 | 311 Pumps - Replace 100+ HP motor / Fab Metals |
| 759 | 312 Pumps - ASD (100+ hp) / Fab Metals |
| 760 | 313 Pumps - Motor practices-1 (100+ HP) / Fab Metals |
| 761 | 427 Drives - Optimization process (M&T) / Fab Metals |
| 762 | 428 Drives - Scheduling / Fab Metals |
| 763 | 429 Machinery / Fab Metals |
| 764 | 509 Efficient Curing ovens / Fab Metals |
| 765 | 510 Heating - Optimization process (M&T) / Fab Metals |
| 766 | 511 Heating - Scheduling / Fab Metals |
| 767 | 603 New transformers welding / Fab Metals |
| 768 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Fab Metals |
| 769 | 702 High Efficiency Chiller Motors / Fab Metals |
| 770 | 703 EMS - Chiller / Fab Metals |
| 771 | 704 Chiller Tune Up/Diagnostics / Fab Metals |
| 772 | 705 VSD for Chiller Pumps and Towers / Fab Metals |
| 773 | 706 EMS Optimization - Chiller / Fab Metals |
| 774 | 707 Aerosol Duct Sealing - Chiller / Fab Metals |
| 775 | 708 Duct/Pipe Insulation - Chiller / Fab Metals |
| 776 | 709 Window Film (Standard) - Chiller / Fab Metals |
| 777 | 710 Roof Insulation - Chiller / Fab Metals |
| 778 | 711 Cool Roof - Chiller / Fab Metals |
| 779 | 721 DX Packaged System, EER=10.9, 10 tons / Fab Metals |
| 780 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Fab Metals |
| 781 | 723 Geothermal Heat Pump, EER=13, 10 tons / Fab Metals |
| 782 | 724 DX Tune Up/ Advanced Diagnostics / Fab Metals |
| 783 | 725 DX Coil Cleaning / Fab Metals |
| 784 | 726 Optimize Controls / Fab Metals |
| 785 | 727 Aerosol Duct Sealing / Fab Metals |
| 786 | 728 Duct/Pipe Insulation / Fab Metals |
| 787 | 729 Window Film (Standard) / Fab Metals |
| 788 | 730 Roof Insulation / Fab Metals |
| 789 | 731 Cool Roof - DX / Fab Metals |
| 790 | 801 Premium T8, Electronic Ballast / Fab Metals |
| 791 | 802 CFL Hardwired, Modular 18W / Fab Metals |
| 792 | 803 CFL Screw-in 18W / Fab Metals |
| 793 | 804 High Bay T5 / Fab Metals |
| 794 | 805 Occupancy Sensor / Fab Metals |
| 795 | 901 Replace V-belts / Fab Metals |
| 796 | 101 Compressed Air-O&M / Ind Machinery |
| 797 | 102 Compressed Air - Controls / Ind Machinery |
| 798 | 103 Compressed Air - System Optimization / Ind Machinery |
| 799 | 104 Compressed Air- Sizing / Ind Machinery |
| 800 | 105 Comp Air - Replace 1-5 HP motor / Ind Machinery |
| 801 | 106 Comp Air - ASD (1-5 hp) / Ind Machinery |
| 802 | 107 Comp Air - Motor practices-1 (1-5 HP) / Ind Machinery |
| 803 | 108 Comp Air - Replace 6-100 HP motor / Ind Machinery |
| 804 | 109 Comp Air - ASD (6-100 hp) / Ind Machinery |
| 805 | 110 Comp Air - Motor practices-1 (6-100 HP) / Ind Machinery |
| 806 | 111 Comp Air - Replace 100+ HP motor / Ind Machinery |
| 807 | 112 Comp Air - ASD (100+ hp) / Ind Machinery |
| 808 | 113 Comp Air - Motor practices-1 (100+ HP) / Ind Machinery |
| 809 | 201 Fans - O&M / Ind Machinery |
| 810 | 202 Fans - Controls / Ind Machinery |
| 811 | 203 Fans - System Optimization / Ind Machinery |
| 812 | 204 Fans- Improve components / Ind Machinery |
| 813 | 205 Fans - Replace 1-5 HP motor / Ind Machinery |
| 814 | 206 Fans - ASD (1-5 hp) / Ind Machinery |
| 815 | 207 Fans - Motor practices-1 (1-5 HP) / Ind Machinery |
| 816 | 208 Fans - Replace 6-100 HP motor / Ind Machinery |
| 817 | 209 Fans - ASD (6-100 hp) / Ind Machinery |
| 818 | 210 Fans - Motor practices-1 (6-100 HP) / Ind Machinery |
| 819 | 211 Fans - Replace 100+ HP motor / Ind Machinery |
| 820 | 212 Fans - ASD (100+ hp) / Ind Machinery |
| 821 | 213 Fans - Motor practices-1 (100+ HP) / Ind Machinery |
| 822 | 301 Pumps - O&M / Ind Machinery |
| 823 | 302 Pumps - Controls / Ind Machinery |
| 824 | 303 Pumps - System Optimization / Ind Machinery |
| 825 | 304 Pumps - Sizing / Ind Machinery |
| 826 | 305 Pumps - Replace 1-5 HP motor / Ind Machinery |
| 827 | 306 Pumps - ASD (1-5 hp) / Ind Machinery |
| 828 | 307 Pumps - Motor practices-1 (1-5 HP) / Ind Machinery |
| 829 | 308 Pumps - Replace 6-100 HP motor / Ind Machinery |
| 830 | 309 Pumps - ASD (6-100 hp) / Ind Machinery |
| 831 | 310 Pumps - Motor practices-1 (6-100 HP) / Ind Machinery |
| 832 | 311 Pumps - Replace 100+ HP motor / Ind Machinery |
| 833 | 312 Pumps - ASD (100+ hp) / Ind Machinery |
| 834 | 313 Pumps - Motor practices-1 (100+ HP) / Ind Machinery |
| 835 | 427 Drives - Optimization process (M&T) / Ind Machinery |
| 836 | 428 Drives - Scheduling / Ind Machinery |
| 837 | 429 Machinery / Ind Machinery |
| 838 | 509 Efficient Curing ovens / Ind Machinery |
| 839 | 510 Heating - Optimization process (M&T) / Ind Machinery |
| 840 | 511 Heating - Scheduling / Ind Machinery |
| 841 | 603 New transformers welding / Ind Machinery |
| 842 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Ind Machinery |
| 843 | 702 High Efficiency Chiller Motors / Ind Machinery |
| 844 | 703 EMS - Chiller / Ind Machinery |
| 845 | 704 Chiller Tune Up/Diagnostics / Ind Machinery |
| 846 | 705 VSD for Chiller Pumps and Towers / Ind Machinery |
| 847 | 706 EMS Optimization - Chiller / Ind Machinery |
| 848 | 707 Aerosol Duct Sealing - Chiller / Ind Machinery |
| 849 | 708 Duct/Pipe Insulation - Chiller / Ind Machinery |
| 850 | 709 Window Film (Standard) - Chiller / Ind Machinery |
| 851 | 710 Roof Insulation - Chiller / Ind Machinery |
| 852 | 711 Cool Roof - Chiller / Ind Machinery |
| 853 | 721 DX Packaged System, EER=10.9, 10 tons / Ind Machinery |
| 854 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Ind Machinery |
| 855 | 723 Geothermal Heat Pump, EER=13, 10 tons / Ind Machinery |
| 856 | 724 DX Tune Up/ Advanced Diagnostics / Ind Machinery |
| 857 | 725 DX Coil Cleaning / Ind Machinery |
| 858 | 726 Optimize Controls / Ind Machinery |
| 859 | 727 Aerosol Duct Sealing / Ind Machinery |
| 860 | 728 Duct/Pipe Insulation / Ind Machinery |
| 861 | 729 Window Film (Standard) / Ind Machinery |
| 862 | 730 Roof Insulation / Ind Machinery |
| 863 | 731 Cool Roof - DX / Ind Machinery |
| 864 | 801 Premium T8, Electronic Ballast / Ind Machinery |
| 865 | 802 CFL Hardwired, Modular 18W / Ind Machinery |
| 866 | 803 CFL Screw-in 18W / Ind Machinery |
| 867 | 804 High Bay T5 / Ind Machinery |
| 868 | 805 Occupancy Sensor / Ind Machinery |
| 869 | 901 Replace V-belts / Ind Machinery |
| 870 | 101 Compressed Air-O&M / Electronics |
| 871 | 102 Compressed Air - Controls / Electronics |
| 872 | 103 Compressed Air - System Optimization / Electronics |
| 873 | 104 Compressed Air- Sizing / Electronics |
| 874 | 105 Comp Air - Replace 1-5 HP motor / Electronics |
| 875 | 106 Comp Air - ASD (1-5 hp) / Electronics |
| 876 | 107 Comp Air - Motor practices-1 (1-5 HP) / Electronics |
| 877 | 108 Comp Air - Replace 6-100 HP motor / Electronics |
| 878 | 109 Comp Air - ASD (6-100 hp) / Electronics |
| 879 | 110 Comp Air - Motor practices-1 (6-100 HP) / Electronics |
| 880 | 111 Comp Air - Replace 100+ HP motor / Electronics |
| 881 | 112 Comp Air - ASD (100+ hp) / Electronics |
| 882 | 113 Comp Air - Motor practices-1 (100+ HP) / Electronics |
| 883 | 201 Fans - O&M / Electronics |
| 884 | 202 Fans - Controls / Electronics |
| 885 | 203 Fans - System Optimization / Electronics |
| 886 | 204 Fans- Improve components / Electronics |
| 887 | 205 Fans - Replace 1-5 HP motor / Electronics |
| 888 | 206 Fans - ASD (1-5 hp) / Electronics |
| 889 | 207 Fans - Motor practices-1 (1-5 HP) / Electronics |
| 890 | 208 Fans - Replace 6-100 HP motor / Electronics |
| 891 | 209 Fans - ASD (6-100 hp) / Electronics |
| 892 | 210 Fans - Motor practices-1 (6-100 HP) / Electronics |
| 893 | 211 Fans - Replace 100+ HP motor / Electronics |
| 894 | 212 Fans - ASD (100+ hp) / Electronics |
| 895 | 213 Fans - Motor practices-1 (100+ HP) / Electronics |
| 896 | 301 Pumps - O&M / Electronics |
| 897 | 302 Pumps - Controls / Electronics |
| 898 | 303 Pumps - System Optimization / Electronics |
| 899 | 304 Pumps - Sizing / Electronics |
| 900 | 305 Pumps - Replace 1-5 HP motor / Electronics |
| 901 | 306 Pumps - ASD (1-5 hp) / Electronics |
| 902 | 307 Pumps - Motor practices-1 (1-5 HP) / Electronics |
| 903 | 308 Pumps - Replace 6-100 HP motor / Electronics |
| 904 | 309 Pumps - ASD (6-100 hp) / Electronics |
| 905 | 310 Pumps - Motor practices-1 (6-100 HP) / Electronics |
| 906 | 311 Pumps - Replace 100+ HP motor / Electronics |
| 907 | 312 Pumps - ASD (100+ hp) / Electronics |
| 908 | 313 Pumps - Motor practices-1 (100+ HP) / Electronics |
| 909 | 413 Clean Room - Controls / Electronics |
| 910 | 428 Drives - Scheduling / Electronics |
| 911 | 429 Machinery / Electronics |
| 912 | 509 Efficient Curing ovens / Electronics |
| 913 | 604 Efficient processes (welding, etc.) / Electronics |
| 914 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Electronics |
| 915 | 702 High Efficiency Chiller Motors / Electronics |
| 916 | 703 EMS - Chiller / Electronics |
| 917 | 704 Chiller Tune Up/Diagnostics / Electronics |
| 918 | 705 VSD for Chiller Pumps and Towers / Electronics |
| 919 | 706 EMS Optimization - Chiller / Electronics |
| 920 | 707 Aerosol Duct Sealing - Chiller / Electronics |
| 921 | 708 Duct/Pipe Insulation - Chiller / Electronics |
| 922 | 709 Window Film (Standard) - Chiller / Electronics |
| 923 | 710 Roof Insulation - Chiller / Electronics |
| 924 | 711 Cool Roof - Chiller / Electronics |
| 925 | 721 DX Packaged System, EER=10.9, 10 tons / Electronics |
| 926 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Electronics |
| 927 | 723 Geothermal Heat Pump, EER=13, 10 tons / Electronics |
| 928 | 724 DX Tune Up/ Advanced Diagnostics / Electronics |
| 929 | 725 DX Coil Cleaning / Electronics |
| 930 | 726 Optimize Controls / Electronics |
| 931 | 727 Aerosol Duct Sealing / Electronics |
| 932 | 728 Duct/Pipe Insulation / Electronics |
| 933 | 729 Window Film (Standard) / Electronics |
| 934 | 730 Roof Insulation / Electronics |
| 935 | 731 Cool Roof - DX / Electronics |
| 936 | 801 Premium T8, Electronic Ballast / Electronics |
| 937 | 802 CFL Hardwired, Modular 18W / Electronics |
| 938 | 803 CFL Screw-in 18W / Electronics |
| 939 | 804 High Bay T5 / Electronics |
| 940 | 805 Occupancy Sensor / Electronics |
| 941 | 901 Replace V-belts / Electronics |
| 942 | 101 Compressed Air-O&M / Transp Eqp |
| 943 | 102 Compressed Air - Controls / Transp Eqp |
| 944 | 103 Compressed Air - System Optimization / Transp Eqp |
| 945 | 104 Compressed Air- Sizing / Transp Eqp |
| 946 | 105 Comp Air - Replace 1-5 HP motor / Transp Eqp |
| 947 | 106 Comp Air - ASD (1-5 hp) / Transp Eqp |
| 948 | 107 Comp Air - Motor practices-1 (1-5 HP) / Transp Eqp |
| 949 | 108 Comp Air - Replace 6-100 HP motor / Transp Eqp |
| 950 | 109 Comp Air - ASD (6-100 hp) / Transp Eqp |
| 951 | 110 Comp Air - Motor practices-1 (6-100 HP) / Transp Eqp |
| 952 | 111 Comp Air - Replace 100+ HP motor / Transp Eqp |
| 953 | 112 Comp Air - ASD (100+ hp) / Transp Eqp |
| 954 | 113 Comp Air - Motor practices-1 (100+ HP) / Transp Eqp |
| 955 | 201 Fans - O&M / Transp Eqp |
| 956 | 202 Fans - Controls / Transp Eqp |
| 957 | 203 Fans - System Optimization / Transp Eqp |
| 958 | 204 Fans- Improve components / Transp Eqp |
| 959 | 205 Fans - Replace 1-5 HP motor / Transp Eqp |
| 960 | 206 Fans - ASD (1-5 hp) / Transp Eqp |
| 961 | 207 Fans - Motor practices-1 (1-5 HP) / Transp Eqp |
| 962 | 208 Fans - Replace 6-100 HP motor / Transp Eqp |
| 963 | 209 Fans - ASD (6-100 hp) / Transp Eqp |
| 964 | 210 Fans - Motor practices-1 (6-100 HP) / Transp Eqp |
| 965 | 211 Fans - Replace 100+ HP motor / Transp Eqp |
| 966 | 212 Fans - ASD (100+ hp) / Transp Eqp |
| 967 | 213 Fans - Motor practices-1 (100+ HP) / Transp Eqp |
| 968 | 301 Pumps - O&M / Transp Eqp |
| 969 | 302 Pumps - Controls / Transp Eqp |
| 970 | 303 Pumps - System Optimization / Transp Eqp |
| 971 | 304 Pumps - Sizing / Transp Eqp |
| 972 | 305 Pumps - Replace 1-5 HP motor / Transp Eqp |
| 973 | 306 Pumps - ASD (1-5 hp) / Transp Eqp |
| 974 | 307 Pumps - Motor practices-1 (1-5 HP) / Transp Eqp |
| 975 | 308 Pumps - Replace 6-100 HP motor / Transp Eqp |
| 976 | 309 Pumps - ASD (6-100 hp) / Transp Eqp |
| 977 | 310 Pumps - Motor practices-1 (6-100 HP) / Transp Eqp |
| 978 | 311 Pumps - Replace 100+ HP motor / Transp Eqp |
| 979 | 312 Pumps - ASD (100+ hp) / Transp Eqp |
| 980 | 313 Pumps - Motor practices-1 (100+ HP) / Transp Eqp |
| 981 | 427 Drives - Optimization process (M&T) / Transp Eqp |
| 982 | 428 Drives - Scheduling / Transp Eqp |
| 983 | 429 Machinery / Transp Eqp |
| 984 | 509 Efficient Curing ovens / Transp Eqp |
| 985 | 510 Heating - Optimization process (M&T) / Transp Eqp |
| 986 | 603 New transformers welding / Transp Eqp |
| 987 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Transp Eqp |
| 988 | 702 High Efficiency Chiller Motors / Transp Eqp |
| 989 | 703 EMS - Chiller / Transp Eqp |
| 990 | 704 Chiller Tune Up/Diagnostics / Transp Eqp |
| 991 | 705 VSD for Chiller Pumps and Towers / Transp Eqp |
| 992 | 706 EMS Optimization - Chiller / Transp Eqp |
| 993 | 707 Aerosol Duct Sealing - Chiller / Transp Eqp |
| 994 | 708 Duct/Pipe Insulation - Chiller / Transp Eqp |
| 995 | 709 Window Film (Standard) - Chiller / Transp Eqp |
| 996 | 710 Roof Insulation - Chiller / Transp Eqp |
| 997 | 711 Cool Roof - Chiller / Transp Eqp |
| 998 | 721 DX Packaged System, EER=10.9, 10 tons / Transp Eqp |
| 999 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Transp Eqp |
| 1000 | 723 Geothermal Heat Pump, EER=13, 10 tons / Transp Eqp |
| 1001 | 724 DX Tune Up/ Advanced Diagnostics / Transp Eqp |
| 1002 | 725 DX Coil Cleaning / Transp Eqp |
| 1003 | 726 Optimize Controls / Transp Eqp |
| 1004 | 727 Aerosol Duct Sealing / Transp Eqp |
| 1005 | 728 Duct/Pipe Insulation / Transp Eqp |
| 1006 | 729 Window Film (Standard) / Transp Eqp |
| 1007 | 730 Roof Insulation / Transp Eqp |
| 1008 | 731 Cool Roof - DX / Transp Eqp |
| 1009 | 801 Premium T8, Electronic Ballast / Transp Eqp |
| 1010 | 802 CFL Hardwired, Modular 18W / Transp Eqp |
| 1011 | 803 CFL Screw-in 18W / Transp Eqp |
| 1012 | 804 High Bay T5 / Transp Eqp |
| 1013 | 805 Occupancy Sensor / Transp Eqp |
| 1014 | 901 Replace V-belts / Transp Eqp |
| 1015 | 101 Compressed Air-O&M / Instruments |
| 1016 | 102 Compressed Air - Controls / Instruments |
| 1017 | 103 Compressed Air - System Optimization / Instruments |
| 1018 | 104 Compressed Air- Sizing / Instruments |
| 1019 | 105 Comp Air - Replace 1-5 HP motor / Instruments |
| 1020 | 106 Comp Air - ASD (1-5 hp) / Instruments |
| 1021 | 107 Comp Air - Motor practices-1 (1-5 HP) / Instruments |
| 1022 | 108 Comp Air - Replace 6-100 HP motor / Instruments |
| 1023 | 109 Comp Air - ASD (6-100 hp) / Instruments |
| 1024 | 110 Comp Air - Motor practices-1 (6-100 HP) / Instruments |
| 1025 | 111 Comp Air - Replace 100+ HP motor / Instruments |
| 1026 | 112 Comp Air - ASD (100+ hp) / Instruments |
| 1027 | 113 Comp Air - Motor practices-1 (100+ HP) / Instruments |
| 1028 | 201 Fans - O&M / Instruments |
| 1029 | 202 Fans - Controls / Instruments |
| 1030 | 203 Fans - System Optimization / Instruments |
| 1031 | 204 Fans- Improve components / Instruments |
| 1032 | 205 Fans - Replace 1-5 HP motor / Instruments |
| 1033 | 206 Fans - ASD (1-5 hp) / Instruments |
| 1034 | 207 Fans - Motor practices-1 (1-5 HP) / Instruments |
| 1035 | 208 Fans - Replace 6-100 HP motor / Instruments |
| 1036 | 209 Fans - ASD (6-100 hp) / Instruments |
| 1037 | 210 Fans - Motor practices-1 (6-100 HP) / Instruments |
| 1038 | 211 Fans - Replace 100+ HP motor / Instruments |
| 1039 | 212 Fans - ASD (100+ hp) / Instruments |
| 1040 | 213 Fans - Motor practices-1 (100+ HP) / Instruments |
| 1041 | 301 Pumps - O&M / Instruments |
| 1042 | 302 Pumps - Controls / Instruments |
| 1043 | 303 Pumps - System Optimization / Instruments |
| 1044 | 304 Pumps - Sizing / Instruments |
| 1045 | 305 Pumps - Replace 1-5 HP motor / Instruments |
| 1046 | 306 Pumps - ASD (1-5 hp) / Instruments |
| 1047 | 307 Pumps - Motor practices-1 (1-5 HP) / Instruments |
| 1048 | 308 Pumps - Replace 6-100 HP motor / Instruments |
| 1049 | 309 Pumps - ASD (6-100 hp) / Instruments |
| 1050 | 310 Pumps - Motor practices-1 (6-100 HP) / Instruments |
| 1051 | 311 Pumps - Replace 100+ HP motor / Instruments |
| 1052 | 312 Pumps - ASD (100+ hp) / Instruments |
| 1053 | 313 Pumps - Motor practices-1 (100+ HP) / Instruments |
| 1054 | 427 Drives - Optimization process (M&T) / Instruments |
| 1055 | 428 Drives - Scheduling / Instruments |
| 1056 | 429 Machinery / Instruments |
| 1057 | 509 Efficient Curing ovens / Instruments |
| 1058 | 603 New transformers welding / Instruments |
| 1059 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Instruments |
| 1060 | 702 High Efficiency Chiller Motors / Instruments |
| 1061 | 703 EMS - Chiller / Instruments |
| 1062 | 704 Chiller Tune Up/Diagnostics / Instruments |
| 1063 | 705 VSD for Chiller Pumps and Towers / Instruments |
| 1064 | 706 EMS Optimization - Chiller / Instruments |
| 1065 | 707 Aerosol Duct Sealing - Chiller / Instruments |
| 1066 | 708 Duct/Pipe Insulation - Chiller / Instruments |
| 1067 | 709 Window Film (Standard) - Chiller / Instruments |
| 1068 | 710 Roof Insulation - Chiller / Instruments |
| 1069 | 711 Cool Roof - Chiller / Instruments |
| 1070 | 721 DX Packaged System, EER=10.9, 10 tons / Instruments |
| 1071 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Instruments |
| 1072 | 723 Geothermal Heat Pump, EER=13, 10 tons / Instruments |
| 1073 | 724 DX Tune Up/ Advanced Diagnostics / Instruments |
| 1074 | 725 DX Coil Cleaning / Instruments |
| 1075 | 726 Optimize Controls / Instruments |
| 1076 | 727 Aerosol Duct Sealing / Instruments |
| 1077 | 728 Duct/Pipe Insulation / Instruments |
| 1078 | 729 Window Film (Standard) / Instruments |
| 1079 | 730 Roof Insulation / Instruments |
| 1080 | 731 Cool Roof - DX / Instruments |
| 1081 | 801 Premium T8, Electronic Ballast / Instruments |
| 1082 | 802 CFL Hardwired, Modular 18W / Instruments |
| 1083 | 803 CFL Screw-in 18W / Instruments |
| 1084 | 804 High Bay T5 / Instruments |
| 1085 | 805 Occupancy Sensor / Instruments |
| 1086 | 901 Replace V-belts / Instruments |
| 1087 | 101 Compressed Air-O&M / Misc |
| 1088 | 102 Compressed Air - Controls / Misc |
| 1089 | 103 Compressed Air - System Optimization / Misc |
| 1090 | 104 Compressed Air- Sizing / Misc |
| 1091 | 105 Comp Air - Replace 1-5 HP motor / Misc |
| 1092 | 106 Comp Air - ASD (1-5 hp) / Misc |
| 1093 | 107 Comp Air - Motor practices-1 (1-5 HP) / Misc |
| 1094 | 108 Comp Air - Replace 6-100 HP motor / Misc |
| 1095 | 109 Comp Air - ASD (6-100 hp) / Misc |
| 1096 | 110 Comp Air - Motor practices-1 (6-100 HP) / Misc |
| 1097 | 111 Comp Air - Replace 100+ HP motor / Misc |
| 1098 | 112 Comp Air - ASD (100+ hp) / Misc |
| 1099 | 113 Comp Air - Motor practices-1 (100+ HP) / Misc |
| 1100 | 201 Fans - O&M / Misc |
| 1101 | 202 Fans - Controls / Misc |
| 1102 | 203 Fans - System Optimization / Misc |
| 1103 | 204 Fans- Improve components / Misc |
| 1104 | 205 Fans - Replace 1-5 HP motor / Misc |
| 1105 | 206 Fans - ASD (1-5 hp) / Misc |
| 1106 | 207 Fans - Motor practices-1 (1-5 HP) / Misc |
| 1107 | 208 Fans - Replace 6-100 HP motor / Misc |
| 1108 | 209 Fans - ASD (6-100 hp) / Misc |
| 1109 | 210 Fans - Motor practices-1 (6-100 HP) / Misc |
| 1110 | 211 Fans - Replace 100+ HP motor / Misc |
| 1111 | 212 Fans - ASD (100+ hp) / Misc |
| 1112 | 213 Fans - Motor practices-1 (100+ HP) / Misc |
| 1113 | 301 Pumps - O&M / Misc |
| 1114 | 302 Pumps - Controls / Misc |
| 1115 | 303 Pumps - System Optimization / Misc |
| 1116 | 304 Pumps - Sizing / Misc |
| 1117 | 305 Pumps - Replace 1-5 HP motor / Misc |
| 1118 | 306 Pumps - ASD (1-5 hp) / Misc |
| 1119 | 307 Pumps - Motor practices-1 (1-5 HP) / Misc |
| 1120 | 308 Pumps - Replace 6-100 HP motor / Misc |
| 1121 | 309 Pumps - ASD (6-100 hp) / Misc |
| 1122 | 310 Pumps - Motor practices-1 (6-100 HP) / Misc |
| 1123 | 311 Pumps - Replace 100+ HP motor / Misc |
| 1124 | 312 Pumps - ASD (100+ hp) / Misc |
| 1125 | 313 Pumps - Motor practices-1 (100+ HP) / Misc |
| 1126 | 416 Process Drives - ASD / Misc |
| 1127 | 428 Drives - Scheduling / Misc |
| 1128 | 430 Efficient Machinery / Misc |
| 1129 | 509 Efficient Curing ovens / Misc |
| 1130 | 605 Process control / Misc |
| 1131 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Misc |
| 1132 | 702 High Efficiency Chiller Motors / Misc |
| 1133 | 703 EMS - Chiller / Misc |
| 1134 | 704 Chiller Tune Up/Diagnostics / Misc |
| 1135 | 705 VSD for Chiller Pumps and Towers / Misc |
| 1136 | 706 EMS Optimization - Chiller / Misc |
| 1137 | 707 Aerosol Duct Sealing - Chiller / Misc |
| 1138 | 708 Duct/Pipe Insulation - Chiller / Misc |
| 1139 | 709 Window Film (Standard) - Chiller / Misc |
| 1140 | 710 Roof Insulation - Chiller / Misc |
| 1141 | 711 Cool Roof - Chiller / Misc |
| 1142 | 721 DX Packaged System, EER=10.9, 10 tons / Misc |
| 1143 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Misc |
| 1144 | 723 Geothermal Heat Pump, EER=13, 10 tons / Misc |
| 1145 | 724 DX Tune Up/ Advanced Diagnostics / Misc |
| 1146 | 725 DX Coil Cleaning / Misc |
| 1147 | 726 Optimize Controls / Misc |
| 1148 | 727 Aerosol Duct Sealing / Misc |
| 1149 | 728 Duct/Pipe Insulation / Misc |
| 1150 | 729 Window Film (Standard) / Misc |
| 1151 | 730 Roof Insulation / Misc |
| 1152 | 731 Cool Roof - DX / Misc |
| 1153 | 801 Premium T8, Electronic Ballast / Misc |
| 1154 | 802 CFL Hardwired, Modular 18W / Misc |
| 1155 | 803 CFL Screw-in 18W / Misc |
| 1156 | 804 High Bay T5 / Misc |
| 1157 | 805 Occupancy Sensor / Misc |
| 1158 | 901 Replace V-belts / Misc |
| 1159 | 806 LED Linear Tube 22W (per unit) / All |
| 1160 | 807 Flood LED 14W (per unit) / All |
| 1161 | 808 LED High Bay 83W (per unit) / All |
| 1162 | 732 Run Time Optimizer / All |
| 1163 | 733 Dehumidification Hybrid Desiccant Heat Pump PER 5 TON / All |

|  |  |
| --- | --- |
| **Economic Potential -- TRC** | |
| **Remaining Measures Passing** | |
| **#** | **Measure Name** |
| **Residential** | |
| 1 | 100 106 15 SEER Split-System Heat Pump / Single Detached |
| 2 | 100 115 Electronically Commutated Motors (ECM) on an Air Handler Unit / Single Detached |
| 3 | 100 116 Duct Repair / Single Detached |
| 4 | 100 119 Window Film / Single Detached |
| 5 | 100 121 Default Window With Sunscreen / Single Detached |
| 6 | 100 122 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached |
| 7 | 100 124 Ceiling R-0 to R-19 Insulation / Single Detached |
| 8 | 130 132 15 SEER Split-System Heat Pump / Single Detached |
| 9 | 130 136 Attic Venting / Single Detached |
| 10 | 130 138 AC Maintenance (Outdoor Coil Cleaning) / Single Detached |
| 11 | 130 141 Electronically Commutated Motors (ECM) on an Air Handler Unit / Single Detached |
| 12 | 130 142 Duct Repair / Single Detached |
| 13 | 130 145 Window Film / Single Detached |
| 14 | 130 147 Default Window With Sunscreen / Single Detached |
| 15 | 130 148 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached |
| 16 | 130 150 Ceiling R-0 to R-19 Insulation / Single Detached |
| 17 | 190 191 HE Room Air Conditioner - EER 11 / Single Detached |
| 18 | 190 192 HE Room Air Conditioner - EER 12 / Single Detached |
| 19 | 190 202 Ceiling R-0 to R-19 Insulation / Single Detached |
| 20 | 220 221 CFL (18-Watt integral ballast), 0.5 hr/day / Single Detached |
| 21 | 260 262 Photocell/timeclock / Single Detached |
| 22 | 300 301 HE Refrigerator - Energy Star version of above / Single Detached |
| 23 | 400 401 Heat Pump Water Heater (EF=2.9) / Single Detached |
| 24 | 400 410 Water Heater Timeclock / Single Detached |
| 25 | 800 803 Variable-Speed Pool Pump (<1 hp) / Single Detached |
| 26 | 100 105 14 SEER Split-System Heat Pump / Multi Attached |
| 27 | 100 115 Electronically Commutated Motors (ECM) on an Air Handler Unit / Multi Attached |
| 28 | 100 116 Duct Repair / Multi Attached |
| 29 | 100 119 Window Film / Multi Attached |
| 30 | 100 120 Window Tinting / Multi Attached |
| 31 | 100 122 Single Pane Clear Windows to Double Pane Low-E Windows / Multi Attached |
| 32 | 100 124 Ceiling R-0 to R-19 Insulation / Multi Attached |
| 33 | 130 140 Proper Refrigerant Charging and Air Flow / Multi Attached |
| 34 | 130 142 Duct Repair / Multi Attached |
| 35 | 130 145 Window Film / Multi Attached |
| 36 | 130 146 Window Tinting / Multi Attached |
| 37 | 130 147 Default Window With Sunscreen / Multi Attached |
| 38 | 130 148 Single Pane Clear Windows to Double Pane Low-E Windows / Multi Attached |
| 39 | 130 150 Ceiling R-0 to R-19 Insulation / Multi Attached |
| 40 | 190 191 HE Room Air Conditioner - EER 11 / Multi Attached |
| 41 | 190 192 HE Room Air Conditioner - EER 12 / Multi Attached |
| 42 | 190 198 Window Tinting / Multi Attached |
| 43 | 190 200 Single Pane Clear Windows to Double Pane Low-E Windows / Multi Attached |
| 44 | 220 221 CFL (18-Watt integral ballast), 0.5 hr/day / Multi Attached |
| 45 | 260 262 Photocell/timeclock / Multi Attached |
| 46 | 300 301 HE Refrigerator - Energy Star version of above / Multi Attached |
| 47 | 350 351 HE Freezer / Multi Attached |
| 48 | 400 410 Water Heater Timeclock / Multi Attached |
| 49 | 800 803 Variable-Speed Pool Pump (<1 hp) / Multi Attached |
| 50 | 100 105 14 SEER Split-System Heat Pump / Single Detached - Manufactured |
| 51 | 100 106 15 SEER Split-System Heat Pump / Single Detached - Manufactured |
| 52 | 100 112 AC Maintenance (Outdoor Coil Cleaning) / Single Detached - Manufactured |
| 53 | 100 113 AC Maintenance (Indoor Coil Cleaning) / Single Detached - Manufactured |
| 54 | 100 115 Electronically Commutated Motors (ECM) on an Air Handler Unit / Single Detached - Manufactured |
| 55 | 100 116 Duct Repair / Single Detached - Manufactured |
| 56 | 100 120 Window Tinting / Single Detached - Manufactured |
| 57 | 100 122 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached - Manufactured |
| 58 | 100 124 Ceiling R-0 to R-19 Insulation / Single Detached - Manufactured |
| 59 | 130 132 15 SEER Split-System Heat Pump / Single Detached - Manufactured |
| 60 | 130 136 Attic Venting / Single Detached - Manufactured |
| 61 | 130 142 Duct Repair / Single Detached - Manufactured |
| 62 | 130 146 Window Tinting / Single Detached - Manufactured |
| 63 | 130 148 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached - Manufactured |
| 64 | 130 150 Ceiling R-0 to R-19 Insulation / Single Detached - Manufactured |
| 65 | 190 191 HE Room Air Conditioner - EER 11 / Single Detached - Manufactured |
| 66 | 190 192 HE Room Air Conditioner - EER 12 / Single Detached - Manufactured |
| 67 | 190 197 Window Film / Single Detached - Manufactured |
| 68 | 190 200 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached - Manufactured |
| 69 | 220 221 CFL (18-Watt integral ballast), 0.5 hr/day / Single Detached - Manufactured |
| 70 | 260 262 Photocell/timeclock / Single Detached - Manufactured |
| 71 | 300 301 HE Refrigerator - Energy Star version of above / Single Detached - Manufactured |
| 72 | 400 410 Water Heater Timeclock / Single Detached - Manufactured |
| 73 | 800 803 Variable-Speed Pool Pump (<1 hp) / Single Detached - Manufactured |
| 74 | 200 232 LED 12W, 2.5hr/hday / All |
| 75 | 200 242 LED 12W, 6.0hr/hday / All |
| 76 | 260 263 LED Directional 13W (Flood, Outdoor) / All |
| **Commercial** | |
| 1 | 110 111 Premium T8, Electronic Ballast / Office |
| 2 | 110 112 Premium T8, EB, Reflector / Office |
| 3 | 110 113 Occupancy Sensor / Office |
| 4 | 120 123 Occupancy Sensor / Office |
| 5 | 140 141 CFL Hardwired, Modular 18W / Office |
| 6 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Office |
| 7 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Office |
| 8 | 300 302 High Efficiency Chiller Motors / Office |
| 9 | 300 304 EMS - Chiller / Office |
| 10 | 300 305 Chiller Tune Up/Diagnostics / Office |
| 11 | 300 306 VSD for Chiller Pumps and Towers / Office |
| 12 | 300 311 Window Film (Standard) / Office |
| 13 | 300 313 Ceiling Insulation / Office |
| 14 | 300 314 Roof Insulation / Office |
| 15 | 300 315 Cool Roof - Chiller / Office |
| 16 | 300 317 Thermal Energy Storage (TES) Positive / Office |
| 17 | 320 321 DX Packaged System, EER=10.9, 10 tons / Office |
| 18 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Office |
| 19 | 320 332 Window Film (Standard) / Office |
| 20 | 320 334 Ceiling Insulation / Office |
| 21 | 320 335 Roof Insulation / Office |
| 22 | 340 347 Window Film (Standard) / Office |
| 23 | 340 349 Ceiling Insulation / Office |
| 24 | 340 350 Roof Insulation / Office |
| 25 | 340 351 Cool Roof - DX / Office |
| 26 | 360 361 HE PTAC, EER=9.6, 1 ton / Office |
| 27 | 360 362 Occupancy Sensor (hotels) / Office |
| 28 | 400 401 High Efficiency Fan Motor, 15hp, 1800rpm, 92.4% / Office |
| 29 | 400 402 Variable Speed Drive Control / Office |
| 30 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Office |
| 31 | 600 603 Heat Pump Water Heater (air source) / Office |
| 32 | 600 604 Solar Water Heater / Office |
| 33 | 600 608 Heat Recovery Unit / Office |
| 34 | 600 610 Hot Water Pipe Insulation / Office |
| 35 | 110 111 Premium T8, Electronic Ballast / Restaurant or Services |
| 36 | 110 112 Premium T8, EB, Reflector / Restaurant or Services |
| 37 | 140 141 CFL Hardwired, Modular 18W / Restaurant or Services |
| 38 | 300 302 High Efficiency Chiller Motors / Restaurant or Services |
| 39 | 300 311 Window Film (Standard) / Restaurant or Services |
| 40 | 300 313 Ceiling Insulation / Restaurant or Services |
| 41 | 300 314 Roof Insulation / Restaurant or Services |
| 42 | 300 315 Cool Roof - Chiller / Restaurant or Services |
| 43 | 300 317 Thermal Energy Storage (TES) Positive / Restaurant or Services |
| 44 | 320 321 DX Packaged System, EER=10.9, 10 tons / Restaurant or Services |
| 45 | 320 336 Cool Roof - DX / Restaurant or Services |
| 46 | 340 351 Cool Roof - DX / Restaurant or Services |
| 47 | 360 362 Occupancy Sensor (hotels) / Restaurant or Services |
| 48 | 400 401 High Efficiency Fan Motor, 15hp, 1800rpm, 92.4% / Restaurant or Services |
| 49 | 400 402 Variable Speed Drive Control / Restaurant or Services |
| 50 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Restaurant or Services |
| 51 | 400 406 Energy Recovery Ventilation (ERV) / Restaurant or Services |
| 52 | 600 604 Solar Water Heater / Restaurant or Services |
| 53 | 600 610 Hot Water Pipe Insulation / Restaurant or Services |
| 54 | 110 111 Premium T8, Electronic Ballast / Retail |
| 55 | 110 112 Premium T8, EB, Reflector / Retail |
| 56 | 140 141 CFL Hardwired, Modular 18W / Retail |
| 57 | 300 302 High Efficiency Chiller Motors / Retail |
| 58 | 300 304 EMS - Chiller / Retail |
| 59 | 300 305 Chiller Tune Up/Diagnostics / Retail |
| 60 | 300 311 Window Film (Standard) / Retail |
| 61 | 300 313 Ceiling Insulation / Retail |
| 62 | 300 314 Roof Insulation / Retail |
| 63 | 300 315 Cool Roof - Chiller / Retail |
| 64 | 300 317 Thermal Energy Storage (TES) Positive / Retail |
| 65 | 320 321 DX Packaged System, EER=10.9, 10 tons / Retail |
| 66 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Retail |
| 67 | 320 326 DX Tune Up/ Advanced Diagnostics / Retail |
| 68 | 320 334 Ceiling Insulation / Retail |
| 69 | 320 335 Roof Insulation / Retail |
| 70 | 340 349 Ceiling Insulation / Retail |
| 71 | 340 351 Cool Roof - DX / Retail |
| 72 | 360 361 HE PTAC, EER=9.6, 1 ton / Retail |
| 73 | 400 402 Variable Speed Drive Control / Retail |
| 74 | 400 403 Air Handler Optimization / Retail |
| 75 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Retail |
| 76 | 400 406 Energy Recovery Ventilation (ERV) / Retail |
| 77 | 600 603 Heat Pump Water Heater (air source) / Retail |
| 78 | 110 111 Premium T8, Electronic Ballast / Food Store |
| 79 | 300 302 High Efficiency Chiller Motors / Food Store |
| 80 | 300 304 EMS - Chiller / Food Store |
| 81 | 300 311 Window Film (Standard) / Food Store |
| 82 | 300 313 Ceiling Insulation / Food Store |
| 83 | 300 314 Roof Insulation / Food Store |
| 84 | 300 317 Thermal Energy Storage (TES) Positive / Food Store |
| 85 | 320 321 DX Packaged System, EER=10.9, 10 tons / Food Store |
| 86 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Food Store |
| 87 | 320 334 Ceiling Insulation / Food Store |
| 88 | 320 335 Roof Insulation / Food Store |
| 89 | 340 351 Cool Roof - DX / Food Store |
| 90 | 360 361 HE PTAC, EER=9.6, 1 ton / Food Store |
| 91 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Food Store |
| 92 | 400 406 Energy Recovery Ventilation (ERV) / Food Store |
| 93 | 500 501 High-efficiency fan motors / Food Store |
| 94 | 500 513 High R-Value Glass Doors / Food Store |
| 95 | 500 515 Oversized Air Cooled Condenser / Food Store |
| 96 | 500 517 LED Display Lighting / Food Store |
| 97 | 600 603 Heat Pump Water Heater (air source) / Food Store |
| 98 | 600 608 Heat Recovery Unit / Food Store |
| 99 | 110 111 Premium T8, Electronic Ballast / School |
| 100 | 120 121 ROB Premium T8, 1EB / School |
| 101 | 120 122 ROB Premium T8, EB, Reflector / School |
| 102 | 150 152 PSMH, 250 W, electronic ballast / School |
| 103 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / School |
| 104 | 300 302 High Efficiency Chiller Motors / School |
| 105 | 300 304 EMS - Chiller / School |
| 106 | 300 305 Chiller Tune Up/Diagnostics / School |
| 107 | 300 306 VSD for Chiller Pumps and Towers / School |
| 108 | 300 311 Window Film (Standard) / School |
| 109 | 300 313 Ceiling Insulation / School |
| 110 | 300 314 Roof Insulation / School |
| 111 | 300 317 Thermal Energy Storage (TES) Positive / School |
| 112 | 320 321 DX Packaged System, EER=10.9, 10 tons / School |
| 113 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / School |
| 114 | 320 326 DX Tune Up/ Advanced Diagnostics / School |
| 115 | 320 334 Ceiling Insulation / School |
| 116 | 320 335 Roof Insulation / School |
| 117 | 340 349 Ceiling Insulation / School |
| 118 | 340 351 Cool Roof - DX / School |
| 119 | 360 361 HE PTAC, EER=9.6, 1 ton / School |
| 120 | 400 402 Variable Speed Drive Control / School |
| 121 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / School |
| 122 | 600 606 Demand controlled circulating systems / School |
| 123 | 600 610 Hot Water Pipe Insulation / School |
| 124 | 110 111 Premium T8, Electronic Ballast / College |
| 125 | 120 121 ROB Premium T8, 1EB / College |
| 126 | 120 122 ROB Premium T8, EB, Reflector / College |
| 127 | 150 152 PSMH, 250 W, electronic ballast / College |
| 128 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / College |
| 129 | 300 302 High Efficiency Chiller Motors / College |
| 130 | 300 304 EMS - Chiller / College |
| 131 | 300 305 Chiller Tune Up/Diagnostics / College |
| 132 | 300 306 VSD for Chiller Pumps and Towers / College |
| 133 | 300 311 Window Film (Standard) / College |
| 134 | 300 313 Ceiling Insulation / College |
| 135 | 300 314 Roof Insulation / College |
| 136 | 320 321 DX Packaged System, EER=10.9, 10 tons / College |
| 137 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / College |
| 138 | 320 326 DX Tune Up/ Advanced Diagnostics / College |
| 139 | 320 334 Ceiling Insulation / College |
| 140 | 320 335 Roof Insulation / College |
| 141 | 340 349 Ceiling Insulation / College |
| 142 | 340 351 Cool Roof - DX / College |
| 143 | 360 361 HE PTAC, EER=9.6, 1 ton / College |
| 144 | 400 402 Variable Speed Drive Control / College |
| 145 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / College |
| 146 | 400 406 Energy Recovery Ventilation (ERV) / College |
| 147 | 600 608 Heat Recovery Unit / College |
| 148 | 600 610 Hot Water Pipe Insulation / College |
| 149 | 110 111 Premium T8, Electronic Ballast / Hospital |
| 150 | 300 313 Ceiling Insulation / Hospital |
| 151 | 300 314 Roof Insulation / Hospital |
| 152 | 300 317 Thermal Energy Storage (TES) Positive / Hospital |
| 153 | 320 321 DX Packaged System, EER=10.9, 10 tons / Hospital |
| 154 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Hospital |
| 155 | 340 351 Cool Roof - DX / Hospital |
| 156 | 400 405 Demand Control Ventilation (DCV) / Hospital |
| 157 | 400 406 Energy Recovery Ventilation (ERV) / Hospital |
| 158 | 110 111 Premium T8, Electronic Ballast / Other Healthcare |
| 159 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Other Healthcare |
| 160 | 300 302 High Efficiency Chiller Motors / Other Healthcare |
| 161 | 300 304 EMS - Chiller / Other Healthcare |
| 162 | 300 306 VSD for Chiller Pumps and Towers / Other Healthcare |
| 163 | 300 311 Window Film (Standard) / Other Healthcare |
| 164 | 300 313 Ceiling Insulation / Other Healthcare |
| 165 | 300 314 Roof Insulation / Other Healthcare |
| 166 | 300 317 Thermal Energy Storage (TES) Positive / Other Healthcare |
| 167 | 320 321 DX Packaged System, EER=10.9, 10 tons / Other Healthcare |
| 168 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Other Healthcare |
| 169 | 320 326 DX Tune Up/ Advanced Diagnostics / Other Healthcare |
| 170 | 320 334 Ceiling Insulation / Other Healthcare |
| 171 | 320 335 Roof Insulation / Other Healthcare |
| 172 | 340 349 Ceiling Insulation / Other Healthcare |
| 173 | 340 351 Cool Roof - DX / Other Healthcare |
| 174 | 360 361 HE PTAC, EER=9.6, 1 ton / Other Healthcare |
| 175 | 400 402 Variable Speed Drive Control / Other Healthcare |
| 176 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Other Healthcare |
| 177 | 600 610 Hot Water Pipe Insulation / Other Healthcare |
| 178 | 110 111 Premium T8, Electronic Ballast / Warehouse |
| 179 | 110 115 Lighting Control Tuneup / Warehouse |
| 180 | 120 121 ROB Premium T8, 1EB / Warehouse |
| 181 | 150 152 PSMH, 250 W, electronic ballast / Warehouse |
| 182 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Warehouse |
| 183 | 300 302 High Efficiency Chiller Motors / Warehouse |
| 184 | 300 304 EMS - Chiller / Warehouse |
| 185 | 300 306 VSD for Chiller Pumps and Towers / Warehouse |
| 186 | 300 317 Thermal Energy Storage (TES) Positive / Warehouse |
| 187 | 320 321 DX Packaged System, EER=10.9, 10 tons / Warehouse |
| 188 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Warehouse |
| 189 | 360 361 HE PTAC, EER=9.6, 1 ton / Warehouse |
| 190 | 400 402 Variable Speed Drive Control / Warehouse |
| 191 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Warehouse |
| 192 | 110 111 Premium T8, Electronic Ballast / Hotel or Motel |
| 193 | 120 124 Lighting Control Tuneup / Hotel or Motel |
| 194 | 300 311 Window Film (Standard) / Hotel or Motel |
| 195 | 300 313 Ceiling Insulation / Hotel or Motel |
| 196 | 300 314 Roof Insulation / Hotel or Motel |
| 197 | 300 317 Thermal Energy Storage (TES) Positive / Hotel or Motel |
| 198 | 320 321 DX Packaged System, EER=10.9, 10 tons / Hotel or Motel |
| 199 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Hotel or Motel |
| 200 | 320 326 DX Tune Up/ Advanced Diagnostics / Hotel or Motel |
| 201 | 320 334 Ceiling Insulation / Hotel or Motel |
| 202 | 320 335 Roof Insulation / Hotel or Motel |
| 203 | 340 349 Ceiling Insulation / Hotel or Motel |
| 204 | 340 351 Cool Roof - DX / Hotel or Motel |
| 205 | 400 402 Variable Speed Drive Control / Hotel or Motel |
| 206 | 400 403 Air Handler Optimization / Hotel or Motel |
| 207 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Hotel or Motel |
| 208 | 400 406 Energy Recovery Ventilation (ERV) / Hotel or Motel |
| 209 | 600 606 Demand controlled circulating systems / Hotel or Motel |
| 210 | 600 610 Hot Water Pipe Insulation / Hotel or Motel |
| 211 | 110 111 Premium T8, Electronic Ballast / Other |
| 212 | 120 123 Occupancy Sensor / Other |
| 213 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Other |
| 214 | 300 302 High Efficiency Chiller Motors / Other |
| 215 | 300 304 EMS - Chiller / Other |
| 216 | 300 305 Chiller Tune Up/Diagnostics / Other |
| 217 | 300 306 VSD for Chiller Pumps and Towers / Other |
| 218 | 300 307 EMS Optimization / Other |
| 219 | 300 313 Ceiling Insulation / Other |
| 220 | 300 314 Roof Insulation / Other |
| 221 | 320 321 DX Packaged System, EER=10.9, 10 tons / Other |
| 222 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Other |
| 223 | 320 326 DX Tune Up/ Advanced Diagnostics / Other |
| 224 | 320 334 Ceiling Insulation / Other |
| 225 | 320 335 Roof Insulation / Other |
| 226 | 340 349 Ceiling Insulation / Other |
| 227 | 360 361 HE PTAC, EER=9.6, 1 ton / Other |
| 228 | 400 403 Air Handler Optimization / Other |
| 229 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Other |
| 230 | 400 406 Energy Recovery Ventilation (ERV) / Other |
| 231 | 600 603 Heat Pump Water Heater (air source) / Other |
| 232 | 600 604 Solar Water Heater / Other |
| 233 | 600 608 Heat Recovery Unit / Other |
| 234 | 600 610 Hot Water Pipe Insulation / Other |
| 235 | 100 125 LED Linear Tube 22W / All |
| 236 | 100 132 Flood LED 14W / All |
| 237 | 100 146 LED (12-Watt) / All |
| 238 | 100 154 LED High Bay 83W (400W equivalent) / All |
| 239 | 200 203 Outdoor LED 104W / All |
| 240 | 300 337 Run Time Optimizer / All |
| 241 | 300 338 dehumidification hybrid desiccant heat pump / All |
| 242 | 800 518 Ice Machine / All |
| 243 | 800 812 Griddle / All |
| 244 | 800 813 Steamer / All |
| 245 | 800 814 Holding Cabinet / All |
| **Industrial** | |
| 1 | 107 Comp Air - Motor practices-1 (1-5 HP) / Food |
| 2 | 110 Comp Air - Motor practices-1 (6-100 HP) / Food |
| 3 | 111 Comp Air - Replace 100+ HP motor / Food |
| 4 | 202 Fans - Controls / Food |
| 5 | 203 Fans - System Optimization / Food |
| 6 | 207 Fans - Motor practices-1 (1-5 HP) / Food |
| 7 | 210 Fans - Motor practices-1 (6-100 HP) / Food |
| 8 | 211 Fans - Replace 100+ HP motor / Food |
| 9 | 307 Pumps - Motor practices-1 (1-5 HP) / Food |
| 10 | 310 Pumps - Motor practices-1 (6-100 HP) / Food |
| 11 | 311 Pumps - Replace 100+ HP motor / Food |
| 12 | 552 Optimization Refrigeration / Food |
| 13 | 702 High Efficiency Chiller Motors / Food |
| 14 | 703 EMS - Chiller / Food |
| 15 | 704 Chiller Tune Up/Diagnostics / Food |
| 16 | 709 Window Film (Standard) - Chiller / Food |
| 17 | 710 Roof Insulation - Chiller / Food |
| 18 | 721 DX Packaged System, EER=10.9, 10 tons / Food |
| 19 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Food |
| 20 | 724 DX Tune Up/ Advanced Diagnostics / Food |
| 21 | 729 Window Film (Standard) / Food |
| 22 | 730 Roof Insulation / Food |
| 23 | 731 Cool Roof - DX / Food |
| 24 | 802 CFL Hardwired, Modular 18W / Food |
| 25 | 805 Occupancy Sensor / Food |
| 26 | 107 Comp Air - Motor practices-1 (1-5 HP) / Textiles |
| 27 | 110 Comp Air - Motor practices-1 (6-100 HP) / Textiles |
| 28 | 111 Comp Air - Replace 100+ HP motor / Textiles |
| 29 | 202 Fans - Controls / Textiles |
| 30 | 203 Fans - System Optimization / Textiles |
| 31 | 207 Fans - Motor practices-1 (1-5 HP) / Textiles |
| 32 | 210 Fans - Motor practices-1 (6-100 HP) / Textiles |
| 33 | 211 Fans - Replace 100+ HP motor / Textiles |
| 34 | 307 Pumps - Motor practices-1 (1-5 HP) / Textiles |
| 35 | 310 Pumps - Motor practices-1 (6-100 HP) / Textiles |
| 36 | 311 Pumps - Replace 100+ HP motor / Textiles |
| 37 | 402 O&M/drives spinning machines / Textiles |
| 38 | 502 Drying (UV/IR) / Textiles |
| 39 | 702 High Efficiency Chiller Motors / Textiles |
| 40 | 703 EMS - Chiller / Textiles |
| 41 | 704 Chiller Tune Up/Diagnostics / Textiles |
| 42 | 709 Window Film (Standard) - Chiller / Textiles |
| 43 | 710 Roof Insulation - Chiller / Textiles |
| 44 | 721 DX Packaged System, EER=10.9, 10 tons / Textiles |
| 45 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Textiles |
| 46 | 724 DX Tune Up/ Advanced Diagnostics / Textiles |
| 47 | 729 Window Film (Standard) / Textiles |
| 48 | 730 Roof Insulation / Textiles |
| 49 | 731 Cool Roof - DX / Textiles |
| 50 | 802 CFL Hardwired, Modular 18W / Textiles |
| 51 | 805 Occupancy Sensor / Textiles |
| 52 | 902 Membranes for wastewater / Textiles |
| 53 | 107 Comp Air - Motor practices-1 (1-5 HP) / Lumber |
| 54 | 110 Comp Air - Motor practices-1 (6-100 HP) / Lumber |
| 55 | 111 Comp Air - Replace 100+ HP motor / Lumber |
| 56 | 202 Fans - Controls / Lumber |
| 57 | 203 Fans - System Optimization / Lumber |
| 58 | 207 Fans - Motor practices-1 (1-5 HP) / Lumber |
| 59 | 210 Fans - Motor practices-1 (6-100 HP) / Lumber |
| 60 | 211 Fans - Replace 100+ HP motor / Lumber |
| 61 | 214 Optimize drying process / Lumber |
| 62 | 307 Pumps - Motor practices-1 (1-5 HP) / Lumber |
| 63 | 310 Pumps - Motor practices-1 (6-100 HP) / Lumber |
| 64 | 311 Pumps - Replace 100+ HP motor / Lumber |
| 65 | 405 Drives - EE motor / Lumber |
| 66 | 503 Heat Pumps - Drying / Lumber |
| 67 | 702 High Efficiency Chiller Motors / Lumber |
| 68 | 703 EMS - Chiller / Lumber |
| 69 | 704 Chiller Tune Up/Diagnostics / Lumber |
| 70 | 709 Window Film (Standard) - Chiller / Lumber |
| 71 | 710 Roof Insulation - Chiller / Lumber |
| 72 | 721 DX Packaged System, EER=10.9, 10 tons / Lumber |
| 73 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Lumber |
| 74 | 724 DX Tune Up/ Advanced Diagnostics / Lumber |
| 75 | 729 Window Film (Standard) / Lumber |
| 76 | 730 Roof Insulation / Lumber |
| 77 | 731 Cool Roof - DX / Lumber |
| 78 | 802 CFL Hardwired, Modular 18W / Lumber |
| 79 | 805 Occupancy Sensor / Lumber |
| 80 | 107 Comp Air - Motor practices-1 (1-5 HP) / Paper |
| 81 | 110 Comp Air - Motor practices-1 (6-100 HP) / Paper |
| 82 | 111 Comp Air - Replace 100+ HP motor / Paper |
| 83 | 202 Fans - Controls / Paper |
| 84 | 203 Fans - System Optimization / Paper |
| 85 | 207 Fans - Motor practices-1 (1-5 HP) / Paper |
| 86 | 210 Fans - Motor practices-1 (6-100 HP) / Paper |
| 87 | 211 Fans - Replace 100+ HP motor / Paper |
| 88 | 307 Pumps - Motor practices-1 (1-5 HP) / Paper |
| 89 | 310 Pumps - Motor practices-1 (6-100 HP) / Paper |
| 90 | 311 Pumps - Replace 100+ HP motor / Paper |
| 91 | 405 Drives - EE motor / Paper |
| 92 | 408 Optimization control PM / Paper |
| 93 | 702 High Efficiency Chiller Motors / Paper |
| 94 | 703 EMS - Chiller / Paper |
| 95 | 704 Chiller Tune Up/Diagnostics / Paper |
| 96 | 709 Window Film (Standard) - Chiller / Paper |
| 97 | 710 Roof Insulation - Chiller / Paper |
| 98 | 721 DX Packaged System, EER=10.9, 10 tons / Paper |
| 99 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Paper |
| 100 | 724 DX Tune Up/ Advanced Diagnostics / Paper |
| 101 | 729 Window Film (Standard) / Paper |
| 102 | 730 Roof Insulation / Paper |
| 103 | 731 Cool Roof - DX / Paper |
| 104 | 802 CFL Hardwired, Modular 18W / Paper |
| 105 | 805 Occupancy Sensor / Paper |
| 106 | 107 Comp Air - Motor practices-1 (1-5 HP) / Printing |
| 107 | 110 Comp Air - Motor practices-1 (6-100 HP) / Printing |
| 108 | 111 Comp Air - Replace 100+ HP motor / Printing |
| 109 | 202 Fans - Controls / Printing |
| 110 | 203 Fans - System Optimization / Printing |
| 111 | 207 Fans - Motor practices-1 (1-5 HP) / Printing |
| 112 | 210 Fans - Motor practices-1 (6-100 HP) / Printing |
| 113 | 211 Fans - Replace 100+ HP motor / Printing |
| 114 | 307 Pumps - Motor practices-1 (1-5 HP) / Printing |
| 115 | 310 Pumps - Motor practices-1 (6-100 HP) / Printing |
| 116 | 311 Pumps - Replace 100+ HP motor / Printing |
| 117 | 410 Efficient Printing press (fewer cylinders) / Printing |
| 118 | 702 High Efficiency Chiller Motors / Printing |
| 119 | 703 EMS - Chiller / Printing |
| 120 | 704 Chiller Tune Up/Diagnostics / Printing |
| 121 | 709 Window Film (Standard) - Chiller / Printing |
| 122 | 710 Roof Insulation - Chiller / Printing |
| 123 | 721 DX Packaged System, EER=10.9, 10 tons / Printing |
| 124 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Printing |
| 125 | 724 DX Tune Up/ Advanced Diagnostics / Printing |
| 126 | 729 Window Film (Standard) / Printing |
| 127 | 730 Roof Insulation / Printing |
| 128 | 731 Cool Roof - DX / Printing |
| 129 | 802 CFL Hardwired, Modular 18W / Printing |
| 130 | 805 Occupancy Sensor / Printing |
| 131 | 107 Comp Air - Motor practices-1 (1-5 HP) / Chemicals |
| 132 | 110 Comp Air - Motor practices-1 (6-100 HP) / Chemicals |
| 133 | 111 Comp Air - Replace 100+ HP motor / Chemicals |
| 134 | 202 Fans - Controls / Chemicals |
| 135 | 203 Fans - System Optimization / Chemicals |
| 136 | 207 Fans - Motor practices-1 (1-5 HP) / Chemicals |
| 137 | 210 Fans - Motor practices-1 (6-100 HP) / Chemicals |
| 138 | 211 Fans - Replace 100+ HP motor / Chemicals |
| 139 | 307 Pumps - Motor practices-1 (1-5 HP) / Chemicals |
| 140 | 310 Pumps - Motor practices-1 (6-100 HP) / Chemicals |
| 141 | 311 Pumps - Replace 100+ HP motor / Chemicals |
| 142 | 413 Clean Room - Controls / Chemicals |
| 143 | 414 Clean Room - New Designs / Chemicals |
| 144 | 415 Drives - Process Controls (batch + site) / Chemicals |
| 145 | 416 Process Drives - ASD / Chemicals |
| 146 | 601 Other Process Controls (batch + site) / Chemicals |
| 147 | 702 High Efficiency Chiller Motors / Chemicals |
| 148 | 703 EMS - Chiller / Chemicals |
| 149 | 704 Chiller Tune Up/Diagnostics / Chemicals |
| 150 | 709 Window Film (Standard) - Chiller / Chemicals |
| 151 | 710 Roof Insulation - Chiller / Chemicals |
| 152 | 721 DX Packaged System, EER=10.9, 10 tons / Chemicals |
| 153 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Chemicals |
| 154 | 724 DX Tune Up/ Advanced Diagnostics / Chemicals |
| 155 | 729 Window Film (Standard) / Chemicals |
| 156 | 730 Roof Insulation / Chemicals |
| 157 | 731 Cool Roof - DX / Chemicals |
| 158 | 802 CFL Hardwired, Modular 18W / Chemicals |
| 159 | 805 Occupancy Sensor / Chemicals |
| 160 | 107 Comp Air - Motor practices-1 (1-5 HP) / Petroleum |
| 161 | 110 Comp Air - Motor practices-1 (6-100 HP) / Petroleum |
| 162 | 111 Comp Air - Replace 100+ HP motor / Petroleum |
| 163 | 114 Power recovery / Petroleum |
| 164 | 202 Fans - Controls / Petroleum |
| 165 | 203 Fans - System Optimization / Petroleum |
| 166 | 207 Fans - Motor practices-1 (1-5 HP) / Petroleum |
| 167 | 210 Fans - Motor practices-1 (6-100 HP) / Petroleum |
| 168 | 211 Fans - Replace 100+ HP motor / Petroleum |
| 169 | 215 Power recovery / Petroleum |
| 170 | 307 Pumps - Motor practices-1 (1-5 HP) / Petroleum |
| 171 | 310 Pumps - Motor practices-1 (6-100 HP) / Petroleum |
| 172 | 311 Pumps - Replace 100+ HP motor / Petroleum |
| 173 | 314 Power recovery / Petroleum |
| 174 | 602 Efficient desalter / Petroleum |
| 175 | 606 Power recovery / Petroleum |
| 176 | 702 High Efficiency Chiller Motors / Petroleum |
| 177 | 703 EMS - Chiller / Petroleum |
| 178 | 704 Chiller Tune Up/Diagnostics / Petroleum |
| 179 | 709 Window Film (Standard) - Chiller / Petroleum |
| 180 | 710 Roof Insulation - Chiller / Petroleum |
| 181 | 721 DX Packaged System, EER=10.9, 10 tons / Petroleum |
| 182 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Petroleum |
| 183 | 724 DX Tune Up/ Advanced Diagnostics / Petroleum |
| 184 | 729 Window Film (Standard) / Petroleum |
| 185 | 730 Roof Insulation / Petroleum |
| 186 | 731 Cool Roof - DX / Petroleum |
| 187 | 802 CFL Hardwired, Modular 18W / Petroleum |
| 188 | 805 Occupancy Sensor / Petroleum |
| 189 | 107 Comp Air - Motor practices-1 (1-5 HP) / Rubber-Plastics |
| 190 | 110 Comp Air - Motor practices-1 (6-100 HP) / Rubber-Plastics |
| 191 | 111 Comp Air - Replace 100+ HP motor / Rubber-Plastics |
| 192 | 202 Fans - Controls / Rubber-Plastics |
| 193 | 203 Fans - System Optimization / Rubber-Plastics |
| 194 | 207 Fans - Motor practices-1 (1-5 HP) / Rubber-Plastics |
| 195 | 210 Fans - Motor practices-1 (6-100 HP) / Rubber-Plastics |
| 196 | 211 Fans - Replace 100+ HP motor / Rubber-Plastics |
| 197 | 307 Pumps - Motor practices-1 (1-5 HP) / Rubber-Plastics |
| 198 | 310 Pumps - Motor practices-1 (6-100 HP) / Rubber-Plastics |
| 199 | 311 Pumps - Replace 100+ HP motor / Rubber-Plastics |
| 200 | 418 Extruders/injection Moulding-multipump / Rubber-Plastics |
| 201 | 419 Direct drive Extruders / Rubber-Plastics |
| 202 | 420 Injection Moulding - Impulse Cooling / Rubber-Plastics |
| 203 | 421 Injection Moulding - Direct drive / Rubber-Plastics |
| 204 | 702 High Efficiency Chiller Motors / Rubber-Plastics |
| 205 | 703 EMS - Chiller / Rubber-Plastics |
| 206 | 704 Chiller Tune Up/Diagnostics / Rubber-Plastics |
| 207 | 709 Window Film (Standard) - Chiller / Rubber-Plastics |
| 208 | 710 Roof Insulation - Chiller / Rubber-Plastics |
| 209 | 721 DX Packaged System, EER=10.9, 10 tons / Rubber-Plastics |
| 210 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Rubber-Plastics |
| 211 | 724 DX Tune Up/ Advanced Diagnostics / Rubber-Plastics |
| 212 | 729 Window Film (Standard) / Rubber-Plastics |
| 213 | 730 Roof Insulation / Rubber-Plastics |
| 214 | 731 Cool Roof - DX / Rubber-Plastics |
| 215 | 802 CFL Hardwired, Modular 18W / Rubber-Plastics |
| 216 | 805 Occupancy Sensor / Rubber-Plastics |
| 217 | 107 Comp Air - Motor practices-1 (1-5 HP) / Stone-Clay-Glass |
| 218 | 110 Comp Air - Motor practices-1 (6-100 HP) / Stone-Clay-Glass |
| 219 | 111 Comp Air - Replace 100+ HP motor / Stone-Clay-Glass |
| 220 | 202 Fans - Controls / Stone-Clay-Glass |
| 221 | 203 Fans - System Optimization / Stone-Clay-Glass |
| 222 | 207 Fans - Motor practices-1 (1-5 HP) / Stone-Clay-Glass |
| 223 | 210 Fans - Motor practices-1 (6-100 HP) / Stone-Clay-Glass |
| 224 | 211 Fans - Replace 100+ HP motor / Stone-Clay-Glass |
| 225 | 307 Pumps - Motor practices-1 (1-5 HP) / Stone-Clay-Glass |
| 226 | 310 Pumps - Motor practices-1 (6-100 HP) / Stone-Clay-Glass |
| 227 | 311 Pumps - Replace 100+ HP motor / Stone-Clay-Glass |
| 228 | 424 Process optimization / Stone-Clay-Glass |
| 229 | 702 High Efficiency Chiller Motors / Stone-Clay-Glass |
| 230 | 703 EMS - Chiller / Stone-Clay-Glass |
| 231 | 704 Chiller Tune Up/Diagnostics / Stone-Clay-Glass |
| 232 | 709 Window Film (Standard) - Chiller / Stone-Clay-Glass |
| 233 | 710 Roof Insulation - Chiller / Stone-Clay-Glass |
| 234 | 721 DX Packaged System, EER=10.9, 10 tons / Stone-Clay-Glass |
| 235 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Stone-Clay-Glass |
| 236 | 724 DX Tune Up/ Advanced Diagnostics / Stone-Clay-Glass |
| 237 | 729 Window Film (Standard) / Stone-Clay-Glass |
| 238 | 730 Roof Insulation / Stone-Clay-Glass |
| 239 | 731 Cool Roof - DX / Stone-Clay-Glass |
| 240 | 802 CFL Hardwired, Modular 18W / Stone-Clay-Glass |
| 241 | 805 Occupancy Sensor / Stone-Clay-Glass |
| 242 | 107 Comp Air - Motor practices-1 (1-5 HP) / Primary Metals |
| 243 | 110 Comp Air - Motor practices-1 (6-100 HP) / Primary Metals |
| 244 | 111 Comp Air - Replace 100+ HP motor / Primary Metals |
| 245 | 202 Fans - Controls / Primary Metals |
| 246 | 203 Fans - System Optimization / Primary Metals |
| 247 | 207 Fans - Motor practices-1 (1-5 HP) / Primary Metals |
| 248 | 210 Fans - Motor practices-1 (6-100 HP) / Primary Metals |
| 249 | 211 Fans - Replace 100+ HP motor / Primary Metals |
| 250 | 307 Pumps - Motor practices-1 (1-5 HP) / Primary Metals |
| 251 | 310 Pumps - Motor practices-1 (6-100 HP) / Primary Metals |
| 252 | 311 Pumps - Replace 100+ HP motor / Primary Metals |
| 253 | 415 Drives - Process Controls (batch + site) / Primary Metals |
| 254 | 425 Drives - Process Control / Primary Metals |
| 255 | 505 Efficient electric melting / Primary Metals |
| 256 | 508 Heating - Process Control / Primary Metals |
| 257 | 702 High Efficiency Chiller Motors / Primary Metals |
| 258 | 703 EMS - Chiller / Primary Metals |
| 259 | 704 Chiller Tune Up/Diagnostics / Primary Metals |
| 260 | 709 Window Film (Standard) - Chiller / Primary Metals |
| 261 | 710 Roof Insulation - Chiller / Primary Metals |
| 262 | 721 DX Packaged System, EER=10.9, 10 tons / Primary Metals |
| 263 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Primary Metals |
| 264 | 724 DX Tune Up/ Advanced Diagnostics / Primary Metals |
| 265 | 729 Window Film (Standard) / Primary Metals |
| 266 | 730 Roof Insulation / Primary Metals |
| 267 | 731 Cool Roof - DX / Primary Metals |
| 268 | 802 CFL Hardwired, Modular 18W / Primary Metals |
| 269 | 805 Occupancy Sensor / Primary Metals |
| 270 | 107 Comp Air - Motor practices-1 (1-5 HP) / Fab Metals |
| 271 | 110 Comp Air - Motor practices-1 (6-100 HP) / Fab Metals |
| 272 | 111 Comp Air - Replace 100+ HP motor / Fab Metals |
| 273 | 202 Fans - Controls / Fab Metals |
| 274 | 203 Fans - System Optimization / Fab Metals |
| 275 | 207 Fans - Motor practices-1 (1-5 HP) / Fab Metals |
| 276 | 210 Fans - Motor practices-1 (6-100 HP) / Fab Metals |
| 277 | 211 Fans - Replace 100+ HP motor / Fab Metals |
| 278 | 307 Pumps - Motor practices-1 (1-5 HP) / Fab Metals |
| 279 | 310 Pumps - Motor practices-1 (6-100 HP) / Fab Metals |
| 280 | 311 Pumps - Replace 100+ HP motor / Fab Metals |
| 281 | 428 Drives - Scheduling / Fab Metals |
| 282 | 509 Efficient Curing ovens / Fab Metals |
| 283 | 511 Heating - Scheduling / Fab Metals |
| 284 | 603 New transformers welding / Fab Metals |
| 285 | 702 High Efficiency Chiller Motors / Fab Metals |
| 286 | 703 EMS - Chiller / Fab Metals |
| 287 | 704 Chiller Tune Up/Diagnostics / Fab Metals |
| 288 | 709 Window Film (Standard) - Chiller / Fab Metals |
| 289 | 710 Roof Insulation - Chiller / Fab Metals |
| 290 | 721 DX Packaged System, EER=10.9, 10 tons / Fab Metals |
| 291 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Fab Metals |
| 292 | 724 DX Tune Up/ Advanced Diagnostics / Fab Metals |
| 293 | 729 Window Film (Standard) / Fab Metals |
| 294 | 730 Roof Insulation / Fab Metals |
| 295 | 731 Cool Roof - DX / Fab Metals |
| 296 | 802 CFL Hardwired, Modular 18W / Fab Metals |
| 297 | 805 Occupancy Sensor / Fab Metals |
| 298 | 107 Comp Air - Motor practices-1 (1-5 HP) / Ind Machinery |
| 299 | 110 Comp Air - Motor practices-1 (6-100 HP) / Ind Machinery |
| 300 | 111 Comp Air - Replace 100+ HP motor / Ind Machinery |
| 301 | 202 Fans - Controls / Ind Machinery |
| 302 | 203 Fans - System Optimization / Ind Machinery |
| 303 | 207 Fans - Motor practices-1 (1-5 HP) / Ind Machinery |
| 304 | 210 Fans - Motor practices-1 (6-100 HP) / Ind Machinery |
| 305 | 211 Fans - Replace 100+ HP motor / Ind Machinery |
| 306 | 307 Pumps - Motor practices-1 (1-5 HP) / Ind Machinery |
| 307 | 310 Pumps - Motor practices-1 (6-100 HP) / Ind Machinery |
| 308 | 311 Pumps - Replace 100+ HP motor / Ind Machinery |
| 309 | 428 Drives - Scheduling / Ind Machinery |
| 310 | 509 Efficient Curing ovens / Ind Machinery |
| 311 | 511 Heating - Scheduling / Ind Machinery |
| 312 | 603 New transformers welding / Ind Machinery |
| 313 | 702 High Efficiency Chiller Motors / Ind Machinery |
| 314 | 703 EMS - Chiller / Ind Machinery |
| 315 | 704 Chiller Tune Up/Diagnostics / Ind Machinery |
| 316 | 709 Window Film (Standard) - Chiller / Ind Machinery |
| 317 | 710 Roof Insulation - Chiller / Ind Machinery |
| 318 | 721 DX Packaged System, EER=10.9, 10 tons / Ind Machinery |
| 319 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Ind Machinery |
| 320 | 724 DX Tune Up/ Advanced Diagnostics / Ind Machinery |
| 321 | 729 Window Film (Standard) / Ind Machinery |
| 322 | 730 Roof Insulation / Ind Machinery |
| 323 | 731 Cool Roof - DX / Ind Machinery |
| 324 | 802 CFL Hardwired, Modular 18W / Ind Machinery |
| 325 | 805 Occupancy Sensor / Ind Machinery |
| 326 | 107 Comp Air - Motor practices-1 (1-5 HP) / Electronics |
| 327 | 110 Comp Air - Motor practices-1 (6-100 HP) / Electronics |
| 328 | 111 Comp Air - Replace 100+ HP motor / Electronics |
| 329 | 202 Fans - Controls / Electronics |
| 330 | 203 Fans - System Optimization / Electronics |
| 331 | 207 Fans - Motor practices-1 (1-5 HP) / Electronics |
| 332 | 210 Fans - Motor practices-1 (6-100 HP) / Electronics |
| 333 | 211 Fans - Replace 100+ HP motor / Electronics |
| 334 | 307 Pumps - Motor practices-1 (1-5 HP) / Electronics |
| 335 | 310 Pumps - Motor practices-1 (6-100 HP) / Electronics |
| 336 | 311 Pumps - Replace 100+ HP motor / Electronics |
| 337 | 413 Clean Room - Controls / Electronics |
| 338 | 428 Drives - Scheduling / Electronics |
| 339 | 429 Machinery / Electronics |
| 340 | 509 Efficient Curing ovens / Electronics |
| 341 | 604 Efficient processes (welding, etc.) / Electronics |
| 342 | 702 High Efficiency Chiller Motors / Electronics |
| 343 | 703 EMS - Chiller / Electronics |
| 344 | 704 Chiller Tune Up/Diagnostics / Electronics |
| 345 | 709 Window Film (Standard) - Chiller / Electronics |
| 346 | 710 Roof Insulation - Chiller / Electronics |
| 347 | 721 DX Packaged System, EER=10.9, 10 tons / Electronics |
| 348 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Electronics |
| 349 | 724 DX Tune Up/ Advanced Diagnostics / Electronics |
| 350 | 729 Window Film (Standard) / Electronics |
| 351 | 730 Roof Insulation / Electronics |
| 352 | 731 Cool Roof - DX / Electronics |
| 353 | 802 CFL Hardwired, Modular 18W / Electronics |
| 354 | 805 Occupancy Sensor / Electronics |
| 355 | 107 Comp Air - Motor practices-1 (1-5 HP) / Transp Eqp |
| 356 | 110 Comp Air - Motor practices-1 (6-100 HP) / Transp Eqp |
| 357 | 111 Comp Air - Replace 100+ HP motor / Transp Eqp |
| 358 | 202 Fans - Controls / Transp Eqp |
| 359 | 203 Fans - System Optimization / Transp Eqp |
| 360 | 207 Fans - Motor practices-1 (1-5 HP) / Transp Eqp |
| 361 | 210 Fans - Motor practices-1 (6-100 HP) / Transp Eqp |
| 362 | 211 Fans - Replace 100+ HP motor / Transp Eqp |
| 363 | 307 Pumps - Motor practices-1 (1-5 HP) / Transp Eqp |
| 364 | 310 Pumps - Motor practices-1 (6-100 HP) / Transp Eqp |
| 365 | 311 Pumps - Replace 100+ HP motor / Transp Eqp |
| 366 | 428 Drives - Scheduling / Transp Eqp |
| 367 | 509 Efficient Curing ovens / Transp Eqp |
| 368 | 603 New transformers welding / Transp Eqp |
| 369 | 702 High Efficiency Chiller Motors / Transp Eqp |
| 370 | 703 EMS - Chiller / Transp Eqp |
| 371 | 704 Chiller Tune Up/Diagnostics / Transp Eqp |
| 372 | 709 Window Film (Standard) - Chiller / Transp Eqp |
| 373 | 710 Roof Insulation - Chiller / Transp Eqp |
| 374 | 721 DX Packaged System, EER=10.9, 10 tons / Transp Eqp |
| 375 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Transp Eqp |
| 376 | 724 DX Tune Up/ Advanced Diagnostics / Transp Eqp |
| 377 | 729 Window Film (Standard) / Transp Eqp |
| 378 | 730 Roof Insulation / Transp Eqp |
| 379 | 731 Cool Roof - DX / Transp Eqp |
| 380 | 802 CFL Hardwired, Modular 18W / Transp Eqp |
| 381 | 805 Occupancy Sensor / Transp Eqp |
| 382 | 107 Comp Air - Motor practices-1 (1-5 HP) / Instruments |
| 383 | 110 Comp Air - Motor practices-1 (6-100 HP) / Instruments |
| 384 | 111 Comp Air - Replace 100+ HP motor / Instruments |
| 385 | 202 Fans - Controls / Instruments |
| 386 | 203 Fans - System Optimization / Instruments |
| 387 | 207 Fans - Motor practices-1 (1-5 HP) / Instruments |
| 388 | 210 Fans - Motor practices-1 (6-100 HP) / Instruments |
| 389 | 211 Fans - Replace 100+ HP motor / Instruments |
| 390 | 307 Pumps - Motor practices-1 (1-5 HP) / Instruments |
| 391 | 310 Pumps - Motor practices-1 (6-100 HP) / Instruments |
| 392 | 311 Pumps - Replace 100+ HP motor / Instruments |
| 393 | 428 Drives - Scheduling / Instruments |
| 394 | 509 Efficient Curing ovens / Instruments |
| 395 | 603 New transformers welding / Instruments |
| 396 | 702 High Efficiency Chiller Motors / Instruments |
| 397 | 703 EMS - Chiller / Instruments |
| 398 | 704 Chiller Tune Up/Diagnostics / Instruments |
| 399 | 709 Window Film (Standard) - Chiller / Instruments |
| 400 | 710 Roof Insulation - Chiller / Instruments |
| 401 | 721 DX Packaged System, EER=10.9, 10 tons / Instruments |
| 402 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Instruments |
| 403 | 724 DX Tune Up/ Advanced Diagnostics / Instruments |
| 404 | 729 Window Film (Standard) / Instruments |
| 405 | 730 Roof Insulation / Instruments |
| 406 | 731 Cool Roof - DX / Instruments |
| 407 | 802 CFL Hardwired, Modular 18W / Instruments |
| 408 | 805 Occupancy Sensor / Instruments |
| 409 | 107 Comp Air - Motor practices-1 (1-5 HP) / Misc |
| 410 | 110 Comp Air - Motor practices-1 (6-100 HP) / Misc |
| 411 | 111 Comp Air - Replace 100+ HP motor / Misc |
| 412 | 202 Fans - Controls / Misc |
| 413 | 203 Fans - System Optimization / Misc |
| 414 | 207 Fans - Motor practices-1 (1-5 HP) / Misc |
| 415 | 210 Fans - Motor practices-1 (6-100 HP) / Misc |
| 416 | 211 Fans - Replace 100+ HP motor / Misc |
| 417 | 307 Pumps - Motor practices-1 (1-5 HP) / Misc |
| 418 | 310 Pumps - Motor practices-1 (6-100 HP) / Misc |
| 419 | 311 Pumps - Replace 100+ HP motor / Misc |
| 420 | 416 Process Drives - ASD / Misc |
| 421 | 428 Drives - Scheduling / Misc |
| 422 | 430 Efficient Machinery / Misc |
| 423 | 509 Efficient Curing ovens / Misc |
| 424 | 605 Process control / Misc |
| 425 | 702 High Efficiency Chiller Motors / Misc |
| 426 | 703 EMS - Chiller / Misc |
| 427 | 704 Chiller Tune Up/Diagnostics / Misc |
| 428 | 709 Window Film (Standard) - Chiller / Misc |
| 429 | 710 Roof Insulation - Chiller / Misc |
| 430 | 721 DX Packaged System, EER=10.9, 10 tons / Misc |
| 431 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Misc |
| 432 | 724 DX Tune Up/ Advanced Diagnostics / Misc |
| 433 | 729 Window Film (Standard) / Misc |
| 434 | 730 Roof Insulation / Misc |
| 435 | 731 Cool Roof - DX / Misc |
| 436 | 802 CFL Hardwired, Modular 18W / Misc |
| 437 | 805 Occupancy Sensor / Misc |
| 438 | 806 LED Linear Tube 22W (per unit) / All |
| 439 | 807 Flood LED 14W (per unit) / All |
| 440 | 808 LED High Bay 83W (per unit) / All |
| 441 | 732 Run Time Optimizer / All |
| 442 | 733 Dehumidification Hybrid Desiccant Heat Pump PER 5 TON / All |
|  |  |
| **Measures Failing** | |
| **#** | **Measure Name** |
| **Residential** | |
| 1 | 100 102 15 SEER Split-System Air Conditioner / Single Detached |
| 2 | 100 103 17 SEER Split-System Air Conditioner / Single Detached |
| 3 | 100 104 19 SEER Split-System Air Conditioner / Single Detached |
| 4 | 100 105 14 SEER Split-System Heat Pump / Single Detached |
| 5 | 100 107 17 SEER Split-System Heat Pump / Single Detached |
| 6 | 100 108 13 EER Geothermal Heat Pump / Single Detached |
| 7 | 100 110 Attic Venting / Single Detached |
| 8 | 100 111 Sealed Attic w/Sprayed Foam Insulated Roof Deck / Single Detached |
| 9 | 100 112 AC Maintenance (Outdoor Coil Cleaning) / Single Detached |
| 10 | 100 113 AC Maintenance (Indoor Coil Cleaning) / Single Detached |
| 11 | 100 114 Proper Refrigerant Charging and Air Flow / Single Detached |
| 12 | 100 117 Reflective Roof / Single Detached |
| 13 | 100 118 Radiant Barrier / Single Detached |
| 14 | 100 120 Window Tinting / Single Detached |
| 15 | 100 125 Ceiling R-19 to R-38 Insulation / Single Detached |
| 16 | 100 126 Wall 2x4 R-0 to Blow-In R-13 Insulation / Single Detached |
| 17 | 100 127 Weather Strip/Caulk w/Blower Door / Single Detached |
| 18 | 130 133 17 SEER Split-System Heat Pump / Single Detached |
| 19 | 130 134 13 EER Geothermal Heat Pump / Single Detached |
| 20 | 130 137 Sealed Attics / Single Detached |
| 21 | 130 139 AC Maintenance (Indoor Coil Cleaning) / Single Detached |
| 22 | 130 140 Proper Refrigerant Charging and Air Flow / Single Detached |
| 23 | 130 143 Reflective Roof / Single Detached |
| 24 | 130 144 Radiant Barrier / Single Detached |
| 25 | 130 146 Window Tinting / Single Detached |
| 26 | 130 151 Ceiling R-19 to R-38 Insulation / Single Detached |
| 27 | 130 152 Wall 2x4 R-0 to Blow-In R-13 Insulation / Single Detached |
| 28 | 130 153 Weather Strip/Caulk w/Blower Door / Single Detached |
| 29 | 190 196 Reflective Roof / Single Detached |
| 30 | 190 197 Window Film / Single Detached |
| 31 | 190 198 Window Tinting / Single Detached |
| 32 | 190 199 Default Window With Sunscreen / Single Detached |
| 33 | 190 200 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached |
| 34 | 190 203 Ceiling R-19 to R-38 Insulation / Single Detached |
| 35 | 190 204 Wall 2x4 R-0 to Blow-In R-13 Insulation / Single Detached |
| 36 | 190 205 Weather Strip/Caulk w/Blower Door / Single Detached |
| 37 | 230 231 CFL (18-Watt integral ballast), 2.5 hr/day / Single Detached |
| 38 | 240 241 CFL (18-Watt integral ballast), 6.0 hr/day / Single Detached |
| 39 | 250 251 ROB 2L4'T8, 1EB / Single Detached |
| 40 | 250 252 RET 2L4'T8, 1EB / Single Detached |
| 41 | 260 261 CFL - medium screw based <30 Watts / Single Detached |
| 42 | 350 351 HE Freezer / Single Detached |
| 43 | 400 403 Solar Water Heat / Single Detached |
| 44 | 400 404 AC Heat Recovery Units / Single Detached |
| 45 | 400 405 Low Flow Showerhead / Single Detached |
| 46 | 400 406 Pipe Wrap / Single Detached |
| 47 | 400 407 Faucet Aerators / Single Detached |
| 48 | 400 408 Water Heater Blanket / Single Detached |
| 49 | 400 409 Water Heater Temperature Check and Adjustment / Single Detached |
| 50 | 400 411 Heat Trap / Single Detached |
| 51 | 500 502 Energy Star CW CEE Tier 2 (MEF=2.0) / Single Detached |
| 52 | 500 503 Energy Star CW CEE Tier 3 (MEF=2.2) / Single Detached |
| 53 | 700 701 Energy Star DW (EF=0.68) / Single Detached |
| 54 | 800 801 Two Speed Pool Pump (1.5 hp) / Single Detached |
| 55 | 800 802 High Efficiency One Speed Pool Pump (1.5 hp) / Single Detached |
| 56 | 800 804 PV-Powered Pool Pumps / Single Detached |
| 57 | 900 901 Energy Star TV / Single Detached |
| 58 | 910 911 Energy Star TV / Single Detached |
| 59 | 920 921 Energy Star Set-Top Box / Single Detached |
| 60 | 930 931 Energy Star DVD Player / Single Detached |
| 61 | 940 941 Energy Star VCR / Single Detached |
| 62 | 950 951 Energy Star Desktop PC / Single Detached |
| 63 | 960 961 Energy Star Laptop PC / Single Detached |
| 64 | 100 102 15 SEER Split-System Air Conditioner / Multi Attached |
| 65 | 100 103 17 SEER Split-System Air Conditioner / Multi Attached |
| 66 | 100 104 19 SEER Split-System Air Conditioner / Multi Attached |
| 67 | 100 106 15 SEER Split-System Heat Pump / Multi Attached |
| 68 | 100 107 17 SEER Split-System Heat Pump / Multi Attached |
| 69 | 100 108 13 EER Geothermal Heat Pump / Multi Attached |
| 70 | 100 110 Attic Venting / Multi Attached |
| 71 | 100 111 Sealed Attic w/Sprayed Foam Insulated Roof Deck / Multi Attached |
| 72 | 100 112 AC Maintenance (Outdoor Coil Cleaning) / Multi Attached |
| 73 | 100 113 AC Maintenance (Indoor Coil Cleaning) / Multi Attached |
| 74 | 100 114 Proper Refrigerant Charging and Air Flow / Multi Attached |
| 75 | 100 117 Reflective Roof / Multi Attached |
| 76 | 100 118 Radiant Barrier / Multi Attached |
| 77 | 100 121 Default Window With Sunscreen / Multi Attached |
| 78 | 100 125 Ceiling R-19 to R-38 Insulation / Multi Attached |
| 79 | 100 126 Wall 2x4 R-0 to Blow-In R-13 Insulation / Multi Attached |
| 80 | 100 127 Weather Strip/Caulk w/Blower Door / Multi Attached |
| 81 | 130 132 15 SEER Split-System Heat Pump / Multi Attached |
| 82 | 130 133 17 SEER Split-System Heat Pump / Multi Attached |
| 83 | 130 134 13 EER Geothermal Heat Pump / Multi Attached |
| 84 | 130 136 Attic Venting / Multi Attached |
| 85 | 130 137 Sealed Attics / Multi Attached |
| 86 | 130 138 AC Maintenance (Outdoor Coil Cleaning) / Multi Attached |
| 87 | 130 139 AC Maintenance (Indoor Coil Cleaning) / Multi Attached |
| 88 | 130 141 Electronically Commutated Motors (ECM) on an Air Handler Unit / Multi Attached |
| 89 | 130 143 Reflective Roof / Multi Attached |
| 90 | 130 144 Radiant Barrier / Multi Attached |
| 91 | 130 151 Ceiling R-19 to R-38 Insulation / Multi Attached |
| 92 | 130 152 Wall 2x4 R-0 to Blow-In R-13 Insulation / Multi Attached |
| 93 | 130 153 Weather Strip/Caulk w/Blower Door / Multi Attached |
| 94 | 190 196 Reflective Roof / Multi Attached |
| 95 | 190 197 Window Film / Multi Attached |
| 96 | 190 199 Default Window With Sunscreen / Multi Attached |
| 97 | 190 202 Ceiling R-0 to R-19 Insulation / Multi Attached |
| 98 | 190 203 Ceiling R-19 to R-38 Insulation / Multi Attached |
| 99 | 190 204 Wall 2x4 R-0 to Blow-In R-13 Insulation / Multi Attached |
| 100 | 190 205 Weather Strip/Caulk w/Blower Door / Multi Attached |
| 101 | 230 231 CFL (18-Watt integral ballast), 2.5 hr/day / Multi Attached |
| 102 | 240 241 CFL (18-Watt integral ballast), 6.0 hr/day / Multi Attached |
| 103 | 250 251 ROB 2L4'T8, 1EB / Multi Attached |
| 104 | 250 252 RET 2L4'T8, 1EB / Multi Attached |
| 105 | 260 261 CFL - medium screw based <30 Watts / Multi Attached |
| 106 | 400 401 Heat Pump Water Heater (EF=2.9) / Multi Attached |
| 107 | 400 403 Solar Water Heat / Multi Attached |
| 108 | 400 404 AC Heat Recovery Units / Multi Attached |
| 109 | 400 405 Low Flow Showerhead / Multi Attached |
| 110 | 400 406 Pipe Wrap / Multi Attached |
| 111 | 400 407 Faucet Aerators / Multi Attached |
| 112 | 400 408 Water Heater Blanket / Multi Attached |
| 113 | 400 409 Water Heater Temperature Check and Adjustment / Multi Attached |
| 114 | 400 411 Heat Trap / Multi Attached |
| 115 | 500 502 Energy Star CW CEE Tier 2 (MEF=2.0) / Multi Attached |
| 116 | 500 503 Energy Star CW CEE Tier 3 (MEF=2.2) / Multi Attached |
| 117 | 700 701 Energy Star DW (EF=0.68) / Multi Attached |
| 118 | 800 801 Two Speed Pool Pump (1.5 hp) / Multi Attached |
| 119 | 800 802 High Efficiency One Speed Pool Pump (1.5 hp) / Multi Attached |
| 120 | 800 804 PV-Powered Pool Pumps / Multi Attached |
| 121 | 900 901 Energy Star TV / Multi Attached |
| 122 | 910 911 Energy Star TV / Multi Attached |
| 123 | 920 921 Energy Star Set-Top Box / Multi Attached |
| 124 | 930 931 Energy Star DVD Player / Multi Attached |
| 125 | 940 941 Energy Star VCR / Multi Attached |
| 126 | 950 951 Energy Star Desktop PC / Multi Attached |
| 127 | 960 961 Energy Star Laptop PC / Multi Attached |
| 128 | 100 102 15 SEER Split-System Air Conditioner / Single Detached - Manufactured |
| 129 | 100 103 17 SEER Split-System Air Conditioner / Single Detached - Manufactured |
| 130 | 100 104 19 SEER Split-System Air Conditioner / Single Detached - Manufactured |
| 131 | 100 107 17 SEER Split-System Heat Pump / Single Detached - Manufactured |
| 132 | 100 108 13 EER Geothermal Heat Pump / Single Detached - Manufactured |
| 133 | 100 110 Attic Venting / Single Detached - Manufactured |
| 134 | 100 111 Sealed Attic w/Sprayed Foam Insulated Roof Deck / Single Detached - Manufactured |
| 135 | 100 114 Proper Refrigerant Charging and Air Flow / Single Detached - Manufactured |
| 136 | 100 117 Reflective Roof / Single Detached - Manufactured |
| 137 | 100 118 Radiant Barrier / Single Detached - Manufactured |
| 138 | 100 119 Window Film / Single Detached - Manufactured |
| 139 | 100 121 Default Window With Sunscreen / Single Detached - Manufactured |
| 140 | 100 125 Ceiling R-19 to R-38 Insulation / Single Detached - Manufactured |
| 141 | 100 126 Wall 2x4 R-0 to Blow-In R-13 Insulation / Single Detached - Manufactured |
| 142 | 100 127 Weather Strip/Caulk w/Blower Door / Single Detached - Manufactured |
| 143 | 130 133 17 SEER Split-System Heat Pump / Single Detached - Manufactured |
| 144 | 130 134 13 EER Geothermal Heat Pump / Single Detached - Manufactured |
| 145 | 130 137 Sealed Attics / Single Detached - Manufactured |
| 146 | 130 138 AC Maintenance (Outdoor Coil Cleaning) / Single Detached - Manufactured |
| 147 | 130 139 AC Maintenance (Indoor Coil Cleaning) / Single Detached - Manufactured |
| 148 | 130 140 Proper Refrigerant Charging and Air Flow / Single Detached - Manufactured |
| 149 | 130 141 Electronically Commutated Motors (ECM) on an Air Handler Unit / Single Detached - Manufactured |
| 150 | 130 143 Reflective Roof / Single Detached - Manufactured |
| 151 | 130 144 Radiant Barrier / Single Detached - Manufactured |
| 152 | 130 145 Window Film / Single Detached - Manufactured |
| 153 | 130 147 Default Window With Sunscreen / Single Detached - Manufactured |
| 154 | 130 151 Ceiling R-19 to R-38 Insulation / Single Detached - Manufactured |
| 155 | 130 152 Wall 2x4 R-0 to Blow-In R-13 Insulation / Single Detached - Manufactured |
| 156 | 130 153 Weather Strip/Caulk w/Blower Door / Single Detached - Manufactured |
| 157 | 190 196 Reflective Roof / Single Detached - Manufactured |
| 158 | 190 198 Window Tinting / Single Detached - Manufactured |
| 159 | 190 199 Default Window With Sunscreen / Single Detached - Manufactured |
| 160 | 190 202 Ceiling R-0 to R-19 Insulation / Single Detached - Manufactured |
| 161 | 190 203 Ceiling R-19 to R-38 Insulation / Single Detached - Manufactured |
| 162 | 190 204 Wall 2x4 R-0 to Blow-In R-13 Insulation / Single Detached - Manufactured |
| 163 | 190 205 Weather Strip/Caulk w/Blower Door / Single Detached - Manufactured |
| 164 | 230 231 CFL (18-Watt integral ballast), 2.5 hr/day / Single Detached - Manufactured |
| 165 | 240 241 CFL (18-Watt integral ballast), 6.0 hr/day / Single Detached - Manufactured |
| 166 | 250 251 ROB 2L4'T8, 1EB / Single Detached - Manufactured |
| 167 | 250 252 RET 2L4'T8, 1EB / Single Detached - Manufactured |
| 168 | 260 261 CFL - medium screw based <30 Watts / Single Detached - Manufactured |
| 169 | 350 351 HE Freezer / Single Detached - Manufactured |
| 170 | 400 401 Heat Pump Water Heater (EF=2.9) / Single Detached - Manufactured |
| 171 | 400 403 Solar Water Heat / Single Detached - Manufactured |
| 172 | 400 404 AC Heat Recovery Units / Single Detached - Manufactured |
| 173 | 400 405 Low Flow Showerhead / Single Detached - Manufactured |
| 174 | 400 406 Pipe Wrap / Single Detached - Manufactured |
| 175 | 400 407 Faucet Aerators / Single Detached - Manufactured |
| 176 | 400 408 Water Heater Blanket / Single Detached - Manufactured |
| 177 | 400 409 Water Heater Temperature Check and Adjustment / Single Detached - Manufactured |
| 178 | 400 411 Heat Trap / Single Detached - Manufactured |
| 179 | 500 502 Energy Star CW CEE Tier 2 (MEF=2.0) / Single Detached - Manufactured |
| 180 | 500 503 Energy Star CW CEE Tier 3 (MEF=2.2) / Single Detached - Manufactured |
| 181 | 700 701 Energy Star DW (EF=0.68) / Single Detached - Manufactured |
| 182 | 800 801 Two Speed Pool Pump (1.5 hp) / Single Detached - Manufactured |
| 183 | 800 802 High Efficiency One Speed Pool Pump (1.5 hp) / Single Detached - Manufactured |
| 184 | 800 804 PV-Powered Pool Pumps / Single Detached - Manufactured |
| 185 | 900 901 Energy Star TV / Single Detached - Manufactured |
| 186 | 910 911 Energy Star TV / Single Detached - Manufactured |
| 187 | 920 921 Energy Star Set-Top Box / Single Detached - Manufactured |
| 188 | 930 931 Energy Star DVD Player / Single Detached - Manufactured |
| 189 | 940 941 Energy Star VCR / Single Detached - Manufactured |
| 190 | 950 951 Energy Star Desktop PC / Single Detached - Manufactured |
| 191 | 960 961 Energy Star Laptop PC / Single Detached - Manufactured |
| 192 | 200 222 LED 12W, 0.5hr/hday / All |
| 193 | 999 302 Refrigerator recycling / All |
| 194 | 999 352 Freezer recycling / All |
| 195 | 999 962 Smart Plug / All |
| **Commercial** | |
| 1 | 110 114 Continuous Dimming / Office |
| 2 | 110 115 Lighting Control Tuneup / Office |
| 3 | 120 121 ROB Premium T8, 1EB / Office |
| 4 | 120 122 ROB Premium T8, EB, Reflector / Office |
| 5 | 120 124 Lighting Control Tuneup / Office |
| 6 | 130 131 CFL Screw-in 18W / Office |
| 7 | 150 151 PSMH, 250W, magnetic ballast / Office |
| 8 | 150 153 High Bay T5 / Office |
| 9 | 160 161 LED Exit Sign / Office |
| 10 | 200 201 High Pressure Sodium 250W Lamp / Office |
| 11 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / Office |
| 12 | 300 308 Aerosol Duct Sealing / Office |
| 13 | 300 309 Duct/Pipe Insulation / Office |
| 14 | 300 317 Thermal Energy Storage (TES) Negative / Office |
| 15 | 320 323 Geothermal Heat Pump, EER=13, 10 tons / Office |
| 16 | 320 327 DX Coil Cleaning / Office |
| 17 | 320 328 Optimize Controls / Office |
| 18 | 320 329 Aerosol Duct Sealing / Office |
| 19 | 320 330 Duct/Pipe Insulation / Office |
| 20 | 340 342 Geothermal Heat Pump, EER=13, 10 tons / Office |
| 21 | 340 344 Aerosol Duct Sealing / Office |
| 22 | 340 345 Duct/Pipe Insulation / Office |
| 23 | 400 403 Air Handler Optimization / Office |
| 24 | 400 405 Demand Control Ventilation (DCV) / Office |
| 25 | 400 406 Energy Recovery Ventilation (ERV) / Office |
| 26 | 600 606 Demand controlled circulating systems / Office |
| 27 | 600 609 Heat Trap / Office |
| 28 | 700 701 PC Manual Power Management Enabling / Office |
| 29 | 700 702 PC Network Power Management Enabling / Office |
| 30 | 710 711 Energy Star or Better Monitor / Office |
| 31 | 710 712 Monitor Power Management Enabling / Office |
| 32 | 720 722 Monitor Power Management Enabling / Office |
| 33 | 730 731 Energy Star or Better Copier / Office |
| 34 | 730 732 Copier Power Management Enabling / Office |
| 35 | 800 801 Convection Oven / Office |
| 36 | 810 811 Efficient Fryer / Office |
| 37 | 900 901 Vending Misers (cooled machines only) / Office |
| 38 | 110 113 Occupancy Sensor / Restaurant or Services |
| 39 | 110 114 Continuous Dimming / Restaurant or Services |
| 40 | 110 115 Lighting Control Tuneup / Restaurant or Services |
| 41 | 120 121 ROB Premium T8, 1EB / Restaurant or Services |
| 42 | 120 122 ROB Premium T8, EB, Reflector / Restaurant or Services |
| 43 | 120 123 Occupancy Sensor / Restaurant or Services |
| 44 | 120 124 Lighting Control Tuneup / Restaurant or Services |
| 45 | 130 131 CFL Screw-in 18W / Restaurant or Services |
| 46 | 150 151 PSMH, 250W, magnetic ballast / Restaurant or Services |
| 47 | 150 152 PSMH, 250 W, electronic ballast / Restaurant or Services |
| 48 | 150 153 High Bay T5 / Restaurant or Services |
| 49 | 160 161 LED Exit Sign / Restaurant or Services |
| 50 | 200 201 High Pressure Sodium 250W Lamp / Restaurant or Services |
| 51 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Restaurant or Services |
| 52 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / Restaurant or Services |
| 53 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Restaurant or Services |
| 54 | 300 304 EMS - Chiller / Restaurant or Services |
| 55 | 300 305 Chiller Tune Up/Diagnostics / Restaurant or Services |
| 56 | 300 306 VSD for Chiller Pumps and Towers / Restaurant or Services |
| 57 | 300 308 Aerosol Duct Sealing / Restaurant or Services |
| 58 | 300 309 Duct/Pipe Insulation / Restaurant or Services |
| 59 | 300 317 Thermal Energy Storage (TES) Negative / Restaurant or Services |
| 60 | 320 326 DX Tune Up/ Advanced Diagnostics / Restaurant or Services |
| 61 | 320 327 DX Coil Cleaning / Restaurant or Services |
| 62 | 320 328 Optimize Controls / Restaurant or Services |
| 63 | 320 329 Aerosol Duct Sealing / Restaurant or Services |
| 64 | 320 330 Duct/Pipe Insulation / Restaurant or Services |
| 65 | 320 332 Window Film (Standard) / Restaurant or Services |
| 66 | 320 334 Ceiling Insulation / Restaurant or Services |
| 67 | 320 335 Roof Insulation / Restaurant or Services |
| 68 | 340 342 Geothermal Heat Pump, EER=13, 10 tons / Restaurant or Services |
| 69 | 340 344 Aerosol Duct Sealing / Restaurant or Services |
| 70 | 340 345 Duct/Pipe Insulation / Restaurant or Services |
| 71 | 340 347 Window Film (Standard) / Restaurant or Services |
| 72 | 340 349 Ceiling Insulation / Restaurant or Services |
| 73 | 360 361 HE PTAC, EER=9.6, 1 ton / Restaurant or Services |
| 74 | 400 403 Air Handler Optimization / Restaurant or Services |
| 75 | 400 405 Demand Control Ventilation (DCV) / Restaurant or Services |
| 76 | 400 407 Separate Makeup Air / Exhaust Hoods AC / Restaurant or Services |
| 77 | 600 603 Heat Pump Water Heater (air source) / Restaurant or Services |
| 78 | 600 606 Demand controlled circulating systems / Restaurant or Services |
| 79 | 600 608 Heat Recovery Unit / Restaurant or Services |
| 80 | 600 609 Heat Trap / Restaurant or Services |
| 81 | 700 701 PC Manual Power Management Enabling / Restaurant or Services |
| 82 | 700 702 PC Network Power Management Enabling / Restaurant or Services |
| 83 | 710 711 Energy Star or Better Monitor / Restaurant or Services |
| 84 | 710 712 Monitor Power Management Enabling / Restaurant or Services |
| 85 | 720 722 Monitor Power Management Enabling / Restaurant or Services |
| 86 | 730 731 Energy Star or Better Copier / Restaurant or Services |
| 87 | 730 732 Copier Power Management Enabling / Restaurant or Services |
| 88 | 800 801 Convection Oven / Restaurant or Services |
| 89 | 810 811 Efficient Fryer / Restaurant or Services |
| 90 | 900 901 Vending Misers (cooled machines only) / Restaurant or Services |
| 91 | 110 113 Occupancy Sensor / Retail |
| 92 | 110 114 Continuous Dimming / Retail |
| 93 | 120 121 ROB Premium T8, 1EB / Retail |
| 94 | 120 122 ROB Premium T8, EB, Reflector / Retail |
| 95 | 120 123 Occupancy Sensor / Retail |
| 96 | 120 124 Lighting Control Tuneup / Retail |
| 97 | 130 131 CFL Screw-in 18W / Retail |
| 98 | 150 151 PSMH, 250W, magnetic ballast / Retail |
| 99 | 150 152 PSMH, 250 W, electronic ballast / Retail |
| 100 | 150 153 High Bay T5 / Retail |
| 101 | 160 161 LED Exit Sign / Retail |
| 102 | 200 201 High Pressure Sodium 250W Lamp / Retail |
| 103 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Retail |
| 104 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / Retail |
| 105 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Retail |
| 106 | 300 306 VSD for Chiller Pumps and Towers / Retail |
| 107 | 300 307 EMS Optimization / Retail |
| 108 | 300 308 Aerosol Duct Sealing / Retail |
| 109 | 300 309 Duct/Pipe Insulation / Retail |
| 110 | 300 317 Thermal Energy Storage (TES) Negative / Retail |
| 111 | 320 323 Geothermal Heat Pump, EER=13, 10 tons / Retail |
| 112 | 320 327 DX Coil Cleaning / Retail |
| 113 | 320 329 Aerosol Duct Sealing / Retail |
| 114 | 320 330 Duct/Pipe Insulation / Retail |
| 115 | 340 344 Aerosol Duct Sealing / Retail |
| 116 | 340 345 Duct/Pipe Insulation / Retail |
| 117 | 400 405 Demand Control Ventilation (DCV) / Retail |
| 118 | 600 606 Demand controlled circulating systems / Retail |
| 119 | 600 608 Heat Recovery Unit / Retail |
| 120 | 600 609 Heat Trap / Retail |
| 121 | 600 610 Hot Water Pipe Insulation / Retail |
| 122 | 700 701 PC Manual Power Management Enabling / Retail |
| 123 | 700 702 PC Network Power Management Enabling / Retail |
| 124 | 710 711 Energy Star or Better Monitor / Retail |
| 125 | 710 712 Monitor Power Management Enabling / Retail |
| 126 | 720 722 Monitor Power Management Enabling / Retail |
| 127 | 730 732 Copier Power Management Enabling / Retail |
| 128 | 740 741 Printer Power Management Enabling / Retail |
| 129 | 800 801 Convection Oven / Retail |
| 130 | 810 811 Efficient Fryer / Retail |
| 131 | 900 901 Vending Misers (cooled machines only) / Retail |
| 132 | 110 114 Continuous Dimming / Food Store |
| 133 | 110 115 Lighting Control Tuneup / Food Store |
| 134 | 120 121 ROB Premium T8, 1EB / Food Store |
| 135 | 120 122 ROB Premium T8, EB, Reflector / Food Store |
| 136 | 120 123 Occupancy Sensor / Food Store |
| 137 | 120 124 Lighting Control Tuneup / Food Store |
| 138 | 130 131 CFL Screw-in 18W / Food Store |
| 139 | 150 151 PSMH, 250W, magnetic ballast / Food Store |
| 140 | 150 152 PSMH, 250 W, electronic ballast / Food Store |
| 141 | 150 153 High Bay T5 / Food Store |
| 142 | 160 161 LED Exit Sign / Food Store |
| 143 | 200 201 High Pressure Sodium 250W Lamp / Food Store |
| 144 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Food Store |
| 145 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / Food Store |
| 146 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Food Store |
| 147 | 300 305 Chiller Tune Up/Diagnostics / Food Store |
| 148 | 300 306 VSD for Chiller Pumps and Towers / Food Store |
| 149 | 300 307 EMS Optimization / Food Store |
| 150 | 300 308 Aerosol Duct Sealing / Food Store |
| 151 | 300 309 Duct/Pipe Insulation / Food Store |
| 152 | 300 317 Thermal Energy Storage (TES) Negative / Food Store |
| 153 | 320 323 Geothermal Heat Pump, EER=13, 10 tons / Food Store |
| 154 | 320 326 DX Tune Up/ Advanced Diagnostics / Food Store |
| 155 | 320 327 DX Coil Cleaning / Food Store |
| 156 | 320 329 Aerosol Duct Sealing / Food Store |
| 157 | 320 330 Duct/Pipe Insulation / Food Store |
| 158 | 340 344 Aerosol Duct Sealing / Food Store |
| 159 | 340 345 Duct/Pipe Insulation / Food Store |
| 160 | 340 349 Ceiling Insulation / Food Store |
| 161 | 400 402 Variable Speed Drive Control / Food Store |
| 162 | 400 403 Air Handler Optimization / Food Store |
| 163 | 400 405 Demand Control Ventilation (DCV) / Food Store |
| 164 | 500 502 Strip curtains for walk-ins / Food Store |
| 165 | 500 503 Night covers for display cases / Food Store |
| 166 | 500 505 Efficient compressor motor / Food Store |
| 167 | 500 507 Floating head pressure controls / Food Store |
| 168 | 500 510 Demand Defrost Electric / Food Store |
| 169 | 600 606 Demand controlled circulating systems / Food Store |
| 170 | 600 609 Heat Trap / Food Store |
| 171 | 600 610 Hot Water Pipe Insulation / Food Store |
| 172 | 700 701 PC Manual Power Management Enabling / Food Store |
| 173 | 700 702 PC Network Power Management Enabling / Food Store |
| 174 | 710 711 Energy Star or Better Monitor / Food Store |
| 175 | 710 712 Monitor Power Management Enabling / Food Store |
| 176 | 730 732 Copier Power Management Enabling / Food Store |
| 177 | 740 741 Printer Power Management Enabling / Food Store |
| 178 | 800 801 Convection Oven / Food Store |
| 179 | 810 811 Efficient Fryer / Food Store |
| 180 | 900 901 Vending Misers (cooled machines only) / Food Store |
| 181 | 110 114 Continuous Dimming / School |
| 182 | 110 115 Lighting Control Tuneup / School |
| 183 | 120 123 Occupancy Sensor / School |
| 184 | 120 124 Lighting Control Tuneup / School |
| 185 | 130 131 CFL Screw-in 18W / School |
| 186 | 150 151 PSMH, 250W, magnetic ballast / School |
| 187 | 150 153 High Bay T5 / School |
| 188 | 160 161 LED Exit Sign / School |
| 189 | 200 201 High Pressure Sodium 250W Lamp / School |
| 190 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / School |
| 191 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / School |
| 192 | 300 307 EMS Optimization / School |
| 193 | 300 308 Aerosol Duct Sealing / School |
| 194 | 300 309 Duct/Pipe Insulation / School |
| 195 | 300 317 Thermal Energy Storage (TES) Negative / School |
| 196 | 320 323 Geothermal Heat Pump, EER=13, 10 tons / School |
| 197 | 320 327 DX Coil Cleaning / School |
| 198 | 320 329 Aerosol Duct Sealing / School |
| 199 | 320 330 Duct/Pipe Insulation / School |
| 200 | 340 344 Aerosol Duct Sealing / School |
| 201 | 340 345 Duct/Pipe Insulation / School |
| 202 | 400 403 Air Handler Optimization / School |
| 203 | 400 405 Demand Control Ventilation (DCV) / School |
| 204 | 400 406 Energy Recovery Ventilation (ERV) / School |
| 205 | 600 603 Heat Pump Water Heater (air source) / School |
| 206 | 600 608 Heat Recovery Unit / School |
| 207 | 600 609 Heat Trap / School |
| 208 | 700 701 PC Manual Power Management Enabling / School |
| 209 | 700 702 PC Network Power Management Enabling / School |
| 210 | 710 711 Energy Star or Better Monitor / School |
| 211 | 710 712 Monitor Power Management Enabling / School |
| 212 | 720 722 Monitor Power Management Enabling / School |
| 213 | 730 732 Copier Power Management Enabling / School |
| 214 | 740 741 Printer Power Management Enabling / School |
| 215 | 800 801 Convection Oven / School |
| 216 | 810 811 Efficient Fryer / School |
| 217 | 900 901 Vending Misers (cooled machines only) / School |
| 218 | 110 114 Continuous Dimming / College |
| 219 | 110 115 Lighting Control Tuneup / College |
| 220 | 120 123 Occupancy Sensor / College |
| 221 | 120 124 Lighting Control Tuneup / College |
| 222 | 130 131 CFL Screw-in 18W / College |
| 223 | 150 151 PSMH, 250W, magnetic ballast / College |
| 224 | 150 153 High Bay T5 / College |
| 225 | 160 161 LED Exit Sign / College |
| 226 | 200 201 High Pressure Sodium 250W Lamp / College |
| 227 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / College |
| 228 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / College |
| 229 | 300 307 EMS Optimization / College |
| 230 | 300 308 Aerosol Duct Sealing / College |
| 231 | 300 309 Duct/Pipe Insulation / College |
| 232 | 300 317 Thermal Energy Storage (TES) Positive / College |
| 233 | 300 317 Thermal Energy Storage (TES) Negative / College |
| 234 | 320 323 Geothermal Heat Pump, EER=13, 10 tons / College |
| 235 | 320 327 DX Coil Cleaning / College |
| 236 | 320 329 Aerosol Duct Sealing / College |
| 237 | 320 330 Duct/Pipe Insulation / College |
| 238 | 340 344 Aerosol Duct Sealing / College |
| 239 | 340 345 Duct/Pipe Insulation / College |
| 240 | 400 403 Air Handler Optimization / College |
| 241 | 400 405 Demand Control Ventilation (DCV) / College |
| 242 | 600 603 Heat Pump Water Heater (air source) / College |
| 243 | 600 606 Demand controlled circulating systems / College |
| 244 | 600 609 Heat Trap / College |
| 245 | 700 701 PC Manual Power Management Enabling / College |
| 246 | 700 702 PC Network Power Management Enabling / College |
| 247 | 710 711 Energy Star or Better Monitor / College |
| 248 | 710 712 Monitor Power Management Enabling / College |
| 249 | 720 721 Energy Star or Better Monitor / College |
| 250 | 720 722 Monitor Power Management Enabling / College |
| 251 | 730 732 Copier Power Management Enabling / College |
| 252 | 740 741 Printer Power Management Enabling / College |
| 253 | 800 801 Convection Oven / College |
| 254 | 810 811 Efficient Fryer / College |
| 255 | 900 901 Vending Misers (cooled machines only) / College |
| 256 | 110 114 Continuous Dimming / Hospital |
| 257 | 110 115 Lighting Control Tuneup / Hospital |
| 258 | 120 121 ROB Premium T8, 1EB / Hospital |
| 259 | 120 122 ROB Premium T8, EB, Reflector / Hospital |
| 260 | 120 123 Occupancy Sensor / Hospital |
| 261 | 120 124 Lighting Control Tuneup / Hospital |
| 262 | 130 131 CFL Screw-in 18W / Hospital |
| 263 | 150 151 PSMH, 250W, magnetic ballast / Hospital |
| 264 | 150 152 PSMH, 250 W, electronic ballast / Hospital |
| 265 | 150 153 High Bay T5 / Hospital |
| 266 | 160 161 LED Exit Sign / Hospital |
| 267 | 200 201 High Pressure Sodium 250W Lamp / Hospital |
| 268 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Hospital |
| 269 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / Hospital |
| 270 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Hospital |
| 271 | 300 302 High Efficiency Chiller Motors / Hospital |
| 272 | 300 304 EMS - Chiller / Hospital |
| 273 | 300 305 Chiller Tune Up/Diagnostics / Hospital |
| 274 | 300 306 VSD for Chiller Pumps and Towers / Hospital |
| 275 | 300 307 EMS Optimization / Hospital |
| 276 | 300 308 Aerosol Duct Sealing / Hospital |
| 277 | 300 309 Duct/Pipe Insulation / Hospital |
| 278 | 300 311 Window Film (Standard) / Hospital |
| 279 | 300 317 Thermal Energy Storage (TES) Negative / Hospital |
| 280 | 320 323 Geothermal Heat Pump, EER=13, 10 tons / Hospital |
| 281 | 320 326 DX Tune Up/ Advanced Diagnostics / Hospital |
| 282 | 320 327 DX Coil Cleaning / Hospital |
| 283 | 320 329 Aerosol Duct Sealing / Hospital |
| 284 | 320 330 Duct/Pipe Insulation / Hospital |
| 285 | 320 334 Ceiling Insulation / Hospital |
| 286 | 320 335 Roof Insulation / Hospital |
| 287 | 340 344 Aerosol Duct Sealing / Hospital |
| 288 | 340 345 Duct/Pipe Insulation / Hospital |
| 289 | 340 349 Ceiling Insulation / Hospital |
| 290 | 360 361 HE PTAC, EER=9.6, 1 ton / Hospital |
| 291 | 400 402 Variable Speed Drive Control / Hospital |
| 292 | 400 403 Air Handler Optimization / Hospital |
| 293 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Hospital |
| 294 | 600 603 Heat Pump Water Heater (air source) / Hospital |
| 295 | 600 606 Demand controlled circulating systems / Hospital |
| 296 | 600 608 Heat Recovery Unit / Hospital |
| 297 | 600 609 Heat Trap / Hospital |
| 298 | 600 610 Hot Water Pipe Insulation / Hospital |
| 299 | 700 701 PC Manual Power Management Enabling / Hospital |
| 300 | 700 702 PC Network Power Management Enabling / Hospital |
| 301 | 710 711 Energy Star or Better Monitor / Hospital |
| 302 | 710 712 Monitor Power Management Enabling / Hospital |
| 303 | 720 722 Monitor Power Management Enabling / Hospital |
| 304 | 730 732 Copier Power Management Enabling / Hospital |
| 305 | 740 741 Printer Power Management Enabling / Hospital |
| 306 | 800 801 Convection Oven / Hospital |
| 307 | 810 811 Efficient Fryer / Hospital |
| 308 | 900 901 Vending Misers (cooled machines only) / Hospital |
| 309 | 110 114 Continuous Dimming / Other Healthcare |
| 310 | 110 115 Lighting Control Tuneup / Other Healthcare |
| 311 | 120 121 ROB Premium T8, 1EB / Other Healthcare |
| 312 | 120 122 ROB Premium T8, EB, Reflector / Other Healthcare |
| 313 | 120 123 Occupancy Sensor / Other Healthcare |
| 314 | 120 124 Lighting Control Tuneup / Other Healthcare |
| 315 | 130 131 CFL Screw-in 18W / Other Healthcare |
| 316 | 150 151 PSMH, 250W, magnetic ballast / Other Healthcare |
| 317 | 150 152 PSMH, 250 W, electronic ballast / Other Healthcare |
| 318 | 150 153 High Bay T5 / Other Healthcare |
| 319 | 160 161 LED Exit Sign / Other Healthcare |
| 320 | 200 201 High Pressure Sodium 250W Lamp / Other Healthcare |
| 321 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Other Healthcare |
| 322 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / Other Healthcare |
| 323 | 300 305 Chiller Tune Up/Diagnostics / Other Healthcare |
| 324 | 300 307 EMS Optimization / Other Healthcare |
| 325 | 300 308 Aerosol Duct Sealing / Other Healthcare |
| 326 | 300 309 Duct/Pipe Insulation / Other Healthcare |
| 327 | 300 317 Thermal Energy Storage (TES) Negative / Other Healthcare |
| 328 | 320 323 Geothermal Heat Pump, EER=13, 10 tons / Other Healthcare |
| 329 | 320 327 DX Coil Cleaning / Other Healthcare |
| 330 | 320 329 Aerosol Duct Sealing / Other Healthcare |
| 331 | 320 330 Duct/Pipe Insulation / Other Healthcare |
| 332 | 340 344 Aerosol Duct Sealing / Other Healthcare |
| 333 | 340 345 Duct/Pipe Insulation / Other Healthcare |
| 334 | 400 403 Air Handler Optimization / Other Healthcare |
| 335 | 400 405 Demand Control Ventilation (DCV) / Other Healthcare |
| 336 | 400 406 Energy Recovery Ventilation (ERV) / Other Healthcare |
| 337 | 600 603 Heat Pump Water Heater (air source) / Other Healthcare |
| 338 | 600 606 Demand controlled circulating systems / Other Healthcare |
| 339 | 600 608 Heat Recovery Unit / Other Healthcare |
| 340 | 600 609 Heat Trap / Other Healthcare |
| 341 | 700 701 PC Manual Power Management Enabling / Other Healthcare |
| 342 | 700 702 PC Network Power Management Enabling / Other Healthcare |
| 343 | 710 711 Energy Star or Better Monitor / Other Healthcare |
| 344 | 710 712 Monitor Power Management Enabling / Other Healthcare |
| 345 | 720 722 Monitor Power Management Enabling / Other Healthcare |
| 346 | 730 732 Copier Power Management Enabling / Other Healthcare |
| 347 | 740 741 Printer Power Management Enabling / Other Healthcare |
| 348 | 800 801 Convection Oven / Other Healthcare |
| 349 | 810 811 Efficient Fryer / Other Healthcare |
| 350 | 900 901 Vending Misers (cooled machines only) / Other Healthcare |
| 351 | 110 114 Continuous Dimming / Warehouse |
| 352 | 120 122 ROB Premium T8, EB, Reflector / Warehouse |
| 353 | 120 123 Occupancy Sensor / Warehouse |
| 354 | 120 124 Lighting Control Tuneup / Warehouse |
| 355 | 130 131 CFL Screw-in 18W / Warehouse |
| 356 | 150 151 PSMH, 250W, magnetic ballast / Warehouse |
| 357 | 150 153 High Bay T5 / Warehouse |
| 358 | 160 161 LED Exit Sign / Warehouse |
| 359 | 200 201 High Pressure Sodium 250W Lamp / Warehouse |
| 360 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Warehouse |
| 361 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / Warehouse |
| 362 | 300 305 Chiller Tune Up/Diagnostics / Warehouse |
| 363 | 300 307 EMS Optimization / Warehouse |
| 364 | 300 308 Aerosol Duct Sealing / Warehouse |
| 365 | 300 309 Duct/Pipe Insulation / Warehouse |
| 366 | 300 311 Window Film (Standard) / Warehouse |
| 367 | 300 313 Ceiling Insulation / Warehouse |
| 368 | 300 314 Roof Insulation / Warehouse |
| 369 | 300 317 Thermal Energy Storage (TES) Negative / Warehouse |
| 370 | 320 323 Geothermal Heat Pump, EER=13, 10 tons / Warehouse |
| 371 | 320 326 DX Tune Up/ Advanced Diagnostics / Warehouse |
| 372 | 320 327 DX Coil Cleaning / Warehouse |
| 373 | 320 329 Aerosol Duct Sealing / Warehouse |
| 374 | 320 330 Duct/Pipe Insulation / Warehouse |
| 375 | 320 334 Ceiling Insulation / Warehouse |
| 376 | 320 335 Roof Insulation / Warehouse |
| 377 | 340 344 Aerosol Duct Sealing / Warehouse |
| 378 | 340 345 Duct/Pipe Insulation / Warehouse |
| 379 | 340 349 Ceiling Insulation / Warehouse |
| 380 | 340 351 Cool Roof - DX / Warehouse |
| 381 | 400 403 Air Handler Optimization / Warehouse |
| 382 | 400 405 Demand Control Ventilation (DCV) / Warehouse |
| 383 | 400 406 Energy Recovery Ventilation (ERV) / Warehouse |
| 384 | 600 603 Heat Pump Water Heater (air source) / Warehouse |
| 385 | 600 606 Demand controlled circulating systems / Warehouse |
| 386 | 600 608 Heat Recovery Unit / Warehouse |
| 387 | 600 609 Heat Trap / Warehouse |
| 388 | 600 610 Hot Water Pipe Insulation / Warehouse |
| 389 | 700 701 PC Manual Power Management Enabling / Warehouse |
| 390 | 700 702 PC Network Power Management Enabling / Warehouse |
| 391 | 710 711 Energy Star or Better Monitor / Warehouse |
| 392 | 710 712 Monitor Power Management Enabling / Warehouse |
| 393 | 720 722 Monitor Power Management Enabling / Warehouse |
| 394 | 730 732 Copier Power Management Enabling / Warehouse |
| 395 | 740 741 Printer Power Management Enabling / Warehouse |
| 396 | 800 801 Convection Oven / Warehouse |
| 397 | 810 811 Efficient Fryer / Warehouse |
| 398 | 900 901 Vending Misers (cooled machines only) / Warehouse |
| 399 | 110 114 Continuous Dimming / Hotel or Motel |
| 400 | 110 115 Lighting Control Tuneup / Hotel or Motel |
| 401 | 120 121 ROB Premium T8, 1EB / Hotel or Motel |
| 402 | 120 122 ROB Premium T8, EB, Reflector / Hotel or Motel |
| 403 | 120 123 Occupancy Sensor / Hotel or Motel |
| 404 | 130 131 CFL Screw-in 18W / Hotel or Motel |
| 405 | 150 151 PSMH, 250W, magnetic ballast / Hotel or Motel |
| 406 | 150 152 PSMH, 250 W, electronic ballast / Hotel or Motel |
| 407 | 150 153 High Bay T5 / Hotel or Motel |
| 408 | 160 161 LED Exit Sign / Hotel or Motel |
| 409 | 200 201 High Pressure Sodium 250W Lamp / Hotel or Motel |
| 410 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Hotel or Motel |
| 411 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / Hotel or Motel |
| 412 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Hotel or Motel |
| 413 | 300 302 High Efficiency Chiller Motors / Hotel or Motel |
| 414 | 300 304 EMS - Chiller / Hotel or Motel |
| 415 | 300 305 Chiller Tune Up/Diagnostics / Hotel or Motel |
| 416 | 300 306 VSD for Chiller Pumps and Towers / Hotel or Motel |
| 417 | 300 307 EMS Optimization / Hotel or Motel |
| 418 | 300 308 Aerosol Duct Sealing / Hotel or Motel |
| 419 | 300 309 Duct/Pipe Insulation / Hotel or Motel |
| 420 | 300 317 Thermal Energy Storage (TES) Negative / Hotel or Motel |
| 421 | 320 323 Geothermal Heat Pump, EER=13, 10 tons / Hotel or Motel |
| 422 | 320 327 DX Coil Cleaning / Hotel or Motel |
| 423 | 320 329 Aerosol Duct Sealing / Hotel or Motel |
| 424 | 320 330 Duct/Pipe Insulation / Hotel or Motel |
| 425 | 340 344 Aerosol Duct Sealing / Hotel or Motel |
| 426 | 340 345 Duct/Pipe Insulation / Hotel or Motel |
| 427 | 360 361 HE PTAC, EER=9.6, 1 ton / Hotel or Motel |
| 428 | 400 405 Demand Control Ventilation (DCV) / Hotel or Motel |
| 429 | 600 603 Heat Pump Water Heater (air source) / Hotel or Motel |
| 430 | 600 608 Heat Recovery Unit / Hotel or Motel |
| 431 | 600 609 Heat Trap / Hotel or Motel |
| 432 | 700 701 PC Manual Power Management Enabling / Hotel or Motel |
| 433 | 700 702 PC Network Power Management Enabling / Hotel or Motel |
| 434 | 710 711 Energy Star or Better Monitor / Hotel or Motel |
| 435 | 710 712 Monitor Power Management Enabling / Hotel or Motel |
| 436 | 730 732 Copier Power Management Enabling / Hotel or Motel |
| 437 | 740 741 Printer Power Management Enabling / Hotel or Motel |
| 438 | 800 801 Convection Oven / Hotel or Motel |
| 439 | 810 811 Efficient Fryer / Hotel or Motel |
| 440 | 900 901 Vending Misers (cooled machines only) / Hotel or Motel |
| 441 | 110 114 Continuous Dimming / Other |
| 442 | 110 115 Lighting Control Tuneup / Other |
| 443 | 120 121 ROB Premium T8, 1EB / Other |
| 444 | 120 122 ROB Premium T8, EB, Reflector / Other |
| 445 | 120 124 Lighting Control Tuneup / Other |
| 446 | 130 131 CFL Screw-in 18W / Other |
| 447 | 150 151 PSMH, 250W, magnetic ballast / Other |
| 448 | 150 152 PSMH, 250 W, electronic ballast / Other |
| 449 | 150 153 High Bay T5 / Other |
| 450 | 160 161 LED Exit Sign / Other |
| 451 | 200 201 High Pressure Sodium 250W Lamp / Other |
| 452 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Other |
| 453 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / Other |
| 454 | 300 308 Aerosol Duct Sealing / Other |
| 455 | 300 309 Duct/Pipe Insulation / Other |
| 456 | 300 311 Window Film (Standard) / Other |
| 457 | 300 317 Thermal Energy Storage (TES) Positive / Other |
| 458 | 300 317 Thermal Energy Storage (TES) Negative / Other |
| 459 | 320 323 Geothermal Heat Pump, EER=13, 10 tons / Other |
| 460 | 320 327 DX Coil Cleaning / Other |
| 461 | 320 329 Aerosol Duct Sealing / Other |
| 462 | 320 330 Duct/Pipe Insulation / Other |
| 463 | 340 344 Aerosol Duct Sealing / Other |
| 464 | 340 345 Duct/Pipe Insulation / Other |
| 465 | 340 351 Cool Roof - DX / Other |
| 466 | 400 405 Demand Control Ventilation (DCV) / Other |
| 467 | 600 606 Demand controlled circulating systems / Other |
| 468 | 600 609 Heat Trap / Other |
| 469 | 700 701 PC Manual Power Management Enabling / Other |
| 470 | 700 702 PC Network Power Management Enabling / Other |
| 471 | 710 711 Energy Star or Better Monitor / Other |
| 472 | 710 712 Monitor Power Management Enabling / Other |
| 473 | 720 721 Energy Star or Better Monitor / Other |
| 474 | 720 722 Monitor Power Management Enabling / Other |
| 475 | 730 731 Energy Star or Better Copier / Other |
| 476 | 730 732 Copier Power Management Enabling / Other |
| 477 | 740 741 Printer Power Management Enabling / Other |
| 478 | 800 801 Convection Oven / Other |
| 479 | 900 901 Vending Misers (cooled machines only) / Other |
| 480 | 600 611 0.5 Faucet Aerator (DI) - Commercial / All |
| 481 | 600 612 1.0 gpm Faucet Aerator (DI) -Commercial / All |
| 482 | 600 613 1.5 gpm Shower Head (DI) - Commercial / All |
| 483 | 700 910 Server Virtualization / All |
| **Industrial** | |
| 1 | 101 Compressed Air-O&M / Food |
| 2 | 102 Compressed Air - Controls / Food |
| 3 | 103 Compressed Air - System Optimization / Food |
| 4 | 104 Compressed Air- Sizing / Food |
| 5 | 105 Comp Air - Replace 1-5 HP motor / Food |
| 6 | 106 Comp Air - ASD (1-5 hp) / Food |
| 7 | 108 Comp Air - Replace 6-100 HP motor / Food |
| 8 | 109 Comp Air - ASD (6-100 hp) / Food |
| 9 | 112 Comp Air - ASD (100+ hp) / Food |
| 10 | 113 Comp Air - Motor practices-1 (100+ HP) / Food |
| 11 | 201 Fans - O&M / Food |
| 12 | 204 Fans- Improve components / Food |
| 13 | 205 Fans - Replace 1-5 HP motor / Food |
| 14 | 206 Fans - ASD (1-5 hp) / Food |
| 15 | 208 Fans - Replace 6-100 HP motor / Food |
| 16 | 209 Fans - ASD (6-100 hp) / Food |
| 17 | 212 Fans - ASD (100+ hp) / Food |
| 18 | 213 Fans - Motor practices-1 (100+ HP) / Food |
| 19 | 301 Pumps - O&M / Food |
| 20 | 302 Pumps - Controls / Food |
| 21 | 303 Pumps - System Optimization / Food |
| 22 | 304 Pumps - Sizing / Food |
| 23 | 305 Pumps - Replace 1-5 HP motor / Food |
| 24 | 306 Pumps - ASD (1-5 hp) / Food |
| 25 | 308 Pumps - Replace 6-100 HP motor / Food |
| 26 | 309 Pumps - ASD (6-100 hp) / Food |
| 27 | 312 Pumps - ASD (100+ hp) / Food |
| 28 | 313 Pumps - Motor practices-1 (100+ HP) / Food |
| 29 | 401 Bakery - Process (Mixing) - O&M / Food |
| 30 | 501 Bakery - Process / Food |
| 31 | 551 Efficient Refrigeration - Operations / Food |
| 32 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Food |
| 33 | 705 VSD for Chiller Pumps and Towers / Food |
| 34 | 706 EMS Optimization - Chiller / Food |
| 35 | 707 Aerosol Duct Sealing - Chiller / Food |
| 36 | 708 Duct/Pipe Insulation - Chiller / Food |
| 37 | 711 Cool Roof - Chiller / Food |
| 38 | 723 Geothermal Heat Pump, EER=13, 10 tons / Food |
| 39 | 725 DX Coil Cleaning / Food |
| 40 | 726 Optimize Controls / Food |
| 41 | 727 Aerosol Duct Sealing / Food |
| 42 | 728 Duct/Pipe Insulation / Food |
| 43 | 801 Premium T8, Electronic Ballast / Food |
| 44 | 803 CFL Screw-in 18W / Food |
| 45 | 804 High Bay T5 / Food |
| 46 | 901 Replace V-belts / Food |
| 47 | 101 Compressed Air-O&M / Textiles |
| 48 | 102 Compressed Air - Controls / Textiles |
| 49 | 103 Compressed Air - System Optimization / Textiles |
| 50 | 104 Compressed Air- Sizing / Textiles |
| 51 | 105 Comp Air - Replace 1-5 HP motor / Textiles |
| 52 | 106 Comp Air - ASD (1-5 hp) / Textiles |
| 53 | 108 Comp Air - Replace 6-100 HP motor / Textiles |
| 54 | 109 Comp Air - ASD (6-100 hp) / Textiles |
| 55 | 112 Comp Air - ASD (100+ hp) / Textiles |
| 56 | 113 Comp Air - Motor practices-1 (100+ HP) / Textiles |
| 57 | 201 Fans - O&M / Textiles |
| 58 | 204 Fans- Improve components / Textiles |
| 59 | 205 Fans - Replace 1-5 HP motor / Textiles |
| 60 | 206 Fans - ASD (1-5 hp) / Textiles |
| 61 | 208 Fans - Replace 6-100 HP motor / Textiles |
| 62 | 209 Fans - ASD (6-100 hp) / Textiles |
| 63 | 212 Fans - ASD (100+ hp) / Textiles |
| 64 | 213 Fans - Motor practices-1 (100+ HP) / Textiles |
| 65 | 301 Pumps - O&M / Textiles |
| 66 | 302 Pumps - Controls / Textiles |
| 67 | 303 Pumps - System Optimization / Textiles |
| 68 | 304 Pumps - Sizing / Textiles |
| 69 | 305 Pumps - Replace 1-5 HP motor / Textiles |
| 70 | 306 Pumps - ASD (1-5 hp) / Textiles |
| 71 | 308 Pumps - Replace 6-100 HP motor / Textiles |
| 72 | 309 Pumps - ASD (6-100 hp) / Textiles |
| 73 | 312 Pumps - ASD (100+ hp) / Textiles |
| 74 | 313 Pumps - Motor practices-1 (100+ HP) / Textiles |
| 75 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Textiles |
| 76 | 705 VSD for Chiller Pumps and Towers / Textiles |
| 77 | 706 EMS Optimization - Chiller / Textiles |
| 78 | 707 Aerosol Duct Sealing - Chiller / Textiles |
| 79 | 708 Duct/Pipe Insulation - Chiller / Textiles |
| 80 | 711 Cool Roof - Chiller / Textiles |
| 81 | 723 Geothermal Heat Pump, EER=13, 10 tons / Textiles |
| 82 | 725 DX Coil Cleaning / Textiles |
| 83 | 726 Optimize Controls / Textiles |
| 84 | 727 Aerosol Duct Sealing / Textiles |
| 85 | 728 Duct/Pipe Insulation / Textiles |
| 86 | 801 Premium T8, Electronic Ballast / Textiles |
| 87 | 803 CFL Screw-in 18W / Textiles |
| 88 | 804 High Bay T5 / Textiles |
| 89 | 901 Replace V-belts / Textiles |
| 90 | 101 Compressed Air-O&M / Lumber |
| 91 | 102 Compressed Air - Controls / Lumber |
| 92 | 103 Compressed Air - System Optimization / Lumber |
| 93 | 104 Compressed Air- Sizing / Lumber |
| 94 | 105 Comp Air - Replace 1-5 HP motor / Lumber |
| 95 | 106 Comp Air - ASD (1-5 hp) / Lumber |
| 96 | 108 Comp Air - Replace 6-100 HP motor / Lumber |
| 97 | 109 Comp Air - ASD (6-100 hp) / Lumber |
| 98 | 112 Comp Air - ASD (100+ hp) / Lumber |
| 99 | 113 Comp Air - Motor practices-1 (100+ HP) / Lumber |
| 100 | 201 Fans - O&M / Lumber |
| 101 | 204 Fans- Improve components / Lumber |
| 102 | 205 Fans - Replace 1-5 HP motor / Lumber |
| 103 | 206 Fans - ASD (1-5 hp) / Lumber |
| 104 | 208 Fans - Replace 6-100 HP motor / Lumber |
| 105 | 209 Fans - ASD (6-100 hp) / Lumber |
| 106 | 212 Fans - ASD (100+ hp) / Lumber |
| 107 | 213 Fans - Motor practices-1 (100+ HP) / Lumber |
| 108 | 301 Pumps - O&M / Lumber |
| 109 | 302 Pumps - Controls / Lumber |
| 110 | 303 Pumps - System Optimization / Lumber |
| 111 | 304 Pumps - Sizing / Lumber |
| 112 | 305 Pumps - Replace 1-5 HP motor / Lumber |
| 113 | 306 Pumps - ASD (1-5 hp) / Lumber |
| 114 | 308 Pumps - Replace 6-100 HP motor / Lumber |
| 115 | 309 Pumps - ASD (6-100 hp) / Lumber |
| 116 | 312 Pumps - ASD (100+ hp) / Lumber |
| 117 | 313 Pumps - Motor practices-1 (100+ HP) / Lumber |
| 118 | 403 Air conveying systems / Lumber |
| 119 | 404 Replace V-Belts / Lumber |
| 120 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Lumber |
| 121 | 705 VSD for Chiller Pumps and Towers / Lumber |
| 122 | 706 EMS Optimization - Chiller / Lumber |
| 123 | 707 Aerosol Duct Sealing - Chiller / Lumber |
| 124 | 708 Duct/Pipe Insulation - Chiller / Lumber |
| 125 | 711 Cool Roof - Chiller / Lumber |
| 126 | 723 Geothermal Heat Pump, EER=13, 10 tons / Lumber |
| 127 | 725 DX Coil Cleaning / Lumber |
| 128 | 726 Optimize Controls / Lumber |
| 129 | 727 Aerosol Duct Sealing / Lumber |
| 130 | 728 Duct/Pipe Insulation / Lumber |
| 131 | 801 Premium T8, Electronic Ballast / Lumber |
| 132 | 803 CFL Screw-in 18W / Lumber |
| 133 | 804 High Bay T5 / Lumber |
| 134 | 901 Replace V-belts / Lumber |
| 135 | 101 Compressed Air-O&M / Paper |
| 136 | 102 Compressed Air - Controls / Paper |
| 137 | 103 Compressed Air - System Optimization / Paper |
| 138 | 104 Compressed Air- Sizing / Paper |
| 139 | 105 Comp Air - Replace 1-5 HP motor / Paper |
| 140 | 106 Comp Air - ASD (1-5 hp) / Paper |
| 141 | 108 Comp Air - Replace 6-100 HP motor / Paper |
| 142 | 109 Comp Air - ASD (6-100 hp) / Paper |
| 143 | 112 Comp Air - ASD (100+ hp) / Paper |
| 144 | 113 Comp Air - Motor practices-1 (100+ HP) / Paper |
| 145 | 201 Fans - O&M / Paper |
| 146 | 204 Fans- Improve components / Paper |
| 147 | 205 Fans - Replace 1-5 HP motor / Paper |
| 148 | 206 Fans - ASD (1-5 hp) / Paper |
| 149 | 208 Fans - Replace 6-100 HP motor / Paper |
| 150 | 209 Fans - ASD (6-100 hp) / Paper |
| 151 | 212 Fans - ASD (100+ hp) / Paper |
| 152 | 213 Fans - Motor practices-1 (100+ HP) / Paper |
| 153 | 301 Pumps - O&M / Paper |
| 154 | 302 Pumps - Controls / Paper |
| 155 | 303 Pumps - System Optimization / Paper |
| 156 | 304 Pumps - Sizing / Paper |
| 157 | 305 Pumps - Replace 1-5 HP motor / Paper |
| 158 | 306 Pumps - ASD (1-5 hp) / Paper |
| 159 | 308 Pumps - Replace 6-100 HP motor / Paper |
| 160 | 309 Pumps - ASD (6-100 hp) / Paper |
| 161 | 312 Pumps - ASD (100+ hp) / Paper |
| 162 | 313 Pumps - Motor practices-1 (100+ HP) / Paper |
| 163 | 406 Gap Forming papermachine / Paper |
| 164 | 407 High Consistency forming / Paper |
| 165 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Paper |
| 166 | 705 VSD for Chiller Pumps and Towers / Paper |
| 167 | 706 EMS Optimization - Chiller / Paper |
| 168 | 707 Aerosol Duct Sealing - Chiller / Paper |
| 169 | 708 Duct/Pipe Insulation - Chiller / Paper |
| 170 | 711 Cool Roof - Chiller / Paper |
| 171 | 723 Geothermal Heat Pump, EER=13, 10 tons / Paper |
| 172 | 725 DX Coil Cleaning / Paper |
| 173 | 726 Optimize Controls / Paper |
| 174 | 727 Aerosol Duct Sealing / Paper |
| 175 | 728 Duct/Pipe Insulation / Paper |
| 176 | 801 Premium T8, Electronic Ballast / Paper |
| 177 | 803 CFL Screw-in 18W / Paper |
| 178 | 804 High Bay T5 / Paper |
| 179 | 901 Replace V-belts / Paper |
| 180 | 101 Compressed Air-O&M / Printing |
| 181 | 102 Compressed Air - Controls / Printing |
| 182 | 103 Compressed Air - System Optimization / Printing |
| 183 | 104 Compressed Air- Sizing / Printing |
| 184 | 105 Comp Air - Replace 1-5 HP motor / Printing |
| 185 | 106 Comp Air - ASD (1-5 hp) / Printing |
| 186 | 108 Comp Air - Replace 6-100 HP motor / Printing |
| 187 | 109 Comp Air - ASD (6-100 hp) / Printing |
| 188 | 112 Comp Air - ASD (100+ hp) / Printing |
| 189 | 113 Comp Air - Motor practices-1 (100+ HP) / Printing |
| 190 | 201 Fans - O&M / Printing |
| 191 | 204 Fans- Improve components / Printing |
| 192 | 205 Fans - Replace 1-5 HP motor / Printing |
| 193 | 206 Fans - ASD (1-5 hp) / Printing |
| 194 | 208 Fans - Replace 6-100 HP motor / Printing |
| 195 | 209 Fans - ASD (6-100 hp) / Printing |
| 196 | 212 Fans - ASD (100+ hp) / Printing |
| 197 | 213 Fans - Motor practices-1 (100+ HP) / Printing |
| 198 | 301 Pumps - O&M / Printing |
| 199 | 302 Pumps - Controls / Printing |
| 200 | 303 Pumps - System Optimization / Printing |
| 201 | 304 Pumps - Sizing / Printing |
| 202 | 305 Pumps - Replace 1-5 HP motor / Printing |
| 203 | 306 Pumps - ASD (1-5 hp) / Printing |
| 204 | 308 Pumps - Replace 6-100 HP motor / Printing |
| 205 | 309 Pumps - ASD (6-100 hp) / Printing |
| 206 | 312 Pumps - ASD (100+ hp) / Printing |
| 207 | 313 Pumps - Motor practices-1 (100+ HP) / Printing |
| 208 | 409 Efficient practices printing press / Printing |
| 209 | 411 Light cylinders / Printing |
| 210 | 412 Efficient drives / Printing |
| 211 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Printing |
| 212 | 705 VSD for Chiller Pumps and Towers / Printing |
| 213 | 706 EMS Optimization - Chiller / Printing |
| 214 | 707 Aerosol Duct Sealing - Chiller / Printing |
| 215 | 708 Duct/Pipe Insulation - Chiller / Printing |
| 216 | 711 Cool Roof - Chiller / Printing |
| 217 | 723 Geothermal Heat Pump, EER=13, 10 tons / Printing |
| 218 | 725 DX Coil Cleaning / Printing |
| 219 | 726 Optimize Controls / Printing |
| 220 | 727 Aerosol Duct Sealing / Printing |
| 221 | 728 Duct/Pipe Insulation / Printing |
| 222 | 801 Premium T8, Electronic Ballast / Printing |
| 223 | 803 CFL Screw-in 18W / Printing |
| 224 | 804 High Bay T5 / Printing |
| 225 | 901 Replace V-belts / Printing |
| 226 | 101 Compressed Air-O&M / Chemicals |
| 227 | 102 Compressed Air - Controls / Chemicals |
| 228 | 103 Compressed Air - System Optimization / Chemicals |
| 229 | 104 Compressed Air- Sizing / Chemicals |
| 230 | 105 Comp Air - Replace 1-5 HP motor / Chemicals |
| 231 | 106 Comp Air - ASD (1-5 hp) / Chemicals |
| 232 | 108 Comp Air - Replace 6-100 HP motor / Chemicals |
| 233 | 109 Comp Air - ASD (6-100 hp) / Chemicals |
| 234 | 112 Comp Air - ASD (100+ hp) / Chemicals |
| 235 | 113 Comp Air - Motor practices-1 (100+ HP) / Chemicals |
| 236 | 201 Fans - O&M / Chemicals |
| 237 | 204 Fans- Improve components / Chemicals |
| 238 | 205 Fans - Replace 1-5 HP motor / Chemicals |
| 239 | 206 Fans - ASD (1-5 hp) / Chemicals |
| 240 | 208 Fans - Replace 6-100 HP motor / Chemicals |
| 241 | 209 Fans - ASD (6-100 hp) / Chemicals |
| 242 | 212 Fans - ASD (100+ hp) / Chemicals |
| 243 | 213 Fans - Motor practices-1 (100+ HP) / Chemicals |
| 244 | 301 Pumps - O&M / Chemicals |
| 245 | 302 Pumps - Controls / Chemicals |
| 246 | 303 Pumps - System Optimization / Chemicals |
| 247 | 304 Pumps - Sizing / Chemicals |
| 248 | 305 Pumps - Replace 1-5 HP motor / Chemicals |
| 249 | 306 Pumps - ASD (1-5 hp) / Chemicals |
| 250 | 308 Pumps - Replace 6-100 HP motor / Chemicals |
| 251 | 309 Pumps - ASD (6-100 hp) / Chemicals |
| 252 | 312 Pumps - ASD (100+ hp) / Chemicals |
| 253 | 313 Pumps - Motor practices-1 (100+ HP) / Chemicals |
| 254 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Chemicals |
| 255 | 705 VSD for Chiller Pumps and Towers / Chemicals |
| 256 | 706 EMS Optimization - Chiller / Chemicals |
| 257 | 707 Aerosol Duct Sealing - Chiller / Chemicals |
| 258 | 708 Duct/Pipe Insulation - Chiller / Chemicals |
| 259 | 711 Cool Roof - Chiller / Chemicals |
| 260 | 723 Geothermal Heat Pump, EER=13, 10 tons / Chemicals |
| 261 | 725 DX Coil Cleaning / Chemicals |
| 262 | 726 Optimize Controls / Chemicals |
| 263 | 727 Aerosol Duct Sealing / Chemicals |
| 264 | 728 Duct/Pipe Insulation / Chemicals |
| 265 | 801 Premium T8, Electronic Ballast / Chemicals |
| 266 | 803 CFL Screw-in 18W / Chemicals |
| 267 | 804 High Bay T5 / Chemicals |
| 268 | 101 Compressed Air-O&M / Petroleum |
| 269 | 102 Compressed Air - Controls / Petroleum |
| 270 | 103 Compressed Air - System Optimization / Petroleum |
| 271 | 104 Compressed Air- Sizing / Petroleum |
| 272 | 105 Comp Air - Replace 1-5 HP motor / Petroleum |
| 273 | 106 Comp Air - ASD (1-5 hp) / Petroleum |
| 274 | 108 Comp Air - Replace 6-100 HP motor / Petroleum |
| 275 | 109 Comp Air - ASD (6-100 hp) / Petroleum |
| 276 | 112 Comp Air - ASD (100+ hp) / Petroleum |
| 277 | 113 Comp Air - Motor practices-1 (100+ HP) / Petroleum |
| 278 | 115 Refinery Controls / Petroleum |
| 279 | 201 Fans - O&M / Petroleum |
| 280 | 204 Fans- Improve components / Petroleum |
| 281 | 205 Fans - Replace 1-5 HP motor / Petroleum |
| 282 | 206 Fans - ASD (1-5 hp) / Petroleum |
| 283 | 208 Fans - Replace 6-100 HP motor / Petroleum |
| 284 | 209 Fans - ASD (6-100 hp) / Petroleum |
| 285 | 212 Fans - ASD (100+ hp) / Petroleum |
| 286 | 213 Fans - Motor practices-1 (100+ HP) / Petroleum |
| 287 | 216 Refinery Controls / Petroleum |
| 288 | 301 Pumps - O&M / Petroleum |
| 289 | 302 Pumps - Controls / Petroleum |
| 290 | 303 Pumps - System Optimization / Petroleum |
| 291 | 304 Pumps - Sizing / Petroleum |
| 292 | 305 Pumps - Replace 1-5 HP motor / Petroleum |
| 293 | 306 Pumps - ASD (1-5 hp) / Petroleum |
| 294 | 308 Pumps - Replace 6-100 HP motor / Petroleum |
| 295 | 309 Pumps - ASD (6-100 hp) / Petroleum |
| 296 | 312 Pumps - ASD (100+ hp) / Petroleum |
| 297 | 313 Pumps - Motor practices-1 (100+ HP) / Petroleum |
| 298 | 315 Refinery Controls / Petroleum |
| 299 | 607 Refinery Controls / Petroleum |
| 300 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Petroleum |
| 301 | 705 VSD for Chiller Pumps and Towers / Petroleum |
| 302 | 706 EMS Optimization - Chiller / Petroleum |
| 303 | 707 Aerosol Duct Sealing - Chiller / Petroleum |
| 304 | 708 Duct/Pipe Insulation - Chiller / Petroleum |
| 305 | 711 Cool Roof - Chiller / Petroleum |
| 306 | 723 Geothermal Heat Pump, EER=13, 10 tons / Petroleum |
| 307 | 725 DX Coil Cleaning / Petroleum |
| 308 | 726 Optimize Controls / Petroleum |
| 309 | 727 Aerosol Duct Sealing / Petroleum |
| 310 | 728 Duct/Pipe Insulation / Petroleum |
| 311 | 801 Premium T8, Electronic Ballast / Petroleum |
| 312 | 803 CFL Screw-in 18W / Petroleum |
| 313 | 804 High Bay T5 / Petroleum |
| 314 | 901 Replace V-belts / Petroleum |
| 315 | 101 Compressed Air-O&M / Rubber-Plastics |
| 316 | 102 Compressed Air - Controls / Rubber-Plastics |
| 317 | 103 Compressed Air - System Optimization / Rubber-Plastics |
| 318 | 104 Compressed Air- Sizing / Rubber-Plastics |
| 319 | 105 Comp Air - Replace 1-5 HP motor / Rubber-Plastics |
| 320 | 106 Comp Air - ASD (1-5 hp) / Rubber-Plastics |
| 321 | 108 Comp Air - Replace 6-100 HP motor / Rubber-Plastics |
| 322 | 109 Comp Air - ASD (6-100 hp) / Rubber-Plastics |
| 323 | 112 Comp Air - ASD (100+ hp) / Rubber-Plastics |
| 324 | 113 Comp Air - Motor practices-1 (100+ HP) / Rubber-Plastics |
| 325 | 201 Fans - O&M / Rubber-Plastics |
| 326 | 204 Fans- Improve components / Rubber-Plastics |
| 327 | 205 Fans - Replace 1-5 HP motor / Rubber-Plastics |
| 328 | 206 Fans - ASD (1-5 hp) / Rubber-Plastics |
| 329 | 208 Fans - Replace 6-100 HP motor / Rubber-Plastics |
| 330 | 209 Fans - ASD (6-100 hp) / Rubber-Plastics |
| 331 | 212 Fans - ASD (100+ hp) / Rubber-Plastics |
| 332 | 213 Fans - Motor practices-1 (100+ HP) / Rubber-Plastics |
| 333 | 301 Pumps - O&M / Rubber-Plastics |
| 334 | 302 Pumps - Controls / Rubber-Plastics |
| 335 | 303 Pumps - System Optimization / Rubber-Plastics |
| 336 | 304 Pumps - Sizing / Rubber-Plastics |
| 337 | 305 Pumps - Replace 1-5 HP motor / Rubber-Plastics |
| 338 | 306 Pumps - ASD (1-5 hp) / Rubber-Plastics |
| 339 | 308 Pumps - Replace 6-100 HP motor / Rubber-Plastics |
| 340 | 309 Pumps - ASD (6-100 hp) / Rubber-Plastics |
| 341 | 312 Pumps - ASD (100+ hp) / Rubber-Plastics |
| 342 | 313 Pumps - Motor practices-1 (100+ HP) / Rubber-Plastics |
| 343 | 417 O&M - Extruders/Injection Moulding / Rubber-Plastics |
| 344 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Rubber-Plastics |
| 345 | 705 VSD for Chiller Pumps and Towers / Rubber-Plastics |
| 346 | 706 EMS Optimization - Chiller / Rubber-Plastics |
| 347 | 707 Aerosol Duct Sealing - Chiller / Rubber-Plastics |
| 348 | 708 Duct/Pipe Insulation - Chiller / Rubber-Plastics |
| 349 | 711 Cool Roof - Chiller / Rubber-Plastics |
| 350 | 723 Geothermal Heat Pump, EER=13, 10 tons / Rubber-Plastics |
| 351 | 725 DX Coil Cleaning / Rubber-Plastics |
| 352 | 726 Optimize Controls / Rubber-Plastics |
| 353 | 727 Aerosol Duct Sealing / Rubber-Plastics |
| 354 | 728 Duct/Pipe Insulation / Rubber-Plastics |
| 355 | 801 Premium T8, Electronic Ballast / Rubber-Plastics |
| 356 | 803 CFL Screw-in 18W / Rubber-Plastics |
| 357 | 804 High Bay T5 / Rubber-Plastics |
| 358 | 901 Replace V-belts / Rubber-Plastics |
| 359 | 101 Compressed Air-O&M / Stone-Clay-Glass |
| 360 | 102 Compressed Air - Controls / Stone-Clay-Glass |
| 361 | 103 Compressed Air - System Optimization / Stone-Clay-Glass |
| 362 | 104 Compressed Air- Sizing / Stone-Clay-Glass |
| 363 | 105 Comp Air - Replace 1-5 HP motor / Stone-Clay-Glass |
| 364 | 106 Comp Air - ASD (1-5 hp) / Stone-Clay-Glass |
| 365 | 108 Comp Air - Replace 6-100 HP motor / Stone-Clay-Glass |
| 366 | 109 Comp Air - ASD (6-100 hp) / Stone-Clay-Glass |
| 367 | 112 Comp Air - ASD (100+ hp) / Stone-Clay-Glass |
| 368 | 113 Comp Air - Motor practices-1 (100+ HP) / Stone-Clay-Glass |
| 369 | 201 Fans - O&M / Stone-Clay-Glass |
| 370 | 204 Fans- Improve components / Stone-Clay-Glass |
| 371 | 205 Fans - Replace 1-5 HP motor / Stone-Clay-Glass |
| 372 | 206 Fans - ASD (1-5 hp) / Stone-Clay-Glass |
| 373 | 208 Fans - Replace 6-100 HP motor / Stone-Clay-Glass |
| 374 | 209 Fans - ASD (6-100 hp) / Stone-Clay-Glass |
| 375 | 212 Fans - ASD (100+ hp) / Stone-Clay-Glass |
| 376 | 213 Fans - Motor practices-1 (100+ HP) / Stone-Clay-Glass |
| 377 | 301 Pumps - O&M / Stone-Clay-Glass |
| 378 | 302 Pumps - Controls / Stone-Clay-Glass |
| 379 | 303 Pumps - System Optimization / Stone-Clay-Glass |
| 380 | 304 Pumps - Sizing / Stone-Clay-Glass |
| 381 | 305 Pumps - Replace 1-5 HP motor / Stone-Clay-Glass |
| 382 | 306 Pumps - ASD (1-5 hp) / Stone-Clay-Glass |
| 383 | 308 Pumps - Replace 6-100 HP motor / Stone-Clay-Glass |
| 384 | 309 Pumps - ASD (6-100 hp) / Stone-Clay-Glass |
| 385 | 312 Pumps - ASD (100+ hp) / Stone-Clay-Glass |
| 386 | 313 Pumps - Motor practices-1 (100+ HP) / Stone-Clay-Glass |
| 387 | 405 Drives - EE motor / Stone-Clay-Glass |
| 388 | 415 Drives - Process Controls (batch + site) / Stone-Clay-Glass |
| 389 | 422 Efficient grinding / Stone-Clay-Glass |
| 390 | 423 Process control / Stone-Clay-Glass |
| 391 | 504 Top-heating (glass) / Stone-Clay-Glass |
| 392 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Stone-Clay-Glass |
| 393 | 705 VSD for Chiller Pumps and Towers / Stone-Clay-Glass |
| 394 | 706 EMS Optimization - Chiller / Stone-Clay-Glass |
| 395 | 707 Aerosol Duct Sealing - Chiller / Stone-Clay-Glass |
| 396 | 708 Duct/Pipe Insulation - Chiller / Stone-Clay-Glass |
| 397 | 711 Cool Roof - Chiller / Stone-Clay-Glass |
| 398 | 723 Geothermal Heat Pump, EER=13, 10 tons / Stone-Clay-Glass |
| 399 | 725 DX Coil Cleaning / Stone-Clay-Glass |
| 400 | 726 Optimize Controls / Stone-Clay-Glass |
| 401 | 727 Aerosol Duct Sealing / Stone-Clay-Glass |
| 402 | 728 Duct/Pipe Insulation / Stone-Clay-Glass |
| 403 | 801 Premium T8, Electronic Ballast / Stone-Clay-Glass |
| 404 | 803 CFL Screw-in 18W / Stone-Clay-Glass |
| 405 | 804 High Bay T5 / Stone-Clay-Glass |
| 406 | 901 Replace V-belts / Stone-Clay-Glass |
| 407 | 101 Compressed Air-O&M / Primary Metals |
| 408 | 102 Compressed Air - Controls / Primary Metals |
| 409 | 103 Compressed Air - System Optimization / Primary Metals |
| 410 | 104 Compressed Air- Sizing / Primary Metals |
| 411 | 105 Comp Air - Replace 1-5 HP motor / Primary Metals |
| 412 | 106 Comp Air - ASD (1-5 hp) / Primary Metals |
| 413 | 108 Comp Air - Replace 6-100 HP motor / Primary Metals |
| 414 | 109 Comp Air - ASD (6-100 hp) / Primary Metals |
| 415 | 112 Comp Air - ASD (100+ hp) / Primary Metals |
| 416 | 113 Comp Air - Motor practices-1 (100+ HP) / Primary Metals |
| 417 | 201 Fans - O&M / Primary Metals |
| 418 | 204 Fans- Improve components / Primary Metals |
| 419 | 205 Fans - Replace 1-5 HP motor / Primary Metals |
| 420 | 206 Fans - ASD (1-5 hp) / Primary Metals |
| 421 | 208 Fans - Replace 6-100 HP motor / Primary Metals |
| 422 | 209 Fans - ASD (6-100 hp) / Primary Metals |
| 423 | 212 Fans - ASD (100+ hp) / Primary Metals |
| 424 | 213 Fans - Motor practices-1 (100+ HP) / Primary Metals |
| 425 | 301 Pumps - O&M / Primary Metals |
| 426 | 302 Pumps - Controls / Primary Metals |
| 427 | 303 Pumps - System Optimization / Primary Metals |
| 428 | 304 Pumps - Sizing / Primary Metals |
| 429 | 305 Pumps - Replace 1-5 HP motor / Primary Metals |
| 430 | 306 Pumps - ASD (1-5 hp) / Primary Metals |
| 431 | 308 Pumps - Replace 6-100 HP motor / Primary Metals |
| 432 | 309 Pumps - ASD (6-100 hp) / Primary Metals |
| 433 | 312 Pumps - ASD (100+ hp) / Primary Metals |
| 434 | 313 Pumps - Motor practices-1 (100+ HP) / Primary Metals |
| 435 | 426 Efficient drives - rolling / Primary Metals |
| 436 | 506 Intelligent extruder (DOE) / Primary Metals |
| 437 | 507 Near Net Shape Casting / Primary Metals |
| 438 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Primary Metals |
| 439 | 705 VSD for Chiller Pumps and Towers / Primary Metals |
| 440 | 706 EMS Optimization - Chiller / Primary Metals |
| 441 | 707 Aerosol Duct Sealing - Chiller / Primary Metals |
| 442 | 708 Duct/Pipe Insulation - Chiller / Primary Metals |
| 443 | 711 Cool Roof - Chiller / Primary Metals |
| 444 | 723 Geothermal Heat Pump, EER=13, 10 tons / Primary Metals |
| 445 | 725 DX Coil Cleaning / Primary Metals |
| 446 | 726 Optimize Controls / Primary Metals |
| 447 | 727 Aerosol Duct Sealing / Primary Metals |
| 448 | 728 Duct/Pipe Insulation / Primary Metals |
| 449 | 801 Premium T8, Electronic Ballast / Primary Metals |
| 450 | 803 CFL Screw-in 18W / Primary Metals |
| 451 | 804 High Bay T5 / Primary Metals |
| 452 | 901 Replace V-belts / Primary Metals |
| 453 | 101 Compressed Air-O&M / Fab Metals |
| 454 | 102 Compressed Air - Controls / Fab Metals |
| 455 | 103 Compressed Air - System Optimization / Fab Metals |
| 456 | 104 Compressed Air- Sizing / Fab Metals |
| 457 | 105 Comp Air - Replace 1-5 HP motor / Fab Metals |
| 458 | 106 Comp Air - ASD (1-5 hp) / Fab Metals |
| 459 | 108 Comp Air - Replace 6-100 HP motor / Fab Metals |
| 460 | 109 Comp Air - ASD (6-100 hp) / Fab Metals |
| 461 | 112 Comp Air - ASD (100+ hp) / Fab Metals |
| 462 | 113 Comp Air - Motor practices-1 (100+ HP) / Fab Metals |
| 463 | 201 Fans - O&M / Fab Metals |
| 464 | 204 Fans- Improve components / Fab Metals |
| 465 | 205 Fans - Replace 1-5 HP motor / Fab Metals |
| 466 | 206 Fans - ASD (1-5 hp) / Fab Metals |
| 467 | 208 Fans - Replace 6-100 HP motor / Fab Metals |
| 468 | 209 Fans - ASD (6-100 hp) / Fab Metals |
| 469 | 212 Fans - ASD (100+ hp) / Fab Metals |
| 470 | 213 Fans - Motor practices-1 (100+ HP) / Fab Metals |
| 471 | 301 Pumps - O&M / Fab Metals |
| 472 | 302 Pumps - Controls / Fab Metals |
| 473 | 303 Pumps - System Optimization / Fab Metals |
| 474 | 304 Pumps - Sizing / Fab Metals |
| 475 | 305 Pumps - Replace 1-5 HP motor / Fab Metals |
| 476 | 306 Pumps - ASD (1-5 hp) / Fab Metals |
| 477 | 308 Pumps - Replace 6-100 HP motor / Fab Metals |
| 478 | 309 Pumps - ASD (6-100 hp) / Fab Metals |
| 479 | 312 Pumps - ASD (100+ hp) / Fab Metals |
| 480 | 313 Pumps - Motor practices-1 (100+ HP) / Fab Metals |
| 481 | 427 Drives - Optimization process (M&T) / Fab Metals |
| 482 | 429 Machinery / Fab Metals |
| 483 | 510 Heating - Optimization process (M&T) / Fab Metals |
| 484 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Fab Metals |
| 485 | 705 VSD for Chiller Pumps and Towers / Fab Metals |
| 486 | 706 EMS Optimization - Chiller / Fab Metals |
| 487 | 707 Aerosol Duct Sealing - Chiller / Fab Metals |
| 488 | 708 Duct/Pipe Insulation - Chiller / Fab Metals |
| 489 | 711 Cool Roof - Chiller / Fab Metals |
| 490 | 723 Geothermal Heat Pump, EER=13, 10 tons / Fab Metals |
| 491 | 725 DX Coil Cleaning / Fab Metals |
| 492 | 726 Optimize Controls / Fab Metals |
| 493 | 727 Aerosol Duct Sealing / Fab Metals |
| 494 | 728 Duct/Pipe Insulation / Fab Metals |
| 495 | 801 Premium T8, Electronic Ballast / Fab Metals |
| 496 | 803 CFL Screw-in 18W / Fab Metals |
| 497 | 804 High Bay T5 / Fab Metals |
| 498 | 901 Replace V-belts / Fab Metals |
| 499 | 101 Compressed Air-O&M / Ind Machinery |
| 500 | 102 Compressed Air - Controls / Ind Machinery |
| 501 | 103 Compressed Air - System Optimization / Ind Machinery |
| 502 | 104 Compressed Air- Sizing / Ind Machinery |
| 503 | 105 Comp Air - Replace 1-5 HP motor / Ind Machinery |
| 504 | 106 Comp Air - ASD (1-5 hp) / Ind Machinery |
| 505 | 108 Comp Air - Replace 6-100 HP motor / Ind Machinery |
| 506 | 109 Comp Air - ASD (6-100 hp) / Ind Machinery |
| 507 | 112 Comp Air - ASD (100+ hp) / Ind Machinery |
| 508 | 113 Comp Air - Motor practices-1 (100+ HP) / Ind Machinery |
| 509 | 201 Fans - O&M / Ind Machinery |
| 510 | 204 Fans- Improve components / Ind Machinery |
| 511 | 205 Fans - Replace 1-5 HP motor / Ind Machinery |
| 512 | 206 Fans - ASD (1-5 hp) / Ind Machinery |
| 513 | 208 Fans - Replace 6-100 HP motor / Ind Machinery |
| 514 | 209 Fans - ASD (6-100 hp) / Ind Machinery |
| 515 | 212 Fans - ASD (100+ hp) / Ind Machinery |
| 516 | 213 Fans - Motor practices-1 (100+ HP) / Ind Machinery |
| 517 | 301 Pumps - O&M / Ind Machinery |
| 518 | 302 Pumps - Controls / Ind Machinery |
| 519 | 303 Pumps - System Optimization / Ind Machinery |
| 520 | 304 Pumps - Sizing / Ind Machinery |
| 521 | 305 Pumps - Replace 1-5 HP motor / Ind Machinery |
| 522 | 306 Pumps - ASD (1-5 hp) / Ind Machinery |
| 523 | 308 Pumps - Replace 6-100 HP motor / Ind Machinery |
| 524 | 309 Pumps - ASD (6-100 hp) / Ind Machinery |
| 525 | 312 Pumps - ASD (100+ hp) / Ind Machinery |
| 526 | 313 Pumps - Motor practices-1 (100+ HP) / Ind Machinery |
| 527 | 427 Drives - Optimization process (M&T) / Ind Machinery |
| 528 | 429 Machinery / Ind Machinery |
| 529 | 510 Heating - Optimization process (M&T) / Ind Machinery |
| 530 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Ind Machinery |
| 531 | 705 VSD for Chiller Pumps and Towers / Ind Machinery |
| 532 | 706 EMS Optimization - Chiller / Ind Machinery |
| 533 | 707 Aerosol Duct Sealing - Chiller / Ind Machinery |
| 534 | 708 Duct/Pipe Insulation - Chiller / Ind Machinery |
| 535 | 711 Cool Roof - Chiller / Ind Machinery |
| 536 | 723 Geothermal Heat Pump, EER=13, 10 tons / Ind Machinery |
| 537 | 725 DX Coil Cleaning / Ind Machinery |
| 538 | 726 Optimize Controls / Ind Machinery |
| 539 | 727 Aerosol Duct Sealing / Ind Machinery |
| 540 | 728 Duct/Pipe Insulation / Ind Machinery |
| 541 | 801 Premium T8, Electronic Ballast / Ind Machinery |
| 542 | 803 CFL Screw-in 18W / Ind Machinery |
| 543 | 804 High Bay T5 / Ind Machinery |
| 544 | 901 Replace V-belts / Ind Machinery |
| 545 | 101 Compressed Air-O&M / Electronics |
| 546 | 102 Compressed Air - Controls / Electronics |
| 547 | 103 Compressed Air - System Optimization / Electronics |
| 548 | 104 Compressed Air- Sizing / Electronics |
| 549 | 105 Comp Air - Replace 1-5 HP motor / Electronics |
| 550 | 106 Comp Air - ASD (1-5 hp) / Electronics |
| 551 | 108 Comp Air - Replace 6-100 HP motor / Electronics |
| 552 | 109 Comp Air - ASD (6-100 hp) / Electronics |
| 553 | 112 Comp Air - ASD (100+ hp) / Electronics |
| 554 | 113 Comp Air - Motor practices-1 (100+ HP) / Electronics |
| 555 | 201 Fans - O&M / Electronics |
| 556 | 204 Fans- Improve components / Electronics |
| 557 | 205 Fans - Replace 1-5 HP motor / Electronics |
| 558 | 206 Fans - ASD (1-5 hp) / Electronics |
| 559 | 208 Fans - Replace 6-100 HP motor / Electronics |
| 560 | 209 Fans - ASD (6-100 hp) / Electronics |
| 561 | 212 Fans - ASD (100+ hp) / Electronics |
| 562 | 213 Fans - Motor practices-1 (100+ HP) / Electronics |
| 563 | 301 Pumps - O&M / Electronics |
| 564 | 302 Pumps - Controls / Electronics |
| 565 | 303 Pumps - System Optimization / Electronics |
| 566 | 304 Pumps - Sizing / Electronics |
| 567 | 305 Pumps - Replace 1-5 HP motor / Electronics |
| 568 | 306 Pumps - ASD (1-5 hp) / Electronics |
| 569 | 308 Pumps - Replace 6-100 HP motor / Electronics |
| 570 | 309 Pumps - ASD (6-100 hp) / Electronics |
| 571 | 312 Pumps - ASD (100+ hp) / Electronics |
| 572 | 313 Pumps - Motor practices-1 (100+ HP) / Electronics |
| 573 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Electronics |
| 574 | 705 VSD for Chiller Pumps and Towers / Electronics |
| 575 | 706 EMS Optimization - Chiller / Electronics |
| 576 | 707 Aerosol Duct Sealing - Chiller / Electronics |
| 577 | 708 Duct/Pipe Insulation - Chiller / Electronics |
| 578 | 711 Cool Roof - Chiller / Electronics |
| 579 | 723 Geothermal Heat Pump, EER=13, 10 tons / Electronics |
| 580 | 725 DX Coil Cleaning / Electronics |
| 581 | 726 Optimize Controls / Electronics |
| 582 | 727 Aerosol Duct Sealing / Electronics |
| 583 | 728 Duct/Pipe Insulation / Electronics |
| 584 | 801 Premium T8, Electronic Ballast / Electronics |
| 585 | 803 CFL Screw-in 18W / Electronics |
| 586 | 804 High Bay T5 / Electronics |
| 587 | 901 Replace V-belts / Electronics |
| 588 | 101 Compressed Air-O&M / Transp Eqp |
| 589 | 102 Compressed Air - Controls / Transp Eqp |
| 590 | 103 Compressed Air - System Optimization / Transp Eqp |
| 591 | 104 Compressed Air- Sizing / Transp Eqp |
| 592 | 105 Comp Air - Replace 1-5 HP motor / Transp Eqp |
| 593 | 106 Comp Air - ASD (1-5 hp) / Transp Eqp |
| 594 | 108 Comp Air - Replace 6-100 HP motor / Transp Eqp |
| 595 | 109 Comp Air - ASD (6-100 hp) / Transp Eqp |
| 596 | 112 Comp Air - ASD (100+ hp) / Transp Eqp |
| 597 | 113 Comp Air - Motor practices-1 (100+ HP) / Transp Eqp |
| 598 | 201 Fans - O&M / Transp Eqp |
| 599 | 204 Fans- Improve components / Transp Eqp |
| 600 | 205 Fans - Replace 1-5 HP motor / Transp Eqp |
| 601 | 206 Fans - ASD (1-5 hp) / Transp Eqp |
| 602 | 208 Fans - Replace 6-100 HP motor / Transp Eqp |
| 603 | 209 Fans - ASD (6-100 hp) / Transp Eqp |
| 604 | 212 Fans - ASD (100+ hp) / Transp Eqp |
| 605 | 213 Fans - Motor practices-1 (100+ HP) / Transp Eqp |
| 606 | 301 Pumps - O&M / Transp Eqp |
| 607 | 302 Pumps - Controls / Transp Eqp |
| 608 | 303 Pumps - System Optimization / Transp Eqp |
| 609 | 304 Pumps - Sizing / Transp Eqp |
| 610 | 305 Pumps - Replace 1-5 HP motor / Transp Eqp |
| 611 | 306 Pumps - ASD (1-5 hp) / Transp Eqp |
| 612 | 308 Pumps - Replace 6-100 HP motor / Transp Eqp |
| 613 | 309 Pumps - ASD (6-100 hp) / Transp Eqp |
| 614 | 312 Pumps - ASD (100+ hp) / Transp Eqp |
| 615 | 313 Pumps - Motor practices-1 (100+ HP) / Transp Eqp |
| 616 | 427 Drives - Optimization process (M&T) / Transp Eqp |
| 617 | 429 Machinery / Transp Eqp |
| 618 | 510 Heating - Optimization process (M&T) / Transp Eqp |
| 619 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Transp Eqp |
| 620 | 705 VSD for Chiller Pumps and Towers / Transp Eqp |
| 621 | 706 EMS Optimization - Chiller / Transp Eqp |
| 622 | 707 Aerosol Duct Sealing - Chiller / Transp Eqp |
| 623 | 708 Duct/Pipe Insulation - Chiller / Transp Eqp |
| 624 | 711 Cool Roof - Chiller / Transp Eqp |
| 625 | 723 Geothermal Heat Pump, EER=13, 10 tons / Transp Eqp |
| 626 | 725 DX Coil Cleaning / Transp Eqp |
| 627 | 726 Optimize Controls / Transp Eqp |
| 628 | 727 Aerosol Duct Sealing / Transp Eqp |
| 629 | 728 Duct/Pipe Insulation / Transp Eqp |
| 630 | 801 Premium T8, Electronic Ballast / Transp Eqp |
| 631 | 803 CFL Screw-in 18W / Transp Eqp |
| 632 | 804 High Bay T5 / Transp Eqp |
| 633 | 901 Replace V-belts / Transp Eqp |
| 634 | 101 Compressed Air-O&M / Instruments |
| 635 | 102 Compressed Air - Controls / Instruments |
| 636 | 103 Compressed Air - System Optimization / Instruments |
| 637 | 104 Compressed Air- Sizing / Instruments |
| 638 | 105 Comp Air - Replace 1-5 HP motor / Instruments |
| 639 | 106 Comp Air - ASD (1-5 hp) / Instruments |
| 640 | 108 Comp Air - Replace 6-100 HP motor / Instruments |
| 641 | 109 Comp Air - ASD (6-100 hp) / Instruments |
| 642 | 112 Comp Air - ASD (100+ hp) / Instruments |
| 643 | 113 Comp Air - Motor practices-1 (100+ HP) / Instruments |
| 644 | 201 Fans - O&M / Instruments |
| 645 | 204 Fans- Improve components / Instruments |
| 646 | 205 Fans - Replace 1-5 HP motor / Instruments |
| 647 | 206 Fans - ASD (1-5 hp) / Instruments |
| 648 | 208 Fans - Replace 6-100 HP motor / Instruments |
| 649 | 209 Fans - ASD (6-100 hp) / Instruments |
| 650 | 212 Fans - ASD (100+ hp) / Instruments |
| 651 | 213 Fans - Motor practices-1 (100+ HP) / Instruments |
| 652 | 301 Pumps - O&M / Instruments |
| 653 | 302 Pumps - Controls / Instruments |
| 654 | 303 Pumps - System Optimization / Instruments |
| 655 | 304 Pumps - Sizing / Instruments |
| 656 | 305 Pumps - Replace 1-5 HP motor / Instruments |
| 657 | 306 Pumps - ASD (1-5 hp) / Instruments |
| 658 | 308 Pumps - Replace 6-100 HP motor / Instruments |
| 659 | 309 Pumps - ASD (6-100 hp) / Instruments |
| 660 | 312 Pumps - ASD (100+ hp) / Instruments |
| 661 | 313 Pumps - Motor practices-1 (100+ HP) / Instruments |
| 662 | 427 Drives - Optimization process (M&T) / Instruments |
| 663 | 429 Machinery / Instruments |
| 664 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Instruments |
| 665 | 705 VSD for Chiller Pumps and Towers / Instruments |
| 666 | 706 EMS Optimization - Chiller / Instruments |
| 667 | 707 Aerosol Duct Sealing - Chiller / Instruments |
| 668 | 708 Duct/Pipe Insulation - Chiller / Instruments |
| 669 | 711 Cool Roof - Chiller / Instruments |
| 670 | 723 Geothermal Heat Pump, EER=13, 10 tons / Instruments |
| 671 | 725 DX Coil Cleaning / Instruments |
| 672 | 726 Optimize Controls / Instruments |
| 673 | 727 Aerosol Duct Sealing / Instruments |
| 674 | 728 Duct/Pipe Insulation / Instruments |
| 675 | 801 Premium T8, Electronic Ballast / Instruments |
| 676 | 803 CFL Screw-in 18W / Instruments |
| 677 | 804 High Bay T5 / Instruments |
| 678 | 901 Replace V-belts / Instruments |
| 679 | 101 Compressed Air-O&M / Misc |
| 680 | 102 Compressed Air - Controls / Misc |
| 681 | 103 Compressed Air - System Optimization / Misc |
| 682 | 104 Compressed Air- Sizing / Misc |
| 683 | 105 Comp Air - Replace 1-5 HP motor / Misc |
| 684 | 106 Comp Air - ASD (1-5 hp) / Misc |
| 685 | 108 Comp Air - Replace 6-100 HP motor / Misc |
| 686 | 109 Comp Air - ASD (6-100 hp) / Misc |
| 687 | 112 Comp Air - ASD (100+ hp) / Misc |
| 688 | 113 Comp Air - Motor practices-1 (100+ HP) / Misc |
| 689 | 201 Fans - O&M / Misc |
| 690 | 204 Fans- Improve components / Misc |
| 691 | 205 Fans - Replace 1-5 HP motor / Misc |
| 692 | 206 Fans - ASD (1-5 hp) / Misc |
| 693 | 208 Fans - Replace 6-100 HP motor / Misc |
| 694 | 209 Fans - ASD (6-100 hp) / Misc |
| 695 | 212 Fans - ASD (100+ hp) / Misc |
| 696 | 213 Fans - Motor practices-1 (100+ HP) / Misc |
| 697 | 301 Pumps - O&M / Misc |
| 698 | 302 Pumps - Controls / Misc |
| 699 | 303 Pumps - System Optimization / Misc |
| 700 | 304 Pumps - Sizing / Misc |
| 701 | 305 Pumps - Replace 1-5 HP motor / Misc |
| 702 | 306 Pumps - ASD (1-5 hp) / Misc |
| 703 | 308 Pumps - Replace 6-100 HP motor / Misc |
| 704 | 309 Pumps - ASD (6-100 hp) / Misc |
| 705 | 312 Pumps - ASD (100+ hp) / Misc |
| 706 | 313 Pumps - Motor practices-1 (100+ HP) / Misc |
| 707 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Misc |
| 708 | 705 VSD for Chiller Pumps and Towers / Misc |
| 709 | 706 EMS Optimization - Chiller / Misc |
| 710 | 707 Aerosol Duct Sealing - Chiller / Misc |
| 711 | 708 Duct/Pipe Insulation - Chiller / Misc |
| 712 | 711 Cool Roof - Chiller / Misc |
| 713 | 723 Geothermal Heat Pump, EER=13, 10 tons / Misc |
| 714 | 725 DX Coil Cleaning / Misc |
| 715 | 726 Optimize Controls / Misc |
| 716 | 727 Aerosol Duct Sealing / Misc |
| 717 | 728 Duct/Pipe Insulation / Misc |
| 718 | 801 Premium T8, Electronic Ballast / Misc |
| 719 | 803 CFL Screw-in 18W / Misc |
| 720 | 804 High Bay T5 / Misc |
| 721 | 901 Replace V-belts / Misc |

|  |  |
| --- | --- |
| **Achievable Potential -- RIM** | |
| **Remaining Measures Passing** | |
| **#** | **Measure Name** |
| **Residential** | |
| 1 | 100 106 15 SEER Split-System Heat Pump / Single Detached |
| 2 | 100 116 Duct Repair / Single Detached |
| 3 | 100 119 Window Film / Single Detached |
| 4 | 100 121 Default Window With Sunscreen / Single Detached |
| 5 | 100 122 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached |
| 6 | 100 124 Ceiling R-0 to R-19 Insulation / Single Detached |
| 7 | 130 132 15 SEER Split-System Heat Pump / Single Detached |
| 8 | 130 141 Electronically Commutated Motors (ECM) on an Air Handler Unit / Single Detached |
| 9 | 130 142 Duct Repair / Single Detached |
| 10 | 130 145 Window Film / Single Detached |
| 11 | 130 147 Default Window With Sunscreen / Single Detached |
| 12 | 130 148 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached |
| 13 | 130 150 Ceiling R-0 to R-19 Insulation / Single Detached |
| 14 | 190 202 Ceiling R-0 to R-19 Insulation / Single Detached |
| 15 | 100 105 14 SEER Split-System Heat Pump / Multi Attached |
| 16 | 100 116 Duct Repair / Multi Attached |
| 17 | 100 119 Window Film / Multi Attached |
| 18 | 100 124 Ceiling R-0 to R-19 Insulation / Multi Attached |
| 19 | 130 142 Duct Repair / Multi Attached |
| 20 | 130 145 Window Film / Multi Attached |
| 21 | 130 150 Ceiling R-0 to R-19 Insulation / Multi Attached |
| 22 | 100 105 14 SEER Split-System Heat Pump / Single Detached - Manufactured |
| 23 | 100 106 15 SEER Split-System Heat Pump / Single Detached - Manufactured |
| 24 | 100 116 Duct Repair / Single Detached - Manufactured |
| 25 | 100 122 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached - Manufactured |
| 26 | 100 124 Ceiling R-0 to R-19 Insulation / Single Detached - Manufactured |
| 27 | 130 132 15 SEER Split-System Heat Pump / Single Detached - Manufactured |
| 28 | 130 142 Duct Repair / Single Detached - Manufactured |
| 29 | 130 148 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached - Manufactured |
| 30 | 130 150 Ceiling R-0 to R-19 Insulation / Single Detached - Manufactured |
| 31 | Residential Load Management |
| **Commercial** | |
| 1 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Office |
| 2 | 300 305 Chiller Tune Up/Diagnostics / Office |
| 3 | 300 313 Ceiling Insulation / Office |
| 4 | 300 314 Roof Insulation / Office |
| 5 | 300 315 Cool Roof - Chiller / Office |
| 6 | 300 317 Thermal Energy Storage (TES) / Office |
| 7 | 320 321 DX Packaged System, EER=10.9, 10 tons / Office |
| 8 | 320 334 Ceiling Insulation / Office |
| 9 | 320 335 Roof Insulation / Office |
| 10 | 340 349 Ceiling Insulation / Office |
| 11 | 340 350 Roof Insulation / Office |
| 12 | 340 351 Cool Roof - DX / Office |
| 13 | 360 361 HE PTAC, EER=9.6, 1 ton / Office |
| 14 | 300 313 Ceiling Insulation / Restaurant or Services |
| 15 | 300 314 Roof Insulation / Restaurant or Services |
| 16 | 300 315 Cool Roof - Chiller / Restaurant or Services |
| 17 | 300 317 Thermal Energy Storage (TES) / Restaurant or Services |
| 18 | 320 321 DX Packaged System, EER=10.9, 10 tons / Restaurant or Services |
| 19 | 340 351 Cool Roof - DX / Restaurant or Services |
| 20 | 400 406 Energy Recovery Ventilation (ERV) / Restaurant or Services |
| 21 | 300 305 Chiller Tune Up/Diagnostics / Retail |
| 22 | 300 313 Ceiling Insulation / Retail |
| 23 | 300 314 Roof Insulation / Retail |
| 24 | 300 315 Cool Roof - Chiller / Retail |
| 25 | 320 321 DX Packaged System, EER=10.9, 10 tons / Retail |
| 26 | 320 334 Ceiling Insulation / Retail |
| 27 | 320 335 Roof Insulation / Retail |
| 28 | 340 349 Ceiling Insulation / Retail |
| 29 | 340 351 Cool Roof - DX / Retail |
| 30 | 360 361 HE PTAC, EER=9.6, 1 ton / Retail |
| 31 | 400 406 Energy Recovery Ventilation (ERV) / Retail |
| 32 | 300 313 Ceiling Insulation / Food Store |
| 33 | 300 314 Roof Insulation / Food Store |
| 34 | 320 321 DX Packaged System, EER=10.9, 10 tons / Food Store |
| 35 | 320 334 Ceiling Insulation / Food Store |
| 36 | 320 335 Roof Insulation / Food Store |
| 37 | 340 351 Cool Roof - DX / Food Store |
| 38 | 360 361 HE PTAC, EER=9.6, 1 ton / Food Store |
| 39 | 400 406 Energy Recovery Ventilation (ERV) / Food Store |
| 40 | 300 305 Chiller Tune Up/Diagnostics / School |
| 41 | 300 313 Ceiling Insulation / School |
| 42 | 300 314 Roof Insulation / School |
| 43 | 320 321 DX Packaged System, EER=10.9, 10 tons / School |
| 44 | 320 334 Ceiling Insulation / School |
| 45 | 320 335 Roof Insulation / School |
| 46 | 340 349 Ceiling Insulation / School |
| 47 | 340 351 Cool Roof - DX / School |
| 48 | 360 361 HE PTAC, EER=9.6, 1 ton / School |
| 49 | 300 305 Chiller Tune Up/Diagnostics / College |
| 50 | 300 313 Ceiling Insulation / College |
| 51 | 320 321 DX Packaged System, EER=10.9, 10 tons / College |
| 52 | 320 334 Ceiling Insulation / College |
| 53 | 320 335 Roof Insulation / College |
| 54 | 340 349 Ceiling Insulation / College |
| 55 | 340 351 Cool Roof - DX / College |
| 56 | 360 361 HE PTAC, EER=9.6, 1 ton / College |
| 57 | 400 406 Energy Recovery Ventilation (ERV) / College |
| 58 | 300 313 Ceiling Insulation / Hospital |
| 59 | 300 314 Roof Insulation / Hospital |
| 60 | 320 321 DX Packaged System, EER=10.9, 10 tons / Hospital |
| 61 | 340 351 Cool Roof - DX / Hospital |
| 62 | 400 405 Demand Control Ventilation (DCV) / Hospital |
| 63 | 400 406 Energy Recovery Ventilation (ERV) / Hospital |
| 64 | 300 313 Ceiling Insulation / Other Healthcare |
| 65 | 300 314 Roof Insulation / Other Healthcare |
| 66 | 320 321 DX Packaged System, EER=10.9, 10 tons / Other Healthcare |
| 67 | 320 334 Ceiling Insulation / Other Healthcare |
| 68 | 320 335 Roof Insulation / Other Healthcare |
| 69 | 340 349 Ceiling Insulation / Other Healthcare |
| 70 | 340 351 Cool Roof - DX / Other Healthcare |
| 71 | 360 361 HE PTAC, EER=9.6, 1 ton / Other Healthcare |
| 72 | 300 313 Ceiling Insulation / Hotel or Motel |
| 73 | 320 321 DX Packaged System, EER=10.9, 10 tons / Hotel or Motel |
| 74 | 320 334 Ceiling Insulation / Hotel or Motel |
| 75 | 320 335 Roof Insulation / Hotel or Motel |
| 76 | 340 349 Ceiling Insulation / Hotel or Motel |
| 77 | 340 351 Cool Roof - DX / Hotel or Motel |
| 78 | 300 305 Chiller Tune Up/Diagnostics / Other |
| 79 | 300 313 Ceiling Insulation / Other |
| 80 | 320 334 Ceiling Insulation / Other |
| 81 | 320 335 Roof Insulation / Other |
| 82 | 340 349 Ceiling Insulation / Other |
| 83 | 360 361 HE PTAC, EER=9.6, 1 ton / Other |
| 84 | Standby Generation |
| 85 | Interruptible Service |
| 86 | Curtailable Service |
| **Industrial** | |
| 0 | None |
| **Measures Failing** | |
| **#** | **Measure Name** |
| **Residential** | |
| 1 | 100 103 17 SEER Split-System Air Conditioner / Single Detached |
| 2 | 100 104 19 SEER Split-System Air Conditioner / Single Detached |
| 3 | 100 105 14 SEER Split-System Heat Pump / Single Detached |
| 4 | 100 107 17 SEER Split-System Heat Pump / Single Detached |
| 5 | 100 108 13 EER Geothermal Heat Pump / Single Detached |
| 6 | 100 111 Sealed Attic w/Sprayed Foam Insulated Roof Deck / Single Detached |
| 7 | 100 117 Reflective Roof / Single Detached |
| 8 | 100 120 Window Tinting / Single Detached |
| 9 | 100 125 Ceiling R-19 to R-38 Insulation / Single Detached |
| 10 | 100 126 Wall 2x4 R-0 to Blow-In R-13 Insulation / Single Detached |
| 11 | 130 133 17 SEER Split-System Heat Pump / Single Detached |
| 12 | 130 134 13 EER Geothermal Heat Pump / Single Detached |
| 13 | 130 137 Sealed Attics / Single Detached |
| 14 | 130 143 Reflective Roof / Single Detached |
| 15 | 130 146 Window Tinting / Single Detached |
| 16 | 130 151 Ceiling R-19 to R-38 Insulation / Single Detached |
| 17 | 130 152 Wall 2x4 R-0 to Blow-In R-13 Insulation / Single Detached |
| 18 | 190 196 Reflective Roof / Single Detached |
| 19 | 190 197 Window Film / Single Detached |
| 20 | 190 198 Window Tinting / Single Detached |
| 21 | 190 199 Default Window With Sunscreen / Single Detached |
| 22 | 190 200 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached |
| 23 | 190 203 Ceiling R-19 to R-38 Insulation / Single Detached |
| 24 | 190 204 Wall 2x4 R-0 to Blow-In R-13 Insulation / Single Detached |
| 25 | 100 102 15 SEER Split-System Air Conditioner / Multi Attached |
| 26 | 100 103 17 SEER Split-System Air Conditioner / Multi Attached |
| 27 | 100 104 19 SEER Split-System Air Conditioner / Multi Attached |
| 28 | 100 106 15 SEER Split-System Heat Pump / Multi Attached |
| 29 | 100 111 Sealed Attic w/Sprayed Foam Insulated Roof Deck / Multi Attached |
| 30 | 100 117 Reflective Roof / Multi Attached |
| 31 | 100 118 Radiant Barrier / Multi Attached |
| 32 | 100 125 Ceiling R-19 to R-38 Insulation / Multi Attached |
| 33 | 100 126 Wall 2x4 R-0 to Blow-In R-13 Insulation / Multi Attached |
| 34 | 130 137 Sealed Attics / Multi Attached |
| 35 | 130 143 Reflective Roof / Multi Attached |
| 36 | 130 144 Radiant Barrier / Multi Attached |
| 37 | 130 146 Window Tinting / Multi Attached |
| 38 | 130 147 Default Window With Sunscreen / Multi Attached |
| 39 | 130 151 Ceiling R-19 to R-38 Insulation / Multi Attached |
| 40 | 130 152 Wall 2x4 R-0 to Blow-In R-13 Insulation / Multi Attached |
| 41 | 190 192 HE Room Air Conditioner - EER 12 / Multi Attached |
| 42 | 190 199 Default Window With Sunscreen / Multi Attached |
| 43 | 100 102 15 SEER Split-System Air Conditioner / Single Detached - Manufactured |
| 44 | 100 103 17 SEER Split-System Air Conditioner / Single Detached - Manufactured |
| 45 | 100 104 19 SEER Split-System Air Conditioner / Single Detached - Manufactured |
| 46 | 100 107 17 SEER Split-System Heat Pump / Single Detached - Manufactured |
| 47 | 100 108 13 EER Geothermal Heat Pump / Single Detached - Manufactured |
| 48 | 100 111 Sealed Attic w/Sprayed Foam Insulated Roof Deck / Single Detached - Manufactured |
| 49 | 100 118 Radiant Barrier / Single Detached - Manufactured |
| 50 | 100 120 Window Tinting / Single Detached - Manufactured |
| 51 | 100 125 Ceiling R-19 to R-38 Insulation / Single Detached - Manufactured |
| 52 | 100 126 Wall 2x4 R-0 to Blow-In R-13 Insulation / Single Detached - Manufactured |
| 53 | 130 137 Sealed Attics / Single Detached - Manufactured |
| 54 | 130 144 Radiant Barrier / Single Detached - Manufactured |
| 55 | 130 146 Window Tinting / Single Detached - Manufactured |
| 56 | 130 151 Ceiling R-19 to R-38 Insulation / Single Detached - Manufactured |
| 57 | 130 152 Wall 2x4 R-0 to Blow-In R-13 Insulation / Single Detached - Manufactured |
| 58 | 190 191 HE Room Air Conditioner - EER 11 / Single Detached - Manufactured |
| 59 | 190 192 HE Room Air Conditioner - EER 12 / Single Detached - Manufactured |
| 60 | 190 198 Window Tinting / Single Detached - Manufactured |
| 61 | 190 199 Default Window With Sunscreen / Single Detached - Manufactured |
| 62 | 190 200 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached - Manufactured |
| **Commercial** | |
| 1 | 160 161 LED Exit Sign / Office |
| 2 | 300 311 Window Film (Standard) / Office |
| 3 | 300 317 Thermal Energy Storage (TES) Positive / Office |
| 4 | 320 332 Window Film (Standard) / Office |
| 5 | 340 342 Geothermal Heat Pump, EER=13, 10 tons / Office |
| 6 | 340 347 Window Film (Standard) / Office |
| 7 | 400 405 Demand Control Ventilation (DCV) / Office |
| 8 | 400 406 Energy Recovery Ventilation (ERV) / Office |
| 9 | 160 161 LED Exit Sign / Restaurant or Services |
| 10 | 300 309 Duct/Pipe Insulation / Restaurant or Services |
| 11 | 300 311 Window Film (Standard) / Restaurant or Services |
| 12 | 300 317 Thermal Energy Storage (TES) Positive / Restaurant or Services |
| 13 | 340 345 Duct/Pipe Insulation / Restaurant or Services |
| 14 | 400 405 Demand Control Ventilation (DCV) / Restaurant or Services |
| 15 | 160 161 LED Exit Sign / Retail |
| 16 | 300 311 Window Film (Standard) / Retail |
| 17 | 400 405 Demand Control Ventilation (DCV) / Retail |
| 18 | 160 161 LED Exit Sign / Food Store |
| 19 | 300 311 Window Film (Standard) / Food Store |
| 20 | 400 405 Demand Control Ventilation (DCV) / Food Store |
| 21 | 160 161 LED Exit Sign / School |
| 22 | 300 311 Window Film (Standard) / School |
| 23 | 400 405 Demand Control Ventilation (DCV) / School |
| 24 | 400 406 Energy Recovery Ventilation (ERV) / School |
| 25 | 160 161 LED Exit Sign / College |
| 26 | 300 311 Window Film (Standard) / College |
| 27 | 300 314 Roof Insulation / College |
| 28 | 400 405 Demand Control Ventilation (DCV) / College |
| 29 | 160 161 LED Exit Sign / Other Healthcare |
| 30 | 300 311 Window Film (Standard) / Other Healthcare |
| 31 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Other Healthcare |
| 32 | 400 405 Demand Control Ventilation (DCV) / Other Healthcare |
| 33 | 400 406 Energy Recovery Ventilation (ERV) / Other Healthcare |
| 34 | 300 305 Chiller Tune Up/Diagnostics / Warehouse |
| 35 | 300 311 Window Film (Standard) / Warehouse |
| 36 | 300 313 Ceiling Insulation / Warehouse |
| 37 | 300 314 Roof Insulation / Warehouse |
| 38 | 320 321 DX Packaged System, EER=10.9, 10 tons / Warehouse |
| 39 | 320 334 Ceiling Insulation / Warehouse |
| 40 | 320 335 Roof Insulation / Warehouse |
| 41 | 340 349 Ceiling Insulation / Warehouse |
| 42 | 340 351 Cool Roof - DX / Warehouse |
| 43 | 360 361 HE PTAC, EER=9.6, 1 ton / Warehouse |
| 44 | 400 405 Demand Control Ventilation (DCV) / Warehouse |
| 45 | 400 406 Energy Recovery Ventilation (ERV) / Warehouse |
| 46 | 160 161 LED Exit Sign / Hotel or Motel |
| 47 | 300 311 Window Film (Standard) / Hotel or Motel |
| 48 | 300 314 Roof Insulation / Hotel or Motel |
| 49 | 400 405 Demand Control Ventilation (DCV) / Hotel or Motel |
| 50 | 400 406 Energy Recovery Ventilation (ERV) / Hotel or Motel |
| 51 | 160 161 LED Exit Sign / Other |
| 52 | 300 311 Window Film (Standard) / Other |
| 53 | 300 314 Roof Insulation / Other |
| 54 | 320 321 DX Packaged System, EER=10.9, 10 tons / Other |
| 55 | 340 351 Cool Roof - DX / Other |
| 56 | 400 405 Demand Control Ventilation (DCV) / Other |
| 57 | 400 406 Energy Recovery Ventilation (ERV) / Other |
| 58 | 100 146 LED (12-Watt) / All |
| **Industrial** | |
| 0 | None |

|  |  |
| --- | --- |
| **Achievable Potential -- TRC** | |
| **Remaining Measures Passing** | |
| **#** | **Measure Name** |
| **Residential** | |
| 1 | 100 106 15 SEER Split-System Heat Pump / Single Detached |
| 2 | 100 115 Electronically Commutated Motors (ECM) on an Air Handler Unit / Single Detached |
| 3 | 100 116 Duct Repair / Single Detached |
| 4 | 100 119 Window Film / Single Detached |
| 5 | 100 121 Default Window With Sunscreen / Single Detached |
| 6 | 100 122 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached |
| 7 | 100 124 Ceiling R-0 to R-19 Insulation / Single Detached |
| 8 | 130 132 15 SEER Split-System Heat Pump / Single Detached |
| 9 | 130 136 Attic Venting / Single Detached |
| 10 | 130 141 Electronically Commutated Motors (ECM) on an Air Handler Unit / Single Detached |
| 11 | 130 142 Duct Repair / Single Detached |
| 12 | 130 145 Window Film / Single Detached |
| 13 | 130 147 Default Window With Sunscreen / Single Detached |
| 14 | 130 148 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached |
| 15 | 130 150 Ceiling R-0 to R-19 Insulation / Single Detached |
| 16 | 190 191 HE Room Air Conditioner - EER 11 / Single Detached |
| 17 | 190 192 HE Room Air Conditioner - EER 12 / Single Detached |
| 18 | 190 202 Ceiling R-0 to R-19 Insulation / Single Detached |
| 19 | 220 221 CFL (18-Watt integral ballast), 0.5 hr/day / Single Detached |
| 20 | 300 301 HE Refrigerator - Energy Star version of above / Single Detached |
| 21 | 400 401 Heat Pump Water Heater (EF=2.9) / Single Detached |
| 22 | 400 410 Water Heater Timeclock / Single Detached |
| 23 | 800 803 Variable-Speed Pool Pump (<1 hp) / Single Detached |
| 24 | 100 105 14 SEER Split-System Heat Pump / Multi Attached |
| 25 | 100 115 Electronically Commutated Motors (ECM) on an Air Handler Unit / Multi Attached |
| 26 | 100 116 Duct Repair / Multi Attached |
| 27 | 100 119 Window Film / Multi Attached |
| 28 | 100 120 Window Tinting / Multi Attached |
| 29 | 100 122 Single Pane Clear Windows to Double Pane Low-E Windows / Multi Attached |
| 30 | 100 124 Ceiling R-0 to R-19 Insulation / Multi Attached |
| 31 | 130 140 Proper Refrigerant Charging and Air Flow / Multi Attached |
| 32 | 130 142 Duct Repair / Multi Attached |
| 33 | 130 145 Window Film / Multi Attached |
| 34 | 130 146 Window Tinting / Multi Attached |
| 35 | 130 147 Default Window With Sunscreen / Multi Attached |
| 36 | 130 148 Single Pane Clear Windows to Double Pane Low-E Windows / Multi Attached |
| 37 | 130 150 Ceiling R-0 to R-19 Insulation / Multi Attached |
| 38 | 190 191 HE Room Air Conditioner - EER 11 / Multi Attached |
| 39 | 190 192 HE Room Air Conditioner - EER 12 / Multi Attached |
| 40 | 190 200 Single Pane Clear Windows to Double Pane Low-E Windows / Multi Attached |
| 41 | 220 221 CFL (18-Watt integral ballast), 0.5 hr/day / Multi Attached |
| 42 | 300 301 HE Refrigerator - Energy Star version of above / Multi Attached |
| 43 | 800 803 Variable-Speed Pool Pump (<1 hp) / Multi Attached |
| 44 | 100 105 14 SEER Split-System Heat Pump / Single Detached - Manufactured |
| 45 | 100 106 15 SEER Split-System Heat Pump / Single Detached - Manufactured |
| 46 | 100 115 Electronically Commutated Motors (ECM) on an Air Handler Unit / Single Detached - Manufactured |
| 47 | 100 116 Duct Repair / Single Detached - Manufactured |
| 48 | 100 122 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached - Manufactured |
| 49 | 100 124 Ceiling R-0 to R-19 Insulation / Single Detached - Manufactured |
| 50 | 130 132 15 SEER Split-System Heat Pump / Single Detached - Manufactured |
| 51 | 130 136 Attic Venting / Single Detached - Manufactured |
| 52 | 130 142 Duct Repair / Single Detached - Manufactured |
| 53 | 130 148 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached - Manufactured |
| 54 | 130 150 Ceiling R-0 to R-19 Insulation / Single Detached - Manufactured |
| 55 | 190 191 HE Room Air Conditioner - EER 11 / Single Detached - Manufactured |
| 56 | 190 192 HE Room Air Conditioner - EER 12 / Single Detached - Manufactured |
| 57 | 190 200 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached - Manufactured |
| 58 | 220 221 CFL (18-Watt integral ballast), 0.5 hr/day / Single Detached - Manufactured |
| 59 | 300 301 HE Refrigerator - Energy Star version of above / Single Detached - Manufactured |
| 60 | 800 803 Variable-Speed Pool Pump (<1 hp) / Single Detached - Manufactured |
| 61 | 200 232 LED 12W, 2.5hr/hday / All |
| 62 | 200 242 LED 12W, 6.0hr/hday / All |
| 63 | Residential Load Management |
| **Commercial** | |
| 1 | 110 111 Premium T8, Electronic Ballast / Office |
| 2 | 110 112 Premium T8, EB, Reflector / Office |
| 3 | 110 113 Occupancy Sensor / Office |
| 4 | 120 123 Occupancy Sensor / Office |
| 5 | 140 141 CFL Hardwired, Modular 18W / Office |
| 6 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Office |
| 7 | 300 302 High Efficiency Chiller Motors / Office |
| 8 | 300 304 EMS - Chiller / Office |
| 9 | 300 305 Chiller Tune Up/Diagnostics / Office |
| 10 | 300 306 VSD for Chiller Pumps and Towers / Office |
| 11 | 300 311 Window Film (Standard) / Office |
| 12 | 300 313 Ceiling Insulation / Office |
| 13 | 300 314 Roof Insulation / Office |
| 14 | 300 315 Cool Roof - Chiller / Office |
| 15 | 300 317 Thermal Energy Storage (TES) Positive / Office |
| 16 | 320 321 DX Packaged System, EER=10.9, 10 tons / Office |
| 17 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Office |
| 18 | 320 332 Window Film (Standard) / Office |
| 19 | 320 334 Ceiling Insulation / Office |
| 20 | 320 335 Roof Insulation / Office |
| 21 | 340 347 Window Film (Standard) / Office |
| 22 | 340 349 Ceiling Insulation / Office |
| 23 | 340 350 Roof Insulation / Office |
| 24 | 340 351 Cool Roof - DX / Office |
| 25 | 360 361 HE PTAC, EER=9.6, 1 ton / Office |
| 26 | 360 362 Occupancy Sensor (hotels) / Office |
| 27 | 400 402 Variable Speed Drive Control / Office |
| 28 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Office |
| 29 | 600 603 Heat Pump Water Heater (air source) / Office |
| 30 | 600 604 Solar Water Heater / Office |
| 31 | 600 608 Heat Recovery Unit / Office |
| 32 | 110 111 Premium T8, Electronic Ballast / Restaurant or Services |
| 33 | 110 112 Premium T8, EB, Reflector / Restaurant or Services |
| 34 | 140 141 CFL Hardwired, Modular 18W / Restaurant or Services |
| 35 | 300 302 High Efficiency Chiller Motors / Restaurant or Services |
| 36 | 300 311 Window Film (Standard) / Restaurant or Services |
| 37 | 300 313 Ceiling Insulation / Restaurant or Services |
| 38 | 300 314 Roof Insulation / Restaurant or Services |
| 39 | 300 315 Cool Roof - Chiller / Restaurant or Services |
| 40 | 300 317 Thermal Energy Storage (TES) Positive / Restaurant or Services |
| 41 | 320 321 DX Packaged System, EER=10.9, 10 tons / Restaurant or Services |
| 42 | 320 336 Cool Roof - DX / Restaurant or Services |
| 43 | 340 351 Cool Roof - DX / Restaurant or Services |
| 44 | 360 362 Occupancy Sensor (hotels) / Restaurant or Services |
| 45 | 400 402 Variable Speed Drive Control / Restaurant or Services |
| 46 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Restaurant or Services |
| 47 | 400 406 Energy Recovery Ventilation (ERV) / Restaurant or Services |
| 48 | 600 604 Solar Water Heater / Restaurant or Services |
| 49 | 110 111 Premium T8, Electronic Ballast / Retail |
| 50 | 110 112 Premium T8, EB, Reflector / Retail |
| 51 | 140 141 CFL Hardwired, Modular 18W / Retail |
| 52 | 300 302 High Efficiency Chiller Motors / Retail |
| 53 | 300 304 EMS - Chiller / Retail |
| 54 | 300 305 Chiller Tune Up/Diagnostics / Retail |
| 55 | 300 311 Window Film (Standard) / Retail |
| 56 | 300 313 Ceiling Insulation / Retail |
| 57 | 300 314 Roof Insulation / Retail |
| 58 | 300 315 Cool Roof - Chiller / Retail |
| 59 | 300 317 Thermal Energy Storage (TES) Positive / Retail |
| 60 | 320 321 DX Packaged System, EER=10.9, 10 tons / Retail |
| 61 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Retail |
| 62 | 320 326 DX Tune Up/ Advanced Diagnostics / Retail |
| 63 | 320 334 Ceiling Insulation / Retail |
| 64 | 320 335 Roof Insulation / Retail |
| 65 | 340 349 Ceiling Insulation / Retail |
| 66 | 340 351 Cool Roof - DX / Retail |
| 67 | 360 361 HE PTAC, EER=9.6, 1 ton / Retail |
| 68 | 400 402 Variable Speed Drive Control / Retail |
| 69 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Retail |
| 70 | 400 406 Energy Recovery Ventilation (ERV) / Retail |
| 71 | 600 603 Heat Pump Water Heater (air source) / Retail |
| 72 | 110 111 Premium T8, Electronic Ballast / Food Store |
| 73 | 300 302 High Efficiency Chiller Motors / Food Store |
| 74 | 300 304 EMS - Chiller / Food Store |
| 75 | 300 311 Window Film (Standard) / Food Store |
| 76 | 300 313 Ceiling Insulation / Food Store |
| 77 | 300 314 Roof Insulation / Food Store |
| 78 | 300 317 Thermal Energy Storage (TES) Positive / Food Store |
| 79 | 320 321 DX Packaged System, EER=10.9, 10 tons / Food Store |
| 80 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Food Store |
| 81 | 320 334 Ceiling Insulation / Food Store |
| 82 | 320 335 Roof Insulation / Food Store |
| 83 | 340 351 Cool Roof - DX / Food Store |
| 84 | 360 361 HE PTAC, EER=9.6, 1 ton / Food Store |
| 85 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Food Store |
| 86 | 400 406 Energy Recovery Ventilation (ERV) / Food Store |
| 87 | 500 501 High-efficiency fan motors / Food Store |
| 88 | 500 513 High R-Value Glass Doors / Food Store |
| 89 | 500 515 Oversized Air Cooled Condenser / Food Store |
| 90 | 600 603 Heat Pump Water Heater (air source) / Food Store |
| 91 | 600 608 Heat Recovery Unit / Food Store |
| 92 | 110 111 Premium T8, Electronic Ballast / School |
| 93 | 120 121 ROB Premium T8, 1EB / School |
| 94 | 120 122 ROB Premium T8, EB, Reflector / School |
| 95 | 150 152 PSMH, 250 W, electronic ballast / School |
| 96 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / School |
| 97 | 300 302 High Efficiency Chiller Motors / School |
| 98 | 300 304 EMS - Chiller / School |
| 99 | 300 305 Chiller Tune Up/Diagnostics / School |
| 100 | 300 306 VSD for Chiller Pumps and Towers / School |
| 101 | 300 311 Window Film (Standard) / School |
| 102 | 300 313 Ceiling Insulation / School |
| 103 | 300 314 Roof Insulation / School |
| 104 | 320 321 DX Packaged System, EER=10.9, 10 tons / School |
| 105 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / School |
| 106 | 320 326 DX Tune Up/ Advanced Diagnostics / School |
| 107 | 320 334 Ceiling Insulation / School |
| 108 | 320 335 Roof Insulation / School |
| 109 | 340 349 Ceiling Insulation / School |
| 110 | 340 351 Cool Roof - DX / School |
| 111 | 360 361 HE PTAC, EER=9.6, 1 ton / School |
| 112 | 400 402 Variable Speed Drive Control / School |
| 113 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / School |
| 114 | 110 111 Premium T8, Electronic Ballast / College |
| 115 | 120 121 ROB Premium T8, 1EB / College |
| 116 | 120 122 ROB Premium T8, EB, Reflector / College |
| 117 | 150 152 PSMH, 250 W, electronic ballast / College |
| 118 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / College |
| 119 | 300 302 High Efficiency Chiller Motors / College |
| 120 | 300 304 EMS - Chiller / College |
| 121 | 300 305 Chiller Tune Up/Diagnostics / College |
| 122 | 300 306 VSD for Chiller Pumps and Towers / College |
| 123 | 300 313 Ceiling Insulation / College |
| 124 | 300 314 Roof Insulation / College |
| 125 | 320 321 DX Packaged System, EER=10.9, 10 tons / College |
| 126 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / College |
| 127 | 320 326 DX Tune Up/ Advanced Diagnostics / College |
| 128 | 320 334 Ceiling Insulation / College |
| 129 | 320 335 Roof Insulation / College |
| 130 | 340 349 Ceiling Insulation / College |
| 131 | 340 351 Cool Roof - DX / College |
| 132 | 360 361 HE PTAC, EER=9.6, 1 ton / College |
| 133 | 400 402 Variable Speed Drive Control / College |
| 134 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / College |
| 135 | 400 406 Energy Recovery Ventilation (ERV) / College |
| 136 | 600 608 Heat Recovery Unit / College |
| 137 | 110 111 Premium T8, Electronic Ballast / Hospital |
| 138 | 300 313 Ceiling Insulation / Hospital |
| 139 | 300 314 Roof Insulation / Hospital |
| 140 | 300 317 Thermal Energy Storage (TES) Positive / Hospital |
| 141 | 320 321 DX Packaged System, EER=10.9, 10 tons / Hospital |
| 142 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Hospital |
| 143 | 340 351 Cool Roof - DX / Hospital |
| 144 | 400 405 Demand Control Ventilation (DCV) / Hospital |
| 145 | 400 406 Energy Recovery Ventilation (ERV) / Hospital |
| 146 | 110 111 Premium T8, Electronic Ballast / Other Healthcare |
| 147 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Other Healthcare |
| 148 | 300 302 High Efficiency Chiller Motors / Other Healthcare |
| 149 | 300 304 EMS - Chiller / Other Healthcare |
| 150 | 300 306 VSD for Chiller Pumps and Towers / Other Healthcare |
| 151 | 300 311 Window Film (Standard) / Other Healthcare |
| 152 | 300 313 Ceiling Insulation / Other Healthcare |
| 153 | 300 314 Roof Insulation / Other Healthcare |
| 154 | 300 317 Thermal Energy Storage (TES) Positive / Other Healthcare |
| 155 | 320 321 DX Packaged System, EER=10.9, 10 tons / Other Healthcare |
| 156 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Other Healthcare |
| 157 | 320 326 DX Tune Up/ Advanced Diagnostics / Other Healthcare |
| 158 | 320 334 Ceiling Insulation / Other Healthcare |
| 159 | 320 335 Roof Insulation / Other Healthcare |
| 160 | 340 349 Ceiling Insulation / Other Healthcare |
| 161 | 340 351 Cool Roof - DX / Other Healthcare |
| 162 | 360 361 HE PTAC, EER=9.6, 1 ton / Other Healthcare |
| 163 | 400 402 Variable Speed Drive Control / Other Healthcare |
| 164 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Other Healthcare |
| 165 | 110 111 Premium T8, Electronic Ballast / Warehouse |
| 166 | 120 121 ROB Premium T8, 1EB / Warehouse |
| 167 | 150 152 PSMH, 250 W, electronic ballast / Warehouse |
| 168 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Warehouse |
| 169 | 300 306 VSD for Chiller Pumps and Towers / Warehouse |
| 170 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Warehouse |
| 171 | 360 361 HE PTAC, EER=9.6, 1 ton / Warehouse |
| 172 | 110 111 Premium T8, Electronic Ballast / Hotel or Motel |
| 173 | 300 311 Window Film (Standard) / Hotel or Motel |
| 174 | 300 313 Ceiling Insulation / Hotel or Motel |
| 175 | 300 314 Roof Insulation / Hotel or Motel |
| 176 | 300 317 Thermal Energy Storage (TES) Positive / Hotel or Motel |
| 177 | 320 321 DX Packaged System, EER=10.9, 10 tons / Hotel or Motel |
| 178 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Hotel or Motel |
| 179 | 320 326 DX Tune Up/ Advanced Diagnostics / Hotel or Motel |
| 180 | 320 334 Ceiling Insulation / Hotel or Motel |
| 181 | 320 335 Roof Insulation / Hotel or Motel |
| 182 | 340 349 Ceiling Insulation / Hotel or Motel |
| 183 | 340 351 Cool Roof - DX / Hotel or Motel |
| 184 | 400 402 Variable Speed Drive Control / Hotel or Motel |
| 185 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Hotel or Motel |
| 186 | 600 606 Demand controlled circulating systems / Hotel or Motel |
| 187 | 110 111 Premium T8, Electronic Ballast / Other |
| 188 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Other |
| 189 | 300 302 High Efficiency Chiller Motors / Other |
| 190 | 300 304 EMS - Chiller / Other |
| 191 | 300 305 Chiller Tune Up/Diagnostics / Other |
| 192 | 300 306 VSD for Chiller Pumps and Towers / Other |
| 193 | 300 313 Ceiling Insulation / Other |
| 194 | 300 314 Roof Insulation / Other |
| 195 | 320 321 DX Packaged System, EER=10.9, 10 tons / Other |
| 196 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Other |
| 197 | 320 334 Ceiling Insulation / Other |
| 198 | 320 335 Roof Insulation / Other |
| 199 | 340 349 Ceiling Insulation / Other |
| 200 | 360 361 HE PTAC, EER=9.6, 1 ton / Other |
| 201 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Other |
| 202 | 600 603 Heat Pump Water Heater (air source) / Other |
| 203 | 600 604 Solar Water Heater / Other |
| 204 | 600 608 Heat Recovery Unit / Other |
| 205 | 100 154 LED High Bay 83W (400W equivalent) / All |
| 206 | 200 203 Outdoor LED 104W / All |
| 207 | 300 337 Run Time Optimizer / All |
| 208 | 300 338 dehumidification hybrid desiccant heat pump / All |
| 209 | 800 812 Griddle / All |
| 210 | 800 813 Steamer / All |
| 211 | 800 814 Holding Cabinet / All |
| 212 | Standby Generation |
| 213 | Interruptible Service |
| 214 | Curtailable Service |
| **Industrial** | |
| 1 | 107 Comp Air - Motor practices-1 (1-5 HP) / Food |
| 2 | 202 Fans - Controls / Food |
| 3 | 203 Fans - System Optimization / Food |
| 4 | 207 Fans - Motor practices-1 (1-5 HP) / Food |
| 5 | 307 Pumps - Motor practices-1 (1-5 HP) / Food |
| 6 | 552 Optimization Refrigeration / Food |
| 7 | 702 High Efficiency Chiller Motors / Food |
| 8 | 703 EMS - Chiller / Food |
| 9 | 704 Chiller Tune Up/Diagnostics / Food |
| 10 | 710 Roof Insulation - Chiller / Food |
| 11 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Food |
| 12 | 730 Roof Insulation / Food |
| 13 | 802 CFL Hardwired, Modular 18W / Food |
| 14 | 805 Occupancy Sensor / Food |
| 15 | 107 Comp Air - Motor practices-1 (1-5 HP) / Textiles |
| 16 | 202 Fans - Controls / Textiles |
| 17 | 203 Fans - System Optimization / Textiles |
| 18 | 207 Fans - Motor practices-1 (1-5 HP) / Textiles |
| 19 | 307 Pumps - Motor practices-1 (1-5 HP) / Textiles |
| 20 | 402 O&M/drives spinning machines / Textiles |
| 21 | 502 Drying (UV/IR) / Textiles |
| 22 | 702 High Efficiency Chiller Motors / Textiles |
| 23 | 703 EMS - Chiller / Textiles |
| 24 | 704 Chiller Tune Up/Diagnostics / Textiles |
| 25 | 710 Roof Insulation - Chiller / Textiles |
| 26 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Textiles |
| 27 | 730 Roof Insulation / Textiles |
| 28 | 805 Occupancy Sensor / Textiles |
| 29 | 902 Membranes for wastewater / Textiles |
| 30 | 107 Comp Air - Motor practices-1 (1-5 HP) / Lumber |
| 31 | 202 Fans - Controls / Lumber |
| 32 | 203 Fans - System Optimization / Lumber |
| 33 | 207 Fans - Motor practices-1 (1-5 HP) / Lumber |
| 34 | 214 Optimize drying process / Lumber |
| 35 | 307 Pumps - Motor practices-1 (1-5 HP) / Lumber |
| 36 | 405 Drives - EE motor / Lumber |
| 37 | 503 Heat Pumps - Drying / Lumber |
| 38 | 702 High Efficiency Chiller Motors / Lumber |
| 39 | 703 EMS - Chiller / Lumber |
| 40 | 704 Chiller Tune Up/Diagnostics / Lumber |
| 41 | 710 Roof Insulation - Chiller / Lumber |
| 42 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Lumber |
| 43 | 730 Roof Insulation / Lumber |
| 44 | 802 CFL Hardwired, Modular 18W / Lumber |
| 45 | 805 Occupancy Sensor / Lumber |
| 46 | 107 Comp Air - Motor practices-1 (1-5 HP) / Paper |
| 47 | 202 Fans - Controls / Paper |
| 48 | 203 Fans - System Optimization / Paper |
| 49 | 207 Fans - Motor practices-1 (1-5 HP) / Paper |
| 50 | 307 Pumps - Motor practices-1 (1-5 HP) / Paper |
| 51 | 405 Drives - EE motor / Paper |
| 52 | 408 Optimization control PM / Paper |
| 53 | 702 High Efficiency Chiller Motors / Paper |
| 54 | 703 EMS - Chiller / Paper |
| 55 | 704 Chiller Tune Up/Diagnostics / Paper |
| 56 | 710 Roof Insulation - Chiller / Paper |
| 57 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Paper |
| 58 | 730 Roof Insulation / Paper |
| 59 | 802 CFL Hardwired, Modular 18W / Paper |
| 60 | 805 Occupancy Sensor / Paper |
| 61 | 107 Comp Air - Motor practices-1 (1-5 HP) / Printing |
| 62 | 202 Fans - Controls / Printing |
| 63 | 203 Fans - System Optimization / Printing |
| 64 | 207 Fans - Motor practices-1 (1-5 HP) / Printing |
| 65 | 307 Pumps - Motor practices-1 (1-5 HP) / Printing |
| 66 | 410 Efficient Printing press (fewer cylinders) / Printing |
| 67 | 702 High Efficiency Chiller Motors / Printing |
| 68 | 703 EMS - Chiller / Printing |
| 69 | 704 Chiller Tune Up/Diagnostics / Printing |
| 70 | 710 Roof Insulation - Chiller / Printing |
| 71 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Printing |
| 72 | 730 Roof Insulation / Printing |
| 73 | 802 CFL Hardwired, Modular 18W / Printing |
| 74 | 805 Occupancy Sensor / Printing |
| 75 | 107 Comp Air - Motor practices-1 (1-5 HP) / Chemicals |
| 76 | 202 Fans - Controls / Chemicals |
| 77 | 203 Fans - System Optimization / Chemicals |
| 78 | 207 Fans - Motor practices-1 (1-5 HP) / Chemicals |
| 79 | 307 Pumps - Motor practices-1 (1-5 HP) / Chemicals |
| 80 | 413 Clean Room - Controls / Chemicals |
| 81 | 414 Clean Room - New Designs / Chemicals |
| 82 | 415 Drives - Process Controls (batch + site) / Chemicals |
| 83 | 601 Other Process Controls (batch + site) / Chemicals |
| 84 | 702 High Efficiency Chiller Motors / Chemicals |
| 85 | 703 EMS - Chiller / Chemicals |
| 86 | 704 Chiller Tune Up/Diagnostics / Chemicals |
| 87 | 710 Roof Insulation - Chiller / Chemicals |
| 88 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Chemicals |
| 89 | 730 Roof Insulation / Chemicals |
| 90 | 802 CFL Hardwired, Modular 18W / Chemicals |
| 91 | 805 Occupancy Sensor / Chemicals |
| 92 | 107 Comp Air - Motor practices-1 (1-5 HP) / Petroleum |
| 93 | 202 Fans - Controls / Petroleum |
| 94 | 203 Fans - System Optimization / Petroleum |
| 95 | 207 Fans - Motor practices-1 (1-5 HP) / Petroleum |
| 96 | 307 Pumps - Motor practices-1 (1-5 HP) / Petroleum |
| 97 | 602 Efficient desalter / Petroleum |
| 98 | 702 High Efficiency Chiller Motors / Petroleum |
| 99 | 703 EMS - Chiller / Petroleum |
| 100 | 704 Chiller Tune Up/Diagnostics / Petroleum |
| 101 | 710 Roof Insulation - Chiller / Petroleum |
| 102 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Petroleum |
| 103 | 730 Roof Insulation / Petroleum |
| 104 | 802 CFL Hardwired, Modular 18W / Petroleum |
| 105 | 805 Occupancy Sensor / Petroleum |
| 106 | 107 Comp Air - Motor practices-1 (1-5 HP) / Rubber-Plastics |
| 107 | 202 Fans - Controls / Rubber-Plastics |
| 108 | 203 Fans - System Optimization / Rubber-Plastics |
| 109 | 207 Fans - Motor practices-1 (1-5 HP) / Rubber-Plastics |
| 110 | 307 Pumps - Motor practices-1 (1-5 HP) / Rubber-Plastics |
| 111 | 418 Extruders/injection Moulding-multipump / Rubber-Plastics |
| 112 | 419 Direct drive Extruders / Rubber-Plastics |
| 113 | 420 Injection Moulding - Impulse Cooling / Rubber-Plastics |
| 114 | 421 Injection Moulding - Direct drive / Rubber-Plastics |
| 115 | 702 High Efficiency Chiller Motors / Rubber-Plastics |
| 116 | 703 EMS - Chiller / Rubber-Plastics |
| 117 | 704 Chiller Tune Up/Diagnostics / Rubber-Plastics |
| 118 | 710 Roof Insulation - Chiller / Rubber-Plastics |
| 119 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Rubber-Plastics |
| 120 | 730 Roof Insulation / Rubber-Plastics |
| 121 | 802 CFL Hardwired, Modular 18W / Rubber-Plastics |
| 122 | 805 Occupancy Sensor / Rubber-Plastics |
| 123 | 107 Comp Air - Motor practices-1 (1-5 HP) / Stone-Clay-Glass |
| 124 | 202 Fans - Controls / Stone-Clay-Glass |
| 125 | 203 Fans - System Optimization / Stone-Clay-Glass |
| 126 | 207 Fans - Motor practices-1 (1-5 HP) / Stone-Clay-Glass |
| 127 | 307 Pumps - Motor practices-1 (1-5 HP) / Stone-Clay-Glass |
| 128 | 424 Process optimization / Stone-Clay-Glass |
| 129 | 702 High Efficiency Chiller Motors / Stone-Clay-Glass |
| 130 | 703 EMS - Chiller / Stone-Clay-Glass |
| 131 | 704 Chiller Tune Up/Diagnostics / Stone-Clay-Glass |
| 132 | 710 Roof Insulation - Chiller / Stone-Clay-Glass |
| 133 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Stone-Clay-Glass |
| 134 | 730 Roof Insulation / Stone-Clay-Glass |
| 135 | 802 CFL Hardwired, Modular 18W / Stone-Clay-Glass |
| 136 | 805 Occupancy Sensor / Stone-Clay-Glass |
| 137 | 107 Comp Air - Motor practices-1 (1-5 HP) / Primary Metals |
| 138 | 202 Fans - Controls / Primary Metals |
| 139 | 203 Fans - System Optimization / Primary Metals |
| 140 | 207 Fans - Motor practices-1 (1-5 HP) / Primary Metals |
| 141 | 307 Pumps - Motor practices-1 (1-5 HP) / Primary Metals |
| 142 | 425 Drives - Process Control / Primary Metals |
| 143 | 505 Efficient electric melting / Primary Metals |
| 144 | 508 Heating - Process Control / Primary Metals |
| 145 | 702 High Efficiency Chiller Motors / Primary Metals |
| 146 | 703 EMS - Chiller / Primary Metals |
| 147 | 704 Chiller Tune Up/Diagnostics / Primary Metals |
| 148 | 710 Roof Insulation - Chiller / Primary Metals |
| 149 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Primary Metals |
| 150 | 730 Roof Insulation / Primary Metals |
| 151 | 802 CFL Hardwired, Modular 18W / Primary Metals |
| 152 | 805 Occupancy Sensor / Primary Metals |
| 153 | 107 Comp Air - Motor practices-1 (1-5 HP) / Fab Metals |
| 154 | 202 Fans - Controls / Fab Metals |
| 155 | 203 Fans - System Optimization / Fab Metals |
| 156 | 207 Fans - Motor practices-1 (1-5 HP) / Fab Metals |
| 157 | 307 Pumps - Motor practices-1 (1-5 HP) / Fab Metals |
| 158 | 428 Drives - Scheduling / Fab Metals |
| 159 | 509 Efficient Curing ovens / Fab Metals |
| 160 | 511 Heating - Scheduling / Fab Metals |
| 161 | 603 New transformers welding / Fab Metals |
| 162 | 702 High Efficiency Chiller Motors / Fab Metals |
| 163 | 703 EMS - Chiller / Fab Metals |
| 164 | 704 Chiller Tune Up/Diagnostics / Fab Metals |
| 165 | 710 Roof Insulation - Chiller / Fab Metals |
| 166 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Fab Metals |
| 167 | 730 Roof Insulation / Fab Metals |
| 168 | 802 CFL Hardwired, Modular 18W / Fab Metals |
| 169 | 805 Occupancy Sensor / Fab Metals |
| 170 | 107 Comp Air - Motor practices-1 (1-5 HP) / Ind Machinery |
| 171 | 202 Fans - Controls / Ind Machinery |
| 172 | 203 Fans - System Optimization / Ind Machinery |
| 173 | 207 Fans - Motor practices-1 (1-5 HP) / Ind Machinery |
| 174 | 307 Pumps - Motor practices-1 (1-5 HP) / Ind Machinery |
| 175 | 428 Drives - Scheduling / Ind Machinery |
| 176 | 509 Efficient Curing ovens / Ind Machinery |
| 177 | 511 Heating - Scheduling / Ind Machinery |
| 178 | 603 New transformers welding / Ind Machinery |
| 179 | 702 High Efficiency Chiller Motors / Ind Machinery |
| 180 | 703 EMS - Chiller / Ind Machinery |
| 181 | 704 Chiller Tune Up/Diagnostics / Ind Machinery |
| 182 | 710 Roof Insulation - Chiller / Ind Machinery |
| 183 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Ind Machinery |
| 184 | 730 Roof Insulation / Ind Machinery |
| 185 | 805 Occupancy Sensor / Ind Machinery |
| 186 | 107 Comp Air - Motor practices-1 (1-5 HP) / Electronics |
| 187 | 202 Fans - Controls / Electronics |
| 188 | 203 Fans - System Optimization / Electronics |
| 189 | 207 Fans - Motor practices-1 (1-5 HP) / Electronics |
| 190 | 307 Pumps - Motor practices-1 (1-5 HP) / Electronics |
| 191 | 413 Clean Room - Controls / Electronics |
| 192 | 428 Drives - Scheduling / Electronics |
| 193 | 429 Machinery / Electronics |
| 194 | 509 Efficient Curing ovens / Electronics |
| 195 | 604 Efficient processes (welding, etc.) / Electronics |
| 196 | 702 High Efficiency Chiller Motors / Electronics |
| 197 | 703 EMS - Chiller / Electronics |
| 198 | 704 Chiller Tune Up/Diagnostics / Electronics |
| 199 | 710 Roof Insulation - Chiller / Electronics |
| 200 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Electronics |
| 201 | 730 Roof Insulation / Electronics |
| 202 | 802 CFL Hardwired, Modular 18W / Electronics |
| 203 | 805 Occupancy Sensor / Electronics |
| 204 | 107 Comp Air - Motor practices-1 (1-5 HP) / Transp Eqp |
| 205 | 202 Fans - Controls / Transp Eqp |
| 206 | 203 Fans - System Optimization / Transp Eqp |
| 207 | 207 Fans - Motor practices-1 (1-5 HP) / Transp Eqp |
| 208 | 307 Pumps - Motor practices-1 (1-5 HP) / Transp Eqp |
| 209 | 428 Drives - Scheduling / Transp Eqp |
| 210 | 509 Efficient Curing ovens / Transp Eqp |
| 211 | 603 New transformers welding / Transp Eqp |
| 212 | 702 High Efficiency Chiller Motors / Transp Eqp |
| 213 | 703 EMS - Chiller / Transp Eqp |
| 214 | 704 Chiller Tune Up/Diagnostics / Transp Eqp |
| 215 | 710 Roof Insulation - Chiller / Transp Eqp |
| 216 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Transp Eqp |
| 217 | 730 Roof Insulation / Transp Eqp |
| 218 | 802 CFL Hardwired, Modular 18W / Transp Eqp |
| 219 | 805 Occupancy Sensor / Transp Eqp |
| 220 | 107 Comp Air - Motor practices-1 (1-5 HP) / Instruments |
| 221 | 202 Fans - Controls / Instruments |
| 222 | 203 Fans - System Optimization / Instruments |
| 223 | 207 Fans - Motor practices-1 (1-5 HP) / Instruments |
| 224 | 307 Pumps - Motor practices-1 (1-5 HP) / Instruments |
| 225 | 428 Drives - Scheduling / Instruments |
| 226 | 509 Efficient Curing ovens / Instruments |
| 227 | 603 New transformers welding / Instruments |
| 228 | 702 High Efficiency Chiller Motors / Instruments |
| 229 | 703 EMS - Chiller / Instruments |
| 230 | 704 Chiller Tune Up/Diagnostics / Instruments |
| 231 | 710 Roof Insulation - Chiller / Instruments |
| 232 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Instruments |
| 233 | 730 Roof Insulation / Instruments |
| 234 | 802 CFL Hardwired, Modular 18W / Instruments |
| 235 | 805 Occupancy Sensor / Instruments |
| 236 | 107 Comp Air - Motor practices-1 (1-5 HP) / Misc |
| 237 | 202 Fans - Controls / Misc |
| 238 | 203 Fans - System Optimization / Misc |
| 239 | 207 Fans - Motor practices-1 (1-5 HP) / Misc |
| 240 | 307 Pumps - Motor practices-1 (1-5 HP) / Misc |
| 241 | 428 Drives - Scheduling / Misc |
| 242 | 430 Efficient Machinery / Misc |
| 243 | 509 Efficient Curing ovens / Misc |
| 244 | 605 Process control / Misc |
| 245 | 702 High Efficiency Chiller Motors / Misc |
| 246 | 703 EMS - Chiller / Misc |
| 247 | 704 Chiller Tune Up/Diagnostics / Misc |
| 248 | 710 Roof Insulation - Chiller / Misc |
| 249 | 722 Hybrid Dessicant-DX System (Trane CDQ) / Misc |
| 250 | 730 Roof Insulation / Misc |
| 251 | 802 CFL Hardwired, Modular 18W / Misc |
| 252 | 805 Occupancy Sensor / Misc |
| 253 | 808 LED High Bay 83W (per unit) / All |
| 254 | 732 Run Time Optimizer / All |
| 255 | 733 Dehumidification Hybrid Desiccant Heat Pump PER 5 TON / All |
|  |  |
| **Remaining Measures Failing** | |
| **#** | **Measure Name** |
| **Residential** | |
| 1 | 130 138 AC Maintenance (Outdoor Coil Cleaning) / Single Detached |
| 2 | 260 262 Photocell/timeclock / Single Detached |
| 3 | 190 198 Window Tinting / Multi Attached |
| 4 | 260 262 Photocell/timeclock / Multi Attached |
| 5 | 350 351 HE Freezer / Multi Attached |
| 6 | 400 410 Water Heater Timeclock / Multi Attached |
| 7 | 100 112 AC Maintenance (Outdoor Coil Cleaning) / Single Detached - Manufactured |
| 8 | 100 113 AC Maintenance (Indoor Coil Cleaning) / Single Detached - Manufactured |
| 9 | 100 120 Window Tinting / Single Detached - Manufactured |
| 10 | 130 146 Window Tinting / Single Detached - Manufactured |
| 11 | 190 197 Window Film / Single Detached - Manufactured |
| 12 | 190 200 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached - Manufactured |
| 13 | 260 262 Photocell/timeclock / Single Detached - Manufactured |
| 14 | 400 410 Water Heater Timeclock / Single Detached - Manufactured |
| **Commercial** | |
| 1 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Office |
| 2 | 400 401 High Efficiency Fan Motor, 15hp, 1800rpm, 92.4% / Office |
| 3 | 600 610 Hot Water Pipe Insulation / Office |
| 4 | 400 401 High Efficiency Fan Motor, 15hp, 1800rpm, 92.4% / Restaurant or Services |
| 5 | 600 610 Hot Water Pipe Insulation / Restaurant or Services |
| 6 | 400 403 Air Handler Optimization / Retail |
| 7 | 500 517 LED Display Lighting / Food Store |
| 8 | 300 317 Thermal Energy Storage (TES) Positive / School |
| 9 | 600 606 Demand controlled circulating systems / School |
| 10 | 600 610 Hot Water Pipe Insulation / School |
| 11 | 300 311 Window Film (Standard) / College |
| 12 | 600 610 Hot Water Pipe Insulation / College |
| 13 | 600 610 Hot Water Pipe Insulation / Other Healthcare |
| 14 | 110 115 Lighting Control Tuneup / Warehouse |
| 15 | 300 302 High Efficiency Chiller Motors / Warehouse |
| 16 | 300 304 EMS - Chiller / Warehouse |
| 17 | 300 317 Thermal Energy Storage (TES) Positive / Warehouse |
| 18 | 320 321 DX Packaged System, EER=10.9, 10 tons / Warehouse |
| 19 | 400 402 Variable Speed Drive Control / Warehouse |
| 20 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Warehouse |
| 21 | 120 124 Lighting Control Tuneup / Hotel or Motel |
| 22 | 400 403 Air Handler Optimization / Hotel or Motel |
| 23 | 400 406 Energy Recovery Ventilation (ERV) / Hotel or Motel |
| 24 | 600 610 Hot Water Pipe Insulation / Hotel or Motel |
| 25 | 120 123 Occupancy Sensor / Other |
| 26 | 300 307 EMS Optimization / Other |
| 27 | 320 326 DX Tune Up/ Advanced Diagnostics / Other |
| 28 | 400 403 Air Handler Optimization / Other |
| 29 | 400 406 Energy Recovery Ventilation (ERV) / Other |
| 30 | 600 610 Hot Water Pipe Insulation / Other |
| 31 | 100 125 LED Linear Tube 22W / All |
| 32 | 100 132 Flood LED 14W / All |
| 33 | 100 146 LED (12-Watt) / All |
| 34 | 800 518 Ice Machine / All |
| **Industrial** | |
| 1 | 110 Comp Air - Motor practices-1 (6-100 HP) / Food |
| 2 | 111 Comp Air - Replace 100+ HP motor / Food |
| 3 | 210 Fans - Motor practices-1 (6-100 HP) / Food |
| 4 | 211 Fans - Replace 100+ HP motor / Food |
| 5 | 310 Pumps - Motor practices-1 (6-100 HP) / Food |
| 6 | 311 Pumps - Replace 100+ HP motor / Food |
| 7 | 709 Window Film (Standard) - Chiller / Food |
| 8 | 721 DX Packaged System, EER=10.9, 10 tons / Food |
| 9 | 724 DX Tune Up/ Advanced Diagnostics / Food |
| 10 | 729 Window Film (Standard) / Food |
| 11 | 731 Cool Roof - DX / Food |
| 12 | 110 Comp Air - Motor practices-1 (6-100 HP) / Textiles |
| 13 | 111 Comp Air - Replace 100+ HP motor / Textiles |
| 14 | 210 Fans - Motor practices-1 (6-100 HP) / Textiles |
| 15 | 211 Fans - Replace 100+ HP motor / Textiles |
| 16 | 310 Pumps - Motor practices-1 (6-100 HP) / Textiles |
| 17 | 311 Pumps - Replace 100+ HP motor / Textiles |
| 18 | 709 Window Film (Standard) - Chiller / Textiles |
| 19 | 721 DX Packaged System, EER=10.9, 10 tons / Textiles |
| 20 | 724 DX Tune Up/ Advanced Diagnostics / Textiles |
| 21 | 729 Window Film (Standard) / Textiles |
| 22 | 731 Cool Roof - DX / Textiles |
| 23 | 802 CFL Hardwired, Modular 18W / Textiles |
| 24 | 110 Comp Air - Motor practices-1 (6-100 HP) / Lumber |
| 25 | 111 Comp Air - Replace 100+ HP motor / Lumber |
| 26 | 210 Fans - Motor practices-1 (6-100 HP) / Lumber |
| 27 | 211 Fans - Replace 100+ HP motor / Lumber |
| 28 | 310 Pumps - Motor practices-1 (6-100 HP) / Lumber |
| 29 | 311 Pumps - Replace 100+ HP motor / Lumber |
| 30 | 709 Window Film (Standard) - Chiller / Lumber |
| 31 | 721 DX Packaged System, EER=10.9, 10 tons / Lumber |
| 32 | 724 DX Tune Up/ Advanced Diagnostics / Lumber |
| 33 | 729 Window Film (Standard) / Lumber |
| 34 | 731 Cool Roof - DX / Lumber |
| 35 | 110 Comp Air - Motor practices-1 (6-100 HP) / Paper |
| 36 | 111 Comp Air - Replace 100+ HP motor / Paper |
| 37 | 210 Fans - Motor practices-1 (6-100 HP) / Paper |
| 38 | 211 Fans - Replace 100+ HP motor / Paper |
| 39 | 310 Pumps - Motor practices-1 (6-100 HP) / Paper |
| 40 | 311 Pumps - Replace 100+ HP motor / Paper |
| 41 | 709 Window Film (Standard) - Chiller / Paper |
| 42 | 721 DX Packaged System, EER=10.9, 10 tons / Paper |
| 43 | 724 DX Tune Up/ Advanced Diagnostics / Paper |
| 44 | 729 Window Film (Standard) / Paper |
| 45 | 731 Cool Roof - DX / Paper |
| 46 | 110 Comp Air - Motor practices-1 (6-100 HP) / Printing |
| 47 | 111 Comp Air - Replace 100+ HP motor / Printing |
| 48 | 210 Fans - Motor practices-1 (6-100 HP) / Printing |
| 49 | 211 Fans - Replace 100+ HP motor / Printing |
| 50 | 310 Pumps - Motor practices-1 (6-100 HP) / Printing |
| 51 | 311 Pumps - Replace 100+ HP motor / Printing |
| 52 | 709 Window Film (Standard) - Chiller / Printing |
| 53 | 721 DX Packaged System, EER=10.9, 10 tons / Printing |
| 54 | 724 DX Tune Up/ Advanced Diagnostics / Printing |
| 55 | 729 Window Film (Standard) / Printing |
| 56 | 731 Cool Roof - DX / Printing |
| 57 | 110 Comp Air - Motor practices-1 (6-100 HP) / Chemicals |
| 58 | 111 Comp Air - Replace 100+ HP motor / Chemicals |
| 59 | 210 Fans - Motor practices-1 (6-100 HP) / Chemicals |
| 60 | 211 Fans - Replace 100+ HP motor / Chemicals |
| 61 | 310 Pumps - Motor practices-1 (6-100 HP) / Chemicals |
| 62 | 311 Pumps - Replace 100+ HP motor / Chemicals |
| 63 | 416 Process Drives - ASD / Chemicals |
| 64 | 709 Window Film (Standard) - Chiller / Chemicals |
| 65 | 721 DX Packaged System, EER=10.9, 10 tons / Chemicals |
| 66 | 724 DX Tune Up/ Advanced Diagnostics / Chemicals |
| 67 | 729 Window Film (Standard) / Chemicals |
| 68 | 731 Cool Roof - DX / Chemicals |
| 69 | 110 Comp Air - Motor practices-1 (6-100 HP) / Petroleum |
| 70 | 111 Comp Air - Replace 100+ HP motor / Petroleum |
| 71 | 114 Power recovery / Petroleum |
| 72 | 210 Fans - Motor practices-1 (6-100 HP) / Petroleum |
| 73 | 211 Fans - Replace 100+ HP motor / Petroleum |
| 74 | 215 Power recovery / Petroleum |
| 75 | 310 Pumps - Motor practices-1 (6-100 HP) / Petroleum |
| 76 | 311 Pumps - Replace 100+ HP motor / Petroleum |
| 77 | 314 Power recovery / Petroleum |
| 78 | 606 Power recovery / Petroleum |
| 79 | 709 Window Film (Standard) - Chiller / Petroleum |
| 80 | 721 DX Packaged System, EER=10.9, 10 tons / Petroleum |
| 81 | 724 DX Tune Up/ Advanced Diagnostics / Petroleum |
| 82 | 729 Window Film (Standard) / Petroleum |
| 83 | 731 Cool Roof - DX / Petroleum |
| 84 | 110 Comp Air - Motor practices-1 (6-100 HP) / Rubber-Plastics |
| 85 | 111 Comp Air - Replace 100+ HP motor / Rubber-Plastics |
| 86 | 210 Fans - Motor practices-1 (6-100 HP) / Rubber-Plastics |
| 87 | 211 Fans - Replace 100+ HP motor / Rubber-Plastics |
| 88 | 310 Pumps - Motor practices-1 (6-100 HP) / Rubber-Plastics |
| 89 | 311 Pumps - Replace 100+ HP motor / Rubber-Plastics |
| 90 | 709 Window Film (Standard) - Chiller / Rubber-Plastics |
| 91 | 721 DX Packaged System, EER=10.9, 10 tons / Rubber-Plastics |
| 92 | 724 DX Tune Up/ Advanced Diagnostics / Rubber-Plastics |
| 93 | 729 Window Film (Standard) / Rubber-Plastics |
| 94 | 731 Cool Roof - DX / Rubber-Plastics |
| 95 | 110 Comp Air - Motor practices-1 (6-100 HP) / Stone-Clay-Glass |
| 96 | 111 Comp Air - Replace 100+ HP motor / Stone-Clay-Glass |
| 97 | 210 Fans - Motor practices-1 (6-100 HP) / Stone-Clay-Glass |
| 98 | 211 Fans - Replace 100+ HP motor / Stone-Clay-Glass |
| 99 | 310 Pumps - Motor practices-1 (6-100 HP) / Stone-Clay-Glass |
| 100 | 311 Pumps - Replace 100+ HP motor / Stone-Clay-Glass |
| 101 | 709 Window Film (Standard) - Chiller / Stone-Clay-Glass |
| 102 | 721 DX Packaged System, EER=10.9, 10 tons / Stone-Clay-Glass |
| 103 | 724 DX Tune Up/ Advanced Diagnostics / Stone-Clay-Glass |
| 104 | 729 Window Film (Standard) / Stone-Clay-Glass |
| 105 | 731 Cool Roof - DX / Stone-Clay-Glass |
| 106 | 110 Comp Air - Motor practices-1 (6-100 HP) / Primary Metals |
| 107 | 111 Comp Air - Replace 100+ HP motor / Primary Metals |
| 108 | 210 Fans - Motor practices-1 (6-100 HP) / Primary Metals |
| 109 | 211 Fans - Replace 100+ HP motor / Primary Metals |
| 110 | 310 Pumps - Motor practices-1 (6-100 HP) / Primary Metals |
| 111 | 311 Pumps - Replace 100+ HP motor / Primary Metals |
| 112 | 415 Drives - Process Controls (batch + site) / Primary Metals |
| 113 | 709 Window Film (Standard) - Chiller / Primary Metals |
| 114 | 721 DX Packaged System, EER=10.9, 10 tons / Primary Metals |
| 115 | 724 DX Tune Up/ Advanced Diagnostics / Primary Metals |
| 116 | 729 Window Film (Standard) / Primary Metals |
| 117 | 731 Cool Roof - DX / Primary Metals |
| 118 | 110 Comp Air - Motor practices-1 (6-100 HP) / Fab Metals |
| 119 | 111 Comp Air - Replace 100+ HP motor / Fab Metals |
| 120 | 210 Fans - Motor practices-1 (6-100 HP) / Fab Metals |
| 121 | 211 Fans - Replace 100+ HP motor / Fab Metals |
| 122 | 310 Pumps - Motor practices-1 (6-100 HP) / Fab Metals |
| 123 | 311 Pumps - Replace 100+ HP motor / Fab Metals |
| 124 | 709 Window Film (Standard) - Chiller / Fab Metals |
| 125 | 721 DX Packaged System, EER=10.9, 10 tons / Fab Metals |
| 126 | 724 DX Tune Up/ Advanced Diagnostics / Fab Metals |
| 127 | 729 Window Film (Standard) / Fab Metals |
| 128 | 731 Cool Roof - DX / Fab Metals |
| 129 | 110 Comp Air - Motor practices-1 (6-100 HP) / Ind Machinery |
| 130 | 111 Comp Air - Replace 100+ HP motor / Ind Machinery |
| 131 | 210 Fans - Motor practices-1 (6-100 HP) / Ind Machinery |
| 132 | 211 Fans - Replace 100+ HP motor / Ind Machinery |
| 133 | 310 Pumps - Motor practices-1 (6-100 HP) / Ind Machinery |
| 134 | 311 Pumps - Replace 100+ HP motor / Ind Machinery |
| 135 | 709 Window Film (Standard) - Chiller / Ind Machinery |
| 136 | 721 DX Packaged System, EER=10.9, 10 tons / Ind Machinery |
| 137 | 724 DX Tune Up/ Advanced Diagnostics / Ind Machinery |
| 138 | 729 Window Film (Standard) / Ind Machinery |
| 139 | 731 Cool Roof - DX / Ind Machinery |
| 140 | 802 CFL Hardwired, Modular 18W / Ind Machinery |
| 141 | 110 Comp Air - Motor practices-1 (6-100 HP) / Electronics |
| 142 | 111 Comp Air - Replace 100+ HP motor / Electronics |
| 143 | 210 Fans - Motor practices-1 (6-100 HP) / Electronics |
| 144 | 211 Fans - Replace 100+ HP motor / Electronics |
| 145 | 310 Pumps - Motor practices-1 (6-100 HP) / Electronics |
| 146 | 311 Pumps - Replace 100+ HP motor / Electronics |
| 147 | 709 Window Film (Standard) - Chiller / Electronics |
| 148 | 721 DX Packaged System, EER=10.9, 10 tons / Electronics |
| 149 | 724 DX Tune Up/ Advanced Diagnostics / Electronics |
| 150 | 729 Window Film (Standard) / Electronics |
| 151 | 731 Cool Roof - DX / Electronics |
| 152 | 110 Comp Air - Motor practices-1 (6-100 HP) / Transp Eqp |
| 153 | 111 Comp Air - Replace 100+ HP motor / Transp Eqp |
| 154 | 210 Fans - Motor practices-1 (6-100 HP) / Transp Eqp |
| 155 | 211 Fans - Replace 100+ HP motor / Transp Eqp |
| 156 | 310 Pumps - Motor practices-1 (6-100 HP) / Transp Eqp |
| 157 | 311 Pumps - Replace 100+ HP motor / Transp Eqp |
| 158 | 709 Window Film (Standard) - Chiller / Transp Eqp |
| 159 | 721 DX Packaged System, EER=10.9, 10 tons / Transp Eqp |
| 160 | 724 DX Tune Up/ Advanced Diagnostics / Transp Eqp |
| 161 | 729 Window Film (Standard) / Transp Eqp |
| 162 | 731 Cool Roof - DX / Transp Eqp |
| 163 | 110 Comp Air - Motor practices-1 (6-100 HP) / Instruments |
| 164 | 111 Comp Air - Replace 100+ HP motor / Instruments |
| 165 | 210 Fans - Motor practices-1 (6-100 HP) / Instruments |
| 166 | 211 Fans - Replace 100+ HP motor / Instruments |
| 167 | 310 Pumps - Motor practices-1 (6-100 HP) / Instruments |
| 168 | 311 Pumps - Replace 100+ HP motor / Instruments |
| 169 | 709 Window Film (Standard) - Chiller / Instruments |
| 170 | 721 DX Packaged System, EER=10.9, 10 tons / Instruments |
| 171 | 724 DX Tune Up/ Advanced Diagnostics / Instruments |
| 172 | 729 Window Film (Standard) / Instruments |
| 173 | 731 Cool Roof - DX / Instruments |
| 174 | 110 Comp Air - Motor practices-1 (6-100 HP) / Misc |
| 175 | 111 Comp Air - Replace 100+ HP motor / Misc |
| 176 | 210 Fans - Motor practices-1 (6-100 HP) / Misc |
| 177 | 211 Fans - Replace 100+ HP motor / Misc |
| 178 | 310 Pumps - Motor practices-1 (6-100 HP) / Misc |
| 179 | 311 Pumps - Replace 100+ HP motor / Misc |
| 180 | 416 Process Drives - ASD / Misc |
| 181 | 709 Window Film (Standard) - Chiller / Misc |
| 182 | 721 DX Packaged System, EER=10.9, 10 tons / Misc |
| 183 | 724 DX Tune Up/ Advanced Diagnostics / Misc |
| 184 | 729 Window Film (Standard) / Misc |
| 185 | 731 Cool Roof - DX / Misc |
| 186 | 806 LED Linear Tube 22W (per unit) / All |
| 187 | 807 Flood LED 14W (per unit) / All |