|  |
| --- |
| **List of Unique Measures Impacted by Sensitivity** |
| **RIM** | **TRC** |
| **Passing** | **Failing** | **Passing** | **Failing** |
| **#** | **Measure Name** | **#** | **Measure Name** | **#** | **Measure Name** | **#** | **Measure Name** |
| **Shorter Payback Period** |
| 1 | 100 102 15 SEER Split-System Air Conditioner / Single Detached | 0 | none | 1 | 100 102 15 SEER Split-System Air Conditioner / Single Detached | 0 | none |
| 2 | 100 114 Proper Refrigerant Charging and Air Flow / Single Detached |  |  | 2 | 100 112 AC Maintenance (Outdoor Coil Cleaning) / Multi Attached |  |  |
| 3 | 100 121 Default Window With Sunscreen / Multi Attached |  |  | 3 | 100 112 AC Maintenance (Outdoor Coil Cleaning) / Single Detached |  |  |
| 4 | 100 121 Default Window With Sunscreen / Single Detached - Manufactured |  |  | 4 | 100 113 AC Maintenance (Indoor Coil Cleaning) / Multi Attached |  |  |
| 5 | 130 141 Electronically Commutated Motors (ECM) on an Air Handler Unit / Single Detached - Manufactured |  |  | 5 | 100 113 AC Maintenance (Indoor Coil Cleaning) / Single Detached |  |  |
| 6 | 130 147 Default Window With Sunscreen / Single Detached - Manufactured |  |  | 6 | 100 114 Proper Refrigerant Charging and Air Flow / Multi Attached |  |  |
| 7 | 300 304 EMS - Chiller / Restaurant or Services |  |  | 7 | 100 114 Proper Refrigerant Charging and Air Flow / Single Detached |  |  |
| 8 | 300 305 Chiller Tune Up/Diagnostics / Food Store |  |  | 8 | 100 114 Proper Refrigerant Charging and Air Flow / Single Detached - Manufactured |  |  |
| 9 | 300 305 Chiller Tune Up/Diagnostics / Hotel or Motel |  |  | 9 | 100 121 Default Window With Sunscreen / Multi Attached |  |  |
| 10 | 300 305 Chiller Tune Up/Diagnostics / Other Healthcare |  |  | 10 | 100 121 Default Window With Sunscreen / Single Detached - Manufactured |  |  |
| 11 | 300 305 Chiller Tune Up/Diagnostics / Restaurant or Services |  |  | 11 | 130 138 AC Maintenance (Outdoor Coil Cleaning) / Multi Attached |  |  |
| 12 | 300 311 Window Film (Standard) / Hospital |  |  | 12 | 130 139 AC Maintenance (Indoor Coil Cleaning) / Multi Attached |  |  |
| 13 | 320 332 Window Film (Standard) / Restaurant or Services |  |  | 13 | 130 139 AC Maintenance (Indoor Coil Cleaning) / Single Detached |  |  |
| 14 | 320 334 Ceiling Insulation / Hospital |  |  | 14 | 130 140 Proper Refrigerant Charging and Air Flow / Single Detached |  |  |
| 15 | 320 334 Ceiling Insulation / Restaurant or Services |  |  | 15 | 130 140 Proper Refrigerant Charging and Air Flow / Single Detached - Manufactured |  |  |
| 16 | 320 335 Roof Insulation / Hospital |  |  | 16 | 130 141 Electronically Commutated Motors (ECM) on an Air Handler Unit / Multi Attached |  |  |
| 17 | 320 335 Roof Insulation / Restaurant or Services |  |  | 17 | 130 141 Electronically Commutated Motors (ECM) on an Air Handler Unit / Single Detached - Manufactured |  |  |
| 18 | 340 347 Window Film (Standard) / Restaurant or Services |  |  | 18 | 130 147 Default Window With Sunscreen / Single Detached - Manufactured |  |  |
| 19 | 340 349 Ceiling Insulation / Food Store |  |  | 19 | 190 197 Window Film / Multi Attached |  |  |
| 20 | 340 349 Ceiling Insulation / Hospital |  |  | 20 | 400 406 Pipe Wrap / Single Detached |  |  |
| 21 | 340 349 Ceiling Insulation / Restaurant or Services |  |  | 21 | 400 408 Water Heater Blanket / Multi Attached |  |  |
| 22 | 360 361 HE PTAC, EER=9.6, 1 ton / Hospital |  |  | 22 | 400 409 Water Heater Temperature Check and Adjustment / Single Detached |  |  |
| 23 | 360 361 HE PTAC, EER=9.6, 1 ton / Hotel or Motel |  |  | 23 | 800 801 Two Speed Pool Pump (1.5 hp) / Multi Attached |  |  |
| 24 | 360 361 HE PTAC, EER=9.6, 1 ton / Restaurant or Services |  |  | 24 | 800 801 Two Speed Pool Pump (1.5 hp) / Single Detached |  |  |
| 25 | 730 732 Copier Power Management Enabling / Other |  |  | 25 | 800 801 Two Speed Pool Pump (1.5 hp) / Single Detached - Manufactured |  |  |
| 26 | 730 732 Copier Power Management Enabling / Other Healthcare |  |  | 26 | 999 962 Smart Plug / All |  |  |
|  |  |  |  | 27 | 110 115 Lighting Control Tuneup / Hotel or Motel |  |  |
|  |  |  |  | 28 | 120 121 ROB Premium T8, 1EB / Food Store |  |  |
|  |  |  |  | 29 | 120 121 ROB Premium T8, 1EB / Hospital |  |  |
|  |  |  |  | 30 | 120 121 ROB Premium T8, 1EB / Hotel or Motel |  |  |
|  |  |  |  | 31 | 120 121 ROB Premium T8, 1EB / Office |  |  |
|  |  |  |  | 32 | 120 121 ROB Premium T8, 1EB / Other |  |  |
|  |  |  |  | 33 | 120 121 ROB Premium T8, 1EB / Other Healthcare |  |  |
|  |  |  |  | 34 | 120 121 ROB Premium T8, 1EB / Restaurant or Services |  |  |
|  |  |  |  | 35 | 120 121 ROB Premium T8, 1EB / Retail |  |  |
|  |  |  |  | 36 | 120 122 ROB Premium T8, EB, Reflector / Hospital |  |  |
|  |  |  |  | 37 | 120 122 ROB Premium T8, EB, Reflector / Hotel or Motel |  |  |
|  |  |  |  | 38 | 120 122 ROB Premium T8, EB, Reflector / Office |  |  |
|  |  |  |  | 39 | 120 122 ROB Premium T8, EB, Reflector / Other |  |  |
|  |  |  |  | 40 | 120 122 ROB Premium T8, EB, Reflector / Other Healthcare |  |  |
|  |  |  |  | 41 | 120 122 ROB Premium T8, EB, Reflector / Restaurant or Services |  |  |
|  |  |  |  | 42 | 120 122 ROB Premium T8, EB, Reflector / Retail |  |  |
|  |  |  |  | 43 | 120 122 ROB Premium T8, EB, Reflector / Warehouse |  |  |
|  |  |  |  | 44 | 120 124 Lighting Control Tuneup / College |  |  |
|  |  |  |  | 45 | 120 124 Lighting Control Tuneup / Office |  |  |
|  |  |  |  | 46 | 120 124 Lighting Control Tuneup / Other |  |  |
|  |  |  |  | 47 | 120 124 Lighting Control Tuneup / School |  |  |
|  |  |  |  | 48 | 130 131 CFL Screw-in 18W / College |  |  |
|  |  |  |  | 49 | 150 152 PSMH, 250 W, electronic ballast / Hospital |  |  |
|  |  |  |  | 50 | 150 152 PSMH, 250 W, electronic ballast / Hotel or Motel |  |  |
|  |  |  |  | 51 | 150 152 PSMH, 250 W, electronic ballast / Other |  |  |
|  |  |  |  | 52 | 150 152 PSMH, 250 W, electronic ballast / Other Healthcare |  |  |
|  |  |  |  | 53 | 150 152 PSMH, 250 W, electronic ballast / Restaurant or Services |  |  |
|  |  |  |  | 54 | 150 152 PSMH, 250 W, electronic ballast / Retail |  |  |
|  |  |  |  | 55 | 150 153 High Bay T5 / College |  |  |
|  |  |  |  | 56 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Food Store |  |  |
|  |  |  |  | 57 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Hospital |  |  |
|  |  |  |  | 58 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Other Healthcare |  |  |
|  |  |  |  | 59 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Retail |  |  |
|  |  |  |  | 60 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / School |  |  |
|  |  |  |  | 61 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Warehouse |  |  |
|  |  |  |  | 62 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / College |  |  |
|  |  |  |  | 63 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Food Store |  |  |
|  |  |  |  | 64 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Hospital |  |  |
|  |  |  |  | 65 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Hotel or Motel |  |  |
|  |  |  |  | 66 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Restaurant or Services |  |  |
|  |  |  |  | 67 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Retail |  |  |
|  |  |  |  | 68 | 300 302 High Efficiency Chiller Motors / Hospital |  |  |
|  |  |  |  | 69 | 300 302 High Efficiency Chiller Motors / Hotel or Motel |  |  |
|  |  |  |  | 70 | 300 304 EMS - Chiller / Hospital |  |  |
|  |  |  |  | 71 | 300 304 EMS - Chiller / Hotel or Motel |  |  |
|  |  |  |  | 72 | 300 304 EMS - Chiller / Restaurant or Services |  |  |
|  |  |  |  | 73 | 300 305 Chiller Tune Up/Diagnostics / Food Store |  |  |
|  |  |  |  | 74 | 300 305 Chiller Tune Up/Diagnostics / Hotel or Motel |  |  |
|  |  |  |  | 75 | 300 305 Chiller Tune Up/Diagnostics / Other Healthcare |  |  |
|  |  |  |  | 76 | 300 305 Chiller Tune Up/Diagnostics / Restaurant or Services |  |  |
|  |  |  |  | 77 | 300 306 VSD for Chiller Pumps and Towers / Food Store |  |  |
|  |  |  |  | 78 | 300 306 VSD for Chiller Pumps and Towers / Hospital |  |  |
|  |  |  |  | 79 | 300 306 VSD for Chiller Pumps and Towers / Hotel or Motel |  |  |
|  |  |  |  | 80 | 300 306 VSD for Chiller Pumps and Towers / Restaurant or Services |  |  |
|  |  |  |  | 81 | 300 306 VSD for Chiller Pumps and Towers / Retail |  |  |
|  |  |  |  | 82 | 300 307 EMS Optimization / College |  |  |
|  |  |  |  | 83 | 300 307 EMS Optimization / Retail |  |  |
|  |  |  |  | 84 | 300 307 EMS Optimization / School |  |  |
|  |  |  |  | 85 | 300 308 Aerosol Duct Sealing / College |  |  |
|  |  |  |  | 86 | 300 308 Aerosol Duct Sealing / Office |  |  |
|  |  |  |  | 87 | 300 308 Aerosol Duct Sealing / Other |  |  |
|  |  |  |  | 88 | 300 308 Aerosol Duct Sealing / Other Healthcare |  |  |
|  |  |  |  | 89 | 300 308 Aerosol Duct Sealing / School |  |  |
|  |  |  |  | 90 | 300 308 Aerosol Duct Sealing / Warehouse |  |  |
|  |  |  |  | 91 | 300 311 Window Film (Standard) / Hospital |  |  |
|  |  |  |  | 92 | 320 326 DX Tune Up/ Advanced Diagnostics / Food Store |  |  |
|  |  |  |  | 93 | 320 326 DX Tune Up/ Advanced Diagnostics / Hospital |  |  |
|  |  |  |  | 94 | 320 326 DX Tune Up/ Advanced Diagnostics / Restaurant or Services |  |  |
|  |  |  |  | 95 | 320 328 Optimize Controls / Office |  |  |
|  |  |  |  | 96 | 320 332 Window Film (Standard) / Restaurant or Services |  |  |
|  |  |  |  | 97 | 320 334 Ceiling Insulation / Hospital |  |  |
|  |  |  |  | 98 | 320 334 Ceiling Insulation / Restaurant or Services |  |  |
|  |  |  |  | 99 | 320 335 Roof Insulation / Hospital |  |  |
|  |  |  |  | 100 | 320 335 Roof Insulation / Restaurant or Services |  |  |
|  |  |  |  | 101 | 340 347 Window Film (Standard) / Restaurant or Services |  |  |
|  |  |  |  | 102 | 340 349 Ceiling Insulation / Food Store |  |  |
|  |  |  |  | 103 | 340 349 Ceiling Insulation / Hospital |  |  |
|  |  |  |  | 104 | 340 349 Ceiling Insulation / Restaurant or Services |  |  |
|  |  |  |  | 105 | 360 361 HE PTAC, EER=9.6, 1 ton / Hospital |  |  |
|  |  |  |  | 106 | 360 361 HE PTAC, EER=9.6, 1 ton / Hotel or Motel |  |  |
|  |  |  |  | 107 | 360 361 HE PTAC, EER=9.6, 1 ton / Restaurant or Services |  |  |
|  |  |  |  | 108 | 400 402 Variable Speed Drive Control / Food Store |  |  |
|  |  |  |  | 109 | 400 402 Variable Speed Drive Control / Hospital |  |  |
|  |  |  |  | 110 | 400 403 Air Handler Optimization / College |  |  |
|  |  |  |  | 111 | 400 403 Air Handler Optimization / Office |  |  |
|  |  |  |  | 112 | 400 403 Air Handler Optimization / Other Healthcare |  |  |
|  |  |  |  | 113 | 400 403 Air Handler Optimization / School |  |  |
|  |  |  |  | 114 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Hospital |  |  |
|  |  |  |  | 115 | 600 603 Heat Pump Water Heater (air source) / College |  |  |
|  |  |  |  | 116 | 600 603 Heat Pump Water Heater (air source) / Hotel or Motel |  |  |
|  |  |  |  | 117 | 600 603 Heat Pump Water Heater (air source) / Other Healthcare |  |  |
|  |  |  |  | 118 | 600 603 Heat Pump Water Heater (air source) / Restaurant or Services |  |  |
|  |  |  |  | 119 | 600 603 Heat Pump Water Heater (air source) / School |  |  |
|  |  |  |  | 120 | 600 606 Demand controlled circulating systems / College |  |  |
|  |  |  |  | 121 | 600 606 Demand controlled circulating systems / Other Healthcare |  |  |
|  |  |  |  | 122 | 600 608 Heat Recovery Unit / School |  |  |
|  |  |  |  | 123 | 730 732 Copier Power Management Enabling / College |  |  |
|  |  |  |  | 124 | 730 732 Copier Power Management Enabling / Food Store |  |  |
|  |  |  |  | 125 | 730 732 Copier Power Management Enabling / Hospital |  |  |
|  |  |  |  | 126 | 730 732 Copier Power Management Enabling / Hotel or Motel |  |  |
|  |  |  |  | 127 | 730 732 Copier Power Management Enabling / Office |  |  |
|  |  |  |  | 128 | 730 732 Copier Power Management Enabling / Other |  |  |
|  |  |  |  | 129 | 730 732 Copier Power Management Enabling / Other Healthcare |  |  |
|  |  |  |  | 130 | 730 732 Copier Power Management Enabling / Restaurant or Services |  |  |
|  |  |  |  | 131 | 730 732 Copier Power Management Enabling / Retail |  |  |
|  |  |  |  | 132 | 730 732 Copier Power Management Enabling / School |  |  |
|  |  |  |  | 133 | 730 732 Copier Power Management Enabling / Warehouse |  |  |
|  |  |  |  | 134 | 900 901 Vending Misers (cooled machines only) / College |  |  |
|  |  |  |  | 135 | 900 901 Vending Misers (cooled machines only) / Food Store |  |  |
|  |  |  |  | 136 | 900 901 Vending Misers (cooled machines only) / Hospital |  |  |
|  |  |  |  | 137 | 900 901 Vending Misers (cooled machines only) / Hotel or Motel |  |  |
|  |  |  |  | 138 | 900 901 Vending Misers (cooled machines only) / Office |  |  |
|  |  |  |  | 139 | 900 901 Vending Misers (cooled machines only) / Other |  |  |
|  |  |  |  | 140 | 900 901 Vending Misers (cooled machines only) / Other Healthcare |  |  |
|  |  |  |  | 141 | 900 901 Vending Misers (cooled machines only) / Restaurant or Services |  |  |
|  |  |  |  | 142 | 900 901 Vending Misers (cooled machines only) / Retail |  |  |
|  |  |  |  | 143 | 900 901 Vending Misers (cooled machines only) / School |  |  |
|  |  |  |  | 144 | 900 901 Vending Misers (cooled machines only) / Warehouse |  |  |
|  |  |  |  | 145 | 102 Compressed Air - Controls / Chemicals |   |   |
|  |  |  |  | 146 | 102 Compressed Air - Controls / Electronics |  |  |
|  |  |  |  | 147 | 102 Compressed Air - Controls / Fab Metals |  |  |
|  |  |  |  | 148 | 102 Compressed Air - Controls / Food |  |  |
|  |  |  |  | 149 | 102 Compressed Air - Controls / Ind Machinery |  |  |
|  |  |  |  | 150 | 102 Compressed Air - Controls / Instruments |  |  |
|  |  |  |  | 151 | 102 Compressed Air - Controls / Lumber |  |  |
|  |  |  |  | 152 | 102 Compressed Air - Controls / Misc |  |  |
|  |  |  |  | 153 | 102 Compressed Air - Controls / Paper |  |  |
|  |  |  |  | 154 | 102 Compressed Air - Controls / Petroleum |  |  |
|  |  |  |  | 155 | 102 Compressed Air - Controls / Primary Metals |  |  |
|  |  |  |  | 156 | 102 Compressed Air - Controls / Printing |  |  |
|  |  |  |  | 157 | 102 Compressed Air - Controls / Rubber-Plastics |  |  |
|  |  |  |  | 158 | 102 Compressed Air - Controls / Stone-Clay-Glass |  |  |
|  |  |  |  | 159 | 102 Compressed Air - Controls / Textiles |  |  |
|  |  |  |  | 160 | 102 Compressed Air - Controls / Transp Eqp |  |  |
|  |  |  |  | 161 | 112 Comp Air - ASD (100+ hp) / Chemicals |  |  |
|  |  |  |  | 162 | 112 Comp Air - ASD (100+ hp) / Electronics |  |  |
|  |  |  |  | 163 | 112 Comp Air - ASD (100+ hp) / Fab Metals |  |  |
|  |  |  |  | 164 | 112 Comp Air - ASD (100+ hp) / Food |  |  |
|  |  |  |  | 165 | 112 Comp Air - ASD (100+ hp) / Ind Machinery |  |  |
|  |  |  |  | 166 | 112 Comp Air - ASD (100+ hp) / Instruments |  |  |
|  |  |  |  | 167 | 112 Comp Air - ASD (100+ hp) / Lumber |  |  |
|  |  |  |  | 168 | 112 Comp Air - ASD (100+ hp) / Misc |  |  |
|  |  |  |  | 169 | 112 Comp Air - ASD (100+ hp) / Paper |  |  |
|  |  |  |  | 170 | 112 Comp Air - ASD (100+ hp) / Petroleum |  |  |
|  |  |  |  | 171 | 112 Comp Air - ASD (100+ hp) / Primary Metals |  |  |
|  |  |  |  | 172 | 112 Comp Air - ASD (100+ hp) / Printing |  |  |
|  |  |  |  | 173 | 112 Comp Air - ASD (100+ hp) / Rubber-Plastics |  |  |
|  |  |  |  | 174 | 112 Comp Air - ASD (100+ hp) / Stone-Clay-Glass |  |  |
|  |  |  |  | 175 | 112 Comp Air - ASD (100+ hp) / Textiles |  |  |
|  |  |  |  | 176 | 112 Comp Air - ASD (100+ hp) / Transp Eqp |  |  |
|  |  |  |  | 177 | 113 Comp Air - Motor practices-1 (100+ HP) / Chemicals |  |  |
|  |  |  |  | 178 | 113 Comp Air - Motor practices-1 (100+ HP) / Electronics |  |  |
|  |  |  |  | 179 | 113 Comp Air - Motor practices-1 (100+ HP) / Fab Metals |  |  |
|  |  |  |  | 180 | 113 Comp Air - Motor practices-1 (100+ HP) / Food |  |  |
|  |  |  |  | 181 | 113 Comp Air - Motor practices-1 (100+ HP) / Ind Machinery |  |  |
|  |  |  |  | 182 | 113 Comp Air - Motor practices-1 (100+ HP) / Instruments |  |  |
|  |  |  |  | 183 | 113 Comp Air - Motor practices-1 (100+ HP) / Lumber |  |  |
|  |  |  |  | 184 | 113 Comp Air - Motor practices-1 (100+ HP) / Misc |  |  |
|  |  |  |  | 185 | 113 Comp Air - Motor practices-1 (100+ HP) / Paper |  |  |
|  |  |  |  | 186 | 113 Comp Air - Motor practices-1 (100+ HP) / Petroleum |  |  |
|  |  |  |  | 187 | 113 Comp Air - Motor practices-1 (100+ HP) / Primary Metals |  |  |
|  |  |  |  | 188 | 113 Comp Air - Motor practices-1 (100+ HP) / Printing |  |  |
|  |  |  |  | 189 | 113 Comp Air - Motor practices-1 (100+ HP) / Rubber-Plastics |  |  |
|  |  |  |  | 190 | 113 Comp Air - Motor practices-1 (100+ HP) / Stone-Clay-Glass |  |  |
|  |  |  |  | 191 | 113 Comp Air - Motor practices-1 (100+ HP) / Textiles |  |  |
|  |  |  |  | 192 | 113 Comp Air - Motor practices-1 (100+ HP) / Transp Eqp |  |  |
|  |  |  |  | 193 | 115 Refinery Controls / Petroleum |  |  |
|  |  |  |  | 194 | 204 Fans- Improve components / Chemicals |  |  |
|  |  |  |  | 195 | 204 Fans- Improve components / Electronics |  |  |
|  |  |  |  | 196 | 204 Fans- Improve components / Fab Metals |  |  |
|  |  |  |  | 197 | 204 Fans- Improve components / Food |  |  |
|  |  |  |  | 198 | 204 Fans- Improve components / Ind Machinery |  |  |
|  |  |  |  | 199 | 204 Fans- Improve components / Instruments |  |  |
|  |  |  |  | 200 | 204 Fans- Improve components / Lumber |  |  |
|  |  |  |  | 201 | 204 Fans- Improve components / Misc |  |  |
|  |  |  |  | 202 | 204 Fans- Improve components / Paper |  |  |
|  |  |  |  | 203 | 204 Fans- Improve components / Petroleum |  |  |
|  |  |  |  | 204 | 204 Fans- Improve components / Primary Metals |  |  |
|  |  |  |  | 205 | 204 Fans- Improve components / Printing |  |  |
|  |  |  |  | 206 | 204 Fans- Improve components / Rubber-Plastics |  |  |
|  |  |  |  | 207 | 204 Fans- Improve components / Stone-Clay-Glass |  |  |
|  |  |  |  | 208 | 204 Fans- Improve components / Textiles |  |  |
|  |  |  |  | 209 | 204 Fans- Improve components / Transp Eqp |  |  |
|  |  |  |  | 210 | 212 Fans - ASD (100+ hp) / Chemicals |  |  |
|  |  |  |  | 211 | 212 Fans - ASD (100+ hp) / Electronics |  |  |
|  |  |  |  | 212 | 212 Fans - ASD (100+ hp) / Fab Metals |  |  |
|  |  |  |  | 213 | 212 Fans - ASD (100+ hp) / Food |  |  |
|  |  |  |  | 214 | 212 Fans - ASD (100+ hp) / Ind Machinery |  |  |
|  |  |  |  | 215 | 212 Fans - ASD (100+ hp) / Instruments |  |  |
|  |  |  |  | 216 | 212 Fans - ASD (100+ hp) / Lumber |  |  |
|  |  |  |  | 217 | 212 Fans - ASD (100+ hp) / Misc |  |  |
|  |  |  |  | 218 | 212 Fans - ASD (100+ hp) / Paper |  |  |
|  |  |  |  | 219 | 212 Fans - ASD (100+ hp) / Petroleum |  |  |
|  |  |  |  | 220 | 212 Fans - ASD (100+ hp) / Primary Metals |  |  |
|  |  |  |  | 221 | 212 Fans - ASD (100+ hp) / Printing |  |  |
|  |  |  |  | 222 | 212 Fans - ASD (100+ hp) / Rubber-Plastics |  |  |
|  |  |  |  | 223 | 212 Fans - ASD (100+ hp) / Stone-Clay-Glass |  |  |
|  |  |  |  | 224 | 212 Fans - ASD (100+ hp) / Textiles |  |  |
|  |  |  |  | 225 | 212 Fans - ASD (100+ hp) / Transp Eqp |  |  |
|  |  |  |  | 226 | 213 Fans - Motor practices-1 (100+ HP) / Chemicals |  |  |
|  |  |  |  | 227 | 213 Fans - Motor practices-1 (100+ HP) / Electronics |  |  |
|  |  |  |  | 228 | 213 Fans - Motor practices-1 (100+ HP) / Fab Metals |  |  |
|  |  |  |  | 229 | 213 Fans - Motor practices-1 (100+ HP) / Food |  |  |
|  |  |  |  | 230 | 213 Fans - Motor practices-1 (100+ HP) / Ind Machinery |  |  |
|  |  |  |  | 231 | 213 Fans - Motor practices-1 (100+ HP) / Instruments |  |  |
|  |  |  |  | 232 | 213 Fans - Motor practices-1 (100+ HP) / Lumber |  |  |
|  |  |  |  | 233 | 213 Fans - Motor practices-1 (100+ HP) / Misc |  |  |
|  |  |  |  | 234 | 213 Fans - Motor practices-1 (100+ HP) / Paper |  |  |
|  |  |  |  | 235 | 213 Fans - Motor practices-1 (100+ HP) / Petroleum |  |  |
|  |  |  |  | 236 | 213 Fans - Motor practices-1 (100+ HP) / Primary Metals |  |  |
|  |  |  |  | 237 | 213 Fans - Motor practices-1 (100+ HP) / Printing |  |  |
|  |  |  |  | 238 | 213 Fans - Motor practices-1 (100+ HP) / Rubber-Plastics |  |  |
|  |  |  |  | 239 | 213 Fans - Motor practices-1 (100+ HP) / Stone-Clay-Glass |  |  |
|  |  |  |  | 240 | 213 Fans - Motor practices-1 (100+ HP) / Textiles |  |  |
|  |  |  |  | 241 | 213 Fans - Motor practices-1 (100+ HP) / Transp Eqp |  |  |
|  |  |  |  | 242 | 216 Refinery Controls / Petroleum |  |  |
|  |  |  |  | 243 | 303 Pumps - System Optimization / Chemicals |  |  |
|  |  |  |  | 244 | 303 Pumps - System Optimization / Electronics |  |  |
|  |  |  |  | 245 | 303 Pumps - System Optimization / Fab Metals |  |  |
|  |  |  |  | 246 | 303 Pumps - System Optimization / Food |  |  |
|  |  |  |  | 247 | 303 Pumps - System Optimization / Ind Machinery |  |  |
|  |  |  |  | 248 | 303 Pumps - System Optimization / Instruments |  |  |
|  |  |  |  | 249 | 303 Pumps - System Optimization / Lumber |  |  |
|  |  |  |  | 250 | 303 Pumps - System Optimization / Misc |  |  |
|  |  |  |  | 251 | 303 Pumps - System Optimization / Paper |  |  |
|  |  |  |  | 252 | 303 Pumps - System Optimization / Petroleum |  |  |
|  |  |  |  | 253 | 303 Pumps - System Optimization / Primary Metals |  |  |
|  |  |  |  | 254 | 303 Pumps - System Optimization / Printing |  |  |
|  |  |  |  | 255 | 303 Pumps - System Optimization / Rubber-Plastics |  |  |
|  |  |  |  | 256 | 303 Pumps - System Optimization / Stone-Clay-Glass |  |  |
|  |  |  |  | 257 | 303 Pumps - System Optimization / Textiles |  |  |
|  |  |  |  | 258 | 303 Pumps - System Optimization / Transp Eqp |  |  |
|  |  |  |  | 259 | 312 Pumps - ASD (100+ hp) / Chemicals |  |  |
|  |  |  |  | 260 | 312 Pumps - ASD (100+ hp) / Electronics |  |  |
|  |  |  |  | 261 | 312 Pumps - ASD (100+ hp) / Fab Metals |  |  |
|  |  |  |  | 262 | 312 Pumps - ASD (100+ hp) / Food |  |  |
|  |  |  |  | 263 | 312 Pumps - ASD (100+ hp) / Ind Machinery |  |  |
|  |  |  |  | 264 | 312 Pumps - ASD (100+ hp) / Instruments |  |  |
|  |  |  |  | 265 | 312 Pumps - ASD (100+ hp) / Lumber |  |  |
|  |  |  |  | 266 | 312 Pumps - ASD (100+ hp) / Misc |  |  |
|  |  |  |  | 267 | 312 Pumps - ASD (100+ hp) / Paper |  |  |
|  |  |  |  | 268 | 312 Pumps - ASD (100+ hp) / Petroleum |  |  |
|  |  |  |  | 269 | 312 Pumps - ASD (100+ hp) / Primary Metals |  |  |
|  |  |  |  | 270 | 312 Pumps - ASD (100+ hp) / Printing |  |  |
|  |  |  |  | 271 | 312 Pumps - ASD (100+ hp) / Rubber-Plastics |  |  |
|  |  |  |  | 272 | 312 Pumps - ASD (100+ hp) / Stone-Clay-Glass |  |  |
|  |  |  |  | 273 | 312 Pumps - ASD (100+ hp) / Textiles |  |  |
|  |  |  |  | 274 | 312 Pumps - ASD (100+ hp) / Transp Eqp |  |  |
|  |  |  |  | 275 | 313 Pumps - Motor practices-1 (100+ HP) / Chemicals |  |  |
|  |  |  |  | 276 | 313 Pumps - Motor practices-1 (100+ HP) / Electronics |  |  |
|  |  |  |  | 277 | 313 Pumps - Motor practices-1 (100+ HP) / Fab Metals |  |  |
|  |  |  |  | 278 | 313 Pumps - Motor practices-1 (100+ HP) / Food |  |  |
|  |  |  |  | 279 | 313 Pumps - Motor practices-1 (100+ HP) / Ind Machinery |  |  |
|  |  |  |  | 280 | 313 Pumps - Motor practices-1 (100+ HP) / Instruments |  |  |
|  |  |  |  | 281 | 313 Pumps - Motor practices-1 (100+ HP) / Lumber |  |  |
|  |  |  |  | 282 | 313 Pumps - Motor practices-1 (100+ HP) / Misc |  |  |
|  |  |  |  | 283 | 313 Pumps - Motor practices-1 (100+ HP) / Paper |  |  |
|  |  |  |  | 284 | 313 Pumps - Motor practices-1 (100+ HP) / Petroleum |  |  |
|  |  |  |  | 285 | 313 Pumps - Motor practices-1 (100+ HP) / Primary Metals |  |  |
|  |  |  |  | 286 | 313 Pumps - Motor practices-1 (100+ HP) / Printing |  |  |
|  |  |  |  | 287 | 313 Pumps - Motor practices-1 (100+ HP) / Rubber-Plastics |  |  |
|  |  |  |  | 288 | 313 Pumps - Motor practices-1 (100+ HP) / Stone-Clay-Glass |  |  |
|  |  |  |  | 289 | 313 Pumps - Motor practices-1 (100+ HP) / Textiles |  |  |
|  |  |  |  | 290 | 313 Pumps - Motor practices-1 (100+ HP) / Transp Eqp |  |  |
|  |  |  |  | 291 | 315 Refinery Controls / Petroleum |  |  |
|  |  |  |  | 292 | 404 Replace V-Belts / Lumber |  |  |
|  |  |  |  | 293 | 405 Drives - EE motor / Stone-Clay-Glass |  |  |
|  |  |  |  | 294 | 406 Gap Forming papermachine / Paper |  |  |
|  |  |  |  | 295 | 407 High Consistency forming / Paper |  |  |
|  |  |  |  | 296 | 409 Efficient practices printing press / Printing |  |  |
|  |  |  |  | 297 | 412 Efficient drives / Printing |  |  |
|  |  |  |  | 298 | 423 Process control / Stone-Clay-Glass |  |  |
|  |  |  |  | 299 | 426 Efficient drives - rolling / Primary Metals |  |  |
|  |  |  |  | 300 | 429 Machinery / Fab Metals |  |  |
|  |  |  |  | 301 | 429 Machinery / Ind Machinery |  |  |
|  |  |  |  | 302 | 429 Machinery / Instruments |  |  |
|  |  |  |  | 303 | 429 Machinery / Transp Eqp |  |  |
|  |  |  |  | 304 | 501 Bakery - Process / Food |  |  |
|  |  |  |  | 305 | 504 Top-heating (glass) / Stone-Clay-Glass |  |  |
|  |  |  |  | 306 | 507 Near Net Shape Casting / Primary Metals |  |  |
|  |  |  |  | 307 | 607 Refinery Controls / Petroleum |  |  |
|  |  |  |  | 308 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Chemicals |  |  |
|  |  |  |  | 309 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Electronics |  |  |
|  |  |  |  | 310 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Fab Metals |  |  |
|  |  |  |  | 311 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Food |  |  |
|  |  |  |  | 312 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Ind Machinery |  |  |
|  |  |  |  | 313 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Instruments |  |  |
|  |  |  |  | 314 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Lumber |  |  |
|  |  |  |  | 315 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Misc |  |  |
|  |  |  |  | 316 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Paper |  |  |
|  |  |  |  | 317 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Petroleum |  |  |
|  |  |  |  | 318 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Primary Metals |  |  |
|  |  |  |  | 319 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Printing |  |  |
|  |  |  |  | 320 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Rubber-Plastics |  |  |
|  |  |  |  | 321 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Stone-Clay-Glass |  |  |
|  |  |  |  | 322 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Textiles |  |  |
|  |  |  |  | 323 | 701 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Transp Eqp |  |  |
|  |  |  |  | 324 | 705 VSD for Chiller Pumps and Towers / Chemicals |  |  |
|  |  |  |  | 325 | 705 VSD for Chiller Pumps and Towers / Electronics |  |  |
|  |  |  |  | 326 | 705 VSD for Chiller Pumps and Towers / Fab Metals |  |  |
|  |  |  |  | 327 | 705 VSD for Chiller Pumps and Towers / Food |  |  |
|  |  |  |  | 328 | 705 VSD for Chiller Pumps and Towers / Ind Machinery |  |  |
|  |  |  |  | 329 | 705 VSD for Chiller Pumps and Towers / Instruments |  |  |
|  |  |  |  | 330 | 705 VSD for Chiller Pumps and Towers / Lumber |  |  |
|  |  |  |  | 331 | 705 VSD for Chiller Pumps and Towers / Misc |  |  |
|  |  |  |  | 332 | 705 VSD for Chiller Pumps and Towers / Paper |  |  |
|  |  |  |  | 333 | 705 VSD for Chiller Pumps and Towers / Petroleum |  |  |
|  |  |  |  | 334 | 705 VSD for Chiller Pumps and Towers / Primary Metals |  |  |
|  |  |  |  | 335 | 705 VSD for Chiller Pumps and Towers / Printing |  |  |
|  |  |  |  | 336 | 705 VSD for Chiller Pumps and Towers / Rubber-Plastics |  |  |
|  |  |  |  | 337 | 705 VSD for Chiller Pumps and Towers / Stone-Clay-Glass |  |  |
|  |  |  |  | 338 | 705 VSD for Chiller Pumps and Towers / Textiles |  |  |
|  |  |  |  | 339 | 705 VSD for Chiller Pumps and Towers / Transp Eqp |  |  |
|  |  |  |  | 340 | 706 EMS Optimization - Chiller / Chemicals |  |  |
|  |  |  |  | 341 | 706 EMS Optimization - Chiller / Electronics |  |  |
|  |  |  |  | 342 | 706 EMS Optimization - Chiller / Fab Metals |  |  |
|  |  |  |  | 343 | 706 EMS Optimization - Chiller / Food |  |  |
|  |  |  |  | 344 | 706 EMS Optimization - Chiller / Ind Machinery |  |  |
|  |  |  |  | 345 | 706 EMS Optimization - Chiller / Instruments |  |  |
|  |  |  |  | 346 | 706 EMS Optimization - Chiller / Lumber |  |  |
|  |  |  |  | 347 | 706 EMS Optimization - Chiller / Misc |  |  |
|  |  |  |  | 348 | 706 EMS Optimization - Chiller / Paper |  |  |
|  |  |  |  | 349 | 706 EMS Optimization - Chiller / Petroleum |  |  |
|  |  |  |  | 350 | 706 EMS Optimization - Chiller / Primary Metals |  |  |
|  |  |  |  | 351 | 706 EMS Optimization - Chiller / Printing |  |  |
|  |  |  |  | 352 | 706 EMS Optimization - Chiller / Rubber-Plastics |  |  |
|  |  |  |  | 353 | 706 EMS Optimization - Chiller / Stone-Clay-Glass |  |  |
|  |  |  |  | 354 | 706 EMS Optimization - Chiller / Textiles |  |  |
|  |  |  |  | 355 | 706 EMS Optimization - Chiller / Transp Eqp |  |  |
|  |  |  |  | 356 | 726 Optimize Controls / Chemicals |  |  |
|  |  |  |  | 357 | 726 Optimize Controls / Electronics |  |  |
|  |  |  |  | 358 | 726 Optimize Controls / Fab Metals |  |  |
|  |  |  |  | 359 | 726 Optimize Controls / Food |  |  |
|  |  |  |  | 360 | 726 Optimize Controls / Ind Machinery |  |  |
|  |  |  |  | 361 | 726 Optimize Controls / Instruments |  |  |
|  |  |  |  | 362 | 726 Optimize Controls / Lumber |  |  |
|  |  |  |  | 363 | 726 Optimize Controls / Misc |  |  |
|  |  |  |  | 364 | 726 Optimize Controls / Paper |  |  |
|  |  |  |  | 365 | 726 Optimize Controls / Petroleum |  |  |
|  |  |  |  | 366 | 726 Optimize Controls / Primary Metals |  |  |
|  |  |  |  | 367 | 726 Optimize Controls / Printing |  |  |
|  |  |  |  | 368 | 726 Optimize Controls / Rubber-Plastics |  |  |
|  |  |  |  | 369 | 726 Optimize Controls / Stone-Clay-Glass |  |  |
|  |  |  |  | 370 | 726 Optimize Controls / Textiles |  |  |
|  |  |  |  | 371 | 726 Optimize Controls / Transp Eqp |  |  |
|  |  |  |  | 372 | 801 Premium T8, Electronic Ballast / Chemicals |  |  |
|  |  |  |  | 373 | 801 Premium T8, Electronic Ballast / Electronics |  |  |
|  |  |  |  | 374 | 801 Premium T8, Electronic Ballast / Fab Metals |  |  |
|  |  |  |  | 375 | 801 Premium T8, Electronic Ballast / Food |  |  |
|  |  |  |  | 376 | 801 Premium T8, Electronic Ballast / Ind Machinery |  |  |
|  |  |  |  | 377 | 801 Premium T8, Electronic Ballast / Instruments |  |  |
|  |  |  |  | 378 | 801 Premium T8, Electronic Ballast / Lumber |  |  |
|  |  |  |  | 379 | 801 Premium T8, Electronic Ballast / Misc |  |  |
|  |  |  |  | 380 | 801 Premium T8, Electronic Ballast / Paper |  |  |
|  |  |  |  | 381 | 801 Premium T8, Electronic Ballast / Petroleum |  |  |
|  |  |  |  | 382 | 801 Premium T8, Electronic Ballast / Primary Metals |  |  |
|  |  |  |  | 383 | 801 Premium T8, Electronic Ballast / Printing |  |  |
|  |  |  |  | 384 | 801 Premium T8, Electronic Ballast / Rubber-Plastics |  |  |
|  |  |  |  | 385 | 801 Premium T8, Electronic Ballast / Stone-Clay-Glass |  |  |
|  |  |  |  | 386 | 801 Premium T8, Electronic Ballast / Textiles |  |  |
|  |  |  |  | 387 | 801 Premium T8, Electronic Ballast / Transp Eqp |  |  |
|  |  |  |  | 388 | 901 Replace V-belts / Electronics |  |  |
|  |  |  |  | 389 | 901 Replace V-belts / Fab Metals |  |  |
|  |  |  |  | 390 | 901 Replace V-belts / Food |  |  |
|  |  |  |  | 391 | 901 Replace V-belts / Ind Machinery |  |  |
|  |  |  |  | 392 | 901 Replace V-belts / Instruments |  |  |
|  |  |  |  | 393 | 901 Replace V-belts / Lumber |  |  |
|  |  |  |  | 394 | 901 Replace V-belts / Misc |  |  |
|  |  |  |  | 395 | 901 Replace V-belts / Paper |  |  |
|  |  |  |  | 396 | 901 Replace V-belts / Petroleum |  |  |
|  |  |  |  | 397 | 901 Replace V-belts / Primary Metals |  |  |
|  |  |  |  | 398 | 901 Replace V-belts / Printing |  |  |
|  |  |  |  | 399 | 901 Replace V-belts / Rubber-Plastics |  |  |
|  |  |  |  | 400 | 901 Replace V-belts / Stone-Clay-Glass |  |  |
|  |  |  |  | 401 | 901 Replace V-belts / Textiles |  |  |
|  |  |  |  | 402 | 901 Replace V-belts / Transp Eqp |  |  |
| **Longer Payback Period** |
| 0 | none | 1 | 100 116 Duct Repair / Single Detached | 0 | none | 1 | 100 112 AC Maintenance (Outdoor Coil Cleaning) / Single Detached - Manufactured |
|  |  | 2 | 100 119 Window Film / Multi Attached |  |  | 2 | 100 115 Electronically Commutated Motors (ECM) on an Air Handler Unit / Single Detached |
|  |  | 3 | 100 121 Default Window With Sunscreen / Single Detached |  |  | 3 | 100 115 Electronically Commutated Motors (ECM) on an Air Handler Unit / Single Detached - Manufactured |
|  |  | 4 | 130 142 Duct Repair / Single Detached |  |  | 4 | 100 116 Duct Repair / Single Detached |
|  |  | 5 | 130 145 Window Film / Multi Attached |  |  | 5 | 100 119 Window Film / Multi Attached |
|  |  | 6 | 130 147 Default Window With Sunscreen / Multi Attached |  |  | 6 | 100 121 Default Window With Sunscreen / Single Detached |
|  |  | 7 | 130 147 Default Window With Sunscreen / Single Detached |  |  | 7 | 130 138 AC Maintenance (Outdoor Coil Cleaning) / Single Detached |
|  |  | 8 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Office |  |  | 8 | 130 140 Proper Refrigerant Charging and Air Flow / Multi Attached |
|  |  | 9 | 300 305 Chiller Tune Up/Diagnostics / Office |  |  | 9 | 130 142 Duct Repair / Single Detached |
|  |  | 10 | 300 305 Chiller Tune Up/Diagnostics / Retail |  |  | 10 | 130 145 Window Film / Multi Attached |
|  |  | 11 | 300 305 Chiller Tune Up/Diagnostics / School |  |  | 11 | 130 147 Default Window With Sunscreen / Multi Attached |
|  |  | 12 | 300 311 Window Film (Standard) / Food Store |  |  | 12 | 130 147 Default Window With Sunscreen / Single Detached |
|  |  | 13 | 300 311 Window Film (Standard) / Restaurant or Services |  |  | 13 | 190 197 Window Film / Single Detached - Manufactured |
|  |  | 14 | 300 313 Ceiling Insulation / Hospital |  |  | 14 | 190 200 Single Pane Clear Windows to Double Pane Low-E Windows / Multi Attached |
|  |  | 15 | 300 313 Ceiling Insulation / Restaurant or Services |  |  | 15 | 200 242 LED 12W, 6.0hr/hday / All |
|  |  | 16 | 300 314 Roof Insulation / Hospital |  |  | 16 | 260 263 LED Directional 13W (Flood, Outdoor) / All |
|  |  | 17 | 300 314 Roof Insulation / Restaurant or Services |  |  | 17 | 100 132 Flood LED 14W / All |
|  |  | 18 | 320 334 Ceiling Insulation / Food Store |  |  | 18 | 100 154 LED High Bay 83W (400W equivalent) / All |
|  |  | 19 | 320 334 Ceiling Insulation / Other Healthcare |  |  | 19 | 110 115 Lighting Control Tuneup / Warehouse |
|  |  | 20 | 320 335 Roof Insulation / Food Store |  |  | 20 | 120 121 ROB Premium T8, 1EB / School |
|  |  | 21 | 340 349 Ceiling Insulation / Other Healthcare |  |  | 21 | 120 121 ROB Premium T8, 1EB / Warehouse |
|  |  | 22 | 340 351 Cool Roof - DX / Hospital |  |  | 22 | 120 122 ROB Premium T8, EB, Reflector / College |
|  |  | 23 | 340 351 Cool Roof - DX / Restaurant or Services |  |  | 23 | 120 122 ROB Premium T8, EB, Reflector / School |
|  |  | 24 | 360 361 HE PTAC, EER=9.6, 1 ton / Food Store |  |  | 24 | 120 124 Lighting Control Tuneup / Hotel or Motel |
|  |  | 25 | 360 361 HE PTAC, EER=9.6, 1 ton / Retail |  |  | 25 | 140 141 CFL Hardwired, Modular 18W / Restaurant or Services |
|  |  |  |  |  |  | 26 | 150 152 PSMH, 250 W, electronic ballast / College |
|  |  |  |  |  |  | 27 | 150 152 PSMH, 250 W, electronic ballast / School |
|  |  |  |  |  |  | 28 | 150 152 PSMH, 250 W, electronic ballast / Warehouse |
|  |  |  |  |  |  | 29 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Office |
|  |  |  |  |  |  | 30 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / College |
|  |  |  |  |  |  | 31 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Office |
|  |  |  |  |  |  | 32 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Other |
|  |  |  |  |  |  | 33 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Other Healthcare |
|  |  |  |  |  |  | 34 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / School |
|  |  |  |  |  |  | 35 | 300 301 Centrifugal Chiller, 0.51 kW/ton, 500 tons / Warehouse |
|  |  |  |  |  |  | 36 | 300 302 High Efficiency Chiller Motors / Food Store |
|  |  |  |  |  |  | 37 | 300 302 High Efficiency Chiller Motors / Restaurant or Services |
|  |  |  |  |  |  | 38 | 300 302 High Efficiency Chiller Motors / Retail |
|  |  |  |  |  |  | 39 | 300 304 EMS - Chiller / Food Store |
|  |  |  |  |  |  | 40 | 300 304 EMS - Chiller / Other |
|  |  |  |  |  |  | 41 | 300 304 EMS - Chiller / Retail |
|  |  |  |  |  |  | 42 | 300 305 Chiller Tune Up/Diagnostics / Office |
|  |  |  |  |  |  | 43 | 300 305 Chiller Tune Up/Diagnostics / Retail |
|  |  |  |  |  |  | 44 | 300 305 Chiller Tune Up/Diagnostics / School |
|  |  |  |  |  |  | 45 | 300 306 VSD for Chiller Pumps and Towers / College |
|  |  |  |  |  |  | 46 | 300 306 VSD for Chiller Pumps and Towers / Office |
|  |  |  |  |  |  | 47 | 300 306 VSD for Chiller Pumps and Towers / Other |
|  |  |  |  |  |  | 48 | 300 306 VSD for Chiller Pumps and Towers / Other Healthcare |
|  |  |  |  |  |  | 49 | 300 306 VSD for Chiller Pumps and Towers / School |
|  |  |  |  |  |  | 50 | 300 306 VSD for Chiller Pumps and Towers / Warehouse |
|  |  |  |  |  |  | 51 | 300 307 EMS Optimization / Other |
|  |  |  |  |  |  | 52 | 300 311 Window Film (Standard) / Food Store |
|  |  |  |  |  |  | 53 | 300 311 Window Film (Standard) / Restaurant or Services |
|  |  |  |  |  |  | 54 | 300 313 Ceiling Insulation / Hospital |
|  |  |  |  |  |  | 55 | 300 313 Ceiling Insulation / Restaurant or Services |
|  |  |  |  |  |  | 56 | 300 314 Roof Insulation / Hospital |
|  |  |  |  |  |  | 57 | 300 314 Roof Insulation / Restaurant or Services |
|  |  |  |  |  |  | 58 | 300 337 Run Time Optimizer / All |
|  |  |  |  |  |  | 59 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Food Store |
|  |  |  |  |  |  | 60 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Hospital |
|  |  |  |  |  |  | 61 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Hotel or Motel |
|  |  |  |  |  |  | 62 | 320 322 Hybrid Dessicant-DX System (Trane CDQ) / Retail |
|  |  |  |  |  |  | 63 | 320 326 DX Tune Up/ Advanced Diagnostics / Hotel or Motel |
|  |  |  |  |  |  | 64 | 320 326 DX Tune Up/ Advanced Diagnostics / Other Healthcare |
|  |  |  |  |  |  | 65 | 320 334 Ceiling Insulation / Food Store |
|  |  |  |  |  |  | 66 | 320 334 Ceiling Insulation / Other Healthcare |
|  |  |  |  |  |  | 67 | 320 335 Roof Insulation / Food Store |
|  |  |  |  |  |  | 68 | 320 336 Cool Roof - DX / Restaurant or Services |
|  |  |  |  |  |  | 69 | 340 349 Ceiling Insulation / Other Healthcare |
|  |  |  |  |  |  | 70 | 340 351 Cool Roof - DX / Hospital |
|  |  |  |  |  |  | 71 | 340 351 Cool Roof - DX / Restaurant or Services |
|  |  |  |  |  |  | 72 | 360 361 HE PTAC, EER=9.6, 1 ton / Food Store |
|  |  |  |  |  |  | 73 | 360 361 HE PTAC, EER=9.6, 1 ton / Retail |
|  |  |  |  |  |  | 74 | 400 402 Variable Speed Drive Control / Office |
|  |  |  |  |  |  | 75 | 400 403 Air Handler Optimization / Hotel or Motel |
|  |  |  |  |  |  | 76 | 400 403 Air Handler Optimization / Other |
|  |  |  |  |  |  | 77 | 400 403 Air Handler Optimization / Retail |
|  |  |  |  |  |  | 78 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / College |
|  |  |  |  |  |  | 79 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Food Store |
|  |  |  |  |  |  | 80 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Hotel or Motel |
|  |  |  |  |  |  | 81 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Office |
|  |  |  |  |  |  | 82 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Other |
|  |  |  |  |  |  | 83 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Restaurant or Services |
|  |  |  |  |  |  | 84 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Retail |
|  |  |  |  |  |  | 85 | 400 404 Electronically Commutated Motors (ECM) on an Air Handler Unit / Warehouse |
|  |  |  |  |  |  | 86 | 500 513 High R-Value Glass Doors / Food Store |
|  |  |  |  |  |  | 87 | 500 515 Oversized Air Cooled Condenser / Food Store |
|  |  |  |  |  |  | 88 | 600 603 Heat Pump Water Heater (air source) / Other |
|  |  |  |  |  |  | 89 | 600 606 Demand controlled circulating systems / Hotel or Motel |
|  |  |  |  |  |  | 90 | 600 606 Demand controlled circulating systems / School |
|  |  |  |  |  |  | 91 | 600 608 Heat Recovery Unit / College |
|  |  |  |  |  |  | 92 | 600 608 Heat Recovery Unit / Food Store |
|  |  |  |  |  |  | 93 | 600 608 Heat Recovery Unit / Other |
|  |  |  |  |  |  | 94 | 800 812 Griddle / All |
|  |  |  |  |  |  | 95 | 800 813 Steamer / All |
|  |  |  |  |  |  | 96 | 800 814 Holding Cabinet / All |
|  |  |  |  |  |  | 97 | 110 Comp Air - Motor practices-1 (6-100 HP) / Chemicals |
|  |  |  |  |  |  | 98 | 110 Comp Air - Motor practices-1 (6-100 HP) / Electronics |
|  |  |  |  |  |  | 99 | 110 Comp Air - Motor practices-1 (6-100 HP) / Fab Metals |
|  |  |  |  |  |  | 100 | 110 Comp Air - Motor practices-1 (6-100 HP) / Food |
|  |  |  |  |  |  | 101 | 110 Comp Air - Motor practices-1 (6-100 HP) / Ind Machinery |
|  |  |  |  |  |  | 102 | 110 Comp Air - Motor practices-1 (6-100 HP) / Instruments |
|  |  |  |  |  |  | 103 | 110 Comp Air - Motor practices-1 (6-100 HP) / Lumber |
|  |  |  |  |  |  | 104 | 110 Comp Air - Motor practices-1 (6-100 HP) / Misc |
|  |  |  |  |  |  | 105 | 110 Comp Air - Motor practices-1 (6-100 HP) / Paper |
|  |  |  |  |  |  | 106 | 110 Comp Air - Motor practices-1 (6-100 HP) / Petroleum |
|  |  |  |  |  |  | 107 | 110 Comp Air - Motor practices-1 (6-100 HP) / Primary Metals |
|  |  |  |  |  |  | 108 | 110 Comp Air - Motor practices-1 (6-100 HP) / Printing |
|  |  |  |  |  |  | 109 | 110 Comp Air - Motor practices-1 (6-100 HP) / Rubber-Plastics |
|  |  |  |  |  |  | 110 | 110 Comp Air - Motor practices-1 (6-100 HP) / Stone-Clay-Glass |
|  |  |  |  |  |  | 111 | 110 Comp Air - Motor practices-1 (6-100 HP) / Textiles |
|  |  |  |  |  |  | 112 | 110 Comp Air - Motor practices-1 (6-100 HP) / Transp Eqp |
|  |  |  |  |  |  | 113 | 202 Fans - Controls / Chemicals |
|  |  |  |  |  |  | 114 | 202 Fans - Controls / Electronics |
|  |  |  |  |  |  | 115 | 202 Fans - Controls / Fab Metals |
|  |  |  |  |  |  | 116 | 202 Fans - Controls / Food |
|  |  |  |  |  |  | 117 | 202 Fans - Controls / Ind Machinery |
|  |  |  |  |  |  | 118 | 202 Fans - Controls / Instruments |
|  |  |  |  |  |  | 119 | 202 Fans - Controls / Lumber |
|  |  |  |  |  |  | 120 | 202 Fans - Controls / Misc |
|  |  |  |  |  |  | 121 | 202 Fans - Controls / Paper |
|  |  |  |  |  |  | 122 | 202 Fans - Controls / Petroleum |
|  |  |  |  |  |  | 123 | 202 Fans - Controls / Primary Metals |
|  |  |  |  |  |  | 124 | 202 Fans - Controls / Printing |
|  |  |  |  |  |  | 125 | 202 Fans - Controls / Rubber-Plastics |
|  |  |  |  |  |  | 126 | 202 Fans - Controls / Stone-Clay-Glass |
|  |  |  |  |  |  | 127 | 202 Fans - Controls / Textiles |
|  |  |  |  |  |  | 128 | 202 Fans - Controls / Transp Eqp |
|  |  |  |  |  |  | 129 | 203 Fans - System Optimization / Chemicals |
|  |  |  |  |  |  | 130 | 203 Fans - System Optimization / Electronics |
|  |  |  |  |  |  | 131 | 203 Fans - System Optimization / Fab Metals |
|  |  |  |  |  |  | 132 | 203 Fans - System Optimization / Food |
|  |  |  |  |  |  | 133 | 203 Fans - System Optimization / Ind Machinery |
|  |  |  |  |  |  | 134 | 203 Fans - System Optimization / Instruments |
|  |  |  |  |  |  | 135 | 203 Fans - System Optimization / Lumber |
|  |  |  |  |  |  | 136 | 203 Fans - System Optimization / Misc |
|  |  |  |  |  |  | 137 | 203 Fans - System Optimization / Paper |
|  |  |  |  |  |  | 138 | 203 Fans - System Optimization / Petroleum |
|  |  |  |  |  |  | 139 | 203 Fans - System Optimization / Primary Metals |
|  |  |  |  |  |  | 140 | 203 Fans - System Optimization / Printing |
|  |  |  |  |  |  | 141 | 203 Fans - System Optimization / Rubber-Plastics |
|  |  |  |  |  |  | 142 | 203 Fans - System Optimization / Stone-Clay-Glass |
|  |  |  |  |  |  | 143 | 203 Fans - System Optimization / Textiles |
|  |  |  |  |  |  | 144 | 203 Fans - System Optimization / Transp Eqp |
|  |  |  |  |  |  | 145 | 210 Fans - Motor practices-1 (6-100 HP) / Chemicals |
|  |  |  |  |  |  | 146 | 210 Fans - Motor practices-1 (6-100 HP) / Electronics |
|  |  |  |  |  |  | 147 | 210 Fans - Motor practices-1 (6-100 HP) / Fab Metals |
|  |  |  |  |  |  | 148 | 210 Fans - Motor practices-1 (6-100 HP) / Food |
|  |  |  |  |  |  | 149 | 210 Fans - Motor practices-1 (6-100 HP) / Ind Machinery |
|  |  |  |  |  |  | 150 | 210 Fans - Motor practices-1 (6-100 HP) / Instruments |
|  |  |  |  |  |  | 151 | 210 Fans - Motor practices-1 (6-100 HP) / Lumber |
|  |  |  |  |  |  | 152 | 210 Fans - Motor practices-1 (6-100 HP) / Misc |
|  |  |  |  |  |  | 153 | 210 Fans - Motor practices-1 (6-100 HP) / Paper |
|  |  |  |  |  |  | 154 | 210 Fans - Motor practices-1 (6-100 HP) / Petroleum |
|  |  |  |  |  |  | 155 | 210 Fans - Motor practices-1 (6-100 HP) / Primary Metals |
|  |  |  |  |  |  | 156 | 210 Fans - Motor practices-1 (6-100 HP) / Printing |
|  |  |  |  |  |  | 157 | 210 Fans - Motor practices-1 (6-100 HP) / Rubber-Plastics |
|  |  |  |  |  |  | 158 | 210 Fans - Motor practices-1 (6-100 HP) / Stone-Clay-Glass |
|  |  |  |  |  |  | 159 | 210 Fans - Motor practices-1 (6-100 HP) / Textiles |
|  |  |  |  |  |  | 160 | 210 Fans - Motor practices-1 (6-100 HP) / Transp Eqp |
|  |  |  |  |  |  | 161 | 214 Optimize drying process / Lumber |
|  |  |  |  |  |  | 162 | 310 Pumps - Motor practices-1 (6-100 HP) / Chemicals |
|  |  |  |  |  |  | 163 | 310 Pumps - Motor practices-1 (6-100 HP) / Electronics |
|  |  |  |  |  |  | 164 | 310 Pumps - Motor practices-1 (6-100 HP) / Fab Metals |
|  |  |  |  |  |  | 165 | 310 Pumps - Motor practices-1 (6-100 HP) / Food |
|  |  |  |  |  |  | 166 | 310 Pumps - Motor practices-1 (6-100 HP) / Ind Machinery |
|  |  |  |  |  |  | 167 | 310 Pumps - Motor practices-1 (6-100 HP) / Instruments |
|  |  |  |  |  |  | 168 | 310 Pumps - Motor practices-1 (6-100 HP) / Lumber |
|  |  |  |  |  |  | 169 | 310 Pumps - Motor practices-1 (6-100 HP) / Misc |
|  |  |  |  |  |  | 170 | 310 Pumps - Motor practices-1 (6-100 HP) / Paper |
|  |  |  |  |  |  | 171 | 310 Pumps - Motor practices-1 (6-100 HP) / Petroleum |
|  |  |  |  |  |  | 172 | 310 Pumps - Motor practices-1 (6-100 HP) / Primary Metals |
|  |  |  |  |  |  | 173 | 310 Pumps - Motor practices-1 (6-100 HP) / Printing |
|  |  |  |  |  |  | 174 | 310 Pumps - Motor practices-1 (6-100 HP) / Rubber-Plastics |
|  |  |  |  |  |  | 175 | 310 Pumps - Motor practices-1 (6-100 HP) / Stone-Clay-Glass |
|  |  |  |  |  |  | 176 | 310 Pumps - Motor practices-1 (6-100 HP) / Textiles |
|  |  |  |  |  |  | 177 | 310 Pumps - Motor practices-1 (6-100 HP) / Transp Eqp |
|  |  |  |  |  |  | 178 | 402 O&M/drives spinning machines / Textiles |
|  |  |  |  |  |  | 179 | 405 Drives - EE motor / Lumber |
|  |  |  |  |  |  | 180 | 405 Drives - EE motor / Paper |
|  |  |  |  |  |  | 181 | 408 Optimization control PM / Paper |
|  |  |  |  |  |  | 182 | 410 Efficient Printing press (fewer cylinders) / Printing |
|  |  |  |  |  |  | 183 | 413 Clean Room - Controls / Chemicals |
|  |  |  |  |  |  | 184 | 418 Extruders/injection Moulding-multipump / Rubber-Plastics |
|  |  |  |  |  |  | 185 | 428 Drives - Scheduling / Electronics |
|  |  |  |  |  |  | 186 | 428 Drives - Scheduling / Fab Metals |
|  |  |  |  |  |  | 187 | 428 Drives - Scheduling / Ind Machinery |
|  |  |  |  |  |  | 188 | 428 Drives - Scheduling / Instruments |
|  |  |  |  |  |  | 189 | 428 Drives - Scheduling / Misc |
|  |  |  |  |  |  | 190 | 428 Drives - Scheduling / Transp Eqp |
|  |  |  |  |  |  | 191 | 429 Machinery / Electronics |
|  |  |  |  |  |  | 192 | 430 Efficient Machinery / Misc |
|  |  |  |  |  |  | 193 | 502 Drying (UV/IR) / Textiles |
|  |  |  |  |  |  | 194 | 511 Heating - Scheduling / Fab Metals |
|  |  |  |  |  |  | 195 | 511 Heating - Scheduling / Ind Machinery |
|  |  |  |  |  |  | 196 | 602 Efficient desalter / Petroleum |
|  |  |  |  |  |  | 197 | 603 New transformers welding / Fab Metals |
|  |  |  |  |  |  | 198 | 603 New transformers welding / Ind Machinery |
|  |  |  |  |  |  | 199 | 603 New transformers welding / Instruments |
|  |  |  |  |  |  | 200 | 603 New transformers welding / Transp Eqp |
|  |  |  |  |  |  | 201 | 604 Efficient processes (welding, etc.) / Electronics |
|  |  |  |  |  |  | 202 | 703 EMS - Chiller / Chemicals |
|  |  |  |  |  |  | 203 | 703 EMS - Chiller / Electronics |
|  |  |  |  |  |  | 204 | 703 EMS - Chiller / Fab Metals |
|  |  |  |  |  |  | 205 | 703 EMS - Chiller / Food |
|  |  |  |  |  |  | 206 | 703 EMS - Chiller / Ind Machinery |
|  |  |  |  |  |  | 207 | 703 EMS - Chiller / Instruments |
|  |  |  |  |  |  | 208 | 703 EMS - Chiller / Lumber |
|  |  |  |  |  |  | 209 | 703 EMS - Chiller / Misc |
|  |  |  |  |  |  | 210 | 703 EMS - Chiller / Paper |
|  |  |  |  |  |  | 211 | 703 EMS - Chiller / Petroleum |
|  |  |  |  |  |  | 212 | 703 EMS - Chiller / Primary Metals |
|  |  |  |  |  |  | 213 | 703 EMS - Chiller / Printing |
|  |  |  |  |  |  | 214 | 703 EMS - Chiller / Rubber-Plastics |
|  |  |  |  |  |  | 215 | 703 EMS - Chiller / Stone-Clay-Glass |
|  |  |  |  |  |  | 216 | 703 EMS - Chiller / Textiles |
|  |  |  |  |  |  | 217 | 703 EMS - Chiller / Transp Eqp |
|  |  |  |  |  |  | 218 | 802 CFL Hardwired, Modular 18W / Chemicals |
|  |  |  |  |  |  | 219 | 802 CFL Hardwired, Modular 18W / Electronics |
|  |  |  |  |  |  | 220 | 802 CFL Hardwired, Modular 18W / Fab Metals |
|  |  |  |  |  |  | 221 | 802 CFL Hardwired, Modular 18W / Food |
|  |  |  |  |  |  | 222 | 802 CFL Hardwired, Modular 18W / Ind Machinery |
|  |  |  |  |  |  | 223 | 802 CFL Hardwired, Modular 18W / Instruments |
|  |  |  |  |  |  | 224 | 802 CFL Hardwired, Modular 18W / Lumber |
|  |  |  |  |  |  | 225 | 802 CFL Hardwired, Modular 18W / Misc |
|  |  |  |  |  |  | 226 | 802 CFL Hardwired, Modular 18W / Paper |
|  |  |  |  |  |  | 227 | 802 CFL Hardwired, Modular 18W / Petroleum |
|  |  |  |  |  |  | 228 | 802 CFL Hardwired, Modular 18W / Primary Metals |
|  |  |  |  |  |  | 229 | 802 CFL Hardwired, Modular 18W / Printing |
|  |  |  |  |  |  | 230 | 802 CFL Hardwired, Modular 18W / Rubber-Plastics |
|  |  |  |  |  |  | 231 | 802 CFL Hardwired, Modular 18W / Stone-Clay-Glass |
|  |  |  |  |  |  | 232 | 802 CFL Hardwired, Modular 18W / Textiles |
|  |  |  |  |  |  | 233 | 802 CFL Hardwired, Modular 18W / Transp Eqp |
|  |  |  |  |  |  | 234 | 805 Occupancy Sensor / Chemicals |
|  |  |  |  |  |  | 235 | 805 Occupancy Sensor / Electronics |
|  |  |  |  |  |  | 236 | 805 Occupancy Sensor / Fab Metals |
|  |  |  |  |  |  | 237 | 805 Occupancy Sensor / Food |
|  |  |  |  |  |  | 238 | 805 Occupancy Sensor / Ind Machinery |
|  |  |  |  |  |  | 239 | 805 Occupancy Sensor / Instruments |
|  |  |  |  |  |  | 240 | 805 Occupancy Sensor / Lumber |
|  |  |  |  |  |  | 241 | 805 Occupancy Sensor / Misc |
|  |  |  |  |  |  | 242 | 805 Occupancy Sensor / Paper |
|  |  |  |  |  |  | 243 | 805 Occupancy Sensor / Petroleum |
|  |  |  |  |  |  | 244 | 805 Occupancy Sensor / Primary Metals |
|  |  |  |  |  |  | 245 | 805 Occupancy Sensor / Printing |
|  |  |  |  |  |  | 246 | 805 Occupancy Sensor / Rubber-Plastics |
|  |  |  |  |  |  | 247 | 805 Occupancy Sensor / Stone-Clay-Glass |
|  |  |  |  |  |  | 248 | 805 Occupancy Sensor / Textiles |
|  |  |  |  |  |  | 249 | 805 Occupancy Sensor / Transp Eqp |
|  |  |  |  |  |  | 250 | 807 Flood LED 14W (per unit) / All |
| **High Fuel Cost** |
| 0 | none | 1 | 100 106 15 SEER Split-System Heat Pump / Multi Attached | 1 | 190 199 Default Window With Sunscreen / Single Detached | 0 | none |
|  |  | 2 | 100 118 Radiant Barrier / Multi Attached | 2 | 100 117 Reflective Roof / Multi Attached |  |  |
|  |  | 3 | 130 144 Radiant Barrier / Multi Attached | 3 | 130 136 Attic Venting / Multi Attached |  |  |
|  |  | 4 | 130 146 Window Tinting / Multi Attached | 4 | 130 143 Reflective Roof / Multi Attached |  |  |
|  |  | 5 | 190 192 HE Room Air Conditioner - EER 12 / Multi Attached | 5 | 100 113 AC Maintenance (Indoor Coil Cleaning) / Single Detached - Manufactured |  |  |
|  |  | 6 | 190 200 Single Pane Clear Windows to Double Pane Low-E Windows / Single Detached - Manufactured | 6 | 400 401 Heat Pump Water Heater (EF=2.9) / Single Detached - Manufactured |  |  |
|  |  |  |  | 7 | 340 342 Geothermal Heat Pump, EER=13, 10 tons / Restaurant or Services |  |  |
|  |  |  |  | 8 | 600 610 Hot Water Pipe Insulation / Retail |  |  |
|  |  |  |  | 9 | 600 606 Demand controlled circulating systems / Food Store |  |  |
|  |  |  |  | 10 | 120 124 Lighting Control Tuneup / Warehouse |  |  |
|  |  |  |  | 11 | 210 211 Outdoor Lighting Controls (Photocell/Timeclock) / Warehouse |  |  |
|  |  |  |  | 12 | 200 202 Outdoor Lighting Controls (Photocell/Timeclock) / Hotel or Motel |  |  |
|  |  |  |  | 13 | 340 351 Cool Roof - DX / Other |  |  |
| **Low Fuel Cost** |
| 0 | none | 1 | 730 732 Copier Power Management Enabling / Other Healthcare | 0 | none | 1 | 350 351 HE Freezer / Multi Attached |
|  |  |  |  |  |  | 2 | 100 112 AC Maintenance (Outdoor Coil Cleaning) / Single Detached - Manufactured |
|  |  |  |  |  |  | 3 | 300 315 Cool Roof - Chiller / Office |
|  |  |  |  |  |  | 4 | 600 610 Hot Water Pipe Insulation / Office |
|  |  |  |  |  |  | 5 | 300 315 Cool Roof - Chiller / Retail |
|  |  |  |  |  |  | 6 | 500 517 LED Display Lighting / Food Store |
|  |  |  |  |  |  | 7 | 300 317 Thermal Energy Storage (TES) Positive / School |
|  |  |  |  |  |  | 8 | 300 317 Thermal Energy Storage (TES) Positive / Warehouse |
|  |  |  |  |  |  | 9 | 120 123 Occupancy Sensor / Other |
|  |  |  |  |  |  | 10 | 300 307 EMS Optimization / Other |
|  |  |  |  |  |  | 11 | 111 Comp Air - Replace 100+ HP motor / Chemicals |
|  |  |  |  |  |  | 12 | 111 Comp Air - Replace 100+ HP motor / Food |
|  |  |  |  |  |  | 13 | 111 Comp Air - Replace 100+ HP motor / Lumber |
|  |  |  |  |  |  | 14 | 111 Comp Air - Replace 100+ HP motor / Petroleum |
|  |  |  |  |  |  | 15 | 111 Comp Air - Replace 100+ HP motor / Rubber-Plastics |
|  |  |  |  |  |  | 16 | 111 Comp Air - Replace 100+ HP motor / Textiles |
|  |  |  |  |  |  | 17 | 211 Fans - Replace 100+ HP motor / Chemicals |
|  |  |  |  |  |  | 18 | 211 Fans - Replace 100+ HP motor / Food |
|  |  |  |  |  |  | 19 | 211 Fans - Replace 100+ HP motor / Lumber |
|  |  |  |  |  |  | 20 | 211 Fans - Replace 100+ HP motor / Petroleum |
|  |  |  |  |  |  | 21 | 211 Fans - Replace 100+ HP motor / Textiles |
|  |  |  |  |  |  | 22 | 311 Pumps - Replace 100+ HP motor / Chemicals |
|  |  |  |  |  |  | 23 | 311 Pumps - Replace 100+ HP motor / Food |
|  |  |  |  |  |  | 24 | 311 Pumps - Replace 100+ HP motor / Petroleum |
|  |  |  |  |  |  | 25 | 311 Pumps - Replace 100+ HP motor / Textiles |
|  |  |  |  |  |  | 26 | 709 Window Film (Standard) - Chiller / Chemicals |
|  |  |  |  |  |  | 27 | 709 Window Film (Standard) - Chiller / Electronics |
|  |  |  |  |  |  | 28 | 709 Window Film (Standard) - Chiller / Fab Metals |
|  |  |  |  |  |  | 29 | 709 Window Film (Standard) - Chiller / Food |
|  |  |  |  |  |  | 30 | 709 Window Film (Standard) - Chiller / Ind Machinery |
|  |  |  |  |  |  | 31 | 709 Window Film (Standard) - Chiller / Instruments |
|  |  |  |  |  |  | 32 | 709 Window Film (Standard) - Chiller / Lumber |
|  |  |  |  |  |  | 33 | 709 Window Film (Standard) - Chiller / Misc |
|  |  |  |  |  |  | 34 | 709 Window Film (Standard) - Chiller / Paper |
|  |  |  |  |  |  | 35 | 709 Window Film (Standard) - Chiller / Petroleum |
|  |  |  |  |  |  | 36 | 709 Window Film (Standard) - Chiller / Primary Metals |
|  |  |  |  |  |  | 37 | 709 Window Film (Standard) - Chiller / Printing |
|  |  |  |  |  |  | 38 | 709 Window Film (Standard) - Chiller / Rubber-Plastics |
|  |  |  |  |  |  | 39 | 709 Window Film (Standard) - Chiller / Stone-Clay-Glass |
|  |  |  |  |  |  | 40 | 709 Window Film (Standard) - Chiller / Textiles |
|  |  |  |  |  |  | 41 | 709 Window Film (Standard) - Chiller / Transp Eqp |
|  |  |  |  |  |  | 42 | 731 Cool Roof - DX / Chemicals |
|  |  |  |  |  |  | 43 | 731 Cool Roof - DX / Electronics |
|  |  |  |  |  |  | 44 | 731 Cool Roof - DX / Fab Metals |
|  |  |  |  |  |  | 45 | 731 Cool Roof - DX / Food |
|  |  |  |  |  |  | 46 | 731 Cool Roof - DX / Ind Machinery |
|  |  |  |  |  |  | 47 | 731 Cool Roof - DX / Instruments |
|  |  |  |  |  |  | 48 | 731 Cool Roof - DX / Lumber |
|  |  |  |  |  |  | 49 | 731 Cool Roof - DX / Misc |
|  |  |  |  |  |  | 50 | 731 Cool Roof - DX / Paper |
|  |  |  |  |  |  | 51 | 731 Cool Roof - DX / Petroleum |
|  |  |  |  |  |  | 52 | 731 Cool Roof - DX / Primary Metals |
|  |  |  |  |  |  | 53 | 731 Cool Roof - DX / Printing |
|  |  |  |  |  |  | 54 | 731 Cool Roof - DX / Rubber-Plastics |
|  |  |  |  |  |  | 55 | 731 Cool Roof - DX / Stone-Clay-Glass |
|  |  |  |  |  |  | 56 | 731 Cool Roof - DX / Textiles |
|  |  |  |  |  |  | 57 | 731 Cool Roof - DX / Transp Eqp |
|  |  |  |  |  |  | 58 | 802 CFL Hardwired, Modular 18W / Chemicals |
|  |  |  |  |  |  | 59 | 802 CFL Hardwired, Modular 18W / Food |
|  |  |  |  |  |  | 60 | 802 CFL Hardwired, Modular 18W / Petroleum |
|  |  |  |  |  |  | 61 | 802 CFL Hardwired, Modular 18W / Printing |
|  |  |  |  |  |  | 62 | 802 CFL Hardwired, Modular 18W / Textiles |