## Exhibit SRS-2 Updated Assump
Update to Exhibit SRS - 2
Projection of FPL's Resource Needs: 2015 through 2020
with updated assumptions (Load Forecast and Unit Capabilities)
| -1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10 | -11 | -12
|  |  |  | = (1) + (2) - (3) |  |  | = (5) - (6) | = (4) - (7) | = (8) / (7) | = ((7)*1.20)-(4) | = ((4)-(5)) / (5) | = ((5)*1.10)-(4)
[9 empty] | Projected |  | Projected
[9 empty] | Summer Total | Projected Total | Generation-Only | Projected Total
| Projected | Projected | Projected | Projected | Projected | Projected | Projected | Projected | Reserve Margin | MW Needed to | Reserve Margin (GRM) | MW Needed to
August | FPL Unit | Firm Capacity | Scheduled | Total | Peak | Summer DSM | Firm | Summer | w/o Additions | Meet 20% Total | w/o Additions | Meet 10%
of the | Capability * | Purchases * | Maintenance | Capacity | Load | Capability ** | Peak Load | Reserves | in 2019 & 2020 | Reserve Margin*** | in 2019 & 2020 | GRM****
Year | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (%) | (MW) | (%) | (MW)
----- | ----- | ----- |  | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | -----
2015 | 25007.625 | 2014.5 | 0 | 27022.125 | 22959 | 1951.2114 | 21007.7886 | 6014.3364 | 28.63% | -1812.7787 | --- | ---
2016 | 26026.5286 | 836.5 | 0 | 26863.0286 | 24169.6865 | 1999.6537 | 22170.0328 | 4692.9958 | 21.17% | -258.9893 | --- | ---
2017 | 26003.4529 | 836.5 | 0 | 26839.9529 | 24336.0406 | 2045.5618 | 22290.4788 | 4549.4741 | 20.41% | -91.3783 | --- | ---
2018 | 26004.0091 | 1013.5 | 0 | 27017.5091 | 24606.279 | 2092.3398 | 22513.9391 | 4503.57 | 20% | -0.78217 | --- | ---
2019 | 26023.567 | 454.5 | 0 | 26478.067 | 24893.0945 | 2139.831 | 22753.2634 | 3724.8036 | 16.37% | 825.8491 | 6.367% | 904.3369
2020 | 26023.1266 | 454.5 | 0 | 26477.6266 | 25205.9285 | 2188.0601 | 23017.8684 | 3459.7582 | 15.03% | 1143.8155 | 5.045% | 1248.8948
* | -1: MW values shown in Columns (1) & (2) include, but are not limited to, the following: the completion of the Port Everglades modernization project in 2016, the retirement of 44 of the 48 existing GTs in late 2016, the
addition of 5 new CTs at the Lauderdale site and 2 CTs at the Ft.Myers site in late 2016, the addition of 116 MW of firm PV in late 2016, the upgraded capacity of Ft.Myers 3A & 3B in late 2016, and the addition of
an unspecified one-year 177 MW PPA in 2018.
** | -1: The DSM values shown in Column (6) account for incremental DSM additions as per the 2014 DSM Goals docket for 2015 through 2020, and for projected annual participant attrition in FPL's existing residential
load management program.
*** | -1: MW values shown in Column (10) represent new generating capacity needed to meet the 20% total reserve margin criterion.
**** | -1: MW values shown in Column (12) represent new generating capacity needed to meet the 10% generation-only reserve margin criterion (GRM) which must be met beginning in 2019.