## Sheet1
Maintenance
Service intervals
Intervals |  |  | Item | Date | Hours
Every 50 hrs |  | Check of fuel pipes and clamp bands
See Note |  | Change of engine oil (depending on oil pan)
Cleaning of air cleaner element
Every 100 hrs |  | Cleaning of fuel filter #3001+3390 3/16/05
Check of battery electrolyte level
Check of fan belt tightness
Every 200 hrs |  | Check of radiator hoses and clamp[ bands
Replacement of oil filter cartridge (except
V2203-D1-B), using standard oil pan
Every 400 hrs |  | Replacement of oil filter cartridge (except
V2203-D1-B only), using standard oil pan
Replacement of fuel filter cartridge
Every 500 hrs |  | Removal of sediment in fuel tank
Cleaning of water jacket (radiator interior)
Replacement of fan belt
Every one or two |  | Recharge of battery
months
Every year or 6 cleaning
of air cleaner |  | Replacement of air cleaner element
Every 800 hrs |  | Check of valve clearance
Every two years |  | Change of radiator coolant L.L.C.
Replacement of battery
Replacement of radiator hoses and clamp bands
Replacement of fuel pipes and clamp bands
Note: Change interval of engine oil