## FPL
Florida Power & Light Company
Docket No. 20210015-EI
Staff's's Second Set of Interrogatories
Interrogatory No: 52
Attachment No. 1 of 1
Tab 1 of 2
FPL
Account 343 Prime Movers | Retirement Unit | Property Group
Prime Movers – General | 142.0129 : FOUNDATION | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0130 : SUPERSTRUCTURE | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0132 : CT OUTLET & HRSG EXPANSI | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0133 : EXPAN JOINTS/PEN SEALS | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0141 : HRSG INLET DUCT | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0142 : BURNER SECTION | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0143 : AFTERBURNER | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0144 : DIFFUSER DUCT | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0145 : TURNING DUCT | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0147 : Diffuser | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0148 : EXHAUST TRANSITION SECTI | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0150 : EMISSION MONIT ANALYZR | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0151 : EMISSION MONITORING SYST | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0151 : EMISSION MONITORING SYST | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 142.0151 : EMISSION MONITORING SYST | 257 : STM GEN/BLR/HRSG BLOWDOWN COO
Prime Movers – General | 142.0152: CEMS-COMPUTER/MICROPR | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0153 : HRSG INSUL/LAGGING | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0154 : HRSG AUXILIARY EQUIPMENT | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0157 : STACK | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0158 : SCR DUCT | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0159 : SCR SUPERSTRUCTURE | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0160 : SCR AMONIA INJEC SYSTEM | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0161 : SCR CATALYST | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0162 : SCR TANK | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 143.0169 : DRIVE, ELECTRIC MOTOR, C | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0172 : PIPING | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0173 : PUMP COMPLETE | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0177 : TANK | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0179 : VALVE ACTUATOR | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0182 : LOW PRESSURE EVAPORATOR | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0183 : HIGH PRESSURE EVAPORATOR | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0184 : SUPERHEATER | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0185 : ECONOMIZER SECTION | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0186 : HIGH PRESSURE STEAM DRUM | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0190 : INTERMEDIATE PRESSURE EV | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0191 : REHEATER SECTION | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0192 : INTERMEDIATE PRESSURE ST | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0193 : LOW PRESSURE STEAM DRUM | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0194 : SILENCER/MUFFLER | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0234 : ATTEMPERATOR | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 144.0197 : MOTOR, ROTATING ASSY | 144 : COMBINED CYCLE BOILER FEED SY
Prime Movers – General | 144.0198 : MOTOR, STATION WINDING | 144 : COMBINED CYCLE BOILER FEED SY
Prime Movers – General | 144.0219 : SPECIAL VALVE | 144 : COMBINED CYCLE BOILER FEED SY
Prime Movers – General | 144.0222 : PIPING | 144 : COMBINED CYCLE BOILER FEED SY
Prime Movers – General | 144.0227 : DRIVE, ELECTRIC MOTOR, C | 144 : COMBINED CYCLE BOILER FEED SY
Prime Movers – General | 144.0228 : DEAERATOR | 144 : COMBINED CYCLE BOILER FEED SY
Prime Movers – General | 144.0229 : TANK | 144 : COMBINED CYCLE BOILER FEED SY
Prime Movers – General | 144.0230 : PUMP COMPLETE | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 144.0230 : PUMP COMPLETE | 144 : COMBINED CYCLE BOILER FEED SY
Prime Movers – General | 144.0231 : BFP DISCHARGE CHK VLV | 144 : COMBINED CYCLE BOILER FEED SY
Prime Movers – General | 144.0232 : PUMP ROTATING | 144 : COMBINED CYCLE BOILER FEED SY
Prime Movers – General | 144.0233 : PUMP STATIONARY | 144 : COMBINED CYCLE BOILER FEED SY
Prime Movers – General | 145.0235 : VALVE, SPECIAL | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0236 : Exhaust Casing | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0244 : LOAD COUPLING | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0245 : FUEL OIL FLOW DIVIDER | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0246 : TURB SHAFT (FWD OR AFT) | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0248 : FOUNDATION | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0249 : FIRE PROTECTION SYS COMP | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0250 : TURBINE CASING | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0251 : COMPRESSOR CASING | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0252 : TRANSITION NOZZLE | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0253 : CLAMSHELLS | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0254 : CROSS FLAME TUBES | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0255 : COMPRESSOR ROTOR/WHEEL | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0256 : COMPRSSOR BYPASS ASSY | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0257 : COMPRESSOR BLADES (ROTAT | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0258 : COMPRESSOR BLADES (STATI | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0259 : BURNER BASKET | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0260 : INTERSTAGE SEAL ASSY | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0262 : PIPING | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0263 : FUEL NOZZLE | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0264 : ACOUSTICAL ENCLOSURE | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0265 : COMBUSTOR LINER | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0266 : TURBINE ROTOR/WHEEL | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0267 : COMBUSTOR CASING | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0268 : TURBINE BLADES (ROTATING | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0269 : TURBINE BLADES(STATIONAR | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0270 : TURBINE SHROUD SEALS | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0271 : END COVERS | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0272 : COMBUSTOR CAPS | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0273 : FORWARD CASINGS | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0274 : FLOW SLEEVES | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0275 : BLADE RING | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0276 : COMP/TURB ROTOR WBLAD | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0277 : COMBUSTR SWIRLR HLDR | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0278 : TURBINE 2C COOLER | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0279 : BEARING ASSEMBLY | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0280 : TRAN SEALS (INNER & OUT | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0281 : DRIVE, ELEC MTR, COMPL | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0282 : FAN/BLOWER COMPLETE | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0303 : Monitoring System | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0305 : VALVE ACTUATOR | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0320 : Valve, Power Operated | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0602 : Turning Gear Assembly | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0605 : Turbine Static Seal | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0608 : Pilot Nozzle | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0609 : Casing Insulation | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0610 : Gear Box | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 146.0283 : BURNER CANS | 146 : AIRCRAFT GAS TURBINE SYSTEM
Prime Movers – General | 146.0286 : HIGH SPEED COMPRESSOR RO | 146 : AIRCRAFT GAS TURBINE SYSTEM
Prime Movers – General | 146.0287 : HIGH SPEED COMPRESSOR ST | 146 : AIRCRAFT GAS TURBINE SYSTEM
Prime Movers – General | 146.0288 : COLD SECTION CASING | 146 : AIRCRAFT GAS TURBINE SYSTEM
Prime Movers – General | 146.0289 : LOW SPEED COMPRESSOR ROT | 146 : AIRCRAFT GAS TURBINE SYSTEM
Prime Movers – General | 146.0290 : LOW SPEED COMPRESSOR STA | 146 : AIRCRAFT GAS TURBINE SYSTEM
Prime Movers – General | 146.0291 : FUEL MANIFOLD COMPLETE | 146 : AIRCRAFT GAS TURBINE SYSTEM
Prime Movers – General | 146.0292 : HOT SECTION CASING | 146 : AIRCRAFT GAS TURBINE SYSTEM
Prime Movers – General | 146.0294 : HIGH SPEED TURBINE SHAFT | 146 : AIRCRAFT GAS TURBINE SYSTEM
Prime Movers – General | 146.0295 : LOW SPEED TURBINE ROT. B | 146 : AIRCRAFT GAS TURBINE SYSTEM
Prime Movers – General | 146.0296 : LOW SPEED TURBINE STA. B | 146 : AIRCRAFT GAS TURBINE SYSTEM
Prime Movers – General | 146.0298 : GEAR BOX (INCL. OIL PUMP | 146 : AIRCRAFT GAS TURBINE SYSTEM
Prime Movers – General | 146.0299 : GOVERNOR SYSTEM COMPLETE | 146 : AIRCRAFT GAS TURBINE SYSTEM
Prime Movers – General | 146.0300 : FUEL SYSTEM COMPLETE | 146 : AIRCRAFT GAS TURBINE SYSTEM
Prime Movers – General | 146.0301 : ACOUSTICAL ENCLOSURE | 146 : AIRCRAFT GAS TURBINE SYSTEM
Prime Movers – General | 147.0323 : AIRCRAFT GT POWER/EXPAND | 147 : AIRCRAFT GT POWER/EXPANDER TU
Prime Movers – General | 147.0324 : BEARING ASSEMBLY | 147 : AIRCRAFT GT POWER/EXPANDER TU
Prime Movers – General | 147.0326 : EXPANSION JOINT | 147 : AIRCRAFT GT POWER/EXPANDER TU
Prime Movers – General | 147.0327 : OUTER CASING COMPLETE | 147 : AIRCRAFT GT POWER/EXPANDER TU
Prime Movers – General | 147.0328 : ROTATING ASSEMBLY | 147 : AIRCRAFT GT POWER/EXPANDER TU
Prime Movers – General | 148.0571 : OPERATOR STATION | 148 : CT/GT CONTROL SYSTEM
Prime Movers – General | 148.0572 : CONTROLLER | 148 : CT/GT CONTROL SYSTEM
Prime Movers – General | 148.0573 : OPERATING SYSTEM | 148 : CT/GT CONTROL SYSTEM
Prime Movers – General | 148.0574 : SYSTEM INTERFACE | 148 : CT/GT CONTROL SYSTEM
Prime Movers – General | 148.0575 : ENG WORK STATION | 148 : CT/GT CONTROL SYSTEM
Prime Movers – General | 148.0576 : HISTORIAN | 148 : CT/GT CONTROL SYSTEM
Prime Movers – General | 148.0577 : DISPLAY | 148 : CT/GT CONTROL SYSTEM
Prime Movers – General | 148.0578 : NETWORK SWITCH | 148 : CT/GT CONTROL SYSTEM
Prime Movers – General | 148.0579 : POWER SUPPLY | 148 : CT/GT CONTROL SYSTEM
Prime Movers – General | 148.0580 : I/O RACKS PER CONTROLLER | 148 : CT/GT CONTROL SYSTEM
Prime Movers – General | 148.0581 : ENCLOSURE | 148 : CT/GT CONTROL SYSTEM
Prime Movers – General | 148.0582 : HVAC SYSTEM COMPLETE | 148 : CT/GT CONTROL SYSTEM
Prime Movers – General | 251.1263 : ATMOSPHERIC DUMP VALVE/B | 251 : MAIN STEAM PIPING
Prime Movers – General | 251.1265 : PIPING | 251 : MAIN STEAM PIPING
Prime Movers – General | 251.1266 : SILENCER/MUFFLER | 251 : MAIN STEAM PIPING
Prime Movers – General | 251.1268 : VALVE, SAFETY 8 IN OR GR | 251 : MAIN STEAM PIPING
Prime Movers – General | 251.1270 : MAJOR HANGER | 251 : MAIN STEAM PIPING
Prime Movers – General | 251.1272 : MSIV ACTUATOR | 251 : MAIN STEAM PIPING
Prime Movers – General | 251.1275 : VALVE, SPECIAL | 251 : MAIN STEAM PIPING
Prime Movers – General | 251.1277 : Attemperator | 251 : MAIN STEAM PIPING
Prime Movers – General | 252.1291 : PIPING | 252 : EXTRACTION STEAM SYSTEM
Prime Movers – General | 252.1298 : VALVE, SPECIAL | 252 : EXTRACTION STEAM SYSTEM
Prime Movers – General | 253.1311 : DESUPERHEATER STEAM EQUI | 253 : AUXILIARY/DESUPERHEATER STEAM
Prime Movers – General | 257.1441 : Valve, Power Operated | 257 : STM GEN/BLR/HRSG BLOWDOWN COO
Prime Movers – General | 257.1443 : DRIVE, ELECTRIC MOTOR, C | 257 : STM GEN/BLR/HRSG BLOWDOWN COO
Prime Movers – General | 257.1444 : FOUNDATION | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 257.1444 : FOUNDATION | 257 : STM GEN/BLR/HRSG BLOWDOWN COO
Prime Movers – General | 257.1445 : HEAT EXCH, TUBE/PLATE | 257 : STM GEN/BLR/HRSG BLOWDOWN COO
Prime Movers – General | 257.1446 : HEAT EXCHAN SHELL/FRAME | 257 : STM GEN/BLR/HRSG BLOWDOWN COO
Prime Movers – General | 257.1449 : PIPING | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 257.1449 : PIPING | 257 : STM GEN/BLR/HRSG BLOWDOWN COO
Prime Movers – General | 257.1450 : PUMP COMPLETE | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 257.1450 : PUMP COMPLETE | 257 : STM GEN/BLR/HRSG BLOWDOWN COO
Prime Movers – General | 257.1452 : TANK | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 257.1452 : TANK | 257 : STM GEN/BLR/HRSG BLOWDOWN COO
Prime Movers – General | 257.1454 : VALVE SAFETY/RELIEF | 257 : STM GEN/BLR/HRSG BLOWDOWN COO
Prime Movers – General | 258.1468 : FOUNDATION | 258 : STM GEN/BLR/HRSG BLOWDOWN TRE
Prime Movers – General | 258.1472 : PIPING | 258 : STM GEN/BLR/HRSG BLOWDOWN TRE
Prime Movers – General | 258.1475 : TANK | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 258.1475 : TANK | 257 : STM GEN/BLR/HRSG BLOWDOWN COO
Prime Movers – General | 258.1475 : TANK | 258 : STM GEN/BLR/HRSG BLOWDOWN TRE
Prime Movers – General | 260.1327 : VALVE SPECIAL | 260 : FW PRE-WARMING/STEAM TURBINE
Prime Movers – General | 260.1328 : PIPING | 260 : FW PRE-WARMING/STEAM TURBINE
Prime Movers – General | 260.1329 : DESUPERHEATER STATION | 260 : FW PRE-WARMING/STEAM TURBINE
Prime Movers – General | 260.1330 : DIFFUSER | 260 : FW PRE-WARMING/STEAM TURBINE
Prime Movers – General | 260.1335 : VALVE SAFETY | 260 : FW PRE-WARMING/STEAM TURBINE
Prime Movers – General | 262.1511 : Valve, Power Operated | 262 : REHEAT STEAM SYSTEM
Prime Movers – General | 262.1513 : MAJOR HANGER | 262 : REHEAT STEAM SYSTEM
Prime Movers – General | 262.1515 : PIPING | 262 : REHEAT STEAM SYSTEM
Prime Movers – General | 262.1516 : SILENCER/MUFFLER | 262 : REHEAT STEAM SYSTEM
Prime Movers – General | 262.1518 : Attemperator | 262 : REHEAT STEAM SYSTEM
Prime Movers – General | 262.1520 : VALVE, SPECIAL | 262 : REHEAT STEAM SYSTEM
Prime Movers – General | 271.1536 : CASING | 271 : STEAM TURBINE
Prime Movers – General | 271.1537 : HP BLADING-STATIONARY (R | 271 : STEAM TURBINE
Prime Movers – General | 271.1538 : IP BLADING-STATIONARY (R | 271 : STEAM TURBINE
Prime Movers – General | 271.1539 : LP BLADING-STATION(ROW | 271 : STEAM TURBINE
Prime Movers – General | 271.1540 : HP/IP FLOW GUIDE | 271 : STEAM TURBINE
Prime Movers – General | 271.1541 : HIGH PRESSURE SHAFT/WHEE | 271 : STEAM TURBINE
Prime Movers – General | 271.1542 : BEARING ASSEMBLY | 271 : STEAM TURBINE
Prime Movers – General | 271.1543 : ACOUSTIC ENCLOSURE | 271 : STEAM TURBINE
Prime Movers – General | 271.1544 : HP BLADING-ROTATING (ROW | 271 : STEAM TURBINE
Prime Movers – General | 271.1545 : CASING INSULATION | 271 : STEAM TURBINE
Prime Movers – General | 271.1547 : DIAPHRAGMS/STATIONARY BL | 271 : STEAM TURBINE
Prime Movers – General | 271.1548 : TURBINE CONTROL SYSTEM | 271 : STEAM TURBINE
Prime Movers – General | 271.1550 : CASING HEATING SYSTEM | 271 : STEAM TURBINE
Prime Movers – General | 271.1551 : INTERMEDIATE PRESSURE SH | 271 : STEAM TURBINE
Prime Movers – General | 271.1553 : SEALS | 271 : STEAM TURBINE
Prime Movers – General | 271.1554 : IP BLADING-ROTATING (ROW | 271 : STEAM TURBINE
Prime Movers – General | 271.1556 : LOW PRESSURE SHAFT/WHEEL | 271 : STEAM TURBINE
Prime Movers – General | 271.1558 : TURNING GEAR MOTOR | 271 : STEAM TURBINE
Prime Movers – General | 271.1559 : LP BLADING-ROTATING (ROW | 271 : STEAM TURBINE
Prime Movers – General | 271.1560 : TURNING GEAR-BULL GEAR | 271 : STEAM TURBINE
Prime Movers – General | 271.1561 : NOZZLE BLOCK | 271 : STEAM TURBINE
Prime Movers – General | 271.1562 : VALVE ACTUATOR | 271 : STEAM TURBINE
Prime Movers – General | 271.1563 : VALVE, SPECIAL | 271 : STEAM TURBINE
Prime Movers – General | 271.1564 : TURNING GEAR ASSEMBLY | 271 : STEAM TURBINE
Prime Movers – General | 271.1565 : ELECT-HYDRO CTL TRIP SYS | 271 : STEAM TURBINE
Prime Movers – General | 271.1566 : Valve, Power Operated | 271 : STEAM TURBINE
Prime Movers – General | 351.3158 : FOUNDATION | 351 : CONDENSATE SYSTEM
Prime Movers – General | 351.3159 : HEAT EXCH, TUBE BUNDL | 351 : CONDENSATE SYSTEM
Prime Movers – General | 351.3160 : HEAT EXCHANGER, SHELL | 351 : CONDENSATE SYSTEM
Prime Movers – General | 351.3161 : AIR EJECTOR CONDENSER | 351 : CONDENSATE SYSTEM
Prime Movers – General | 351.3162 : Valve Actuator | 351 : CONDENSATE SYSTEM
Prime Movers – General | 351.3163 : PIPING | 351 : CONDENSATE SYSTEM
Prime Movers – General | 351.3164 : TANK | 351 : CONDENSATE SYSTEM
Prime Movers – General | 351.3167 : CONTROL/INSTRUMENTATI | 351 : CONDENSATE SYSTEM
Prime Movers – General | 351.3168 : DEAERATOR | 351 : CONDENSATE SYSTEM
Prime Movers – General | 351.3171 : GLAND EXH CONDENSER | 351 : CONDENSATE SYSTEM
Prime Movers – General | 351.3174 : VALVE, SPECIAL | 351 : CONDENSATE SYSTEM
Prime Movers – General | 351.3175 : Valve Internals Assembly | 351 : CONDENSATE SYSTEM
Prime Movers – General | 352.3190 : DRIVE, ELECTRIC MOTOR, C | 352 : CONDENSATE RECOVERY SYSTEM
Prime Movers – General | 352.3191 : HEAT EXCH, TUBE/PLATE | 352 : CONDENSATE RECOVERY SYSTEM
Prime Movers – General | 352.3193 : FOUNDATION | 352 : CONDENSATE RECOVERY SYSTEM
Prime Movers – General | 352.3196 : PIPING | 352 : CONDENSATE RECOVERY SYSTEM
Prime Movers – General | 352.3197 : PUMP COMPLETE | 352 : CONDENSATE RECOVERY SYSTEM
Prime Movers – General | 352.3199 : TANK | 352 : CONDENSATE RECOVERY SYSTEM
Prime Movers – General | 356.3332 : CHEMICAL FEED EQUIPMENT | 356 : CHEMICAL FEED SYSTEM
Prime Movers – General | 359.3422 : ION EXCHANGER INTERNALS | 359 : CONDENSATE POLISHER SYSTEM
Prime Movers – General | 360.3449 : DRIVE, ELECTRIC MOTOR, C | 360 : CONDENSATE TRANSFER SYSTEM
Prime Movers – General | 360.3452 : PIPING | 360 : CONDENSATE TRANSFER SYSTEM
Prime Movers – General | 360.3453 : PUMP COMPLETE | 360 : CONDENSATE TRANSFER SYSTEM
Prime Movers – General | 360.3455 : TANK | 360 : CONDENSATE TRANSFER SYSTEM
Prime Movers – General | 360.3458 : FOUNDATION | 360 : CONDENSATE TRANSFER SYSTEM
Prime Movers – General | 360.3459 : RO CELL | 360 : CONDENSATE TRANSFER SYSTEM
Prime Movers – General | 360.3462 : Valve, Power Operated | 360 : CONDENSATE TRANSFER SYSTEM
Prime Movers – General | 361.3479 : NITROGEN SYSTEM EQUIPMEN | 361 : NITROGEN SYSTEM
Prime Movers – General | 362.3507 : SAMPLE COOLER | 362 : WATER SAMPLING AND ANALYZING
Prime Movers – General | 362.3508 : PIPING | 362 : WATER SAMPLING AND ANALYZING
Prime Movers – General | 362.3509 : ANALYZER | 362 : WATER SAMPLING AND ANALYZING
Prime Movers – General | 362.3510 : CHILLER | 362 : WATER SAMPLING AND ANALYZING
Prime Movers – General | 362.3512 : ENCLOSURE | 362 : WATER SAMPLING AND ANALYZING
Prime Movers – General | 362.3513 : SAMPLE COLLECTING EQUIPM | 362 : WATER SAMPLING AND ANALYZING
Prime Movers – General | 365.4020 : CHLORINATION SYSTEM EQUI | 365 : CHLORINATION SYSTEM
Prime Movers – General | 366.4049 : FOUNDATION | 366 : INTAKE STRUCTURE
Prime Movers – General | 366.4052 : INTAKE CRANE COMPLETE | 366 : INTAKE STRUCTURE
Prime Movers – General | 366.4054 : CATHODIC PROTECTION EQUI | 366 : INTAKE STRUCTURE
Prime Movers – General | 366.4057 : INTAKE SUPERSTRUCTURE | 366 : INTAKE STRUCTURE
Prime Movers – General | 366.4058 : AUXILIARY HOIST | 366 : INTAKE STRUCTURE
Prime Movers – General | 367.4079 : FOUNDATION | 367 : CONDENSER COOLING WATER DISCH
Prime Movers – General | 367.4080 : PIPING | 367 : CONDENSER COOLING WATER DISCH
Prime Movers – General | 367.4081 : DISCHARGE CONCRETE STRUC | 367 : CONDENSER COOLING WATER DISCH
Prime Movers – General | 367.4083 : CATHODIC PROTECTION EQUI | 367 : CONDENSER COOLING WATER DISCH
Prime Movers – General | 367.4084 : SPECIAL PLATFORM | 367 : CONDENSER COOLING WATER DISCH
Prime Movers – General | 367.4085 : MANATEE HEATING SYS | 367 : CONDENSER COOLING WATER DISCH
Prime Movers – General | 368.4117 : FOUNDATION | 368 : COOLING WATER TUNNEL/CONDUIT
Prime Movers – General | 368.4118 : DRIVE ELECTRIC MOTOR C | 368 : COOLING WATER TUNNEL/CONDUIT
Prime Movers – General | 368.4120 : CONDENSER INLET CONDUITS | 368 : COOLING WATER TUNNEL/CONDUIT
Prime Movers – General | 368.4121 : CONDENSER DISCHARGE COND | 368 : COOLING WATER TUNNEL/CONDUIT
Prime Movers – General | 368.4123 : PUMP COMPLETE | 368 : COOLING WATER TUNNEL/CONDUIT
Prime Movers – General | 368.4124 : DECHLORINATION SYSTEM, C | 368 : COOLING WATER TUNNEL/CONDUIT
Prime Movers – General | 368.4125 : EXPANSION JOINTS >= 6" | 368 : COOLING WATER TUNNEL/CONDUIT
Prime Movers – General | 369.4140 : TRAVELING SCREEN ASSEMBL | 369 : INTAKE SCREENS SYSTEM
Prime Movers – General | 369.4141 : BASKETS | 369 : INTAKE SCREENS SYSTEM
Prime Movers – General | 369.4142 : CHAINS | 369 : INTAKE SCREENS SYSTEM
Prime Movers – General | 369.4144 : TRASH PIT,IF SEPARATE FR | 369 : INTAKE SCREENS SYSTEM
Prime Movers – General | 369.4147 : GRASS/DEBRI HANDLING EQU | 369 : INTAKE SCREENS SYSTEM
Prime Movers – General | 369.4148 : GRIZZLY | 369 : INTAKE SCREENS SYSTEM
Prime Movers – General | 369.4149 : HOUSING | 369 : INTAKE SCREENS SYSTEM
Prime Movers – General | 369.4152 : STATIONARY SCREEN | 369 : INTAKE SCREENS SYSTEM
Prime Movers – General | 369.4153 : TRASH RAKE HOIST | 369 : INTAKE SCREENS SYSTEM
Prime Movers – General | 369.4154 : TRASH RAKES | 369 : INTAKE SCREENS SYSTEM
Prime Movers – General | 369.4155 : TRAVELING SCREEN ASSEMBL | 369 : INTAKE SCREENS SYSTEM
Prime Movers – General | 370.4164 : DRIVE,ELEC. MOTOR, COMPL | 370 : SCREEN WASH SYSTEM
Prime Movers – General | 370.4166 : PIPING, ALL | 370 : SCREEN WASH SYSTEM
Prime Movers – General | 370.4167 : PUMP COMPLETE | 370 : SCREEN WASH SYSTEM
Prime Movers – General | 370.4168 : VALVE, SPECIAL | 370 : SCREEN WASH SYSTEM
Prime Movers – General | 370.4171 : DRAIN PIPE/CONDUIT/SLUIC | 370 : SCREEN WASH SYSTEM
Prime Movers – General | 370.4174 : FOUNDATION | 370 : SCREEN WASH SYSTEM
Prime Movers – General | 371.3536 : FOUNDATION | 371 : CONDENSER
Prime Movers – General | 371.3539 : EXPANSION JOINTS >= 6" | 371 : CONDENSER
Prime Movers – General | 371.3540 : CONDENSER SECTION | 371 : CONDENSER
Prime Movers – General | 371.3542 : TUBES, IN A WATER BOX | 371 : CONDENSER
Prime Movers – General | 371.3544 : WATER BOX | 371 : CONDENSER
Prime Movers – General | 371.3546 : WATER BOX LINER | 371 : CONDENSER
Prime Movers – General | 371.3549 : CATHODIC PROTECTION EQUI | 371 : CONDENSER
Prime Movers – General | 372.3572 : AIR REMOVAL EQUIPMENT | 372 : CONDENSER AIR REMOVAL SYSTEM
Prime Movers – General | 372.3576 : DRIVE, ELEC. MOTOR, COM | 372 : CONDENSER AIR REMOVAL SYSTEM
Prime Movers – General | 372.3577 : PUMP COMPLETE | 372 : CONDENSER AIR REMOVAL SYSTEM
Prime Movers – General | 373.3602 : CONDENSER/HEAT EXCH. TUB | 373 : CONDENSER/HEAT EXCH. TUBE CLE
Prime Movers – General | 373.3603 : BALL COLLECTOR | 373 : CONDENSER/HEAT EXCH. TUBE CLE
Prime Movers – General | 373.3604 : Condensor Gear Box | 373 : CONDENSER/HEAT EXCH. TUBE CLE
Prime Movers – General | 373.3608 : PUMP-COMPLETE | 373 : CONDENSER/HEAT EXCH. TUBE CLE
Prime Movers – General | 373.3609 : SCREEN/FILTER | 373 : CONDENSER/HEAT EXCH. TUBE CLE
Prime Movers – General | 374.3632 : FOUNDATION | 374 : CONDENSATE PUMP SYSTEM
Prime Movers – General | 374.3633 : STRAINER > OR = 6 INCH | 374 : CONDENSATE PUMP SYSTEM
Prime Movers – General | 374.3634 : PIPING | 374 : CONDENSATE PUMP SYSTEM
Prime Movers – General | 374.3635 : EXPANSION JOINTS >= 6" | 374 : CONDENSATE PUMP SYSTEM
Prime Movers – General | 374.3639 : MOTOR ROTATING ASSEMBLY | 374 : CONDENSATE PUMP SYSTEM
Prime Movers – General | 374.3640 : MOTOR STATIONARY WINDING | 374 : CONDENSATE PUMP SYSTEM
Prime Movers – General | 374.3644 : PUMP COMPLETE | 374 : CONDENSATE PUMP SYSTEM
Prime Movers – General | 374.3645 : DRIVE, ELECTRIC MOTOR, C | 374 : CONDENSATE PUMP SYSTEM
Prime Movers – General | 374.3648 : Pump Rotating Assembly | 374 : CONDENSATE PUMP SYSTEM
Prime Movers – General | 374.3649 : Pump Stationary Assembly | 374 : CONDENSATE PUMP SYSTEM
Prime Movers – General | 375.3665 : PIPING | 375 : CONDENSER COOLING WATER PUMP
Prime Movers – General | 375.3666 : Valve Actuator | 375 : CONDENSER COOLING WATER PUMP
Prime Movers – General | 375.3667 : EXPANSION JOINTS >= 6" | 375 : CONDENSER COOLING WATER PUMP
Prime Movers – General | 375.3668 : MOTOR FRAME/HOUSING | 375 : CONDENSER COOLING WATER PUMP
Prime Movers – General | 375.3674 : CATHODIC PROTECTION EQUI | 375 : CONDENSER COOLING WATER PUMP
Prime Movers – General | 375.3675 : DRIVE, ELECTRIC MOTOR, C | 375 : CONDENSER COOLING WATER PUMP
Prime Movers – General | 375.3676 : PUMP COMPLETE | 375 : CONDENSER COOLING WATER PUMP
Prime Movers – General | 375.3677 : MOTOR STATIONARY WINDING | 375 : CONDENSER COOLING WATER PUMP
Prime Movers – General | 375.3678 : MOTOR ROTATING ASSEMBLY | 375 : CONDENSER COOLING WATER PUMP
Prime Movers – General | 375.3681 : Pump Rotating Assembly | 375 : CONDENSER COOLING WATER PUMP
Prime Movers – General | 375.3682 : Pump Stationary Assembly | 375 : CONDENSER COOLING WATER PUMP
Prime Movers – General | 375.3683 : SNUBBER | 375 : CONDENSER COOLING WATER PUMP
Prime Movers – General | 376.3692 : DRIVE, ELECTRIC MOTOR, C | 376 : COOLING TOWER
Prime Movers – General | 376.3693 : FAN/BLOWER, COMPLETE | 376 : COOLING TOWER
Prime Movers – General | 376.3694 : FOUNDATION | 376 : COOLING TOWER
Prime Movers – General | 376.3695 : MOTOR ROTATING ASSEMBLY | 376 : COOLING TOWER
Prime Movers – General | 376.3696 : PIPING | 376 : COOLING TOWER
Prime Movers – General | 376.3697 : PUMP COMPLETE | 376 : COOLING TOWER
Prime Movers – General | 376.3698 : TANK | 376 : COOLING TOWER
Prime Movers – General | 376.3699 : GEARBOX | 376 : COOLING TOWER
Prime Movers – General | 376.3701 : MOTOR STATIONARY WINDING | 376 : COOLING TOWER
Prime Movers – General | 376.3702 : SUPERSTRUCTURE | 376 : COOLING TOWER
Prime Movers – General | 376.3703 : SALT DRIFT ELIMINATORS | 376 : COOLING TOWER
Prime Movers – General | 376.3704 : TRAYS, PACKING COMPLETE | 376 : COOLING TOWER
Prime Movers – General | 376.3705 : WATER DISTRIBUTION SYSTE | 376 : COOLING TOWER
Prime Movers – General | 376.3706 : CATHODIC PROTECTION EQ | 376 : COOLING TOWER
Prime Movers – General | 376.3707 : TRASH RAKE HOIST | 376 : COOLING TOWER
Prime Movers – General | 376.3708 : FAN SHROUD | 376 : COOLING TOWER
Prime Movers – General | 376.3710 : STATIONARY SCREEN | 376 : COOLING TOWER
Prime Movers – General | 377.3724 : PRIMING & SCAVENGING EQU | 377 : PRIMING & SCAVENGING SYSTEM
Prime Movers – General | 378.3751 : DRIVE, ELECTRIC MOTOR, C | 378 : COOLING TOWER MAKE-UP SYSTEM
Prime Movers – General | 378.3752 : FOUNDATION | 378 : COOLING TOWER MAKE-UP SYSTEM
Prime Movers – General | 378.3754 : PIPING | 378 : COOLING TOWER MAKE-UP SYSTEM
Prime Movers – General | 378.3755 : PUMP COMPLETE | 378 : COOLING TOWER MAKE-UP SYSTEM
Prime Movers – General | 429.4672 : OPERATOR STATION | 429 : BOILER CONTROL SYSTEM
Prime Movers – General | 429.4673 : CONTROLLER | 429 : BOILER CONTROL SYSTEM
Prime Movers – General | 429.4674 : OPERATING SYSTEM | 429 : BOILER CONTROL SYSTEM
Prime Movers – General | 429.4675 : SYSTEM INTERFACE | 429 : BOILER CONTROL SYSTEM
Prime Movers – General | 429.4676 : ENG WORK STATION | 429 : BOILER CONTROL SYSTEM
Prime Movers – General | 429.4677 : HISTORIAN | 429 : BOILER CONTROL SYSTEM
Prime Movers – General | 429.4678 : DISPLAY | 429 : BOILER CONTROL SYSTEM
Prime Movers – General | 429.4679 : NETWORK SWITCH | 429 : BOILER CONTROL SYSTEM
Prime Movers – General | 429.4680 : POWER SUPPLY | 429 : BOILER CONTROL SYSTEM
Prime Movers – General | 429.4681 : I/O RACKS PER CONTROLLER | 429 : BOILER CONTROL SYSTEM
Prime Movers – General | 429.4682 : ENCLOSURE | 429 : BOILER CONTROL SYSTEM
Prime Movers – General | 434.4801 : SUBSTRUCTURE/FOUNDATION | 434 : STACK
Prime Movers – General | 434.4802 : STACK | 434 : STACK
Prime Movers – General | 434.4804 : EMISSION MONITORING ANAL | 434 : STACK
Prime Movers – General | 434.4809 : ANALYZER, OPACITY | 434 : STACK
Prime Movers – General | 434.4812 : CEM-COMPUTER/MICROPROCES | 434 : STACK
Prime Movers – General | 437.4826 : ANALYZER | 437 : NOX CONTROL EQUIPMENT
Prime Movers – General | 437.4850 : DRIVE, ELECTRIC MOTOR | 437 : NOX CONTROL EQUIPMENT
Prime Movers – General | 437.4852 : FAN/BLOWER, COMPLETE | 437 : NOX CONTROL EQUIPMENT
Prime Movers – General | 437.4853 : FOUNDATION | 437 : NOX CONTROL EQUIPMENT
Prime Movers – General | 437.4854 : PIPING | 437 : NOX CONTROL EQUIPMENT
Prime Movers – General | 437.4859 : SUPERSTRUCTURE | 437 : NOX CONTROL EQUIPMENT
Prime Movers – General | 437.4863 : TANK | 437 : NOX CONTROL EQUIPMENT
Prime Movers – General | 437.4865 : VALVE, SPECIAL | 437 : NOX CONTROL EQUIPMENT
Prime Movers – General | 437.4866 : HEAT EXCHANGER, COMPL | 437 : NOX CONTROL EQUIPMENT
Prime Movers – General | 438.2623 : ION EXCHANGER INTERNAL | 438 : DEMINERALIZED WATER SYSTEM
Prime Movers – General | 438.4869 : DRIVE, ELECTRIC MOTOR, C | 438 : DEMINERALIZED WATER SYSTEM
Prime Movers – General | 438.4872 : PIPING | 438 : DEMINERALIZED WATER SYSTEM
Prime Movers – General | 438.4874 : PUMP COMPLETE | 438 : DEMINERALIZED WATER SYSTEM
Prime Movers – General | 438.4883 : TANK | 438 : DEMINERALIZED WATER SYSTEM
Prime Movers – General | 438.9497 : DRIVE, ELECTRIC MOTOR, C | 438 : DEMINERALIZED WATER SYSTEM
Prime Movers – General | 438.9498 : FOUNDATION - Active | 438 : DEMINERALIZED WATER SYSTEM
Prime Movers – General | 438.9499 : ION EXCHANGER,COMPLETE W | 438 : DEMINERALIZED WATER SYSTEM
Prime Movers – General | 438.9501 : PIPING | 438 : DEMINERALIZED WATER SYSTEM
Prime Movers – General | 438.9502 : PUMP COMPLETE | 438 : DEMINERALIZED WATER SYSTEM
Prime Movers – General | 438.9508 : TANK | 438 : DEMINERALIZED WATER SYSTEM
Prime Movers – General | 462.5466 : PIPING | 462 : TURBINE STEAM PIPING AND VALV
Prime Movers – General | 462.5474 : VALVE, SPECIAL | 462 : TURBINE STEAM PIPING AND VALV
Prime Movers – General | 463.5480 : TURBINE GLAND SEAL EQUIP | 463 : TURBINE GLAND SEAL SYSTEM
Prime Movers – General | 463.5482 : SPECIAL VALVES | 463 : TURBINE GLAND SEAL SYSTEM
Prime Movers – General | 464.5506 : PIPING, ALL | 464 : TURBINE DRAIN SYSTEM
Prime Movers – General | 464.5507 : SILENCER/MUFFLER | 464 : TURBINE DRAIN SYSTEM
Prime Movers – General | 464.5508 : VALVE, POWER OPERATED | 464 : TURBINE DRAIN SYSTEM
Prime Movers – General | 466.5535 : HOIST | 466 : TURBINE GENERATOR SPECIAL TOO
Prime Movers – General | 466.5536 : TURBINE SHELTER ASSY. | 466 : TURBINE GENERATOR SPECIAL TOO
Prime Movers – General | 466.5537 : SPINDLE LIFTING BAR | 466 : TURBINE GENERATOR SPECIAL TOO
Prime Movers – General | 466.5539 : PAN, GEN. ROTOR RMVL | 466 : TURBINE GENERATOR SPECIAL TOO
Prime Movers – General | 466.5540 : BOLT HEATERS, ELECTRIC | 466 : TURBINE GENERATOR SPECIAL TOO
Prime Movers – General | 466.5542 : GENERATOR/EXCITER SHELTE | 466 : TURBINE GENERATOR SPECIAL TOO
Prime Movers – General | 472.5692 : DRIVE, ELECTRIC MOTOR, C | 472 : TURBINE LUBE OIL STORAGE & TR
Prime Movers – General | 472.5694 : PIPING | 472 : TURBINE LUBE OIL STORAGE & TR
Prime Movers – General | 472.5695 : PUMP COMPLETE | 472 : TURBINE LUBE OIL STORAGE & TR
Prime Movers – General | 472.5696 : TANK | 472 : TURBINE LUBE OIL STORAGE & TR
Prime Movers – General | 472.5697 : RETAINING WALL | 472 : TURBINE LUBE OIL STORAGE & TR
Prime Movers – General | 472.5699 : FIRE PROTECTION SYS COMP | 472 : TURBINE LUBE OIL STORAGE & TR
Prime Movers – General | 472.5700 : LUBE OIL PURIFIER | 472 : TURBINE LUBE OIL STORAGE & TR
Prime Movers – General | 473.5710 : DRIVE, ELECTRIC MOTOR, C | 473 : TURBINE LUBE OIL SYSTEM
Prime Movers – General | 473.5711 : ENCLOSURE | 473 : TURBINE LUBE OIL SYSTEM
Prime Movers – General | 473.5712 : FOUNDATION | 473 : TURBINE LUBE OIL SYSTEM
Prime Movers – General | 473.5715 : LUBE OIL FILTER ASSEMBLY | 473 : TURBINE LUBE OIL SYSTEM
Prime Movers – General | 473.5716 : PUMP COMPLETE | 473 : TURBINE LUBE OIL SYSTEM
Prime Movers – General | 473.5720 : LUBE OIL PURIFIER | 473 : TURBINE LUBE OIL SYSTEM
Prime Movers – General | 473.5721 : TANK | 473 : TURBINE LUBE OIL SYSTEM
Prime Movers – General | 473.5723 : MOTOR ROTATING ASSEMBLY | 473 : TURBINE LUBE OIL SYSTEM
Prime Movers – General | 473.5726 : PIPING | 473 : TURBINE LUBE OIL SYSTEM
Prime Movers – General | 473.5727 : VALVE, SPECIAL | 473 : TURBINE LUBE OIL SYSTEM
Prime Movers – General | 476.5751 : SUPERVISORY INSTRUMENTAT | 476 : TURBINE GENERATOR SUPERVISORY
Prime Movers – General | 476.5754 : CONTROL PANEL | 476 : TURBINE GENERATOR SUPERVISORY
Prime Movers – General | 476.5756 : CONTROLLER | 476 : TURBINE GENERATOR SUPERVISORY
Prime Movers – General | 476.5759 : MICROPROCESSOR | 476 : TURBINE GENERATOR SUPERVISORY
Prime Movers – General | 476.5760 : MONITOR/AMPLIFIER | 476 : TURBINE GENERATOR SUPERVISORY
Prime Movers – General | 476.5761 : OPERATOR/SYSTEM INTERFAC | 476 : TURBINE GENERATOR SUPERVISORY
Prime Movers – General | 476.5762 : RECORDER | 476 : TURBINE GENERATOR SUPERVISORY
Prime Movers – General | 484.5870 : OPERATOR STATION | 484 : STEAM TURBINE CONTROL SYSTEM
Prime Movers – General | 484.5871 : CONTROLLER | 484 : STEAM TURBINE CONTROL SYSTEM
Prime Movers – General | 484.5872 : OPERATING SYSTEM | 484 : STEAM TURBINE CONTROL SYSTEM
Prime Movers – General | 484.5873 : SYSTEM INTERFACE | 484 : STEAM TURBINE CONTROL SYSTEM
Prime Movers – General | 484.5874 : DISPLAY | 484 : STEAM TURBINE CONTROL SYSTEM
Prime Movers – General | 484.5875 : NETWORK SWITCH | 484 : STEAM TURBINE CONTROL SYSTEM
Prime Movers – General | 484.5876 : POWER SUPPLY | 484 : STEAM TURBINE CONTROL SYSTEM
Prime Movers – General | 484.5877 : I/O RACKS PER CONTROLLER | 484 : STEAM TURBINE CONTROL SYSTEM
Prime Movers – General | 484.5879 : ENG WORK STATION | 484 : STEAM TURBINE CONTROL SYSTEM
Prime Movers – General | 484.5880 : HISTORIAN | 484 : STEAM TURBINE CONTROL SYSTEM
Prime Movers – General | 484.5881 : ENCLOSURE | 484 : STEAM TURBINE CONTROL SYSTEM
Prime Movers – General | 484.5882 : HVAC SYSTEM COMPLETE | 484 : STEAM TURBINE CONTROL SYSTEM
Prime Movers – General | 801.9130 : DRIVE, ELECTRIC MOTOR, C | 801 : TURBINE CRANE STRUCTURE
Prime Movers – General | 801.9131 : FOUNDATION | 801 : TURBINE CRANE STRUCTURE
Prime Movers – General | 801.9133 : CRANE SUPERSTRUCTURE | 801 : TURBINE CRANE STRUCTURE
Prime Movers – General | 801.9134 : CRANE SUBSTRUCTURE, INCL | 801 : TURBINE CRANE STRUCTURE
Prime Movers – General | 801.9151 : TURBINE CRANE TROLLEY | 801 : TURBINE CRANE STRUCTURE
Prime Movers – General | 801.9163 : TURBINE CRANE MAIN HOIST | 801 : TURBINE CRANE STRUCTURE
Prime Movers – General | 831.9236 : DRIVE, ELECTRIC MOTOR, C | 831 : GAS TURBINE ATOMIZING AIR SYS
Prime Movers – General | 831.9237 : HEAT EXCHANGER, TUBE BUN | 831 : GAS TURBINE ATOMIZING AIR SYS
Prime Movers – General | 831.9238 : FOUNDATION | 831 : GAS TURBINE ATOMIZING AIR SYS
Prime Movers – General | 831.9240 : HEAT EXCHANGER, SHELL | 831 : GAS TURBINE ATOMIZING AIR SYS
Prime Movers – General | 831.9242 : PIPING | 831 : GAS TURBINE ATOMIZING AIR SYS
Prime Movers – General | 831.9247 : ATOMIZING AIR SYSTEM | 831 : GAS TURBINE ATOMIZING AIR SYS
Prime Movers – General | 831.9248 : COMPRESSOR ATOMIZING AIR | 831 : GAS TURBINE ATOMIZING AIR SYS
Prime Movers – General | 832.9271 : WATER INJECTION SYSTEM E | 832 : WATER INJECTION SYSTEM
Prime Movers – General | 833.9300 : DRIVE, ELECTRIC MOTOR, C | 833 : AIR COOLING SYSTEM, G.T.
Prime Movers – General | 833.9301 : DUCTWORK, WITH INSULATIO | 833 : AIR COOLING SYSTEM, G.T.
Prime Movers – General | 833.9302 : FAN/BLOWER, COMPLETE | 833 : AIR COOLING SYSTEM, G.T.
Prime Movers – General | 833.9303 : FOUNDATION | 833 : AIR COOLING SYSTEM, G.T.
Prime Movers – General | 833.9304 : HEAT EXCH TUBE/PLATE | 833 : AIR COOLING SYSTEM, G.T.
Prime Movers – General | 833.9305 : HEAT EXCHAN SHELL/FRAME | 833 : AIR COOLING SYSTEM, G.T.
Prime Movers – General | 833.9307 : PIPING | 833 : AIR COOLING SYSTEM, G.T.
Prime Movers – General | 833.9308 : SILENCER/MUFFLER | 833 : AIR COOLING SYSTEM, G.T.
Prime Movers – General | 833.9309 : Scrubber | 833 : AIR COOLING SYSTEM, G.T.
Prime Movers – General | 833.9310 : VALVE, PWR OP 8 IN OR > | 833 : AIR COOLING SYSTEM, G.T.
Prime Movers – General | 834.9331 : Dehumidification System | 834 : INLET FOGGER SYSTEM
Prime Movers – General | 834.9332 : CT INLET EXPANSION JOINT | 834 : INLET FOGGER SYSTEM
Prime Movers – General | 834.9333 : SILENCER/MUFFLER | 834 : INLET FOGGER SYSTEM
Prime Movers – General | 834.9334 : INLET BLEED HEAT SYSTEM | 834 : INLET FOGGER SYSTEM
Prime Movers – General | 834.9335 : AIR SCREEN | 834 : INLET FOGGER SYSTEM
Prime Movers – General | 834.9336 : INLET DUCT, WITH INSULAT | 834 : INLET FOGGER SYSTEM
Prime Movers – General | 834.9338 : INLET AIR FILTERS-Primar | 834 : INLET FOGGER SYSTEM
Prime Movers – General | 834.9339 : INLET FOGGER SYSTEM | 834 : INLET FOGGER SYSTEM
Prime Movers – General | 834.9340 : EVAPORATOR COOLER | 834 : INLET FOGGER SYSTEM
Prime Movers – General | 835.9345 : SILENCER/MUFFLER | 835 : EXHAUST SYSTEM, GT
Prime Movers – General | 835.9346 : INTERIOR DUCTWORK W/INSU | 835 : EXHAUST SYSTEM, GT
Prime Movers – General | 835.9347 : STACK/CHIMNEY DUCTWORK | 434 : STACK
Prime Movers – General | 835.9347 : STACK/CHIMNEY DUCTWORK | 835 : EXHAUST SYSTEM, GT
Prime Movers – General | 835.9348 : EXTERIOR EXHAUST DUCT PA | 835 : EXHAUST SYSTEM, GT
Prime Movers – General | 835.9349 : STACK/CHIMNEY EXTERIOR P | 835 : EXHAUST SYSTEM, GT
Prime Movers – General | 835.9351 : FOUNDATION | 835 : EXHAUST SYSTEM, GT
Prime Movers – General | 835.9352: CEMS COMPUTR/MICROPR | 835 : EXHAUST SYSTEM, GT
Prime Movers – General | 835.9353: EMISSION MONIT ANALYZR | 835 : EXHAUST SYSTEM, GT
Prime Movers – General | 835.9354 : CONTROL/INSTRUMENT | 835 : EXHAUST SYSTEM, GT
Prime Movers – General | 836.3828 : GEARBOX | 836 : HELPER COOLING TOWER
Prime Movers – General | 836.3829 : FILL MATERIAL | 836 : HELPER COOLING TOWER
Prime Movers – General | 836.3830 : INTAKE SUPERSTRUCTURE | 836 : HELPER COOLING TOWER
Prime Movers – General | 836.3831 : INTAKE SCREENS | 836 : HELPER COOLING TOWER
Prime Movers – General | 836.3832 : INTAKE PUMP | 836 : HELPER COOLING TOWER
Prime Movers – General | 836.3833 : INTAKE MOTOR | 836 : HELPER COOLING TOWER
Prime Movers – General | 836.3834 : INTAKE CONDUITS | 836 : HELPER COOLING TOWER
Prime Movers – General | 836.3835 : COOLING TOWER SUPERST | 836 : HELPER COOLING TOWER
Prime Movers – General | 836.3836 : PIPING | 836 : HELPER COOLING TOWER
Prime Movers – General | 836.3837 : DRIVE ELECTRIC MOTOR CO | 836 : HELPER COOLING TOWER
Prime Movers – General | 836.3838 : FAN/BLOWER COMPLETE | 836 : HELPER COOLING TOWER
Prime Movers – General | 836.3839 : CONTROL/INSTRUMENT SY | 836 : HELPER COOLING TOWER
Prime Movers – General | 836.3840 : HOT WATER DISBN SYSTEM | 836 : HELPER COOLING TOWER
Prime Movers – General | 836.3841 : CATHODIC PROTECTION SY | 836 : HELPER COOLING TOWER
Prime Movers – General | 836.3843 : RETAINING WALL | 836 : HELPER COOLING TOWER
Prime Movers – General | 836.3844 : Motor Stationary Winding | 836 : HELPER COOLING TOWER
Prime Movers – General | 836.3846 : Deck Plating | 836 : HELPER COOLING TOWER
Prime Movers – General | 838.9361 : ACOUSTICAL ENCLOSURE | 838 : STARTING AND TURNING SYSTEM
Prime Movers – General | 838.9362 : COMPRESSOR, AIR, COMPLET | 838 : STARTING AND TURNING SYSTEM
Prime Movers – General | 838.9364 : DRIVE, ELECTRIC MOTOR, C | 838 : STARTING AND TURNING SYSTEM
Prime Movers – General | 838.9367 : FOUNDATION | 838 : STARTING AND TURNING SYSTEM
Prime Movers – General | 838.9369 : PIPING | 838 : STARTING AND TURNING SYSTEM
Prime Movers – General | 838.9373 : MOTOR ROTATING ASSEMBLY | 838 : STARTING AND TURNING SYSTEM
Prime Movers – General | 838.9374 : STARTING SYSTEM EQUIPMEN | 838 : STARTING AND TURNING SYSTEM
Prime Movers – General | 838.9376 : MOTOR STATIONARY WINDING | 838 : STARTING AND TURNING SYSTEM
Prime Movers – General | 838.9379 : COOLING AND FILTER SYSTE | 838 : STARTING AND TURNING SYSTEM
Prime Movers – General | 838.9380 : LUBE OIL SYSTEM | 838 : STARTING AND TURNING SYSTEM
Prime Movers – General | 838.9381 : TORQUE CONVERTER | 838 : STARTING AND TURNING SYSTEM
Prime Movers – General | 839.9411 : ISOLATION TRANSFORMER | 839 : LOAD COMMUTATING INVERTER SYS
Prime Movers – General | 839.9412 : LOAD POWER CONVERTER | 839 : LOAD COMMUTATING INVERTER SYS
Prime Movers – General | 839.9413 : SOURCE POWER CONVERT | 839 : LOAD COMMUTATING INVERTER SYS
Prime Movers – General | 839.9414 : 89-SS SWITCH | 839 : LOAD COMMUTATING INVERTER SYS
Prime Movers – General | 839.9415 : 89-MD SWITCH | 839 : LOAD COMMUTATING INVERTER SYS
Prime Movers – General | 839.9416 : 89-ND SWITCH | 839 : LOAD COMMUTATING INVERTER SYS
Prime Movers – General | 839.9417 : 89-TS SWITCH | 839 : LOAD COMMUTATING INVERTER SYS
Prime Movers – General | 839.9418 : LCI CONTROLLER | 839 : LOAD COMMUTATING INVERTER SYS
Prime Movers – General | 839.9419 : DC LINK REACTOR | 839 : LOAD COMMUTATING INVERTER SYS
Prime Movers – General | 839.9420 : BUSSWORK | 839 : LOAD COMMUTATING INVERTER SYS
Prime Movers – General | 843.9406 : WATER WASH SYSTEM EQUIPM | 843 : WATER WASH SYSTEM
Prime Movers – General | 844.9430 : PIPING | 844 : G.G. LUBE OIL SYSTEM
Prime Movers – General | 844.9431 : TANK | 844 : G.G. LUBE OIL SYSTEM
Prime Movers – General | 844.9432 : REMOTE OIL COOLER | 844 : G.G. LUBE OIL SYSTEM
Prime Movers – General | 844.9435 : PUMP COMPLETE | 844 : G.G. LUBE OIL SYSTEM
Prime Movers – General | 844.9438 : FILTER/CONDITIONING UNIT | 844 : G.G. LUBE OIL SYSTEM
Prime Movers – General | 844.9439 : LUBE OIL PURIFIER | 844 : G.G. LUBE OIL SYSTEM
Prime Movers – General | 844.9441 : DRIVE, ELE MOTOR, COMPL | 844 : G.G. LUBE OIL SYSTEM
Prime Movers – General | 849.9527 : DRIVE, ELECTRIC MOTOR, C | 849 : COMPONENT/CLOSED COOLING WATE
Prime Movers – General | 849.9528 : FOUNDATION | 849 : COMPONENT/CLOSED COOLING WATE
Prime Movers – General | 849.9529 : HEAT EXCH, TUBE/PLATE | 849 : COMPONENT/CLOSED COOLING WATE
Prime Movers – General | 849.9530 : HEAT EXCHAN SHELL/PLATE | 849 : COMPONENT/CLOSED COOLING WATE
Prime Movers – General | 849.9531: EVAP COOLING TOWER STR | 849 : COMPONENT/CLOSED COOLING WATE
Prime Movers – General | 849.9532 : WATER TREATMNT SYS EQ | 849 : COMPONENT/CLOSED COOLING WATE
Prime Movers – General | 849.9533 : PIPING | 849 : COMPONENT/CLOSED COOLING WATE
Prime Movers – General | 849.9534 : PUMP COMPLETE | 849 : COMPONENT/CLOSED COOLING WATE
Prime Movers – General | 849.9535 : PUMP ROTATING | 849 : COMPONENT/CLOSED COOLING WATE
Prime Movers – General | 849.9537 : TANK | 849 : COMPONENT/CLOSED COOLING WATE
Prime Movers – General | 849.9540 : MOTOR STATIONARY WINDING | 849 : COMPONENT/CLOSED COOLING WATE
Prime Movers – General | 145.0282 : T FAIRING | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General – Solar | 851.9586 : FOUNDATION | 851 : SOLAR PHOTOVOLTAIC
Prime Movers – General – Solar | 851.9587 : SUPPORT STRUCTURE | 851 : SOLAR PHOTOVOLTAIC
Prime Movers – General – Solar | 851.9588 : SWITCH GEAR | 851 : SOLAR PHOTOVOLTAIC
Prime Movers – General – Solar | 851.9589 : SOLAR PANELS | 851 : SOLAR PHOTOVOLTAIC
Prime Movers – General – Solar | 851.9590 : TRACKING SYSTEM | 851 : SOLAR PHOTOVOLTAIC
Prime Movers – General – Solar | 851.9592 : Solar Tree | 851 : SOLAR PHOTOVOLTAIC
Prime Movers – General – Solar | 852.9541 : FOUNDATION | 852 : SOLAR THERMAL
Prime Movers – General – Solar | 852.9542 : SUPPORT STRUCTURE | 852 : SOLAR THERMAL
Prime Movers – General – Solar | 852.9543 : MIRROR | 852 : SOLAR THERMAL
Prime Movers – General – Solar | 852.9544 : HEAT COL ELEMENT (TUBE) | 852 : SOLAR THERMAL
Prime Movers – General – Solar | 852.9545 : SOLAR COLL ELEMENT | 852 : SOLAR THERMAL
Prime Movers – General – Solar | 852.9546 : PUMPS | 852 : SOLAR THERMAL
Prime Movers – General – Solar | 852.9547 : RELIEF VALVES | 852 : SOLAR THERMAL
Prime Movers – General – Solar | 852.9548 : MOTOR OPERATED VALVES | 852 : SOLAR THERMAL
Prime Movers – General – Solar | 852.9549 : HEAT EXCHANGERS | 852 : SOLAR THERMAL
Prime Movers – General – Solar | 852.9550 : MOTORS | 852 : SOLAR THERMAL
Prime Movers – General – Solar | 852.9552 : CONTROL INSTRUMENT | 852 : SOLAR THERMAL
Prime Movers – General – Solar | 852.9554 : PIPING | 852 : SOLAR THERMAL
Prime Movers – General – Solar | 852.9556 : EXPANSION TANKS | 852 : SOLAR THERMAL
Prime Movers – General – Solar | 852.9559 : TRACKING SYSTEM | 852 : SOLAR THERMAL
Prime Movers – General – Solar | 852.9561 : PUMP, ROTATING ASSM | 852 : SOLAR THERMAL
Prime Movers – General – Solar | 852.9562 : PUMP, STATIONARY ASSM | 852 : SOLAR THERMAL
Prime Movers – General – Solar | 852.9563 : ANALYZERS | 852 : SOLAR THERMAL
Prime Movers – General – Solar | 852.9565 : Valve Actuator | 852 : SOLAR THERMAL
Prime Movers – General – Solar | 852.9911 : Mirror Hyd Rotary Actuat | 852 : SOLAR THERMAL
Prime Movers – General – Solar | 852.9912 : HVAC System Complete | 852 : SOLAR THERMAL
Prime Movers – General – Solar | 852.9913 : Air Handler | 852 : SOLAR THERMAL
Prime Movers – General – Solar | 852.9914 : Condenser/Compressor | 852 : SOLAR THERMAL
Prime Movers – General – Solar | 852.9916 : Ductwork | 852 : SOLAR THERMAL
Prime Movers – General – Solar | 852.9917 : Pedestal Pipe Support | 852 : SOLAR THERMAL

## GULF
Florida Power & Light Company
Docket No. 20210015-EI
Staff's's Second Set of Interrogatories
Interrogatory No: 52
Attachment No. 1 of 1
Tab 2 of 2
GULF
Account 343 Prime Movers | Retirement Unit | Property Group
Prime Movers – General | 142.0133 : EXPANSION JOINTS/PENETRATION SEALS | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0141 : HRSG INLET DUCT | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0142 : BURNER SECTION | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0150 : EMISSION MONITORING ANALYZR | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0154 : HRSG AUXILIARY EQUIPMENT ENCLOSURE | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0156 : CONTROL/INSTRUMENTATION SYSTEM | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0157 : STACK | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.0163 : PLATFORM | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 142.4632 : CHEMICAL WASH EQUIPMENT | 142 : H.R.S.G. ENCLOSURES
Prime Movers – General | 143.0172 : PIPING | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0180 : VALVE, POWER OPERATED | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0181 : VALVE, SAFETY | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0182 : LOW PRESSURE EVAPORATOR | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0183 : HIGH PRESSURE EVAPORATOR | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0184 : SUPERHEATER | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0185 : ECONOMIZER SECTION (Front/Rear Sections) | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0186 : HIGH PRESSURE STEAM DRUM | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0190 : INTERMEDIATE PRESSURE EVAPORATOR | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0191 : REHEATER SECTION | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0192 : INTERMEDIATE PRESSURE STEAM DRUM | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 143.0193 : LOW PRESSURE STEAM DRUM | 143 : H.R.S.G. PRESSURE PARTS
Prime Movers – General | 144.0218 : CONTROL/INSTRUMENTATION SYSTEM | 144 : COMBINED CYCLE BOILER FEED SY
Prime Movers – General | 144.0222 : PIPING | 144 : COMBINED CYCLE BOILER FEED SY
Prime Movers – General | 144.0226 : VALVE, POWER OPERATED 6 IN OR GREATER | 144 : COMBINED CYCLE BOILER FEED SY
Prime Movers – General | 144.0227 : DRIVE, ELECTRIC MOTOR, COMPLETE | 144 : COMBINED CYCLE BOILER FEED SY
Prime Movers – General | 144.0228 : DEAERATOR | 144 : COMBINED CYCLE BOILER FEED SY
Prime Movers – General | 144.0229 : TANK | 144 : COMBINED CYCLE BOILER FEED SY
Prime Movers – General | 144.0230 : PUMP COMPLETE | 144 : COMBINED CYCLE BOILER FEED SY
Prime Movers – General | 144.2700 : FOUNDATION | 144 : COMBINED CYCLE BOILER FEED SY
Prime Movers – General | 144.4020 : CHLORINATION SYSTEM EQUIPMENT | 144 : COMBINED CYCLE BOILER FEED SY
Prime Movers – General | 144.6093 : FILTER SPECIAL ASSEMBLY | 144 : COMBINED CYCLE BOILER FEED SY
Prime Movers – General | 145.0244 : LOAD COUPLING | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0247 : CONTROL/INSTRUMENTATION SYSTEM | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 145.0303 : Monitoring System | 145 : INDUSTRIAL GAS TURBINE
Prime Movers – General | 146.0287 : HIGH SPEED COMPRESSOR STA. BLADE ASSY. | 146 : AIRCRAFT GAS TURBINE SYSTEM
Prime Movers – General | 146.0293 : HIGH SPEED TURBINE ROT. BLADE ASSY. | 146 : AIRCRAFT GAS TURBINE SYSTEM
Prime Movers – General | 146.0299 : GOVERNOR SYSTEM COMPLETE | 146 : AIRCRAFT GAS TURBINE SYSTEM
Prime Movers – General | 146.0301 : ACOUSTICAL ENCLOSURE | 146 : AIRCRAFT GAS TURBINE SYSTEM
Prime Movers – General | 146.0302 : GAS TURBINE ENGINE COMPLETE | 146 : AIRCRAFT GAS TURBINE SYSTEM
Prime Movers – General | 146.148 : EXHAUST TRANSITION SECTION | 146 : AIRCRAFT GAS TURBINE SYSTEM
Prime Movers – General | 161.1523 : HVAC SYSTEM COMPLETE | 161 : CEMS BUILDING
Prime Movers – General | 251.1265 : PIPING | 251 : MAIN STEAM PIPING
Prime Movers – General | 251.1269 : VALVE, POWER OPERATED 6 IN OR GREATER | 251 : MAIN STEAM PIPING
Prime Movers – General | 253.1311 : DESUPERHEATER STEAM EQUIPMENT | 253 : AUXILIARY/DESUPERHEATER STEAM
Prime Movers – General | 257.1441 : Valve, Power Operated | 257 : STM GEN/BLR/HRSG BLOWDOWN COO
Prime Movers – General | 257.1446 : HEAT EXCHANGER, SHELL/FRAME | 257 : STM GEN/BLR/HRSG BLOWDOWN COO
Prime Movers – General | 257.1449 : PIPING | 257 : STM GEN/BLR/HRSG BLOWDOWN COO
Prime Movers – General | 257.1452 : TANK | 257 : STM GEN/BLR/HRSG BLOWDOWN COO
Prime Movers – General | 271.1548 : TURBINE CONTROL SYSTEM | 271 : STEAM TURBINE
Prime Movers – General | 271.1557 : STUB SHAFT | 271 : STEAM TURBINE
Prime Movers – General | 271.1561 : NOZZLE BLOCK | 271 : STEAM TURBINE
Prime Movers – General | 34370850485 Piping under 4" dia. | G:Other Production Plant
Prime Movers – General | 34370890578 Piping under 4" dia. | G:Other Production Plant
Prime Movers – General | 351.3160 : HEAT EXCHANGER, SHELL | 351 : CONDENSATE SYSTEM
Prime Movers – General | 351.3161 : AIR EJECTOR CONDENSER | 351 : CONDENSATE SYSTEM
Prime Movers – General | 351.3163 : PIPING | 351 : CONDENSATE SYSTEM
Prime Movers – General | 352.3189 : CONTROL/INSTRUMENTATION SYSTEM | 352 : CONDENSATE RECOVERY SYSTEM
Prime Movers – General | 356.1017 : DRIVE, ELECTRIC MOTOR C | 356 : CHEMICAL FEED SYSTEM
Prime Movers – General | 356.3333 : CHEMICAL SKID | 356 : CHEMICAL FEED SYSTEM
Prime Movers – General | 356.3419 : PUMP COMPLETE | 356 : CHEMICAL FEED SYSTEM
Prime Movers – General | 360.3455 : TANK | 360 : CONDENSATE TRANSFER SYSTEM
Prime Movers – General | 362.3513 : SAMPLE COLLECTING EQUIPMENT/UNIT | 362 : WATER SAMPLING AND ANALYZING
Prime Movers – General | 366.4049 : FOUNDATION | 366 : INTAKE STRUCTURE
Prime Movers – General | 366.4057 : INTAKE SUPERSTRUCTURE | 366 : INTAKE STRUCTURE
Prime Movers – General | 367.4081 : DISCHARGE CONCRETE STRUCTURE/SEAL WELL | 367 : CONDENSER COOLING WATER DISCH
Prime Movers – General | 369.4140 : TRAVELING SCREEN ASSEMBLY COMPLETE | 369 : INTAKE SCREENS SYSTEM
Prime Movers – General | 371.3535 : CONTROL/INSTRUMENTATION SYSTEM | 371 : CONDENSER
Prime Movers – General | 371.3536 : FOUNDATION | 371 : CONDENSER
Prime Movers – General | 371.3538 : VALVE, POWER OPERATED 6 IN OR GREATER | 371 : CONDENSER
Prime Movers – General | 371.3539 : EXPANSION JOINTS >= 6" | 371 : CONDENSER
Prime Movers – General | 371.3542 : TUBES, IN A WATER BOX | 371 : CONDENSER
Prime Movers – General | 372.3577 : PUMP COMPLETE | 372 : CONDENSER AIR REMOVAL SYSTEM
Prime Movers – General | 374.3644 : PUMP COMPLETE | 374 : CONDENSATE PUMP SYSTEM
Prime Movers – General | 374.3645 : DRIVE, ELECTRIC MOTOR, COMPLETE | 374 : CONDENSATE PUMP SYSTEM
Prime Movers – General | 376.3332 : CHEMICAL FEED EQUIPMENT | 376 : COOLING TOWER
Prime Movers – General | 376.3692 : DRIVE, ELECTRIC MOTOR, COMPLETE | 376 : COOLING TOWER
Prime Movers – General | 376.3693 : FAN/BLOWER, COMPLETE | 376 : COOLING TOWER
Prime Movers – General | 376.3694 : FOUNDATION | 376 : COOLING TOWER
Prime Movers – General | 376.3696 : PIPING | 376 : COOLING TOWER
Prime Movers – General | 376.3697 : PUMP COMPLETE | 376 : COOLING TOWER
Prime Movers – General | 376.3699 : GEARBOX | 376 : COOLING TOWER
Prime Movers – General | 376.3700 : VALVE, POWER OPERATED 6 IN OR GREATER | 376 : COOLING TOWER
Prime Movers – General | 376.3702 : SUPERSTRUCTURE | 376 : COOLING TOWER
Prime Movers – General | 376.3703 : SALT DRIFT ELIMINATORS | 376 : COOLING TOWER
Prime Movers – General | 376.3704 : TRAYS, PACKING COMPLETE | 376 : COOLING TOWER
Prime Movers – General | 378.3751 : DRIVE, ELECTRIC MOTOR, COMPLETE | 378 : COOLING TOWER MAKE-UP SYSTEM
Prime Movers – General | 378.3755 : PUMP COMPLETE | 378 : COOLING TOWER MAKE-UP SYSTEM
Prime Movers – General | 378.3758 : VALVE, POWER OPERATED 6 IN OR GREATER | 378 : COOLING TOWER MAKE-UP SYSTEM
Prime Movers – General | 429.4672 : OPERATOR STATION | 429 : BOILER CONTROL SYSTEM
Prime Movers – General | 429.4673 : CONTROLLER | 429 : BOILER CONTROL SYSTEM
Prime Movers – General | 429.4677 : HISTORIAN | 429 : BOILER CONTROL SYSTEM
Prime Movers – General | 429.4678 : DISPLAY | 429 : BOILER CONTROL SYSTEM
Prime Movers – General | 429.4683 : MAJOR TRANSMITTER | 429 : BOILER CONTROL SYSTEM
Prime Movers – General | 437.4849 : CONTROL/INSTRUMENTATION SYSTEM | 437 : NOX CONTROL EQUIPMENT
Prime Movers – General | 437.4854 : PIPING | 437 : NOX CONTROL EQUIPMENT
Prime Movers – General | 438.1200 : CONCRETE BASIN | 438 : DEMINERALIZED WATER SYSTEM
Prime Movers – General | 438.3332 : CHEMICAL FEED EQUIPMENT | 438 : DEMINERALIZED WATER SYSTEM
Prime Movers – General | 438.4872 : PIPING | 438 : DEMINERALIZED WATER SYSTEM
Prime Movers – General | 438.4886 : DEAERATOR/DEGASIFIER | 438 : DEMINERALIZED WATER SYSTEM
Prime Movers – General | 438.9510 : SHELTER ASSEMBLY 848 | 438 : DEMINERALIZED WATER SYSTEM
Prime Movers – General | 472.5700 : LUBE OIL PURIFIER | 472 : TURBINE LUBE OIL STORAGE & TR
Prime Movers – General | 473.5710 : DRIVE, ELECTRIC MOTOR, COMPLETE | 473 : TURBINE LUBE OIL SYSTEM
Prime Movers – General | 473.5716 : PUMP COMPLETE | 473 : TURBINE LUBE OIL SYSTEM
Prime Movers – General | 473.5721 : TANK | 473 : TURBINE LUBE OIL SYSTEM
Prime Movers – General | 476.5752 : CONTROL/INSTRUMENTATION SYSTEM | 476 : TURBINE GENERATOR SUPERVISORY
Prime Movers – General | 832.9271 : WATER INJECTION SYSTEM EQUIPMENT | 832 : WATER INJECTION SYSTEM
Prime Movers – General | 834.9338 : INLET AIR FILTERS-Primary | 834 : INLET FOGGER SYSTEM
Prime Movers – General | 834.9340 : EVAPORATOR COOLER | 834 : INLET FOGGER SYSTEM
Prime Movers – General | 844.9430 : PIPING | 844 : G.G. LUBE OIL SYSTEM
Prime Movers – General | 844.9432 : REMOTE OIL COOLER | 844 : G.G. LUBE OIL SYSTEM
Prime Movers – General | 844.9438 : FILTER/CONDITIONING UNIT 844 | 844 : G.G. LUBE OIL SYSTEM
Prime Movers – General | 844.9439 : LUBE OIL PURIFIER | 844 : G.G. LUBE OIL SYSTEM
Prime Movers – General | 849.9526 : CONTROL/INSTRUMENTATION SYSTEM | 849 : COMPONENT/CLOSED COOLING WATE
Prime Movers – General | 849.9527 : DRIVE, ELECTRIC MOTOR, COMPLETE | 849 : COMPONENT/CLOSED COOLING WATE
Prime Movers – General | 849.9528 : FOUNDATION | 849 : COMPONENT/CLOSED COOLING WATE
Prime Movers – General | 849.9530 : HEAT EXCHANGER, SHELL/PLATE | 849 : COMPONENT/CLOSED COOLING WATE
Prime Movers – General | 849.9533 : PIPING | 849 : COMPONENT/CLOSED COOLING WATE
Prime Movers – General | 849.9534 : PUMP COMPLETE | 849 : COMPONENT/CLOSED COOLING WATE
Prime Movers – General | 849.9539 : VALVE, POWER OPERATED 6 IN OR GREATER | 849 : COMPONENT/CLOSED COOLING WATE
Prime Movers – General – Solar | 851.9586 : FOUNDATION | 851 : SOLAR PHOTOVOLTAIC
Prime Movers – General – Solar | 851.9587 : SUPPORT STRUCTURE | 851 : SOLAR PHOTOVOLTAIC
Prime Movers – General – Solar | 851.9589 : SOLAR PANELS | 851 : SOLAR PHOTOVOLTAIC
Prime Movers – General – Solar | 851.9590 : TRACKING SYSTEM | 851 : SOLAR PHOTOVOLTAIC