BEFORE THE FLORIDA PUBLIC SERVICE COMMISSION

|  |  |
| --- | --- |
| In re: Proposed amendment of Rule 25-12.005, F.A.C., Codes and Standards Adopted. | DOCKET NO. 20220182-GUORDER NO. PSC-2023-0102-FOF-GUISSUED: February 28, 2023 |

The following Commissioners participated in the disposition of this matter:

ANDREW GILES FAY, Chairman

ART GRAHAM

GARY F. CLARK

MIKE LA ROSA

GABRIELLA PASSIDOMO

 NOTICE OF ADOPTION OF RULE

BY THE COMMISSION:

NOTICE is hereby given that the Florida Public Service Commission, pursuant to Section 120.54, Florida Statutes, has adopted without changes Rule 25-12.005, Florida Administrative Code.

 The rule was filed with the Department of State on February 28, 2023, and will be effective on March 20, 2023. A copy of the rule as filed with the Department is attached to this Notice.

 This docket is closed upon issuance of this Notice.

 By ORDER of the Florida Public Service Commission this 28th day of February, 2023.

|  |  |
| --- | --- |
|  | /s/ Adam J. Teitzman |
|  | ADAM J. TEITZMANCommission Clerk |

Florida Public Service Commission

2540 Shumard Oak Boulevard

Tallahassee, Florida 32399

(850) 413‑6770

www.floridapsc.com

Copies furnished: A copy of this document is provided to the parties of record at the time of issuance and, if applicable, interested persons.

JHR

**25-12.005 Codes and Standards Adopted.**

The reporting requirements for operators of natural gas pipeline facilities ~~and transportation of gas~~ prescribed by the Pipeline and Hazardous Materials Safety Administration in 49 C.F.R. Part 191 (October 1, 2021 ~~2018~~), are ~~is~~ adopted and incorporated by reference as part of these rules and may be accessed at <https://www.flrules.org/Gateway/reference.asp?No=Ref-15209> ~~http://www.flrules.org/Gateway/reference.asp?No=Ref-10790~~. The m~~M~~inimum f~~F~~ederal s~~S~~afety s~~S~~tandards for natural gas pipeline facilities and the transportation of natural gas prescribed by the Pipeline and Hazardous Materials Safety Administration in 49 C.F.R. Part 192 (October 1, 2021) ~~Sections 192.121, 192.123, 192.143, 192.145, 192.149, 192.191, 192.204, 192.281, 192.283, 192.285, 192.3, 192.313, 192.321, 192.329, 192.367, 192.375, 192.376, 192.455, 192.513, 192.59, 192.720, 192.756, of 49 C.F.R. 192, as amended by 83 Federal Register 58716, November 20, 2018~~, are adopted and incorporated by reference as part of these rules and may be accessed at <https://www.flrules.org/Gateway/reference.asp?No=Ref-15210> ~~http://www.flrules.org/Gateway/reference.asp?No=Ref-10792~~. ~~The remaining sections of 49 C.F.R. 192, as of October 1, 2018, are adopted and incorporated by reference as part of these rules and may be accessed at http://www.flrules.org/Gateway/reference.asp?No=Ref-10794. 49 C.F.R. 199 (October 1, 2018), “Drug and Alcohol Testing,” is adopted and incorporated by reference to control drug use, by setting standards and requirements to apply to the testing and use of all emergency response personnel under the direct authority or control of a gas utility or pipeline operator, as well as all employees directly or indirectly employed by gas pipeline operators for the purpose of operation and maintenance and all employees directly or indirectly employed by intrastate gas distribution utilities for onsite construction of natural gas transporting pipeline facilities.~~ The drug and alcohol testing requirements prescribed by the Pipeline and Hazardous Materials Safety Administration in 49 C.F.R. Part 199 (October 1, 2021 ~~2018~~) are adopted and incorporated by reference as part of these rules and may be accessed at <https://www.flrules.org/Gateway/reference.asp?No=Ref-15211> ~~http://www.flrules.org/Gateway/reference.asp?No=Ref-10791~~. ~~Part 199 also is adopted to prescribe standards for use of employees who do not meet the requirements of the regulations.~~

*Rulemaking Authority 368.03, 368.05(2), 350.127(2) FS. Law Implemented 368.03, 368.05 FS. History–New 11-14-70, Amended 9-24-71, 9-21-74, 10-7-75, 11-30-82, 10-2-84, Formerly 25-12.05, Amended 8-8-89, 1-7-92, 5-13-99, 4-26-01, 12-15-09, 10-11-12, 3-2-17, 7-10-19, .*