## SCHI2
SCHEDULE I-2 |  |  | NOTIFICATION OF COMMISSION RULE VIOLATIONS |  |  |  | PAGE 1 OF 2
FLORIDA PUBLIC SERVICE COMMISSION |  | EXPLANATION: PROVIDE A SUMMARY OF NOTICES RECEIVED BACK TO |  |  |  | TYPE OF DATA SHOWN:
|  |  | TO THE LAST RATE CASE NOT TO EXCEED FIVE YEARS. |  |  | HISTORIC BASE YEAR DATA: 12/31/19
COMPANY: PEOPLES GAS SYSTEM | [5 empty] | HIS. YR. LAST RATE CASE: 12/31/08
WITNESS: M. WHITAKER
DOCKET NO.: 20200051-GU
LINE NO. | DATE & NOTICE NUMBER |  |  | SUMMARY |  |  |  | CURRENT STATUS
1 | 2015 PGSTA GS -1326 Dated July 21, 2015 | Failure to demonstrate odorant readings witin the range requirements. |  |  |  |  | Closed out December 28, 2015
2 |  | Failure to complete odorant sampling within required time frame.
3 |  | Failure to complete annual leak surveys within required time frame.
4 |  | Failure to complete three-year leak surveys within required time frame.
5 |  | Failure to complete atmospheric surveys within required time frame.
6 |  | Failure to take remedial action to apply cathodic protection for active corrosion.
7 |  | Failure to provide records to demonstrate patrolling of pipelines within required time frame.
8 |  | Failure to complete patrolling of pipelines within required time frame.
9 |  | Cathodic protection deficiency.
10 |  | Failure to document exposed pipe conditions
11 |  | Failure to complete CP monitoring within required time frame.
12 |  | Failure to ensure facility identification on meters
13 |  | Failure to provide adequate lockup for pressure relief device..
14 |  | Failure to physically disconnect service lines that have been inactive for more than five years.
15 |  | Failure to physically disconnect service lines that have been inactive for more than ten years.
16 |  | Failure to provide adequate line markers
17 |  | Failure to follow written procedures
18 |  | Failure to update emergency plans with appropriate fire, police and other public officials.
19 |  | Failure to keep map records up to date.
20 |  | Failure to keep general records up to date.
21 | 2015- GS-1324-PGSEU Dated June 29, 2015 | Failure to document internal corrosion pipe conditions
22 |  | Failure to document exposed pipe conditions |  |  |  |  | Closed out December 18, 2015
23 |  | Failure to keep general records up to date.
24 |  | Cathodic protection records deficiency.
25 |  | Failure to provide records to demonstrate patrolling of pipelines within required time frame.
26 | 2015 PGSMI GS - 1312 Dated April 20, 2015 | Failure to physically disconnect service lines that have been inactive for more than five years. |  |  |  |  | Closed out in 2015
27 |  | Failure to physically disconnect service lines that have been inactive for more than ten years.
28 |  | Failure to repair leaks within the required time frame.
29 |  | Failure to complete five-year leak surveys within required time frame.
30 | 2015 PGSBS GS -1299 Dated February 4, 2015 | Failure to complete odorant sampling within required time frame. |  |  |  |  | Closed out in 2015
31 | 2015 PGSSP GS-1350 Dated December 3, 2015 | Failure to provide line locating marking of pipelines |  |  |  |  | Closed out October 31, 2016
32 |  | Failure to complete annual leak surveys within required time frame.
33 | 2015 PGSSA GS-1346 Dated November 16, 2015 | Failure to complete atmospheric surveys within required time frame. |  |  |  |  | Closed out October 24, 2016
34 |  | Failure to properly identify system valves
35 | 2015 PGSOD GS-1313 Dated May 8, 2015 | Failure to physically disconnect service lines that have been inactive for more than five years. |  |  |  |  | Closed out November 17, 2016
36 |  | Failure to physically disconnect service lines that have been inactive for more than ten years.
37 |  | Failure to complete annual leak surveys within required time frame.
38 |  | Failure to complete five-year leak surveys within required time frame.
39 |  | Failure to provide qualification records for CP
40 |  | Failure to provide records to demonstrate patrolling of pipelines within required time frame.
41 |  | Failure to document exposed pipe conditions
42 | 2015- GS-1314-PGSOC Dated May 11, 2015 | Cathodic protection records deficiency. |  |  |  |  | Closed out July 15, 2015
43 |  | Failure to properly identify system valves
44 |  | Failure to provide line locating marking of pipelines
45 | 2015 PGSJU GS -1317 Dated May 26, 2015 | Failure to provide line locating marking of pipelines
46 |  | Failure to keep map records up to date. |  |  |  |  | Closed out in 2015
47 | 2015 PGSFM GS -1329 Dated August 4, 2015 | Failure to complete atmospheric surveys within required time frame. |  |  |  |  | Closed out in 2015
48 |  | Failure to provide written notice of all major construction or alteration of pipeline facilities.
SUPPORTING SCHEDULES: |  |  |  |  | RECAP SCHEDULES:
SCHEDULE I-2 |  |  | NOTIFICATION OF COMMISSION RULE VIOLATIONS |  |  |  | PAGE 2 OF. 2
FLORIDA PUBLIC SERVICE COMMISSION |  | EXPLANATION: PROVIDE A SUMMARY OF NOTICES RECEIVED BACK TO |  |  |  | TYPE OF DATA SHOWN:
|  |  | TO THE LAST RATE CASE NOT TO EXCEED FIVE YEARS. |  |  | HISTORIC BASE YEAR DATA: 12/31/19
COMPANY: PEOPLES GAS SYSTEM | [5 empty] | HIS. YR. LAST RATE CASE: 12/31/08
WITNESS: M. WHITAKER
DOCKET NO.: 20200051-GU
LINE NO. | DATE & NOTICE NUMBER |  |  | SUMMARY |  |  |  | CURRENT STATUS
49 | 2015 PGSDD GS-1352 Dated December 30, 2015 | Failure to physically disconnect service lines that have been inactive for more than five years. |  |  |  |  | Closed out in 2016
50 | 2016 GS-1367-PGSOC Dated May 12, 2016 | Failure to update emergency plans with appropriate fire, police and other public officials. |  |  |  |  | Closed out June 9, 2016
51 | 2016 GS-1379-PGSJU Dated August 25, 2016 | Failure to provide proper testing of plactic fusion samples |  |  |  |  | Closed out December 1, 2016
52 | 2016 GS-1387-PGSOD Dated November 17, 2016 | Failure to take remedial action for low CP readings within the required time frame. |  |  |  |  | Closed out February 10, 2017
53 |  | Failure to provide CP seperation between casing and carrier pipelines
54 |  | Failure to complete annual leak surveys within required time frame.
55 |  | Failure to complete five-year leak surveys within required time frame.
56 |  | Failure to keep general records up to date.
57 | 2016 GS-1381-PGSTA Dated November 17, 2016 | Failure to operate system valves within the required time frame. |  |  |  |  | Closed out March 31, 2017
58 |  | Failure to complete annual leak surveys within required time frame.
59 |  | Failure to complete three and five year leak surveys within required time frame.
60 |  | Failure to keep general records up to date.
61 | 2017 PGSMI GS-1405 Dated May 26, 2017 | Failing to mark an underground service stub that was subsequently hit by an excavator. |  |  |  |  | Closed out July 11, 2017
62 | 2017 PGSMI GS-1406 Dated May 26, 2017 | Failure to complete atmospheric surveys within required time frame. |  |  |  |  | Closed out August 15, 2017
63 | 2017 GS-1403 PGSLD Dated May 17, 2017 | Failure to provide CP seperation between casing and carrier pipelines |  |  |  |  | Closed out November 27, 2017
64 | 2017 PGSFM GS-1410 Dated July 27, 2017 | Failure to complete five-year leak surveys within required time frame. |  |  |  |  | Closed out September 6, 2017
65 | 2018 PGSJU GS-1422 Dated June 14, 2018 | Failure to complete odorant sampling within required time frame. |  |  |  |  | Closed out July 26, 2017
66 | 2018 PGSFP GS-1427 Dated August 28, 2018 | Failure to perform transmission main baseline assessement within the required time frame |  |  |  |  | Closed out September 28, 2017
2019 - No Violations Received
SUPPORTING SCHEDULES: |  |  |  |  | RECAP SCHEDULES: