## Project Costs
CEC Solar DEF Forecasting
Prepared by Matt Stout, 4/13/2020 - AFUDC revised 5/5/2020
- PV module forecast based on market quotes for crystalline through 2022, then forecasted
- EPC contract market is tight currently but we expect cost reductions begining 2022
- Design of SAT 1.3 DC/AC achieves approximately 28.0% NCF
- 2020 project based on Twin Rivers with adjustments
- 2021 projects based on Archer, Duette, and Charlie Creek
- No land purchase prices assumed, pro forma assumes lease expense for all projects
- Use 2021 projects costs for Jan. 2022 CEC projects
Key Assumptions
| Design | Single-axis T | Single-axis T | Single-axis T | Single-axis T | Single-axis T
| Project Size MWac | 74.9 | 74.9 | 74.9 | 74.9 | 74.9
| Project Size MWdc | 97 | 97 | 97 | 97 | 97 |  | Per Project Cost (74.9 MW-ac)
| DC/AC Ratio | 1.2951 | 1.2951 | 1.2951 | 1.2951 | 1.2951
| PV Panel Price $/Wdc | 0.425 | 0.35 | 0.33 | 0.31 | 0.29 |  |  | 2022 Projects | 2023 Projects | 2024 Projects
| EPC $/Wdc | 0.47 | 0.52 | 0.5 | 0.48 | 0.46 |  | Solar Plant | 96068531.528 | 92199390.1586 | 88333569.9618
| Inflation | 2% | 2% | 2% | 2% | 2% |  | Direct Assigned Interconnection | 3060000 | 3121200 | 3183624
| Contingency | 3% | 4% | 4% | 4% | 4% |  | Network Upgrades | 10200000 | 10404000 | 10612080
| AFDUC | 2.24% | 2.24% | 2.24% | 2.24% | 2.24% |  | AFUDC (Total) | 3980963.4976 | 0 | 0
| ITC% | 30% | 22% | 22% | 10% | 10% |  | Total Plant and Network Upgrades | 113309495.0257 | 105724590.1586 | 102129273.9618
|  |  | 2020 | 2021 | 2022
|  |  | Jan 2022 COD | Jan 2023 COD | Jan 2024 COD | Not used
| Estimate Summary | 2020 | 2021 | 2022 | 2023 | 2024
Panels and EPC
| PV Panels | 41225000 | 33950000 | 32010000 | 30070000
| EPC Contract | 45590000 | 50440000 | 48500000 | 46560000
| GSU (230KV) | 1044677 | 1065570.54 | 1086881.9508 | 1108619.5898
| Control System (SCADA/IT/Telecom/Yoh) | 600440 | 612448.8 | 624697.776 | 637191.7315
| Development, Real Estate, & Misc. | 5000000 | 5100000 | 5202000 | 5306040
| Interconnection (Direct Assigned - Not ITC eligibile) | 3000000 | 3060000 | 3121200 | 3183624 |  | Solar Capex Excl AFUDC and Interconnection
| Construction Oversight | 1066545.451 | 1087876.36 | 1109633.8872 | 1131826.565 |  | 2022 | 2023 | 2024
| Contingency | 2925799.8735 | 3812635.828 | 3666176.5446 | 3519892.0755 |  | 96068531.528 | 92199390.1586 | 88333569.9618
| Pre-AFUDC Solar Capital | 100452462.3245 | 99128531.528 | 95320590.1586 | 91517193.9618
| AFUDC | 3657760.5148 | 3609552.4203 | 0 | 0 |  | 3.641% | From AFUDC Calculation Spreasheet
| Sub Total Project Cost | 104110222.8393 | 102738083.9484 | 95320590.1586 | 91517193.9618
| Network Upgrades | 10000000 | 10200000 | 10404000 | 10612080 |  | AFUDC Trigger ($MMs) Based on Construction Commencement Year
| AFUDC | 364128.5072 | 371411.0773 | 0 | 0 |  | 2020 | 2021 | 2022 | 2023 | 2024
| Total Project Cost | 114474351.3465 | 113309495.0257 | 105724590.1586 | 102129273.9618 |  | 103 | 111.26 | 120.31 | 129.7 | 139.41
Metrics Total Project Costs
| $/Wdc | 1.1801 | 1.1681 | 1.0899 | 1.0529
| $/Wac | 1.5284 | 1.5128 | 1.4115 | 1.3635
| $/KWdc | 1180.148 | 1168.1391 | 1089.9442 | 1052.8791
| $/KWac | 1528.3625 | 1512.8103 | 1411.5433 | 1363.5417
Metrics Total Project Costs Before Network Upgrades
| $/Wdc | 1.0733 | 1.0592 | 0.98269 | 0.94348 | 0
| $/Wac | 1.39 | 1.3717 | 1.2726 | 1.2219 | 0
| $/KWdc | 1073.3013 | 1059.1555 | 982.6865 | 943.4762 | 0
| $/KWac | 1389.9896 | 1371.67 | 1272.6381 | 1221.8584 | 0

## Tax Life
Fixed Distribution per IRS Agreement, per Andrew Wynn email 11/30/16 Solar |  |  |  | 2022 Projects |  | 2023 Projects |  | 2024 Projects
MACRS GDS Classification | Asset Class | Cost Seg % | ITC Amount | Solar Capital | % of Capital | Solar Capital | % of Capital | Solar Capital | % of Capital
5-year property | §168(e)(3)(B)(vi)(l) - Solar Property | 97.87% | 97.87% | 94020350.4359 | 94.85% | 90233699.1604 | 94.66% | 86450298.2502 | 94.46%
7-year property | §168(e)(3)(C)(v) - Personal Property With No Class Life | 0.001% |  | 960.6853 | 0.0009691% | 921.9939 | 0.0009673% | 883.3357 | 0.0009652%
15-year property | 00.3 - Land Improvements (ITC Eligible) | 0.65% | 0.65% | 624445.4549 | 0.6299% | 599296.036 | 0.6287% | 574168.2048 | 0.6274%
15-year property | 00.3 - Land Improvements (ITC Ineligible) | 0.924% | 0.924% | 887673.2313 | 0.8955% | 851922.3651 | 0.8937% | 816202.1864 | 0.8919%
20-year property | 49.14 - Electric Utility T&D Plant | 0.554% |  | 3592219.6647 | 3.624% | 3631984.6215 | 3.81% | 3672991.9776 | 4.013%
39-year property | §168(c) - Nonresidential Real Property | 0.003% |  | 2882.0559 | 0.002907% | 2765.9817 | 0.002902% | 2650.0071 | 0.002896%
Total |  | 100% | 99.44% | 99128531.528 | 100% | 95320590.1586 | 100% | 91517193.9618 | 100%
Interconnects at |  | <69kv | >=69kv
5-yr MACRS |  | 97.87% | 97.87% | MACRS Life
7-yr MACRS |  | 0.001% | 0.001% | 5 | 94.85% |  | 94.66% |  | 94.46%
10-yr S/L |  |  |  | 7 | 0.0009691% |  | 0.0009673% |  | 0.0009652%
15-yr MACRS |  | 1.574% | 2.128% | 15 | 1.525% |  | 1.522% |  | 1.519%
20-yr MACRS |  | 0.554% |  | 20 | 3.624% |  | 3.81% |  | 4.013%
39-yr MACRS |  | 0.003% | 0.003% | 39 | 0.002907% |  | 0.002902% |  | 0.002896%
Deducted Tax Year 1 |  |  |  | Total | 100% |  | 100% |  | 100%
Deducted Tax Year 2
Placeholder 1
Placeholder 2
Non Depreciable Tax
Total |  | 100% | 100%
Note on D9: Gerry Dowd: Note, if the solar facility interconnects with a 69 kV or higher transmission line, the 0.554% shown above for “49.14 - Electric Utility T&D Plant” is treated as 15-year MACRS property (rather than 20-year MACRS property).