## SPP 2022 Capital Camp Proposals
| 2022 SPP Capital Camp Needs | Detailed Description | Grid Mod/ SPP Funding | In/Out Strat Plan | Proposed Budget Location | Funding Project | Priortization Score | Continuation/ New | Multi- Year | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | Total
Team #3 | Upgrade Distribution Line Equipment | Equipment & Installation cost for Distribution FLISR & Feeder Hardening. These numbers represent the full cost for field automation. This number will potentially be revised downward as Team 3 is calculating the incremental increase over the 2020 base feeder hardening plan. | SPP Funding | Partial | SPP |  | 25 |  |  | 0 | 16008 | 9101 | 9224 | 9348 | 9472 | 9491 | 9511 | 9532 | 9552 | 91239
Team #4 | Adding a new Distribution Automation Department | Staffing to support the expected volumetric increases in distribution field SCADA devices to support ADMS, Grid Modernization and Storm Protection Plan (SPP) | SPP Funding | In | Grid Mod |  | 15 |  |  | 0 | 2119.299 | 2182.878 | 2248.364 | 2315.815 | 2385.289 | 2456.848 | 2530.553 | 2606.47 | 2684.664 | 21530.18
Team #5 | Implement PLTE Solution | Development cost for PLTE Core System, Remote Towers, & Celluar Device Equipment | SPP Funding & Grid Mod (80/20) | Partial | RF & Control |  |  |  |  | 0 | 1455.331 | 8284.592 | 3555.592 | 4819.592 | 1614.592 | 1151.806 | 927.668 | 40.5 | 40.5 | 21890.173 | Updated with time-line from Team #5 presentation
Team #7 | RIVA Meter Grid Edge Applications (SPP Portion) | Application liscenses perpertual | SPP (Only in 2022) | Out | AMI |  |  | Include in Summary |  |  | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2000
[9 empty] | Total | 0 | 21582.63 | 19568.47 | 15027.956 | 16483.407 | 13471.881 | 13099.654 | 12969.221 | 12178.97 | 12277.164 | 136659.353
[9 empty] | SPP Base | 115916.46 | 154160.179 | 152901.452 | 160480.757 | 169947.56 | 170914.571 | 170339.239 | 178613.535 | 173967.849 | 177447.206 | 1624688.808
[9 empty] | New Total | 115916.46 | 175742.809 | 172469.922 | 175508.713 | 186430.967 | 184386.452 | 183438.893 | 191582.756 | 186146.819 | 189724.37 | 1761348.161

## Team 3 Cost Analysis
Team 3 Cost Analysis
Device Type | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | 10 Year Total
Reclosers and Supervised/Automated Switches | 181 | 131 | 131 | 131 | 131 | 131 | 131 | 131 | 131 | 128 | 1357
Medium Power Substation Transformers | 2 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 21
13kV Circuit Breakers & Relays | 11 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 12 | 135
Trip Saver II's^ | 2977 | 1571 | 1571 | 1571 | 1571 | 1571 | 1571 | 1571 | 1571 | 1571 | 17116
Line Sensors | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 6000
Voltage Regulators* | 45 | 8 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 101
Capacitor Bank Controllers* | 143 | 143 | 143 | 143 | 143 | 143 | 143 | 143 | 143 | 143 | 1430
*The amount that would be converted per year to private LTE
^SPP Feeder Hardening accounts for 250 Trip Savers per year
Cost Per Device Type | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | 10 Year Total
Reclosers and Supervised/Automated Switches | 13220240 | 9568240 | 9568240 | 9568240 | 9568240 | 9568240 | 9568240 | 9568240 | 9568240 | 9349120 | 99115280
Medium Power Substation Transformers | 3000000 | 4500000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 31500000
13kV Circuit Breakers & Relays | 1320000 | 1680000 | 1680000 | 1680000 | 1680000 | 1680000 | 1680000 | 1680000 | 1680000 | 1440000 | 16200000
Trip Saver II's | 14885000 | 7855000 | 7855000 | 7855000 | 7855000 | 7855000 | 7855000 | 7855000 | 7855000 | 7855000 | 85580000
Line Sensors | 1123470 | 1246278 | 1369455 | 1493007 | 1616944 | 1636404 | 1656265 | 1676534 | 1697219 | 1718330 | 15233906
Voltage Regulators^
Capacitor Bank Controllers | 123868 | 97341 | 97341 | 97341 | 97341 | 97341 | 97341 | 97341 | 97341 | 97341 | 999937
SPP Feeder Hardening Spend Per Year (Estimated) | 18790240 | 16998240 | 15498240 | 15498240 | 15498240 | 15498240 | 15498240 | 15498240 | 15498240 | 15039120 | 148065280
Incremental Spend per Year (Team 3 recommendations) | 16132338 | 9198619 | 9321796 | 9445348 | 9569285 | 9588745 | 9608606 | 9628875 | 9649560 | 9670671 | 101813843
| 16008470 | 9101278 | 9224455 | 9348007 | 9471944 | 9491404 | 9511265 | 9531534 | 9552219 | 9573330
Total Estimated Spend | 34922578 | 26196859 | 24820036 | 24943588 | 25067525 | 25086985 | 25106846 | 25127115 | 25147800 | 24709791 | 249879123
^Costs associated with Voltage Regulators are unknown at this time
Unit Costs
OH SCADA Controlled Reclosers | Year 1: 46000
UG SCADA Controlled Gear | Year 1: 150000
74% OH Feeder to 26% UG Feeder Per GIS | Year 1: 73040
Substation Transformer Upgrade | Year 1: 1500000
Circuit Breaker Upgrade | Year 1: 120000
Trip Saver II's | Year 1: 5000
13 kV OH Line Upgrades per mile | Year 1: 357000
13 kV UG Line Upgrades per mile | Year 1: 500000