## TAU
ProgramID | ProjectID | Benefits | Project_Costs | BCR | Scenario | Fixed Year | SPP 2021 Year | Count of Structures
Transmission Upgrades | Transmission Upgrades-138/230 kV-138003 | 121536.1313 | 1643040 | 0.07397 | 1500Million | -1 | 2023 | 42
Transmission Upgrades | Transmission Upgrades-69 kV-66052 | 7.3744 | 38040 | 0.00019386 | 1500Million | -1 | 2022 | 1
Transmission Upgrades | Transmission Upgrades-138/230 kV-230006 | 1529868.8367 | 2709000 | 0.56474 | 1500Million | 2022 | 2022 | 101
Transmission Upgrades | Transmission Upgrades-69 kV-66405 | 378686.313 | 2510640 | 0.15083 | 1500Million | -1 | 2028 | 66
Transmission Upgrades | Transmission Upgrades-69 kV-66048 | 64599.8679 | 190200 | 0.33964 | 1500Million | -1 | 2028 | 5
Transmission Upgrades | Transmission Upgrades-69 kV-66404 | 6031.229 | 342360 | 0.017617 | 1500Million | -1 | 2024 | 9
Transmission Upgrades | Transmission Upgrades-69 kV-66830 | 74661.4394 | 532560 | 0.14019 | 1500Million | -1 | 2026 | 14
Transmission Upgrades | Transmission Upgrades-69 kV-66064 | 450558.4921 | 38040 | 11.8443 | 1500Million | -1 | 2028 | 1
Transmission Upgrades | Transmission Upgrades-69 kV-66426 | 6967038.4811 | 9243720 | 0.75371 | 1500Million | -1 | 2023 | 243
Transmission Upgrades | Transmission Upgrades-138/230 kV-230012 | 165092.3193 | 412800 | 0.39993 | 1500Million | 2022 | 2022 | 16
Transmission Upgrades | Transmission Upgrades-138/230 kV-138005 | 18233.3682 | 117360 | 0.15536 | 1500Million | -1 | 2023 | 3
Transmission Upgrades | Transmission Upgrades-138/230 kV-230020 | 901410.7263 | 1573800 | 0.57276 | 1500Million | -1 | 2024 | 61
Transmission Upgrades | Transmission Upgrades-138/230 kV-138007 | 18902.4734 | 743280 | 0.025431 | 1500Million | -1 | 2024 | 19
Transmission Upgrades | Transmission Upgrades-69 kV-66005 | 43596.2584 | 608640 | 0.071629 | 1500Million | -1 | 2024 | 16
Transmission Upgrades | Transmission Upgrades-138/230 kV-138006 | 298412.4427 | 3442560 | 0.086683 | 1500Million | -1 | 2028 | 88
Transmission Upgrades | Transmission Upgrades-138/230 kV-230037 | 1803710.9051 | 51600 | 34.9556 | 1500Million | -1 | 2027 | 1
Transmission Upgrades | Transmission Upgrades-69 kV-66001 | 2366893.1247 | 2662800 | 0.88887 | 1500Million | 2022 | 2022 | 70
Transmission Upgrades | Transmission Upgrades-69 kV-66032 | 823105.4303 | 1521600 | 0.54095 | 1500Million | -1 | 2024 | 40
Transmission Upgrades | Transmission Upgrades-69 kV-66003 | 23.2787 | 76080 | 0.00030598 | 1500Million | -1 | 2028 | 2
Transmission Upgrades | Transmission Upgrades-69 kV-66020 | 68444.8649 | 380400 | 0.17993 | 1500Million | 2022 | 2022 | 10
Transmission Upgrades | Transmission Upgrades-69 kV-66035 | 2946652.2007 | 2472600 | 1.1917 | 1500Million | -1 | 2026 | 65
Transmission Upgrades | Transmission Upgrades-69 kV-66008 | 385969.5199 | 342360 | 1.1274 | 1500Million | 2022 | 2022 | 9
Transmission Upgrades | Transmission Upgrades-69 kV-66030 | 455738.1497 | 1902000 | 0.23961 | 1500Million | 2022 | 2022 | 50
Transmission Upgrades | Transmission Upgrades-69 kV-66045 | 1466238.1586 | 1978080 | 0.74124 | 1500Million | 2022 | 2022 | 52
Transmission Upgrades | Transmission Upgrades-138/230 kV-230033 | 312701.6787 | 361200 | 0.86573 | 1500Million | 2022 | 2022 | 14
Transmission Upgrades | Transmission Upgrades-69 kV-66025 | 1088709.2341 | 3994200 | 0.27257 | 1500Million | 2022 | 2022 | 105
Transmission Upgrades | Transmission Upgrades-69 kV-66040 | 574787.5269 | 2434560 | 0.2361 | 1500Million | -1 | 2028 | 64
Transmission Upgrades | Transmission Upgrades-69 kV-66058 | 197436.3024 | 266280 | 0.74146 | 1500Million | -1 | 2028 | 7
Transmission Upgrades | Transmission Upgrades-138/230 kV-230623 | 1067432.0578 | 2141400 | 0.49847 | 1500Million | -1 | 2025 | 65
Transmission Upgrades | Transmission Upgrades-69 kV-66021 | 698356.07 | 1711800 | 0.40797 | 1500Million | -1 | 2024 | 45
Transmission Upgrades | Transmission Upgrades-69 kV-66017 | 893216.6487 | 3689880 | 0.24207 | 1500Million | -1 | 2028 | 97
Transmission Upgrades | Transmission Upgrades-69 kV-66042 | 1003019.0499 | 1255320 | 0.79901 | 1500Million | -1 | 2023 | 33
Transmission Upgrades | Transmission Upgrades-69 kV-66034 | 1574033.8135 | 2700840 | 0.58279 | 1500Million | -1 | 2027 | 71
Transmission Upgrades | Transmission Upgrades-69 kV-66051 | 1380095.8884 | 1749840 | 0.7887 | 1500Million | -1 | 2025 | 46
Transmission Upgrades | Transmission Upgrades-69 kV-66072 | 67842.3804 | 951000 | 0.071338 | 1500Million | -1 | 2025 | 25
Transmission Upgrades | Transmission Upgrades-69 kV-66651 | 158572.9497 | 1673760 | 0.094741 | 1500Million | -1 | 2028 | 44
Transmission Upgrades | Transmission Upgrades-69 kV-66417 | 126742.8053 | 532560 | 0.23799 | 1500Million | -1 | 2026 | 14
Transmission Upgrades | Transmission Upgrades-138/230 kV-138004 | 56604.112 | 195600 | 0.28939 | 1500Million | -1 | 2023 | 5
Transmission Upgrades | Transmission Upgrades-138/230 kV-230014 | 166264.772 | 25800 | 6.4444 | 1500Million | -1 | 2023 | 1
Transmission Upgrades | Transmission Upgrades-69 kV-66067 | 583267.9206 | 1293360 | 0.45097 | 1500Million | -1 | 2025 | 34
Transmission Upgrades | Transmission Upgrades-69 kV-66416 | 1877703.7049 | 2168280 | 0.86599 | 1500Million | -1 | 2028 | 57
Transmission Upgrades | Transmission Upgrades-69 kV-66655 | 264765.1594 | 2853000 | 0.092802 | 1500Million | -1 | 2023 | 75
Transmission Upgrades | Transmission Upgrades-69 kV-66004 | 425442.187 | 2624760 | 0.16209 | 1500Million | -1 | 2028 | 69
Transmission Upgrades | Transmission Upgrades-69 kV-66055 | 356725.1304 | 380400 | 0.93776 | 1500Million | -1 | 2023 | 10
Transmission Upgrades | Transmission Upgrades-69 kV-66403 | 46342.6062 | 532560 | 0.087019 | 1500Million | -1 | 2023 | 14
Transmission Upgrades | Transmission Upgrades-69 kV-66615 | 2326028.139 | 4146360 | 0.56098 | 1500Million | -1 | 2027 | 109
Transmission Upgrades | Transmission Upgrades-69 kV-66833 | 5219640.6811 | 7037400 | 0.7417 | 1500Million | -1 | 2026 | 185
Transmission Upgrades | Transmission Upgrades-138/230 kV-138008 | 521456.7873 | 430320 | 1.2118 | 1500Million | -1 | 2026 | 11
Transmission Upgrades | Transmission Upgrades-69 kV-66002 | 3726.374 | 228240 | 0.016327 | 1500Million | -1 | 2023 | 6
Transmission Upgrades | Transmission Upgrades-69 kV-66027 | 539510.3233 | 646680 | 0.83428 | 1500Million | 2022 | 2022 | 17
Transmission Upgrades | Transmission Upgrades-69 kV-66041 | 24615.792 | 989040 | 0.024889 | 1500Million | -1 | 2024 | 26
Transmission Upgrades | Transmission Upgrades-69 kV-66650 | 153042.4343 | 1179240 | 0.12978 | 1500Million | -1 | 2022 | 31
Transmission Upgrades | Transmission Upgrades-69 kV-66835 | 243.4962 | 190200 | 0.0012802 | 1500Million | -1 | 2026 | 5
Transmission Upgrades | Transmission Upgrades-138/230 kV-230604 | 303368.3296 | 954600 | 0.3178 | 1500Million | -1 | 2024 | 36
Transmission Upgrades | Transmission Upgrades-69 kV-66012 | 47822.8104 | 608640 | 0.078573 | 1500Million | -1 | 2024 | 16
Transmission Upgrades | Transmission Upgrades-69 kV-66029 | 4720.7372 | 114120 | 0.041366 | 1500Million | -1 | 2023 | 3
Transmission Upgrades | Transmission Upgrades-69 kV-66044 | 111435.9057 | 1141200 | 0.097648 | 1500Million | -1 | 2025 | 30
Transmission Upgrades | Transmission Upgrades-69 kV-66071 | 37175.0061 | 646680 | 0.057486 | 1500Million | -1 | 2024 | 17
Transmission Upgrades | Transmission Upgrades-69 kV-66419 | 1823685.5995 | 2967120 | 0.61463 | 1500Million | -1 | 2025 | 78
Transmission Upgrades | Transmission Upgrades-69 kV-66658 | 2243539.7842 | 1787880 | 1.2549 | 1500Million | -1 | 2027 | 47
Transmission Upgrades | Transmission Upgrades-69 kV-66039 | 131547.8093 | 532560 | 0.24701 | 1500Million | -1 | 2023 | 14
Transmission Upgrades | Transmission Upgrades-69 kV-66061 | 3368138.6155 | 2967120 | 1.1352 | 1500Million | -1 | 2025 | 78
Transmission Upgrades | Transmission Upgrades-69 kV-66652 | 1355643.4198 | 2282400 | 0.59396 | 1500Million | -1 | 2024 | 60
Transmission Upgrades | Transmission Upgrades-69 kV-66838 | 392882.1117 | 1331400 | 0.29509 | 1500Million | -1 | 2027 | 35
Transmission Upgrades | Transmission Upgrades-138/230 kV-230013 | 102744.2934 | 1006200 | 0.10211 | 1500Million | 2022 | 2022 | 20
Transmission Upgrades | Transmission Upgrades-69 kV-66014 | 234441.2155 | 722760 | 0.32437 | 1500Million | -1 | 2024 | 19
Transmission Upgrades | Transmission Upgrades-69 kV-66085 | 346567.5302 | 76080 | 4.5553 | 1500Million | -1 | 2027 | 2
Transmission Upgrades | Transmission Upgrades-69 kV-66657 | 140454.7253 | 1179240 | 0.11911 | 1500Million | -1 | 2027 | 31
Transmission Upgrades | Transmission Upgrades-69 kV-67657 | 132463.6177 | 2662800 | 0.049746 | 1500Million | -1 | 2024 | 70
Transmission Upgrades | Transmission Upgrades-69 kV-66015 | 35877.5577 | 608640 | 0.058947 | 1500Million | -1 | 2023 | 16
Transmission Upgrades | Transmission Upgrades-69 kV-66091 | 300329.6366 | 1978080 | 0.15183 | 1500Million | -1 | 2025 | 52
Transmission Upgrades | Transmission Upgrades-69 kV-66010 | 19992.5559 | 836880 | 0.023889 | 1500Million | -1 | 2023 | 22
Transmission Upgrades | Transmission Upgrades-69 kV-66026 | 1808814.3785 | 3157320 | 0.5729 | 1500Million | 2022 | 2022 | 83
Transmission Upgrades | Transmission Upgrades-69 kV-66057 | 5.8228 | 38040 | 0.00015307 | 1500Million | -1 | 2028 | 1
Transmission Upgrades | Transmission Upgrades-69 kV-66098 | 1732800.9274 | 836880 | 2.0705 | 1500Million | -1 | 2027 | 22
Transmission Upgrades | Transmission Upgrades-69 kV-66603 | 5160208.2312 | 4374600 | 1.1796 | 1500Million | -1 | 2026 | 115
Transmission Upgrades | Transmission Upgrades-69 kV-66011 | 182966.9798 | 912960 | 0.20041 | 1500Million | -1 | 2024 | 24
Transmission Upgrades | Transmission Upgrades-69 kV-66028 | 690743.0353 | 1863960 | 0.37058 | 1500Million | -1 | 2024 | 49
Transmission Upgrades | Transmission Upgrades-69 kV-66043 | 39441.8811 | 1255320 | 0.03142 | 1500Million | -1 | 2025 | 33
Transmission Upgrades | Transmission Upgrades-69 kV-66062 | 992667.5976 | 152160 | 6.5238 | 1500Million | -1 | 2025 | 4
Transmission Upgrades | Transmission Upgrades-69 kV-66412 | 195292.9073 | 1179240 | 0.16561 | 1500Million | -1 | 2027 | 31
Transmission Upgrades | Transmission Upgrades-69 kV-66837 | 13661.0833 | 608640 | 0.022445 | 1500Million | -1 | 2027 | 16
Transmission Upgrades | Transmission Upgrades-69 kV-66047 | 8570.2637 | 38040 | 0.2253 | 1500Million | -1 | 2028 | 1
Transmission Upgrades | Transmission Upgrades-69 kV-66415 | 273085.8579 | 380400 | 0.71789 | 1500Million | 2022 | 2022 | 10
Transmission Upgrades | Transmission Upgrades-69 kV-66088 | 61024.5087 | 836880 | 0.072919 | 1500Million | -1 | 2023 | 22
Transmission Upgrades | Transmission Upgrades-69 kV-66656 | 387735.9636 | 1940040 | 0.19986 | 1500Million | -1 | 2027 | 51
Transmission Upgrades | Transmission Upgrades-69 kV-67615 | 15918.8434 | 912960 | 0.017437 | 1500Million | -1 | 2025 | 24
Transmission Upgrades | Transmission Upgrades-69 kV-66037 | 6.0339 | 38040 | 0.00015862 | 1500Million | -1 | 2028 | 1
Transmission Upgrades | Transmission Upgrades-69 kV-66056 | 7.3744 | 38040 | 0.00019386 | 1500Million | -1 | 2028 | 1
Transmission Upgrades | Transmission Upgrades-69 kV-66095 | 445238.87 | 1863960 | 0.23887 | 1500Million | -1 | 2025 | 49
Transmission Upgrades | Transmission Upgrades-69 kV-66831 | 269634.5112 | 114120 | 2.3627 | 1500Million | -1 | 2027 | 3
Transmission Upgrades | Transmission Upgrades-69 kV-66842 | 105321.1902 | 76080 | 1.3843 | 1500Million | -1 | 2026 | 2
Transmission Upgrades | Transmission Upgrades-69 kV-66653 | 1729916.3891 | 3727920 | 0.46404 | 1500Million | -1 | 2026 | 98
Transmission Upgrades | Transmission Upgrades-69 kV-66839 | 299127.7028 | 2016120 | 0.14837 | 1500Million | -1 | 2027 | 53
Transmission Upgrades | Transmission Upgrades-69 kV-66436 | 3501447.7118 | 1369440 | 2.5568 | 1500Million | -1 | 2024 | 36
Transmission Upgrades | Transmission Upgrades-69 kV-66832 | 816746.8988 | 3842040 | 0.21258 | 1500Million | -1 | 2027 | 101