BEFORE THE FLORIDA PUBLIC SERVICE COMMISSION

| In Re: Amendment of Rule 25-22.081, F.A.C., Contents of Petition; and Adoption of Rule 25-22.082, F.A.C., Selection of Generating Capacity. |  | ) ) ) ) ) ) | DOCKET NO. 921288-EU ORDER NO. PSC-93-1846-FOF-EU ISSUED: December 29, 1993 |
| --- | --- | --- | --- |

NOTICE OF ADOPTION OF RULE AND RULE AMENDMENTS

NOTICE is hereby given that the Commission, pursuant to section 120.54, Florida Statutes, has adopted the rule amendments to Rule 25-22.081, relating to contents of petition, and adopted new Rule 25-22.082, F.A.C., relating to selection of generating capacity with changes.

The rules were filed with the Department of State on December 21, 1993, and will be effective on January 20, 1994.  A copy of the relevant portions of the certification filed with the Secretary of State is attached to this Notice.

This docket is closed upon issuance of this notice.

By Direction of the Florida Public Service Commission, this 29th day of December, 1993.

STEVE TRIBBLE, Director

Division of Records & Reporting

( S E A L )

MER

25-22.081  Contents of Petition.   Petitions submitted to commence a proceeding to determine the need for a proposed electrical power plant or responses to the Commission's order commencing such a proceeding shall comply with the other requirements of Chapter 25-22, Florida Administrative Code, Chapter 25-2, F.A.C., as to form and style except that a utility may, at its option, submit its petition in the same format and style as its application for site certification pursuant to Sections 403.501 through 403.517, Florida Statutes F.S., so long as the informational requirements of this rule and Chapter 25-22, Florida Administrative Code Chapter 25-2, F.A.C., are satisfied.  The petition, to allow the Commission to take into account the need for electric system reliability and integrity, the need for adequate reasonable cost electricity, and the need to determine whether the proposed plant is the most cost effective alternative available, shall contain the following information:

(1)  A general description of the utility or utilities primarily affected, including the load and electrical characteristics, generating capability, and interconnections.

(2)  A general description of the proposed electrical power plant, including the size, number of units, fuel type and supply modes, the approximate costs, and projected in-service date or dates.

(3)  A statement of the specific conditions, contingencies or other factors which indicate a need for the proposed electrical power plant including the general time within which the generating units will be needed.  Documentation shall include historical and forecasted summer and winter peaks, number of customers, net energy for load, and load factors with a discussion of the more critical operating conditions.  Load forecasts shall identify the model or models on which they were based and shall include sufficient detail to permit analysis of the model or models.  If a determination is sought on some basis in addition to or in lieu of capacity needs, such as oil backout, then detailed analysis and supporting documentation of the costs and benefits is required.

(4)  A summary discussion of the major available generating alternatives which were examined and evaluated in arriving at the decision to pursue the proposed generating unit.  The discussion shall include a general description of the generating unit alternatives including purchases where appropriate; and an evaluation of each alternative in terms of economics, reliability, long-term flexibility and usefulness and any other relevant factors.  Those major generating technologies generally available and potentially appropriate for the timing of the proposed plan and other conditions specific to it shall be discussed.  In addition, each investor-owned utility shall include a detailed description of the selection process used and a detailed description of the generating unit alternatives proposed by each finalist, if any, selected to participate in subsequent contract negotiations pursuant to Rule 25-22.082, Florida Administrative Code.

(5)  A discussion of viable nongenerating alternatives including an evaluation of the nature and extent of reductions in the growth rates of peak demand, KWH consumption and oil consumption resulting from the goals and programs adopted pursuant to the Florida Energy Efficiency and Conservation Act both historically and prospectively and the effects on the timing and size of the proposed plant.

(6)  An evaluation of the adverse consequences which will result if the proposed electrical power plant is not added in the approximate size sought or in the approximate time sought.

(7)  If the generation addition is the result of a purchased power agreement between an investor-owned utility and a nonutility generator, the petition shall include a discussion of the potential for increases or decreases in the utility's cost of capital, the effect of the seller's financing arrangements on the utility's system reliability, any competitive advantage the financing arrangements may give the seller and the seller's fuel supply adequacy.

Specific Authority:  120.53(1)(c), 350.127(2), 366.05(1), F.S.

Law Implemented:  403.519, F.S.

History:  New 12/2/80, Transferred 12/21/81, formerly 25-22.81, Amended 1/20/94.           .

25-22.082  Selection of Generating Capacity

(1)  Definitions.  For the purpose of this rule, the following terms shall have the following meaning:

(a) Next Planned Generating Unit: the next generating unit addition planned for construction by an investor-owned utility that will require certification pursuant to Section 403.519, Florida Statutes.

(b)  Request for Proposals (RFP): a document in which an investor-owned utility publishes the price and non-price attributes of its next planned generating unit in order to solicit and screen, for subsequent contract negotiations, competitive proposals for supply-side alternatives to the utility's next planned generating unit.

(c)  Participant:  a potential generation supplier who submits a proposal in compliance with both the schedule and informational requirements of a utility's RFP.  A participant may include utility and non-utility generators as well as providers of turnkey offerings and other utility supply side alternatives.

(d)   Finalist: one or more participants selected by the utility with whom to conduct subsequent contract negotiations.

(2)  Prior to filing a petition for determination of need for an electrical power plant pursuant to Section 403.519, Florida Statutes, each investor-owned electric utility shall evaluate supply-side alternatives to its next planned generating unit by issuing a Request for Proposals (RFP).

(3)  Each investor-owned utility shall provide timely notification of its issuance of an RFP by publishing public notices in major newspapers, periodicals and trade publications to ensure statewide and national circulation.  The public notice given shall include, at a minimum:

(a)	the name and address of the contact person from whom an RFP package may be requested;

(b)	a general description of the utility's next planned generating unit, including its planned in-service date, MW size, location, fuel type and technology; and

(c)	a schedule of critical dates for the solicitation, evaluation, screening of proposals and subsequent contract negotiations.

(4)	Each utility's RFP shall include, at a minimum:

(a)	a detailed technical description of the utility's next planned generating unit or units on which the RFP is based, as well as the financial assumptions and parameters associated with it, including, at a minimum, the following information:

1.	a description of the utility's next planned generating unit(s) and its proposed location(s);

2.	the MW size;

3.	the estimated in-service date;

4.	the primary and secondary fuel type;

5.	an estimate of the total direct cost;

6.	an estimate of the annual revenue requirements;

7.	an estimate of the annual economic value of deferring construction;

8.	an estimate of the fixed and variable operation and maintenance expense;

9.	an estimate of the fuel cost;

10.	an estimate of the planned and forced outage rates, heat rate, minimum load and ramp rates, and other technical details;

11.	a description and estimate of the costs required for associated facilities such as gas laterals and transmission interconnection;

12.	a discussion of the actions necessary to comply with environmental requirements; and

13.	a summary of all major assumptions used in developing the above estimates;

(b)	a schedule of critical dates for solicitation, evaluation, screening of proposals and subsequent contract negotiations;

(c)	a description of the price and non-price attributes to be addressed by each alternative generating proposal including, but not limited to:

1.	technical and financial viability;

2.	dispatchability;

3.	deliverability (interconnection and transmission);

4.	fuel supply;

5.	water supply;

6.	environmental compliance;

7.	performance criteria;

8.	pricing structure; and

(d)	a detailed description of the methodology to be used to evaluate alternative generating proposals on the basis of price and non-price attributes.

(5)	As part of its RFP, the utility shall require each participant to publish a notice in a newspaper of general circulation in each county in which the participant's proposed generating facility would be located.  The notice shall be at least one-quarter of a page and shall be published no later than 10 days after the date that proposals are due. The notice shall state that the participant has submitted a proposal to build an electrical power plant, and shall include the name and address of the participant submitting the proposal, the name and address of the utility that solicited proposals, and a general description of the proposed power plant and its location.

(6)	Within 30 days after the utility has selected finalists, if any, from the participants who responded to the RFP, the utility shall publish notice in a newspaper of general circulation in each county in which a finalist has proposed to build an electrical power plant.  The notice shall include the name and address of each finalist, the name and address of the utility, and a general description of each proposed power plant, including its location, size, fuel type, and associated facilities.

(7)	Each electric utility shall file a copy of its RFP with the Commission.

(8)  The Commission shall not allow potential suppliers of capacity who were not participants to contest the outcome of the selection process in a power plant need determination proceeding.

(9)  The Commission may waive this rule or any part thereof upon a showing that the waiver would likely result in a lower cost supply of electricity to the utility's general body of ratepayers,  increase the reliable supply of electricity to the utility's general body of ratepayers, or is otherwise in the public interest.  Specific Authority:  120.53(1)(c), 350.127(2), 366.05(1), 366.051, F.S.

Law Implemented:  403.519, 366.051, F.S.

History:  New 1/20/94.