BEFORE THE FLORIDA PUBLIC SERVICE COMMISSION

| In Re: Proposed Amendment of Rule 25-4.036, F.A.C., Design and Construction of Plant |  | ) ) ) ) | DOCKET NO. 940059-TP ORDER NO. PSC-94-0457-FOF-TP ISSUED: April 15, 1994 |
| --- | --- | --- | --- |

The following Commissioners participated in the disposition of this matter:

J. TERRY DEASON, Chairman

SUSAN F. CLARK

JULIA L. JOHNSON

DIANE K. KIESLING

LUIS J. LAUREDO

NOTICE OF ADOPTION OF RULE

NOTICE is hereby given that the Commission, pursuant to section 120.54, Florida Statutes, has adopted Rule 25-4.036, F.A.C., relating to Design and Construction of Plant without changes.

The rule was filed with the Department of State on April 13, 1994 and will be effective on May 3, 1994.  A copy of the relevant portions of the certification filed with the Secretary of State is attached to this Notice.

This docket is closed upon issuance of this notice.

By Direction of the Florida Public Service Commission, this   15th day of April, 1994.

BLANCA S. BAYO, Director

Division of Records & Reporting

( S E A L )

adp4036.mrd

25-4.036  Design and Construction of Plant.

(1)  The plant and facilities of the utility shall be designed, constructed, installed, maintained and operated in accordance with provisions of the 1993 1990 Edition of the National Electrical Safety Code (ANSI C2-19931990), except that Rule 350G of the safety code shall be effective for cable installed on or after January 1, 1996, and the National Electrical Code (NFPA 70-19931990), pertaining to the construction of telecommunications facilities.

(2)   Compliance with these codes and accepted good practice is necessary to insure as far as reasonably possible continuity of service, uniformity in the quality of service furnished and the safety of persons and property.

Specific Authority:  350.127(2), F.S.

Law Implemented:  364.03, F.S.

History:  Revised 12/1/68, Amended 4/19/77, Amended 2/5/86, Formerly 25-4.36, F.S., Amended 3/26/91, 5/3/94.