**FLORIDA PUBLIC SERVICE COMMISSION**

 **Capital Circle Office Center 2540 Shumard Oak Boulevard**

 **Tallahassee, Florida 32399-0850**

 **M E M O R A N D U M**

 **January 25, 1996**

**TO: DIRECTOR, DIVISION OF RECORDS AND REPORTING (BAYO)**

**FROM: DIVISION OF APPEALS (HELTON)**

 **DIVISION OF ELECTRIC & GAS (HAFF)**

 **DIVISION OF RESEARCH & REGULATORY REVIEW (HEWITT)**

**RE: DOCKET NO. 960023-EG - PROPOSED AMENDMENTS TO RULE 25-17.003, F.A.C., ENERGY AUDITS; AND PROPOSED REPEAL OF RULES 25-17.051, F.A.C., DEFINITIONS AS USED IN THIS PART; 25-17.052, F.A.C., AUDITORS, MINIMUM QUALIFICATIONS; 25-17.053, F.A.C., PROGRAM ANNOUNCEMENT; 25-17.054, F.A.C., ENERGY AUDIT; OFFER AND INITIAL CONTACT; 25-17.0545, F.A.C., CONTRACTS FOR PERFORMING AUDITS; 25-17.055, F.A.C., PERFORMANCE OF THE ENERGY CONSERVATION AUDIT; 25-17.0555, F.A.C., THE FIVE-STAR RATING SYSTEM; 25-17.056, F.A.C., PROGRAM INSPECTIONS; 25-17.057, F.A.C., ENERGY CONSERVATION AUDIT RESULTS; 25-17.059, F.A.C., ENERGY CONSERVATION AUDIT CHARGES, DISCLOSURES, AND DISCLAIMERS; 25-17.061, F.A.C., FINANCING AND INSTALLATION ARRANGEMENTS; 25-17.064, F.A.C., PROGRAM WORK PLANS AND REPORTS; AND 25-17.065, F.A.C., PROGRAM RECORDKEEPING.**

**AGENDA: 2/6/96 - REGULAR AGENDA - RULE PROPOSAL - INTERESTED PERSONS MAY PARTICIPATE**

**RULE STATUS: PROPOSAL MAY BE DEFERRED**

**SPECIAL INSTRUCTIONS: I:\PSC\APP\WP\960023PR.RCM**

 **CASE BACKGROUND**

 Section 366.82(5), Florida Statutes, requires the Commission to require those utilities that fall under the "Florida Energy Efficiency and Conservation Act" (FEECA) to offer energy audits to residential customers. Rule 25-17.003, Florida Administrative Code, and Part II of Chapter 25-17, Florida Administrative Code, currently set forth the Commission's minimum requirements for energy audits. Many of these rules refer to the now obsolete Federal Residential Conservation Service (RCS) that was mandated by the National Energy Conservation Policy Act of 1978. Since RCS was sunset in 1986, staff is recommending that those portions of the audit rules that refer to the federal program be repealed. Staff is recommending that the remaining relevant portions of the rules be streamlined and consolidated into Rule 25-17.003, which will result in less burdensome regulations over energy audits.

 **DISCUSSION OF ISSUES**

**ISSUE** : Should the Commission propose amendments to Rule 25-17.003, F.A.C., Energy Audits; and propose the repeal of Rules 25-17.051, F.A.C., Definitions as Used in this Part; 25-17.052, F.A.C., Auditors, Minimum Qualifications; 25-17.053, F.A.C., Program Announcement; 25-17.054, F.A.C., Energy Audit; Offer and Initial Contact; 25-17.0545, F.A.C., Contracts for Performing Audits; 25-17.055, F.A.C., Performance of the Energy Conservation Audit; 25-17.0555, F.A.C., The Five-Star Rating System; 25-17.056, F.A.C., Program Inspections; 25-17.057, F.A.C., Energy Conservation Audit Results; 25-17.059, F.A.C., Energy Conservation Audit Charges, Disclosures, and Disclaimers; 25-17.061, F.A.C., Financing and Installation Arrangements; 25-17.064, F.A.C., Program Work Plans and Reports; and 25-17.065, F.A.C., Program Recordkeeping?

**RECOMMENDATION:** Yes.

**STAFF ANALYSIS:** Staff recommends the following rule be amended:

 **Rule 25-17.003, Energy Audits.** Staff recommends this rule be amended to set forth the minimum requirements for performing energy audits. The amended rule staff is recommending for proposal will give utilities greater flexibility over energy audits. Those portions of the current rules which staff recommends incorporating into this rule are discussed below.

 Staff recommends the following rules be repealed:

 **Rule 25-17.051, Definitions as Used in this Part.** Staff recommends that those definitions which are still relevant be moved to Rule 25-17.003(2). The remaining obsolete definitions should be repealed.

 **Rule 25-17.052, Auditors, Minimum Qualifications.** Section 366.82(7), Florida Statutes, requires the Commission to set minimum requirements for energy auditors. Staff recommends that an updated version of this rule be incorporated into revised Rule 25-17.003(5). In the amendments to Rule 25-17.003(5)(a), staff recommends that utilities be required to file the certification of auditors on an annual basis, instead of twice a year as required by Rule 25-17.052(1).

 **Rule 25-17.053, Program Announcement.** Much of this rule relates to the sunset RCS program; therefore, it can be repealed. However, staff recommends that Rule 25-17.003(11) be amended so that utilities are still required to make program announcements every six months to ensure that eligible customers are notified of the availability of energy audits.

 **Rule 25-17.054, Energy Audit; Offer and Initial Contact.** The portions of this rule that relate to the RCS program and the Five-Star Rating System are no longer necessary and can be repealed. However, staff recommends the relevant portions of the rule be moved to Rule 25-17.003(3) and (4).

 **Rule 25-17.0545, Contracts for Performing Audits.** Staff recommends this rule be repealed and the requirement be moved to Rule 25-17.003(14).

 **Rule 25-17.055, Performance of the Energy Conservation Audit.** The obsolete references to the RCS program, the Department of Energy, and the Five-Star Rating System can be stricken. Staff recommends the relevant portions of this rule be moved to Rule 25-17.003(6) and (7).

 **Rule 25-17.0555, The Five-Star Rating System.** This rule refers to the Five-Star Rating system. Staff recommends this rule be repealed.

 **Rule 25-17.056, Program Inspections.** The Federal RCS program had specific, cumbersome requirements regarding the post-audit inspection of measure installations. At the time Rule 25-17.056 was written, there were no energy audits, no energy auditors, and no real utility-sponsored efforts to encourage the adoption of conservation measures. The minimum standards contained in this rule are nearly identical to the now defunct federal program. Staff recommends this rule be repealed, and the less burdensome requirement that 10 percent of installed conservation measures be inspected as set forth in amended Rule 25-17.003(10).

 **Rule 25-17.057, Energy Conservation Audit Results.** Staff recommends this obsolete rule which refers to the RCS program be repealed. The updated requirements concerning audit results should be moved to Rule 25-17.003(7)(d).

 **Rule 25-17.059, Energy Conservation Audit Charges, Disclosures, and Disclaimers.** Staff recommends this rule be repealed and streamlined requirements concerning charges, disclosures, and disclaimers be set forth in Rule 25-17.003(4) and (8).

 **Rule 25-17.061, Financing and Installation Arrangements.** This rule was written when there were no energy audits and few utility-sponsored efforts to encourage customer application of conservation measures. Consequently, at that time, there was a need to set minimum financing and installation standards. Since this need no longer exists, staff recommends that utilities no longer be required to offer financing arrangements. In addition, staff recommends it should be voluntary for utilities to offer installation requirements, and that this be incorporated into revised Rule 25-17.003(9).

 **Rule 25-17.064, Program Work Plans and Reports.** This rule requires utilities to file data, much of which is also filed in conjunction with Docket No. 960002-EG (Conservation Cost Recovery Clause) and in reports associated with FEECA. The remaining information relates to RCS and is no longer needed. Since the useful information obtained by this rule duplicates already existing requirements, the rule can be stricken.

 **Rule 25-17.065, Program Recordkeeping.** Staff recommends this rule be repealed since much of it relates to the sunset RCS program. In addition, staff recommends the remaining program recordkeeping requirements be made less burdensome in Rule 25-17.003(13).

 **Economic impact:** Since the recommended rules should not increase workload, add costs, or create adverse impacts, no economic impact statement was prepared.

**ISSUE :** If no requests for hearing or comments are filed, should the rules as proposed be filed for adoption and the docket be closed?

**STAFF RECOMMENDATION:** Yes.

**STAFF ANALYSIS:** Unless comments or requests for hearing are filed, the rules as proposed may be filed with the Secretary of State without further Commission action and the docket may be closed.

Attachments:

Recommended proposed rules

Economic impact statement memorandum

 25‑17.003 Energy Audits~~; Related Provisions~~.

 (1) Purpose.~~:~~ This rule specifies the minimum requirements for performing energy audits by every ~~each~~ utility that falls under the definition of "utility" in Section 366.82(1), Florida Statutes ~~subject to the requirements of this rule~~.

 ~~(2) Applicability: This rule applies to each utility as defined in s. 366.82(1), F.S.~~

 (2)~~(3)~~ Definitions.~~:~~

 ~~(a) "Alternative (Walk‑Through) Audit" means an energy audit as defined in Chapter 25‑17.51(8), F.A.C.~~

 (a) "Class A Audit" means a computer assisted energy analysis of a residence in which a qualified auditor performs a comprehensive on-site evaluation of the residence in accordance with subsection (6) and paragraphs (7)(c) and (7)(d), and, if applicable, provides installation arrangements and inspections pursuant to this rule.

 (b) "Class B Audit" means a walk through energy analysis of a residence in which a qualified auditor walks through the residence making extensive observations as to the physical structure and components, performs simplified heat gain and heat loss computations, and advises the customer of feasible energy conservation practices and measures.

 (c)~~(b)~~ "Commercial Audit" means an energy analysis of a commercial building and its associated energy systems to determine its energy efficiency and to identify for the customer those ~~cost effective~~ measures that ~~which~~ may improve its energy efficiency.

 ~~(c) "Energy Conservation Audit" means an energy audit as defined in Chapter 25‑17.51(6), F.A.C.~~

 (d) "Conservation Measures" refers to the following examples of replacing, upgrading, or installing equipment which reduce energy usage or peak demand contribution:

 1. Installation of clock thermostat;

 2. Replacement of furnace or boiler;

 3.Replacement of resistance heat with heat pump or natural gas furnace;

 4. Replacement of central air conditioning system;

 5. Installation of duct or pipe insulation;

 6. Sealing leaks in pipes and ducts;

 7. Caulking of windows or doors;

 8. Weatherstripping of windows or doors;

 9.Installation of heat‑reflective, heat-gain retardant, and heat‑absorbing window or door materials;

 10. Insertion of plastic window panels;

 11. Installation of storm or thermal windows;

 12. Installation of wall insulation;

 13. Installation of ceiling insulation;

 14. Installation of floor insulation;

 15. Plugging leaks in attic, basement, and fireplace;

 16.Installation of waste heat recovery water heating system;

 17. Installation of heat pump or natural gas water heater;

 18. Installation of solar water heating system;

 19. Installation of water heater insulation;

 20.Installation of water flow restrictors in showers and faucets;

 21.Installation of solar swimming pool heating system; and

 22.Installation of load management devices, where load management rates are offered.

 (e) "Conservation Practices" refers to the following actions performed by a customer which reduce energy usage or peak demand contribution:

 1. Furnace efficiency maintenance and adjustments;

 2. Cooling system efficiency maintenance and adjustments;

 3. Nighttime temperature setback;

 4. Reduction of thermostat setting in winter;

 5. Increase of thermostat setting in summer;

 6. Reduction of hot water temperature;

 7. Reduction of energy use when residence is unoccupied; and

 8. Efficient use of shading.

 (f) "Eligible Customer" means the owner or occupant of a residence that receives a bill for service from a utility.

 (g)~~(d)~~"Industrial Audit" means an energy analysis of an industrial facility and its associated energy systems to determine its energy efficiency and to identify for the customer those ~~cost effective~~ measures that ~~which~~ may improve its energy efficiency.

 (3) Scope.

 (a) All utilities are required to offer eligible residential customers Class A and Class B audits which comply with subsections (4) through (14) below. Every utility shall submit to the Commission for approval its procedure for conducting its Class A and Class B audits prior to conducting those audits.

 (b) Any utility may offer a commercial or industrial audit to commercial and industrial customers. Every utility that performs commercial or industrial audits shall comply with subsections (13) and (14) below.

 (4) Energy Audit Charges.

 (a) Every utility may charge an eligible customer for a Class A Audit. This charge, which shall not exceed $15, shall first be filed with the Commission as part of the utility's tariff.

 (b) Every utility may charge an eligible customer for a Class B Audit. This charge, which shall not exceed $5, shall first be filed with the Commission as part of the utility's tariff.

 (5) Minimum Auditor Qualifications.

 (a) Every utility shall certify that each of its residential energy auditors meets the minimum qualifications in paragraph (5)(b). The certification, along with a list of auditors performing energy audits, shall be filed annually with the Director, Division of Electric and Gas, by September 30 of each year.

 (b) To be qualified to perform energy audits, a person must:

1.Have been trained in a program meeting the curriculum requirements of paragraph (5)(c); and

2.Have demonstrated a proficiency in the areas listed in paragraph (5)(c) through a written test or practical demonstration.

 (c) At a minimum, the curriculum to be followed in training auditors shall include instruction in the following areas:

1.The three types of heat transfer and the effects of temperature and humidity on heat transfer;

2.General mathematics, including powers of ten, decimals and fractions, simple equations, heat loss and heat gain computations utilizing British Thermal Units (BTUs), and pay back calculations;

3.Utility billing procedures, meter reading, and identification of weather sensitive consumption relationships based on a customer's billing history;

4. Residential construction terminology and components;

5.The operation of heating and cooling systems used in residential buildings; and

6.The application of energy conservation practices and measures including the advantages and disadvantages of each.

 (6) Pre-audit performance criteria for Class A Audits.

 (a) Every utility shall adopt procedures to assure that estimates of energy cost savings and costs for conservation measures are based on:

1.Typical and recent local prices for materials and installation;

2.Typical local climate data for the audited residence; and

 3. Typical local price of electricity.

 (b) At least twice annually, each utility shall update the data collected pursuant to paragraph (6)(a).

 (7) Performance of the audit.

 (a) Upon arrival at a residence, the auditor shall provide proper identification and confirm the customer's understanding of the scope and cost of the audit.

1.The auditor shall discontinue or decline to perform the audit if the customer, at any time, objects to its performance.

2.The auditor may discontinue or decline to perform the audit if the auditor determines that continuation of the audit may be dangerous.

 (b) The auditor shall determine and explain to the customer which conservation practices are applicable and recommend that the customer apply them prior to or in conjunction with adopting any conservation measure.

 (c) For Class A Audits, to determine the appropriate conservation measures, the auditor shall gather and record the following information where applicable:

 1.Exterior opaque wall area, including present level of wall insulation;

 2.Type and condition of exterior window and door areas;

 3.Ceiling area, including present level of attic insulation;

 4.Floor area, including present level of floor insulation, if any;

 5. Water heater size, age, and type;

 6.Air conditioning system type, size, age, fuel type, and duct condition;

 7. Heating system type, size, age, and fuel type; and

 8. Other items as appropriate.

 (d) For Class A Audits, using the data gathered pursuant to paragraph (7)(c), the auditor shall provide the customer with a result sheet showing:

1.An estimate of the potential energy and cost savings of each applicable conservation measure;

2.An estimate of the total installation cost for each applicable conservation measure, both by the customer and by a contractor;

3.An estimate of the expected payback time for the customer's cost of purchasing and installing each applicable conservation measure, calculated using the anticipated percentage change in energy costs;

4.An example calculation which clearly indicates that total energy cost savings from the installation of more than one conservation measure could be less than the sum of energy cost savings of each individually installed conservation measure; and

5.An explanation of the availability of energy conservation and load management programs.

 (8) Energy Audit Disclosures and Disclaimers.

 (a) Each Class A Audit result sheet shall include the following or similar statement: "The procedures used to make these installation cost and energy savings estimates are consistent with Commission rules and good engineering practices. However, the actual installation costs you incur and energy savings you realize from installing these measures may be different from the estimates contained in this audit report. Although the estimates are based on measurements of your house, they are also based on assumptions which may not be entirely correct for your household due to differing energy use patterns."

 (b) The auditor shall provide the eligible customer with a written statement of any interest, direct or indirect, which the auditor or the utility has in the sale or installation of any energy conservation measure.

 (c) Upon customer request, the auditor shall disclose the results of any prior audit of the customer's residence if such records are still available.

 (d) The results of the energy audit shall contain the following or a similar disclaimer: "The utility does not warrant or guarantee the audit findings or recommendations, nor is the utility liable as a result of the audit for the acts or omissions of any person who implements or attempts to implement those conservation measures recommended by the auditor."

 (9) Installation Arrangements.

 (a) A utility may offer installation arrangement services such as providing a list of suppliers and installers of conservation measures.

 (b) If a utility provides these services, the availability of the services shall be noted on the written results of the energy audit.

 (c) When arranging installation services pursuant to this rule, a utility shall not:

 1.Discriminate among eligible customers, suppliers, or contractors; or

 2.Arrange for installation of any measure which is not included in the utility's most recent Demand Side Management Plan approved by the Commission.

 (10) Post-Audit Inspection.

 (a) To ensure quality control, the utility performing the audit shall ensure that its recommended installations conform to quality standards.

 (b) The utility performing the installations shall be responsible for performing post-audit inspections of 10 percent of each type of energy conservation measure installed as a result of the utility's recommendation.

 (c) The utility shall reinspect a residence if a violation of materials or installation standards is found.

 (11) Program announcement.

 (a) Each utility shall send a program announcement to all eligible customers at least every six months.

 (b) The program announcement shall describe the Class A and Class B Audits, offer them to all eligible customers, and advise eligible customers of any fee charged for the audits.

 (c) A gas utility and an electric utility servicing the same geographical area are encouraged to jointly issue a single Program Announcement.

 ~~(4) Each utility shall notify its residential, commercial, and industrial customers of the availability of energy audits at least once every six months. Notification of audit availability, at a minimum, must be made by use of notices in billing statements or other means that involves direct notification to the customer. The announcement of the Residential Conservation Audits as required in Chapter 25‑17.53(3)(c) can count as one of the biannual notifications for the residential customers.~~

 (12)~~(5)~~ For every ~~each~~ customer requesting either a Class A or Class B Audit ~~an Energy Conservation Audit or an Alternative Audit~~, every ~~each~~ utility shall: ~~provide the requested audit to the customer in accordance with the provisions of Chapter 25‑17.51 through 25‑17.65, F.A.C.~~

 (a) Advise the customer as to the scope and cost of the Class A Audit;

 (b) Advise the customer as to the scope and cost of the Class B Audit;

 (c) Schedule the audit within 15 days of an eligible customer's request, as well as provide the name, title, and phone number of the auditor; and

 (d) Perform the audit within 21 days of scheduling it, unless the eligible customer requests a later date.

 ~~(6) For each customer requesting either a Commercial Audit or an Industrial Audit, each utility shall provide or arrange to provide the requested audit to the customer within 120 days of the date the customer makes the request. The utility may recover the actual expenses incurred by providing audits from those commercial or industrial customers requesting such audits.~~

 (13) Program Record Keeping.

 (a) For every audit performed, every utility shall keep for 3 years from the audit performance a record that consists of the customer's energy use for 12 months prior and 12 months after the date of the audit. The record shall list the amount of electricity and natural gas purchased for every month of both 12 month periods.

 (b) Every electric utility shall record the amount collected pursuant to Rule 25‑17.003(11)(a) in subaccounts within Account 456. Every gas utility shall record the amount collected pursuant to Rule 25‑17.003 (11)(a) in subaccounts within Account 495.

 (14) Contracts for Performing Audits. Any utility may contract with another entity to perform the audits required by this rule.

Specific Authority: 366.05(1), 350.127(2), F.S.

Law Implemented: 366.82(5), F.S.

History: New 12/2/80, formerly 25-17.03, Amended 12/30/82, 11/24/86, 5/10/93, \_\_\_\_\_\_\_\_\_\_\_.

 25‑17.051 Definitions As Used in This Part:

 ~~(1) The following acronyms apply:~~

 ~~(a) "PSC" or "Commission" refers to the Florida Public Service Commission.~~

 ~~(b) "DOE" refers to the U.S. Department of Energy.~~

 ~~(c) "DACS" refers to the Florida Department of Agriculture and Consumer Services.~~

 ~~(d) "RCS" refers to Residential Conservation Service.~~

 ~~(2) "Eligible Customer" means the owner or occupant of a residence who receives a bill for service from a utility.~~

 ~~(3) "New Customer" means the owner or occupant of a residence who becomes an eligible customer after the utility servicing that residence has distributed its initial Program Announcement.~~

 ~~(4) "Residence" means any mobile home, single family detached structure, or unit of a multi‑unit structure, which is occupied as a dwelling.~~

 ~~(5) "Utility" shall have the same definition as appears in Section 366.82(1), F.S.~~

 ~~(6) "Energy Conservation Audit" means an energy analysis of a residence in which the utility performs a comprehensive onsite evaluation of the residence in accordance with Rule 25‑17.055 and if applicable, provides installation and financing arrangements and inspections, pursuant to Rules 25‑17.053 through 25‑17.061 of this chapter.~~

 ~~(7) "Customer Assisted (Mail‑In) Audit" means an energy analysis of a residence in which the utility supplies to the eligible customer a data collection form which is completed by the customer and, upon receipt of the completed form the utility analyzes the data and submits to the customer the results of its evaluation.~~

 ~~(8) "Alternative (Walk‑Through) Audit" means an energy analysis of a residence in which a qualified auditor walks through the residence making extensive observations as to the physical structure and components, performs simplified heat gain and heat loss computations, and advises the customer of what energy conservation practices and measures would be feasible to implement.~~

 ~~(9) "Conservation Practices" refers to the following energy conservation techniques:~~

 ~~(a) Furnace efficiency maintenance and adjustments;~~

 ~~(b) Nighttime temperature setback;~~

 ~~(c) Reduction of thermostat setting in winter;~~

 ~~(d) Increase of thermostat setting in summer;~~

 ~~(e) Installation of water flow restrictors in showers and faucets;~~

 ~~(f) Reduction of hot water temperatures;~~

 ~~(g) Reduction of energy use when residence is unoccupied;~~

 ~~(h) Plugging leaks in attics, basements, and fireplaces;~~

 ~~(i) Sealing leaks in pipes and ducts;~~

 ~~(j) Efficient use of shading;~~

 ~~(k) Use of clotheslines instead of dryers;~~

 ~~(l) Cooling system efficiency maintenance and adjustments.~~

 ~~(10) "Conservation Measures" refers to the following energy conservation techniques:~~

 ~~(a) Replacement of furnaces or boilers;~~

 ~~(b) Replacement of central air conditioning;~~

 ~~(c) Caulking of windows and/or doors;~~

 ~~(d) Weatherstripping of windows and or doors;~~

 ~~(e) Installation of duct or pipe insulation;~~

 ~~(f) Use of water heater insulation;~~

 ~~(g) Use of heat‑reflective, heat gain retardant, and heat‑absorbing window or door material;~~

 ~~(h) Installation of clock thermostats;~~

 ~~(i) Installation of wall insulation;~~

 ~~(j) Installation of ceiling insulation;~~

 ~~(k) Replacement of furnace burner (oil);~~

 ~~(l) Replacement of resistance heat with heat pump or natural gas furnace;~~

 ~~(m) Installation of load management devices, where load management rates are offered;~~

 ~~(n) Installation of waste heat recovery water heating systems;~~

 ~~(o) Insertion of plastic window panels;~~

 ~~(p) Installation of storm or thermal windows;~~

 ~~(q) Installation of floor insulation;~~

 ~~(r) Installation of heat pump or natural gas water heaters;~~

 ~~(s) Use of any of the following renewable resource measures:~~

~~1.Solar or domestic water heating;~~

~~2.Solar swimming pool heating (where pools are presently heating with a non‑renewable resource).~~

 ~~(11) "Cost‑effective" means that the present value of the savings realized over the next 10 years by implementation of the conservation measure is greater than or equal to the present value of the cost of implementing the measure.~~

 ~~(12) "State Plan" means the Florida Residential Conservation Service State Plan, dated June 3, 1981, prepared by the Governor's Energy Office and the Commission and submitted to the United States Department of Energy.~~

 ~~(13) "Five‑Star Rating System" means a simplified summary which expresses audit results with zero to five stars denoting the energy efficiency of the residence relative to the potential to improve its energy efficiency.~~

Specific Authority: 366.05(l), 366.82(l)(5), F.S.

Law Implemented: 366.82, F.S.

History: New 5/4/80, Amended 12/6/80, 9/28/81; transferred from 25‑6.111, except that subsections (9) and (10) were transferred from 25‑6.115, Amended 10/28/82, 2/22/84, formerly 25‑17.51, repealed \_\_\_\_\_\_\_\_\_\_.

 25‑17.052 Auditors; Minimum Qualifications.

 ~~(1) Each utility utilizing auditors to perform any type of energy conservation audit shall certify to the Commission that each auditor meets the minimum qualifications prescribed in subsection (2). The certification shall be filed with the Commission by September 30 and March 31st of each year, and a list of the auditors performing energy audits shall be attached to the certification.~~

 ~~(2)(a) In order to be qualified to perform energy audits a person must:~~

~~1.Have been trained in a program meeting the curriculum requirements of paragraph (b); and~~

~~2.Have demonstrated a proficiency in the areas enumerated in paragraph (b) through a written test or practical demonstration or both.~~

 ~~(b) The curriculum to be followed in training auditors shall include instruction in the following areas:~~

~~1.The three types of heat transfer and the effects of temperature and humidity on heat transfer;~~

~~2.General mathematics, which includes powers of ten, decimals and decimal fractions, simple equations, heat loss and heat gain computations utilizing British Thermal Units (BTUs), and cost effectiveness computations;~~

~~3.Utility billing procedures, KWH meter reading, and how to determine weather sensitive consumption relations in the billing history of customers;~~

~~4.Residential construction terminology and components;~~

~~5.The operation of heating and cooling systems used in residential buildings;~~

~~6.The different energy conservation practices and conservation measures and the advantages, disadvantages and applications of each and installation standards published in the Federal Register under Subpart I of the RCS Final Rule (10 CFR, Part 456, 44FR64602, November 7, 1979), which apply to those measures or practices; and~~

~~7.The nature of solar energy and of residential applications including: Insulation; shading; heat capture and transport; and heat transfer for hot water and space heating where appropriate.~~

~~8.The pertinent auditing procedures, as prescribed by Rule 25‑17.055, for each applicable practice and measure, including a working ability to calculate the steady state efficiency of a furnace or boiler as required by Rule 25‑17.057(3)(b).~~

 ~~(3) Any auditor who was utilized by a utility prior to the effective date of these rules shall be deemed to be qualified if:~~

 ~~(a) The auditor has successfully completed a training course that substantially covered the areas enumerated in paragraph (2)(b); and~~

 ~~(b) The auditor has demonstrated acceptable proficiency and conduct when performing an energy audit.~~

Specific Authority: 366.05(1), 366.82(7), F.S.

Law Implemented: 366.82(7), F.S.

History: New 10/28/82, formerly 25‑17.52, repealed \_\_\_\_\_\_\_.

 25‑17.053 Program Announcement.

 ~~(1) The program announcement shall:~~

 ~~(a) List the energy conservation measures, detail their applicability, and express in dollars or percentages an estimation of energy cost savings which reasonably can be expected over a period of time for a specified type of residence;~~

 ~~(b) List the energy conservation practices, state that they are of low or no cost and express in dollars or percentages an estimation of energy cost savings which reasonably can be expected over a specified period of time from the adoption of individual practices or combination of practices;~~

 ~~(c) Describe the Energy Conservation Audit, and offer it to all eligible customers, advising them that they may contact the utility and receive the audit. If any fee is charged for the audit, the announcement shall state the amount charged.~~

 ~~(d) Describe and offer the eligible customers an alternative audit and/or the customer assisted audit;~~

 ~~(e) Contain the following or a comparable statement regarding the five‑star rating system: "Audit results will include an evaluation of the energy efficiency of your residence, according to a five‑star rating system. The five‑star rating lets you compare the energy efficiency of your home with that of other residences. Owners of the most energy efficient homes, those qualifying for a five‑star rating, and owners of homes above average in energy efficiency, those earning a four‑star rating, will receive a certificate attesting to their home's efficiency. The auditor will also provide a list of the steps you can take to increase your home's efficiency to qualify for either a four or five‑star rating." The statement may appear on a separate sheet of paper included with the program announcement.~~

 ~~(f) Explain the procedure for an eligible customer to follow when requesting any audit.~~

 ~~(g) Include the following disclosure or its equivalent; "Energy savings depend on many factors. The estimates contained in the Program Announcement are based on estimates for typical houses. Your costs and savings will be different if your house is a different size or type, if your family is a different size, or if your energy using habits are different from those we assumed. The energy conservation audit which we offer will provide more specific estimates for your home";~~

 ~~(h) If applicable, describe the arrangement services offered by the utility pursuant to Rule 25‑17.061;~~

 ~~(i) If applicable, state and briefly describe the fact that conciliation and redress procedures will be afforded the customer who is dissatisfied with materials, contractors, or loans secured through DACS lists of suppliers, contractors or lenders.~~

 ~~(2) By January 15, 1981, each utility shall submit to the Commission staff the full contents of its proposed program announcement. If by February 1, 1981, the Commission staff has failed to call to the utility's attention any defects in its contents, the program announcement of that utility will be deemed satisfactory for distribution.~~

 ~~(3) Mailing:~~

 ~~(a) Unless otherwise authorized by Commission order upon good cause shown, by April 1, 1981 each utility shall send its program announcement to all its eligible customers;~~

 ~~(b) After sending the program announcement pursuant to paragraphs (a) and (c) of this subsection, each utility shall send its current program announcement to each new customer within sixty days of the customer's initiation of service;~~

 ~~(c) Every two years after the initial mailing, the utility shall send a current program announcement to all its eligible customers;~~

 ~~(d) For the purpose of this rule only, a gas utility and an electric utility servicing the same geographical area may issue jointly a single Program Announcement.~~

Specific Authority: 366.05(l), 366.82(l),(5), F.S.

Law Implemented: 366.82, F.S.

History: New 5/4/80, Amended 12/16/80, Transferred from 25‑6.113, Amended 10/28/82, 2/22/84, formerly 25‑17.53, repealed \_\_\_\_\_\_\_\_.

 25‑17.054 Energy Audit; Offer and Initial Contact.

 ~~(1) Each utility shall offer an Energy Conservation Audit to its eligible customers.~~

 ~~(2) Each utility shall also offer its eligible customers either the customer assisted (mail‑in) audit or the alternative (walk‑through) audit, provided however, that neither of these audits shall be in lieu of or a prerequisite to the Energy Conservation Audit offer requirement described in subsection (l) of this rule.~~

 ~~(3) Upon the request of an eligible customer for any energy audit described in this chapter or for an evaluation under the five‑star rating system, the utility shall:~~

 ~~(a) Advise the customer as to the scope and cost of the Energy Conservation Audit; and~~

 ~~(b) Advise the customer as to the existence and scope of the alternative audit and/or the customer assisted audit; or~~

 ~~(c) Provide the rating developed under the five‑star rating system. If the customer was previously audited, the five‑star rating may be developed from existing audit records.~~

 ~~(4) If an eligible customer requests an Energy Conservation Audit, the utility shall, within 15 days of the request, schedule the audit and advise the customer of the date of the audit, as well as the title and/or name and phone number of the auditor.~~

 ~~(5) Unless the eligible customer requests a later date, the utility shall perform the Energy Conservation Audit within 21 days of scheduling it pursuant to subsection (4) of this rule.~~

Specific Authority: 366.05(l), 366.82(l),(5), F.S.

Law Implemented: 366.82, F.S.

History: New 5/4/80, Amended 12/16/80, Transferred from 25‑6.114, Amended 10/28/82, 2/22/84, formerly 25‑17.54, repealed \_\_\_\_\_\_\_\_\_.

 25‑17.0545 Contracts for Performing Audits. ~~Any utility may contract with another entity to perform the audits required by these rules.~~

Specific Authority: 366.05(1), 368.82(1)(5), F.S.

Law Implemented: 366.82, F.S.

History: New 10/28/82, formerly 25‑17.545, repealed \_\_\_\_\_\_\_\_.

 25‑17.055 Performance of the Energy Conservation Audit.

 ~~(1) Pre‑performance criteria.~~

 ~~(a) Each utility shall adopt procedures to assure that estimates of energy cost savings and costs for conservation measures are based on:~~

 ~~1. Typical and recent local prices for materials and installation; and~~

 ~~2. Typical local climate data for the audited residence.~~

 ~~(b) At least semi‑annually, each utility shall update the data collected pursuant to paragraph (1)(a).~~

 ~~(c) When computing payback time, the utility shall calculate and use the anticipated percentage change in energy costs.~~

 ~~(d) The utility shall use only DOE approved methodologies and assumptions when performing the Energy Conservation Audit. The utility shall submit certification of compliance with this paragraph to the Commission.~~

 ~~(2) The Energy Conservation Audit:~~

 ~~(a) Upon arrival at the residence of the eligible customer, the auditor shall furnish proper identification and confirm that the customer understands the scope and cost of the Energy Conservation Audit. The auditor shall collect the fee or arrange for billing pursuant to Rule 25‑17.059(l)(a).~~

 ~~1. The auditor shall discontinue or decline to perform the audit if the customer, at any time, objects to its performance.~~

 ~~2. The auditor may discontinue or decline to perform the audit if the auditor determines that continuation of the audit presents some danger to him or her.~~

 ~~3. In either event described in sub‑paragraph 1 or 2 the auditor shall record the reason for the incomplete audit.~~

 ~~(b) The auditor shall determine which of the conservation practices are applicable, explain those practices to the customer, emphasize their importance, and recommend that the customer apply them before or in addition to any conservation measure.~~

 ~~(c) With regard to determining appropriate conservation measures, the auditor shall gather and record the following information where applicable:~~

 ~~1. Exterior opaque wall area and present level of insulation.~~

 ~~2. Exterior window and door areas, type and condition.~~

 ~~3. Ceiling area and present level of insulation.~~

 ~~4. Floor area and present level of insulation.~~

 ~~5. Water heater size, age and type.~~

 ~~6. Air conditioning system type, fuel, approximate age, size and duct condition.~~

 ~~7. Heating system type, fuel, approximate age, and size.~~

 ~~8. Other items as appropriate.~~

 ~~(d) Using the data gathered pursuant to paragraph (c), and determining applicability of each conservation measure, the auditor shall make calculations designed to arrive at an estimation of the potential energy and overall cost savings to the customer who installs the appropriate conservation measures.~~

 ~~1. The auditor shall make calculations with reference to the appropriate building materials, heat transfer data, appliance efficiency data, energy and/or demand costs, and retrofit costs.~~

 ~~2. The auditor shall evaluate for the conservation measure listed in Rule 25‑17.051(10)(p) and (q) only in regions with 1,000 or more heating degree days per year. The auditor shall evaluate for the conservation measure listed in Rule 25‑17.051(10)(o) in areas with fewer than 1,000 heating degree days per year only upon customer request.~~

 ~~3. The auditor may not evaluate for conservation measures listed in Rule 25‑17.051(10)(a) or (k) unless the evaluation is done in compliance with Rule 25‑17.057(3)(a) and (b).~~

 ~~(e) Based upon the information from paragraphs (c) and (d) above, the auditor shall calculate the residence's rating under the five‑star rating system and provide the rating to the customer, in writing, along with the more detailed audit results.~~

Specific Authority: 366.05(l), 366.82(l), (5), F.S.

Law Implemented: 366.82, F.S.

History: New 5/4/80, Amended 12/16/80, Transferred from 25‑6.115, 25‑6.115(3)(a), transferred to 25‑17.51(9), 25‑6.115(3)(c), transferred to 25‑17.51(10), Amended 10/28/82, 2/22/84, 5/20/92, formerly 25‑17.55, repealed \_\_\_\_\_\_\_\_\_.

 25‑17.0555 The Five‑Star Rating System.

 ~~(1) Each utility shall use the procedures outlined in this rule to develop a five‑star rating system to provide the results of an Energy Conservation Audit or an Alternative (walk‑through) Audit according to a simplified rating scale. A rating under the five‑star rating system may be based only on audit forms that reference conversion of electric strip house heating or water heating to natural gas heating in addition to other measures. Where an audit has already been conducted, a rating under the five‑star rating system may be based on a non‑complying audit form if the audit is revised to include references to natural gas conversions and the customer is so informed.~~

 ~~(a) A point system shall be developed to relate each conservation measure evaluated in the Energy Conservation Audit or Alternative (walk‑through) Audit to a percentage saving in annual energy consumption. The "base" residence shall be considered to have the potential for an improvement of 100% in its energy efficiency, and shall be assigned a value of 100 points. A home which would result in audit findings that all conservation measures had been taken will be considered to have a potential for an improvement of 0% in its energy efficiency, and will be assigned a value of zero points.~~

 ~~(b) The points determined in accordance with paragraph (a) above, shall be converted to a five‑star rating according to the following relationship:~~

 ~~0‑20 Points, 5 Stars; 21‑40 points, 4 Stars; 41‑60 points, 3 Stars; 61‑80 points, 2 Stars; 81‑100 points, 1 Star; 101 or more points, 0 Stars.~~

 ~~A higher number of stars denotes a more efficient home, with the five‑star rated home being the most efficient.~~

 ~~(2) The auditor shall provide the customer with the residence's star rating under the five‑star rating system, but shall not provide the number of points used in developing the five‑star rating unless otherwise required under the provisions of Chapter 119, Florida Statutes (Public Record Law).~~

 ~~(a) Within one week of the completion of the audit, a four‑star or five‑star certificate shall be provided to the customer whose residence qualifies for such a rating. No certificate shall be provided for a residence qualifying for less than four stars.~~

 ~~(b) The auditor shall inform the customer, in writing, of those conservation measures or combination of measures needed to be taken to qualify the audited residence for an award of a four‑star or five‑star certificate. This may be accomplished by written notation on the detailed audit results given to the customer upon completion of the audit.~~

 ~~(c) The auditor shall inform the customer, in writing, of the procedure by which the customer may certify to the utility that installations of conservation measures have been completed to upgrade the residence to qualify for a four‑star or five‑star certificate.~~

 ~~(d) Each utility shall initiate its five‑star program no later than June 1, 1984 and shall file the initial data required by Rules 25‑17.064(2)(k) and 25‑17.065(l)(e), F.A.C., concurrent with the June l, 1985 annual report required under Rule 25‑17.064(2).~~

Specific Authority: 366.05(l), 366.82(l), (5), F.S.

Law Implemented: 366.82, F.S.

History: New 2/22/84, formerly 25‑17.555, repealed \_\_\_\_\_\_\_\_.

 25‑17.056 Program Inspections.

 ~~This rule only applies to installations of conservation measures which were arranged by a utility pursuant to Rule 25‑17.061, F.A.C.~~

 ~~(1) To ensure quality control, and upon notification by the eligible customer that an audit recommended installation has occurred, the utility shall perform random inspections of conservation measures installed as a result of the utility's recommendation.~~

 ~~(2) Prior to performing any inspection under this rule, the utility shall submit to Commission staff:~~

 ~~(a) Assurance that all persons performing post‑installation inspections have received training and are qualified to determine whether the installation is in compliance with the standards prescribed in subsection (6); and~~

 ~~(b) The procedure it intends to use to ensure randomness. Procedures not rejected by the Commission staff within two weeks of submission shall be deemed approved.~~

 ~~(3) The utility shall inspect four of each contractor's first ten installations of ceiling insulation, wall insulation, floor insulation, and domestic solar water heating systems. The utility shall inspect at least one installation of each contractor of conservation measures.~~

 ~~(4) The utility shall inspect ten precent of all energy conservation measures that are installed as a result of the utility's recommendation. Inspections performed pursuant to subsection (3) shall be included to meet the requirement imposed by this subsection.~~

 ~~(5) All post‑installation inspections will be conducted by a qualified inspector with no financial interest in the contractor who installed the measure unless the contractor is the utility.~~

 ~~(6) The inspector will investigate to determine if the installation was accomplished in conformance with the applicable installation standards published in the Federal Register under Subpart I of the RCS Final Rule (10 CFR Part 456, 44FR64602, November 7, 1979), or, in the case of domestic solar hot water and domestic solar pool heating systems, in accordance with the Florida Standard Practices for Design and Installation of Solar Domestic Hot Water and Pool Heating Systems, promulgated by the Florida Solar Energy Center effective March 1, 1981.~~

 ~~(7) The utility shall provide a reinspection if a violation of materials or installation standards is found.~~

 ~~(8) The utility shall report the results of the inspection to the eligible customer, the installer and DACS within two weeks of the inspection. The report shall contain any customer complaint concerning the installation.~~

Specific Authority: 366.05(l), 366.82(l), (5), F.S.

Law Implemented: 366.82, F.S.

History: New 5/4/80, Amended 12/16/80, Transferred from 25‑6.116, Amended 10/28/82, formerly 25‑17.56, repealed \_\_\_\_\_\_\_\_.

 25‑17.057 Energy Conservation Audit Results.

 ~~(1) Unless an alternative method is authorized by Commission order upon good cause shown, the auditor shall make recommendations and provide the audit results and any recommendations to the customer, on site, in writing, and in person, upon completion of the audit, unless the customer is not present at the time of the audit or otherwise declines in‑person presentations.~~

 ~~(2) The auditor shall provide the customer with:~~

 ~~(a) The estimated energy and overall cost savings that would likely result from each applicable energy conservation measure, in accordance with or except as provided in subsection (3) of this rule;~~

 ~~(b) An estimation of the total installation cost for each conservation measure, as provided in subsection (4) of this rule;~~

 ~~(c) The annual ordinary maintenance cost, if any, for each conservation measure;~~

 ~~(d) The first year's energy savings in dollars or a range of dollars for each conservation measure;~~

 ~~(e) The expected time of payback as provided in subsection (5) of this rule;~~

 ~~(f) A clear indication via sample calculations or disclosure, that the total energy cost savings from the installation of more than one energy conservation measure could be less than the sum of energy cost savings of each conservation measure installed individually;~~

 ~~(g) An explanation of the availability, if any, of innovative energy conservation rate structures or load management techniques offered by the utility;~~

 ~~(h) A sample calculation of the effect of federal and/or state tax benefits on the cost to the customer of installing at least one applicable energy conservation measure and, where possible, one or more renewable resource measure.~~

 ~~(3)(a) Except as provided in this paragraph, the auditor may not provide cost and savings estimations for furnace efficiency modifications described in Rule 25‑17.051(10)(a) and (k), unless the furnace uses primarily a source of energy supplied by the utility performing the audit. Absent such use, the auditor shall provide cost and savings estimations for furnace efficiency modifications if the customer requests them and if the customer agrees to sign the following statement: "If your home is heated by a source of fuel other than (state the type of fuel supplied by the utility), only the supplier of your fuel may audit your furnace unless you specifically request us to do so. Federal law requires that such a request be in writing. If you want us to audit your furnace, although we do not supply the fuel it uses, please sign below."~~

 ~~(b) With regard to the conservation measure listed in Rule 25‑17.051(10)(a) and (k), the auditor shall base any cost and savings estimations on an evaluation of the seasonal efficiency of the boiler or furnace. Seasonal efficiency shall be based on estimated peak (tuned up) steady state efficiency corrected for cycling losses. Steady state efficiency shall be derived from manufacturer's design data and observation of the furnace components or, alternatively, by a flue gas analysis of measured flue gas temperature and carbon dioxide content, or by procedures set forth by DOE in "Final Energy Conservation Test Procedures," 43 Federal Register, 20128, 20147.~~

 ~~(4)(a) Except as provided in paragraph (b), the auditor shall provide an estimation of the total installation cost for each conservation measure which reflects the customer's installing it himself or herself and which reflects the cost to the customer of having the measure installed by a contractor.~~

 ~~(b) With regard to the replacement of central air conditioners and wall insulation, the auditor may not provide an estimation of its installation cost which reflects the customer's self installation of the measure.~~

 ~~(5) The auditor shall provide to the customer an estimation of the expected time for payback of the customer's cost of purchasing and installing any conservation measure.~~

 ~~(a) Except as provided by Commission order, all payback computations shall be based on the anticipated percentage change in energy bills as calculated by the utility in compliance with Rule 25‑17.055(1)(c). The utility shall compute the applicable rate for each succeeding year by January 31st of that year.~~

 ~~(b) For ceiling insulation, the auditor shall calculate the payback period for at least one increased level of insulation either to or above R.19 or, for residences with resistance heat systems in regions having 1,000 or more heating degree days per year, to or above R‑22. Such calculations shall be in increments of R‑11. The auditor may calculate payback periods for other levels of insulation if the customer so requests or if the utility believes higher levels would be cost effective. Auditors shall express recommendations in terms of R values and not in inches.~~

Specific Authority: 366.05(1), 366.82, F.S.

Law Implemented: 366.82, F.S.

History: New 5/4/80, Amended 12/16/80, Transferred from 25‑6.117, Amended 10/28/82, 5/20/92, formerly 25‑17.57, repealed \_\_\_\_\_\_\_.

 25‑17.059 Energy Conservation Audit Charges, Disclosures, and Disclaimers.

 ~~(1) Charges.~~

 ~~(a) The utility may charge the eligible customer for the Energy Conservation Audit. If any charge is made, it shall not exceed $15.00 and the amount to be charged shall first be filed with the Commission as part of the utility's tariff. The utility shall allow the customer the option of: paying by personal check, money order, or cash at the time of the audit; or being charged the audit cost on his or her utility bill.~~

 ~~(b) The utility may not charge for performance of the customer assisted audit.~~

 ~~(c) The utility may charge for an alternative (walk‑through) audit. However, any charge imposed by a utility for performance of a walk‑through audit shall first be filed with the Commission as a part of the utility's tariff. The charge shall not exceed $5 per audit. The utility shall submit their procedure for conducting a walk‑through audit to the Commission for approval prior to conducting these audits.~~

 ~~(2) Disclosures.~~

 ~~(a) Each energy conservation audit result sheet shall include a statement to the following effect: "The procedures used to make these estimates are consistent with U.S. Department of Energy criteria for residential energy audits and have been or will be evaluated by the department for accuracy. However, the actual installation costs you incur and energy savings you realize from installing these measures may be different from the estimates contained in this audit report. Although the estimates are based on measurements of your house, they are also based on assumptions which may not be totally correct for your household due to energy use patterns."~~

 ~~(b) The auditor shall provide the eligible customer with a written statement of any interest which the auditor or the utility has directly or indirectly in the sale or installation of any energy conservation measure. However, if the utility supplies, installs or finances the sale of any energy conservation measure, this subsection shall not operate to prohibit the auditor from advising the eligible customer of that fact.~~

 ~~(c) Upon request of the customer, the auditor shall disclose the results of any prior energy conservation audit of the customer's residence for which records are still available.~~

 ~~(3) The results of the energy conservation audit shall contain the following or a similar disclaimer: "The utility does not warrant or guarantee the audit findings or recommendations nor is the utility liable as a result of the audit for the acts or omissions of any person who implements or attempts to implement those conservation measures found and recommended as cost effective by the auditor."~~

Specific Authority: 366.05(1), 366.82(1), F.S.

Law Implemented: 366.82, F.S.

History: New 5/4/80, Amended 12/16/80, Transferred from 25‑6.119, Amended 10/28/82, formerly 25‑17.59, repealed \_\_\_\_\_\_\_\_.

 25‑17.061 Financing and Installation Arrangements.

 ~~(1) General Provisions.~~

 ~~(a) All utilities, except those not subject to the state plan adopted pursuant to section 366.82(6), F.S., shall offer installation and financing arrangement services to their eligible customers.~~

 ~~(b) Utilities subject to this rule shall note the availability of these services in the Program Announcement and on the written results of the energy conservation audit.~~

 ~~(c) Upon completion of the Energy Conservation Audit, or within 10 days of any request for the list by an eligible customer with a list of lending institutions and a list of suppliers and installers operating within the vicinity of the customer and appearing on the lists of lenders, suppliers, and contractors promulgated by DACS for that service area.~~

 ~~(d) When arranging financing and/or installation pursuant to this rule, the utility may not:~~

 ~~1. Discriminate among eligible customers, suppliers, contractors, conservation measures, or lending institutions;~~

 ~~2.Arrange financing for and/or installation of any measure which is not a conservation measure:~~

 ~~3. Arrange financing for and/or installation with a contractor who does not appear on the lists promulgated by DACS.~~

 ~~(e) For the purpose of this subsection, the term "in the vicinity" refers to the county in which the customer resides and/or, upon customer request, an adjacent county.~~

 ~~(2) Financing Arrangement.~~

 ~~(a) Upon request, the utility shall offer financing arrangement services to any eligible customer who indicates a desire to install an energy conservation measure or several conservation measures.~~

 ~~(b) The utility shall attempt to answer any questions the customer may have regarding the nature of the financing arrangement service.~~

 ~~(c) If requested to do so by the eligible customer, the auditor or utility shall assist in the completion and/or submission of the customer's application to no fewer than three lending institutions described in paragraph (c) of subsection (1) of this rule.~~

 ~~(3) Installation Arrangements.~~

 ~~(a) The auditor shall offer this service to the customer upon request or at the time of an audit.~~

 ~~(b) If requested to do so by the eligible customer, the utility shall contact three installers within fifteen working days of the request, describe the job, and request that the installers contact the customer with a bid.~~

 ~~(c) If none of the installers offer the customer a bid and if the customer requests additional assistance, the utility shall contact two different installers in the same manner and for the same purpose as detailed in paragraph (b) of this subsection. This paragraph shall not be construed to require the utility to provide additional assistance more than a single time.~~

 ~~(d) Nothing in this subsection shall operate to preclude the Commission from approving, by order, alternative methods for the utility's compliance with this installation arrangement requirement.~~

Specific Authority: 366.05(1), 366.82(5), F.S.

Law Implemented: 366.82, F.S.

History: New 12/17/80, Amended 10/28/82, formerly 25‑17.61, repealed \_\_\_\_\_\_\_\_\_.

 25‑17.064 Program Work Plans and Reports.

 ~~(1) By January 15, 1981, each utility shall submit its work plan to the Commission staff. The work plan shall explain in detail how the utility intends to implement the RCS Program. The work plan shall describe:~~

 ~~(a) Auditor training;~~

 ~~(b) Management procedures developed for conducting the audits, including but not limited to scheduling and backup procedures for peak periods;~~

 ~~(c) Arrangement services for installation and financing, if applicable;~~

 ~~(d) Audit algorithms (sample calculations) or evidence that the utility's audit routine has been approved by DOE;~~

 ~~(e) Audit data gathering format;~~

 ~~(f) Audit results presentation format;~~

 ~~(g) Labor and material cost derivation tables to be used in audit calculations;~~

 ~~(h) Inspections reporting procedures and forms.~~

 ~~(i) Any alternative audit, its cost to the utility and the utility's proposed charge to the customer for that audit.~~

 ~~(2) Beginning June 1, 1981 and annually thereafter through June 1, 1986, each utility shall submit to the Commission staff a report of its activities pursuant to the RCS Program. The report shall be submitted on a form to be supplied by the Commission. The report shall include: a brief summary of program results up to April 1st of the year in which it is submitted and should, if applicable, identify such items as customer receptivity to the program and customer willingness to adopt energy conservation practices and measures. The report shall also detail the:~~

 ~~(a) Number of Program Announcements sent during the reporting period;~~

 ~~(b) Number of energy conservation audits offered during the reporting period;~~

 ~~(c) Number of eligible customers requesting an Energy Conservation Audit;~~

 ~~(d) Number of Energy Conservation Audits scheduled during the reporting period;~~

 ~~(e) Number of Energy Conservation Audits performed during the reporting period;~~

 ~~(f) Number of alternative audits requested by and/or performed for eligible customers;~~

 ~~(g) Number of customer assisted audits requested by and/or performed for eligible customers;~~

 ~~(h) Approximate number of eligible customers for whom the utility is the primary supplier of heating fuel;~~

 ~~(i) Number of installations arranged by the utility;~~

 ~~(j) Number and function of persons assigned by the utility to participate in the program;~~

 ~~(k) Number of four‑star and five‑star award certificates issued during the reporting period;~~

 ~~(l) Cost incurred by the utility in providing each service (i.e., auditing, publicity, financing) including separately the costs paid by the individual customers for services received and costs paid by all ratepayers.~~

 ~~(m) Number and nature of complaints made to the utility by eligible customers against suppliers, installers, and/or lenders;~~

 ~~(n) Number and results of past‑installation inspections.~~

Specific Authority: 366.05(1), 366.82(5), F.S.

Law Implemented: 366.82, F.S.

History: New 5/4/80, Amended 12/16/80, Transferred from 25‑6.124, Amended 10/28/82, 2/22/84, formerly 25‑17.64, repealed \_\_\_\_\_\_\_\_.

 25‑17.065 Program Recordkeeping.

 ~~(1) For at least five years from the date of a request each utility shall maintain:~~

 ~~(a) The name and address of each customer who receives any audit;~~

 ~~(b) A record of the data collected during the audit and a record of the estimates of cost and savings presented to the customer;~~

 ~~(c) A record of all requests by eligible customers for furnace audits;~~

 ~~(d) The name and address of each eligible customer from whom the utility arranges installation and/or financing of a single or several conservation measures.~~

 ~~(e) A record of the rating awarded under the five‑star rating system.~~

 ~~(2) Where an eligible customer primarily purchases his or her energy needs from the utility performing the energy conservation audit, the utility shall keep a record of the amount of electricity and/or natural gas purchased each month by the customer. The utility shall keep that record for the lesser of two years or the duration of the customer's continued ownership or occupancy of the residence which received an audit. The record shall consist of those energy amounts used by the customer for twelve months prior and for twelve months after the date of the audit where the customer maintains the residence for that duration.~~

 ~~(3) Each electric utility shall retain monies collected pursuant to Rule 25‑17.059(1)(a) in subaccounts within Account 456. Each gas utility shall retain monies collected pursuant to Rule 25‑17.059(1)(a) in subaccounts within Account 495.~~

Specific Authority: 366.05(1), 366.82(5), F.S.

Law Implemented: 366.82, F.S.

History: New 5/4/80, Amended 12/16/80, Transferred from 25‑6.124, Amended 10/28/82, 2/22/84, formerly 25‑17.65, repealed \_\_\_\_\_\_\_\_\_.

AUDIT#6.MAH