BEFORE THE PUBLIC SERVICE COMMISSION

JEA

TESTIMONY OF MYRON R. ROLLINS

DOCKET NO. 990720-EG

NOVEMBER 15, 1999

Q	Please state your name and address.

A	My name is Myron R. Rollins.  My business address is 11401 Lamar, Overland Park, Kansas 66211.

Q	By whom are you employed and in what capacity?

A	I am employed by Black & Veatch as a Project Manager in the Energy Services Group of the Power Division.

Q	Please describe your responsibilities in that position.

A	As a Project Manager in the Energy Services Group, I am responsible for managing various projects for utility and non-utility clients.  These projects encompass a wide variety of services for the power industry.  The services include load forecasts, conservation and demand-side management, reliability criteria and evaluation, development of generating unit addition alternatives, fuel forecasts, screening evaluation, production cost simulation, optimal generation expansion modeling, economic and financial evaluation, sensitivity analysis, risk analysis, power purchase and sales evaluation, strategic considerations, analyses of the effects of the 1990 Clean Air Act Amendments, feasibility studies, qualifying facility and independent power producer evaluations, power market studies and power plant financing.

Q	Please state your professional experience and educational background.

A.	I received a Bachelors of Science degree in Electrical Engineering from the University of Missouri – Columbia.  I also have two years of graduate study in nuclear engineering at the University of Missouri – Columbia.  I am a licensed professional engineer and a Senior Member of the Institute of Electrical and Electronic Engineers.

I have been employed by Black & Veatch since 1976 in the Power Sector Advisory Services area.  In the last ten years, I have been the project manager for over 100 projects.  I have conducted a majority of my work for Florida utilities.  Florida utilities for which I have worked include City of Lakeland-Department of Electric Utilities, Kissimmee Utility Authority, Florida Municipal Power Agency, Orlando Utilities Commission, JEA, City of St. Cloud, Utilities Commission of New Smyrna Beach, Sebring Utilities Commission, City of Homestead, Florida Power Corporation and Seminole Electric Cooperative.

I attempt to stay abreast of Florida Public Service Commission (PSC) proceedings.  For instance, I was the Project Manager for projects that prepared or provided input to the preparation of 1999 Ten Year Site Plans for Kissimmee Utility Authority, City of Lakeland, Orlando Utilities Commission and JEA.  I have previously presented testimony before the PSC for the Stanton 1 & 2 and AES-Cedar Bay need for power certification and had my testimony stipulated for Kissimmee Utility Authority and Florida Municipal Power Agency’s Cane Island Unit 3 need for power certification and The City of Lakeland’s McIntosh Unit 5 need for power certification.  I have also participated in the preparation of testimony for the Seminole Electric’s Hardee County Combined Cycle Project, the Cypress Project and the Hines Energy Center Project need for power certifications.

Q	Please describe the overall process leading to the determination of the proposed numeric conservation goals for JEA?

A	Six major steps were taken to determine the proposed numeric conservation goals for JEA.  First, DSM measures with the highest potential of being cost-effective were chosen.  Second, the avoided cost was established.  Third, the selected DSM measures were cost-effectively analyzed against the avoided costs.  Fourth, the results were analyzed.  Fifth, the proposed numeric goals were set based on the results of the analyses.  Sixth, program implementation processes were developed.

Q	What is the purpose of your testimony in this proceeding?

A	The purpose of my testimony is to address steps one through five.  In my testimony, I will discuss the selection of the measures to be tested, the determination of the avoided costs, and methodology used to evaluate the cost-effectiveness of these goals.   I will also discuss economic assumptions used in the evaluations as well as the fuel price projections used.  I will show that JEA has adequately explored demand side programs and is proposing appropriate goals.

Q	Was the JEA 2000 Demand Side Management Plan (Exhibit JEA-1) prepared by you or under your direct supervision?

A	Yes.

Q	Are you adopting these Sections as part of your testimony?

A	Yes, I am adopting sections 1.0 through 6.0 and Appendices A and B as part of my testimony.

Q	Are there any corrections to these Sections?

A	No.

Q	Please describe the evaluation process by which JEA determined the demand side management measures for cost effectiveness analysis.

A	In order to reduce the cost of complying with this docket, JEA did not model each possible DSM measure.  Rather, JEA’s study focused on alternatives that are expected to have the highest potential in Florida for being cost-effective.   The measures were taken from JEA’s 1995 Demand Side Management Plan, JEA’s 1998 Demand Side Management Plan Annual Report, and the recent results of Florida Power & Light’s (FPL) cost-effective analysis of demand side measures associated with FPL’s 1999 goals.  These measures were compiled and used in a cost-effectiveness analysis versus JEA’s avoided unit costs.

Q	Please describe how the avoided costs were determined.

A	Avoided costs are determined by selecting an avoided unit.  The avoided unit is the unit that could potentially be avoided or delayed due to the implementation of DSM programs.

The selection of the avoided unit is based on the next planned unit for JEA for which construction has not yet begun.  Based on JEA’s 1999 Ten Year Site Plan, the next avoidable unit is the 2004 steam turbine that will be added when two combustion turbines are converted to combined cycle at Brandy Branch.

For purposes of determining the cost and performance of the avoided unit, the entire cost and performance of the converted combined cycle is considered.  This represents a very conservative assumption for the avoided unit.  In other words, the true avoided unit costs are less.  For instance the true avoided capital costs would only be the incremental capital costs required to convert the existing combustion turbines to combined cycle.  Using the higher capital cost for the entire combined cycle unit in the cost effectiveness calculations results in the conservation measures being evaluated as being more cost effective than they actually are.

Q	What type of financing has been assumed to be used for the installation of the avoided unit?

A	The avoided unit is assumed to be financed with 100% debt.  Because JEA is a municipal utility, it can issue low cost tax-free municipal bonds.  This allows the installed cost of a new unit to be extremely cost effective and cost competitive.

Q	Please describe the evaluation process by which potential DSM programs were evaluated?

A	 The process used to evaluate the cost-effectiveness of DSM programs conforms to that required in Rule 25-17.008, Fla. Admin. Code.  Specifically, the procedures used are those set forth in the Florida Public Service Commission Cost-effectiveness Manual for Demand Side Management Programs and Self Service Wheeling Proposals.  The Florida Integrated Resource Evaluator (FIRE) spreadsheet, originally developed by Florida Power Corporation, was used to assess the potential effectiveness of DSM programs.

Using the procedures specified in Rule 25-17.008 Fla. Admin. Code, FIRE provides a systematic framework for identifying the benefits and costs associated with specific DSM programs.	  Avoided utility costs are economically evaluated against DSM costs and load impacts to assess the effectiveness of the program over its useful life.  Three DSM program benefits / cost tests are produced by the FIRE model and are used in considering DSM cost-effectiveness.  These tests are the Rate Impact Test (RIM), the Total Resource Cost Test (TRC) and the Participants Test.  The results of the three cost-effectiveness tests for the DSM programs evaluated are shown in Table 5-1 of JEA’s 2000 Demand Side Management Plan.

Q	What economic parameters were assumed as inputs for the FIRE Model?

A	The economic parameters assumed represent a consistent set of economic parameters from JEA’s 1999 Ten Year Site Plan.  A general inflation rate of 2.3 percent was used.  JEA uses a forecast of the Gross Domestic Product Implicit Price Deflator as a base measure of general inflation to derive relative escalation rates for use in conservation planning and analyses.  This rate also applies to capital costs and O&M costs.  An escalation rate of 2.6 percent was used for the escalation of fuel prices based on JEA’s fuel cost projections for natural gas contained in JEA’s 1999 Ten Year Site Plan.  A long-term bond interest rate of 5.5 percent was assumed and the same interest rate was assumed for interest during construction.  These were both selected to be consistent with a 2.3 percent general inflation rate.  A fixed charge rate of 8.78 percent was developed based on the 5.5 percent bond interest rate and applied to the capital cost for a new unit addition in the evaluations.

Q	What fuel forecasts were developed or used for the FIRE Model evaluations?

A	Fuel forecasts were developed for the delivered price of natural gas.   Fuel was escalated at a rate of 2.6 percent to make the fuel price consistent with the economic assumptions in the evaluations.  The base case fuel price projection in Appendix A of JEA’s 2000 Demand Side Management Plan is the same as presented in JEA’s 1999 Ten Year Site Plan.

Q	Are the fuel price projections developed reasonable for use in evaluating different generating unit alternatives?

A	Yes.  The fuel price projections are consistent with current fuel prices for existing units at JEA and are reasonable to use to evaluate the avoided unit.

Q	Please describe the three DSM tests used to evaluate DSM programs.

A	All the DSM cost effectiveness tests are based on the comparison of discounted present worth benefits to costs for a specific DSM program.  Each test is designed to measure costs and benefits from a different perspective.

The Rate Impact Test is a measure of the expected impact on customer rates resulting from a DSM program.  The test statistic is the ratio of the utility’s benefits (avoided supply costs and increased revenues) compared to the utility’s costs (program costs, incentives paid, increased supply costs and revenue losses).  A value of less than one indicates an upward pressure on rate levels as a result of the DSM program.

The Total Resources Cost Test measures the benefit / cost ratio by comparing the total program benefits (both the participant’s and utility’s) to the total program costs (equipment costs, supply costs, participant costs).

The Participants Test measures the impact of the DSM program on the participating customer.  Benefits to the participant may include bill reductions, incentives paid, and tax credits.  Participants’ costs may include equipment costs, operation and maintenance expenses, equipment removal, etc.

Q	Which cost-effectiveness test was utilized by JEA in evaluating DSM measures?

A	All three cost effectiveness tests were calculated for each DSM measure analyzed and considered in our evaluation.  The Rate Impact Test serves as the primary test for JEA in determining the cost effectiveness of DSM measures.  In other words, JEA does not in general support DSM programs that increase rates.

Q	Please describe the selection of DSM measures for evaluation.

A	A total of 8 residential and 3 commercial potential DSM measures was evaluated to assess cost-effectiveness.  The measures were selected to ensure that all potentially cost-effective programs were evaluated.  The measures were selected from three areas of potentially cost effective measures.  First, the cost-effective measures from JEA’s 1995 Goals were selected.  Second, measures from JEA’s current DSM programs were selected.  Third, the most cost-effective measure, based on the Rate Impact Test, from FPL’s 1999 Goals was selected.  This selection process was used in order to reduce the number of measures evaluated in the FIRE model and thus the cost of complying with this docket.  This process saved evaluating numerous measures only to find that they were not cost effective.  In selecting the most cost-effective measure evaluated by FPL, it was reasoned that if the most cost effective FPL measure evaluated was not cost effective, then none of the hundreds of measures that were evaluated by FPL would be cost effective.

Q	Please describe the results of the analysis undertaken to evaluate the cost effectiveness of potential DSM measures.

A	None of the measures evaluated was cost effective based on the Rate Impact Test.

Q	Does it surprise you that no DSM measures proved to be cost effective for JEA?

A	No.  I didn’t expect any DSM measures to be cost effective for JEA.

Q	Why did you not expect any DSM measures to be cost effective?

A	I had recently evaluated dozens of DSM measures for similarly situated municipal utilities as part of the Need for Power Dockets for Cane Island Unit 3 and the combined cycle conversion of McIntosh 5.  None of the measures evaluated was cost effective.

Q	Why is it so much more difficult for DSM to be cost effective today than it was in 1995?

A	A number of things have changed to make DSM less cost effective.  For one, appliances are more efficient and building codes and practices result in more efficient buildings.  The cost of building power plants has decreased and the efficiency of power plants has increased.  In addition, fuel costs have decreased along with the projected cost of fuel.  These, along with other factors, result in DSM being less cost effective.

Q	Why do the investor owned utilities indicate that some DSM measures are cost effective while municipal utilities do not?

A	The main reason is that municipal utilities are able to use tax exempt bonds for financing the avoided unit.  Thus the cost of financing is much less for municipal utilities than it is for investor owned utilities.

Q	Does this conclude your testimony?

A	Yes.