5.0	Cost-Effective Analysis Results

5.1	Numerical Results

The numerical results from the FIRE Model analysis are listed below in Table 5-1.  Descriptions of the measures are listed in Table 3-1 of Section 3.

| Table 5-1 FIRE Model Results |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | #### Cost-Effectiveness Test Rating |  |  |
| Abbr. | DSM Measure |  | Rate Impact |  | Total Resource Cost | Participant Costs |
|  | ###### Residential |  |  |  |  |  |
| NewHoP | Constructing an Energy Efficient New Home – Professionals |  | 0.99 |  | 0.34 | 0.34 |
| # NewHoO | Constructing an Energy Efficient New Home - Home Owners |  | 0.91 |  | 0.35 | 0.36 |
| Rduct | Contractors Duct Education Program |  | 0.69 |  | 0.75 | 1.13 |
| HEPP | High Efficiency Pool Pump |  | 0.35 |  | 0.78 | 2.56 |
| RRefri | Remove Second Refrigerator |  | 0.34 |  | 26.90 | 1.00 |
| RFreezer | Remove Second Freezer |  | 0.34 |  | 25.03 | 1.00 |
| JHP | Low-Income Residential Audit - Jacksonville Housing Partnership |  | 0.43 |  | 14.19 | 1.00 |
| JHA | Low-Income Residential Audit - Jacksonville Housing Authority |  | 0.44 |  | 13.75 | 1.00 |
|  | ###### Commercial/Industrial |  |  |  |  |  |
| ADS | Uncontrolled Airflow in Non-Residential Buildings |  | 0.41 |  | 0.88 | 2.24 |
| CCEL | Commercial Energy Efficient Lighting |  | 0.61 |  | 9.39 | 27.08 |
| OPBC | Off Peak Battery Charging – FPL |  | 0.48 |  | 1.42 | 0.67 |

5.2	Analysis of Results

Although every DSM measure failed the Rate Impact Test, JEA proposes the continuation of select conservation measures.  JEA views energy conservation as an important service to JEA customers and the community.  By continuing conservation programs, JEA maintains interaction with customers and is better able to determine the needs of JEA’s customers and the community.

JEA proposes to continue the following residential, commercial/industrial and community conservation programs and measures:

Residential:

Contractor, Building Inspector and Architect Continuing Education

Energy Audits

Commercial/Industrial:

Contractor, Building Inspector and Architect Continuing Education

Energy Audits

Community Conservation Programs:

Street Light Efficiency Program

Community Information / Energy Education

Tree Power Program

Each of the proposed programs is described in detail in Section 7.0.