# ATTACHMENT N

Planning Protocol

I. 	Overview.

This Attachment N describes the process to be used by the Transmission Provider in planning the Transmission System. Nothing in this Attachment is intended to restrict or expand existing state laws or regulatory authority.

The Transmission Provider shall be responsible for performing the planning function for the Transmission System and shall serve as the point of contact (i.e., one stop shopping) for all market participants with respect to GridFlorida’s GridFlorida=s transmission services and planning. The Transmission Provider has the ultimate responsibility and authority for developing and approving a comprehensive and integrated GridFlorida-wide transmission plan through an annual planning process described in this Attachment.  The GridFlorida planning process is an open, transparent and participatory process that effectuates the reliable and efficient planning of the Transmission System so as to meet the needs of all users of the Transmission System (e.g., utility generation, network generation, merchant generation, IPPs, LSEs) seeking long-term Network Transmission Service, Point-to-Point Transmission Service or Generator Interconnection Service under this Tariff, including planning for new interties with non Participating Owners and control areas Control Areas located outside the Transmission System in a non-discriminatory manner.  An important element of the open and participatory process is the Transmission Planning Committee established by the Transmission Provider.

II.	GridFlorida Planning Bill Of Rights.

The GridFlorida planning process shall  also(i) identify and facilitate, in a timely manner, the adoption and implementation of transmission projects and/or potential generation alternatives that can effectively relieve congestion; (ii) identify and evaluate longer range needs and facilitate transmission projects to expand competitive markets, including increased intertie capacity at the interfaces; (iii) maintain and enhance the efficiency and reliability of the Transmission System; (iv) consider whether expansion plans required to provide requested transmission service can be combined into a more efficient expansion plan; and (v) assess whether expansion can efficiently reduce overall Transmission System losses.

This process shall encourage and provide opportunities for meaningful, in-depth participation by all users of the Transmission System, the FPSC and other interested parties.  In order that proposed generation and transmission projects are effectively coordinated so as to ensure reliability and efficient congestion management, for each planning period, the GridFlorida planning process shall include, at a minimum, timely, regular and complete public disclosure, consistent with confidentiality requirements and information disclosure policies, of transmission projects proposed or endorsed; the underlying assumptions and data on which the proposal is based; analysis relied upon by the Transmission Provider concerning its proposed transmission plan or proposed generation alternatives offered by users of the Transmission System; and documents supporting assumptions underlying the proposed transmission expansion plan that are challenged by users of the Transmission System in the GridFlorida planning process.

II  III.	The Transmission Provider, The Transmission Planning Committee And The FRCC.

The planning function for GridFlorida shall be the responsibility of  the Transmission Provider. The process for carrying out the planning of the Transmission Provider shall be collaborative with the Transmission Provider, POs, LSEs, generators, Transmission Customers, the FRCC, the FPSC and other market participants.  The Transmission Provider shall be organized to engage in such planning activities as are necessary to fulfill its obligations under the PO Management Agreement and this Tariff. In exercising such authority,  the Transmission Provider shall (i) receive, evaluate and respond to requests for transmission service (e.g., requests associated with Network Service, Network Resources, Network Loads and attendant new or modifications to existing points of delivery, Point-to-Point Service, and Generator Interconnection Service); and (ii) develop a comprehensive GridFlorida-wide transmission plan (hereinafter the  AGridFlorida Plan@). In order to carry out this planning function, the Transmission Provider shall have the following responsibilities, set forth in more detail in subsequent Sections of this Attachment N: (i) to calculate ATC; (ii) to develop cost-effective plans to resolve transmission constraints that inhibit requested transmission service and alleviate congestion in an efficient manner; and (iii) to create the GridFlorida Plan by integrating, evaluating, and modifying the transmission plans (refer to Exhibit N.1 of this Attachment N for timelines), and other findings from (a) studies (including but not limited to System Impact Studies and Facilities Studies), (b) plans and analyses developed by the individual POs, LSEs, and other market participants, to define transmission needs within their respective system(s), (c) plans and analyses developed by the Transmission Provider to define regional needs, and (d) Transmission Provider analyses giving consideration to information from the Transmission Planning Committee and other sources.  The Transmission Provider shall make the final determination in the process, subject to the Dispute Resolution Procedures dispute resolution procedures set forth in this Tariff and subject to review by the FERC Commission  or FPSC where appropriate.

There is hereby created a Transmission Planning Committee with the same member representation as the stakeholder Advisory Committee representatives.  To the extent possible, It is intended that representatives on the Transmission Planning Committee shall have transmission planning experience.  The Transmission Provider will coordinate with the Transmission Planning Committee (i) in developing additional procedures, standards, and requirements associated with the planning process, (ii) in developing the GridFlorida Plan, including identifying matters that require resolution and possible alternatives to such matters, and (iii) other matters deemed appropriate by the Transmission Provider.  The Transmission Provider shall exercise its discretion in how it utilizes the advice provided by the Transmission Planning Committee.

The FRCC's role in the reliability and planning process shall be to review and assess the plans and reliability assessment of the Transmission Provider (including POs as necessary), and, in coordination with NERC, develop reliability standards, and monitor and ensure compliance with such standards.

III IV. 	Calculation Of ATC.

The Transmission Provider shall be responsible for calculating ATC for the Transmission System. In calculating ATC, the Transmission Provider shall: (i) take into account transmission limits; (ii) use planning criteria compatible with operations, including the use of appropriate equipment ratings; (iii) follow the general principles set forth in the NERC documents, Transfer Capability (May 1995) and Available Transfer Capability: Definition and Determination (June 1996) and in accordance with Attachment Attachments C and O to this Tariff, as those documents may be revised from time to time; (iv) provide for projected load growth, all relevant committed transactions and their resulting power flows throughout the interconnection; and (v) use appropriate analytical tools to determine thermal, voltage, and stability constraints.

The Transmission Provider shall adhere to applicable reliability criteria of NERC and the FRCC, or successor organizations, and planning criteria consistent with the planning, design and construction standards discussed in Section IX X of this Attachment N.   The Transmission Provider shall also apply equipment capability ratings provided by the POs for their respective Transmission System facilities. The process to be used by the Transmission Provider to validate the ratings is discussed in Section V VI of this Attachment N. Disputes regarding equipment capability ratings may be resolved through the Dispute Resolution Procedures dispute resolution procedures set forth in this Tariff. The Transmission Provider shall at all times comply with the procedures of this Tariff for calculating ATC.

IVV.	 Evaluation Of Transmission Service Requests.

The Transmission Provider shall receive, evaluate, and respond (i.e., one stop shopping) to all requests for transmission service that involve the use of the Transmission System. With respect to all such requests, the Transmission Provider shall analyze and make the determination on access to the Transmission System, including the amount of transmission service which the Transmission System can support. The Transmission Provider shall document all requests for transmission service, the disposition of those requests, and supporting data. In order to carry out this function the Transmission Provider reasonably shall consult with the transmission planning representatives of the affected POs on matters such as facilities, equipment, procedures, maintenance, reliability, and public or worker safety.  The Transmission Provider shall provide the transmission planning representatives of each PO with sufficient information to model local conditions and to monitor local consequences of the Transmission Provider’s decisions related to requests for transmission service.

Additionally, the Transmission Provider shall coordinate with affected POs to process requests for service involving the use of distribution facilities relating to service under this Tariff in accordance with the Agency Agreement.

VVI.	 Resolution Of Transmission Constraints.

When the evaluation of posted ATCs reveals apparent transmission constraints that would preclude a requested transaction, the Transmission Provider shall act in a manner consistent with the provisions of this Tariff.

The Transmission Provider shall follow the procedures of this Tariff when conducting studies. Upon receipt of an executed study agreement, the Transmission Provider shall form, chair, and direct the activities of an Ad Hoc Working Group that includes representatives of all affected POs. The Ad Hoc Working Group shall develop expansion alternatives, perform the described studies, and develop the resulting options and costs, which shall be provided to the Transmission Customer by the Transmission Provider.

Each PO shall file with the Transmission Provider information regarding the physical ratings of all of its equipment in the Transmission System. This information is intended to reflect the normal and emergency ratings routinely used in regional load flow and stability analyses. In carrying out its responsibilities, the Transmission Provider shall apply ratings that have been provided by the respective POs and have been verified and accepted as appropriate by the Transmission Provider where such ratings affect the reliability of the Transmission System. When requested by the Transmission Provider, POs shall provide specific methods by which the ratings of equipment are calculated. If the Transmission Provider and the POs’POs= respective planning representatives cannot reach agreement on a rating, the dispute shall be resolved through the Dispute Resolution Procedures dispute resolution procedures set forth in this Tariff. However, the Transmission Provider shall use the ratings provided by the PO unless and until such ratings are changed through the Dispute Resolution dispute resolution process or by voluntary agreement with the affected PO.

VIVII. 	Development Of GridFlorida Transmission Plan.

The Transmission Provider shall develop the GridFlorida Plan, consistent with Good Utility Practice and taking into consideration long-range planning horizons, as appropriate. The Transmission Provider shall develop this plan for expected use patterns and analyze the performance of the Transmission System in meeting both reliability needs and the needs of the competitive bulk power market, under a wide variety of contingency conditions.  The Transmission Provider shall update this plan to include projects related to interconnection service and Transmission Service transmission service.

The GridFlorida Plan will give full consideration to the transmission needs of all market participants, and identify expansions needed to support competition in bulk power markets and in maintaining reliability taking into consideration demand side options and generation alternatives to transmission expansion.  This analysis and planning process shall integrate into the development of the GridFlorida Plan among other things: (i) the transmission needs identified from studies (including but not limited to System Impact Studies and Facilities Studies) carried out in connection with specific transmission service requests to the Transmission Provider; (ii) the transmission needs identified by the POs and LSEs in connection with their planning analyses to provide reliable power supply to their connected load; (iii) the transmission planning obligations of a PO, imposed by federal or state law(s) or regulatory authorities, which can no longer be performed solely by the PO following transfer of operational control of its transmission facilities to the Transmission Provider; (iv) the inputs provided by the Transmission Planning Committee; (v) the inputs, if any, provided by the FRCC and the FPSC; and (vi) the transmission needs identified by the Transmission Provider and market participants in order to expand trading opportunities, better integrate the grid and alleviate congestion in an efficient manner. As a transition mechanism, at the commencement of operation of the Transmission Provider, the Transmission Provider shall adopt and incorporate into its transmission expansion plan the most recent ten (10) year plan of all POs associated with facilities that are considered part of the Transmission System, including facilities that are planned to serve Network Customers or to satisfy outstanding Long-Term Firm Point-to-Point transmission service requests of to the POs as delineated in Exhibit N.2 to this Attachment N.

The Transmission Provider shall seek out opportunities to coordinate or consolidate, where possible, individually defined transmission projects into more comprehensive cost-effective developments subject to the limitations imposed by prior commitments and lead time constraints. This multi-party collaborative process is designed to ensure the development of the most efficient and cost-effective GridFlorida Plan that will meet reliability needs and expand competitive markets, better integrate the grid, and alleviate congestion, while giving consideration to the inputs from all stakeholders.

The Transmission Provider shall test the GridFlorida Plan for adequacy and security based on all applicable criteria. The GridFlorida Plan shall adhere to applicable reliability requirements of NERC, FRCC, or successor organizations, its and planning criteria consistent with the planning, design and construction standards discussed in Section IX X of this Attachment N. To the extent there are any disagreements with any element of the GridFlorida Plan, the dispute may be resolved through the Dispute Resolution Procedures dispute resolution procedures set forth in this Tariff or by the FERC Commission or FPSC, where appropriate. The GridFlorida Plan shall have as one of its goals the satisfaction of all regulatory requirements. That is, the Transmission Provider shall not require that projects be undertaken where it is reasonably expected that the necessary regulatory approvals for construction and cost recovery will not be obtained.

The proposed GridFlorida Plan shall include specific projects already approved as a result of the Transmission Provider entering into Service Agreements with Transmission Customers where such agreements provide for identification of needed transmission construction, its timetable, cost, and PO or other parties’parties= construction responsibilities.  Approval of the GridFlorida Plan by the Board certifies it as the Transmission Provider’s Provider=s plan for meeting the transmission needs of all stakeholders subject to any required approvals by federal or state regulatory authorities.  The Transmission Provider shall provide, as necessary, a copy of the approved GridFlorida Plan to all applicable federal and state regulatory authorities.

The FPSC has the right to review the GridFlorida Plan (and supporting data) and to provide input to the Transmission Provider and POs during the decision making process as to the need for new transmission facilities.  To the extent that proposed incremental facilities selected by the Transmission Provider and POs include facilities that are subject to the FPSC's siting jurisdiction, the proposed expansion shall be submitted to the FPSC for its review and approval in accordance with the relevant statutory standards.

The Transmission Provider shall post on the OASIS and provide as required to appropriate state regulatory authorities, a five-to-ten-year (5-to-10-year) planning report representing the GridFlorida Plan. Annual Additionally, the Transmission Provider shall post on the OASIS final reports and planning reports shall be available to interested parties upon request. studies consistent with Commission policy.

VIIVIII.	Construction Of Facilities Identified by GridFlorida.

For facilities that will be connected to a single PO’s PO=s system, that PO shall be designated by the Transmission Provider as the party responsible to construct, own, and maintain such facilities, unless the Transmission Provider and PO otherwise agree.  For facilities that will be connected between two (2) or more POs’POs= facilities, those POs shall be designated as the parties equally responsible to construct, own, and maintain such facilities, unless such POs otherwise agree.  For facilities within the GridFlorida footprint that will be connected between a PO's system and a system or systems that are not part of the Transmission System, that PO initially shall be designated as the party responsible to construct, own, and maintain such facilities unless the Transmission Provider, the PO and the non-GridFlorida party or parties otherwise agree.

The Transmission Provider shall notify each designated PO of the PO's initial designation as the entity responsible to own and construct facilities under the GridFlorida Plan. If the designated PO notifies the Transmission Provider that it does not wish to own and construct such facilities, alternate arrangements shall be identified by the Transmission Provider. Depending on the specific circumstances, such alternate arrangements shall include solicitation of other POs or others to take on financial and/or construction responsibilities.  Notwithstanding the above, the Transmission Provider may require a PO, to the extent necessary, to apply for all necessary certificates of public convenience and necessity and permits for the construction of transmission facilities that will become part of the Transmission System, and to use its power of eminent domain, including rights of way, for the construction of such transmission facilities.

If the Transmission Provider is unable to enter into alternate arrangements under commercially reasonable terms, it shall notify the originally designated PO.  In such instances, the originally designated PO shall be responsible to own and construct such facilities, provided, however, that such PO may contest its obligation to own and construct such facilities by providing the Transmission Provider notice that such PO would face undue financial burden in carrying out its construction responsibilities.  Upon receiving such notice, the Transmission Provider may seek an order from the FPSC or the Commission requiring such designated PO to own and construct such facilities.

The construction of any major new transmission facilities shall be competitively bid by the entity responsible for owning such facilities.  The Transmission Provider shall have the right to participate in the review and selection of the bids, costs and construction schedules associated with the construction of any major new transmission facilities.  To the extent that the Transmission Provider and the PO are unable to agree on  any aspect associated with the construction of the major new transmission facilities, such dispute shall be submitted to the dispute resolution process for resolution.  The PO shall have the right to construct the required facilities by matching the lowest bid for construction of the required facilities.

The Transmission Provider shall assist the affected PO(s) or other relevant entities in justifying the need for, and obtaining certification of, any facilities required by the approved GridFlorida Plan by preparing and presenting testimony in any proceedings before state or federal courts, regulatory authorities, or other agencies as may be required.

VIII. Planning Responsibilities Of POs.

IX. 	Coordination Between the Transmission Provider and POs, and Obligation of POs to Support the Transmission Provider.

To fulfill their roles in the collaborative process for the development of the GridFlorida Plan, the POs shall assist the Transmission Provider in developing the GridFlorida Plan while taking into consideration the needs of (i) connected loads, including load growth, (ii) new customers and new generation sources within the PO’s system, and (iii) known transmission service requests. However, the Transmission Provider will have the responsibility and

GridFlorida shall be responsible for and have ultimate authority for performing the planning function, and developing a comprehensive and integrated GridFlorida-wide transmission plan.  In performing these functions, coordinating the performance of the studies and implementing the results of such studies. POs shall provide to the Transmission Provider necessary modeling or supporting data shall reasonably consult and coordinate with POs whose facilities are affected and other affected market participants, including forming, chairing, and directing the activities of Ad Hoc Working Groups to support the planning function and to develop a comprehensive and integrated GridFlorida-wide transmission plan.  The Ad Hoc Working Groups shall include affected POs and market participants, and any other party the Transmission Provider deems appropriate.  The Transmission Provider and the Ad Hoc Working Groups shall consult and coordinate, perform studies, develop expansion alternatives, and develop the resulting options and costs.

The POs shall provide support reasonably requested by the Transmission Provider . POs shall carry out other duties that in performing its planning function and in its development of a comprehensive and integrated GridFlorida-wide transmission plan.  Such support the objectives of shall include:  (i) a PO shall provide to the Transmission Provider planning process, the calculation of ATC, or regional reliability analyses. necessary modeling or supporting data associated with such PO's Transmission Facilities, as reasonably requested by the Transmission Provider,  (ii) POs shall participate in the integration and testing of the GridFlorida Plan . POs shall serve on Ad Hoc Working Groups established as reasonably requested by the Transmission Provider to respond to transmission service requests and other matters. In, (iii) POs whose Transmission facilities are affected shall serve on the Ad Hoc Working Groups, and (iv) in accordance with the Agency Agreement, POs may also need to calculate ATC whose Transmission Facilities are affected shall  provide information and support for the calculation of ATC by the Transmission Provider at points of delivery  to or receipt from distribution facilities , as required(i.e., points that are not on the Transmission System), as reasonably requested by the Transmission Provider.  In addition, POs shall reasonably support other duties associated with the objectives of the Transmission Provider planning process, such as  the calculation of ATC by the Transmission Provider and regional reliability analyses.

X.	IX Planning And Facilities Standards. And Provisions For Enhanced Facilities And Expedited Construction

The Transmission Provider shall develop standards in collaboration with POs, LSEs, generators and other market participants for the planning, design and construction ("the GridFlorida Planning and Facilities Standards") of new facilities that are part of the Transmission System.  The GridFlorida Planning and Facilities Standards shall apply on a comparable basis to all facilities included in the Transmission System, and will be phased in over a period of time not to exceed five years from the commencement of the Transmission Provider operations.  A Transmission Customer may request the application of higher standards. Such a request may be made for any reason (e.g., enhanced reliability, environmental, aesthetic and other land-use planning reasons). Until such time that the GridFlorida Planning and Facilities Standards are developed, the POs’POs= standards associated with planning, design and construction shall be followed, unless the Transmission Provider can demonstrate that a PO’s PO=s standards are below what constitutes Good Utility Practice, in which case the Transmission Provider shall impose standards consistent with Good Utility Practice.  In the event that the Transmission Provider questions the appropriateness of a PO’s PO=s planning, design, or construction criteria, the matter may be resolved through the Dispute Resolution Procedures dispute resolution procedures set forth in this Tariff.  Until any such dispute is resolved, the PO’s PO=s criteria shall govern.

A Transmission Customer may request the application of higher standards.  Such a request may be made for any reason (e.g., enhanced reliability, environmental, aesthetic and other land-use planning reasons) and shall be granted, provided that (i) the Transmission Customer submits a detailed written request to the Transmission Provider detailing the proposed enhanced design and construction standards;  (ii) the design and construction standards must not impair the reliability of the Transmission System when compared to the GridFlorida Planning and Facilities Standards or the PO standards then in effect; and (iii) the Transmission Customer must agree to reimburse the applicable PO for all costs incurred by such PO as a result of applying the higher design and construction standards to the subject transmission facilities.

XI.	Provisions For Enhanced Facilities And Expedited Construction.

In the event a Transmission Customer has special needs that require either enhanced facilities or facilities that need to be constructed on an expedited basis, the Transmission Customer may request the Transmission Provider, and the PO shall consistent with Section IX X of this Attachment N be obligated to provide, and where applicable interconnect enhanced or special facilities, Enhanced or Special Facilities, regardless of whether such facilities have been identified as necessary by the Transmission Provider as part of the planning process. Such request may be made at any time and for any reason (e.g., enhanced reliability, environmental, aesthetic and other land-use planning reasons).  Such request will be granted, provided that (i) the requested facilities do not adversely affect system reliability; and (ii) the requesting party agrees to pay reimburse the applicable PO for any additional costs incurred by such PO in connection with the such Enhanced or Special Facilities, including any costs associated with placing facilities in service prior to the time scheduled by the Transmission Provider, provided that such costs would not otherwise have been incurred by the PO but for the request to construct the Enhanced or Special Facilities or to place them in service earlier than planned.

A In order to meet special circumstances, a Transmission Customer may construct a delivery point or enhanced facilities Enhanced or Special Facilities itself on an expedited basis, provided such facilities meet the standards or exceed the Planning and Facilities Standards described in this Section IX X.  As soon as reasonably practicable after the Transmission Customer determines that it will construct such facilities itself, the Transmission Customer will inform the Transmission Provider and applicable PO, and will provide them with conceptual plans of the facilities to be constructed.  At least 90 days prior to commencing construction of such facility, the Transmission Customer shall submit its request to the Transmission Provider and applicable PO specifying the facilities, along with detailed plans for such facilities consistent with GridFlorida Planning and Facilities Standards.  The plans will be reviewed for the purpose of determining whether the facilities adversely affect reliability.  Any review or inspection by the Transmission Provider and/or the PO shall be performed on an expedited basis so as not to cause any undue delay in the adoption of plans for Enhanced or Special Facilities or the construction, interconnection or bringing into service of any Enhanced or Special Facilities.  Prior to interconnecting any such facilities to the Transmission System, the Transmission Provider and PO shall have the right to inspect the facilities to ensure that they will not adversely affect the reliability of the Transmission System.

X.XII. 1Coordination Between of the Transmission Provider with other RTOs

The Transmission Provider Operating And Planning Staffs will coordinate all inter-regional planning.

The Transmission Provider planning staff shall provide support to the Transmission Provider operating staff in determining and posting ATC in accordance with Attachment O to this Tariff and in developing and reviewing operating procedures will develop practices to ensure the coordination of  reliability and market interface practices among regions.  The Transmission Provider planning staff also shall assist the operating staff by performing operational planning assessments for near-term system configurations. Within their respective time horizons, the operating and planning staffs shall have the same general responsibilities for determining whether the Transmission System can accommodate a specific transaction. The planning staff shall be responsible for all responses to requests for transmission service that require an expansion of the Transmission System. will either develop these practices itself or in coordination with an independent entity that covers several regions or an entire interconnection.  The Transmission Provider will submit a report to the Commission on its progress in the development of coordination standards within one year of its commencement of operations.

XIXIII.	 Additional Responsibilities Of The Transmission Provider.

Among other general responsibilities, the Transmission Provider shall also: (i) develop the GridFlorida Plan taking into consideration Points of Delivery principles consistent with Exhibit N.3 to this Attachment N; (ii) facilitate communications among POs, transmission customers, generation suppliers, and other stakeholders; (iii) develop databases (e.g., load flow, dynamic and short circuit) used in the planning process incorporating information provided by the applicable parties; (iv) coordinate planning with non POs and other RTOs; and (v) periodically monitor real-time data to identify emerging trends that require modification of planning assumptions to assure the reliable operation of the Transmission System in the future.

Exhibit N.1

To The

Planning Protocol

Annual Transmission Planning Process

To implement the transmission expansion plan, a timeline is established as set forth below in order to effectuate an  AAnnual Transmission Planning Process.”Process.@  The Transmission Provider will establish the date the procedures below will commence.

1.	At the time determined by the Transmission Provider, the Transmission Provider will notify and post on the OASIS a request for data from Network Customers concerning expected usage of the Transmission System for the next 10 years (e.g., demand/load forecasts incorporating in such forecast the current year’s year=s winter and summer peak data, supply forecasts for the 10 year period (i.e., Network Resource(s)); proposals for new interconnections, Points of Delivery, proposals for transmission system upgrades, etc.).  The Transmission Provider shall obtain similar information from Non-Participating Owners located in the FRCC in its capacity as security coordinator of the FRCC.

2.	In sixty days, Network Customers of the Transmission Provider shall submit the data requested in paragraph 1.

3.	A transmission customer may make a request for long-term firm transmission service (i.e., Long-Term Firm Point-to-Point, Network Service) and/or Generation Interconnection Service and have such request processed in accordance with the provisions contained in the Tariff, at any time during the year.  Such request for service will be processed based on:

(i)	the existing Transmission System;

(ii)	the GridFlorida Plan;

(iii)	all valid requests for long-term firm transmission service and GIS that are submitted prior to such request and which impact the processing of such request.

In addition, for each annual plan subsequent to the initial planning cycle, a confirmed request for long-term firm transmission service or GIS submitted prior to the annual data submittal date of the Transmission Provider’s Provider=s Network customers Customers will be included in the base assumptions for that year’s year=s Annual Transmission Planning Process.

4.	The Transmission Provider shall determine the need for incremental transmission facilities (including potential alternatives - e.g., generation additions) taking into consideration all existing and reserved long-term firm transmission service, and post the availability of such studies on the OASIS.

5.	Seven months from the date of data submittal, the Transmission Provider shall post on its OASIS an initial GridFlorida Plan that provides for the transmission needs of the users.  The posting shall invite comments on the initial GridFlorida Plan by interested parties, including Non non Participating Owners.  Such comments shall be submitted to the Transmission Provider in 30 days.

6.	Two weeks after the receipt of comments, the Transmission Provider shall conduct a Planning Conference at which all users of the Transmission System, FPSC and interested parties may participate in a detailed review and present their comments regarding the initial GridFlorida Plan.  In developing the final GridFlorida Plan, the Transmission Provider shall take into consideration such comments relating to the initial GridFlorida Plan.

7.	Ten weeks after the Planning Conference, the Transmission Provider shall finalize the GridFlorida Plan and post it on the OASIS.  The entire process will take eleven months from the time of the data submittal date.

To the extent that a user of the Transmission System or the FPSC does not agree with the GridFlorida Plan, such user or the FPSC shall first raise this matter with the Transmission Planning Committee.  Subsequently, in the event that such matter cannot be resolved by the Transmission Planning Committee, the matter will be resolved in accordance with the dispute resolution procedures in this Tariff.

Exhibit N.2

To The

Planning Protocol

Development of the Initial GridFlorida Plan

1.	The initial GridFlorida Plan shall include:

(a)	Any new generation that is identified within the planning horizon in the most recent Ten Year Site Plans of the POs as filed with the FPSC prior to the commencement of the first GridFlorida Annual Planning Process;

(b)	Any new or modified facility that is within the ten year planning horizon, that is considered part of the Transmission System and / or related to a Point of Delivery associated with Network Load, and that is identified in the most recent FERC Forms No. 715 of the POs as filed with the FERC Commission prior to the commencement of the first GridFlorida Annual Planning Process; and

(c)	Any facility improvement necessary to meet the reliability targets established pursuant to Section I.D.3 of the Transmission Provider Operating Protocol planned by a PO prior to the commencement of the Transmission Provider’s Provider=s operations.

2.	The ten year plans adopted by the Transmission Provider shall be included in the Transmission Provider’s Provider=s initial expansion plan.  To the extent that the Transmission Provider subsequently determines an alternative plan exists that requires the cancellation of or delay to a transmission project included in the ten year plan of a PO and which is superior to that ten year plan, the Transmission Provider shall consult with the PO to attempt to reach agreement on the cancellation or delay.  If the Transmission Provider cannot reach agreement with the PO, the PO may request dispute resolution.

3.	A PO shall be entitled to recover in its revenue requirement the costs incurred with respect to any project that is cancelled pursuant to paragraph (2) above.

Exhibit N.3

To The

Planning Protocol

Points of Delivery

The GridFlorida planning process shall consider the following in regards to Points of Delivery:

1.	Alternative solutions to the criteria violations associated with local area reliability problems shall be developed and evaluated considering economics, lifetime, feasibility, and other specifics associated with the request.  As part of a request for a new Point of Delivery by an LSE, such request shall include a justification for the proposed new Point of Delivery, including an analysis of viable distribution alternatives.  The Transmission Provider in collaboration with the applicable PO, shall incorporate the LSE’s LSE=s justification into an overall evaluation of alternatives to the proposed new Point of Delivery.

2.	Requests for new Points of Delivery shall be evaluated taking into consideration distribution alternatives as applicable, location of existing delivery points, transmission feasibility, economics, and other specifics associated with the request, on a comparable basis for all LSEs’LSEs= existing Points of Delivery, taking into account any specific reliability needs of the LSE customer(s) served from such Point of Delivery.  The Transmission Provider will make a reasonable effort to accommodate the LSE’s LSE=s requested alternative, based on the above criteria.  Except as otherwise provided for in Section IX X of this Attachment N and notwithstanding any other provision of this Tariff to the contrary, upon the request of any Transmission Customer, a PO shall be obligated to permit the construction of any facilities required to establish a new Point of Delivery regardless of any distribution alternative(s) to such construction that may exist, provided that the new Point of Delivery does not adversely affect system reliability; and provided further that the requesting Transmission Customer agrees to pay for the difference in costs incurred in constructing the requested Point of Delivery and the alternative the Transmission Provider otherwise would have selected.

3.	Subject to Section IX X of this Attachment N, the Transmission Provider in consultation with the applicable PO shall be responsible for the design and construction of all facilities considered part of the Transmission System.  The LSE shall be responsible for the design, construction and operation of all facilities that are part of the LSE’s LSE=s system.  With respect to circumstances where a new Point of Delivery involves the establishment of a transmission to distribution substation or a metering point, the Transmission Provider in consultation with the applicable PO shall be responsible for the design and construction of all transmission voltage level equipment in accordance with the guidelines contained in Attachment Q B Section 1 of the Tariff.  The LSE(s) shall be responsible for the design, construction and operation, in accordance with the guidelines contained in Attachment Q B Section 1 of the Tariff, and in accordance with Attachment 1 to the transmission service Operating Agreement (i.e., Terms and Conditions of Service Applicable to Points of Delivery) of all of the facilities on the LSE’s LSE=s side of the Point of Delivery.  Space shall be provided at the control house and the common ground location associated with the Point(s) of Delivery for the installation of equipment owned by either the LSE or PO whose facilities serve such LSE.

4.	The LSE(s) and the PO whose facilities serve such LSE(s) shall collaborate on the design and construction of the Point(s) of Delivery  facilities to seek an  efficient  construction means, including selecting a single contractor if feasible.

5.	The Transmission Provider in coordination with the POs shall, as applicable, develop procedures for the design and operation of a Point of Delivery that serves as a Point of Delivery for  two or more LSEs.

6.	New Point(s) of Delivery shall be designed  on a basis that provides for comparable reliability to the existing Point(s) of Delivery, taking into consideration distribution alternatives as applicable, location of existing delivery points, transmission feasibility, and economics, on a comparable basis for all LSEs’LSEs= existing Points of Delivery, taking into account any specific reliability needs of the LSE customer(s) (e.g. airports, hospitals, etc.) served from such Point of Delivery.

7.	The Transmission System can, under some circumstances, be subject to voltage instability and collapse.  An essential element in the reliability of the Transmission System is the installation of power factor correction devices (e.g., capacitor banks) that compensate for the reactive power demands at Points of Delivery (i.e., point where power exits the Transmission System).  Points of Delivery should be designed and operated so that the power factor at such Points of Delivery, measured at the point where power exits the Transmission System, is between 95% lagging and 99% leading during summer peak load conditions.  Further, in order to avoid transmission system over voltages, Point of Delivery power factor correction devices should be controllable so that the power factor measured at the Point of Delivery (i.e., point where power exits the Transmission System) is unity or lagging during spring or valley load conditions.  Point of Delivery connections to the Transmission System shall meet the power factor requirements listed above.  In order to assess power factor, the Point of Delivery real (kW) and reactive demands (kVar) shall be recorded at the time of the GridFlorida Transmission System summer peak load (June, July, or August) and at the minimum spring load (March, April, or May).  For compliance assessment purposes, the LSE can aggregate P Points of Delivery that are in close electrical/geographical proximity (by summing kW and kVar values).  Should an LSE occasionally experiences unusually high loads outside of the summer period (e.g. 7  a.m. peak loads associated with winter cold fronts), the LSE should cooperate to the extent feasible with requests from the Transmission System operator to help support system voltage.

-FOOTNOTE 1-

“Enhanced or Special Facilities” are facilities which meet or exceed the minimum Planning and Facilities Standards adopted by the Transmission Provider and include, but are not limited to (1) facilities requested for meeting retail customer needs, (2) facilities, including substations, switching stations, line segments, towers, poles and other facilities which the Transmission Customer determines are necessary or appropriate to support its provision of distribution services, (3) facilities to be constructed pursuant to governmental orders, (4) facilities which, although identified as necessary by the Transmission Provider, are not scheduled to be in-service at the time requested by the Transmission Customer, and (5) an alternative Point of Delivery on the Transmission System.

“Enhanced or Special Facilities” are facilities which meet or exceed the minimum Planning and Facilities Standards adopted by the Transmission Provider and include, but are not limited to (1) facilities requested for meeting retail customer needs, (2) facilities, including substations, switching stations, line segments, towers, poles and other facilities which the Transmission Customer determines are necessary or appropriate to support its provision of distribution services, (3) facilities to be constructed pursuant to governmental orders, (4) facilities which, although identified as necessary by the Transmission Provider, are not scheduled to be in-service at the time requested by the Transmission Customer, and (5) an alternative Point of Delivery on the Transmission System.