BEFORE THE PUBLIC SERVICE COMMISSION

| In re: Petition for approval of revised underground residential distribution tariffs by Progress Energy Florida, Inc. | DOCKET NO. 031122-EI ORDER NO. PSC-04-0519-TRF-EI ISSUED: May 24, 2004 |
| --- | --- |

The following Commissioners participated in the disposition of this matter:

BRAULIO L. BAEZ, Chairman

J. TERRY DEASON

LILA A. JABER

RUDOLPH “RUDY” BRADLEY

CHARLES M. DAVIDSON

ORDER APPROVING TARIFF REVISIONS

BY THE COMMISSION:

On December 22, 2003, Progress Energy Florida (PEF) filed a petition for Commission approval of revisions to its Underground Residential Distribution (URD) tariffs and their associated charges.  PEF waived the 60-day suspension date by letter on January 27, 2004.  On March 16, 2004, PEF filed an amended petition that contained clarifications and additional documentation.

## Rule 25-6.078, Florida Administrative Code, requires investor-owned electric utilities to file updated underground residential distribution charges for Commission approval at least every three years, or sooner if a utility’s underground cost differential for the standard low-density subdivision varies from the last approved charge by 10 percent or more.   PEF’s current URD charges were approved in Order No. 01-1489-TRF-EI, issued on July 18, 2001, in Docket No. 010384-EI, in Re: Petition of Florida Power Corporation for approval of revised tariffs containing updated underground residential distribution charges.  To comply with the 3-year filing requirement of the rule, PEF filed the instant petition.  We have jurisdiction over this matter pursuant to Sections 366.03, 366.04, 366.05 and 366.06, Florida Statutes, and for the reasons explained below, we approve the proposed revisions.

## The URD charges represent the additional costs PEF incurs to provide underground distribution service in place of overhead service.  The charges are calculated as differentials between the cost of underground and overhead service.  Costs for underground service have historically been higher than for standard overhead construction.  The URD differential is paid by the customer as a contribution-in-aid-of-construction.  The URD tariffs provide standard charges for certain types of underground service, and apply to new residential developments such as subdivisions and townhouses.

PEF developed URD charges based on three model subdivisions: (1) a 210-lot low-density subdivision with a density of one or more, but less than six, dwelling units per acre; (2) a 176-lot high-density subdivision with a density of six or more dwelling units per acre; and (3) a high-density subdivision where service is provided using grouped meter pedestals.  Examples of the grouped meter pedestals subdivision model include mobile home and R.V. parks.  All four major investor-owned electric utilities use the same standardized model subdivisions to develop their URD charges.

The URD differential is developed by estimating the cost per lot of both underground service and overhead service, and is based on the utility’s standard engineering and design practices.  The difference between these numbers is the per-lot charge that customers must pay when they request underground service in lieu of standard overhead service.  The costs of both underground and overhead service include the material and labor costs to provide primary, secondary, and service distribution lines, and transformers.  The cost to provide underground service also includes the cost of trenching and backfilling.  The utilities are required to use current cost data.

The following table shows PEF’s current and proposed URD differentials:

| Type of Subdivision | Current URD differential per lot | Proposed URD differential per lot | Percent Change |
| --- | --- | --- | --- |
| 210-lot low density | $289 | $350 | +21% |
| 176-lot high density | $267 | $224 | -16% |
| Grouped meter pedestals | $117 | $130 | +11% |

# A combination of factors affect the proposed URD differential for the three subdivision types.  Labor and material costs vary from year to year.  Some costs increase while others decrease.  PEF states that underground contract labor rates rose by 5.8 percent in 2003, and by 18 percent in 2004, while labor rates for overhead rose only slightly.  The costs of certain materials such as primary and secondary cable have decreased.  For PEF’s low density and ganged meter pedestal differentials, the decrease in material costs was offset by higher underground labor rates, resulting in a net increase in the URD charge.  PEF’s high density differential decreased as a result of design changes and lower material costs that were greater than the increase in underground labor rates.  Specifically, PEF reduced the amount of secondary wire used per lot and changed the size of its secondary poles.

# PEF states that it improved its modeling of the cost of overhead and underground distribution facilities to reflect the company’s updated design, engineering, and construction practices.  PEF further states that in 2003 it completed a review of its wire and cable products, which resulted in changes to the underground wire and cable products and standards.   PEF states that it expects the new products and standards to result in greater reliability and reduced material costs.  For example, PEF discontinued the use of one type of “Cable in Conduit” (CIC) cable, and substituted an improved cable.  The discontinued cable has a soft coating for insulation.  PEF found that recurring damage occurred to the CIC cable during and after installation, and therefore began using a cable with a more rugged insulation covering.

In addition to the proposed changes for the three subdivisions, PEF has proposed minor revisions to the credits it offers customers who choose to do their own trenching and backfilling.  PEF has proposed to increase the current credit of $1.09 per foot of service lateral, secondary, and primary cable, to $1.36 per foot.  PEF has also proposed revisions to charges for other types of underground service, such as the undergrounding of existing overhead service laterals or the installation of underground service laterals from overhead distribution systems.

# We have reviewed the proposed charges and information provided by the company.  Our review leads us to the conclusion that the proposed charges are reasonable.

It is therefore

ORDERED by the Florida Public Service Commission that Progress Energy Florida, Inc.’s petition for approval of revised underground residential distribution tariffs is granted.  It is further

ORDERED that this Order approving revised underground residential distribution tariffs shall become final upon the issuance of a Consummating Order unless an appropriate petition, in the form provided by Rule 28-106.201, Florida Administrative Code, is received by the Director, Division of the Commission Clerk and Administrative Services, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, by the close of business on the date set forth in the “Notice of Further Proceedings” attached hereto.  It is further

ORDERED that these tariffs shall be effective on May 3, 2004.  If a protest is filed within 21 days of the issuance of the order, the tariffs should remain in effect, with any revenues held subject to refund, pending resolution of the protest.  It is further

ORDERED that in the event this Order becomes final, this docket shall be closed.

By ORDER of the Florida Public Service Commission this  24th day of May, 2004.

|  | BLANCA S. BAYÓ, Director Division of the Commission Clerk and Administrative Services |
| --- | --- |

| By: | /s/ Kay Flynn |
| --- | --- |
|  | Kay Flynn, Chief Bureau of Records |

This is a facsimile copy. Go to the Commission's Web site, http://www.floridapsc.com or fax a request to 1-850-413-7118, for a copy of the order with signature.

( S E A L )

MCB

NOTICE OF FURTHER PROCEEDINGS

The Florida Public Service Commission is required by Section 120.569(1), Florida Statutes, to notify parties of any administrative hearing or judicial review of Commission orders that is available under Sections 120.57 or 120.68, Florida Statutes, as well as the procedures and time limits that apply.  This notice should not be construed to mean all requests for an administrative hearing or judicial review will be granted or result in the relief sought.

Mediation may be available on a case-by-case basis.  If mediation is conducted, it does not affect a substantially interested person's right to a hearing.

The Commission's decision on this tariff is interim in nature and will become final, unless a person whose substantial interests are affected by the proposed action files a petition for a formal proceeding, in the form provided by Rule 28-106.201, Florida Administrative Code.  This petition must be received by the Director, Division of the Commission Clerk and Administrative Services, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, by the close of business on June 14, 2004.

In the absence of such a petition, this Order shall become final and effective upon the issuance of a Consummating Order.

Any objection or protest filed in this docket before the issuance date of this order is considered abandoned unless it satisfies the foregoing conditions and is renewed within the specified protest period.