1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. 021256-WU

3

In the Matter of

4

APPLICATION FOR CERTIFICATE

5   TO PROVIDE WATER SERVICE IN

VOLUSIA AND BREVARD COUNTIES

6   BY FARMTON WATER RESOURCES,

LLC.

7   _______________________________/

8

ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

9                 A CONVENIENCE COPY ONLY AND ARE NOT

THE OFFICIAL TRANSCRIPT OF THE HEARING,

10            THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

11                              Volume 1

12                         Pages 1 through 134

13

PROCEEDINGS:        HEARING

14

15   BEFORE:             COMMISSIONER J. TERRY DEASON

COMMISSIONER LILA A. JABER

16                       COMMISSIONER RUDOLPH "RUDY" BRADLEY

17

DATE:               Tuesday, June 22, 2004

18

TIME:               Commenced at 9:30 a.m.

19

20   PLACE:              Betty Easley Conference Center

Room 148

21                       4075 Esplanade Way

Tallahassee, Florida

22

REPORTED BY:        JANE FAUROT, RPR

23                       Chief, Office of Hearing Reporter Services

FPSC Division of Commission Clerk and

24                         Administrative Services

(850) 413-6732

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1   APPEARANCES:

2             SCOTT KNOX, Brevard County, 2725 Judge Fran Jamieson

3   Way, Viera, Florida 32940 appearing on behalf of Brevard

4   County.

5             PATRICK J. McNAMARA, ESQUIRE, de la Parte Law Firm,

6   P.O. Box 2350, Tampa, Florida 33601-2350, appearing on behalf

7   of the City of Titusville.

8             MARSHALL DETERDING, ESQUIRE, and JOHN L. WHARTON,

9   ESQUIRE, Rose Law Firm, 2548 Blairstone Pines Dr., Tallahassee,

10   Florida 32301, appearing on behalf of Farmton Water Resources

11   and Farmton Management.

12             WILLIAM BOSCH, ESQUIRE, Volusia County,

13   123 W. Indiana Ave., DeLand, Florida  32720-4613, appearing on

14   behalf of Volusia County.

15             KATHERINE FLEMING, ESQUIRE, MARTHA BROWN ESQUIRE, and

16   JENNIFER RODAN, ESQUIRE, FPSC General Counsel's Office, 2540

17   Shumard Oak Boulevard, Tallahassee, Florida 32399-0850,

18   appearing on behalf of Commission Staff.

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1                              I N D E X

2                                                     PAGE

3   Opening Statement by Mr. Wharton                   13

4   Opening Statement by Mr. Knox                      18

5   Opening Statement by Mr. McNamara                  20

6   Opening Statement by Mr. Bosch                     23

7

8

9

10                              WITNESSES

11

NAME:                                             PAGE NO.

12

GERALD C. HARTMAN

13

Direct Examination by Mr. Deterding                 27

14   Prefiled Direct Testimony Inserted                  30

Cross Examination by Mr. McNamara                   37

15   Cross Examination by Mr. Knox                       58

Cross Examination by Mr. Bosch                      67

16   Cross Examination by Ms. Fleming                    73

Redirect Examination by Mr. Deterding               74

17

18   HOWARD M. LANDERS

19   Direct Examination by Mr. Wharton                   95

Prefiled Direct Testimony Inserted                 100

20   Cross Examination by Mr. Knox                      104

Cross Examination by Mr. Bosch                     116

21   Cross Examination by Mr. McNamara                  122

Redirect Examination by Mr. Wharton                124

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

4

1                              EXHIBITS

2   NUMBER:                                      ID.   ADMTD.

3   1         Comprehensive Exhibit List         6       6

4   2-37      (Detailed description of exhibits  6      95

contained in Exhibit 1.)

5

38        Revised Table 3-1                  94     94

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

5

1                        P R O C E E D I N G S

2             COMMISSIONER DEASON:  Call the hearing to order.

3   Could I have the notice read, please.

4             MS. FLEMING:  Pursuant to notice issued by the Clerk

5   of the Commission on May 24th, 2004, this time and place has

6   been set for a hearing in Docket Number 021256-WU.

7             COMMISSIONER DEASON:  Thank you.

8             Take appearances.  We can just start at this end and

9   work down.

10             MR. KNOX:  Scott Knox, County Attorney representing

11   Brevard County.

12             MR. McNAMARA:  Pat McNamara, representing the City of

13   Titusville.

14             MR. BOSCH:  William Bosch, Assistant County Attorney

15   on behalf of the County of Volusia.

16             MR. WHARTON:  John L. Wharton and F. Marshall

17   Deterding, Rose, Sundstrom and Bentley representing Farmton

18   Water Resources, LLC.

19             MS. FLEMING:  Katherine Fleming, Jennifer Rodan, and

20   Martha Brown on behalf of the Commission.

21             COMMISSIONER DEASON:  Okay.  Ms. Fleming, do we have

22   any preliminary matters?

23             MS. FLEMING:  Yes, Commissioner, we have three

24   preliminary matters that need to be addressed.  Those are the

25   stipulated exhibits, the proposed stipulations, and the

FLORIDA PUBLIC SERVICE COMMISSION

6

1   deposition transcript of Michael Thomas.

2             COMMISSIONER DEASON:  Okay.  Let's proceed.

3             MS. FLEMING:  As far as the exhibits, staff has

4   compiled a list of exhibits that we believe can be entered into

5   the record by stipulation.  In addition, staff has included the

6   prefiled exhibits attached to the witnesses' testimony in this

7   case.  In an effort to facilitate the entry of those exhibits,

8   we have compiled a chart that we have provided to the parties,

9   the Commissioners, and the court reporter.  In lieu of reading

10   off and marking each exhibit for the record, I would suggest

11   that this list, itself, be marked as the first hearing exhibit,

12   and that the other exhibits be marked thereafter in sequential

13   order as set forth in the chart.

14             COMMISSIONER DEASON:  Very well.  In the

15   comprehensive stipulated exhibits, the listing which you just

16   described will be identified as Hearing Exhibit Number 1, and

17   that has been provided to the parties.  Is there any objection

18   to the identification and admittance of Exhibit 1?  Hearing no

19   objection, show then that Exhibit Number 1 is admitted.

20             (Exhibit 1 marked for identification and admitted

21   into the record.  Exhibits 2 through 37 marked for

22   identification.)

23             MS. FLEMING:  Staff would note for clarification of

24   the record that Exhibits 3 through 8 and 30 through 37 are

25   sponsored by Farmton witnesses; 9 through 13 are sponsored by

FLORIDA PUBLIC SERVICE COMMISSION

7

1   the City of Titusville; 14 through 23 by Brevard County; 24

2   through 28 by Volusia County; and 2 and 29 by staff.

3             COMMISSIONER DEASON:  Very well.

4             MS. FLEMING:  The next preliminary matter are the

5   proposed stipulations.  Parties and staff request that the

6   Commission panel approve the following issues as stipulations,

7   noting that Titusville, Brevard, and Volusia take no position

8   on these issues.

9             The first issue is Issue 10.  The proposed

10   stipulation language is:  Yes, Farmton has provided evidence

11   that it has continued use of the land upon which the utility

12   treatment facilities are or will be located."

13             COMMISSIONER DEASON:  Do you want us to address these

14   one --

15             MS. FLEMING:  We can address all three at one time.

16             COMMISSIONER DEASON:  Let's just go ahead and do all

17   three, it may be a little more expeditious.

18             MS. FLEMING:  Okay.  Issue 12, the proposed

19   stipulation language is:  Return on equity should be based on

20   the current leverage graph formula in effect at the time of the

21   Commission vote in this proceeding.

22             Issue 15, the proposed stipulation language is:  The

23   allowance for funds used during construction, AFUDC, should be

24   based on the current leverage graph formula in effect at the

25   time of the Commission vote in this proceeding.

FLORIDA PUBLIC SERVICE COMMISSION

8

1             COMMISSIONER DEASON:  Very well.  Commissioners,

2   staff has described the proposed stipulations for Issues 10,

3   12, and 15.  Are there questions or a motion?

4             COMMISSIONER JABER:  Mr. Chairman, if there are no

5   questions, I would recommend that we find these stipulations to

6   be reasonable and move acceptance of them.

7             COMMISSIONER BRADLEY:  And I will second that motion.

8             COMMISSIONER DEASON:  It has been moved and seconded

9   to accept the proposed stipulations on Issues 10, 12, and 15.

10   All in favor say aye.

11             (Unanimous affirmative vote.)

12             COMMISSIONER DEASON:  Show that those proposed

13   stipulations are approved.

14             MS. FLEMING:  The final matter is the deposition

15   transcript of Michael Thomas.  As mentioned at the prehearing

16   conference, Titusville stated that it intended to introduce the

17   deposition transcript of Michael Thomas in lieu of live

18   testimony.

19             MR. McNAMARA:  Commissioners, if I can address, we

20   will not be reading the deposition of Mr. Thomas.  We will

21   withdraw that request.

22             MR. WHARTON:  And, Commissioners, if I may then make

23   an ore tenus motion that we would like the deposition

24   transcript put into the record.  As you recall, at the

25   prehearing conference the deposition had not yet taken place.

FLORIDA PUBLIC SERVICE COMMISSION

9

1   Well, I think it is clear at this point how the deposition

2   went.  This deposition was taken by Titusville, it is a

3   transcript that exists, all the parties had a chance to

4   cross-examine the witness.  At the time it was known and

5   recorded in the prehearing order that it was the intention of

6   Titusville to move this deposition into the record and

7   therefore parties had an ample opportunity to cross-examine --

8             COMMISSIONER DEASON:  Move it into the record subject

9   to objection, right?  Yes, very well.  And I understand you are

10   reserving your right to strenuously object, if you saw fit.

11             MR. WHARTON:  Correct.  And at this point we would

12   move the deposition transcript into the record.

13             COMMISSIONER DEASON:  Okay.  There has been a motion

14   to move the deposition transcript into the record.  Is there a

15   response to the motion?

16             MR. McNAMARA:  Yes, Commissioner.  A couple of

17   points.  At the prehearing conference, I did not say I was

18   definitely going to read it.  What I said was it hadn't been

19   taken yet and that I would make that decision prior to the

20   hearing.  I included Mr. Thomas on our witness list for

21   Titusville as a potential witness.  Farmton has had control of

22   this witness.  He is a tenant of theirs.  He has been someone

23   who they could have provided direct testimony for in compliance

24   with the prehearing order deadlines and did not.

25             As the Commissioner may recall at the prehearing, I

FLORIDA PUBLIC SERVICE COMMISSION

10

1   indicated that I believed he was an adverse witness, and that

2   for that reason I was taking his deposition and reserving the

3   right to read it, although I do not believe I said I was

4   definitely going to read it.  And I believe Ms. Fleming can

5   confirm that, that I told her that I would make that decision

6   prior to the hearing.

7             Since Farmton did not identify this person as a

8   witness on their witness list, they did not identify him in

9   their prefiled testimony, and since this is a witness that was

10   under their control and they could have obtained prefiled

11   testimony, I believe it would be inappropriate to allow Farmton

12   to add additional prefiled testimony at this time, which is

13   essentially what they are seeking to do.

14             COMMISSIONER DEASON:  Any other responses to the

15   motion from any other parties?

16             MR. WHARTON:  Briefly, Commissioner Deason.

17             COMMISSIONER DEASON:  I'm giving the other parties an

18   opportunity to address the motion.

19             MR. BOSCH:  Commissioner, Volusia County simply

20   adopts what Titusville has just said and we agree with that

21   position.

22             COMMISSIONER DEASON:  Mr. Knox, do you have any

23   comments?

24             MR. KNOX:  Brevard would also adopt the position of

25   Titusville.

FLORIDA PUBLIC SERVICE COMMISSION

11

1             COMMISSIONER DEASON:  Mr. Wharton, you may close on

2   your motion.

3             MR. WHARTON:  Commissioner, this is a witness who

4   testified at the customer hearing, he is not an individual who

5   is under our control.  I am scrambling to look through the

6   rules of civil procedure for a rule that I'm sure that exists

7   that says if he is unavailable or over 100 miles away his

8   deposition may be admitted.  I should not be faulted for not

9   preparing for this motion in advance because the prehearing

10   order says, "Titusville has deposed Mr. Michael L. Thomas and

11   intends to file his deposition transcript in the docket in lieu

12   of testimony."  We came here today ready to withdraw our

13   objection or to never make any objection to that stated

14   intention.

15             I do think that accurately reflects the conversation

16   that took place at the prehearing conference.  And everyone,

17   again, knew of this at the time of the dep, I think that is an

18   important consideration, and had an opportunity to fully

19   develop that transcript much more so than most depositions of

20   nonprefiled witnesses.

21             COMMISSIONER DEASON:  Commissioners, any questions?

22   Staff, do you have any thoughts?

23             MS. FLEMING:  Yes.  We agree with Titusville in that

24   Farmton should have filed this witness' testimony with their

25   prefiled testimony.  At the prehearing conference it was

FLORIDA PUBLIC SERVICE COMMISSION

12

1   discussed that Titusville wanted to put the parties on notice

2   that they may introduce this as a deposition, his deposition in

3   lieu of testimony at the hearing.

4             Titusville was told by the prehearing officer at the

5   prehearing conference that if they intended not to introduce

6   this witness to let us know at the time of the hearing.

7             COMMISSIONER DEASON:  Very well.  Mr. Wharton, I'm

8   going to deny your motion.  I'm not going to allow the

9   transcript into the record.  I will recognize the fact, though,

10   that the deposition, it exists, I will just view it as part of

11   the discovery in this proceeding.  It is available for any of

12   the parties to use for whatever purpose they deem appropriate

13   during the course of this hearing.  And if there are objections

14   at the time for its use, we will deal with it at that time.

15             Okay.  That addresses all of the preliminary matters?

16             MS. FLEMING:  Yes, Commissioner, it does.

17             COMMISSIONER DEASON:  Okay.  As I recall, we did

18   discuss the giving of opening statements, and I think the

19   parties are availing themself of that opportunity.  I think I

20   did request that the parties, to the extent possible, work

21   together so that we don't get overly repetitious in opening

22   statements, mindful of the fact that we have a large number of

23   witnesses to hear during the course of this hearing, and that

24   time is going to be a premium commodity.

25             So, having said that, is it appropriate now to

FLORIDA PUBLIC SERVICE COMMISSION

13

1   proceed to opening statements?

2             MS. FLEMING:  Yes, Commissioner.

3             COMMISSIONER DEASON:  Okay.  Mr. Wharton, are you

4   going to be giving an opening statement?

5             MR. WHARTON:  I will, Commissioner.

6             COMMISSIONER DEASON:  You may proceed.

7             MR. WHARTON:  All right.  With your permission,

8   Commissioner, if I may approach.  What we have here is a map

9   that we are going to use as a demonstrative in the proceeding.

10   It is a little far from the Commissioners, and therefore I have

11   reproduced some miniatures of it.  This is a demonstrative that

12   we will not seek to put into evidence unless asked.  It is very

13   similar to a map that is an exhibit, but it does have a few

14   wells and demarcations on it that I won't be referring to in my

15   opening that when Mr. Hartman uses this map he may utilize.

16             COMMISSIONER DEASON:  You may proceed.

17             MR. WHARTON:  Commissioners, this application

18   involves approximately -- an approximately 57,000-acre parcel,

19   if you will, in Volusia and Brevard Counties which is owned by

20   the Miami Corporation.  The applicant is an affiliate of Miami

21   Corporation, Farmton Water Resources, LLC, and before you today

22   is their application for a certificate to provide water service

23   to approximately 50,000 acres of that particular parcel.

24   Farmton is the large yellow piece of property that is

25   approximately in the middle of the demonstrative which we have

FLORIDA PUBLIC SERVICE COMMISSION

14

1   passed out.

2             One thing that you will note on the large

3   demonstrative beside us is that we have written in by hand that

4   the dark green property in the bottom, the territory of East

5   Central Florida Services, actually extends further south than

6   this map would make it appear, and Mr. Hartman will talk a

7   little bit more about that.

8             As the Commissioners are well aware, normally in

9   certificate cases key issues are the financial, operational,

10   and technical ability of the applicant to effectuate its

11   proposal, and whether or not the certification of that utility

12   will present a duplication of facilities under Chapter 367.

13   Here there is no genuine dispute as to these issues.  And, in

14   fact, there is little attempt to create one by the petitioners.

15   Farmton will demonstrate that it has the financial,

16   operational, and technical ability to effectuate its proposed

17   application and that its proposal will not result in a

18   duplication of facilities.

19             Rather, in this case, the petitioners, the City of

20   Titusville and Volusia and Brevard Counties, argue that Farmton

21   should not be certificated because it may encourage sprawl, or

22   because its proposed service area fits within an exemption to

23   Chapter 367.  In fact, the record will clearly demonstrate that

24   Farmton will not visit upon these counties some pattern of

25   growth against their will or in violation of their

FLORIDA PUBLIC SERVICE COMMISSION

15

1   comprehensive plans, that they will retain all the statutory

2   and lawful authority which they possess before certification to

3   control and oversee growth in their respective jurisdictions.

4   The record will also show that there is a demand for Farmton's

5   proposed service, and that this demand has increased and is

6   likely to continue to increase.

7             You will also hear, Commissioners, some about the

8   application, perhaps ten years ago, of East Central Florida

9   Services.  I know that Commissioner Deason was involved in that

10   proceeding, as were Mr. Deterding and I.  Many of the counties'

11   objections in this case are the same as they were in the case

12   of East Central Florida Services, which is a very large single

13   landowner owned piece of property which is very close to this

14   piece of property.

15             Many of the fears that were expressed by the

16   governmental petitioners in that case, who were the only

17   petitioners, are the same as those being expressed by the

18   petitioners in this case, and those fears have not been

19   realized in terms of the comprehensive plans, in terms of the

20   water resource, and the things that might occur.  ECFS is an

21   interesting study, and given its proximity and given its

22   similarities, in some respect, to this application.

23             You will also hear the counties suggest, and they

24   have suggested in their prefiled testimony that they

25   essentially by ordinance can veto this application.  That

FLORIDA PUBLIC SERVICE COMMISSION

16

1   whether or not an applicant such as Farmton comes to them

2   before coming to you or after coming to you and getting a

3   certificate, that they have the power to essentially determine

4   that the utility will not exist or that the service area does

5   not exist.  In fact, while it is not the subject of much

6   testimony from us because it is a statement of law, and we do

7   have some testimony from our planning witness about it, we will

8   be briefing the issue.  There is no stronger statement of

9   exclusive jurisdiction in Florida law than that in Chapter 367

10   establishing and defining your jurisdiction.  Farmton will

11   demonstrate that it is entitled to a certificate under the

12   rules and the statutes of the Commission.

13             The three participants in this case appear not to be

14   motivated by a belief that Farmton cannot do what it says it

15   will do, or that the service is not needed that Farmton says is

16   needed, but rather that they have a fear of what will occur in

17   the future.  And, again, these were many of the same fears that

18   were heard by the Commission in the ECFS case.  The fear here

19   seems to be, well, there will be unplanned growth out there in

20   the form of sprawl or urban sprawl.  There will be the creation

21   of water resources which haven't been part of our planning

22   efforts.  Now, these planning efforts have been exclusively

23   governmental, but that is a concern that is voiced in the

24   prefiled testimony.  Titusville has testified that, well, what

25   Farmton is attempting to do is to force us to buy water from

FLORIDA PUBLIC SERVICE COMMISSION

17

1   them.  This Commission knows that, in fact, that could not be

2   the case.  There is no part of the city limits of Titusville

3   which is even adjacent to the Farmton property.

4             All of these concerns will be demonstrated to be

5   groundless.  They are the same fears that governmental entities

6   raised in the certification case of East Central Florida

7   Services, and not only have those fears proven to be

8   groundless, you will hear testimony about the advantages that

9   certification has visited upon that large parcel which, in

10   fact, I believe is over 300,000 acres.

11             If certificated, Farmton and its parent will enjoy

12   the significant advantages in planning, and resource

13   protection, and management that only a large landowner like

14   Farmton can bring to the table, and there aren't that many

15   large landowners like Farmton left in the State of Florida.

16   The record will reveal in this proceeding that the certificate

17   of Farmton will be demonstrated to be in the public interest

18   and that Farmton meets the rules and regulations which entitle

19   it to a certificate.

20             COMMISSIONER DEASON:  Thank you.  Does that conclude

21   your opening statement?

22             MR. WHARTON:  It does.

23             COMMISSIONER DEASON:  Very well.

24             Mr. Knox.  Is there an order that has been worked out

25   previous?  Very well, Mr. Knox, you may proceed.

FLORIDA PUBLIC SERVICE COMMISSION

18

1             MR. KNOX:  Very briefly, Mr. Chairman, members of the

2   Commission.

3             Brevard County really feels this case is about the

4   public interest and what is in the public interest and what

5   isn't, and I think that is the determination that ultimately

6   the Commission has to make.  And it is our belief that the

7   public interest is not going to be met in this case, it is not

8   going to be proven to be met in this case.  I think the clear

9   evidence here is going to be that the 260 families who are

10   members of the hunt club are going to require some kind of

11   potable water service.  And it is the county's contention, and

12   I think the evidence that we will present will show this, that

13   50,000 acres of certificated territory is not necessary to

14   fulfill the needs of those 260 families.

15             In fact, what 50,000 acres will do is create the

16   ability to provide future water service to areas that may want

17   to develop along this I-95 corridor.  And the county has in

18   place, as the evidence will show, comprehensive plan policies

19   that require this particular entity, Farmton or Miami

20   Corporation, whoever wants to put that system in, to come

21   before the county commission to obtain their approval and

22   consent for the construction of any facilities that are

23   required to provide this kind of service.

24             And there is statutory authority that we will provide

25   to you in the form of argument at the conclusion of these

FLORIDA PUBLIC SERVICE COMMISSION

19

1   proceedings that establishes the county's right to do so.  And

2   the county has laid the groundwork to require that consent in

3   the form of an ordinance which is going to be made part of the

4   record in this case.  So it is basically the county's

5   contention in this case that the public interest has not been

6   determined or can't be determined until the county commission

7   has made its consent either available or not available, and

8   Farmton has not proceeded before the county commission is what

9   we will show you.

10             We will also be able to demonstrate to you that the

11   county does, in fact, have facilities that are available for

12   water service within two miles of the Farmton boundaries, and

13   the boundaries that are being sought in this case.  And that it

14   is not unusual -- in fact, the evidence will show that there

15   are other systems, other developments in the same area that

16   have applied for county service within three miles, actually

17   within three miles of the county system.  So it is not unusual

18   for the county to be able to extend service in those kinds of

19   areas.

20             And, again, we will show that the process that

21   involves is an amendment application to come before the county

22   commission to amend its service territories to provide that

23   service or to put the facilities in themselves and dedicate

24   those facilities to the county.  Those are all requirements in

25   the county's rules and regulations that are adopted as part of

FLORIDA PUBLIC SERVICE COMMISSION

20

1   the comprehensive plan in implementing regulations.

2             And, finally, it is the county's belief that when all

3   is said and done this application is nothing really more than

4   an application to provide for future growth and development,

5   and that is clearly something that is within the county's ambit

6   to determine how it wants to grow in the future.  There are

7   rules and regulations in the Florida Administrative Code and

8   Florida Statutes that provide a prohibition against urban

9   sprawl, and it is the county's position, I think, that we will

10   be able to show that this is a first step and an important step

11   in the creation of the ability to create urban sprawl, which

12   should be demonstrated as not in the public interest.  Thank

13   you.

14             COMMISSIONER DEASON:  Thank you, Mr. Knox.

15             Mr. McNamara.

16             MR. McNAMARA:    Yes, Commissioners.  To start off

17   with, one of the things Mr. Wharton said was that we were not

18   disputing the need for service, the financial ability, and the

19   technical ability, and those are not true.  We believe the

20   facts will show in this case, first, that there is no need for

21   service.  We believe it will show that Farmton has not

22   established it has the financial ability.  And we also believe

23   the facts will show that Farmton has not established that it

24   has the technical ability to provide service.

25             But let's just talk about the basic facts.  With

FLORIDA PUBLIC SERVICE COMMISSION

21

1   regard to retail service, Mr. Wharton had pointed out that this

2   is approximately 50,000 acres that will be served in retail

3   service, and yet what they have proposed to install are eight

4   or seven two-inch wells with no interconnecting systems, and

5   with no service coming from those wells other than one spigot

6   from each the wells.  This is not something that we believe

7   requires a need for service by a certificated utility.

8             What we are talking about for the most part with

9   these seven or eight wells are the Miami Tract Hunt Club

10   hunting camps, and I believe the testimony from Mr. Underhill

11   will show that those hunt camps are used on a temporary basis

12   part of the year.  And that the way the campers use them are to

13   go to, right now, a hand pump and pump water for use in

14   camping.  Again, we do not believe this is the type of use that

15   requires a certificated utility.

16             As far as bulk water goes, I think the facts will

17   show that Farmton has no contracts, no serious inquiries from

18   any entity to purchase bulk water.  And we believe it would be

19   inappropriate to certificate a utility for the provision of

20   bulk water without a serious and established need through a

21   contract, a contract may be contingent upon this Commission's

22   granting of a certificate.

23             The only discussions that the discovery has shown to

24   have occurred were between Farmton and the City of Titusville,

25   and Farmton would readily admit that those discussions have

FLORIDA PUBLIC SERVICE COMMISSION

22

1   discontinued quite a long time ago, and so currently there is

2   no real customer for bulk water.  The other part of that is

3   when asked, I think the facts will show that the potential

4   customers for bulk water are all government utilities.  And as

5   government utilities, the provision of bulk water will be

6   exempt from PSC jurisdiction.  And so there is really, again,

7   no demonstrated need for bulk water.

8             The third type of service they proposed is fire

9   protection.  And as Mr. Wharton pointed out, all of this land

10   is owned by the Miami Corporation.  The Miami Corporation

11   already has two fire protection wells on the property.  There

12   is no PSC certificate required for the Miami Corporation to put

13   in the additional ten fire protection wells on their own

14   property as private wells that they propose in their

15   certificate.  And so I would suggest, again, there is no

16   evidence to show the need for a PSC certificated utility.

17             We believe that the evidence will also show that

18   Farmton Water Resources is a two-tier removed shell

19   corporation.  The overall parent corporation is the Miami

20   Corporation.  They have created another corporation called

21   Farmton Management, and beneath Farmton Management is Farmton

22   Water Resources.  We do not believe Farmton Water Resources has

23   shown the financial ability to obtain a certificate, and this

24   is in two senses.

25             First, Farmton Water Resources has never filed a tax

FLORIDA PUBLIC SERVICE COMMISSION

23

1   return, has never provided a financial statement.  Secondly,

2   Farmton Water Resources has no written financial obligation,

3   contract, agreement, line of credit, irrevocable letter of

4   credit, or anything from either of its parent corporations or

5   from any other entity to provide it with financing.

6             The last thing I will address is just briefly to talk

7   about the technical ability.  The director of operations for

8   Farmton Water Resources is Mr. Underhill.  And Mr. Underhill

9   will testify that he has no personal experience in running any

10   water utility, and so we believe, based on that alone, that

11   there has not been an establishment of the technical ability to

12   provide service.

13             Finally, we believe that under the circumstances the

14   certification of a utility is not in the public interest

15   because a utility is not needed for the services proposed to be

16   provided.  We believe the evidence will show that all of the

17   services proposed to be provided could be provided by the Miami

18   Corporation on its own property without obtaining any

19   certificate.  And that concludes my opening comments.

20             COMMISSIONER DEASON:  Thank you.  Mr. Bosch.

21             MR. BOSCH:  Thank you, Commissioners.  I will try not

22   to be duplicative.  We believe that this application which is

23   intended to create one of the largest water systems in Volusia

24   County in terms of geography, number of acres, is for a small

25   group of private individuals who simply wish to camp out in the

FLORIDA PUBLIC SERVICE COMMISSION

24

1   woods and hunt.  By doing this, Farmton is asking you to ignore

2   our comp plan, they are asking you to ignore our established

3   water planning mechanisms that are in place in the county.  We

4   call that WAV, which stands for the Water Authority of Volusia

5   County, it is our central planning entity for water resources.

6             During this hearing we are going to set out the

7   elements of our comp plan which this application is in direct

8   opposition to.  Farmton is a nonurban area.  It is actually a

9   large forested area.  And I hope that the Commissioners have

10   had a chance to drive out there and see this area.  It is -- at

11   least in Volusia County it is 42,000 acres of forest land with

12   very few, if any, residents out there, some hunting camps

13   scattered throughout.  It is unpopulated, and it is considered

14   a valuable resource for the county.  In fact, it has been

15   considered such a resource that it has an overlay, a zoning

16   overlay in it, a land use overlay called the NRMA, which stands

17   for Natural Resource Management Area.  It is an environmentally

18   sensitive land with limited use and extremely low residential

19   densities making an application for water certification

20   unnecessary and violative of our comp plan.

21             Our comp plan also requires developers to dedicate

22   all infrastructure such as the water plants, lines, and pump

23   stations to the county.  We do that in order to allow public

24   ownership rather than private.  And the reason for that, that

25   is found in our comp plan, this preference for public

FLORIDA PUBLIC SERVICE COMMISSION

25

1   ownership, is because there has been a history in Volusia

2   County of abandonment of private facilities which necessitates

3   that the county come in, take over these facilities and pump

4   taxpayer money into curing the deficiencies and upgrade the

5   system which has been caused by the neglect of the private

6   water utility owners.

7             Furthermore, I mentioned WAV, the Water Authority of

8   Volusia County, that was created in order to coordinate the

9   water supplies, promote conservation and plan for future

10   supplies and alternate sources.  Farmton, as a private water

11   company, would not be eligible for membership in WAV.  WAV

12   consists entirely of municipal corporations within Volusia

13   County and the county itself.  They would not be eligible

14   because they are not a sovereign entity.  Therefore, their

15   absence from this central planning agency would create

16   deficiencies in our modeling, our computer modeling, as well as

17   our planning and other activities associated with water

18   conservation.

19             We believe that after all of this evidence is heard

20   that it is going to demonstrate that there is no need for

21   certification, that there is an actual inconsistency with our

22   comp plan, that certifying the Farmton area would not be

23   beneficial to the public, but, in fact, would be harmful to the

24   environment, to the water resources of the county, and to the

25   future growth patterns within the county of Volusia.  Based on

FLORIDA PUBLIC SERVICE COMMISSION

26

1   that, we are going to ask the Commission to deny this

2   application.  Thank you.

3             COMMISSIONER DEASON:  Thank you.  Staff, I assume you

4   have no opening statement, is that correct?

5             MS. FLEMING:  That's correct.

6             COMMISSIONER DEASON:  Okay.  Staff, when are we going

7   to address your Exhibit Number 2?

8             MS. FLEMING:  Exhibit 2 was one that was stipulated

9   by all the parties.

10             COMMISSIONER DEASON:  Would it be appropriate, then,

11   to go ahead and admit it into the record?

12             MS. FLEMING:  Yes, Commissioner.

13             COMMISSIONER DEASON:  Hearing no objection, show then

14   that Hearing Exhibit Number 2 as identified within Exhibit

15   Number 1 is admitted.

16             (Exhibit 2 marked for identification and admitted

17   into the record.)

18             COMMISSIONER DEASON:  Okay.  I believe we are at the

19   point where we can swear in witnesses, is that correct?

20             MS. FLEMING:  That's correct, Commissioner.

21             COMMISSIONER DEASON:  I'm going to ask all witnesses

22   that are present and in the hearing room at this time to please

23   stand and raise your right hand.  And, attorneys, I want you to

24   acknowledge the witnesses that are being sworn in and when they

25   take the stand to have that indicated in the record.

FLORIDA PUBLIC SERVICE COMMISSION

27

1             (Witnesses sworn.)

2             COMMISSIONER DEASON:  Please be seated.

3             Mr. Wharton, you may call your witness.

4             MR. DETERDING:  Commissioner, we call Gerald C.

5   Hartman to the stand.

6                          GERALD C. HARTMAN

7   was called as a witness on behalf of Farmton Water Resources,

8   LLC, and having been duly sworn, testified as follows:

9                         DIRECT EXAMINATION

10   BY MR. DETERDING:

11        Q    Mr. Hartman, please state your name and employment

12   address.

13        A    Gerald C. Hartman, Hartman and Associates, 201 East

14   Pine Street, Orlando, Florida.

15        Q    Have you been retained by Farmton Water Resources,

16   LLC, to provide testimony and expert opinions in this

17   proceeding?

18        A    Yes, I have.

19        Q    Did you prepare, in conjunction with my office, a

20   document referred to as prefiled direct testimony of Gerald C.

21   Hartman, consisting of six pages?

22        A    Yes.

23        Q    If I asked you those same questions here today, would

24   your answers be the same?

25        A    Yes.

FLORIDA PUBLIC SERVICE COMMISSION

28

1        Q    Do you have any corrections to make to that

2   testimony?

3             COMMISSIONER DEASON:  Before we proceed any further

4   -- Mr. Hartman, you were sworn, correct?

5             THE WITNESS:  Yes.

6             MR. DETERDING:  I apologize, Commissioner.

7             COMMISSIONER DEASON:  It is just a formality, but

8   something we need to do for each witness.

9        A    Only one.  In the report, Table 2-1, the footnote,

10   instead of average annual flow it should have been maximum

11   daily flow.  That is on the attachment.

12        Q    In Exhibit 2?

13        A    Yes, the report.  It is the footnote to the report.

14        Q    All right.  Give me that again, the exact location of

15   that?

16        A    Table 2-1.

17        Q    2-1.

18        A    Which is Page 2-7, Footnote 1.  Instead of average

19   annual, it should be maximum daily flow.

20        Q    Okay.  You prepared in conjunction with the

21   preparation of that direct testimony two exhibits that you are

22   sponsoring, is that correct?

23        A    Yes.

24        Q    And I believe these were originally labeled as GCH-1,

25   which is the application of Farmton?

FLORIDA PUBLIC SERVICE COMMISSION

29

1        A    Yes.

2        Q    And GCH-2 is your resume?

3        A    That's correct.

4        Q    Do you have any other changes to make to either of

5   those?

6        A    No.

7             MR. DETERDING:  Commissioners, I assume by the

8   process that we have gone through that those have been marked

9   as Exhibits 3 and 4?

10             COMMISSIONER DEASON:  That is correct.

11             (REPORTER NOTE:  For the convenience of the record,

12   Mr. Hartman's prefiled direct testimony is inserted in the

13   record.)

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

36

1   BY MR. DETERDING:

2        Q    Mr. Hartman, please provide the Commission with a

3   summary of your direct testimony?

4        A    Yes.  We prepared the application and exhibits, and

5   our firm was involved in the financial studies associated with

6   this application.  Mr. Chuck Drake of our firm is the water

7   resource hydrogeological partner, and the partner in charge,

8   and he is a P.G.  Tara Hollis, M.B.A., C.P.A., was the person

9   involved in the financial aspects, and I'm an engineer and also

10   utility management person.

11             I believe it meets all the requirements of an

12   original application for certification.  There is a need for

13   water service, both potable, fire protection, and bulk.  I'm

14   knowledgable of all the active water service areas in the area.

15   I believe in my direct testimony and also on this chart here, I

16   can show to you the various service areas, active service areas

17   of all the entities.  I think it is undisputed that the Farmton

18   Water Resources area is far and quite distant for the points of

19   service from any existing utility, is not duplicative of any

20   other system, there are no other systems with services in this

21   area.  It would be technically, or technically it would be

22   terribly inefficient for anyone else to serve this system or

23   serve these customers other than to have service from within.

24             Farmton does have the technical ability.  I have

25   assisted in many applications at the Public Service Commission

FLORIDA PUBLIC SERVICE COMMISSION

37

1   in a similar state of evolution.  We have the capacity for

2   service.  These are four-inch wells and not two-inch wells.  We

3   have adequate assurance for continued use, I think that has

4   been stipulated.  And we have -- the financial resources have

5   been provided and the water resources capable of providing for

6   full service.  That ends.

7             COMMISSIONER DEASON:  That concludes your summary?

8             THE WITNESS:  Yes, it does.

9             MR. DETERDING:  We tender the witness for cross.

10             COMMISSIONER DEASON:  Very well.  Is there any

11   particular preferred order of cross-examination?

12             MR. McNAMARA:  As for Mr. Hartman, I was going to go

13   first, Commissioner.

14             COMMISSIONER DEASON:  Very well.  You may proceed.

15                          CROSS EXAMINATION

16   BY MR. McNAMARA:

17        Q    Mr. Hartman, my name is Pat McNamara.  I'm

18   representing the City of Titusville, and I have a few questions

19   for you on cross-examination today.

20             It was discussed during opening statements that the

21   Farmton proposed service area comprises over 50,000 acres, is

22   that correct?

23             MR. DETERDING:  I apologize.  I don't mean to

24   interrupt, I believe I failed to request that his testimony be

25   inserted into the record as though read.

FLORIDA PUBLIC SERVICE COMMISSION

38

1             COMMISSIONER DEASON:  Without objection, it shall be

2   so inserted.

3             MR. DETERDING:  Thank you.  I apologize.

4             (REPORTER NOTE:  Testimony previously inserted.)

5   BY MR. McNAMARA:

6        Q    Mr. Hartman, the service area proposed by Farmton is

7   comprised of over 50,000 acres, is that correct?

8        A    Approximately 50,000 acres, yes, within two counties.

9        Q    May I approach the witness with an exhibit?

10             COMMISSIONER DEASON:  Yes, you may.  Let me just at

11   this point, if you don't mind, it may be more expeditious, and

12   this goes to everything.  If there are folks available that

13   don't mind walking these things around, you can just kind of

14   stay at your desk.  And if you need to -- if you feel the need

15   to do that yourself, that's fine.  But I anticipate there are

16   going to probably be a number of exhibits are going to be

17   utilized and handed out, and if there are folks that can make

18   themselves available to do that, that would help us along.

19             MR. McNAMARA:  Yes.

20             COMMISSIONER DEASON:  You have no objection to that

21   process?

22             MR. McNAMARA:  No, sir.

23             COMMISSIONER DEASON:  Very well.

24             MR. McNAMARA:  This is Mr. Henry Thomas who is taking

25   it over.  He is one of our experts.

FLORIDA PUBLIC SERVICE COMMISSION

39

1             COMMISSIONER DEASON:  And just so that everyone -- we

2   need to provide a copy to everyone when it is handed out,

3   including the court reporter.  And staff will be happy to

4   assist in the process, as well.

5   BY MR. McNAMARA:

6        Q    Mr. Hartman, can you identify this document for me?

7        A    Yes.  This is the exhibit to my deposition and some

8   revisions to Table 3-1 as the engineering and construction has

9   changed over time.

10        Q    And this is a document that you prepared?

11        A    Yes.  It is a document that I prepared, and also with

12   Tara Hollis who actually had it typed.

13        Q    And this is a document that reflects the types of

14   systems that will be included in the Farmton certificate of

15   service area for retail service, is that correct?

16        A    Yes, for the initial facilities.  This is the Phase 1

17   activities.  Yes, this is a listing of the initial retail

18   supply engineers cost estimate for the Phase I activities.

19        Q    When you say the Phase I activities, can you tell me

20   in your engineering report where are the Phase II activities

21   for retail service?

22        A    We just presented what was necessary initially.  Over

23   time as customers come in, and in any utility after you are

24   certificated we go into a master planning activity.  And as we

25   have customer requests such as the Bell Ridge area that has

FLORIDA PUBLIC SERVICE COMMISSION

40

1   requested for its 100 sites to possibly get service, we would

2   then plan for the service to those additional sites.

3        Q    But as far as the initial application goes, this is

4   the retail service that is proposed, correct?

5        A    Yes, initially as I said.

6        Q    And there is nothing else included in the application

7   for retail service other than what is on this page, correct?

8        A    Out in the field, you know, we made construction

9   modifications, but in the application you're correct.

10        Q    And this shows that there will be a total of six

11   four-inch wells, pump motors, and controls installed, correct?

12        A    That's correct.

13        Q    And as I understand it, there is also one existing

14   well at the Miami Corporation headquarters that will be turned

15   over to Farmton and used, correct?

16        A    That is one facility that is being turned over.

17   There are others.

18        Q    What are the others?

19        A    There is additional well facilities.  There is Clark

20   Cattle Ranch, there are other facilities on-site.

21        Q    So as I understand it, with the six new wells there

22   will be a total of seven or eight wells, is that correct?

23        A    Eight of the larger wells, the four-inch wells.

24   There will be eight of those.  And then there would be also

25   several, 12 or so fire protection wells.  A total of 20

FLORIDA PUBLIC SERVICE COMMISSION

41

1   four-inch wells.

2        Q    I would like to just talk about retail right now.  We

3   will get to fire protection later.

4        A    Okay.

5        Q    So, as far as retail service you are talking about a

6   total of eight four-inch wells, correct?

7        A    Over time, yes.

8        Q    And we are talking about four of these wells having a

9   two-inch meter, is that correct?

10        A    Yes, based on this table.

11        Q    And there would be three wells with a 5/8ths by

12   3/4-inch meter, correct?

13        A    That is correct.

14        Q    Now, as far as the number of connections, as I

15   understand it there would be four connections at the hunt

16   camps, is that correct?

17        A    We have a master meter.  The distribution system for

18   the various connections, as I testified in my deposition, gets

19   put in by the customers, you know, the CIAC.

20        Q    But as far as Farmton Water Resources goes, each of

21   those four wells at the hunt camps have one connection,

22   correct?

23        A    Well, as any water plant has, it has a single point

24   of discharge into the system, yes.  All water systems -- most

25   water systems do that.

FLORIDA PUBLIC SERVICE COMMISSION

42

1        Q    And each of these individual wells, they are not

2   interconnected with each other in any way, correct?

3        A    That's correct.

4        Q    With respect to the Miami Tract Hunt Club, when you

5   prepared your report back in December of 2002, it is my

6   understanding that you did not obtain any historical water

7   usage by the hunt club, isn't that correct?

8        A    I think the best characterization was that it did not

9   exist.

10        Q    It did not exist and you did not perform any studies

11   to determine what the historical water usage had been, correct?

12        A    If it doesn't exist, you can't do the study.

13        Q    You could have put a meter on the existing wells and

14   measured their usage over a period of time, couldn't you?

15        A    It is possible.  It is possible to put a meter out

16   there and measure use.

17        Q    And you did not do that?

18        A    Not yet.

19        Q    You did not conduct any interviews of any of the

20   representatives of the Miami Hunt Club as to their amount of

21   time they used the property, correct?

22        A    As I testified in my deposition, personally I did

23   not.  I did not state that no one had.

24        Q    You did not personally take any interviews, correct?

25        A    Personally I did not, that's correct.

FLORIDA PUBLIC SERVICE COMMISSION

43

1        Q    Did someone conduct interviews?

2        A    As I told you at that juncture and testified in my

3   deposition, that I had not known what those interviews were and

4   what the discussions were.  After the deposition, of course,

5   then, of course, I talked to everyone.

6        Q    Did anyone in your firm conduct any interviews of the

7   Miami Tract Hunt Club prior to your submission of your

8   engineering report that is included in the application?

9        A    Mr. George Flint discussed this application with

10   Earl, and Earl basically had his discussions.  He is in

11   day-to-day conduct with the Miami Hunt Club.  So we used that

12   conduit for ease of access to the hunt club and for information

13   transfer.

14        Q    As a professional engineer, an expert, no one in your

15   firm conducted any interviews of the Miami Tract Hunt Club

16   representatives, correct?

17        A    We did not.  We contacted Earl Underhill, as I

18   stated.

19        Q    Mr. Underhill does not work for your firm, does he?

20        A    No, he does not.

21        Q    How many people currently reside in the proposed

22   service area full-time?

23        A    Within the overall service area, oh, there is

24   probably 250 homes around the outside perimeter.

25        Q    I'm talking about actually within the service area.

FLORIDA PUBLIC SERVICE COMMISSION

44

1        A    In the service area there is probably -- off Miami

2   Corporation's land, if that is what you are saying --

3        Q    Yes.

4        A    I think there is about three or four homes out there.

5   But I don't know of any permanent residents.

6        Q    So within the entire Miami Corporation property that

7   we are talking about in this case, you are not aware of any

8   permanent residents?

9        A    No, it is not unusual to seasonal service that we

10   have -- the City of Sanibel, we have a lot of people who are

11   not permanent residents of the City of Sanibel.  And it is

12   seasonal service, typical for utilities to provide seasonal

13   services.

14        Q    The seasonal service would be for the hunt club

15   members?

16        A    Well, there is seasonal service for the hunt club and

17   then there is continuous service for, if you will, the

18   commercial or residential type commercial aspects of the

19   headquarters.  I think there is five to seven people working

20   there all the time.  They have their water facilities there.

21   There are seven structures on the headquarters site.  I have

22   been through that full area ever since our deposition.

23        Q    So at the headquarters site, as I understand it,

24   there is one residence building, correct?

25        A    There is a residence, and then there is a

FLORIDA PUBLIC SERVICE COMMISSION

45

1   headquarters building.  There's equipment containment areas,

2   there's storage areas, there's tankage for land management

3   products which have, you know, water needs.  There's various

4   other structures there.  There are some equipment structures

5   there, garage type structures.

6        Q    And I believe you just testified that the total

7   number of people that work at those Miami Corporation

8   headquarters are between five and seven people, correct?

9        A    That's correct.

10        Q    With respect to the Miami Tract Hunt Club, isn't it

11   true that Farmton would send the Miami Tract Hunt Club one bill

12   for water services?

13        A    I don't know that.  I believe that we would be

14   providing bills for each of the metered connections, and then

15   we would have the connections based on the ERC basis, which has

16   been done at the Florida Public Service Commission numerous

17   times.

18        Q    You were talking about there would be four wells so

19   there would be four bills, correct?

20        A    No, there is check stations, also.  There would be

21   other bills for other locations.

22        Q    Okay.  We'll start off with the camp sites.  There

23   are four camp sites, so there would be four bills for the four

24   camp sites, correct?

25        A    That's correct.

FLORIDA PUBLIC SERVICE COMMISSION

46

1        Q    You would not billing each of the 260 member families

2   that are camping out there, correct?

3        A    I don't believe so.  I don't believe so.

4        Q    Now, you indicated that the basis for billing was

5   based on number of ERCs?

6        A    Yes.

7        Q    So Farmton would have essentially four bills going to

8   the hunt club and each of those bills will be based upon an

9   estimated number of ERCs?

10        A    No, there are three check stations and it could be

11   future other locations also.

12        Q    Let's talk initially about the four camp sites.

13        A    Okay, limiting it to that.

14        Q    The four camp sites you would have four bills for

15   because there are proposed to be four wells on the camp sites,

16   correct?

17        A    There's four four-inch wells at those camp sites.

18        Q    And as far as the check stations go, there are three

19   proposed check stations, correct?

20        A    They exist.

21        Q    And each of those check stations, as I understand

22   your report, represent one ERC?

23        A    Initially, yes.

24        Q    Is there anything in your report beyond initially?

25        A    That's correct, it is initial.  It is an original

FLORIDA PUBLIC SERVICE COMMISSION

47

1   certification, so it is the initial aspects of those check

2   stations, correct.

3        Q    So there is nothing in your report to indicate

4   additional check stations in the future, correct?

5        A    Or additional use at those check stations which

6   probably will occur over and above one ERC.

7        Q    What is your basis for saying that?

8        A    I have been out through the check stations.  And in

9   talking with how they are used, many times there's 30 to 40

10   people or more.  As well as they are in the process of cleaning

11   game, they weigh it, and that takes significant water.  And as

12   the amenities improve, I think, as the person that you took the

13   deposition of very well stated, additional people will want to

14   use those facilities.  Right now they have to bring in the

15   water to use for proper washing.  So you are talking about

16   people bringing in very expensive, you know, campers and other

17   things like that and large tanks of water, which is not a good

18   situation.

19        Q    And the bills for each of these check stations would

20   be sent to the Miami Tract Hunt Club, they would not be sent to

21   the individual club members, correct?

22        A    Well, I don't know.  I don't know exactly what the

23   arrangements for all the billing -- I don't know in the future

24   how the billing will actually end up, but I do know that the

25   points for the bill or the reading of the bill will be by the

FLORIDA PUBLIC SERVICE COMMISSION

48

1   meter and, therefore, there may be, you know, initially seven

2   or eight billed entities or it could be commingled.

3        Q    But no more than eight, correct?

4        A    Well, then also there is the fire protection that is

5   billed to --

6        Q    I'm just talking about retail.

7        A    Okay.  Limiting to only retail, there would be about

8   eight, I guess, initially, which would then expand.

9        Q    What is the basis for your saying it would expand?

10        A    Oh, in driving the property and seeing the other home

11   sites that are right next to the property, the Clark Cattle

12   Ranch is in a cluster of homes, it just so happens that the

13   other homes are not within Miami Corporation property.  They

14   own their own property.  Power is there.  And when you have a

15   good water system, it is my experience that people like to

16   drink good water, so I think that there will be usage.

17        Q    But as you just said, these other homes are outside

18   the proposed certificated service area, correct?

19        A    Some of them are, yes.  These other homes that are

20   residences are out parcels, but are totally -- other than

21   Maytown, the extension, excuse me, to the out from Maytown

22   Road, where this cluster is that I'm talking about, yes, those

23   are outside.  They are out parcels, but they are adjacent to

24   Clark Cattle Ranch, where the V in the two roads come together

25   there, and power comes right down to there.  I don't see -- I

FLORIDA PUBLIC SERVICE COMMISSION

49

1   think they want water.

2        Q    But in order to serve those, wouldn't Farmton need to

3   come back to the PSC to get a change in their service area to

4   extend it to include those properties that are outside their

5   current proposed service area?

6        A    Well, I said in the future.

7        Q    What we are talking about here today is the proposed

8   service area, and those houses are outside the current proposed

9   service area, correct?

10        A    Yes.  I guess the point I'm trying to say is that it

11   is my experience that when you have water users, if you will,

12   as an out parcel in the middle of the service area adjacent to

13   good potable water, typically they want it.  And I'm saying

14   that that condition exists.  So when we started the

15   application, the initial certification is just what is there

16   right now, but the potential includes many more aspects.

17        Q    With respect to -- let's talk a little bit about

18   proposed bulk services.  As we sit here today, there are no

19   commitments from anyone to purchase bulk water from Farmton, is

20   that correct?

21        A    I do not know of management's negotiations for

22   everyone, but what I do know, I can state that there has been a

23   representative of WAV that has talked to Mr. Underhill about

24   potential service.  There's no agreements.  There were

25   discussions from the City of Titusville to Mr. Underhill

FLORIDA PUBLIC SERVICE COMMISSION

50

1   relative for service at one time.  There --

2        Q    My question, sir, is are there any commitments from

3   anyone to purchase bulk water from Farmton?

4        A    I don't know of any commitments.

5        Q    And there are no contracts with anyone to purchase

6   bulk water service from Farmton, correct?

7        A    That's correct, of any type for any type of user,

8   industrial, private, or public user.  Just like ECFS, we serve

9   Reliant Energy Corporation, which is a private bulk user.

10        Q    My question was just there are no contracts for any

11   private or public bulk users at this time, correct?

12        A    That is correct.

13        Q    With respect to WAV and the City of Titusville, who

14   you mentioned, those are both governmental entities, correct?

15        A    Yes, they are.

16        Q    And provision of service to a governmental entity

17   would be exempt from PSC jurisdiction, correct?

18        A    It may be.  It can be.

19        Q    Farmton would not need to obtain a PSC certificate to

20   serve a governmental entity, would it?

21        A    If that is the only -- this is a hypothetical?  I

22   don't understand your question.  In the present configuration

23   it would be my opinion it would be in the public interest to do

24   so, just like we did before.  I know the City of Palm Bay

25   relied upon the Florida Public Service Commission's order of

FLORIDA PUBLIC SERVICE COMMISSION

51

1   19.7 cents per thousand gallons for raw water in their

2   negotiations with ECFS.  I do know that Reliant Energy

3   Corporation relied on the PSC's adjudication of the fair and

4   reasonable rate of return and the separation between bulk

5   customer revenues and the retail customer revenues such that

6   the customers were fairly treated.  I know that Osceola County

7   Fire Department, which did not have sufficient raw water

8   supply, now has sufficient raw water supply to fight fires from

9   ECFS.

10        Q    Mr. Hartman, my question was just service to a

11   governmental entity is exempt from PSC jurisdiction, correct?

12        A    My answer was that there is a statute that provides

13   for that exemption as a singular situation, but that may not

14   necessarily be the only application.

15        Q    Let's talk a little bit about fire protection.

16   Currently the Miami Corporation, as I understand it, has two

17   fire protection wells on the property, correct?

18        A    That's correct.

19        Q    And Farmton is proposing to add ten additional fire

20   protection wells?

21        A    Absolutely.

22        Q    And so that all of those wells will be on property

23   owned by the Miami Corporation?

24        A    Yes, and leased.

25        Q    But those are all on property owned by the Miami

FLORIDA PUBLIC SERVICE COMMISSION

52

1   Corporation, correct?

2        A    As the entire parcel is.

3        Q    And the Miami Corporation installed its two current

4   fire protection wells without obtaining any PSC certification,

5   correct?

6        A    Yes.

7        Q    And the Miami Corporation could install the

8   additional ten wells without obtaining PSC certification,

9   correct?

10        A    It is the context, again.  When you break out a

11   certain aspect of a singular activity things are possible, but

12   taken in the aggregate it is inappropriate.

13             MR. McNAMARA:  Commissioner, the prehearing order

14   indicated that witnesses are supposed to answer a yes or no

15   question with a yes or no, and I continually have Mr. Hartman

16   giving me a rambling answer rather than a yes or no.  And I

17   understand that he can explain his answer after he answers the

18   yes or no, but I would like to ask that he be directed to give

19   me a yes or no answer to a yes or no question.

20             COMMISSIONER DEASON:  Mr. Hartman, to the extent you

21   can please answer yes or no, and then elaborate to the extent

22   necessary.

23             MR. DETERDING:  And I apologize, Commissioner, but I

24   would also note that he is frequently interrupting the witness

25   in his attempts to answer the question.  So if he would please

FLORIDA PUBLIC SERVICE COMMISSION

53

1   allow Mr. Hartman to finish his answer before he asks the next

2   one.

3             COMMISSIONER DEASON:  I'm sure that endeavor will be

4   made.

5             THE WITNESS:  To answer your question yes or no, the

6   answer would be in the hypothetical that you provided yes.

7   BY MR. McNAMARA:

8        Q    So Miami Corporation could install the additional ten

9   wells on their property without PSC certification, correct?

10        A    If that was the only activity, yes.

11        Q    With respect to your testimony that you believe that

12   Farmton has the financial ability to obtain a PSC certificate,

13   can you tell me have you seen a financial statement for Farmton

14   Water Resources?

15        A    No, I have not seen a financial statement.  I do know

16   in working for them over a period of time that we have been

17   paid our bills, everyone else has been paid their bills, and to

18   my knowledge there was sufficient monies deposited into an

19   account which was much greater than most original certificates

20   typically enjoy.  And also, to my knowledge, what has been

21   relayed to me, the parent corporation does not have debt, and

22   to my knowledge as has been stated in conversation the overall

23   entity has significant financial resources, much greater than

24   most developers within the State of Florida, and has tremendous

25   financial resources.

FLORIDA PUBLIC SERVICE COMMISSION

54

1        Q    Those are Miami Corporation resources, correct?

2        A    Which are committed to serving and providing those

3   financial resources when the need is made.

4        Q    Have you seen any written agreement between the Miami

5   Corporation and Farmton to provide such resources?

6        A    There is an affidavit, I believe, that says so.

7             MR. McNAMARA:  I'm going to object to that and move

8   to strike it.

9             COMMISSIONER DEASON:  Just a second.  I've been

10   listening, and you are still not answering yes or no.

11             THE WITNESS:  Yes.

12             COMMISSIONER DEASON:  There is now an objection?

13             MR. McNAMARA:  I'm just objecting to his reference to

14   the affidavit and would move to strike it.  That affidavit is

15   not in evidence, it has not been stipulated into evidence, and

16   we have an objection to the affidavit that he references.

17             MR. DETERDING:  Well, in response, Commissioner, he

18   asked him if he was aware of any documents, and --

19             MR. McNAMARA:  No, I asked him if he was aware of any

20   agreements.

21             COMMISSIONER DEASON:  I'm sorry.  Please.  You will

22   be given ample opportunity to respond to the response.

23             MR. DETERDING:  He asked him if there were any

24   documents that showed that commitment, and I believe Mr.

25   Hartman was providing an answer that was responsive to that,

FLORIDA PUBLIC SERVICE COMMISSION

55

1   that he is aware of an affidavit.

2             COMMISSIONER DEASON:  Okay.  Mr. McNamara.

3             MR. McNAMARA:  Commissioner, I asked him if he was

4   aware of any agreements, written agreements was the question

5   that I had asked.

6             COMMISSIONER DEASON:  Okay.  I believe that the door

7   has been sufficiently opened, and that the answer was

8   responsive to the question, and I will allow the answer.

9             Mr. Hartman, you may expand upon that answer if you

10   see fit.

11             THE WITNESS:  Thank you.  I have no additional

12   extension to answer other than the entity has always, to date,

13   provided financial support, and there has been no limitation on

14   finances relative to the construction of good potable water to

15   serve these people.

16   BY MR. McNAMARA:

17        Q    But just getting back to my basic question, you are

18   not aware of any written agreements between the Miami

19   Corporation and Farmton Water Resources to provide financial

20   backing, correct?

21        A    Correct, based upon what I think you are

22   characterizing specifically as a, you know, eight or ten-page,

23   you know, legal agreement that you would see in an indenture or

24   some type of financial type thing.  The only thing I have seen

25   is the short affidavit, but I don't know of all of the

FLORIDA PUBLIC SERVICE COMMISSION

56

1   documents.  But what I can say is that it is my opinion, and I

2   don't change my opinion, that they definitely have financial

3   resources.  It's almost a joke to say they don't.

4        Q    You have not seen a financial statement, though, from

5   Farmton Water Resources, correct?

6        A    I have not seen that one document, no, I have not.

7        Q    With regard to your testimony that Farmton has the

8   technical ability to provide service, isn't it true that you do

9   not know Mr. Underhill's background in actually running a water

10   utility service, correct?

11        A    I do know his background.  His background as a

12   manager, not as running -- my answer is no, I do know his

13   background.  His background as a manager, professional manager

14   of properties, and a professional individual for land

15   management for over 25 years, and a businessman.  Businessmen

16   run utilities all the time.  It is just a matter of hiring

17   people to actually do the operations, and I do not know the

18   background of the various other employees.  I have learned the

19   background of Mr. Underhill since our deposition.  Because you

20   pointed that out to me, I have taken some time to educate

21   myself.

22        Q    And his background does not include running a water

23   utility, correct?

24        A    No.  And as many of the utilities that come in front

25   of the Commission, the land manager is not a utility manager.

FLORIDA PUBLIC SERVICE COMMISSION

57

1   As I stated in my deposition, Ralph Terrero (phonetic), Deltona

2   Utilities, works for us in operations.  I mean, I'm talking

3   about very seasoned, very capable people that many times we

4   have assisted in starting up utilities.  We do operational,

5   engineering, management, financial, all of those services are

6   within Hartman Associates.  Hartman Associates and TechraTech,

7   we have 900 people here in Florida.  You know, this is a

8   significant -- they have hired us for an overall umbrella

9   agreement, as I testified in my deposition, that is more

10   comprehensive than just what you are saying.

11        Q    I didn't ask anything about your company's

12   involvement, Mr. Hartman.  I asked you about Mr. Underhill's

13   background in running a water utility.

14        A    Oh, I'm sorry, I thought I answered that question.  I

15   thought you said that there was no technical capability.  I

16   misunderstood.

17        Q    I would like to just ask you, a minute ago you made

18   reference to the fact that your firm had been paid by Farmton

19   Water Resources, correct?

20        A    Yes.

21        Q    How much have you been paid so far with respect to

22   this case?

23        A    Chuck Drake knows the exact amount, but I do know

24   that it is in excess of $200,000, much more than our original

25   estimate to do the work, simply due to the duration of this

FLORIDA PUBLIC SERVICE COMMISSION

58

1   case and the intervention in this case which probably increased

2   the cost of the case ten fold.

3        Q    Well, do you recall what your initial estimate was?

4        A    Going all through the process, I didn't make the

5   initial estimate, so I don't recall that.  I think it was Chuck

6   Drake, so you would have to ask him.  But typically I can state

7   to you for Heron's Glen, another one that we have been just

8   recently retained that I did quote an estimate of 25 or $50,000

9   to do this, 25 noncontroversial.  But to the extent and

10   magnitude of this case, what has happened with all the

11   different governmental entities, et cetera, has ballooned the

12   cost significantly.

13             MR. McNAMARA:  Commissioner, if I could have a minute

14   to confer with my client.

15             (Pause.)

16             MR. McNAMARA:  That's all I have for now.

17             COMMISSIONER DEASON:  Thank you.  Mr. Knox.

18                          CROSS EXAMINATION

19   BY MR. KNOX:

20        Q    Mr. Hartman, I can barely see you down there.

21        A    I'll slide over a little bit.

22        Q    Mr. Hartman, I would like to refer you to the exhibit

23   that was handed out to you at the very beginning of your

24   testimony.  I believe it is revised Table 3-1.  Do you have

25   that in front of you?

FLORIDA PUBLIC SERVICE COMMISSION

59

1        A    Yes, I do.

2        Q    Okay.  There is a reference to a 20-gallon bladder

3   type hydropneumatic tank, a 200-gallon bladder type

4   hydropneumatic tank, and some chlorinators.  Have any of these

5   items been actually constructed, or built, or used at the well

6   sites?

7        A    The wells have been installed, the chlorinators and

8   the pressure tanks have not been installed, or the meters.

9        Q    Okay.  Can you tell me just a little bit, very short

10   succinct testimony, if you would, about how the chlorinators

11   would work?

12        A    Hypochlorination based.

13        Q    I'm sorry?

14        A    Hypochlorination that was based on flow.

15        Q    Physically, how would you go about chlorinating?

16        A    Physically, you have a drum that has the hypochlorite

17   solution in it, and then what happens is the flow goes by and

18   it is evacuated and it would chlorinate.

19        Q    Does that solution have to be replenished at all?

20        A    Yes, it does.

21        Q    Does that have to be done by someone who knows what

22   they are doing?

23        A    It is usually delivered and you -- these pick up the

24   metering pump and the rotameter, and then just drop it right

25   back into the new tank.  Typically the supplier does it.

FLORIDA PUBLIC SERVICE COMMISSION

60

1        Q    Wouldn't that be something that would be contracted

2   for by Farmton?

3        A    Most every utility when they buy chlorine contracts

4   for those things.

5        Q    Okay.  So when you say that Farmton has the technical

6   ability to provide service in the area, would the chlorination

7   be part of the technical ability that you are talking about?

8        A    Yes, they have the full technical ability as a

9   utility to do that.

10        Q    Okay.  Now, Mr. Hartman, if Farmton did not have the

11   ability to physically put these facilities in, they would not

12   have the technical ability any longer, would they?

13        A    I don't understand your question.  If they don't have

14   the ability to -- they do have the ability to put them in from,

15   you know, financial, technical, operational standpoint.

16        Q    Let me assume a hypothetical for you.  Assume for a

17   moment that they do not have the physical ability to place

18   these facilities on that property for reasons related to the

19   county commission's requirement that they give their consent.

20   Under those circumstances, they don't have technical ability to

21   provide that service, do they?

22        A    Under your hypothetical, stating that the county

23   somehow would not allow proper disinfection to potable water,

24   yes.

25        Q    Now, Mr. Hartman, let's talk about the Clark

FLORIDA PUBLIC SERVICE COMMISSION

61

1   Cattlehouse well.  You said there are some houses that are in

2   the vicinity of that well?

3        A    Yes.  In that area, yes.

4        Q    And those aren't part of the certificated area, those

5   houses, correct?

6        A    Well, there is a house there, Clark Cattle Ranch, but

7   the others are not, yes.

8        Q    Now, let's assume for a moment that the Public

9   Service Commission actually certificated the area you are

10   asking for, but you didn't have that, those houses you are

11   talking about in the certificated area.  You would have to

12   expand the certificated area to get those houses, wouldn't you?

13        A    You may or may not.  You can serve at the limit of

14   your certificated area and that could be the point of

15   connection with the meter within the certificated area.

16        Q    Okay.  Well, let's assume those five houses want

17   service from Farmton, you say they physically would have to

18   connect into what?

19        A    They could connect into a pipeline, if they wish.

20        Q    And that pipeline would go where?

21        A    Back to the well.

22        Q    To that single well, correct?

23        A    There is a single well there right now.  We are

24   building another one.

25        Q    Okay.  Is that well that is there now connected to

FLORIDA PUBLIC SERVICE COMMISSION

62

1   anything else?  Is it interconnected to any other well?

2        A    The existing well is not interconnected to another

3   well.

4        Q    Okay.  So for the purposes of providing service to

5   that particular facility, the Cattlehouse, or for the purpose

6   of providing service to any additional houses that might

7   connect into that particular house, the well at that location,

8   you wouldn't have -- you wouldn't need 50,000 acres of

9   certificated territory, would you?

10        A    I don't understand the question.

11        Q    If you want to provide service to the Cattlehouse or

12   to the houses that you are talking about that haven't got

13   service, you don't need 50,000 acres of certificated area to do

14   that, do you?

15        A    In a hypothetical that is the limits of your

16   property, and that is the limits of your consideration, under

17   your hypothetical -- this is a stream of hypotheticals, so I

18   guess under that hypothetical that would be true.  But, given

19   the present circumstances, it's not true.  Present

20   circumstances is that the whole property is managed as one

21   unit.

22        Q    Let me ask you another question, then.  If you are a

23   hunter and you want potable water at one of the wells that are

24   going to be built in the future for the hunt camps, how

25   physically would you be able to get water from that well once

FLORIDA PUBLIC SERVICE COMMISSION

63

1   it is in service?

2        A    It would be through a meter and then you would have a

3   connection to that distribution system.

4        Q    Okay.  And that well, again, is not interconnected to

5   any portion of any other well in the certificated area, is it?

6        A    It may or may not be.  It depends on what location

7   you are talking about.  There are some existing wells there

8   that may be used, and then there is another location would not

9   be.

10        Q    Did I hear you testify earlier that there is no

11   interconnection of these wells on this property?

12        A    The new wells.  I was asked about the new wells.

13        Q    Okay.  What is the answer to my question, are there

14   any interconnected wells at this time?

15        A    Not at this time, no.

16        Q    And you are saying the new wells are going to be

17   interconnected now?

18        A    A new well could be interconnected with an existing

19   good well on serving a site such that you have two sources as

20   shown in the lease.  That's possible.

21        Q    Is that part of the plan that you have in this

22   proposed certificated area?

23        A    Excuse me?

24        Q    Is that part of the -- is that interconnection part

25   of the plan that you have in this proposed certificated area?

FLORIDA PUBLIC SERVICE COMMISSION

64

1        A    We haven't gotten that far on tying the wells on the

2   same site together or not, but that is something we are

3   considering.

4        Q    Okay.  So for existing wells on the site that are not

5   interconnected today, anybody who wants to use water from those

6   wells would go to that location to get the water, would they

7   not?

8        A    Or they would build a distribution system as has

9   occurred out there.

10        Q    For the hunt clubs?

11        A    Yes.

12        Q    And how large are those systems?

13        A    I don't know totally how many connections were there,

14   but they had a PVC distribution system.

15        Q    Are we talking an area that covers five acres, ten

16   acres, how many acres?

17        A    I mean, if you make it as gross as a five to ten-acre

18   situation, it would not be greater than, you know, probably 20

19   acres or less.

20        Q    Okay.  So there would be nothing to prevent Farmton

21   from coming in and asking for a certificated area at each one

22   of the wells sites that was maybe 20 acres in size.  That would

23   provide the service, correct?

24        A    It wouldn't make any sense to do that.

25        Q    Well, that is not what I asked you.  The question is

FLORIDA PUBLIC SERVICE COMMISSION

65

1   is it possible for Farmton to come in and ask for certificated

2   areas of 20 acres in size to serve the particular well sites

3   that are serving these hunt club individuals?

4        A    Could they?

5        Q    Yes.

6        A    Hypothetically, there is always a possibility that

7   the people could do various different things, but that is not

8   how they operate.  That is not their overall management, and it

9   would be contrary to good utility practice and contrary to good

10   overall planning and management of the resources of the

11   property, so I don't understand why they would.

12        Q    All right.  Well, you are providing service to 260

13   families that are members of the hunt club, aren't you?  Isn't

14   that what you are going to?

15        A    Oh, yes.

16        Q    And it is your testimony you need 50,000 acres to do

17   that?

18        A    Well, that is the property of this -- that is in this

19   application, yes.

20        Q    All right.  And what if -- you haven't been to the

21   county commission to get consent to put these facilities in,

22   have you?  Speaking of Farmton, now.

23        A    I'm sorry, that's in Brevard County?

24        Q    That's correct.

25        A    No.

FLORIDA PUBLIC SERVICE COMMISSION

66

1        Q    So, you don't know whether or not Brevard County

2   might say yes, we will allow you to have the facilities, but

3   only at the well site locations; or, no, we won't let you have

4   facilities at all, do you?

5        A    Well, I think that is a determination, a future

6   determination.  I don't know how that works.  From a legal

7   standpoint, I don't think the -- I just don't know that a board

8   of county commissioners, because I served Osceola County when

9   we had those situations, we also have similar language in

10   Orange County, and Marion County, and DeSoto County, and we

11   serve 37 different counties in the State of Florida, and I

12   believe that -- I don't know that in a certificated area, I

13   believe it was in Marion County that the board of county

14   commissioners was found -- I think it was in Windstream, or

15   Windspring, or -- I forget which case that was, but that within

16   the certificated area and public utilities and running lines,

17   that is not considered to be plant facilities under land use

18   and zoning.

19        Q    You are not aware or are you aware of the existence

20   of Ordinance Number 3-32 in Brevard County?

21        A    I believe I'm aware of that, yes.

22        Q    Have you read that ordinance?

23        A    I believe I have, yes.

24        Q    Have you read the provision that requires that the

25   district board, which is the board of county commissioners, to

FLORIDA PUBLIC SERVICE COMMISSION

67

1   give their consent for water facilities that are constructed in

2   Brevard County?

3        A    It says water facilities, that is correct.

4        Q    All right.  So to answer my other question, you don't

5   know what the county commission would do in terms of putting

6   limitations on where your water -- where Farmton's water

7   facilities could go, do you?

8        A    I don't know what the --

9        Q    Yes or no.

10        A    I don't know.

11             MR. KNOX:  I don't think I have any other questions.

12   Thank you.

13             COMMISSIONER DEASON:  Mr. Bosch, how extensive is

14   your cross-examination going to be in terms of time?

15             MR. BOSCH:  Five minutes.

16             COMMISSIONER DEASON:  Okay.  Please proceed.

17                          CROSS EXAMINATION

18   BY MR. BOSCH:

19        Q    Mr. Hartman, Bill Bosch with Volusia County.  In

20   Volusia County you are aware that the county considers all

21   areas that are in unincorporated Volusia County that are not

22   presently served by a service agreement to be within the

23   county's service area, aren't you?

24        A    As a countywide service area document, yes.

25        Q    And that would include, in this case, the Farmton

FLORIDA PUBLIC SERVICE COMMISSION

68

1   property?

2        A    Yes.

3        Q    And the map that you have prepared and shown to us

4   earlier, that was prepared by yourself, correct?

5        A    Yes.

6        Q    And that shows that the City of Edgewater actually

7   abuts the Farmton property, does it not?

8        A    Yes, it does.

9        Q    Are you aware that the county and the City of

10   Edgewater have various service agreements between them?

11        A    Yes.

12        Q    And that, in fact, the county provides -- well, has

13   an agreement whereby it purchases wholesale water for the

14   unincorporated portions of the county that it services,

15   correct?

16        A    Yes, to the south along the highway there.

17        Q    And in turn the county has sold to the City of

18   Edgewater capacity for wastewater, isn't that true?

19        A    I believe so.

20        Q    And, in fact, the service area agreements are quite

21   common in the county, that is one of the ways that the County

22   of Volusia goes about providing these services, isn't that

23   true?

24        A    Well, it is one mechanism, yes.

25        Q    And the fact that the City of Edgewater abuts the

FLORIDA PUBLIC SERVICE COMMISSION

69

1   Farmton property, does that not mean that the county through

2   these service agreements, service area agreements, could extend

3   its service into the Farmton area if the need ever arose?

4        A    I would not see that happening.

5        Q    But is it not possible, sir?

6        A    I don't think there is infrastructure there to

7   facilitate that.

8        Q    Well, there is no infrastructure in the Farmton area

9   at all right now except for some wells, correct?

10        A    There's wells, but the infrastructure that is

11   necessary are wells at specific locations within an area as the

12   initial phase.  And it would be terribly inefficient, as I

13   testified earlier, to construct, I believe, within their city

14   limits and within their service area.  First, the City of

15   Edgewater also would have to construct facilities to be able to

16   accommodate it.  Terry Wadsworth (phonetic), the utilities

17   director there, as you know we are the engineers for their

18   water treatment plant and wellfield, so I believe that -- I

19   don't think that it is technically feasible right now.  The

20   facilities just aren't there.

21        Q    At this moment it is not feasible?

22        A    That is correct.

23        Q    But in the future it will be?

24        A    I don't know if -- I don't know what the plans down

25   in the Florida Shores area all the way out to that corner,

FLORIDA PUBLIC SERVICE COMMISSION

70

1   whether it would be adequate to provide any services of any

2   significance.

3        Q    That is something that the county could do if it

4   wanted to, if it wanted to invest the money and if it felt the

5   need?

6        A    Into the City of Edgewater's utility?

7        Q    Using the City of Edgewater through the service

8   agreements?

9        A    My point is I don't think the City of Edgewater has

10   the facilities.

11        Q    But the county could assist them in doing so if it

12   wished to?

13        A    Hypothetically, over some long period of time that

14   could possibly occur as a hypothetical.

15        Q    And if the county felt there were a need for service

16   in the Farmton area, then at some time down in the future the

17   county could do so, provide that water service through the City

18   of Edgewater, could it not?

19        A    Under your hypothetical it is absolutely possible.

20   Is it efficient or technically feasible from a customer service

21   standpoint and cost standpoint, absolutely not.

22        Q    You are familiar with the Volusia County Comp Plan,

23   correct, sir?

24        A    I have reviewed it, yes.

25        Q    Certain aspects of it.  Well, with regard to water

FLORIDA PUBLIC SERVICE COMMISSION

71

1   plants, lines, pump stations, does not the comp plan call for

2   the dedication of those structures and those facilities to the

3   county when they are built by the developer?

4        A    In a development situation that is not in a

5   certificated area, yes.

6        Q    You are aware that the County of Volusia is

7   designated as a priority resource caution area for water

8   purposes?

9        A    Yes, it is a sole freshwater source.  We did a lot of

10   studies in the county.

11        Q    And that means that the County of Volusia presently

12   with the demand does not have the supply, isn't that true?

13        A    No, it means that there has to be a caution relative

14   to how the supply is being developed environmentally and

15   appropriately hydrologically.  And there is some concern over,

16   you know, 50-year planning horizon or other planning horizons

17   relative to freshwater resources.  But I don't think there has

18   been any statement that Volusia County cannot develop adequate

19   water resources to meet its customer base.

20        Q    And is it not true that Farmton cannot join WAV,

21   which is the Volusia County planning agency for water

22   decisions?

23        A    They cannot because the local governments precluded

24   investor-owned utilities and agriculture from participating.

25   The prior organization, you know, the Volusian Water Alliance,

FLORIDA PUBLIC SERVICE COMMISSION

72

1   allowed like Florida Water Service and Deltona to participate.

2   They allowed the major entities to participate.  And this new

3   intergovernmental agreement has excluded agriculture, which is

4   a very large water need.  Volusia County, as a utility, is very

5   small and has a minor water supply capability.  Agricultural

6   just in the fern growing area is much greater than Volusia

7   County's entire water withdrawal.

8        Q    But the bottom line is Farmton cannot join WAV, can

9   it?

10        A    It can if the local governments would allow it.  And

11   it is only because of their conduct and decisions to exclude

12   the entity that it is not allowed.  They can.  It is an

13   interlocal agreement, and it could be amended at any time to

14   allow Farmton to --

15        Q    I am going to object to you testifying with regard

16   to --

17             MR. BOSCH:  Commissioner, I would object to him

18   testifying with regard to legal matters as to what can be

19   amended and what the law provides as far as the establishment

20   of WAV and interlocal agreements.  That calls for a legal

21   opinion.

22             COMMISSIONER DEASON:  There has been an objection.

23             MR. DETERDING:  Well, he asked Mr. Hartman if Farmton

24   could be a member, and I think Mr. Hartman was simply providing

25   an answer.  Plus, he should at least allow the witness to

FLORIDA PUBLIC SERVICE COMMISSION

73

1   complete his answer before he interjects.  If he wants to move

2   to strike at a later point, he can do so.

3             COMMISSIONER DEASON:  Mr. Hartman, is your answer

4   based upon a legal analysis or just your experience as an

5   expert in the field of water areas?

6             THE WITNESS:  Chairman, the latter.

7             COMMISSIONER DEASON:  Okay.  I will allow the answer.

8   You may proceed.

9             MR. BOSCH:  I have nothing further, Commissioner.

10             COMMISSIONER DEASON:  Okay.  Staff, how extensive is

11   your cross?

12             MS. FLEMING:  We have several questions,

13   Commissioners.  Probably no more than five or ten minutes.

14             COMMISSIONER DEASON:  Okay.  You may proceed.

15                          CROSS EXAMINATION

16   BY MS. FLEMING:

17        Q    Good morning, Mr. Hartman.

18        A    Good morning.

19        Q    Referring to your Exhibit GCH-1, I'm looking on Page

20   87, Schedule 1.  You included working capital allowance in rate

21   base.  Does the Commission normally include a working capital

22   allowance in original certificate cases?

23        A    No, they do not.  Typically they don't, because --

24   the answer is no initially, and then to explain the answer, in

25   this case I believe that it is appropriate simply because it is

FLORIDA PUBLIC SERVICE COMMISSION

74

1   existing demand.  It is existing customers, and it will

2   effectuate a lag such that working capital would be

3   appropriate.  In most original certifications there is not an

4   existing demand, and it is developed over time, and it is

5   appropriate that the Commission does not provide for that.

6        Q    Thank you.  On the tariff sheets that you have

7   provided, Pages 152 and 153 in your exhibit, the tariff

8   proposed by Farmton for retail potable water service shows

9   facility charges based on meter size, would you agree?

10        A    Correct.

11        Q    However, you just testified to Mr. McNamara that the

12   bills would be based on ERCs.  Can you please explain this?

13        A    I must have misspoke.  The bills would be based on

14   meter size for the base bill, for the base charge, and then the

15   consumption would go there.  That would answer that question.

16   I misspoke on that issue.

17             MS. FLEMING:  We have nothing further.

18             COMMISSIONER DEASON:  Commissioners, questions?

19             Redirect.

20             MR. DETERDING:  Yes.  Thank you, Commissioner.

21                        REDIRECT EXAMINATION

22   BY MR. DETERDING:

23        Q    Mr. Hartman, Mr. McNamara asked you about the

24   capacity of the wells, about the size of the wells located in

25   the Farmton property, both the present and proposed, and

FLORIDA PUBLIC SERVICE COMMISSION

75

1   referred to his Table 3-1.  Can you tell us what the capacity

2   of those wells is in gallons per day?

3        A    Yes.  The capacity would be in the order of, you

4   know, 118,000 gallons per day when we restrict the capacity.

5   This is just for the retail portion.  The QP on a peaking basis

6   would be multiples of that.

7        Q    118,000 gallons per day per well?

8        A    No, that would be in aggregate.

9        Q    This is the total?

10        A    So it would only in the order of about 20,000 gallons

11   average daily flow, you know, capacity designed per well.  But

12   the peaking capacity would be -- you would have maximum day

13   which is about two times that, and then peak hour which is two

14   times that.  So the multiples would be around four times that

15   in actual installed facility capacity.

16        Q    Mr. McNamara also asked you about the persons or what

17   was there, what is at these sites where these services are

18   provided.  How many people are anticipated to utilize those

19   services?

20        A    Well, in the peaking, the nine day opening up, I

21   guess, of hunt season there has been as many as a thousand

22   people out there.  So, you know, you have a lot of people.  And

23   that is just existing use.  In a sustained long-term it is

24   around 650, which would be considered a seasonal use.  And then

25   there is use throughout the year, 365 days a year, and the

FLORIDA PUBLIC SERVICE COMMISSION

76

1   numbers drop down on an annual average, on an annual basis.

2        Q    Now, you talked a little bit about the configuration

3   of the facilities that are currently located at the well sites.

4   Is the company in the process of revising the configuration of

5   those facilities?

6        A    We are considering various improvements and

7   betterments to those configurations as we go, but the

8   application stands as it is.

9        Q    And what is the nature of the improvements that are

10   being considered?

11        A    We're looking at the potential on more remote

12   locations of the solar power versus gasoline or diesel engine

13   situation.  The gasoline engine situation is what we had costed

14   out on some generator powering situations, but the solar power

15   well sites are very possible in a couple of the locations.  We

16   have gone through now the power feed and power drop situations

17   and, you know, the concrete hunt camps a half mile away from

18   power.  So, you know, we have changed a little bit that we may

19   just bring electrical power to some of the sites and just do it

20   that way.

21             Power goes all the way through the site.  A lot of

22   people say there is no power out there, there is a lot of power

23   out there.  It is not a tremendous grid, but down Maytown Road

24   all the way down to Clark Cattle Ranch has power.  So, I mean,

25   a large portion of the site has a main power feed system right

FLORIDA PUBLIC SERVICE COMMISSION

77

1   through it.  If you drive Maytown Road you will see the power

2   lines all the way from the site of Deltona all the way down to

3   Maytown, which is a vast majority of the site, of the paved

4   road that goes right through there.

5             And then you see the power going south.  There is

6   power all the way down to the cluster of homes that I talked

7   about that is not in this initial application, but I'm sure

8   they will want service.  I can't say sure.  I would believe, in

9   my opinion, they probably would want service once there is a

10   good potable service out there.  And there is power down to

11   Clark Cattle Ranch, and good power.

12        Q    What factors would go into the decision of what

13   additional facilities above those originally proposed in the

14   application two years ago would be needed or desired?

15        A    Based on customer requests.  There has been a

16   customer request of the Bell Ridge campgrounds, which has 100

17   units because, you know, they look forward to getting good

18   water supply.

19             COMMISSIONER JABER:  Mr. Hartman, may I interrupt

20   with a question on the previous answer you just gave.  Maytown

21   Road, is that the main road that comes off of -- I can't think

22   of the name of the highway, but is Maytown Road the main road

23   that gets you into the 57,000 acres?

24             THE WITNESS:  Yes, it is the one that goes straight

25   through the middle of the site.  And I was expressing the power

FLORIDA PUBLIC SERVICE COMMISSION

78

1   coming from the Deltona side.  It comes from the west side east

2   and does not come from the east side west.  There is no power

3   on the eastern side.

4             COMMISSIONER JABER:  Before the customer meeting I

5   had an opportunity to see the territory over which the

6   application covers.  And as you come into Maytown Road it is my

7   recollection that there are homes on the left and on the right

8   of the road.  Are those the homes that you were referencing

9   earlier?

10             THE WITNESS:  No, there is another cluster that is

11   south of Maytown Road.  At Maytown or just to the west of

12   Maytown there is a T, and there is a paved road going south,

13   and it is down that paved road where that cluster of homes is;

14   really right next to Clark Cattle Ranch.

15             COMMISSIONER JABER:  The cluster of homes you are

16   talking about and the homes that I'm talking about --

17             THE WITNESS:  Are two different clusters.

18             COMMISSIONER JABER:  All right.  Who provides water

19   and wastewater service to the homes you reference and the homes

20   that I'm talking about?

21             THE WITNESS:  The homes that I referenced are

22   individual well and septic tank.  And I believe there is a

23   central -- there is a 40 unit system which comes up on the side

24   that has a central water system out there.  It is not the

25   county, it is a private central system.

FLORIDA PUBLIC SERVICE COMMISSION

79

1             COMMISSIONER DEASON:  I'm sorry, Mr. Hartman, if you

2   are going to need to say anything you are going to need a

3   microphone.

4             THE WITNESS:  I'm sorry.  Come out where the

5   headquarters is right here.  You see that little -- I think

6   those homes that you were walking about, Commissioner, is right

7   in here on the north side of the road, right at the edge of the

8   property.

9             COMMISSIONER JABER:  Yes.

10             THE WITNESS:  There is a private 40-unit subdivision

11   in there that has their own central water system.

12             COMMISSIONER JABER:  A privately owned water facility

13   that is exempt?

14             THE WITNESS:  It is a private homeowners association

15   type situation.  They all got together right in here and built

16   their own central water system.  And that is how those people

17   get their service because the water quality is not that good.

18             COMMISSIONER JABER:  Okay.  Is it your understanding

19   that that homeowners association is probably exempt from

20   regulation?

21             THE WITNESS:  I do not know their legal status.  I

22   haven't been asked that question, but I do know it is a central

23   water system and I do know that it is not Volusia County's

24   system.

25             COMMISSIONER JABER:  Do you know the name of the

FLORIDA PUBLIC SERVICE COMMISSION

80

1   homeowners association?

2             THE WITNESS:  No, I don't.

3             COMMISSIONER JABER:  Okay.  With the cluster of homes

4   that you referenced that have the wells and the septic tanks,

5   are there any county or city requirements that if there is an

6   available central facility in the future that they would be

7   required to interconnect?

8             THE WITNESS:  There is an HRS requirement that when

9   you have central water service -- a central sewer service,

10   excuse me, on a septic tank that one year arrears notification

11   availability connection would be made giving the person some

12   time to effectuate that.  And I do not know in Volusia County

13   where there is a central water system available if there is a

14   mandatory connection for those entities other than the county.

15             COMMISSIONER JABER:  That is on the septic tank side.

16             THE WITNESS:  On the water side.  In the county I

17   don't know if there is a ordinance like that.

18             COMMISSIONER JABER:  Okay.  Thank you.

19   BY MR. DETERDING:

20        Q    Mr. Hartman, is Farmton currently charging for

21   service?

22        A    No.  No, they are not currently charging.  But they

23   intend to charge for service, and I have been informed that is

24   a corporate decision.  They are going to do it.

25        Q    You referred to, I believe, Mr. Thomas, the president

FLORIDA PUBLIC SERVICE COMMISSION

81

1   of the hunt club?

2        A    Yes.

3        Q    Is he the person you were referring to in stating

4   that there was an expected increase in demand within those hunt

5   clubs?

6        A    Yes.  He in his deposition testified that, you know,

7   due to the lack of water, I guess there is a little gender bias

8   here, but a lot of the women wouldn't go out there because they

9   can't take a shower and that kind of thing.  And with water --

10   I shouldn't laugh.  There were more men doing that and not

11   taking showers, if you know what I'm trying to say.  A little

12   bit of a gender bias there.

13             And he said that, you know, these are expensive

14   facilities.  Hunting is not an inexpensive endeavor, harvesting

15   wildlife.  They have nice, you know, motor homes and those

16   kinds of things.  And I'm sure that -- and he has testified

17   that more of the family -- you know, I have a daughter, and

18   when she was 17 I doubt strongly she would go some place for

19   three or four days without a shower.  So, I mean, this is what

20   we are trying to remedy.

21             And they want to have it.  It is a family hunting,

22   family wildlife, family natural experience.  That is why they

23   have kept the costs so low is to encourage a family connection

24   as a very healthy outdoors experience.  And right now the

25   families would -- you know, they want water service for their

FLORIDA PUBLIC SERVICE COMMISSION

82

1   families.

2        Q    You mentioned ECFS, I believe, in responding to a

3   question concerning bulk service, did you not?

4        A    Yes.

5        Q    At the time of certification of the ECFS system, were

6   they aware of the customer you mentioned, Reliant Energy?

7        A    No.

8             MR. BOSCH:  Objection.  This is getting outside the

9   scope of the cross examination.  He mentioned it, but there was

10   no details and there was no question directly asked on that

11   point, so to go any further on that particular issue is

12   irrelevant.

13             MR. DETERDING:  Well, he asked him about the nature

14   of the bulk service.  And I'm trying to find out from this

15   witness several things about the nature of the anticipated bulk

16   service and those that may not be anticipated.

17             COMMISSIONER DEASON:  I believe that the redirect is

18   within the scope of the cross-examination.  I will allow the

19   question.

20   BY MR. DETERDING:

21        Q    But this is a bulk customer that is served by ECFS

22   now?

23        A    Yes.  There are several bulk services that were not

24   envisioned at the time of the application that occur right now.

25   The Osceola County fire district station is a very strong

FLORIDA PUBLIC SERVICE COMMISSION

83

1   public health, safety, and welfare entity that now can have a

2   fire station out there that now has the raw water to fill those

3   tankers to put out fires.  I mean, it has been a tremendous

4   benefit to the area.  That bulk service is provided at, you

5   know, like 20 cents or 25 cents a thousand gallons, which is,

6   you know, very inexpensive.

7             Reliant Energy Corporation would not have a power

8   plant, a 500-megawatt merchant power plant down there without

9   adequate service of water supply, and that was a limiting

10   factor.  And three of the ECFS wells were intertied to provide

11   that service.  And that is a major -- you know, that is a

12   500-megawatt power plant that was not envisioned at the time.

13   And there is others.  I mean, some of the stations, some

14   microwave stations and other things like that now have water

15   service that didn't have water service before.

16             And, that is just to bulk customers.  But there is a

17   tremendous benefit to people who, you know, utilize the

18   property, and people that live there and people that work

19   there.  People that need water to have good potable water is

20   appropriate.  And that is all we are talking about here is

21   providing good potable water and a proper water supply for the

22   health, safety, and welfare of the area.

23        Q    Are there other types of bulk customers that would be

24   jurisdictional, in other words, nonexempt under the statute?

25        A    Oh, yes.  Someone like Reliant Energy Corporation is

FLORIDA PUBLIC SERVICE COMMISSION

84

1   not exempt under the statute, and there's many other entities

2   that would not be exempt.

3        Q    Would industrial customers requesting raw water be

4   exempt?

5        A    No.

6        Q    Would mobile home parks providing service to their

7   residents, who themselves are exempted entities, be exempt

8   service from a bulk provider?

9        A    No.  And that is one of the options in serving Bell

10   Ridge, the 100 units there.  We could provide a bulk meter to

11   serve that 100 units.  When I was in there, there are a lot of

12   people that live there, so, you know, that is a major enclave,

13   if you will.  It must be 60 acres or something.  I may be wrong

14   with the acreage, but maybe 40 acres of property.  I don't know

15   exactly the acreage.  I shouldn't have stated the acreage.  But

16   when driving through there, it is dense.  It has quite a few

17   people living there and they use -- a lot of those people use

18   the hunting there and other places.  They are hunters sort of

19   wanting to get out in nature or people who want to live out in

20   the natural setting.

21        Q    Mr. Knox asked you about the financial statements of

22   Farmton.  Has Farmton received any revenue to this date?

23        A    No, not to my knowledge other than from the parent.

24        Q    Could they receive revenue for water service without

25   being certificated?

FLORIDA PUBLIC SERVICE COMMISSION

85

1        A    No.

2        Q    In your GCH-1, which is the application -- do you

3   have that handy?

4        A    Go ahead.

5        Q    Would you please refer to Exhibit E?

6        A    I may not have that right in front of me.  Thank you.

7        Q    That is Exhibit E to the application?

8        A    Yes.

9        Q    And what is that?

10        A    It's basically a statement of assets, liability, and

11   capital, and it shows that at Farmton Management, LLC, there is

12   $1,040,000 in cash or cash equivalent assets, and then there is

13   an investment asset listing of $10,000, for total assets of

14   $1,050,000.  So, therefore, there is about a million bucks.  I

15   was made aware that there was about a million dollar transfer

16   from the parent to this entity, to Farmton Water Resources,

17   LLC, which is held for use by Farmton Water Resources.

18        Q    And that is pretty much entirely liquid assets?

19        A    Yes.  I'm not a -- Tara Hollis is a CPA, but from an

20   engineering standpoint in utilities, 1,040,000 of that is in

21   cash or cash equivalence.

22        Q    And the second page of that exhibit is an affidavit?

23        A    Yes.

24        Q    And that is a sworn statement from Farmton

25   Management?

FLORIDA PUBLIC SERVICE COMMISSION

86

1        A    Yes, it is, and it is dated the 16th of December,

2   2002, that they will provide the financial resources to cover

3   all capital needs and any operating deficits of water service.

4        Q    Have they done so thus far?

5        A    Yes, they have.

6        Q    Are you aware of a sworn affidavit from Miami Corp

7   committing similar commitment to provide necessary funding?

8        A    Yes.

9        Q    Does any original certificate -- utility requesting

10   an original certificate need its certificated service territory

11   in order to serve its first customers?

12        A    Do they --

13        Q    Well, let me back up.  Let me preface that a little.

14   Mr. Knox was asking you about whether or not you needed to

15   certificate the entire area in order to serve the first

16   customers, the hunt club?

17        A    Uh-huh.

18        Q    As they now exist.  Does any utility need its entire

19   certificated service territory the day it becomes a utility?

20        A    Yes.  The initial certificate area can be amended,

21   but, yes, you need the entire service area, then you can plan,

22   provide for capital funding, do all the aspects you need to do

23   as a utility to provide for services and to respond to customer

24   requests.  But you also are taking on the obligation to provide

25   the services to those customers within that certificated area,

FLORIDA PUBLIC SERVICE COMMISSION

87

1   so it is not just a hallow thing.  You have the obligation for

2   service as well as the certificated area for service.

3        Q    Does Farmton intend to serve all requests for service

4   within the area requested?

5        A    Yes.

6        Q    Doesn't Brevard County claim all of the

7   unincorporated county as its service territory?

8        A    Yes.

9        Q    Doesn't Volusia County claim all of the

10   unincorporated county as its service territory?

11        A    Yes, in what I would call a countywide determination.

12   And in the counties that I have participated with them in doing

13   similar things, the county commissions have made the finding

14   that it is in the public interest to have the unincorporated

15   area people to get utility service.  In other words, the

16   utility service is in the public interest, public health,

17   safety, and welfare.  So the public interest aspect has already

18   been determined in the counties that I served when they made

19   countywide service areas, or it is not consistent to have a

20   countywide service area and then say, no, you can't have

21   utility services.

22             In the countywide service area there is an

23   intention -- it is in the public interest to have service.  And

24   many counties in the State of Florida have done that.  The

25   board of county commissioners have deliberated recently in

FLORIDA PUBLIC SERVICE COMMISSION

88

1   Marion County and many others, DeSoto County, et cetera, have

2   deliberated and said that there is a preference to have good

3   quality water provided to their people in their county.  You

4   know, not to live off wells and septic tanks.

5        Q    Are there areas within Brevard and Volusia County

6   that are currently not in need of service and yet are included

7   within those territories claimed by those counties?

8        A    Absolutely.  I think that was testified to by Mr.

9   Martens in his deposition.

10        Q    Mr. Bosch, I believe, asked you about the location of

11   Edgewater in relation to the territory of Farmton?

12        A    Yes.

13        Q    They are the one entity city that is immediately

14   adjacent to the territory?

15        A    Yes.

16        Q    Did they object to this application?

17        A    Initially they had an objection, but they have

18   settled their objection, similar to many other applications and

19   settlements that they have settled with Farmton Water Resources

20   relative to this application.  The City of Edgewater has a

21   settlement agreement that was entered into between the parties.

22        Q    So they withdrew their opposition to this

23   certification?

24        A    Yes.

25        Q    You were asked about the technical feasibility of

FLORIDA PUBLIC SERVICE COMMISSION

89

1   Volusia providing service to the area.  Do they have any

2   facilities within miles of the areas currently in need of

3   service within the Farmton territory?

4        A    No, they do not.  I believe, the counsel -- Mr. Bosch

5   talked about utilizing an agreement with another entity that

6   would also have to build facilities in the hypothetical to then

7   provide for service.  But the other entity -- we are the

8   consultants for utilities for Deltona, which is the next

9   closest -- next closest one with their wells over here, and,

10   you know, they have no problem with this.  They are the largest

11   city in the county.

12        Q    You were asked about WAV and its relationship to the

13   prior entity, the Volusian Water Alliance.  Can you explain the

14   difference between those two entities and who participates in

15   each and the nature of them as far as inclusion of all the

16   possible resources, water resources?

17        A    Yes.  The first one, the Volusia Alliance

18   organization was a planning and water resource group that had

19   scientific and technical capabilities with their membership,

20   and they had meetings with agriculture, with private utilities,

21   with all of the water users.  It was a stakeholders type group.

22   The major water users, if they wanted to participate, they

23   could participate in this group for comprehensive water

24   resource planning capability.  There was no preclusion to

25   eliminate agriculture, there was no preclusion to eliminate

FLORIDA PUBLIC SERVICE COMMISSION

90

1   industry, there was no preclusion to eliminate commerce, there

2   was no preclusion to eliminate power and power water needs.

3   There was no preclusion for investor-owned utilities.  There

4   was no preclusion for other activities which now under the

5   interlocal agreement has been limited solely to public

6   government.

7        Q    That latter, that limitation is --

8        A    Under WAV.  But a lot of information that WAV uses

9   was some information that was developed under the prior

10   organization.  I mean, they use some of the documents.

11        Q    WAV was only created recently?

12        A    Yes.

13        Q    In your opinion, is this new configuration better or

14   worse than the prior configuration under the Volusian Water

15   Alliance as far as planning for water resource management and

16   demands?

17        A    Well, I wouldn't characterize it as -- it is a

18   governmental planning, which is only a small portion.  Power

19   plant water use is huge.  I mean, agricultural water use is

20   huge.  In Volusia County it is probably bigger than the

21   governmental water use.  So they are really missing the boat.

22   If you are planning for water resources you would think that

23   you would use the major users of water use in the organization

24   for planning those water resources.  But I think it has its --

25   it is superior in a fashion that it can build facilities and

FLORIDA PUBLIC SERVICE COMMISSION

91

1   have some other rights and privileges conveyed to it through

2   the interlocal agreement of government, but it is limited to

3   only including government and governments, you know, public

4   government's wishes and desires as they would meet and discuss

5   it, and it precludes so many other water uses.

6             Under the water management district they have -- if

7   you look at Volusia County, there is more water uses in Volusia

8   County outside of government than inside government.  So it is

9   a minority, if you will, or a small portion, I guess.  It is a

10   minor part of the overall water uses in the county that are

11   represented by that organization versus the majority of water

12   resources and planning that has all the other uses.  And I

13   think that is a failing, if you will, if you were asking about

14   that.  I think that it doesn't include all the aspects that

15   should be included, but that is just my opinion.

16             It has benefits that it has more teeth.  It has

17   more -- for government it has benefits that they can bond

18   together and do things as a stronger entity for alternative

19   water supplies.  It has a voice.  It is stronger.  It is more

20   similar to the Tampa Bay water situation where you have a

21   stronger voice with the water management district, with all

22   governments getting together.  So as a public interest group,

23   if you will, and developer of future sources, I think that WAV

24   has a benefit, I mean, for government.  But it is not all

25   things, and it is definitely not the majority.  And it is not

FLORIDA PUBLIC SERVICE COMMISSION

92

1   going to have good planning for the entire county.  I think the

2   water management district now has more responsibility because

3   of the exclusions.  The planning aspect I think is very weak

4   from that standpoint.

5             MR. DETERDING:  That's all I have, Commissioner.

6             COMMISSIONER DEASON:  Exhibits.

7             MR. DETERDING:  Yes.  Are we going to need to move

8   each of these, or are they stipulated into the record?

9             COMMISSIONER DEASON:  No, we are going to need to

10   move each of these.  They have identified within Exhibit 1, but

11   we need to move each exhibit individually as witnesses take the

12   stand.

13             MR. DETERDING:  Okay.  I would move GCH-1 and GCH-2

14   into the record.

15             COMMISSIONER DEASON:  That would be Exhibits 3 and 4?

16             MR. DETERDING:  That is correct.

17             COMMISSIONER DEASON:  Okay.  Without objection?

18   Hearing no objection, show Exhibits 3 and 4 are admitted.

19             (Exhibits 3 and 4 admitted into the record.)

20             COMMISSIONER DEASON:  We earlier had a document that

21   was utilized during cross-examination, there was no exhibit

22   number requested.  What is the status of this?

23             MR. McNAMARA:  Commissioner, I don't know what the

24   appropriate procedure would be.  Normally, I would introduce it

25   during our case in chief, but I would be happy to introduce it

FLORIDA PUBLIC SERVICE COMMISSION

93

1   as an exhibit now.  I think it was properly identified by the

2   witness.

3             COMMISSIONER DEASON:  Just so the record is clear, we

4   will go ahead and identify this.  Is this going to be -- let me

5   ask this.  This is going to be introduced at a later time by

6   another witness?

7             MR. McNAMARA:  I would be happy to have it introduced

8   through Mr. Hartman.  But normally the process in the other

9   administrative hearings I have been involved with is you have

10   the witness properly identify the exhibit and then you actually

11   move it into evidence during your case in chief.  I would be

12   happy to move it into evidence now if there is no objection

13   from Farmton's counsel.

14             MR. DETERDING:  Commissioner, we have no objection to

15   it being moved in, but it is already a component of -- I

16   believe, of the GCH-1, which is now Exhibit 3.

17             COMMISSIONER DEASON:  Okay.

18             MR. McNAMARA:  Commissioner, it was my understanding

19   that this is a May 6th, 2004, change which was not included in

20   the original application.

21             MR. DETERDING:  I apologize.  It is a revised version

22   of that, and we have no objection to it being moved in.

23             COMMISSIONER DEASON:  Okay.  We will identify it as

24   Hearing Exhibit Number 38, and there is no objection to its

25   admittance, therefore, show that Exhibit 38 is admitted.

FLORIDA PUBLIC SERVICE COMMISSION

94

1             (Exhibit Number 38 marked for identification and

2   admitted into the record.)

3             COMMISSIONER DEASON:  Thank you, Mr. Hartman.

4             THE WITNESS:  Thank you.

5             COMMISSIONER DEASON:  We are going to take a

6   ten-minute recess, and we will reconvene.  We will probably be

7   breaking for lunch sometime after 1:00 o'clock, so just for

8   planning purposes, to put you on notice.  But we will take a

9   ten-minute recess at this point.

10             (Recess.)

11             COMMISSIONER DEASON:  Let's call the hearing back to

12   order.  Okay.  During the break I was informed that there may

13   be a possibility of going ahead and moving all of the exhibits

14   that are identified within Hearing Exhibit 1, moving the entire

15   list and the exhibits into the record.  Staff, is that your

16   understanding?

17             MS. FLEMING:  Yes, that is correct, Commissioner.

18             COMMISSIONER DEASON:  It is my intent then that would

19   be exhibits -- we already have it identified and admitted -- 1,

20   2, 3, and 4, and that would constitute Exhibits 5 through 37.

21   So, unless I hear an objection, I am going to go ahead and

22   admit Exhibits 5 through 37.  Hearing no objection, show then

23   that Exhibits 5 through 37 are admitted into the record.  Maybe

24   that will expedite things.  And I appreciate that being brought

25   to my attention.

FLORIDA PUBLIC SERVICE COMMISSION

95

1             (Exhibits 5 through 37 admitted into the record.)

2             COMMISSIONER DEASON:  Mr. Deterding or Mr. Wharton,

3   you may call your next witness.

4             MR. WHARTON:  Yes.  We would call Mr. Howard Landers.

5                          HOWARD M. LANDERS

6   was called as a witness on behalf of Farmton Water Resources,

7   LLC, and testified as follows:

8                         DIRECT EXAMINATION

9   BY MR. WHARTON:

10        Q    Sir, would you please state your name and

11   professional address for the record.

12        A    Howard M. Landers, 326 Settlers Lane, Charlotte,

13   North Carolina 28202.

14        Q    Have you previously been sworn today?

15        A    Yes, I have.

16        Q    All right.  Have you been retained by Farmton to

17   provide testimony and expert opinions in this proceeding?

18        A    Yes, I have.

19        Q    And did you prepare on behalf of Farmton prefiled

20   direct testimony consisting of four pages?

21        A    Yes, I did.

22        Q    And if I asked you those same questions here today,

23   would your answers be the same?

24        A    Yes.

25        Q    Sir, do you have any corrections or modifications to

FLORIDA PUBLIC SERVICE COMMISSION

96

1   make to that testimony at this time?

2        A    No, I do not.

3        Q    All right.  Did you also prepare in conjunction with

4   the preparation of that testimony an exhibit, which is your

5   resume, which has now been stipulated as Exhibit 5?

6        A    Yes, sir.

7        Q    All right.  Sir, would you please summarize your

8   direct testimony.

9        A    Yes.  My direct testimony consists of approximately

10   six points.  First of all, in my opinion Farmton is proceeding

11   in the proper order to go to the Public Service Commission for

12   a certification of a water territory as a first step in

13   commencing any activity related to providing a water service.

14             Secondly, I have stated that Florida's planning

15   statute, Chapter 163, Part 2, does not enable local government

16   to supersede Public Service Commission authority.  At 163.3211,

17   conflict with other statutes says, paraphrasing, that nothing

18   in this act is intended to withdraw or diminish the legal

19   powers and responsibilities of other state agencies, their

20   established powers.

21             Third, the creation of a Public Service Commission

22   service territory is not development as defined in Chapter

23   380.04 where development is defined, which is cross-referenced

24   by Chapter 163, the comprehensive planning statute.  And,

25   therefore, the creation of a public service territory is not

FLORIDA PUBLIC SERVICE COMMISSION

97

1   subject to the comprehensive planning statute.

2             Even if Farmton -- point four is even if Farmton were

3   proceeding with development, the comp plans of Brevard County

4   and Volusia County are not as limited as statements made by the

5   counties' witnesses would lead us to believe, and I do have two

6   exhibits that I would like to refer to very briefly.

7             Exhibit HML-2 is from the Brevard County land

8   development regulations, and it provides a linkage between

9   agricultural land use designation and a variety of zoning

10   classifications.  And when you look at that then there are --

11   you look through those zoning classifications, there are a

12   large number of uses other than residential and agricultural

13   which the county has alluded to.

14             Similarly, Exhibit HML-4, which is from the Volusia

15   County land development regulations, provides a similar type of

16   cross-reference between the three categories of -- three land

17   use designations or categories, and then cross-references those

18   to different zoning categories that can be -- zoning categories

19   that are consistent with the comprehensive plan.  And all of

20   that is pursuant to state statute that the land development

21   regulations are one of the implementing entities or

22   implementing tools of comprehensive plans.  And, therefore,

23   statements that have been made that low density residential or

24   very large lot residential is what the comp plan allows is not

25   the case.  That these plans through the land development

FLORIDA PUBLIC SERVICE COMMISSION

98

1   regulations do allow a great variety of uses that would benefit

2   from or actually require central water services.

3             These provisions of the comp plan are also responsive

4   to state rules on the prevention of urban sprawl.  Both of

5   those county plans are in compliance.  They, therefore, have

6   been judged by the State of Florida, Department of Community

7   Affairs, to meet all requirements related to -- contained under

8   Rule 9J-5.  Therefore, references to sprawl, the comprehensive

9   plans contain numerous provisions as required by statute to

10   prevent sprawl and nothing that would occur through the

11   creation of a Public Service Commission service territory would

12   in any way hinder or obviate those sprawl-preventing

13   provisions.

14             Fifth, the counties' testimony has acted as though

15   planning is a static process.  It is not.  Chapter 163 provides

16   at least three means through which a comprehensive plan can be

17   amended, and amendments to the comprehensive plan are very

18   common.

19             And then, finally, in my direct, a Public Service

20   Commission certificate does not create any impacts on natural

21   resources.  And that is parallel to my statement that creation

22   of a public service certificate is not development.  I believe

23   that any reference to a water service territory creating any

24   impacts on natural resources can be seen on the map that Mr.

25   Hartman has prepared and been using, his large exhibit.  Every

FLORIDA PUBLIC SERVICE COMMISSION

99

1   one of those water service areas, utility districts, or

2   whatever they are that are shown on there are a solid color.

3   They cover the entire area.  There are numerous provisions in

4   every comprehensive plan that protects the natural resources of

5   that jurisdiction, and the mere fact that you can provide water

6   within -- or any other utility in no way constrains or limits

7   the application of those protections of natural resources.

8             That's a summary of my original statement.

9             MR. WHARTON:  Commissioner Deason, we would request

10   that Mr. Landers' prefiled direct testimony be inserted into

11   the record as though read.

12             COMMISSIONER DEASON:  Without objection it shall be

13   so inserted.

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

104

1             MR. WHARTON:  We would tender the witness.

2             COMMISSIONER DEASON:  Mr. McNamara, do you wish to

3   go --

4             MR. McNAMARA:  I believe Mr. Knox will go first.

5             COMMISSIONER DEASON:  Okay.  Very well.  Mr. Knox.

6             MR. KNOX:  Thank you.

7                          CROSS EXAMINATION

8   BY MR. KNOX:

9        Q    Mr. Landers, you are familiar with the Brevard County

10   comprehensive plan potable water element?

11        A    Yes.

12        Q    And you have read Policy 3.4 and 3.5?

13        A    Yes.

14        Q    Then you are aware that Policy 3.4 requires newly

15   proposed service areas to come before the board of county

16   commissioners for approval as well as any other applicable

17   agencies?

18        A    That is what it says.  And in my opinion we are in

19   that process now.  As I said earlier, the Public Service

20   Commission is the first step in a process.

21        Q    Okay.  Well, we will get to that in a second.  But

22   you agree that is what it says, correct?

23        A    Yes, sir, I believe that is what it says.

24        Q    Okay.  And you will acknowledge -- have you read

25   Ordinance Number 3-32?

FLORIDA PUBLIC SERVICE COMMISSION

105

1        A    I believe I read a draft of it before it was adopted.

2        Q    Okay.  So you are familiar with the fact that the

3   county commission has created a special district to approve the

4   creation of water and sewer service, or water and sewer systems

5   in the county?

6        A    The ordinance that I have read created a county-wide

7   water district.

8        Q    Okay.  And under that ordinance the county

9   commission, acting as the district board, has to consent before

10   a water system can be constructed, does it not?

11        A    Before a water system can be constructed?

12        Q    Yes.

13        A    I believe that it does say that as an extension to

14   existing water systems, et cetera.

15        Q    Okay.  So if Farmton succeeds in certificating 50,000

16   acres in accordance with the application it has filed, it will

17   have an obligation to provide service, will it not?

18        A    Yes.

19        Q    Well, Mr. Landers, tell me, how is Farmton going to

20   be able to guarantee that it is going to provide service if it

21   hasn't gone before the Board of County Commissioners to obtain

22   their consent to building facilities that will provide those

23   services?

24        A    Well, in my opinion -- again, as I stated, the

25   primary authority here is the Public Service Commission.  We

FLORIDA PUBLIC SERVICE COMMISSION

106

1   are at the first step of what could be a series of steps, and

2   the Public Service Commission can grant that authority.  Then

3   as Farmton proceeds there may be any variety of other steps

4   that have to be approved for a variety of agencies.

5        Q    Okay.  Well, would you agree with me that until

6   Farmton has gone to the Board of County Commissioners under

7   Ordinance 3-32, it will not have received the county consent to

8   build water facilities on its property?

9        A    Sir, I don't believe --

10             MR. WHARTON:  Objection, Commissioner.  I don't blame

11   Mr. Knox at all because it is difficult to be in his chair, but

12   I think we are getting into the rebuttal.  I don't think there

13   is anything in these four pages of direct about this county

14   ordinance, and I don't think Mr. Landers commented upon it in

15   any way, shape, or form.  I think it is beyond the scope of

16   direct.  I think he does talk about it in rebuttal.

17             COMMISSIONER DEASON:  There has been an objection it

18   is beyond the scope of the direct testimony.

19             MR. KNOX:  Well, if we want to wait for the rebuttal,

20   I will be glad to do it.  Otherwise, I can get it all done

21   right now.

22             MR. WHARTON:  Well --

23             COMMISSIONER DEASON:  Do you withdraw your objection?

24             MR. WHARTON:  No.  I think we should wait and do it

25   in the proper order, just so that there is a little more

FLORIDA PUBLIC SERVICE COMMISSION

107

1   cohesiveness to it.

2             COMMISSIONER DEASON:  Mr. Knox, you concede that your

3   questions are outside the scope of the prefiled direct?

4             MR. KNOX:  I will concede they go to the rebuttal.

5             COMMISSIONER DEASON:  Okay.  I would just ask you to

6   save your questions then for the rebuttal.

7             MR. KNOX:  Okay.

8             COMMISSIONER DEASON:  Very well.

9   BY MR. KNOX:

10        Q    Mr. Landers, let's talk a little bit about your

11   assessment of urban sprawl, if you would.  Have you been out to

12   see this property at all?

13        A    Yes, I have.

14        Q    And how would you characterize it?

15        A    As rural, agricultural, civil cultural lands.

16        Q    And there is no residential development out there at

17   this time is there?

18        A    Well, there is some.

19        Q    No significant residential development?

20        A    No, not within the bounds of the property.

21        Q    Would you agree with me that there are wetlands on

22   this property?

23        A    Yes, I would.

24        Q    And are you familiar with the county comprehensive

25   plan policies and regulations governing wetlands?

FLORIDA PUBLIC SERVICE COMMISSION

108

1        A    Yes, I have read them.

2        Q    And do you have any opinion as to whether or not the

3   wetlands would be able to be developed?

4        A    Well, there is a whole -- as I said in my summary,

5   there is a whole body of regulation both by the county, the

6   State of Florida, and the United States government that

7   regulates impacts upon wetlands and other natural resources.

8   And within the constraints of those regulations, those natural

9   resources are properly managed.  But to say that no development

10   is allowed in wetlands areas is not true.  There are ways of

11   mitigating impacts on wetlands for development.  But I go back

12   to my basic premise that creation of a Public Service

13   Commission certificated area in and of itself does not impact

14   wetlands.  It does not obviate or negate the other regulations

15   on wetlands.

16        Q    Okay.  That's fair.  But we are dealing with 50,000

17   acres here, correct?

18        A    Yes, sir.

19        Q    And we are dealing with the proposal to establish a

20   water system in that 50,000 acres, correct?

21        A    That's correct.

22        Q    And in the future sometime, who knows when that is

23   going to be, there is a chance that large scale commercial or

24   residential development may occur on this 50,000 acres, is that

25   correct?

FLORIDA PUBLIC SERVICE COMMISSION

109

1        A    I didn't hear that as a question, I'm sorry.  In the

2   future there is that potential?

3        Q    Yes.

4        A    That development would occur, yes, sir.

5        Q    Now, under those circumstances, there are going to be

6   areas that are preserved, is that your experience?

7        A    Yes, sir.

8        Q    And under those circumstances there would be higher

9   density developments that may occur sometime in the future,

10   correct?

11        A    There could be, yes, sir.

12        Q    And a water system, a potable water system would be

13   required basically in order to serve those particular kinds of

14   developments, wouldn't it?

15        A    If that is a choice of the owner to develop or to

16   sell to others to develop, yes, sir.

17        Q    And, in fact, you have indicated in your direct

18   testimony that the current regulations would even require a

19   central water system of some kind if they were going to be

20   developed to their full potential?

21        A    I believe I have.  I don't know that I did that in my

22   direct.  I would have to look back and see.

23        Q    Well, I thought you just told us that in your

24   summary?

25        A    That's fine.

FLORIDA PUBLIC SERVICE COMMISSION

110

1        Q    All right.  So since that was part of your summary,

2   and since that was part of your direct testimony, I will once

3   again raise the issue as to how Farmton is going to be able to

4   guarantee that that service is going to be available at

5   sometime in the future if they have not come to the county

6   commission for approval?

7        A    Well, again, there are all sorts -- if they want to

8   develop facilities that are regulated by the county, they will

9   have to come to the county to get those approvals.  And, you

10   know, there is a whole array of approvals that have to be

11   obtained in order for anybody to develop under Chapter 163

12   under anybody's comprehensive plan.

13             You are asking the question as though the existence

14   of those plans prohibit development.  In my opinion that is not

15   the case at all.  The comprehensive planning process is

16   established as a growth management tool, and I put emphasis on

17   that word management.  It is to manage how growth and

18   development occur, not to prohibit growth and development.  And

19   each of the counties involved has a comprehensive plan that

20   sets forth a very complex set of rules as required by Florida

21   Statutes on how any landowner or any developer can go about

22   developing their land.  And, yes, there is a whole variety of

23   regulations that play out if and as anybody were to develop

24   regulated development on this land.

25        Q    Okay.  Well, if we assume that the future is six

FLORIDA PUBLIC SERVICE COMMISSION

111

1   months from now and somebody walked into Miami Corporation

2   headquarters and proposed to buy 10,000 acres to build a

3   development of regional impact, how would Miami Corporation or

4   Farmton be able to ensure them they would be able to get

5   central water?

6        A    Well, again, there is a whole series of steps that

7   would have to be gone through.  First of all, they have a

8   Public Service -- let's assume that by that time they have a

9   Public Service certificate to provide water, they are a

10   bona fide water service utility.  I have worked in numerous

11   cases on behalf of developers where a contract or an option to

12   purchase land contained any number of conditions that had to be

13   satisfied before that contract were executed.  So that, say,

14   XYZ Development Company wants to buy those 10,000 acres, as a

15   prudent buyer they would have a number of conditions.  Some of

16   those which they may go forth and satisfy, some of which the

17   landowner would have to go forth and satisfy.

18             You just mentioned if they wanted to do a DRI.  I

19   have worked in many cases where a developer was buying property

20   and the purchase contract on that property was subject to the

21   obtaining of a development order under 380.06 as a development

22   of regional impact.  I have worked on many situations where the

23   provision of -- the successful provision of utilities,

24   extension of utilities, or provision of utilities was a

25   condition precedent to concluding a sale on that property.  So

FLORIDA PUBLIC SERVICE COMMISSION

112

1   that is not at all uncommon.

2             You can't go out and accommodate -- I mean, conclude

3   all of these requirements under a variety of development

4   regulations without some specific development in mind.  It is

5   not an abstract world.  You have to start with something

6   specific and proceed to work through a number of approvals that

7   would be required to meet the specifics of that development

8   interest.

9        Q    Okay.  The beginning of your answer to my question

10   assumed that there was a certificated area that would allow

11   Farmton to provide that water system, correct?

12        A    Yes.

13        Q    All right.  Would you agree with me that Farmton

14   could not guarantee that it had the ability to provide water

15   service until it came to the county commission to obtain their

16   consent to build the facilities?

17             MR. WHARTON:  Objection, it calls for a legal

18   conclusion, and a darn complicated one, too.  It is certainly

19   part of what we will brief, that this county has set up an

20   ordinance saying they can override your jurisdiction, in our

21   opinion.  And we are going to brief that issue, and I think you

22   are going to have to decide it.  But this witness can't help

23   you out there.

24             COMMISSIONER DEASON:  You heard the objection.  Is

25   there a response to the objection?

FLORIDA PUBLIC SERVICE COMMISSION

113

1             MR. KNOX:  My response, Mr. Chairman, is that a

2   planner who is providing that kind of advice to his client is

3   going to have to know his limitations and what they can and

4   cannot do.  And I think it is within his confidence to answer

5   that question.

6             COMMISSIONER DEASON:  I will allow the response

7   within the confines of the witness' expertise.

8             THE WITNESS:  Well, again, I'm not an expert on what

9   exactly that new ordinance says.  I will stand with what I have

10   said previously.  There are any number of approvals that may

11   have to be obtained, and a prudent buyer and a prudent seller

12   would understand those and move forward to satisfy those.

13   Whether this particular one which may be contrary to Public

14   Service Commission authority applies, I can't say specifically.

15   But I will in the general say that there are a whole variety of

16   regulations that have to be met prior to development.

17   BY MR. KNOX:

18        Q    Okay.  Well, I think I need a yes or no answer to the

19   question.  And the question is simply this:  If the

20   certificated -- if Farmton has a certificated area that

21   requires them to provide service, how are you, as a planner,

22   going to advise your client that they have that ability to

23   provide service if they haven't gone to the county commission

24   to obtain consent?

25             MR. WHARTON:  Objection, it is outside the scope,

FLORIDA PUBLIC SERVICE COMMISSION

114

1   well outside the scope.

2             COMMISSIONER DEASON:  There has been an objection,

3   outside the scope of the prefiled direct testimony.

4             MR. KNOX:  I think it goes right to his prefiled

5   direct testimony, which is the ability to use this property

6   for future --

7             MR. WHARTON:  I withdraw the objection.

8             COMMISSIONER DEASON:  Okay.  You may answer the

9   question.

10             THE WITNESS:  Would you repeat the question, please,

11   sir?

12             MR. KNOX:  I will try and remember it.

13   BY MR. KNOX:

14        Q    If Farmton is required to provide service once it is

15   certificated for this 50,000 acres, are they going to be able

16   to guarantee that they will be able to provide water service

17   without having gone to the county commission for consent to

18   build those facilities?

19        A    Absolutely guarantee, I don't think they necessarily

20   can.  But, again, within the scope of many real estate

21   transactions and development actions, there are any number of

22   regulations that no one can absolutely guarantee are going to

23   be met.  But you have to go forward step-by-step through a

24   process.  And the county's comprehensive plan lays forth a

25   whole array of steps that a developer would have to go through

FLORIDA PUBLIC SERVICE COMMISSION

115

1   or the landowner if they wanted to be a developer.

2        Q    Thank you.  I think you answered my question.  Let's

3   go on to a different area.  Have you ever in your -- you have

4   had a lot of experience in planning in Florida, haven't you?

5        A    I believe going on 38 years.

6        Q    Have you ever come across the term strict compliance

7   as it applies to planning activity?

8        A    Strict compliance?

9        Q    Strict compliance.

10        A    I don't recall use of strict compliance as a term, as

11   a general term.

12        Q    Okay.  Thank you.  Would you agree with me that

13   having a water system is a prerequisite almost to having any

14   kind of substantial residential or commercial development?

15        A    Repeat that, I didn't hear the last few words.  You

16   said something development and commercial development.

17        Q    Is having a central water system a prerequisite to

18   having any kind of substantial commercial or residential

19   development?

20        A    In most cases, yes.

21        Q    Now, refresh my memory real quickly.  Do you recall

22   whether you referred to the ECFS project or certificated area

23   in your direct testimony?

24        A    Not in my direct testimony.

25             MR. KNOX:  I will pick that up later, then.  I have

FLORIDA PUBLIC SERVICE COMMISSION

116

1   no other questions.

2             COMMISSIONER DEASON:  Mr. Bosch.

3                          CROSS EXAMINATION

4   BY MR. BOSCH:

5        Q    Mr. Landers, good afternoon.

6        A    Good afternoon.

7        Q    Sir, you haven't -- you haven't worked in Volusia

8   County since late '70s or early '80s, have you?

9        A    No.

10        Q    And that was prior to the growth management act that

11   was passed by the state legislature?

12        A    Prior to 1985, the amendments that were called the

13   Growth Management Act after the 1973/'74 original local

14   government planning act.

15        Q    But you have read and reviewed the county's comp plan

16   recently, correct?

17        A    Yes, I have.

18        Q    And will you agree with me that the guiding

19   principles of the comp plan -- at least I would assume for most

20   comprehensive plans, but particularly Volusia County, are to

21   accommodate projected population growth in a contiguous compact

22   pattern?

23        A    Well, the comprehensive plan does say that, but the

24   comprehensive plan also provides provisions for clustering

25   development, for other opportunities to develop that is not

FLORIDA PUBLIC SERVICE COMMISSION

117

1   immediately contiguous and compact.

2        Q    But as a general principle, a guiding principle for

3   the comp plans, is not growth supposed to be centered around

4   existing urban areas?

5        A    Not necessarily, no, sir.  I don't agree with that.

6        Q    All right.  The guiding principles that I just

7   mentioned that you don't agree with, will you agree with me

8   that certain guiding principles have been used by the county to

9   draft up various goals, objections, and policies that are

10   stated in the comp plan?

11        A    I believe that is true, yes.

12        Q    And that growth within the county has to be

13   consistent with these goals, policies, and objectives, correct?

14        A    Yes.

15        Q    With the exception that you just gave us, would you

16   agree with me that future urban areas within the county under

17   the comp plan should be concentrated within existing urbanized

18   cities, centered around those cities?

19        A    Again, that is stated as a major theme or a major

20   objective or goal, but it is not exclusive.

21        Q    Okay.  And currently in Volusia County the existing

22   cities and most of the development is along the ocean on the

23   east, correct?

24        A    Well, Deltona is the largest city in Volusia County

25   and it sits on the western side of the county.

FLORIDA PUBLIC SERVICE COMMISSION

118

1        Q    So we have it on the east, and you have it on the

2   west along the St. Johns or toward that area, correct?

3        A    That is the current --

4        Q    And in the middle, in the center where Farmton is

5   located you have less development.  And, in fact, you have a

6   lot more wilderness, forest, agricultural uses, correct?

7        A    Those are the physical conditions of the county, or

8   the demographic conditions of the county, or however you want

9   to characterize it at this point.

10        Q    And the entire property that forms the Farmton

11   proposed service area is actually considered within the NRMA --

12   do you know what the NRMA is?

13        A    Yes, I do.

14        Q    And would you just tell us what the NRMA is?

15        A    Natural Resources Management Area.

16        Q    And under the Natural Resource Management Area,

17   aren't there certain additional restrictions on land use?

18        A    Well, there are three land use classifications

19   contained under the NRMA, or there are three that apply to the

20   Farmton; the environmental systems category, the forestry

21   resources category, and the --

22        Q    And the agriculture?

23        A    Yes, thank you.  The agricultural category.  And

24   those have various regulations and requirements, yes, sir.

25        Q    There is various regulations, but all of those in

FLORIDA PUBLIC SERVICE COMMISSION

119

1   common have low density usages, don't they?

2        A    They all -- yes, they all as a basic, as a basic

3   premise have low density uses.  But as I said in my cross

4   reference to my Exhibit HML-4, there are also the opportunities

5   within the comprehensive plan to cluster that development, to

6   use planned unit development regulations to concentrate those

7   what you might call low density developments into a very

8   concentrated or multiple concentrated locations.  And so there

9   are some 2,000 residential units permitted under your

10   comprehensive plan that all could be theoretically concentrated

11   in 10, 20, 30 acres.

12        Q    Okay.  But these 2,000 or so residential units, they

13   are not increased as a result of concentrating them, are they?

14   They are still just an absolute number, a maximum that you can

15   put in there on these 40-something-thousand acres in Volusia

16   County?

17        A    Yes, sir.

18        Q    And the purpose of the NRMA, the Natural Resource

19   Management Area, the purpose of that overlay is to protect and

20   manage these areas, these environmentally sensitive lands?

21        A    In part.

22        Q    And it does that by limiting the uses and limiting

23   the residential densities as we just discussed, correct?

24        A    In part, yes.

25        Q    Let's talk about urban sprawl.  Urban sprawl is

FLORIDA PUBLIC SERVICE COMMISSION

120

1   something which is undesirable, isn't that true, from a

2   planning standpoint?

3        A    A lot of people believe that.  Generally I think our

4   profession accepts that it is.

5        Q    Okay.  And, in fact, a lot of what goes on in the

6   planning, the planning sector is actually to avoid urban sprawl

7   within developing counties, correct?

8        A    That is correct.

9        Q    And to do that, isn't it true that the planners like

10   to direct growth into existing urban areas?

11        A    In part.  Your comprehensive plan would allow those

12   2,000 dwelling units to be spread across the entire property in

13   10, 20, or 25-acre parcels, which to me is absolutely the worst

14   kind of sprawl.

15        Q    Okay.  But right now you are talking that you can do

16   this, this clustering, correct?  And that would still put the

17   same number of units on this 42,000 acres?

18        A    Yes.  And your comprehensive plan through the land

19   development regulations and the linkages that I just cited also

20   allows within those areas a whole array of usages.  Public and

21   private recreational facilities, schools, fire stations,

22   heliports, waste disposal facilities.  We are getting into my

23   rebuttal testimony at this point, but your comprehensive plan

24   through the land development regulation would permit a whole

25   variety of uses beyond just those residential uses.

FLORIDA PUBLIC SERVICE COMMISSION

121

1        Q    Well, there are certain uses that can be put in

2   there, but still the overriding principle that is applied in

3   NRMA land is the protection of the existing agricultural and

4   forest land, correct?

5        A    As I said, that is one of the underlying principles.

6        Q    So any of the developments that you talked about that

7   are possible would still have to be coordinated through the

8   county and be consistent with its comp plan and be determined

9   to not affect these agricultural, and forest, and natural

10   resource areas?

11        A    Yes.  And your plan contains provisions through the

12   planned unit development, through clustering, through

13   references to developments of regional impact to do that very

14   thing so the resources would be protected.

15        Q    All right.  And, sir, do you agree that placing a

16   water system, a central water system in a nonurban, rural,

17   forested, uninhabited area would be the first step towards

18   urban sprawl?

19        A    No.  You have already taken the first step toward

20   urban sprawl, sir.

21        Q    How is that, sir?

22        A    By allowing residential development to be built at

23   25 -- on 25 acres, 20 acres, or 10 acres.  Farmton could go out

24   there right now, and Maytown Road has been discussed, it is

25   possible right now for something on the order -- I have the

FLORIDA PUBLIC SERVICE COMMISSION

122

1   numbers here -- 646 150-foot wide lots to be sprawled right

2   down Farmton Road based on the electricity service that is on

3   that road right know that Mr. Hartman discussed.  That to me is

4   the worst, absolute worst kind of sprawl, and your plan

5   currently permits that.

6        Q    Would such development require a central water

7   system?

8        A    Not necessarily, but 150-foot wide lots could

9   definitely be served by a central water system.

10        Q    Under the comp plan for Volusia County under the

11   potable subelement, potable water subelement, isn't it true

12   that central water systems are not required for these nonurban

13   areas?

14        A    That central water service is not required for

15   nonurban, I believe that is true.

16        Q    And, in fact, doesn't the comprehensive plan prohibit

17   such central water systems in nonurban areas?

18        A    I don't believe it does.

19             MR. BOSCH:  I have nothing further.

20             CHAIRMAN BAEZ:  Mr. McNamara.

21                          CROSS EXAMINATION

22   BY MR. McNAMARA:

23        Q    Mr. Landers, I just have a few questions.  Currently,

24   as we sit here today, you are not aware of any efforts by

25   Farmton or the Miami Corporation to request Brevard County to

FLORIDA PUBLIC SERVICE COMMISSION

123

1   change its comprehensive plan, is that correct?

2        A    I am not aware of any such activity.

3        Q    And would the same be true that you are not aware of

4   any requests by Farmton or Miami Corporation to request Volusia

5   County to make any changes to its comprehensive plan, is that

6   correct?

7        A    I'm not aware of any, no, sir.

8        Q    Do you know how many people currently reside on the

9   Farmton property within the proposed service area?

10        A    I do not know the exact number.  There have been

11   discussions of the staff and others that there may be something

12   on the order of ten people residing there within the property

13   itself.  There are others who reside within enclaves that are

14   totally encompassed by the property.

15        Q    But as far as within the proposed service area

16   itself, the Miami Corporation property, you believe it is ten

17   or fewer, correct?

18        A    I may be wrong on that, but it is not a significant

19   number, or a large number.

20        Q    You are aware that one of the things that a public

21   service commission needs to consider when considering an

22   application is whether the application is consistent or

23   inconsistent with local comprehensive plans, correct?

24        A    That's why I'm here, sir.

25        Q    But it is your opinion that an application can never

FLORIDA PUBLIC SERVICE COMMISSION

124

1   be inconsistent with comprehensive plans, isn't that correct?

2        A    I believe that is true, yes.  I think it would be

3   very difficult to write a comprehensive plan that says that a

4   public service commission authority that would grant a

5   territory would be inconsistent with that plan.

6        Q    So no application could ever be inconsistent with any

7   comprehensive plan, correct?

8        A    I believe that is possible.  And that stems back to

9   my earlier statement, the Chapter 380.04 definition of

10   development that is used in 163 and thereby referenced then in

11   both the county comprehensive plan does not define a Public

12   Service Commission territory as development.

13             MR. McNAMARA:  No further questions.

14             COMMISSIONER DEASON:  Staff.

15             MS. FLEMING:  Commissioners, we don't have any

16   questions.

17             COMMISSIONER DEASON:  Commissioners?  Redirect.

18             MR. WHARTON:  Yes.

19                        REDIRECT EXAMINATION

20   BY MR. WHARTON:

21        Q    Mr. Landers, you have been asked several questions

22   about sprawl or urban sprawl.  Do you recall those questions?

23        A    Yes, sir.

24        Q    Is it your opinion that the comprehensive plans of

25   Volusia and Brevard County currently prevent a sprawl-like

FLORIDA PUBLIC SERVICE COMMISSION

125

1   pattern of development on the Farmton properties?

2        A    Yes, they do, with the exception of my statement that

3   I believe professionally that allowing residential development

4   on 10, 15, 20, and 25-acre lots is sprawl.  And, in fact, the

5   State of Florida, Department of Community Affairs has stated

6   that.

7        Q    Have you created a demonstrative that could help the

8   Commissioners understand your testimony in that regard?

9        A    Another consultant to Farmton has created a

10   demonstrative that does that, yes, sir.

11        Q    And you have independently reviewed that and agree

12   with the representations thereon?

13        A    I reviewed that and advised them on the preparation

14   of it.

15        Q    Why don't you explain to the Commissioners the basis

16   of your testimony using that demonstrative?

17        A    I think it is easier if I hold it here, Mr. Wharton,

18   so I can use the microphone.

19             This demonstrative, which was prepared by the Ivey

20   Planning Group, has taken all of the existing roadways on the

21   Farmton property, and following the guideline that we just

22   discussed under the -- in Volusia County, this has only been

23   applied to Volusia County at this point.  On the agricultural

24   at two units to the acre, so in this yellow area here that is

25   agriculture, the Ivey Planning Group has laid out ten-acre

FLORIDA PUBLIC SERVICE COMMISSION

126

1   lots, all that currently have a road access that are facing

2   onto roads.  And, theoretically, if you were just to take that

3   acreage and divide it by ten, you would get 232 lots.  They

4   have been able to lay out 190 lots on that property.

5             Under the forestry resources area, which is some

6   22,000 acres, that is at 20 units to the acre.  It is

7   theoretically possible, just in my mathematical -- and if we

8   were doing clustering, Farmton would have rights to 1,134

9   residential units.

10             Similarly, the Ivey Group has laid out 751 lots on

11   the environment systems category.  There are 22,500 acres, and

12   the lot size is 25, theoretically, or the density would allow

13   905.  They have laid out 878.  So you have here, as I said

14   earlier, the ability to go out there and create some 1,700 lots

15   that meet the comprehensive plan covering that entire property.

16   In my mind that is the worst type of sprawl.  The Department of

17   Community Affairs in a technical memorandum in the early '90s

18   said essentially the same thing.  It is the type of sprawl that

19   is occurring all over the State of Florida, and is the type of

20   sprawl that is occurring largely because of fragmented land

21   ownership.

22             We are sitting on one of the best examples that I can

23   think of of the responsibility of a very large landowner and

24   the potential for a very large landowner to manage their

25   property.  At 6:30 yesterday morning I drove down Woodville

FLORIDA PUBLIC SERVICE COMMISSION

127

1   Highway to the St. Marks Wildlife Refuge because my wife likes

2   to go birding, and that is one of our favorite birding places,

3   and has been for 30-something years.  And driving down

4   Woodville Highway at 6:30 in the morning there was a steady

5   flow of traffic coming north.  And I observed that, which I

6   knew, that the majority of that traffic was entering Woodville

7   Highway from the west, and along the western side of the road

8   there are all types of mobile homes, a variety of other small

9   uses down the left-hand side -- I mean, down the west side.

10   Down the east side there are far less.

11             If you look at a map of the area, there are numerous

12   road to the west of Woodville Highway, and to the east there

13   are very few permanent roads, there are some farm roads.  The

14   difference is that we are sitting on land that did belong to

15   St. Joe, St. Joe Paper Company, now the St. Joe Company.  These

16   land ownerships are about 250,000 contiguous acres that extend

17   from the corner of Old St. Augustine Road and Capital Circle

18   well into Jefferson County, down through Wakulla County, all

19   the way to the St. Marks Wildlife Refuge.

20             And St. Joe has chosen not to sell off land in this

21   type of parcels, while the land on the west side, the owners,

22   the fragmented owners on the west side of Woodville Highway in

23   two counties are selling off land under this very same type of

24   land use provisions.  So I think right here we are sitting on

25   what I would say is one of the best examples that I could think

FLORIDA PUBLIC SERVICE COMMISSION

128

1   of of the ability of a large landowner to do what Volusia

2   County and the Brevard County comprehensive plans contemplate,

3   and that is aggregate, cluster, consolidate development on

4   limited lands in a way that they are preserving large areas of

5   land rather than those large areas of land being carved up in

6   these hundreds of 25, 20, 15-acre, 10-acre parcels.

7             So this to me is a very clear demonstrative

8   illustration of a flaw in the comprehensive planning process of

9   allowing large lot residential as a basic use.  Certainly it

10   provides a base of development rights that Farmton or any

11   landowner enjoys, but it also allows the type of what I would

12   call the worst type of sprawl that we have, and it is

13   characterized -- I don't know which way I'm directing -- I

14   think down that way, right down Woodville Highway.  You can go

15   see it and you can see the contrast on the opposite side.  That

16   background comes from having worked for St. Joe Company almost

17   continually from 1973 to -- from 1983 to 2000, and having

18   prepared a strategic plan for all of their properties.

19        Q    Just so the record is clear, in your demonstrative

20   you were illustrating the potential for development in Volusia

21   County.  Do you believe that the Brevard County comprehensive

22   plan would allow for a similar pattern of development?

23        A    Yes, I do.  The Ivey Group is doing that study right

24   now, but looking at the Delorme maps, which show the same types

25   of roads, and just doing ratios to the potential development.

FLORIDA PUBLIC SERVICE COMMISSION

129

1   Yes, I believe in Brevard County at five units to the acre

2   under their agriculture you could develop, again, around 2,000

3   units.  The Ivey Group got about 80 percent of yield, so I

4   believe Brevard would come in somewhere around 1,600-plus

5   units.

6        Q    Is the purpose of planning to prevent development of

7   land such as the Farmton property?

8        A    No, not at all.  No, not at all.

9        Q    What is the purpose of planning in that regard?

10        A    It is to provide a framework from which local

11   government can manage growth and manage development of property

12   and real estate in some orderly, or reasonable, or some fashion

13   that protects a variety of resources, a number of reasons.

14        Q    Mr. Landers, you have been talking about the

15   potential for development under the comprehensive plans, you

16   have also been answering some questions about clustering and

17   other types of development.  Do you recall generally all of

18   that testimony?

19        A    Yes, sir.

20        Q    All of that testimony was rendered given your opinion

21   about the existing comprehensive plan as opposed to what could

22   be accomplished with an amendment?

23        A    That is correct.

24        Q    If, in fact, the owners of the Farmton property ever

25   approached Volusia or Brevard County to seek amendment of the

FLORIDA PUBLIC SERVICE COMMISSION

130

1   comprehensive plans, do you think that it is possible they

2   might hire you or an individual like you to explain the kind of

3   things you are explaining today in order to seek that

4   amendment?

5        A    Yes, that's possible.

6        Q    I want to make sure that the record is clear.  Did

7   you indicate that you had an opinion whether or not central

8   water systems were prohibited under the comprehensive plan of

9   Volusia County?

10        A    I don't believe they are, no, sir.  I don't believe

11   central water systems are prohibited.

12        Q    You were asked questions by counsel for the City of

13   Titusville, does the City of Titusville have a comprehensive

14   plan that is at issue here?

15        A    No, sir.

16        Q    In fact, is the City of Titusville's utility area

17   isolated from the Farmton property by the Brevard County

18   utility service area?

19        A    Yes.  As Mr. Hartman's map shows, the Farmton area,

20   proposed Farmton territory is in yellow.  Titusville is this

21   light tan in this area.  This brown is Brevard County

22   utilities.  This gray is area that is not included in any water

23   service area.  So, I don't know the scale of this map.

24             MR. HARTMAN:  One inch is about three miles.

25             THE WITNESS:  It has one inch equals two miles, so I

FLORIDA PUBLIC SERVICE COMMISSION

131

1   would say that the nearest point in Titusville to the nearest

2   point in Farmton is probably five to seven miles.

3   BY MR. WHARTON:

4        Q    Sir, in preparation for your opinions today, have you

5   reviewed Chapter 367?

6        A    I have read portions of 367 as it related to the

7   Public Service Commission's jurisdiction.

8        Q    Do you recall questions on cross-examination about a

9   hypothetical of how a developer on Farmton would be able to

10   assure someone in the future that water service would be

11   available?

12        A    Yes, sir.

13        Q    Do you know whether or not Chapter 367 provides that

14   the Florida Public Service Commission shall have exclusive

15   jurisdiction over each utility with respect to its authority,

16   service, and rates?

17        A    That is my understanding, and I referred to that in

18   my direct.

19        Q    As a planner, if the PSC grants Farmton a certificate

20   in this case, is that your understanding of what Farmton needs

21   to hold itself out as a water utility which provides or

22   proposes to provide water service to the public for

23   compensation?

24        A    That is my understanding.

25        Q    Finally, sir, Mr. McNamara asked you questions about

FLORIDA PUBLIC SERVICE COMMISSION

132

1   whether you believe that any comprehensive plan could be

2   inconsistent with the certification of a utility by the PSC.

3   Do you recall that line of questioning?

4        A    Yes.

5        Q    What do you understand the fact of certification

6   taken alone in and of itself to represent?

7        A    Just that, it is certification.  It is a license, if

8   you will.  It is a permission, a piece of paper, a license,

9   that says that the State of Florida has allowed the entity, in

10   this case Farmton, to service a water territory.

11        Q    Do you understand the application of Farmton Water

12   Resources, LLC, to be one that is being filed in tandem with

13   applications or permit requests from the developer to develop

14   the property more intensely than the comprehensive plans would

15   allow?

16        A    No, it is not, and I believe I have already stated

17   that.

18        Q    Do you know whether or not the certification of

19   Farmton Water Resources, LLC, by the Commission would cause to

20   appear on the Farmton properties things such as roads,

21   developments, the need for emergency services, et cetera?

22        A    It would not and it could not.

23        Q    In order for those things to be placed upon the

24   property, would the owner of the property still have to jump

25   through all the hoops that you have talked about that exist or

FLORIDA PUBLIC SERVICE COMMISSION

133

1   the regulatory framework to control growth in those two

2   counties?

3        A    Yes, they would.  Including county, state agencies,

4   federal agencies, regional agencies.

5        Q    Is it your opinion that the granting of a certificate

6   by the PSC to Farmton would in any way tie the county's hands

7   in that regard or restrict their abilities to properly control

8   growth in their counties under their comprehensive plans?

9        A    It would not.

10             MR. WHARTON:  That's all we have.

11             COMMISSIONER DEASON:  Thank you, Mr. Landers.

12             THE WITNESS:  Thank you.

13             COMMISSIONER DEASON:  We are going to recess for

14   lunch and we will reconvene at 2:00 o'clock.

15             (Transcript continues in sequence with Volume 2.)

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

134

1   STATE OF FLORIDA    )

2                       :              CERTIFICATE OF REPORTER

3   COUNTY OF LEON      )

4

I, JANE FAUROT, RPR, Chief, Office of Hearing

5   Reporter Services, FPSC Division of Commission Clerk and

Administrative Services, do hereby certify that the foregoing

6   proceeding was heard at the time and place herein stated.

7             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

8   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

9   proceedings.

10             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

11   or employee of any of the parties' attorney or counsel

connected with the action, nor am I financially interested in

12   the action.

13             DATED THIS 29th day of June, 2004.

14

15             ___________________________________________

JANE FAUROT, RPR

16             Chief, Office of Hearing Reporter Services

FPSC Division of Commission Clerk and

17                       Administrative Services

(850) 413-6732

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION