James A. McGee

ASSOCIATE GENERAL COUNSEL

PROGRESS ENERGY SERVICE COMPANY, LLC

January 28, 2005

# VIA ELECTRONIC FILING

Ms. Blanca S. Bayó, Director

Division of the Commission Clerk

and Administrative Services

Florida Public Service Commission

2540 Shumard Oak Boulevard

Tallahassee, Florida  32399-0850

Re:	Docket No. 050060-EI; Request of Progress Energy Florida

to exclude an Outage Event on December 26, 2004 from its Annual Distribution Service Reliability Report.

Dear Ms. Bayó:

By my filing letter of January 25, 2005 that accompanied the subject Request of Progress Energy Florida, I advised that Exhibit A to the Request had been delayed in transmittal and would submitted shortly by supplemental filing.  I have therefore enclosed for filing with this letter Exhibit A to Progress Energy’s Request, which is intended to supplement and complete the initial January 25th filing.

Please acknowledge your receipt of the above filing as provided in the Commission’s electronic filing procedures.  Thank you for your assistance in this matter.

Very truly yours,

s/  James A. McGee

JAM/scc

Enclosures

Attachment  A

### December 26, 2004 Severe Weather Event

### Distribution Outage Detail

### by Cause and Device Code

### December 26, 2004 Severe Weather Event

### Distribution Outage Detail by Cause Code

| #### Outage Cause Code | #### South Coastal Region |  | #### System |
| --- | --- | --- | --- |
|  | #### Storm-related Causes | #### All Causes |  |
| ##### STORM | 166 | 166 | 178 |
| ###### TREE-PREVENTABLE | 166 | 166 | 193 |
| TREE-NONPREVENT | 14 | 14 | 40 |
| CUST. REPORT IN ERROR |  | 93 | 107 |
| INSIDE CUST. TROUBLE |  | 44 | 63 |
| CONNECTOR FAILURE |  | 0 | 13 |
| UNKNOWN |  | 0 | 21 |
| DEFECTIVE EQUIP. |  | 0 | 11 |
| UG SECONDARY/SERVICE |  | 6 | 11 |
| EMERG SHUTDOWN - PEF |  | 6 | 9 |
| OVERLOAD |  | 2 | 9 |
| OH SECONDARY CABLE |  | 6 | 7 |
| UG PRIMARY CABLE |  | 2 | 6 |
| ANIMAL |  | 1 | 5 |
| LINE MAINTENANCE |  | 3 | 5 |
| VEH/CONST. EQUIP. |  | 1 | 3 |
| HUMAN ERROR - PEF |  | 1 | 2 |
| HUMAN ERROR - PUBLIC |  | 0 | 1 |
| DIG-IN |  | 0 | 1 |
| MISCELLANEOUS |  | 2 | 2 |
| LIGHTNING |  | 0 | 1 |
| RIGHT-OF-WAY |  | 1 | 1 |
| #### Grand Total | 346 | 514 | 689 |

### Distribution Outage Detail by Device Code

| Device Description | #### Storm-related Outage Causes |  |  |  | #### All Causes |
| --- | --- | --- | --- | --- | --- |
|  | Storm | Tree - Non- Preventable | #### Tree - Preventable | All Storm Causes |  |
| SERVICE | 33 | 3 | 26 | 62 | 188 |
| TRANSFORMER | 70 | 2 | 63 | 135 | 152 |
| FUSE | 45 | 7 | 67 | 119 | 138 |
| TERMINAL POLE FUSE | 7 | 1 | 7 | 15 | 18 |
| FEEDER | 5 |  | 2 | 7 | 10 |
| RECLOSER | 5 | 1 |  | 6 | 6 |
| SECTIONALIZER |  |  | 1 | 1 | 1 |
| SWITCHGEAR | 1 |  |  | 1 | 1 |
| #### Grand Total | 166 | 14 | 166 | 346 | 514 |