1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

UNDOCKETED

3

4     In the Matter of

5   REVIEW OF TEN-YEAR SITE

PLANS OF ELECTRIC UTILITIES.

6                                   /

7

8             ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

9               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

10

11

PROCEEDINGS:        WORKSHOP

12

13   BEFORE:             CHAIRMAN BRAULIO L. BAEZ

COMMISSIONER J. TERRY DEASON

14                       COMMISSIONER RUDOLPH "RUDY" BRADLEY

COMMISSIONER LISA POLAK EDGAR

15

16   DATE:               Wednesday, August 3, 2005

17

TIME:               Commenced at  9:30 a.m.

18                       Concluded at 12:30 p.m.

19   PLACE:              Betty Easley Conference Center

Room 148

20                       4075 Esplanade Way

Tallahassee, Florida

21

22   REPORTED BY:        JANE FAUROT, RPR

Official FPSC Hearings Reporter

23                       (850) 413-6732

24

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1                              I N D E X

2   PRESENTATIONS BY:                            PAGE NO.

3        MR. WILEY                                    4

4        MR. ELWING                                   4

5        MR. GREEN                                   20

6        MR. ROLLINS                                 36

7        MR. REGAN                                   43

8        MR. LAWSON                                  58

9        MR. MAHAFFEY                                61

10        MR. SCROGGS                                 69

11

12   CERTIFICATE OF REPORTER                          80

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1                        P R O C E E D I N G S

2             CHAIRMAN BAEZ:  Good morning, everyone.  I want to

3   welcome you to the 2005 Ten-Year Site Plan Workshop.

4             Mr. Keating, would you read the notice, please.

5             MR. KEATING:  Pursuant to notice, this time and place

6   have been set for a Commission workshop concerning the

7   undocketed matter, the Commission's review of ten-year site

8   plans for electric utilities.

9             CHAIRMAN BAEZ:  Did you read that or did you know

10   that by heart?

11             MR. KEATING:  I ad-libbed.

12             CHAIRMAN BAEZ:  Once again, welcome to the Ten-Year

13   Site Plan Workshop.  I am going to hand it over to Mr. Haff in

14   about a second.  As you can tell by the agenda, we have

15   actually changed it up a little bit this year to try and focus

16   our attention on highlighted matters.

17             Anyway, Mr. Haff, can you go ahead and work us

18   through it?

19             MR. HAFF:  Thank you, Chairman.  A brief agenda for

20   today's workshop was with the notice, and there is also a few

21   copies left over here on the rail.  We are going to have the

22   representatives of the FRCC present the load and resource plan,

23   the reliability assessment, and then we're going to have a

24   panel of persons to discuss issues related to coal-fired

25   generating units.

FLORIDA PUBLIC SERVICE COMMISSION

4

1             And I would just ask if whoever speaks to make sure

2   they give their name for the court reporter.  We would

3   appreciate that.  With that, I'm going to turn it over to the

4   FRCC.  I think Mr. Wiley is here from the FRCC.

5             MR. WILEY:  Thank you, Michael.  I'm Ken Wiley with

6   the Florida Reliability Coordinating Council, known as the

7   FRCC, and I just want to introduce our panel here today or our

8   speakers.  The FRCC has conducted a ten-year load and resource

9   review, and we do this through a group that we call our

10   resource working group.  Mr. Paul Elwing is the chairman of

11   this group for us, and he comes from the City of Lakeland

12   Electric Utility, and also Mr. Leo Green will be working with

13   him today.  And Leo is with Florida Power and Light, and his

14   specialty is in the economic and forecasting area.  And along

15   with them is a member of our staff, Mr. Scott Beecher.  So the

16   three of them through our resource working group will make this

17   presentation and answer your questions today.

18             Thank you, Mr. Chairman.

19             CHAIRMAN BAEZ:  Thank you, Mr. Wiley.

20             MR. ELWING:  Good morning, Commissioners, staff.  I

21   want to thank you for the opportunity to come and present the

22   FRCC's resource adequacy review to you this morning.  I'm going

23   to focus on two portions, the load and resource plan and the

24   reliability assessment.

25             The slide in front of you this morning shows our

FLORIDA PUBLIC SERVICE COMMISSION

5

1   forecasted firm peak demand for summer and winter for the

2   coming ten years.  We're projecting a summer annual average

3   growth rate of 2.74 percent and a winter annual average growth

4   rate of 2.69 percent.

5             Looking at the summer in a little more detail,

6   comparing it to the 2004 presentation that we made to you last

7   year, we see that growth is consistent with what we have seen.

8   Growth for 2005 is slightly higher, the 2.74 percent for 2005,

9   and 2004 we had projected 2.52 percent.  Winter we are seeing

10   similar.  Growth is forecasted to be slightly higher again this

11   year, 2.69 percent versus 2.59 percent from 2004's plan.

12             This slide shows you a breakdown of the capacity that

13   is forecasted for the ten-year period.  The blue on the bottom

14   is the existing utility capacity.  The red represents the

15   cumulative additions by the utilities.  The green is the

16   nonutility generation capacity that is under contract to the

17   utilities, and the remainder of the need is met with firm

18   interchange.

19             Slide 7 shows our capacity mix by fuel type for the

20   winter peaking season for 2005 and the '06 season, and again

21   for the 2014 and 2015 season.  You see the changes in gas is

22   the largest change, representing the addition of gas-fired

23   units.  We also see a change in coal, as indicated by

24   individual utility plans that are indicating future coal

25   additions.

FLORIDA PUBLIC SERVICE COMMISSION

6

1             The next slide, please.

2             From an energy standpoint, we see the breakdown here

3   that in 2005 energy is expected to be met 32 percent by

4   gas-fired generation, 13 percent oil-fired generation, 25

5   percent coal, 13 percent nuclear, 14 percent other, and 3

6   percent nonutility generation.  By 2014 that is expected to

7   change to 45 percent of the state's energy to be met by

8   gas-fired generation, coal increasing to 27 percent, oil down

9   to 7 percent, nuclear at 11 percent, other in nonutility

10   generation as represented there.

11             MR. HAFF:  Paul, before you leave that slide, what

12   makes up the other category?

13             MR. ELWING:  That could be other -- either solid

14   fuels that are described explicitly by the utilities, maybe

15   some municipal solid waste, biomass type fuels, renewable fuels

16   that are included in the utility counts.

17             MR. HAFF:  Would pet coke be in there?

18             MR. ELWING:  Imports are part of that.

19             MR. HAFF:  No, pet coke?

20             MR. ELWING:  If the utilities are reporting that

21   separately from their coal, pet coke would be included in that

22   also.

23             COMMISSIONER DEASON:  I'm sorry.  I have a question

24   on Slide 7, which is the capacity mix.  The nonutility

25   generation, I see a significant decline.  Is that actually

FLORIDA PUBLIC SERVICE COMMISSION

7

1   nonutility generation which is disappearing, or is it just the

2   fact that their contracts are expiring, and that they would

3   have to be renewed at some point in the future?

4             MR. ELWING:  I was looking at that this morning,

5   Commissioner, and I did not see a, quote, unquote, disappearing

6   of nonutility generation.  Most of the decline is just the fact

7   that it's a constant number over an ever-increasing amount of

8   energy, so it becomes a smaller amount as a percentage basis.

9             COMMISSIONER DEASON:  Well, I understand that, but if

10   you look at nuclear, which is pretty much fixed, and because of

11   the higher base in the future, it does decline, but it only

12   declined from 7 percent to 6 percent.  And for the nonutility

13   generation we are talking about a decline from 10 percent to 3

14   percent.  So it has to be more than just the fact that the base

15   is getting larger.

16             MR. ELWING:  Yes, sir.  If you turn back to Slide 6,

17   the previous slide, you will note that the NUG generation

18   there, represented in green, it is declining somewhat, and that

19   is the amount that is under contract.  So the other portion of

20   that would be contracts that are expiring and not being

21   renewed.

22             COMMISSIONER DEASON:  Okay.  Do we know at this point

23   they will not be renewed, or is it possible that they could be

24   renewed?

25             MR. ELWING:  I would say that it is a possibility

FLORIDA PUBLIC SERVICE COMMISSION

8

1   that they could be renewed, they just haven't been reported as

2   such by the utilities.

3             COMMISSIONER DEASON:  Thank you.

4             MR. ELWING:  Slide 9 shows our interruptible and load

5   management capabilities at time of winter peak.  The

6   interruptible load being on the bottom there in blue, with the

7   load management stacked on top of that remaining fairly

8   consistent throughout the time period.

9             Slide 10 is the FRCC planned reserve margin for

10   summer and winter.  You see that in every year we exceed the

11   FRCC's aggregate target of 15 percent.  There are only three

12   years where we actually drop below 20 percent, and that is just

13   in the summertime, the summer of '08, '09 and 2010.  Otherwise,

14   all other years and seasons we are above 20 percent on an

15   aggregate basis for the state -- I'm sorry, for Peninsular

16   Florida, which is the FRCC region.

17             One of the functions of the reliability working group

18   at FRCC is to do what we call a reliability assessment, and

19   that assessment focuses on a reserve margin review, an analysis

20   of forced outage rates and availability rates for the utilities

21   units, load forecast evaluation and review of natural gas

22   pipeline adequacy.

23             Addressing the reserve margin review, we are to

24   ensure that the regional planning reserve margin meets the 15

25   percent FRCC standard.  As you saw a couple of slides back, we

FLORIDA PUBLIC SERVICE COMMISSION

9

1   do, indeed, meet that over the planning period.

2             For analysis of forced outage rate and availability,

3   the working group compares the trends in forced outage rates

4   between utilities, and this year we looked at 2001, 2002, 2003

5   and the 2004 planning studies.  And we also compare the trends

6   in availability between utilities for those same time periods.

7   Those results are shown on the next two charts.

8             This chart represents that comparison of the

9   megawatt-weighted forced outage rates of the utilities.  The

10   2004 planning study results are the blue dotted line with the

11   diamonds on it, showing consistent results with previous year's

12   analysis.

13             COMMISSIONER DEASON:  I have a question on that one.

14   I see the trend seems to be fairly stable.  But for the 2004

15   planning studies there seems to be an increase in the starting

16   point to do the trend.  Is that a significant increase in

17   forced outage rates from the -- it looks to be about three and

18   a half up to 3, well, 3.9?

19             MR. ELWING:  The working group does not feel that

20   that is considered a significant increase.  We did poll the

21   utilities, and there were a couple of utilities that did make

22   adjustments to their forced outage rates just due to the age of

23   their fleets.

24             COMMISSIONER DEASON:  So this is not

25   hurricane-related?

FLORIDA PUBLIC SERVICE COMMISSION

10

1             MR. ELWING:  No, sir.  We did poll the utilities

2   regarding that question that you asked us last year, and all

3   utilities came back and responded back that there were no

4   long-term effects, negative effects from the hurricanes.

5             COMMISSIONER DEASON:  Thank you.

6             MR. ELWING:  Page 15 represents the megawatt-weighted

7   availability factor for the units.  And, again, we see similar

8   trending over the time period.  Again, the 2004 is the blue

9   dotted line with the diamond symbol on it.

10             COMMISSIONER DEASON:  I guess I have the same

11   question for this one.  The trend certainly is positive for the

12   2004 planning studies, but the beginning point seems to be much

13   lower than previous studies.  Is there some -- is that

14   significant?  Should that be something of a concern or is that

15   just the way the data works out?

16             MR. ELWING:  I think it is mostly the way the data is

17   working out.  There may have been some minor adjustments by the

18   utilities.  I know in my particular utility's case we are

19   finding that gas turbine availability is less than what has

20   been told to us by the manufacturers just due to the length of

21   time it takes to do maintenance.  Not that the machines are any

22   less reliable, it just takes longer to do maintenance on these

23   larger machines than what we initially thought.  And so I know

24   in my own utility's case our availability is down slightly over

25   what we forecasted just due to increased length of maintenance.

FLORIDA PUBLIC SERVICE COMMISSION

11

1             CHAIRMAN BAEZ:  Is that something that we can expect

2   to be present across the board for other utilities?

3             MR. ELWING:  I would be hesitant to speak in regards

4   to the other utilities in specific.  I would not expect this to

5   be a continuing downward adjustment.  As we gain experience in

6   these new technologies, we should find a stabilizing point and

7   be moving forward from that.

8             CHAIRMAN BAEZ:  Right.

9             MR. ELWING:  I think this is just due to the newness

10   of the technologies.

11             Another part of the reliability working group's task

12   is to review the natural gas pipeline adequacy.  This year an

13   interim high-level methodology indicated that there was no

14   significant concerns for the region over the short-term

15   planning horizon, and that activities in progress for

16   development of gas flow models to finitely simulate steady

17   state and transient gas flow conditions.  That simulation will

18   provide a detailed assessment of the impact of gas pipeline

19   conditions that could adversely affect electric system

20   reliability.  And the results of those studies, we are

21   anticipating to have those completed for next year's review.

22             CHAIRMAN BAEZ:  Mr. Elwing, the results of the study,

23   will they produce recommendations, or will they produce -- you

24   know, with an assessment comes some comparison to an optimal

25   situation.  I mean, is that anticipated to be part of the

FLORIDA PUBLIC SERVICE COMMISSION

12

1   study?

2             MR. ELWING:  I would think that if the study

3   indicated there were deficiencies that, certainly,

4   recommendations would come with that.  Mr. Wiley may be able to

5   better speak to that issue as he is actually heading up that

6   gas and electric interdependency effort within the FRCC.

7             CHAIRMAN BAEZ:  There's a question that we are going

8   to -- oh.

9             MR. WILEY:  Mr. Chairman, in prior years we would

10   look out at our future natural gas needs, and we would go to

11   the -- the pipeline at that time, which was Florida Gas

12   Transmission, and ask them, what do you think about this?  Are

13   you going to have the ability to serve this?  And they would

14   give us their letter that said, yes, they could.  And then we

15   got a new pipeline, as you know, Gulfstream, coming across the

16   Gulf of Mexico, and now we have two companies to go to.  And at

17   the same time, over about a nine or ten-year period, our amount

18   of energy that is being produced in natural gas went from

19   around 17 or 18 percent, as you saw in this report, to about 48

20   percent I think it was.  And that is when we decided that we

21   needed to get involved in analyzing how reliable are we in

22   Florida on getting that fuel delivered to our natural gas

23   plants.

24             So we are beginning next week, as a matter of fact,

25   with a rather detailed gas flow study for the entire Peninsular

FLORIDA PUBLIC SERVICE COMMISSION

13

1   Florida, looking at all of our generation points of delivery.

2   And I think it would be speculation as to what we are going to

3   find on that, but we are going to be going out looking out to

4   the end of this time period and assessing it.  And if, in fact,

5   the results of this study shows that we need to change things

6   such as inventory policies or perhaps even regulatory policies

7   regarding firm gas transmission, I think that those results

8   will be highlighted, and our board of directors would make the

9   appropriate decision on that and make it known to this

10   Commission.

11             CHAIRMAN BAEZ:  Commissioner Bradley, did you have a

12   question?

13             COMMISSIONER BRADLEY:  Yes.

14             CHAIRMAN BAEZ:  Thank you, Mr. Wiley.

15             COMMISSIONER BRADLEY:  In your prognosis or

16   prediction as it relates to the availability of natural gas,

17   what do you -- where did he go?

18             CHAIRMAN BAEZ:  Mr. Wiley, I think you were still on

19   the deck, sir.

20             COMMISSIONER BRADLEY:  I didn't mean to run you off.

21   Maybe this is the wrong question.

22             MR. WILEY:  I'm sorry.

23             COMMISSIONER BRADLEY:  In your prediction as it

24   relates to the supply of natural gas, how much of your focus

25   was based upon -- well, let's see how can I break out supply,

FLORIDA PUBLIC SERVICE COMMISSION

14

1   cost and its impact upon availability.  I'm assuming that when

2   you say that supply is going to be adequate that you are

3   speaking of that from a quantitative perspective or the supply

4   itself.  But what about the supply and the cost of natural gas?

5   Are those two factors that are intertwined, or are they

6   separate issues?

7             MR. WILEY:  As far as our analysis are concerned,

8   they are separate issues.  We go on the premise that individual

9   utilities make their own economic assessments of different

10   forms of generation and the supply picture of natural gas.  So

11   once they have made those decisions, which is taking us to

12   about 45 percent of our kilowatt hours being generated by

13   natural gas in the outer years, then our concern becomes

14   deliverability of natural gas.  And that is the only thing that

15   we are focusing on, and we are very distinct about that.

16             COMMISSIONER BRADLEY:  Okay.  Thank you.

17             CHAIRMAN BAEZ:  Thank you.

18             MR. ELWING:  Okay, going on to Slide 18.  In summary,

19   the planning reserve margins remain at or above 20 percent for

20   all but three years, and that was those three summer years we

21   pointed out earlier for the ten-year forecast period.  The

22   general trend in forecasted forced outage rates is downward

23   over time, which is good.  Projections of generating unit

24   availability remains high and continues to generally trend

25   upward.  The accuracy of the FRCC's load forecast has remained

FLORIDA PUBLIC SERVICE COMMISSION

15

1   high, and natural gas supply is expected to be adequate.

2             So, in conclusion, the results of this year's review

3   indicate that Peninsular Florida's electric system is reliable

4   for the next ten years from a planning perspective.

5             CHAIRMAN BAEZ:  Commissioners, questions?

6             COMMISSIONER DEASON:  Are we going to be reviewing

7   the particulars of the load forecast?  Is that going to be a

8   separate presentation?

9             MR. ELWING:  Yes, sir.  Dr. Leo Green will be coming

10   up in just a moment.

11             COMMISSIONER DEASON:  Very well.

12             CHAIRMAN BAEZ:  I have a question, and maybe Mr. Haff

13   can answer it.  There is a Slide 10 where it shows the planned

14   reserve margin.  Now, I understand that in the aggregate FRCC

15   holds to -- or maintains a 15 percent reserve margin as a goal.

16   And, clearly, based on their assessments they are forecasting

17   that margin, that reserve being met.  But, in particular,

18   Mr. Elwing did point out year eight, nine and ten, or 2008

19   through 2010, there is a summer reserve that is less than 20

20   percent.  And I guess I'm curious as to how -- what the

21   relationship between these forecasts and the agreement that is

22   in place with the investor-owned utilities and the Commission

23   to maintain reserve margins at or above 20, how that plays into

24   it.

25             And my question specifically is this:  I realize that

FLORIDA PUBLIC SERVICE COMMISSION

16

1   there have been -- you know, this being a ten-year forecast, in

2   essence, we do carry years.  It is not uncommon to carry years

3   where the forecasted reserve falls below 20 percent because

4   there is a lag in terms of when generation comes on line, and

5   so forth.  My question would be is there anything new about

6   these particular three years that weren't there before, or has

7   this been expected, and we have been carrying it for some time?

8             MR. HAFF:  No.  Let me see where to start.  In those

9   three years the FRCC forecasts the Peninsular at 19 percent, so

10   it could be 19.2 or 19.3.

11             CHAIRMAN BAEZ:  Right.  Okay.

12             MR. HAFF:  The three investor-owned utilities that

13   are subject to the stipulation have the 20 percent minimum

14   requirement, and each of their plans forecast at least 20

15   percent in those years, and that could be 19.8 or 20.1.  But on

16   the other hand, there are municipals and Seminole that are part

17   of Peninsular and aren't subject to that stipulation.  Most of

18   them carry anywhere -- a criteria of anywhere from 15 to, I

19   think, 19 percent.

20             CHAIRMAN BAEZ:  Right.

21             MR. HAFF:  And so you would expect it to be weighted

22   heavily toward the IOUs because of their size.  But I

23   wouldn't -- I'm not concerned about 19 percent for the

24   Peninsular, because the IOUs are still at 20 percent.

25             CHAIRMAN BAEZ:  And they are maintaining their 20 and

FLORIDA PUBLIC SERVICE COMMISSION

17

1   whatever.  I'm sorry, Mike.  I guess to answer your question --

2   to answer my own question, whatever shortfall may appear to be

3   in the forecast is not attributable to any of the utilities

4   that are subject to the stipulation.

5             MR. HAFF:  No, sir.

6             CHAIRMAN BAEZ:  Okay.

7             COMMISSIONER BRADLEY:  Are you finished?

8             MR. ELWING:  I was just going to add, Commissioner,

9   while you were asking that question, I was looking at our

10   detailed data that the utility submitted, and some of it is a

11   timing issue in those years.  There is capacity being added,

12   and I'm noticing here that some of the capacity is being added

13   in the fall of that year.  So, therefore, it doesn't get

14   counted for the summer peak.

15             CHAIRMAN BAEZ:  Thank you.

16             Commissioner Bradley, you had a question of

17   Mr. Elwing?

18             COMMISSIONER BRADLEY:  Yes.  And my question is

19   related to fuel supply.  You only mentioned the fact that the

20   natural gas supply is expected to be adequate.  What about the

21   adequacy of the other fuel types?  Was that part of your study

22   or is that something that needs to be discussed?

23             MR. ELWING:  We have not specifically addressed other

24   fuels at this time.  The focus has been on the relationship

25   between natural gas and electric generation.  That is something

FLORIDA PUBLIC SERVICE COMMISSION

18

1   that we can look at in future years.

2             MR. WILEY:  I think I'm going to stay up here.

3   (Laughter.)

4             CHAIRMAN BAEZ:  You are getting a good work out at

5   least.

6             MR. WILEY:  I wanted to respond to Commissioner

7   Bradley's question.  As a routine we don't get into an analysis

8   of coal or oil fuel supply unless, of course, we have an

9   emergency where something is being shorted for whatever reason.

10   As you are aware, we have a long-term fuel emergency plan which

11   this Commission has ordered on us.  But most recently you

12   probably read in the news about a disruption in rail supply out

13   in the Powder River Basin, and they are getting less coal out

14   of there due to the railroad system, to the tracks, actually.

15             And so we have performed an assessment, and completed

16   it last week, about the impacts of that Powder River Basin coal

17   and would that have any impact on Florida.  And we have

18   determined that its impact is very minimal.  The only coal

19   capacity that Florida is dependent upon out of the Powder River

20   Basin is some generation capacity outside of the state of

21   Florida, which is firm capacity to us on imports.  And that

22   represents 4 percent of our generation capacity in the state.

23   So that is about all that would be affected.

24             And an assessment of that particular capacity was

25   such that we anticipate that the coal inventories at those

FLORIDA PUBLIC SERVICE COMMISSION

19

1   particular sites are going to be adequate through the summer

2   and on into the end of the year, which is when they predict

3   that the train tracks will be most likely repaired.  So we have

4   looked at that assessment.

5             CHAIRMAN BAEZ:  Commissioners, any other questions?

6             Thank you, Mr. Elwing.

7             MR. ELWING:  That concludes my portion of the

8   presentation.  Dr. Green will come and talk to you about the

9   load forecast.

10             COMMISSIONER BRADLEY:  I have one other question.

11   I'm sorry.  On the last page in your conclusion it says the

12   results of the review indicate that Peninsular Florida electric

13   system is reliable for the next ten years from a planning

14   perspective.  And I realize this is purely a planning document,

15   but is there anything that comes to mind as it relates to your

16   professional expertise that might have an -- well, that might

17   have an adverse impact upon our planning process that would

18   prevent us from achieving our goals from a planning

19   perspective, to planning the actual generation to meet our

20   needs?

21             MR. ELWING:  No, sir, I'm not aware of any issues or

22   problems that would affect the utilities in that time frame.

23   Utilities are very cooperative in providing their data to the

24   FRCC and helping us make these assessments, so there is nothing

25   that leads me to believe anything differently.

FLORIDA PUBLIC SERVICE COMMISSION

20

1             COMMISSIONER BRADLEY:  Okay.  Thank you.

2             DR. GREEN:  Good morning, Commissioners.  My name is

3   Leo Green.  I work for Florida Power and Light.  Today I'm

4   appearing on behalf of FRCC.  I'm going to address the portion

5   regarding the load forecast that is the other piece of the

6   equation.

7             We just saw the resource plan, and that resource plan

8   is as good as the load that it is planned to serve.  We wanted

9   to ensure that we had a very representative picture of what the

10   future is going to be like.  So the load forecast, as expected,

11   is just a projection of what we expect the total demand of

12   electricity is going to be in the state of Florida.

13             The way we put together this forecast is we take all

14   the utilities load forecast and we aggregate it.  And then we

15   spend some time examining each utility's assumptions, their

16   methodologies, their inputs.  And this year, more than ever, we

17   believe there are quite a few uncertainties out there that

18   needed to be addressed.

19             We seem to be having some technical problems here.

20             Last year, the state of Florida grew by 455,000 new

21   people.  That is the highest growth rate in the last 35 years,

22   maybe more years, but I didn't have the data available to

23   confirm that information.  Last year we also experienced four

24   hurricanes that impacted the state of Florida.

25             Florida remains the job leader in the nation.  Eleven

FLORIDA PUBLIC SERVICE COMMISSION

21

1   percent of the jobs that are created in the nation are created

2   in Florida.  There is an amazing statistic that came out of the

3   Federal Reserve Bank of Atlanta that says between the last

4   recession, which ended around 2002, and October of last year,

5   40 percent of payroll gains in the United States were in

6   Florida.  Forty percent of payroll gains in the United States

7   were in Florida.

8             We have the best economy in the nation by far.  We

9   are creating more jobs than any other state.  For example,

10   there are smaller states like Arizona, Nevada and New Mexico

11   that might have a higher growth rate in job creation, but if

12   you add the absolute number of jobs that those states are

13   creating, it falls short of the amount of jobs that are being

14   created in Florida.

15             And I'm glad to report today that the jobs that are

16   being created in Florida are not the typical busboy jobs.  They

17   are high-tech jobs, they are pharmaceutical jobs, financial

18   services, film industry, high-paying jobs.  This has a

19   repercussion on what happens to the load in Florida.  That

20   would cause load to grow substantially.

21             On the other side, the other uncertainty that we

22   wanted to address is the price of fuel.  Between July 2005 or

23   July 2004, the price of oil has increased by 43 percent.  The

24   price of gas has increased by approximately 13 percent.  A

25   substantial amount of increase there which would translate into

FLORIDA PUBLIC SERVICE COMMISSION

22

1   the higher price of electricity, which has the opposite effect

2   to dampen load.

3             Also, in this year's demographic estimating

4   conference, the University of Florida and the Governor's

5   Office, and to a certain extent the Legislature, are all

6   agreeing that the 455,000 that we saw last year will probably

7   drop to about 355,000 this year or almost 100,000 less people

8   because of the impact of the hurricanes.  So we are having a

9   balancing act that we have to do at the level of the

10   forecasting group.

11             In my presentation I'm going to address these issues.

12   What was the reason for us to do this?  As I said, some things

13   why we needed to do this, but basically we reviewed all the

14   companies' methods, we look at history and compare it with

15   forecast.  And I would like to speak some about what the

16   forecast findings were, and then I would like to address how we

17   handled, how we tackled those uncertainties that I mentioned

18   before.

19             Why we did it?  Because the reliability assessment

20   plan is as good as the load forecast is.  It doesn't matter

21   what Mr. Paul Elwing said here.  If he is planning a system to

22   meet the incorrect load, it doesn't matter what his reliability

23   measures are.  He needs to have the correct load forecast in

24   there so we can say this is a reliable system.

25             And, finally, in NERC's planning standards it says

FLORIDA PUBLIC SERVICE COMMISSION

23

1   the load forecast of each of the regions that make up NERC need

2   to be evaluated to ensure no biases.

3             When we reviewed each individual company, we looked

4   at their historical forecast accuracy, what kind of consistency

5   across utilities were there in the assumptions and inputs.  Are

6   we using state of the art in the forecasting models?  How do

7   the forecasts compare to history?  And, once again, how were

8   the uncertainties treated?

9             I'm glad to report to the Commission today that we

10   did not -- at FRCC's level, we did not detect any biases in any

11   of the utilities to take a consistent underforecasting or a

12   consistent overforecasting.  In fact, it was a random event,

13   meaning to say there were going to be some years that were

14   higher than normal, some years that are lower than forecast.

15   I'm sorry.  And these deviations were attributable to

16   short-term deviations in the economic growth or short-term

17   deviations in weather patterns from long-term normals.

18             Anyway, the process that the utilities use is

19   self-correcting to the point that the very last observation is

20   the starting point.  So if one year was underforecasted, it

21   does not carry into the following year because they will start

22   out at the last actual value.

23             The next one.

24             I mentioned something about the strong economic

25   performance and about the volatility of the fuel price.  But in

FLORIDA PUBLIC SERVICE COMMISSION

24

1   addition to that, Florida is experiencing a boom in

2   construction.  Prices of homes have skyrocketed.  There is an

3   issue of affordability.  There is a study from the University

4   of Colorado that says that of the top five cities, Florida,

5   Miami specifically, is one of the cities with jobs that are

6   paying over $100,000 per year that cannot attract people to

7   come to Florida because of the affordability of housing in the

8   state of Florida.  That has the impact of reducing the amount

9   of people that we see coming to Florida.  There is the issue of

10   the real estate market.  Is there going to be a burst in that

11   bubble or is it going to continue?  Just uncertainties and

12   certainties that we have to address.

13             The 2000 hurricane season.  As I said, last year was

14   a record growth in population, considering the last 35 years.

15   However, once we had the hurricanes last year, after September

16   the population or customer growth began to drop real fast.

17   However, starting this year, for some reason, it seems as if

18   our population forgot about the hurricanes and once again we

19   are experiencing good growth.  The point, however, that I would

20   like to make is following the hurricanes there was a

21   considerable drop in the amount of people coming to Florida,

22   and even so we had a record growth last year in population.  A

23   lot of uncertainties that we need to address.  These are

24   findings.

25             As I mentioned before, the forecast is suitable if we

FLORIDA PUBLIC SERVICE COMMISSION

25

1   do not have a pattern of over or underforecasting.  Second, we

2   do not want that divergence, the difference between actual and

3   forecast to get larger over time.  Just the opposite is what we

4   will expect.  We want that forecast error to be reducing over

5   time, and that was our major finding.  We did not find any

6   trend of over or underforecasting, and that divergence, the

7   forecast variance is getting smaller over time.

8             I have a very busy table here, but I would like to

9   call your attention to the bottom part of that table.  And what

10   it shows is the forecast errors.  If we look at that line going

11   diagonal, okay, from 1997 the forecast error was approximately

12   4.8 percent.  And if we move along that diagonal line, that

13   number is getting smaller and smaller and smaller.

14             I should explain that each one of these columns

15   represents forecasts corresponding to ten-year site plans

16   starting in 1995.  So the first column is actuals, then the

17   forecast that was done in 1995, and so forth.  This table

18   refers to the summer peak.  A positive number will mean that we

19   underforecasted, a negative means we overforecasted.

20             This is the summer, right?  Could you leave it there

21   just for a second?

22             If you look at the last, very last line to the

23   bottom, starting in approximately 2001.  In 2001, the forecast

24   error that was done in 2001 for 2004 was off by approximately 1

25   percent.  The forecast that was done in 2002 for 2004 was off

FLORIDA PUBLIC SERVICE COMMISSION

26

1   by .4 percent, and so forth.  So a forecast that was done four

2   years ago is off by 1 percent.  Considering that the

3   reliability standard for the state of Florida is 15 percent, if

4   we can expect that the forecast is going to be off by one

5   percent four years out, I think that the contribution toward

6   that reserve margin, the part that is made up by the forecast

7   variance is well within the limits if we consider that we are

8   just off by .1 percent.

9             These numbers are amazingly close?  And I say

10   amazingly, because if you compare with other regions that make

11   up NERC, they are much larger.  Furthermore, these numbers are

12   actual values.  If we were to normalize these values for normal

13   weather, the forecast variance would even be smaller.

14             I'm not going to spend too much time here because

15   this is the winter peaks.  In Florida we experience a winter

16   peak like once every five years or something like that.

17   However, the forecast assumes every year that we are going to

18   have a winter peak, and that is for reliability purposes.  We

19   do not want to give the planners a forecast that assumes only

20   one winter peak in five years, because we do not know when that

21   is going to happen.  So we assume that every year there is

22   going to be a forecast -- there is going to be a winter peak

23   and that is provided to the planners.  Because of that, you are

24   going to see some sizeable overforecasting in the winter peaks,

25   but that is an error that we want to live with, considering

FLORIDA PUBLIC SERVICE COMMISSION

27

1   that we will experience that winter peak only once every four

2   or five years.

3             I'm going to speak about some of the results now.

4   I'm going to compare history with forecasts, and I want to

5   compare last year plan with this year plan.

6             This is the summer peak.  It cannot be seen very

7   clearly in that graph, but the first two years of this plan is

8   slightly lower than the forecast that was provided last year in

9   the ten-year site plan.  And the reason for that, there are two

10   reasons.  The first one is relying on the University of Florida

11   assumptions, the University of Florida Bureau of Economic and

12   Business Research that publishes the population figures,

13   because they are saying that this year we will have 100,000

14   less people than last year.  That has the effect of dampening

15   in the short-term that forecast.

16             The other reason is that the fuel price in the near

17   outlook is substantially higher than what we were saying last

18   year.  Therefore, in the first one and two years, the forecast

19   this year is slightly lower than what we were saying last year.

20   Out there in the future, in year ten, however, the forecast is

21   like 600 megawatts higher than what we were saying last year,

22   and that is because of the economic boom that we are

23   experiencing in Florida.

24             Could you put it back just one second?

25             To the bottom in that table to the left, it shows

FLORIDA PUBLIC SERVICE COMMISSION

28

1   that historically we have grown at the rate of 1,241 megawatts

2   per year.  The current plan assumes that we are going to grow

3   by 1,222, I think.  Very similar growth rates in absolute

4   number.  And considering that the first number, the history is

5   not weather normalized and the forecast is weather normalized,

6   the forecast is slightly higher than what history is.

7             COMMISSIONER BRADLEY:  One question.

8             DR. GREEN:  Yes.

9             COMMISSIONER BRADLEY:  So this number reflects the

10   loss of population growth in terms of megawatts?

11             DR. GREEN:  That's correct.

12             COMMISSIONER BRADLEY:  Okay.  Thank you.

13             DR. GREEN:  With regard to the winter peak, the

14   winter peak is higher than last year's forecast throughout the

15   ten-year horizon.  And the reason why it is higher and not

16   lower in the first two years, as it was in the summer peak, is

17   that the price of electricity does not affect winter peak.  On

18   that winter morning when it is cold, you don't care what the

19   price of electricity is.  You are going to heat your home.  So

20   the price of electricity is not a factor when you speak of

21   winter peak.  It is a short two peaks per year or two days per

22   year, and you are going to warm your home.  Therefore, the

23   higher peak that this plan contemplates is based primarily on

24   the assumptions of a better economy and a higher population

25   growth rate in the long-term.

FLORIDA PUBLIC SERVICE COMMISSION

29

1             I spoke some about the forecast uncertainty.  What

2   the forecasting task group of FRCC wanted to ensure was that

3   all of these uncertainties were contemplated in each utility's

4   forecast.  We were pleased to report that, yes, all of them

5   were contemplated.  In some cases we said we will rely on the

6   University of Florida population projections.  They are looking

7   at the same factors that we are.  We will rely on what they are

8   saying.

9             With regard to the economy and the price of fuel, we

10   relied on reputable firms like Global Insight, which is DRI --

11   which was formerly DRI, Economy.com.  Some are also using the

12   University of Florida.  There are a variety of sources.

13   However, there is a consensus on all consulting firms that

14   Florida will remain the leader in the U.S. in job creation and

15   economic output.

16             The impact of the 2004 hurricanes.  All the utilities

17   work with realtime data.  The University of Florida lags by one

18   year.  We will provide the University of Florida our customer

19   hookup data.  And this is very valuable for them in between

20   census years.  They rely on that data plus other surveys to do

21   their projections of demographic growth.  However, we do have

22   that realtime data.  We know what is happening today on

23   customer growth.  So the adjustments that we made for the year

24   2005 and 2006 preceded the population numbers released by the

25   University of Florida.  We were pleased to see that the

FLORIDA PUBLIC SERVICE COMMISSION

30

1   University of Florida agreed with our assessment of the impact

2   of population growth caused by the hurricanes of 2004.

3             I mentioned this already, so we will go over this

4   slide.  We'll skip that one.

5             I would like to mention just shortly something about

6   weather.  Weather is a short-term impact.  We have not detected

7   so-called global warming in our system.  If this year is hot,

8   there is no certainty that next year is also going to be hot.

9   It seems to be a random event.  So we have weather fluctuating

10   above and below.  Each utility did a tremendous amount of

11   research regarding how weather affects their load.  And as

12   such, different utilities will use 20 years of historical data

13   to define what is their normal.  Some will use 30, and some

14   will use even longer periods.

15             A phenomena that we are experiencing, however, is a

16   migration inland and a migration north.  And both areas, inland

17   and north, seems to have more adverse climate.  The net effect

18   is that they increase the use per customer, and that is a

19   driver in the higher use per customer that we are projecting;

20   not necessarily that there is global warming in Florida or

21   something like that, but just where the population growth is

22   occurring.  It is growing away from the beach.  There is no

23   more beach land, and it is growing farther north.

24             Last one.

25             Based on this exhaustive review that we did at FRCC,

FLORIDA PUBLIC SERVICE COMMISSION

31

1   we concluded that the forecast is reasonable and realistic.  It

2   is unbiased.  It is objective.  As good a picture that we could

3   produce for the future in Florida.  There are going to be

4   short-term deviations, and these are driven primarily by

5   economic deviations and by short-term weather deviations.  And

6   most importantly, the forecasts are self-correcting as I

7   explained before.  They take off from the very last value.

8   There is no consistent underforecasting or overforecasting.

9   And based on this analysis, we deemed that the forecasts were

10   suitable for our reliability assessment.

11             If there are any questions, I will gladly attempt to

12   answer those.

13             CHAIRMAN BAEZ:  Questions of Dr. Green,

14   Commissioners?

15             COMMISSIONER DEASON:  I have a question.

16             CHAIRMAN BAEZ:  Commissioner Deason.

17             COMMISSIONER DEASON:  Yes.  Doctor, could you refer

18   to -- well, it's Figure 6 in this booklet, but you had the same

19   information in your slides.  It would be Slide Number 10.  This

20   is the summer peak forecast, comparison of forecasts to

21   actuals.

22             DR. GREEN:  Right.

23             COMMISSIONER DEASON:  Okay.  And I agree with you, it

24   appears that these forecasts, particularly over the last five

25   years, that there is no -- I mean, they're accurate.  There

FLORIDA PUBLIC SERVICE COMMISSION

32

1   doesn't seem to be any biases in this, particularly, since this

2   is not weather normalized, these are just the actual results.

3             DR. GREEN:  That's correct.

4             COMMISSIONER DEASON:  But just so I can get a sense

5   of the sensitivity of load forecasts as it affects the ultimate

6   determination of reliability and determination of reserve

7   margins, my specific question pertains to -- I have looked at

8   the last five years, and it appears that the largest

9   underforecast was 3-1/2 percent, and that is in the year 2001,

10   the forecast for the year 2002, I believe.

11             DR. GREEN:  That's correct.

12             COMMISSIONER DEASON:  Okay.  And in the previous

13   presentation, we had information given to us as to what the

14   anticipated reserve, summer reserve margins would be.  And in

15   the year 2000 -- I believe it was 2008, '09, and '10, or 2007,

16   '08, and '09, the reserve margin still exceeded 15 percent, but

17   it was under 20.

18             I'm getting to my question.  If we were to -- for

19   example, in the year 2008, if we were to see actual load 3-1/2

20   percent higher than we are forecasting right now, what would

21   that do to that reserve margin?  Would it cause it to go below

22   15 percent, or would it still be above 15 percent, even if we

23   experienced a 3-1/2 percent actual growth higher than the

24   forecast?

25             DR. GREEN:  Yes.  At 3-1/2 percent it would be still

FLORIDA PUBLIC SERVICE COMMISSION

33

1   about 15 percent.  Because we are carrying around 20 -- just

2   over 20 percent in those years, and 3-1/2 percent would not be

3   sufficient to bring it down to 15 percent.  In addition, there

4   are several things that enter into the calculation.  For

5   example, I'm speaking of the utility where I work, FPL.

6   Reserve margin is calculated on the basis of a firm load.  That

7   is after you have applied load control or you get credit for

8   load control.

9             We choose not to use load control in 2002, okay.  Had

10   we used load control, the underforecast would have disappeared,

11   and in the reserve margin calculation it would have been even

12   less than 3-1/2 percent.  So to answer your question, because

13   we are over 20 percent, 3-1/2 percent load forecast would not

14   bring it down to 15 percent.

15             COMMISSIONER DEASON:  And you would still have the

16   availability of demand control if you found yourself in that

17   situation?

18             DR. GREEN:  That's correct.  Plus, there are other --

19   what we have talked about here are planning reserves.  There is

20   also another set of tools the operators have that we call

21   operating reserves, and that is not contemplated here.  And

22   just to add onto this information, the way that we do this is

23   we aggregate all the utilities, and we have what is called a

24   non-coincident peak.  We don't care when the utilities peak.

25   We do know that they don't peak at the same time.  Had we used

FLORIDA PUBLIC SERVICE COMMISSION

34

1   a coincidence factor, which is at 1-1/2 percent, because all

2   the utilities don't peak at the same time, we have an

3   additional 1-1/2 percent in the reserve margins that we don't

4   claim in the reliability assessment because of the way we do

5   it.  We just aggregate the peaks whenever they occur.  Had we

6   taken into consideration when the Peninsular is peaking, we

7   would have had an additional 1-1/2 percent reserve that should

8   be added onto that 20 percent that Paul presented shortly.

9             COMMISSIONER DEASON:  Thank you.

10             CHAIRMAN BAEZ:  Commissioner Bradley, you had a

11   question?

12             COMMISSIONER BRADLEY:  Right.  On Page 17, you dealt

13   with the issue of migration to more adverse climates, and I'm

14   assuming that that means that those climates are more adverse

15   in the winter as well as in the summertime.  But my question is

16   this.  How have you factored in -- and this ties into what

17   Commissioner Deason just asked as it relates to our reserve

18   margin.  Just by the mere fact that we are having more

19   migration into the interior of Florida, and you consider that

20   to be more adverse in terms of climate, what impact is that

21   going have upon the reserve margin?  It would seem to me that

22   because the climate within the interior is more adverse, that

23   that is going to cause the usage to go up.  Is that --

24             DR. GREEN:  That's correct, Commissioner.  And we

25   contemplated that in the load forecast calculation.  We have

FLORIDA PUBLIC SERVICE COMMISSION

35

1   projected an increasing use per customer.  And one of the

2   primary reasons for that increase in use per customer is

3   because of exactly what you have mentioned.  We contemplated

4   that, we included that into the forecast, and the numbers that

5   the planning group worked off of had those values included in

6   there.

7             COMMISSIONER BRADLEY:  Okay.  Did you also -- how

8   does that -- well, I'm not going to ask the second question

9   because it deals with cost, and I think the other gentleman

10   covered cost from the perspective of -- well, he stated that

11   each individual company is going to have to make a business

12   decision as it relates to the cost of fuel.

13             DR. GREEN:  Right.

14             CHAIRMAN BAEZ:  Commissioners, any other questions of

15   Dr. Green?

16             Thank you, sir.

17             DR. GREEN:  Thank you very much.

18             COMMISSIONER DEASON:  Let me say one thing.  I have

19   listened to the doctor make presentations over the years, and

20   he always does an excellent job.  Your expertise and your

21   presentations are very much appreciated.  I want you to know

22   that.

23             DR. GREEN:  Thank you very much.

24             COMMISSIONER BRADLEY:  Ditto.

25             CHAIRMAN BAEZ:  Mr. Haff.

FLORIDA PUBLIC SERVICE COMMISSION

36

1             MR. HAFF:  We are going to next have a presentation

2   from some members of utilities that are proposing coal-fired

3   generating units, but I was just going to ask if you wanted to

4   take a couple of minutes and let them come up.

5             CHAIRMAN BAEZ:  Actually, let's break for five

6   minutes.

7             (Brief recess.)

8             MR. HAFF:  We are going to go ahead and continue the

9   workshop.  We have some members of the electric utilities who

10   have proposed coal projects in their plans, and it's sort of

11   something new we are doing this year.  And I guess we'll just

12   kind of go in order across the table here, and, you know,

13   briefly give your name and who you are with, and just, I guess,

14   a brief summary of what you are proposing, issues you dealt

15   with in coming to that decision, and we'll just kind of ask

16   questions as they arise.

17             CHAIRMAN BAEZ:  We can start to my left.  If you will

18   just introduce yourselves, and then maybe we can discuss who is

19   going to go first.

20             MR. ROLLINS:  My name is Myron Rollins.  I'm with

21   Black and Veatch.  I'm representing the Orlando Utilities

22   Commission.

23             CHAIRMAN BAEZ:  Welcome.

24             MR. REGAN:  My name is Ed Regan.  I'm the assistant

25   general manager for strategic planning for Gainesville Regional

FLORIDA PUBLIC SERVICE COMMISSION

37

1   Utilities.

2             MR. LAWSON:  I'm Mike Lawson, and I work for JEA, but

3   I'm representing the four utilities for our coal joint solid

4   fuel plant.

5             MR.  MAHAFFEY:  I'm Lane Mahaffey in charge of

6   corporate planning for Seminole Electric Cooperative.

7             MR. SCROGGS:  I'm Steve Scroggs with Florida Power

8   and Light.

9             CHAIRMAN BAEZ:  Is there any particular order you

10   gentlemen might have discussed to go in?  Do all of you have

11   comments or presentations to make?  We can start with

12   Mr. Rollins.

13             MR. ROLLINS:  Okay.  I'm not exactly sure what you

14   are looking for in our presentation, but we will take a shot at

15   that.

16             CHAIRMAN BAEZ:  Well, this is -- and the truth is, we

17   aren't, either.  I think one of the things that we were trying

18   to do, as you heard Mr. Haff mention, is to try and focus in on

19   what is really current issues, you know.  And, at least in my

20   opinion, I'm pleased to see that there are efforts out there at

21   diversifying our generation mix and, you know, particularly

22   coal.  So that is why you all have been chosen to stand before

23   the firing squad, as it were.

24             But I think what I would be interested, I hope I can

25   speak for the rest of the Commissioners, would be interested in

FLORIDA PUBLIC SERVICE COMMISSION

38

1   hearing a little bit about what your proposals are to the

2   extent that we don't get into, you know, merits of future

3   cases.

4             But what you are looking at, what kind of issues you

5   are facing, the impetus behind your decisions to pursue certain

6   projects generally speaking might have been, things like that.

7   I don't want to put too much pressure on you gentlemen, but I

8   certainly -- I know Commissioner Deason has been with the

9   Commission long enough to have developed an interest or at

10   least seen enough reason for interest before to, you know,

11   really be concerned.  And we have certainly spoken about it

12   prior, and we would love to hear -- obviously, this is a

13   reaction of some sort, and we would like to hear why and how.

14             MR. ROLLINS:  Okay.  Let me start.  Orlando Utilities

15   Commission and Southern Company were awarded a DOE clean coal

16   grant in the latter part of 2004 for $235 million to do an

17   integrated coal gasification demonstration project under the

18   clean coal initiative.  The site is Stanton Energy Center where

19   there are two twisting coal units already and a combined cycle

20   unit.  Orlando Utilities Commission and Southern Company had

21   jointly built and built a combined cycle unit along with the

22   Kissimmee Utility Authority and FMPA as joint owners in it.

23   The Southern Company is wanting to maintain a lot of stuff that

24   is confidential, and I also don't have a lot of details on the

25   project.

FLORIDA PUBLIC SERVICE COMMISSION

39

1             A one-on-one class combined cycle is the power block

2   portion of it, about 300 megawatts, scheduled for -- the

3   gasifier portion is scheduled for commercial operation in 2011.

4   The combined cycle will probably go in in the summer of 2010 to

5   meet OUC's load requirements.  The site is good in that it was

6   originally certified and permitted for 2000 megawatts of

7   coal-fired capacity, so it has a lot of existing infrastructure

8   in place.

9             I scrounged the press reports to try to get something

10   that was public for the overall cost of the project.  It's

11   about $557 million in project cost in the DOE proposal of which

12   235 million is the clean coal grant.  That also includes some

13   cost sharing in the first four years of operation of the

14   project.

15             CHAIRMAN BAEZ:  You mentioned the site.  Is it the

16   Stanton -- the Stanton site was already sited for coal

17   generation, so this is sort of -- at least this proposed

18   project sort of falls somewhere under that?

19             MR. ROLLINS:  Yes, sir.  You know, under the Florida

20   Power Plant Siting Act you can do an ultimate site

21   certification which allows you an easier process to certify the

22   next generating units.  And so there is still capacity left in

23   the original 2000 megawatts of coal-fired ultimate

24   certification at the site.

25             CHAIRMAN BAEZ:  And is it fair to say that whatever

FLORIDA PUBLIC SERVICE COMMISSION

40

1   difficulties -- whatever difficulties might exist or might have

2   existed with siting coal generation, that battle was -- or

3   those issues or concerns were addressed in an overall sense

4   once the ultimate siting was done?

5             MR. ROLLINS:  Well, I think it might be a stretch to

6   say all the concerns have already been addressed.

7             CHAIRMAN BAEZ:  Fair enough.

8             MR. ROLLINS:  Certainly it minimizes concerns.  It's

9   certainly easier to site another unit at an existing coal-fired

10   site.  The emission profile of the integrated coal gasification

11   project is certainly very favorable, even compared to the

12   existing units.

13             CHAIRMAN BAEZ:  Right.

14             MR. ROLLINS:  There are certain things that you don't

15   have to do in the Power Plant Siting Act -- under the Power

16   Plant Siting Act under ultimate certification, such as you

17   don't have to have another land use and zoning hearing.  And it

18   is a shorter schedule.  With respect to the need for power

19   portion of it, it's no different, though.

20             CHAIRMAN BAEZ:  Right.

21             Commissioners, questions?

22             Commissioner Deason.

23             COMMISSIONER DEASON:  I have a question.  Is there a

24   specific type of coal that has to be used at this plant because

25   of the grant and the technology being used?  Can you explain

FLORIDA PUBLIC SERVICE COMMISSION

41

1   that?

2             MR. ROLLINS:  I don't know to the exact extent that

3   they are being confidential with their coal selection and so

4   forth, but --

5             COMMISSIONER DEASON:  You can just speak in general

6   terms as to the type of coal.

7             MR. ROLLINS:  Yeah.  In general -- well, let see if I

8   get my head chopped off here.  In general, I think they are

9   planning on using Powder River Basin coal, and this particular

10   gasifier design is very good to use Powder River Basin coal.

11   And if you think about Southern Company's objectives probably

12   is to -- this is a scale up of their Wilsonville four-megawatt

13   demonstration plant.  It is a big scale up from four megawatts

14   to 300 megawatts.  But, certainly, earlier discussions about

15   all the coal in Powder River Basin, there may be issues about

16   rail transportation, but, certainly, it is our largest

17   available resource of energy other than nuclear.

18             CHAIRMAN BAEZ:  Other questions?

19             Commissioner Edgar.

20             COMMISSIONER EDGAR:  Sir, what is the time frame or

21   what are the milestones ahead, if you could lay those out

22   briefly.

23             MR. ROLLINS:  The only specific milestones that I can

24   really talk about are the commercial operation date.  They are

25   following the DOE process and the NEFA process (phonetic).  It

FLORIDA PUBLIC SERVICE COMMISSION

42

1   is a little more involved, but, you know, it is going to be in

2   the neighborhood of a three-year construction schedule, I

3   believe.  And the combined cycle portion is in the neighborhood

4   of a two-year construction schedule.  So to get it on-line in

5   2010, they are going to need to start construction around 2008

6   for both pieces.

7             CHAIRMAN BAEZ:  Any other questions?

8             Mr. Haff.

9             MR. HAFF:  I had a question.  With that time frame,

10   when do you expect we will have a petition for need in front of

11   the Commission?

12             CHAIRMAN BAEZ:  That's a secret.

13             MR. ROLLINS:  If it was up to me, it would be as soon

14   as possible.

15             MR. HAFF:  End of the year?

16             MR. ROLLINS:  I would doubt quite by the end of the

17   year.  The current status is OUC and Southern have been

18   negotiating the final elements of their business arrangement.

19   And once that gets finalized, they will, I'm sure, start

20   executing the project in earnest.  And the DOE clean coal grant

21   is a little bit, even though I'm sure it's a foregone

22   conclusion, but it is really the opportunity to make a final

23   business presentation to them and secure the grant, so that is

24   probably not even 100 percent tied down even.

25             CHAIRMAN BAEZ:  Any other questions?

FLORIDA PUBLIC SERVICE COMMISSION

43

1             Thank you.

2             COMMISSIONER DEASON:  Wait.  The grant, as you just

3   indicated, is not a sure thing, I take it?

4             MR. ROLLINS:  Well, I think it is a sure thing, but I

5   think part of the process is that you have been awarded the

6   opportunity to negotiate the grant, and I don't know -- I just

7   plainly don't know the exact time frame of when it's final.

8             COMMISSIONER DEASON:  Well, if for some reason the

9   grant is not granted, the project then would not go forward?

10             MR. ROLLINS:  I can't say that specifically, but I

11   think the grant is important to make the project

12   cost-effective.

13             CHAIRMAN BAEZ:  Other questions?

14             Thank you, sir.

15             MR. REGAN:  Gainesville's proposal is the outcome of

16   an extensive integrated resource planning effort that really

17   started in 2002 when we were with a group that started looking

18   at the joint projects.  As time went on, for a variety of

19   reasons, our commission decided not to continue to participate

20   in that project, and I will hit on some of those reasons.

21             Once we had some of our technical information in

22   hand, we went to our community in an extensive public outreach.

23   We started off with a series of six community forums where we

24   actually bought dinner for anybody that would come out, and a

25   lot of people did.  And what we said is we have three problems.

FLORIDA PUBLIC SERVICE COMMISSION

44

1   The first problem is we are growing, some of our units are

2   getting old.  We are going to need additional capacity, and in

3   particular, our generation mix is such that we need base load

4   capacity.

5             Our second problem was that the price of fuels was

6   causing us very strong concerns.  I personally am on our fuel

7   acquisition committee.  We manage our hedging programs, and

8   everybody here knows what has been going on with the price of

9   gas and what the prospect is for coal.

10             And, finally, we communicated our very strong

11   concerns about the reliability of the various fuel types.  The

12   information we assembled from public sources is such that there

13   is maybe 20 years worth of -- at our current rate of

14   consumption, proven reserves of fuel in our country are only

15   about 20 years worth of oil, about 50 years worth of gas.  And

16   depending on the source, 250 or 400 years worth of coal.  I

17   have been at conferences where people from other parts of the

18   planet have called us the Saudi Arabia of coal.

19             In talking to our community, we have a very strong

20   community interest in energy conservation.  Is there any way we

21   could conserve our way out of this?  And a very strong interest

22   in renewable energy.  And a very strong interest in preserving

23   air quality.  And what we have learned, and it is going to be a

24   major problem for the state, is that there is a lot of public

25   mistrust and public fear related to solid fuels of any type.

FLORIDA PUBLIC SERVICE COMMISSION

45

1   We have had commission meetings.  We've probably had 20

2   commission meetings on this so far with people coming up to the

3   mike and talking about, you know, dead babies, and, you know,

4   mercury poisoning.  I mean, there is just an amazing amount of

5   fear and misunderstanding out there, especially given the new

6   technologies.

7             Based on all of this input, we put together a plan

8   that has really five parts to it.  And you may not know this,

9   but Gainesville has the lowest electrical use per residential

10   customer of any utility in Florida by a substantial margin.  We

11   have a very aggressive energy conservation program, including

12   we give natural gas rebates, which is a little unusual.  We

13   have solar rebates.  So the DSM continues to be a strong part

14   of our plan and -- although there are many who say it is not

15   strong enough.  One of the biggest arguments in our community

16   is should we be using the REM test, which is the test you use,

17   or should we be using the total resource test.  So that is an

18   ongoing debate.

19             In terms of renewable energy, what North Central

20   Florida has is a lot of biomass in the form of waste wood

21   products.  We are staying away from any kind of energy crop.

22   We are looking at using biomass as a resource, and our

23   community wants to use renewable resources.  It's good for the

24   local economy, it creates jobs.  There has been a downturn in

25   the paper pulp industry, which has been very bad for Florida.

FLORIDA PUBLIC SERVICE COMMISSION

46

1   So we kept that in mind.

2             And, also, our community is very interested in

3   pollution control.  If you are familiar with Gainesville, you

4   know that it's -- the University of Florida has a strong

5   influence.  There is a lot of idealistic environmental people

6   there.  And I am one of them, by the way.

7             So we came up with a proposal for a -- our plan has

8   strong energy conservation.  It is a very powerful commitment

9   to renewable energy.  We are talking about another 10 percent

10   reduction in our electrical needs by 2012 with renewable

11   energy, and a solid fuel plant, which is actually a major part

12   of meeting our renewable energy goal.  And that solid fuel

13   plant is nominally a circulating fluidized bed plant that could

14   accommodate biomass, coal, and petroleum coke.

15             There are trade-offs on a relatively small unit.  We

16   are talking about maybe 240 megawatts compared to some of the

17   bigger units that you're going to hear about in a few minutes.

18   Frankly, a large super critical steam pulverized coal plant is

19   the most efficient way to go.  But if you are going for optimal

20   fuel diversity for the most number of choices of fuel types,

21   including biomass, any unit that a city like Gainesville could

22   afford, a CFB is a good fit.  So that is one of the reasons why

23   our proposal is a little bit out of sync with what you are

24   hearing from around the state.

25             Another important part of our plan is to use

FLORIDA PUBLIC SERVICE COMMISSION

47

1   reclaimed water.  We operate a water and wastewater system, so

2   we have ample reclaimed water available for the project.

3             For better or for worse, we have always been very up

4   front with our community.  We've discussed quite candidly

5   climate change and global warming.  It is an argument that --

6   Gainesville is trying to struggle with an issue that our

7   country has yet to come to grips with, which is, well, what

8   about carbon, you know.  And Gainesville firmly believes in

9   environmental justice.  If we don't want carbon, we don't want

10   it here.

11             And so we have -- part of our plan is, first of all,

12   the renewable energy portion, the biomass part of it is -- we

13   consider it to be carbon neutral.  Many people in our community

14   agree.  It's consistent with the Kyoto protocol.  Not everybody

15   does agree with that, but for the time being our position is

16   that biomass is carbon neutral.

17             A part of our plan is a very healthy fund that we

18   call the greenhouse gas fund.  And what we did is we are

19   setting aside a sum of money that would be sufficient to buy

20   enough carbon credits to make our solid fuel proposal, given

21   how much pet coke and coal we are projecting to use on the

22   average, to make it carbon neutral compared to a new gas unit.

23             And the way we monetize that quantity is we went to

24   the Chicago Climate Exchange and came up with a present value

25   of if we were to buy those carbon credits on the market, what

FLORIDA PUBLIC SERVICE COMMISSION

48

1   would it take to make it gas neutral.  And currently carbon

2   credits are running about a buck seventy-five a ton for CO2

3   equivalents.

4             One of the conditions that our commission imposed on

5   that is that the money would not be spent for allowances or

6   carbon credits off of some hypothetical market, but that the

7   funds would be used for local projects that would either

8   sequester carbon or reduce carbon emissions.  And, therefore,

9   you know, we get our carbon gains locally.

10             So, those are the kind of the elements of our plan.

11   That is how we got to a CFB, which is a little bit different

12   that what you are hearing.

13             One of the killers or potential poison pills in the

14   whole thinking is what we have learned about the infrastructure

15   for rail in our country.  It is kind of a tragedy, but the

16   major railroads have been heavily incentivized to rationalize

17   their system and reduce the number of lines.  And as a

18   consequence, for any major shipper to start changing their

19   supplies from maybe Appalachian coal to Powder River Basin

20   creates huge logistic problems for the railroads.  And so,

21   whereas, currently we have a 25-year coal contract with CSX

22   that gives us points of origin almost anywhere on their system,

23   in fact, anywhere on their system, those kinds of contracts are

24   going to be scarce as hen's teeth in the future.  And so I

25   think that is a very strong concern on our part.

FLORIDA PUBLIC SERVICE COMMISSION

49

1             On the other hand, coal does have the advantage, in

2   Florida at least, of -- there are lots of ways to get coal to

3   Gainesville besides just on railroads.  There's barges, there

4   are multiple modes of getting it to us.  One of our reliability

5   concerns, and I am personally the guy in charge of our homeland

6   security activities, and that is a real eye opening endeavor to

7   engage in, is just how vulnerable the state of Florida is to

8   any disruption of the gas pipelines.  And, in fact, because of

9   the lack of effective interconnection, most of Florida is

10   really just on one pipeline.  And it would be devastating if

11   somebody figured that out and took some kind of action.  I only

12   mention it here because I think everybody in this room knows

13   what I'm talking about.  I don't like to talk about that in

14   public generally.

15             So, currently, we have hit the policy wall in

16   Gainesville where on the one hand we are looking at what looks

17   like a very robust plan.  We have had independent reviews by

18   engineering firms.  On the other hand, it is a $500 million

19   investment for the City of Gainesville.  And there are still

20   those strong naysayers that say we should not be doing coal

21   because of the carbon burden that comes with coal.  We should

22   be doing gas.  Gas, no matter how you cut it, no matter how

23   good your controls are, you are not going to have mercury in

24   your gas, so it is going to be cleaner, slightly cleaner.  In

25   my opinion, the technologies today are just as clean or just

FLORIDA PUBLIC SERVICE COMMISSION

50

1   effectively as clean.

2             And so where we are is our city commission has, in

3   fact, launched an RFP last week to have another independent

4   review done.  This time somebody not selected by Gainesville

5   Regional Utilities.  We selected the last independent review.

6   And the independent reviewers have been given a list of all of

7   our assumptions.  And the assumptions include things like our

8   renewable energy goal; our planning philosophy, which, is by

9   and large a least-cost planning philosophy; our reliability

10   criteria; the assumption that we need to have a stand-alone

11   unit that would be in Gainesville, so that we would not be as

12   reliant on a transmission grid.  All of the assumptions.  And

13   the independent reviewers will be required to pick some of

14   those assumptions, and modify those assumptions, and come back

15   with an alternate plan and compare it to our base case plan.

16             The reason for that is our commissioners among

17   themselves could not agree on which assumptions to change.  And

18   so the idea was, well, we will let some other experts with some

19   other opinions change the assumptions, and let's see what the

20   plan looks like, and see if we like it.  And it is kind of like

21   going shopping.  You don't know really what you want until you

22   see it kind of a thing, or they may -- more and more we are

23   hearing a strong feeling that our plan is robust.

24             We have kind of been in a little bit of an

25   uncomfortable position over the years, and I want to share that

FLORIDA PUBLIC SERVICE COMMISSION

51

1   with you.  First of all, last year when we compared our gas

2   forecast to everybody else's gas forecast, we had the highest

3   gas forecast in the state, price-wise.  And, boy, did we get

4   beat up for that, because there are people in Gainesville who

5   know how to come to the PSC and get everybody's gas forecasts,

6   and we explained our methodology and how we got it.  And as it

7   turns out, we were the rightist in the state, the most correct.

8             So we feel like Gainesville is probably a microcosm

9   of the policy issues that remain to be resolved.  There is a

10   lot of fear about climate change.  I was very pleased to hear

11   Dr. Green talk about their view on that.  Whether or not you

12   believe in climate change, it's very real.  It's a very real

13   public perception, and that is why you'll see Gainesville's

14   utility managing carbon as an issue.

15             Speaking unanimously for myself, I would implore the

16   Public Service Commission to realize the educational burdens

17   that are imposed upon utilities, particularly local utilities,

18   because I think diversifying the fuel supply, reducing our

19   reliance on natural gas, which right now America is importing

20   close to 20 percent of its natural gas, and it is getting worse

21   every year.  There is incredible pressure to mine for gas off

22   the coast of Florida, as you all know.  All the projections we

23   see say that America has peaked in natural gas.  No matter the

24   reserve you get, we are not increasing production past the 2001

25   levels.  Natural gas is just going to be a problem.

FLORIDA PUBLIC SERVICE COMMISSION

52

1             So it is hard to envision a future that does not

2   include solid fuels.  IGCC has a lot of cache with the

3   environmental community because of the belief of carbon

4   sequestration, that you can take the carbon out of the gas and

5   put it in the ground.  Well, we talked to the DOE people about

6   locating such a facility in Florida.  They are very concerned

7   about what happens when you put carbon dioxide into the aqueous

8   environment of Florida's aquifers with this limestone.  We

9   probably all remember in high school that you took chicken

10   bones and put them in Coca-Cola or vinegar and see how they get

11   rubbery and soft.  Well, you put CO2 down in the water in

12   Florida's aquifers, and you are going to create sink holes.

13             So we don't have a lot of alternatives, but there are

14   ways to manage carbon.  And coal has a lot of good things going

15   for it.  The economics are very compelling, as I'm sure you

16   know.  It has the burden, though, of having more carbon per

17   megawatt hour than other fuel types.  So that's why we came up

18   with the plan we came up with, and how we are trying to balance

19   those interests.

20             CHAIRMAN BAEZ:  Questions, Commissioners?

21             COMMISSIONER DEASON:  I have one.

22             CHAIRMAN BAEZ:  Commissioner Deason.

23             And, I'm sorry, I didn't get your name.

24             MR. REGAN:  My name is Ed Regan.

25             CHAIRMAN BAEZ:  Regan.

FLORIDA PUBLIC SERVICE COMMISSION

53

1             MR. REGAN:  R-E-G-A-N.

2             CHAIRMAN BAEZ:  Okay.  Thank you.

3             COMMISSIONER DEASON:  Thank you for that

4   presentation.  It was very helpful.  Just a few questions.  You

5   mentioned that it is the goal of the county to sequester carbon

6   locally.

7             MR. REGAN:  Yes.

8             COMMISSIONER DEASON:  And you are going to be setting

9   up a fund to do that?

10             MR. REGAN:  Yes.

11             COMMISSIONER DEASON:  How do you go about

12   sequestering carbon locally?

13             MR. REGAN:  There are actually two aspects.  One is

14   sequestering and reducing carbon.  One way to sequester carbon

15   is by purchasing development rights and managing forestry

16   lands.  And the carbon gets fixed in the biomass of the wood,

17   and that is a recognized way of -- in fact, that is how a lot

18   of the carbon credits on the Chicago Exchange are developed, is

19   companies are buying forest lands and jungles down in South

20   America and bringing the carbon credits to America.

21             Another way to do it is to --

22             COMMISSIONER DEASON:  Let me see if I understand.

23   There is a market developing where people actually buy forests?

24             MR. REGAN:  Buy and sell carbon credits.

25             COMMISSIONER DEASON:  And the obligation is to

FLORIDA PUBLIC SERVICE COMMISSION

54

1   maintain -- not cut those forests, maintain those forests so

2   that there is a neutralizing effect upon the carbon that is

3   emitted, or -- explain.

4             MR. REGAN:  Okay.

5             COMMISSIONER DEASON:  I haven't heard of this before,

6   so it is interesting.

7             MR. REGAN:  If we start off with a blank piece of

8   land, as ecosystems develop on land, the rate of carbon

9   fixation is very high initially and then tapers off.  So you

10   can manage lands in such a way that the rate of carbon fixation

11   is higher than it would be maybe under a natural steady state.

12   And that's the theory behind using forestry as a way of

13   sequestering carbon.

14             Some of the other kinds of projects that you could

15   fund would be avoiding carbon emissions.  For example,

16   investing in bio-fuels for diesel.  Perhaps investing in energy

17   conservation programs that don't meet the REM test, but meet

18   other social objectives, and so this fund would be eligible for

19   that.

20             In terms of actually directly removing the carbon

21   from the gas flow, it can be done.  They do it in spacecraft

22   and submarines all the time, but you have to have a place to

23   put the carbon.  Oddly enough, we have -- I have spent a lot of

24   time looking at this thing, you can imagine.  The most

25   effective way of sequestering carbon that I know of is making

FLORIDA PUBLIC SERVICE COMMISSION

55

1   swamps, letting biomass grow and fall under water and building

2   peat.  The Everglades was a huge bed of carbon.

3             And so those are the kind of projects the city

4   commission is interested in developing.  They feel that it will

5   also spur research and development in our community that would

6   be beneficial to the university.  It could be a source of

7   matching grant funds and all those sorts of things.

8             COMMISSIONER DEASON:  You've put a lot of thought

9   into that.  You mentioned rail transportation, potential

10   problems there.  You also mentioned, though, that there are

11   other ways to get coal.  And you mentioned barges.  And the

12   last time I looked Gainesville didn't have a deep water port.

13   So, obviously, you have got to -- once you use barges, you have

14   to transload it either to rail or to trucks.  What are your

15   plans in that regard?

16             MR. REGAN:  Well, our preferred alternative is we do

17   have a long-term contract that has very favorable pricing in

18   interchange terms, where we have access to Norfolk Southern as

19   well CSX, but that is only through 2017.  After that we are not

20   really sure.  There is a lot of initiatives at a federal and a

21   state level to work with the railroads to provide more

22   interexchange transfers and some backhauls.  For instance, we

23   would be very interested in the rail line that goes to Tampa

24   that comes through Gainesville, and getting a backhaul through

25   Tampa.

FLORIDA PUBLIC SERVICE COMMISSION

56

1             Again, that is an area where the Public Service -- we

2   would think the Public Service Commission should have a strong

3   interest in what is going on.  And, you know, a little known,

4   but let me say it here so everybody will help remember.  The

5   reason why Florida has a Rails to Trails Program, and

6   Gainesville has participated in that, is to preserve rail

7   corridor for the future, knowing that railroads are rolling up

8   the tracks.  And that was the original source of the intent of

9   the Legislature for creating that program.  And that was so

10   long ago that many people don't remember that.  And so now

11   these trails that are being put into place may someday become

12   necessary as a source of -- a way to create long corridors for

13   rail transportation at some point.  So that is an option.

14             We have corridors all the way up to Union County that

15   we are banking and have, in fact, put into use as trails.  So

16   those are the kinds of things that are being kicked around.

17   But at the end of the day, trucking is not -- is still a

18   feasible option for a limited haul distance.

19             COMMISSIONER DEASON:  And, you mentioned the

20   fluidized bed technology?

21             MR. REGAN:  Yes.

22             COMMISSIONER DEASON:  Is that technology in and of

23   itself conducive to using biomass, or does the basic technology

24   have to be somehow altered to use -- because you are looking at

25   using biomass as part of --

FLORIDA PUBLIC SERVICE COMMISSION

57

1             MR. REGAN:  Our fuel.

2             COMMISSIONER DEASON:  -- your fuel portfolio.

3             MR. REGAN:  It is conducive to that, because it can

4   handle irregular and large-sized particles, compared to

5   pulverized coal where it has to be like a dust that you can

6   blow in there.  So it is suited to that.  There are concerns

7   related to the metallurgy, depending on what kind of biomass

8   you are using.  If it has got a lot of green stuff, it has more

9   chlorides.  And really the only, in my mind, and Myron knows

10   more about it than I do, is the biomass has a lower fuel or

11   heat density than petroleum coke or coal.  So if you are going

12   to be using it, and as we are planning, if you are going to be

13   using biomass, you tend to have to oversize the boiler to get

14   the same number of megawatts.  So that is a consideration in

15   its use.

16             And, finally, what we think is a constraint is we

17   have done an inventory, because of the kind of conflicting

18   environmental things that I mentioned, we've decided that we

19   want to focus on using wood waste from silviculture activities,

20   from land clearing activities.  And within a 25-mile radius

21   there is a limit as to how much we think the sustainable yield

22   will be.  And until we actually develop the market, and our

23   idea is to have the material prepared and delivered to us ready

24   to burn, develop the market and get some competition going out

25   there, we really don't know what the pricing of that will be or

FLORIDA PUBLIC SERVICE COMMISSION

58

1   what the volumes will be.  Plus, there is competition for those

2   resources, as well.  There is a number of smaller biomass using

3   plants in North Central Florida that currently use that fuel.

4   So that was a big consideration, as well.

5             COMMISSIONER DEASON:  Thank you.

6             CHAIRMAN BAEZ:  Commissioners, any other questions?

7             Thank you, Mr. Regan.

8             MR. LAWSON:  Commissioners and staff, good morning.

9   As I said earlier, I'm Mike Lawson, and I work for JEA, but I

10   represent today the four participants in the North Florida

11   power project.  The North Florida power project is an 800

12   megawatt pulverized coal super critical unit.  The project

13   participants are FMPA, JEA, Reedy Creek Improvement District,

14   and now the City of Tallahassee.  The current commercial

15   operation date is scheduled for spring of 2012.

16             Why a solid fuel plant?  Reliability.  Solid fuel

17   units and combined cycle and combustion turbines are all

18   reliable from an operation standpoint.  But from a fueling

19   standpoint, should one fuel supply be restricted, then the

20   utility's ability to generate reliable, cost-effective electric

21   power should not be adversely affected.  Continued heavy

22   reliance on natural gas will inhibit the ability to prevent

23   that adverse effect.  Natural gas cannot be economically stored

24   on-site.  A typical solid fuel plant will have 90 to 120 days

25   of solid fuel on-site, so that stabilizes that effect.

FLORIDA PUBLIC SERVICE COMMISSION

59

1             The current forecast -- well, additionally, the solid

2   fuel, as the gentleman said, is the most abundant fuel source

3   the United States has.  And our projections are that it will

4   remain fairly stable as far as supply.  Even earlier mentioned

5   from the Powder River Basin, our forecast for the Powder River

6   Basis will be readily available, also.  The current forecast

7   indicated a shortage, however, for competitive gas in the near

8   future.

9             Economies.  Our duty to the ratepayer is to deliver

10   the lowest cost energy to their house and businesses.  This

11   compels exploring low-cost generation options.  Solid fuel is

12   the lowest-cost alternative.  Not only is it the lowest-cost

13   alternative, it is the least volatile of the current fuels used

14   in Florida today.

15             I think we can have our cake and eat it too.  A

16   low-cost generation can be accomplished in an environmentally

17   sound way.  The North Florida power project will incorporate

18   the latest, best available control technology for controlling

19   emissions, and it will be a super critical design, which is the

20   most efficient pulverized coal designed boiler today.

21             We have a community outreach plan to inform the

22   community of the project's benefits, impacts, characteristics.

23   We will have shareholder meetings, extensive project outreach

24   initiatives.  And the current status of the project, we are

25   trying to acquire land and that should be accomplished within

FLORIDA PUBLIC SERVICE COMMISSION

60

1   the next few weeks.

2             The challenges, environmental, getting the permits.

3   There is a strong stigma with coal generation.  We have that to

4   combat and to deal with, and we are prepared to do that.  It is

5   not going to be easy.  Reliable, stable, environmentally sound

6   electric power generation is a common goal of the participants

7   of the project, and I believe of the Commission.  Support from

8   any source or any group would be much appreciated because we

9   are going to need it.

10             CHAIRMAN BAEZ:  Questions?

11             COMMISSIONER DEASON:  You mentioned that the land

12   acquisition is well underway and that you anticipate closing

13   within weeks, is that correct?

14             MR. LAWSON:  We'll have that locked up within three

15   to four weeks.

16             COMMISSIONER DEASON:  Okay.  How big of a -- in terms

17   of land, how big of an area is needed for this type project?

18             MR. LAWSON:  Minimum site requirements is 23 to 2,500

19   acres, and that would include all future solid waste disposal

20   on-site.

21             CHAIRMAN BAEZ:  One of the other presenters mentioned

22   the use of reclaimed water, is that part of your -- is that

23   available to your project?

24             MR. LAWSON:  The reclaimed water, is that the gray

25   water?

FLORIDA PUBLIC SERVICE COMMISSION

61

1             CHAIRMAN BAEZ:  Yeah.

2             MR. LAWSON:  That is not available at the site.  If

3   it becomes available, we would be able to use that.

4             CHAIRMAN BAEZ:  Okay.

5             MR. LAWSON:  There are some -- we will be zero

6   discharge.

7             CHAIRMAN BAEZ:  It is zero discharge?

8             MR. LAWSON:  Yes.

9             CHAIRMAN BAEZ:  Okay.  Questions?

10             COMMISSIONER EDGAR:  The same question I had on one

11   of the earlier projects, which is after the site acquisition,

12   what are the future milestones necessary to be met for the

13   success and implementation of the project?

14             MR. LAWSON:  After site acquisition, that will

15   release us to go ahead and do a thorough site analysis, start

16   preparing the SCA and the need petition, our need petition.  We

17   anticipate going in approximately April of '06.  If everything

18   goes well, we will hopefully have the permits to start

19   construction in the fall of '07, and then it's about a 48 to

20   52-month construction cycle to be commercial in the spring of

21   '12.

22             CHAIRMAN BAEZ:  Other questions?

23             Thank you, sir.

24             Mr. Mahaffey.

25             MR.  MAHAFFEY:  My name is Lane Mahaffey with

FLORIDA PUBLIC SERVICE COMMISSION

62

1   Seminole Electric Cooperative.

2             First, I am going to talk a little bit about why

3   Seminole is pursuing coal.  We have, by the winter of 2013, a

4   need, a total need for new capacity of approximately 1,800

5   megawatts.  1,800 megawatts is a lot of capacity for a company

6   of our size, but the reason for that is because our portfolio

7   is made up of about 50/50 with owned generation and purchased

8   power contracts.  And between now and then, the large portion

9   of those purchased power contracts that exist right now as a

10   result of competitive bids in the past are expiring.  And so we

11   have the compound effect of purchased power contracts playing

12   out and then one of the fastest growth rates of consumers

13   underneath that compounding that growth.

14             And of that 1,800 megawatts, approximately 700 to 800

15   megawatts are what we consider base load.  Base load being the

16   portion of generating capacity that needs to run essentially

17   around the clock.  We talk in terms of capacity factors

18   exceeding 70 percent.  Our coal units, for instance, run in the

19   neighborhood of 80 to 90 percent capacity factor year round.

20   So we need about 750 megawatts that would run in that pattern,

21   and so there is a huge amount of energy that would be generated

22   by these generators.  And so the cost of energy is critical for

23   that portion of your load curve.  And Seminole believes that

24   coal is the best choice for the base load portion of that

25   larger 1,800-megawatt need.

FLORIDA PUBLIC SERVICE COMMISSION

63

1             The reasons, pure economics is primary.  Recent years

2   and essentially everyone's projections for the future show that

3   there is enough of a gap between coal and gas prices that the

4   economic choice is robust for coal for a base load requirement.

5   And that is fairly -- as I said, that is fairly robust.  Even

6   though the coal plant costs a lot more in capital cost, capital

7   dollars to build than a gas-fired plant, it is overcome by the

8   difference in energy cost.

9             We also have -- other than economics, we have what we

10   believe is one of the best sites for coal expansion in Florida,

11   that is the Seminole generating station in Palatka.  That gives

12   you the advantages of sharing the -- the economic advantages of

13   sharing existing infrastructure, coal facilities, coal

14   handling, rail facilities, water, roads, all the common

15   facilities on the site.  You may have to improve those

16   facilities, but you don't have to build them anew.

17             We believe we have strong local community support

18   throughout the life of the project and looking forward.  And

19   those local community involvement activities are, of course,

20   gearing up again, but they have been strong all along.

21             One thing unique about the site is that to build

22   this, add 60 percent to the generation output of the site with

23   the addition of a 750-megawatt unit, there is about 1,300

24   megawatts there now, doesn't require any substantial additions

25   in bulk transmission; in other words, no new power lines.

FLORIDA PUBLIC SERVICE COMMISSION

64

1   Improvements to the substations, improvements to the relay

2   protection systems, but no new corridors, no new wires.

3             And, also, this site gives us the opportunity to

4   maximize the reuse of the plant by-products, the combustion

5   ash; the gypsum that we make into wallboard, Lafarge Gypsum

6   (phonetic) makes it into wallboard on the site as an earlier

7   partnership; reuse of on-site water.

8             Seminole also has experience with coal having

9   operated these existing units since 1984.  And so we have the

10   confidence of being able to embrace that technology, it being

11   the economic choice technology.  And this project will allow us

12   to utilize that accumulated knowledge and experience in coal.

13             And, lastly, as far as the reason for coal, fuel

14   diversity.  People don't think of Seminole as a company that is

15   starved for coal.  We have a lot of coal.  But with our robust

16   growth rate, 4 to 5 percent a year historical and projected,

17   does is that if we don't add to our coal resources by 2012,

18   which is when this unit would come in, our reliance on natural

19   gas would exceed 50 percent of our total energy requirements.

20   And that is a level we haven't seen yet, and it is a level that

21   is of a concern to Seminole and its member cooperatives from

22   the standpoint of the uncertainty that places on our wholesale

23   price of power and the retail price of power that our members

24   sell to their consumers.

25             That is really the rationale for us going to coal and

FLORIDA PUBLIC SERVICE COMMISSION

65

1   pursuing coal.  Please interrupt me if you have questions on

2   the fly here.  I was going to move into the status of the

3   project and talk a little bit about that.

4             Technology, we have picked a 750-megawatt pulverized

5   coal unit.  As I said, that's approximately the amount, in our

6   studies and in our forecasts, of that portion of that 1,800

7   megawatts of capacity we are going to have to put in place that

8   will run around the clock.  And so coal fits for that.

9             We have chosen a super critical boiler design.  I

10   think it has been said earlier, essentially the difference

11   between that and the technology that is on the site now is it's

12   higher pressures, higher temperatures, and with that, higher

13   efficiencies.  And with that higher efficiencies you burn less

14   fuel and you have lower emissions for any standard emissions

15   control systems.  So it is an economic choice.  It is the

16   cleanest choice in a proven coal technology.

17             The other attributes of the plan, at least on the

18   emission side, we are employing selective catalytic reduction,

19   or SCRs for NOx or nitrogen oxide control, a dry electrostatic

20   precipitator for particulate control, a wet precipitator for

21   sulfur trioxide, SO3 control, and a wet flue gas

22   desulfurization unit, FGD, for sulfur dioxide control.

23             And mercury emissions will be minimized and

24   controlled through the combined effect of all of those systems.

25   We are going to zero discharge on the site, this unit and the

FLORIDA PUBLIC SERVICE COMMISSION

66

1   site.  And then to maximize the reuse of the by-products of

2   combustion.  As you know, we have the -- we are seeking to

3   utilize the scrubber, what we call the scrubber by-product from

4   the SO2 removal as we do now for Units 1 and 2, but also Unit 3

5   to make more gypsum in the operation that is on the site.

6             Schedule-wise, we are targeting March of next year

7   for a need application and site certification.  That would be

8   associated with a construction start in 2008 and a target

9   commercial operation date of the summer peak of 2012.

10             Lastly, the challenges that we see in front of us,

11   this is a major construction program for Seminole.  The plant

12   itself will have us constructing that plant from 2008 to 2012,

13   but now we are engaged in construction or at least beginning

14   construction soon of a peaking -- 300 megawatts of peaking

15   capacity on our existing Hardee site.  Then following that we

16   have committed to the installation of SCRs for NOx control at

17   our existing Units 1 and 2.  And those would go in in the

18   2008/2009 time frame.  Major construction, you know, kind of

19   progression from here until then.  And it is something we have

20   done before and something we are prepared to do, but it is a

21   significant challenge.

22             Anybody that is building coal, as said before, you

23   have to be worried about -- even though you put in state of the

24   art emission controls on existing proven technologies to meet

25   existing current standards, just like we've experienced in the

FLORIDA PUBLIC SERVICE COMMISSION

67

1   past, there may be, there will likely be changes in the rules

2   that require you to invest more in the unit.  We are interested

3   in that.  We are concerned about that.  And in our studies,

4   basically, we handle that by looking at our base assumptions,

5   and then we do various sensitivities for different types of

6   rules, and what we would do as a result, and what the

7   associated cost would be to make sure that the plan we are

8   going forward with is robust enough economically to still be

9   the case in the long-term.

10             One other thing I would mention, there haven't been a

11   lot of coal plants built in the last 20 years in the country,

12   or nuclear plants for that matter.  Basically, there is a

13   challenge to develop the range of skill craftspeople to operate

14   and maintain these plants from the work force, as all of us

15   around the country are tapping the same market for people,

16   skilled craftspeople to do this.  Obviously, we think it will

17   be done, but it will be a challenge that our whole industry has

18   to deal with is bringing those people out and training them.

19             And, lastly, and not least, of course, competitive

20   fuel supply and transportation.  We are engaged, as you would

21   expect, in an extensive study of the alternatives for supply

22   and transportation, not for just Unit 3, but for our existing

23   Units 1 and 2, who had long-term arrangements that have their

24   expiring terms for supply and transportation.  So we are out

25   there looking at those alternatives.  We have confidence that

FLORIDA PUBLIC SERVICE COMMISSION

68

1   we can bring those in with competitive terms.  We have in the

2   past, and we trust that we will in the future.  But we are also

3   engaged at the national level with other industry and our

4   national association to try to make -- to lobby for legislation

5   which basically ensures the captive shippers that would, their

6   only distinction is they don't have two railroads on their

7   site, they've only got one, don't end up paying a huge premium

8   for delivered coal in the future.  And so we are actively

9   engaged in that.

10             Subject to your questions, that is really the extent

11   of my overview here.

12             CHAIRMAN BAEZ:  Question of Mr. Mahaffey?

13             COMMISSIONER DEASON:  I have a question.

14             CHAIRMAN BAEZ:  Commissioner Deason.

15             COMMISSIONER DEASON:  You mentioned the gypsum

16   recovery operations that you have, and that that would be

17   expanded with the addition of the new coal generation.

18             MR.  MAHAFFEY:  We need to negotiate that expansion.

19   You know, we have, I think -- and I'm not totally familiar with

20   the existing contract, but the facilities on-site that were

21   built have greater capability that can take more than the

22   output of our existing facilities.  We have always known that.

23   And so negotiating those arrangements is underway, but we are

24   confident that that -- that has always been an interest of the

25   on-site wallboard provider, and it has always been an interest

FLORIDA PUBLIC SERVICE COMMISSION

69

1   of Seminole if we ultimately pursued coal.

2             COMMISSIONER DEASON:  Obviously, Seminole gets

3   revenue from that operation.  Is that used to minimize the cost

4   that is ultimately passed on to your member cooperatives, or

5   how does that work?

6             MR.  MAHAFFEY:  Right.  I mean, in our, you know,

7   form of doing business that is the result of any savings that

8   we get.  And the savings of that take two forms.  One is that

9   we call it scrubber sludge, but -- bad terminology.  But the

10   waste product from the flue gas desulfurization units or

11   scrubbers, as we call them.  In the absence of that use of

12   by-product, we go to landfill.  And in the early years Seminole

13   did.  And so what the effect is of this being able to use that

14   there and being able to sell the ash from combustion is you

15   just minimize use of that landfill in the future you would have

16   to have and also for Unit 3, as well.  So, hopefully, if this

17   is all successful, our need to expand that landfill would be

18   minimal.

19             COMMISSIONER DEASON:  Thank you.

20             CHAIRMAN BAEZ:  Other questions, Commissioners?

21             Thank you.

22             Mr. Scroggs.

23             MR. SCROGGS:  Good morning, Mr. Chairman,

24   Commissioners, staff.  I have some prepared remarks, but feel

25   free to interject and ask questions as we move on through.

FLORIDA PUBLIC SERVICE COMMISSION

70

1             I wanted to cover three areas:  Why advanced coal

2   generation makes sense for FPL customers, give you an update on

3   the status of our proposed Southwest St. Lucie Power Project,

4   and discuss some of the factors affecting the future of coal

5   generation in our system.

6             Florida Power and Light believes that the

7   incorporation of advanced coal generation technology in the FPL

8   system would be beneficial to our customers.  This conclusion

9   was reached after a significant study of the technical,

10   economic, and environmental implications such an addition would

11   have to our system.

12             Based on this work, FPL proposed in its 2005 Ten-Year

13   Site Plan to meet the growing energy and capacity needs of our

14   customers with a balance of efficient natural gas generation

15   and state of the art super critical coal-based generation.

16   Many factors have combined to lead us to this conclusion, and

17   these factors include natural gas has shown a significant and

18   sustained rise in overall price and price volatility in the

19   past several years, while coal prices have remained lower and

20   more stable.  So these trends are projected to continue.

21             Coal generation combustion technology and emission

22   control technology have progressed rapidly, resulting in a

23   combination of generation technology and emission control

24   systems that are very efficient and emit significantly less

25   pollutants than prior generations of coal-based technologies.

FLORIDA PUBLIC SERVICE COMMISSION

71

1   Between the years 1994 and 2007, FPL will have added 7,700

2   megawatts of clean, efficient, natural gas-based generation to

3   meet our system growth requirements.  These additions have

4   provided significant economic and environmental benefits, but a

5   continuation of a single fuel strategy would shift the energy

6   mix in FPL's system to one that would depend on natural gas for

7   almost two-thirds of our total energy requirements by the year

8   2013.

9             The addition of coal-based generation makes sense for

10   our customers because it diversifies the fuel supply that we

11   rely on to deliver cost-effective and reliable service.

12   Diversification has several tangible benefits for the

13   customers.  First off, fuel cost predictability.  Increasing

14   the proportion of dependably priced coal in our fuel mix will

15   decrease the variations seen in the customer's bill due to

16   natural gas price swings.

17             Coal also provides a fuel cost hedge.

18   Diversification provides the economic hedge against high

19   natural gas prices and increasing the proportion of relatively

20   low priced coal limits the increase in system generation costs

21   that would be the result from rising natural gas prices.  On

22   the other hand, maintaining the generation capacity of natural

23   gas within our system ensures that we can capture benefits of

24   decreasing natural gas prices, should that occur.

25             In terms of fuel supply reliability, diversifying the

FLORIDA PUBLIC SERVICE COMMISSION

72

1   fuel supply increases system reliability by increasing the

2   types of fuels and technologies used to generate power, and it

3   enhances the system reliability through diverse fuel

4   transportation and delivery systems.  Coal inventories at the

5   site provide us also a buffer against delays in the fuel

6   deliveries.

7             We have explored other alternatives to enhance fuel

8   diversity and determined that coal-based generation using

9   advanced technology is the most credible alternative to add

10   fuel diversity to our system in the next ten years.  Our review

11   of other alternatives had led us to the following conclusions:

12   Liquified natural gas, FPL undertook an LNG RFP effort in the

13   year 2004/2005, to identify means to deliver LNG to Florida.

14   None of the proposals received presented a compelling reason

15   for FPL's customers to sign onto a long-term take or pay

16   agreement for LNG.  While LNG is not currently an economically

17   competitive option, it may become so in the future.  FPL will

18   continue to monitor developments in this area.

19             Integrated gasification combined cycle is a promising

20   technology that remains in a developmental stage.  The market

21   has not yet attained the maturity to deliver the level of

22   reliability and cost-effectiveness necessary for FPL to make a

23   commitment on behalf of our customers, and nor is the market

24   able to provide the necessary performance guarantees at this

25   point.

FLORIDA PUBLIC SERVICE COMMISSION

73

1             The recent experience of Sierra Pacific Power at the

2   Pi�on Pine demonstration project is an example of the risks

3   that FPL and its customers would face if FPL were to implement

4   such a technology before it is economically and technically

5   proven.  However, because of its promise, FPL remains involved

6   in evaluating developments in an effort to bring this

7   technology into the FPL system once it is proven.

8             As others have mentioned, renewable resources,

9   Florida has a relatively low level of renewable sources of

10   energy.  This limitation prevents a significant development of

11   in-state renewable generation projects.  However, renewable

12   resources may provide complimentary energy resource

13   capabilities in the future, but are not going to be available

14   in significant quantity, and at current, are not at

15   cost-effective levels.

16             Nuclear.  Considering nuclear, significant progress

17   has been made recently at the federal government level towards

18   making new nuclear generation projects a realistic option in

19   the long-term.  However, much work, including satisfying the

20   concerns of the financial community, must still be accomplished

21   before this alternative can be actively pursued.

22             Now, an update on the St. Lucie project.  In March of

23   this year, as you will remember, I had the pleasure of

24   discussing with you the results of our comprehensive study on

25   clean coal generation.  And in that study and later in FPL's

FLORIDA PUBLIC SERVICE COMMISSION

74

1   2005 Ten-Year Site Plan, FPL concluded that a coal-based

2   project in FPL's service territory utilizing advanced super

3   critical combustion technology and state of the art emission

4   control equipment would not only provide FPL's customers with

5   cost-effective, environmentally sound, and reliable generation,

6   but would provide the necessary fuel diversification needed to

7   maintain a healthy balance of fuel sources in the generation

8   portfolio.  That project is now known as the Southwest St.

9   Lucie Power Project, and it is currently our plan for our next

10   planned generating unit in the period 2012 through 2014.

11             FPL has been conducting community and local

12   government outreach efforts necessary to inform stakeholders

13   and obtain the required approvals to proceed with the project.

14   Here are some significant milestones that we have accomplished

15   to date.  Preliminary engineering and performance estimates

16   have been completed.  FPL has conducted a request for proposal

17   for detailed engineering services and is conducting

18   negotiations with a short list of bidders.  FPL intends to

19   execute a contract with the winning bidder by the end of this

20   summer.  In the next 12 months FPL will work with this selected

21   engineer to develop a cost estimate that would be suitable for

22   use in a generation capacity request for proposal.

23             A rezoning and conditional use application was

24   submitted to St. Lucie County on April 15th of this year, and a

25   vote on that application by the board of county commissioners

FLORIDA PUBLIC SERVICE COMMISSION

75

1   is expected in the near future.  FPL is presently preparing the

2   site certification application required under the Power Plant

3   Siting Act, and we anticipate filing that application with the

4   siting office in the fall of this year.

5             These steps are consistent with the projected

6   in-service date of the first of two 850-megawatt units of the

7   project in June of 2012.  To date over 80 outreach meetings

8   have been held with a wide range of local residents,

9   representatives of environmental groups, and local governments

10   and agencies.  Additional meetings are scheduled.  These

11   meetings have provided a productive format for exchange of

12   information and an opportunity for all stakeholders to voice

13   concerns that will be addressed as the development proceeds.

14             Field trips are being organized for local government

15   officials to visit similar coal facilities and existing FPL

16   generation facilities to gain an appreciation of how modern

17   generation facilities can successfully co-exist in proximity to

18   sensitive natural habitats.

19             With respect to the solid fuel procurement plan, we

20   have also undertaken a process to help define and develop that

21   plan.  We have issued a request for information to over thirty

22   domestic and South American coal suppliers.  FPL has also

23   issued a request for proposals to all railroads who can serve

24   FPL's proposed sites.  Response to these requests are due by

25   mid-August, this month in this year.

FLORIDA PUBLIC SERVICE COMMISSION

76

1             Specifically, the objectives of the fuel

2   transportation development plan are to, one, ensure that

3   multiple rail providers have or can develop cost-effective

4   delivery capability to our St. Lucie County site that we have

5   selected.  Establishing multiple port options for delivery of

6   South American coal and petroleum coke, this would include

7   options on the Atlantic and/or the Gulf Coast, preferably in

8   Florida.  And implement a fuel procurement strategy that would

9   develop a portfolio spot, medium-term, and long-term fuel

10   supply arrangements, allowing for flexibility and reacting to

11   changing market conditions.

12             I should add at present our design is assuming about

13   40 percent Central Appalachian coal, 40 percent foreign coal,

14   an anomaly from Columbia, and 20 percent petroleum coke.  We

15   are not targeting Powder River Basin as a source for the

16   design.

17             Later this year, FPL will release a generation

18   capacity request for proposal.  The RFP will solicit proposals

19   consistent with fulfilling the generation plan identified by

20   our integrated resource planning process, and subsequently

21   described in our 2005 ten-year site plan.  The RFP document

22   will describe how FPL will proceed to meet near term and longer

23   term capacity needs.

24             In terms of the factors that affect the success and

25   future of coal, there are several areas that contain levels of

FLORIDA PUBLIC SERVICE COMMISSION

77

1   uncertainty that can affect the cost-effectiveness.  And these

2   are the actual price differential that materializes between

3   natural gas and coal over the life of the new coal plants.

4   While this spread has grown in recent years and is forecasted

5   to continue to grow, if that spread were to narrow, the cost

6   benefit offered by coal would be reduced.

7             A robust and competitive transportation

8   infrastructure for the delivery of coal to facilities must be

9   established in FPL's territory.  This will require significant

10   investment as well as the involvement and support of government

11   and regulatory agencies at many levels.  Failure to achieve

12   cost competitive delivery will significantly affect the

13   economic viability of coal generation.

14             There are efforts underway to establish new

15   government-imposed control levels on various emissions.  The

16   implementation of emission controls with tight or low limits

17   could significantly erode the cost-effectiveness of coal

18   generation, even at the very low emission levels that are

19   projected for FPL's current design.

20             The process to obtain necessary permits and

21   authorizations to construct and operate a coal-fired facility

22   will result in requirements or conditions being imposed on the

23   coal generation.  The cost of meeting these requirements or

24   conditions could affect the cost-effectiveness of the project

25   as a whole.

FLORIDA PUBLIC SERVICE COMMISSION

78

1             Finally, because of the longer lead time necessary to

2   plan and construct a coal-fired generation plant, there is

3   necessarily a greater level of uncertainty in the capital cost

4   estimates for building the facility.  Consequently, the

5   actually costs could be higher than estimated, and that would

6   have an effect on the cost-effectiveness of the project.

7             In summary, FPL has concluded that adding advanced

8   coal generation as one of the components of its generation plan

9   has great opportunity for FPL's customers.  We recognize the

10   uncertainties associated with the costs and will continue to

11   examine all key assumptions and areas of uncertainty.

12             CHAIRMAN BAEZ:  Questions of Mr. Scroggs?  No

13   questions?

14             Thank you, sir.

15             MR. HAFF:  I would just like to know when we are

16   going to see your need filing?

17             MR. SCROGGS:  I'm sorry, Mike?

18             MR. HAFF:  When do you expect your need filing for

19   the first unit will be filed with the Commission?

20             MR. SCROGGS:  For the coal unit?

21             CHAIRMAN BAEZ:  Mr. Haff is trying to plan his --

22             MR. HAFF:  We've got two of them coming in within a

23   month of each other next year.  I want to see if we have a

24   trifecta or not.

25             I hate to disappoint you, but I think we are going to

FLORIDA PUBLIC SERVICE COMMISSION

79

1   be into 2007, the summer of 2007 before you see a need filing

2   from us on coal.

3             CHAIRMAN BAEZ:  Any other questions?

4             Thank you, Mr. Scroggs.

5             Mr. Haff, are there any other issues?

6             MR. HAFF:  None that I am aware of.  I guess we may

7   want to see if there is anyone that wants to give public input.

8             CHAIRMAN BAEZ:  And I was leading up to that.  This

9   is obviously a public workshop, and if there is anyone else in

10   the audience or in attendance today that wishes to address the

11   Commission on any of the issues, anything that you have heard

12   today or any of the materials that have been provided, now is

13   your opportunity.

14             All right.  We've got a quiet crowd today.

15             I want to thank you all.  I personally, and I hope I

16   can speak for the rest of my colleagues, we really do

17   appreciate certainly you gentlemen being put on the spot today

18   to kind of give us an update and a feeling for what all is out

19   there, and we also appreciate FRCC for their presentation, as

20   well, and to those in attendance.

21             Thank you, again.  Have a good afternoon, everyone.

22   We're adjourned.

23             (The hearing concluded at 12:30 p.m.)

24

25

FLORIDA PUBLIC SERVICE COMMISSION

80

1

2   STATE OF FLORIDA    )

3                       :              CERTIFICATE OF REPORTER

4   COUNTY OF LEON      )

5

I, JANE FAUROT, RPR, Chief, Office of Hearing

6   Reporter Services, FPSC Division of Commission Clerk and

Administrative Services, do hereby certify that the foregoing

7   proceeding was heard at the time and place herein stated.

8             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

9   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

10   proceedings.

11             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

12   or employee of any of the parties' attorney or counsel

connected with the action, nor am I financially interested in

13   the action.

14             DATED THIS 18th day of August, 2005.

15

16             ___________________________________________

JANE FAUROT, RPR

17                   Official FPSC Hearings Reporter

FPSC Division of Commission Clerk and

18                       Administrative Services

(850) 413-6732

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION