1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. 060424-EI

3   In the Matter of:

4   PETITION FOR DETERMINATION OF NEED

FOR BOBWHITE-MANATEE 230 KV

5   TRANSMISSION LINE IN MANATEE AND

SARASOTA COUNTIES, BY FLORIDA POWER

6   & LIGHT COMPANY.

___________________________________/

7

8

ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

9                 A CONVENIENCE COPY ONLY AND ARE NOT

THE OFFICIAL TRANSCRIPT OF THE HEARING,

10            THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

11

PROCEEDINGS:        HEARING

12

BEFORE:             COMMISSIONER ISILIO ARRIAGA

13                       COMMISSIONER MATTHEW M. CARTER, II

COMMISSIONER KATRINA J. TEW

14

DATE:               Tuesday, August 8, 2006

15

TIME:               Commenced at 9:35 a.m.

16                       Concluded at 9:50 a.m.

17   PLACE:              Betty Easley Conference Center

Room 148

18                       4075 Esplanade Way

Tallahassee, Florida

19

REPORTED BY:        LINDA BOLES, RPR, CRR

20                       Official Commission Reporter

(850) 413-6734

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1   PARTICIPATING:

2             KENNETH A. HOFFMAN, ESQUIRE, Rutledge, Ecenia,

3   Purnell & Hoffman, P.A., Post Office Box 551, Tallahassee,

4   Florida 32302, appearing on behalf of Florida Power & Light

5   Company.

6             GARSON R. KNAPP, ESQUIRE, Florida Power & Light

7   Company, 700 Universe Boulevard, Juno Beach, Florida

8   33408-0420, appearing on behalf of Florida Power & Light

9   Company.

10             MARTHA CARTER BROWN, ESQUIRE, FPSC General Counsel's

11   Office, 2540 Shumard Oak Boulevard, Tallahassee, Florida

12   32399-0850, appearing on behalf of the Florida Public Service

13   Commission Staff.

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1                              I N D E X

2

NAME:                                                PAGE NO.

3

VICENTE ORDAX, JR.

4

Prefiled (Redacted) Direct Testimony Inserted     14

5

6

7

8

9

10

11

12

13

14

15   CERTIFICATE OF REPORTER                                33

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

4

1                              EXHIBITS

2   NUMBER:                                        ID.    ADMTD.

3   1    Comprehensive Exhibit List                13      13

4   2    Composite Stip-2                          13      13

5   3    (Redacted) FPL-1                          13      13

6   4    (Confidential) FPL-2                      13      13

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

5

1                         P R O C E E D I N G S

2             COMMISSIONER ARRIAGA:  Call the hearing to order.

3   Good morning everyone.

4             MS. BROWN:  Good morning.

5             COMMISSIONER ARRIAGA:  Ms. Brown, would you read the

6   notice please.

7             MS. BROWN:  By notice issued June 14th, 2006, this

8   time and place was set for a hearing in Docket Number

9   060424-EI, In Re: Petition for Determination of Need for

10   Bobwhite-Manatee 230kV Transmission Line in Manatee and

11   Sarasota Counties by Florida Power & Light Company.  The

12   purpose of the hearing is set out in the notice.

13             COMMISSIONER ARRIAGA:  Thank you.  We'll now take

14   appearances.

15             MR. HOFFMAN:  Thank you, Commissioner.  Good morning,

16   Commissioners.  My name is Kenneth Hoffman.  I'm with the firm

17   of Rutledge, Ecenia, Purnell and Hoffman, Post Office Box 551,

18   Tallahassee, Florida 32302.

19             I would also like to enter an appearance for Garson

20   Knapp, 700 Universe Boulevard, with Florida Power & Light

21   Company, Juno Beach, Florida 33408.  Mr. Knapp and I are

22   appearing in this proceeding on behalf of the Petitioner,

23   Florida Power & Light Company.

24             MS. BROWN:  And Martha Carter Brown on behalf of the

25   Commission.

FLORIDA PUBLIC SERVICE COMMISSION

6

1             COMMISSIONER ARRIAGA:  Thank you.  Ms. Brown, are

2   there any preliminary matters?

3             MS. BROWN:  FP&L is prepared to give a brief opening

4   statement to present an overview of their proposed project.

5   Beyond that, I'm not aware of any preliminary matters.

6             COMMISSIONER ARRIAGA:  Thank you.  Are you prepared

7   to, Mr. Hoffman, to do an opening statement?

8             MR. HOFFMAN:  Yes, sir.

9             COMMISSIONER ARRIAGA:  Please proceed.

10             MR. HOFFMAN:  Thank you, Commissioners.  Florida

11   Power & Light Company has filed a petition requesting this

12   Commission to determine the need for a new 230kV transmission

13   line which will originate from FPL's existing Manatee

14   Substation, which is in Manatee County, and run south and

15   terminate at a proposed substation, at an anticipated

16   substation which we call the Bobwhite Substation that will be

17   located in Sarasota County.  So logically we call this our

18   Bobwhite-Manatee Project.

19             Now it's no secret, of course, that the State of

20   Florida continues to experience robust population growth.  The

21   Southwest Florida area, which is part of Florida Power & Light

22   Company's west region, continues to be one of the rapidly

23   growing regions in the state.  And that, of course, requires

24   FPL to continue to investigate and assess the need for new

25   electric facilities to meet that growth in a reliable manner.

FLORIDA PUBLIC SERVICE COMMISSION

7

1             FPL's transmission assessment studies which were

2   conducted earlier this year in 2006 have identified regional

3   transmission system limitations in Manatee and Sarasota

4   Counties that must be addressed by 2011 to ensure sufficient

5   capacity to provide reliable service to the existing and

6   anticipated substations and the populations that these

7   substations will serve in the Manatee County and Sarasota

8   County areas.  So FPL has filed this petition with the intent

9   and with the goal of securing approval for the construction of

10   the Bobwhite-Manatee Project and having the line in service by

11   December of 2011 so that FPL will be able to meet and overcome

12   the transmission system limitations that we foresee in our

13   studies and so that FPL will be able to continue to provide

14   reliable service in the most cost-effective manner in the

15   Manatee and Sarasota County areas.

16             As part of this process, FPL has conducted a

17   comprehensive analysis of potential alternatives to the

18   Bobwhite-Manatee Project, and the company has concluded that

19   the project is the most cost-effective, reliable and efficient

20   alternative to accomplish three critical goals for our

21   customers.

22             First, the project will provide additional

23   reinforcement, transmission reinforcement to the already

24   existing 230kV transmission network that currently runs between

25   the Manatee Substation in Manatee County and the Ringling

FLORIDA PUBLIC SERVICE COMMISSION

8

1   Substation in Sarasota County.

2             Secondly, the project will allow FPL to serve the

3   increasing load and customer base in the area that is south of

4   the Manatee Substation, north of our anticipated Bobwhite

5   Substation, and east of this existing 230kV transmission

6   network in the most cost-effective and reliable manner.

7             And finally, the project will provide another

8   electrical feed from the Manatee Substation in Manatee County

9   down into Sarasota County through a separate right-of-way off

10   of the existing right-of-way.  And that's critical because the

11   construction of a significant new transmission line such as

12   this one in a new right-of-way will improve reliability because

13   it will reduce the impact of the potential loss of existing

14   transmission facilities on the existing common right-of-way

15   that may occur as a result of a catastrophic event, whether

16   that be a hurricane, a terrorist attack, an airplane crash,

17   whatever that may be.

18             The bottom line is that the project is the most

19   cost-effective and reliable alternative to meet FPL's

20   anticipated area load requirements by serving proposed future

21   distribution substations and population groups that are and

22   will be located east of I-75 and east of this existing 230kV

23   transmission network that I have previously talked about, while

24   at the same time maximizing system reliability and minimizing

25   costs for our customers.

FLORIDA PUBLIC SERVICE COMMISSION

9

1             Now as we've talked about in our petition and as

2   we've demonstrated through the testimony of Mr. Ordax and the

3   exhibits, the cost and reliability benefits of this project

4   would be enhanced by the construction of the project in a

5   geographically separate right-of-way as stipulated by staff.

6             Commissioners, there are no intervenors in this

7   proceeding.  FPL and the staff have reached stipulations on the

8   five issues in the case.  I'll wrap up by asking the Commission

9   on behalf of Florida Power & Light Company to approve those

10   stipulations on those five issues and thereby grant Florida

11   Power & Light Company's petition to determine the need for the

12   Bobwhite-Manatee 230 kV Project.  Thank you.

13             COMMISSIONER ARRIAGA:  Thank you, Mr. Hoffman.

14             Commissioners, any questions or discussion?  None?

15   Okay.  No questions or discussion.

16             May I ask one question, please?

17             MR. HOFFMAN:  Yes, sir.

18             COMMISSIONER ARRIAGA:  And this is not -- I

19   understand this is not part of our jurisdictional proceeding

20   and it's nothing that -- it's just that I'm intrigued, and it's

21   referring to the Siting Act.  I just mentioned before to you as

22   we were talking that we were in San Francisco in the NARUC

23   convention, and one of the things that we heard or I heard

24   apparently was we need more transmission all over the United

25   States -- not only in Florida, it's all over the United States,

FLORIDA PUBLIC SERVICE COMMISSION

10

1   we need more transmission.

2             You're going to be facing after -- if we do approve

3   what you're requesting, you'll be facing a siting issue.  And

4   you know that nobody wants the electric poles and the towers

5   behind their back yards.  So what do you think FPL will

6   encounter in the siting process?  Will this be something that

7   you can -- how are you planning to face the issue of local

8   communities and counties regarding the siting of the

9   transmission line?

10             MR. HOFFMAN:  Commissioner Arriaga, the way that the

11   process works, the Legislature has essentially established

12   under Chapter 403 what I would describe as a, sort of a

13   one-stop centralized certification process.  Now to this point

14   there are, there is nothing that has been filed in the docket

15   before the Commission expressing the type of complaint or

16   concern that you've described.  But that does not mean that

17   that may not arise once we get into the site certification

18   process.

19             The way that it works essentially, and I don't want

20   to get too far into all the details, but a snapshot of the

21   process is that under the Florida Electric Transmission Line

22   Siting Act, FPL must first come to this Commission and secure a

23   determination of need before filing an application for site

24   certification.  And that would be an application for site

25   certification of a specific proposed corridor for the

FLORIDA PUBLIC SERVICE COMMISSION

11

1   Bobwhite-Manatee line.  Now we anticipate that filing to occur

2   the first of December of this year.

3             Now the specific corridor or route for the

4   Bobwhite-Manatee line is determined through this process, and

5   that process calls for the hearing before an Administrative Law

6   Judge, who will then issue a recommended order for approval to

7   the Governor and Cabinet sitting as the siting board.

8             Assuming that the company gets that approval, that

9   approval provides the applicant, in this case FPL, with a

10   license for the proposed corridor, which would be the subject

11   of the application.  That process allows for and addresses

12   input from any and all affected parties, including various

13   state agencies, and, under the statute we're talking about,

14   participation, required participation not only by this

15   Commission and DEP, but the Department of Community Affairs,

16   the Fish and Wildlife Conservation Commission, DOT, affected

17   water management districts, affected local governments and

18   affected people.  There are informational hearings held sort of

19   like the customer hearings that we hold before the Public

20   Service Commission.  So all affected parties, I would say, are

21   given an opportunity to participate.  Alternative corridors can

22   be proposed, evidence is presented, and ultimately it's up to

23   the Administrative Law Judge to issue a recommended order for

24   final approval to the siting board.

25             So if and when through this process there are issues

FLORIDA PUBLIC SERVICE COMMISSION

12

1   raised, there are concerns raised, whether you're talking about

2   through the informational meetings that are held at the local

3   level or through the formal hearing process before the

4   Administrative Law Judge, FPL will then have to address those

5   and make its case for approval of the specific corridor once

6   that is ultimately proposed and filed as part of the site

7   certification application.

8             COMMISSIONER ARRIAGA:  And how long does that process

9   take, do you anticipate it will take?

10             MR. HOFFMAN:  I think it can depend on whether or not

11   there are specific alternative corridors that are proposed as

12   part of the site certification process.  But I would anticipate

13   that, from FPL's perspective that we would expect the hearing

14   process and the issuance of a recommended order to occur at

15   some point in the latter part of 2007.  And hopefully if the

16   company gains approval, that approval will then be timely

17   because we set this thing out to get the site certification

18   filed and with the anticipation of approval that will allow for

19   construction and completion, securing the necessary

20   right-of-ways to allow us to have this line in place consistent

21   with our representation to you by December of 2011 to allow us

22   to meet the contingencies and potential limitations that we see

23   with the system through our studies and our need to have this

24   line in place to continue the provision of reliable service to

25   that expanding population growth in those two counties.

FLORIDA PUBLIC SERVICE COMMISSION

13

1             COMMISSIONER ARRIAGA:  Thank you.

2             Commissioners, anymore questions?  None?  Thank you

3   so much.

4             MR. HOFFMAN:  Thank you, Commissioner.

5             COMMISSIONER ARRIAGA:  Any prefiled testimony?

6             MS. BROWN:  Yes, Commissioner.  We're prepared to

7   establish the record in the case now.  And as Mr. Hoffman said,

8   the issues are all stipulated.  So we would ask that the

9   prefiled testimony of Mr. Ordax be inserted into the record as

10   though read.  Everyone has waived the right to

11   cross-examination.

12             COMMISSIONER ARRIAGA:  With no objection, show the

13   prefiled testimony inserted into the record as though read.

14             MS. BROWN:  Also, all the exhibits are stipulated.

15   We would like to mark and move the Comprehensive Stipulated

16   Exhibit List which I handed out to you all into the record.

17   The list itself is Exhibit 1.  And all the other exhibits on

18   the list should be numbered as indicated there and moved into

19   the record.

20             COMMISSIONER ARRIAGA:  Show exhibits marked as

21   indicated in the comprehensive exhibit list and moved into the

22   record.

23             (Exhibits 1 through 4 marked for identification and

24   admitted into the record.)

25

FLORIDA PUBLIC SERVICE COMMISSION

30

1             COMMISSIONER ARRIAGA:  At this time I'd like to ask

2   if there's anyone present here that would like to give any

3   public testimony.

4             Seeing none.  Ms. Brown, next order of business.

5             MS. BROWN:  The next order of business would be a

6   decision by you all whether you're prepared to make a bench

7   decision on each of the stipulated issues in the case.  No

8   posthearing filings would be necessary.  And this is, I would

9   say, done frequently in transmission need determinations

10   because the time frame to conduct the proceedings is quite

11   short.  So we're prepared to suggest that you approve all the

12   stipulations on Pages 4 through 6, Issues 1 through 5 in the

13   prehearing order, and staff is prepared to answer any questions

14   you may have.

15             COMMISSIONER ARRIAGA:  Thank you, Ms. Brown.

16             Commissioners, we can either vote on a bench decision

17   or deny or we can vote the whole package or vote stipulation by

18   stipulation.  What would you prefer?

19             COMMISSIONER CARTER:  I think we can just vote the

20   whole thing up.  That's fine with me.  If I'm in order, I would

21   be prepared to make that motion, Mr. Chairman.

22             COMMISSIONER ARRIAGA:  Okay.  I did ask staff to be

23   prepared to go stipulation by stipulation in case you wanted to

24   do so.  But if you would like to vote the whole package, I will

25   entertain a motion.

FLORIDA PUBLIC SERVICE COMMISSION

31

1             COMMISSIONER CARTER:  I would so move.

2             COMMISSIONER TEW:  Second.

3             COMMISSIONER ARRIAGA:  All those in favor, say aye.

4   Nays?

5             (Unanimous affirmative vote.)

6             COMMISSIONER ARRIAGA:  So it's approved, a bench

7   decision that we approve the stipulations.

8             MS. BROWN:  Yes, Commissioner.  And as far as I know,

9   there are no other matters to be addressed.  The final order in

10   the case will be issued by August 28th.

11             COMMISSIONER ARRIAGA:  Thank you, Ms. Brown.

12             Commissioners, any other question, any other comment?

13             Mr. Hoffman, thank you so much.  Any other comment?

14             MR. HOFFMAN:  The only other thing, Commissioner, is

15   just to make sure we've had -- I just want to make sure that

16   the record is complete and that we've had the testimony and the

17   exhibits entered into the record.

18             COMMISSIONER ARRIAGA:  I did mention that, to order

19   that --

20             MR. HOFFMAN:  I just wanted to make sure.  Thank

21   you .

22             COMMISSIONER ARRIAGA:  Yes, the prefiled testimony

23   and exhibits were ordered to be entered into the record as

24   though read.

25             MR. HOFFMAN:  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

32

1             COMMISSIONER ARRIAGA:  Okay.  Ms. Brown, no other

2   matters?

3             MS. BROWN:  No other matters, Commissioners.

4             COMMISSIONER ARRIAGA:  Okay.  Thank you so much.  The

5   meeting is adjourned.

6             (Hearing adjourned at 9:50 a.m.)

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

33

1   STATE OF FLORIDA    )

:         CERTIFICATE OF REPORTER

2   COUNTY OF LEON      )

3

4             I, LINDA BOLES, RPR, CRR, Official Commission

Reporter, do hereby certify that the foregoing proceeding was

5   heard at the time and place herein stated.

6             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

7   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

8   proceedings.

9             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

10   or employee of any of the parties' attorneys or counsel

connected with the action, nor am I financially interested in

11   the action.

12              DATED THIS ____ DAY OF AUGUST, 2006.

13

14                  ________________________________

LINDA BOLES, RPR, CRR

15                  FPSC Official Commission Reporter

(850) 413-6734

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION