C.1.0  JEA Introduction

C.1.1  JEA Overview

JEA is the eighth largest municipally owned electric utility in the United States in terms of number of customers.  JEA’s electric service area covers all of Duval County and portions of Clay and St. Johns Counties.  JEA’s service area covers approximately 900 square miles and serves over 380,000 customers.  JEA consists of three financially separate entities: the Electric System, the bulk power system St. Johns River Power Park Units 1 and 2 (the Power Park or SJRPP), and the bulk power system Robert W. Scherer Electric Generating Plant (Scherer Unit 4).  The total summer net capability of the Electric System, Power Park, and Scherer Unit 4 generation is 3,473 MW, and the total winter net capability is 3,661 MW.  Because of the long-term reserve shutdown of Kennedy Combustion Turbine (CT) 4 and CT 5, the total available summer net capability is 3,371 MW, and the total available winter net capability is 3,535 MW in the near term.

JEA is a winter peaking system, and expects significant growth during the forecast period.  The firm winter peak demand is projected to increase from 2,831 MW in 2006 to 4,630 MW in 2024, and the firm summer peak is projected to increase from 2,651 MW in 2006 to 3,729 MW in 2024.

JEA currently has 17 generating units installed within the Electric System fleet, the Power Park bulk power system, and Scherer Unit 4 bulk power system.  These units, or JEA’s ownership, range in size from 51 MW to 567 MW and include multiple technologies and operating load profiles.  In addition, JEA has a 207 MW purchase contract for Unit Power Sales (UPS) from Southern Company (refer to Subsection C.2.3) of firm coal fired capacity and energy supplied from five units, which expires in 2010.

The Taylor Energy Center (TEC) is being proposed as a joint development project by four municipal entities, including the Florida Municipal Power Agency (FMPA), JEA, Reedy Creek Improvement District (RCID), and the City of Tallahassee (collectively, the Participants).  The Participants are developing TEC to realize the benefits associated with the economies of scale inherent in constructing and operating a large power plant.  TEC will be developed on a site consisting of approximately 3,000 acres to be located approximately 5 miles southeast of Perry, in Taylor County, Florida.  The land is bordered by Highway 27 on the north and the Fenholloway River on the west.  The plant is proposed to be a 765 MW (net) supercritical pulverized coal unit with a net heat rate of 9,238 Btu/kWh when firing a blend of Latin American bituminous coal and petroleum coke (petcoke).  Additional details regarding TEC are included in Section A.3.0 of this Application.   JEA’s ownership interest in TEC will be 31.5 percent, or about 245 MW (net at average ambient operating conditions).

In addition to providing a reliable, cost-effective resource to meet JEA’s growing electric capacity and energy needs, TEC will provide additional benefits to the State of Florida.  The project will use proven supercritical boiler technology and advanced pollution control equipment to limit emissions while burning a variety of solid fuels, including Powder River Basin (PRB) coal (which has the largest coal reserves of any region within the United States), as well as Central Appalachian coals, Latin American coals, and petcoke.  TEC will provide JEA and the other Participants with fuel diversity.  The State of Florida will benefit from having the ability to source fuel  from locations outside the hurricane-susceptible natural gas producing regions within the Gulf Coast.  In addition, JEA’s customers will have access to an energy supply source with less price volatility than natural gas, which should help electric energy rates become more stable and predictable over time.

C.1.2  JEA Summary

Information specific to JEA is included in this Volume C.  The remainder of Volume C of this Application comprises nine additional sections:

- Section C.2.0 - Description of JEA’s Existing System.

- Section C.3.0 - Forecast of JEA’s Electrical Demand and Consumption.

- Section C.4.0 – JEA’s Need for Capacity.

- Section C.5.0 – JEA’s Economic Analysis.

- Section C.6.0 – JEA’s Sensitivity Analyses.

- Section C.7.0 – JEA’s Demand-Side Management.

- Section C.8.0 – JEA’s Strategic Considerations.

- Section C.9.0 – JEA’s Consequences of Delay.

- Section C.10.0 – JEA’s Financial Analysis.

The information and analyses presented throughout this Volume C and the complete Application demonstrate that the proposed TEC satisfies the requirements set forth in Section 403.519, Florida Statutes.  In particular, TEC is the most cost-effective alternative available to JEA to satisfy forecast capacity requirements in a reliable, environmentally responsible manner.  TEC will provide JEA, and the State of Florida as a whole, with increased fuel diversity and supply reliability.  In selecting TEC as its next generating resource, JEA considered all reasonable conservation and demand-side management (DSM) measures available beyond its existing portfolio of energy conservation offerings, and none were found that could cost-effectively defer JEA’s participation in TEC.