(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 1

Service Order Summary Report

SO Type Type Description          Type Cnt

------- ------------------------- --------

A01     HIGH BILL                    17

A02     BROKEN/REPLACE METER          5

A08     WATER TAP                    49

A10     RE-READ METER                48

A12     FINAL/NEW READ              109

A13     TURN ON SERVICE              27

A14     SHUT OFF SERVICE             69

A15     LOCATE LINE/VALUE             6

A16     REPLACE MTR COVER/BOX         1

A17     LEAK                         19

A18     READ METER                    2

A19     TEST METER                    2

A20     MISC SERVICE ORDER           64

A21     HIGH/LOW CONSUMPTION         11

A22     TEMP SERVICE ON/OFF          44

A24     MISC ACCT ADJUSTMENT          1

A25     PAYMENT EXTENSION             3

Q26     MAIN BREAK WATER              1

Q27     BROKEN SERV LINE WTR          1

Q28     HIGH/LOW PRESSURE W           9

Q29     DISCOLORED WATER             10

Q30     MINERAL AMOUNT WATER          2

Q32     TASTE/ODOR OF WATER           9

Q33     LAWN REPAIR/WATER             1

Q36     CLOGGED SEWER                 2

Q43     NO WATER                      4

Q46     COMMISSION COMPLAINT          1

Q47     CUST PROB - WATER             7

Q49     S/O ENTERED IN ERROR          1

Total Service Orders           -    525

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 1

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 034971

Account #   : 006260012302 Customer Name : ALLEN           , VERONICA   A

Address     : 11723        BOYNTON              LN         Phone #         : (570) 879-2085

Entry Date  : 04/04/06     Serv Ord Type : 20              Operator        :

Comments    : PLEASE T/OFF FOR SEASONAL CUST GOING BACK NORTH CUST IS AWARE OF THE

T/ON PROCEDURES WHEN RETURNING BACK IN TOWN AND THE $15.00 VAC T/ON CHG

Due Date    : 04/05/06     Cust/Comp Resp: CUST

Resolution Dte : 04/05/06

Resolution  : CUSTOMER CALLED TO CANCEL TEMP TURN OFF. BEFORE JACK REACHED RESIDENCE

KIM

====================================================================================================

Subdivision : 00610        Route         : 610             Service Order # : 035145

Account #   : 006100010693 Customer Name : KEITH           , AARON

Address     : 416          CRYSTAL              DR         Phone #         : (407) 322-5915

Entry Date  : 04/05/06     Serv Ord Type : 2               Operator        :

Comments    : PLEASE CHANGE OUT METER. PER JIMMIE THE METER READER SPOTTED THAT THIS

METER WILL NEED TO BE CHANGED OUT.

Due Date    : 04/05/06     Cust/Comp Resp: CUST

Resolution Dte : 04/05/06

Resolution  : INSTALLED NEW 5/8" METER #32858078 R=0  OLD METER #8317247 R=2289770

FQ/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 2

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 035154

Account #   : 006260012066 Customer Name : LOVERDI         , JOHN

Address     : 11839        BOYNTON              LN         Phone #         : (516) 755-0094

Entry Date  : 04/05/06     Serv Ord Type : 13              Operator        :

Comments    : PLEASE T/ON FOR NEW APPLY

FAXING WAIVER #516-755-0094

Due Date    : 04/06/06     Cust/Comp Resp: CUST

Resolution Dte : 04/06/06

Resolution  : R=98280  UNLOCKED AND TURNED ON FOR NEW CUSTOMER

WAIVER ON FILE.

JA/KIM

====================================================================================================

Subdivision : 00624        Route         : 624             Service Order # : 035170

Account #   : 006241011588 Customer Name : SEPULVEDA       , GLORIA     E

Address     : 694          ACAPULCA             WAY        Phone #         : (407) 625-3191

Entry Date  : 04/05/06     Serv Ord Type : 36              Operator        :

Comments    : CUSTOMER CAME INTO THE OFFICE STATING THAT HER SEWER IS BACKING UP.

SHE HAS HAD IT CLEANED OUT BUT STILL HAVEING THE PROBLEM.  SHE SAID THAT

SHE DOES NOT HAVE AN INDIVIDUAL TAP BUT IS ON AT "Y" WITH THE NEIGHBOR.

SHE ALSO HAS PROBLEMS WHEN HER NEIGHBOR USES WATER BECAUSE SHE IS ON THE

LOW SIDE.  PAGED TO JEFF P.

Due Date    : 04/05/06     Cust/Comp Resp: CUST

Resolution Dte : 04/05/06

Resolution  : ATTEMPTED TO CAMERA THE LINE, UNABLE TO DUE TO CLOG. RODDED LINE

AND COULDN'T CLEAR BLOCKAGE. HAD JOHN M. TO COME OUT TO HELP.

OPENED Y ON OUR LINE AND RODDED. WE FOUND A RAG OR BRILLO PAD BLOCKING

CUSTOMER'S LINE. CLEARED CUSTOMER'S LINE. SPOKE W/CUSTOMER AND LET HER

KNOW NOT TO FLUSH ANYTHING EXCEPT TOILET PAPER.

JP/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 3

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 035226

Account #   : 006260012602 Customer Name : VASAS           , MICHAEL

Address     : 11736        BAYONET              LN         Phone #         : (313) 291-6235

Entry Date  : 04/05/06     Serv Ord Type : 22              Operator        :

Comments    : TEMP TURN OFF AND LOCK

Due Date    : 04/24/06     Cust/Comp Resp: CUST

Resolution Dte : 04/24/06

Resolution  : R=18230  LOCKED OFF FOR SEASONAL CUSTOMER.

JA/KIM

====================================================================================================

Subdivision : 00612        Route         : 612             Service Order # : 035310

Account #   : 006120010831 Customer Name : KATZ            , NICOLE

Address     : 105          MIRROR               DR         Phone #         : (407) 227-7900

Entry Date  : 04/05/06     Serv Ord Type : 12              Operator        :

Comments    : FINAL READ AND LEAVE ON FOR NEW

Due Date    : 04/07/06     Cust/Comp Resp: CUST

Resolution Dte : 04/07/06

Resolution  : R=79340 LOCKED OFF AND TAGGED FOR PMT

KC/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 4

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 035356

Account #   : 006260014103 Customer Name : THOMPSON        , WILLIAM

Address     : 11601        BAYONET              LN         Phone #         : (317) 837-0919

Entry Date  : 04/05/06     Serv Ord Type : 12              Operator        :

Comments    : PLEAS OBTIN FINAL READ

LEAVE ON FOR NEW APPLY

Due Date    : 04/06/06     Cust/Comp Resp: CUST

Resolution Dte : 04/06/06

Resolution  : R=228530   F/C=5010

LEFT ON

SH/KIM

====================================================================================================

Subdivision : 00602        Route         : 602             Service Order # : 035469

Account #   : 006020034266 Customer Name : PENDER          , CAROLYN    J

Address     : 540          NOTRE DAME           DR         Phone #         : (407) 786-0306

Entry Date  : 04/06/06     Serv Ord Type : 17              Operator        :

Comments    : PER CUST CALLED STATED MY HAVE LEAK AT THE MTR NOT SURE CUST WILL BE

HOME PLEASE CALL CUST W/ETA THIS AM CUST IS WAITING FOR CALL FROM FIELD

Due Date    : 04/06/06     Cust/Comp Resp: CUST

Resolution Dte : 04/06/06

Resolution  : READING 763240 PIN SIZED LEAK ON CUSTOMER'S 1/2" COPPER LINE.

SHUT WATER OFF FOR CUSTOMER

JE/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 5

Service Order Detail Report

Subdivision : 00612        Route         : 612             Service Order # : 035471

Account #   : 006120011413 Customer Name : HARRELL         , TIM        C

Address     : 414          LAKE                 BLV        Phone #         : (407) 322-7740

Entry Date  : 04/06/06     Serv Ord Type : 28              Operator        :

Comments    : CUSTOMER HAS VERY LOW PRESSURE. PAGED JOHN M.

Due Date    : 04/06/06     Cust/Comp Resp: CUST

Resolution Dte : 04/06/06

Resolution  : PUT PRESSURE GAUGE ON OUTSIDE FAUCET -PRESSURE WAS 55 PSI CUSTOMER

WAS WATCHING GOOD PRESSURE. EXPLAINED SHE MAY NEED TO CLEAN THE AERATORS

ON HER TAPS INSIDE.

AF/KIM

====================================================================================================

Subdivision : 00620        Route         : 620             Service Order # : 035479

Account #   : 006200012402 Customer Name : DUGAN           , CHERYL

Address     : 511          KIRK                 AVE        Phone #         : (423) 754-4142

Entry Date  : 04/06/06     Serv Ord Type : 13              Operator        :

Comments    : TAKE READING, TURN ON FOR NEW

FAXED WAIVER

Due Date    : 04/07/06     Cust/Comp Resp: CUST

Resolution Dte : 04/07/06

Resolution  : BR=394370

SE/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 6

Service Order Detail Report

Subdivision : 00612        Route         : 612             Service Order # : 035489

Account #   : 006120022801 Customer Name : SENKARIK        , CHARLES

Address     : 104          SUNSET               DR         Phone #         : (407) 322-4054

Entry Date  : 04/06/06     Serv Ord Type : 29              Operator        : SAN

Comments    : CUSTOMER CALLED TO SAY THAT SHE CONTINUES TO HAVE SAND IN THE LINES

AND THE WATER HAS A CLOUDY COLOR TO IT. PLEASE CHECK AND INFORM CUSTOMER

** PAGED TO JOHN M. HE WANTS CUSTOMER TO CALL HIM WHEN SHE IS AT HOME

**GAVE CUSTOMER INFORMATION. SHE WILL CALL JOHN M TODAY

Due Date    : 04/06/06     Cust/Comp Resp: CUST

Resolution Dte : 04/06/06

Resolution  : SPOKE WITH THE CUSTOMER AND TOOK SAMPLES FROM THE HOUSE AND SHOWED THEM

TO BRYAN/KATHY TOOK BAC'T SMAPLES

JM/KIM

====================================================================================================

Subdivision : 00608        Route         : 608             Service Order # : 035637

Account #   : 006080010261 Customer Name : RASTOM          , JUNE

Address     : 448          RIDGE                DR         Phone #         : (407) 322-6731

Entry Date  : 04/06/06     Serv Ord Type : 28              Operator        : SAN

Comments    : MS. CALLED DUE TO LOW PRESSURE

CHECK PRESSURE AND INFORM CUSTOMER

PAGED TO JOHN

Due Date    : 04/06/06     Cust/Comp Resp: CUST

Resolution Dte : 04/06/06

Resolution  : PSI: 50

AF/JS

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 7

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 035653

Account #   : 006260013932 Customer Name : PAPASODERO      , LOUIS

Address     : 11643        BOYNTON              LN         Phone #         : (718) 383-2749

Entry Date  : 04/06/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND TEMP TURN OFF FOR VACTION

WILL CALL FOR WAIVER

Due Date    : 04/12/06     Cust/Comp Resp: CUST

Resolution Dte : 04/12/06

Resolution  : R=274040

TURNED OFF FOR SEASONAL CUSTOMER.

SH/KIM

====================================================================================================

Subdivision : 00615        Route         : 2               Service Order # : 035803

Account #   : 006150007671 Customer Name : WILLIAMS        , NEWLIN

Address     : 2143         MELODY               DR         Phone #         : (   )    -

Entry Date  : 04/06/06     Serv Ord Type : 47              Operator        :

Comments    : JUST NEED RESOLUTION FOR AFTER HRS CALL FOR LOW PRESSURE FROM ANSWERING

SERVICE 4/4/06- 6:32PM

Due Date    : 04/04/06     Cust/Comp Resp: CUST

Resolution Dte : 04/04/06

Resolution  : READ 50

FOUND VALVE AT CUSTOMER HOUSE OFF*

TURNED ON FOR THEM-OK NOW

SH/DB

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 8

Service Order Detail Report

Subdivision : 00602        Route         : 602             Service Order # : 035905

Account #   : 006020040257 Customer Name : HALL            , DENA

Address     : 300          DUKE                 AVE        Phone #         : (407) 772-3548

Entry Date  : 04/07/06     Serv Ord Type : 20              Operator        :

Comments    : CUSTOMER SAYS THERE'S A HOLE DEVELOPING ON SIDEWALK AND THINKS IT'S A

SEWER LINE. PLEASE CHECK OUT. PAGED MATT M.

Due Date    : 04/07/06     Cust/Comp Resp: CUST

Resolution Dte : 04/07/06

Resolution  : CAMERA LINE AND FOUND CUSTOMER HAS ROOTS INFILTRATING HIS LINE AND

POINT OF CONNECTION. HUNG TAG INFORMING CUSTOMER TO CONTACT PLUMBER.

JP/IC

====================================================================================================

Subdivision : 00618        Route         : 618             Service Order # : 035978

Account #   : 006181010989 Customer Name : MAURY           , RAMON

Address     : 6124         BEAR LAKE            TER        Phone #         : (407) 294-0079

Entry Date  : 04/07/06     Serv Ord Type : 12              Operator        :

Comments    : TAKE FINAL READING, TURN OFF AND LOCK

Due Date    : 04/10/06     Cust/Comp Resp: CUST

Resolution Dte : 04/10/06

Resolution  : FR=1497490

FC=8390

PB/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 9

Service Order Detail Report

Subdivision : 00623        Route         : 623             Service Order # : 036031

Account #   : 006233012493 Customer Name : CAVANAUGH       , MICHAEL    D

Address     : 652          MOSS                 DR         Phone #         : (407) 869-8417

Entry Date  : 04/07/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LEAVE ON PER NEW

Due Date    : 04/10/06     Cust/Comp Resp: CUST

Resolution Dte : 04/10/06

Resolution  : FR=1079470

FC=25,920

PB/LYN

====================================================================================================

Subdivision : 00613        Route         : 1               Service Order # : 036063

Account #   : 006130010871 Customer Name : RICHARDSON      , ELSON

Address     : 2341         LEMUR                DR         Phone #         : (519) 426-2036

Entry Date  : 04/07/06     Serv Ord Type : 2               Operator        :

Comments    : PLEASE OBTAIN READING TEMP TURN OFF FOR SEASONAL CUSTOMER.

GAVE CONF#

PLEASE MAIL WAIVER TO CANADIAN ADDRESS FOR FUTURE TURN ON.

Due Date    : 04/10/06     Cust/Comp Resp: CUST

Resolution Dte : 04/10/06

Resolution  : TEMP OFF  MR=  659030   FC=2,323

CUSTOMER SHUT OUR VALVE OFF

SH/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 10

Service Order Detail Report

Subdivision : 00613        Route         : 1               Service Order # : 036217

Account #   : 006130011281 Customer Name : GUPTILL         , WAYNE      A

Address     : 2340         PRESTIGE             DR         Phone #         : (727) 937-5541

Entry Date  : 04/07/06     Serv Ord Type : 1               Operator        :

Comments    : MR. CALLED DUE TO HIGH BILL

REREAD AND CHECK FOR LEAK

3/19/06  MR=138320

Due Date    : 04/10/06     Cust/Comp Resp: CUST

Resolution Dte : 04/10/06

Resolution  : 4/10/06  RR=141980

NO LEAKS

SH/LYN

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 036222

Account #   : 006260023502 Customer Name : ROOTES          , ANGELA

Address     : 11539        HOLLY ANN            DR         Phone #         : (727) 379-3870

Entry Date  : 04/07/06     Serv Ord Type : 13              Operator        :

Comments    : CUSTOMER HAS NO WATER. MOVING IN..PAGED JACK A.

TAKE READING

Due Date    : 04/07/06     Cust/Comp Resp: CUST

Resolution Dte : 04/07/06

Resolution  : R=397870   TURNED ON FOR NEW CUSTOMER.

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 11

Service Order Detail Report

Subdivision : 00612        Route         : 612             Service Order # : 036366

Account #   : 006120022831 Customer Name : GREEN           , JUNE       W

Address     : 102          SUNSET               DR         Phone #         : (407) 322-2762

Entry Date  : 04/10/06     Serv Ord Type : 30              Operator        :

Comments    : CUSTOMER SAYS HE HAS SAND IN HIS WATER

PAGED TO JOHN M

Due Date    : 04/10/06     Cust/Comp Resp: CUST

Resolution Dte : 04/10/06

Resolution  : SPOKE WITH THE CUSTOMER AND INFORMED HIM OF THE FLUSHING WE WILL DO IN

THE AREA. NOT KNOWING WHERE THE SAND IS COMING FROM? 104 SUNSET HAS IT

ALSO. SPOKE WITH THEM.

JM/KIM

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 036455

Account #   : 006260024091 Customer Name : LADIMIR         , LOUIS

Address     : 12132        LOBLOLLY PINE        DR         Phone #         : (727) 379-0248

Entry Date  : 04/10/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READ

LOCK AND TAG FOR NEW APPLY

GAVE#

Due Date    : 04/24/06     Cust/Comp Resp: CUST

Resolution Dte : 04/24/06

Resolution  : R=173130   F/C=2570

LEFT ON

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 12

Service Order Detail Report

Subdivision : 00602        Route         : 602             Service Order # : 036532

Account #   : 006020010065 Customer Name : SOLLOSY         , FRANK

Address     : 487          TULANE               DR         Phone #         : (518) 632-5688

Entry Date  : 04/10/06     Serv Ord Type : 10              Operator        :

Comments    : 3/1/06 814540

4/4/06 834080 HIGH CONS ON MVR

Due Date    : 04/10/06     Cust/Comp Resp: CUST

Resolution Dte : 04/10/06

Resolution  : READING 836330

MM/IC

====================================================================================================

Subdivision : 00602        Route         : 602             Service Order # : 036550

Account #   : 006020011357 Customer Name : MILLER          , MARY       C

Address     : 429          NOTRE DAME           DR         Phone #         : (407) 774-3008

Entry Date  : 04/10/06     Serv Ord Type : 10              Operator        :

Comments    : 3/1/06 763700

4/4/06 790360 HIGH CONS ON MVR

Due Date    : 04/10/06     Cust/Comp Resp: CUST

Resolution Dte : 04/10/06

Resolution  : READING 792790

JP/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 13

Service Order Detail Report

Subdivision : 00602        Route         : 602             Service Order # : 036555

Account #   : 006020022011 Customer Name : WINKLER         , E          J

Address     : 481          TRINITY              AVE        Phone #         : (407) 682-0010

Entry Date  : 04/10/06     Serv Ord Type : 10              Operator        :

Comments    : 3/1/06 174240

4/4/06 185090 HIGH CONS ON MVR

Due Date    : 04/10/06     Cust/Comp Resp: CUST

Resolution Dte : 04/10/06

Resolution  : READING 185260

JP/IC

====================================================================================================

Subdivision : 00602        Route         : 602             Service Order # : 036559

Account #   : 006020022066 Customer Name : VACANT          ,

Address     : 317          CLEMSON              DR         Phone #         : (   )    -

Entry Date  : 04/10/06     Serv Ord Type : 20              Operator        :

Comments    : THIS IS A VACANT ACCT. HAS CONSUMPTION ON MVR. PER MVR, WATER IS

CONNECTED UNDERGROUND TO 311 CLEMSON.  WHAT DO YOU MEAN BY THAT??

ARE THEY GETTING THEIR WATER FROM 317 CLEMSON?? PLEASE EXPLAIN.

THANKS....

Due Date    : 04/11/06     Cust/Comp Resp: CUST

Resolution Dte : 04/11/06

Resolution  : READING 317 CLEMSON 939120 SERVICE LOCKED OFF

READING 311 CLEMSON 2097870  SERVICE IS ACTIVE

CUSTOMER AT 311 OWNS BOTH PROPERTIES AND HAS 317 HOOK UP UNDERGROUND TO

HIS HOUSE. HE RENTS OUT 317. I SPOKE W/KAREN ON THIS A COUPLE OF YEARS

AGO BUT DON'T RECALL IT EVER BEING RESOLVED. HUNG TAG INFORMING CUSTOMER

AT 311 THAT IT'S ILLEGAL CONNECTION AND MUST BE DISCONNECTED. PRIOR TO

4/28/06 OR SERVICE TO HIS HOME WILL BE DISCONNECTED. PLEASE PROVIDE

S/O FOR 4/28/06 TO GO OUT AND INSPECT PROPERTY.

JP/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 14

Service Order Detail Report

Subdivision : 00602        Route         : 602             Service Order # : 036567

Account #   : 006020023368 Customer Name : CARRION         , ALBERTO

Address     : 559          COLUMBIA             DR         Phone #         : (407) 830-5930

Entry Date  : 04/10/06     Serv Ord Type : 10              Operator        :

Comments    : 3/2/06 652600

4/3/06 728010 HIGH CONS

Due Date    : 04/10/06     Cust/Comp Resp: CUST

Resolution Dte : 04/10/06

Resolution  : READING 737600

NO LEAKS

JP/IC

====================================================================================================

Subdivision : 00615        Route         : 7               Service Order # : 036690

Account #   : 006150005325 Customer Name : SPIRES          , CHARLES    R

Address     : 2142         HOYLE                DR         Phone #         : (740) 438-7388

Entry Date  : 04/10/06     Serv Ord Type : 12              Operator        :

Comments    : TAKE FINAL READING, TURN OFF & LOCK

Due Date    : 04/11/06     Cust/Comp Resp: CUST

Resolution Dte : 04/11/06

Resolution  : FR=139650

FC=770

T/OFF & LOCKED

JF/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 15

Service Order Detail Report

Subdivision : 00612        Route         : 612             Service Order # : 036733

Account #   : 006120010423 Customer Name : POLK            , CHERYL     L

Address     : 208          FORREST              DR         Phone #         : (407) 687-8025

Entry Date  : 04/10/06     Serv Ord Type : 20              Operator        :

Comments    : FINAL READ AND LOCK

TAG FOR NEW TO APPLY

Due Date    : 04/13/06     Cust/Comp Resp: CUST

Resolution Dte : 04/13/06

Resolution  : CUSTOMER CALLED INTO OFFICE TO CANCEL FINAL ORDER FOR 4/17/06.

KIM

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 036975

Account #   : 006260021813 Customer Name : CRICK           , DALLAS     M

Address     : 11601        PEAR TREE            DR         Phone #         : (   )    -

Entry Date  : 04/11/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READING LOCK OFF AND TAG FOR NEW.

GAVE CONF# 36975

PROPERTY MANAGER: NATHALIE ROUSSEL @ 1-727-862-2929

Due Date    : 04/12/06     Cust/Comp Resp: CUST

Resolution Dte : 04/12/06

Resolution  : R=50240 LOCKED OFF AND TAG FOR SEASONAL CUST.

F/C= 40

SH/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 16

Service Order Detail Report

Subdivision : 00630        Route         : 1               Service Order # : 037029

Account #   : 006300303470 Customer Name : POULOS          , PHILIP     H

Address     : 4990     NW  75TH                 AVE        Phone #         : (352) 342-6416

Entry Date  : 04/11/06     Serv Ord Type : 8               Operator        :

Comments    : TAP APPLICATION REC'D 4/11/06-PLEASE INSTALL NEW 5/8 METER ON LOT 21,

BLK 6, GOLDEN HILLS TURF & COUNTRY CLUB. ADVISE OFFICE IF UNABLE TO

COMPLETE BY 4/18/06.

PROVIDE ALL METER INFO.

THANK YOU.

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/27/06

Resolution  : RESOLUTION PLEASE-ANN

04/27/06-INSTALLED 1"METER W/CURB STOP BADGER METER

READ-10

SN#29747109

ML-LEFT LINE

DSA/JY/ANN

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 037058

Account #   : 006260011715 Customer Name : HOLLAWAY        , RUSSELL    L

Address     : 11734        CARISSA              LN         Phone #         : (317) 852-5750

Entry Date  : 04/11/06     Serv Ord Type : 22              Operator        :

Comments    : PER CUST REQ PLEASE TEMP T/OFF FOR SEASONAL CUST, CUST IS AWARE OF T/ON

PROCEDURES AND OF $15.00 VAC REC FEE

Due Date    : 09/25/06     Cust/Comp Resp: CUST

Resolution Dte : 04/12/06

Resolution  : R=15840  TURNED OFF FOR SEASONAL CUSTOMER.

SH/KIM

*************09/25/06 T/ON FOR SEASONAL CUSTOMER. SEE OFFC FOR WAIVER***

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 17

Service Order Detail Report

Subdivision : 00615        Route         : 4               Service Order # : 037121

Account #   : 006150011222 Customer Name : PROBUILT INC    ,

Address     : 1709         US HWY 19                       Phone #         : (727) 937-1400

Entry Date  : 04/11/06     Serv Ord Type : 13              Operator        :

Comments    : PLEASE T/ON FOR NEW APPLY CUST HAS REGISTERED W/US CUST MTR WAS T/OFF

FOR VACANCY AND WAS NOT REGISTERED. .... CUST WILL BE ON PROPERTY ALL

DAY WAITING FOR T/ON WILL SIGN S/O

SIGN________________________DATE____________________________

Due Date    : 04/11/06     Cust/Comp Resp: CUST

Resolution Dte : 04/11/06

Resolution  : BR=0

JF/LYN

====================================================================================================

Subdivision : 00623        Route         : 623             Service Order # : 037131

Account #   : 006233010977 Customer Name : CATES           , BILLY

Address     : 532          NORTHWESTERN         AVE        Phone #         : (407) 291-6187

Entry Date  : 04/11/06     Serv Ord Type : 17              Operator        :

Comments    : CUSTOMER HAS LEAK AND NEEDS WATER SHUT OFF. PAGED JEFF P

Due Date    : 04/11/06     Cust/Comp Resp: CUST

Resolution Dte : 04/11/06

Resolution  : READ 2826210-OFF/

JAMES P/DB

3/1/06 2373300

4/5/06 2744490-BILLED

4/10/06 2809520-REREAD-

DB

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 18

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 037194

Account #   : 006260012302 Customer Name : ALLEN           , VERONICA   A

Address     : 11723        BOYNTON              LN         Phone #         : (570) 879-2085

Entry Date  : 04/11/06     Serv Ord Type : 22              Operator        :

Comments    : SEASONAL CUSTOMER TURN OFF AND LOCK TEMPORARILY.

Due Date    : 04/12/06     Cust/Comp Resp: CUST

Resolution Dte : 04/12/06

Resolution  : R=24880   FOUND VALVE OFF LOCKED FOR SEASONAL CUSTOMER.

SH/KIM

====================================================================================================

Subdivision : 00610        Route         : 610             Service Order # : 037225

Account #   : 006101010074 Customer Name : MONTES          , BRUCE      A

Address     : 111          KINGSWOOD            CT         Phone #         : (407) 620-1572

Entry Date  : 04/11/06     Serv Ord Type : 21              Operator        :

Comments    : 3/3/06  R=505070

4/5/06  R=538770   H/C

Due Date    : 04/11/06     Cust/Comp Resp: CUST

Resolution Dte : 04/11/06

Resolution  : R=539630

KEV/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 19

Service Order Detail Report

Subdivision : 00602        Route         : 602             Service Order # : 037504

Account #   : 006020041216 Customer Name : MARQUEZ         , OMAR

Address     : 647          CLEMSON              DR         Phone #         : (407) 312-5371

Entry Date  : 04/12/06     Serv Ord Type : 12              Operator        :

Comments    : READ, TURN OFF, LOCK, TAG

Due Date    : 04/17/06     Cust/Comp Resp: CUST

Resolution Dte : 04/17/06

Resolution  : FR=165610

FC=980

SE & PB/LYN

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 037892

Account #   : 006260022062 Customer Name : BACCHUS         , JEREMIAH   J

Address     : 11613        GOLDEN RAIN          DR         Phone #         : (727) 857-0055

Entry Date  : 04/07/06     Serv Ord Type : 10              Operator        :

Comments    : 2/24/06  R=459030

3/27/06  R=459030  0 CONS  CHECK METER

Due Date    : 04/07/06     Cust/Comp Resp: CUST

Resolution Dte : 04/07/06

Resolution  : R=459030 CUSTOMER IS AWAY HOUSE VALVE OFF.

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 20

Service Order Detail Report

Subdivision : 00626        Route         : 2               Service Order # : 037903

Account #   : 006260020012 Customer Name : VERDI           , LILLY

Address     : 11736        ROSE TREE            DR         Phone #         : (727) 856-5591

Entry Date  : 04/07/06     Serv Ord Type : 10              Operator        :

Comments    : 2/24/06  R=271730

3/31/06  R=276263  ESTIMATED

Due Date    : 04/07/06     Cust/Comp Resp: CUST

Resolution Dte : 04/07/06

Resolution  : R=275710  USED FOR BILLING

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 037908

Account #   : 006260020962 Customer Name : HARTMAN         , CLARENCE   M

Address     : 11812        TUPELO               DR         Phone #         : (727) 857-1621

Entry Date  : 04/07/06     Serv Ord Type : 10              Operator        :

Comments    : 2/23/06  R=427130

3/27/06  R=426580     (NEG)

Due Date    : 04/07/06     Cust/Comp Resp: CUST

Resolution Dte : 04/07/06

Resolution  : R=430190   USED FOR BILLING

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 21

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 038042

Account #   : 006260010492 Customer Name : FULFORD         , BILLY

Address     : 11829        CARISSA              LN         Phone #         : (813) 856-0475

Entry Date  : 04/13/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LEAVE ON PER NEW

Due Date    : 05/01/06     Cust/Comp Resp: CUST

Resolution Dte : 05/01/06

Resolution  : R=399150  F/C=3920

LEFT ON FOR NEW CUSTOMER.

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 038508

Account #   : 006260013483 Customer Name : GRUND           , RICHARD

Address     : 11719        BAYONET              LN         Phone #         : (330) 296-8426

Entry Date  : 04/14/06     Serv Ord Type : 22              Operator        :

Comments    : PLEASE OBTAIN READING AND TEMP OFF FOR SEASONAL CUSTOMER.

GAVE CONF# 38508

CUSTOMER AWARE OF TURN ON POLICY.

Due Date    : 04/17/06     Cust/Comp Resp: CUST

Resolution Dte : 04/17/06

Resolution  : R=104600  TURNED OFF AND LOCKED

SH/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 22

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 038708

Account #   : 006260010093 Customer Name : ABDALE          , FRANK

Address     : 11918        CARISSA              LN         Phone #         : (727) 856-0098

Entry Date  : 04/14/06     Serv Ord Type : 22              Operator        :

Comments    : READ-TURNOFF-LOCK****VACATION****

Due Date    : 04/21/06     Cust/Comp Resp: CUST

Resolution Dte : 04/21/06

Resolution  : R=118770

LOCKED OFF

JA/KIM

====================================================================================================

Subdivision : 00637        Route         : 637             Service Order # : 038725

Account #   : 006370014992 Customer Name : HOOVER          , DONALD     B

Address     : 283          LAKE TARPON          DR         Phone #         : (330) 869-0887

Entry Date  : 04/14/06     Serv Ord Type : 22              Operator        :

Comments    : SEASONAL CUSTOMER TEMP OFF AND LOCK

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/17/06

Resolution  : CUSTOMER CANCELED THIS S/O ON 4/17/06 PER DEBBIE

/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 23

Service Order Detail Report

Subdivision : 00608        Route         : 608             Service Order # : 038727

Account #   : 006080010013 Customer Name : MILLER          , PHILLIP

Address     : 100          DRIFTWOOD            LN         Phone #         : (407) 330-5734

Entry Date  : 04/14/06     Serv Ord Type : 17              Operator        : SAN

Comments    : MS. CALLED TO REPORT A LEAK AT THE METER.

PLEAS CHECK FOR LEAK

PAGED TO JOHN

Due Date    : 04/14/06     Cust/Comp Resp: CUST

Resolution Dte : 04/14/06

Resolution  : CUSTOMER HAS LEAK ON PVC LINE FROM METER TO HOUSE

SHUT OFF METER PER CUST. REQUEST. INFORMED CUSTOMER TO CALL

PLUMBER.

READ 17450

KC/JS

====================================================================================================

Subdivision : 00612        Route         : 612             Service Order # : 038794

Account #   : 006120023382 Customer Name : WILSON          , RONETTE

Address     : 109          ORANGE               DR         Phone #         : (407) 323-0043

Entry Date  : 04/14/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READING LEAVE ON

GAVE CONF# 38794

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : R=208890  F/C=7440

LEFT ON

KEV/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 24

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 038847

Account #   : 006260012553 Customer Name : CLARK           , JOHN

Address     : 11730        BAYONET              LN         Phone #         : (727) 856-6555

Entry Date  : 04/17/06     Serv Ord Type : 22              Operator        :

Comments    : TEMP TURN OFF AND LOCK FOR SUMMER

Due Date    : 04/24/06     Cust/Comp Resp: CUST

Resolution Dte : 04/24/06

Resolution  : R=81340  LOCKED OFF FOR SEASONAL CUSTOMER.

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 038852

Account #   : 006260021991 Customer Name : MCGINNIS        , ARTHUR

Address     : 11526        PEAR TREE            DR         Phone #         : (727) 856-2123

Entry Date  : 04/17/06     Serv Ord Type : 1               Operator        :

Comments    : MR. CALLED DUE TO HIGH BILL.

PLEASE REREAD AND CHECK FOR LEAK.

3/27/06  MR=237070

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : R=240730  METER INDICATES SMALL LEAK. SPOKE WIHT THE CUSTOMER HE IS

SATISFIED.

JF/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 25

Service Order Detail Report

Subdivision : 00602        Route         : 602             Service Order # : 038877

Account #   : 006020011434 Customer Name : HERNANDEZ       , MILDA      G

Address     : 447          NOTRE DAME           DR         Phone #         : (561) 719-2971

Entry Date  : 04/17/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND TAG FOR NEW

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : FR=930010

FC=2210

SE/IC

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 038884

Account #   : 006260010322 Customer Name : WILKINS         , JOHN       T

Address     : 12030        BAYONET              LN         Phone #         : (813) 856-7440

Entry Date  : 04/17/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LOCK

TAG FOR NEW TO APPLY

Due Date    : 05/03/06     Cust/Comp Resp: CUST

Resolution Dte : 05/03/06

Resolution  : R=401410   F/C=3180

LEFT ON FOR NEW CUSTOMER

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 26

Service Order Detail Report

Subdivision : 00610        Route         : 610             Service Order # : 039038

Account #   : 006100010080 Customer Name : MOSCO CUSTOM HO , THOMAS     J

Address     : 401      W   CRYSTAL              DR         Phone #         : (386) 775-8600

Entry Date  : 04/17/06     Serv Ord Type : 8               Operator        : 610

Comments    : CHECK HAS BEEN RECEIVED FOR NEW 5/8" WATER TAP.PLEASE ADVISE OF LOCATION

AND ALL METER INFO. GIVE ME A BEFORE AND AFTER ADDRESS FOR THE SEQUENCE.

I BELIEVE THIS ONE NEEDS THE "EXTRA" WORK-IF SO, PLEASE ADVISE IF THE

DUE DATE NEEDS TO BE EXTENDED.

Due Date    : 04/26/06     Cust/Comp Resp: CUST

Resolution Dte : 04/26/06

Resolution  : METER #32786635; SET NEW 5/8" BADGER MODEL 25, READING 10.

LOCATION: LEFT CENTER OF PROPERTY. USED 3/4" POLY S.LINE.JIMMIE H.:LA

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 039071

Account #   : 006260012331 Customer Name : SCARABINO       , FRANK

Address     : 11713        BOYNTON              LN         Phone #         : (727) 856-2973

Entry Date  : 04/17/06     Serv Ord Type : 1               Operator        :

Comments    : RE-READ METER AND CHECK FOR LEAK. cUSTOMER IS COMPLAINING THAT BILL HAS

GONE UP FOR PAST 2 MONTHS.  TALK TO CUSTOMER OR TAG DOOR IF NO ONE HOME.

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : R= 190780

NO LEAK SPOKE WITH THE CUSTOMER.

JF/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 27

Service Order Detail Report

Subdivision : 00620        Route         : 620             Service Order # : 039129

Account #   : 006200012839 Customer Name : MARTINEZ        , LUZ

Address     : 443      N   JOHN                 ST         Phone #         : (407) 658-2693

Entry Date  : 04/17/06     Serv Ord Type : 12              Operator        : 620

Comments    : FINAL READ AND LOCK

TAG FOR NEW TO APPLY

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : FR=1436560

FC=10

READ

TAGGED

LOCKED

JPL/LYN

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 039158

Account #   : 006260021814 Customer Name : MACCARONE       , DONNA      C

Address     : 11601        PEAR TREE            DR         Phone #         : (914) 237-0846

Entry Date  : 04/17/06     Serv Ord Type : 13              Operator        :

Comments    : READ AND TURN ON FOR NEW

*** PM TURN ON ***

SIGNATURE:______________________________________________________.

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : R=50240  WAIVER ON FILE  TURNED ON THE CUSTOMER.

JF/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 28

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 039170

Account #   : 006260070111 Customer Name : FINLEY          , JOHN

Address     : 11314        GOLF ROUND           DR         Phone #         : (727) 856-2168

Entry Date  : 04/17/06     Serv Ord Type : 20              Operator        :

Comments    : CUSTOMER CALLED THE ANSWERING SERVICE DUE TO PLANTING IN YARD AND

WANTING TO KNOW WHERE TO DIG

PAGED OUT

Due Date    : 04/14/06     Cust/Comp Resp: CUST

Resolution Dte : 04/14/06

Resolution  : R=35280  SPOKE WITH THE CUSTOMER ABOUT PLANT LOCATIONS IN DEPTHS THEY

ARE SATISFIED.

JF/KIM

====================================================================================================

Subdivision : 00610        Route         : 610             Service Order # : 039329

Account #   : 006101010714 Customer Name : CALHOUN         , VINNY      A

Address     : 517          RANTOUL              LN         Phone #         : (407) 620-5794

Entry Date  : 04/18/06     Serv Ord Type : 14              Operator        :

Comments    : S/OFF AMT $30.03

S/OFF FEE $15.00

TOTAL DUE $45.03

LOCK OFF AND TAG

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : R=1270040   LOCKED OFF AND TAGGED

FQ/KIM

4/18/06 CONF#103000 PAID BY PHONE. COLLECTED TAG AND TURNED ON.

FQ/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 29

Service Order Detail Report

Subdivision : 00612        Route         : 612             Service Order # : 039330

Account #   : 006120010570 Customer Name : BEVERLY         , GARY

Address     : 404          PINE                 DR         Phone #         : (407) 322-8906

Entry Date  : 04/18/06     Serv Ord Type : 14              Operator        :

Comments    : S/OFF AMT  $29.67

S/OFF FEE  $15.00

TOTAL DUE  $41.67

LOCK OFF AND TAG FOR PMT

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : R=304690  LOCKED OFF AND TAGGED

FQ/KIM

CUSTOMER PAID IN THE OFFICE WAIVER ON FILE.  - TURNED ON CUSTOMER.

FQ/KIM

====================================================================================================

Subdivision : 00620        Route         : 620             Service Order # : 039531

Account #   : 006200010774 Customer Name : JOHNSON         , GLORIA

Address     : 6108     W   LIVINGSTON           ST         Phone #         : (407) 822-0074

Entry Date  : 04/18/06     Serv Ord Type : 14              Operator        : 620

Comments    : SHUT OFF SERVICE FOR NON PAYMENT

BALANCE DUE     $57.10

S/C              15.00

TOTAL           $72.10

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : SERVICE WAS SHUT OFF FOR NON PAYMENT

MR=1743300

CUSTOMER PAID $57.00

CONF #103050

BY PHONE

& DID NOT CALL US

SERVICE RESTORED

JP/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 30

Service Order Detail Report

Subdivision : 00620        Route         : 620             Service Order # : 039540

Account #   : 006200011005 Customer Name : BARBOSA         , PAULO

Address     : 6015     W   MELBOURNE            AVE        Phone #         : (407) 694-2345

Entry Date  : 04/18/06     Serv Ord Type : 14              Operator        : 620

Comments    : SHUT OFF SERVICE FOR NON PAYMENT

BALANCE DUE    $33.36

S/C             15.00

TOTAL DUE      $48.36

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : SERVICE WAS SHUT OFF FOR NON PAYMENT

MR=361680

5/9/06 RELOCKED METER WAS TURNED ON

6/6/06 PULLED METER  MR=366290

6/7/06 CUSTOMER PAID $106.24

($76.24 + 15.00 CUTOFF CHG  +  15.00 CUT LOCK CHG)

WATER TURNED BACK ON

NEW METER INSTALLED.

JP/LYN

====================================================================================================

Subdivision : 00620        Route         : 620             Service Order # : 039546

Account #   : 006200013035 Customer Name : WILLIAMS        , TANYA      L

Address     : 509      N   JOHN                 ST         Phone #         : (407) 353-7139

Entry Date  : 04/18/06     Serv Ord Type : 14              Operator        : 620

Comments    : SHUT OFF SERVICE FOR NON PAYMENT

BALANCE DUE     $80.69

S/C              15.00

TOTAL DUE       $95.69

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : SERVICE WAS SHUT OFF FOR NON PAYMENT

MR=1842150

NEW CUSTOMER SIGNED UP

I RECEIVED A LEASE FOR THE NEW CUSTOMER

JP/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 31

Service Order Detail Report

Subdivision : 00620        Route         : 620             Service Order # : 039547

Account #   : 006200013285 Customer Name : ABEL            , ABDONEL

Address     : 504      N   NOWELL               ST         Phone #         : (407) 578-0584

Entry Date  : 04/18/06     Serv Ord Type : 12              Operator        : 620

Comments    : SHUT OFF SERVICE FOR NON PAYMENT

BALANCE DUE     $19.65

S/C              15.00

TOTAL           $34.65

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 08/18/06

Resolution  : SERVICE WAS SHUT OFF FOR NON PAYMENT

MR=6320

8/18/06 FINALLED ACCOUNT

SKIPPED AFTER DISCONNECT.

LYN

====================================================================================================

Subdivision : 00630        Route         : 1               Service Order # : 039570

Account #   : 006300302756 Customer Name : MARCELLA        , CINDY

Address     : 4939     NW  82ND                 CT         Phone #         : (352) 402-9777

Entry Date  : 04/18/06     Serv Ord Type : 14              Operator        :

Comments    : PLEASE OBTAIN FINAL READING LEAVE ON FOR NEW

GAVE CONF# 39570

Due Date    : 04/19/06     Cust/Comp Resp: CUST

Resolution Dte : 04/19/06

Resolution  : FR=1600050

FC=70,310

JY/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 32

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 039590

Account #   : 006260011412 Customer Name : POLANCIH        , DAVID      F

Address     : 11938        CARISSA              LN         Phone #         : (586) 939-9353

Entry Date  : 04/18/06     Serv Ord Type : 22              Operator        :

Comments    : PLEASE TEMP/OFF FOR SEASONAL CUST, CUST IS AWARE OF T/ON PROCEDURES

AND THE $15.00 VAC REC FEE

Due Date    : 04/24/06     Cust/Comp Resp: CUST

Resolution Dte : 04/24/06

Resolution  : RR 286630  LOCKED OFF FOR SEASONAL CUSTOMER.

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 039783

Account #   : 006260070501 Customer Name : HIGHFIELD       , WILLIAM

Address     : 12205        PUTTER GREEN         CT         Phone #         : (574) 532-2229

Entry Date  : 04/19/06     Serv Ord Type : 24              Operator        :

Comments    : THIS ACCOUNT WILL BE ADJUSTED TO REFLEXT START DATE OF SERVICE OF

3/3/06 BASE RATES FOR WATER AND SEWER WILL BE ADJUSTED. FROM 3/13/06 -

3/27/06.

Due Date    : 04/19/06     Cust/Comp Resp: CUST

Resolution Dte : 04/19/06

Resolution  : ACCOUNT WILL BE ADJUSTED IN BASE RATE ONLY. NO CONSUMPTIONS WAS BILLED

TO THE CUSTOMER DURING THE BILLING PERIOD OF 3/13/06 -3/27/06. THE

ADJUSTMENT WILL REFLECT THIS BILLING PERIOD FOR ALL BASE CHANGES TO

BE ADJUSTED OFF OF THE ACCOUNT. THE SET UP CHANGE WILL REMAIN ON THE

ACCOUNT.

WATER ADJ   -$6.88   -( 0 ) GALLONS

SEWER ADJ   -$7.53   -( 0 ) GALLONS

TOTAL ADJ   -$14.41

KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 33

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 039793

Account #   : 006260013183 Customer Name : RODGERS         , WILLIAM

Address     : 11843        BAYONET              LN         Phone #         : (727) 856-1607

Entry Date  : 04/19/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READING LOCK OFF AND TAG FOR NEW

GAVE CONF# 39793

OWNER: DONNAL GILL

7314 INGLESIDE DR  PORT RICHEY, FL

Due Date    : 05/16/06     Cust/Comp Resp: CUST

Resolution Dte : 05/16/06

Resolution  : R=28850  F/C=680

LOCKED OFF AND TAGGED

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 039839

Account #   : 006260012292 Customer Name : MAYNARD         , CHARLES

Address     : 11721        BOYNTON              LN         Phone #         : (607) 844-8466

Entry Date  : 04/19/06     Serv Ord Type : 22              Operator        :

Comments    : PLEASE OBTAIN READING AND TEMP TURN OFF FOR SEASONAL CUSTOMER.

GAVE CONF# 39839

CUSTOMER AWARE OF TURN ON POLICY

MAIL WAIVER TO CUSTOMER @ BILLING ADDRESS.

Due Date    : 04/20/06     Cust/Comp Resp: CUST

Resolution Dte : 04/20/06

Resolution  : R=91500 TURNED OFF AND LOCKED FOR SEASONAL

JF/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 34

Service Order Detail Report

Subdivision : 00604        Route         : 604             Service Order # : 039848

Account #   : 006040011681 Customer Name : PEDERSEN        , MRS        R

Address     : 629          LAKE SHORE           DR         Phone #         : (407) 339-1045

Entry Date  : 04/19/06     Serv Ord Type : 22              Operator        :

Comments    : PLEASE OBTAIN READING AND TEMP TURN OFF FOR CUSTOMER SHE HAS A LEAKS

AND NEED WATER OFF UNTIL SHE CAN GET A PLUMBER.

PAGED TO FRED Q

Due Date    : 04/19/06     Cust/Comp Resp: CUST

Resolution Dte : 04/19/06

Resolution  : LEAK AFTER METER IN FRONT YARD ON CUSTOMER'S LINE. TURNED OFF UNTIL SHE

CAN GET A PLUMBER TO FIX. I SHOWED HER HOW TO HAVE PLUMBER TO TURN BACK

ON OR TO CALL US TO TURN BACK ON.

READING 359640

FRED/IC

====================================================================================================

Subdivision : 00602        Route         : 602             Service Order # : 039966

Account #   : 006020010303 Customer Name : DORSEY          , IRMA

Address     : 419          TULANE               DR         Phone #         : (407) 405-3635

Entry Date  : 04/19/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 56.72

RECON 15.00

TOTAL DUE 71.72

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : READING 161080 CUSTOMER PAID, TURNED ON

SE/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 35

Service Order Detail Report

Subdivision : 00602        Route         : 602             Service Order # : 039973

Account #   : 006020011079 Customer Name : CUSTODIO        , LORI

Address     : 360          NOTRE DAME           DR         Phone #         : (407) 595-7613

Entry Date  : 04/19/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 42.99

RECON 15.00

TOTAL DUE 57.99

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : READING 39380 CUSTOMER PAID, TURNED ON

SE/IC

====================================================================================================

Subdivision : 00602        Route         : 602             Service Order # : 039976

Account #   : 006020011094 Customer Name : HOLTON          , VIOLA

Address     : 361          NOTRE DAME           DR         Phone #         : (407) 774-0452

Entry Date  : 04/19/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 77.31

RECON 15.00

TOTAL DUE 92.31

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : READING 1187400 CUSTOMER PAID, TURNED ON

SE/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 36

Service Order Detail Report

Subdivision : 00602        Route         : 602             Service Order # : 039991

Account #   : 006020011722 Customer Name : RIVERA          , LUIS       C

Address     : 434          CLEMSON              DR         Phone #         : (321) 228-7963

Entry Date  : 04/19/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 94.30

RECON 15.00

TOTAL DUE 109.30

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : READING 811640 CUSTOMER PAID, TURNED ON

SE/IC

====================================================================================================

Subdivision : 00602        Route         : 602             Service Order # : 039993

Account #   : 006020023592 Customer Name : HINDS           , CLEMENTINE

Address     : 571          CLEMSON              DR         Phone #         : (407) 682-2669

Entry Date  : 04/19/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 60.01

RECON 15.00

TOTAL DUE 75.01

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : READING 214650 CUSTOMER PAID TURNED ON

SE/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 37

Service Order Detail Report

Subdivision : 00602        Route         : 602             Service Order # : 040012

Account #   : 006020034076 Customer Name : CLAVIJO         , ELOILDA

Address     : 541          NOTRE DAME           DR         Phone #         : (407) 782-0943

Entry Date  : 04/19/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 34.31

RECON 15.00

TOTAL DUE 49.31

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : READING 31250 CUSTOMER PAID, TURNED ON

SE/IC

====================================================================================================

Subdivision : 00602        Route         : 602             Service Order # : 040013

Account #   : 006020034586 Customer Name : RODRIGUEZ       , FRANCISCO  J

Address     : 558          TULANE               DR         Phone #         : (407) 470-3699

Entry Date  : 04/19/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 49.54

RECON 15.00

TOTAL DUE 64.54

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : READING 551570 CUSTOMER PAID, TURNED ON

SE/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 38

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 040018

Account #   : 006260011353 Customer Name : MOSHER          , RETA       H

Address     : 11838        CARISSA              LN         Phone #         : (727) 856-6117

Entry Date  : 04/19/06     Serv Ord Type : 22              Operator        :

Comments    : PLEASE OBTAIN READING AND TEMP - LOCK OFF FOR SEASONAL CUSTOMER.

GAVE CONF# 40018

MAIL WAIVER TO BILLING ADDRESS.

Due Date    : 04/21/06     Cust/Comp Resp: CUST

Resolution Dte : 04/21/06

Resolution  : R=163530  LOCKED OFF

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 040056

Account #   : 006260021262 Customer Name : DUSHA           , GEORGE     W

Address     : 11608        ASPENWOOD            DR         Phone #         : (727) 857-9890

Entry Date  : 04/19/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READING LEAVE ON FOR NEW CUSTOMER.

GAVE CONF#40056

Due Date    : 04/20/06     Cust/Comp Resp: CUST

Resolution Dte : 04/20/06

Resolution  : R=420360  LEFT ON FOR NEW

JF/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 39

Service Order Detail Report

Subdivision : 00626        Route         : 2               Service Order # : 040061

Account #   : 006260021263 Customer Name : COTNOIR         , RENE

Address     : 11608        ASPENWOOD            DR         Phone #         : (413) 593-6827

Entry Date  : 04/19/06     Serv Ord Type : 22              Operator        :

Comments    : PLEASE OBTAIN READING AND TEMP LOCK OFF FOR SEASONAL CUSTOMER.

CUSTOMER IS AWARE OF TURN ON POLICY.

MAIL WAIVER TO SERVICE ADDRESS.

Due Date    : 05/01/06     Cust/Comp Resp: CUST

Resolution Dte : 05/01/06

Resolution  : R=422530  LOCKED OFF FOR SEASONAL

MAILED WAIVER TO THE CUSTOMER PER THEIR REQUEST.

JA/KIM

====================================================================================================

Subdivision : 00602        Route         : 602             Service Order # : 040065

Account #   : 006020040161 Customer Name : GRISSOM         , JOHNNIE

Address     : 691          COLGATE              DR         Phone #         : (407) 786-1160

Entry Date  : 04/19/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 167.91

RECON 15.00

TOTAL DUE 182.91

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : READING 3764970 CUSTOMER PAID, TURNED ON

SE/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 40

Service Order Detail Report

Subdivision : 00602        Route         : 602             Service Order # : 040075

Account #   : 006020040877 Customer Name : ROA             , SOLEDAD

Address     : 660          STANFORD             DR         Phone #         : (   )    -

Entry Date  : 04/19/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 60.07

RECON 15.00

TOTAL DUE 75.07

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : READING 1481670 CUSTOMER PAID, TURNED ON

SE/IC

====================================================================================================

Subdivision : 00602        Route         : 602             Service Order # : 040076

Account #   : 006020041022 Customer Name : NIEVES          , DIANA

Address     : 631          STANFORD             DR         Phone #         : (407) 830-9777

Entry Date  : 04/19/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 105.50

RECON 15.00

TOTAL DUE 120.50

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : WATCH FOR CUT LOCK.

READING 1125330

SE/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 41

Service Order Detail Report

Subdivision : 00602        Route         : 602             Service Order # : 040079

Account #   : 006022010308 Customer Name : AUGUSTE         , ESTHER

Address     : 143          RONNIE               DR         Phone #         : (407) 331-1083

Entry Date  : 04/19/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 55.01

RECON 15.00

TOTAL DUE 70.01

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : READING 1547160 CUSTOMER PAID, TURNED ON

SE/IC

====================================================================================================

Subdivision : 00602        Route         : 602             Service Order # : 040082

Account #   : 006022010875 Customer Name : YOVAISH JR      , DARWIN

Address     : 154          JAY                  DR         Phone #         : (407) 855-3200

Entry Date  : 04/19/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 50.99

RECON 15.00

TOTAL DUE 65.99

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : READING 552810 CUSTOMER PAID, TURNED ON

SE/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 42

Service Order Detail Report

Subdivision : 00624        Route         : 624             Service Order # : 040086

Account #   : 006241010104 Customer Name : RODRIGUEZ       , GUADALUPE

Address     : 753          OAKLANDO             DR         Phone #         : (407) 299-1577

Entry Date  : 04/19/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 90.18

RECON 15.00

TOTAL DUE 105.18

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : READING 83150 CUSTOMER PAID, TURNED ON

PRESTON/IC

====================================================================================================

Subdivision : 00624        Route         : 624             Service Order # : 040087

Account #   : 006241010268 Customer Name : VERRET-ROSA     , MARKITA

Address     : 707          OAKLANDO             DR         Phone #         : (321) 662-4635

Entry Date  : 04/19/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 43.27

RECON 15.00

TOTAL DUE 58.27

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : READING 458400 CUSTOMER PAID, TURNED ON

PRESTON/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 43

Service Order Detail Report

Subdivision : 00624        Route         : 624             Service Order # : 040089

Account #   : 006241011328 Customer Name : BELTRE          , JOSE

Address     : 695          BARBUDA              WAY        Phone #         : (407) 248-2996

Entry Date  : 04/19/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 75.27

RECON 15.00

TOTAL DUE 90.27

Due Date    : 04/18/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : READING 1803710 CUSTOMER PAID, TURNED ON

PRESTON/IC

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 040206

Account #   : 006260012453 Customer Name : MASINO          , THOMAS

Address     : 11710        BAYONET              LN         Phone #         : (727) 857-0569

Entry Date  : 04/20/06     Serv Ord Type : 22              Operator        :

Comments    : READ AND LOCK

TEMP OFF FOR CUSTOMER

(MAILD WAIVER, AWARE OF POLICY)

Due Date    : 10/06/06     Cust/Comp Resp: CUST

Resolution Dte : 10/06/06

Resolution  : R=57420  LOCKED OFF FOR SEASONAL CUSTOMER.

MAILED WAIVER TO THE CUSTOMER  5/3/06.

JA/KIM

10/6/06 PLEASE OBTAIN READING AND TURN ON FOR CUSTOMER. (WAIVER RECEIVED

THANKS

KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 44

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 040234

Account #   : 006260013321 Customer Name : PIKE            , SIDNEY

Address     : 11815        BAYONET              LN         Phone #         : (   )    -

Entry Date  : 04/20/06     Serv Ord Type : 22              Operator        :

Comments    : TEMP OFF AND LOCK

(AWARE OF T/ON POLICY)

Due Date    : 04/26/06     Cust/Comp Resp: CUST

Resolution Dte : 04/26/06

Resolution  : R=88570  LOCKED OFF FOR SEASONAL CUSTOMER.

JA/KIM

====================================================================================================

Subdivision : 00602        Route         : 602             Service Order # : 040390

Account #   : 006020023073 Customer Name : LOVEGROVE       , GARY       S

Address     : 511          CARLISLE             AVE        Phone #         : (407) 463-5267

Entry Date  : 04/20/06     Serv Ord Type : 21              Operator        :

Comments    : PLEASE OBTAIN READING AND CHECK FOR LEAKS. CUSTOMER IS CALLING DUE TO

HIGH USAGE. NEW METER WAS INSTALLED IN JAN 2006

PLEASE INFORM THE CUSTOMER OF FINDINGS.

3/2/06  R=7560

4/3/06  R=20250

Due Date    : 04/21/06     Cust/Comp Resp: CUST

Resolution Dte : 04/21/06

Resolution  : READING 25380 NO LEAKS INDICATED. TAGGED DOOR W/FINDINGS.

JPL/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 45

Service Order Detail Report

Subdivision : 00630        Route         : 2               Service Order # : 040411

Account #   : 006300201602 Customer Name : MCINNIS         , DEBRA

Address     : 4675     NW  80TH                 CT         Phone #         : (352) 732-3560

Entry Date  : 04/20/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 108.31

RECON 15.00

TOTAL DUE 123.31

Due Date    : 04/19/06     Cust/Comp Resp: CUST

Resolution Dte : 04/19/06

Resolution  : CUSTOMER PAID TURNED ON

READING 256030

JY/IC

====================================================================================================

Subdivision : 00630        Route         : 1               Service Order # : 040420

Account #   : 006300303160 Customer Name : PLUNKETT        , KEVIN

Address     : 4275     NW  76TH                 CT         Phone #         : (352) 671-4677

Entry Date  : 04/20/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 27.26

RECON  15.00

TOTAL DUE 42.26

Due Date    : 04/19/06     Cust/Comp Resp: CUST

Resolution Dte : 04/19/06

Resolution  : READING 139940 CUSTOMER PAID, TURNED ON

JY/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 46

Service Order Detail Report

Subdivision : 00602        Route         : 602             Service Order # : 040433

Account #   : 006020023546 Customer Name : FREEMAN         , HELEN

Address     : 541          CLEMSON              DR         Phone #         : (407) 772-2305

Entry Date  : 04/20/06     Serv Ord Type : 20              Operator        :

Comments    : NSF CHK#1205 4/11/6 $84.35

BANK SERV FEE        30.00

TOTAL AMNT DUE      $114.35 PAYABLE BY CASHIER CHK OR M\O ONLY

TO AVOID INTERRUPTION OF SERV AND A $15 RCONNECT FEE

5 DAY LTTR MAILED 4/21

Due Date    : 04/28/06     Cust/Comp Resp: CUST

Resolution Dte : 04/28/06

Resolution  : CUSTOMER PAID, NOTHING FURTHER

/IC

====================================================================================================

Subdivision : 00620        Route         : 620             Service Order # : 040499

Account #   : 006200011899 Customer Name : SEETARAM        , MAHENDRA

Address     : 6038     W   ROBINSON             ST         Phone #         : (407) 298-7704

Entry Date  : 04/20/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LEAVE ON FOR NEW

Due Date    : 05/01/06     Cust/Comp Resp: CUST

Resolution Dte : 05/01/06

Resolution  : FR=2729630

FC=130

JPL & PB/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 47

Service Order Detail Report

Subdivision : 00630        Route         : 2               Service Order # : 040557

Account #   : 006300302186 Customer Name : DELK            , MONIQUE    M

Address     : 4849     NW  83RD                 CT         Phone #         : (352) 732-2910

Entry Date  : 04/20/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 51.80

RECON  15.00

TOTAL 66.80

Due Date    : 04/19/06     Cust/Comp Resp: CUST

Resolution Dte : 04/19/06

Resolution  : READING 965560 CUSTOMER PAID, TURNED ON

JY/IC

====================================================================================================

Subdivision : 00610        Route         : 610             Service Order # : 040662

Account #   : 006100020034 Customer Name : KENNEDY         , MICHELE    J

Address     : 545      N   COUNTRY CLUB         RD         Phone #         : (407) 302-6018

Entry Date  : 04/21/06     Serv Ord Type : 1               Operator        :

Comments    : CUSTOMER'S BILL HIGHER THAN NORMAL

SAYS SHE USES WELL FOR LAWN WATERING

PLEASE REREAD METER AND CHECK FOR LEAKS

TAG W/ READ AND FINDINGS

Due Date    : 04/24/06     Cust/Comp Resp: CUST

Resolution Dte : 04/24/06

Resolution  : R=1819310

NO LEAK AT THE METER CONNECTION. MR KENNEDY STATES DIRTY BROWN WATER.

JH/KIMN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 48

Service Order Detail Report

Subdivision : 00635        Route         : 635             Service Order # : 040821

Account #   : 006350000097 Customer Name : GAISUNAS        , HEATHER

Address     : 7320     NW  44TH                 LN         Phone #         : (352) 265-0111

Entry Date  : 04/21/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 71.73

RECON 15.00

TOTAL 86.73

Due Date    : 04/19/06     Cust/Comp Resp: CUST

Resolution Dte : 04/19/06

Resolution  : PAID 81.73 (10.00 P/UP CHARGE, NOT S/OFF)

JY/IC

====================================================================================================

Subdivision : 00637        Route         : 637             Service Order # : 040869

Account #   : 006370011763 Customer Name : JESSUP          , ROBERT     G

Address     : 255          COLONIAL             BLV        Phone #         : (727) 785-0053

Entry Date  : 04/21/06     Serv Ord Type : 10              Operator        :

Comments    : 3/15/06 466310

4/18/06 490290 HIGH CONS ON MVR

Due Date    : 04/20/06     Cust/Comp Resp: CUST

Resolution Dte : 04/20/06

Resolution  : READING 492370 LEAK AT METER HERE. TAGGED DOOR

SH/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 49

Service Order Detail Report

Subdivision : 00629        Route         : 629             Service Order # : 040973

Account #   : 006290004296 Customer Name : PACIFICA-BALDIN , LINDA

Address     : 4551         DARLINGTON           RD         Phone #         : (813) 937-8399

Entry Date  : 04/21/06     Serv Ord Type : 20              Operator        : 629

Comments    : THE OWNER OF THIS RESIDENCE, JACK WILLMAN-PHONE 727-847-5058, IS ASKING

IF SEWER COULD BE AVAILABLE TO HIM.

I KNOW WE DO NOT HAVE SEWER IN THE AREA - BUT CALL HIM TO CONFIRM AND DO

YOU HAVE ANY IDEA IF/WHEN IT MAY BE POSSIBLE?       PLEASE FAX THE

RESOLUTION TO OPERATIONS FAX #407-869-6961...THANK YOU VERY MUCHH.LORETT

Due Date    : 04/28/06     Cust/Comp Resp: CUST

Resolution Dte : 04/24/06

Resolution  : WE DO NOT HAVE SEWERS. CALL HIM AND LET HIM KNOW THIS. ALSO I BELIEVE WE

WILL NEVER HAVE SEWERS IN THERE. STEVE HABERY:LA

====================================================================================================

Subdivision : 00612        Route         : 612             Service Order # : 041000

Account #   : 006120011356 Customer Name : ORITT           , STELLA

Address     : 223          FORREST              DR         Phone #         : (407) 323-6551

Entry Date  : 04/21/06     Serv Ord Type : 21              Operator        :

Comments    : 3/13/06  R=205600

4/12/06  R=257390   H/C  ANY LEAKS

Due Date    : 04/20/06     Cust/Comp Resp: CUST

Resolution Dte : 04/20/06

Resolution  : R=278740  NO LEAKS

KEV/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 50

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 041108

Account #   : 006260070501 Customer Name : HIGHFIELD       , WILLIAM

Address     : 12205        PUTTER GREEN         CT         Phone #         : (574) 532-2229

Entry Date  : 04/24/06     Serv Ord Type : 22              Operator        :

Comments    : PLEASE TEMP/OFF FOR SEASONAL CUST, CUST IS AWARE OF TEMP/OFF PROCEDURES

AND THE VAC RATE T/ON FEE AND OF THE WAIVER STATUS

PLEASE T/OFF AND LOCK

Due Date    : 04/26/06     Cust/Comp Resp: CUST

Resolution Dte : 04/26/06

Resolution  : R=7340  LOCKED OFF FOR SEASONAL CUSTOMER.

JA/KIM

====================================================================================================

Subdivision : 00612        Route         : 612             Service Order # : 041146

Account #   : 006120010423 Customer Name : POLK            , CHERYL     L

Address     : 208          FORREST              DR         Phone #         : (407) 687-8025

Entry Date  : 04/24/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READ

LOCK AND TAG FOR NEW APPLY

GAVE#

Due Date    : 04/26/06     Cust/Comp Resp: CUST

Resolution Dte : 04/26/06

Resolution  : R=30860 SERVICE ON

JH/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 51

Service Order Detail Report

Subdivision : 00626        Route         : 2               Service Order # : 041183

Account #   : 006260020954 Customer Name : EHRHARDT        , LINDA

Address     : 11807        TUPELO               DR         Phone #         : (727) 505-8553

Entry Date  : 04/24/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READ

LOCK AND TAG FOR NEW APPLY

GAVE#

Due Date    : 05/01/06     Cust/Comp Resp: CUST

Resolution Dte : 05/01/06

Resolution  : R=88010  F/C=10

LEFT ON FOR NEW CUSTOMER

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 041203

Account #   : 006260010922 Customer Name : SCOTT           , DAVID

Address     : 11832        BOYNTON              LN         Phone #         : (727) 267-1043

Entry Date  : 04/24/06     Serv Ord Type : 22              Operator        :

Comments    : PLEASE TEMP - OFF FOR SEASONAL CUST F 5/1/6

LOCK FOR SEASONAL CUST

CUST IS AWARE OF ALL PROCEDURES

Due Date    : 05/01/06     Cust/Comp Resp: CUST

Resolution Dte : 05/01/06

Resolution  : R=422250

LOCKED OFF FOR SEASONAL

JA/KIM

10/3/06 TURN ON FOR SEASONAL CUSTOMER. CHECK OFFICE FOR WAIVER BEFORE

TURNING ON SERVICES.

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 52

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 041304

Account #   : 006260012383 Customer Name : KOSHEWA         , WILLIAM

Address     : 11707        BOYNTON              LN         Phone #         : (813) 653-1079

Entry Date  : 04/24/06     Serv Ord Type : 22              Operator        :

Comments    : SEASONAL CUSTOMER TEMP OFF AND LOCK

Due Date    : 04/27/06     Cust/Comp Resp: CUST

Resolution Dte : 04/27/06

Resolution  : R=145460   LOCKED OFF FOR SEASONAL

KA/KIM

====================================================================================================

Subdivision : 00637        Route         : 637             Service Order # : 041667

Account #   : 006370011543 Customer Name : WOJCIK          , RONALD

Address     : 153          COLONIAL             BLV        Phone #         : (215) 946-0806

Entry Date  : 04/25/06     Serv Ord Type : 13              Operator        :

Comments    : READ AND TURN ON FOR NEW

*** AM TURN ON ***

SIGNATURE:_______________________________________________________.

Due Date    : 04/26/06     Cust/Comp Resp: CUST

Resolution Dte : 04/26/06

Resolution  : BR=74860

SH/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 53

Service Order Detail Report

Subdivision : 00612        Route         : 612             Service Order # : 041731

Account #   : 006120010601 Customer Name : GRANT           , TRINA      D

Address     : 402          SUNSET               DR         Phone #         : (407) 402-2004

Entry Date  : 04/25/06     Serv Ord Type : 12              Operator        :

Comments    : READ, TURN OFF, LOCK, TAG

Due Date    : 05/01/06     Cust/Comp Resp: CUST

Resolution Dte : 05/01/06

Resolution  : R=234450  LEFT ON FOR NEW

KC/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 041747

Account #   : 006260011182 Customer Name : LYKINS          , ROBERTA

Address     : 12026        BOYNTON              LN         Phone #         : (727) 379-9100

Entry Date  : 04/25/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READING LEAVE ON FOR NEW CUSTOMER.

GAVE CONF# 41747

Due Date    : 04/28/06     Cust/Comp Resp: CUST

Resolution Dte : 04/28/06

Resolution  : R=102150  F/C=30

LEFT ON

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 54

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 041780

Account #   : 006260010735 Customer Name : KOEPSEL         , ALAN       A

Address     : 12007        BOYNTON              LN         Phone #         : (715) 479-6959

Entry Date  : 04/25/06     Serv Ord Type : 22              Operator        :

Comments    : PLEASE OBTAIN READING TEMP LOCK OFF FOR SEASONAL CUSTOMER.

CUSTOMER IS AWARE OF TURN ON POLICY.

GAVE CONF# 41780

Due Date    : 05/01/06     Cust/Comp Resp: CUST

Resolution Dte : 05/01/06

Resolution  : R=180540  LOCKED OFF FOR SEASONAL CUSTOMER.

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 041789

Account #   : 006260011491 Customer Name : MULHALL         , WILLIAM

Address     : 11644        BOYNTON              LN         Phone #         : (   ) 856-4911

Entry Date  : 04/25/06     Serv Ord Type : 12              Operator        :

Comments    : OBTAIN FINAL READ LEAVE ON FOR NEW

Due Date    : 04/26/06     Cust/Comp Resp: CUST

Resolution Dte : 04/26/06

Resolution  : R=142740  F/C=580

LEFT ON FOR NEW

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 55

Service Order Detail Report

Subdivision : 00629        Route         : 629             Service Order # : 041876

Account #   : 006290000080 Customer Name : PANDA CONSTRUCT ,

Address     : 5032         COUGAR               LOO        Phone #         : (727) 815-9621

Entry Date  : 04/25/06     Serv Ord Type : 8               Operator        : 629

Comments    : PLEASE INSTALL A NEW 5/8" WATER TAP ON LOT 7. PROVIDE ALL METER INFO

INCLUDING THE MAKE, READING AND LOCATION OF METER.

PLEASE SEND THE ADDRESS (HOUSE NUMBERS) IF THEY HAVE THIS INFO POSTED.

IF UNABLE TO COMPLETE WITHIN 5 WORKING DAYS PLEASE ADVISE. THANKS,LORETT

Due Date    : 05/02/06     Cust/Comp Resp: CUST

Resolution Dte : 05/02/06

Resolution  : LOT 7 METER INSTALLED. METER #30131977; BADGER 5/8".READING 10.

LOCATION: LEFT BY ROAD SIDE. ??:LA

05/15/06 - NO HOUSE NUMBER, YET, FOR LOT 7. SH:LA

====================================================================================================

Subdivision : 00602        Route         : 602             Service Order # : 041993

Account #   : 006022010069 Customer Name : VARGAS          , ADA        M

Address     : 202          GERRY                DR         Phone #         : (321) 202-7552

Entry Date  : 04/25/06     Serv Ord Type : 20              Operator        :

Comments    : NSF CHK#3082 4/16/6 $50.00 (ACCOUNT CLOSED)

BANK SERV FEE        30.00

TOTAL AMNT DUE      $80.00 PAYABLE BY CASHIER CHK OR M\O ONLY

TO AVOID INTERRUPTION OF SERV AND A $15 RECONNECT FEE

5 DAY LTTR MAILED 4/26

Due Date    : 05/03/06     Cust/Comp Resp: CUST

Resolution Dte : 05/03/06

Resolution  : CUSTOMER PAID NSF. NOTHING FURTHER

/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 56

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 042158

Account #   : 006260070491 Customer Name : WHITE           , WILLIAM    C

Address     : 12209        PUTTER GREEN         CT         Phone #         : (727) 843-0620

Entry Date  : 04/25/06     Serv Ord Type : 22              Operator        :

Comments    : TEMP T/OFF AND LOCK CUST IS AWAY

CUST IS AWARE OF S/C FOR TURN ON

***MAIL WAIVER TO CANADA ADDRESS FOR TURN ON***

Due Date    : 04/26/06     Cust/Comp Resp: CUST

Resolution Dte : 04/26/06

Resolution  : R=9810   LOCKED OFF AND TAGGED

JA/KIM

5/3/06 MAILED WAIVER TO THE CUSTOMER.

KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 042448

Account #   : 006260010773 Customer Name : SHUTT           , BOB

Address     : 12011        BOYNTON              LN         Phone #         : (727) 379-9537

Entry Date  : 04/26/06     Serv Ord Type : 29              Operator        :

Comments    : PER CUST STATED BROWN WTR PLEASE SEE WHAT CAN BE DONE

THANKS

Due Date    : 04/26/06     Cust/Comp Resp: CUST

Resolution Dte : 04/26/06

Resolution  : R=319230  NO ANSWER FROM CUSTOMER @ DOOR.

WATER CLEARED AT OUTSIDE SPIGOT

TAGGED DOOR WITH FINDINGS

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 57

Service Order Detail Report

Subdivision : 00623        Route         : 623             Service Order # : 042495

Account #   : 006233010977 Customer Name : CATES           , BILLY

Address     : 532          NORTHWESTERN         AVE        Phone #         : (407) 291-6187

Entry Date  : 04/26/06     Serv Ord Type : 25              Operator        :

Comments    : DEQL AMT OF BILL  $1774.33-CUSTOMER EXTENSION IS TO PAY BY THE END OF

PAYMENT TO  MAKE  $ 100.00 EACH  MONTH $100 & CURRENT BILL BY ITS DUE

BALANCE DELQ AMT; $1674.33 DATE-(PLAN DUE DATE IS; 10/31/07) TO AVOID

INTERRUPTION OF SERVICE & $15.00 RECONNECT FEE

SIGNAUTRE;__________________________________________________________

Due Date    : 05/01/06     Cust/Comp Resp: CUST

Resolution Dte : 05/01/06

Resolution  : ACCOUNT WILL BE MONITORED FOR PYTS AS PROMISED BY CUST

====================================================================================================

Subdivision : 00635        Route         : 635             Service Order # : 042525

Account #   : 006350001346 Customer Name : KEOGH           , TERRI      A

Address     : 7311     NW  44TH                 LN         Phone #         : (516) 656-3100

Entry Date  : 04/26/06     Serv Ord Type : 13              Operator        : GH

Comments    : READ AND TURN ON FOR NEW

FAXED WAIVER TO 516-656-9348

Due Date    : 04/27/06     Cust/Comp Resp: CUST

Resolution Dte : 04/27/06

Resolution  : MR=384640

TURNED ON SERVICE JY/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 58

Service Order Detail Report

Subdivision : 00612        Route         : 612             Service Order # : 042626

Account #   : 006120010424 Customer Name : REIGLE          , LISA

Address     : 208          FORREST              DR         Phone #         : (407) 221-5555

Entry Date  : 04/26/06     Serv Ord Type : 13              Operator        :

Comments    : READ-TURNON-WAIVER RECEIEVED***AM***:-)

Due Date    : 04/27/06     Cust/Comp Resp: CUST

Resolution Dte : 04/27/06

Resolution  : R=30860  TURNED ON FOR CUSTOMER.

JH/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 043173

Account #   : 006260011723 Customer Name : COLLINS         , DOMINIC

Address     : 11732        CARISSA              LN         Phone #         : (737) 207-0271

Entry Date  : 04/27/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READING AND LEAVE ON FOR NEW CUSTOMER.

GAVE CONF# 43173

Due Date    : 05/02/06     Cust/Comp Resp: CUST

Resolution Dte : 05/02/06

Resolution  : R=49620  F/C= 40

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 59

Service Order Detail Report

Subdivision : 00630        Route         : 1               Service Order # : 043437

Account #   : 006300303361 Customer Name : MORGAN          , RUSSELL

Address     : 5327     NW  76TH                 CT         Phone #         : (352) 795-2999

Entry Date  : 04/28/06     Serv Ord Type : 1               Operator        :

Comments    : PER CUST REQ REC'V EXTREMELY HIGH BILL, PLEASE CK FOR ALL TYPES OF LEAKS

AND MTR ACCURACY, CUST WAS BILL FOR 85,640 GAL ON 3/31/6 BILLING

PRIOR READ WAS 3/2/06 R=208960 3/31/6 R=294600 IF MTR WAS MISREAD THERE

BE AN ADJUSTMENT, THANKS PLEASE RE-READ

Due Date    : 05/01/06     Cust/Comp Resp: CUST

Resolution Dte : 05/01/06

Resolution  : READING 394540 NO LEAKS CURRENTLY REGISTERING. READING APPEAR CORRECT.

CUSTOMER HAS IRRIGATION SYSTEM AND A SWIMMING POOL. NOTE: FRONT LOWER

ELEVATION) SWALE HAS STANDING WATER. MAYBE OVER IRRIGATING.

DA/IC

====================================================================================================

Subdivision : 00620        Route         : 620             Service Order # : 043456

Account #   : 006200012402 Customer Name : DUGAN           , CHERYL

Address     : 511          KIRK                 AVE        Phone #         : (423) 754-4142

Entry Date  : 04/28/06     Serv Ord Type : 12              Operator        :

Comments    : TAKE FINAL READING, LEAVE ON FOR NEW

Due Date    : 05/01/06     Cust/Comp Resp: CUST

Resolution Dte : 05/01/06

Resolution  : FR=2498850

FC=410

JPL & PB/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 60

Service Order Detail Report

Subdivision : 00614        Route         : 614             Service Order # : 043502

Account #   : 006141010764 Customer Name : COOPER          , MARY       E

Address     : 2979         TRUMAN               ST         Phone #         : (407) 330-6550

Entry Date  : 04/28/06     Serv Ord Type : 20              Operator        :

Comments    : NSF CHK#322 4/18/06 $54.09

BANK SERV FEE        30.00

TOTAL AMNT DUE      $84.09 PAYABLE BY CASHIER CHK OR M\O ONLY

TO AVOID INTERRUPTION OF SERV AND A $15 RECONNECT FEE

5 DAY LTTR MAILED 5/1

Due Date    : 05/08/06     Cust/Comp Resp: CUST

Resolution Dte : 05/09/06

Resolution  : 5/9/06 CUSTOMER PAID NSF AMOUNT DUE. NO ADDITIONAL ACTION REQUIRED.

EC

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 043508

Account #   : 006260024351 Customer Name : CRUZ            , FERNANDO

Address     : 12011        LOBLOLLY PINE        DR         Phone #         : (727) 857-1368

Entry Date  : 04/28/06     Serv Ord Type : 20              Operator        :

Comments    : NSF CHK#2743 4/19/06 $40.71

BANK SERV FEE         25.00

TOTAL AMNT DUE       $65.71 PAYABLE BY CASHIER CHK OR M\O ONLY

TO AVOID INTERRUPTION OF SERV AND A $15 RECONNECT FEE

4 DAY LTTR MAILED 5/1

Due Date    : 05/08/06     Cust/Comp Resp: CUST

Resolution Dte : 05/08/06

Resolution  : 5/9/06 CUSTOMER PAID NO FURTHER ACTIONS TO BE TAKEN ON THIS ACCOUNT.

KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 61

Service Order Detail Report

Subdivision : 00602        Route         : 602             Service Order # : 043512

Account #   : 006020040701 Customer Name : ST JOHN         , JENNIFER

Address     : 661          LASALLE              DR         Phone #         : (407) 869-1944

Entry Date  : 04/28/06     Serv Ord Type : 20              Operator        :

Comments    : NSF CHK#3066 4/18/6 $39.96

BANK SERV FEE        25.00

TOTAL AMNT DUE      $64.96 PAYABLE BY CASHIER CHK OR M\O ONLY

TO AVOID INTERRUPTION OF SERV AND A $15 RECONNECT FEE

5 DAY LTTR MAILED 5/1

Due Date    : 05/08/06     Cust/Comp Resp: CUST

Resolution Dte : 05/08/06

Resolution  : CUSTOMER NOT PAID, TURNED OFF AND LOCKED

/IC

====================================================================================================

Subdivision : 00602        Route         : 602             Service Order # : 043533

Account #   : 006020034502 Customer Name : ABREU           , PABLO      A

Address     : 599          TULANE               DR         Phone #         : (407) 862-4742

Entry Date  : 04/28/06     Serv Ord Type : 10              Operator        :

Comments    : RE-READ PER CUSTOMER,

4/03/06 READ-49130

3/02/06 READ-4950

TAG DOOR WITH FINDINGS.

THANK YOU!

Due Date    : 05/01/06     Cust/Comp Resp: CUST

Resolution Dte : 05/01/06

Resolution  : READING 3540700 METER # IS 95351120

METER IS OK. SPOKE W/CUSTOMER. HE WILL PAY BILL

JP/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 62

Service Order Detail Report

Subdivision : 00614        Route         : 614             Service Order # : 043551

Account #   : 006140011611 Customer Name : DOVE            , R          F

Address     : 303          SATSUMA              DR         Phone #         : (   )    -

Entry Date  : 04/28/06     Serv Ord Type : 01              Operator        :

Comments    : PLEASE CK FOR LEAK CUST CALLED SAID HER BILL IS HIGH PLEASE INFORM CUST

OF FINDINGS

Due Date    : 05/01/06     Cust/Comp Resp: CUST

Resolution Dte : 05/01/06

Resolution  : 5/1/06  READ  461740  EVERYTHING LOOKS FINE. INFORMED CUSTOMER

KC/EC

====================================================================================================

Subdivision : 00602        Route         : 602             Service Order # : 043555

Account #   : 006020034492 Customer Name : RODRIGUEZ       , CARLOS

Address     : 593          TULANE               DR         Phone #         : (407) 862-0889

Entry Date  : 04/28/06     Serv Ord Type : 1               Operator        :

Comments    : PER CUST WANT A RR ON HER MOST RECENT BIL CALLED JEFF TO CALL CUST

@407-862-0889 I SPOKE W/CUST AND TOLD HER THAT JP CAME BACK W/RESULT

INDICATING NO LEAKS ON 4/20/06 RE-READ, PER JP WILL BE GOING OUT TO

CUST TO DISCUSS HER WTR BILL ISSUE

Due Date    : 04/28/06     Cust/Comp Resp: CUST

Resolution Dte : 04/28/06

Resolution  :  SPOKE W/CUSTOMER. CONSUMPTION IS WAY UP. SHE STATES ONLY IRRIGATING

TWICE A WEEK. WE WILL DO A METER TEST NEXT WEEK. NO LEAKS INDICATED

METER APPEARS TO BE OK.

READING 3126680

JP/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 63

Service Order Detail Report

Subdivision : 00626        Route         : 2               Service Order # : 043817

Account #   : 006260020312 Customer Name : MENTZ           , WARREN

Address     : 11711        ALDERWOOD            DR         Phone #         : (727) 379-9061

Entry Date  : 05/01/06     Serv Ord Type : 17              Operator        :

Comments    : LUKE BROTHER MOWING CONTRACTOR IS LEAK AT METER  -PLEASE CHECK AND

INFORM ARBORWOOD ASSOCIATION @ 727-856-5286  (JOANN)

PAGED TO JACK

Due Date    : 05/01/06     Cust/Comp Resp: CUST

Resolution Dte : 05/01/06

Resolution  : R=186550  LEAK BEFORE METER (REPAIRED)

JA/KIM

====================================================================================================

Subdivision : 00614        Route         : 614             Service Order # : 043869

Account #   : 006141010213 Customer Name : BOSTIC          , SHARON     J

Address     : 3032         TRUMAN               BLV        Phone #         : (407) 323-6500

Entry Date  : 05/01/06     Serv Ord Type : 18              Operator        : SAN

Comments    : TAG RESIDENCE TO CALL EITHER KIM OR KAREN S "URGENT"

Due Date    : 05/02/06     Cust/Comp Resp: CUST

Resolution Dte : 05/02/06

Resolution  : R=3083670  TAGGED TO CALL OFFICE.

KEV/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 64

Service Order Detail Report

Subdivision : 00620        Route         : 620             Service Order # : 044011

Account #   : 006200010641 Customer Name : LOPEZ           , HAROLD     S

Address     : 6213     W   LIVINGSTON           ST         Phone #         : (407) 445-8210

Entry Date  : 05/01/06     Serv Ord Type : 12              Operator        :

Comments    : TAKE FINAL READING, TURN OFF AND LOCK

Due Date    : 05/03/06     Cust/Comp Resp: CUST

Resolution Dte : 05/03/06

Resolution  : FR=359220

FC=5980

PB/LYN

====================================================================================================

Subdivision : 00602        Route         : 602             Service Order # : 044279

Account #   : 006020023788 Customer Name : RODRIGUEZ       , LEONARDO

Address     : 525          FORDHAM              AVE        Phone #         : (321) 422-8214

Entry Date  : 05/02/06     Serv Ord Type : 20              Operator        : 602

Comments    : THIS CUSTOMER WANTS INFORMATION ON AN IRRIGATION METER. PLEASE SEE IF

ANOTHER METER IS POSSIBLE FOR HIS AREA. I AM ATTACHING A COPY OF HIS

USAGE.  I HAVE NOT SPOKEN WITH CUSTOMER REGARDING CHARGES, ETC. AS I WAS

OUT WHEN HE CAME IN. HIS PHONE NUMBER IS: 321-422-8214. THANKS FROM

LORETTA

Due Date    : 05/08/06     Cust/Comp Resp: CUST

Resolution Dte : 05/02/06

Resolution  : THE DUE DATE SHOULD BE 05/08/06.LA

05/19/06 - THE MAIN ON FORDHAM DOES NOT HAVE THE CAPABILITY TO HANDLE

ANOTHER METER.  CHECKED THIS LAST WEEK AND HUNG A TAG. JEFF PINDER:LA

I DID NOT RECEIVE THIS RESOLUTION UNTIL HE BROUGHT IT IN ON THE MORNING

OF 05/22/06. LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 65

Service Order Detail Report

Subdivision : 00630        Route         : 1               Service Order # : 044372

Account #   : 006300303480 Customer Name : HERITAGE CUSTOM ,

Address     : 4979     NW  82ND                 CT         Phone #         : (352) 854-1233

Entry Date  : 05/02/06     Serv Ord Type : 8               Operator        :

Comments    : TAP APPLICATION REC'D 5/1/06- PLEASE INSTALL NEW 1" METER ON LOT 4,BLK 8

AT GOLDEN HILLS TURF & COUNTRY CLUB. ADVISE OFFICE IF UNABLE TO COMPLETE

BY 5/9/06. PROVIDE ALL METER INFO

THANK YOU.

Due Date    : 05/09/06     Cust/Comp Resp: CUST

Resolution Dte : 05/03/06

Resolution  : INSTALLED 1" BADGER MODEL 70 ON LOT 4

SN#29747107

READ-10

ML-RIGHT LINE

JY/ANN

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 044454

Account #   : 006260080550 Customer Name : McCAR HOMES     ,

Address     : 11216        GODWIT               CT         Phone #         : (813) 930-0908

Entry Date  : 05/02/06     Serv Ord Type : 8               Operator        : 626

Comments    : PLEASE PROVIDE ALL METER INFO INCLUDING THE MAKE AND LOCATION FOR NEW

WATER TAP FOR LOT 55 IN PARCEL 3 - B.

OF COURSE, THIS IS A 5/8".

ADVISE IF YOU CAN NOT COMPLETE THIS WITHIN THE FIVE WORKING DAYS.

THANKS, LORETTA

Due Date    : 05/08/06     Cust/Comp Resp: CUST

Resolution Dte : 05/03/06

Resolution  : METER #33072745; READING 10. JACK:LA  THE MAKE AND LOCATION OF METER

WAS NOT NOTED ON THE RESOLUTION. LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 66

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 044467

Account #   : 006260080050 Customer Name : COSTA HOMES INC ,

Address     : 11304        MOLLYMAWK            CT         Phone #         : (727) 842-2329

Entry Date  : 05/02/06     Serv Ord Type : 8               Operator        : 626

Comments    : PLEASE PROVIDE ALL METER INFO INCLUDING THE MAKE AND LOCATION FOR A NEW

5/8" WATER TAP FOR LOT 5 IN PARCEL 3 - B.

ADVISE IF YOU WILL BE UNABLE TO COMPLETE WITHIN FIVE WORKING DAYS.

Due Date    : 05/08/06     Cust/Comp Resp: CUST

Resolution Dte : 05/03/06

Resolution  : METER #33072747; READING 10. JACK:LA  THE MAKE AND THE LOCATION OF METER

WAS NOT NOTED. LA

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 044473

Account #   : 006260080730 Customer Name : COSTA HOMES INC ,

Address     : 11216        PARADISE POINT       WAY        Phone #         : (727) 842-2329

Entry Date  : 05/02/06     Serv Ord Type : 8               Operator        : 626

Comments    : PLEASE PROVIDE ALL METER INFO FOR NEW 5/8" WAS TAP FOR LOT 73 IN

PARCEL 3 - B. INCLUDE THE LOCATION AND MAKE OF METER.

ADVISE ME IF YOU WILL NOT BE ABLE TO COMPLETE WITHIN FIVE

WORKING DAYS. LORETTA

Due Date    : 05/08/06     Cust/Comp Resp: CUST

Resolution Dte : 05/03/06

Resolution  : METER #33072743; READING 10.  JACK:LA THE LOCATION AND THE MAKE OF THE

METER WAS NOT NOTED ON THE RESOLUTION. LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 67

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 044483

Account #   : 006260080740 Customer Name : COSTA HOMES INC ,

Address     : 11212        PARADISE POINT       WAY        Phone #         : (727) 842-2329

Entry Date  : 05/02/06     Serv Ord Type : 8               Operator        : 626

Comments    : PLEASE PROVIDE ALL INFO FOR A NEW 5/8" METER TAP FOR LOT 74 IN

PARCEL 3 - B.

INCLUDE THE LOCATION OF METER ALSO. AND PLEASE ADVISE IF UNABLE TO

COMPLETE WITHIN FIVE WORKING DAYS.

Due Date    : 05/08/06     Cust/Comp Resp: CUST

Resolution Dte : 05/03/06

Resolution  : METER #33072744; READING 10. JACK:LA  THE MAKE AND THE LOCATION OF THIS

METER WAS NOT NOTED ON THE RESOLUTION. LA

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 044484

Account #   : 006260081460 Customer Name : COSTA HOMES INC ,

Address     : 11351        MERGANSER            WAY        Phone #         : (727) 842-2329

Entry Date  : 05/02/06     Serv Ord Type : 8               Operator        : 626

Comments    : PROVIDE ALL THE INFO FOR A NEW 5/8" WATER TAP ON LOT 146, PARCEL 3 - B.

PLEASE INCLUDE THE MAKE AND LOCATION OF THIS METER.

ADVISE IF UNABLE TO

COMPLETE WITHIN FIVE WORKING DAYS.

Due Date    : 05/08/06     Cust/Comp Resp: CUST

Resolution Dte : 05/03/06

Resolution  : METER #33072746; READING 10. JACK:LA  THE LOCATION AND THE MAKE OF THE

METER WAS NOT NOTED ON THE RESOLUTION. LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 68

Service Order Detail Report

Subdivision : 00614        Route         : 614             Service Order # : 044693

Account #   : 006140011357 Customer Name : KLAVUHN  JR     , PETER      M

Address     : 304          TEMPLE               DR         Phone #         : (407) 330-3540

Entry Date  : 05/03/06     Serv Ord Type : 20              Operator        :

Comments    : S/OFF AMT  $25.53

S/OFF FEE  $15.00

TOTAL DUE  $40.53

PLEASE LOCK OFF AND TAG FOR PMT

Due Date    : 05/03/06     Cust/Comp Resp: CUST

Resolution Dte : 05/03/06

Resolution  : CUSTOMER PAID BEFORE CUT

IN FIELD

FQ/KIM

====================================================================================================

Subdivision : 00614        Route         : 614             Service Order # : 044694

Account #   : 006140011501 Customer Name : PRONKO          , PETER

Address     : 409          SATSUMA              DR         Phone #         : (407) 493-0368

Entry Date  : 05/03/06     Serv Ord Type : 14              Operator        :

Comments    : S/OFF AMT  $73.00

S/OFF FEE  $15.00

TOTAL DUE  $88.00

LOCK OFF AND TAG FOR PMT

Due Date    : 05/03/06     Cust/Comp Resp: CUST

Resolution Dte : 05/03/06

Resolution  : R=225460  LOCKED OFF AND TAGGED

FQ/KIM

5/4/06 RECEIVED PMT BY MAIL ON 5/3/06 NO WAIVER ON FILE THIS WAS AFTER

SERVICE HAS BEEN INTERRUPTED, CUSTOMER SIGNED WAIVER AND TURNED ON

CUSTOMER.

FQ/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 69

Service Order Detail Report

Subdivision : 00612        Route         : 612             Service Order # : 044771

Account #   : 006120010570 Customer Name : BEVERLY         , GARY

Address     : 404          PINE                 DR         Phone #         : (407) 322-8906

Entry Date  : 05/03/06     Serv Ord Type : 14              Operator        :

Comments    : S/OFF AMT  $44.32

S/OFF FEE  $15.00

TOTAL DUE  $59.32

LOCK OFF AND TAG FOR PMT

Due Date    : 05/03/06     Cust/Comp Resp: CUST

Resolution Dte : 05/03/06

Resolution  : R=320270   LOCKED OFF AND TAGGED

FQ/KIM

5/4/06 CUSTOMER PAID IN THE OFFICE WAIVER ALSO SIGNED. PAGED FOR TURN ON

SERVICE WAS RESTORED.

FQ/KIM

====================================================================================================

Subdivision : 00612        Route         : 612             Service Order # : 044772

Account #   : 006120011041 Customer Name : SALAMON         , MARIA

Address     : 200          FORREST              DR         Phone #         : (407) 321-2540

Entry Date  : 05/03/06     Serv Ord Type : 14              Operator        :

Comments    : S/OFF AMT  $16.08

S/OFF FEE  $15.00

TOTAL DUE  $31.08

LOCK OFF AND TAG FOR PMT

Due Date    : 05/03/06     Cust/Comp Resp: CUST

Resolution Dte : 05/03/06

Resolution  : R=592080   LOCKED OFF AND TAGGED FOR PMT

FQ/KIM

5/3/06 CONF#45036 $16.08 CUSTOMER PD COLLECT TAG AND TURN ON.

PAGED TO FRED.  - RESTORED SERVICES.

FQ/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 70

Service Order Detail Report

Subdivision : 00612        Route         : 612             Service Order # : 044773

Account #   : 006120011300 Customer Name : O'CONNOR        , EUGENE

Address     : 223          HOMEWOOD             DR         Phone #         : (407) 831-6190

Entry Date  : 05/03/06     Serv Ord Type : 14              Operator        :

Comments    : S/OFF AMT  $14.80

S/OFF FEE  $15.00

TOTAL DUE  $29.80

LOCK OFF AND TAG FOR PMT

Due Date    : 05/03/06     Cust/Comp Resp: CUST

Resolution Dte : 05/03/06

Resolution  : R=1593660     LOCKED OFF AND TAGGED

FQ/KIM

5/3/06 CUSTOMER PAID IN THE OFFICE. WAIVER FILED - PAGED TO TURN ON.

FW/KIM

====================================================================================================

Subdivision : 00612        Route         : 612             Service Order # : 044795

Account #   : 006120022092 Customer Name : KELLY           , DEBRA

Address     : 200          VINEWOOD             DR         Phone #         : (407) 417-1515

Entry Date  : 05/03/06     Serv Ord Type : 14              Operator        :

Comments    : S/OFF AMT  $18.66

S/OFF FEE  $15.00

TOTAL DUE  $34.66

LOCK OFF AND TAG FOR PMT

Due Date    : 05/03/06     Cust/Comp Resp: CUST

Resolution Dte : 05/03/06

Resolution  : R=161890   LOCKED OFF AND TAGGED

FQ/KIM

5/3/06 CONF#110335 P/UP PMT AND TURN ON CUSTOMER. PAGED TO FRED FOR

TURN ON. RESTORED.

FQ/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 71

Service Order Detail Report

Subdivision : 00614        Route         : 614             Service Order # : 044808

Account #   : 006140011547 Customer Name : CAPKO           , LISA

Address     : 406          TEMPLE               DR         Phone #         : (407) 322-4346

Entry Date  : 05/03/06     Serv Ord Type : 20              Operator        :

Comments    : S/OFF AMT  $172.11

S/OFF FEE  $ 15.00

TOTAL DUE  $187.11

LOCK OFF AND TAG FOR PMT.

Due Date    : 05/03/06     Cust/Comp Resp: CUST

Resolution Dte : 05/03/06

Resolution  : CUSTOMER PAID BEFORE CUT. IN FIELD

FQ/KIM

5/3/06 READ 4503740 ACCOUNT WAS CHARGED $10.00 FIELD COL. (EC)

====================================================================================================

Subdivision : 00604        Route         : 604             Service Order # : 044841

Account #   : 006040022092 Customer Name : ROSA            , LUZ

Address     : 1200         ORANOLE              RD         Phone #         : (321) 363-7355

Entry Date  : 05/03/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 39.60

RECONN 15.00

TOTAL DUE 54.60

Due Date    : 05/03/06     Cust/Comp Resp: CUST

Resolution Dte : 05/03/06

Resolution  : CUSTOMER PAID, TURNED ON

KC/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 72

Service Order Detail Report

Subdivision : 00626        Route         : 2               Service Order # : 044946

Account #   : 006260021051 Customer Name : GRASSO          , JOSEPH

Address     : 11820        LOBLOLLY PINE        DR         Phone #         : (727) 856-7046

Entry Date  : 05/03/06     Serv Ord Type : 26              Operator        :

Comments    : MAIN BREAK AT STREET

PAGED TO JACK A; 12:45PM

Due Date    : 05/03/06     Cust/Comp Resp: CUST

Resolution Dte : 05/03/06

Resolution  : R=2660  LEAK BEFORE METER REPAIRED

JA/KIM

====================================================================================================

Subdivision : 00618        Route         : 618             Service Order # : 044991

Account #   : 006181011094 Customer Name : RODRIGUEZ       , GABRIELA

Address     : 9430         SOMBRERO             AVE        Phone #         : (407) 592-6822

Entry Date  : 05/03/06     Serv Ord Type : 20              Operator        : 618

Comments    : PLEASE CHECK THE AREA FOR LEAKS AND ADVISE WITH THE FINDINGS BY TAGGING

THE DOOR. USEAGE IS VERY HIGH ON THIS LAST BILL. I AM ATTACHING A COPY

TO COMP.

Due Date    : 05/05/06     Cust/Comp Resp: CUST

Resolution Dte : 05/04/06

Resolution  : READING TODAY 710980/ NO LEAKS, HUNG TAG AND WATER SERVICE WAS ALREADY

ON. PB:LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 73

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 045014

Account #   : 006260011491 Customer Name : MULHALL         , WILLIAM

Address     : 11644        BOYNTON              LN         Phone #         : (   ) 856-4911

Entry Date  : 05/03/06     Serv Ord Type : 20              Operator        :

Comments    : NSF AUTODRAFT 5/1/6 $18.71 (ACCNT FROZEN)

BANK SERV FEE        25.00

TOTAL AMNT DUE      $43.71 PAYABLE BY CASHIER CHK OR M\O ONLY

TO AVOID INTERRUPTION OF SERV AND A $15 RECONNECT FEE

5 DAY LTTR MAILED 5/4

Due Date    : 05/11/06     Cust/Comp Resp: CUST

Resolution Dte : 05/11/06

Resolution  : 4/26/06 THIS ACCOUNT HAS BEEN FINALLED

WILL GO TO COLLECTIONS IF UNPAID.

KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 045116

Account #   : 006260012852 Customer Name : EDWARDS         , VINCENT    A

Address     : 11906        BAYONET              LN         Phone #         : (727) 856-8906

Entry Date  : 05/03/06     Serv Ord Type : 29              Operator        :

Comments    : PLEASE CK WTR FOR CUST STATED CLOUDY WTER AND CUST WOULD LIKE TO BE

PRESENT APPOINTMENT W/CUST FOR 5/5/06 ***AM APPT... THANKS

CALL CUT W/ETA

Due Date    : 05/05/06     Cust/Comp Resp: CUST

Resolution Dte : 05/05/06

Resolution  : R=264960

FLUSH HYDRANTS ALL CLEAR. SPOKE WITH CUSTOMER ALL OKAY

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 74

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 045120

Account #   : 006260012645 Customer Name : PATTERSON       , BOBBY

Address     : 11804        BAYONET              LN         Phone #         : (727) 856-0109

Entry Date  : 05/03/06     Serv Ord Type : 29              Operator        :

Comments    : CUSTOMER CALLED AND SAID WATER WAS CLOUDY AND MILKY LOOKING.

PAGED JACK A.

Due Date    : 05/03/06     Cust/Comp Resp: CUST

Resolution Dte : 05/03/06

Resolution  : R=217990

TALKED TO THE CUSTOMER - FLUSHED HYDRANTS.

CUSTOMER OKAY.

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 045192

Account #   : 006260021611 Customer Name : WALSH           , CARROL

Address     : 11537        ROSE TREE            DR         Phone #         : (813) 856-0224

Entry Date  : 05/04/06     Serv Ord Type : 2               Operator        :

Comments    : MR. CALLED DUE TO LEAK AT METER.

CHECK FOR LEAK AND REPAIR AS NECESSARY

Due Date    : 05/05/06     Cust/Comp Resp: CUST

Resolution Dte : 05/05/06

Resolution  : R=133600  REPAIRED LEAK BEFORE THE METER CHANGED OUT METER DUE TO

DIRT GETTING IN METER WHEN LEAK WAS FIXED.

INSTALLED NEW METER #33072748 R=10  OLD METER #18759870 R=133600

CONS ON OLD METER OF 1400 GALLONS WILL BE BILLED TO THE CUSTOMER ON NEXT

BILL.

METER LOCATION: RIGHT FRONT.

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 75

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 045198

Account #   : 006260010022 Customer Name : ONEILL          , MARY

Address     : 11926        CARISSA              LN         Phone #         : (813) 856-6331

Entry Date  : 05/04/06     Serv Ord Type : 29              Operator        :

Comments    : PER CUST CALLED SAID HER WTR IS MILKY FOR ABOUT 24 HOURS CUST IS HOME

TILL ABOUT 12:00 NOON

SEE WHAT CAN BE DONE

Due Date    : 05/04/06     Cust/Comp Resp: CUST

Resolution Dte : 05/01/06

Resolution  : R=4963   ALL HYDRANTS ALL CLEAR

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 045209

Account #   : 006260011805 Customer Name : PALADINO        , ANNE       M

Address     : 11724        CARISSA              LN         Phone #         : (727) 857-1928

Entry Date  : 05/04/06     Serv Ord Type : 29              Operator        :

Comments    : CLOUDY WATER

PAGED TO JACK A-HE SAID HE WILL FLUSH HYDRANT

Due Date    : 05/04/06     Cust/Comp Resp: CUST

Resolution Dte : 05/04/06

Resolution  : R=96260  FLUSHED HYDRANT ALL CLEAR

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 76

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 045210

Account #   : 006260010052 Customer Name : BRINDISE MRS    , WALLACE

Address     : 11924        CARISSA              LN         Phone #         : (813) 856-5482

Entry Date  : 05/04/06     Serv Ord Type : 29              Operator        :

Comments    : PER CUST CALLED SAID HER WTR IS MILKY FOR ABOUT 24 HOURS, THIS CUST IS

ALSO HOME SEE WHAT CAN BE DONE

PGED TO SHX

Due Date    : 05/04/06     Cust/Comp Resp: CUST

Resolution Dte : 05/04/06

Resolution  : R=148670  FLUSHED HYDRANT

ALL CLEAR

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 045247

Account #   : 006260080120 Customer Name : McCAR HOMES     ,

Address     : 11032        KISKADEE             CIR        Phone #         : (813) 930-0908

Entry Date  : 05/04/06     Serv Ord Type : 8               Operator        : 626

Comments    : PLEASE PROVIDE ALL METER INFO FOR A NEW 5/8" WATER TAP ON LOT 12 IN

PHASE 3 - B.

INCLUDE THE LOCATION AND THE MAKE OF THE METER.'

ADVISE US IF YOU WILL

BE UNABLE TO COMPLETE THIS WITHIN FIVE WORKING DAYS.

Due Date    : 05/12/06     Cust/Comp Resp: CUST

Resolution Dte : 05/11/06

Resolution  : METER #33072703. READING 10. LOCATION: LEFT FRONT. JA:LA

MAKE OF METER WAS NOT NOTED.LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 77

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 045267

Account #   : 006260080180 Customer Name : McCAR HOMES     ,

Address     : 11106        KISKADEE             CIR        Phone #         : (813) 930-0908

Entry Date  : 05/04/06     Serv Ord Type : 8               Operator        : 626

Comments    : PLEASE PROVIDE ALL METER INFO FOR A NEW 5/8" WATER TAP ON LOT 18 IN

PHASE 3-B.

INCLUDE THE LOCATION AND MAKE OF THE METER

ADVISE US IF YOU WILL BE UNABLE TO COMPLETE THIS WITHIN

FIVE WORKING DAYS.

Due Date    : 05/12/06     Cust/Comp Resp: CUST

Resolution Dte : 05/11/06

Resolution  : METER #33072701, READING 10. LOCATION: RIGHT FRONT. JA:LA THE MAKE

OF METER WAS NOT NOTED. LA

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 045278

Account #   : 006260080190 Customer Name : McCAR HOMES     ,

Address     : 11110        KISKADEE             CIR        Phone #         : (813) 930-0908

Entry Date  : 05/04/06     Serv Ord Type : 8               Operator        : 626

Comments    : PLEASE PROVIDE ALL METER INFO FOR A NEW 5/8" WATER TAP ON LOT 19 IN

PHASE 3 - B.

INCLUDE THE LOCATION AND THE MAKE OF THE METER

ADVISE US IF YOU WILL BE UNABLE TO COMPLETE THIS WITHIN

FIVE WORKING DAYS.

Due Date    : 05/12/06     Cust/Comp Resp: CUST

Resolution Dte : 05/10/06

Resolution  : READING 10 GALLONS; METER #33072820 A BADGER. LOCATION: FRONT LEFT.JA:LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 78

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 045284

Account #   : 006260010844 Customer Name : FLORIO          , ARNOLD

Address     : 11824        BOYNTON              LN         Phone #         : (727) 856-4559

Entry Date  : 05/04/06     Serv Ord Type : 29              Operator        :

Comments    : CUSTOMER'S IS VERY CLOUDY AND MILKY IN COLOR.

PAGED JACK

Due Date    : 05/04/06     Cust/Comp Resp: CUST

Resolution Dte : 05/04/06

Resolution  : R=249270  FLUSHED HYDRANTS ALL CLEAR

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 045296

Account #   : 006260080430 Customer Name : McCAR HOMES     ,

Address     : 11145        KISKADEE             CIR        Phone #         : (813) 930-0908

Entry Date  : 05/04/06     Serv Ord Type : 8               Operator        : 626

Comments    : PROVIDE ALL METER INFO FOR NEW 5/8" WATER TAP ON LOT 43, PARCEL 3-B.

INCLUDE THE LOCATION AND THE MAKE OF THIS METER,PLEASE

ADVISE US

IF UNABLE TO COMPLETE WITHIN FIVE WORKING DAYS.

Due Date    : 05/12/06     Cust/Comp Resp: CUST

Resolution Dte : 05/10/06

Resolution  : METER #33072818, MAKE IS A BADGER WITH A READING OF 10. LOCATION:

RIGHT FRONT. JA:LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 79

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 045299

Account #   : 006260080440 Customer Name : McCAR HOMES     ,

Address     : 11139        KISKADEE             CIR        Phone #         : (813) 930-0908

Entry Date  : 05/04/06     Serv Ord Type : 8               Operator        : 626

Comments    : PLEASE PROVIDE ALL THE METER INFO INCLUDING THE LOCATION AND MAKE OF

METER FOR A NEW 5/8" WATER TAP ON LOT 44 IN PHASE 3-B.

ADVISE IF UNABLE TO COMPLETE WITHIN FIVE WORKING DAYS.

Due Date    : 05/12/06     Cust/Comp Resp: CUST

Resolution Dte : 05/10/06

Resolution  : BADGER METER #33072819; READING 10. LOCATION: LEFT FRONT.JA:LA

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 045303

Account #   : 006260080660 Customer Name : McCAR HOMES     ,

Address     : 11205        PARADISE POINTE      WAY        Phone #         : (813) 930-0908

Entry Date  : 05/04/06     Serv Ord Type : 8               Operator        : 626

Comments    : PLEASE PROVIDE ALL THE METER INFO FOR A NEW 5/8" WATER TAP FOR LOT 66

IN PHASE 3-B.

ADVISE IF UNABLE TO COMPLETE WITHIN FIVE WORKING DAYS.

ALSO, INCLUDE THE

LOCATION AND THE MAKE OF THE METER.

Due Date    : 05/12/06     Cust/Comp Resp: CUST

Resolution Dte : 05/10/06

Resolution  : BADGER METER #33072816; READING 10. LOCATION: LEFT FRONT. JA:LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 80

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 045308

Account #   : 006260080670 Customer Name : McCAR HOMES     ,

Address     : 11201        PARADISE POINTE      WAY        Phone #         : (813) 930-0908

Entry Date  : 05/04/06     Serv Ord Type : 8               Operator        : 626

Comments    : PLEASE INSTALL A NEW 5/8" WATER TAP ON LOT 67 IN PARCEL 3 - B.

PROVIDE ALL THE METER INFO - INCLUDING THE LOCATION OF THE METER AND

THE MAKE OF THIS METER.

ADVISE IF

UNABLE TO COMPLETE WITHIN FIVE WORKING DAYS.

Due Date    : 05/12/06     Cust/Comp Resp: CUST

Resolution Dte : 05/10/06

Resolution  : BADGER METER NUMBER 33072815, READING 10. LOCATION: RIGHT FRONT.JA:LA

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 045313

Account #   : 006260080840 Customer Name : McCAR HOMES     ,

Address     : 11053        PARADISE POINTE      WAY        Phone #         : (813) 930-0908

Entry Date  : 05/04/06     Serv Ord Type : 8               Operator        : 626

Comments    : PLEASE PROVIDE ALL THE METER INFO FOR A NEW 5/8" WATER TAP ON LOT 84

IN PHASE 3-B.

INCLUDE THE LOCATION OF THE METER AND THE MAKE

ADIVSE US

IF UNABLE TO COMPLETE WITHIN FIVE WORKING DAYS.

Due Date    : 05/12/06     Cust/Comp Resp: CUST

Resolution Dte : 05/10/06

Resolution  : BADGER METER #33072817, READING 10. LOCATION: WAS NOT NOTED ON THE

RESOLUTION. JA:LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 81

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 045464

Account #   : 006260080150 Customer Name : McCAR HOMES     ,

Address     : 11050        KISKADEE             CIR        Phone #         : (813) 930-0908

Entry Date  : 05/04/06     Serv Ord Type : 8               Operator        : 626

Comments    : PLEASE INSTALL A NEW 5/8" WATER TAP ON LOT 15 IN PARCEL 3 - B.

PROVIDE ALL THE METER INFO, TO INCLUDE THE LOCATION AND THE MAKE OF THE

METER.

ADVISE US IF WE WILL NOT

BE ABLE TO COMPLETE WITHIN FIVE WORKING DAYS.

Due Date    : 05/12/06     Cust/Comp Resp: CUST

Resolution Dte : 05/11/06

Resolution  : METER NUMBER IS 33072702, READING 10. LOCATION: LEFT FRONT.JA:LA

THE MAKE OF METER WAS NOT NOTED. LA

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 045476

Account #   : 006260021472 Customer Name : MOUNTZ          , JAMES      J

Address     : 11618        WHITE ASH            DR         Phone #         : (727) 856-9633

Entry Date  : 05/04/06     Serv Ord Type : 17              Operator        :

Comments    : PLEASE OBTAIN READING AND CHECK FOR LEAK ON OURSIDE OF METER IN BOX.

INFORM CUSTOMER OF FINDINGS.

JACK AWARE

Due Date    : 05/05/06     Cust/Comp Resp: CUST

Resolution Dte : 05/05/06

Resolution  : R=64910  LEAK AFTER THE METER, WILL NEED TO ADJUST

REPAIRED.

JA/KIM

5/5/06 WILL REVIEW ACCOUNT IF ADJUSTMENT IS NEEDED USAGE IS NOT OVER

THE CUSTOMER'S AVERAGE FOR CURRENT BILLING GOING OUT.

KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 82

Service Order Detail Report

Subdivision : 00626        Route         : 2               Service Order # : 045478

Account #   : 006260023762 Customer Name : STERRITT        , GERALD

Address     : 11532        HOLLY ANN            DR         Phone #         : (727) 856-9055

Entry Date  : 05/04/06     Serv Ord Type : 17              Operator        :

Comments    : 4/26/06 CUSTOMER CALLED THE ANSWERING SERVICE AT APPROX. 9:02PM DUE

TO OPEN VALVE LEAKING WATER SINCE A.M.

PAGED TO ONCALL

PLEASE RESOLVE

Due Date    : 05/05/06     Cust/Comp Resp: CUST

Resolution Dte : 05/05/06

Resolution  : OPERATOR SHUT DOWN BLOW OFF.

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 045643

Account #   : 006260070461 Customer Name : CIOFU           , VASILE

Address     : 12200        PUTTER GREEN         CT         Phone #         : (727) 856-8772

Entry Date  : 05/05/06     Serv Ord Type : 20              Operator        :

Comments    : READ-TEMP TURN OFF-LOCK*****VACATION***

Due Date    : 05/12/06     Cust/Comp Resp: CUST

Resolution Dte : 05/12/06

Resolution  : CUSTOMER CALLED ON 5/11/06 TO CANCEL TEMP OFF. CUSTOMER WILL CALL BACK

AT AN LATER DATE.

KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 83

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 045692

Account #   : 006260012822 Customer Name : SENNOTT         , FRANK

Address     : 11840        BAYONET              LN         Phone #         : (310) 397-9775

Entry Date  : 05/05/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READ

LOCK AND TAG FOR NEW APPLY

GAVE#

Due Date    : 05/08/06     Cust/Comp Resp: CUST

Resolution Dte : 05/08/06

Resolution  : R=83030   LOCKED OFF AND TAGGED

F/C= 1110

SH/KIM

====================================================================================================

Subdivision : 00612        Route         : 612             Service Order # : 045701

Account #   : 006120022482 Customer Name : ROBINSON        , ROBERT

Address     : 216          SUNSET               DR         Phone #         : (407) 323-8668

Entry Date  : 05/05/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READING  LOCK OFF AND TAG FOR NEW

GAVE CONF # 45701

Due Date    : 05/15/06     Cust/Comp Resp: CUST

Resolution Dte : 05/15/06

Resolution  : R=1422070   F/C= 7740

LOCKED OFF AND TAGGED

JH/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 84

Service Order Detail Report

Subdivision : 00630        Route         : 2               Service Order # : 045812

Account #   : 006300303490 Customer Name : TRIPLE CROWN HO ,

Address     : 4575     NW  82ND                 CT         Phone #         : (352) 671-4677

Entry Date  : 05/05/06     Serv Ord Type : 8               Operator        :

Comments    : TAP APPLICATION REC'D 5/4/06-PLEASE INSTALLL NEW 1" METER ON LOT 6,

BLK D,BRYAN WOODS. ADVISE OFFICE IF UNABLE TO COMPLETE BY 5/12/06.

PROVIDE ALL METER INFO.

THANK YOU.

Due Date    : 05/12/06     Cust/Comp Resp: CUST

Resolution Dte : 05/23/06

Resolution  : INSTALLED 1" BADGER (RCDL 70)

SN#29747108

AWAITING STUBOUT

READ-10

DSA/ANN

====================================================================================================

Subdivision : 00608        Route         : 608             Service Order # : 046017

Account #   : 006080010244 Customer Name : TERWILLIGER     , BRIAN      E

Address     : 110          LAKE MINNIE          DR         Phone #         : (407) 321-0778

Entry Date  : 05/08/06     Serv Ord Type : 28              Operator        :

Comments    : MR. CALLED DUE TO VERY LOW PRESSURE

PLEASE CHECK PRESSURE AND

TAG DOOR WITH RESULTS

Due Date    : 05/09/06     Cust/Comp Resp: CUST

Resolution Dte : 05/09/06

Resolution  : READ 159590

60-65 PSI

TAGGED

JH/JS

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 85

Service Order Detail Report

Subdivision : 00604        Route         : 604             Service Order # : 046149

Account #   : 006040010841 Customer Name : RIGLING         , WALTER     S

Address     : 516          OAK                  LN         Phone #         : (407) 339-5994

Entry Date  : 05/08/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READ

LEAVE ON FOR NEW APPLY

Due Date    : 05/09/06     Cust/Comp Resp: CUST

Resolution Dte : 05/09/06

Resolution  : READING 1350440 CONS 23360

FRED/IC

CUSTOMER CALLED TODAY AND WAS TOLD HER METER IS OK AND NO LEAKS.

/IC

====================================================================================================

Subdivision : 00629        Route         :                 Service Order # : 046432

Account #   : 006290000000 Customer Name :                 ,

Address     :                                              Phone #         : (   )    -

Entry Date  : 05/08/06     Serv Ord Type : 20              Operator        : 629

Comments    : BETH WITH PANDA CONSTRUCTION CALLED ASKING IF WE CAN PROVIDE SERVICE

TO 5028 COUGAR LOOP. SHE SAYS IT IS LOT 8. PLEASE ADVISE - HER PHONE

NUMBER IS: 727-815-9621 EXT. 1.

ALSO, IS THERE A HOUSE NUMBER, YET, FOR LOT 7?

THANK YOU VERY MUCH!!!  LORETTA-FAX-407-869-6961

Due Date    : 05/15/06     Cust/Comp Resp: CUST

Resolution Dte : 05/15/06

Resolution  : YES, WE CAN GIVE WATER TO LOT 8. CALLED BETH AT PANADA CONSTRUCTION,

727-815-9621, EXT. 1. STEVE HABERY:LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 86

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 046544

Account #   : 006260013233 Customer Name : KOVARIK         , FRANK

Address     : 11829        BAYONET              LN         Phone #         : (727) 857-1295

Entry Date  : 05/09/06     Serv Ord Type : 22              Operator        :

Comments    : READ AND LOCK OFF FOR TEMP VACATION

Due Date    : 05/22/06     Cust/Comp Resp: CUST

Resolution Dte : 05/22/06

Resolution  : R=302300  LOCKED OFF FOR SEASONAL CUSTOMER.

JA/KIM

====================================================================================================

Subdivision : 00614        Route         : 614             Service Order # : 046645

Account #   : 006140011375 Customer Name : MARKS           , WALTER     C

Address     : 400          TEMPLE               DR         Phone #         : (407) 322-1725

Entry Date  : 05/09/06     Serv Ord Type : 17              Operator        :

Comments    : CUSTOMER CALLED DUE TO MAJOR LEAK INSIDE HOME. CAN'T SHUT OFF WATER

VALVE.

EMERGENCY - PAGED TO JOHN

Due Date    : 05/09/06     Cust/Comp Resp: CUST

Resolution Dte : 05/09/06

Resolution  : R=662860   PLUMBER SHUT OFF WATER FOR THE CUSTOMER

JH/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 87

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 046744

Account #   : 006260080540 Customer Name : McCAR HOMES     ,

Address     : 11221        GODWIT               CT         Phone #         : (813) 930-0908

Entry Date  : 05/09/06     Serv Ord Type : 8               Operator        : 626

Comments    : PLEASE PROVIDE ALL THE METER INFO FOR A NEW 5/8" WATER TAP ON LOT 54

IN PARCEL 3 - B.       INCLUDE THE MAKE OF THE METER AND THE LOCATION

OF THIS METER.

ADVISE THIS OFFICE IF UNABLE TO COMPLETE WITHIN FIVE WORKING DAYS.

Due Date    : 05/16/06     Cust/Comp Resp: CUST

Resolution Dte : 05/11/06

Resolution  : THE METER NUMBER IS: 33072704, READING 10.LOCATION: LEFT FRONT.JA:LA

THE MAKE OF METER WAS NOT NOTED. LA

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 047036

Account #   : 006260070401 Customer Name : PURPURA         , PETER      P

Address     : 11447        GOLF ROUND           DR         Phone #         : (727) 856-7446

Entry Date  : 05/10/06     Serv Ord Type : 20              Operator        :

Comments    : CUSTOMER SAYS WATER IS WHITE AND WHEN OUR FIELD TECH CAME OUT HE TOLD

HIM IT WAS HIS WATER SOFTNER. HE CALLED THE WATER SOFTNER COMPANY THEY

CAME OUT CHECKED IT AND SAID THERE WAS NOTHING WRONG WITH HIS WATER

SOFTNER AND BILLED HIM $65.00. CUSTOMER WANTS COMPANY TO PAY FOR THE

$65.00. HE HAS LEFT MESSAGES FOR RICK RETZ AND NO ANSWER. CALL CUSTOMER

Due Date    : 05/11/06     Cust/Comp Resp: CUST

Resolution Dte : 05/11/06

Resolution  : WENTR OUT TO CHECK HIS WATER - WATER THAT PASSES THROUGH THE WATER

SOFTENER IS MILKY. WATER COMING INTO THE HOME IS CLEAR. SHOWED THE

SAMPLES TO THE CUSTOMER. HE SAID THE DAY BEFORE THE SOFTERER COMPANY

CAME AND DID SOME WORK ON HIS UNIT. AT NO TIME DID I SAY FOR THE

CUSTOMER TO CALL THE SOFTENER COMPANY.

RICK WILL CALL THE CUSTOMER.

SH/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 88

Service Order Detail Report

Subdivision : 00602        Route         : 602             Service Order # : 047121

Account #   : 006020041086 Customer Name : VILORIA         , MAGALY     B

Address     : 401          WEATHERSFIELD        AVE        Phone #         : (407) 927-1877

Entry Date  : 05/10/06     Serv Ord Type : 10              Operator        :

Comments    : HAD JEFF P RE-READ METER BECAUSE OF HIGH CONSUMPTION. (103960 GALLONS)

Due Date    : 05/10/06     Cust/Comp Resp: CUST

Resolution Dte : 05/10/06

Resolution  : READING FROM JEFF, 586710. JEFF OBSERVED THAT HOUSE IS BEING REMODELED

AND POOL REFURBISHED. A HOSE WAS FOUND STRETCHED OUT LAYING NEXT TO POOL

NO ONE HOME AT TIME. NO LEAKS WERE FOUND AT METER.

JP/IC

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 047494

Account #   : 006260020183 Customer Name : CAIN SR         , DAVID           R

Address     : 11507        SCOTCH PINE          DR         Phone #         : (727) 862-0209

Entry Date  : 05/11/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READ

LEAVE ON FOR NEW APPLY

Due Date    : 05/12/06     Cust/Comp Resp: CUST

Resolution Dte : 05/12/06

Resolution  : R=89530   F/C=400

LEFT ON FOR NEW

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 89

Service Order Detail Report

Subdivision : 00614        Route         : 614             Service Order # : 047805

Account #   : 006141020671 Customer Name : WARD            , JOYCE

Address     : 311          IDYLLWILDE           DR         Phone #         : (407) 322-8180

Entry Date  : 05/11/06     Serv Ord Type : 19              Operator        :

Comments    : PLEASE CALL CUSTOMER TO SCHEDULE A METER - CALL CUSTOMER BEFORE

GOING OUT.

JOHN IS AWARE.

Due Date    : 05/12/06     Cust/Comp Resp: CUST

Resolution Dte : 05/12/06

Resolution  : 5/12/06 CHECKED METER.METER WORKING FINE NO LEAKS INDICATED AS METER

TESTED METER FOR ACCURACY ON HIGH, MEDIUM AND LOW FLOW TESTS. HIGH

FLOW TEST @ 99% ACCURACY START READ  216570  STOP READ  216580

MED FLOW 100% ACCURACY   START READ  216580  STOP READ  216590

LOW FLOW 100% ACCURACY   START READ  216590  STOP READ  216600

COPY OF S/O FILED WITH METER TEST. NO TEST FORM WAS COMPLETED.

JM/EC

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 047845

Account #   : 006260080990 Customer Name : COSTA HOMES INC ,

Address     : 11131        MERGANSER            WAY        Phone #         : (727) 842-2329

Entry Date  : 05/11/06     Serv Ord Type : 8               Operator        : 626

Comments    : PLEASE INSTALL NEW 5/8" WATER TAP ON LOT 99 IN PARCEL 3 - B.

INCLUDE THE LOCATION AND THE MAKE OF THE METER.

PLEASE FAX RESOLUTION TO OPERATIONS: 407-869-6961

ADVISE IF UNABLE TO COMPLETE WITHIN FIVE

WORKING DAYS.

Due Date    : 06/01/06     Cust/Comp Resp: CUST

Resolution Dte : 05/26/06

Resolution  : RESENT THIS TO THE FIELD, TODAY. I HAVE CHANGED THE DUE DATE TO:

06/01/06  FROM:  05/19/06. LA

05/26/06 - SENT THIS SERVICE ORDER BACK TO THE FIELD ASKING FOR UPDATE.L

05/11/06 - METER WAS INSTALLED ON THIS DATE, HOWEVER, I DID NOT RECEIVE

THE FAXED INFO UNTIL 05/31/06 WHEN I ASK AGAIN FOR UPDATE. A 5/8" BADGER

WITH THE S/N 33072705 WAS INSTALLED ON THE FRONT RIGHT. READING 10.JA:LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 90

Service Order Detail Report

Subdivision : 00635        Route         : 635             Service Order # : 047973

Account #   : 006350000049 Customer Name : MORRISON        , JOAN       D

Address     : 7274     NW  44TH                 LN         Phone #         : (352) 369-9638

Entry Date  : 05/12/06     Serv Ord Type : 17              Operator        :

Comments    : 5/6/06 CUSTOMER CALLED THE ANSWERING SERVICE @ APPROX  11:23AM DUE TO

WATER @ THE MAIN SHUT OFF SWITCH

PAGED TO ONCALL

PLEASE RESOLVE

Due Date    : 05/12/06     Cust/Comp Resp: CUST

Resolution Dte : 05/12/06

Resolution  : AT RESIDENCE (7272 NW 44TH LN.) FOUND LEAK ON CUSTOMER'S PIPING SIDE OF

METER. INFORMED CUSTOMER IN RESIDENCE. READING 121780 FOR 7272 NW 44TH

LN. IT'S CUSTOMER'S/PROPERTY MANAGER RESPONSIBILITY.

DA/IC

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 047993

Account #   : 006260011433 Customer Name : PENNEY          , JOHN       C

Address     : 11828        CARISSA              LN         Phone #         : (727) 207-1392

Entry Date  : 05/12/06     Serv Ord Type : 22              Operator        :

Comments    : READ AND TEMP OF

W/ LOCK

Due Date    : 05/15/06     Cust/Comp Resp: CUST

Resolution Dte : 05/15/06

Resolution  : R=63510  LOCKED OFF FOR SEASONAL

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 91

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 048299

Account #   : 006260011282 Customer Name : SEFCIK          , DOLORES    L

Address     : 11844        CARISSA              LN         Phone #         : (727) 857-0521

Entry Date  : 05/15/06     Serv Ord Type : 22              Operator        :

Comments    : TEMP OFF AND LOCK FOR SEASONAL CUSTOMER.

Due Date    : 10/03/06     Cust/Comp Resp: CUST

Resolution Dte : 05/23/06

Resolution  : R=54470  LOCKED OFF FOR SEASONAL CUSTOMER.

JA/KIM

TURN ON FOR RETURNING CUSTOMER ON 10-3-06

CUSTOMER WILL BE FAXING WAIVER FOR T/ON

====================================================================================================

Subdivision : 00629        Route         :                 Service Order # : 048415

Account #   : 006290000000 Customer Name :                 ,

Address     :                                              Phone #         : (   )    -

Entry Date  : 05/15/06     Serv Ord Type : 20              Operator        : 629

Comments    : HI STEVE: ASHLEY WITH PANDA CONSTRUCTION 727-815-9621, EXT. 1, JUST

CALLED AND THEY ARE NOW ASKING IF YOU CAN PROVIDE SEWER TO LOT 7 AND

LOT 8 ON COUGAR LOOP.

I THINK NOT BUT I DID NOT DISCUSS THIS WITH HER.

THANKS, AGAIN! OPERATIONS FAX: 407-869-6961.

Due Date    : 05/19/06     Cust/Comp Resp: CUST

Resolution Dte : 05/22/06

Resolution  : RESENT TO THE FIELD, STEVE, TODAY.

I CALLED AND TOLD THEM WE DON'T SUPPLY SEWER SERVICE. STEVE:LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 92

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 048441

Account #   : 006260080310 Customer Name : COSTA HOMES INC ,

Address     : 11224        KISKADEE             CIR        Phone #         : (727) 842-2329

Entry Date  : 05/15/06     Serv Ord Type : 8               Operator        : 626

Comments    : PROVIDE ALL INFO FOR NEW 5/8" WATER TAP FOR LOT 31 IN PHASE 3 - B.

PLEASE INCLUDE THE MAKE AND THE LOCATION OF THIS METER.

IF UNABLE TO COMPLETE WITHIN FIVE WORKING DAYS, PLEASE ADVISE THE

OFFICE.

Due Date    : 05/23/06     Cust/Comp Resp: CUST

Resolution Dte : 05/17/06

Resolution  : BADGER METER #33072704, READING 10. LOCATION: RIGHT. JACK ADKINS:LA

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 048444

Account #   : 006260022233 Customer Name : KREMPLER        , VIRGINIA

Address     : 11536        GOLDEN RAIN          DR         Phone #         : (727) 863-2129

Entry Date  : 05/15/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTIAN FINAL READ

LOCK AND TAG FOR NEW APPLY

GAVE#

Due Date    : 05/31/06     Cust/Comp Resp: CUST

Resolution Dte : 05/31/06

Resolution  : R=136260   F/C=1150

LEFT ON FOR NEW

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 93

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 048445

Account #   : 006260080350 Customer Name : COSTA HOMES INC ,

Address     : 11244        KISKADEE             CIR        Phone #         : (727) 842-2329

Entry Date  : 05/15/06     Serv Ord Type : 8               Operator        : 626

Comments    : PROVIDE ALL INFO FOR A NEW 5/8" WATER TAP ON LOT 35 IN PHASE 3 - B.

PLEASE INCLUDE MAKE OF METER AND THE LOCATION OF METER.

ADVISE THIS OFFICE IF

UNABLE TO COMPLETE WITHIN FIVE WORKING DAYS.

Due Date    : 05/23/06     Cust/Comp Resp: CUST

Resolution Dte : 05/17/06

Resolution  : BADGER METER #33072809, READING 10. LOCATION: RIGHT FRONT. JACK A.:LA

====================================================================================================

Subdivision : 00602        Route         : 602             Service Order # : 048555

Account #   : 006020040609 Customer Name : GARRETT         , CHRSTOPHER K

Address     : 662          LASALLE              DR         Phone #         : (407) 786-4128

Entry Date  : 05/15/06     Serv Ord Type : 20              Operator        :

Comments    : NSF CHK#3319 5/2/6 $108.03

BANK SERV FEE       30.00

TOTAL AMNT DUE     $138.03 PAYABLE BY CASHIER CHK OR M\O ONLY

TO AVOID INTERRUPTION OF SERV AND A $15 RECONNECT FEE

5 DAY LTTR MAILED 5/16

Due Date    : 05/23/06     Cust/Comp Resp: CUST

Resolution Dte : 05/23/06

Resolution  : CUSTOMER PAID ON 5/18/06 NOTHING FURTHER.

/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 94

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 048591

Account #   : 006260012331 Customer Name : SCARABINO       , FRANK

Address     : 11713        BOYNTON              LN         Phone #         : (727) 856-2973

Entry Date  : 05/15/06     Serv Ord Type : 20              Operator        :

Comments    : CUSTOMER SAYS SHUT OFF VALVE AT METER IS LEAKING. PLEASE CHECK AND

READ METER. IS IT ON CUSTOMER'S SIDE OR COMPANY'S?

Due Date    : 05/16/06     Cust/Comp Resp: CUST

Resolution Dte : 05/16/06

Resolution  : R=194560  REPAIRED PACKING NUT (LEAK)

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 048691

Account #   : 006260022792 Customer Name : MOSS            , RANDY

Address     : 11637        ROSE TREE            DR         Phone #         : (765) 453-2841

Entry Date  : 05/15/06     Serv Ord Type : 1               Operator        :

Comments    : CUSTOMER SAYS HE FIXED LEAKY TOILET MID MARCH. BILL STILL SHOWING HIGH

USAGE, AND KEEPS GOING UP.

TAG W/  READ AND ADVISE

Due Date    : 05/17/06     Cust/Comp Resp: CUST

Resolution Dte : 05/17/06

Resolution  : R=278440

LEAK AFTER METER ON CUSTOMER'S SIDE TOLD CUSTOMER ABOUT LEAK.

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 95

Service Order Detail Report

Subdivision : 00615        Route         : 5               Service Order # : 048794

Account #   : 006150002133 Customer Name : SANDBERG        , ARLEEN

Address     : 1931         LULLABY              DR         Phone #         : (727) 781-1945

Entry Date  : 05/16/06     Serv Ord Type : 13              Operator        :

Comments    : READ, PM, TURN ON-SIGN S.O.

SIGNATURE;___________________________________________

Due Date    : 05/17/06     Cust/Comp Resp: CUST

Resolution Dte : 05/17/06

Resolution  : MR=50810

SH/LYN

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 048972

Account #   : 006260011402 Customer Name : WARNER          , DIANE

Address     : 11832        CARISSA              LN         Phone #         : (847) 732-1945

Entry Date  : 05/16/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READING LOCK OFF AND TAG FOR NEW

GAVE CONF# 48972

NEW NAME: FRED AND JANET WARNER

Due Date    : 05/26/06     Cust/Comp Resp: CUST

Resolution Dte : 05/26/06

Resolution  : R=274870  F/C= 50

LEFT ON FOR NEW CUSTOMER.

KS/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 96

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 049424

Account #   : 006260012023 Customer Name : PALLONE         , JOHN       W

Address     : 11847        BOYNTON              LN         Phone #         : (727) 856-4868

Entry Date  : 05/17/06     Serv Ord Type : 43              Operator        :

Comments    : 5/12/06 CUSTOMER CALLED THE ANSWERING SERVICE APPROX @ 5:24PM DUE TO

NO WATER @ FAUCET BEHIND HOME.

PAGED TO ONCALL

PLEASE RESOLVE

Due Date    : 05/18/06     Cust/Comp Resp: CUST

Resolution Dte : 05/18/06

Resolution  : R=49510  CUSTOMER HAS WATER TO REST OF HOUSE. REFERRED HIM TO

POINT WEST CONDO ASSOCIATION FOR ADVISE.

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 049509

Account #   : 006260070251 Customer Name : BALDELLI        , HELEN

Address     : 11412        GOLF ROUND           DR         Phone #         : (727) 379-9362

Entry Date  : 05/17/06     Serv Ord Type : 01              Operator        :

Comments    : PLEASE CHECK METER, CUST INSISTED HER CONSUMPTION IS NOT RIGHT CUSTOMER

DEMANDS A METER READER TO INFORM HER OF FINDING, PLEAS VISIT CUSTOMER

AFTER 12PM

Due Date    : 05/18/06     Cust/Comp Resp: CUST

Resolution Dte : 05/18/06

Resolution  : R=49510  NO LEAKS METER NOT SPINNING WHEN OFF. METER WORKS CORRECTLY

TAGGED DOOR WITH FINDINGS.

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 97

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 049587

Account #   : 006260070051 Customer Name : WORTH           , MILTON

Address     : 11234        GOLF ROUND           DR         Phone #         : (727) 856-0390

Entry Date  : 05/17/06     Serv Ord Type : 29              Operator        :

Comments    : CLOUDY WATER, ALL DAY...PAGED JACK

Due Date    : 05/17/06     Cust/Comp Resp: CUST

Resolution Dte : 05/17/06

Resolution  : R=10860 WATER WAS CLEAR AT HOSE BIB.

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 049826

Account #   : 006260013383 Customer Name : FERRY           , MARJORIE   A

Address     : 11803        BAYONET              LN         Phone #         : (618) 274-0129

Entry Date  : 05/17/06     Serv Ord Type : 22              Operator        :

Comments    : PLEASE TEMP/OFF FOR SEASONAL CUST .... CUST IS AWARE OF VAC REC FEE

AND TO MAIL WAIVER 1 MONTH BEFORE T/ON WHEN CUST COMES BACK

Due Date    : 05/23/06     Cust/Comp Resp: CUST

Resolution Dte : 05/23/06

Resolution  : R=95160 LOCKED OFF AND TAGGED

FOR SEASONAL CUSTOMER.

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 98

Service Order Detail Report

Subdivision : 00610        Route         : 610             Service Order # : 049927

Account #   : 006100010651 Customer Name : LUNDQUIST       , ARIA       E

Address     : 424          CRYSTAL              DR         Phone #         : (322) 229-6

Entry Date  : 05/17/06     Serv Ord Type : 20              Operator        :

Comments    : READ AND LEAVE  ON PER NEW

R E LUNDQUIST JR FINALED THIS ACT**THE SON THIS CUSTOMER IS DECEASED

Due Date    : 05/18/06     Cust/Comp Resp: CUST

Resolution Dte : 05/18/06

Resolution  : CUSTOMER CALLED OFFICE NOT FINALLING.

KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 050163

Account #   : 006260013184 Customer Name : GOLDBERG        , MARIAN

Address     : 11843        BAYONET              LN         Phone #         : (727) 697-2173

Entry Date  : 05/18/06     Serv Ord Type : 20              Operator        :

Comments    : PLEASE OBTAIN FINAL READ AND LEAVE ON FOR NEW

Due Date    : 05/22/06     Cust/Comp Resp: CUST

Resolution Dte : 05/22/06

Resolution  : R=28850 RETAGGED NO ONE HOME - NO TAG LEFT.

TAGGED TO RESCHEDULE.

STILL LOCKED OFF

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 99

Service Order Detail Report

Subdivision : 00615        Route         : 3               Service Order # : 050295

Account #   : 006150007173 Customer Name : WEED            , JENNIFER   M

Address     : 1850         HOLIDAY              DR         Phone #         : (727) 919-4769

Entry Date  : 05/18/06     Serv Ord Type : 13              Operator        :

Comments    : READ AND TURN ON FOR NEW

***** PM TURN ON *****

SIGNED:____________________________________________________________.

Due Date    : 05/19/06     Cust/Comp Resp: CUST

Resolution Dte : 05/19/06

Resolution  : BR=55330

SH/LYN

====================================================================================================

Subdivision : 00602        Route         : 602             Service Order # : 050853

Account #   : 006020034235 Customer Name : GAVETT          , MARTHA     J

Address     : 558          NOTRE DAME           DR         Phone #         : (407) 682-3217

Entry Date  : 05/22/06     Serv Ord Type : 21              Operator        :

Comments    : PLEASE OBTAIN READING AND CHECK FOR LEAKS. CUSTOMER CALLED IN DUE TO

HIGH USAGE THAT SHE WAS BILLED. PLEASE TAG OR INFORM CUSOMER OF FINDINGS

5/3/06  R=140760

4/3/06  R=136410

Due Date    : 05/23/06     Cust/Comp Resp: CUST

Resolution Dte : 05/23/06

Resolution  : READING 141860 NO LEAKS. METER IS GOOD. LEFT TAG W/FINDINGS.

JE/PB/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 100

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 051127

Account #   : 006260070521 Customer Name : FISICHELOO      , LILLIAN

Address     : 12151        PUTTER GREEN         CT         Phone #         : (704) 821-3499

Entry Date  : 05/22/06     Serv Ord Type : 12              Operator        :

Comments    : FINAL READ AND LOCK

TAG FOR NEW TO APPLY

Due Date    : 05/23/06     Cust/Comp Resp: CUST

Resolution Dte : 05/23/06

Resolution  : R=570  F/C=0

LOCKED OFF AND TAGGED FOR NEW

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 051299

Account #   : 006260013184 Customer Name : GOLDBERG        , MARIAN

Address     : 11843        BAYONET              LN         Phone #         : (727) 697-2173

Entry Date  : 05/22/06     Serv Ord Type : 13              Operator        :

Comments    : PLEASE OBTAIN READING AND COLLECT TAG FOR NEW CUSTOMER

OFF DOOR.

Due Date    : 05/23/06     Cust/Comp Resp: CUST

Resolution Dte : 05/23/06

Resolution  : R=28850  ON COLLECTED TAG. METER KEPT SPINNING INDICATING WATER RUNNING

INSIDE. SHUT OFF VALVE AND TAGGED DOOR.

JA/KIM

5/23/06 CUSTOMER HOME PAGED TO JACK TO TURN ON CUSTOMER.

CUSTOMER IS ON FILED TAG.

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 101

Service Order Detail Report

Subdivision : 00637        Route         : 637             Service Order # : 051570

Account #   : 006370011575 Customer Name : DECKER          , BILL

Address     : 165          COLONIAL             BLV        Phone #         : (727) 784-2038

Entry Date  : 05/23/06     Serv Ord Type : 12              Operator        :

Comments    : TAKE FINAL READING, LEAVE ON FOR NEW

Due Date    : 05/24/06     Cust/Comp Resp: CUST

Resolution Dte : 05/24/06

Resolution  : READING 1060730 CONS 2520

SH/IC

====================================================================================================

Subdivision : 00637        Route         : 637             Service Order # : 051727

Account #   : 006370010282 Customer Name : MORGAN          , GEORGINA   R

Address     : 205          PHILADELPHIA         BLV        Phone #         : (813) 784-1961

Entry Date  : 05/23/06     Serv Ord Type : 10              Operator        :

Comments    : 4/16/06 134840

5/16/06 141760 HIGH CONS ON MVR

Due Date    : 05/23/06     Cust/Comp Resp: CUST

Resolution Dte : 05/23/06

Resolution  : READING 142280

KS/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 102

Service Order Detail Report

Subdivision : 00637        Route         : 637             Service Order # : 051732

Account #   : 006370010313 Customer Name : SWIFT           , PAUL       W

Address     : 217          PHILADELPHIA         BLV        Phone #         : (727) 773-8263

Entry Date  : 05/23/06     Serv Ord Type : 10              Operator        :

Comments    : 4/16/06 76630

5/16/6 76630 IS METER STUCK?

Due Date    : 05/23/06     Cust/Comp Resp: CUST

Resolution Dte : 05/23/06

Resolution  : READING 76630 METER NOT STUCK, HOME EMPTY.

KS/IC

====================================================================================================

Subdivision : 00637        Route         : 637             Service Order # : 051734

Account #   : 006370010561 Customer Name : YARNELL         , NINA       S

Address     : 244          PHILADELPHIA         BLV        Phone #         : (813) 784-5955

Entry Date  : 05/23/06     Serv Ord Type : 10              Operator        :

Comments    : 4/16/06 198570

5/16/06 209440 HIGH CONS ON MVR

Due Date    : 05/23/06     Cust/Comp Resp: CUST

Resolution Dte : 05/23/06

Resolution  : READING 209440

KS/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 103

Service Order Detail Report

Subdivision : 00637        Route         : 637             Service Order # : 051739

Account #   : 006370011151 Customer Name : PREVOST         , GEORGIA

Address     : 189          NEW ENGLAND          AVE        Phone #         : (813) 784-2411

Entry Date  : 05/23/06     Serv Ord Type : 10              Operator        :

Comments    : 4/17/06 747180

5/16/6 747500 HIGH CONS ON MVR

Due Date    : 05/23/06     Cust/Comp Resp: CUST

Resolution Dte : 05/23/06

Resolution  : READING 747500

KS/IC

====================================================================================================

Subdivision : 00637        Route         : 637             Service Order # : 051741

Account #   : 006370011901 Customer Name : WILE            , MICHAEL    R

Address     : 293          COLONIAL             BLV        Phone #         : (614) 264-3723

Entry Date  : 05/23/06     Serv Ord Type : 10              Operator        :

Comments    : 4/17/06 8870

5/16/06 8870 IS METER STUCK?

Due Date    : 05/23/06     Cust/Comp Resp: CUST

Resolution Dte : 05/23/06

Resolution  : READING 8870 NOT STUCK, HOME EMPTY

KS/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 104

Service Order Detail Report

Subdivision : 00637        Route         : 637             Service Order # : 051747

Account #   : 006370012025 Customer Name : OTTO            , WILLIAM    S

Address     : 336          COLONIAL             BLV        Phone #         : (727) 787-3834

Entry Date  : 05/23/06     Serv Ord Type : 10              Operator        :

Comments    : 4/17/6 905160

5/16/06 913380

HIGH CONS ON MVR

Due Date    : 05/23/06     Cust/Comp Resp: CUST

Resolution Dte : 05/23/06

Resolution  : READING 914350

KS/IC

====================================================================================================

Subdivision : 00637        Route         : 637             Service Order # : 051751

Account #   : 006370012752 Customer Name : DUWELL          , WILLIAM    J

Address     : 39           LEXINGTON            CT         Phone #         : (   )    -

Entry Date  : 05/23/06     Serv Ord Type : 10              Operator        :

Comments    : 4/18/06 554950

5/16/6 554950 IS THIS METER STUCK?

Due Date    : 05/23/06     Cust/Comp Resp: CUST

Resolution Dte : 05/23/06

Resolution  : READING 554950 HOME IS EMPTY. METER NOT STUCK

KS/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 105

Service Order Detail Report

Subdivision : 00637        Route         : 637             Service Order # : 051756

Account #   : 006370012904 Customer Name : HARRIS          , RICHARD    D

Address     : 20           HARBOR               WAY        Phone #         : (727) 784-1398

Entry Date  : 05/23/06     Serv Ord Type : 10              Operator        :

Comments    : 4/18/6 547150

5/16/06 552860 HIGH CONS ON MVR

Due Date    : 05/23/06     Cust/Comp Resp: CUST

Resolution Dte : 05/23/06

Resolution  : READING 553890

KS/IC

====================================================================================================

Subdivision : 00637        Route         : 637             Service Order # : 051773

Account #   : 006370013771 Customer Name : BOLDUC          , EUGENIE    J

Address     : 127          INDEPENDENCE         AVE        Phone #         : (727) 784-2803

Entry Date  : 05/23/06     Serv Ord Type : 10              Operator        :

Comments    : 4/18/06 194010

5/17/06 213490 HIGH CONS ON MVR

Due Date    : 05/23/06     Cust/Comp Resp: CUST

Resolution Dte : 05/23/06

Resolution  : READING 215550 USED FOR BILLING.

KS/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 106

Service Order Detail Report

Subdivision : 00637        Route         : 637             Service Order # : 051776

Account #   : 006370013942 Customer Name : MORAN           , ELLEN

Address     : 219          INDEPENDENCE         AVE        Phone #         : (727) 784-3535

Entry Date  : 05/23/06     Serv Ord Type : 10              Operator        :

Comments    : 4/18/06 503430

5/17/06 544670 HIGH CONS ON MVR

Due Date    : 05/23/06     Cust/Comp Resp: CUST

Resolution Dte : 05/23/06

Resolution  : READING 549420

KS/IC

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 052220

Account #   : 006260011361 Customer Name : RYAN            , WILFORD

Address     : 11836        CARISSA              LN         Phone #         : (717) 586-3086

Entry Date  : 05/24/06     Serv Ord Type : 22              Operator        :

Comments    : PLEASE OBTAIN READING AND TEMP LOCK OFF FOR SEASONAL CUSTOMER.

CUSTOMER IS AWARE OF TURN ON POLICY.

GAVE CONF# 52220

(OFFICE MAIL WAIVER TO CUSTOMER @ SERVICE ADDRESS)

Due Date    : 05/30/06     Cust/Comp Resp: CUST

Resolution Dte : 05/30/06

Resolution  : R=2200  LOCKED OFF FOR SEASONAL CUSTOMER.   MAILE WAIVER TO CUSTOMER'S

SERVICE ADDRESS.

JA/KIM

10/2/06 - TURN ON FOR SEASONAL CUSTOMER - WAIVER ON FILE IN OFFICE. KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 107

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 052854

Account #   : 006260011492 Customer Name : LONG            , GEORGANN   C

Address     : 11644        BOYNTON              LN         Phone #         : (845) 340-1758

Entry Date  : 05/25/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LEAVE ON PER NEW

Due Date    : 05/26/06     Cust/Comp Resp: CUST

Resolution Dte : 05/26/06

Resolution  : R=143100  F/C=160

LEFT ON

KS/KIM

====================================================================================================

Subdivision : 00635        Route         :                 Service Order # : 053003

Account #   : 006350000000 Customer Name :                 ,

Address     :                                              Phone #         : (   )    -

Entry Date  : 05/26/06     Serv Ord Type : 15              Operator        :

Comments    : GREG ROSE CALLED WOULD LIKE TO LOCATE LATERAL FOR 7411 NW 44TH LANE.

PLEASE FAX RESOLUTION BACK TO ANN @ 407-869-6961.

THANK YOU.

Due Date    : 05/30/06     Cust/Comp Resp: CUST

Resolution Dte : 06/13/06

Resolution  : RESOLUTION PLEASE- ANN

6/15/06 CUST CALLED TO CK STATUS- DANIEL CALLED GREG TO ADVISE HIM OF

ELLZEY PLUMBING SCHEDULED FOR JUNE 21ST TO LOCATE OR TAP FOR SEWER LINE.

(COMPLETE LATERAL) DSA 1530 HRS/ ANN

07/20/06-DID LATERAL GET LOCATED?- ANN

YES LATERL LOCATED EAND STAKED OUT DSA 7/20/06

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 108

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 053152

Account #   : 006260070522 Customer Name : OWEN            , NORMAN     E

Address     : 12151        PUTTER GREEN         CT         Phone #         : (860) 302-3629

Entry Date  : 05/26/06     Serv Ord Type : 13              Operator        :

Comments    : READ AND TURN ON FOR NEW

Due Date    : 05/26/06     Cust/Comp Resp: CUST

Resolution Dte : 05/26/06

Resolution  : R=570  TURNED ON FOR NEW CUSTOMER.

WILL START CUSTOMER'S ACCOUNT DUE TO CONTINUOUS BILLING ON 5/23/06

KS/KIM

====================================================================================================

Subdivision : 00604        Route         : 604             Service Order # : 053252

Account #   : 006040011785 Customer Name : SMART           , ASHLEY     K

Address     : 700          OAKLAND              RD         Phone #         : (407) 260-9901

Entry Date  : 05/26/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READING LOCK OFF AND TAG FOR NEW

GAVE CONF# 53252

Due Date    : 05/31/06     Cust/Comp Resp: CUST

Resolution Dte : 05/31/06

Resolution  : READING 107460 CONS 18630

LOCKED OFF

JH/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 109

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 053289

Account #   : 006260011453 Customer Name : MOLYNEUX        , COLE

Address     : 11650        BOYNTON              LN         Phone #         : (727) 207-5750

Entry Date  : 05/26/06     Serv Ord Type : 22              Operator        :

Comments    : TEMP TURN OFF AND LOCK

***AWARE OF POLICIES****

Due Date    : 08/17/06     Cust/Comp Resp: CUST

Resolution Dte : 08/17/06

Resolution  : R=120050  LOCKED OFF FOR SEASONAL CUSTOMER.

JA/KIM

8/17/06-am turnon waiver faxed ahesd per customer-db

r= 120050  no waiver on file left locked off and tagged for customer to

reschedule for turn on.

ja/kim

8/22/06 RECEIVED WAIVER IN THE OFFICE. PAGED TO JACK TO TURN ON CUST.

R=120050 T/ON.  JA/KIM

====================================================================================================

Subdivision : 00614        Route         : 614             Service Order # : 053367

Account #   : 006141020194 Customer Name : SUGGS           , DEBRA

Address     : 103          IDYLLWILDE           DR         Phone #         : (407) 688-4355

Entry Date  : 05/30/06     Serv Ord Type : 20              Operator        : SAN

Comments    : NSF AMT   $35.48

S/C        25.00

TL DUE    $60.48 CASH CASHIER CHECK OR M.O. ONLY MUST BE RECEIVED BY

DUE DATE TO AVOID INTERRUPTION OF SERVICE AND A RECONNECT FEE OF $15.00

5 DAY LETTER MAILED 5/31/06.

Due Date    : 06/19/06     Cust/Comp Resp: CUST

Resolution Dte : 06/20/06

Resolution  : 6/12/06 AT CUSTOMER'S REQUEST EXTENDED FOR CASH PAYMENT IN THE OFFICE

BY 4:30 PM 6/19/06. ORIGINAL DUE DATE WAS 6/7/06.

EC

6/20/06 ACCOUNT FINALED.

EC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 110

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 053550

Account #   : 006260012772 Customer Name : MASON           , JAMES

Address     : 11834        BAYONET              LN         Phone #         : (516) 293-4987

Entry Date  : 05/30/06     Serv Ord Type : 12              Operator        :

Comments    : TAKE FINAL READING, LEAVE ON FOR NEW

Due Date    : 06/19/06     Cust/Comp Resp: CUST

Resolution Dte : 06/19/06

Resolution  : R=39840  F/C= 80

LEFT ON FOR NEW CUSTOMER.

JA/KIM

====================================================================================================

Subdivision : 00604        Route         : 604             Service Order # : 053590

Account #   : 006040010821 Customer Name : OQUENDO         , ORLANDO

Address     : 512          OAK                  LN         Phone #         : (407) 260-6615

Entry Date  : 05/30/06     Serv Ord Type : 1               Operator        :

Comments    : READ AND CHECK FOR LEAKS

CUSTOMER SAYS READER CANT READ PROPERLY

TOLD IF NOT SATISFIED WILL SCHEDULE METER TEST/FIELD

TAG DOOR W/ FINDINGS

Due Date    : 05/31/06     Cust/Comp Resp: CUST

Resolution Dte : 05/31/06

Resolution  : READ 1874840 METER IS A 1" BADGER MODEL 70 NOT SURE IF CUSTOMER HAS

COMPLETE IRRIGATION SYSTEM. HAS A SPRINKLER ON HOSE. GRASS LOOKS LIKE

IT'S WATERED REGULARLY. NO LEAKS INDICATED BADGERS ARE FACTORY TESTED.

TAGGED DOOR WITH INFO.

JH/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 111

Service Order Detail Report

Subdivision : 00614        Route         : 614             Service Order # : 053825

Account #   : 006141010343 Customer Name : HOLLOWAY        , DICENA

Address     : 1823         HARDING              AVE        Phone #         : (407) 322-0223

Entry Date  : 05/30/06     Serv Ord Type : 10              Operator        :

Comments    : CUSTOMER CAME IN THE OFFICE-ABOUT HIGH BILLS, WORRY ABOUT LEAKS- PLEASE

RE-READ METER. TAG DOOR WITH FINDINGS.

THANK YOU.

Due Date    : 05/31/06     Cust/Comp Resp: CUST

Resolution Dte : 05/31/06

Resolution  : 5/31/06 READ  186210 N/L  NO LEAK AT METER CONNECTION. CUSTOMER HAS

NOT BEEN WATERING LAWN.

JH/EC

====================================================================================================

Subdivision : 00616        Route         : 616             Service Order # : 053980

Account #   : 006160011783 Customer Name : CEPEDA          , CARMEN

Address     : 3811         ANNA                 DR         Phone #         : (407) 247-5950

Entry Date  : 05/31/06     Serv Ord Type : 10              Operator        :

Comments    : CUSTOMER CAME IN OFFICE-WORRIED THAT SHE MIGHT HAVE A LEAK- PLEASE RE-

READ METER AND TAG DOOR WITH FINDINGS.

READ-5/12/06 674040.

TTHANK YOU.

Due Date    : 06/01/06     Cust/Comp Resp: CUST

Resolution Dte : 06/05/06

Resolution  : I CHECKED WITH ROBERT BORGES TO SEE IF HE HAD RECEIVED A RESOLUTION FROM

JEFF PINDER.HE DID NOT HAVE RESOLUTION SO I SENT THE S/O BACK OUT.LA

06/05/06 - JEFF BROUGHT RESOLUTION TO ME LATE MORNING SAYING HE HAD

TURNED IT IN TO ISABEL/ROBERT ON 06/01/06. RESOLUTION: SORRY LORETTA,

I TURNED THIS IN TO ROBERT ON 06/01/06. NO LEAK FOUND AND SPOKE WITH

CUSTOMER. READING TODAY IS: 679970. JEFF PINDER:LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 112

Service Order Detail Report

Subdivision : 00612        Route         : 612             Service Order # : 054288

Account #   : 006120023947 Customer Name : PUTNIK          , TERRI

Address     : 137          FAIRWAY              DR         Phone #         : (407) 324-3827

Entry Date  : 05/31/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LOCK

TAG FOR NEW

Due Date    : 06/02/06     Cust/Comp Resp: CUST

Resolution Dte : 06/02/06

Resolution  : R=2576420  F/C=28550

LEFT ON FOR NEW

FQ/KIM

====================================================================================================

Subdivision : 00604        Route         : 604             Service Order # : 054470

Account #   : 006040022291 Customer Name : MOSS            , JANIE

Address     : 1000         GREGORY              DR         Phone #         : (407) 332-6386

Entry Date  : 06/01/06     Serv Ord Type : 17              Operator        :

Comments    : PER CUST HAD HER IRRG FIXED BY PLUMBER STATED THAT SHE STILL MAY HAVE A

LEAK BUT NOOT SURE WHERE PLEASE CALL CUST @#407-247-1818 **PM** APPT FOR

TODAY CUST WILL BE ON PROPERTY WAITING FOR FIELD TECH

Due Date    : 06/01/06     Cust/Comp Resp: CUST

Resolution Dte : 06/01/06

Resolution  : READING 1035450 IRRIGATION HAS A LEAK. INFORMED THE CUSTOMER.

JM/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 113

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 054926

Account #   : 006260010793 Customer Name : SCHIFFERDECKER  , OTTO

Address     : 11822        BOYNTON              LN         Phone #         : (508) 460-7787

Entry Date  : 06/02/06     Serv Ord Type : 22              Operator        :

Comments    : PLEASE TEMP/OFF FOR SEASONAL CUST CUST IS AWARE OF VAC T/ON CHG

Due Date    : 06/08/06     Cust/Comp Resp: CUST

Resolution Dte : 06/08/06

Resolution  : R=95940  LOCKED OFF FOR SEASONAL CUSTOMER

JA/KIM

9/11/06 CUST CALLED WILL NEED WTR T/ON FOR ***9/15/06 CUST WILL HAVE

NEIGHBOR SIGN MR ARNOLD FLORIO FOR CUST...THE CUST WILL CALL BACK WITH

A PHONE# FOR MR FLORIO AND A TIME SLOT FOR EITHER AM OR PM T/ON RB

RB

9/15/06 R 95940 NEIGHBOR SIGNED YELLOW TAG.

JA/KB/FC TEMP

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 055428

Account #   : 006260081200 Customer Name : COSTA HOMES INC ,

Address     : 11334        MERGANSER            WAY        Phone #         : (727) 842-2329

Entry Date  : 06/05/06     Serv Ord Type : 8               Operator        : 626

Comments    : PLEASE PROVIDE ALL THE METER INFO FOR A NEW 5/8" WATER TAP ON LOT 120

OF PHASE 3 - B. THIS LOCATION IS GOING TO BE FOR THE SALES TRAILER AT

THIS TIME, HOWEVER, A HOME WILL BE BUILT ON THIS LOT LATER.

IF YOU WILL NOT BE ABLE TO COMPLETE THIS WITHIN FIVE WORKING DAYS,

PLEASE CALL ME. THANKS, LORETTA

Due Date    : 06/12/06     Cust/Comp Resp: CUST

Resolution Dte : 06/08/06

Resolution  : METER NUMBER 33072814, READING 10. ??:LA  THE MAKE OF THE METER,

LOCATION OR WHO INSTALLED WAS NOT NOTED ON THIS RESOLUTION. LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 114

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 055570

Account #   : 006260080010 Customer Name : McCAR HOMES     ,

Address     : 11240        MOLLYMAWK            CT         Phone #         : (813) 930-0908

Entry Date  : 06/05/06     Serv Ord Type : 8               Operator        : 626

Comments    : PLEASE INSTALL A NEW 5/8" WATER TAP ON LOT 1 IN PHASE 3-B. ADVISE OF

THE MAKE OF METER AND THE LOCATION, ETC.

CALL IF YOU WILL BE UNABLE TO COMPLETE WITHIN FIVE WORKING DAYS.

Due Date    : 06/12/06     Cust/Comp Resp: CUST

Resolution Dte : 06/14/06

Resolution  : DUE TO VERIZON HAVING THE LOTS/STREETS BLOCKED WHILE PULLING THEIR LINES

WE WERE UNABLE TO INSTALL THE METER, SOONER. NEW METER #33072763, READ-

ING 10. LOCATION: RIGHT FRONT. ??:LA

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 055656

Account #   : 006260080280 Customer Name : LEXINGTON HOMES ,

Address     : 11210        KISKADEE             CIR        Phone #         : (727) 816-9351

Entry Date  : 06/05/06     Serv Ord Type : 8               Operator        : 626

Comments    : PLEASE PROVIDE ALL THE METER INFO INCLUDING THE MAKE AND LOCATION FOR

NEW 5/8" WATER TAP ON LOT 28 IN PARCEL 3 - B.

ADVISE IF UNABLE TO COMPLETE THIS WITHIN FIVE WORKING DAYS.

FAX RESOLUTION TO ME @ 407-869-6961.THANKS!

Due Date    : 06/12/06     Cust/Comp Resp: CUST

Resolution Dte : 06/14/06

Resolution  : DUE TO VERIZON HAVING THE LOT/STREET BLOCK WHILE THEY WERE PULLING

THEIR LINES, WE WERE NOT ABLE TO INSTALL THE METER SOONER. NEW METER

NUMBER 33072811, READING 10. LOCATION: LEFT FRONT. ??JACK??:LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 115

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 055663

Account #   : 006260080570 Customer Name : LEXINGTON HOMES ,

Address     : 11224        GODWIT               CT         Phone #         : (727) 816-9351

Entry Date  : 06/05/06     Serv Ord Type : 8               Operator        : 626

Comments    : PLEASE PROVIDE ALL THE METER INFO FOR A NEW 5/8" WATER TAP ON LOT 57

IN PARCEL 3 - B.

PLEASE GIVE THE MAKE OF THE METER AND THE LOCATION OF THE METER.

IF UNABLE TO COMPLETE WITHIN

FIVE WORKING DAYS, PLEASE ADVISE THE OFFICE.

Due Date    : 06/12/06     Cust/Comp Resp: CUST

Resolution Dte : 06/14/06

Resolution  : DUE TO VERIZON HAVING THE LOT/STREET BLOCKED WHILE THEY WERE PULLING

THEIR LINES, WE WERE NOT ABLE TO INSTALL THE METER SOONER.JACK:LA

NEW METER #33072810; READING 10. LOCATION: RIGHT FRONT. ??JACK??:LA

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 055668

Account #   : 006260081360 Customer Name : LEXINGTON HOMES ,

Address     : 11445        MERGANSER            WAY        Phone #         : (727) 816-9351

Entry Date  : 06/05/06     Serv Ord Type : 8               Operator        : 626

Comments    : INSTALL NEW 5/8" WATER TAP ON LOT 136 IN PARCEL 3 - B. PROVIDE ALL THE

METER INFO AS TO THE MAKE AND THE LOCATION OF THIS METER.

PLEASE

ADVISE THE OFFICE IF YOU ARE UNABLE TO COMPLETE THIS WITHIN FIVE

WORKING DAYS.

Due Date    : 06/12/06     Cust/Comp Resp: CUST

Resolution Dte : 06/12/06

Resolution  : METER #33072813, READING 10. LOCATION: RIGHT FRONT. ??:LA

THE MAKE OF THE METER WAS NOT NOTED. ALSO, NO ID AS TO WHO INSTALLED

THIS METER. LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 116

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 055674

Account #   : 006260081410 Customer Name : LEXINGTON HOMES ,

Address     : 11419        MERGANSER            WAY        Phone #         : (727) 816-9351

Entry Date  : 06/05/06     Serv Ord Type : 8               Operator        : 626

Comments    : PLEASE INSTALL A NEW 5/8" WATER TAP ON LOT 141 IN PARCEL 3 - B.

PROVIDE THE LOCATION AND THE MAKE OF THIS METER.

AND IF YOU WILL BE

TO COMPLETE WITHIN

FIVE WORKING DAYS, ADVISE THE OFFICE. THANKS.

Due Date    : 06/12/06     Cust/Comp Resp: CUST

Resolution Dte : 06/12/06

Resolution  : METER #33072812; READING 10. LOCATION: LEFT FRONT. ??:LA THE MAKE OF THE

METER WAS NOT NOTED. ALSO, NO ID AS TO WHO DID THE INSTALL.LA

====================================================================================================

Subdivision : 00629        Route         : 629             Service Order # : 055742

Account #   : 006290001944 Customer Name : ELVIN           , RUTH

Address     : 2247         CHANCERY             DR         Phone #         : (727) 934-3985

Entry Date  : 06/05/06     Serv Ord Type : 17              Operator        :

Comments    : JUST NEED THE RESOLUTION FOR THIS AFTER HRS CALL 6/4/06-10:28AM

LEAK AT THE LINE, BEDROOM FLOOR

IS WET

Due Date    : 06/04/06     Cust/Comp Resp: CUST

Resolution Dte : 06/04/06

Resolution  : ON THE WAY OVER TO THIS HOSUE CUSTOMER CANCELLED PER ANSWERING SERVICE

RB/DB

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 117

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 055844

Account #   : 006260070051 Customer Name : WORTH           , MILTON

Address     : 11234        GOLF ROUND           DR         Phone #         : (727) 856-0390

Entry Date  : 06/05/06     Serv Ord Type : 32              Operator        : 626

Comments    : MS. CALLED DUE TO THE ODOR OF THEIR WATER, IT SMELLS LIKE ROTTEN EGGS.

PLEASE CHECK IT OUT. CUSTOMER REQUESTS A VISIT BETWEEN 8AM & NOON. THEY

WILL BE THERE TO SPEAK WITH YOU.

Due Date    : 06/07/06     Cust/Comp Resp: CUST

Resolution Dte : 06/07/06

Resolution  : R=12520   TALKED WITH CUSTOMER, THEY SAID IT IS ONLY IN ONE ROOM.

THE CL2 AT THE HOSE BIB 1.5

JH/KIM

====================================================================================================

Subdivision : 00630        Route         : 1               Service Order # : 056252

Account #   : 006300303330 Customer Name : ANDREWS         , DEBORAH    E

Address     : 5253     NW  76TH                 CT         Phone #         : (325) 237-2227

Entry Date  : 06/06/06     Serv Ord Type : 10              Operator        :

Comments    : 5/1/06 835610

6/1/06 1014330 VERY HIGH CONS ON MVR

WOW!

Due Date    : 06/06/06     Cust/Comp Resp: CUST

Resolution Dte : 06/06/06

Resolution  : READING 1017780 NO LEAKS.

JY/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 118

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 056371

Account #   : 006260011631 Customer Name : DIZINNO         , SAL

Address     : 11802        CARISSA              LN         Phone #         : (727) 825-5293

Entry Date  : 06/07/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READ AND LEAVE ON FOR NEW APPLY

Due Date    : 06/09/06     Cust/Comp Resp: CUST

Resolution Dte : 06/09/06

Resolution  : R=275250  F/C=140

LEFT ON

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 056397

Account #   : 006260070481 Customer Name : CHANDLER        , JAMES

Address     : 12210        PUTTER GREEN         CT         Phone #         : (727) 857-1840

Entry Date  : 06/07/06     Serv Ord Type : 32              Operator        :

Comments    : PER CUST STATED FOWL ODER, PAGED TO (JA) TO RESOLVE

Due Date    : 06/07/06     Cust/Comp Resp: CUST

Resolution Dte : 06/07/06

Resolution  : R=26030

WATER AT HOSE BIB 1.1PPM, CUSTOMER IS OKAY WITH FINDINGS

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 119

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 056411

Account #   : 006260011381 Customer Name : DAHL            , MARION     E

Address     : 11940        BOYNTON              LN         Phone #         : (813) 856-4095

Entry Date  : 06/07/06     Serv Ord Type : 22              Operator        :

Comments    : PLEASE TEMP/OFF FOR SEASONAL CUST ALSO CUST IS AWARE OF VAC T/ON FEE'S

AND PROCEDURES

Due Date    : 09/11/06     Cust/Comp Resp: CUST

Resolution Dte : 09/11/06

Resolution  : R=129560 LOCKED OFF FOR SEASONAL CUSTOMER

JA/KIM

**09/11/06 SEE OFFC FOR WAIVER AND T/ON FOR SEASONAL CUSTOMER, OBTAIN

READ. THANK YOU.

9/11/06 R 129560 ON FOR CUSTOMER.

JA/KB/FC TEMP

====================================================================================================

Subdivision : 00620        Route         : 620             Service Order # : 056861

Account #   : 006200012112 Customer Name : IHEKWABA        , UKEJE      U

Address     : 510      N   NOWELL               ST         Phone #         : (407) 346-4363

Entry Date  : 06/08/06     Serv Ord Type : 15              Operator        : 620

Comments    : CHANGE OUT CURB STOP AND LOCK OFF,,,

Due Date    : 06/09/06     Cust/Comp Resp: CUST

Resolution Dte : 06/09/06

Resolution  : BR=1757920

REPLACED CURB STOP WITH NEW ONE AND LOCKED OFF.

PARTS USED:

1 - 3/4" COMP CURB STOP

1 - 3/4" COMP TO FEMALE

1 - 3/4" PIGTAIL

2' OF 3/4" POLY

MATT & WE/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 120

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 057347

Account #   : 006260012161 Customer Name : BOWERMAN        , PEGGY

Address     : 11819        BOYNTON              LN         Phone #         : (813) 856-3936

Entry Date  : 06/09/06     Serv Ord Type : 21              Operator        :

Comments    : 4/16/06  R=169620

5/30/06  R=174920   H/C  ANY LEAKS

Due Date    : 06/09/06     Cust/Comp Resp: CUST

Resolution Dte : 06/09/06

Resolution  : R=175960 NO LEAKS

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 057643

Account #   : 006260013941 Customer Name : STEVENS         , JAMES

Address     : 11645        BOYNTON              LN         Phone #         : (727) 856-6596

Entry Date  : 06/09/06     Serv Ord Type : 22              Operator        :

Comments    : PLEASE OBTAIN READING AND TEMP LOCK OFF FOR SEASONAL CUSTOMER.

GAVE CONF #57643

MAIL WAIVER TO CUSTOMER.

Due Date    : 09/24/06     Cust/Comp Resp: CUST

Resolution Dte : 09/24/06

Resolution  : R=189510 LOCKED OFF FOR SEASONAL CUSTOMER.

JA/KIM

9/20/06

9/28/06-TEMP TURNON-WAIVER RECIEVED-DB

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 121

Service Order Detail Report

Subdivision : 00624        Route         : 624             Service Order # : 057968

Account #   : 006241011006 Customer Name : ANDERSON        , VICKI      L

Address     : 627          CALIENTE             WAY        Phone #         : (407) 297-9557

Entry Date  : 06/12/06     Serv Ord Type : 12              Operator        :

Comments    : FINAL READ AND LOCK

TAG FOR NEW TO APPLY

Due Date    : 06/30/06     Cust/Comp Resp: CUST

Resolution Dte : 06/30/06

Resolution  : FR=395520

FC=4890

JPL/LYN

====================================================================================================

Subdivision : 00612        Route         : 612             Service Order # : 058545

Account #   : 006120023585 Customer Name : ANDERSON        , SANDRA

Address     : 143          BUNKER               LN         Phone #         : (407) 302-3047

Entry Date  : 06/13/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READING LOCK OFF AND TAG FOR NEW

GAVE CONF# 58545

Due Date    : 06/19/06     Cust/Comp Resp: CUST

Resolution Dte : 06/19/06

Resolution  : R=279740   F/C=13290

TAGGED FOR NEW

KC/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 122

Service Order Detail Report

Subdivision : 00606        Route         :                 Service Order # : 058950

Account #   : 006060000000 Customer Name :                 ,

Address     :                                              Phone #         : (   )    -

Entry Date  : 06/14/06     Serv Ord Type : 33              Operator        :

Comments    : CUSTOMER CALLED FOR LAWN AND TREE MAINTENANCE FOR THE LITTLE WEKIVA

PLANT OFF OF BAMBI PER CUSTOMER.

PAGED TO JOHN

Due Date    : 06/14/06     Cust/Comp Resp: CUST

Resolution Dte : 06/14/06

Resolution  : CHECKED THE PLANT. COULD FIND NOTHING .

CUSTOMER DID NOT LEAVE A NUMBER OR AN ADDRESS.

WE REMOVED A LARGE TREE 2 WEEKS AGO.

JM/JS

====================================================================================================

Subdivision : 00620        Route         : 620             Service Order # : 059564

Account #   : 006200011852 Customer Name : LAMPKIN         , DENITRY

Address     : 6118     W   ROBINSON             ST         Phone #         : (407) 296-7565

Entry Date  : 06/15/06     Serv Ord Type : 14              Operator        :

Comments    : NSF CHK#1046 6/6/6 $77.80

BANK SERV FEE       30.00

TOTAL AMNT DUE     $107.80 PAYABLE BY CASHIER CHK OR M\O ONLY

TO AVOID INTERRUPTION OF SERV AND A $15 RECONNECT FEE

5 DAY LTTR MAILED 6/16

Due Date    : 06/23/06     Cust/Comp Resp: CUST

Resolution Dte : 07/13/06

Resolution  : SERVICE WAS SHUT OFF FOR NON PAUMENT            MR=296480

CUSTOMER PAID IN THE OFFICE

FT GOT SIGNED WAIVER

I PAGED JEFF P. TO RESTORE THE SERVICE

JP/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 123

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 060038

Account #   : 006260070501 Customer Name : HIGHFIELD       , WILLIAM

Address     : 12205        PUTTER GREEN         CT         Phone #         : (574) 532-2229

Entry Date  : 06/15/06     Serv Ord Type : 21              Operator        :

Comments    : PLEASE OBTAIN READING DUE TO HIGH USAGE BILLED TO THE CUSTOMER. **METER

IS LOCKED OFF FOR SEASONAL CUSTOMER**  JUST NEED TO VERIFY READING IS

CORRECT THAT THE CUSTOMER WAS BILLED CONSUMPTION ON ACCOUNT.

Due Date    : 06/16/06     Cust/Comp Resp: CUST

Resolution Dte : 06/16/06

Resolution  : R=7340  METER IS LOCKED OFF

READING CORRECT.

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 060350

Account #   : 006260022311 Customer Name : SOUTHARD        , CHARLOTTE  A

Address     : 11615        ENGLISH ELM          DR         Phone #         : (727) 856-6563

Entry Date  : 06/16/06     Serv Ord Type : 12              Operator        :

Comments    : TAKE FINAL READING LEAVE ON FOR NEW

Due Date    : 06/19/06     Cust/Comp Resp: CUST

Resolution Dte : 06/19/06

Resolution  : R=318820  LEFT ON FOR NEW

F/C=260

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 124

Service Order Detail Report

Subdivision : 00612        Route         : 612             Service Order # : 060503

Account #   : 006120010032 Customer Name : YEAGER          , MARILYN

Address     : 415          LAKE                 BLV        Phone #         : (407) 323-8376

Entry Date  : 06/16/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READING LOCK OFF AND TAG FOR NEW

GAVE CONF#60503

Due Date    : 06/22/06     Cust/Comp Resp: CUST

Resolution Dte : 06/22/06

Resolution  : R=313640  F/C=11670

LEFT ON FOR NEW CUSTOMER.

KEV/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 060604

Account #   : 006260050171 Customer Name : FOGARTY         , JOHN       F

Address     : 12026        TOURNAMENT VIEW      AVE        Phone #         : (727) 856-5853

Entry Date  : 06/16/06     Serv Ord Type : 32              Operator        :

Comments    : SMELLS OF WATER IS GETTING WORSE, PLEASE TAG WITH FINDINGS

Due Date    : 06/19/06     Cust/Comp Resp: CUST

Resolution Dte : 06/19/06

Resolution  : R=69940   CUSTOMER WILL FLUSH THEIR WATER HEATER.

CL2 0.8 AT HOSE BIB. PROBLEM WAS IN THE CUSTOMER'S HOT WATER ONLY.

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 125

Service Order Detail Report

Subdivision : 00626        Route         : 2               Service Order # : 060645

Account #   : 006260022792 Customer Name : MOSS            , RANDY

Address     : 11637        ROSE TREE            DR         Phone #         : (765) 453-2841

Entry Date  : 06/16/06     Serv Ord Type : 01              Operator        :

Comments    : PLEASE CK METER FOR LEAKS CUSTOMER HAD LEAK IN HOME AND FIXED PROBLEM

BEFORE ACCOUNT WAS BILLED

Due Date    : 06/19/06     Cust/Comp Resp: CUST

Resolution Dte : 06/19/06

Resolution  : R=231410  NO LEAKS THE CUSTOMER HAD A LEAK ATER METER LAST MONTH

AND CALLED THE PLUMBER TO REPAIR.

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 060834

Account #   : 006260061321 Customer Name : PETERSON        , ANNA

Address     : 11414        BLOOMINGTON          CT         Phone #         : (727) 856-5171

Entry Date  : 06/19/06     Serv Ord Type : 32              Operator        :

Comments    : CUSTOMER SAYS WATER IN ALL FAUCETS SMELL. PLEASE CHECK

PAGED JACK A

Due Date    : 06/19/06     Cust/Comp Resp: CUST

Resolution Dte : 06/19/06

Resolution  : R=47850

CHECKED AT HOSE BIB 0.8 HER HOT WATER SEEMS TO BE THE PROBLEM.

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 126

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 060873

Account #   : 006260011651 Customer Name : SMITH           , WILLIAM

Address     : 11620        BOYNTON              LN         Phone #         : (727) 207-8166

Entry Date  : 06/19/06     Serv Ord Type : 10              Operator        :

Comments    : CUSTOMER WOULD LIKE TO HAVE METER RE-READ AND CHECK FOR LEAKS. VERY

HIGH CONSUMPTION. PLEASE ADVISE CUSTOMER

Due Date    : 06/20/06     Cust/Comp Resp: CUST

Resolution Dte : 06/20/06

Resolution  : R=258690

METER KEEPS SPINNING EVEN WITH EVERYTHING OFF.

POINTWEST MAINT. CHECKING FOR INTERNAL LEAK IN HOUSE.

NO LEAKS OUTSIDE.

JA/KIM

====================================================================================================

Subdivision : 00620        Route         : 620             Service Order # : 060935

Account #   : 006200010415 Customer Name : ARISTA          , PAULA      M

Address     : 6119     W   HARWOOD              ST         Phone #         : (407) 291-7982

Entry Date  : 06/19/06     Serv Ord Type : 13              Operator        : 620

Comments    : READ AND TURN ON FOR NEW

***** AM TURN ON *****

SIGNATURE:________________________________________________________.

Due Date    : 06/20/06     Cust/Comp Resp: CUST

Resolution Dte : 06/20/06

Resolution  : BR=1791770

PB/LYN

PB/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 127

Service Order Detail Report

Subdivision : 00615        Route         : 1               Service Order # : 060975

Account #   : 006150009745 Customer Name : JONES           , ALFRED

Address     : 4018         DALWOOD              DR         Phone #         : (727) 356-5921

Entry Date  : 06/19/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READ AND PLEASE DO AN AM TURN ON, NEW APPLICANT WILL

BE HOME FOR TURN ON

Due Date    : 06/20/06     Cust/Comp Resp: CUST

Resolution Dte : 06/20/06

Resolution  : FR=166810

FC=4530

SH/LYN

====================================================================================================

Subdivision : 00630        Route         : 2               Service Order # : 061007

Account #   : 006300201546 Customer Name : WELLS           , RICK

Address     : 4731     NW  82ND                 CT         Phone #         : (434) 525-1946

Entry Date  : 06/19/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READING LOCK OFF AND TAG FOR NEW

GAVE CONF# 61007

Due Date    : 06/30/06     Cust/Comp Resp: CUST

Resolution Dte : 06/30/06

Resolution  : FR=163270

FC=7070

CHUCK/LYN

CUSTOMER CANCELED FINAL, NOT MOVING

/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 128

Service Order Detail Report

Subdivision : 00610        Route         : 610             Service Order # : 061036

Account #   : 006100010775 Customer Name : THOMPSON        , GEORGE

Address     : 105          PINE LAKE            DR         Phone #         : (407) 323-0214

Entry Date  : 06/19/06     Serv Ord Type : 1               Operator        : SAN

Comments    : MS. CALLED DUE TO HIGH BILLING.

PLEASE REREAD AND CHECK FOR LEAK.

TAG DOOR WITH YOUR FINDINGS

6/5/06  MR=357670

Due Date    : 06/20/06     Cust/Comp Resp: CUST

Resolution Dte : 06/20/06

Resolution  : R=362160 CUSTOMER HAS LEAK,INFORMED CUSTOMER TO CALL PLUMBER

KC/KIM

====================================================================================================

Subdivision : 00629        Route         : 629             Service Order # : 061295

Account #   : 006290001803 Customer Name : FERIES          , NINA

Address     : 4744         BONTON               DR         Phone #         : (727) 326-7457

Entry Date  : 06/19/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READ, LOCK AND TAG FOR NEW APPLY

Due Date    : 06/20/06     Cust/Comp Resp: CUST

Resolution Dte : 06/20/06

Resolution  : FR=859630

FC=1,970

TURNED OFF AND LOCKED

TAGGED DOOR

JF/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 129

Service Order Detail Report

Subdivision : 00630        Route         :                 Service Order # : 061406

Account #   : 006300000000 Customer Name :                 ,

Address     :                                              Phone #         : (   )    -

Entry Date  : 06/19/06     Serv Ord Type : 20              Operator        :

Comments    : CAN WE PROVIDE SERVICES TO LOT 7, FOREST VILLAS PHASE 2.

ED 352-572-0508

PLEASE FAX RESOLUTION TO ANN AT 407-869-6961.

THANK YOU.

Due Date    : 06/20/06     Cust/Comp Resp: CUST

Resolution Dte : 06/21/06

Resolution  : INTERSECTION OF NW 47TH ST AND NW 81ST CT.(GOING NORTH ON 81ST CT,SECOND

LOT ON THE LEFT,LOCATION = FRONT FAR RIGHT. DSA

6/21/06- YES WE CAN PROVIDE SERVICE. WATER MAIN IS ON THAT SIDE OF

CUL-DE-SAC, HAVE NOT FOUND VALVE YET BUT BLUEPRINT SHOW SERVICE IS THERE

ON THE RIGHT PROPERTY LINE. WILL CONTIUE TO LOOK FOR SERVICE IN SPARE

TIME. JY/ANN

====================================================================================================

Subdivision : 00635        Route         : 635             Service Order # : 061628

Account #   : 006350000097 Customer Name : GAISUNAS        , HEATHER

Address     : 7320     NW  44TH                 LN         Phone #         : (352) 265-0111

Entry Date  : 06/20/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 80.19

RECON 15.00

TOTAL DUE 95.19

Due Date    : 06/20/06     Cust/Comp Resp: CUST

Resolution Dte : 06/20/06

Resolution  : READING 716440 CUSTOMER PAID, TURNED ON

JY/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 130

Service Order Detail Report

Subdivision : 00620        Route         : 620             Service Order # : 062141

Account #   : 006200010621 Customer Name : NORRA           , ISAAC

Address     : 6225     W   LIVINGSTON           ST         Phone #         : (321) 947-6548

Entry Date  : 06/21/06     Serv Ord Type : 14              Operator        : 620

Comments    : SHUT OFF SERVICE FOR NON PAYMENT

BALANCE     $44.32

S/C          15.00

TOTAL       $59.32

Due Date    : 06/21/06     Cust/Comp Resp: CUST

Resolution Dte : 08/03/06

Resolution  : 8/3/06 FINALLED ACCOUNT.

RECEIVED LEASE - SIGNED UP NEW OCCUPANT.

LYN

====================================================================================================

Subdivision : 00620        Route         : 620             Service Order # : 062150

Account #   : 006200010816 Customer Name : HICKS           , ASHANTA    L

Address     : 6037     W   LIVINGSTON           ST         Phone #         : (321) 331-7953

Entry Date  : 06/21/06     Serv Ord Type : 14              Operator        : 620

Comments    : SHUT OFF SERVICE FOR NON PAYMENT

BALANCE     $38.43

S/C          15.00

TOTAL       $53.43

Due Date    : 06/21/06     Cust/Comp Resp: CUST

Resolution Dte : 06/21/06

Resolution  : 6/21/06 SERVICE WAS SHUT OFF FOR NON PAYMENT      MR=16750

MR. CUT LOCK AND TURNED IT BACK ON.

6/27/06 MR. CALLED US TO PICK UP PMT AND TURN ON & WAS NOT HOME

6/27/06 MR. CALLED AND REQUESTED COLLECT & TURN ON.

PICKED UP 2 MONEY ORDERS

#48812879270 FOR $53.43

#48812879401 FOR $30.00

SERVICE WAS RESTORED

JP/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 131

Service Order Detail Report

Subdivision : 00630        Route         : 2               Service Order # : 062329

Account #   : 006300303500 Customer Name : SHELTON         , EARL

Address     : 4400     NW  80TH                 AVE        Phone #         : (352) 629-7867

Entry Date  : 06/21/06     Serv Ord Type : 8               Operator        :

Comments    : TAP APPLICATION REC'D 6/21/06-PLEASE INSTALL NEW 5/8 METER ON LOT 7,

BLK B AT FOREST AT GOLDEN HILLS. PLEASE CALL CUSTOMER A DAY BEFORE

INSTALLING WANT TO MAKE SURE THAT HE IS THERE.ADVISE OFFICE IF UNABLE

TO COMPLETE BY 6/27/06. PROVIDE ALL METER INFO-FAX RESOLUTION TO ANN

AT 407-869-6961. THANK YOU.

Due Date    : 06/28/06     Cust/Comp Resp: CUST

Resolution Dte : 06/28/06

Resolution  : DANIEL CALLED- TAP WILL NOT  BE INSTALL UNTIL NEXT WEEK, TRYING TO FIND

LINES. DSA/ANN

6/29/06 ADVISED CUST OF THE ABOVE. BY JULY 7TH IT WILL BE DONE. DSA.

7/10/06-ROBERT COULDN'T FIND-WOULD HAVE TO RUN A NEW TAP CKING

WITH CHUCK,CHUCK WILL CALL CUSTOMER & ADVISED THAT IT WILL TAKE LONGER.

7/20/06-RESOLUTION PLEASE-ANN 7/20/06- SCHEDULED CONTRACTOR FOR TOMORROW

7/21/06-DSA/ANN

7/24/06-INSTALLED 1" BADGER  W/ DUAL CK BF;SN#29747106;ML-FAR BACK,

RIGHT FRONT NE CORNER; READ-10. DSA/ANN

====================================================================================================

Subdivision : 00620        Route         : 620             Service Order # : 062441

Account #   : 006200012014 Customer Name : LOVELY          , ROSEMARY   R

Address     : 315          NICE                 AVE        Phone #         : (407) 295-3272

Entry Date  : 06/22/06     Serv Ord Type : 43              Operator        :

Comments    : PER CUST CALLED HAS NO WATER THIS AM CUST'S ACCT IS IN GOOD STANDING

AND THE MTR SEEMS TO BE FINE NOT T/OFF PGED TO (JP) AND SAID IT WILL BE

A COUPLE OF HOURS ADVISED CUST WE WILL BE THERE BEFORE 12 NOON CUST CELL

#321-279-8055

Due Date    : 06/22/06     Cust/Comp Resp: CUST

Resolution Dte : 06/22/06

Resolution  : 06/22/06 PER (JP) CALLED AND SAID THIS IS A CUSTOMER PROBLEM

STATED TO CANCEL S/O

JP/RB

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 132

Service Order Detail Report

Subdivision : 00630        Route         : 2               Service Order # : 062628

Account #   : 006300303490 Customer Name : TRIPLE CROWN HO ,

Address     : 4575     NW  82ND                 CT         Phone #         : (352) 671-4677

Entry Date  : 06/22/06     Serv Ord Type : 12              Operator        :

Comments    : TAKE FINAL READING, LEAVE ON FOR NEW

Due Date    : 06/23/06     Cust/Comp Resp: CUST

Resolution Dte : 06/23/06

Resolution  : FR=0

FC=0

?/LYN

====================================================================================================

Subdivision : 00620        Route         : 620             Service Order # : 063113

Account #   : 006200010162 Customer Name : RENE            , GENEVEIVE

Address     : 6018     W   AMELIA               ST         Phone #         : (407) 295-4804

Entry Date  : 06/23/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LEAVE ON PER NEW

Due Date    : 06/26/06     Cust/Comp Resp: CUST

Resolution Dte : 06/26/06

Resolution  : FR=100120

FC=7060

NEEDS TO BE CHANGED - HARD TO READ.

JPL & SE/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 133

Service Order Detail Report

Subdivision : 00620        Route         : 620             Service Order # : 063577

Account #   : 006200011638 Customer Name : MARQUEZ         , BARBARA

Address     : 6033     W   ROBINSON             ST         Phone #         : (407) 298-8218

Entry Date  : 06/26/06     Serv Ord Type : 12              Operator        : 620

Comments    : FINAL READ AND LEAVE ON FOR NEW

Due Date    : 06/27/06     Cust/Comp Resp: CUST

Resolution Dte : 06/27/06

Resolution  : FR=436000

FC=10

UNLOCKED & TURNED ON

JP/LYN

====================================================================================================

Subdivision : 00620        Route         : 620             Service Order # : 063718

Account #   : 006200010486 Customer Name : HONNOLL         , KYLE       F

Address     : 6203     W   HARWOOD              ST         Phone #         : (   )    -

Entry Date  : 06/26/06     Serv Ord Type : 20              Operator        :

Comments    : NSF CHK#3586 6/19/6 $18.18 (REFER TO MAKER)

BANK SERV FEE        25.00

TOTAL AMNT DUE      $43.18 PAYABLE BY CASHIER CHK OR M\O ONLY

TO AVOID INTERRUPTION OF SERV AND A $15 RECONNECT FEE

5 DAY LTTR MAILED 6/27

Due Date    : 07/05/06     Cust/Comp Resp: CUST

Resolution Dte : 06/26/06

Resolution  : CUSTOMER CAME INTO THE OFFICE AND BROUGHT A POLICE REPORT PROVING STOLEN

HAND BAG.

WAIVED FEE

LYN

6/27/06 PAID $18.18 B#4786

LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 134

Service Order Detail Report

Subdivision : 00620        Route         : 620             Service Order # : 063721

Account #   : 006200012211 Customer Name : HAINES          , ROBERT     G

Address     : 6213     W   AMELIA               ST         Phone #         : (407) 293-0129

Entry Date  : 06/26/06     Serv Ord Type : 20              Operator        :

Comments    : NSF CHK#4083 6/15/6 $21.14

BANK SERV FEE        25.00

TOTAL AMNT DUE      $46.14 PAYABLE BY CASHIER CHK OR M\O ONLY

TO AVOID INTERRUPTION OF SERV AND A $15 RECONNECT FEE

5 DAY LTTR MAILED 6/27

Due Date    : 07/05/06     Cust/Comp Resp: CUST

Resolution Dte : 07/06/06

Resolution  : PAID $46.14 B #PC51

LYN

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 063742

Account #   : 006260021814 Customer Name : MACCARONE       , DONNA      C

Address     : 11601        PEAR TREE            DR         Phone #         : (914) 237-0846

Entry Date  : 06/26/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LEAVE ON FOR NEW

Due Date    : 06/28/06     Cust/Comp Resp: CUST

Resolution Dte : 06/28/06

Resolution  : R=50250   F/C=0

LEFT ON

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 135

Service Order Detail Report

Subdivision : 00620        Route         : 620             Service Order # : 063917

Account #   : 006200012104 Customer Name : ROBERTSON       , CHRIS

Address     : 505      N   NOWELL               ST         Phone #         : (407) 342-3683

Entry Date  : 06/26/06     Serv Ord Type : 12              Operator        : 620

Comments    : FINAL READ AND LEAVE ON FOR NEW

(RECEIVED LEASE)

Due Date    : 06/27/06     Cust/Comp Resp: CUST

Resolution Dte : 06/27/06

Resolution  : MR=670190

FC=30

TURNED WATER ON. LYN

====================================================================================================

Subdivision : 00623        Route         : 623             Service Order # : 064330

Account #   : 006233012382 Customer Name : CORRALES        , ROGER

Address     : 673          VENEER               DR         Phone #         : (407) 788-3476

Entry Date  : 06/27/06     Serv Ord Type : 36              Operator        :

Comments    : CUSTOMER CAME INTO OFFICE COMPAINING OF SEWER BACKING UP.  HE HAD THE

SAME PROBLEM IN JAN, 2005.

PAGED TO JEFF P.

Due Date    : 06/27/06     Cust/Comp Resp: CUST

Resolution Dte : 06/27/06

Resolution  : WENT OUT AND FOUND OUT CUSTOMERS LINE WAS CLOGGED -RODDED LINE FOR

CUSTOMER AND FOUND IT CLOGGED WITH BABY WIPES.  CLEARED LINE FOR

CUSTOMER SHOWED HER THE PROBLEM AND TOLD HER NOT TO FLUSH LINES.

JEFF P/DB

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 136

Service Order Detail Report

Subdivision : 00620        Route         : 620             Service Order # : 064344

Account #   : 006200012374 Customer Name : RIVERA          , RICARDO

Address     : 515      N   NOWELL               ST         Phone #         : (   )    -

Entry Date  : 06/27/06     Serv Ord Type : 12              Operator        :

Comments    : FINAL READ AND "LOCK"

Due Date    : 06/28/06     Cust/Comp Resp: CUST

Resolution Dte : 06/28/06

Resolution  : FR=170380

FC=6180

REPLACED CURB STOP YESTERDAY

LOCKED & TAGGED

JP/LYN

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 064939

Account #   : 006260050131 Customer Name : KRAUSS          , JUDITH

Address     : 12040        TOURNAMENT VIEW      AVE        Phone #         : (727) 856-3377

Entry Date  : 06/28/06     Serv Ord Type : 32              Operator        :

Comments    : CUSTOMER SAYS WATER SMELLS LIKE SULFUR.

PAGED TO JA

Due Date    : 06/28/06     Cust/Comp Resp: CUST

Resolution Dte : 06/28/06

Resolution  : R=103220   SPOKE WITH THE CUSTOMER, ADVISED HER TO FLUSH HOT WATER

TANK. GOOD CL2 RESIDUAL AT HOUSE.

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 137

Service Order Detail Report

Subdivision : 00630        Route         : 1               Service Order # : 065431

Account #   : 006300101652 Customer Name : FINKEL          , JAMES

Address     : 7669     NW  56TH                 PL         Phone #         : (352) 362-0877

Entry Date  : 06/29/06     Serv Ord Type : 21              Operator        :

Comments    : PLEASE OBTAIN READING AND CHECK FOR LEAK. PER THE CUSTOMER WATER IS OFF

AT HOME - WE DID NOT SHUT OFF WATER AT METER WHILE THEY ARE AWAY.

PER CUSTOMER THEY HAVE BEEN GONESINCE 5/1/06.

6/1/06  R=158890

5/1/06  R=144140

Due Date    : 06/30/06     Cust/Comp Resp: CUST

Resolution Dte : 06/30/06

Resolution  : MR=165450

NO LEAK @ THIS TIME

CHUCK/LYN

====================================================================================================

Subdivision : 00604        Route         : 604             Service Order # : 065738

Account #   : 006040022212 Customer Name : MCCAUSLAND      , MICHAEL

Address     : 1055         GREGORY              DR         Phone #         : (321) 287-1044

Entry Date  : 06/30/06     Serv Ord Type : 20              Operator        :

Comments    : NSF ELECT CHK 6/27/6 $335.27

BANK SERV FEE         40.00

TOTAL AMNT DUE       $375.27 PAYABLE BY CASHEIR CHK OR M\O ONLY

TO AVOID ITNERRUPTION OF SERV AND A $15 RECONNECT FEE

5 DAY LTTR MAILED 7/5

Due Date    : 07/12/06     Cust/Comp Resp: CUST

Resolution Dte : 07/12/06

Resolution  : CUSTOMER CLEARED NSF, NOTHING FURTHER.

/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 138

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 065923

Account #   : 006260061451 Customer Name : RYAN            , ROBERT     J

Address     : 11436        WINDSTAR             CT         Phone #         : (727) 856-2203

Entry Date  : 06/30/06     Serv Ord Type : 20              Operator        :

Comments    : PLEASE WHEN FLUSING IN FRONT OF THIS CUSTOMERS HOUSE AT STORN DRAIN

PLEASE PUT IN LONGER PVC PIPE SO WATER WILL GO INTO STORM DRAIN-SO

ERRODING OF SAND AROUND THE TOP OF THE STORM DRAIN IN HIS LAWN

DOES NOT COLLASP

Due Date    : 07/06/06     Cust/Comp Resp: CUST

Resolution Dte : 07/06/06

Resolution  : R=91760  WILL OBTAIN LONGER PIPE

JA/KIM

====================================================================================================

Subdivision : 00637        Route         : 637             Service Order # : 065967

Account #   : 006370012202 Customer Name : MESTEY          , NICKOLAS   G

Address     : 48           PLYMOUTH             CT         Phone #         : (305) 298-4260

Entry Date  : 06/30/06     Serv Ord Type : 13              Operator        :

Comments    : PLEASE OBTAIN READ AND TURN ON, TAG SIGNED

Due Date    : 06/30/06     Cust/Comp Resp: CUST

Resolution Dte : 06/30/06

Resolution  : BR=679130

JF/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 139

Service Order Detail Report

Subdivision : 00620        Route         : 620             Service Order # : 065999

Account #   : 006200013227 Customer Name : CHATELIER       , RICK       L

Address     : 5949     W   AMELIA               ST         Phone #         : (407) 484-3789

Entry Date  : 06/30/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LOCK

TAG FOR NEW

Due Date    : 07/05/06     Cust/Comp Resp: CUST

Resolution Dte : 07/05/06

Resolution  : FR=888150

FC=120

JPL/LYN

====================================================================================================

Subdivision : 00624        Route         : 624             Service Order # : 066011

Account #   : 006241010989 Customer Name : HENEGAR         , L FARRELL

Address     : 618          CALIENTE             WAY        Phone #         : (407) 291-1761

Entry Date  : 06/30/06     Serv Ord Type : 28              Operator        :

Comments    : CUSTOMER CALLED DUE TO LOW WATER PRESSURE. CUSTOMER HAS CHECKED HOUSE

VALVE AND WATER VALVE @ HOUSE IS TURNED ON.

PAGED TO PINDER

Due Date    : 06/30/06     Cust/Comp Resp: CUST

Resolution Dte : 06/30/06

Resolution  : MR=670460

CUSTOMER HAS PROBLEM IN HOUSE

JPL/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 140

Service Order Detail Report

Subdivision : 00635        Route         : 635             Service Order # : 066028

Account #   : 006350000135 Customer Name : BRYAN           , STEPHEN    D

Address     : 7344     NW  44TH                 LN         Phone #         : (352) 732-2159

Entry Date  : 06/30/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READING AND LOCK OFF TAG FOR NEW

GAVE CONF# 66028

Due Date    : 07/14/06     Cust/Comp Resp: CUST

Resolution Dte : 07/14/06

Resolution  : CUSTOMER CALLED AND CANCELED THIS S/O

PER KIM

/IC

====================================================================================================

Subdivision : 00620        Route         : 620             Service Order # : 066437

Account #   : 006200011527 Customer Name : SINGH           , SHIVDATT

Address     : 6115     W   RIDGEWOOD            ST         Phone #         : (407) 744-9208

Entry Date  : 07/05/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LOCK

TAG FOR NEW

Due Date    : 07/06/06     Cust/Comp Resp: CUST

Resolution Dte : 07/06/06

Resolution  : FR=253260

FC=120

READ AND LEFT ON

JPL/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 141

Service Order Detail Report

Subdivision : 00612        Route         : 612             Service Order # : 066593

Account #   : 006120024008 Customer Name : MERTHIE         , LYNDON     B

Address     : 148          UPSALA               RD         Phone #         : (407) 324-2693

Entry Date  : 07/05/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READING AND TURN ON FOR NEW CUSTOMER.

WAIVER IN OFFICE ON FILE.

Due Date    : 07/06/06     Cust/Comp Resp: CUST

Resolution Dte : 07/06/06

Resolution  : R=1966570  F/C=20

LEFT ON FOR NEW

FQ/KIM

====================================================================================================

Subdivision : 00623        Route         : 623             Service Order # : 066724

Account #   : 006233010081 Customer Name : ANNABLE         , RICHARD

Address     : 742          TRAILWOOD            DR         Phone #         : (407) 295-3439

Entry Date  : 07/06/06     Serv Ord Type : 15              Operator        :

Comments    : PER CUST STATED HER C/S IS HARD TO T/OFF PLEASE LUBRICATE VALVE SO THAT

THE CUST CAN CALL HER PLUMBER TO DO REPAIRS ON HER END

Due Date    : 07/06/06     Cust/Comp Resp: CUST

Resolution Dte : 07/06/06

Resolution  : 7/6/06 PER CUST CALLED BACK TO STATE THAT HER PLUMBER WILL BE COMING

BACK TO CUST HOME TO FIX THE REPAIR FROM 8 TO 12 NOON TODAY GAVE S/O TO

MATT M TO PGD OUT TO LUBRICATE CUST VALVE THIS AM PLEASE CALL CUST @

407-762-1983 TO IN FORM HER THAT THIS HAS BEEN DONE. MATT SAID HE WOULD

TAG THE DOOR.....(RB)

7/6/06-LUBRICATED AND EXCERISED CURBSTOP IS WORKING FINE

MATT M/DB

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 142

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 067089

Account #   : 006260012463 Customer Name : PRESTEL         , MYRTLE

Address     : 11708        BAYONET              LN         Phone #         : (813) 856-3313

Entry Date  : 07/06/06     Serv Ord Type : 17              Operator        :

Comments    : PER MARCY #727-856-3034 STATED THAT THIS MTR IS IN OFF POSTION PER CUST

END WE DO NOT HAVE A SVC ORDER FROM CUST FOR TEMP OFF CUST S/OFF THE WTR

ON THEIR END, WATER IS GUSING OUT AND IT HAS BEEN PAGD TO KEVIN S IN

FIELD

Due Date    : 07/06/06     Cust/Comp Resp: CUST

Resolution Dte : 07/06/06

Resolution  : R=189600  THERE IS NO PROBLEM AT THIS ADDRESS. THIS METER IS ON AND

UNLOCKED.

KS/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 067581

Account #   : 006260013501 Customer Name : SMYK            , STANLEY    A

Address     : 11715        BAYONET              LN         Phone #         : (   )    -

Entry Date  : 07/07/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LEAVE  ON PER NEW

Due Date    : 07/14/06     Cust/Comp Resp: CUST

Resolution Dte : 07/14/06

Resolution  : R=59970   F/C=40

LEFT ON

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 143

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 068076

Account #   : 006260070020 Customer Name : COSTA HOMES INC ,

Address     : 11218        GOLF ROUND           DR         Phone #         : (727) 842-3848

Entry Date  : 07/10/06     Serv Ord Type : 12              Operator        :

Comments    : TAKE FINAL READING, LEAVE ON FOR NEW

Due Date    : 07/12/06     Cust/Comp Resp: CUST

Resolution Dte : 07/12/06

Resolution  : R=7090  F/C=2780

LEFT ON

JA/KIM

====================================================================================================

Subdivision : 00637        Route         : 637             Service Order # : 068180

Account #   : 006370014644 Customer Name : MANUEL          , CAROL

Address     : 133          LAKE TARPON          DR         Phone #         : (727) 787-8407

Entry Date  : 07/10/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LOCK

TAG FOR NEW

Due Date    : 07/17/06     Cust/Comp Resp: CUST

Resolution Dte : 07/17/06

Resolution  : FR=16000

FC=5,010

SH/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 144

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 069108

Account #   : 006260012805 Customer Name : MELTON          , JERRY

Address     : 11836        BAYONET              LN         Phone #         : (727) 856-5624

Entry Date  : 07/12/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READ

LEAVE ON FOR NEW APPLY

Due Date    : 07/25/06     Cust/Comp Resp: CUST

Resolution Dte : 07/25/06

Resolution  : R=132940   LEFT ON FOR NEW

F/C=250

JA/KIM

====================================================================================================

Subdivision : 00624        Route         : 624             Service Order # : 070487

Account #   : 006241010844 Customer Name : MENDOZA         , JOSE

Address     : 635          DURANGO              WAY        Phone #         : (407) 662-6220

Entry Date  : 07/17/06     Serv Ord Type : 17              Operator        :

Comments    : PER CUST ONLY SPEAKS SPANISH STATED WTR IS GOING DOWN HER DRIVE AND/OR

INFRONT OF THE HOME

GAVE TO JP IN OFFICE HE WILL DISPATCH IT OUT

Due Date    : 07/17/06     Cust/Comp Resp: CUST

Resolution Dte : 07/17/06

Resolution  : MR=1204720

LEAK IS IN CUSTOMERS LINE.

ADVISED CUSTOMER TO CALL A PLUMBER.

MATT/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 145

Service Order Detail Report

Subdivision : 00626        Route         : 2               Service Order # : 070531

Account #   : 006260021921 Customer Name : JEDLICKA        , ALVIN

Address     : 11612        PEAR TREE            DR         Phone #         : (   )    -

Entry Date  : 07/17/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READ AND LEAVE ON FOR NEW APPLY

Due Date    : 07/18/06     Cust/Comp Resp: CUST

Resolution Dte : 07/18/06

Resolution  : R=158940  F/C=20

LEFT ON FOR NEW CUSTOMER.

JA/KIM

====================================================================================================

Subdivision : 00614        Route         : 614             Service Order # : 070918

Account #   : 006141011952 Customer Name : SEYMORE         , ALBERT

Address     : 1837         LINCOLN              AVE        Phone #         : (407) 322-4930

Entry Date  : 07/17/06     Serv Ord Type : 27              Operator        :

Comments    : CUSTOMER CALLED DUE TO POSSIBLE SERVICE LINE LEAK ON OUR SIDE

HE NOTICE WATER ON BOTH SIDES OF THE ROAD.

PAGED TO MARINELLI  (A.M. CHECK)

Due Date    : 07/18/06     Cust/Comp Resp: CUST

Resolution Dte : 07/18/06

Resolution  : R=345660  THERE IS A SLOW LEAK BUBBLING UP THROUGH ASPHALT CRACK. SEEMS

TO BE WASHING OUT THE DIRT UNDER ASPHALT.

WILL HAVE CONTACTORS TO COME OUT AND REPAIR LINE.

JM/FQ/KIM

7/24/06 CONTRACTOR INSTALLED NEW SERVICE LINE.

JM/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 146

Service Order Detail Report

Subdivision : 00620        Route         : 620             Service Order # : 070939

Account #   : 006200011443 Customer Name : TOMPKINS        , YVONNE

Address     : 6201     W   RIDGEWOOD            ST         Phone #         : (407) 898-5724

Entry Date  : 07/17/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READING AND LOCK TAG FOR NEW

GAVE CONF# 70939

Due Date    : 07/31/06     Cust/Comp Resp: CUST

Resolution Dte : 07/31/06

Resolution  : R=3428290   F/C=9670

JP/KIM

====================================================================================================

Subdivision : 00616        Route         :                 Service Order # : 071261

Account #   : 006160000000 Customer Name :                 ,

Address     :                                              Phone #         : (   )    -

Entry Date  : 07/18/06     Serv Ord Type : 17              Operator        :

Comments    : VICKY WITH SEMINOLE COUNTY ROADS & STORMWATER DEPT. CALLED TO REPORT

A CREW CUT OUR MAIN LOCATED AT 3200 CURTIS DRIVE IN BEAR LAKE.

PAGED TO JEFF PINDER

Due Date    : 07/18/06     Cust/Comp Resp: CUST

Resolution Dte : 07/18/06

Resolution  : 07/18/06 MR= N-A... PER FIELD CHECKED, COUNTY HIT THERE OWN LINE WE HAVE

NOTHING IN AREA OF WORK BEING DONE

JP/RB

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 147

Service Order Detail Report

Subdivision : 00612        Route         : 612             Service Order # : 071287

Account #   : 006120010570 Customer Name : BEVERLY         , GARY

Address     : 404          PINE                 DR         Phone #         : (407) 322-8906

Entry Date  : 07/18/06     Serv Ord Type : 20              Operator        :

Comments    : NSF CHK#2531 7/7/6 $75.00

BANK SERV FEE       30.00

TOTAL AMNT DUE     $105.00 PAYABLE BY CASHIER CHK OR M\O ONLY

TO AVOID INTERRUPTION OF SERV AND A $15 RECONNECT FEE

5 DAY LTTR MAILED 7/19

Due Date    : 07/26/06     Cust/Comp Resp: CUST

Resolution Dte : 07/26/06

Resolution  : 8/1/06 CUSTOMER PAID $75.00 RECONNECT CHARGE WAS NOT PAID.

WILL SHOW AS PAST DUE AMOUNT ON CUSTOMER'S ACCOUNT.

KIM

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 071328

Account #   : 006260023791 Customer Name : GIANNOTTA       , PETER      J

Address     : 11615        FOXWORTH             LN         Phone #         : (727) 379-9447

Entry Date  : 07/18/06     Serv Ord Type : 28              Operator        :

Comments    : PER CUST STATED VERY LOW WATER PRESSURE, PLEASE SE WHAT CAN BE DONE AND

TAG HOME W/FINDINGS

Due Date    : 07/18/06     Cust/Comp Resp: CUST

Resolution Dte : 07/18/06

Resolution  : R=271750   PSI GOOD AT HOSE BIB, SPOKE WITH CUSTOMER.

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 148

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 071437

Account #   : 006260010124 Customer Name : KAMINSKI        , MARY

Address     : 12015        BAYONET              LN         Phone #         : (727) 857-2491

Entry Date  : 07/18/06     Serv Ord Type : 28              Operator        :

Comments    : PER CUST REQ STATED LOW WTR PRESSURE, PLEASE SEE WHAT CAN BE DONE

Due Date    : 07/18/06     Cust/Comp Resp: CUST

Resolution Dte : 07/18/06

Resolution  : R=345780  PSI IS FINE SPOKE WITH THE CUSTOMER.

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 072002

Account #   : 006260010652 Customer Name : LUKES           , JOHN       H

Address     : 11933        BOYNTON              LN         Phone #         : (815) 675-3208

Entry Date  : 07/19/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND  LEAVE ON PER NEW

Due Date    : 07/20/06     Cust/Comp Resp: CUST

Resolution Dte : 07/20/06

Resolution  : R=282460  LEFT ON FOR NEW

F/C=0

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 149

Service Order Detail Report

Subdivision : 00610        Route         : 610             Service Order # : 072407

Account #   : 006100010651 Customer Name : LUNDQUIST       , ARIA       E

Address     : 424          CRYSTAL              DR         Phone #         : (322) 229-6

Entry Date  : 07/20/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READ, LOCK AND TAG FOR NEW APPLY

Due Date    : 07/24/06     Cust/Comp Resp: CUST

Resolution Dte : 07/24/06

Resolution  : R=160840  LEFT ON FOR NEW CUSTOMER.

SLOW LEAK ON CUSTOMER'S LINE @ WATER SOFTENER

TAGGED WITH INFO.

JH/KIM

====================================================================================================

Subdivision : 00629        Route         : 629             Service Order # : 072469

Account #   : 006290004704 Customer Name : MONE            , CLAUDIA

Address     : 4634         TROPICAL             LN         Phone #         : (727) 934-6291

Entry Date  : 07/20/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READING LOCK OFF AND TAG FOR NEW

GAVE CONF# 72469

Due Date    : 07/25/06     Cust/Comp Resp: CUST

Resolution Dte : 07/25/06

Resolution  : R=47030  F/C=90

LEFT ON

JF/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 150

Service Order Detail Report

Subdivision : 00620        Route         : 620             Service Order # : 072958

Account #   : 006200011581 Customer Name : GALIPEAU        , HOWARD

Address     : 6030     W   RIDGEWOOD            ST         Phone #         : (407) 292-2956

Entry Date  : 07/21/06     Serv Ord Type : 12              Operator        :

Comments    : READ, TURNOFF, LOCK, TAG

Due Date    : 07/26/06     Cust/Comp Resp: CUST

Resolution Dte : 07/26/06

Resolution  : R=797950

F/C=2600

LOCKED OFF AND TAGGED

JPL/KIM

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 073225

Account #   : 006260020955 Customer Name : ROBINSON        , NANCI

Address     : 11807        TUPELO               DR         Phone #         : (727) 992-0172

Entry Date  : 07/24/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LEAVE ON PER NEW

Due Date    : 07/27/06     Cust/Comp Resp: CUST

Resolution Dte : 07/27/06

Resolution  : R=88050  F/C=10

LEFT ON

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 151

Service Order Detail Report

Subdivision : 00626        Route         : 2               Service Order # : 073281

Account #   : 006260020452 Customer Name : SANTINI         , RICHARD

Address     : 11516        PAMPAS               DR         Phone #         : (727) 856-3109

Entry Date  : 07/24/06     Serv Ord Type : 15              Operator        :

Comments    : MR. CALLED WANTING THE WATER SHUT OFF SO HE COULD MAKE REPAIRS.

PAGED TO JACK

Due Date    : 07/24/06     Cust/Comp Resp: CUST

Resolution Dte : 07/24/06

Resolution  : R=431810   REPAIRED SHUT OFF VALVE THAT WAS LEAKING.

JA/KIM

====================================================================================================

Subdivision : 00612        Route         : 612             Service Order # : 074794

Account #   : 006120023948 Customer Name : BUCHER          , JASON

Address     : 137          FAIRWAY              DR         Phone #         : (321) 229-5499

Entry Date  : 07/26/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READ

LEAVE ON FOR NEW APPLY

Due Date    : 07/28/06     Cust/Comp Resp: CUST

Resolution Dte : 07/28/06

Resolution  : R=2579910  F/C= 2240

LEFT ON

JH/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 152

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 074807

Account #   : 006260012066 Customer Name : LOVERDI         , JOHN

Address     : 11839        BOYNTON              LN         Phone #         : (516) 755-0094

Entry Date  : 07/26/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READ

LEAVE ON FOR NEW APPLY

Due Date    : 08/01/06     Cust/Comp Resp: CUST

Resolution Dte : 08/01/06

Resolution  : R=98440  F/C=0

LEFT ON

JA/KIM

====================================================================================================

Subdivision : 00612        Route         : 612             Service Order # : 075013

Account #   : 006120022751 Customer Name : BAGGETT         , F          E

Address     : 106          SUNSET               DR         Phone #         : (407) 322-4645

Entry Date  : 07/27/06     Serv Ord Type : 20              Operator        : 612

Comments    : CUSTOMER, FREEMAN BAGGETT PHONE: 407-322-4645, HOME PHONE.HE IS ASKING

IF HE CAN TAP INTO THE WATER LINE THEY ARE RUNNING OUT THERE.

I LEFT HIM A MESSAGE THAT SOMEONE FROM THE FIELD WOULD BE IN CONTACT

WITH HIM WITHIN FIVE WORKING DAYS.

Due Date    : 08/05/06     Cust/Comp Resp: CUST

Resolution Dte : 07/27/06

Resolution  : THIS CUSTOMER IS GOING TO BE INQUIREING ABOUT ANOTHER LOCATION (SINCE

HE IS ALREADY A CUSTOMER FOR THIS ADDRESS !!!

SO WE WILL NEED TO WAIT UNTIL HE RETURNS MY CALL.

SORRY GUYS - LORETTA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 153

Service Order Detail Report

Subdivision : 00612        Route         :                 Service Order # : 075084

Account #   : 006120000000 Customer Name :                 ,

Address     :                                              Phone #         : (   )    -

Entry Date  : 07/27/06     Serv Ord Type : 20              Operator        : 612

Comments    : BOB HOWARD AT 110 SUNSET DRIVE IN SANFORD NEAR 46-A IS ASKING IF WATER

WILL BE AVAILABLE TO HIS ADDRESS - AND IF SO, THE COST - PLEASE.

LORETTA

Due Date    : 08/05/06     Cust/Comp Resp: CUST

Resolution Dte : 07/31/06

Resolution  : COST TO HOOK UP WILL BE $350.00. JOHN MARINELLI:LA

IT IS MY UNDERSTANDING THEY ARE STILL RUNNING LINES ALONG THE STREET/

ROADWAY. LA

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 075118

Account #   : 006260020452 Customer Name : SANTINI         , RICHARD

Address     : 11516        PAMPAS               DR         Phone #         : (727) 856-3109

Entry Date  : 07/27/06     Serv Ord Type : 17              Operator        :

Comments    : MR. CALLED BECAUSE THE VALVE THAT A CONTRACTOR INSTALLED HERE FOR US IS

LEAKING. PLEASE REPAIR THE VALVE. HE WANTS THE CONTRACTOR TO COME BACK.

HE ALSO SAID TO LET HIM KNOW WHEN YOU ARE THERE.

Due Date    : 07/28/06     Cust/Comp Resp: CUST

Resolution Dte : 07/28/06

Resolution  : R=431810  NO LEAKS WATER MAY BE COMING FROM IRRIGATION SPRINKLERS

TALKED WITH CUSTOMER. CUSTOMER IS AWARE OF FINDINGS

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 154

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 075145

Account #   : 006260013203 Customer Name : COOPER          , SHIRLEY

Address     : 11839        BAYONET              LN         Phone #         : (707) 465-8904

Entry Date  : 07/27/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LEAVE ON FOR NEW

Due Date    : 07/28/06     Cust/Comp Resp: CUST

Resolution Dte : 07/28/06

Resolution  : R=178190  F/C=10

LEFT ON

JA/KIM

====================================================================================================

Subdivision : 00612        Route         : 612             Service Order # : 075367

Account #   : 006120011742 Customer Name : WILKINS         , LEWIS      F

Address     : 408          LAKE                 BLV        Phone #         : (407) 323-1868

Entry Date  : 07/28/06     Serv Ord Type : 20              Operator        :

Comments    : NSF CHK#3521 7/15/6 $37.28

BANK SERV FEE        25.00

TOTAL AMNT DUE      $62.28 PAYABLE BY CASHIER CHK OR M\O ONLY

TO AVOID INTERRUPTION OF SERV AND A $15 RECONNECT FEE

5 DAY LTTR MAILED 7/31

Due Date    : 08/07/06     Cust/Comp Resp: CUST

Resolution Dte : 08/07/06

Resolution  : 8/4/06 CUSTOMER PAID, NO FURTHER ACTIONS TO BE TAKEN

KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 155

Service Order Detail Report

Subdivision : 00612        Route         :                 Service Order # : 075388

Account #   : 006120000000 Customer Name :                 ,

Address     :                                              Phone #         : (   )    -

Entry Date  : 07/28/06     Serv Ord Type : 20              Operator        : 612

Comments    : FREEMAN BAGGETT - PHONE #407-322-4645 HOME, OR WORK PHONE 407-333-0137

IS ASKING IF WATER SERVICE CAN BE EXTEND TO 112 SUNSET - A HOUSE THAT

HE OWNS.  IF SO, THE COST PLEASE.

THANKS, LORETTA

Due Date    : 08/05/06     Cust/Comp Resp: CUST

Resolution Dte : 07/31/06

Resolution  : SPOKE WITH THE CUSTOMER AND INFORMED THEM THE COST WILL BE $350.00 AND

HE (FREEMAN BAGGETT) WILL BE RESPONSIBLE TO HOOK UP TO THE HOUSE.JM:LA

====================================================================================================

Subdivision : 00620        Route         : 620             Service Order # : 075875

Account #   : 006200011153 Customer Name : MORSE           , GLORIA     S

Address     : 6124     W   MELBOURNE            AVE        Phone #         : (407) 295-1596

Entry Date  : 07/31/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LOCK

TAG FOR NEW

Due Date    : 08/01/06     Cust/Comp Resp: CUST

Resolution Dte : 08/01/06

Resolution  : R=1427270   F/C=2060

LOCKED OFF AND TAGGED

JPL/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 156

Service Order Detail Report

Subdivision : 00629        Route         :                 Service Order # : 076018

Account #   : 006290000000 Customer Name :                 ,

Address     :                                              Phone #         : (   )    -

Entry Date  : 07/31/06     Serv Ord Type : 20              Operator        : 0629

Comments    : BETH WITH PANDA CONSTRUCTION - PHONE 727-815-9621 EXT. 1 - IS ASKING IF

WE CAN PROVIDE SERVICE TO:  4909 ANN DRIVE

PLEASE ADVISE HER AND MYSELF - IF WE CAN PROVIDE SERVICE - THE COST

PLEASE.                         SEND THE RESOLUTION

TO ME (LORETTA) AT THE OPERATION FAX NUMBER: 407-869-6961 - THANKS!!

Due Date    : 08/05/06     Cust/Comp Resp: CUST

Resolution Dte : 08/02/06

Resolution  : YES, WE CAN. WE ARE AWAITING THE BID FROM THE CONTRACTOR. ??:LA

08/03/06 - $550.00 SENT INFO TO LORETTA. LA

08/07/06 - LORETTA BETH ASK IF YOU COULD CALL HER. SH:LA

08/09/06 - PER KAREN SASIC WE CAN ONLY CHARGE THE $65.00 TAP FEE AFTER I

CHECKED WITH STEVE HABERY AS TO WHETHER IT WAS TO EXTEND THE MAIN EXT.

OR JUST A TAP - STEVE SAYS A TAP - AS IT IS IN THE BACK OF THE HOUSE.LA

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 076354

Account #   : 006260010533 Customer Name : CORBIN          , CECILIA

Address     : 11825        CARISSA              LN         Phone #         : (727) 856-8389

Entry Date  : 07/31/06     Serv Ord Type : 32              Operator        :

Comments    : BAD ODOR IN WATER-TAG W/FINDINGS

Due Date    : 08/01/06     Cust/Comp Resp: CUST

Resolution Dte : 08/01/06

Resolution  : R=43170

IN LINE WATER SOFTERNER TAKING OUT CL2 AND ALLOWING THIS ODOR.

TAGGED DOOR WITH FINDINGS.

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 157

Service Order Detail Report

Subdivision : 00626        Route         : 2               Service Order # : 076423

Account #   : 006260023721 Customer Name : SCHULTZ         , ANNA

Address     : 11546        HOLLY ANN            DR         Phone #         : (727) 856-6608

Entry Date  : 08/01/06     Serv Ord Type : 32              Operator        :

Comments    : BAD ODOR ALL THRU HOUSE-TAG W/FINDINGS

DB PH JACKS CELL 407-948-0023-RADIO OUT PER STEVE

9:30AM

Due Date    : 08/01/06     Cust/Comp Resp: CUST

Resolution Dte : 08/01/06

Resolution  : R=203870

SPOKE WITH CUSTOMER SHE HAS A WATER SOFTENER IN LINE. SHE IS CALLING

COMPANY TO SEE IF THEY WILL BYPASS THE SOFTENER.

JA/KIM

====================================================================================================

Subdivision : 00612        Route         :                 Service Order # : 076896

Account #   : 006120000000 Customer Name :                 ,

Address     :                                              Phone #         : (   )    -

Entry Date  : 08/01/06     Serv Ord Type : 20              Operator        : 612

Comments    : KEVIN KELLY WITH RE-MAX IS ASKING IF WE CAN PROVIDE SERVICE TO

209 HOMEWOOD DRIVE IN SANFORD. AND IF SO THE COST PLEASE.

I SEE WE DO SERVICE 201, 205 AND 213 HOMEWOOD DRIVE.

Due Date    : 08/08/06     Cust/Comp Resp: CUST

Resolution Dte : 08/03/06

Resolution  : SHORT SIDE SERVICE COST IS $350.00. THIS CAN BE DONE.JOHN MARINELLI:LA

I CALLED KEVIN KELLY WITH RE-MAX RE: THE WATER SERVICE AVAILABILITY AT

209 HOMEWOOD DRIVE IN SANFORD. KEVIN'S PHONE NUMBER IS: 407-687-8403.LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 158

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 077135

Account #   : 006260060991 Customer Name : WINDISCH        , PAUL       G

Address     : 11228        CLEAR OAK            CIR        Phone #         : (386) 574-7372

Entry Date  : 08/02/06     Serv Ord Type : 32              Operator        :

Comments    : CUSTOMER SAYS WATER IS SMELLING TERRIBLE. PAGED JACK

Due Date    : 08/02/06     Cust/Comp Resp: CUST

Resolution Dte : 08/02/06

Resolution  : R=73680

HOT WATER IS SMELLING NOT THE CUSTOMER'S COLD WATER.

TOLD THE CUSTOMER TO FLUSH WATER  HEATER.

JA/KIM

====================================================================================================

Subdivision : 00610        Route         : 610             Service Order # : 077313

Account #   : 006100010782 Customer Name : ADCOCK          , ANDY

Address     : 107          PINE LAKE            DR         Phone #         : (407) 322-0676

Entry Date  : 08/02/06     Serv Ord Type : 2               Operator        :

Comments    : PLEASE OBTAIN READING AND LUBRICATE/EXERCISE VALVE

A.M. REQUEST.

Due Date    : 08/16/06     Cust/Comp Resp: CUST

Resolution Dte : 08/16/06

Resolution  : R=385292   NEED TO INSTALL NEW CURB-STOP VALVE HEAD IS

RUSTED AND BROKEN OFF. SCHEDULED FOR 1ST OF NEXT WEEK. REQUESTED THAT

CUSTOMER  HAVE SHUT OFF VALVE INSTALLED AFTER THE METER

CURBSTOP IS FOR MAINTENCE ONLY.

FQ/KIM

08/16/06 PLEASE RESOLVE, CUST CALLED ON 8/14/06 TO FIND OUT IF THIS S/O

HAS BEEN WORKED ON PLEASE CALL CUST W/ETA OF WHEN THIS WILL BE DONE SO

THAT SHE CAN CONCLUDE HER REPAIRS W/HER PLUMBER, THANKS RB.

8/16/06 - INSTALLED NEW METER #32438409 R/10  OLD METER #F908011

R=3859270  REPLACED METER.   FQ/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 159

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 077669

Account #   : 006260011083 Customer Name : CONNELLY        , JOSEPH

Address     : 11912        BOYNTON              LN         Phone #         : (631) 928-0640

Entry Date  : 08/03/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LEAVE ON FOR N EW

Due Date    : 08/14/06     Cust/Comp Resp: CUST

Resolution Dte : 08/14/06

Resolution  : R=207020   F/C= 2010

LEFT ON FOR NEW

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 077708

Account #   : 006260070051 Customer Name : WORTH           , MILTON

Address     : 11234        GOLF ROUND           DR         Phone #         : (727) 856-0390

Entry Date  : 08/03/06     Serv Ord Type : 30              Operator        :

Comments    : CUSTOMER SAYS HE TESTED THE CHLORINE IN THEIR WATER AND WE HAVE HARDLY

NO CHLORINE IN THEIR WATER. PLEASE CHECK.

PAGED JACK

Due Date    : 08/03/06     Cust/Comp Resp: CUST

Resolution Dte : 08/03/06

Resolution  : R=16270

SPOKE WITH THE CUSTOMER, SHOWED HIM WE HAVE CL2 RESIDUAL GOING TO HIS

HOUSE. TOLD HIM WE WILL FLUSH, HE WAS OKAY WITH THIS.

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 160

Service Order Detail Report

Subdivision : 00610        Route         :                 Service Order # : 077755

Account #   : 006100000000 Customer Name :                 ,

Address     :                                              Phone #         : (   )    -

Entry Date  : 08/03/06     Serv Ord Type : 20              Operator        : 610

Comments    : JOHN: MRS. AMBURGEY 407-491-9288 LIVES AT 5165 S.SANFORD AVE. IN

SANFORD.SHE IS NEAR MYRTLE AND HESTER, OFF RONALD REGAN BLVD.AND LAKD

MARY BLVD. NEAR THE NEW DEVELOPMENT OF LAKE JESSUP WOODS.

SHE HAS ALREADY CALLED SANFORD AND SEMINOLE CO. THIS DOES NOT SOUND LIKE

OUR AREA, EITHER.  THANKS FOR CHECKING......

Due Date    : 08/08/06     Cust/Comp Resp: CUST

Resolution Dte : 08/04/06

Resolution  : 5165 S. SANFORD AVE. IN SANFORD IS NOT IN OUR SERVICE AREA. CALLED

MRS. AMBURGEY 407-491-9288 AND LEFT A MESSAGE. JOHN MARINELLI:LA

====================================================================================================

Subdivision : 00629        Route         : 629             Service Order # : 078378

Account #   : 006290003908 Customer Name : MYALIK          , ALEKSEY

Address     : 4705         TROPICAL             LN         Phone #         : (727) 376-9947

Entry Date  : 08/07/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LEAVE ON FOR NEW

Due Date    : 08/09/06     Cust/Comp Resp: CUST

Resolution Dte : 08/09/06

Resolution  : R=227720  F/C=5100

LEFT ON FOR NEW CUSTOMER.

JF/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 161

Service Order Detail Report

Subdivision : 00612        Route         : 612             Service Order # : 078456

Account #   : 006120022483 Customer Name : PROZIG REALTY   ,

Address     : 216          SUNSET               DR         Phone #         : (407) 322-8678

Entry Date  : 08/07/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READING LEAVE ON

GAVE CONF# 78456

Due Date    : 08/08/06     Cust/Comp Resp: CUST

Resolution Dte : 08/08/06

Resolution  : R=1422530  F/C=390

LEFT ON FOR NEW CUSTOMER.

KC/KIM

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 078901

Account #   : 006260024311 Customer Name : KEITH           , MARY       T

Address     : 11647        FOXWORTH             LN         Phone #         : (   )    -

Entry Date  : 08/07/06     Serv Ord Type : 17              Operator        :

Comments    : READ, CHECK FOR LEAKS-TAG -NEIGHBOR TURNED OFF AT CUST VALVE-HE SAID

IT IS OUR LEAK-DO REPAIR IF IS AND INFORM CUSTOMER

PHONED AFTER HRS-DB INFORMED FT ON DISPATCH*NOTE FOR OFFICE*

Due Date    : 08/07/06     Cust/Comp Resp: CUST

Resolution Dte : 08/07/06

Resolution  : R=122550  LEAK WAS ON THE CUSTOMER SIDE, SPOKE WITH CUSTOMER ABOUT THIS.

KS/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 162

Service Order Detail Report

Subdivision : 00602        Route         : 602             Service Order # : 078970

Account #   : 006020023058 Customer Name : VACANT          ,

Address     : 531          CARLISLE             AVE        Phone #         : (   )    -

Entry Date  : 08/08/06     Serv Ord Type : 20              Operator        : 602

Comments    : PLEASE CHECK THIS ADDRESS TO SEE IF THE SERVICE HAS BEEN LOCKED OFF --

IF IT HAS NOT BEEN - PLEASE DO SO AS SOON AS POSSIBLE.

PLEASE GIVE OR FAX THE RESOLUTION BACK TO ME (LORETTA)

THANK YOU..

Due Date    : 08/09/06     Cust/Comp Resp: CUST

Resolution Dte : 08/08/06

Resolution  : READING IS: 1357150. THIS IS THE HOUSE THAT BURNED DOWN. WATER SERVICE

IS OFF. JEFF PINDER:LA

====================================================================================================

Subdivision : 00624        Route         : 624             Service Order # : 079487

Account #   : 006241011429 Customer Name : CALIXTO HERNAND , GUMARO

Address     : 619          BARBUDA              WAY        Phone #         : (407) 445-0073

Entry Date  : 08/09/06     Serv Ord Type : 10              Operator        :

Comments    : 7-6-06 319050

8-4-06 341460 HIGH CONS ON MVR

Due Date    : 08/09/06     Cust/Comp Resp: CUST

Resolution Dte : 08/09/06

Resolution  : READING 343050

MATT/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 163

Service Order Detail Report

Subdivision : 00629        Route         :                 Service Order # : 079580

Account #   : 006290000000 Customer Name :                 ,

Address     :                                              Phone #         : (   )    -

Entry Date  : 08/09/06     Serv Ord Type : 20              Operator        : 629

Comments    : BETH WITH PANDA CONSTRUCTION - PHONE 727-815-9621 EXT. 1 IS ASKING IF

WE CAN PROVIDE WATER TO LOT 9 ON ANN DRIVE. SHE DOES NOT HAVE A HOUSE

NUMBER BUT IT WILL MAYBE - BE - 4908. PLEASE ADVISE, ETC.

FAX THE RESOLUTION TO ME IN OPERATIONS - 407-869-6961. THANKS, LORETTA

Due Date    : 08/16/06     Cust/Comp Resp: CUST

Resolution Dte : 08/09/06

Resolution  : YES, WE CAN GIVE WATER TO THEM. CALLED BETH WITH THE INFO. STEVE

HABERY:LA

08/14/06 - KBH WILL CHARGE $550.00 FOR THE CONNECTION. STEVE HABERY:LA

I HAVE CHECKED WITH STEVE AND THIS ONE IS FOR A TAP, ONLY, NO EXT. IS

NEEDED. SO WE CAN ONLY CHARGE THE BUILDER, PANDA CONSTRUCTION, $65.00.LA

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 079735

Account #   : 006260020652 Customer Name : BAKKER          , AALT

Address     : 11828        WAX MYRTLE           CT         Phone #         : (727) 856-2101

Entry Date  : 08/09/06     Serv Ord Type : 32              Operator        :

Comments    : BAD SULPHUR SMELL ON HOT WATER-TOLD IF OCCURS 8/10 THEN HER HOT WATER

TANK IS THE ISSUE-JACK A WAQS PAGED AND HE WILL FLUSH THIS AREA

TODAY;12:40PM

Due Date    : 08/09/06     Cust/Comp Resp: CUST

Resolution Dte : 08/09/06

Resolution  : R=258610

JA/LKIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 164

Service Order Detail Report

Subdivision : 00620        Route         : 620             Service Order # : 080189

Account #   : 006200012718 Customer Name : HIDALGO         , RAFAEL

Address     : 432      N   JOHN                 ST         Phone #         : (407) 521-6002

Entry Date  : 08/10/06     Serv Ord Type : 14              Operator        :

Comments    : TL 371.18

CUSTOMER WILL PAY 123.72 + CURRENT BILL EACH MONTH UNTIL NOVEMBER 2006.

THIS WILL BRING CUSTOMER CURRENT.

CUSTOMER BILL WAS LARGE DUE TO IRRIG PROBLEMS.

Due Date    : 11/10/06     Cust/Comp Resp: CUST

Resolution Dte : 09/20/06

Resolution  : SHUT OFF - CUSTOMER DID NOT KEEP EXTENSION.

MR=2152480

READ LOCKED & TAGGED.

CUSTOMER PAID $338.00 BY PHONE   CONF #640148

CUSTOMER PAID $ 50.00 BY PHONE   CONF #031793

SERVICE WAS RESTORED.

JPL/LYN

====================================================================================================

Subdivision : 00612        Route         : 612             Service Order # : 080191

Account #   : 006120011356 Customer Name : ORITT           , STELLA

Address     : 223          FORREST              DR         Phone #         : (407) 323-6551

Entry Date  : 08/10/06     Serv Ord Type : 12              Operator        :

Comments    : TAKE FINAL READING, LEAVE ON FOR NEW

Due Date    : 08/11/06     Cust/Comp Resp: CUST

Resolution Dte : 08/11/06

Resolution  : R=380450   F/C=19710

LEFT ON FOR NEW CUSTOMER.

FQ/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 165

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 081049

Account #   : 006260012324 Customer Name : DEUTSCH         , STEFAN

Address     : 11719        BOYNTON              LN         Phone #         : (804) 515-1055

Entry Date  : 08/14/06     Serv Ord Type : 20              Operator        :

Comments    : CUSTOMER LEFT HOME IN MID MAY.

USAGE IS STILL REG. ON METER. PLEASE REREAD AND VERIFY METER NUMBER.

CHECK FOR LEAKS REG ON OR AT METER.

THANKS.

Due Date    : 08/14/06     Cust/Comp Resp: CUST

Resolution Dte : 08/14/06

Resolution  : CUSTOMER CALLED TO CANCEL ORDER. HE REALIZED HE WAS HOME DURING

BILLING PERIODS THAT THE METER WAS READ.

KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 081434

Account #   : 006260010152 Customer Name : PORZIO          , JOSEPH

Address     : 12019        BAYONET              LN         Phone #         : (727) 379-9172

Entry Date  : 08/15/06     Serv Ord Type : 1               Operator        :

Comments    : RE-READ METER. CUSTOMER SAYS NOTHING DIFFERENT WENT ON THERE BETWEEN

JUNE AND JULY. CHECK FOR LEAKS. TAG DOOR W/FINDINGS.

Due Date    : 08/16/06     Cust/Comp Resp: CUST

Resolution Dte : 08/16/06

Resolution  : R=658250

NO LEAKS

TAGGED DOOR WITH FINDINGS.

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 166

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 081541

Account #   : 006260070030 Customer Name : COSTA HOMES, IN ,

Address     : 11228        GOLF ROUND           DR         Phone #         : (727) 842-2329

Entry Date  : 08/15/06     Serv Ord Type : 12              Operator        :

Comments    : FINAL READ AND LOCK

TAG FOR NEW TO APPLY

Due Date    : 08/16/06     Cust/Comp Resp: CUST

Resolution Dte : 08/16/06

Resolution  : R=42390   F/C=0

LOCKED OFF AND TAGGED

JA/KIM

====================================================================================================

Subdivision : 00629        Route         : 629             Service Order # : 081556

Account #   : 006290002183 Customer Name : PERRI           , STEPHEN

Address     : 4946         LEMONWOOD            LOO        Phone #         : (609) 703-2021

Entry Date  : 02/21/06     Serv Ord Type : 22              Operator        :

Comments    : PLEASE OBTAIN READING AND TEMP LOCK OFF FOR SEASONAL CUSTOMER.

CUSTOMER IS AWARE OF VACATION RATE AND TURN ON POLICY.

Due Date    : 02/22/06     Cust/Comp Resp: CUST

Resolution Dte : 02/22/06

Resolution  : R=101680 LOCKED OFF FOR SEASONAL CUSTOMER.

SH/DB

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 167

Service Order Detail Report

Subdivision : 00610        Route         :                 Service Order # : 081779

Account #   : 006100000000 Customer Name :                 ,

Address     :                                              Phone #         : (   )    -

Entry Date  : 08/16/06     Serv Ord Type : 20              Operator        : 610

Comments    : MS. CARUTHERS AT 256 LAKEVIEW DR. IN SANFORD WANTS TO KNOW IF WE CAN

PROVIDE SERVICE TO HER AND THE COST INVOLVED.

HER PHONE NUMBER IS: 407-322-3099

THANKS !

Due Date    : 08/23/06     Cust/Comp Resp: CUST

Resolution Dte : 08/18/06

Resolution  : CALLED AND INFORMED THEM THAT WE CAN GIVE THEM WATER. $350.00 WILL BE

THE COST. JOHN MARINETTI:LA

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 081787

Account #   : 006260070031 Customer Name : FARLEY          , DAVID      A

Address     : 11228        GOLF ROUND           DR         Phone #         : (828) 926-8320

Entry Date  : 08/16/06     Serv Ord Type : 13              Operator        :

Comments    : SEE OFFC FOR WAIVER

READ AND T/ON FOR NEW OWNER.

Due Date    : 08/17/06     Cust/Comp Resp: CUST

Resolution Dte : 08/17/06

Resolution  : R= 42390  TURNED ON FOR NEW CUSTOMER.

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 168

Service Order Detail Report

Subdivision : 00612        Route         : 612             Service Order # : 082284

Account #   : 006120011067 Customer Name : FOSTER          , ABIGAIL    A

Address     : 206          FORREST              DR         Phone #         : (407) 302-2145

Entry Date  : 08/17/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL REAIDNG AND LEAVE ON FOR NEW CUSTOMER.

GAVE CONF # 82284

Due Date    : 08/18/06     Cust/Comp Resp: CUST

Resolution Dte : 08/18/06

Resolution  : R=727910  F/C= 790

LEFT ON FOR NEW CUSTOMER.

JH/KIM

====================================================================================================

Subdivision : 00612        Route         : 612             Service Order # : 082937

Account #   : 006120011432 Customer Name : HASSON          , WILLIAM    S

Address     : 418          LAKE                 BLV        Phone #         : (407) 462-7992

Entry Date  : 08/18/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READING AND LOCK OFF TAG FOR NEW CUSTOMER.

GAVE CONF# 82937

Due Date    : 08/25/06     Cust/Comp Resp: CUST

Resolution Dte : 08/25/06

Resolution  : R=679690  F/C=650  LEFT ON FOR NEW

JH/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 169

Service Order Detail Report

Subdivision : 00626        Route         : 2               Service Order # : 083139

Account #   : 006260021361 Customer Name : EVERLY          , CLARENCE

Address     : 11736        WHITE ASH            DR         Phone #         : (727) 856-1423

Entry Date  : 08/18/06     Serv Ord Type : 12              Operator        :

Comments    : READ, TURNOFF, LOCK, TAG

Due Date    : 08/21/06     Cust/Comp Resp: CUST

Resolution Dte : 08/21/06

Resolution  : R= 134390  F/C=250

LEFT ON

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 083254

Account #   : 006260022151 Customer Name : DORSEY          , EVELYN

Address     : 11630        GOLDEN RAIN          DR         Phone #         : (904) 808-7017

Entry Date  : 08/18/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READ

LOCK AND TAG FOR NEW APPLY

GAVE#

Due Date    : 08/21/06     Cust/Comp Resp: CUST

Resolution Dte : 08/21/06

Resolution  : R=540170   F/C=250

LOCKED OFF AND TAGGED

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 170

Service Order Detail Report

Subdivision : 00610        Route         : 610             Service Order # : 083677

Account #   : 006100010980 Customer Name : CARUTHERS       , JACQUELINE C

Address     : 256          LAKEVIEW             DR         Phone #         : (407) 322-3099

Entry Date  : 08/21/06     Serv Ord Type : 8               Operator        : 610

Comments    : TAP FEE HAS BEEN PAID FOR NEW 5/8" WATER TAP ON THE ADDRESS SHOWN ABOVE.

PLEASE PROVIDE ALL THE METER INFO, INCLUDING THE LOCATION OF METER.

IF UNABLE TO COMPLETE WITHIN FIVE WORKING DAYS, PLEASE ADVISE.

THANKS, LORETTA.

Due Date    : 09/22/06     Cust/Comp Resp: CUST

Resolution Dte : 08/25/06

Resolution  : PER JOHN MARINELLI WE NEED TO CHANGE THE DUE DATE TO: 09/22/06. JOHN

MARINELLI and LORETTA A.

09/18/06 - ADDED NEW METER #32438401 AND TAPPED MAIN FOR 1" LONG SIDE

POLY SERVICE LINE REDUCED TO 3/4" METER SET.PARTS USED:1"CORP.STOP,

1"POLY LINE APPROX. 100 FT.,1"MALE ADAPTER, 3/4" CURB STOP, 3/4"METER,

2 - 3/4" METER NIPPLES, 1" - 3/4" N.BUSHING, METER BOX AND LID. FRED:LA

2 1/2 TAPPING SADDLE FOR 2 1/2" G.MAIN.FRED:LA THE LOCATION AND THE MAKE

OF METER WAS NOT NOTED. LA

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 083678

Account #   : 006260022152 Customer Name : HASTINGS        , MARGARET   B

Address     : 11630        GOLDEN RAIN          DR         Phone #         : (603) 863-5264

Entry Date  : 08/21/06     Serv Ord Type : 20              Operator        :

Comments    : READ AND T/ON

SEE OFFICE FOR WAIVER

Due Date    : 08/22/06     Cust/Comp Resp: CUST

Resolution Dte : 08/22/06

Resolution  : DID NOT TURN ON NO WAIVER ON FILE

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 171

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 083824

Account #   : 006260081340 Customer Name : LEXINGTON HOMES ,

Address     : 11451        MERGANSER            WAY        Phone #         : (727) 816-9351

Entry Date  : 08/22/06     Serv Ord Type : 16              Operator        :

Comments    : RAY FROM LEXINGTON WANTS TO CALLED REGARDING WHERE METER WAS SET. IT'S

WHERE PROPOSED DRIVEWAY IS GOING TO BE. WANTS TO HAVE METER RELOCATED.

CALL HIM AT 727-243-5012

Due Date    : 08/23/06     Cust/Comp Resp: CUST

Resolution Dte : 08/23/06

Resolution  : IT IS A 2" BLOW OFF AND CAN NOT BE MOVED. TOLD LEXINGTON HOMES WE WILL

PUT A TRAFFICE BEARING BY, HE SEEMED OKAY WITH THIS..

SH/KIM

====================================================================================================

Subdivision : 00604        Route         : 604             Service Order # : 083856

Account #   : 006040010706 Customer Name : TOLBERT         , DONNA      M

Address     : 503          FAITH                TER        Phone #         : (407) 332-0622

Entry Date  : 08/22/06     Serv Ord Type : 21              Operator        :

Comments    : 7/13/06 R 100140

8/15/06 R 105830 H/C

Due Date    : 08/23/06     Cust/Comp Resp: CUST

Resolution Dte : 08/23/06

Resolution  : READING 106370 NO LEAKS

KC/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 172

Service Order Detail Report

Subdivision : 00629        Route         : 629             Service Order # : 083910

Account #   : 006290006070 Customer Name : PANDA CONSTRUCT ,

Address     : 4909         ANN                  DR         Phone #         : (727) 815-9621

Entry Date  : 08/22/06     Serv Ord Type : 8               Operator        : 629

Comments    : STEVE, I HAVE MADE THE DUE DATE FOR 09/22/06. SINCE THERE IS MAJOR WORK

TO BE DONE BEFORE YOU CAN SET THE METER.THE TAP FEE HAS BEEN PAID FOR

LOT 8 (4909 ANNE,THE BLDR.SAYS ANNE-WE USE ANN)IF YOU NEED TO SPEAK WITH

PANDA CONST.BETH'S EXT.IS 1 @ 727-815-9621.PLEASE PROVIDE ALL METER INFO

WITH THE LOCATION, ETC.AND FAX THE RESOLUTION TO 407-869-6961,OPERATIONS

Due Date    : 09/22/06     Cust/Comp Resp: CUST

Resolution Dte : 09/07/06

Resolution  : 5/8" METER NUMBER 33072774; READING 10.??:LA NO NOTATION AS TO THE MAKE

OR LOCATION OF THIS NEW METER. LA

====================================================================================================

Subdivision : 00629        Route         : 629             Service Order # : 083936

Account #   : 006290006080 Customer Name : PANDA CONSTRUCT ,

Address     : LOT 9        ANN                  DR         Phone #         : (727) 815-9621

Entry Date  : 08/22/06     Serv Ord Type : 8               Operator        : 629

Comments    : STEVE, I HAVE MADE THE DUE DATE FOR 09/22/06, SINCE THERE IS MAJOR WORK

TO BE DONE BEFORE YOU CAN SET THE METER.THE TAP FEE HAS BEEN PAID FOR

LOT 9 ANNE (PER BLDER.WE USE ANN) IF YOU NEED TO SPEAK WITH PANDA CONST.

BETH'S EXT.IS 1 @ 727-815-9621.PLEASE PROVIDE ALL METER INFO WITH THE

LOCATION, ETC.FAX THE RESOLUTION TO OPERATIONS #407-869-6961. THANKS

Due Date    : 09/22/06     Cust/Comp Resp: CUST

Resolution Dte : 09/07/06

Resolution  : NEW 5/8" METER NUMBER IS: 33072775; READING 10. ??:LA  NO MENTION OF THE

MAKE OR THE LOCATION OF THIS NEW METER.

LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 173

Service Order Detail Report

Subdivision : 00620        Route         : 620             Service Order # : 083964

Account #   : 006200011758 Customer Name : SENSER          , MICHAEL

Address     : 6227     W   ROBINSON             ST         Phone #         : (407) 291-3602

Entry Date  : 08/22/06     Serv Ord Type : 20              Operator        :

Comments    : NSF CHK#4835 8/9/6 $56.71

BANK SERV FEE       30.00

TOTAL AMNT DUE     $86.71 PAYABLE BY CASHIER CHK OR M\O ONLY

TO AVOID INTERRUPTION OF SERV AND A $15 RECONNECT FEE

5 DAY LTTR MAILED 8/23

Due Date    : 08/30/06     Cust/Comp Resp: CUST

Resolution Dte : 08/21/06

Resolution  : PAID $56.71

BATCH #PC#84

LYN

====================================================================================================

Subdivision : 00630        Route         : 1               Service Order # : 084126

Account #   : 006300101681 Customer Name : RYDER           , ROBERT

Address     : 5884     NW  80TH AVENUE          RD         Phone #         : (352) 216-4324

Entry Date  : 08/22/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 95.74

RECONN 15.00

TOTAL DUE 110.74

Due Date    : 08/22/06     Cust/Comp Resp: CUST

Resolution Dte : 08/22/06

Resolution  : CUSTOMER PAID, TURNED ON

DA/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 174

Service Order Detail Report

Subdivision : 00630        Route         : 1               Service Order # : 084329

Account #   : 006300302757 Customer Name : EVERETT         , ROBERT

Address     : 4939     NW  82ND                 CT         Phone #         : (352) 772-3647

Entry Date  : 08/23/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 112.75

RECON 15.00

TOTAL DUE 127.75

Due Date    : 08/22/06     Cust/Comp Resp: CUST

Resolution Dte : 08/22/06

Resolution  : 8/22/06 LOCKED OFF

8/22/06 CUSTOMER PAID, TURNED ON

DA/IC/FC TEMP

====================================================================================================

Subdivision : 00602        Route         : 602             Service Order # : 084886

Account #   : 006020010916 Customer Name : JAMES           , BARI

Address     : 316          NOTRE DAME           DR         Phone #         : (407) 445-2138

Entry Date  : 08/24/06     Serv Ord Type : 14              Operator        :

Comments    : NP    $ 91.01

REC     15.00

TL DUE $ 106.01 BEFORE RECONNECT

Due Date    : 08/24/06     Cust/Comp Resp: CUST

Resolution Dte : 08/24/06

Resolution  : 8/24/06 READ 2327180 T/OFF LOCKED

MATT/EC

**8/30/06 CHECK LOCK CUSTOMER HAS NOT PAID AS OF 8/29/06 (EC)

8/30/06 READ 2327180 STILL LOCKED OFF. SE/EC

9/1/06 CUSTOMER PAID IN OFC. SIGNED WAIVER SERVICE RESTORED.

JP/EC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 175

Service Order Detail Report

Subdivision : 00612        Route         : 612             Service Order # : 084927

Account #   : 006120023586 Customer Name : GANAS           , AMANDA

Address     : 143          BUNKER               LN         Phone #         : (407) 322-5677

Entry Date  : 08/24/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN READING AND CHECK TO SEE IF WATER IS TURNED ON FOR NEW

GAVE CONF# 84927

TAG IF WATER IS NOT ALREADY ON.

A.M. TURN ON  - BEFORE 11:00 REQUEST HAVE TO BE AT WORK 12:00NOON

Due Date    : 08/25/06     Cust/Comp Resp: CUST

Resolution Dte : 08/25/06

Resolution  : R=279740  TURNED ON FOR NEW

JH/KIM

====================================================================================================

Subdivision : 00602        Route         : 602             Service Order # : 084939

Account #   : 006020022577 Customer Name : MILLER          , THERESA

Address     : 530          GEORGIA              AVE        Phone #         : (407) 398-2891

Entry Date  : 08/24/06     Serv Ord Type : 14              Operator        :

Comments    : NP  $65.84

REC  15.00

TL DUE 80.84 BEFORE RECONNECT

Due Date    : 08/24/06     Cust/Comp Resp: CUST

Resolution Dte : 08/24/06

Resolution  : 8/24/06 READ  993200 T/OFF AND LOCKED

MATT/EC

** 8/30/06 PLEASE CHECK LOCK. NOT PAID AS OF 8/29/06 (EC)

8/30/06 READ 993200 STILL LOCKED OFF. SE/EC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 176

Service Order Detail Report

Subdivision : 00602        Route         : 602             Service Order # : 084956

Account #   : 006022010454 Customer Name : MENDEZ, JR.     , HECTOR

Address     : 129          OAK                  DR         Phone #         : (   )    -

Entry Date  : 08/24/06     Serv Ord Type : 14              Operator        :

Comments    : NP   $99.48

REC   15.00

TL DUE $114.48 BEFORE RECONNECT

Due Date    : 08/24/06     Cust/Comp Resp: CUST

Resolution Dte : 08/24/06

Resolution  : 8/24/06 READ  126220 T/OFF AND LOCKED.

MATT/EC

**8/30/06 CHECK LOCK CUSTOMER HAS NOT PAID AS OF 8/29/06 (EC)

8/30/06 READ 126220 STILL LOCKED OFF. SE/EC

====================================================================================================

Subdivision : 00612        Route         :                 Service Order # : 085304

Account #   : 006120000000 Customer Name :                 ,

Address     :                                              Phone #         : (   )    -

Entry Date  : 08/24/06     Serv Ord Type : 20              Operator        : 612

Comments    : BOB WHITE @ 300 LAKE BLVD. CORNER OF SUNSET AND LAKE BLVD.IS INTERESTED

IN THE POSSIBILITY OF WATER.SAYS SOMEONE GAVE THEM THE PRICE OF $690.00

AND TO CALL UTILITIES INC.AND TALK WITH GLEN SMITH. TOLD HIM NO ONE HERE

BY THAT NAME, ETC.WILL WE BE ABLE TO SUPPLY WATER TO HIM? WORK PHONE 407

260-1046 EXT.106. OR 407-322-6096 LA

Due Date    : 09/06/06     Cust/Comp Resp: CUST

Resolution Dte : 08/25/06

Resolution  : SPOKE WITH THE CUSTOMER AND INFORMED HIM THE COST IS $350.00 TO HOOKUP.

IT WILL BE 2 TO 3 WEEKS BEFORE CLEARANCE COMES IN FROM DEP. WE CAN FAX

HIM AN APPLICATIONS TO: 407-260-1275. JOHN MARINELLI:LA  I HAVE SENT THE

FAX TO HIM. (BOB WHITE) LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 177

Service Order Detail Report

Subdivision : 00616        Route         : 616             Service Order # : 085477

Account #   : 006160011576 Customer Name : DE LILLO        , FRANCES

Address     : 1203         MARIE                AVE        Phone #         : (407) 869-1441

Entry Date  : 08/25/06     Serv Ord Type : 17              Operator        :

Comments    : CUST CALLED AFTER HOURS ABOUT 6:15 PM SAID SHE HAD A BROKEN PIPE IN HOME

AND WAS FLOODING PLUMBER WAS NOT ABLE TO T/OFF CURB STOP AND CUST HOUSE

VALVE WOULD NOT CLOSE

Due Date    : 08/24/06     Cust/Comp Resp: CUST

Resolution Dte : 08/24/06

Resolution  : 08/24/06 PER FIELD CURB STOP WAS REUSTED IN THE OPEN POSITION, SERVICE

LINE WAS 3/4" COPPER SO I DID NOT WANT TO APPLY TO MUCH PRESSURE. WE CUT

3/4" COPPER PUT 2' BLUE 3/4" POLY WITH A COMP TO COMP TO A NEW 3/4" CURB

STOP WITH MTR PIGTAIL. RESET MTR WITH NEW MTR GASKESTS. LEFT SERVICE OFF

FOR CUSTOMER. CUST HAS APLUMBER COMING TO MAKE REPAIRS ON FRIDAY 8/25/06

MR=2755770

SE/RB

====================================================================================================

Subdivision : 00624        Route         : 624             Service Order # : 085478

Account #   : 006241010526 Customer Name : FRANCOIS        , ESAIE

Address     : 673          ENCINO               WAY        Phone #         : (407) 294-6515

Entry Date  : 08/25/06     Serv Ord Type : 14              Operator        :

Comments    : NP   $67.18

REC   15.00

TL DUE $82.18 BEFORE RECONNECT

Due Date    : 08/24/06     Cust/Comp Resp: CUST

Resolution Dte : 08/24/06

Resolution  : CUSTOMER PAID, TURNED ON

KC/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 178

Service Order Detail Report

Subdivision : 00624        Route         : 624             Service Order # : 085483

Account #   : 006241010537 Customer Name : BRATTON         , VERONICA

Address     : 679          ENCINO               WAY        Phone #         : (   )    -

Entry Date  : 08/25/06     Serv Ord Type : 14              Operator        :

Comments    : NP   $69.19

REC   15.00

TL DUE $ 84.19 BEFORE RECONNECT

Due Date    : 08/24/06     Cust/Comp Resp: CUST

Resolution Dte : 08/24/06

Resolution  : READING 304900 CUSTOMER PAID, TURNED ON

SE/IC

====================================================================================================

Subdivision : 00624        Route         : 624             Service Order # : 085484

Account #   : 006241010745 Customer Name : MANGUAL         , MARIBEL

Address     : 674          DURANGO              WAY        Phone #         : (407) 657-8008

Entry Date  : 08/25/06     Serv Ord Type : 14              Operator        :

Comments    : NP   $70.37

REC   15.00

TL DUE $85.37 BEFORE RECONNECT

Due Date    : 08/24/06     Cust/Comp Resp: CUST

Resolution Dte : 08/24/06

Resolution  : CUSTOMER PAID, TURNED ON

KC/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 179

Service Order Detail Report

Subdivision : 00624        Route         : 624             Service Order # : 085486

Account #   : 006241010831 Customer Name : ALLEN           , LATANYAN

Address     : 634          DURANGO              WAY        Phone #         : (   )    -

Entry Date  : 08/25/06     Serv Ord Type : 14              Operator        :

Comments    : NP   $80.29

REC   15.00

TL DUE $95.29 BEFORE RECONNECT

Due Date    : 08/24/06     Cust/Comp Resp: CUST

Resolution Dte : 08/24/06

Resolution  : READING 935400 CUSTOMER PAID, TURNED ON

SE/IC

====================================================================================================

Subdivision : 00624        Route         : 624             Service Order # : 085493

Account #   : 006241011015 Customer Name : JOHNSON         , AUTUMN

Address     : 626          CALIENTE             WAY        Phone #         : (407) 292-1558

Entry Date  : 08/25/06     Serv Ord Type : 14              Operator        :

Comments    : NP   $140.50

REC    15.00

TL DUE $155.50 BEFORE RECONNECT

Due Date    : 08/24/06     Cust/Comp Resp: CUST

Resolution Dte : 08/24/06

Resolution  : CUSTOMER PAID, TURNED ON

/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 180

Service Order Detail Report

Subdivision : 00624        Route         : 624             Service Order # : 085501

Account #   : 006241011667 Customer Name : PATTERSON       , MICHAEL    C

Address     : 653          ACAPULCA             WAY        Phone #         : (407) 291-3373

Entry Date  : 08/25/06     Serv Ord Type : 14              Operator        :

Comments    : NP  $61.08

REC  15.00

TL DUE $76.08 BEFORE RECONNECT

Due Date    : 08/24/06     Cust/Comp Resp: CUST

Resolution Dte : 08/24/06

Resolution  : CUSTOMER PAID TURNED ON

KC/IC

====================================================================================================

Subdivision : 00624        Route         : 624             Service Order # : 085504

Account #   : 006241011841 Customer Name : MEDINA          , FERNANDO

Address     : 600          ACAPULCA             WAY        Phone #         : (321) 438-5448

Entry Date  : 08/25/06     Serv Ord Type : 14              Operator        :

Comments    : NP   $129.42

REC    15.00

TL DUE $144.42 BEFORE RECONNECT

Due Date    : 08/24/06     Cust/Comp Resp: CUST

Resolution Dte : 08/24/06

Resolution  : READING 338340 CUSTOMER PAID, TURNED ON

SE/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 181

Service Order Detail Report

Subdivision : 00624        Route         : 624             Service Order # : 085508

Account #   : 006241010104 Customer Name : RODRIGUEZ       , GUADALUPE

Address     : 753          OAKLANDO             DR         Phone #         : (407) 299-1577

Entry Date  : 08/25/06     Serv Ord Type : 14              Operator        :

Comments    : NP   $114.01

REC    15.00

TL DUE $129.01 BEFORE RECONNECT

Due Date    : 08/24/06     Cust/Comp Resp: CUST

Resolution Dte : 08/24/06

Resolution  : READING 139650 CUSTOMER PAID, TURNED ON

SE/IC

====================================================================================================

Subdivision : 00624        Route         : 624             Service Order # : 085512

Account #   : 006241010157 Customer Name : SANTIAGO        , ROLON

Address     : 746          OAKLANDO             DR         Phone #         : (407) 294-6282

Entry Date  : 08/25/06     Serv Ord Type : 14              Operator        :

Comments    : NP   $85.77

REC   15.00

TL DUE $100.77 BEFORE RECONNECT

Due Date    : 08/24/06     Cust/Comp Resp: CUST

Resolution Dte : 08/24/06

Resolution  : READING 165440 CUSTOMER PAID, TURNED ON

SE/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 182

Service Order Detail Report

Subdivision : 00624        Route         : 624             Service Order # : 085516

Account #   : 006241010268 Customer Name : VERRET-ROSA     , MARKITA

Address     : 707          OAKLANDO             DR         Phone #         : (321) 662-4635

Entry Date  : 08/25/06     Serv Ord Type : 14              Operator        :

Comments    : NP   $144.60

REC    15.00

TL DUE $159.60 BEFORE RECONNECT

Due Date    : 08/24/06     Cust/Comp Resp: CUST

Resolution Dte : 08/24/06

Resolution  : READING 490540

CUSTOMER PAID, TURNED ON

SE/IC

====================================================================================================

Subdivision : 00624        Route         : 624             Service Order # : 085518

Account #   : 006241010394 Customer Name : CRUZ            , ROSA       M

Address     : 631          ENCINO               WAY        Phone #         : (407) 339-4021

Entry Date  : 08/25/06     Serv Ord Type : 14              Operator        :

Comments    : NP   $147.35

REC    15.00

TL DUE $162.35 BEFORE RECONNECT

Due Date    : 08/24/06     Cust/Comp Resp: CUST

Resolution Dte : 08/24/06

Resolution  : CUSTOMER PAID TURNED ON

/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 183

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 086112

Account #   : 006260012134 Customer Name : VANWEY          , GLORIA

Address     : 11821        BOYNTON              LN         Phone #         : (727) 856-7594

Entry Date  : 08/28/06     Serv Ord Type : 12              Operator        :

Comments    : FINAL READ AND LOCK

TAG FOR NEW TO APPLY

*WAS RENTING

Due Date    : 08/30/06     Cust/Comp Resp: CUST

Resolution Dte : 08/30/06

Resolution  : R=570160  LOCK OFF AND TAG FOR NEW

F/C=1450

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 086196

Account #   : 006260021111 Customer Name : JONES           , CHARLES

Address     : 11728        ASPENWOOD            DR         Phone #         : (813) 856-6991

Entry Date  : 08/28/06     Serv Ord Type : 22              Operator        :

Comments    : PLEASE T/OFF FOR CUSTOMER

HE HAS A LEAK AT HOME

PG TO JACK ADKINS?

Due Date    : 08/28/06     Cust/Comp Resp: CUST

Resolution Dte : 08/28/06

Resolution  : R=304540  S/OFF FOR THE CUSTOMER TO MAKE REPAIR.

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 184

Service Order Detail Report

Subdivision : 00604        Route         : 604             Service Order # : 086216

Account #   : 006040011452 Customer Name : WAGNER          , WILLIAM    G

Address     : 623          WOODLEY              RD         Phone #         : (407) 948-2533

Entry Date  : 08/28/06     Serv Ord Type : 19              Operator        :

Comments    : CUSTOMER DISPUTING BILL.

PLEASE SCHEDULE FIEL TEST TO BE PERFORMED.

Due Date    : 08/29/06     Cust/Comp Resp: CUST

Resolution Dte : 08/29/06

Resolution  : READING 489560 FIELD TEST WAS DONE AND METER TESTED FINE. SPOKE W/

CUSTOMER AND CUSTOMER DOES SELLS CARS AND WASHES THEM ON PROPERTY. THIS

WAS SEEN BY FIELD TECH FRED Q. CUSTOMER SAYS HE DOES NOT.

DW/IC

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 087481

Account #   : 006260070291 Customer Name : ROBINSON        , NANCI

Address     : 11432        GOLF ROUND           DR         Phone #         : (727) 992-0172

Entry Date  : 08/31/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READ

LOCK AND TAG FOR NEW APPLY

GAVE#

Due Date    : 09/06/06     Cust/Comp Resp: CUST

Resolution Dte : 09/06/06

Resolution  : R=25060   F/C=1820

LEFT ON

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 185

Service Order Detail Report

Subdivision : 00620        Route         : 620             Service Order # : 087645

Account #   : 006200010808 Customer Name : BALMACOON       , BRAMHA     R

Address     : 6103         LIVINGSTON           ST         Phone #         : (718) 264-1929

Entry Date  : 08/31/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READ

LEAVE ON FOR NEW

Due Date    : 09/01/06     Cust/Comp Resp: CUST

Resolution Dte : 09/01/06

Resolution  : FR=2733570

FC=15,230

READ AND LEFT ON

SE/LYN

====================================================================================================

Subdivision : 00620        Route         : 620             Service Order # : 087722

Account #   : 006200012174 Customer Name : HUNNICUTT       , SHERRY

Address     : 6127     W   AMELIA               ST         Phone #         : (407) 298-2203

Entry Date  : 08/31/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READ

LEAVE ON FOR NEW

GAVE# TO OWNER

Due Date    : 09/01/06     Cust/Comp Resp: CUST

Resolution Dte : 09/01/06

Resolution  : FR=1581910

FC=570

TOOK READ AND LEFT ON

SE/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 186

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 087775

Account #   : 006260012135 Customer Name : POPPELREITER    , CHARLES    A

Address     : 11821        BOYNTON              LN         Phone #         : (727) 868-2577

Entry Date  : 08/31/06     Serv Ord Type : 13              Operator        :

Comments    : TAKE READING, TURN ON FOR NEW

FAXED WAIVER

Due Date    : 09/01/06     Cust/Comp Resp: CUST

Resolution Dte : 09/01/06

Resolution  : R=570160  TURNED ON FOR NEW CUSTOMER.

WAIVER ON FILE IN THE OFFICE.

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 088408

Account #   : 006260022648 Customer Name : NIGOL           , ROBERT

Address     : 11535        ASPENWOOD            DR         Phone #         : (727) 857-9668

Entry Date  : 09/05/06     Serv Ord Type : 17              Operator        :

Comments    : PLEASE CHECK TO SEE IF LEAK IS REGISTERING @ METER.

ADVISE CUSTOMER ACCORDINGLY IF NEEDED.

Due Date    : 09/06/06     Cust/Comp Resp: CUST

Resolution Dte : 09/06/06

Resolution  : R=63080  NO LEAKS

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 187

Service Order Detail Report

Subdivision : 00624        Route         : 624             Service Order # : 088621

Account #   : 006241010772 Customer Name : HURST           , SHIRLEY

Address     : 659          DURANGO              WAY        Phone #         : (407) 522-9648

Entry Date  : 09/05/06     Serv Ord Type : 20              Operator        :

Comments    : NSF CHK#896 8/28/6 $36.07

BANK SERV FEE       25.00

TOTAL AMNT DUE     $61.07 PAYABLE BY CASHIER CHK OR M\O ONLY

TO AVOID INTERRUPTION OF SERV AND A $15 RECONNECT FEE

5 DAY LTTR MAILED 9/6

Due Date    : 09/13/06     Cust/Comp Resp: CUST

Resolution Dte : 09/13/06

Resolution  : CUSTOMER DID NOT PAY, SHUT SERVICE OFF.

/IC

====================================================================================================

Subdivision : 00620        Route         : 620             Service Order # : 088786

Account #   : 006200010352 Customer Name : STROUD          , INEZ

Address     : 6107     W   HARWOOD              ST         Phone #         : (407) 299-0097

Entry Date  : 09/06/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READING LOCK OFF AND TAG FOR NEW.

GAVE CONF# 88786

Due Date    : 09/11/06     Cust/Comp Resp: CUST

Resolution Dte : 09/11/06

Resolution  : FR=1295030

FC=4490

READ AND LEFT ON

SE/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 188

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 089128

Account #   : 006260011601 Customer Name : JAMES           , EARL

Address     : 11804        CARISSA              LN         Phone #         : (727) 856-5957

Entry Date  : 09/06/06     Serv Ord Type : 20              Operator        :

Comments    : PLEASE OBTAIN FINAL READING LOCK OFF AND TAG FOR NEW

GAVE CONF# 89128

Due Date    : 09/11/06     Cust/Comp Resp: CUST

Resolution Dte : 09/11/06

Resolution  : CUSTOMER CANCELLED FINAL FOR 9/12/06.

NO FURTHER ACTIONS TO BE TAKEN ON THIS ACCOUNT AT THIS TIME.

CUSTOMER. WILL CALL BACK IF NEEDED.

KIM

====================================================================================================

Subdivision : 00604        Route         : 604             Service Order # : 089263

Account #   : 006040011364 Customer Name : DANIELS         , SHARI

Address     : 641          WOODLEY              RD         Phone #         : (407) 265-2886

Entry Date  : 09/07/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 52.54

RECON 15.00

TOTAL DUE 67.54

Due Date    : 09/06/06     Cust/Comp Resp: CUST

Resolution Dte : 09/06/06

Resolution  : READING 405780 CUSTOMER NOT PAID, NOT TURNED ON

JH/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 189

Service Order Detail Report

Subdivision : 00602        Route         : 602             Service Order # : 089452

Account #   : 006020010304 Customer Name : NDZAMBA         , ANNETTE

Address     : 419          TULANE               DR         Phone #         : (407) 404-0300

Entry Date  : 09/07/06     Serv Ord Type : 22              Operator        : 602

Comments    : CUSTOMER CAME INTO THE LOBBY AND SAID THEY ARE READY TO HAVE THE WATER

TURNED ON AGAIN. HER HUSBAND HAS TAKEN CARE OF THE LEAK.

SHE (ANNETTE) CAN BE REACH AT THIS NUMBER - 347-410-1080. SHE SAID THEY

HAD ALREADY SIGNED A WAIVER - NOT KNOWING THE LINE HAD BEEN DISCONNECTED

AT THE FRIG.  LORETTA

Due Date    : 09/07/06     Cust/Comp Resp: CUST

Resolution Dte : 09/07/06

Resolution  : LEFT MESSAGE FOR CUSTOMER TO CALL ME ON CELL. CANNOT REACTIVATE SERVICE

TILL A NEW WAIVER IS SIGNED. JEFF PINDER:LA

9/12/06 CHANGE S/O TYPE TO TEMP TURN OFF /ON S/O FROM A # 13 TYPE. (EC)

** 9/13/06 WHAT IS THE STATUS OF THIS METER IS IT ON OR OFF? (EC)

9/13/06 OFF, WE NEVER TURNED ON. CUSTOMER HASN'T CALLED. HOUSE IS VACANT

JP/EC

====================================================================================================

Subdivision : 00608        Route         : 608             Service Order # : 089603

Account #   : 006080010120 Customer Name : PICHULO         , KEN

Address     : 150          LAKESIDE             DR         Phone #         : (407) 592-6433

Entry Date  : 09/07/06     Serv Ord Type : 8               Operator        : 608

Comments    : TAP FEE HAS BEEN PAID FOR NEW 5/8" WATER TAP. PLEASE PROVIDE ALL THE

METER INFO AND THE LOCATION OF METER.PLEASE CALL CUST. AT 407-303-5600

EXT.4702 IF YOU CAN'T TELL WHERE IT SHOULD BE.PLEASE ADVISE OF THE SEQ.

IF THIS IS NOT GOOD FOR THE READER, I HAVE PLACED THE READING TO BE

AFTER 155 LAKESIDE.   THANKS!! LORETTA

Due Date    : 09/15/06     Cust/Comp Resp: CUST

Resolution Dte : 09/07/06

Resolution  : INSTALLED 5/8" METER, NUMBER:32438403, BADGER/RECORDELL. READING 10.

LOCATION: IN BOX, SINGLE LEFT LINE. ??:LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 190

Service Order Detail Report

Subdivision : 00620        Route         : 620             Service Order # : 089742

Account #   : 006200013008 Customer Name : TOMASZEWSKI     , PHILLIP

Address     : 517      N   JOHN                 ST         Phone #         : (352) 241-8621

Entry Date  : 09/08/06     Serv Ord Type : 13              Operator        :

Comments    : READ, WAIVER FAXED -VERIFY WITH LYN BEFORE TURNON IF WAIVER RECEIEVD*

Due Date    : 09/11/06     Cust/Comp Resp: CUST

Resolution Dte : 09/11/06

Resolution  : BR=48480

TOOK READ, AND TURNED ON

SE/LYN

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 089812

Account #   : 006260081380 Customer Name : LEXINGTON HOMES ,

Address     : 11433        MERGANSER            WAY        Phone #         : (727) 835-1108

Entry Date  : 09/08/06     Serv Ord Type : 8               Operator        : 626

Comments    : PLEASE INSTALL NEW 5/8" WATER TAP FOR SINGLE FAMILY RESIDENCE ON LOT

138, IN PHASE 3 - B. PROVIDE US WITH ALL THE INFO FOR THE METER,

INCLUDING THE MAKE AND LOCATION.

IF YOU WILL BE UNABLE TO COMPLETE WITHIN FIVE WORKING DAYS,

PLEASE ADVISE.

Due Date    : 09/15/06     Cust/Comp Resp: CUST

Resolution Dte : 09/15/06

Resolution  : 09/15/06 - THIS RESOLUTION CAME IN WHILE I WAS OUT W/NO DATE OF INSTALL

SO I AM USING THE SAME DATE AS DUE DATE.LA METER #33072766, READING 10.

LOCATION: RIGHT FRONT. ??:LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 191

Service Order Detail Report

Subdivision : 00620        Route         : 620             Service Order # : 091076

Account #   : 006200012309 Customer Name : TLH PROPERTIES  ,

Address     : 514          PAUL                 ST         Phone #         : (407) 290-6060

Entry Date  : 09/12/06     Serv Ord Type : 13              Operator        :

Comments    : PLEASE OBTAIN READING AND TURN ON FOR NEW CUSTOMER.

CHECK OFFICE FOR WAIVER BEFORE TURNING ON.

FAXED WAIVER TO: 407-690-6018

Due Date    : 09/21/06     Cust/Comp Resp: CUST

Resolution Dte : 09/21/06

Resolution  : WAS ORIGINALLY TO BE TURN ON ON 9/13/06 BUT THE CUSTOMER NEVER SENT US

THE SIGNED WAIVER. FINALLY WE RECEIVED IT AND TURN THE SERVICE WAS

TURNED ON ON 9/21/06.

BR=119480

JPL/LYN

====================================================================================================

Subdivision : 00624        Route         : 624             Service Order # : 094338

Account #   : 006241010772 Customer Name : HURST           , SHIRLEY

Address     : 659          DURANGO              WAY        Phone #         : (407) 522-9648

Entry Date  : 09/21/06     Serv Ord Type : 43              Operator        :

Comments    : CUSTOMER HAS NO WATER. HAS NO WATER SOFTNER. PAGED TO JEFF P.

Due Date    : 09/21/06     Cust/Comp Resp: CUST

Resolution Dte : 09/21/06

Resolution  : THIS S/ORDER CANCELED, CUSTOMER WAS SHUT OFF FOR NSF. REASON WHY THEY

HAVE NO WATER, IF CUSTOMER CALLS BACK. TAG WAS LEFT ON DOOR. TRIED

CALLING PHONE ON FILE, AND NUMBER NOT IN SERVICE.

/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 192

Service Order Detail Report

Subdivision : 00623        Route         : 623             Service Order # : 008634

Account #   : 006233010014 Customer Name : ROCHE           , SEAN       P

Address     : 790          TRAILWOOD            DR         Phone #         : (407) 432-7345

Entry Date  : 01/18/06     Serv Ord Type : 25              Operator        :

Comments    : DELQ AMT  294.75

1/18 PAID 148.00

BALANCE DUE;  146.75 AMOUNT MUST BE PAID BY DUE DATE 1/25/06-TO AVOID

INTERRUPTION OF SERVICE AND $15 RECONNECT

Due Date    : 01/25/06     Cust/Comp Resp: CUST

Resolution Dte : 02/03/06

Resolution  : 2/3/06 PAID $148

1/19/06 PAID $148

DB

====================================================================================================

Subdivision : 00612        Route         : 612             Service Order # : 010146

Account #   : 006120010720 Customer Name : SHOEMAKER CONST ,

Address     : 204          MIRROR               DR         Phone #         : (407) 322-3103

Entry Date  : 01/23/06     Serv Ord Type : 21              Operator        :

Comments    : 12/14/05  R=4970

01/12/06  R=14050    H/C  ANY LEAKS

Due Date    : 01/23/06     Cust/Comp Resp: CUST

Resolution Dte : 01/23/06

Resolution  : R=20490 NO LEAKS

JH/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 193

Service Order Detail Report

Subdivision : 00629        Route         : 629             Service Order # : 010376

Account #   : 006295000061 Customer Name : HOTEC INTERNATI ,

Address     : S            US HWY 19                       Phone #         : (727) 937-7400

Entry Date  : 01/23/06     Serv Ord Type : 10              Operator        :

Comments    : MVR INDICATES SERVICE IS OFF FOR NON PAYMENT

REREAD AND INSURE IT IS OFF

Due Date    : 01/04/06     Cust/Comp Resp: CUST

Resolution Dte : 01/04/06

Resolution  : 12/03/05  MR=1264300

12/30/05  MR=143080

01/05/06  RR=1289300

DS/DB

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 014651

Account #   : 006260010501 Customer Name : PEREZ           , ALFRED

Address     : 11831        CARISSA              LN         Phone #         : (727) 581-2430

Entry Date  : 02/03/06     Serv Ord Type : 14              Operator        :

Comments    : NSF AUTODRAFT 1/31/6 $20.08 (ACCOUNT FROZEN)

BANK SERV FEE         25.00

TOTAL AMNT DUE       $45.08 PAYABLE BY CASHIER CHK OR M\O ONLY

TO AVOID INTERRUPTION OF SERV AND A $15 RECONNECT FEE

5 DAY LTTR MAILED 2/6

Due Date    : 03/07/06     Cust/Comp Resp: CUST

Resolution Dte : 03/07/06

Resolution  : RECEIVED POWER OF ATTORNEY FOR THIS CUSTOMER'S ACCOUNT. WILL SEE IF

BILL IS PAID WITHIN THE NEXT 7 DAYS.

KIM

3/7/06 NO PAYMENT ON FILE WILL SHUT OFF WATER AND LOCK METER UNTIL

PAYMENT HAS BEEN RECEIVED IN THE OFFICE.

****** LOCK OFF AND ADD $15.00 FOR RECONNECT ***** (KIM)

R=198780 LOCKED OFF AND TAGGED

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 194

Service Order Detail Report

Subdivision : 00629        Route         : 629             Service Order # : 016819

Account #   : 006290003778 Customer Name : ANDREOPOULOS    , FILITSIA

Address     : 2508         BAYWOOD              DR         Phone #         : (727) 942-7186

Entry Date  : 02/10/06     Serv Ord Type : 18              Operator        :

Comments    : NO READ ON MV REPORT-PLEASE INSTALL A REMOTE METER

12/31/05 READ 46841

1/3/06   READ 46935

READ BILLED; 47880-2/7/06-

Due Date    : 02/13/06     Cust/Comp Resp: CUST

Resolution Dte : 03/07/06

Resolution  : READ 48480-NO NEED FOR REMOTE UPON FURTHER INSPECTION WE FOUUND BACK

FENCE TO BE ONLY 3 FT TALL.  JF WAS ABLE TO LEAN OVER AND GET READ

*WAS TAGGED MULTIPLE TIMES TO HAVE ACCESS

JF

DB

====================================================================================================

Subdivision : 00602        Route         : 602             Service Order # : 017098

Account #   : 006020022661 Customer Name : GREER           , ELBERT

Address     : 445          CLEMSON              DR         Phone #         : (407) 869-0249

Entry Date  : 02/13/06     Serv Ord Type : 25              Operator        : 602

Comments    : PRIOR BAL         $238..59 (HAD A LEAK)

2/20/06 PAYMENT   $120.00

3/6/06  PAYMENT   $120.00

3/24/06 PAY BALANCE IN FULL FOR 2/14/06 BILL, APPROXIMATELY $61.30.ALL

PAYMENTS MUST BE MADE WHEN DUE TO AVOID INTERRUPTION OF SERVICE.

Due Date    : 03/24/06     Cust/Comp Resp: CUST

Resolution Dte : 03/24/06

Resolution  : CUSTOMER PAID EXTENSION IN FULL.

/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 195

Service Order Detail Report

Subdivision : 00616        Route         : 616             Service Order # : 018235

Account #   : 006160200506 Customer Name : CLUMM           , MARGARET   E

Address     : 3542         SHIRLEY              DR         Phone #         : (407) 389-9732

Entry Date  : 02/15/06     Serv Ord Type : 22              Operator        :

Comments    : CUSTOMER CALLED THE ANSWERING SERVICE - WATER WAS SHUT OFF FOR REPAIR.

CUSTOMER IS REQUESTING THAT WATER BE TURNED BACK ON.

PAGED TO ONCALL

PLEASE RESOLVE

Due Date    : 03/09/06     Cust/Comp Resp: CUST

Resolution Dte : 03/09/06

Resolution  : 03/09/06 PER FIELD SPOKE EITH CUSTOMER & TOLD THEM TO CALL BACK DURING

BUISNESS HOURS

JP/RB

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 019438

Account #   : 006260070040 Customer Name : COSTA HOMES, IN ,

Address     : 11232        GOLF ROUND           DR         Phone #         : (727) 842-2329

Entry Date  : 02/20/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READING AND LEAVE ON FOR NEW CUSTOMER.

GAVE CONF# 19438

NEW CUSTOMER'S NAME: BERT & LILLIAN LARSON

Due Date    : 03/13/06     Cust/Comp Resp: CUST

Resolution Dte : 03/13/06

Resolution  : R=4800  F/C=0

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 196

Service Order Detail Report

Subdivision : 00624        Route         : 624             Service Order # : 023204

Account #   : 006241011015 Customer Name : JOHNSON         , AUTUMN

Address     : 626          CALIENTE             WAY        Phone #         : (407) 292-1558

Entry Date  : 03/01/06     Serv Ord Type : 14              Operator        :

Comments    : CUSTOMER DID NOT PAY ON TAG DUE, SHUT OFF SERVICE AND LOCK

TOTAL DUE 132.98 BEFORE TURN ON

Due Date    : 03/02/06     Cust/Comp Resp: CUST

Resolution Dte : 03/02/06

Resolution  : READING 225200 TURNED OFF & LOCKED

MATT/IC

====================================================================================================

Subdivision : 00630        Route         : 1               Service Order # : 023440

Account #   : 006300101081 Customer Name : BAUGHAN         , CELLOSTINE

Address     : 5077     NW  80TH AVE             RD         Phone #         : (352) 622-5200

Entry Date  : 03/02/06     Serv Ord Type : 22              Operator        :

Comments    : TEMP TURN OFF-READ -WATER IS FLOODING

PAGED TO CHUCK S; 10;04AM

Due Date    : 03/02/06     Cust/Comp Resp: CUST

Resolution Dte : 03/02/06

Resolution  : TURNED OFF AND TURNED BACK ON FOR CUSTOMER WHEN LEAK WAS FIXED.

READING 41450

RC/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 197

Service Order Detail Report

Subdivision : 00630        Route         : 1               Service Order # : 023561

Account #   : 006300101174 Customer Name : GATTI           , RALPH      J

Address     : 5188     NW  80TH AVENUE          RD         Phone #         : (305) 491-0952

Entry Date  : 03/02/06     Serv Ord Type : 28              Operator        :

Comments    : CUSTOMER CALLED ANSWERING SERV. AND REPORTED VERY LOW PRESSURE. PLEASE

RESOLVE

Due Date    : 02/26/06     Cust/Comp Resp: CUST

Resolution Dte : 02/26/06

Resolution  : THIS LEAK WAS ON THE CUSTOMER'S SIDE OF METER. CAUSING LOW PRESSURE.

A CURB STOP WAS INSTALLED AND LEAK REPAIRED.

CS/IC

====================================================================================================

Subdivision : 00630        Route         : 1               Service Order # : 023563

Account #   : 006300301321 Customer Name : BAKER           , CLAIRE     J

Address     : 5807     NW  80TH AVE             RD         Phone #         : (352) 351-4489

Entry Date  : 03/02/06     Serv Ord Type : 20              Operator        :

Comments    : CUSTOMER CALLED ANSWERING SERV AND SAID COULD NOT TURN WATER OFF.

PLEASE RESOLVE

Due Date    : 02/26/06     Cust/Comp Resp: CUST

Resolution Dte : 02/26/06

Resolution  : SHUT WATER OFF. LEAK ON THEIR SIDE.

SP/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 198

Service Order Detail Report

Subdivision : 00626        Route         : 2               Service Order # : 023664

Account #   : 006260020234 Customer Name : ODUM            , DORIS

Address     : 11527        SCOTCH PINE          DR         Phone #         : (727) 857-1874

Entry Date  : 03/02/06     Serv Ord Type : 12              Operator        :

Comments    : READ, TURN OFF, LOCK, TAG

Due Date    : 04/06/06     Cust/Comp Resp: CUST

Resolution Dte : 04/06/06

Resolution  : R=65190   F/C=3150

LEFT ON FOR NEW

JA/KIM

====================================================================================================

Subdivision : 00637        Route         : 637             Service Order # : 023775

Account #   : 006370010224 Customer Name : STARR           , LORRAINE

Address     : 183          PHILADELPHIA         BLV        Phone #         : (508) 595-1234

Entry Date  : 03/02/06     Serv Ord Type : 02              Operator        :

Comments    : METER NOT WORKING, PER METER READER PLEASE REPLACE

Due Date    : 03/06/06     Cust/Comp Resp: CUST

Resolution Dte : 03/06/06

Resolution  : METER WORKS. RAN 10 GALLONS THROUGH IT.

READING 1205840

SH/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 199

Service Order Detail Report

Subdivision : 00637        Route         : 637             Service Order # : 024423

Account #   : 006370012343 Customer Name : YETTAW          , MAEOLA

Address     : 51           WASHINGTON           CT         Phone #         : (727) 787-0453

Entry Date  : 03/06/06     Serv Ord Type : 01              Operator        :

Comments    : MR. CALLED DUE TO HIGH BILL.

REREAD AND CHECK FOR LEAKS

TAG DOOR WITH YOUR FINDINGS.

2/15/06  MR=217770

Due Date    : 03/07/06     Cust/Comp Resp: CUST

Resolution Dte : 03/07/06

Resolution  : READING 219630 NO LEAKS. SPOKE W/CUSTOMER.

HE IS OK WITH THIS.

SH/IC

====================================================================================================

Subdivision : 00624        Route         : 624             Service Order # : 024452

Account #   : 006241011841 Customer Name : MEDINA          , FERNANDO

Address     : 600          ACAPULCA             WAY        Phone #         : (321) 438-5448

Entry Date  : 03/06/06     Serv Ord Type : 14              Operator        :

Comments    : CUSTOMER DID NOT CLEAR NSF CHECK. TOTAL AMT. DUE 133.45

BEFORE RECONNECT

Due Date    : 03/07/06     Cust/Comp Resp: CUST

Resolution Dte : 03/07/06

Resolution  : READING 301540 TURNED OFF AND LOCKED HUNG TAG

JE/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 200

Service Order Detail Report

Subdivision : 00604        Route         : 604             Service Order # : 024513

Account #   : 006040011636 Customer Name : DADES           , CYNTHIA

Address     : 619          LAKE SHORE           DR         Phone #         : (407) 831-6375

Entry Date  : 03/06/06     Serv Ord Type : 28              Operator        :

Comments    : CUSTOMER CALLED ANSWERING SERVICE AND REPORTED LOW WATER PRESSURE.

PLEASE RESOLVE

Due Date    : 03/05/06     Cust/Comp Resp: CUST

Resolution Dte : 03/05/06

Resolution  : LOW PRESSURE IN SINKS. TOM INFORMED THEM TO CLEAN THE AERATORS. PROBLEM

WENT AWAY.

JM/IC

====================================================================================================

Subdivision : 00604        Route         : 604             Service Order # : 024517

Account #   : 006040022195 Customer Name : LOUIS           , DONNA      M

Address     : 1061         GREGORY              DR         Phone #         : (   )    -

Entry Date  : 03/06/06     Serv Ord Type : 43              Operator        :

Comments    : CUSTOMER CALLED ANSWERING SERVICE AND REPORTED NO WATER. PLEASE RESOLVE

Due Date    : 03/05/06     Cust/Comp Resp: CUST

Resolution Dte : 03/05/06

Resolution  : CALLED CUSTOMER AND FOUND OUT HER WATER HAD COME BACK ON. WOULD BE GOOD

TO HAVE SOMEONE FROM THE FIELD CHECK SERVICE BECAUSE PRESSURE PROBLEMS

HAVE ALWAYS EXISTED AT THIS HOUSE ACCORDING TO OWNER.

SL/IC

CHECKED WITH TOM KEYES. AND THE PLANT WAS OK.

JM/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 201

Service Order Detail Report

Subdivision : 00624        Route         : 624             Service Order # : 024600

Account #   : 006241011396 Customer Name : CRUZ            , CARLOS

Address     : 639          BARBUDA              WAY        Phone #         : (407) 619-2615

Entry Date  : 03/06/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 77.48

RECON 15.00

TOTAL DUE 92.48

Due Date    : 02/22/06     Cust/Comp Resp: CUST

Resolution Dte : 02/22/06

Resolution  : CUSTOMER PAID, TURNED ON READING 1525070

MM/IC

====================================================================================================

Subdivision : 00624        Route         : 624             Service Order # : 024611

Account #   : 006241010276 Customer Name : VEGA            , PAULINO

Address     : 712          OAKLANDO             DR         Phone #         : (   )    -

Entry Date  : 03/06/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 93.03

RECON 15.00

TOTAL DUE 108.03

Due Date    : 02/22/06     Cust/Comp Resp: CUST

Resolution Dte : 02/22/06

Resolution  : CUSTOMER HAS NOT PAID NOT TURNED ON

READING 370000

MM/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 202

Service Order Detail Report

Subdivision : 00624        Route         : 624             Service Order # : 024616

Account #   : 006241010703 Customer Name : RIVERS          , GLADYS

Address     : 694          DURANGO              WAY        Phone #         : (407) 298-4288

Entry Date  : 03/06/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 50.27

RECON 15.00

TOTAL DUE 65.27

Due Date    : 02/22/06     Cust/Comp Resp: CUST

Resolution Dte : 02/22/06

Resolution  : READING 184420 CUSTOMER PAID TURNED ON

MM/IC

====================================================================================================

Subdivision : 00624        Route         : 624             Service Order # : 024619

Account #   : 006241011667 Customer Name : PATTERSON       , MICHAEL    C

Address     : 653          ACAPULCA             WAY        Phone #         : (407) 291-3373

Entry Date  : 03/06/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 88.94

RECON 15.00

TOTAL DUE 103.94

Due Date    : 02/22/06     Cust/Comp Resp: CUST

Resolution Dte : 02/22/06

Resolution  : READING 175880 CUSTOMER PAID TURNED ON

MM/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 203

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 024623

Account #   : 006260070362 Customer Name : CARILLO         , MARY

Address     : 11460        GOLF ROUND           DR         Phone #         : (727) 856-7796

Entry Date  : 03/06/06     Serv Ord Type : 13              Operator        :

Comments    : PLEASE OBTAIN READING AND TURN ON FOR NEW CUSTOMER. **CHECK OFFICE FOR

WAIVER BEFORE TURNING ON THE WATER FOR NEW CUSTOMER***

FAXED WAIVER TO :1-813-920-4944

Due Date    : 03/07/06     Cust/Comp Resp: CUST

Resolution Dte : 03/07/06

Resolution  : R=4100 NO WAIVER ON FILE

WATER WAS ON WHEN ARRIVED TO TURN ON. READING TAKEN

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 024964

Account #   : 006260080320 Customer Name : LEXINGTON HOMES ,

Address     : 11230        KISKADEE             CIR        Phone #         : (727) 816-9351

Entry Date  : 03/07/06     Serv Ord Type : 08              Operator        : 626

Comments    : PLEASE PROVIDE ALL METER INFO AND THE LOCATION OF 5/8" METER FOR A NEW

WATER TAP ON LOT 32, PARCEL 3 - B, OF PHASE 3.

ADVISE IF UNABLE TO COMPLETE WITHIN FIVE WORKING DAYS. PLEASE FAX THE

RESOLUTION TO OPERATIONS: 407-869-6961. THANKS, LORETTA

Due Date    : 03/22/06     Cust/Comp Resp: CUST

Resolution Dte : 03/09/06

Resolution  : RECEIVED THIS RESOLUTION 03/13/06.LA  AWAITING FOR CONTRACTOR TO REPAIR

WATER LINE IN METER BOX. JA:LA CHANGING THE D.D. TO THE 22ND. LA

03/15/06 - INSTALLED METER #33072742; MAKE IS BADGER; READING 10.

LOCATION:  LEFT FRONT. JA:LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 204

Service Order Detail Report

Subdivision : 00604        Route         : 604             Service Order # : 024971

Account #   : 006040011354 Customer Name : WATKINS         , TINA       M

Address     : 640          WOODLEY              RD         Phone #         : (407) 332-8462

Entry Date  : 03/07/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 267.66

RECON 15.00

TOTAL AMT DUE 282.66

Due Date    : 03/07/06     Cust/Comp Resp: CUST

Resolution Dte : 03/07/06

Resolution  : READING 341780 CUSTOMER NOT PAID, NOT TURNED ON

/IC

====================================================================================================

Subdivision : 00604        Route         : 604             Service Order # : 024973

Account #   : 006040022212 Customer Name : MCCAUSLAND      , MICHAEL

Address     : 1055         GREGORY              DR         Phone #         : (321) 287-1044

Entry Date  : 03/07/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 107.99

RECON 15.00

TOTAL AMT DUE 122.99

Due Date    : 03/07/06     Cust/Comp Resp: CUST

Resolution Dte : 03/07/06

Resolution  : READING 552650 CUSTOMER PAID, TURNED ON

/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 205

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 024998

Account #   : 006260080710 Customer Name : LEXINGTON HOMES ,

Address     : 11226        PARADISE POINTE      WAY        Phone #         : (727) 816-9351

Entry Date  : 03/07/06     Serv Ord Type : 08              Operator        : 626

Comments    : PLEASE PROVIDE ALL THE METER INFO FOR  NEW 5/8" WATER TAP ON LOT 71,

PARCEL 3 - B IN PHASE 3.

PROIVIDE THE LOCATION OF METER, ALSO.

ADVISE IF UNABLE TO COMPLETE WITHIN

FIVE WORKING DAYS.

Due Date    : 03/08/06     Cust/Comp Resp: CUST

Resolution Dte : 03/08/06

Resolution  : INSTALLED METER #32683058; BADGER; READING 10. LOCATION: FRONT LEFT.

JA:LA

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 025031

Account #   : 006260081160 Customer Name : LEXINGTON HOMES ,

Address     : 11310        MERGANSER            WAY        Phone #         : (727) 816-9351

Entry Date  : 03/07/06     Serv Ord Type : 08              Operator        : 626

Comments    : PLEASE PROVIDE ALL THE METER INFO FOR A NEW 5/8" WATER TAP FOR LOT 116

IN PARCEL 3 - B OF PHASE 3.

ADVISE IF UNABLE TO COMPLETE WITHIN FIVE WORKING DAYS. ALSO, PLEASE

PROVIDE THE LOCATION OF THIS METER.

Due Date    : 03/14/06     Cust/Comp Resp: CUST

Resolution Dte : 03/09/06

Resolution  : METER #33072730; BADGER; READING 10. LOCATION: FRONT RIGHT.JA:LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 206

Service Order Detail Report

Subdivision : 00612        Route         : 612             Service Order # : 025035

Account #   : 006120011373 Customer Name : BUERK           , ALINDA     L

Address     : 219          HOMEWOOD             DR         Phone #         : (407) 324-5699

Entry Date  : 03/07/06     Serv Ord Type : 21              Operator        :

Comments    : PLEASE OBTAIN READING AND CHECK FOR LEAKS CUSTOMER HAS HIGH USAGE.

1/12/06  R=207310

2/14/06  R=231890     INFORM CUSTOMER WITH FINDINGS.

Due Date    : 03/08/06     Cust/Comp Resp: CUST

Resolution Dte : 03/08/06

Resolution  : R=246470   METER RUNNING - NO ANSWER AT DOOR. TAGGED DOOR TO CHECK

PLUMBING.

KC/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 025047

Account #   : 006260081170 Customer Name : LEXINGTON HOMES ,

Address     : 11316        MERGANSER            WAY        Phone #         : (727) 816-9351

Entry Date  : 03/07/06     Serv Ord Type : 08              Operator        : 626

Comments    : PLEASE PROVIDE ALL THE METER INFO FOR A NEW 5/8" WATER TAP  FOR LOT

117, PARCEL 3 - B, PHASE 3.

ADVISE IF YOU WILL NOT BE ABLE TO COMPLETE THIS WITHIN FIVE

WORKING DAYS.

Due Date    : 03/14/06     Cust/Comp Resp: CUST

Resolution Dte : 03/09/06

Resolution  : METER #33072719; BADGER; READING 10. LOCATION: LEFT FRONT. JA:LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 207

Service Order Detail Report

Subdivision : 00637        Route         : 637             Service Order # : 025052

Account #   : 006370011352 Customer Name : KRUK            , DENNIS     A

Address     : 46           VILLAGE GREEN        WAY        Phone #         : (847) 587-8581

Entry Date  : 03/07/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READING LOCK OFF AND TAG FOR NEW

GAVE CONF#25052

Due Date    : 03/20/06     Cust/Comp Resp: CUST

Resolution Dte : 03/20/06

Resolution  : READING 605980 CONS 4270

OUR VALVE WAS OFF WHEN I ARRIVED. NO ONE HOME TO TALK TO. LEFT OFF

JF/IC

====================================================================================================

Subdivision : 00612        Route         : 612             Service Order # : 025148

Account #   : 006120010570 Customer Name : BEVERLY         , GARY

Address     : 404          PINE                 DR         Phone #         : (407) 322-8906

Entry Date  : 03/07/06     Serv Ord Type : 14              Operator        :

Comments    : S/OFF AMT  $32.17

S/OFF FEE  $15.00

TOTAL DUE  $47.17

LOCK OFF AND TAG FOR PMT

Due Date    : 03/07/06     Cust/Comp Resp: CUST

Resolution Dte : 03/07/06

Resolution  : R=279520  LOCKED OFF

TAGGED FOR PMT

FQ/KIM

3/8/06 CUSTOMER PAID IN OFFICE WAIVER FILED TURNED ON CUSTOMER.

FQ/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 208

Service Order Detail Report

Subdivision : 00612        Route         : 612             Service Order # : 025153

Account #   : 006120022567 Customer Name : COLEMAN         , JAMIE      L

Address     : 105          VINEWOOD             DR         Phone #         : (407) 688-7384

Entry Date  : 03/07/06     Serv Ord Type : 14              Operator        :

Comments    : S/OFF AMT  $45.00

S/OFF FEE  $15.00

TOTAL DUE  $60.00

LOCK OFF AND TAG FOR PMT

Due Date    : 03/07/06     Cust/Comp Resp: CUST

Resolution Dte : 03/07/06

Resolution  : COLLECTED PMT DATED 2/16/06 CHECK #1030 FOR AMT $100.00 FROM METER

BOX. WILL CHANGED $10.00 COLLECTION FEE.

FQ/KIM

====================================================================================================

Subdivision : 00612        Route         : 612             Service Order # : 025154

Account #   : 006120023382 Customer Name : WILSON          , RONETTE

Address     : 109          ORANGE               DR         Phone #         : (407) 323-0043

Entry Date  : 03/07/06     Serv Ord Type : 20              Operator        :

Comments    : S/OFF AMT  $13.62

S/OFF FEE  $15.00

TOTAL DUE  $28.62

LOCK OFF AND TAG FOR PMT

Due Date    : 03/07/06     Cust/Comp Resp: CUST

Resolution Dte : 03/07/06

Resolution  : CUSTOMER PAID BEFORE CUT.

KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 209

Service Order Detail Report

Subdivision : 00616        Route         : 616             Service Order # : 025172

Account #   : 006160011613 Customer Name : BROWN           , JEFF       A

Address     : 1214         GAY                  ST         Phone #         : (407) 467-3688

Entry Date  : 03/07/06     Serv Ord Type : 14              Operator        :

Comments    : S/OFF   $20.05

REC      15.00

TL DUE  $35.05 BEFORE REC

Due Date    : 03/07/06     Cust/Comp Resp: CUST

Resolution Dte : 03/07/06

Resolution  : 3/07/06 CUST S/OF AMT$85.00 ON ACCT

SVC IS RESTORED

JP/RB

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 025189

Account #   : 006260081430 Customer Name : LEXINGTON HOMES ,

Address     : 11409        MERGANSER            WAY        Phone #         : (727) 816-9351

Entry Date  : 03/07/06     Serv Ord Type : 08              Operator        : 626

Comments    : PLEASE INSTALL NEW 5/8" WATER TAP ON LOT  143

PARCEL 3 - B IN PHASE 3. SUMMERTREE.

ADVISE THIS OFFICE IF YOU WILL NOT BE ABLE TO COMPLETE THIS WITHIN

FIVE WORKING DAYS.   ALSO, PLEASE GIVE US THE LOCATION OF

THIS METER.

Due Date    : 03/22/06     Cust/Comp Resp: CUST

Resolution Dte : 03/13/06

Resolution  : AWAITING FOR CONTRACTOR TO REPAIR WATER LINE SO WE CAN INSTALL METER.

JA:LA

03/15/06 - METER #33072723, BADGER.  READING 10. LOCATION: LEFT

FRONT. JA:LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 210

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 025196

Account #   : 006260081440 Customer Name : LEXINGTON HOMES ,

Address     : 11405        MERGANSER            WAY        Phone #         : (727) 816-9351

Entry Date  : 03/07/06     Serv Ord Type : 08              Operator        : 626

Comments    : PLEASE INSTALL NEW 5/8" WATER TAP FOR LOT 144 IN PARCEL 3 - B, PHASE 3.

PROVIDE ALL THE METER INFO AND THE LOCATION OF THIS METER.

ADVISE THE OFFICE IF YOU WILL NOT BE ABLE TO COMPLETE WITHIN

FIVE WORKING DAYS.

Due Date    : 03/22/06     Cust/Comp Resp: CUST

Resolution Dte : 03/13/06

Resolution  : AWAITING FOR CONTRACTOR TO REPAIR WATER LINE IN METER BOX. JA:LA I AM

CHANGING THE D.D. TO 03/22. LA

03/15/06 - BADGER METER #33072724 INSTALLED. READING 10. LOCATION:

RIGHT FRONT. JA:LA

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 025219

Account #   : 006260081450 Customer Name : LEXINGTON HOMES ,

Address     : 11401        MERGANSER            WAY        Phone #         : (727) 816-9351

Entry Date  : 03/07/06     Serv Ord Type : 08              Operator        : 626

Comments    : PLEASE INSTALL NEW 5/8" WATER TAP ON LOT 145, PARCEL 3 - B, PHASE 3.

PROVIDE ALL THE METER INFO AND THE LOCATION OF METER.

ADVISE THIS OFFICE  IF YOU ARE NOT ABLE TO COMPLETE WITHIN FIVE

WORKING DAYS.

Due Date    : 03/14/06     Cust/Comp Resp: CUST

Resolution Dte : 03/09/06

Resolution  : METER #33072721; BADGER; READING 10. LOCATION: LEFT FRONT. JA:LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 211

Service Order Detail Report

Subdivision : 00637        Route         : 637             Service Order # : 025254

Account #   : 006370012824 Customer Name : GILES           , ELDON

Address     : 52           HARBOR               WAY        Phone #         : (727) 785-3202

Entry Date  : 03/07/06     Serv Ord Type : 20              Operator        :

Comments    : NSF CHK#1471 2/21/6 $90.00

BANK SERV FEE        30.00

TOTAL AMNT DUE      $120.00 PAYABLE BY CASHIER CHK OR M\O ONLY

TO AVOID INTERRUPTION OF SERV AND A $15 RECONNECT FEE

5 DAY LTTR MAILED 3/8

Due Date    : 03/15/06     Cust/Comp Resp: CUST

Resolution Dte : 03/15/06

Resolution  : CUSTOMER NOT PAID, SHUT OFF

/IC

====================================================================================================

Subdivision : 00630        Route         : 1               Service Order # : 025258

Account #   : 006300102073 Customer Name : KING            , ANDREA     C

Address     : 4568     NW  76TH                 CT         Phone #         : (803) 302-9249

Entry Date  : 03/07/06     Serv Ord Type : 10              Operator        :

Comments    : 2/1/06 549170

3/2/06 557810 HIGH CONS ON MVR

Due Date    : 03/06/06     Cust/Comp Resp: CUST

Resolution Dte : 03/06/06

Resolution  : READING 558620

JY/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 212

Service Order Detail Report

Subdivision : 00630        Route         : 1               Service Order # : 025259

Account #   : 006300301561 Customer Name : EVANS           , BERTIE     M

Address     : 4411     NW  78TH                 AVE        Phone #         : (904) 867-8586

Entry Date  : 03/07/06     Serv Ord Type : 10              Operator        :

Comments    : 2/1/06 167910

3/2/06 178200 HIGH CONS ON MVR

Due Date    : 03/06/06     Cust/Comp Resp: CUST

Resolution Dte : 03/06/06

Resolution  : READING 178450

NO LEAKS

JY/IC

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 025265

Account #   : 006260081340 Customer Name : LEXINGTON HOMES ,

Address     : 11451        MERGANSER            WAY        Phone #         : (727) 816-9351

Entry Date  : 03/07/06     Serv Ord Type : 08              Operator        : 626

Comments    : PLEASE INSTALL NEW 5/8" WATER TAP FOR LOT 134, PARCEL 3 - B, PHASE 3.

PROVIDE US WITH ALL THE METER INFO AND THE LOCATION OF THIS  METER.

ADVISE THIS OFFICE IF UNABLE TO COMPLETE WITHIN FIVE WORKING DAYS.

Due Date    : 03/14/06     Cust/Comp Resp: CUST

Resolution Dte : 03/09/06

Resolution  : METER #33072720; BADGER; READING 10. LOCATION: FRONT LEFT. JA:LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 213

Service Order Detail Report

Subdivision : 00630        Route         : 2               Service Order # : 025273

Account #   : 006300302143 Customer Name : CARTER          , NINA       J

Address     : 4402     NW  79TH TERRACE         RD         Phone #         : (919) 787-9811

Entry Date  : 03/07/06     Serv Ord Type : 10              Operator        :

Comments    : 2/1/06 216770

3/2/06 222320 HIGH CONS ON MVR

Due Date    : 03/06/06     Cust/Comp Resp: CUST

Resolution Dte : 03/06/06

Resolution  : READING 233170 NO LEAKS

JY/IC

====================================================================================================

Subdivision : 00630        Route         : 2               Service Order # : 025277

Account #   : 006300301448 Customer Name : FINDLATER       , JOHN

Address     : 4513     NW  79TH TERRACE         RD         Phone #         : (352) 840-9925

Entry Date  : 03/07/06     Serv Ord Type : 10              Operator        :

Comments    : 2/1/06 2070

3/2/06 3730 HIGH CONS ON MVR

Due Date    : 03/06/06     Cust/Comp Resp: CUST

Resolution Dte : 03/06/06

Resolution  : READING 3740 NO LEAKS

JY/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 214

Service Order Detail Report

Subdivision : 00630        Route         : 2               Service Order # : 025280

Account #   : 006309800010 Customer Name : GOLDEN HILLS QU ,

Address     : TEMP     MTR GOLDEN HILLS QUADRA             Phone #         : (352) 369-9881

Entry Date  : 03/07/06     Serv Ord Type : 10              Operator        :

Comments    : 1/31/06 754890

2/28/06 754890 IS METER NOT WORKING HERE?

Due Date    : 03/06/06     Cust/Comp Resp: CUST

Resolution Dte : 03/06/06

Resolution  : READING 755180 METER IS OK

JY/IC

====================================================================================================

Subdivision : 00630        Route         : 2               Service Order # : 025297

Account #   : 006300201464 Customer Name : BARBOUR         , JAN

Address     : 8080     NW  48TH                 LN         Phone #         : (352) 622-9558

Entry Date  : 03/07/06     Serv Ord Type : 10              Operator        :

Comments    : 2/1/06 13060

3/2/06 16090 HIGH CONS ON MVR

Due Date    : 03/06/06     Cust/Comp Resp: CUST

Resolution Dte : 03/06/06

Resolution  : READING 16710 NO LEAKS

JY/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 215

Service Order Detail Report

Subdivision : 00635        Route         : 635             Service Order # : 025332

Account #   : 006350000051 Customer Name : KOEHLER         , JENNIFER   L

Address     : 7294     NW  44TH                 LN         Phone #         : (352) 817-4344

Entry Date  : 03/07/06     Serv Ord Type : 17              Operator        :

Comments    : PLEASE CHECK METER FOR LEAK @ METER. PLEASE REPAIR IF OURS. IF NOT

TAG CUSTOMER.

Due Date    : 03/08/06     Cust/Comp Resp: CUST

Resolution Dte : 03/08/06

Resolution  : FOUND S/OFF VALVE ON CUSTOMER'S SIDE LEAKING FROM PACKING GLAND. HOW-

EVER LEAKING LINE IS NOT TO 7294 ADDRESS. DIFFERENT METER SERIAL #

AS A COURTESY, (DUE TO DELAYED RESPONSE), CAREFULLY TIGHTENED PACKING

GLAND TO 95% SLOW DOWN., STOPPED LEAK. METER WENT FROM 0.1 GALLONS/

MIN. TO STILL. NO FLOW. METER BELONGS TO NEIGHBOR AT 7296 NW 44TH LN.

YAMA MORRIS. PHONE NUMBER LISTED IS INCORRECT. LEFT MESSAGE W/KOEHLER

NEIGHBOR, THAT LEAKING VALVE BELONGS TO NEIGHBORING UNIT DIRECTLY

BEHIND HER ADDRESS

JP/IC

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 025543

Account #   : 006260080140 Customer Name : McCAR HOMES     ,

Address     : 11044        KISKADEE             CIR        Phone #         : (813) 930-0908

Entry Date  : 03/07/06     Serv Ord Type : 08              Operator        : 626

Comments    : PLEASE INSTALL NEW 5/8" WATER TAP ON LOT 14, PARCEL 3 - B, PHASE 3 IN

SUMMERTREE.

PROVIDE THE (((MAKE OF THE METER, LOCATION OF METER, ALONG WITH THE

SERIAL NUMBER AND THE READING))).

ADVISE OFFICE IF UNABLE TO COMPLETE WITHIN FIVE WORKING DAYS.

Due Date    : 03/22/06     Cust/Comp Resp: CUST

Resolution Dte : 03/13/06

Resolution  : AWAITING FOR CONTRACTOR TO REPAIR WATER LINE IN METER BOX SO WE CAN

INSTALL METER. JA:LA

03/15/06 - INSTALLED METER #33072740; MAKE IS A BADGER; READING 10.

LOCATION: LEFT FRONT. JA:LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 216

Service Order Detail Report

Subdivision : 00624        Route         : 624             Service Order # : 025589

Account #   : 006241010276 Customer Name : VEGA            , PAULINO

Address     : 712          OAKLANDO             DR         Phone #         : (   )    -

Entry Date  : 03/08/06     Serv Ord Type : 12              Operator        :

Comments    : TAKE FINAL READING, SHOULD STILL BE OFF AND LOCKED. CUSTOMER SKIPPED!

Due Date    : 03/09/06     Cust/Comp Resp: CUST

Resolution Dte : 03/09/06

Resolution  : READING 370450 STILL OFF AND LOCKED

JE/IC

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 025605

Account #   : 006260022373 Customer Name : RANDAZZO        , ANTHONY    J

Address     : 11622        ENGLISH ELM          DR         Phone #         : (727) 808-6450

Entry Date  : 03/08/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LEAVE ON FOR NEW

Due Date    : 03/09/06     Cust/Comp Resp: CUST

Resolution Dte : 03/09/06

Resolution  : R=176500   F/C=3320

LEFT ON FOR NEW CUSTOMER.

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 217

Service Order Detail Report

Subdivision : 00602        Route         : 602             Service Order # : 025622

Account #   : 006020041022 Customer Name : NIEVES          , DIANA

Address     : 631          STANFORD             DR         Phone #         : (407) 830-9777

Entry Date  : 03/08/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 159.34

RECON 15.00

TOTAL AMT DUE 174.34

Due Date    : 02/22/06     Cust/Comp Resp: CUST

Resolution Dte : 02/22/06

Resolution  : READING 1117820 CUSTOMER DID NOT PAY NOT TURNED ON

/IC

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 025629

Account #   : 006260080110 Customer Name : McCAR HOMES     ,

Address     : 11028        KISKADEE             CIR        Phone #         : (813) 930-0908

Entry Date  : 03/08/06     Serv Ord Type : 08              Operator        : 626

Comments    : PLEASE INSTALL A NEW 5/8" WATER TAP ON LOT 11, PARCEL 3 - B, PHASE 3

SUMMERTREE.

PROVIDE THE FOLLOWING:  ((SERIAL NUMBER, MAKE OF METER, AND THE LOCATION

OF THIS METER)).

IF UNABLE TO COMPLETE WITHIN FIVE WORKING DAYS, PLEASE ADVISE.

Due Date    : 03/15/06     Cust/Comp Resp: CUST

Resolution Dte : 03/08/06

Resolution  : INSTALLED 5/8" BADGER #33072725; READING 10. LOCATION: FRONT RIGHT SIDE.

JA:LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 218

Service Order Detail Report

Subdivision : 00626        Route         : 2               Service Order # : 025633

Account #   : 006260023332 Customer Name : PIHONAK         , PATRICIA

Address     : 11914        LOBLOLLY PINE        DR         Phone #         : (727) 857-9085

Entry Date  : 03/08/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LOCK

TAG  FOR NEW

Due Date    : 03/31/06     Cust/Comp Resp: CUST

Resolution Dte : 03/31/06

Resolution  : R=66980   F/C=730

LEFT ON FOR NEW

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 025634

Account #   : 006260080700 Customer Name : McCAR HOMES     ,

Address     : 11230        PARADISE POINTE      WAY        Phone #         : (813) 930-0908

Entry Date  : 03/08/06     Serv Ord Type : 08              Operator        : 626

Comments    : PLEASE PROVIDE ALL INFO ((SERIAL NUMBER, READING, MAKE OF METER AND THE

LOCATION OF METER)) FOR NEW WATER TAP ON LOT 70, PARCEL 3 - B, PHASE 3

OF SUMMERTREE.

ADVISE IF UNABLE TO COMPLETE WITHIN FIVE WORKING DAYS.

SEND TO OPERATIONS FAX - NOT - CUSTOMER SERVICE. 407-869-6961. LORETTA

Due Date    : 03/15/06     Cust/Comp Resp: CUST

Resolution Dte : 03/08/06

Resolution  : INSTALLED A BADGER METER #33072726; READING 10. LOCATION: FRONT

RIGHT. JA:LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 219

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 025646

Account #   : 006260081130 Customer Name : McCAR HOMES     ,

Address     : 11252        MERGANSER            WAY        Phone #         : (813) 930-0908

Entry Date  : 03/08/06     Serv Ord Type : 08              Operator        : 626

Comments    : PLEASE INSTALL NEW 5/8" WATER TAP ON LOT 113, PARCEL 3 - B IN PHASE 3 OF

SUMMERTREE.             FAX THE RESOLUTION TO OPERATIONS:407-869-6961

AND NOT THE CUSTOMER FAX, PLEASE, PLEASE....((INCLUDE WITH THE SERIAL

NUMBER, THE READING, MAKE OF THE METER AND THE LOCATION OF THIS METER)).

ADVISE IF YOU WILL NOT BE ABLE TO COMPLETE WITHIN FIVE WORKING DAYS.

Due Date    : 03/15/06     Cust/Comp Resp: CUST

Resolution Dte : 03/09/06

Resolution  : METER #33072722; BADGER; READING 10. LOCATION: LEFT FRONT. JA:LA

====================================================================================================

Subdivision : 00602        Route         : 602             Service Order # : 025650

Account #   : 006022010862 Customer Name : PERREAULT       , BRIANNE

Address     : 158          JAY                  DR         Phone #         : (407) 862-5272

Entry Date  : 03/08/06     Serv Ord Type : 14              Operator        :

Comments    : NP AMT 116.27

RECON 15.00

TOTAL DUE 131.27

Due Date    : 02/22/06     Cust/Comp Resp: CUST

Resolution Dte : 02/22/06

Resolution  : READING 116390 CUSTOMER DID NOT PAY, NOT TURNED ON

/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 220

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 025725

Account #   : 006260012065 Customer Name : RINBERGER       , RUTH

Address     : 11839        BOYNTON              LN         Phone #         : (727) 791-3760

Entry Date  : 03/08/06     Serv Ord Type : 12              Operator        :

Comments    : READ, TURN OFF, LOCK, TAG

Due Date    : 03/23/06     Cust/Comp Resp: CUST

Resolution Dte : 03/23/06

Resolution  : R=98280   F/C=900

LOCKED OFF AND TAGGED TO CALL

JA/KIM

====================================================================================================

Subdivision : 00620        Route         : 620             Service Order # : 025834

Account #   : 006200011687 Customer Name : JORDAN          , OCTAVIA

Address     : 6119     W   ROBINSON             ST         Phone #         : (407) 299-0567

Entry Date  : 03/08/06     Serv Ord Type : 20              Operator        :

Comments    : NSF CHK#213 2/22/6 $194.22

BANK SERV FEE       30.00

TOTAL AMNT DUE     $224.22 PAYABLE BY CASHIER CHK OR M\O ONLY

TO AVOID INTERRUPTION OF SERV AND A $15 RECONNECT FEE

5 DAY LTTR MAILED 3/9

Due Date    : 03/16/06     Cust/Comp Resp: CUST

Resolution Dte : 03/16/06

Resolution  : PAID $225.00

BATCH #5094

LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 221

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 025835

Account #   : 006260013713 Customer Name : BIRNEY          , WALTER

Address     : 11621        BAYONET              LN         Phone #         : (631) 474-6222

Entry Date  : 03/08/06     Serv Ord Type : 20              Operator        :

Comments    : NSF AUTO DRAFT 3/6/6 $48.54

BANK SERV FEE         25.00

TOTAL AMNT DUE       $73.54 PAYABLE BY CASHIER CHK OR M\O ONLY

TO AVOID INTERRUPTION OF SERV AND A $15 RECONNECT FEE

5 DAY LTTR MAILED 3/9

Due Date    : 03/16/06     Cust/Comp Resp: CUST

Resolution Dte : 03/16/06

Resolution  : 3/13/06 CUSTOMER PAID $75.00 CONF#082310.

NO FURTHER ACTIONS TO BE TAKEN ON THIS ACCOUNT.

KIM

====================================================================================================

Subdivision : 00630        Route         : 1               Service Order # : 025915

Account #   : 006300101772 Customer Name : CICCHETTI       , DANIEL

Address     : 7928     NW  56TH                 PL         Phone #         : (352) 867-9709

Entry Date  : 03/08/06     Serv Ord Type : 29              Operator        :

Comments    : RUSTY WATER-TWO TUBS CLOGGED-

PAGED TO DAN A; 2:58PM

Due Date    : 03/08/06     Cust/Comp Resp: CUST

Resolution Dte : 03/08/06

Resolution  : AFTER LOOKING AT SAMPLE, RUSTY WATER, CLOGGING OF TWO TUBS REALIZED THE

ORANGE SUBSTANCE WAS MEDIA OR SESIN GRANULES FROM THE WATER CONDITIONER.

EXPLAINED TO CUSTOMER, I HAD SEEN THAT SUBSTANCE EXACTLY THE SAME BEFORE

FROM A MALFUNCTIONED WATER CONDITIONER. 100% SURE. STRONGLY SUGGESTED

CALLING THE CONDITIONER SERVICE MAN. NOT A PROBLEM SOLUTION FROM

UTILITIES INC. CUSTOMER SATISFIED.

DA/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 222

Service Order Detail Report

Subdivision : 00602        Route         : 602             Service Order # : 026172

Account #   : 006020023844 Customer Name : NAZARIO         , ISABELL

Address     : 490          CITADEL              DR         Phone #         : (407) 862-3870

Entry Date  : 03/09/06     Serv Ord Type : 10              Operator        :

Comments    : 1/31/06 658820

3/2/06 667820 HIGH CONS ON MVR

Due Date    : 03/08/06     Cust/Comp Resp: CUST

Resolution Dte : 03/08/06

Resolution  : READING 668160

MATT/IC

====================================================================================================

Subdivision : 00602        Route         : 602             Service Order # : 026175

Account #   : 006020034313 Customer Name : LEBLANC         , LILLIAN

Address     : 512          NOTRE DAME           DR         Phone #         : (407) 862-7031

Entry Date  : 03/09/06     Serv Ord Type : 10              Operator        :

Comments    : 1/31/06 8060

3/2/06 12270 HIGH CONS ON MVR

Due Date    : 03/08/06     Cust/Comp Resp: CUST

Resolution Dte : 03/08/06

Resolution  : READING 14490

MATT/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 223

Service Order Detail Report

Subdivision : 00602        Route         : 602             Service Order # : 026180

Account #   : 006020041022 Customer Name : NIEVES          , DIANA

Address     : 631          STANFORD             DR         Phone #         : (407) 830-9777

Entry Date  : 03/09/06     Serv Ord Type : 20              Operator        :

Comments    : CUSTOMER CUT LOCK AGAIN. DID NOT PAY. PLEASE PULL METER A.S.A.P.

THANK YOU

Due Date    : 03/10/06     Cust/Comp Resp: CUST

Resolution Dte : 03/10/06

Resolution  : READING 1120660 PULLED METER

JP/IC

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 026193

Account #   : 006260022193 Customer Name : CRAIG           , ROBERT

Address     : 11614        GOLDEN RAIN          DR         Phone #         : (813) 961-7666

Entry Date  : 03/09/06     Serv Ord Type : 47              Operator        :

Comments    : JACK NOTICED LEAK ON CUSTOMER'S SIDE OF METER AND INFORMED PROPERTY

MANAGER OF LEAK. PER PROPERTY MANAGER WANTED WATER TO BE TURNED OFF

TO AVOID ADDITIONAL USAGE WHILE TENANTS ARE AWAY ON VACATION.

3/9/06 R=143080

PLEASE RESOLVE WITH ANY ADDITIONAL INFORMATION.

Due Date    : 03/09/06     Cust/Comp Resp: CUST

Resolution Dte : 03/09/06

Resolution  : R=143080 SHUT OFF WATER PER PROPERTY MANAGER. CUSTOMER SIDE IS LEAKING

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 224

Service Order Detail Report

Subdivision : 00602        Route         : 602             Service Order # : 026297

Account #   : 006020022661 Customer Name : GREER           , ELBERT

Address     : 445          CLEMSON              DR         Phone #         : (407) 869-0249

Entry Date  : 03/09/06     Serv Ord Type : 20              Operator        :

Comments    : CUSTOMER DID NOT PAY ON 3/6/06 120.00 AS STATED ON PAYMENT EXTENSION.

PLEASE TAG DOOR THAT MUST PAY 120.00 BY MON. 3/13/06 OR SERVICE WILL

BE INTERRUPTED ON TUES. 3/14/06. THANK YOU

Due Date    : 03/10/06     Cust/Comp Resp: CUST

Resolution Dte : 03/10/06

Resolution  : HUNG TAG

JP/IC

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 026421

Account #   : 006260010702 Customer Name : DEMUNDO         , ANTHONY

Address     : 11939    N   BOYNTON              LN         Phone #         : (727) 857-2248

Entry Date  : 03/09/06     Serv Ord Type : 10              Operator        :

Comments    : 1/27/06  R=135960

2/24/06  R=135960  0 CONS

Due Date    : 03/09/06     Cust/Comp Resp: CUST

Resolution Dte : 03/09/06

Resolution  : R=135970    METER IS OKAY

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 225

Service Order Detail Report

Subdivision : 00626        Route         : 2               Service Order # : 026449

Account #   : 006260022792 Customer Name : MOSS            , RANDY

Address     : 11637        ROSE TREE            DR         Phone #         : (765) 453-2841

Entry Date  : 03/09/06     Serv Ord Type : 21              Operator        :

Comments    : 1/27/06  R=170130

2/23/06  R=186810  H/C  ANY LEAKS

Due Date    : 03/09/06     Cust/Comp Resp: CUST

Resolution Dte : 03/09/06

Resolution  : R=198340   NO LEAKS

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 026465

Account #   : 006260022202 Customer Name : RUSCITO         , LOUIS

Address     : 11610        GOLDEN RAIN          DR         Phone #         : (727) 857-9187

Entry Date  : 03/09/06     Serv Ord Type : 10              Operator        :

Comments    : 1/27/06  R=98150

2/24/06  R=98150   0 CONS

Due Date    : 03/09/06     Cust/Comp Resp: CUST

Resolution Dte : 03/09/06

Resolution  : R=98160  METER OKAY

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 226

Service Order Detail Report

Subdivision : 00610        Route         : 610             Service Order # : 026654

Account #   : 006100010903 Customer Name : SCHWARTZ        , PATRICIA

Address     : 230          LAKEVIEW             DR         Phone #         : (407) 320-7075

Entry Date  : 03/10/06     Serv Ord Type : 12              Operator        : SAN

Comments    : FINAL READ AND LOCK

TAG FOR NEW TO APPLY

Due Date    : 03/28/06     Cust/Comp Resp: CUST

Resolution Dte : 03/28/06

Resolution  : R=2933900

TURNED OFF AND TAGGED FOR NEW.

F/C=37040

KEV/KIM

====================================================================================================

Subdivision : 00623        Route         : 623             Service Order # : 026986

Account #   : 006233011487 Customer Name : CLARK           , ANNETTE

Address     : 501          GROVE                CT         Phone #         : (352) 223-8067

Entry Date  : 03/10/06     Serv Ord Type : 46              Operator        :

Comments    : PER CUST CALLED HAS LTTLE OR NO WATER AT THIS TIMT @4:42 PM, PGD (JP)

IS ON IT CUST HUNG UP WHEN I WAS GOING TO TELL HER THAT SOMEONE WILL

BE OUT THERE SOON

Due Date    : 03/10/06     Cust/Comp Resp: CUST

Resolution Dte : 03/10/06

Resolution  : READ 893480-FOUND CUSTOMER HAD THERE HOUSE VALVE OFF*

JPL/DB

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 227

Service Order Detail Report

Subdivision : 00614        Route         : 614             Service Order # : 027171

Account #   : 006140011271 Customer Name : STIFFEY         , GEORGE     J

Address     : 401          BETH                 DR         Phone #         : (407) 322-8234

Entry Date  : 03/13/06     Serv Ord Type : 15              Operator        :

Comments    : TIE IN IS READY FOR INSPECTION

Due Date    : 03/14/06     Cust/Comp Resp: CUST

Resolution Dte : 03/14/06

Resolution  : 3/14/06 READ  441450 INSPECTED BY FRED Q

FQ/EC

====================================================================================================

Subdivision : 00630        Route         : 1               Service Order # : 027186

Account #   : 006300101742 Customer Name : CURRIER         , CRAIG

Address     : 5404     NW  76TH                 CT         Phone #         : (516) 249-5497

Entry Date  : 03/13/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LEAVE ON PER NEW

Due Date    : 03/14/06     Cust/Comp Resp: CUST

Resolution Dte : 03/14/06

Resolution  : READING 469940

CONS 1430

NO LEAKS

DA/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 228

Service Order Detail Report

Subdivision : 00612        Route         : 612             Service Order # : 027236

Account #   : 006120024091 Customer Name : GREENLEE        , ROBERT     F

Address     : 205          LAKE                 BLV        Phone #         : (407) 321-1470

Entry Date  : 03/13/06     Serv Ord Type : 01              Operator        :

Comments    : CUSTOMER HAS PLUMBER OVER TO REPAIR SOME THINGS AROUND HOUSE, SHE HAS

ALSO RELANDSCAPED YARD. YET SHE WANTS US TO REREAD HER METER AND CHECK

TO SEE IF IT IS STILL RUNNING.

TAG DOOR W/ FINDINGS AND IF YOU NOTICE ANY LEAKS.

Due Date    : 03/14/06     Cust/Comp Resp: CUST

Resolution Dte : 03/14/06

Resolution  : R=948160   NO LEAKS INDICATED.  TAGGED HOME WITH FINDINGS.

FRED/KIM

====================================================================================================

Subdivision : 00620        Route         : 620             Service Order # : 027926

Account #   : 006200012839 Customer Name : MARTINEZ        , LUZ

Address     : 443      N   JOHN                 ST         Phone #         : (407) 658-2693

Entry Date  : 03/15/06     Serv Ord Type : 13              Operator        :

Comments    : PLEASE OBTAIN READING AND TURN ON FOR NEW CUSTOMER  **A.M. TURN ON**

SIGNATURE REQUIRED ________________________ PRINT ___________________

GAVE TO JEFF P.

Due Date    : 03/15/06     Cust/Comp Resp: CUST

Resolution Dte : 03/15/06

Resolution  : BR=130010

TOOK READING

TURNED SERVICE ON

GOT SIGNATURE

SE/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 229

Service Order Detail Report

Subdivision : 00620        Route         : 620             Service Order # : 028221

Account #   : 006200011409 Customer Name : ORTIZ           , ANA

Address     : 6212     W   RIDGEWOOD            ST         Phone #         : (407) 523-5154

Entry Date  : 03/15/06     Serv Ord Type : 12              Operator        : 620

Comments    : FINAL READ AND LOCK

TAG FOR NEW TO APPLY

Due Date    : 03/16/06     Cust/Comp Resp: CUST

Resolution Dte : 03/16/06

Resolution  : FR=3987670

FC=640

READ, LOCKED & TAGGED

JPL/LYN

====================================================================================================

Subdivision : 00630        Route         : 2               Service Order # : 028367

Account #   : 006300301245 Customer Name : VOGTLE          , PAT

Address     : 4515     NW  79TH TERRACE         RD         Phone #         : (904) 629-7854

Entry Date  : 03/15/06     Serv Ord Type : 12              Operator        :

Comments    : READ, TURNOFF, LOCK, TAG

Due Date    : 03/20/06     Cust/Comp Resp: CUST

Resolution Dte : 03/20/06

Resolution  : READING 63940

CONS 4440

TURNED OFF, TAGGED

DA/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 230

Service Order Detail Report

Subdivision : 00630        Route         : 2               Service Order # : 028391

Account #   : 006300301882 Customer Name : BRISCOE         , JANIS

Address     : 8435     NW  46TH                 ST         Phone #         : (239) 262-6992

Entry Date  : 03/15/06     Serv Ord Type : 01              Operator        :

Comments    : READ AND CHECK FOR LEAKS

CUSTOMER SAYS IRRG NOT WORKING-NOT WATERING

CUSTOMER SAYS ONLY THERE FOR 2DAY THIS MONTH AND SOMEONE COMES TO CHECK

HOUSE REGULARLY. TAG W/ READ AND FINDINGS. NOTE IF IRRG LAWN.

Due Date    : 03/16/06     Cust/Comp Resp: CUST

Resolution Dte : 03/16/06

Resolution  : READING 151470 LAWN NOT BEING IRRIGATED WHILE PRESENT. HOSE BIB HAS

PLENTY OF PRESURE AND FLOW. NO LEAKS FOUND.

DA/IC

====================================================================================================

Subdivision : 00620        Route         : 620             Service Order # : 028610

Account #   : 006200011899 Customer Name : SEETARAM        , MAHENDRA

Address     : 6038     W   ROBINSON             ST         Phone #         : (407) 298-7704

Entry Date  : 03/16/06     Serv Ord Type : 13              Operator        : 620

Comments    : READ AND TURN ON FOR NEW

Due Date    : 03/17/06     Cust/Comp Resp: CUST

Resolution Dte : 03/17/06

Resolution  : BR=2729300

JPL/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 231

Service Order Detail Report

Subdivision : 00620        Route         : 620             Service Order # : 028767

Account #   : 006200010611 Customer Name : HENDERSON       , TRACY      L

Address     : 6218     W   LIVINGSTON           ST         Phone #         : (321) 438-0127

Entry Date  : 03/16/06     Serv Ord Type : 13              Operator        :

Comments    : READ AND T/ON FOR NEW

BETWEEN 8AM AND NOON, OBTAIN A SIG.

Due Date    : 03/17/06     Cust/Comp Resp: CUST

Resolution Dte : 03/17/06

Resolution  : BR=1213770

JPL/LYN

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 029023

Account #   : 006260010086 Customer Name : WILKS           , MILDRED    M

Address     : 12009        BAYONET              LN         Phone #         : (727) 857-9002

Entry Date  : 03/17/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LOCK

TAG FOR NEW TO CALL AND SET UP SERVICE

Due Date    : 03/20/06     Cust/Comp Resp: CUST

Resolution Dte : 03/20/06

Resolution  : R=324870  F/C= 20

LOCKED OFF AND TAGGED FOR NEW

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 232

Service Order Detail Report

Subdivision : 00612        Route         : 612             Service Order # : 029093

Account #   : 006120011154 Customer Name : EVANS           , L          D

Address     : 211          FORREST              DR         Phone #         : (407) 322-0933

Entry Date  : 03/17/06     Serv Ord Type : 22              Operator        :

Comments    : PLEASE TEMP T/OFF FOR CUSTOMER /PLUMBER.

THEY ARE REPAIRING IRRIG LINE.

Due Date    : 03/17/06     Cust/Comp Resp: CUST

Resolution Dte : 03/17/06

Resolution  : R=79460

DID NOT SHUT OFF METER. IRRIGATION CONTRACTOR WENT TO GET SUPPLIES,

LUBERICATED AND EXERCISED CURBSTOP AND LEFT ON PER CUSTOMER'S REQUEST

CURBSTOP WORKING FINE. INFORMED CUSTOMER TO INSTALL VALVE ON THEIR

SIDE.

KC/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 029095

Account #   : 006260011972 Customer Name : FARRUGGIO       , DOMINICK   T

Address     : 11909        BOYNTON              LN         Phone #         : (   )    -

Entry Date  : 03/21/06     Serv Ord Type : 14              Operator        :

Comments    : S/OFF AMT  $44.34

S/OFF FEE  $15.00

TOTAL DUE  $59.34

Due Date    : 03/21/06     Cust/Comp Resp: CUST

Resolution Dte : 03/21/06

Resolution  : CORRECT SHUT OFF AMT $80.06 + 15 = 95.06.(KIM)

R=95470 LOCKED OFF AND TAGGED

JA/KIM

5/17/06 RETAG HOME FOR PAYMENT $123.84 +15 =$138.84. STILL LOCKED OFF

R=95470 (JA/KIM)

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 233

Service Order Detail Report

Subdivision : 00635        Route         : 635             Service Order # : 029403

Account #   : 006350001005 Customer Name : NUZZO           , JOYCE

Address     : 7425     NW  45TH                 LN         Phone #         : (630) 253-0704

Entry Date  : 03/17/06     Serv Ord Type : 13              Operator        : GH

Comments    : READ TURN ON FOR NEW

Due Date    : 03/17/06     Cust/Comp Resp: CUST

Resolution Dte : 03/17/06

Resolution  : READING 385190 TURNED ON

SMALL LEAK SPOKE TO CUSTOMER

CS/IC

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 029575

Account #   : 006260012174 Customer Name : HAHN            , ROBERT

Address     : 11813        BOYNTON              LN         Phone #         : (908) 276-8874

Entry Date  : 03/20/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LEAVE ON FOR NEW

Due Date    : 03/31/06     Cust/Comp Resp: CUST

Resolution Dte : 03/31/06

Resolution  : R=44740   F/C=3410

LEFT ON FOR NEW

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 234

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 029598

Account #   : 006260030481 Customer Name : CALAMARI        , CARROLL    A

Address     : 11411        TURTLE DOVE          PL         Phone #         : (727) 379-0631

Entry Date  : 03/20/06     Serv Ord Type : 20              Operator        :

Comments    : PLEASE REPLACE COVER AT THE METER

AND CHECK FOR LEAK AT THE METER.

Due Date    : 03/21/06     Cust/Comp Resp: CUST

Resolution Dte : 03/21/06

Resolution  : R=56020  NOTHING TO DO WITH METER LID, THIS WAS A CUSTOMER SEWER CLEAN

OUT. NOTHING TO DO WIHT WATER AT ALL.

JA/KIM

3/21/06 I CALLED THE CUSTOMER TO VERIFY REASON OF CALLING. THE CUSTOMER

LAWN CARE PERSONNEL DESTROYED HER SEWER CLEAN OUT CAP AND SHE CALLED

US WANTING IT TO BE REPLACED. JACK INFORMED CUSTOMER THAT WE DO NOT

REPLACE CLEAN OUT CAP.

KIM

====================================================================================================

Subdivision : 00610        Route         : 610             Service Order # : 029643

Account #   : 006100010821 Customer Name : BUMPASS         , SIDNEY     M

Address     : 206      S   CRYSTAL              DR         Phone #         : (407) 302-7767

Entry Date  : 03/20/06     Serv Ord Type : 47              Operator        : SAN

Comments    : MR. CALLED BECAUSE SOMEONE NEXT DOOR WAS CLEARING A VACANT LOT NEXT TO

HIS LOT AND CUT THE WATER MAIN. HE NOW HAS NO WATER.

PAGED TO JOHN M.

Due Date    : 03/20/06     Cust/Comp Resp: CUST

Resolution Dte : 03/20/06

Resolution  : R=138720  SHUT OFF METER  - CUSTOMER LINE BROKEN INFORMED TO REPAIR/

KEV/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 235

Service Order Detail Report

Subdivision : 00608        Route         : 608             Service Order # : 029685

Account #   : 006080010561 Customer Name : WARD            , ROY        G

Address     : 153          CANAL                ST         Phone #         : (407) 322-8374

Entry Date  : 03/20/06     Serv Ord Type : 17              Operator        :

Comments    : ON 03/20/06 A NOTE WAS RECEIVED FROM CUSTOMER THAT STATES THAT HE HAS

A LEAK ON THE BACK SIDE OF HIS METER, IN THE WATER LINE (3/4") GOING

TO HIS HOUSE. HE WOULD LIKE TO HAVE THIS CHECKED AND FOR SOMEONE TO

COME TO HIS "BACK" DOOR.

Due Date    : 03/21/06     Cust/Comp Resp: CUST

Resolution Dte : 04/18/06

Resolution  : READ 118830

NO LEAK PRESENT ON 4/18/06

CUSTOMER HAD SINKHOLE MANY MONTHS AGO AND WHILE HAND DIGGING TO RAISE

METER BOX, HIS ADULT SON HIT POLY LINE. I WAS ON CALL AND CAME OUT,

INSTALLED A REPAIR CLAMP TO STOP LEAK ON OURSIDE OF METER.

JH/JS

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 029847

Account #   : 006260021851 Customer Name : BARENTZEN       , LOUIS

Address     : 11621        PEAR TREE            DR         Phone #         : (   )    -

Entry Date  : 03/20/06     Serv Ord Type : 12              Operator        :

Comments    : TAKE FINAL READING, LEAVE ON FOR NEW

Due Date    : 03/22/06     Cust/Comp Resp: CUST

Resolution Dte : 03/22/06

Resolution  : R=249890   F/C=860

LEFT ON

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 236

Service Order Detail Report

Subdivision : 00637        Route         : 637             Service Order # : 029925

Account #   : 006370012824 Customer Name : GILES           , ELDON

Address     : 52           HARBOR               WAY        Phone #         : (727) 785-3202

Entry Date  : 03/20/06     Serv Ord Type : 14              Operator        :

Comments    : CUSTOMER DID NOT CLEAR NSF CHECK. TURN OFF & LOCK

TOTAL DUE 135.00 MONEY 0RDER OR CC. PMT ONLY

Due Date    : 03/21/06     Cust/Comp Resp: CUST

Resolution Dte : 03/21/06

Resolution  : READING 1223500 COLLECTED MONEY ORDER 135.00

SH/IC

====================================================================================================

Subdivision : 00602        Route         : 602             Service Order # : 029984

Account #   : 006020034276 Customer Name : OSHEL           , BRENDA     J

Address     : 536          NOTRE DAME           DR         Phone #         : (407) 302-2129

Entry Date  : 03/21/06     Serv Ord Type : 20              Operator        :

Comments    : NSF CHK#117 3/6/6 $57.72

BANK SERV FEE      30.00

TOTAL AMNT DUE    $87.72 PAYABLE BY CASHIER CHK OR M\O ONLY

TO AVOID INTERRUPTION OF SERV AND A $15 RECONNECT FEE

5 DAY LTTR MAILED 3/22

Due Date    : 03/29/06     Cust/Comp Resp: CUST

Resolution Dte : 03/29/06

Resolution  : CUSTOMER PAID 57.72 ON 3/20/06

/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 237

Service Order Detail Report

Subdivision : 00612        Route         : 612             Service Order # : 030073

Account #   : 006120011124 Customer Name : TEMBY           , BARBARA

Address     : 209          FORREST              DR         Phone #         : (407) 324-9582

Entry Date  : 03/21/06     Serv Ord Type : 28              Operator        :

Comments    : CUSTOMER CALLED AFTER HOURS TO THE ANSWERING SERVICE ABOUT LOW PRESSURE.

PAGED TO ONCALL

PLEASE RESOLVE.

Due Date    : 03/19/06     Cust/Comp Resp: CUST

Resolution Dte : 03/19/06

Resolution  : R=110000 CUSTOMER HAD TALKED TO S. HAWES ABOUT 1 WEEK AGO.

PSI =30

ARRIVED @ 10:30AM

3/22/06  8:41AM PSI =20

JH/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 030166

Account #   : 006260070481 Customer Name : CHANDLER        , JAMES

Address     : 12210        PUTTER GREEN         CT         Phone #         : (727) 857-1840

Entry Date  : 03/21/06     Serv Ord Type : 47              Operator        :

Comments    : PER CUST SAID HER WTR HAS A ODER/SMELL PLEASE RECTIFY THIS WTR ISSUE

THANKS WILL BE PAGING OUT

Due Date    : 03/21/06     Cust/Comp Resp: CUST

Resolution Dte : 03/21/06

Resolution  : CALLED THE CUSTOMER AND TOLD HER WE DO NOT TAKE CARE OF HOT WATER

HEATERS. ALSO ADVISED CUSTOMER SERVICE REP WE ARE NOT RESPONSIBLE FOR

HOW WATER ODOR.

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 238

Service Order Detail Report

Subdivision : 00602        Route         : 602             Service Order # : 030177

Account #   : 006022010453 Customer Name : PICONE III      , RICHARD

Address     : 129          OAK                  DR         Phone #         : (407) 526-9089

Entry Date  : 03/21/06     Serv Ord Type : 20              Operator        :

Comments    : PLEASE CHECK THIS METER. A CHAIN LOCK WAS INSTALLED ON 3/9/06 PER

METER VARIANCE. MAKE SURE METER IS STILL LOCKED. IF NOT PULL METER

ASAP. CUSTOMER HAS NOT PAID. TAKE READING.

Due Date    : 03/22/06     Cust/Comp Resp: CUST

Resolution Dte : 03/22/06

Resolution  : READING 126120 STILL LOCKED OFF

JP/IC

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 030198

Account #   : 006260022222 Customer Name : FRANKS          , DONALD     E

Address     : 11602        GOLDEN RAIN          DR         Phone #         : (727) 856-8309

Entry Date  : 03/21/06     Serv Ord Type : 01              Operator        :

Comments    : CUSTOMER COMPLAINING OF HIGH CONSUMPTION. SHE SAYS THERE'S A LEAK

AT METER? NOT SURE. PLEASE CHECK. TAKE A READING. READING ON 2/24/06

WAS 447610. ADVISE CUSTOMER OF FINDINGS.

Due Date    : 03/22/06     Cust/Comp Resp: CUST

Resolution Dte : 03/22/06

Resolution  : R=452580 METER NOT REGISTERING ANY LEAKS.

THERE WAS A LEAK @ UNUSUAL SERVICE WHIP NOT EFFECTING THE CUSTOMER.

REPAIRED.

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 239

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 030228

Account #   : 006260080100 Customer Name : McCAR HOMES     ,

Address     : 11022        KISKADEE             CIR        Phone #         : (813) 930-0908

Entry Date  : 03/21/06     Serv Ord Type : 08              Operator        : 626

Comments    : PLEASE PROVIDE ALL THE METER INFO TO INCLUDE THE MAKE AND LOCATION OF

THE METER, S/N AND THE READING.

ADVISE ME IF YOU CAN NOT COMPLETE THIS WITHIN FIVE WORKING DAYS.

PLEASE FAX TO OPERATIONS: 407-869-6961 - THANK YOU!!!  LORETTA

Due Date    : 03/28/06     Cust/Comp Resp: CUST

Resolution Dte : 03/24/06

Resolution  : INSTALLED BADGER METER W/SERIAL NUMBER OF 33072737. LOCATION: LEFT

FRONT. JA:LA

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 030237

Account #   : 006260080130 Customer Name : McCAR HOMES     ,

Address     : 11038        KISKADEE             CIR        Phone #         : (813) 930-0908

Entry Date  : 03/21/06     Serv Ord Type : 08              Operator        : 626

Comments    : PLEASE PROVIDE ALL THE METER INFO - INCLUDE THE MAKE OF METER AND THE

LOCATION, S/N AND READING.

ADVISE ME IF UNABLE TO COMPLETE THIS WITHIN FIVE WORKING DAYS.

FAX: 407-869-6919 - THANKS.

Due Date    : 03/28/06     Cust/Comp Resp: CUST

Resolution Dte : 03/24/06

Resolution  : INSTALLED A BADGER METER W/SERIAL NUMBER 33072738, READING 10.

LOCATION: RIGHT FRONT. JA:LA NO MAKE OF METER WAS NOTED.LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 240

Service Order Detail Report

Subdivision : 00618        Route         : 618             Service Order # : 030560

Account #   : 006181011501 Customer Name : WILSON          , WALTER     L

Address     : 6605         BRENDA               DR         Phone #         : (352) 383-0434

Entry Date  : 03/22/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READ

LOCK AND TAG FOR NEW APPLY

GAVE#

Due Date    : 03/27/06     Cust/Comp Resp: CUST

Resolution Dte : 03/27/06

Resolution  : R=30660  F/C=4990

LOCKED OFF AND TAGGED FOR NEW CUSTOMER.

SE/KIM

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 030593

Account #   : 006260011545 Customer Name : TRONCO          , MARY

Address     : 11636        BOYNTON              LN         Phone #         : (908) 756-7346

Entry Date  : 03/22/06     Serv Ord Type : 22              Operator        :

Comments    : MS. IS GOING NORTH & WANTS HER METER TURNED OFF AND LOCKED.

I EXPLAINED SHE MUST CALL IN ADVANCE TO HAVE IT TURNED BACK ON AND THAT

SHE MUST SIGN.

Due Date    : 04/03/06     Cust/Comp Resp: CUST

Resolution Dte : 04/03/06

Resolution  : R=284530  LOCKED OFF FOR SEASONAL CUSTOMER.

JA/KIM

4/5/06 MAILING WAIVER TO CUSTOMER FOR FUTURE TURN ON. (KIM)

9/19/06

9/20/06-READ, VERIFY WITH KIM WAIVER IN THEN TURNON 9/20/06-DB

R=284540     TURNED ON FOR NEW CUSTOMER.

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 241

Service Order Detail Report

Subdivision : 00610        Route         : 610             Service Order # : 030641

Account #   : 006100010821 Customer Name : BUMPASS         , SIDNEY     M

Address     : 206      S   CRYSTAL              DR         Phone #         : (407) 302-7767

Entry Date  : 03/22/06     Serv Ord Type : 20              Operator        :

Comments    : CUSTOMER SAYS HE WANTS HIS METER MOVED TO HIS LOT. PLEASE CALL CUSTOMER

AT 407-808-4873. IF HE DOES NOT ANSWER LEAVE NUMBER HE WILL CALL RIGHT

BACK.

Due Date    : 03/23/06     Cust/Comp Resp: CUST

Resolution Dte : 03/23/06

Resolution  : PHONED THE CUSTOMER. INFORMED HIM THAT THE METER CAN NOT BE MOVED

THERE IS NO MAIN PAST THIS AREA. OLD OWNER HAD THIS METER INSTALLED AND

RAN THE LINE THRU BACK OF THE PROPERTY. SOLD THE BACK LOTS - CUSTOMERS

LINES IS ON THIS LOT, HE NEEDS TO MOVE HIS SERVICE.

JM/IM

====================================================================================================

Subdivision : 00612        Route         : 612             Service Order # : 030766

Account #   : 006120010231 Customer Name : WRIGHT          , CECIL

Address     : 420          LAKE                 BLV        Phone #         : (407) 322-2906

Entry Date  : 03/22/06     Serv Ord Type : 47              Operator        :

Comments    : MS. CALLED REQUESTING TURN OFF OF SERVICE. THEY NEED TO MAKE REPAIRS.

Due Date    : 03/23/06     Cust/Comp Resp: CUST

Resolution Dte : 03/23/06

Resolution  : R=964880 ARRIVED @ 9:52AM FREED CURBSTOP CUSTOMER DID NOT WANT WATER

OFF. HAS TO GET PLUMBER BACK OUT.

MAS/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 242

Service Order Detail Report

Subdivision : 00637        Route         : 637             Service Order # : 030880

Account #   : 006370010621 Customer Name : WETTLAUFER      , JAY

Address     : 204          PHILADELPHIA         CT         Phone #         : (716) 652-1675

Entry Date  : 03/23/06     Serv Ord Type : 20              Operator        :

Comments    : NSF AUTODRAFT 3/20/6 $15.06

BANK SERV FEE         25.00

TOTAL AMNT DUE       $40.06 PAYABLE BY CASHIER CHK OR M\O ONLY

TO AVOID INTERRUPTION OF SERV AND A $15 RECONNECT FEE

5 DAY LTTR MAILED 3/24

Due Date    : 03/31/06     Cust/Comp Resp: CUST

Resolution Dte : 03/31/06

Resolution  : CUSTOMER DID NOT CLEAR NSF CHECK. TURNED SERVICE OFF

/IC

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 030975

Account #   : 006260010087 Customer Name : GALLO           , SALVATORE

Address     : 12009        BAYONET              LN         Phone #         : (585) 421-3716

Entry Date  : 03/23/06     Serv Ord Type : 13              Operator        :

Comments    : PLEASE T/ON FOR NEW APPLY, PER CUSTOMER WILL FAX/MAIL BACK WAIVER FOR

T/ON DATE TO BE DETERMINED WHEN WAIVER IS REC'V FOR T/ON FROM CUSTOMER

MAILED WAIVER TO CUSTOMER NY ADDRESS

Due Date    : 03/23/06     Cust/Comp Resp: CUST

Resolution Dte : 03/23/06

Resolution  : R=324870  TURNED ON FOR NEW

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 243

Service Order Detail Report

Subdivision : 00610        Route         :                 Service Order # : 031011

Account #   : 006100000000 Customer Name :                 ,

Address     :                                              Phone #         : (   )    -

Entry Date  : 03/23/06     Serv Ord Type : 20              Operator        : 610

Comments    : JAMES W/CIVIL SITE ENG. 407-644-6570 IS ASKING IF WE CAN PROVIDE WATER

TO LOT 001A AT 46-A AND N.COUNTRY CLUB. HE SAYS IT FACES N.COUNTRY CLUB.

THIS WOULD BE RESIDENTIAL.HE HAS ALREADY CHECKED WITH THE CITY OF

SANFORD AND IT IS NOT THEIR AREA-TOLD HIM TO CHECK WITH US.

Due Date    : 03/30/06     Cust/Comp Resp: CUST

Resolution Dte : 03/27/06

Resolution  : I SPOKE W/JAMES W/CIVIL SITE ENG. AND TOLD HIM WE HAVE NOTHING IN

THIS AREA. THREE LOTS ON N. COUNTRY CLUB DRIVE. HE NEEDS TO CALL THE

CITY OF SANFORD. JOHN MARINELLI:LA

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 031220

Account #   : 006260013611 Customer Name : COPPOLA         , ANTIONETTE

Address     : 11641        BAYONET              LN         Phone #         : (727) 856-9307

Entry Date  : 03/23/06     Serv Ord Type : 49              Operator        :

Comments    : TAKE READING, TURN ON FOR CUSTOMER

MAILED WAIVER TO NY ADDRESS

Due Date    : 03/31/06     Cust/Comp Resp: CUST

Resolution Dte : 03/31/06

Resolution  : REFER TO SERVICE ORDER #954257

KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 244

Service Order Detail Report

Subdivision : 00620        Route         : 620             Service Order # : 031423

Account #   : 006200011802 Customer Name : BUDHU           , NARESH

Address     : 6214     W   ROBINSON             ST         Phone #         : (407) 616-9565

Entry Date  : 03/23/06     Serv Ord Type : 22              Operator        :

Comments    : PLEASE TEMP OFF

CUSTOMER HAS A LEAK IN PLUMBING AND WANTS TO MAKE REPAIRS

HE WILL HAVE SOMEONE THERE BETWEEN 8AM AND NOON MONDAY.

Due Date    : 03/29/06     Cust/Comp Resp: CUST

Resolution Dte : 03/27/06

Resolution  : MR=2255590

LEFT TAG FOR CUSTOMER

LETTING THEM KNOW WATE WAS SHUT OFF

SE/LYN

03/29/06

T/ON FOR CUSTOMER - TAG WILL BE SIGNED AND HUNG ON DOOR.

MR=225590

READ & TURNED ON

JPC/LYN

====================================================================================================

Subdivision : 00615        Route         : 7               Service Order # : 031564

Account #   : 006150006282 Customer Name : DAUGHERTY       , GALE       E

Address     : 2143         LULLABY              DR         Phone #         : (727) 934-6213

Entry Date  : 03/24/06     Serv Ord Type : 12              Operator        :

Comments    : FINAL READ AND LOCK

TAG FOR NEW TO APPLY

Due Date    : 04/11/05     Cust/Comp Resp: CUST

Resolution Dte : 04/11/05

Resolution  : FR=137370

FC=1420

JF/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 245

Service Order Detail Report

Subdivision : 00604        Route         : 604             Service Order # : 031597

Account #   : 006040010402 Customer Name : STRATEGER       , JOSEPH

Address     : 511          LAKE SHORE           DR         Phone #         : (407) 830-4733

Entry Date  : 03/24/06     Serv Ord Type : 10              Operator        :

Comments    : 2/14/06 419890

3/10/06 429820 HIGH CONS ON MVR

Due Date    : 03/24/06     Cust/Comp Resp: CUST

Resolution Dte : 03/24/06

Resolution  : READING 430190

JF/IC

====================================================================================================

Subdivision : 00604        Route         : 604             Service Order # : 031598

Account #   : 006040022155 Customer Name : GONZALEZ        , SHARON

Address     : 1070         GREGORY              DR         Phone #         : (407) 230-4295

Entry Date  : 03/24/06     Serv Ord Type : 10              Operator        :

Comments    : 2/14/06 606470

3/10/06 627220 HIGH CONS ON MVR

Due Date    : 03/24/06     Cust/Comp Resp: CUST

Resolution Dte : 03/24/06

Resolution  : READING 642240

JH/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 246

Service Order Detail Report

Subdivision : 00604        Route         : 604             Service Order # : 031609

Account #   : 006040022235 Customer Name : OLIVER          , CAROLEA

Address     : 1030         GREGORY              DR         Phone #         : (407) 260-0670

Entry Date  : 03/24/06     Serv Ord Type : 10              Operator        :

Comments    : 2/14/06 3664300

3/10/06 3786810 HIGH CONS ON MVR

Due Date    : 03/24/06     Cust/Comp Resp: CUST

Resolution Dte : 03/24/06

Resolution  : JIMMY H. READ TWICE AND READ WAS CORRECT.

READING 3787170

PER JIMMY THERE WAS DIRT DUG UP AROUND METER, IT LOOKED LIKE THEY TRIED

TO GET TO OUR S/OFF VALVE.

JH/IC

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 031610

Account #   : 006260013903 Customer Name : GOULETTE        , PHILIP     R

Address     : 11646        BAYONET              LN         Phone #         : (727) 252-0162

Entry Date  : 03/24/06     Serv Ord Type : 12              Operator        :

Comments    : PLEAS OBTAIN FINAL READ

LOCK AND TAG FOR NEW APPLY

GAVE#

Due Date    : 03/31/06     Cust/Comp Resp: CUST

Resolution Dte : 03/31/06

Resolution  : R=304870   F/C=230

TAGGED FOR NEW

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 247

Service Order Detail Report

Subdivision : 00604        Route         : 604             Service Order # : 031612

Account #   : 006040022873 Customer Name : LANDERMAN       , LAURA

Address     : 1040         DRUID                DR         Phone #         : (407) 260-1689

Entry Date  : 03/24/06     Serv Ord Type : 10              Operator        :

Comments    : 2/14/06 2599220

3/10/06 2656170 HIGH CONS ON MVR

Due Date    : 03/24/06     Cust/Comp Resp: CUST

Resolution Dte : 03/24/06

Resolution  : READING 2678950

JH/IC

====================================================================================================

Subdivision : 00629        Route         :                 Service Order # : 031622

Account #   : 006290000000 Customer Name :                 ,

Address     :                                              Phone #         : (   )    -

Entry Date  : 03/24/06     Serv Ord Type : 20              Operator        : 629

Comments    : PANDA CONSTRUCTION IS ASKING FOR SERVICE FOR LOT 7 COUGAR LOOP. PLEASE

ADVISE - I REALIZE WE DO SERVICE LOT 8 NEXT TO THIS VACANT LOT AS THEY

GOING TO BE BUILDING ON BOTH LOTS.SERVICE IS ALREADY ON LOT 8 (3050)

COUGAR LOOP.PLEASE ADVISE US OF THE COST, ETC. FAX TO OPERATIONS PLEASE

407-869-6961.

Due Date    : 04/04/06     Cust/Comp Resp: CUST

Resolution Dte : 03/27/06

Resolution  : I DON'T KNOW WHERE THEY WANT TO BUILD. THERE IS NO PROPERTY LINES OR

LOT STAKES ANYWHERE. I DON'T KNOW HOW THEY PLAN TO DIVIDE THE PROPERTY.

SH:LA I FAXED THE CUSTOMER'S PHONE NUMBER SO STEVE CAN FIND THE ANSWERS

TO HIS QUESTIONS. I AM GOING TO CHANGE THE D.D. TO 03/31/06.LA

03/30/06-RESEMT S/O FOR UPDATE:YES, AWAITING FOR BID ON WHAT IT WILL

COST.THANKS.SH:LA I CHGD.D.D.TO 04/04/06.LA WE REC'D.THE BID, HOWEVER,

KAREN SASIC SAYS THE TARIFF WILL ONLY LET US CHARGE $65.00.APPLICATION

WAS FAXED TO PANADA CONSTRUCTION ON 04/06/06.LA

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 248

Service Order Detail Report

Subdivision : 00637        Route         : 637             Service Order # : 031650

Account #   : 006370011423 Customer Name : KIGGANS         , GEORGE

Address     : 41           WILLIAM PENN         WAY        Phone #         : (727) 787-0927

Entry Date  : 03/24/06     Serv Ord Type : 10              Operator        :

Comments    : 2/15/06 472650

3/15/06 476430 HIGH CONS ON MVR

Due Date    : 03/24/06     Cust/Comp Resp: CUST

Resolution Dte : 03/24/06

Resolution  : READING 476970 NO LEAKS

JF/IC

====================================================================================================

Subdivision : 00637        Route         : 637             Service Order # : 031652

Account #   : 006370011445 Customer Name : NELSON          , MICHAEL    J

Address     : 49           WILLIAM PENN         WAY        Phone #         : (727) 789-4290

Entry Date  : 03/24/06     Serv Ord Type : 10              Operator        :

Comments    : 2/15/06 852830

3/15/06 856320 HIGH CONS ON MVR

Due Date    : 03/24/06     Cust/Comp Resp: CUST

Resolution Dte : 03/24/06

Resolution  : READING 857070 NO LEAKS

JF/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 249

Service Order Detail Report

Subdivision : 00637        Route         : 637             Service Order # : 031653

Account #   : 006370011482 Customer Name : VENTURINI       , MARINO

Address     : 52           WILLIAM PENN         WAY        Phone #         : (734) 675-8893

Entry Date  : 03/24/06     Serv Ord Type : 10              Operator        :

Comments    : 2/15/06 197020

3/15/06 203730 HIGH CONS ON MVR

Due Date    : 03/24/06     Cust/Comp Resp: CUST

Resolution Dte : 03/24/06

Resolution  : READING 205300

NO LEAKS

JF/IC

====================================================================================================

Subdivision : 00637        Route         : 637             Service Order # : 031654

Account #   : 006370013194 Customer Name : DECKER          , BILL

Address     : 35           DELAWARE             CT         Phone #         : (727) 784-2038

Entry Date  : 03/24/06     Serv Ord Type : 10              Operator        :

Comments    : 2/15/06 296850

3/15/06 300210 HIGH CONS ON MVR

Due Date    : 03/24/06     Cust/Comp Resp: CUST

Resolution Dte : 03/24/06

Resolution  : READING 301000 NO LEAKS

JF/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 250

Service Order Detail Report

Subdivision : 00637        Route         : 637             Service Order # : 031656

Account #   : 006370013442 Customer Name : ZOTTOLI         , MARGARET

Address     : 30           REVERE               WAY        Phone #         : (508) 829-5604

Entry Date  : 03/24/06     Serv Ord Type : 10              Operator        :

Comments    : 2/15/06 104410

3/15/06 112640 HIGH CONS ON MVR

Due Date    : 03/24/06     Cust/Comp Resp: CUST

Resolution Dte : 03/24/06

Resolution  : READING 114860 NO LEAKS

JF/IC

====================================================================================================

Subdivision : 00637        Route         : 637             Service Order # : 031657

Account #   : 006370014033 Customer Name : BLY             , DONALD     P

Address     : 275          INDEPENDENCE         AVE        Phone #         : (585) 227-3224

Entry Date  : 03/24/06     Serv Ord Type : 10              Operator        :

Comments    : 2/15/06 159960

3/15/06 163380 HIGH CONS ON MVR

Due Date    : 03/24/06     Cust/Comp Resp: CUST

Resolution Dte : 03/24/06

Resolution  : READING 163760 NO LEAKS

JF/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 251

Service Order Detail Report

Subdivision : 00637        Route         : 637             Service Order # : 031659

Account #   : 006370014561 Customer Name : MATTKE          , MARGARET

Address     : 101          LAKE TARPON          DR         Phone #         : (813) 784-2272

Entry Date  : 03/24/06     Serv Ord Type : 10              Operator        :

Comments    : 2/15/06 45720

3/15/06 50040 HIGH CONS ON MVR

Due Date    : 03/24/06     Cust/Comp Resp: CUST

Resolution Dte : 03/24/06

Resolution  : READING 50040 NO LEAKS

JF/IC

====================================================================================================

Subdivision : 00637        Route         : 637             Service Order # : 031676

Account #   : 006370014913 Customer Name : CHADWICK        , RHINNEY

Address     : 253          LAKE TARPON          DR         Phone #         : (727) 943-5027

Entry Date  : 03/24/06     Serv Ord Type : 10              Operator        :

Comments    : 2/15/06 765470

3/15/06 778400 HIGH CONS ON MVR

Due Date    : 03/24/06     Cust/Comp Resp: CUST

Resolution Dte : 03/24/06

Resolution  : READING 781300 NO LEAKS

JF/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 252

Service Order Detail Report

Subdivision : 00624        Route         : 624             Service Order # : 031888

Account #   : 006241010143 Customer Name : GOMEZ           , GERZOM

Address     : 741          OAKLANDO             DR         Phone #         : (407) 253-4286

Entry Date  : 03/24/06     Serv Ord Type : 20              Operator        : 624

Comments    : THIS CUST.IS INTERESTED IN AN IRRIGATION METER. I HAVE EXPLAINED THE

COSTS, TWO MONTHLY BILLS, ETC. BUT HE WOULD LIKE YOU TO CHECK ON THIS.

IS THERE ROOM, ETC.FOR A SECOND METER?  PHONE 407-253-4286 OR HIS

CELLPHONE 321-388-8857.  I AM ATTACHING A COPY OF HIS CONSUMPTION,LA

Due Date    : 05/12/06     Cust/Comp Resp: CUST

Resolution Dte : 03/24/06

Resolution  : I ENTERED INCORRECT D.D. OF 03/04/06 - INSTEAD OF 04/03/06.LA

04/13/06 - SENDING THIS BACK TO THE FIELD, AGAIN. HOPEFULLY, THEY WILL

BE ABLE TO CONTACT THE CUSTOMER BY 04/18/06. DUE DATE CHANGED TO

04/18/06. THE CUSTOMER DOES KNOW IT WOUILD NOT BE TO HIS ADVANTAGE TO

HAVE A SECOND METER.LA

04/05/06 - RE-SENT S/O FOR RESOLUTION, 04/11, 04/13, TO WEKIVA SHOP

ON 05/08/06 I RE-SENT TO THEM AND TO DES PINAR. LA

05/09/06 - CUSTOMER IS NOT INTERESTED AT THIS TIME.JOHN MARINELLI:LA

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 031972

Account #   : 006260021812 Customer Name : EHRHARDT        , LINDA

Address     : 11601        PEAR TREE            DR         Phone #         : (727) 856-8778

Entry Date  : 03/27/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READING LOCK OFF AND TAG FOR NEW.

GAVE CONF# 31972

Due Date    : 04/03/06     Cust/Comp Resp: CUST

Resolution Dte : 04/03/06

Resolution  : R=50200  LOCKED OFF AND TAGGED FOR NEW TO APPLY FOR SERVICE.

F/C =110

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 253

Service Order Detail Report

Subdivision : 00618        Route         : 618             Service Order # : 032083

Account #   : 006181011502 Customer Name : LANIER          , JAMES

Address     : 6605         BRENDA               DR         Phone #         : (407) 259-4424

Entry Date  : 03/27/06     Serv Ord Type : 13              Operator        :

Comments    : READ AND T/ON

SIGNED TAG IS ON DOOR FOR T/ON AND P/UP

Due Date    : 03/28/06     Cust/Comp Resp: CUST

Resolution Dte : 03/28/06

Resolution  : BR=30660

READ & TURNED ON

JPL/LYN

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 032124

Account #   : 006260011012 Customer Name : ALBERT          , ELIZABETH

Address     : 11906        BOYNTON              LN         Phone #         : (631) 369-9051

Entry Date  : 03/27/06     Serv Ord Type : 22              Operator        :

Comments    : TAKE READING, TURN OFF & LOCK FOR SEASONAL CUSTOMER.

EXPLAINED TO CUSTOMER WE NEED A SIGNATURE FOR TURN ON WHEN SHE COMES

BACK

Due Date    : 03/30/06     Cust/Comp Resp: CUST

Resolution Dte : 03/30/06

Resolution  : R=10650  LOCKED OFF FOR SEASONAL CUSTOMER.

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 254

Service Order Detail Report

Subdivision : 00620        Route         : 620             Service Order # : 032293

Account #   : 006200010413 Customer Name : GUTIERREZ       , JUAN LUIS

Address     : 6119     W   HARWOOD              ST         Phone #         : (   )    -

Entry Date  : 03/27/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LEAVE ON PER NEW

Due Date    : 03/28/06     Cust/Comp Resp: CUST

Resolution Dte : 03/28/06

Resolution  : FR=1781430

FC=2820

JPL/LYN

====================================================================================================

Subdivision : 00615        Route         : 5               Service Order # : 032385

Account #   : 006150003112 Customer Name : LEONARD         , DELBERT    E

Address     : 1903         SHADY COVE           DR         Phone #         : (812) 829-3779

Entry Date  : 03/28/06     Serv Ord Type : 22              Operator        :

Comments    : SEASONAL CUSTOMER TURN OFF AND LOCK

WILL MAIL WAIVER

Due Date    : 04/11/06     Cust/Comp Resp: CUST

Resolution Dte : 04/11/06

Resolution  : MR=125055

TURNED OFF & LOCKED

JF/LYN

6/29/06-TEMP TURNON READ 0-ON PER JEFF F-DB

CHRGED $15

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 255

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 032436

Account #   : 006260010582 Customer Name : MYNNING         , DAVID

Address     : 11823        CARISSA              LN         Phone #         : (727) 856-2858

Entry Date  : 03/28/06     Serv Ord Type : 22              Operator        :

Comments    : PLEASE OBTAIN READING AND TURN OFF FOR SEASONAL CUSTOMER.

GAVE CONF# 32436

MAIL WAIVER TO THE CUSTOMER.

Due Date    : 03/31/06     Cust/Comp Resp: CUST

Resolution Dte : 03/31/06

Resolution  : R=16160  TURNED OFF FOR SEASONAL CUSTOMER.

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 032572

Account #   : 006260023501 Customer Name : BOLDIN          , RICHARD

Address     : 11539        HOLLY ANN            DR         Phone #         : (727) 856-5443

Entry Date  : 03/28/06     Serv Ord Type : 12              Operator        :

Comments    : PLEASE OBTAIN FINAL READING LOCK OFF AND TAG FOR NEW

GAVE CONF# 32572

NEW NAME: ANGIE ROOTES

Due Date    : 04/05/06     Cust/Comp Resp: CUST

Resolution Dte : 04/05/06

Resolution  : R=397870  LOCKED OFF AND TAGGED

F/C=5070

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 256

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 032597

Account #   : 006260010262 Customer Name : COVELLO         , JOSEPH

Address     : 11911        CARISSA              LN         Phone #         : (727) 868-0404

Entry Date  : 03/28/06     Serv Ord Type : 20              Operator        :

Comments    : CUSTOMER SAYS VALVE BELOW THE METER IS LEAKING. PLEASE REPAIR

Due Date    : 03/29/06     Cust/Comp Resp: CUST

Resolution Dte : 03/29/06

Resolution  : R=68310  LEAING PACKING NUT - TIGHTEN DOWN, STOP LEAK.

JA/KIM

====================================================================================================

Subdivision : 00604        Route         : 604             Service Order # : 032829

Account #   : 006040022112 Customer Name : LIMAN           , ELIANNE

Address     : 200          KATHY                LN         Phone #         : (407) 816-8776

Entry Date  : 03/29/06     Serv Ord Type : 20              Operator        :

Comments    : MS CALLED TO REPORT THAT SHE HAS NO WATER, BUT METER IS ON AND SPINNING

SHE AND ANOTHER GENTLEMAN THERE BELIEVE ITS A MAIN LINE (PROBABLY ON

HER SIDE) PLEASE ASSIST HER IN S/OFF AND CHECK TO SEE WHERE LINE IS

BROKEN. READ METER.

PAGED TO JOHN

Due Date    : 03/29/06     Cust/Comp Resp: CUST

Resolution Dte : 03/29/06

Resolution  : READING 3749950 CUSTOMER HAD WATER TURNED OFF WHEN WE ARRIVED.

JH/IC

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 257

Service Order Detail Report

Subdivision : 00610        Route         : 610             Service Order # : 032942

Account #   : 006100010601 Customer Name : MORELAND        , RICK

Address     : 407      W   CRYSTAL              DR         Phone #         : (407) 324-2309

Entry Date  : 03/29/06     Serv Ord Type : 15              Operator        :

Comments    : PLEASE FLAG LOCATION OF METER BOX CUSTOMER IS LANDSCAPING AND

WOULD LIKE TO KNOW WHERE METER IS LOCATED.

Due Date    : 04/30/06     Cust/Comp Resp: CUST

Resolution Dte : 04/30/06

Resolution  : R=605530  FLAGGED LOCATION OF METER BOX.

FQ/KIM

====================================================================================================

Subdivision : 00615        Route         : 4               Service Order # : 033304

Account #   : 006150001833 Customer Name : FRANKLIN        , DOLORES    J

Address     : 1714         HOLIDAY              DR         Phone #         : (606) 747-0353

Entry Date  : 03/30/06     Serv Ord Type : 22              Operator        :

Comments    : PLEASE READ AND TEMP OFF W/ LOCK

(CUSTOMER IS AWARE OF T/ON POLICY)

Due Date    : 04/10/06     Cust/Comp Resp: CUST

Resolution Dte : 04/10/06

Resolution  : TEMP OFF FOR SUMMER

MR=225260

FR=790

OFF & LOCKED

JF/LYN

__________________________________________________________

9/25/06 T/ON FOR SEASONAL CUSTOMER CUST W/BE HOME FOR AM T/ON

SIGN_________________________________DATE________________________9/6/06

RB

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 258

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 033682

Account #   : 006260012103 Customer Name : WANKER          , ELEANOR    B

Address     : 11831        BOYNTON              LN         Phone #         : (727) 856-8878

Entry Date  : 03/31/06     Serv Ord Type : 22              Operator        :

Comments    : TEMP TURN OFF PER CUSTOMER REQUEST

Due Date    : 07/17/06     Cust/Comp Resp: CUST

Resolution Dte : 07/17/06

Resolution  : R=19220 LOCKED OFF FOR SEASONAL CUSTOMER.

JF/KIM

8/1/06-READ AND VERIFY IF KIM RECEIEVD WAIVER BEFORE TURNON

6/2/06-PH-DB

7/17/06 R=19220   TURNED ON FOR SEASONAL CUSTOMER - WAIVER ON FILE.

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 033732

Account #   : 006260021091 Customer Name : FLORIA          , KATHERINE

Address     : 11815        PAMPAS               DR         Phone #         : (727) 856-4674

Entry Date  : 03/31/06     Serv Ord Type : 22              Operator        :

Comments    : PLEASE TEMP OFF

CUSTOMER IS REPLACING VALVES.

Due Date    : 04/03/06     Cust/Comp Resp: CUST

Resolution Dte : 04/03/06

Resolution  : R=126000 TEMP TURNED OFF SO CUSTOMER CAN MAKE REPAIRS.

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 259

Service Order Detail Report

Subdivision : 00610        Route         : 610             Service Order # : 034246

Account #   : 006100010904 Customer Name : BURKE           , ROBERT     H

Address     : 230          LAKEVIEW             DR         Phone #         : (407) 376-2316

Entry Date  : 04/03/06     Serv Ord Type : 13              Operator        :

Comments    : TURN ON WATER FOR CUSTOMER.

Due Date    : 04/04/06     Cust/Comp Resp: CUST

Resolution Dte : 04/04/06

Resolution  : R=293390

TURNED ON FOR NEW CUSTOMER.

9:25AM.

WAIVER IN OFFICE ON FILE.

JH/KIM

====================================================================================================

Subdivision : 00615        Route         : 4               Service Order # : 034253

Account #   : 006150001431 Customer Name : CYPHERS         , MARCELLA

Address     : 4308         KIBLER               LN         Phone #         : (727) 938-4392

Entry Date  : 04/03/06     Serv Ord Type : 22              Operator        :

Comments    : TURN OFF FOR VACATION

MS. GOING NORTH

WILL CALL FOR WAIVER & TURN ON

Due Date    : 04/10/06     Cust/Comp Resp: CUST

Resolution Dte : 04/10/06

Resolution  : TEMP OFF & LOCKED FOR VACATION

MR=30960

FC=1,240

OFF & LOCKED

JF/LYN

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 260

Service Order Detail Report

Subdivision : 00626        Route         : 2               Service Order # : 034293

Account #   : 006260022401 Customer Name : SHIPLEY         , DOROTHY    V

Address     : 11608        ENGLISH ELM          DR         Phone #         : (727) 856-3146

Entry Date  : 04/03/06     Serv Ord Type : 47              Operator        :

Comments    : THIS CUSTOMER HAS BEEN CALLING DUE TO LEAK. THE RESOLUTION THAT HAS

BEEN COMING BACK TO THE OFFICE IS NO LEAK. USAGE HAS GONE UP THIS

MONTH TO OVER 30,000 GALLONS OF USAGE. PLEASE LETS CHECK AGAIN.

Due Date    : 04/04/06     Cust/Comp Resp: CUST

Resolution Dte : 04/04/06

Resolution  : R=182450   CUSTOMER HAS LEAK. WHEN I SPOKE WITH HER, SHE SAID SHE HAD

R.J. REILLY PLUMBING COME OUT TWICE AND MAKE THE REPAIR. UPON

EXAMINATION I FOUND THAT THE PLUMBING COMPANY HAD CRACKED THE FITTING

ON THE CUST'S SIDE WHEN THEY MADE THE REPAIR. I ADVISED THE CUSTOMER

TO CALL US THE NEXT TIME THERE IS A LEAK AT OR NEAR METER BEFORE

CALLING PLUMBER. SHE CALLED THE PLUMBING CO. OUT TO FIX THEIR MISTAKE.

JA/KIM

====================================================================================================

Subdivision : 00610        Route         : 610             Service Order # : 034302

Account #   : 006100010947 Customer Name : WENZ            , LAURA      L

Address     : 219          LAKEVIEW             DR         Phone #         : (386) 846-5866

Entry Date  : 04/03/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LOCK

TAG FOR NEW

Due Date    : 04/04/06     Cust/Comp Resp: CUST

Resolution Dte : 04/04/06

Resolution  : R=196940  F/C=11850

LOCKED OFF AND TAGGED.

9:18AM

JH/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 261

Service Order Detail Report

Subdivision : 00637        Route         : 637             Service Order # : 034389

Account #   : 006370012244 Customer Name : SHERRARD  SR    , CLIFFORD   G

Address     : 49           PLYMOUTH             CT         Phone #         : (   )    -

Entry Date  : 04/03/06     Serv Ord Type : 12              Operator        :

Comments    : READ AND LOCK

TAG FOR NEW

Due Date    : 04/14/06     Cust/Comp Resp: CUST

Resolution Dte : 04/14/06

Resolution  : FR=506210

FC=5,020

LEFT ON

JF/IC

====================================================================================================

Subdivision : 00626        Route         : 1               Service Order # : 034472

Account #   : 006260030051 Customer Name : HEINZ           , ELEANOR    L

Address     : 11351        CLEAR OAK            CIR        Phone #         : (727) 856-9935

Entry Date  : 04/03/06     Serv Ord Type : 12              Operator        :

Comments    : READ, TURNOFF, LOCK, TAG

Due Date    : 04/13/06     Cust/Comp Resp: CUST

Resolution Dte : 04/13/06

Resolution  : R=152540  LEFT ON

F/C= 152540

JF/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 262

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 034620

Account #   : 006260070281 Customer Name : SENTINELLA      , JOHN

Address     : 11428        GOLF ROUND           DR         Phone #         : (848) 333-3990

Entry Date  : 04/04/06     Serv Ord Type : 47              Operator        :

Comments    : PLEASE REPAIR LEAK UNDER METER AND INFORM OFFICE IF ADJUSTMENT IS

NEEDED ON THE CUSTOMER'S ACCOUNT.

Due Date    : 04/05/06     Cust/Comp Resp: CUST

Resolution Dte : 04/05/06

Resolution  : R=7850  LEAK AFTER METER NOT OURS. SHUT OFF WATER TAGGED DOOR WITH

FINDINGS. CUSTOMER IS GONE FOR THE SUMMER.

JA/KIM

====================================================================================================

Subdivision : 00626        Route         : 2               Service Order # : 034653

Account #   : 006260021813 Customer Name : CRICK           , DALLAS     M

Address     : 11601        PEAR TREE            DR         Phone #         : (   )    -

Entry Date  : 04/04/06     Serv Ord Type : 13              Operator        :

Comments    : READ AND TURN ON FOR NEW

FAXED WAIVER TO 727-849-7929

Due Date    : 04/05/06     Cust/Comp Resp: CUST

Resolution Dte : 04/05/06

Resolution  : R=50200   TURNED ON FOR NEW CUSTOMER.

WAIVER IN OFFICE ON FILE.

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06

(536) UBRSORESP1 Report                         Utilities Inc, Billing System                                   Page 263

Service Order Detail Report

Subdivision : 00626        Route         : 1               Service Order # : 034677

Account #   : 006260030681 Customer Name : HUBER           , FRED

Address     : 11442        TURTLE DOVE          PL         Phone #         : (765) 653-4032

Entry Date  : 04/04/06     Serv Ord Type : 22              Operator        :

Comments    : TEMP TURN OFF FOR VACATION

*** PLEASE MAIL WAIVER TO CUSTOMER

Due Date    : 04/10/06     Cust/Comp Resp: CUST

Resolution Dte : 04/10/06

Resolution  : R=66400 LOCKED OFF FOR SEASONAL CUSTOMER.

JA/KIM

====================================================================================================

Compy - 090    Reqst - Cust   Cust Resp = B     Beg Dt - 01/01/06   End Dt - 12/31/06   Codes = ALL

(536) UBRSORESP1 Report      Created on - 08:00:52  09-22-06