John T. Burnett

ASSOCIATE GENERAL COUNSEL

PROGRESS ENERGY SERVICE COMPANY, LLC

December 28, 2006

VIA ELECTRONIC FILING

Ms. Blanca S. Bayó, Director

Division of the Commission Clerk

and Administrative Services

Florida Public Service Commission

2540 Shumard Oak Boulevard

Tallahassee, Florida  32399-0850

Re:	Non-Firm Electric Service Report

Dear Ms. Bayó:

Enclosed for filing pursuant to Rule 25-6.0438(7), F.A.C., is Progress Energy Florida’s Non-Firm Electric Service Report as of December 2006.

Please acknowledge your receipt of the above filing as provided in the Commission’s electronic filing procedures.  Thank you for your assistance in this matter.

Respectfully,

s/  John T. Burnett

JTB/lms

Enclosure

# PROGRESS ENERGY FLORIDA, INC.

NON-FIRM ELECTRIC SERVICE REPORT

### DECEMBER 2006

| ## TYPES OF SERVICE | ## DECEMBER 2006 #### AMOUNT OF NON-FIRM SERVICE ON SYSTEM (MW) | #### MAXIMUM LEVEL OF COST-EFFECTIVE NON-FIRM LOAD (MW) |
| --- | --- | --- |
| Load Management | 637 | 768 |
| Interruptible | 281 | 409 |
| Curtailable | 11 | 26 |
| Standby Generation | 23 | 98 |
| Total Non-Firm | 952 | 1,301 |

Notes:

- All values are at the meter

- The maximum level of cost-effective non-firm load for the Interruptible and Curtailable programs represents amounts that are either cost-effective or part of a Commission approved stipulation to maintain the load.