1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

3                                           DOCKET NO. 060531-EU

4   In the Matter of:

5   REVIEW OF ALL ELECTRIC UTILITY

WOODEN POLE INSPECTION  PROGRAMS.

6   _________________________________/

7

8

9

10

11             ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

12               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

13

14

15

PROCEEDINGS:        AGENDA CONFERENCE

16                       ITEM NO. 7

17

BEFORE:             CHAIRMAN LISA POLAK EDGAR

18                       COMMISSIONER ISILIO ARRIAGA

COMMISSIONER MATTHEW M. CARTER, II

19                       COMMISSIONER KATRINA J. TEW

COMMISSIONER KENNETH W. LITTLEFIELD

20

21   DATE:               Tuesday, January 9, 2007

22   PLACE:              Betty Easley Conference Center

Room 148

23                       4075 Esplanade Way

Tallahassee, Florida

24

REPORTED BY:        JANE FAUROT, RPR

25                       Official Commission Reporter

(850)413-6732

FLORIDA PUBLIC SERVICE COMMISSION

2

1   PARTICIPATING:

2             RUSSELL BADDERS, ESQUIRE, representing Gulf Power

3   Company.

4             ROSANNE GERVASI, ESQUIRE, and BILL McNULTY,

5   representing the Florida Public Service Commission Staff.

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1                        P R O C E E D I N G S

2             CHAIRMAN EDGAR:  We are on Item 7.

3             MR. McNULTY:  Good afternoon, Commissioners.  Item

4   7 addresses two issues pertaining to electric utility pole

5   inspections.  Issue 1 addresses whether each investor-owned

6   electric utility has adequately addressed the deviations to the

7   requirements identified in Order Number PSC-06-0144-PAA-EI.

8   These deviations all had to do with whether utilities would

9   excavate certain types of wood poles in their inspection

10   process.

11             Staff recommends that each utility has adequately

12   addressed the deviations at this time.  However, staff further

13   recommends that the Commission continue to monitor the

14   utilities' annual reports to determine whether the methods the

15   utilities are using to excavate are acceptable on a

16   going-forward basis as more data becomes available.  And that

17   is Issue 1.  We can address that now and go to Issue 2 or I can

18   introduce Issue 2, if you like.

19             CHAIRMAN EDGAR:  Go ahead and address Issue 2,

20   please.

21             MR. McNULTY:  Very good.  Issue 2 addresses whether

22   additional information should be collected from municipal

23   electric utilities and cooperative electric utilities regarding

24   pole inspection practices.  Staff recommends that the

25   Commission should continue to collect data pertaining to those

FLORIDA PUBLIC SERVICE COMMISSION

4

1   utilities which have inspection methods which deviate from

2   those approved for the IOUs.  Such data will be provided as a

3   result of a new rule which has been adopted, Rule 25-6.0343,

4   Subparagraph 4.  The first annual reports are due March 1,

5   2007, and staff recommends that such inspection practices be

6   monitored in this annual review process.

7             Now, back on Issue 1, staff understands that Russell

8   Badders with Gulf Power Company is here today to speak on that

9   particular issue.

10             CHAIRMAN EDGAR:  Thank you.

11             Mr. Badders.

12             MR. BADDERS:  Thank you.  Good afternoon.  I am

13   Russell Badders on behalf of Gulf Power.  We just have one

14   correction that we need to make in the staff recommendation at

15   Page 7.  At Page 7, Line 4 through Line 8, there is a

16   discussion about legal liability for pole failure.  This

17   information is based on information provided by Gulf Power to

18   the staff.  Since the time the recommendation came out, we have

19   discovered that there is an error in the information that we

20   provided and that this section should probably just be removed.

21   In our discussions with staff since that time, they told us

22   this is not a key vital component to the recommendation.  It

23   was basically just further information.  Given that, we fully

24   support staff's position on this issue.

25             CHAIRMAN EDGAR:  Thank you, Mr. Badders.

FLORIDA PUBLIC SERVICE COMMISSION

5

1             Mr. McNulty, any further comment in response?

2             MR. McNULTY:  No further comment.  I think that the

3   main of staff's recommendation on this portion of the

4   recommendation would be contained in the previous two

5   paragraphs providing the justification for why we think that

6   Gulf Power's plan for excavating seems reasonable to us at this

7   time.

8             CHAIRMAN EDGAR:  Thank you.

9             Commissioners, any questions for our staff or for Mr.

10   Badders?

11             Commissioner Arriaga.

12             COMMISSIONER ARRIAGA:  Staff, I understand you are

13   approving your finding in compliance what the companies are

14   indicating that their methodology will be about.  What are you

15   basing your analysis on to assure us that that is the proper

16   way to go?

17             MR. McNULTY:  Commissioner, are you speaking

18   specifically of Gulf Power or of each of the utilities?

19             COMMISSIONER ARRIAGA:  I think, in general, the four

20   utilities.

21             MR. McNULTY:  Well, one of the things that was a

22   common theme throughout the excavation requirements response

23   that we received from the utilities was that they were going to

24   be looking statistically at -- for those utilities who decided

25   not to do a full inspection or a full excavation, which some

FLORIDA PUBLIC SERVICE COMMISSION

6

1   decided to do the full excavation and some decided not to.  For

2   those who decided not to, they did say, basically, that they

3   would be statistically sampling their population of the poles

4   in question, whether it be, you know, CCA poles under 15 years

5   or 20 years or what have you, and looking at those poles and

6   providing that information and data to us so that we can know

7   whether or not their claim, which is to say that these poles do

8   not decay to the point of needing replacement, is valid or not.

9   And so we will be looking at that and looking at that data that

10   will be provided in March.

11             COMMISSIONER ARRIAGA:  So technically you find that

12   this procedure they are proposing is acceptable to staff and

13   you are recommending that we adopt it?

14             MR. McNULTY:  Yes.

15             COMMISSIONER ARRIAGA:  Okay.  Thanks.

16             CHAIRMAN EDGAR:  Commissioners, further questions or

17   comments?  Seeing none.

18             COMMISSIONER CARTER:  Move staff.

19             COMMISSIONER TEW:  Second.

20             CHAIRMAN EDGAR:  Okay.  We have a motion and a second

21   in favor of the staff recommendation.  Any further discussion?

22             COMMISSIONER ARRIAGA:  One question.

23             CHAIRMAN EDGAR:  Commissioner Arriaga.

24             COMMISSIONER ARRIAGA:  Issue 1 only or both issues?

25             CHAIRMAN EDGAR:  My understanding was that the motion

FLORIDA PUBLIC SERVICE COMMISSION

7

1   included the entire item, which would be all of the issues

2   before us.  But if you have a question about either one, we can

3   address that now.

4             COMMISSIONER ARRIAGA:  Thank you.  On Issue 2,

5   please.

6             CHAIRMAN EDGAR:  You may ask a question on Issue 2.

7             COMMISSIONER ARRIAGA:  In your conclusions on Page

8   12, first paragraph, how do you intend to monitor the progress

9   made by the municipalities and co-ops in this process?

10             MR. McNULTY:  Well, Commissioner, the rule, the new

11   rule that was adopted last month, basically provides that the

12   utilities will be providing a good bit of information about

13   their wood pole inspections.  And we will be looking at pole

14   failures and such, and we feel as though it would be

15   appropriate at this time for those utilities who have not come

16   into what we would say -- not eliminate all such deviations

17   that apply to the IOUs, for those who have not removed those

18   deviations from their going-forward plans, we can analyze what

19   the data is telling us there and what they are reporting and

20   ask questions.  I think the door is open there for us to ask

21   questions of the municipal and the cooperative electric

22   utilities to understand whether or not areas where they are

23   having those deviations, whether or not that represents a

24   concern in terms of reliability.

25             COMMISSIONER ARRIAGA:  And at that time which I

FLORIDA PUBLIC SERVICE COMMISSION

8

1   believe is March this year.

2             MR. McNULTY:  Yes.

3             COMMISSIONER ARRIAGA:  At that time we will be able

4   to look at some of the data?

5             MR. McNULTY:  The staff will have that data, and it

6   is my understanding that to the extent that there is something

7   that comes out of that data that is of a concern, it will be

8   staff's responsibility to bring that to you.

9             COMMISSIONER ARRIAGA:  All right.  Thank you so much.

10             CHAIRMAN EDGAR:  Okay.  There is a motion and a

11   second.  Is there further discussion?  Seeing none, all in

12   favor of the motion say aye.

13             (Unanimous affirmative vote.)

14             CHAIRMAN EDGAR:  Opposed?

15             Show it adopted.

16             MS. GERVASI:  Chairman, just to be sure, the

17   recommendation was moved and that includes removing the

18   language that Mr. Badders identified?

19             CHAIRMAN EDGAR:  That is my understanding.  And, yes,

20   that is our understanding.

21             MS. GERVASI:  Thank you.

22                              * * * * *

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

9

1

2   STATE OF FLORIDA    )

3                       :              CERTIFICATE OF REPORTER

4   COUNTY OF LEON      )

5

I, JANE FAUROT, RPR, Chief, Office of Hearing

6   Reporter Services, FPSC Division of Commission Clerk and

Administrative Services, do hereby certify that the foregoing

7   proceeding was heard at the time and place herein stated.

8             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

9   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

10   proceedings.

11             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

12   or employee of any of the parties' attorney or counsel

connected with the action, nor am I financially interested in

13   the action.

14             DATED THIS 16th DAY OF JANUARY, 2007.

15

16             ___________________________________________

JANE FAUROT, RPR

17                   Official FPSC Hearings Reporter

FPSC Division of Commission Clerk and

18                       Administrative Services

(850) 413-6732

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION