1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. UNDOCKETED

3

In the Matter of

4

INFORMATIONAL WORKSHOP ON

5   RENEWABLE GENERATION.

/

6

7

8

ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

9                 A CONVENIENCE COPY ONLY AND ARE NOT

THE OFFICIAL TRANSCRIPT OF THE HEARING,

10            THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

11                              VOLUME 1

12                         Pages 1 through 126

13

PROCEEDINGS:        WORKSHOP

14

BEFORE:             CHAIRMAN LISA POLAK EDGAR

15                       COMMISSIONER MATTHEW M. CARTER, II

COMMISSIONER KATRINA J. TEW

16

17   DATE:               Friday, January 19, 2007

18

TIME:               Commenced at 9:30 a.m.

19

20   PLACE:              Betty Easley Conference Center

Room 148

21                       4075 Esplanade Way

Tallahassee, Florida

22

23   REPORTED BY:        JANE FAUROT, RPR

Official Commission Reporter

24                       (850) 413-6732

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1                                                       PAGE

2   PRESENTATIONS BY:

3        JAY LEVENSTEIN                                   6

4        SUSAN GLICKMAN                                  17

5        ALLAN GUYET                                     35

6        DR. JAMES M. FENTON                             42

7        DR. ANN WILKIE                                  56

8        JOE TRESHLER                                    70

9        MARC BRUNER                                     79

10        STEVE DAVIS                                     91

11        DAVID HILL                                      98

12        DAVID DEWIS                                    107

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1                         P R O C E E D I N G S

2             CHAIRMAN EDGAR:  Good morning.  We are going to get

3   started here in just a minute.  Briefly, before we start, a

4   housekeeping detail or details.  I understand that in the back

5   in that direction, that there is a sign-up sheet, and we are so

6   grateful for everybody's interest and we would love to have

7   your contact information.  So if you haven't, at some point

8   during the day put yourself and your information down on the

9   sign-up sheet.

10             I also understand that there are copies of

11   presentations that have come in to us prior to this meeting for

12   the discussion that we are going to have today.  And

13   presentations will be available on the website, Kathy?

14             MS. LEWIS:  Yes, ma'am.  They should be on the

15   website by tomorrow, or certainly by Monday.

16             CHAIRMAN EDGAR:  So please go to our ever wonderfully

17   current website and you can download the presentations here

18   very soon.

19             Welcome, everybody.  We are so glad for your interest

20   and for your willingness to participate in our discussions and

21   in our processes.  Your expertise is a very, very important

22   part of what we are hoping that we can do and contribute to,

23   which is dialogue, discussion, and action for the state of

24   Florida.  Beginning past months, a big thing for us today and,

25   of course, trying to map out actions and plans and strategies

FLORIDA PUBLIC SERVICE COMMISSION

4

1   for the next months and the next years.  We know here at the

2   Commission that it is essential that Florida maintain a

3   reliable and secure supply of electricity.  That is part of our

4   charge and our mandate here at the Public Service Commission.

5   We also know and we fully support the position that greater use

6   and development of renewable energy sources needs to be a part

7   of Florida's energy mix.

8             At our agenda conference last week, the Commission

9   approved a rule to facilitate an increase in the use of

10   renewable energy to help meet the future energy needs of our

11   growing state.  This rule is the culmination of a great deal of

12   effort and cooperation on the part of many, many interested

13   parties.  Our staff, all Commissioners were very, very

14   involved, and I am very proud of the product that we were able

15   to pass within the last, oh, a week or two ago, I believe it

16   was.

17             I also think that the process that we were able to go

18   through to get us to that product is a very good prelude for

19   where we are now, which is everybody working together, putting

20   forth concerns, putting forth suggestions, putting forth

21   language, and letting us all come to the table, have open and

22   transparent discussions, and keep the discussion and the agenda

23   moving forward.  I do firmly believe that the rule that we

24   passed two years ago will provide financial inducement to

25   renewable providers and that is an important step.  But there

FLORIDA PUBLIC SERVICE COMMISSION

5

1   are many other steps to be taken and many other things that we

2   think that as a Commission we can contribute to, and that is

3   where we are asking, again, for your expertise and for your

4   assistance both with suggestions, with big ideas, and also

5   helping us with the details.

6             Today we're here to begin to lay a sound foundation

7   for our further efforts to encourage renewable generation.  We

8   have chosen three items to focus on today.  The first, without

9   financing and cost-recovery constraints, how much renewable

10   energy can be available for electric power generation in the

11   next one to five years.  In other words, what is the potential

12   for renewable energy in Florida.  We want to look at the

13   requirements for financing renewable energy projects from the

14   perspective of the financial community and from the perspective

15   of the renewable developers.

16             And the third point, what is required from the public

17   and from the private sectors to accelerate and to increase the

18   deployment of renewable energy in Florida.  We do have a full

19   agenda.  We have a full day, but it is going to be a very

20   interesting day.  I do ask that all of the speakers and

21   presenters today be mindful of the time, and that we do have

22   other presenters.  We want to hear from everybody, so please

23   try to keep to the time constraints that we have laid out.  We

24   want to hear from everyone, and we don't want to be here till

25   midnight to do it, quite frankly.

FLORIDA PUBLIC SERVICE COMMISSION

6

1             So this is the beginning.  We will have other steps.

2   We will have other opportunities during the next year.  This

3   will be a focus for me and for the Commission and we look

4   forward to further dialogue after today, as well.

5             Commissioners, I encourage questions, as well, so

6   jump right in.  And we are going to go on and get started.  And

7   our first speaker -- and I'm going to apologize in advance if I

8   pronounce any names wrong, because some of you I have had the

9   opportunity to meet, and some of you will be new friends.  So

10   our first speaker is Jay Levenstein, Deputy Commissioner with

11   the Florida Department of Agriculture.

12             Mr. Levenstein, please.

13             MR. LEVENSTEIN:  Thank you, Chairman and

14   Commissioners.

15             It is indeed a pleasure to be here.  And I think just

16   the fact that I'm here representing the Department of

17   Agriculture sends a sign or a signal as far as the importance

18   of this, because I think second to efficiency, what agriculture

19   and America's farms and forests and agriculture community can

20   do for renewable energy, we are second only to efficiency in

21   what we can provide.  So I think it is important and we

22   certainly appreciate the opportunity to be here.

23             You will notice in your packets, and I think it was

24   reprinted, there is quite a lengthy presentation that I have,

25   which has been -- and I have been instructed a number of times,

FLORIDA PUBLIC SERVICE COMMISSION

7

1   it has already been pared down, and even more so for the

2   presentation.  I will try to rip through it so we can get

3   ourselves kicked off, but I invite you to look at the

4   information in there.  And certainly if there is anything in

5   there that piques your interest, to contact us and we will be

6   certainly happy to answer any questions or discuss it further.

7             And on behalf of Commissioner Bronson, he certainly

8   would have loved to have been here himself, but his schedule

9   prevented him from doing so, so I'll go to bat for him.

10             Just quick, and I'm not going to talk about it, you

11   all know these figures as far as energy supply in the United

12   States.  The important thing to note here is the focus there on

13   fossil fuels, the great amount that comes from that and the

14   very small amount from renewable energy.  Bringing that home,

15   the same thing.  Again, you have seen this, and this comes out

16   of Florida's energy plan.  Again, as far as generating capacity

17   in Florida, even smaller than the national figure of 6 percent

18   renewable energy.  Only one percent here in Florida.  And key,

19   and I know you all are familiar with the energy plan, there was

20   to be growth in natural gas, growth in coal.  Oil, the good

21   thing there is the decrease, but the projection was that in the

22   next seven years renewables was to remain flat, and that is

23   something obviously that we need to seek to change.

24             There is a lot going on in recent initiatives, all

25   the way from Congress down here to the state level.  Without

FLORIDA PUBLIC SERVICE COMMISSION

8

1   going into a lot of detail, you all are familiar with the

2   Energy Policy Act of 2005, a lot of which had to do with

3   transportation fuels, a big area that we are working on as far

4   as ethanol and biodiesel production in the state.  But we will

5   limit our comments to electricity today.  The President's

6   Advanced Energy Initiative did the same thing, focused a lot on

7   cellulosic ethanol, which has great promise here in Florida.

8             The Renewable Energy Technologies Act, Allan Guyet,

9   you will hear from him later and he will go into detail.  And I

10   might make some enemies by throwing this up there, but I think

11   it is worthy of discussion.  And I got a little education from

12   some of my friends in the utility industry last year about net

13   metering, but I think it's something that needs to be on the

14   table that we need to discuss.  In particular, a situation that

15   exists across the country with dairies in taking their waste

16   and turning it into energy, they do that successfully, and with

17   the help of net metering in those cases.  So I think you will

18   hear more about that later.

19             The Florida Legislature has made great strides.  In

20   particular, last year Speaker Rubio embarked upon his

21   initiative of 100 ideas for Florida.  I think there is about

22   five or six that are devoted to energy.  One in particular that

23   we are focused on in working with members of the House and

24   Senate, and that is looking for more alternative energy

25   sources, and in particular, ethanol production.

FLORIDA PUBLIC SERVICE COMMISSION

9

1             The other thing the House did was create an energy

2   committee which was new for them, separate from the old

3   communications and -- telecommunications and utilities

4   committee, so that is good and we look forward to working with

5   them.  This is key.  If you haven't heard of 25 X '25, that has

6   really sparked us in the last year as far as what we have been

7   doing in our office.  25 X '25 started in 2004 with some

8   grassroots agricultural leaders, Ag Energy Work Group is what

9   they call themselves, and the first charge was to come up with

10   a vision as far as how agriculture can contribute to the

11   nation's future energy needs.  And the vision was very simple,

12   and that is what you see there.  By the year 2025, 25 percent

13   of our energy can come from the nation's forests and farms and

14   ag lands.  In addition, of course, to continuing to produce

15   safe and affordable food and fiber supply for us.  And that is

16   a huge initiative that's going on.

17             Just so we can put it in perspective, as far as our

18   current consumption and needs, you can see there actual

19   production versus consumption.  You can see the gap of the 29

20   quads that we are not making that we consume, most of which can

21   be attributed to petroleum needs.  The forecast for the year

22   2025 shows that gap widening even more.

23             And here with respect to the 25 X '25 vision, you can

24   see the current amount of power or energy in the nation of our

25   total coming from renewables versus where we need to be to make

FLORIDA PUBLIC SERVICE COMMISSION

10

1   that 25 X '25 vision come true.

2             As I said, it started a couple or so years ago as far

3   as coming up with a vision.  It has grown by leaps and bounds.

4   There are over -- they are fast approaching 400 organizations

5   that have endorsed this vision.  There is currently joint

6   resolutions running through Congress.  Several state

7   legislatures have endorsed.  Our own Florida cabinet endorsed

8   the vision last year.  They first created this vision and now

9   they are working on an alliance which includes state level

10   alliances which we are engaged in in trying to create here in

11   Florida.

12             The big thing they are doing now is an implementation

13   strategy.  They have got groups meeting all over the country to

14   talk about, okay, we have got our goal, we have got our vision,

15   what kind of policies do we need to have here in the country

16   and among the states to be able to achieve that vision.  And

17   that is something that they are working on and we expect that

18   strategy to come out probably next month.

19             As far as meeting that goal, how will we do it.  You

20   can see here all the different ways.  Florida can probably do

21   everything on that list except harness a lot of wind energy, I

22   think, which we can all pretty much agree upon.  But the other

23   things, those resources are readily available here in Florida

24   to be able to tackle that.

25             And that is just, again, talking about the policies.

FLORIDA PUBLIC SERVICE COMMISSION

11

1   And everybody asks can we do this, and the simple answer is

2   yes.  In fact, there has been a couple of recent studies

3   commissioned to actually look at this vision, look at the

4   resources in this country, and determine whether or not that is

5   achievable.  And one was a RAND Corp. study that was done that

6   affirmed that statement, said we can do it.  Another one was a

7   study recently released by the University of Tennessee that not

8   only concluded that we could meet that vision but, as you can

9   see, they identified the ways we can do it in terms of gallons

10   of ethanol, gallons of biodiesel, how much electricity and the

11   quads of energy that we can produce in this country.  And all

12   of this comes in addition, or without changing -- major changes

13   to our current agriculture and forestry practices and land use

14   in this country.

15             Now, the farm-to-fuel fuel initiative.  Learning

16   about the 25 X '25 kind of sparked Commissioner Bronson as far

17   as wanting to do something here in the state, and that's what

18   created our farm-to-fuel initiative.  We went to the

19   legislature last year, we had them put language in the statute

20   that identified this initiative and said that we were going to

21   look for ways to produce and promote alternative energy or

22   renewable energy and renewable fuels here in the state of

23   Florida, which is exactly what we are doing.

24             One of the big things we have done this past year is

25   back in August we had the first of its kind here in the state,

FLORIDA PUBLIC SERVICE COMMISSION

12

1   we had our farm-to-fuel summit, which attracted nearly

2   350 participants.  Although that one focused mainly on

3   transportation fuels, ethanol and biodiesel, we are looking at

4   doing another conference hopefully sometime this summer where

5   we are going to broaden our scope.

6             Now, what are the resources for our renewable energy?

7   You can see there on the chart -- well, ignore for the moment

8   biodiesel and ethanol, but for purposes of electricity you can

9   see that left-hand column is all the places that we can get

10   resources here, nationwide, and again in the state of Florida.

11   We can produce all of those things, some more than others.  We

12   have got great potential.  Obviously not so much from the

13   residues of corn and wheat.  We don't grow a lot of those crops

14   here in the state, but dedicated energy crops shows a lot of

15   promise here in Florida.

16             Cattle.  Well, not just cattle, but cattle and

17   poultry manure, anaerobic digestion has great promise.  Not a

18   producer of a large of amount of electricity or energy, but

19   with all the other benefits associated with it, it is certainly

20   something that shows a lot of promise that we need to explore

21   here in Florida, and we certainly have the ability to do that

22   in our dairy industry.  In the forestry industry, we have quite

23   a large one in Florida.  Mill wastes and forest residues can

24   particularly help out.

25             I won't go through all of this.  You might have heard

FLORIDA PUBLIC SERVICE COMMISSION

13

1   about it.  If not, it's very interesting reading as far as the

2   Billion Ton Study because there was a study commissioned by

3   Congress several years ago that looked at how we can replace

4   30 percent of our transportation fuel, or have 30 percent of it

5   made up from biomass in 30 years.  They did a study, and they

6   basically said, yes, we can do this, and they identified the

7   fact that within 30 years we can produce 1.3 billion tons of

8   biomass in this country just from agriculture residues and from

9   forestry resources.

10             Bringing that home to Florida.  Where are our sources

11   of biomass?  You can see the figures there.  Over 40,000 farms

12   and ranches, millions and millions of acres of cropland and

13   timberland and pastureland.  Marginal land is something that

14   needs to be explored.  It shows a great deal of promise as far

15   as where you can't grow a food crop or something else you might

16   be able to plant an energy crop and make good use of that.  And

17   in particular, when you talk about the things that are on

18   those, you are growing, you know, we have got all the woody

19   biomass.  In fact, a recent study shows Florida as being one of

20   the nations top producer of biomass and all of that can be

21   converted to energy of some sort or another.

22             One other thing just to throw out there, and this is

23   something that is very, kind of near and dear to Commissioner

24   Bronson is we have a tremendous opportunity to use this as a

25   way to tackle our ever increasing problem of invasive species

FLORIDA PUBLIC SERVICE COMMISSION

14

1   in the state of Florida.  And if we could find a way to --

2   while we are removing those also convert them to energy,

3   melaleuca, all the other invasives that are in the state, that

4   shows, again, potential that we can tackle.

5             And you can see the list there.  Not only can

6   agriculture produce a great number of benefits to our energy

7   needs, but likewise lots of benefits to agriculture.  Because

8   especially for us and Commissioner Bronson, we need to keep our

9   producers producing, we need to give them alternatives that

10   they can grow to keep them in business.  We need to keep

11   Florida's green space green.  Thank you very much.

12             CHAIRMAN EDGAR:  That was a lot of information very

13   fast.  Thank you.  Let me ask this question, and I truly don't

14   know the answer, so, in order to work towards Florida's

15   contribution to hitting that national goal that has been set

16   out, is the department or working with the legislature are you

17   planning to come up with more specific goals between now and

18   that 2025 year, or is it still a little too early for that, or

19   can you just talk a little bit about how we are looking to get

20   from here to there a little bit?

21             MR. LEVENSTEIN:  Certainly.  And we are working on

22   this as we speak.  We plan on working very aggressively this

23   legislative session.  We're already talking to some of the

24   members and talking to Representative Allen or Chairman Allen

25   of the Energy Committee as far as some proposals we have to try

FLORIDA PUBLIC SERVICE COMMISSION

15

1   to prompt this.

2             I will tell you this:  There is a lot of discussion

3   out there, and I know that there will be some more today as far

4   as mandates.  As a matter of -- we generally don't believe in

5   mandates.  We think the way we need to do it here in Florida is

6   we need to provide appropriate incentives for those folks that

7   would either produce our renewable energy resources or actually

8   take those resources and make energy out of those.  So

9   mandates, per se, is not something we are looking at.  But we

10   have some ideas.  We are working on them as far as appropriate

11   incentives to do just that.

12             CHAIRMAN EDGAR:  Thank you.  I'm interested to learn

13   more also about the conference or workshop that you are doing

14   this summer and hope that we can participate to some degree

15   with our staff, as well.

16             MR. LEVENSTEIN:  We will certainly make sure you are

17   informed.  Thank you.

18             CHAIRMAN EDGAR:  Thank you.

19             Commissioner Carter.

20             COMMISSIONER CARTER:  I just wanted to ask, how have

21   you found the forestry and farming community to be receptive to

22   this?  I know that it's probably one of Florida's stories about

23   the tremendous contribution agriculture makes to our economy,

24   but how have you found the farmers and the forestry producers

25   to be responsive to this idea?

FLORIDA PUBLIC SERVICE COMMISSION

16

1             MR. LEVENSTEIN:  Thank you, Commissioner.  And that

2   is an excellent question.

3             We have found them to be very receptive.  In fact,

4   since we embarked upon this, we consider ourselves equal

5   partners with Florida Farm Bureau, who is working very closely

6   with us, the University of Florida IFAS, among others.  And,

7   the truth of the matter is we are really kind of new to this.

8   In fact, coming here today I was thinking I don't know that

9   anybody in the Department of Agriculture has ever been before

10   the PSC.  So it's kind of new ground for us.  We have got new

11   partnerships, we have worked more closely with DEP and the

12   Energy Office than we had before.  But as far as the ag

13   community, they have really embraced this.  They are really

14   excited about it as far as, you know, as far as the

15   opportunities that exist for them.

16             And, in particular, the forests and our forest

17   resources here in Florida, which are great.  In particular in

18   North Florida there is tremendous opportunity.  And I should

19   note that they have already for years been doing things that

20   they don't get credit for.  And I think not only do we need to

21   go and we need to find ways that we can further capitalize on

22   their resources and what they can provide, but also recognize

23   them for their past achievements, because they are already

24   there, and they have been there for years doing exactly some of

25   the things we are talking about doing today.

FLORIDA PUBLIC SERVICE COMMISSION

17

1             CHAIRMAN EDGAR:  And I love to hear stories about

2   cross-agency collaboration, so I think it is wonderful.  Thank

3   you, Jay.  Thank you so much.

4             MR. LEVENSTEIN:  Thank you, Chairman.

5             CHAIRMAN EDGAR:  Susan.  Susan Glickman with the

6   Natural Resource Defense Council.

7             MS. GLICKMAN:  Good morning Commissioner Edgar, and

8   Commissioner Tew and Carter.  Thank you very much for having me

9   here today.

10             Today's discussion is another important step in

11   advancing Florida to a clean energy future.  Clean energy

12   policies present the state with a range of possibilities and

13   enormous economic and environmental benefits if we are bold

14   enough to embrace the renewable energy technologies that will

15   be presented here today.  Being bold means moving beyond the

16   policies of the past which have stunted, unfortunately, the

17   growth of renewable energy in Florida.  What the policies of

18   the past have gotten us is that less than one percent of

19   Florida's energy comes from renewable resources and herein lies

20   our challenge.

21             It is important to understand that with energy there

22   is no silver bullet.  There is no single technology that is the

23   solution.  However, each technology has the ability to reduce

24   our environmental footprint with a unique contribution.  And I

25   want to commend the Commission and the Commission staff,

FLORIDA PUBLIC SERVICE COMMISSION

18

1   particularly Bob Graniere, for bringing such a diverse group of

2   speakers here today.

3             It's vital to note that a discussion of renewable

4   energy technology is not complete without incorporating into

5   that dialogue the untapped opportunities of energy efficiency.

6   If we don't adequately address the need to reduce demand with

7   energy efficiency then we are forever relegating renewable

8   energy as to be a small fraction of the market.  Energy

9   efficiency measures are the least costly method of acquiring

10   additional generating capacity and directly complement a

11   successful renewable energy policy.  It is an understatement,

12   to say the least, that there has been a recent flood of

13   interest in, well, what are the steps that we must take to

14   achieve a real paradigm shift which moves us to a clean energy

15   future.

16             For example, and Jay mentioned this, the Florida

17   Energy Commission formed last year by the legislature and

18   directed by statute to develop a comprehensive state climate

19   action plan with greenhouse gas reduction is moving forcefully

20   forward in that quest.  And on Tuesday, the Century Commission

21   for a Sustainable Florida released its first annual report, and

22   I have given a copy of that to each of you through the staff.

23   They have released their first annual report to the governor

24   and the legislature for meeting the challenges of the 21st

25   century.

FLORIDA PUBLIC SERVICE COMMISSION

19

1             The Commission stated in its very first

2   recommendation that, and I quote, "There may be no more

3   pressing issue in our state than the impact of our country's

4   current level of use of fossil fuels on the state and the

5   global environment.  The relationship between our energy

6   sources and our security, economy, and environment demand a

7   bold vision.  And of all the states, Florida has the most at

8   stake and must take a leadership role."

9             The good news is that a clean energy plan is in the

10   best economic interest of Florida.  Eighty cents of every

11   dollar that we spend on energy leaves the state of Florida.  In

12   2005 alone, Florida exported $10 billion for fuel.  Coal,

13   natural gas, oil, purchases that are all used in power

14   generation.  Therefore, it is an imperative that we must use

15   abundant homegrown resources to meet our energy needs.  The

16   increased use of renewable energy sources and the

17   implementation of energy efficiency measures will increase the

18   state's energy security, protect Florida's fragile environment,

19   and create jobs right here at home.

20             And certainly we already have the intellectual

21   infrastructure and resources in place ready to create jobs in a

22   clean energy future.  For instance, we have the Florida Solar

23   Energy Center which, of course, is one of the top solar

24   research facilities in the country, and, of course, you are

25   going to be hearing from the director, Doctor James Fenton,

FLORIDA PUBLIC SERVICE COMMISSION

20

1   later this morning.

2             And as you just heard from Jay Levenstein, we have

3   the agriculture community poised to provide biofuels to power

4   Florida's future.  Biofuels have taken on even greater

5   importance as the nation and the state work to reduce our

6   dependence on oil.  And Commissioner Bronson is providing

7   exemplary leadership not only here in Florida, but also on the

8   national level as a board member with the group 25 X '25, which

9   you just heard about.

10             We will also be hearing from Doctor Ann Wilkie from

11   the University of Florida about the conversion of waste to

12   renewable energy, probably more accurately described as from

13   poop to power, you are going to hear more about that today, and

14   there is obvious environmental benefits to livestock

15   operations.  Converting dairy waste helps with things as simple

16   as odor reduction, and it holds the potential to meet the

17   energy needs of dairy farmers themselves by providing a heat

18   source that they can use for hot water to deal with their

19   sanitation issues.

20             But in order to make this work, we must dispense of

21   the policies of the past and make net metering available.  Net

22   metering is a low cost easily administered method of

23   encouraging customer investment in renewable energy

24   technologies.  It enables customers to use their own generation

25   to offset their consumption over a billing period by allowing

FLORIDA PUBLIC SERVICE COMMISSION

21

1   their electric meters to essentially turn backwards when they

2   generate electricity in excess of their demand, and I'm going

3   to talk a little bit more about net metering later.

4             Another renewable resource poised for development is

5   Florida had produced 10 percent of its power consumed in 2003

6   from biomass.  The agriculture and forestry sectors would have

7   retained a billion dollars of the fuel dollars that currently

8   leave the state.  Florida would need 2,500 megawatts of

9   capacity to meet the 10 percent requirement.  That is

10   1.7 million acres would be needed to get to that particular

11   goal.  And Jay just told you, Florida has 28 million acres that

12   is classified as agriculture and forestry, and what a perfect

13   way that is to augment our generating capacity.  Biomass power

14   has virtually no sulfur, no mercury, it is CO2 neutral.  It

15   does have some NOX emissions, but when we add to that the

16   advanced power of the gasification technologies, then we can

17   even further reduce those emissions.

18             We also have a host of untapped energy efficiency

19   measures to complement our state's renewable resources, and you

20   are going to learn more today from Dave Dewis from Elliot

21   Energy Systems about the benefits of combined heat and power,

22   CHP, which can increase operational efficiency and decrease

23   energy costs.

24             But in order for CHP and other forms of distributed

25   generation to thrive, another policy of the past will have to

FLORIDA PUBLIC SERVICE COMMISSION

22

1   go by the wayside.  We need a standardized interconnection rule

2   as one of the several tools to increase the amount of clean

3   distributed generation in the state.  Standardized

4   interconnection rules establish clear and uniform processes and

5   technical requirements for connecting distributed generation

6   systems to the electric utility grid.  These rules are a vital

7   mechanism for improving the market conditions for clean

8   distributed interconnection.  Barriers to interconnection must

9   be abandoned.

10             And one speaker you are going to hear from later

11   today, Grady Pridgen, is someone who is just pulling it all

12   together in a way that can only be described as a benchmark for

13   sustainable development.  He is creating the nation's first

14   zero carbon, sustainable, mass transit available, urban infill,

15   mixed use, brownfield, redevelopment project with workforce

16   housing, so talk about doing it all in one place.  The ultimate

17   goal of his project is to reduce electricity, water, sewer, and

18   waste demand by 75 percent.  And the result of all of that is

19   lower costs and a cleaner, safer environment, and what is not

20   to like about that.

21             Florida has much to gain on the environmental front

22   from a clean energy plan.  As we move to renewable sources of

23   energy and energy efficiency measures, we begin to reduce

24   carbon dioxide emissions, CO2, the main global warming

25   pollutant.  It has been well documented by the International

FLORIDA PUBLIC SERVICE COMMISSION

23

1   Panel on Climate Change, the National Academy of Sciences, and

2   others in the scientific community that CO2 emissions are

3   changing our climate, and Florida is more at risk than any

4   other state in the nation.  Global warming is expected to raise

5   sea levels at least three feet and possibly much more than that

6   within three generations.  This poses a clear and present

7   danger to Florida's low lying coastline and coastal

8   development.

9             Recent MIT and Georgia Tech studies concluded that

10   global warming is intensifying hurricanes.  And with a special

11   session underway just across town, we all know that in the last

12   few years hurricane-related damage has plunged the state into a

13   homeowner's insurance crisis.  Global warming also threatens

14   our agriculture industry by exacerbating droughts and

15   facilitating the migration of tropical pests northward.  Warmer

16   ocean waters are already bleaching our coral reefs in South

17   Florida, reefs which generate over $3 billion for the state in

18   fishing and diving-related activities.

19             Needless to say, what we are doing here and the

20   leadership that you all are providing couldn't be any more

21   important.  Clean energy policies such as what you are

22   exploring today will act as the catalyst to jump-start

23   investment in Florida renewable resources and efficiency

24   measures.  The state's encouragement of the renewable energy

25   technologies and efficiency measures described today will

FLORIDA PUBLIC SERVICE COMMISSION

24

1   ultimately hedge the risk of energy interruption by

2   diversifying into nontraditional energy sources.  It will

3   create jobs, it will reduce our dependence on oil, and it will

4   reduce CO2 emissions laying the groundwork for a sustainable

5   future for the next generation of Floridians.

6             In the absence of federal CO2 emission limits in the

7   last few years, the primary policy responses have occurred at

8   the state level.  Twenty-two states and the District of

9   Columbia have adopted renewable portfolio standards partly in

10   response to global warming, and many now have adopted policies

11   directly intended to limit greenhouse gas emissions.  Several

12   northeastern states and mid-Atlantic states have moved ahead

13   with their own regional cap and trade systems, called the

14   Regional Greenhouse Gas Initiative, that will impose mandatory

15   limits on CO2 emissions from the power sector.

16             New Hampshire, Washington, and Oregon have already

17   passed laws limiting power plant CO2 emissions or requiring

18   them to purchase offsets.  And Washington, Oregon, and

19   California have combined to form the West Coast Governors

20   Global Warming Initiative, and that involves a whole variety of

21   steps to reduce greenhouse gas emissions from those states.

22             CO2 reduction plans and a renewable portfolio

23   standard which mandates a percentage of electricity be produced

24   by renewable sources by a certain date, they foster the

25   development of renewable resources within the state.  These

FLORIDA PUBLIC SERVICE COMMISSION

25

1   programs are an excellent catalyst for investment in renewable

2   energy and efficiency measures because an RPS creates certainty

3   and Florida cannot afford to be left behind as other states

4   direct their utilities to invest in renewable energy.

5             An RPS is the most effective way to ensure that we

6   continue to invest appropriately in new sources of clean

7   energy.  Adopting an RPS also sends an important signal to

8   clean energy developers that a strong market is a certainty in

9   Florida for their products.

10             Ultimately, though, our goal must be to strike the

11   right balance between the operational needs of the utilities

12   and the cost concerns of customers and the state's desire to

13   develop a renewable energy infrastructure.  The technologies

14   available to our state today include -- we have already talked

15   about biofuels and the farm to fuel initiative, and not only

16   will that lessen the state's dependence on oil, but it is also

17   going to protect green space in Florida, which as we grow and

18   grow and grow apparently, which we are, that we are going to

19   continue to allow green space and allow farmers the option to

20   plant other profitable crops.

21             And, of course, there's solar.  Photovoltaic

22   technology, PVs, were initially developed for the space program

23   over 30 years ago.  They rely upon chemical reactions to

24   generate electricity.  PV cells are small square shaped

25   semi-conductors manufactured in thin film layers from silicone

FLORIDA PUBLIC SERVICE COMMISSION

26

1   and other conductive materials.  And when sunlight strikes the

2   PV cell, chemical reactions release electrons, and that's what

3   generates the electric current.

4             California recently announced the largest solar

5   program of its kind in any state in the country, the California

6   Solar Initiative.  It is a ten-year $2.9 billion program

7   designed to help California move toward a cleaner energy future

8   and help bring the cost of solar electricity down for

9   California consumers.  The goal of the program is to increase

10   the amount of installed solar capacity on rooftops in the state

11   by 3,000 megawatts by 2017.  One of your speakers later, Gwen

12   Rose, is here all the way from California with an organization

13   called Vote Solar, and she is going to help us understand how

14   we get to 3,000 megawatts of distributed solar generated power

15   here in Florida.

16             That kind of commitment would eliminate the need for

17   two large coal-fired power plants, and it would provide

18   hundreds of thousands of residents power during times of

19   outages, such as hurricanes.  I myself purchased a solar hot

20   water heater this year and a solar-powered attic fan, so I'm

21   ready for the next hurricane, because I'm going to be the only

22   one on my street that has hot water.  Gwen is going to share

23   with us why even though solar photovoltaics are currently the

24   fastest growing energy industry in the world, they have had a

25   60 percent annual growth over the last few years, but to date

FLORIDA PUBLIC SERVICE COMMISSION

27

1   market penetration has just scratched the surface of its

2   potential and we need to change that.

3             Next is biomass.  And man has used energy from plants

4   and plant derived materials since people began burning wood to

5   cook food and keep warm.  Wood is still the largest biomass

6   energy resource today, but other sources of biomass can also be

7   used.  Food crops, grassy and wood plants, residues from

8   agriculture or forestry, and the organic component of municipal

9   and industrial waste.  Even the fumes from landfills, which are

10   methane and natural gas, can be used as a biomass energy

11   source.

12             The cleanest burning types of biomass include

13   nonhazardous cellulosic or agricultural waste materials that is

14   segregated from other waste materials.  In states with

15   renewable energy portfolios, this type of biomass is encouraged

16   and designated as a Class 1 renewable, along with solar and

17   wind.  And utilities are given a more heavily weighted credit

18   towards reaching their renewable goals by using a Class 1

19   renewable.

20             And I've already mentioned combined heat and power,

21   CHP, and it's often described as district heat and cooling.

22   The process recovers the heat that is usually wasted in the

23   generation of electricity, and heat can then be used to heat or

24   cool other buildings.

25             And that leads us to the importance of efficiency

FLORIDA PUBLIC SERVICE COMMISSION

28

1   measures.  If it is a state's goal to increase our use of

2   renewable energy resources as a percentage of the total

3   electricity generated, then it naturally follows that we must

4   implement efficiency.  And while I will not discuss it today,

5   we also need to implement conservation measures to control

6   overall electricity demand.  For instance, the state of

7   California has found that for every megawatt of load reduction

8   that reduces the renewable portfolio standard obligations by

9   33 percent, so these two notions work together.

10             The goal of the California RPS is to get 20 percent

11   of electricity from renewable resources by 2010.  Efficiency

12   measures will have the co-benefit of keeping consumer prices

13   flat or reducing them as renewable technologies come on-line.

14   The American Council for an Energy Efficient Economy will be

15   releasing a Florida assessment on February 5th that will

16   present data on the potential for both renewable energy as well

17   as efficiency measures that can slash demand-side pressure.

18             It is important to consider them together.  Because

19   in order for renewables to ultimately make a dent in the

20   market, or as our legislators like to say, to change the pie

21   charts, then reducing demand has to go hand-in-hand with the

22   development of renewables.  And I would just like to offer a

23   little sneak peak of some of the ACEEE's recommendation.  The

24   first is a utility sector energy efficiency program, and

25   perhaps what I have come to know as the mother of all policies

FLORIDA PUBLIC SERVICE COMMISSION

29

1   of the past, and that is simply put Florida needs to transition

2   from the rate impact measure test to the total resources cost

3   test, and here is why.

4             Florida utilities operate programs to help manage

5   customer loads, but most of the emphasis is on load management,

6   meaning shifting loads from peak to off-peak periods, and much

7   less emphasis is on energy efficiency.  But in an analysis of

8   2004 data on energy efficiency by state, Florida ranks

9   somewhere in the middle of the pack, 19 out of 50 states.

10   However, energy efficiency savings achieved in 2003 were

11   actually higher than what was achieved in 2004.

12             Utility efficiency measures are wearing thin.  While

13   in states like Vermont, California, and Connecticut, energy

14   savings are growing by about one percent of sales each year.

15   The reason is that the RIM test is a fairness test, it is not

16   an efficiency test.  Under the RIM test, DSM program costs are

17   added to rates.  That increment includes the portion of fixed

18   costs no longer recovered when DSM pares down energy sales and

19   utility revenues fall as a result.  These fixed costs elevate

20   the per unit cost of furnishing electricity, which boosts rates

21   and drives up the bills of customers that do not participate in

22   the DSM programs.

23             These adverse rate efforts are typically captured by

24   the rate impact measure.  But because the RIM test counts lost

25   revenues from decreased utility sales as a cost, DSM that

FLORIDA PUBLIC SERVICE COMMISSION

30

1   produces high energy savings can have an unfavorable RIM score.

2   The RIM test thus eliminates proven energy saving measures from

3   consideration.  The RIM test reliance marks a large step

4   backwards in the planning evolution of the utility industry.

5   By ignoring DSM's long-term potential to defer or displace

6   future capacity needs at costs well below those of new

7   construction, utilities will bear higher costs in the long run

8   when additional capacity is needed, and then that leads to

9   higher rates.

10             The ACEEE recommends that the Florida PSC use the TRC

11   test as the primary vehicle for assessing energy efficiency

12   programs.  The TRC test compares the costs of a program to

13   customers in the utility to the marginal benefits of needing a

14   little less power.  If this test were used, many more programs

15   would be found to be cost-effective and much more energy could

16   be saved.

17             Next, we need a public benefit fund.  There are

18   various approaches used today to provide a public policy

19   context for utility energy efficiency efforts.  One such method

20   includes an assisted benefit fund or a public benefit fund

21   where the legislature, or you, the PSC, establishes a long-term

22   level of funding for energy efficiency programs, and the

23   utility plans a set of programs to optimize savings achieved

24   within this budget.  Typically, funding levels are set in terms

25   of a cent per kilowatt of sales.  This approach is now being

FLORIDA PUBLIC SERVICE COMMISSION

31

1   used by almost 20 states.

2             We also need appliance and equipment standards, and

3   typically these standards eliminate the least efficient

4   products from the market and sometimes mid-efficiency products,

5   as well, while being careful to leave consumers a wide variety

6   of projects from which to choose.

7             Efficiency standards are now available for more than

8   40 products.  In addition to federally regulated products,

9   there are a range of others that states are starting to

10   regulate, and this includes walk-in refrigerators and freezers

11   used in restaurants, bottle type water dispensers, DVD players

12   and recorders, hot tubs, and two more items that would

13   definitely reduce demand in Florida if they were more

14   efficient, and that's pool heaters and residential pool pumps.

15   Florida DEP prepared charts last year on what Florida's energy

16   usage was, and as you all know, 51 percent of our energy use is

17   residential, and of the residential use of the 51 percent

18   20 percent goes to swimming pool heaters and pool pumps.  And I

19   am convinced we can do better than that.

20             We need more efficient building codes.  Florida

21   recently updated its building code to reflect new commercial

22   building and lighting limits and to incorporate the new federal

23   residential air conditioner efficiency standards.  But the next

24   opportunity to upgrade the Florida code will be around 2010.

25   The Florida code should start to address residential and

FLORIDA PUBLIC SERVICE COMMISSION

32

1   appliance energy use, perhaps building on what California has

2   done with their new home code.

3             You're going to hear from Doctor Fenton, who is going

4   to present an example of how Florida can radically alter its

5   2014 energy use projection by aggressively pursuing residential

6   building energy efficiency improvements and aggressively

7   increasing the use of proven renewable energy sources.  Results

8   show that significant electric savings in Florida homes are

9   both possible and also practical.  If the IRS tax credits are

10   augmented by the state of Florida rebates, electrical energy

11   savings exceeding 40 percent of the total home energy use are

12   cost-effectively achieved for the customer.  We really need to

13   develop an advanced building program, because new homes --

14             CHAIRMAN EDGAR:  Susan, I'm sorry, I'm going to have

15   to break in.

16             MS. GLICKMAN:  Sure.

17             CHAIRMAN EDGAR:  Let me go back for just a moment and

18   ask you a question.  You talked a little bit about the RIM test

19   and the TRC test, and I do strongly believe that the state of

20   Florida, both public sector and the utilities have been leaders

21   in DSM and other conservation measures when you look across the

22   country.  But are there other states that are applying a TRC

23   type test instead of a RIM test?

24             MS. GLICKMAN:  Well, what I can tell you, other

25   states are no longer using the RIM test, and Georgia got rid of

FLORIDA PUBLIC SERVICE COMMISSION

33

1   it a year ago.  So I don't know the data, and I, of course, get

2   you that information.  And, when the American Council for an

3   Energy Efficient Economy is here in Tallahassee, I would love

4   to have that opportunity to have Neil Elliot, who is doing the

5   study, you know, really sit with you and spend some time.

6             But my understanding is that no other state uses the

7   RIM test, and Georgia got rid of it last year.  And my

8   understanding is it's sort of a hopelessly outdated way of

9   looking at things.  And the way it adds the savings into the

10   cost of the product, you know, compact flourescent light bulbs

11   are not considered cost-effective, so that just doesn't make

12   sense.  I think it might have made sense in the past, but I

13   think obviously there's a different landscape and there are

14   different interests that the state has, and the Public Service

15   Commission has to let us do more.  So it's something that you

16   really need to look at.

17             CHAIRMAN EDGAR:  As I stated earlier, and as I know

18   you know, we are trying to reach out and tap into varying

19   expertise and to reach out beyond just our own qualified, but

20   beyond our own walls, so we look forward to having our staff

21   work with people that you suggest to us.

22             And I'm going to have to ask you to move along.

23             MS. GLICKMAN:  Sure, absolutely.  The last two things

24   that they will be recommending is that we really look at a

25   significant public awareness campaign, because the public has

FLORIDA PUBLIC SERVICE COMMISSION

34

1   to be involved in understanding whether they're reducing demand

2   or purchasing renewable opportunities.  That's part of the mix.

3   And then, lastly, to expand our research and our development

4   and our demonstration efforts as they have done.  New York

5   established a state energy research fund with an annual budget

6   of about $17 million, and the ACEEE would recommend that

7   Florida do something significantly similar.

8             And to conclude, to reach a clean energy future we

9   can no longer conduct business as usual.  And it's too

10   important.  Energy efficiency measures are going to stabilize

11   demand and keep consumer costs low as the renewable energy

12   develops.  The main point to understand is that energy

13   efficiency measures are very immediate, they are short-term,

14   and if we can help meet demand that way then we can allow the

15   mid-term goals, which is sort of what renewable energy

16   long-term, because it will take some period of time to develop

17   that.

18             I appreciate your attention today.  I have tried to

19   provide sort of an overview.  Obviously there is a lot of

20   information to give.  We have a lot of talent here, and I just

21   hope that we don't leave those opportunities on the table.  I

22   look forward to working with you all as these ideas are

23   developed over time.  Thank you.

24             CHAIRMAN EDGAR:  Thank you, Susan.  We are going to

25   move to our next speaker and we are going to go a little out of

FLORIDA PUBLIC SERVICE COMMISSION

35

1   order.  Next I'm going to call upon Allan Guyet, who is the

2   director of the Florida Energy Office with the Florida

3   Department of Environmental Protection.

4             And, Commissioners, that is Tab 19 in your materials.

5   And, Mike and Kathy, Tab 19 in our materials, if you can help

6   make sure we have got the right slide presentation.

7             Allan, great to see you again.  Welcome.

8             MR. GUYET:  Well, thank you, Chair.  It is a pleasure

9   to be here.  And thank you, Commissioners.

10             I just wanted to start today and talk a little bit

11   about where we have been and where we are going in Florida.  As

12   you know, last year we passed the Florida Energy Act that has

13   several components to it which I will talk about today, which I

14   think are very helpful as we move forward with some energy

15   policy this next year, and as you hear from some great speakers

16   today that provide you with some great alternatives for

17   production of energy in the state of Florida.

18             One of the great programs that we have is the grant

19   program.  The grant program consists of both renewable energy

20   grant program and the bioenergy grant program.  This is a great

21   tool in the state of Florida for us to look at technologies

22   that are in the marketplace that are very close to development

23   and help give them that push to move over the edge and become

24   commercialized in the state so we can start tapping into new

25   renewable sources in the state of Florida.

FLORIDA PUBLIC SERVICE COMMISSION

36

1             We got a great significant response with over 183

2   unique proposals seeking nearly $215 million in grant funding

3   and providing up to 505 million in cost share, so obviously the

4   technologies that came forth have a significant skin in the

5   game to really move forward and bring us into a new future in

6   Florida with renewable energy.

7             We have a number of different criterion listed here

8   that we use to score the grants, and we will be moving forward

9   over the course of this month to score the grant program

10   applications and move forward towards the end of this month and

11   into the beginning of February to award these grant programs.

12   We will enter into negotiations to actually have the agreement

13   laid out with the different applicants that win the awards and

14   move forward with funding these projects.  So I think it is a

15   great opportunity for the state of Florida.  I hope next year I

16   will have the opportunity to come back and talk to the

17   Commission about some of the good work that has come from these

18   grants.

19             Another good opportunity for the state of Florida is

20   our renewable energy corporate tax programs.  We have two

21   taxes.  This slide here talks about the sales tax.  What this

22   does is enables renewable energy companies that have clean

23   fuels, and I will define clean fuels for this forum as being

24   hydrogen, biodiesel, or ethanol, to apply for different types

25   of technologies, different types of capital improvements, and

FLORIDA PUBLIC SERVICE COMMISSION

37

1   to not have to pay the sales tax on them to really stimulate

2   that in-state capital investment in technologies.  And, again,

3   here is the investment side tax credit.  They are eligible for

4   75 percent of their capital cost investment in the state of

5   Florida.

6             Jay Levenstein spoke earlier about agriculture, and

7   agriculture plays a very fundamental role in the state of

8   Florida's energy future especially as it pertains to fuel grade

9   ethanol.  And there is a great opportunity, if you were to come

10   into the state of Florida and develop an ethanol plant, for you

11   to take advantage of these funds to help build that type of

12   plant.  So, again, the state has provided some economic

13   stimulus for different companies to come in and help the state

14   of Florida and to bring other technologies to market so they

15   are available for the Florida consumer.

16             The rebate program, and Doctor Fenton will talk, I'm

17   sure, in more detail about different types of solar

18   technologies.  But one important thing that we can do is help

19   to get consumers aware of the use of their energy and also to

20   make good decisions and look for alternatives to just turning

21   on the light switch.  The rebate program that is administered

22   by my office has now issued over 693 rebates in excess of

23   $410,000.  There is $2.5 million available for these rebates,

24   both for solar photovoltaic, solar thermal, and pool heaters.

25   And I hope that as we move through the rest of the year that

FLORIDA PUBLIC SERVICE COMMISSION

38

1   more people will become aware of this information and more

2   people will take advantage of this opportunity, because it can

3   draw down significantly the cost of a solar PV system at $4 per

4   watt rebate for a PV system, it significantly draws down that

5   cost.  So as we move forward, I hope more people will take

6   advantage of it.  And based on our calculations from the types

7   of rebates that we have issued, we have deferred 9.3 million

8   kilowatt hours of energy in the state of Florida.

9             The Leadership by Example Report was a good

10   opportunity for us to really take a benchmark, to look at

11   ourselves and look at really three opportunities in the state

12   of Florida for increased use of renewables.  We have our energy

13   efficiency and conservation state buildings.  What are we doing

14   in our state buildings and how can we do better.  Also, in our

15   fleet.  Currently our fleet is between 9 and 10 percent

16   comprised of alternative fuels, and then, of course, look at

17   other opportunities such as an energy efficient product rebate

18   program for consumers in the state of Florida.

19             Now, this is something that I know that the committee

20   is familiar with, both the Power Plant and Transmission Line

21   Siting Acts.  This past year we looked at some different

22   alternatives to streamline these two acts, and are right now in

23   the process of drafting our rules.  Power plant siting is about

24   95 percent complete, transmission line siting is about

25   40 percent complete.  Once we complete both of those draft

FLORIDA PUBLIC SERVICE COMMISSION

39

1   rules, we will hold public hearings both here in Tallahassee

2   and also in Orlando to get public input on the draft rules that

3   we have come up with and then go before the Joint

4   Administrative Procedures Committee for approval of those

5   rules.

6             And here is another important topic, and it says

7   energy efficiency sales tax holiday on the slide, but what it

8   doesn't say is education, education, education.  And I think

9   you will hear a lot about that today.  It's getting consumers

10   to think about their energy consumption and their habits.  The

11   sales tax holiday provided a sales tax free savings from

12   October 5th through the 11th of 2006, and it was a great

13   opportunity for people not only to save money and not have to

14   pay sales tax on energy efficient appliances, but it was also a

15   good opportunity for the state to promote energy efficiency and

16   to get people thinking about how they actually consume their

17   energy in their homes, in their vehicles, and just overall.  So

18   this was another great opportunity for us to do that.

19             And the last thing I will just mention today is the

20   Energy Commission, which was established by Senate Bill 888,

21   which I have been describing to you today.  This is another

22   great opportunity.  I think it is another great forum to bring

23   people just as you are doing today together to talk about how

24   we can move forward in this state.  So I look forward to

25   working with Commissioner Burroughs (phonetic) and all of his

FLORIDA PUBLIC SERVICE COMMISSION

40

1   staff as we move forward, and I know that you have been invited

2   as the PSC to work with them, as well.  So I think it is just

3   another opportunity.

4             I certainly commend the PSC for having this forum

5   today.  I'm not going to take up much more time because there

6   are some great speakers.  If you look at the agenda, I think

7   each one of them, and I spoke to many of them at different

8   occasions, have some very outstanding ideas to bring to this

9   committee for you to consider as we move forward and really

10   start to draft more energy policy for the state.  So thank you

11   for your time.  I would be happy to answer any questions you

12   may have.

13             CHAIRMAN EDGAR:  Allan, thank you.  Questions?

14             Commissioner Carter.

15             COMMISSIONER CARTER:  Just a comment.  As I am

16   sitting here -- and thank you, Madam Chairman, for your

17   leadership in organizing this -- is that we look at this from

18   the standpoint of can the lion lay down with the lamb in peace.

19   And in this process a lot of times here we see where in order

20   for me to win, you have to lose.  And I think what we are

21   trying to communicate, and hopefully to both those that are in

22   the environmental community, those in the industry, as well as

23   those in academia, and our governmental agencies will recognize

24   that what we are trying to do is to use our best and brightest,

25   you know, in all areas to come together on a common perspective

FLORIDA PUBLIC SERVICE COMMISSION

41

1   to provide efficient, economical, and environmentally friendly

2   services for our state here in Florida.

3             So, Madam Chairman, I thank you for this process, and

4   I'm already excited.  I look forward to the rest of our

5   speakers.  Allan, thank you so much for your presentation.  We

6   have some great speakers, some great things happening here, and

7   I'm really looking forward to getting beyond the dialogue and

8   starting to get the wheels moving.  Thank you, Madam Chair.

9             CHAIRMAN EDGAR:  Absolutely.  Thank you,

10   Commissioner.  Thank you, Allan.  Hold on a minute.

11             Commissioner Tew.

12             COMMISSIONER TEW:  Thank you, Allan.  A couple of

13   quick questions.  One was about the solar rebates to Florida

14   residents, 693.  Do you remember if that is available to

15   businesses and residential, or is it just residential customers

16   on the rebates for solar?

17             MR. GUYET:  It's primarily residential customers, but

18   we have also received some solar thermal applications from

19   businesses, as well.  But it's a mix that we have received.

20             COMMISSIONER TEW:  And, selfishly, I need new

21   appliances, and I'm wondering are we hearing anything about the

22   prospects for another sales tax holiday on the energy efficient

23   appliances this year?

24             MR. GUYET:  I know there has been some bills

25   introduced to create another sales tax holiday, and I think

FLORIDA PUBLIC SERVICE COMMISSION

42

1   that there will certainly be a lot of interest this year as we

2   go forward.

3             COMMISSIONER TEW:  Thank you.

4             CHAIRMAN EDGAR:  I know I am, and we all are, looking

5   forward to seeing what the 215 million in grants that the state

6   has provided for this year when those awardees are announced

7   later to see what kind of great projects are coming out of

8   that, and see together how we can work with your program as

9   well and with the secretary.  Allan, thank you so much.

10             MR. GUYET:  Thank you, Commissioners.

11             CHAIRMAN EDGAR:  Our next speaker is Doctor James

12   Fenton, Director of the Florida Solar Energy Center.

13             DR. FENTON:  Good morning.

14             CHAIRMAN EDGAR:  Good morning.

15             DR. FENTON:  I appreciate the opportunity to be here

16   in front of all of you.  I am James Fenton.  I'm the Director

17   of the University of Central Florida's Florida Solar Energy

18   Center, and it is my pleasure to present to you "Taking Charge

19   of Our Energy Future."  We can do much better, and I'm very

20   optimistic that we will.

21             Florida ranks fifth nationally in the amount of

22   energy consumed per capita, and third in total energy use.

23   These are not good rankings.  Currently more than $20 billion

24   leaves Florida's economy as fuel payments to other states and

25   nations.  If these dollars stayed in Florida's economy, they

FLORIDA PUBLIC SERVICE COMMISSION

43

1   would generate 40 to $60 billion in economic activity for the

2   state.

3             To stem the flow of cash and the resulting jobs that

4   go with it from Florida, we must implement a nonfossil-based

5   fuel economy using our plentiful sun and biomass.  While many

6   high tech jobs may be moving overseas, the local production of

7   indigenous fuels that will achieve Florida's energy

8   independence cannot be outsourced.  Now is the time for action.

9   We need a vision, a vision of energy independence for Florida

10   where the sunshine state provides its own fuel from our

11   plentiful sun.

12             The jobs that implement the technologies that use our

13   renewable Florida fuel are Florida jobs and the companies that

14   make this happen are born in Florida.  This vision of energy

15   independence for Florida can start with our new homes.  Our new

16   homes in Florida, and we build 160,000 of them a year, should

17   be approaching net zero energy homes.  These are homes then

18   that would be designed and built more energy efficient.  Hot

19   water would be provided by solar thermal energy and electricity

20   is generated from the sun through the photovoltaics and stored

21   in the electric grid during the day and the grid provides the

22   power at night.

23             To get to this vision, we must expand on the rebates.

24   And as Allan mentioned to you, we have made some significant

25   progress in having these rebates, and create new incentives for

FLORIDA PUBLIC SERVICE COMMISSION

44

1   energy efficiency.  The Florida Solar Energy Center hopes to

2   help drive this vision for Florida.  We have 150 staff at FSEC

3   that think about energy 24 hours, seven days a week.  We are

4   ready to provide the research, development, deployment,

5   information, and assistance so that the sunshine state is

6   indeed energy independent.

7             As was mentioned, through the Public Service

8   Committee, the 2004 future generation, our projection -- this

9   was done in 2004 to 2014 -- calls for Florida utilities to

10   produce an additional 75 billion-kilowatt hours, more energy

11   than we produced in 2004.  It's a 32 percent increase in the

12   energy use over the decade.  And as this shows, 72 percent of

13   that electricity would be generated from what we now realize is

14   very expensive natural gas that we import from off our shores,

15   and 28 percent would be from coal.

16             As was mentioned, 50 percent of the electric energy

17   use that we use today is for residential buildings.  We have a

18   unique opportunity.  We are somewhat unique in Florida in that

19   we use a lot of electricity in our residences.  As they say,

20   the south will rise again.  It was the invention of the air

21   conditioner.

22             If Florida is to minimize its use of electric

23   consumption, it starts with us, the homeowners.  We, the

24   homeowners, can stop the flow of cash, at least for the

25   purchase our fossil fuels, by making our houses more efficient

FLORIDA PUBLIC SERVICE COMMISSION

45

1   and use the sun to make our electricity and our hot water.

2             Well, okay, why not change the new generation?  Based

3   on the concerns of building new power plants based on this

4   expensive natural gas, and then the time lag it would take to

5   get to the coal plants, Governor Jeb Bush at that time in

6   November of 2005 signed an executive order to develop a

7   statewide comprehensive energy plan.  Last year I had the

8   opportunity to present in front of the Florida Senate Committee

9   on Communications and Public Utilities the positive message on

10   how we can leverage the federal tax credits, okay, for

11   renewable energy and energy efficiency.  In effect, trying to

12   change the pie.  And that study was done a year ago, and that

13   website that is up here lists that information for that study.

14             There is a new opportunity, and it was mentioned

15   earlier today, not only should we be using fluorescent light

16   bulbs and ENERGY STAR appliances as you brought up in your

17   homes, but our new homes should be ENERGY STAR homes.  ENERGY

18   STAR homes, national brand recognition, we can reduce our

19   total home energy use by about 15 percent based on our 2006 new

20   code standards and save owners money every month.  The pay back

21   is your first monthly mortgage check.  Monthly energy

22   efficiency savings are greater than their cost when paid

23   through this 30-year mortgage.  You can save Florida citizens

24   about 2,000 kilowatts per year, about 1.5 tons of CO2 emissions

25   per home each year.

FLORIDA PUBLIC SERVICE COMMISSION

46

1             What does it take to be ENERGY STAR?  Well, you

2   start with today's standard minimum code building features.

3   You add some ENERGY STAR windows, a refrigerator and a

4   dishwasher, three ENERGY STAR lighting fixtures, and a

5   substantially leak free duct system, and a high SEER air

6   conditioner.  So incrementally above and beyond the normal

7   pieces of equipment you might have bought for your own home.

8   So a 2,000 square foot home in Florida can be EPA ENERGY STAR

9   rated for just an additional $1,600.  This leads to

10   2,000 kilowatts in annual energy savings.

11             And as Susan had mentioned, based on the levelized

12   cost study that is on-going right now, this calculation of this

13   $1,600 invested in a typical new home built here in Florida is

14   equivalent to paying six cents a kilowatt hour for your

15   electricity.  I remind you, we pay about 12 cents a kilowatt

16   hour today right out of the wall.

17             Where does Florida stand as far as these EPA new

18   energy homes?  Well, we build the most homes in the United

19   States, 160,000 new ones a year.  Unfortunately we only build

20   2,500 of them that were EPA ENERGY STAR homes.  Seven states

21   have greater than 15 percent EPA ENERGY STAR homes.

22   Unfortunately, Florida stands dead last.  We can change that,

23   though.  We're upbeat.  I'll give you an example, the art of

24   the possible.  The first zero energy home was built here in

25   Florida, in Lakeland.  We can build these new energy homes or

FLORIDA PUBLIC SERVICE COMMISSION

47

1   net zero energy homes in Florida.  We can do this.  The control

2   home that you see in the upper top here is the same footprint

3   as what at that time was called the PV res home.  This is a net

4   zero energy home that we built with a developer in Lakeland,

5   Florida.  You notice the footprints are the same.

6             You will notice that the lower building has a white

7   roof, a big improvement as far as reflecting the sunlight from

8   our air conditioning load.  You will also notice that the lower

9   building has larger overhangs, providing more shade over the

10   windows.  There were more efficient insulation put in, some

11   better windows, a better air conditioner.  You will also notice

12   that there were photovoltaic panels added.  The large

13   rectangular box in the center there is a PV panel.  That is

14   facing south.  There was also some western facing PV.  This is

15   to the left.  And then in the right, the small rectangle there

16   is a solar thermal piece of equipment.

17             Okay.  Here is the results, right?  These are two

18   exact homes facing the same profile, same building lay out

19   design, so on and so forth.  They tend to be a little bit on

20   the high end side of homes.  This is a 2,700 square foot home.

21   It is not the average 2,000 square foot home that we would

22   speak of here in Florida.  But as you can see here, the

23   standard home uses over 20,000-kilowatt hours of electricity.

24   The PV res home with only the solar thermal and then all the

25   efficiency measures only uses around 7,000 kilowatts.  And at

FLORIDA PUBLIC SERVICE COMMISSION

48

1   12 cents a kilowatt hour, it's a savings of $1,800 a year.

2             Now, if you allow me to put the PV panels on the

3   roof, I only use 8 percent of the electricity that was used of

4   the standard control home, and you can see there the savings

5   then is $2,400 a year on an existing home.  And by the way,

6   that home sold first.  It sold for $30,000 more than the

7   previous house, and today it is worth $80,000 more than the

8   control home.

9             Next slide.  We have made some progress here in

10   Florida.  As I mentioned before, we didn't have rebates in PV.

11   We do now, thanks to the legislation that was passed last year.

12   This is a bar chart here of the final consumer cost.  As Allan

13   Guyet had mentioned, the current rebate program right now

14   provides a $4 per watt initial cost to the customer, right.  A

15   typical system runs around $16,000 if you are putting two kW up

16   on your roof, okay.  With a $2,000 federal tax credit, which is

17   all we had in place last year, now with the $4 we are roughly

18   at about 50 percent of the cost of the PV, gets paid for by the

19   rebate, 50 percent by the consumer.  We have moved forward

20   quite a bit.

21             I want to spend some time with this plot.  This is a

22   plot of the 30-year cost per kilowatt, okay, of various sources

23   of energy as a function of the date and year.  All right.  You

24   will notice if you look at the two stars down there that I've

25   got, okay, that we started out in 2000 paying about 8 cents a

FLORIDA PUBLIC SERVICE COMMISSION

49

1   kilowatt hour out of the wall.  Starting in January of 2006, we

2   are paying 12 cents a kilowatt hour.  Now you can draw a line

3   through two points, all right, and you can see that I have done

4   that with the dotted red line.  Of course, you might speculate

5   with the fact that the price of natural gas has gone up by a

6   factor of four since 1999, that maybe I should be drawing an

7   exponential curve through those two points.

8             So what is electricity cost for the future?  It is a

9   good question.  Let's go back to the PV curves.  Thirty-two

10   cents a kilowatt hour.  It seems like a lot of money.  It's a

11   lot more than the 12 I'm paying out of the wall today.  Let's

12   go back to those 20 states that have the public benefits fund

13   that were mentioned, right?  They have been offering the

14   50 percent rebate combined with the government and federal

15   taxes associated with those PV panels.  Florida is also

16   instrumental in that program.  Unfortunately we are only at

17   $2.5 million today, and as Susan Glickman had mentioned,

18   California puts about a billion in it a year.  But it's a

19   start.  We're making progress.

20             So if you buy in that we are going to have a rebate

21   of 50 percent associated with the PV panels on your roof, and

22   that data point for 32 cents a kilowatt hour is based on DOE

23   data in 2005, so we move from that blue curve with the

24   50 percent rebate down to the 16 cents a kilowatt hour.  Well,

25   that's not so bad.  Now, because a lot of those same states

FLORIDA PUBLIC SERVICE COMMISSION

50

1   also have portfolio standards, okay, you can trade your

2   renewable energy credits on the Chicago Mercantile Exchange

3   today at about 4 cents a kilowatt hour.  32 cents to 16 to 12.

4   I pay 12 out of the wall today.  How come I don't have a PV

5   panel on my roof?  That's the purpose of why we are having this

6   meeting, okay.

7             Now, let me look at another thing on my little curve.

8   Look at the upper curve.  In 2020, we go from 32 cents to 9

9   cents a kilowatt hour.  Now, whether you believe DOE

10   projections or not, that's cheaper than what I'm paying out of

11   the wall today.  Let me give you another little thought to

12   think about.  Suppose you all decided you wanted a nuclear

13   power plant in your backyard tomorrow.  I'm speculating it

14   would take 13 years before you got the first kilowatt hour if

15   you turned it on.  It would take 13 years before we probably

16   turned it on.  Maybe we can site plan and do a little bit

17   quicker and so forth, and I hope we do, and clearly we need

18   nuclear power plant and more base load generation for the other

19   49 percent of the electricity the state of Florida consumes

20   outside of our residence.  I'm not disputing that we need base

21   load power.  But think about it.  Do you think that nuclear

22   power plant turned on 13 years from now is going to sell me

23   electricity at the same cost I got today or some higher number?

24   PV is 9 cents.

25             Let's go to the next slide.  I mentioned to you we

FLORIDA PUBLIC SERVICE COMMISSION

51

1   were looking at changing the pie.  As Susan Glickman had

2   mentioned, there is a new study that is being done today that

3   we are looking at some similar alternatives to this.  These are

4   last year's numbers that we worked through, and so we took

5   160,000 new homes in Florida, assumed 15 percent of them were

6   federal tax credit homes provided the efficiencies associated

7   with them to improve those.  Assume that we put 15 percent

8   solar hot water heaters on those homes.  Took the 6.2 million

9   existing Florida homes and made some improvements.  And my

10   15 percent there should, of course, be 10 percent, so I

11   apologize about the typo error there.  And then added 9,000 PV

12   systems alone at 2 kilowatts apiece.  And based on that alone

13   we were able to save by 2014 25-terawatt hours of energy.

14             This next plot is rather interesting.  This is an

15   actual plot based on one of those energy credit, tax credit

16   homes where we had a PV panel on it, two kW, right.  We also

17   had solar thermal energy applied to it, as well.  This is a

18   2,000 square foot home.  This is a plot for the home that we

19   used as a model home in Tampa, Florida.  We did this study

20   based on Tallahassee and Miami climates, as well.  And the

21   interesting thing you will note here is look what happens to

22   the electric demand curve.  We lower the peak.  In addition to

23   actually having a curve much lower, it does a lot associated

24   with lowering the peak.  So clearly you can load management by

25   putting in a more energy efficient home.

FLORIDA PUBLIC SERVICE COMMISSION

52

1             These are some of the benefits that were done based

2   on that study.  As I mentioned, we saved 25 terawatt hours over

3   a ten-year time period when that study was done, and you can

4   see what some of the costs are.  Clearly we are avoiding quite

5   a substantial amount of CO2, and we are generating $420 million

6   of tradable renewable energy credits.

7             This next study is the study that -- the next slide

8   is the study that Susan Glickman had referred to, the American

9   Council for Energy Efficiency is putting together this Florida

10   potential study.  We at the Florida Solar Energy Center are

11   providing the data and the information for that study, but this

12   expands on the 2000 Florida's energy future study that the

13   Department of Environmental Protection had put out.  And it

14   goes through a detailed analysis of all energy efficiency

15   measures and renewable energy potentials for the state of

16   Florida, and puts costs data on every single feature.  The

17   preliminary results which will be publicly available at the

18   beginning of February show that we have significant savings

19   potential for both new and existing buildings.  And the final

20   report for this will be available this early March.

21             With that I would like to end with the California

22   example, okay.  If you look at this plot, this is a plot of the

23   per capita electricity used per person.  You'll notice in the

24   first Arab oil embargo, the real energy crisis -- we are just

25   in a price crisis now -- the first one, right, the nation went

FLORIDA PUBLIC SERVICE COMMISSION

53

1   up.  California stayed flat.  If you look at today, you will

2   see here that based on the energy difference per person in the

3   state of Florida, that consumption compared to that person in

4   California, okay, if we're paying 12 cents a kilowatt hour,

5   that is $600 per person we are paying per year in Florida that

6   they don't pay in California because our homes aren't energy

7   efficient.  You multiply that by the 17 million people we have

8   in Florida, it's over $10 billion a year.  It's simple.  Build

9   better homes, okay.  It is efficiency, efficiency, efficiency.

10             Solar thermal hot water, by the way, is only eight

11   cents a kilowatt hour.  You should all have one of those on

12   your roof right now.  PV, still too expensive at 32 cents a

13   kilowatt hour.  If the state chooses to provide rebates, we can

14   get those down to where that is cost-effective today.  It's a

15   choice we can all make.  Thank you very much.

16             CHAIRMAN EDGAR:  Thank you.

17             Commissioner Carter.

18             COMMISSIONER CARTER:  Thank you very much for your

19   presentation, Mr. Fenton.  Do you know on average what it would

20   cost to retrofit -- I know that we are building a tremendous

21   number of houses in Florida, but we also have a number of

22   houses that are currently here.  What is the cost, or do you

23   know, to retrofit the houses as they currently exist to put on

24   the solar and the photovoltaic?

25             DR. FENTON:  Of course, there's lots of things that

FLORIDA PUBLIC SERVICE COMMISSION

54

1   you can do in your home.  And to answer that question, of

2   course, if you are going to spend an incremental extra dollar

3   to make an improvement on your home, I would strongly encourage

4   you to make that investment on the most cost-effective thing to

5   do, okay.  And fluorescent light bulbs is a big one.  Go for

6   it, okay.

7             Now, maybe you have changed all of those out.  And I

8   will remind you, thanks to the tax holiday we passed around, if

9   you had gone into the Big Box stores seven months ago before

10   that tax holiday, you would not have been able to find

11   fluorescent light bulb fixtures for ceiling lights, and various

12   other, recessed lights, and so on and so forth.  You only found

13   a little helical job, okay, because customers weren't buying

14   them.  Whammo, the tax incentive.  All the Big Box stores had

15   every single possible fluorescent light fixture you can do.  We

16   going change the behavior.

17             To answer your questions more specifically, the

18   problem that we have with a lot of efficiency measures, or the

19   problems that we have with the renewable energy measures that I

20   talk about which tend to fit into the distributed generation

21   mode, it is an up-front cost for the consumer, okay.  And so

22   everything I'm going to tell you is an up-front cost, right.

23             As an example, the solar thermal hot water heater

24   example, all right.  Levelized over a 30-year period of time as

25   I mentioned, and I like to use that because quite often when we

FLORIDA PUBLIC SERVICE COMMISSION

55

1   either buy new homes or buy an existing home, I get a 30-year

2   mortgage, and the advantage of having a 30-year mortgage is I

3   got my 30-year mortgage plus my electric bill.  I, as a

4   consumer, want the sum of those two numbers to be lower.  Maybe

5   you raised your mortgage a little bit and your utility bill

6   really drops down, so that is the overall goal.  So I prefer to

7   do my cost basis on the cents per kilowatt hour savings.  But

8   up-front cost, it's a big problem.

9             So in the case of solar thermal, typically maybe

10   $3,500 for the hot water system to be put on your roof.  I

11   remind you, you can go to Home Depot and buy an electric hot

12   water heater for 200 bucks.  So it is an up-front cost.  Now,

13   we already have a federal tax credit that will give you about

14   $1,200 back on that, with the rebates that Allan had mentioned

15   to you, it comes back that way.

16             If you are going to look at a payback that tends to

17   be on the order of about five years for your payback.  If you

18   finance it through a 30-year mortgage, your payback is the

19   first month payment.  So it's a difficult question to answer

20   completely.  This study that will be published in March will

21   have detailed analysis on every single efficiency measure you

22   can make and will tell you those exact numbers for typical

23   homes in Florida.  Obviously, depending on what you have in

24   your own home, it may change a little bit.

25             COMMISSIONER CARTER:  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

56

1             CHAIRMAN EDGAR:  Thank you, Doctor Fenton.

2             Our next speaker is Doctor Ann Wilkie with IFAS at

3   the University of Florida.

4             DR. WILKIE:  Good morning.  This is going to be

5   difficult for me because I was always taught to look at

6   somebody when I was speaking to them, so excuse me for

7   addressing the three people on the stage.  It certainly is my

8   pleasure to be here today to talk to you about biogas potential

9   for Florida.

10             Susan mentioned earlier, you know, the poop word, and

11   I think I would like to say that because of this humor attached

12   to it, sometimes people don't take it as seriously as they

13   should.  So I want to basically say that biogas energy is

14   beyond energy in the sense that it is renewable and it also

15   gives us a tremendous amount of environmental benefits.  Giving

16   us energy, ecology, and it is also eternal because of the

17   sustainable nature of that.

18             Anyway, biogas is a biological process.  It's

19   obtained from the degradation of organic matter, and that

20   organic matter can be residues, or even purposefully grown

21   energy crops.  The gas can be converted, used directly as a gas

22   or converted into electricity.  The underlying process to

23   produce the biogas is a biological one.  It occurs in the

24   absence of oxygen and it produces the end product which has

25   methane as its main constituent, and methane is the primary

FLORIDA PUBLIC SERVICE COMMISSION

57

1   component of natural gas.  So the biogas that is produced from

2   this process is basically a substitute natural gas.

3             Complex organic matter, also known as biomass.  In

4   this case some of us may like to refer to it as biomess, but

5   anyway, this material is broken down by bacteria.  We generate

6   some simple components, simple metabolites, and those

7   metabolites then go on to give you methane as an energy source.

8   And, again, we also get waste treatment at the same time.  And

9   the thing to remember is that today as we treat our waste

10   products or biowastes in Florida, we actually expand energy to

11   treat those wastes.  So here we have a bifunctional process.

12             What are the feed stocks that we could use here in

13   Florida?  We could use animal manures.  As Jay and Susan

14   mentioned earlier, that we could use poultry and dairy.  We are

15   a large dairy state.  We also are a fairly decent-sized poultry

16   state.  Aquaculture.  We have very little swine.  But one of

17   the Commissioners asked earlier this morning to Jay, how are

18   the farmers responding to that.  I continually get calls from

19   farmers and producers that are interested in looking at the

20   opportunities, how much is it going to cost.  They are excited

21   that it will help the environment, but the question is if they

22   generate energy from their waste and they try to sell that

23   energy, will they be compensated at a fair price.  These are

24   the issues, equity for independent power producers.

25             But, Susan, the story goes beyond manure, and we also

FLORIDA PUBLIC SERVICE COMMISSION

58

1   produce some waste ourselves, industrial wastewaters.  Flip

2   back, please.  Sorry.  Municipal wastewaters and municipal

3   solid waste.  We also can use the process for making energy

4   from purposefully grown energy crops.  And by that I mean in

5   the same way that we propose to grow cops to produce biodiesel

6   and also bioethanol, we can also grow crops and harvest them

7   for the purpose of producing renewable natural gas.

8             A number of benefits, again.  Renewable energy, waste

9   treatment, odor reduction.  All of our waste tend to cause some

10   odor problems at times.  There is also an element of ecology in

11   terms of public health pathogen reduction, nutrient

12   conservation.  This is very important from this process because

13   our whole society is based on solar energy.  We are all solar

14   powered beings in the sense that we feed on what is produced by

15   the sun through photosynthesis, therefore, the food that is

16   produced we do need to have fertilizer.  Either use organic

17   fertilizer or we use chemical fertilizer.  Today we are very

18   heavily dependent on chemical fertilizer.  Chemical fertilizer

19   is produced by natural gas, therefore, by being able to produce

20   a gaseous end product from our waste streams and be able to use

21   that, we are also conserving our deployment of natural gas to

22   make chemical fertilizer, because we are conserving the

23   nutrients.  And also we are conserving greenhouse gas

24   emissions.

25             Any waste product as it tends to store, tends to

FLORIDA PUBLIC SERVICE COMMISSION

59

1   decompose and one gets gaseous emissions depending on the

2   length of storage and also the temperature.  What could we use

3   this biogas for?  As I mentioned earlier, methane is the main

4   constituent which is also the main constituent of natural gas.

5   Biogas is a flexible energy vector and it can have multiple

6   uses.  One of them is direct use, basic heating, steam

7   production.  Secondly, converted to bioelectricity.  I call it

8   bioelectricity because it is from biomass.  It is renewable.

9   It is sustainable.  Any CN system, in today's world would be a

10   combined heat and power system, also referred to as

11   cogeneration, where the thermal byproduct is also deployed and

12   not wasted.

13             The product can be purified and upgraded and injected

14   into the natural gas pipelines.  We have a number of gas

15   pipelines in the state.  A number of our homes are piped for

16   gas.  Vehicular fuel gas can be compressed and used as a

17   vehicular fuel, and also biogas -- basically, natural gas can

18   be converted into methanol.  In fact, natural gas is the

19   world's largest raw feed stock for methanol production, and

20   methanol is going to be needed in the state of Florida.  Why?

21   Because we are proposing to grow crops and produce biodiesel.

22   Methanol is one of those ingredients.  Therefore, I'm trying to

23   emphasize the synergy between our desire to grow crops for

24   bioenergy biofuels and our ability to take biowastes and use

25   them to provide supplemental fuels to power our other biofuels

FLORIDA PUBLIC SERVICE COMMISSION

60

1   forage production.

2             Biogas can be used as just cooking.  A watched kettle

3   never boils.  In the background you will see there that that is

4   just a silver bag and that actually might be called swill gas

5   because it actually biogas from pigs.  At the University of

6   Florida we produce what we call gator gas from our dairy cows.

7   Maybe we should call it swamp gas.  But, anyway, we are

8   actually -- this is a residential water heater 90-gallon unit,

9   199, 100 Btu.  Taking biogas from a facility, taking biogas

10   from hog manure and using that to displace our propane use.

11             So at its very simplistic level, we can use it for

12   cooking, we can use it for hot water heating, and then there

13   are additional uses, as well.  Again, as I said, it could be

14   used as a vehicular fuel.  Sweden, for example, has a number of

15   bus fleets and cars operating on biogas produced from these

16   biowastes.  And, in fact, it actually has a train.  And I'm

17   sure that we in the great state of Florida can do as well as

18   the Swedes any day.

19             It also is one of the lowest in terms of emissions,

20   natural gas.  Secondly, this is the main components of a biogas

21   plant, and this is the question:  Is the technology available;

22   how soon is it available?  We certainly know that we have the

23   waste.  There is no question.  Do we have any questions about

24   that?  No, we do not.  The question is do we have the

25   technology and how sophisticated is the technology and is it

FLORIDA PUBLIC SERVICE COMMISSION

61

1   being used other places.  It is being used other places, so

2   certainly a technology transfer opportunity can bring that to

3   bear within the state.

4             Here I would just point out that it is a biological

5   process and there are -- that biogas can be concerted to

6   electricity, and that electricity can then be put back into the

7   plant to make the system more energy efficient.  Taking energy

8   from waste and using that energy to provide any process

9   conditions that are needed for optimization.

10             Secondly, again, at the bottom I want to emphasize

11   biofertilizer, because growing food, growing crops takes

12   fertilizer, and we currently use natural gas for that chemical

13   fertilizer production.  And the thing to remember is natural

14   gas is great, but natural gas is finite.  Thinking fossil fuel

15   is fossil thinking.

16             So we talked about all the waste streams, although,

17   you know, sometimes it is -- people don't understand how much

18   energy is left there, but here I would like to show this energy

19   as Jay mentioned with the Commissioner of Agriculture as we

20   move forward to looking at green space in Florida, growing

21   energy crops, biofuels.  Ethanol and biodiesel are going to

22   come hopefully, and here I would like to point out that as you

23   look at ethanol production here in this diagram you will see

24   there is a byproduct from that, too, yes.

25             Ethanol, I think, always give us a byproduct,

FLORIDA PUBLIC SERVICE COMMISSION

62

1   wouldn't we all agree, but here the byproduct can be converted

2   to energy.  And there is a national debate going on about what

3   is the net energy balance of bioethanol.  The simple answer to

4   that would be the net energy balance of fossil fuels has rarely

5   been discussed and what we can do here is at least we can

6   reduce the net energy balance by taking the waste product and

7   putting it back into the process.

8             Current numbers from Brazil would suggest that

9   12 percent of the actual ethanol leaving an ethanol facility is

10   actually conserved in the wastewater product.  Think about

11   that.  Sorry, 12 percent -- excuse me, 12 percent of the total

12   energy in the plant, the biomass is contained in the spillage

13   and 25 percent -- that is equivalent to 25 percent the Btu

14   leaving the plant in terms of the ethanol.

15             As we move to biodiesel, as well, we also have the

16   same opportunity to take some byproducts from biodiesel

17   production and also produce biogas.  Also, there is the idea

18   that we can -- not the idea, there is the opportunity, you

19   know, maybe a little bit longer time frame to move to growing

20   energy crops.  In other words, we would have energy plantations

21   in the state to grow or to produce gas.

22             I would like to refer to this as green gas to green

23   gas.  And, again, I emphasize the fact that not only are we

24   getting an energy product, we are also getting the

25   biofertilizer.  Again, the idea of synergy between the systems.

FLORIDA PUBLIC SERVICE COMMISSION

63

1             So, what does it all mean?  How much energy is there

2   in waste?  What does it mean in terms of energy generation?  It

3   is very difficult to come up with an estimate of the potential

4   in the state for total biogas.  So, what I have done is I have

5   taken a few waste streams that there are some definitive

6   numbers on and made some estimates.  The first one is municipal

7   wastewater.  We are all familiar with that.  We have, like,

8   18 million people in the state.  We have also calculated in

9   this the number of visitors that stay here.  According to the

10   Florida visitor website, 5.9 days per year.  So taking the

11   municipal wastewater in the state and looking at our ability to

12   convert that material into energy turns out to be the

13   63 megawatts.

14             In addition, I would like to point out that currently

15   when we treat those waste products, we actually use an energy

16   intensive aeration system and this is where the opportunity for

17   conservation comes in.  Not only by making the transition to

18   treat our human wastewater by this method will we generate this

19   amount of renewable energy, but on top of that we will save the

20   existing energy that we are expending on an energy intensive

21   aeration process, which is not needed and we can do it a better

22   way.

23             Dairy manure.  That's based on about 140,000 standing

24   herd in the state, and looking at some average numbers that

25   turns out to be 34 megawatts.  Poultry manure, as well.  That

FLORIDA PUBLIC SERVICE COMMISSION

64

1   includes layers and broilers, and that turns out to be 31

2   megawatts.  Secondly, municipal solid waste.  These are based

3   on the P numbers from the municipal solid waste that are

4   actually collected and that is documented in taking the paper

5   yard and the food waste component of that and looking at the

6   megawatt generation for that.  You will see there the number is

7   314.  And then making an estimate of if 10 percent of the land

8   area in Florida were used to grow crops, in this case it would

9   be succulent crops, that would be easily degradable and we

10   could produce the 1,908 number.

11             If you total them up, what it actually means, if you

12   look at the energy of the natural gas used by electrical

13   generating utilities in the state, those numbers alone without

14   considering some of the other waste streams of which there are

15   many, and I alluded to, constitute about 50 percent of that

16   number.

17             In summary, biogas is a sustainable energy solution

18   that is renewable as we have seen.  It is available from all

19   the waste products.  We can grow crops particularly for that.

20   It is carbon dioxide neutral because everything is through

21   photosynthesis initially.  This is not from the earth.  It's

22   not fossil fuel.  It's locally based.  You know, we all produce

23   waste; thereby protecting the environment, creating jobs, and

24   strengthening local economies.  Keep the waste local, keep the

25   energy local, decentralize, have peace of mind and security.

FLORIDA PUBLIC SERVICE COMMISSION

65

1             Biogas provides energy independence.  It is a

2   renewable natural gas.  As I mentioned earlier, we have the

3   natural gas pipeline which eventually will have no fossil

4   resource to put into it.  We can leverage that infrastructure.

5   And, again, as I mentioned, most of our homes, a lot of our

6   homes are piped for natural gas directly to.  And, secondly,

7   energy reliability, it is on locally based feed stocks.  When

8   you take biowaste that do not compete in the marketplace, we're

9   not talking about corn versus some other commodity, we are

10   talking about wastes that are normally seen as an environmental

11   issue.  And there is normally a cost involved.  This is a way

12   for us to take process and efficiency, take these wastes and

13   generate useful products from them.

14             Now, the final slide would be implementation issues.

15   What are the impediments to independent renewable power

16   producers to produce this source of fuel in the state?  The

17   first thing I would say almost is what Allan Guyet said earlier

18   from the Florida Energy Office through their rebate program is

19   awareness, education.  Do people really know that these

20   opportunities exist?  I really don't think they do, and I think

21   that we are flooded by what we see in the media.  We all have

22   heard, in other words, biodiesel, we have all heard the words

23   bioethanol, and, of course, then we have already heard the

24   words moonshine before that.  So the thing to remember is that

25   sometimes it is all in what you call a particular process.  And

FLORIDA PUBLIC SERVICE COMMISSION

66

1   I've learned in my life that perception is more than reality

2   and, therefore, I think that I would urge the Commission to

3   seriously consider biogas as an option.  Take the time to stand

4   and stare.  Do a Google search.  Look what other people in the

5   world are doing, and realize that we will be left behind if we

6   don't make that transition.

7             But, after all the philosophy, what do we have to do

8   to make this happen?  Let me talk about the institutional

9   barriers.  Jay mentioned net metering.  I thought he might say

10   more, but I will say more.  When you produce renewable energy,

11   that material has got to be sold at the moment.  We need net

12   metering laws in the state so that when an independent power

13   producer has surplus energy to sell that they will get a decent

14   price for that.  Currently they will get paid the wholesale

15   rate, not the retail rate.  This has been an issue all over the

16   country in all different states.  New York and Pennsylvania

17   have probably the best net metering laws where the meter runs

18   backward, and one is not penalized for buying or selling.

19             Secondly, there is what they call the rider service

20   or service agreements, and that is if an independent power

21   producer decides to make his own energy and sell it onto the

22   grid, normally he would want to have the utility on standby.

23   That is what we refer to as a standby charge.  Unfortunately,

24   that standby charge can be much higher than the retail price,

25   so the natural fact that some projects are held back by the

FLORIDA PUBLIC SERVICE COMMISSION

67

1   this standby impediment.

2             The third thing is what I think Susan referred to as

3   the interconnect standardization.  The whole idea of the

4   engineering, the installation, and the maintenance of that

5   connection to the grid.  Up until a number of years ago it was

6   almost impossible even to find any utility who would have the

7   form to know how to proceed on this type of a situation.  So, I

8   think that net metering and equitable net metering is necessary

9   to make this happen, because the reality is fossil fuel is

10   limited, we need renewable fuel, we need to encourage people to

11   produce this renewable fuel not penalize it, because we may be

12   the people -- there is only a certain amount of renewable we

13   will ever be able to produce, so we have to be sure we don't

14   squander it, like perhaps we have squandered fossil fuels.  I

15   will close and be happy to answer, or try to answer any

16   questions.  And thank you for the opportunity to speak.

17             CHAIRMAN EDGAR:  Commissioner Carter.

18             COMMISSIONER CARTER:  Thank you, Madam Chairman.  As

19   I'm sitting here thinking about the necessary coordination.

20   Assuming that we were able to overcome the situation with the

21   interconnection agreements as well as the net metering, how

22   soon or is it possible -- well, let me just say, how soon would

23   it be possible to generate this 2,300 megawatts of energy from

24   biomass as you have designed it here?  Biogas.

25             DR. WILKIE:  I would say that we are in the range

FLORIDA PUBLIC SERVICE COMMISSION

68

1   there of five to ten years.  I think that we are -- biogas from

2   energy crops is in the same time frame as bioethanol from

3   cellulosic biomass.  And let me try and explain to you why.  Is

4   that when biomass is grown it has to be broken down from large

5   molecules to small molecules and from there you make ethanol.

6   The impediment at the moment is getting that biomass to the

7   liquid form.  If the biomass can be brought to a liquid form,

8   we can make ethanol or we can make methane, it makes to

9   difference.  But we have the opportunity at the moment to take

10   some, perhaps crop residues, fruits and vegetables mixed with

11   municipal wastewater so the biowaste opportunity is available

12   as soon as we moved, make that change in how we want to handle

13   our waste.

14             COMMISSIONER CARTER:  If I may follow up, Madam

15   Chair.

16             So basically what you are saying is that the total

17   panoply it would be available within a ten-year time frame, but

18   the biowaste could possibly be done within the next -- well,

19   basically immediately?

20             DR. WILKIE:  Well, yes.  I mean, the thing is the

21   waste situation is -- and, again, I would be happy to talk at

22   length with the Commission before.  I mean, this is not pie in

23   the sky.  I am talking facts, not fantasy.  Is that other

24   countries are doing it, and even actually as we speak in

25   Germany, and a little bit in Hungary, there are a number of

FLORIDA PUBLIC SERVICE COMMISSION

69

1   producers, agricultural producers growing crops, maize, so that

2   is an energy crop, right, and they are using that and they are

3   making renewable energy from that at the moment.  So the

4   technology is there from that.

5             The question is for Florida, we would have to define

6   what are the best crops and what conditions.  Certainly we

7   don't want to do what the midwest has done, I don't think.  We

8   do not want to go for a monoculture in Florida.  We want to

9   maintain some diversity, and I think that takes time because we

10   have started so late, so to speak.  But I think there is a lot

11   that has been done in other parts of the world that we can

12   springboard from.

13             But the German government pays, it is like 20 cents a

14   kilowatt, it is like two or three times higher than the normal

15   electricity, fossil fuel electricity kW and, therefore, it has

16   just provided an incentive.  There are people going out there

17   building plants to produce biogas because it is economical.

18             COMMISSIONER CARTER:  Thank you, Madam Chair.

19             CHAIRMAN EDGAR:  Thank you, Doctor Wilkie.  And I

20   hope you will work with our staff as we continue our

21   discussions on all of this.

22             We are going to take a very brief break.  And we joke

23   sometimes about Commission time, but this is a brief break just

24   to stretch.  Let the court reporter and others have a little

25   stretch and we will come back in approximately six minutes, and

FLORIDA PUBLIC SERVICE COMMISSION

70

1   our next speaker will be Mr. Treshler.

2             (Recess.)

3             CHAIRMAN EDGAR:  And our next speaker at this point

4   is Joe Treshler with Covanta Energy.

5             MR. TRESHLER:  I guess we need to wait for our

6   moderator to come back?

7             CHAIRMAN EDGAR:  We have got backup help.

8             DR. WILKIE:  Backup, that's great.

9             Thank you, Commissioners.  I appreciate the

10   opportunity to come and spend a few minutes with you.  I will

11   try to be brief since we are running a little behind schedule,

12   I see, with the first five.

13             I just wanted to state the purpose of being here

14   today is just to put things into perspective a little bit.

15   Based on what you asked about is, you know, what does waste to

16   energy contribute to the state's energy production, what

17   additional capacity can waste to energy provide, and then

18   basically recommendations on what can be done to help generate

19   and develop new Florida-based renewable energy sources,

20   including waste to energy, and not all by itself.

21             Can I have the next slide.  Just to put things in

22   perspective a little bit here, you know, 9 percent of the total

23   energy, electrical energy generated in the United States is

24   renewable, 7 percent of that total is hydro, so we are really

25   not going see that as a growth issue here in Florida.  The

FLORIDA PUBLIC SERVICE COMMISSION

71

1   other two percent of the total includes solar at one percent,

2   wind at 16, geothermal at 16, and biomass.  And I don't think

3   geothermal and wind are where we can focus things.  I think

4   there is a lot of potential for the solar end, but -- can you

5   flip slides here, please -- but when you look at it, when you

6   look at the biomass side, 34 percent of the biomass energy

7   being generated right now is by waste to energy in the United

8   States.

9             And Covanta is a company that is basically a

10   renewable energy company.  We currently generate a base load of

11   7,800 gigawatts from wood, waste to energy, and biogas.

12   Nationally, we have 31 waste to energy facilities that process

13   approximately 7 percent of the nation's waste and generate

14   1,200 megawatts of renewable energy.  In Florida we operate

15   four facilities, three owned by the counties that we operate

16   for, Pasco, Hillsborough, and Lee County.  In Lake County we

17   own the facility and operate it selling power to anywhere from

18   Progress Energy to Seminole Electric to TECO as companies.

19             The next slide, please.  This slide probably should

20   be renamed based on what we talked about.  It should say energy

21   from waste, not waste to energy power.  And it tries to just

22   give you an idea of the role that waste to energy plays in the

23   state today.  And these are basically general numbers, not

24   completely site-specific, but every ton of municipal solid

25   waste is a barrel of oil, or ten MCF of natural gas.  And

FLORIDA PUBLIC SERVICE COMMISSION

72

1   depending on the fuel mix can save up to 630 pounds of CO2 in

2   comparative energy generation.

3             We are the largest and most proven source of

4   renewable energy in the state at present at 506 megawatts

5   through 12 facilities running here in the state and with the

6   capability of handling 6.5 million tons of municipal solid

7   waste at present.  But, you know, when you look at it, the

8   facilities that were generated and built in the state, they are

9   a result of legislative actions in the late '70s where the

10   legislature stepped forward and said we have to do something

11   about the solid waste problem to protect the land, to protect

12   the ground water, to protect the air.  They weren't built to

13   generate electricity.

14             It is a side benefit that we are now seeing the real

15   benefits of in the fact that these facilities were developed,

16   and were developed to handle the waste, highly concentrated

17   waste from the large population centers.  Among fossil fuels,

18   we are the second most cleanest fuel at present.  EPA has

19   certified that.  Natural gas is the only cleaner fuel for

20   producing electricity.

21             Can we go to the next slide.  Are things being done?

22   Yes.  There's more being done at present.  But these facilities

23   that are shown here, and I reported this to the House committee

24   on energy last year, were being done because of solid waste

25   problems, with management problems needing to not grow.  In Lee

FLORIDA PUBLIC SERVICE COMMISSION

73

1   County already exceeding the capacity of their waste to energy

2   facility and having a mandate to minimize the amount of raw

3   municipal waste that was being landfilled between Lee and

4   Hendry Counties.  Hillsborough County is the same way.  Trying

5   to save landfill space or limit it.  I can be glad to tell you

6   the Lee County facility will be coming on-line this summer,

7   adding another 20 megawatts into the grid.  The Hillsborough

8   County facility got its notice to proceed in late December, so

9   we are off and running on those two.

10             Mark Bruner is here, he can report on where Palm

11   Beach is in their planning.  And Pasco County right now is in

12   their evaluation stages.  So easily by 2010 we can be adding

13   another 85 megawatts into the grid while handling less than

14   25 percent of the municipal solid waste that's available here

15   in the state.

16             But there is a lot more that can be done.  Even with

17   a 30 percent recycling rate and 12 waste to energy facilities,

18   there are still over 18 million tons of municipal solid waste

19   that are being landfilled here in the state of Florida.  And I

20   have a handicap.  I'm an engineer, so I always fail on the more

21   conservative side.  So when I wrote this slide, I basically

22   took and I looked at the eight largest generators in the state.

23   Just to give you an idea.  Between those eight counties there

24   is 6 million tons, highly concentrated.  Just like we faced in

25   the '70s when we were looking -- when we only had 7 million

FLORIDA PUBLIC SERVICE COMMISSION

74

1   people in the state.  If only half of this was converted, it's

2   another 186 megawatts.  But if you actually were able to

3   capture the 18 million tons that are there, that could replace

4   three 500 megawatt base loaded coal-fired plants just from the

5   existing landfilled municipal solid waste right now that is

6   going into the ground.

7             Well, you wonder why isn't this happening.  Well,

8   when the legislature put together mandates to do this from the

9   environmental side there were also energy contracts that

10   basically fairly paid the communities for it.  There were

11   financial incentives.  There was a good avoided cost value

12   based against -- the avoided cost unit at the time was a coal

13   unit, and it allowed them to be able to pay for the financing

14   and to run these projects fairly.

15             In about the mid-'90s that changed, and what it came

16   down to was payment for avoidable costs.  And you can look at

17   it nationwide, the further development of waste to energy

18   basically came to a standstill in 1995.  No new facilities were

19   built.  The next facility expansion was Lee County, which broke

20   ground about a year and a half ago, and it was based on an

21   environmental need, not an energy need, okay.

22             Could I go to the next slide, please.  The current

23   situation, what we need to do is encourage renewables.  You

24   have heard it by two previous speakers.  We are still heavily

25   dependent on oil and natural gas.  The future of what we are

FLORIDA PUBLIC SERVICE COMMISSION

75

1   looking at is still about 80 percent of Florida's additional

2   capacity is going to come from either oil or natural gas and

3   coal.  So we have to encourage the renewables.  We need to be

4   able to base the payment that is received for renewable energy,

5   not just waste to energy, but all renewable energy on the most

6   expensive fossil fuel.

7             But it is not just the avoided costs, there has to be

8   an incentive for people to make the investment.  They can't be

9   put in the position, you know, that they are only getting peak

10   power for a short period of time.  Now, I know there have been

11   some improvements in the rules, but there is still a ways to go

12   on what needs to happen to provide further encouragement to

13   make sure that there is fair payment for the energy and people

14   can take these risks both on a community basis or on a private

15   basis, okay.

16             We still believe that one of the most important

17   things is to have a Florida renewable standard offer contract

18   that really addresses avoided unit or avoided costs now.  And I

19   am more are less talking about the idea of an avoided coal unit

20   being available now, not eight years from now or ten years from

21   now, but something now that would simulate the growth in these

22   communities.  The life-cycle to do a waste to energy facility

23   from the decision to make it to having it on-line can be as

24   short as four years, and permitting being one of the biggest

25   pieces of that.  Five years would probably be the outside limit

FLORIDA PUBLIC SERVICE COMMISSION

76

1   if everything fell into place and was a financeable product.

2             So what we really need to do is be able to encourage

3   these things, provide the incentives to develop these capital

4   intensive projects, be able to match those capital outlays with

5   a profile that matches with the renewable energy and allow them

6   to have a greater certainty in the revenue streams.  It can't

7   be, as you said, you know, you pay and get the avoided cost at

8   the moment.  There needs to be a more stable energy cost base.

9   Like I said, we know that there have been some improvements,

10   things have moved forward on the rule a little bit, but we

11   don't think we are quite there yet.

12             We see this as one way to really reduce the reliance

13   on fossil fuels, including natural gas.  A waste to energy

14   facility is a base loaded facility.  It doesn't ramp up and

15   ramp down.  The waste is delivered every day.  The primary

16   responsibility is deal with the waste in an environmentally

17   responsible mode.  It's not that we turn it on when the rate

18   goes up or when the peak comes, and turn it off when there is

19   no peak.  The waste is delivered every day.

20             Could I have the next slide, please.  Still, there is

21   a threshold question out there, and I think it is still there,

22   is do all the operating provisions of the SOCs fairly support

23   what is in FS 366.19.  And we need your help to make sure that

24   happens such that we properly promote the development and

25   utilization of renewable fuels.  And does it also match what

FLORIDA PUBLIC SERVICE COMMISSION

77

1   Florida DEP has in their energy plan.  And we think, yes.  That

2   is what we really need to see happen.

3             Could I have the next slide.  The current SOC still

4   have many issues.  We know that they have now said that they

5   would be treated as if they were a QF, but QF status should not

6   be even an issue anymore for renewables.  This is something

7   that we need.  We still think there are some confusions on what

8   is intended by 366.191 in some people's minds and to make sure

9   that everything is (inaudible).  And there are still onerous

10   conditions, unreasonable availability, and performance

11   requirements are still --

12             CHAIRMAN EDGAR:  Excuse me just a moment.

13             Commissioner Carter.

14             COMMISSIONER CARTER:  Aren't we getting dangerously

15   close to a docket that we have open on this issue?

16             CHAIRMAN EDGAR:  Let me look to our staff.  Do we

17   need to --

18             MS. HOLLEY:  I think the discussion today is

19   appropriate.  We do have the open rulemaking docket.  That rule

20   was recently adopted by the Commission and is moving along on

21   its own separate track.

22             COMMISSIONER CARTER:  (Inaudible.  Microphone off.)

23             MS. HOLLEY:  No, sir.

24             MR. TRESHLER:  My approach was certainly not to

25   (inaudible), and I apologize to the Commissioners if there is

FLORIDA PUBLIC SERVICE COMMISSION

78

1   any misunderstanding there.  It was just to try to respond to

2   the request of the workshop.

3             CHAIRMAN EDGAR:  Absolutely.  Commissioner Carter.

4             COMMISSIONER CARTER:  I just, you know, didn't want

5   that to -- you know, we have heard a lot of these same

6   discussions before, and I would rather us stay focused on the

7   workshop and not on what we --

8             MR. TRESHLER:  Okay.  Well, let's pass to the next

9   slide.  I think the points are there that you can see.  As far

10   key issues, we would like to see the support of a statewide

11   coal avoided cost unit in future developments.  We like the

12   idea of the longer contracts.  It is not available.  Most

13   communities when they look at these facilities, look to them as

14   a 20-year financing at least, and we really do believe to

15   establish renewable generation goals as high as 25 percent are

16   appropriate here to drive this marketplace.  And under a fair

17   pricing to these facilities and to this community this is all

18   possible.  We could easily remove the need to build at least

19   two 500 megawatt coal-fired units in the state over the next

20   five to seven years.

21             So, again, I agree with the idea of a paradigm shift.

22   The old regime we didn't have any development.  It says five

23   years.  We didn't really have anything happen for over ten

24   years, and it certainly wasn't driven by the standard offer

25   (phonetic) contract, it was given by environmental needs.  So

FLORIDA PUBLIC SERVICE COMMISSION

79

1   with that, I would like to thank you all for giving us a moment

2   to speak on this subject, and thank you, Commissioners, for the

3   consideration.

4             CHAIRMAN EDGAR:  Mr. Treshler, thank you so much.

5   Commissioners, any questions?  No.  Thank you.

6             MR. TRESHLER:  Thank you.

7             CHAIRMAN EDGAR:  And our next presenter is Mr. Mark

8   Bruner with the Solid Waste Authority of Palm Beach County.

9             MR. BRUNER:  Good morning, Commissioners.  I have

10   three goals this morning.  The first is to talk about a global

11   issue and a specific issue.  The second is to do it under ten

12   minutes.  And the third is to do it without a PowerPoint

13   presentation.

14             So that is where we are going today, and I guess the

15   general issue that I want to talk about first is sort of my

16   observation on the renewable energy field in Florida on a

17   global basis.  And as I look at the technology, I sort of see

18   three states of being, or three states of the technology.  We

19   have seen that there are resources available in Florida, but

20   the technology is not mature enough to utilize those resources,

21   and that is where we get into situations with tidal energy or

22   wave energy or the Gulf Stream.  The resource is there but the

23   technology is just not available to utilize it.

24             There is a second set of technologies where the

25   technology, in fact, may be mature, but there are resource

FLORIDA PUBLIC SERVICE COMMISSION

80

1   limitations that don't let us fully develop it.  In that

2   situation we may have wind, where the wind is just too

3   intermittent in Florida to allow a full large scale development

4   of wind energy.  One other resource limitation may be in the

5   situation in solar.  As I think Doctor Fenton pointed out,

6   there may be limitations in the amount of money that the person

7   can actually afford to spend to replace their water heater.  So

8   there are technologies there, but there is some resource that

9   is, in fact, limiting the implementation of those technologies.

10             And there is a third set of technologies that are, in

11   fact, mature and the resources are available and we can go

12   forward and start implementing those.  Most of those

13   technologies are the combustion based renewables.  The ones we

14   have talked about earlier today in some ways.  The biomass, the

15   waste to energy, biofuels, and landfill gas, which is the one

16   I'm going to speak about this morning.  So I believe that in

17   the near term the combustion based renewables and biofuels may

18   be the best opportunity for development that we have.  But,

19   again, the noncombustion based renewables that we have heard

20   about also certainly need to play a role in Florida, but

21   probably in the longer term.

22             But, again, one of the questions is what can we

23   implement in five years or less.  What can we perhaps implement

24   in five to ten years?  And that is really the global issue as I

25   see it.  In terms of the specific issues, and the issues

FLORIDA PUBLIC SERVICE COMMISSION

81

1   regarding the implementation and development of renewables from

2   our perspective as a local government service provider, we are,

3   again, involved in the production of renewable energy in

4   three different aspects at this moment.  Today as we speak we

5   are producing three different renewable energy sources.  We

6   operate a waste to energy facility, as Mr. Treshler indicated.

7   We are looking at expanding that or perhaps building a separate

8   facility, a new stand-alone facility, so we operate on that

9   basis.  We produce biomass fuel today.  We deliver it to the

10   biomass generating facility in the western part of Palm Beach

11   County.  So we are producing that fuel today.  And we produce

12   landfill gas at two of our existing landfills.

13             And this morning I'm going to talk about landfill

14   gas, which is perhaps the most underutilized and perhaps the

15   quickest to exploit resource in Florida for the production of

16   renewable energy.  Landfill gas is actively being collected

17   today and managed today at every major landfill in Florida and

18   will be during their active life and periods of closure.  Now,

19   that time period may extend for 30 to 40 years for some of

20   these larger landfills, so that resource is there and available

21   today.  Right now, a substantial amount of it is being flared.

22   And if you drive through certain parts of large counties you

23   will see it.  If you go by in the evening, you will see the big

24   blue and orange flame.

25             Why is that gas being burned and not used to generate

FLORIDA PUBLIC SERVICE COMMISSION

82

1   electricity?  Because at the simplest terms, the amount of

2   money that we can be paid for the power that we would generate

3   doesn't cover the capital and operating cost of the generating

4   equipment.  So the situation would be that if we put in a

5   generating facility the amount of money that we got paid for

6   the electricity wouldn't offset all of our full operating and

7   capital costs.

8             One of our local environmentalists one time came to

9   me and said, "Well, you should do it anyway.  That's a resource

10   and you should utilize it even if you lose money."  My response

11   at that point was that as a local government we may do a lot of

12   things to provide service to the public, but operating an

13   electrical generating facility at a loss is not one of them.

14   That would effectively be subsidizing the electric utility

15   system with local taxpayer dollars and it's not something that

16   we can really recommend to our governing board, the Board of

17   County Commissioners.

18             Given that situation, somebody might say, well, that

19   is fine, if you can't make the numbers work then don't do the

20   projects.  I mean, if the contract prices, if the money you can

21   get paid for the electricity just isn't worth it, then flare

22   the gas or find some other use for it, and you shouldn't be

23   producing power.  But I think that with the action of the

24   Florida Legislature, with everything that's happening in the

25   renewable energy market, I think I can say this with a certain

FLORIDA PUBLIC SERVICE COMMISSION

83

1   degree of confidence that the electricity generated by landfill

2   gas, or by biomass, or waste to energy, the combustion based

3   renewables will reduce Florida's dependence on natural gas.

4   They will offset CO2 and global warming issues.

5             Landfill gas is global warming neutral because it

6   comes from organic material, and at the end of the day it is

7   highly unlikely that there would ever be a fuel adjustment

8   charge because the price of landfill gas went up, or the price

9   of biomass went up, or the price of municipal solid waste went

10   up.  Those are not cost fuels.  There would not be price

11   increases associated with the cost of those fuel management.

12             Specifically, we have been managing landfill gas at

13   three different landfill sites for almost 20 years, so we have

14   had 20 years of experience in collecting and managing this

15   landfill gas.  Our two oldest facilities had landfill gas

16   systems installed when they closed.  There has been a

17   substantial change in the regulations that now require those

18   collection systems to be in place during the operational life

19   of the facility.  Those rules came into place in the early

20   1990s.  Our two earlier facilities, when we closed we put the

21   collection system in.  And we have been flaring that gas ever

22   since then, because basically no economically viable project

23   could be developed for power production or direct utilization

24   using the gas directly to produce heat or some other kind of

25   use.

FLORIDA PUBLIC SERVICE COMMISSION

84

1             And, in case people think that that is because we as

2   local government officials can't necessarily figure out a good

3   deal, we at one point, in fact, signed the gas rights to these

4   two closed facilities over to a private sector developer and

5   said, "If you can make a project work you can have the gas."

6   They came back to us in about eight months and said, "We can't

7   make a deal with it."  And we have been flaring the gas ever

8   since.

9             CHAIRMAN EDGAR:  Commissioner Carter.

10             COMMISSIONER CARTER:  Thank you.  You know, sometimes

11   I have my over 50 moments, so while I'm thinking about this I

12   just wanted to ask it now.

13             In the process of going through that, what were some

14   of the reasons why it was economically feasible for them?

15             MR. BRUNER:  For those two facilities there was a

16   question about the gas production curve, how long the gas would

17   be produced.  And because those two were sort of older

18   facilities where they had already been closed, the gas

19   production curve is probably going to be fairly short.  And I

20   think that was one of the concerns, again, because you have got

21   to amortize the cost of your equipment over the production

22   life.  So in those two specific situations I think that was one

23   of the issues, when you factor that in against the price.

24             Now, with the newer landfill facilities, the bigger

25   landfill facilities, and we saw a list of them that Joe put up

FLORIDA PUBLIC SERVICE COMMISSION

85

1   there, they are putting substantial tons in the ground or on

2   the ground, they're collecting that gas now.  They're going to

3   be operating for 20 or 30 years continuing to collect the gas

4   and the gas will probably come out for another 20 or 30 years

5   past that.  So I think that may be one of the issues that may

6   have gotten better over the past few years.  But, really that

7   has been the biggest issue.

8             One project that came in was going to try and pipe it

9   to a local utility, and just trying to route the pipeline

10   became cost prohibitive.  We had another entity that wanted to

11   in and try and utilize it directly in some kind of a greenhouse

12   operation, and the first thing they wanted was 50 acres of

13   vacant land from us which we didn't have.  So there are all

14   kinds of limitations on some of the direct utilization projects

15   or on some of the power generating projects.  Some of them had

16   to do with the production curve at the time for those projects.

17             And actually the issue is that the landfill that we

18   have today, the landfill that we are operating today, we are

19   producing gas now and we are actively flaring it.  And this

20   facility is actually collocated with our existing waste to

21   energy facility, so it's on the same site.  And we, in fact,

22   approached the utility with a power purchase agreement, and

23   made this offer to them.  We said that we would install the

24   power production facility to produce power from the landfill

25   gas and that power would effectively offset our house power.

FLORIDA PUBLIC SERVICE COMMISSION

86

1   We consume two or three or four megawatts on-site with the

2   waste to energy facility and all of our on-site infrastructure.

3   And tie that into our existing power transmission facilities to

4   the utility, and then we would basically just increase the

5   amount of capacity we were selling to the utilities and that

6   would actually have been within the capacity limitations of our

7   power purchase agreement.

8             At the time the utility was not interested, and we

9   didn't pursue the project.  Our response was that we believed

10   that we could, in fact, do it.  That within the existing

11   capacity limitations of the contract we could potentially do

12   that.  Their response then was that they were concerned that we

13   could not, and they may, in fact, consider us in breach of our

14   contract if we went forward with the project, and there were

15   substantial negative consequences to that and, again, we didn't

16   pursue the project.

17             But I believe that with the number of large landfills

18   in Florida, and we saw again from Joe's table of all of those

19   counties that are not doing waste to energy facilities, you saw

20   the substantial tonnages that are going into landfills right

21   now.  And if they are not going to do waste to energy

22   facilities, they should certainly be capturing the landfill gas

23   and converting that landfill gas to energy.  And the collection

24   infrastructure is already in place on the ground.  That gas is

25   already being collected, routed to a certain point, and it's

FLORIDA PUBLIC SERVICE COMMISSION

87

1   being flared instead of being used to generate electricity.

2             When you talk about timing and the time at which

3   resources and new generating resources can be put in place, I

4   believe that there are somewhere between six and ten projects

5   that could probably be implemented in Florida within the next

6   five to seven years.  I believe that that could be anywhere

7   from 25 to 50 megawatts of power.  The opportunity is, in fact,

8   there.  The question is whether the economic situation with,

9   again, the production curves, with the price of the energy we

10   would get versus the cost of the capital equipment for putting

11   in probably reciprocating engines.  The way you would typically

12   generate this power would be to run a reciprocating engine.  It

13   looks like a big diesel engine.  Either that or in some cases

14   they might use turbines, but, the ability to do that, to get

15   paid a fair price to put in that infrastructure, generate that

16   power, put it onto the grid and be able to offset your capital

17   and operating expenses is the limitation that we see today.  It

18   is an economic limitation, not a technological limitation.

19             And we believe that if we can move forward to look at

20   how we are going to pay for some of this renewable energy, what

21   we are paid for it, and how we can create some economic

22   incentives to develop that renewable energy, I think that that

23   landfill gas energy can be the first spike you see in the

24   production of renewable energy in Florida.

25             Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

88

1             CHAIRMAN EDGAR:  Thank you.  Any further --

2   Commissioner Carter.

3             COMMISSIONER CARTER:  You heard my comments earlier

4   about the lion laying down with the lamb.  In some of our

5   discussions, and we have held extensive discussion as well as

6   our workshops and rules and things of that nature, we have

7   looked at the cost, what the real costs are.  And then in the

8   context of those costs, how those costs are paid, that there is

9   a societal cost.  And the question is how much is that worth?

10             In a practical sense, I was taking notes as you were

11   saying about the capital costs, is that the capital costs -- it

12   is a good idea, but what's it going to cost us to convert it

13   from a good idea to actually producing the energy.  And in that

14   capital cost we need to recapture what it costs us to put the

15   plant up, what it costs us to operate, have the employees

16   there, what it cost us to have the life-cycle of the plant and

17   what have you.  But is there -- and I'm pleased to have you

18   here from local government, by the way, because you guys are on

19   the front line of this.  Is there a perspective on the county

20   commission in terms of looking at the societal cost and

21   factoring that in in how we deal with renewables?

22             MR. BRUNER:  The answer, and I think I kind of

23   alluded to it earlier, I think the answer is yes.  I think that

24   when you look at -- and, again, I think Joe's earlier

25   presentation talked about it from a local government

FLORIDA PUBLIC SERVICE COMMISSION

89

1   perspective.  The decision to do waste to energy is based on

2   societal costs, not necessarily -- you know, energy is a

3   benefit, but you don't build a waste to energy plant to produce

4   energy, you build a waste to energy plant to produce solid

5   waste.

6             And the same kind of paradigm works with landfill

7   gas.  First of all, the reason we are collecting the gas is to

8   lower a societal cost in terms of methane emissions, which are

9   greenhouse gas emissions, odors, other kinds of issues.  So

10   there is a societal solution on the front end to a totally

11   separate problem other than energy production, and there is a

12   cost associated with that, and that we have to absorb as an

13   environmental cost.

14             On the back end, again, we look at those kind of

15   issues.  How much is it going to cost us to put in the

16   generating facility.  What is the benefit of putting in the

17   generating facility, again.  But at the end of the day, we, as

18   an agency, have to operate as an enterprise.  We have to

19   basically make economic decisions that make overall economic

20   sense.  One of the restrictions in our bond covenants is that

21   we have to operate in a business-like manner.  And so when we

22   get to the end of the day, if we are looking at a project and

23   we say, well, it would be nice to do this project, but it's

24   going to cost our ratepayers X number of dollars a year extra,

25   then our county commissioners have to look at that.  And

FLORIDA PUBLIC SERVICE COMMISSION

90

1   sometimes they will weigh that.  Again, recycling at a certain

2   level, particularly in the collection side, costs us money.

3   But there is a societal benefit to recycling, so it is done.

4   That is our core business.

5             When you look at energy production, which is not

6   necessarily our core business, I mean, it is a big part of --

7   it is certainly one of our biggest sidelines.  When you look at

8   energy production, we have to perhaps look at that in a little

9   bit more business-like fashion than recycling, which is one of

10   our mandates.  And it would be hard for us, again, to go

11   forward with a project that is not one of our core businesses

12   potentially having it be a negative drain on our budget, but

13   saying, well, the societal benefits of producing the

14   electricity outweigh the costs of doing it at a loss.

15             So that is probably the perspective and probably too

16   much time on how our Commissioners would probably look at the

17   situation.  It has got to really be a balancing of all kinds of

18   factors, whether it is a mainline business or a secondary

19   business.  And, again, how it fits into our operation as an

20   enterprise where we have to cover what we do by the rates we

21   charge the consumer.

22             CHAIRMAN EDGAR:  And I know everyone in this room

23   understands competing mandates.  Okay.  We are going to move on

24   to our next speaker, which is Steve Davis with Mosaic

25   Fertilizer.

FLORIDA PUBLIC SERVICE COMMISSION

91

1             MR. DAVIS:  Thank you, Commissioners.

2             Common themes here with what Mr. Bruner and

3   Dr. Wilkie also mentioned was concerns about the value of power

4   that we export to the grid.  You are going to hear a little bit

5   more of that.  The good news is that all of my presentation is

6   on a single slide, and hopefully I can be done in less than ten

7   minutes.  But what I basically want to talk about is the

8   obstacles that we are facing right now that may be inhibiting

9   us from developing some additional renewable energy assets in

10   Florida.  And a lot of these obstacles are the same ones that

11   we are currently facing with our existing renewable energy

12   assets.

13             I want to briefly talk about what our process is to

14   produce renewable energy, and then I'm going to mention what

15   these hurdles are that we are trying to overcome.  And then at

16   the end, and you can see a sort of preview of it on the slide

17   there, talk about the some of the areas that we may be able to

18   turn to to try to get some regulatory relief.

19             The process of making phosphate based fertilizer in

20   Florida basically involves reacting sulfur with oxygen to

21   produce sulfuric acid.  Sulfuric acid, that process is at our

22   concentrate facilities, and then we react that with phosphate

23   from our minerals operation that is also located in Florida,

24   and that produces phosphoric acid, and then the phosphoric acid

25   is the primary ingredient in our fertilizer products.

FLORIDA PUBLIC SERVICE COMMISSION

92

1             Well, one of the first steps that we go through is

2   this reacting sulfur with oxygen.  That is an exothermic

3   process that releases a lot of waste heat.  What Mosaic and

4   other fertilizer manufacturers have done is to install waste

5   heat boilers to capture that energy from that exothermic

6   process and to produce steam.  That steam is first routed to

7   meet the industrial process needs that we have for making our

8   fertilizer products.  After that, whatever is remaining from

9   the steam gets routed to turbogenerators to produce

10   electricity.  And it is worthy of noting that this production

11   of energy is recognized as a renewable asset and there are no

12   fossil fuels burned to produce the electricity, and there is

13   also no greenhouse gas emissions associated with its

14   production.

15             Right now in Florida there is about 400 megawatts

16   currently operating of fertilizer-based production capacity.

17   That's renewable energy.  We believe that there is the

18   potential for around 100 to 150 megawatts of additional

19   capacity that could be put into operation to also produce more.

20   And, in fact, Mosaic is currently reviewing the economics of

21   moving forward with the project that could go into the ground

22   as early as next year of around 15 megawatts with an ability to

23   expand that to around 30 megawatts.

24             Now, the next question -- and what I'm doing is sort

25   of painting sort of a unique picture that we face as a large

FLORIDA PUBLIC SERVICE COMMISSION

93

1   industrial customer in Florida.  What really is a net consumer

2   of electricity as opposed to someone who is just in the

3   business to make electricity.  We and other fertilizer

4   manufacturers are net importers and we are interruptible

5   customers typically, which means that we get a discount on the

6   demand charges that we pay for the power that we purchase in

7   exchange for being a customer that is subject to being

8   interrupted should there be a power curtailment where capacity

9   is tight in the state or with our native utility.

10             Well, even with the discount that we get, typically

11   the price that we get paid for our cogeneration production is a

12   lower level price compared to what we are simultaneously paying

13   for power that we are purchasing.  So we have got a delta to

14   deal with.  So, you know, you're faced with two ideas here.

15   You can either export the power to the grid and basically get a

16   lower value for it, or you can try to consume the power

17   internally in order to maximize the value of the energy that

18   you're producing.  And what we have basically done is after we

19   satisfy our internal need for power at the concentrate facility

20   where this manufacturing process is ongoing, we have then, we

21   being Mosaic, have constructed four separate 69,000-volt

22   transmission lines that we own and we pay the capital expense

23   of installing these assets, to connect our concentrate

24   facilities to our minerals operations that are large consumers

25   of electricity.

FLORIDA PUBLIC SERVICE COMMISSION

94

1             Basically, what you have ended up doing at that point

2   in time, you have converted the concentrate facility from

3   looking on the grid like a generation resource that would be

4   exporting power to the grid, net export, so it's hooked now to

5   a minerals complex and the two together are now really normally

6   in a situation where they are a net importer of power.  The

7   power comes through the concentrate facility to feed down to

8   the minerals facility.

9             That introduces a lot of operational complexity to

10   our operations where, you know, in the past if you don't have

11   these -- tie lines is what we refer to them as -- if you don't

12   have the tie lines you basically have a situation where your

13   minerals facility manager is able to operate pretty much

14   autonomously from the activities at the concentrate plant.

15             Well, now once you introduce these tie lines, which

16   we are doing to try to capture the maximum value for our

17   renewable energy production, now they are joined at the hip, so

18   to speak.  So you get into situations where you have to

19   coordinate repair days, down time events.  There is a bunch of

20   maintenance expenses that we are paying for basically owning

21   and maintaining and operating this 69,000-volt transmission

22   line.  It's really right beside of the utility company's

23   transmission line.  It's the classic example of what I consider

24   to be an unnecessary duplication of services.

25             And another situation that we can face, one of these

FLORIDA PUBLIC SERVICE COMMISSION

95

1   other operational issues, is that if there is a situation where

2   there is a capacity constraint, now we have set up an

3   environment where if there is the potential for a curtailment,

4   the concentrate facility that was viewed as a generation

5   resource is now viewed as a drain on the system, which means

6   that that concentrate facility is now subject to being

7   interrupted.  Where if it wasn't hooked to that tie line, it

8   would be a net exporter.  It would be there helping to provide

9   voltage support, frequency support, things like that.  And

10   obviously the utility company would not want to interrupt that

11   because it is a generation source as opposed to something that

12   is pulling power.

13             There's problems from a operational standpoint.  If

14   we do lose power at our concentrate facility, sometimes the

15   materials that we are processing can settle in our process

16   equipment.  And it may not be that we can flush this material

17   out after the power is restored.  And so what we can basically

18   be faced with is a situation where we may have to go for as

19   long as two years up until we get to the next major outage at

20   that concentrate facility in order to shut everything down, put

21   people in those pieces of equipment to clean them out so that

22   we can get back to full efficiency that we had prior to the

23   interruption and full capacity that we had prior to the

24   interruption.  So there is a lot of tradeoffs here.  It is not

25   just a capital investment thing that I'm talking about.  It is

FLORIDA PUBLIC SERVICE COMMISSION

96

1   also an operational obstacle for us to overcome when we have

2   these company-owned transmission lines.

3             And that basically leads me into the bottom series of

4   bullets on the slide, which is well, okay, that's where we are,

5   what do we do about it.  And I don't really have the final

6   answer on that, but I do have some basic ideas for areas that

7   we could look in for possibly getting some regulatory relief.

8   One of those ideas, you see the first sub-bullet there, is the

9   value of the as-available energy.  Like I think I mentioned to

10   you before, what we typically do is we use the left-over steam

11   after we satisfy our process needs to run that into our

12   turbogenerators to produce electricity.  Even though we have a

13   very, very high reliability factor for our turbogenerators, the

14   availability of steam is not there on a steady basis where we

15   know that, for example, we would put out 30 megawatts out of a

16   specific unit.  It might be capable of doing it, but it

17   wouldn't have the steam to necessarily do that all the time.

18             So we have an issue where what we would like to think

19   of is to eliminate that incentive for operating those tie lines

20   and keeping them in service.  One way to do that is if the

21   power that was being exported to the grid was priced out to

22   where it was equivalent to the price of the power that we are

23   buying at the minerals facility, that would level things out

24   and the economic drivers for having that transmission system

25   that is owned by Mosaic to continue to be in operation would

FLORIDA PUBLIC SERVICE COMMISSION

97

1   evaporate at that point in time.

2             You know, what ends up happening in these, like I

3   said, we have already built four of the transmission lines.  We

4   end up building those transmission lines and sinking in

5   millions of dollars and compromising the efficiencies of our

6   operations.  The net impact is the same as if this was allowed

7   from a regulatory standpoint, if you understand what I am

8   saying.  And then the other idea is really right along the same

9   type of theme is to allow some sort of a net metering where you

10   could potentially net out the concentrate facility with the

11   minerals facility and have like a common bill where we would

12   pay the net power imported between those two and eliminate the

13   physical connection between them.

14             And then the third one, which is an idea that I felt

15   compelled to put on there, but there is definitely some issues

16   with it, is self-service wheeling.  And like what I mentioned

17   to you before about the steam being what is left after we meet

18   our industrial process needs, we don't have a nice level

19   production of renewable energy coming out the door netted out.

20   So it's difficult for us to balance it and do a transmission

21   schedule that we know that we can live by without going outside

22   of the parameters for balancing, which would mean that we would

23   have to effectively, like, buy power off the grid or sell it

24   as-available anyway because we are either over-delivering or

25   under-delivering compared to what we scheduled.  And the same

FLORIDA PUBLIC SERVICE COMMISSION

98

1   type of thing for doing like a firm contract, you can't really

2   hit a number that you know you are going to be sitting there

3   at.

4             So there it is.  We think we have the potential to

5   put in some additional capacity as early as maybe next year.

6   We are struggling with the economics on it right now.  Thank

7   you.

8             CHAIRMAN EDGAR:  As are we.

9             Commissioners, any questions for Mr. Davis?  No.

10             You have raised a number of interesting points, and

11   I've got the wheels turning.  So I look forward to hearing more

12   from you and working with your organization, as well.  Thank

13   you.

14             MR. DAVIS:  Thank you.

15             CHAIRMAN EDGAR:  And our next speaker is Mr. David

16   Hill.

17             MR. HILL:  Good afternoon.  Thanks for inviting me.

18   My name is Ted Hill.  Everybody calls me Ted, my friends.  My

19   given name is David, but since I tend to challenge those who in

20   my definition are enthusiastically neutral, a lot of people

21   still call me David.

22             CHAIRMAN EDGAR:  Well, we are going to start with Ted

23   and go from there.

24             MR. HILL:  That will work.  Amongst other things, I

25   run a power plant in Telogia, which is about 50 miles southwest

FLORIDA PUBLIC SERVICE COMMISSION

99

1   of Tallahassee.  This guy is an old timer, 20 years plus old.

2   It has changed hands seven times.  I have managed to work for

3   four of the people that owned it.  Five times it changed hands

4   as a cash positive asset.  The last two, regrettably, as a

5   distressed asset.

6             We burn up to nine or ten fuels in combination at the

7   plant really to basically balance out the amount we pay for

8   fuel.  That has become the single critical issue.  The current

9   mix of materials is 10 percent alternate fuel, and that is

10   materials that we take under a tipping fee arrangement as

11   opposed to the biomass fuel that we purchase.  So our high

12   number, average, on biomass fuel is we pay $12 and our tipping

13   fees range from 5 to $15, so there is an avoided cost there

14   that we benefit from.

15             Case one, basically, is where we burn a huge mix of

16   fuels.  Under that scenario it takes 2.2 tons of fuel to

17   produce one megawatt hour of electricity.  Case 2 is when we go

18   to pure biomass and eliminate the low-end fuels.  We can cut

19   that number from 2.2 down to 1.75.  So the average fuel cost in

20   Case Number 1 are 8.50 per ton, meaning that we pay 18.70 to

21   produce a megawatt.  Case Number 2 goes to 12, and under that

22   scenario we are at 21.

23             Now, the interesting part is that right now our cost

24   of buying fuel and our cost of operating and maintaining the

25   plant are almost 50/50.  So if you look at that scenario, you

FLORIDA PUBLIC SERVICE COMMISSION

100

1   find out how important the fuel number is.  Actually as the

2   fuel cost goes up, our cost of running the plant remains about

3   the same.  So, we are in a very delicate balance.  At this

4   juncture I would say on my bottom point, managing the business

5   of the operation has become more critical than managing the

6   operation of the business.

7             It's an odd scenario.  And just a case in point, the

8   City of Gainesville recently put out a letter of interest

9   solicitation for managing a biomass operation, and the RC&D

10   Council thought they might be interested in becoming the fuel

11   supplier, and so they caucused the fuel suppliers in the area

12   and the numbers that they got back were between $20 a ton

13   delivered and $30.  Four dollars a million Btu.  Renewable

14   energy doesn't work at that number because it means you would

15   have to be 60 to $70 a megawatt hour to develop a plant.

16   That's a tough number.  I don't get that at my plant.

17             As we speak right now, it costs us $41.06 to make a

18   megawatt.  My current PPA that was signed several years back,

19   is at 43.  You see the spark gap is extremely tight.  So the

20   way I make more profit is to systematically reduce the cost of

21   the fuel.  The operations number, that fixed and variable cost,

22   really doesn't fluctuate at all, other than by CPI.  But the

23   very interesting part is in March of this year my number for

24   fuel was at $3.30, because I got lots and lots of tipping fee

25   revenue, and that worked.

FLORIDA PUBLIC SERVICE COMMISSION

101

1             Now, in the last several months we have seen

2   increased activity in the Asian and the South American markets

3   of buying what used to be nonrecyclable fibers.  So the net of

4   that is whereas in March I was at 30 percent of my fuel being

5   from tipping fee, as we speak today, 10 percent.  So it is a

6   very interesting dynamic.  It keeps my hair white.

7             If you would, Kathy.  Pros and cons.  As Joe Treshler

8   said, not much activity in the last decade in Florida on the

9   renewable side.  And like he, I am a waste to energy guy, as

10   well.  So, as I would say it, a lot of pioneers, but very few

11   new settlers.  I mean, our plant has been running 21 years,

12   Jefferson Power about the same number of years.  But, name one

13   in the last ten?  I can't.

14             So, obviously, we need more incentives.  But even the

15   recent tax credits and laws, they do encourage new technology

16   and new projects, but us old-timer guys, they don't sustain us.

17   I only get one tax credit at this juncture, thank goodness, and

18   that keeps us in operation.  Otherwise we would be a loss

19   leader without question.  Yet with all the good things that are

20   said, yes, we are carbon neutral, we are this, that, and the

21   other, we burn 200,000 tons a year of stuff that otherwise

22   would end up in a landfill.  Those are all great.  But as I see

23   the PSC, I think of you guys as a facilitator.  There is not a

24   lot of interagency activity right now that becomes a positive

25   benefit.  There is a lot of push and tug.  That's not so good.

FLORIDA PUBLIC SERVICE COMMISSION

102

1   So, I mean, as I enjoy life in Telogia, very good, we don't get

2   all of the biomass fuel that is available.  I mean, we compete

3   with Smurfitt Stone (phonetic) and Jefferson Power, and others,

4   but, still and all, to this juncture, 75 percent of the biomass

5   product none of us see.  Not just me.  It goes to a landfill.

6   Is that a great idea?  Not really.  The City of Tallahassee,

7   Leon County sends 15,000 tons a year of biomass to the

8   landfill, and at a number that is higher than what I would get

9   it for.

10             Those are the melancholy facts.  You know, most

11   people -- when Katrina and Ivan came through, FEMA never listed

12   our plant as an outlet.  It has been there 20 years.  How could

13   it be so far under the radar would the great question.  As I

14   see it right now, one of the critical concerns now that after

15   20 years we have become an overnight success, if we built all

16   of the plants that the last grant application sponsored, you

17   could see to Jacksonville because there would be no trees left.

18   There is a real issue here about outpacing the fuel shed.

19             At this juncture, Matt McConnell (phonetic) and I are

20   working together on some interesting incentives, but there are

21   70 megawatts of biomass power proposed in Tallahassee alone.

22   So with Jefferson Power, myself, and those two projects, the

23   consumption would be over a million tons of biomass fuel a

24   year.  That market is not sustainable.  That is the truth.  I

25   mean, as we speak right now, when production pulls off at a

FLORIDA PUBLIC SERVICE COMMISSION

103

1   paper mill, the chain reaction to me is I don't see fuel in the

2   amounts I did when they were in full production.  It is the

3   truth.

4             So, you know, what do we do?  First of all, under

5   your guidance, provide bankable power purchase agreements.  I

6   agree with Joe, they have to be at a special level and they

7   have to have considerations placed and they are not of the

8   norm.  If you look at the truth of this matter, the power

9   purchase agreement is the main sponsor of such a facility.

10   Unlike waste to energy where you get paid at both ends, paid to

11   take the fuel, and then paid to supply the electricity, biomass

12   plants generally don't get paid to take fuel.  Service

13   companies do.  Tree businesses.  If we closed a loop and bought

14   a tree company, or bought a chip mill and provided our own fuel

15   product, oh, yes, sure.  But, of course, strapping those things

16   together in the right region is also a challenge.

17             So, at this juncture, we really need you guys to step

18   in and place guidance on -- like the DEP.  As Joe said, it

19   takes years, not months, years, to get through the regulatory

20   maze.  And, if you are not willing to plunk down a million

21   dollars to develop one of these plants and stand the risk of

22   losing it, don't start.  It is not for the faint of heart.  And

23   being a waste-to-energy guy as well, it is not for thin-skinned

24   people.  I mean, one lady said to me, "As I stand here today,

25   watching your plant spew carcinogens over an unsuspecting

FLORIDA PUBLIC SERVICE COMMISSION

104

1   population, I realize my New Year's dream didn't come true."

2   And I said, "Well, likewise, as I am standing here talking to

3   you, my New Year's dream didn't come true, either."

4             It really is very hard to do.  We need more

5   flexibility in the regulatory process.  We certainly need to be

6   viewed as part of the solution, not as part of the problem.

7   Because as we stand now in Florida, not much stuff that is

8   treated wood, and I'm not talking about chromated copper

9   arsenate or pentachlorophenol, but even the benign or the more

10   benign stuff like creosote, it doesn't get disposed of here.

11   It goes to Alabama or it goes to the Carolinas.  A lot of it

12   drives right by me on I-10, so my position is we can't have a

13   mentality that says keep Florida clean, dump your treated wood

14   in Alabama.  That's not a plan.

15             So, Mack and I are working with the forestry service

16   now trying to get some incentives there.  I'm one and a half

17   miles from the northern end of the Apalachicola National

18   Forest, and I will give you a guess as to how much fuel I get

19   from there under the Green Forest Program.  None.  How could

20   that be?  The forestry service says, "Well, we don't have

21   enough people.  We don't have enough money, ergo, we don't have

22   enough interest.  You come and get it."  I said, "Then I would

23   have to buy a logging company.  How do I do that?"

24             One of the things that is true here is that we are a

25   function of the economy, literally.  As I said, if the pulp and

FLORIDA PUBLIC SERVICE COMMISSION

105

1   paper mill is on low production and doesn't need chips, or is

2   not buying chips at the right money, the chip mills don't work

3   and I don't get bark.  We shut down at Christmas and came back

4   on-line the first week in January because we had no fuel.

5             So, yes, am I going to do an energy crop?  Yes, I

6   think I am.  We have a 125-acre campus and that's on the map

7   for us.  I have expanded our menu to go after wood that is

8   problematic for people that make poles and posts.  When they

9   cut the top off and the bottom off, that stuff is useless to

10   them.  They pay $400 an hour for a guy to come in with a tub

11   grinder to grind it up for fuel they sell for $5.  Not really.

12   So I'm going over and saying give that stuff to me.  I bought a

13   new shredding line, I put that in, and we are banging down

14   knots, shaves, butt ends into fuel.  Stuff that I would not

15   have looked at a year ago.

16             But the dynamic of this business is there are

17   challenges.  There is a literal end to the fuel shed.  If I go

18   out past 100 miles and pay too much windshield time and money,

19   because the fuel itself is worth 3 to $5, and when I'm paying

20   18 to get it there, the world has gone upside down for me.  But

21   I am encouraged that the PSC is taking note of this.  You guys

22   have the ability to change this scenario rapidly, and I hope

23   you do so.

24             And I thank you very much for your time.

25             CHAIRMAN EDGAR:  Thank you, Ted.  One question, if

FLORIDA PUBLIC SERVICE COMMISSION

106

1   you would.

2             Commissioner Carter.

3             COMMISSIONER CARTER:  As I was listening to you, it

4   seems to me what you're saying is that incentives as they

5   currently exist work to get a renewable entity into the

6   business, but the incentives don't continue such that you can

7   maintain the operation.  Is that what you're saying?

8             MR. HILL:  Yes.  I mean, the ones now at the fed

9   level are still under a five-year window.  What happens after

10   the five?

11             COMMISSIONER CARTER:  So, basically, they are setting

12   you up to fail is what you're saying.

13             MR. HILL:  There is a little bit of that.

14   Commissioner, honestly speaking, the business of the operation

15   has become more critical than the operation of the business.

16   The moment you let the status quo go to your head, and think I

17   am there, you took the first step on the pathway to failure.

18   That's really what this is.  It has become a business, not an

19   operation.  And it used to be an operation, not a business.

20             COMMISSIONER CARTER:  Well, I just want to say how

21   much we appreciate you coming and giving it to us from the

22   man-on-the-street's perspective.  Because, really, if the

23   incentives only work to get you in the business, but then after

24   the business is up and going there are no incentives there to

25   continue it, because from practically everything that we have

FLORIDA PUBLIC SERVICE COMMISSION

107

1   heard so far today and what we have heard beforehand, the

2   bottom line really is the bottom line, is what does it cost.  I

3   think your colleague from Palm Beach County was talking about

4   that, the professors that were here this morning, the bottom

5   line seems to be the bottom line.  So we are hopeful at the

6   Commission that in this discourse that we can get some ideas,

7   in particular those areas that we have jurisdiction on that we

8   can move those forward; and those that we don't, we can pass

9   them on to our bosses at the legislature and they can take a

10   closer look at this.  So, thank you for coming today.

11             MR. HILL:  Thank you.  And, by the way, we are not

12   very far away.  If you ever wanted to come down and visit, we

13   would welcome the opportunity to show you.  Thanks.

14             CHAIRMAN EDGAR:  Thank you.  And our next presenter

15   is David Dewis with Elliot Energy Systems.

16             MR. DEWIS:  Well, this probably won't be as

17   entertaining as the last one.

18             CHAIRMAN EDGAR:  Well, the last before lunch.

19             MR. DEWIS:  That's right.  It is an envious spot, I

20   guess.

21             My name is Dave Dewis.  I am with Elliot

22   Microturbines in Stuart, Florida.  And I guess the message that

23   I have to bring today is about CHP, or combined heat and power.

24   And I was just sitting next to Ted Bronson.  We are colleagues

25   at actually the U.S. CHPA, and we had a little discussion about

FLORIDA PUBLIC SERVICE COMMISSION

108

1   what does CHP mean.  And I was at a conference at the Florida

2   Manufacturers Association just a few months ago, and there was

3   maybe 50 people in the room, and I asked who knows what CHP is.

4   And there was two people in the audience of 50, and the subject

5   was power.  It was conservation of power and water, and only

6   two people out of 50 knew what CHP was.

7             And Ted was telling me that really that's not too bad

8   considering that some of the people in the energy game don't

9   really understand what CHP is, because they call it

10   cogeneration.  And certainly we have a very tough time getting

11   the message across about CHP.  And I think you have heard

12   through all the speakers this morning, they have all spoken

13   about efficiency, how efficiency is important.  And CHP is one

14   way of getting that efficiency, or cogeneration is one way of

15   getting that efficiency.  But probably more people in this room

16   are more familiar with the terms of clean coal or hydrogen

17   highway and yet they don't know about CHP, or combined heat and

18   power.  And that's one thing that our segment of the industry

19   is struggling with is getting the message across.  So, I am

20   thankful for the opportunity to try and explain it a little

21   bit.

22             And if you have got any suggestions on what we should

23   call ourselves and not use CHP, I'm up for it.  So, if you go

24   back to the first slide.  I wanted to make sure that on the

25   first slide I said what the message was supposed to be got from

FLORIDA PUBLIC SERVICE COMMISSION

109

1   this presentation, because you have so much in terms of

2   information thrown at you in these events.  And certainly I

3   have learned a lot of new things today, and some of the people

4   before me, I would like to sit down and talk a little bit,

5   because obviously we have a lot in common.  But we try and

6   preserve our own little territories, and at the same time don't

7   look for opportunities.  Where if we work together, there are

8   some tremendous opportunities throughout.

9             And if I had a source of gas, free gas, and I can't

10   turn that into, you know, a viable source of energy, then I

11   should probably quit my job because I'm making a device that

12   takes natural gas and produces energy.  And I will tell you, it

13   is not free.  The gas that people use to put in my device is

14   not free.  So I think anybody that has got a free stream of

15   natural gas and cannot turn that into a viable source of

16   energy, when we talk about the demand from outside fuel and the

17   pressures on the economy, there's something missing there.

18             But what I want to get from this presentation is to

19   understand what CHP is.  What is CHP?  Understand how it can

20   help.  Understand that he was talking that things that are

21   available now.  It is available now.  It even was available

22   right at the very beginning.  And the one thing that I want you

23   not to understand is why it's not more widely used.  Why are we

24   not using more CHP.

25             Next slide.  Efficiency is a common theme.  It

FLORIDA PUBLIC SERVICE COMMISSION

110

1   doesn't matter whether it's a renewable energy or whether it is

2   a consumable energy source, whether it be coal or whether it be

3   gas.  If we don't use it to its fullest efficiency, we are

4   letting ourselves down.

5             I found this to be -- this slide here is one that I

6   found absolutely staggering.  I only came across it two years

7   ago, and I'm sure the people in my industry have understood it

8   from the beginning.  But when Thomas Edison first put the grid

9   together, he did it around about something called district

10   heating which actually used the waste heat from the power

11   generation.

12             Any time we have any kind of electrical generation or

13   any kind of process that has inefficiency, the inefficiency of

14   that process is turned into heat, and we typically don't use

15   it.  But when Thomas Edison put his first grid in in the U.S.,

16   he did use that heat, and in 1910 the utilization of the fuel

17   he put in was at 65 percent.  Today the grid, when we go to the

18   sockets in our home, is 33 percent.  So today, 100 years later

19   we are burning twice as much fuel to get the same amount of

20   energy, albeit not in exactly the same format, because it is a

21   combination of electricity and heat.  But I find it staggering

22   that we can be talking about, you know, an energy crisis and we

23   are not making the full use of the energy that we use.

24             And, part of the problem is that, yes, technology has

25   evolved.  The electrical generation efficiency today is much

FLORIDA PUBLIC SERVICE COMMISSION

111

1   better, but who wants a big plant in their backyard?  Nobody

2   wants a big power plant to be sited right next to a power

3   plant.  So we put them way out away from the centers of

4   population and then we have to put transmission lines in, and

5   even then we talk about let's bury the transmission lines

6   because we don't like the poles.  And, you know, that has gone

7   in our community, as well, and I would like to see them buried

8   by the way.

9             So here we are where we see these giant stacks

10   spewing steam where not only are we wasting energy, but we are

11   actually wasting water.  I think, like, 39 percent of the fresh

12   water consumption in the U.S. is for central power plants.  So

13   67 percent of the input energy in a central power plant

14   actually goes away as waste.

15             Another staggering fact when you think about it, but

16   I'm not sure of the details behind this, because it's something

17   I don't need to go into.  But over the last 40 years, the

18   efficiency at the sockets in our house have not changed.  It's

19   about 32 percent.  Now, I know that technologies have changed.

20   In fact, in some of the most efficient plants today pure

21   electrical efficiency can be as high as 60 percent.  So I know

22   that the technologies have advanced, but yet the average

23   efficiency to our homes, as delivered, is 32 percent.

24             So, again, this is a number that I find staggering,

25   that in over 40 years it has not improved.  And, again, part of

FLORIDA PUBLIC SERVICE COMMISSION

112

1   it is the fact that we don't want the power generation in our

2   backyard.  We want it further and further away.  And that is

3   why distributed generation has been a big push with both the

4   EPA and the DOE.  And it centers on CHP, combined heat and

5   power.  And as you can see from the little diagram there,

6   basically, if you use electricity that has been generated from

7   a central power plant and you have a thermal need, whether it

8   be hot water or steam or something else for your process,

9   whether it be in the house or whether it be industrial, then

10   you use 180 equivalent units.  But if you had a process, or a

11   combined heat and power plant that not only produced the

12   electricity, but with the waste heat that was generated in that

13   inefficient process, you capture that and used it for your

14   process, you only need 100 units of energy going in.  So,

15   therefore, we can talk about CHP processes with efficiencies

16   over 80 percent.

17             Now, we talk about fuel cells and the advent of, you

18   know, hybrid technologies, fuel cells with 60 percent

19   electrical efficiency utilization, and these are technologies

20   that are way, way out in the future.  I mean, the hybrid

21   technologies not only demand fuel cell technologies, but they

22   also have to integrate them with the devices, or the gas

23   turbines or the such like, which are very, very complex

24   systems.  And yet CHP, which has been around since the late

25   1800s, and even then when it first introduced was generating at

FLORIDA PUBLIC SERVICE COMMISSION

113

1   35 percent.  You know, this is a technology that is available

2   now.

3             If we look at it on an international perspective, the

4   U.S. has got about 7-1/2 percent of CHP in power generation,

5   and a lot of this is deployed in universities, institutions,

6   hospitals, and large chemical industries.  These are people

7   that understand the benefits of it.  In fact, at UF they have a

8   very large CHP plant.  And most of the hospitals have CHP for

9   the laundry, because what better use of waste heat than to make

10   hot water for all the laundry needs.  But we can see, we have

11   only got about 7-1/2 percent penetration.  And yet we look to

12   the other countries such as Finland, Denmark, and the

13   Netherlands, with as high as 40 percent utilization.  In fact,

14   when I was doing some research, there is a new plant, I think

15   it is in Copenhagen, it is certainly somewhere in that

16   peninsular, a power plant, a central power plant with an

17   efficiency of 90 percent.  It's huge.  It's very close to the

18   central population, obviously, but there is some tremendous

19   advances that can be made in CHP.

20             Recognizing this need for conservation or energy

21   efficiency, I mean, there are some tremendous allies out there

22   that are trying to push for distributed generation and CHP.

23   There's a road map, there's a national road map that is looking

24   to get to 92 gigawatts of electrical generation by CHP by 2010,

25   but at the moment it is stalling.  A lot of the low-hanging

FLORIDA PUBLIC SERVICE COMMISSION

114

1   fruit has been utilized.  And there are so many barriers to

2   small scale CHP that it is just not -- it is just failing in

3   the impetus.  But the DOE and the EPA have put tremendous

4   assets behind trying to stimulate the growth.  And, in fact,

5   the DOE has looked upon its activities which were basically

6   there to stimulate the technology, and guess what, it has been

7   unsuccessful.  They spent millions of dollars trying to

8   stimulate it, and they realized it was the wrong thing.

9             The technology is there today.  It is not the

10   technology, it is the barriers.  The money today is better

11   spent on outreach type programs to educate people about the

12   barriers and where we can -- we talk about laying down with the

13   lions -- where we can get to a win/win.  We have to get to a

14   win/win, and it just seems so stupid to me that we could throw

15   away so much energy when there is such high demand, whether it

16   be from natural gas, coal, or whatever.  You know, we are going

17   to end up going towards a nuclear society because there is

18   going to be such a gap.  It is the only way forward.  And

19   nuclear is fairly clean, but who wants to live with a 200-year

20   legacy of that nuclear.

21             So I think that when we talk about all of the push

22   for clean energy and to stimy the production of some of these

23   other technologies, what we are going to see is the void has to

24   be replaced with nuclear.  Now, in the UK there was a study

25   done by Greenpeace, it was a very good study, looking at

FLORIDA PUBLIC SERVICE COMMISSION

115

1   London, and they determined that just by deploying CHP in

2   London they could actually defer the nuclear deployment.  To me

3   that seems -- I can't see how we as a nation could do that, but

4   certainly CHP plays a part.  And if we can offset one nuclear

5   power plant by pushing CHP, I think it would be good.

6             Next slide, please.  In the National Energy Policy --

7   and this was signed into effect and presented to the president

8   by Dick Cheney -- it talks about CHP achieving efficiencies of

9   80 percent.  Of course, with Dick Cheney, I think that he

10   thought the H in CHP was hydrogen, but --

11             And then, of course, we have got Florida's Energy

12   Plan.  And as I was reading through it we talk about energy

13   efficiency in many, many places.  It is obvious we have to make

14   efficient use of the energy that we have in natural resources.

15   And in there, there are two factors that I pulled out to

16   identify that I thought would really help the cause of CHP and

17   distributed generation.  One was that it identified the

18   barriers, the interconnection barriers that we really need to

19   do something about, and then the other was about how CHP can

20   address the efficiency by making use of that waste heat.

21             And on the interconnection, let me just tell you a

22   little story.  At my plant we produce microturbines.  They are

23   100 kilowatts each, and they produce 172 kilowatts of thermal

24   energy.  And at any time I can be testing eight of these on my

25   facility.  I do have a QF facility, so I have one unit that is

FLORIDA PUBLIC SERVICE COMMISSION

116

1   putting out to the grid, and I get my four cents for doing

2   that, but I have eight.  And I have offered to give them the

3   energy free, right?  I don't need it.  I have to put them on

4   test.  So I have eight units, 800 kilowatts just burning away.

5   And I have to take the energy out of it and stick it into a

6   load bank and just add to the temperature in Florida.

7             I have offered to Florida Power and Light, take it

8   free, I don't need it.  If I can just go onto the grid and let

9   you have it, it would be great with me because I wouldn't have

10   to have these noisy load banks there.  But, even that, having

11   free energy put back, it seems such a problem.  So even when

12   you want to give it to them free, they won't take it because

13   there is just this adverse feeling about combined heat and

14   power.

15             So the thing about -- we are talking about CHP, but

16   one thing I need to tell you, CHP is neutral.  Any technology

17   or any device that produces electricity can produce waste heat.

18   And where that waste heat can be applied, then you have a

19   combined heat and power system.  So the product I'm interested

20   in is microturbines, but equally turbines or even reciprocating

21   engines, or better known as internal combustion engines, all

22   add or play into the CHP game, as do even fuel cells.

23             Now, what differentiates these technologies is the

24   amount or the relationship of the electrical generation to the

25   thermal generation.  With my product it's 100 kilowatts to

FLORIDA PUBLIC SERVICE COMMISSION

117

1   172 kilowatts of thermal, so 100 kilowatts electric,

2   172 thermal.  How that changes depends upon the technology.

3             Now we can see here is a list of some commercial

4   institutional buildings, and you can see the electric to

5   thermal load ratio.  So there the electric to thermal starting

6   at the top in education is 5.67, and the department buildings

7   where we look at the water heating at .8, that is about the

8   ideal ratio for, you know, my type of product.  But in some of

9   these areas you can see some have a fairly heavy load of

10   thermal, others do not.

11             And this one is more on the industrial application,

12   as you can see again.  And I just put this in just for detail.

13   But it does show that a lot of these industries, they do have a

14   thermal load and the thermal load does tie in with their

15   electrical load, so there is some ratios here that we can play

16   with, and dependent upon the ratio of that thermal to electric

17   load, it would really depend on what kind of technology plays

18   to that application.

19             The product I produce is a microturbine.  As I said

20   before, it produces 100 kilowatts of electricity and it gives

21   172 kilowatts of heat.  It is a fairly complex piece of

22   equipment, it has all kinds of certifications, and the

23   resistance to sales in this country is impressive.  That's all

24   I can say.  It is really impressive.  I have no problem selling

25   it in Russia, I have no problem in Italy, I have no problem in

FLORIDA PUBLIC SERVICE COMMISSION

118

1   many places.  But in America, I have a lot of problems.  In

2   fact, I probably couldn't -- it wouldn't even be viable in

3   Florida.  It might be at one of those free gas facilities, but

4   apart from that, not.

5             But where it does pay in America, and where things

6   are changing, we are starting to hear about some of the

7   regulations and some of the states changing, and some of the

8   requirements of the some of the states changing.  New York is

9   where this product can work.  And why it works in New York,

10   they can't get enough electricity into the center of that city.

11   So our product works in that.  It doesn't have anything to do

12   with the renewable play, but there are applications in America

13   that are now starting to come to the forefront.  I think we are

14   going to see other areas where they can come because it does

15   run on natural gas, but it also runs on renewable biogas, as

16   well.  And we even have a couple of units that have been sold

17   to a company that are working on biodiesel applications up in

18   the Philadelphia area.

19             So it is a simple box.  We have got all kinds of

20   certifications.  Safety features you wouldn't believe.  And

21   this is actually one place that we have been successful in

22   America was at a Marine base, and I think probably it was

23   something to do with the DOE push to try and get distributed

24   generation into their facilities.  But there is 15 of these in

25   South Carolina at a Marine base, and the 15 units produce

FLORIDA PUBLIC SERVICE COMMISSION

119

1   1.5 megawatts of electricity, and then, you know, a tremendous

2   amount of thermal load, as well.  On the thermal load, they

3   only use about five at a time to satisfy the demand of the

4   base.  They really wanted the 1.5 to offset some demand

5   charges, which was something like $15 a kilowatt, I think, for

6   the base.

7             The other thing that was interesting about that

8   application was they had propane.  They have interruptible

9   natural gas, so it is a federal facility with an interruptible

10   gas, which I thought was kind of strange.  But they have these

11   propane tanks and we have to switch over to propane once a

12   month so that if the natural gas is shut off, that we can still

13   generate the electricity off the propane.

14             And then there is another facility there.  That one

15   is actually in Japan.  And why I put that one up there was to

16   show that not only can -- when we talk about combined heat and

17   power, there is another phrase, CCHP, where it is combined

18   cool, heat, and power, because we are actually using that heat.

19   You can actually get cooling, as well, which is pretty

20   important in Florida.  Because in the summer who wants the

21   heat, but the cooling is pretty good.

22             In fact, at our facility we use this kind of a set up

23   to lower the temperature in our test cells because we have to

24   run -- on gas turbines we talk about an ISO standard day, which

25   is a 59-degree day.  Well, how many 59-degree days do we get in

FLORIDA PUBLIC SERVICE COMMISSION

120

1   Florida?  At least down in the Stuart area near West Palm

2   Beach.  So I need that cooling to push my air temperature down

3   so I can run my systems at design point.

4             I know we are kind of about 15 minutes late, but I am

5   impressed that we are only 15 minutes late after the start.  I

6   think you are doing a great job.  So, if we look at CHP

7   solution in the national perspective, there is a lot of issues

8   that it addresses.  Some are economic, some are just societal

9   benefits that we have heard a lot about.  But in terms of

10   supply, you know, there's 210 gigawatts of capacity of CHP in

11   the U.S. available.  In fact, somebody mentioned, I think it

12   was Susan mentioned a study that was coming out by Neil Elliot

13   of the ACEEE to identify some of the benefits or some of the

14   renewable portfolios in Florida.  One of those, one number he

15   gave me when I saw him just the other day was that they have

16   identified 11 gigawatts of CHP potential in Florida,

17   11 gigawatts.  However, with today's barriers, only 4.5 percent

18   of that would be applicable today.  So 11 gigawatts are

19   available, but only 45 percent would be available given today's

20   barriers.

21             So, I don't need to go through this list, because I

22   have kind of summarized it on the next slide, and that is if we

23   just look at the simple message what CHP brings, it reduces the

24   fuel consumption, easing the reliance on foreign fuel, and you

25   must be able to see that.  Because by taking that waste heat

FLORIDA PUBLIC SERVICE COMMISSION

121

1   and applying it to a thermal process, it has to do that.  By

2   using less fuel to derive that energy, CO2 emissions are

3   directly proportional to the amount of fuel consumed.  They are

4   a function purely of efficiency.  The only way to lower CO2

5   emissions, unless you want to sequester it and pump it into the

6   ground, which I think is another stellar idea, is to increase

7   the efficiency.  So, again, CHP can now lower those greenhouse

8   gas emissions.  And if we talk about a three-foot rise in the

9   water, you know, my house is going to be -- at least my lots

10   are going to be submerged and I won't be able to build.  So, I

11   don't really want that three-foot water rise.

12             And then the other thing that we talk about with CHP

13   and distributed generation, is the increase grid security.  And

14   certainly there is a lot of people, we hear a lot of instances

15   where hospitals, in particular, that had CHP facilities after

16   Katrina, and certainly one hospital that was pretty famous that

17   it ran for 52 hours independently after everything else was in

18   the blackout.  They actually used that as an emergency staging

19   area.  They ran for 52 hours.  It was a CHP facility after

20   Katrina went through.

21             So, certainly here in Florida, I think distributed

22   generation and certainly CHP has a big part to play.  I think

23   CHP has a big part to play in our industry here because we have

24   a lot of tourists, hotels are big.  CHP is good in hotels

25   because of the water need.  So, I think it certainly has a way

FLORIDA PUBLIC SERVICE COMMISSION

122

1   of stabilizing the situation in times of hurricanes and other

2   turbulent times.

3             But I want to go back to that one last slide, because

4   of the message at the bottom.  Why aren't we building CHP

5   today, right now?  I don't understand.  The technology is

6   there, it's just not happening.  The reason is there is

7   barriers and that is the next slide.

8             So there are barriers to CHP.  In fact, two years ago

9   I was up at a meeting up in Washington, D.C., and we went to

10   the Senate, and we talk in our message, giving our message to

11   some of the senators, and they looked at us and said, "But if

12   it is so good, what the hell do you need my help for?"  And,

13   you know, it is true.  Why do we need your help?  Well, the

14   answer is we need help because if we have a technology today,

15   and it's not just a technology, it's a suite of technologies

16   that can conserve fuel, help the environment and stiffen up the

17   grid, whether it be from, you know, a national disaster or a

18   nonnatural disaster, why aren't we doing more with it today.

19   So this is where we really need your help.

20             We talked about interconnection.  There's also a

21   suite of other things that are required.  And ACEEE and the

22   other people here are probably much better at explaining it

23   than I, but there is a whole suite of tools available to see

24   how we can lie down with the lion and do something useful.

25   Because I think this is something we should all -- we owe

FLORIDA PUBLIC SERVICE COMMISSION

123

1   ourselves.  Whether it be a natural resource that we are

2   consuming that is being depleted, or whether it is renewable,

3   we still owe it to ourselves to make the most efficient use of

4   it.

5             So I just want to end up and say that Florida's

6   Energy Plan, I thought, laid a very good foundation for CHP.

7   There are some very clear messages on energy efficiency, and I

8   look forward to seeing those implemented.  And then the last

9   thing is that CHP has been around from day one.  It was around,

10   it was actually used in the very first electrical utility in

11   the U.S., and it generated at 65 percent fuel utilization in

12   1910.  So I say that CHP offers tomorrow's energy efficiency

13   dream today, now.  So if you want to know what you can do now,

14   CHP.

15             Thank you.

16             CHAIRMAN EDGAR:  Thank you, Mr. Dewis.  And I am one

17   of those people who might not have known what CHP was at the

18   beginning of the morning, but I do now.

19             MR. DEWIS:  I'll check my box.

20             CHAIRMAN EDGAR:  Commissioner Carter.

21             COMMISSIONER CARTER:  Not a question, Madam Chairman,

22   but a comment to you.  Nearly a year ago I asked the question

23   of one or several of the utilities about the percentage of

24   waste loss in the transmission, and they looked at me like I

25   was speaking Greek.  So, I mean, this is a powerful -- to me

FLORIDA PUBLIC SERVICE COMMISSION

124

1   what you said is very, very powerful, because I asked that

2   question, and I now see that 65 percent of it --

3             MR. DEWIS:  Well, actually transmission is about

4   7 percent.  I mean, most of it is going up in waste heat.

5             COMMISSIONER CARTER:  The waste heat is where most of

6   it is going.  So it seems to me that -- and I'm so happy, Madam

7   Chairman, that you decided to hold this.  Because now a lot of

8   the questions that we asked we only get a tertiary answer, so

9   this is really -- I'm being educated today.  And I think, Dave,

10   you are my guy.  We need to talk to you again.

11             MR. DEWIS:  I'm the lamb.  But I must say, you know,

12   I'm actually an engineer.  I know there was another engineer up

13   here before me, and I'm an engineer.  And I always thought if

14   we built the best widget, you know, a widget that would work,

15   hey, it would sell.  And now I'm president of the company and

16   I've got to try to make it sell.  But I don't understand, and

17   that is why I am here today.  That is why I am getting involved

18   with some of these other people, because I didn't know that

19   about the electrical until two years ago.

20             I have been doing this specifically on microturbines

21   for nearly ten years.  But I wasn't looking at the other side.

22   I wasn't looking at the whole picture.  And when you look at

23   the whole picture it is really sad.  You know, I could

24   guarantee that you could probably take that message about the

25   65 percent back in 1910, people probably wouldn't believe you.

FLORIDA PUBLIC SERVICE COMMISSION

125

1   But it's true, and it is sad.  And I only learned that two

2   years ago, and I just thought it was so powerful.  And I

3   couldn't understand how come, I, who are in this industry,

4   didn't understand that before.

5             COMMISSIONER CARTER:  Thank you, Madam Chairman.

6             CHAIRMAN EDGAR:  Thank you.  We are a little bit

7   behind schedule, but I agree that we are doing quite well.  And

8   I am very pleased.

9             We are going to take a lunch break.  I hope you all

10   take advantage of the opportunity to get acquainted, as well,

11   and to get some nourishment.  And we will come back, we will

12   begin at 2:00 o'clock.  Our next presenter will be David

13   Perlman, and we will begin at 2:00 o'clock by the clock on the

14   wall.  Thank you.

15             (Lunch recess.)

16             (Transcript continues with Volume 2.)

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

126

1   STATE OF FLORIDA    )

2                       :              CERTIFICATE OF REPORTER

3   COUNTY OF LEON      )

4

I, JANE FAUROT, RPR, Chief, Hearing Reporter Services

5   Section, FPSC Division of Commission Clerk and Administrative

Services, do hereby certify that the foregoing proceeding was

6   heard at the time and place herein stated.

7             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

8   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

9   proceedings.

10             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

11   or employee of any of the parties' attorney or counsel

connected with the action, nor am I financially interested in

12   the action.

13             DATED THIS 24th day of January, 2007.

14

15             ___________________________________________

JANE FAUROT, RPR

16                   Official FPSC Hearings Reporter

FPSC Division of Commission Clerk and

17                       Administrative Services

(850) 413-6732

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION