1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. 060256-SU

3

In the Matter of:

4

APPLICATION FOR INCREASE IN WASTEWATER

5   RATES IN SEMINOLE COUNTY BY ALAFAYA

UTILITIES, INC.

6   ______________________________________/

7

8

9

10

11

12             ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

13               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

14

15

16

17   PROCEEDINGS:        AGENDA CONFERENCE

ITEM NO. 8

18

BEFORE:             CHAIRMAN LISA POLAK EDGAR

19                       COMMISSIONER MATTHEW M. CARTER, II

COMMISSIONER KATRINA J. TEW

20

DATE:               Tuesday, January 23, 2007

21

PLACE:              Betty Easley Conference Center

22                         Room 148

4075 Esplanade Way

23                       Tallahassee, Florida

24

REPORTED BY:        JANE FAUROT, RPR

25                       Official Commission Reporter

(850)413-6732

FLORIDA PUBLIC SERVICE COMMISSION

2

1   PARTICIPATING:

2             MARTIN FRIEDMAN, ESQUIRE, FRANK SEIDMAN, and JOHN

3   WILLIAMS, representing Alafaya Utilities, Inc.

4              STEPHEN C. REILLY, ESQUIRE, and TRICIA MERCHANT,

5   representing the Citizens of the State of Florida.

6             RALPH JAEGER, ESQUIRE, BART FLETCHER and RICHARD

7   REDEMANN, representing the Florida Public Service Commission

8   Staff.

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1                        P R O C E E D I N G S

2             CHAIRMAN EDGAR:  We will be on Item 8.

3             MR. FLETCHER:  Commissioners, Item 8 is staff's

4   recommendation on a final rate request from Alafaya Utilities,

5   Inc.  Alafaya is a Class A wastewater-only utility in Seminole

6   County.  Again, representatives for OPC and the utility are

7   here to address the Commission, and staff is available to

8   answer any questions you may have.

9             CHAIRMAN EDGAR:  Thank you.  And I would like to

10   proceed in a similar manner on this item.  And so, Mr.

11   Friedman, we will start with you.  I'll ask you to help us

12   point out by number the specific issues that you would like to

13   address.  Mr. Reilly and Ms. Merchant, then to you with the

14   same request, and then we will look to staff for comments, and

15   then we will have discussion.

16             With the addition of, Mr. Friedman, if you want to

17   respond to a comment made by Mr. Reilly, I will allow that, as

18   well.  And so, Mr. Friedman, we are ready when you are ready.

19             MR. FRIEDMAN:  Thank you, Commissioners.

20             My name is Martin Friedman with the law firm of Rose,

21   Sundstrom, and Bentley.  We represent Alafaya Utilities.  With

22   me, also, is Mr. Frank Seidman and Mr. John Williams

23   representing the Utility.

24             The first issue that I want to address, again, Issue

25   14, is the salaries issue, and I won't belabor that with any

FLORIDA PUBLIC SERVICE COMMISSION

4

1   additional argument, but would kind of reiterate what argument

2   I made with regard to the prior staff recommendation.

3             Another comment that I have is on Issue 28, which is

4   the show cause for allegedly not booking the adjustments from

5   the last rate case.  Here's what happened.  And they did drop

6   the ball, I mean, there is no doubt about it.  The ball was

7   dropped, but it wasn't completely dropped.  It was a fumble,

8   but they really didn't lose the fumble.  And here's what

9   happens.  Certain of the staff people, the regulatory

10   accounting staff people make adjustments as required by the PSC

11   order, and then that information goes to other staff people who

12   actually input that into the particular books of that company.

13             In this case, we verified with the staff that

14   prepared the adjustments that the adjustments had been made,

15   and we confirmed back to the Commission in the appropriate time

16   after the last rate case that that had been done.  The problem

17   was -- and this occurred on a couple of these rates cases, not

18   all of them.  Some of them the adjustments got made completely,

19   and on some of them, for some reason, the ball got dropped.

20   This was one that the ball got dropped on and adjustments did

21   not get made.

22             The company has taken appropriate action to make sure

23   that doesn't happen again.  The employee who was in charge of

24   that is no longer working with the company, and the company has

25   been assured that the new person whose responsibility it will

FLORIDA PUBLIC SERVICE COMMISSION

5

1   be to make sure that that occurs understands the importance of

2   making sure that that information that they get from the

3   regulatory staff ends up in the books and records of the

4   company.  And so I would suggest to you that the company has

5   made the appropriate response to the mistake, acted upon it

6   expeditiously, and would just suggest that no further action is

7   necessary for them to get the point.

8             The last issue I want to just mention, and I

9   understand from talking with Mr. Fletcher of the staff that

10   maybe the company had not gotten a lot -- had not gotten to

11   them the information that we have now regarding the pro forma

12   adjustments.  One of them was the digester, and that is Issue

13   4.  There were a number of pro forma additions.  The digester

14   was one, and the staff included some amount for that, but the

15   amount they included was substantially less, maybe about half

16   of what the actual project cost is.

17             And at this point it seemed, when talking to Mr.

18   Fletcher, that maybe there was some miscommunication between

19   the company and him that we might not have gotten him what

20   information that he needed.  That notwithstanding, we believe

21   that the appropriate amount should be the amount that's

22   included in these contracts that we have that I can provide to

23   the staff which shows what those actual expenses of that

24   digester is going to be.  And that is substantial.  I mean

25   these digesters are very expensive.  Luckily in this case, by

FLORIDA PUBLIC SERVICE COMMISSION

6

1   making this digester repair it makes a substantial decrease in

2   certain operating expenses.  So it is a capital improvement

3   that has substantial benefit in reducing operating expenses,

4   too.  Thank you.

5             CHAIRMAN EDGAR:  Thank you.

6             Mr. Reilly.

7             MR. REILLY:  Basically, we would support, you know,

8   the staff's adjustment again, you know, in Issue 14 concerning

9   the salaries and the staff's recommendation on Issue 28 show

10   cause.  We otherwise support pretty much the staff's

11   recommendations on the adjustments they have made to pro forma

12   plant additions.  We do have, however, one exception we would

13   make on Issue 4.  I'm going to address that issue with the

14   Commission as well as Issue 5, which is what is the appropriate

15   used and useful percentage for the wastewater treatment plant.

16             As to Issue 6, I will yield, once again, to Tricia

17   Merchant just to make a few follow-up comments on the working

18   capital issue.

19             Concerning Issue 4, the one that we do take exception

20   to, it relates to the pro forma plant addition, the $180,000

21   for the meter replacement to the approximately 1200 existing

22   reuse customers.  We don't take exception to the recommendation

23   that this be done, it's just that the recommendation provides

24   that this process of replacing the meters will occur all during

25   the year 2007 to be completed by the end of 2007.  And we

FLORIDA PUBLIC SERVICE COMMISSION

7

1   believe that because the metering project is phased in during

2   the entire year, it would be more appropriate to include a

3   13-month average of the $180,000 investment in reuse meters to

4   be added to rate base instead of the full 2007 end of the year

5   investment.

6             It's important to note that this is a capital

7   investment that is being made and finished a full two years

8   outside the test year, and we think that using that 13-month

9   average would be a little more fair to the customers.

10             On the larger issue, Issue 5, the used and useful

11   percentage of the wastewater plant, I would address the

12   Commissioners' attention to the recommendation on Page 67.

13   It's Attachment A, and that's a real easy to follow graphic of

14   the whole issue of wastewater treatment and it really

15   highlights what the differences are.

16             Essentially, there is no real difference of opinion

17   between the utility, staff, or OPC as it relates to the

18   demand-side of the equation.  The average annual daily flow of

19   1,216,000 together with the growth factor produces the

20   numerator of the equation.  The whole question relates to the

21   permitted capacity, what should be considered the capacity in

22   the used and useful equation.  Even though the wastewater plant

23   capacity is stated as 1.535, the reason why it is is that, in

24   fact, there are two 1.2 million-gallon trains of wastewater

25   treatment capacity.  So actually the true capacity of the

FLORIDA PUBLIC SERVICE COMMISSION

8

1   wastewater plant is 2.4 million gallons.

2             The reason why staff and the utility used the

3   1.5 million gallons is that there is a limiting factor.  The

4   disposal, the effluent disposal is limited, the capacity of

5   that is limited to 1.535.  And so, what has happened, of

6   course, the Commission and its staff has used the rule that

7   says compare the permitted capacity of the plant to the --

8   stated on the same basis as the permitted capacity is on the

9   annual average daily flow to produce the percentage.

10             However, what we would point out to the Commission is

11   the rule also provides for two exceptions, and we would ask you

12   to consider those exceptions.  That when determining the amount

13   of used and useful amount the Commission should consider

14   whether the permitted capacity differs from the designed

15   capacity, and that's in the rule.  And, number two, whether

16   there are differences between the actual capacities of the

17   individual components of the wastewater treatment plant and the

18   permitted capacity of the plant.

19             We believe Alafaya presents a clear example of both

20   of the factors that should be considered when determining the

21   used and useful of this plant.  Clearly, Alafaya's actual

22   capacity of 2.4 million gallons is considerably greater than

23   the effluent disposal limitation, and clearly there is a

24   mismatch or difference between the actual capacities of the

25   individual components of the wastewater treatment plant and the

FLORIDA PUBLIC SERVICE COMMISSION

9

1   permitted capacity of the plant.

2             The customers have made an investment in this unused

3   865,000 gallons of capacity, and we believe it should be

4   considered in the used and useful percentage.  We believe this

5   investment should be removed, and this plant should be removed

6   from the used and useful -- with the used and useful

7   adjustment.

8             We understand -- also there were some other reasons

9   why staff has recommended that you can look at only this

10   limited disposal capacity in the permitted.  They say that

11   DEP's redundancy requirements pursuant to DEP Rule 62-610 and

12   the Environmental Protection Agency's reliability Class 1

13   (phonetic) requirements for a utility that disposes of effluent

14   through public access irrigation also requires that you rate it

15   at the lower capacity.

16             In response to this statement we did a little

17   research yesterday.  We spoke to Doctor David York, who is the

18   state water resource coordinator for DEP, and he shared with me

19   and made mention of the specific rules that his division

20   addresses this question.  It is 62-610.4621, Florida

21   Administrative Code, which references another rule,

22   62-610.300(1)(c), which further represents another manual.  And

23   I have them all here, and they are way beyond the scope of this

24   process, but suffice it to say when I described the situation

25   he basically represented to me that certainly that to meet

FLORIDA PUBLIC SERVICE COMMISSION

10

1   Class 1 reliability and redundancy requirements does not

2   require you to use this higher capacity.  The statement by the

3   utility that all of the 2.4 million gallons of capacity is

4   needed to fulfill DEP's redundancy requirements and Class 1

5   reliability requirements is not true.

6             We also, I had our consultant talk to Tricia Williams

7   (phonetic), of DEP's Central District Office in Orlando.  She

8   confirmed that the second 1.2 million-gallon per day treatment

9   facility does not provide redundancy or Class 1 reliability for

10   the first 1.2 million-gallon train.  It's our understanding,

11   essentially, that these two trains have within them and their

12   associated appurtenances sufficient redundancy and reliability

13   built in to meet the DEP standards.

14             We believe that there are no redundancy or

15   reliability Class 1 obstacles for Alafaya to increase the

16   permitted capacity of their wastewater treatment plant as it

17   increases disposal capacity.  So, as time progresses, and

18   capacity disposal capacity is increased, in fact, the permitted

19   capacity according to DEP will be increased correspondingly.

20   And, in fact, that's essentially where we are.  There is a

21   pro forma adjustment right now that the customers are paying

22   for to have a 20-inch reuse main added to add capacity.

23             Also, will soon be constructed an additional

24   1.5 million gallon reuse ground storage facility.  So the

25   utility is well on the way to greatly increasing its wastewater

FLORIDA PUBLIC SERVICE COMMISSION

11

1   disposal capabilities.  As those capabilities are expanded the

2   permitted capacity will increase.

3             So we argue that it is not a legitimate basis to say

4   you must consider all of this -- that you cannot consider this

5   additional capacity in the used and useful calculation.  We

6   believe that the rule should be applied using those two

7   exceptions to give credence to the fact that this excess

8   capacity is still there that the customers have paid for, and

9   we need to get some recognition in the used and useful

10   percentage.

11             I would yield to Ms. Merchant, unless you have a

12   question.

13             CHAIRMAN EDGAR:  No.  Thank you.

14             Ms. Merchant.

15             MS. MERCHANT:  Good morning, again.  I'm going to

16   talk about Issue 6, which is the working capital calculation.

17   I'm just going to add a few more comments from what I had

18   before.  I wanted to respond to one of staff's arguments that

19   we were requesting the Commission waive a rule.  That's not

20   what we are requesting at all.  I recognize that there is a

21   rule, and certainly I agree with the balance sheet approach.

22   The problem in all of these cases that are Class A utilities

23   using the balance sheet approach for Utilities, Inc. is that

24   the balance sheet is not representative.  That's what I'm

25   saying.  I'm saying default to the formula approach.

FLORIDA PUBLIC SERVICE COMMISSION

12

1             And if you look at the specifics for Alafaya, they

2   have about $2.8 million in revenues, test year revenues.  They

3   have $2 million in O&M expenses.  They only have $8,000 on a

4   13-month average basis of accounts payable.  That is a very

5   small amount for a company that has on an annual basis $2

6   million in O&M expenses.  And if you add in the taxes and other

7   income then it is even higher.

8             So the numbers just don't match.  And what I'm saying

9   is that the numbers -- I'm not saying there is any

10   inappropriate accounting, I'm just saying that for a regulatory

11   basis, not all the numbers are flowing through.  You know that

12   rate case expense is paid for by Water Service Corporation.

13   None of the accounts payable associated with rate case expense

14   is not being flowed down through the accounts payable.  I don't

15   believe that at all.

16             Secondly, if you look at the balance sheet approach

17   for the company compared to the formula approach, the test year

18   numbers, there is about $100,000 difference before you even get

19   into staff's adjustment.  If you add in staff's adjustment,

20   that raises the difference to $300,000 between staff's

21   recommended balance sheet approach and the formula approach.

22   Those just happen to be the magnitude of the numbers.

23             If you don't agree with that philosophy, I have

24   another philosophy I want to add in, and it has to do with

25   staff's adjustment for deferred rate case expense.  In the

FLORIDA PUBLIC SERVICE COMMISSION

13

1   past, the Commission has added in rate case expense as a

2   pro forma adjustment and that is standard practice.  The two

3   cases that staff quotes in its recommendation for regulatory

4   practice on adding in rate case expense happen to be projected

5   test years.  This company does not have a projected test year.

6             And what we have done in other cases in the past when

7   there hasn't been a projected test year, and I don't know that

8   it was precisely defined as projected versus historical, but

9   the Commission has instead of allowing the remaining

10   unamortized balance at year one to be added to working capital,

11   they have taken the average unamortized balance of rate case

12   expense over the four-year period.  So, essentially, they have

13   added into rate base 50 percent of the rate case expense, the

14   unamortized rate case expense.

15             So to recognize that in year one they have

16   three-quarters, in year two they have half, in year three they

17   have one quarter, and in year four they have zero left to be

18   unamortized.  So that's how the theory that the Commission has

19   used in the past in small water and wastewater companies has

20   been used to put in the average unamortized balance of working

21   capital into the balance sheet approach.  So that methodology

22   has also been employed.

23             My primary recommendation is to go back to the

24   formula method because it hasn't been -- because I don't

25   believe the numbers are reliable and haven't been flowed down.

FLORIDA PUBLIC SERVICE COMMISSION

14

1   But a secondary recommendation would be that instead of adding

2   in the full amount of unamortized rate case expense, and also

3   the other miscellaneous deferred debits, is that you take the

4   average unamortized balance over the life of the rate case

5   expense.  Thank you.

6             CHAIRMAN EDGAR:  Thank you, Ms. Merchant.

7             Mr. Friedman, do you have any additional comment on

8   any of the points raised by OPC?

9             Do you want to hear from staff first?

10             MR. FRIEDMAN:  Yes, please.

11             CHAIRMAN EDGAR:  Mr. Fletcher.

12             MR. FLETCHER:   Yes, Commissioners.  To address the

13   utility's points on Issue 4 regarding the digester contract, we

14   did see the contract this morning and it is signed.  It was

15   signed in '06, and the amount of it was $1,495,612.  Since

16   there is a signed contract, given that support documentation,

17   we will agree to that amount based on that documentation.

18             Let's see.  The salary issue.  Again, based on the

19   support documentation that was provided for the salaries, we

20   still stand by the historical recommendation for a 4.51 percent

21   increase over the historical salaries.  With regard to Issue

22   28, I will defer to Ralph Jaeger regarding our comment.

23             CHAIRMAN EDGAR:  Okay.  And before you do, I'm sorry,

24   Mr. Fletcher, I was still thinking through Item 4.  So I

25   apologize.  Could you repeat your comment or recommendation

FLORIDA PUBLIC SERVICE COMMISSION

15

1   regarding the salaries issues on Issue 14.

2             MR. FLETCHER:  It would be to recommend that for the

3   digester it would be $1,495,612 for plant.  And, again, we

4   would have to use the retirement factor, using the

5   Handy-Whitman that's in the recommendation in order to

6   calculate the fallout for the retirement, and then also the

7   corresponding accumulated appreciation expenses would change.

8             MR. JAEGER:  Chairman, before we move forward, there

9   was some question about an expense of $300,000.  Was this the

10   digester?  Is there going to be an expense for --

11             MR. FLETCHER:  Right.  But that will not change, that

12   O&M expense.  There isn't a corresponding adjustment for O&M

13   expenses because of the sludge concentrations is going to be a

14   higher concentration.  It's going to reduce the volume in the

15   sludge hauling, but that will not change.  It's still 300,000.

16             CHAIRMAN EDGAR:  Okay.

17             MR. JAEGER:  Do you want me to address the show cause

18   issue?

19             CHAIRMAN EDGAR:  Yes, please.

20             MR. JAEGER:  Yes.  There are two show cause issues.

21   I think Mr. Friedman just addressed the one dealing with the

22   books and records.  And this utility opened a docket, or we in

23   2004 because of the problems with Utilities, Inc. making

24   adjustments from orders in accordance with the NARUC Uniform

25   System of Accounts.  And we entered into a settlement agreement

FLORIDA PUBLIC SERVICE COMMISSION

16

1   whereby they agreed what they would do, and they would make

2   these adjustments, and they would go back and review all orders

3   in 2003 and 2004 and make the necessary adjustments.

4             We now have ten Utilities, Inc. dockets, rate case

5   dockets open, and in seven they seem to be okay.  But in three,

6   as Mr. Friedman said, they did drop the ball.  In Wedgefield

7   and Cypress Lakes we were recommending prior that there be a

8   $3,000 fine for this failure to adjust their books, and we

9   think that fine is appropriate here in Alafaya, and that it is

10   consistent with what we have done in the past.  And recognizing

11   that we have had this problem before and it was addressed and

12   they did drop the ball again, we stand by the $3,000.

13             CHAIRMAN EDGAR:  Mr. Fletcher.

14             MR. FLETCHER:  Yes, Commissioners.  To address OPC's

15   concern on Issue 4 regarding the reuse meters, Staff has

16   indicated in the recommendation, we cite Section 367.0817(3),

17   which states that all prudent costs of a reuse project shall be

18   recovered in rates.  Now, the Commission -- as a result of that

19   statute, we found that 100 percent of the reuse facilities are

20   100 percent, reuse facilities should be considered 100 percent.

21   And, in that light, we think that the full cost of these meters

22   should be reflected in the rates.

23             And another point to that is we are recommending, and

24   if the Commission approves we are ordering the utility to do

25   this.  That is another supported basis that we think the full

FLORIDA PUBLIC SERVICE COMMISSION

17

1   cost should be allowed.  And this is also consist with some

2   prior cases where utilities have had a meter replacement

3   program that was not completed yet, and those costs were also

4   added at the full cost.

5             That case was actually Placid Lakes Utility.  They

6   had initially filed a 2000 rate case, and after that rate case

7   they didn't have all the support for their meter replacement,

8   and they came back in for a limited proceeding.  And in that

9   limited proceeding the full cost was recognized.  And we think

10   it is consistent with that case and also consistent with the

11   reuse statute that all the costs should be fully recovered

12   through rates.

13             And with regard to Issue 6, the working capital,

14   again, as Mr. Revell stated in Mid-County, our auditors were

15   sent out.  We audited the working capital, the accounts that

16   make up the working capital allowance under the balance sheet

17   approach.  And staff believes that it is still representative

18   and it is consistent with Commission practice and the rule.

19   And then, I guess, Issue 5 I will refer to Mr. Revell.

20             Forgive me.  The rate case amortization.  I'm sorry.

21   Ms. Merchant had also mentioned that regarding the 13-month

22   average.  I will say that that is consistent, the unamortized

23   balance that we reflected in Issue 6 for working capital is

24   consistent with the 13-month average balance that the

25   Commission used for prior cases for Class A.  One was the

FLORIDA PUBLIC SERVICE COMMISSION

18

1   Public Utility of Florida case where we used the 13-month

2   average unamortized balance, and also for the Aloha

3   1999 wastewater rate case.  We used the rule that you have to

4   use the 13-month average balance, and it's consistent with

5   those cases, as well.

6             MR. REDEMANN:  Issue 5, used and useful.  Let me

7   explain a little bit.  Yes, the utility has two twin 1.2

8   million gallon per day plants.  The site for that is very

9   limited.  The utility could have built smaller plants, but

10   probably in this rate case then we would be looking at having

11   them build more plants because they would have to replace the

12   smaller plants.  So it was a good idea that they built the two

13   larger plants because the site is very limited.

14             For Class 1 reliability you need to have duplicative

15   facilities, so they would need two identical plants.  With

16   respect to the capacity of the system, just recently on

17   September 19th, 2005, they rerated the system capacity at

18   1.535 million gallons per day.  It's the same capacity that we

19   used in the prior rate case, in Docket 020408.  The capacity

20   actually had gone down slightly, but they put it back at the

21   same capacity.

22             I spent a considerable amount of time talking to

23   Tricia Williams' supervisor, Denise Judy, and asked her why

24   they didn't increase the capacity because the disposal seemed

25   to have increased slightly.  And, basically, over the past 10

FLORIDA PUBLIC SERVICE COMMISSION

19

1   to 20 years the utility has had problems getting rid of their

2   effluent, so until they can show consistent usage with the

3   reuse system they were not going to change the capacity of the

4   system.

5             The only way to dispose of the effluent right now is

6   the one million gallon per day ponds and through the reuse

7   system.  Currently they can filter a million gallons per day,

8   but depending on the flow they may not actually even get a

9   million gallons per day of disposal through the reuse system.

10   It just depends on the flow.

11             The DEP could increase the capacity, and we don't

12   have a problem if they do increase the capacity, but basically

13   right now the 1.535 million gallons per day is what the

14   capacity of the system is.  In order to dispose of more

15   effluent they could build, or send the effluent to another

16   pond, but that cost is not reflected in these rates.  Or they

17   could -- probably another pond would be the only way that we

18   would agree to increase the capacity of the system, because

19   there is simply no other way to dispose of the effluent.

20             CHAIRMAN EDGAR:  Thank you.

21             Any further comments from staff at this time?  No.

22             Mr. Friedman.

23             MR. FRIEDMAN:  I'm going to ask Mr. Seidman to

24   address the used and useful issue, and that is the only issue

25   we will address.

FLORIDA PUBLIC SERVICE COMMISSION

20

1             CHAIRMAN EDGAR:  Okay.

2             MR. SEIDMAN:  I don't have much to offer on this.  I

3   agree with what Mr. Redemann said in their conclusions.  I

4   would like to -- I understand the research that Mr. Reilly did,

5   and I don't know the premise which he proposed to Doctor York,

6   but the component backup requirements of the EPA rule

7   specifically says that the treatment system shall be designed

8   such with the largest flow unit out of service the hydraulic

9   capacity with the remaining units shall be sufficient to handle

10   the peak wastewater flows.

11             These two units that make up the 2.4 million-gallon

12   plant are 1.2 million gallons each.  The peak flows every month

13   of the test year exceeded that amount.  I think the plant is

14   close to adequate, not quite, but I think that has to be taken

15   into consideration.

16             When we are doing used and useful, we are required to

17   base it on the permitted capacity.  But, in addition, in this

18   case, as we pointed out, the plant had to be built not just to

19   meet the average annual daily flows, but to meet the Class 1

20   reliability.

21             And just one comment on this.  I think Mr. Reilly

22   mentioned that we are building a 1.5 million gallon reuse tank.

23   That will have no impact on meeting this Class 1 reliability.

24   That tank holds reuse quality water.  And what we are looking

25   for in the plant is to maintain reuse quality water, to produce

FLORIDA PUBLIC SERVICE COMMISSION

21

1   reuse quality water.  If the plant is down, it does not produce

2   reuse quality water or cannot go in that tank.

3             I would just like to mention one other thing, if I

4   could, with regard to the working capital issue, and that is

5   just a historical perspective.  Utilities, Inc. has been

6   providing service through its utilities in Florida for several

7   decades.  They have been submitting rate cases over that

8   several decades, and they have followed the rules with regard

9   to working capital in all of those cases.  To suddenly now

10   discover that there is some alleged anomaly in the balance

11   sheets that makes the working capital approach invalid, I think

12   is too little too late, and we ought to stick with the rules.

13   And if the rules are going to change, we ought to know about

14   them beforehand, not after the case is filed.  Thank you.

15             CHAIRMAN EDGAR:  Commissioners, questions?

16             Commissioner Tew.

17             COMMISSIONER TEW:  I have one for Mr. Fletcher.  On

18   Issue 4, about the digester contract that you were talking

19   about, and you gave us the new figure.  How does that change

20   what we have before us on Issue 4?  I just want to make sure

21   I'm clear.  I understand that you just received the contract

22   today, right?

23             MR. FLETCHER:  Yes.  He provided the signed contract.

24   We have that, and that would change the amount of plant.  If

25   you look on Page 19, it would change the $466,525 amount.  We

FLORIDA PUBLIC SERVICE COMMISSION

22

1   will replace that with using the contract amount of 1,495,612.

2   And, again, we have to apply a retirement adjustment using the

3   Handy-Whitman Index on that amount.  And so it's basically

4   going to change that figure.  It will increase the plant, and

5   then, of course, the corresponding accumulated depreciation

6   will have to be calculated and then the depreciation expense,

7   and it will all flow through the revenue requirement

8   calculation.

9             COMMISSIONER TEW:  So if we approve your

10   recommendation, as modified here, there will be fallout

11   adjustments similar to what we did earlier?

12             MR. FLETCHER:  Yes, Commissioner.

13             COMMISSIONER TEW:  Okay.

14             COMMISSIONER CARTER:  Madam Chairman.

15             CHAIRMAN EDGAR:  Commissioner Carter.

16             COMMISSIONER CARTER:  After listening to staff and

17   the parties and having reviewed the record, if I'm in order I

18   would move staff recommendation on Issue 8 in toto.

19             CHAIRMAN EDGAR:  Including the adjustment to Issue

20   4 as just recommended by our staff?

21             COMMISSIONER CARTER:  Yes, ma'am.

22             CHAIRMAN EDGAR:  Okay.  Commissioner Carter, you are

23   in order.

24             Commissioner Tew, any further questions or

25   discussion?

FLORIDA PUBLIC SERVICE COMMISSION

23

1             COMMISSIONER TEW:  I can second.

2             CHAIRMAN EDGAR:  Okay.  Then all in favor of the

3   motion say aye.

4             (Unanimous affirmative vote.)

5             CHAIRMAN EDGAR:  Opposed?  Show it adopted.  Thank

6   you.  And we will be on --

7             MR. JAEGER:  Chairman, I'm sorry, I didn't hear what

8   he said.  I wanted to make sure, we are adding the digester and

9   then the fallout adjustments, is that --

10             CHAIRMAN EDGAR:  The fallout adjustments, yes, sir.

11             MR. JAEGER:  Thank you.

12                             * * * * * *

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

24

1

2   STATE OF FLORIDA    )

3                       :              CERTIFICATE OF REPORTER

4   COUNTY OF LEON      )

5

I, JANE FAUROT, RPR, Chief, Hearing Reporter Services

6   Section, FPSC Division of Commission Clerk and Administrative

Services, do hereby certify that the foregoing proceeding was

7   heard at the time and place herein stated.

8             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

9   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

10   proceedings.

11             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

12   or employee of any of the parties' attorney or counsel

connected with the action, nor am I financially interested in

13   the action.

14             DATED THIS 30th day of January, 2007.

15

16             ___________________________________________

JANE FAUROT, RPR

17                   Official FPSC Hearings Reporter

FPSC Division of Commission Clerk and

18                       Administrative Services

(850) 413-6732

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION