587

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. 060658-EI

3

In the Matter of:

4

PETITION ON BEHALF OF CITIZENS OF THE

5   STATE OF FLORIDA TO REQUIRE PROGRESS

ENERGY FLORIDA, INC. TO REFUND CUSTOMERS

6   $143 MILLION.

________________________________________/

7

8

9

10

11             ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

12               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

13

VOLUME 5

14

Pages 587 through 696

15

PROCEEDINGS:        HEARING

16

BEFORE:             CHAIRMAN LISA POLAK EDGAR

17                       COMMISSIONER MATTHEW M. CARTER, II

COMMISSIONER KATRINA J. MCMURRIAN

18

DATE:               Tuesday, April 3, 2007

19

TIME:               Commenced at 2:00 p.m.

20                       Concluded at 5:55 p.m.

21   PLACE:              Betty Easley Conference Center

Room 148

22                       4075 Esplanade Way

Tallahassee, Florida

23

REPORTED BY:        JANE FAUROT, RPR

24                       Official FPSC Reporter

(850) 413-6732

25

APPEARANCES:        (As heretofore noted.)

FLORIDA PUBLIC SERVICE COMMISSION

588

1                              I N D E X

2                              WITNESSES

3   NAME:                                               PAGE NO.

4   ROD HATT

5        Direct Examination by Mr. Burnett                591

Prefiled Direct Testimony Inserted               593

6        Cross Examination by Mr. McGlothlin              654

Cross Examination by Mr. Twomey                  668

7        Cross Examination by Mr. Brew                    682

Questions by the Commissioners                   683

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

589

1                              EXHIBITS

2   NUMBER:                                      ID.    ADMTD.

3   221                                                   590

4   222            Hatt's Notes                  659      695

5   99 - 124                                              694

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

590

1                        P R O C E E D I N G S

2             (Transcript follows in sequence from Volume 4.)

3             CHAIRMAN EDGAR:  We will go back on the record.  And

4   I believe when we left off, we were going to call Witness Hatt.

5             Before we go into that, are there any other matters

6   that we need to address?  The exhibit?

7             MS. HOLLEY:  Oh, yes.  We just wanted to note for the

8   record that we received Exhibit 221, formerly Late-Filed 221,

9   from Progress, which was the resume of Al Pitcher, so that's,

10   obviously, no longer late-field.  And if it wasn't already, we

11   would request that it be entered into the record.

12             CHAIRMAN EDGAR:  Okay.  So the one page that has been

13   passed around that is headed list of officer positions held by

14   Al Pitcher will be Exhibit Number 221, and that will be entered

15   into the record now today.

16             (Exhibit 221 admitted into evidence.)

17             CHAIRMAN EDGAR:  Okay.  Mr. Burnett, your witness.

18             MS. HOLLEY:  Excuse me.

19             CHAIRMAN EDGAR:  Whoops, I'm sorry.

20             MS. HOLLEY:  I believe Mr. Twomey also had an issue.

21             MR. TWOMEY:  Madam Chair, very briefly.  I have

22   spoken to staff and the other parties.  If the Commission would

23   be agreeable if Mr. Stewart could come after lunch sometime

24   tomorrow and be worked in when it is convenient for the other

25   parties and the Commission, we would be appreciative.  I think

FLORIDA PUBLIC SERVICE COMMISSION

591

1   only the company has questions of him, and they will probably

2   tend to be brief given the nature of his testimony, so just --

3             CHAIRMAN EDGAR:  Mr. Burnett, are you fine with that?

4             MR. BURNETT:  Yes, ma'am, no objection.

5             CHAIRMAN EDGAR:  Okay.  So we will plan to take up

6   Witness Stewart tomorrow afternoon.

7             MR. TWOMEY:  At your convenience.

8             CHAIRMAN EDGAR:  Okay.  Thank you, Mr. Twomey.

9             MR. TWOMEY:  Thank you.

10             CHAIRMAN EDGAR:  We will work with you to accommodate

11   that.

12             MR. TWOMEY:  Appreciate it.

13             CHAIRMAN EDGAR:  Okay.  Anything else?

14             Mr. Burnett, your witness.

15             MR. BURNETT:  Thank you.

16                              ROD HATT

17   was called as a witness on behalf of Progress Energy Florida,

18   and having been duly sworn, testified as follows:

19                         DIRECT EXAMINATION

20   BY MR. BURNETT:

21        Q    Mr. Hatt, would you please introduce yourself to the

22   Commission and provide your address.

23        A    Yes.  I am Rod Hatt, and I live and work at 114 South

24   Main Street in Versailles, Kentucky.

25        Q    Have you already been sworn as a witness in this

FLORIDA PUBLIC SERVICE COMMISSION

592

1   matter?

2        A    Yes, I have.

3        Q    And who do you work for and what is your position?

4        A    Coal Combustion, Incorporated.  I am the President

5   and Chief Technical Officer.

6        Q    Have you filed prefiled direct testimony and exhibits

7   in this proceeding?

8        A    Yes, sir.

9        Q    And do you have them with you?

10        A    Yes, sir.

11        Q    And do you have any changes to make to your prefiled

12   testimony and exhibits?

13        A    No.

14        Q    If I asked you the same questions in your prefiled

15   testimony today, would you give me the same answers that are in

16   your prefiled testimony?

17        A    Yes, sir.

18             MR. BURNETT:  Madam Chairman, we request that

19   Mr. Hatt's prefiled testimony be entered into the record as if

20   read here today.

21             CHAIRMAN EDGAR:  The prefiled testimony will be

22   entered into the record as though read.

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

649

1   BY MR. BURNETT:

2        Q    Do you have a summary of your prefiled testimony, Mr.

3   Hatt?

4        A    Yes, I do.

5        Q    Can you please give it now?

6        A    Yes.

7             My name is Rod Hatt, and I am the President and Chief

8   Technical Officer of Coal Combustion, Inc.  As part of my job,

9   I teach and consult with utilities regarding the issues of

10   switching types of fuel, including switching from bituminous to

11   PRB subbituminous coal.  I have experience in most aspects of

12   how coal quality impacts the operation and performance of

13   utility coal-fired steam plants.  I have also served as a

14   combustion engineer, and I have evaluated coals to predict

15   operational effects, and I have used test burns to solve

16   various opacity deposit information and deposit information

17   issues.

18             I'm here to tell you that if PEF wants to make a fuel

19   switch to burn any significant amount of PRB subbituminous coal

20   at Crystal River, it must make some changes to its current site

21   and units.  As designed and constructed, CR4 and 5 are just not

22   ready to safely, efficiently, and effectively handle, blend,

23   and burn the vastly different PRB coal.  Specifically, PRB coal

24   is dustier, it has a higher spontaneous combustion potential,

25   and it causes ash deposit problems like slagging and fouling

FLORIDA PUBLIC SERVICE COMMISSION

650

1   when burned, among other issues that I have detailed in my

2   testimony.

3             Now, I'm not implying that utilities should never

4   burn PRB coal in their units.  What I'm saying is that it is

5   foolish and dangerous to start burning this coal even in a

6   blend on a long-term basis without ensuring that the entire

7   site from the unloading systems all the way through the smoke

8   stacks have been properly upgraded to safely handle this PRB

9   coal.  I have been consulting and advising utilities for years

10   on how to accommodate PRB coal, and years of experience in the

11   industry have proven that fires and serious damage can occur if

12   this coal is not properly handled.

13             To illustrate, here are Pages 3 and 4 of 11 of

14   Exhibit RH-6.  This is a fire that occurred at a coal mine on

15   one of the conveyor belts.  And here is a similar picture of a

16   similar type of disaster that both occurred on Powder River

17   Basin type coals.  And they show the extensive damage done to

18   the conveyor belts.  These conveyor belts are similar to the

19   ones used at utilities, including those at the Crystal River

20   site.

21             Next are Pages 56 and 57 of 83 of my Exhibit RH-9,

22   again, showing fires and resulting damage.  These pictures show

23   a conveyor belt at the Monticello plant in Texas.  This belt

24   was severely damaged by a PRB coal fire that happened in 2003

25   after the plant started blending and burning PRB coal without

FLORIDA PUBLIC SERVICE COMMISSION

651

1   making the necessary safety upgrades like dust collection and

2   fire protection.

3             So you can see that the PRB coal, while it can be

4   safely handled and used, must be handled with proper care and

5   respect for its high volatile characteristics.  For PEF and its

6   Crystal River Units 4 and 5, these concerns must be especially

7   weighted given the proximity of a nuclear unit.

8             After two visits to the Crystal River site, extensive

9   discussions with plant personnel, review of documents and

10   information, and discussions with other persons in the utility

11   industry, I was able to identify and price a number of capital

12   upgrades and increases in maintenance that would be necessary

13   for PEF to safely and efficiently use a 50/50 PRB coal blend at

14   CR4 and CR5.  Such upgrades include, among others, dust

15   suppression, dust collection, devices throughout the site, fire

16   protection devices, a reclaim hopper system for blending, and

17   improved water cannons for boiler performance.  These changes

18   are detailed in my testimony, and I estimate that these changes

19   require a one-time capital expenditure of approximately $61.2

20   million and ongoing operational and maintenance expenses of

21   approximately $2 million per year.

22             While others may disagree how safe a utility should

23   be, I contend that the safety of employees in these base-load

24   generating plants is priceless.  I should also note that while

25   OPC witnesses allege that PEF was designed to blend PRB coal

FLORIDA PUBLIC SERVICE COMMISSION

652

1   on-site, in my opinion blending cannot be done without major

2   changes.  Given the layout of the conveyor belts and the speeds

3   of those belts, the plant would not be able to get enough coal

4   blended and transported into the units.  Additionally, no one

5   disagrees that the silos at CR4 and 5 are only designed with

6   the ability to store about eight hours' worth of coal.  And so

7   no matter how fast various belts can move in the coal yard, the

8   real choke point is with the silos and the pulverizers and

9   their ability to process the needed tons per hour.

10             Because of the major difference between PRB and

11   bituminous coal, switching to PRB coal is a major fuel switch

12   that PEF nor any utility should undertake lightly.  It requires

13   several layers of evaluation, from using a paper test burn on

14   how to get a rough idea on how the new coal will perform in the

15   units, to performing high level engineering analyses, and then

16   on to doing both short and long-term test burns.  PEF, since it

17   has started evaluating the use of PRB coal at CR4 and 5, has

18   followed this analysis, and in my opinion, has acted

19   responsibly and prudently in this evaluation.

20             Another major factor to consider is that if PEF were

21   to burn a 50/50 PRB coal blend suggested by OPC witnesses, PEF

22   would have lost an estimated 124 megawatts of energy production

23   each year from Units 4 and 5, compared to the historical energy

24   and currently produced by these units.

25             My review of the relevant design documents shows that

FLORIDA PUBLIC SERVICE COMMISSION

653

1   the only arguable guarantee made by the unit manufacturer

2   beyond unit efficiency is for a steam ouput which produces

3   665 megawatts, or the nameplate rating of the units.  The unit

4   guarantees were based on a 50/50 subbituminous coal design

5   blend.

6             As I understand from plant personnel and my personal

7   observations of the units in action, because PEF has been using

8   a high quality, high Btu bituminous coal at CR4 and 5, it has

9   been able to operate at overpressure and produce gross 750 to

10   770 megawatts, or net that would be 722 and 732 megawatts of

11   energy.

12             Given my experience with PRB coal, and for all the

13   reasons outlined in my testimony, I can say that PEF would be

14   lucky to get the 665 megawatts of energy output with the 50/50

15   coal blend.  Certainly, there is no way that PEF could obtain

16   the 722 or 732 net megawatts that it has been producing.  This

17   expected derate is a serious consideration for PEF to consider

18   in deciding whether to switch to a 50/50 PRB coal blend.

19   Another PEF witness values those lost megawatts during this

20   time period, but I understand it is quite costly to replace

21   that many megawatts over such a long period of time.

22             Another problem with relying on the original design

23   of these units is we did not know then what we now know about

24   the best ways to deal with PRB coal characteristics.  Learning

25   how to best handle and burn PRB coals has been an ongoing

FLORIDA PUBLIC SERVICE COMMISSION

654

1   process as utilities learn from each other's experiences.

2             CR4 and 5 were designed without the benefit of

3   today's knowledge, and this fact necessarily causes operational

4   and safety concerns.  There are also several components which

5   are part of the design of CR4 and CR5 which were never actually

6   built.  Most notably is an additional pulverizer, feeder, and

7   the silo at each unit.  At the very least, these additional

8   components would be needed to achieve the guaranteed 665 with a

9   50/50 blend and proper pulverized coal sizing.  But, again, PEF

10   would not be capable of achieving the overpressure output of

11   gross 750 and 770 megawatts if it burned the lower Btu 50/50

12   PRB coal blend that is suggested by OPC's witnesses, even with

13   the changes that I suggest in my testimony.

14             Thank you.

15             MR. BURNETT:  We tender Mr. Hatt for

16   cross-examination.

17             CHAIRMAN EDGAR:  Thank you.

18             Mr. McGlothlin.

19                          CROSS EXAMINATION

20   BY MR. McGLOTHLIN:

21        Q    Mr. Hatt, let's begin with your RH-4.

22        A    Yes, sir.

23        Q    This is captioned Number of Fire/Explosion Events,

24   but it is not limited to Powder River Basin or subbituminous

25   coal events, is it?

FLORIDA PUBLIC SERVICE COMMISSION

655

1        A    This chart is for the entire U.S. electric utility

2   industry.  And after discussions with the author of the paper,

3   his feeling, and my feeling also, is that the increase in the

4   fire and explosions over this time frame corresponds pretty

5   closely with the Powder River Basin.  In fact, unfortunately,

6   the author of this paper had a death or a fatality at his plant

7   because of some of his equipment that is associated with prior

8   old type designs before the new one.  And so, one of his

9   reasons for preparing this chart is to show that the utilities'

10   experience with fires and explosions does correlate with the

11   increase use of the Powder River Basin coal.

12        Q    And with respect to the increase, do I read this

13   correctly to say that between 1990 and 1999 fires increased

14   from 10 to 13, is that correct?

15        A    Yes.  It looks like 13 or 14 there.

16        Q    And explosions increased from 5 to 6?

17        A    Yes.  These are explosions that the author was able

18   to find.  Not all of these get reported, and what is not listed

19   here are the injuries, fatalities, also the liabilities

20   incurred with lawsuits afterwards if people get hurt, and also

21   the monetary damages.

22        Q    And --

23        A    So -- go ahead.

24        Q    You indicated -- are you through with your answer?

25        A    I could just indicate that although these numbers

FLORIDA PUBLIC SERVICE COMMISSION

656

1   appear small, when it happens to your plant, the significance

2   can be extremely big, particularly concerning the fact that

3   Units 4 and 5 are large base-loaded units and very important to

4   the electric generation in Florida.

5        Q    Now, you did say that there was a correlation between

6   the increase here and the increased use of Powder River Basin

7   coal, did you not?

8        A    That is my belief, yes.

9        Q    Were you here yesterday?

10        A    Yes.

11        Q    Did you see the bar chart, the exhibit from

12   Mr. Sansom's testimony that was displayed during the opening

13   statement?

14        A    Yes, that is what I'm saying looks so similar to this

15   chart here.

16        Q    Yes.  And would you accept, subject to check, that

17   between 1992 and 1999 that showed an increase of from

18   200 million tons per year to more than 350 million tons per

19   year?

20        A    Yes.  We have definitely increased the amount of PRB

21   coal being utilized.

22        Q    And that is the increase to which this should be

23   correlated, correct?

24        A    That is why this is in the chart, or in my testimony.

25        Q    Mr. Hatt, you do not have an engineering degree, do

FLORIDA PUBLIC SERVICE COMMISSION

657

1   you, sir?

2        A    I have a Bachelor of Science or a BS degree in

3   chemistry.

4        Q    And you have never designed a boiler, have you?

5        A    No, but I have worked as a performance engineer at a

6   boiler trying to operate.  In fact, almost all of my experience

7   is with operating units and trying to overcome some of the

8   design deficiencies that the original designs of the units were

9   incorporated in.

10        Q    And you have never designed a precipitator for the

11   boiler, have you?

12        A    No, I have never designed a piece of equipment for a

13   power plant, but I have tried to get them to work properly.

14   And because of the nature of coal, it's physical and chemical

15   in its nature, it is really the mineralogy of the coal, and the

16   fact that it is a fossilized swamp material, basically, has --

17   or my chemistry background has allowed me to more completely

18   understand the impacts of coal types on power plant performance

19   and cost.

20        Q    Would you agree with me that a cycling unit, and by

21   that I mean one that goes to the high load in the day and low

22   load at night, is better able to handle a slagging coal than a

23   unit that is not cycled?

24        A    Slag, which is the molten material is --

25        Q    If you could answer that question first.

FLORIDA PUBLIC SERVICE COMMISSION

658

1        A    Okay.  Cycling a unit does help remove slag, which is

2   the molten material in a unit.  Fouling deposits, which are

3   more predominant with the Powder River Basin coal, are not

4   removed by cycling units.

5        Q    My question went to slagging, sir.  At Page 8 of your

6   testimony.

7        A    Yes, sir.

8        Q    You refer to the Btu content of the bituminous coal

9   at Lines 6 and 7.  Then you say this has allowed PEF to burn

10   about 50 percent less coal to get the same amount of heating

11   energy when compared to a straight PRB coal.  By straight PRB

12   coal, do you mean 100 percent PRB?

13        A    Yes.  That's referring to the tonnage level handled

14   when I say 50 percent less coal.  So, yes, that is compared to

15   a straight PRB coal.  With a 50/50 blend, it would work out to

16   be about 25 percent less coal.

17        Q    And you understand that is the proposal or the

18   position of our office with respect to the fuel that we contend

19   should have been burned over time, that is a 50/50 blend and

20   not the 100 percent PRB?

21        A    Through the entire time frame this unit was operated,

22   is that -- why don't you ask that question again, maybe I will

23   better understand it.

24        Q    I asked if you are aware that our position, our

25   office's position in this case is that between 1996 forward the

FLORIDA PUBLIC SERVICE COMMISSION

659

1   utility should have been burning a blend consisting of

2   50 percent PRB coal and 50 percent bituminous coal?

3        A    My understanding is that is your position.

4        Q    If you will turn to RH-8, Mr. Hatt.

5        A    Yes, sir.

6        Q    This exhibit lists those additional facilities and

7   additional O&M expenses that you contend would be necessary to

8   burn the 50/50 blend, is that correct?

9        A    Yes.

10             MR. McGLOTHLIN:  I'm going to ask Mr. Poucher to

11   distribute a document.

12             CHAIRMAN EDGAR:  Mr. McGlothlin, do we need to mark

13   and label?

14             MR. McGLOTHLIN:  Yes, please.

15             CHAIRMAN EDGAR:  Okay.  I'm on 222.  Title?

16             MR. McGLOTHLIN:  Hatt's Notes is sufficient, I think.

17             (Exhibit 222 marked for identification.)

18   BY MR. McGLOTHLIN:

19        Q    Do you have Exhibit 222 in front of you, Mr. Hatt?

20        A    Yes, sir.

21        Q    Would you agree that this constitutes the work papers

22   underlying your analysis of the items and expenses listed on

23   RH -- Hatt, that were provided to us during discovery?

24        A    Yes, these are the notes that I took during sometimes

25   lengthy conversations with individuals that are either familiar

FLORIDA PUBLIC SERVICE COMMISSION

660

1   with the CR4 and 5, familiar with these types of systems that

2   I'm suggesting, and/or familiar with the costs associated with

3   those in addition to people operating units CR4 and 5 today.

4        Q    Now, one of the -- let me back up.

5             MR. McGLOTHLIN:  I apologize, may I have a couple of

6   minutes in place?

7             (Pause.)

8             MR. McGLOTHLIN:  I'm going to pass that question

9   until I can find the note that relates to it.

10   BY MR. McGLOTHLIN:

11        Q    Mr. Hatt, do I understand correctly that in opining

12   that when burning the 50/50 blend, Crystal River Units 4 and

13   5 would not be capable of operating at overpressure

14   sufficiently to generate the same 750 megawatts it has

15   generated over time you rely in part on the fact that during

16   the 2004 test burn the units realized what was called a Btu

17   runback?

18        A    Primarily, my opinion on whether the units can reach

19   the overpressure load on a 50/50 blend is from the way the unit

20   operates today.  The test burn '04 showed some indication of

21   that, but the particular situations, you know, of that

22   particular runback or something like that, certainly seemed to

23   have derated the units.  Some things can be fixed over time,

24   but I'm here to tell you that the equipment that I saw

25   operating at the power plant in the condition that it is in

FLORIDA PUBLIC SERVICE COMMISSION

661

1   right now would not allow that unit to operate anywhere near

2   the full load condition, even the 665, yet alone this

3   overpressure load on a 50/50 blend of PRB coal.

4        Q    Do you know whether during the 2004 test burn the

5   unit achieved a maximum continuous rating?

6        A    I'm going to say that it got close to that, but that

7   percentage was how much, like 15 percent PRB coal, so it is not

8   anywhere near a 50/50 blend.

9        Q    And do you know whether the decrease in megawatt

10   output -- do you know what analysts attributed that decrease in

11   megawatt output to during their evaluation of the test burn?

12        A    The question is the decrease of the output during the

13   test burn was caused by some sort of feeder or control runback

14   is my understanding.

15        Q    Yes.  And do you know more precisely what the problem

16   was?

17        A    I'm going to suggest that it is in the nature of the

18   feeders which feed the coal to the pulverizers, and the control

19   system that controls those, and some logic associated with

20   that.

21        Q    Would it be fair to say that the settings were fixed

22   in such a way that the feeders were not able to adjust the

23   quantities of coal to match the needs of the unit at MCR?

24        A    At that particular time that appears to be the case,

25   but I'm here to tell you that no way at the 50/50 level can we

FLORIDA PUBLIC SERVICE COMMISSION

662

1   get that.  So maybe at 15 percent with adjustments of the power

2   plant on a very short-term they were able to achieve that.

3        Q    All right.

4        A    But long-term and/or with the 50/50 blend, I do not

5   believe they will get those megawatts.

6        Q    And what else do you base your opinion on?

7        A    Observations of the units and extensive discussions

8   with Mr. Wayne Toms, who operates the units presently.

9        Q    What did you observe about the unit that leads you to

10   conclude that it is not capable of the output?

11        A    I noticed that they were operating at near maximum

12   pulverizer capacity with six pulverizers operating on the

13   12,000 to 12,500 Btu coals that were presently being burned at

14   the times I was there, and so there did not appear to be much

15   room for either Btu degradation on these pulverizers.

16        Q    What indicated to you that they were near maximum

17   pulverizer capacity?

18        A    The speeds of the feeders and the amps and the air

19   flows and the temperatures associated with those pulverizers

20   with the bituminous type coals.  When we go to subbituminous

21   coals -- and, remember, I'm suggesting that they should not

22   bring any more Powder River Basin coal onto the site until they

23   make these coal handling and safety changes.  I think what you

24   will find is that the pulverizers need to be lower in

25   temperature, which decreases their drying capacity, and that

FLORIDA PUBLIC SERVICE COMMISSION

663

1   and in conjunction with the lower Btu is going to limit the

2   amount of coal that can go into these power plants.  In

3   addition, the bituminous coal, the low sulfur bituminous coal

4   is extremely low slagging and low fouling.  And I'm going to

5   suggest that my experience in working over 25 years of dealing

6   with slagging and fouling problems with units, is when you

7   start putting in the mineralogy associated with Powder River

8   Basin coals, you are going to get additional problems there.

9   And there is even more problems that we can discuss further on

10   into this that could restrict load like opacity and operations

11   of the electrostatic precipitator.

12        Q    Yes.  And with respect to the precipitator, isn't it

13   true that you believe that more should be known about the

14   actual operation of the unit before you can conclude that the

15   upgrades to the precipitator would be required?

16        A    I have worked extensively with precipitators across

17   the nation burning this type of coal, and over and over and

18   over again we have had to put in additional sulfuric acid or

19   SO3 to get these precipitators to operate properly, no matter

20   what size they are.  In addition, there was a little note or a

21   little paragraph in the test burn report indicating that the

22   opacity seemed to be trending up towards the end of the test.

23   So if your question is, is do I feel that they need to put some

24   coal in there to test it, I'm going to say that that will be

25   the final answer, the actual answer to this.  But you are going

FLORIDA PUBLIC SERVICE COMMISSION

664

1   to have to spend quite a bit of upfront money to be able to

2   bring that coal onto site in terms of the safety and the

3   handling characteristics of it.

4        Q    You spoke of an uptrend in the opacity, are you

5   speaking now of the 2004 test burn?

6        A    It would be -- I think the 2004 when the percentage

7   increased from the 15 up to the 22 percent level, they did have

8   a little subnote there that they seemed to see that the opacity

9   was increasing.  And my experience with people test burning

10   Powder River Basin coals is that this is true and necessary.  I

11   also don't believe that there is not too many people that are

12   going to disagree with me on that.

13        Q    If you know, to what did the analyst's post-test burn

14   attribute the increase in opacity at the time?

15        A    I don't know that he specified anything, or I am

16   unaware of what he exactly specified.

17        Q    Okay.  Before you prepared your testimony, sir, did

18   you review the design criteria applicable to the pulverizers

19   for this unit?

20        A    I have reviewed a lot of documents before this, and

21   that included the original design documents for Unit 4, I

22   believe it was.

23        Q    Would you agree that based upon the design capacity

24   of the pulverizers, that the units are designed to be able to

25   achieve the 5 percent overpressure condition with even one of

FLORIDA PUBLIC SERVICE COMMISSION

665

1   the six pulverizers out of Commission?

2        A    Absolutely not.

3        Q    You don't agree that the design --

4        A    No, that design document clearly shows that you have

5   to make performance changes on those pulverizers that would

6   completely destroy the combustion process, cause all sorts of

7   problems in the combustion process, which leads to additional

8   slag.  And so the design numbers associated on that paper

9   referred to the pulverized coal outlet sizing, and they make

10   the size much bigger than I or anyone in the combustion

11   industry would ever recommend.  And so it was kind of like a

12   sliding something underneath to let people believe that they

13   could do this.

14             But if we want to review those documents, I will be

15   able to point out exactly what I am talking about and describe

16   some of the concerns associated with the slag, the increased

17   carbon, and the deterioration of the electrostatic

18   precipitators that would occur if you made those changes.  So

19   I'm going to disagree that those units were ever designed to

20   efficiently and properly operate anywhere near six or five

21   mills at that overpressure condition on the 50/50 blend.

22        Q    What is the capacity of each pulverizer, if you know?

23        A    It would vary on many things, including outlet

24   temperature of the pulverizer, the properties, the tonnage.  I

25   guess your question is what is the tonnage limit of the

FLORIDA PUBLIC SERVICE COMMISSION

666

1   pulverizers?

2        Q    Yes.

3        A    It's going to vary on the operation conditions of

4   those pulverizers, including the outlet particle sizing.  And

5   I'm also going to suggest that my experience in working with

6   pulverizers is these design numbers are convenient to start

7   with, but they do not necessarily represent actual operating

8   experience, and that is most of what my background exists in.

9        Q    Mr. Hatt, looking again at RH-8?

10        A    Okay.

11        Q    You have an item called reclaimed hopper system, and

12   it is shown to be a range of 15 to $20 million in your

13   estimate.  Is the reclaimed hopper system the term that

14   describes your proposed blending mechanism?

15        A    Yes.  This does several things for a utility to

16   replace the existing stacker reclaimer type devices that are

17   there now.  It significantly reduces the dust.  In other words,

18   if you understand the stacker reclaimer, it is a big wheel that

19   is going to dig off of a pile.  And when that digging occurs,

20   it creates dust.  With Powder River Basin coal you don't want

21   that.

22             With the hopper reclaim system you are feeding out

23   from the bottom, and you can better control the blending with

24   this, and do it more safely, particularly in concerns of dust

25   in that.  And I received that number from somebody that

FLORIDA PUBLIC SERVICE COMMISSION

667

1   actually was very familiar with the CR4 and 5, and this is the

2   type of equipment that he was recommending based on his

3   experience with Powder River Basin coal as a coal handling

4   designing engineer.

5        Q    My question really goes to this.  In your testimony

6   you say that the blending changes that you recommend would cost

7   $38.1 million.  I'm trying to square that with the 15 to

8   20 shown here.

9        A    Okay.  Well, I'm going to suggest, or I'm going to

10   tell you that that 38 million -- and maybe we should turn to

11   what you are specifically referring to here.  In my testimony,

12   I believe, is what you are saying.

13        Q    Yes.

14        A    I can help you.  It's Page 29.

15        Q    Yes.  The reference to the $38.7 million, how does it

16   square with what is on your RH-8?

17        A    Okay.  Well, I'm suggesting that the dust

18   suppression, dust collection, fire protection and detection

19   devices are all part of this system.

20        Q    All right.

21        A    So you include the cost of those with the 15 to

22   $20 million, and that is where that number comes from, along

23   with some operation and maintenance costs of about one and a

24   half million dollars per year.

25             MR. McGLOTHLIN:  Those are all my questions.

FLORIDA PUBLIC SERVICE COMMISSION

668

1             CHAIRMAN EDGAR:  Mr. McWhirter.

2             MR. McWHIRTER:  I have no questions.

3             CHAIRMAN EDGAR:  Mr. Twomey.

4             MR. TWOMEY:  Yes, ma'am.

5                          CROSS EXAMINATION

6   BY MR. TWOMEY:

7        Q    Good afternoon, Mr. Hatt.

8        A    Hello.

9        Q    Mr. Hatt, on Page 8 of your prefiled testimony,

10   Line 17, you say, in fact, PRB coal is classified as explosive

11   by the U.S. Bureau of Mines, is that correct?

12        A    I make that statement to help support the dangerous

13   characteristics associated with the subbituminous Powder River

14   Basin type coal.

15        Q    Okay.  It is not classified -- just to be clear, it's

16   not classified as an explosive, is it?

17        A    No.  I would say it has explosive properties if not

18   treated properly.

19        Q    Right.  In fact, when we refer to your page -- your

20   Exhibit RH-2, which you say -- is that a classification by the

21   U.S. Bureau of Mines that appears on RH-2?

22        A    No.  This is a material safety data sheet for people

23   at the power plant that want to try to understand the

24   characteristics of any chemical or material that is at the

25   power plant.  These sheets are made available to people there

FLORIDA PUBLIC SERVICE COMMISSION

669

1   so they can understand the hazards and risks.  So whether it is

2   sulfuric acid or coal, that is what this sheet here is for.

3        Q    Okay.  Would you turn to that page, please?

4        A    Yes.

5        Q    Page 1 of 2.

6        A    Yes.

7        Q    So the product we're referring to here is coal

8   subbituminous, correct?

9        A    Yes, sir.

10        Q    Chemical name.  And what are the synonyms or

11   cross-references listed, anthracite, bituminous, subbituminous,

12   lignite, peat, those are the --

13        A    Those are different types of solid fuels or coals

14   maybe.

15        Q    Now, in Section 2, which is where I assume you took

16   the phrase or the word explosive, is that correct?

17        A    This is one of the things, but I take the explosive

18   nature of PRB coal from discussions and experiences with the

19   electric utilities and coal mining people.  Okay, we have blown

20   up things in the industry because we haven't been careful.

21        Q    Pardon me?

22        A    We have blown up things in the industry because we

23   haven't carefully treated the nature of this coal.  So this is

24   one of the things that would lead me to believe that it is

25   explosive, but it does list it as the nature of the hazard here

FLORIDA PUBLIC SERVICE COMMISSION

670

1   on this sheet as explosive.

2        Q    Right.  And what they are talking about, if I

3   understand this, is that there are hazardous ingredients

4   contained in this coal that include cold dust, methane, and

5   CO2, correct?

6        A    The explosive materials are cold dust, methane and

7   CO.  CO2 is there again as a potential thing that --

8        Q    Hazardous?

9        A    -- is a hazardous ingredient in there, but CO2 in

10   itself is not an explosive.

11        Q    It would be an asphyxiant, right?

12        A    Yes.

13        Q    So this document that you put in as your exhibit to

14   your testimony --

15        A    Yes.

16        Q    -- lists the hazardous ingredients and then describes

17   the nature of hazards, which includes irritant, explosive and

18   asphyxiant, right?

19        A    Yes.

20        Q    Now, I want to ask you, if you know, because as I

21   understand your testimony, you know about bituminous coals as

22   well as subbituminous, is that correct?

23        A    Yes.

24        Q    There presumably is an identification of product

25   sheet for bituminous coal that describes its hazardous natures,

FLORIDA PUBLIC SERVICE COMMISSION

671

1   as well, right?

2        A    Yes.

3        Q    Okay.  Would it include, if you know, for hazardous

4   ingredients would bituminous coal list the material as coal

5   dust?

6        A    Yes.

7        Q    And methane?

8        A    Actually, I'm going to suggest that it would,

9   although I don't have one of these in front of me, so I can

10   only infer.  But, yes, all coals have coal dust, methane, and

11   CO as potential hazardous ingredients.  The point of this

12   particular document in here, more than anything, is some

13   modifications made to it by a group that I was on the board of

14   the directors with, the Powder River Basin Users Group.  And

15   the important part on this particular sheet, I would say, is

16   where it says that, try not to use water to put out the fire

17   because it makes it worse, because the coal dust is also an

18   explosive material.

19        Q    Yes, sir.

20        A    Although --

21        Q    I'm sorry.

22             Sir, are you saying that that was your addition to

23   this document?

24        A    No, I'm saying that this document, this particular

25   document here, I pulled off the Powder River Basin Coal Users

FLORIDA PUBLIC SERVICE COMMISSION

672

1   Group, and I remember when we were deciding on what to put in

2   or how to modify this document from a bituminous type coal

3   document that we wanted to include the fact that if you have

4   smoldering coal, that putting water on it makes it worse than

5   spreading it out and letting it burn.

6             So there are some other parts of this document that

7   were specifically listed, or the changes that the Powder River

8   Basin user group, as a group, made to this particular document

9   so that utilities could recognize that if you have some

10   smoldering coal not to go put water on it to try to extinguish

11   it.

12        Q    Yes, sir.  That sounds like good advice.  But,

13   first -- again, I want to be clear.  This document that is your

14   RH-2 is industry, Bureau of Mines information and cautions as

15   modified by your users group, is that what you are saying?

16        A    No, I don't believe that this material safety data

17   sheet is from the Bureau of Mines.  It's actually pulled off

18   from the Fisher Scientific Company, but I do not specifically

19   know the history of this document, where it comes from.

20        Q    Okay.

21        A    It's useful for people that work with the coal to

22   recognize the hazards.

23        Q    Yes, sir.  And to your point about the use of water,

24   the appropriate use of water in a fire situation, that would

25   also be true, that caution would be true with respect to

FLORIDA PUBLIC SERVICE COMMISSION

673

1   bituminous coal fires, as well, would it not?

2        A    No.  Our experience has been that the bituminous

3   coals tend to behave better than the subbituminous coals in

4   that particular aspect.  They also don't have the spontaneous

5   combustion potential, and so the smoldering coal issue is not

6   nearly as bad, particularly on this CAPP coal, the Central

7   Appalachian coal that we are referring to as the coal that is

8   presently burned.  That coal in relatively inert and more like

9   dirt.  And so when people switch to the Powder River Basin type

10   coals they don't recognize this as a hazard.  And part of my

11   job, and the Powder River Basin Users Group, was to help

12   educate people going through this process, because people that

13   work at power plants typically know their coal very well, but

14   they are somewhat unfamiliar with the characteristics of new

15   fuels.

16        Q    Okay.  Now, let me be clear, though, are you saying

17   that on your use of water caution, are you saying that you

18   would advise using water in bituminous coal fires --

19        A    No.

20        Q    Let me finish my question, please -- or that you

21   would advise that it be used with caution, but it is not as

22   important a cautionary measure as with subbituminous?

23        A    I am suggesting that when you obtain smoldering coal

24   that is subbituminous not to put water on it, that is

25   specifically what I'm saying.  Bituminous coal, particularly

FLORIDA PUBLIC SERVICE COMMISSION

674

1   CAPP coal, does not suffer from some of these same problems to

2   near the degree, and it acts much more like dirt or an inert

3   material, and that is the type of coals that CR4 and 5 use

4   today.

5        Q    I see.  Now you mentioned just a second ago that the

6   bituminous coals weren't subject to the tendency to self-ignite

7   or spontaneously combust, and that, in fact, is what you say at

8   Page 8, Line 15 of your prefiled testimony, right?

9        A    I'm sorry.  Now, let's go back to that.

10        Q    Page 8, Line 15, where you were shown the saying

11   unlike bituminous coal, PRB coal has a tendency to self-ignite

12   or spontaneously combust once it is removed from the ground.

13        A    I'm not finding that, but as soon as I do, I'll --

14   what page and number?

15        Q    Page 8.

16        A    Okay.  That's my problem.

17        Q    Page 8 and Line 15, if I've got Rod Hatt.

18        A    I say because of its chemical composition and

19   physical nature, PRB coal, subbituminous coal, is much more

20   volatile and dangerous compared to the bituminous coal that PEF

21   has historically used.  That's what I have tried to say several

22   times now.

23        Q    Yes, sir.  My point is you go on to say, do you not,

24   at the end of that sentence, unlike bituminous coal, PRB coal

25   has a tendency to self-ignite or spontaneously combust once it

FLORIDA PUBLIC SERVICE COMMISSION

675

1   is removed from the ground?

2        A    Yes.

3        Q    And that is not exactly true, is it, Mr. Hatt?

4        A    No, I believe that is true.

5        Q    You do?

6        A    Yes.  Do you want to explore it?

7        Q    Yes.  Let's look at Page 3 of 11 of your Exhibit

8   RH-3.  Are you there?

9        A    Yes.

10        Q    In the middle of the page there is the title

11   self-heating characteristics, and I will read it.  It says

12   spontaneous combustion of coal is a well-known phenomenon,

13   especially with PRB coal.  Do you see that?

14        A    Yes.

15        Q    So spontaneous -- is it or is it not true that

16   spontaneous combustion of coal is a well-known phenomenon to

17   include bituminous coal?

18        A    Yes, sir.  I am going to say that bituminous coal can

19   spontaneously combust, particularly -- and keep in mind there

20   are several different types of bituminous coal.  There is high

21   grade and low grade bituminous coals.  An Illinois Basin coal

22   would be an example of a bituminous coal because of its higher

23   oxygen content.  And, again, the Bureau of Mines based its

24   spontaneous combustion index on the oxygen content of a coal.

25   The higher oxygen content of the Illinois coal versus the CAPP

FLORIDA PUBLIC SERVICE COMMISSION

676

1   coal would lead one to believe, and experience has shown, that

2   high sulfur Illinois Basin coal does have some more spontaneous

3   combustion, even though it is a bituminous coal, than the CAPP

4   coal, even though it's a bituminous coal.

5             So, yes, we have had problems with spontaneous

6   combustion with coals, but the potential associated with Powder

7   River Basin coal is significantly different than bituminous

8   coal.  And it is particularly significantly different than CAPP

9   coal.

10        Q    Yes, sir.  And that's fine, but going back to Page

11   8 of your testimony, Line 15, you say unlike bituminous coal,

12   PRB coal has a tendency to self-ignite or spontaneously combust

13   once it is removed from the ground.  And I took that to mean,

14   when I first read it, that you are suggesting that bituminous

15   coal has no tendency to self-ignite or spontaneously combust.

16        A    Well, let me say that it has a much lower tendency.

17   This is all about risk management and the behavior of these

18   various coals and those sort of things.  So unlike bituminous

19   coal, and particularly in this part of the document I'm

20   probably -- or I am referring to the CAPP type coal that Units

21   C and 4 -- 4 and 5, I'm sorry -- use.  The CAPP coal has a very

22   low tendency to spontaneously combust.  And so when you use

23   CAPP coal and you switch to Powder River Basin coal, it's a

24   much more drastic problem there.

25        Q    Okay.  Just to sum up, then, if I may, you're saying

FLORIDA PUBLIC SERVICE COMMISSION

677

1   that all coals will self-ignite, and it is a greater problem

2   for subbituminous coal?

3        A    Okay.  So please ask that question again, and I'll

4   try to answer it without interrupting.

5        Q    Yes, sir.  If I could try and sum up your position on

6   this, you tell me whether I am right or wrong, you concede that

7   spontaneous combustion is a problem for all coals.  In fact,

8   you say as the co-author of RH-3, which you are a co-author,

9   right?

10        A    Yes, I am.

11        Q    You say as the co-author of RH-3 that spontaneous

12   combustion is a well-known phenomena of all coals, but you are

13   saying here that it is a greater problem with subbituminous

14   coal, is that right?

15        A    With what coal?

16        Q    The --

17        A    Subbituminous?

18        Q    Subbituminous.

19        A    Yes.  Subbituminous coal has a much higher tendency

20   to self-ignite than most other coals.

21        Q    Okay.  Now, on the same page of RH-3, you concede, do

22   you not, apparently that for bituminous coals that bunker fires

23   are not uncommon, right?

24             MR. BURNETT:  Mike, where are you reading from?

25             MR. TWOMEY:  The last sentence on Page 3 of 11 of

FLORIDA PUBLIC SERVICE COMMISSION

678

1   RH-3.

2   BY MR. TWOMEY:

3        Q    While fires prior to this were not uncommon with

4   bituminous coal in the bunker, this was the first serious dust

5   explosion.

6        A    I'm going to say that that is referring to the fact

7   that we have had fires in bunkers before.  It is a known

8   phenomena, particularly with the high sulfur Illinois type

9   basin bituminous coals.  That is not clearly identified here,

10   but that's the intent, is that we have had problems with some

11   spontaneous combustion with high sulfur Illinois coals.  But

12   the dusty nature of the PRB coal makes it a much more difficult

13   material to handle.

14        Q    Okay.  Now, help me understand something in my own

15   experience.  On the occasion, years ago, I think visited one of

16   this company's coal mines or maybe TECO's, but I was told that

17   one of the reasons for having a high level of ventilation in

18   the -- this was an underground mine.

19        A    Yes, sir.

20        Q    One of the reasons for having a high level of

21   ventilation, in addition for respiratory purposes of the

22   miners, was to reduce the risk of a coal dust explosion.  Was I

23   told correctly?

24        A    I am going to suggest that in underground coal mining

25   methane is released when you do that.  And so the ventilation

FLORIDA PUBLIC SERVICE COMMISSION

679

1   is primarily to remove the explosive methane gas, although coal

2   dust is explosive in the proper conditions.

3        Q    Okay.  Thank you.  Now, I want to briefly clarify.  I

4   want to be clear on what you told Mr. McGlothlin with respect

5   to your exhibit on RH-4, so if you would turn there for a

6   second.  This will just take a second.

7        A    Okay.

8        Q    You acknowledged to Mr. McGlothlin, did you not, that

9   from the period 1990 to 1999, that the increase in the number

10   of fire events was either three or four, is that correct?

11        A    If we are looking at this chart on my Exhibit Number

12   4, the increase from 1970 to '79 --

13        Q    That's what I meant, yes, sir.

14        A    -- to 1990, '99, it looks like it's more like about

15   ten.

16        Q    Right.  But, I mean -- I think he asked you, I made a

17   note on it, from -- I gave you the wrong dates.  From 1979/80

18   to 1990, if you look at the red columns there, it goes from

19   10 to 13 or 14, right?

20        A    Yes.

21        Q    And for the explosive events, it was an increase of

22   one event?

23        A    These are the reported incidences that we were able

24   to find using this as an educational tool to help people

25   understand that the industry has been experiencing more

FLORIDA PUBLIC SERVICE COMMISSION

680

1   trouble, and that the increased use of Powder River Basin coal

2   is one of the primary things with this.  And further evidence

3   that is in my exhibits in here I talk about fires and

4   explosions since 1999 that have caused significant problems.

5   So this problem has not gone away.

6        Q    Right.  And what I want to be clear on is I thought

7   you -- I thought in response to Mr. McGlothlin's questions that

8   you acknowledged that you didn't know that the increase in the

9   number of fires and explosions from 1979/80 to 1990 period that

10   changed there were, in fact, due specifically to fires and/or

11   explosions associated with facilities using the PBR -- PRB?

12        A    Okay.  On this particular chart I have not clearly

13   identified which explosions are from which things, or the

14   author of this paper did not clearly identify that.  But the

15   author of this paper had a fatality using Powder River Basin

16   coal, and so this is part of his attempt to educate the

17   industry of some of the hazards associated with Powder River

18   Basin coal.  And if you want to say that, well, only an

19   increase of three is bad, what if that three was at your plant,

20   or at Crystal River 4 and 5, and the unit was shut down for

21   weeks or months, or both of those units were shut down for

22   weeks or months.

23             So this particular chart here is trying to illustrate

24   that the industry has experienced more problems, and it is

25   correct to say that we have not identified whether these are

FLORIDA PUBLIC SERVICE COMMISSION

681

1   Powder River Basin coal explosions.  But my experience in

2   working in the utility industry is that the Powder River Basin

3   coals do increase the risk of fire and explosion.  Because when

4   we see people convert to the Powder River Basin coal for years

5   they operate without potentially big significant problems.  And

6   now they are coming out and telling us that after they've

7   switched over to the Powder River Basin coal they have had

8   these problems, and so they have to take capital expenditures

9   and procedures, modifications, to be able to minimize the risk

10   associated with the Powder River Basin coal.

11        Q    Yes, sir.  But, you acknowledge, do you not, and I'm

12   not sure I am getting a clear answer on this.  You acknowledge,

13   do you not, that the increases -- the increases in the fires

14   and the explosions shown on your Exhibit RH-4, you don't know

15   what they were related to except that they were in the coal

16   industry, and don't, in fact, know that they were directly

17   related to bituminous coal fires and explosions or to

18   subbituminous --

19        A    These are from the utility industry, and I do not

20   know whether the specific incidences are Powder River Basin or

21   bituminous.

22        Q    Thank you.  Okay.  I am about finished.  You live in

23   Kentucky you said, is that correct?

24        A    Yes, sir.

25        Q    Which coal region do you live in?

FLORIDA PUBLIC SERVICE COMMISSION

682

1        A    I live in the Blue Grass region.  We are known for

2   stud horses.

3        Q    Good.  Okay.  Lastly, I want to ask you -- I assume,

4   that you are being compensated for your testimony here, and I

5   wanted to ask you what your hourly rate was and what you expect

6   your total projected compensation to be?

7        A    I have two rates, one is 187.50 an hour for

8   preparation, and then it is a 50 percent higher rate for actual

9   testimony.  And my total expenditures I don't have in front of

10   me, but I would estimate them to be over $20,000.

11             MR. TWOMEY:  Thank you, Mr. Hatt.

12             CHAIRMAN EDGAR:  Mr. Brew.

13             MR. BREW:  May I have one moment?

14             CHAIRMAN EDGAR:  Sure.

15                          CROSS EXAMINATION

16   BY MR. BREW:

17        Q    Good afternoon, Mr. Hatt.

18        A    Hi.

19        Q    Referring to your Exhibit RH-4 again.

20        A    Okay.

21        Q    With respect to the explosions in 1990 and 1999, do

22   you know if any of them were unrelated to coal?  Gas

23   explosions, for example.

24        A    No, I have not clearly identified whether these are

25   associated with coal or gas.  These are industry.  And,

FLORIDA PUBLIC SERVICE COMMISSION

683

1   remember, that this paper was not prepared by me.  This is an

2   exhibit I pulled from a paper from a gentleman that had a

3   fatality at his plant due to PRB coal, and this is part of his

4   way of communicating to us as an industry that the risks appear

5   to be increasing.

6        Q    But you have no idea as to the causative events of

7   the explosions that are listed or charted?

8        A    Right.  These are just utility industry events.

9             MR. BREW:  Thank you.  That's all I have.

10             CHAIRMAN EDGAR:  Ms. Bradley.  No questions.

11             Are there questions from staff?

12             MS. BENNETT:  A few.

13                          CROSS EXAMINATION

14   BY MS. BENNETT:

15        Q    Mr. Hatt, you stated you assist utilities in

16   switching coals, is that correct?

17        A    I'm sorry.  Could you more clearly define that?

18        Q    Part of your testimony was that you assist or help

19   utilities evaluate switching coals, types of coals?

20        A    Yes.

21        Q    Do you also assist utilities in evaluating different

22   coal types?

23        A    Yes.

24        Q    In evaluating coal types, isn't it true that a

25   utility must consider the mine from which the coal is removed?

FLORIDA PUBLIC SERVICE COMMISSION

684

1        A    The exact characteristics of a coal are very

2   important, and they can vary from mine to mine or even within a

3   mine.

4             MS. BENNETT:  That's all the questions I have.

5             CHAIRMAN EDGAR:  Commissioner Carter.

6             COMMISSIONER CARTER:  Thank you, Madam Chairman.

7   Just one itty-bitty question.

8             Mr. Hatt, is it cost prohibitive, or did I mishear

9   you?  Is it cost prohibitive to utilize the PBR (sic) coal at

10   CR4 and CR5, is that what -- is that your testimony?  Is that

11   what you are saying?

12             THE WITNESS:  No, I'm suggesting that you want to

13   spend some upfront money that might be significant or is

14   significant before you should do that conversion.  But, you

15   know, you have to spend that money upfront because -- and then

16   the risk is, is that the coal prices don't shake out how you

17   might believe them to be.  So you spend money upfront in hopes

18   of utilizing a fuel, but you can't necessarily predict fuel

19   price changes.  So it's tough to sometimes justify spending

20   millions of dollars to that.  But I'm not suggesting that it is

21   not, you know, it's not feasible.

22             COMMISSIONER CARTER:  Follow-up.

23             CHAIRMAN EDGAR:  Yes, sir.

24             COMMISSIONER CARTER:  And as I understand it, you

25   said it costs about $38 million upfront capital to retrofit or

FLORIDA PUBLIC SERVICE COMMISSION

685

1   equip the plant?

2             THE WITNESS:  To get the coal handling system safe.

3   I truly believe 0that I want every employee at a power plant to

4   go home to his family.  And when we make economic decisions

5   because something is cheaper, and then we forget about the

6   safety of the employees, I'm suggesting that that number is to

7   be able to safely handle this coal.  Then once you get it into

8   the boiler and you start experiencing maybe some of the

9   problems that most other people have experienced, you may have

10   to spend, or I'm predicting that you will spend these

11   additional dollars.  And most of my numbers are relatively

12   conservative to solve some of the other problems to get you

13   back to the operation and performance that maybe you were at if

14   you were using some sort of high quality coal before.

15             COMMISSIONER CARTER:  And that's the roughly

16   2 million a year is what you're saying.

17             THE WITNESS:  The two million a year was just the

18   changes in operating costs.  The difference between the

19   38 million and the 61 million are the potential upgrades in the

20   boiler and the inside of the plant to get you back to where you

21   want to be.  And I'm not even sure if we do that at CR4 and 5

22   if we get that luxury of going back up to the 750 and

23   770 megawatts at a continuous output.

24             COMMISSIONER CARTER:  Thank you, Madam Chairman, for

25   your patience.

FLORIDA PUBLIC SERVICE COMMISSION

686

1             CHAIRMAN EDGAR:  Okay.

2             COMMISSIONER CARTER:  I'm just trying to get a -- so

3   you are saying it's roughly, for CR4 and CR5 it's roughly

4   60 million, then?

5             THE WITNESS:  Total cost to convert to a 50/50 blend

6   of PRB coal is in the neighborhood of about $60 million is my

7   conservative estimate as to what you would get to get you back

8   up so you can run at 665 or the nameplate rating on this unit.

9   The fact that they have used these high Btu coals in the past

10   have given them this luxury.  Most people don't get that luxury

11   of being able to produce and run at consistent overpressure.

12   So they get this 770 or -- they get the higher megawatts

13   because of the high Btu coals.  What the $60 million does is

14   kind of get you back to the 665 number in my estimate.

15             COMMISSIONER CARTER:  And that's not -- in your view,

16   that's not totally optimal.

17             THE WITNESS:  No, not at CR4 and 5.  The optimum to

18   me appears to be utilizing the Powder River -- or, I mean, the

19   bituminous type coals that have very -- these are some of the

20   premium fuels in terms of the slagging and characteristics,

21   burning characteristics that allow you the luxury of being able

22   to do things with your units that you might not be able to do

23   or you probably won't be able to do with lower quality coals.

24             COMMISSIONER CARTER:  So just by way of wrapping up,

25   Madam Chairman, thank you.  So 60 million for the conversion of

FLORIDA PUBLIC SERVICE COMMISSION

687

1   the facilities and then about two million a year.

2             THE WITNESS:  Ongoing.

3             COMMISSIONER CARTER:  Ongoing.  Thank you.

4             CHAIRMAN EDGAR:  Commissioner McMurrian.

5             COMMISSIONER McMURRIAN:  Thank you.

6             My question relates to the safety of the workers.  I

7   will start by saying, unlike Mr. Twomey, I haven't visited a

8   coal mine, but I have visited a few coal plants.  And one thing

9   they have in common, and I don't mean to offend any plant

10   operators in the room, is that they are all dusty.  And I want

11   to get a better handle on what are the dangers to the workers

12   or visitors of a plant from just simply walking around a plant

13   if you were to use PRB coal, for instance?  And I guess the

14   second part of that would be -- and, perhaps, that's if the

15   proper housekeeping isn't done.  I know that was a term used

16   earlier. And exactly what kind of activities are included in

17   that housekeeping?  And if it helps to refer to your Exhibit

18   RH-8, then that may be helpful, as well.

19             THE WITNESS:  Okay.  And I heard a lot of questions

20   there, but the first one was if you don't do some things and

21   you switch over to Powder River Basin coal, okay, you get dust

22   accumulations.  And those dust accumulations have the potential

23   to catch on fire just sitting there.  And maybe you have heard

24   of that same phenomena with grass clippings or oily rags, but

25   things like that, there are some things that spontaneously

FLORIDA PUBLIC SERVICE COMMISSION

688

1   combust.  And, unfortunately, for Powder River Basin coal that

2   occurs at about room temperature.  With bituminous coals it's

3   much higher temperatures, like 150, 200 degrees, and those

4   types of neighborhood of temperatures.  Okay?

5             So at room temperature, Powder River Basin coal can

6   spontaneously combust.  And it's usually piles of dust that

7   have accumulated.  And what happens is when someone goes to

8   fight that fire, so now we are going to put out the fire, if

9   you hit it with a dose of water, you tend to make a puff.  And

10   then, and some of my exhibits show the dust buildup in some

11   places.  When you knock that dust off the pipes and the beams

12   and the rafters, then you have an explosion.  So, the concern

13   is there.

14             So one of the differences that you would see like in

15   a power plant that I feel has done a good job at minimizing

16   risk, for example, is we paint everything in the coal handling

17   system white, so we can clearly see whether there is any dust

18   or not.  And so that would be one of the criteria that I would

19   see someone minimizing the risk with Powder River Basin coal is

20   you would see white when you walked in as opposed to dark and

21   steel-colored.  So that was -- I think one of the questions was

22   what is just some of the hazards associated with that.  So, you

23   know, those -- not that just someone walking around would fight

24   a fire, but those are some of the concerns that we see and some

25   of the experiences that people have had with the Powder River

FLORIDA PUBLIC SERVICE COMMISSION

689

1   Basin coal.

2             If we go inside the plant, like to the pulverizers,

3   the pulverizers are the big machines that grind the coal.  If

4   they continue operating those pulverizers at the temperatures

5   that you can operate it with bituminous coals, the explosion

6   potential of those pulverizers go up.  And, indeed, the

7   industry has had fires and explosions in those pulverizers.

8   And so if you were taking a tour of a Powder River Basin plant

9   that had recently converted and not adjusted temperatures on

10   the pulverizers, I would recommend that you walk briskly past

11   that equipment.

12             Now, you had another question referring to my Exhibit

13   8, and maybe you should ask it again or --

14             COMMISSIONER McMURRIAN:  I was just saying -- I

15   actually asked about the housekeeping activities.

16             THE WITNESS:  Okay.

17             COMMISSIONER McMURRIAN:  And I think that might have

18   even been referenced in another witness' testimony, but what

19   kind of housekeeping activities would need to be done in order

20   to protect, I guess, just even workers and visitors from just

21   walking around the plant.  What kind of activities, and if it

22   would be helpful to refer to RH-8 in answering that.

23             THE WITNESS:  Okay.  Dust collection, which is like a

24   giant vacuum cleaner, and one of the concerns that I saw with

25   the present dust collection systems, besides them not

FLORIDA PUBLIC SERVICE COMMISSION

690

1   necessarily being operational, is that they are square in

2   nature, and that's -- the Powder River Basin Users Group, we

3   blew one up on purpose to show you what a dust collector --

4   what happens when one blows up.  And they blow up typically

5   when someone goes and opens the door inside of them.  And that

6   is how one of the fatalities occurred was someone opening up

7   the door of a dust collector.  So this concerned us.

8             So what happens is the dust builds up in the corners

9   of the square one.  So round ones tend to be better.  So even

10   the manufacturers of the square ones now make round ones based

11   on experience.  So the dust collection system, I believe, is

12   important.  Dust suppression is where we spray chemicals, or

13   water, or foams, or things like that to try to knock down any

14   dust that isn't getting collected.  The wash down system is the

15   system that includes the ability to use water to clean all the

16   dust off of everywhere in the whole coal handling system.

17             So the fire protection system and detection system is

18   there in case a fire does -- after all of these things you have

19   done, all you have done is minimize risk.  And so because this

20   equipment and people's safety is so important, we would also

21   like to see a fire protection system.  In other words, some

22   sort of automatic system that you can fight fires with without

23   sending people there.  An example of a mistake that was made in

24   the design of a unit was they put the valves to open up the

25   fire protection system inside the coal handling system.  Well,

FLORIDA PUBLIC SERVICE COMMISSION

691

1   if it is on fire, you don't go in there to open those valves.

2   So now we recommend you take the valves out of the coal

3   handling system, so that you can turn on a fire system even --

4   or even better, it turns on automatically without that.

5             Those are the things, at least these first four

6   things here which are the type of things that would really help

7   minimize the risk associated with those.  The reclaim hopper

8   system helps not only to better be able to handle the coal, but

9   it also minimizes airborne dust.  When you operate these

10   stacker reclaimers, we get additional dust generated from them.

11             And then most of these other ones here, other than

12   maybe the upgrades to the conveyors belts, see Number 9, the 8

13   to $10 million, again, we can have a chute that just plops down

14   on the belt.  And what happens, when that coal hits the belt,

15   it makes a cloud of dust.  So now we would try to make these

16   chutes very gradual, so that they almost lay the coal onto the

17   belt.  And that would be a chute modification.

18             There are belts now that if you can imagine an air

19   hockey table, well, instead of all the rollers that we

20   typically have on belts now where every time that coal goes

21   over one of those rollers, it creates a little puff of dust.

22   We would now suggest that you explore the ability to put in, at

23   least in dusty situations, where the belt runs on like an air

24   hockey table, and so it doesn't have the bumps to do that.  And

25   so that's the Number 9.

FLORIDA PUBLIC SERVICE COMMISSION

692

1             So, 1, 2, 3, 4, and 9 are there to address those

2   types of things.  The reclaim hopper system, 5, is also there.

3   And then the pulverizers, boiler, and the precipitators are the

4   types of things that once we get the coal in the boiler, you

5   know, we are now into the trying to make electricity side of

6   the plant.  Does that help you?

7             COMMISSIONER McMURRIAN:  One follow-up that you

8   reminded me.  We have heard evidence that Crystal River 4 and

9   5 were designed to handle the Powder River Basin coal.  Are

10   your modifications that you suggest would be necessary as we

11   have gone through, are you saying that these are things that,

12   based on experience since the design of this plant, that the

13   industry has suggested need to be done because of the nature of

14   PRB coal, or is it that it really wasn't designed to handle PRB

15   to begin with?

16             THE WITNESS:  There are a few design characteristics

17   of the boiler that appear to me to be incorporated to try to

18   handle some Powder River Basin coals.  But the nature of the

19   Powder River Basin coals in the '70s and early '80s is

20   different than this 8800 Btu coal that we are suggesting to be

21   used now that was developed more in the '90s.  So there are

22   still some characteristics with the boiler that might be a

23   concern.

24             There's a lot of things that suggest that the unit

25   was constructed with the knowledge that it was going to be

FLORIDA PUBLIC SERVICE COMMISSION

693

1   primarily using bituminous coal.  And, you know, the paperwork

2   is relatively sketchy from that era, so I don't know exactly

3   what happened in that thing.  But I certainly think that many

4   of the things or most of these things that I'm saying here are

5   attributed to the fact that we have learned.

6             Like, for example, water cannons we really didn't use

7   those in the '70s and '80s.  We used steam and air to remove

8   the slag and deposits.  And now we have learned that those

9   aren't as effective as water.  The water not only cools and

10   shocks the material, but it has more physical force to remove

11   it.  So those have been developed through the process of

12   learning about the Powder River Basin coals, as is most of

13   these dust and wash down and painting white and those types of

14   things.  Those are things that we have learned since that time.

15             And the Powder River Basin Users Group, which I am an

16   advocate of, is primarily put together because the designers

17   didn't appreciate the nature of this coal.  So, yes, they could

18   build a unit.  Now, I can't always blame the designers because,

19   remember, the utilities don't want to spend a lot of money.  So

20   if you say, well, I want, you know, the lowest cost things.

21   Let's cut some, you know, cut that out or cut this out, maybe

22   they didn't appreciate what they were doing.  And so the Powder

23   River Basin Users Group is trying to say, hey, just because it

24   was maybe designed, or put together, or constructed this way,

25   there might be some modifications to make your life safer, more

FLORIDA PUBLIC SERVICE COMMISSION

694

1   reliable or easier.  Does that help?

2             CHAIRMAN EDGAR:  Commissioner Carter.

3             COMMISSIONER CARTER:  Thank you, Madam Chairman.

4             Just a follow-up.  And based upon your review of CR4

5   and CR5, still, notwithstanding what they may have built it for

6   in the -- prior to where we are now, in order to get it to the

7   status to where it could actually safely handle PRB coal, you

8   still would have to spend the 60 million in upgrade and the two

9   million annually, right?  Is that what you're saying?

10             THE WITNESS:  Yes.

11             COMMISSIONER CARTER:  Okay.  Thank you.

12             CHAIRMAN EDGAR:  Mr. Burnett.

13             MR. BURNETT:  No questions, ma'am, and I would move

14   Exhibits 99 through 124 into evidence.

15             CHAIRMAN EDGAR:  Exhibits 99 through 124 will be

16   moved in.

17             (Exhibits 99 through 124 admitted into evidence.)

18             MR. McGLOTHLIN:  I move 222.

19             CHAIRMAN EDGAR:  Hold on, let me get there.

20             Mr. McGlothlin, the document that we marked 222, did

21   you use this?

22             MR. McGLOTHLIN:  I had him identify it as his work

23   papers underlying his analysis, yes.

24             CHAIRMAN EDGAR:  I'm sorry, I didn't catch that.

25             MR. McGLOTHLIN:  I had the witness identify this

FLORIDA PUBLIC SERVICE COMMISSION

695

1   exhibit as the work papers underlying his analysis of

2   recommended additions and O&M expenses.

3             MR. BURNETT:  I would be happy for the Commission to

4   consider them.

5             CHAIRMAN EDGAR:  Okay.  Then the exhibit marked

6   222 will be entered into the record.

7             (Exhibit 222 admitted into evidence.)

8             CHAIRMAN EDGAR:  The witness is excused.

9             MR. BURNETT:  May he be dismissed from the

10   proceeding, and may I go to the bathroom?  (Laughter.)

11             CHAIRMAN EDGAR:  The witness is dismissed from the

12   rest of the proceeding, and we will take a break for us all to

13   have a stretch and come back about ten minutes till.

14             MR. BURNETT:  Thank you.

15             (Recess.)

16             (Transcript continues in sequence with Volume 6.)

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

696

1

2   STATE OF FLORIDA    )

3                                      :    CERTIFICATE OF REPORTER

4   COUNTY OF LEON      )

5

I, JANE FAUROT, RPR, Chief, Hearing Reporter Services

6   Section, FPSC Division of Commission Clerk, do hereby certify

that the foregoing proceeding was heard at the time and place

7   herein stated.

8             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

9   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

10   proceedings.

11             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

12   or employee of any of the parties' attorney or counsel

connected with the action, nor am I financially interested in

13   the action.

14             DATED THIS 12th day of April, 2007.

15

16             ___________________________________________

JANE FAUROT, RPR

17                   Official FPSC Hearings Reporter

FPSC Division of Commission Clerk

18                           (850) 413-6732

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION