1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. 060162-EI

3

In the Matter of:

4

PETITION BY PROGRESS ENERGY FLORIDA,

5   INC. FOR APPROVAL TO RECOVER MODULAR

COOLING TOWER COSTS THROUGH

6   ENVIRONMENTAL COST RECOVERY CLAUSE.

_____________________________________/

7

8

9

10

11             ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

12               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

13

14   PROCEEDINGS:        HEARING

15   BEFORE:             CHAIRMAN LISA POLAK EDGAR

COMMISSIONER MATTHEW M. CARTER, II

16                       COMMISSIONER KATRINA J. MCMURRIAN

17   DATE:               Tuesday, May 1, 2007

18   TIME:               Commenced at 9:40 a.m.

Concluded at 10:10 p.m.

19

PLACE:              Betty Easley Conference Center

20                       Room 148

4075 Esplanade Way

21                       Tallahassee, Florida

22   REPORTED BY:        LINDA BOLES, RPR, CRR

Official FPSC Reporter

23                       (850) 413-6734

24

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1   APPEARANCES:

2             GARY V. PERKO, ESQUIRE, Hopping Law Firm, Post Office

3   Box 6526, Tallahassee, Florida 32314, appearing on behalf of

4   Progress Energy Florida, Inc.

5             JOSEPH McGLOTHLIN, ESQUIRE, Office of Public Counsel,

6   c/o The Florida Legislature, 111 West Madison Street, Room 812,

7   Tallahassee, Florida 32399-1400, appearing on behalf of the

8   Citizens of the State of Florida.

9             MARTHA BROWN, ESQUIRE, and LISA BENNETT, ESQUIRE,

10   FPSC General Counsel's Office, 2540 Shumard Oak Boulevard,

11   Tallahassee, Florida 32399-0850, appearing on behalf of the

12   Commission Staff.

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1                              I N D E X

2                              WITNESSES

3   NAME:                                            PAGE NO.

4   JAVIER PORTUONDO

5        Prefiled Direct Testimony Inserted              22

6   THOMAS LAWERY

7        Prefiled Direct Testimony Inserted              30

8   THOMAS HEWSON

9        Prefiled Direct Testimony Inserted              39

10   PATRICIA W. MERCHANT

11        Prefiled Direct Testimony Inserted              48

12   JAVIER PORTUONDO

13        Prefiled Rebuttal Testimony Inserted            66

14

15

16

17

18

19   CERTIFICATE OF REPORTER                              79

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

4

1                              EXHIBITS

2   NUMBER:                                        ID.    ADMTD.

3   1    Comprehensive Exhibit List                77       77

4   2    Staff Composite Exhibit - Stipulated      77       77

5   3    JP-1                                      77       77

6   4    JP-2                                      77       77

7   5    TL-1                                      77       77

8   6    TL-2                                      77       77

9   7    TL-3                                      77       77

10   8    TAH-1                                     77       77

11   9    PWM-1                                     77       77

12   10   PWM-2                                     77       77

13   11   JP-3                                      77       77

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

5

1                         P R O C E E D I N G S

2             CHAIRMAN EDGAR:  All right.  Good morning all.  Call

3   this hearing to order.

4             We'll begin by asking our staff to read the notice.

5             MS. BROWN:  By notice issued April 12th, 2007, this

6   time and place was set for a hearing in Docket Number

7   060162-EI, petition by Progress Energy Florida, Inc., for

8   approval to recover modular cooling tower costs through the

9   environmental cost recovery clause.  The purpose of the hearing

10   is set out in the notice.

11             CHAIRMAN EDGAR:  Thank you.  And we'll take

12   appearances.

13             MR. PERKO:  Good morning, Madam Chair.  My name is

14   Gary Perko of the Hopping, Green & Sams Law Firm on behalf of

15   Progress Energy Florida.

16             MR. McGLOTHLIN:  Good morning.  I'm Joe McGlothlin,

17   Associate Public Counsel.

18             CHAIRMAN EDGAR:  Thank you.  And staff.

19             MS. BROWN:  Martha Carter Brown and Lisa C. Bennett

20   on behalf of the Commission.

21             CHAIRMAN EDGAR:  Thank you.

22             Ms. Brown, preliminary matters.

23             MS. BROWN:  Yes, Chairman Edgar.  The parties have

24   reached a stipulation on the procedure they wish to follow in

25   this case, which is described in the prehearing order.  After

FLORIDA PUBLIC SERVICE COMMISSION

6

1   opening statements of ten minutes a side, the prefiled

2   testimony and exhibits and staff's composite exhibit of

3   discovery responses can be entered into the record with the

4   parties waiving cross-examination.  When that is done, the

5   hearing can be adjourned.  The parties will file their

6   posthearing briefs on the stipulated record and the witnesses

7   have been excused.  And I think that's all the preliminary

8   matters we have, and could start with opening statements, if

9   you'd like.

10             CHAIRMAN EDGAR:  Okay.  That was going to be my next

11   question.  So are we ready for opening statements?

12             MS. BROWN:  Yes, ma'am.

13             CHAIRMAN EDGAR:  Okay.  Mr. Perko, are you ready?

14             MR. PERKO:  Yes, ma'am.

15             CHAIRMAN EDGAR:  Okay.  Ten minutes each.  You are

16   recognized.

17             MR. PERKO:  Thank you, Madam Chair, and good morning,

18   Commissioners.  Again, I'm Gary Perko on behalf of Progress

19   Energy Florida.  We appreciate this opportunity to present

20   Progress Energy's case, albeit brief, in support of its request

21   to recover the costs of the modular cooling tower project.

22   Because it's been some time since the Commission originally

23   addressed this matter in August 2006, I thought I'd start with

24   a brief summary of the project and how we got to where we are

25   today.

FLORIDA PUBLIC SERVICE COMMISSION

7

1             As explained in the testimony of Progress Witness

2   Thomas Lawery, the Florida Department of Environmental

3   Protection's industrial wastewater permit for the Crystal River

4   plant includes a thermal limit of 96.5 degrees Fahrenheit on a

5   three-hour rolling average on the cooling water discharge from

6   the plant.  Progress Energy is legally required to comply with

7   this permit limit no matter what the temperature of the inlet

8   waters are in the Gulf of Mexico.

9             Now in the summer of 2005 there was a dramatic

10   increase in the temperature in the inlet Gulf water.  This led

11   Progress having to -- to having unprecedented derates of the

12   Crystal River Units 1 and 2 in order to comply with the permit

13   limit.  When those derates occur on these baseloaded units,

14   Progress must replace that lost generation by using more

15   expensive oil or gas-fired units or by purchasing higher cost

16   power on the open market.  As discussed in the testimony of

17   Progress Witness Javier Portuondo, the modular cooling towers

18   are the most cost-effective option for minimizing derates

19   associated with a thermal permit limit, while giving the

20   company the flexibility to evaluate whether a permanent

21   solution is needed for this problem, and, if so, what that

22   permanent solution should be.

23             Moreover, the project is projected to result in

24   significant fuel cost savings both cumulatively and in each of

25   the five years the towers are expected to be in operation.

FLORIDA PUBLIC SERVICE COMMISSION

8

1   Those fuel savings are projected to exceed the estimated cost

2   of the project, thus benefiting the company's ratepayers.  I

3   don't believe there's any question about the prudence or any

4   issue about the prudence of the project.  Rather, the issue is

5   whether the costs are recoverable under either the ECRC or the

6   fuel clause.

7             Now as you may remember back in August when the

8   Commission first considered this matter, it was noted that

9   Progress Energy originally sought recovery of this project

10   under the fuel clause.  We believe that request was appropriate

11   based on long-standing Commission precedent in what you'll be

12   hearing as Order Number 14546 which I will discuss later.

13             Based on discussion with staff, however, we amended

14   our petition to seek recovery under the ECRC in light of the

15   fact that the project was necessitated by an environmental

16   requirement in the Crystal River permit.

17             Staff recommended approval of the company's petition,

18   but after considerable discussion at the August Agenda

19   Conference the Commission decided to set this matter for

20   hearing specifically to determine whether the costs were

21   recoverable under the ECRC or the fuel clause.

22             Now turning to the ECRC, as explained in

23   Mr. Portuondo's testimony, the project is proper for recovery

24   under the ECRC because it satisfies the three criteria that the

25   Commission established in Order Number 94-044, which was the

FLORIDA PUBLIC SERVICE COMMISSION

9

1   first order that implemented the environmental cost recovery

2   clause.

3             First, the costs of this project are being incurred

4   after April 13th, 1993, when the ECRC was first enacted by the

5   Legislature.  Second, the need for this project to comply with

6   the DEP permit was triggered after the company's last test year

7   upon which rates are based.  And, third, the costs of the

8   project are not recovered through some other cost recovery

9   mechanism or base rates.

10             I don't think there's any issue regarding the first

11   criteria since the costs are clearly being incurred after 1993.

12   However, OPC's witnesses argue that the project does not

13   satisfy the second criterion because the thermal permit limit

14   was established before the company's last rate case.

15             As discussed in Mr. Portuondo's direct and rebuttal

16   testimony, however, the relevant language of Order

17   94-004 states, and I quote, the activity must be legally

18   required to comply with a governmentally imposed environmental

19   regulation that was enacted or became effective, or whose

20   effect was triggered after the company's last test year upon

21   which rates are based.

22             Now OPC's witnesses gloss over the third part of that

23   criteria which focuses on when the effect of the environmental

24   requirement was triggered rather than just the date it was put

25   in place.  As Mr. Portuondo's rebuttal testimony explains, the

FLORIDA PUBLIC SERVICE COMMISSION

10

1   modular cooling tower project satisfies this criteria because

2   the need for the additional cooling water capacity to comply

3   with the environmental requirement was triggered by the

4   unusually high inlet water temperatures during the summer of

5   2005.  Now those unusually high water temperatures were not

6   fully analyzed until the company submitted its MFRs and its

7   base rates were approved in its 2005 rate proceeding.  In fact,

8   the decision to implement the project was not made until

9   February 2006.  Thus, the project satisfies the second criteria

10   for ECRC recovery.

11             Now turning to the third criteria, whether the costs

12   are recovered through some other cost recovery mechanism or

13   base rates, OPC's witness effectively says that she's not

14   convinced that Progress has established that the costs are not

15   being recovered in base rates.  That opinion is simply not

16   supported by the record.  As exhibits to his direct testimony,

17   Mr. Portuondo provides the relevant schedules from the

18   company's MFRs in its 2005 rate case.  Because the costs for

19   this project were not included in those schedules, they

20   demonstrate that the costs for the project were not anticipated

21   when the company's current base rates were established.  As

22   recently as -- and although OPC's witness cautions against

23   relying on MFRs, as recently as the 2006 annual ECRC docket

24   this Commission has relied on MFRs in addressing whether costs

25   were included in base rates in connection with its

FLORIDA PUBLIC SERVICE COMMISSION

11

1   consideration of FPL's request to recover costs of challenging

2   the Clean Air Interstate Rule.  So this is by no means

3   something new for the Commission to do.

4             In addition, as Mr. Portuondo's rebuttal testimony

5   explains, OPC's witness is simply wrong in suggesting that

6   recovery of project costs would somehow contravene the

7   company's 2005 rate case settlement.  The provision of the

8   settlement agreement the OPC witness cites precludes the

9   company from petitioning for new surcharges.  It does not

10   prevent the company from recovering newly incurred costs under

11   an existing cost recovery program.  Moreover, Paragraph 8 of

12   the settlement explicitly contemplates that new environmental

13   capital costs would be recovered under the ECRC.

14             In summary, the project is necessary to comply with

15   an environmental requirement whose full effect was not

16   triggered until after the company's last rate case, and the

17   costs of the projects are not being recovered through base

18   rates.  Therefore, the project qualifies under the three

19   criteria for the ECRC recovery.

20             Now turning to the fuel clause, while we believe the

21   project costs are recoverable through the ECRC, we also believe

22   that given the unique nature of the significant fuel savings it

23   could also be appropriate to recover these costs through the

24   fuel clause.  In 1985, Commission Order Number 14546

25   established comprehensive guidelines for the recovery of costs

FLORIDA PUBLIC SERVICE COMMISSION

12

1   to the fuel clause.  In that order the Commission recognized

2   that certain unanticipated costs are appropriate for recovery

3   under the fuel clause on a case-by-case basis.  Specifically

4   the Commission recognized the recovery is appropriate for, and

5   again I'll quote, fossil fuel-related costs normally recovered

6   through base rates but which were not recognized or anticipated

7   in the cost levels used to determine current base rates and

8   which, if expended, will result in fuel savings to customers.

9             As I previously discussed, the costs of the modular

10   cooling tower project were not anticipated at the time of PEF's

11   last rate case.  And as discussed in Mr. Portuondo's direct

12   testimony, the project will result in significant fuel savings

13   to PEF's ratepayers by avoiding derates to the Crystal River

14   units and thereby reducing the need for higher costs -- the

15   need to use higher cost units or to purchase more expensive

16   power on the market.  As such, the costs of the project qualify

17   for recovery through the fuel clause under the policies set

18   forth in Order Number 14546.

19             Now OPC's witness Mr. Hewson argues that the project

20   does not qualify for recovery under that order because the

21   project will not result in lower, what he terms, delivered fuel

22   costs.  However, nothing in Order Number 14546 or subsequent

23   orders implementing it over the past 20 years has ever

24   specified that projects must be directly tied to delivered fuel

25   costs.  To the contrary, as Mr. Portuondo's rebuttal explains,

FLORIDA PUBLIC SERVICE COMMISSION

13

1   in Order Number 14546 the Commission expressly sought to

2   establish a flexible policy.  In applying this flexible policy

3   over the last 20 or so years, the Commission has not sought to

4   limit the type of costs that are recoverable.  Rather, it has

5   sought to ensure a link between the types of costs incurred and

6   the types of costs avoided.

7             An excellent example of this is the Commission's

8   approval of FPL's request to recover costs associated with an

9   uprate at its Turkey Point nuclear plant.  The costs incurred

10   were of a capital nature and associated with nuclear

11   production, not fossil fuel.  However, because the project

12   would allow FPL to lower total overall fuel costs by more than

13   the expected costs of the project, the Commission found that

14   the project fell within the scope of Order Number 14546.  This

15   Commission precedent indicates that any costs that result in

16   overall fuel savings are potentially subject to recovery under

17   the fuel clause as fuel-related costs.

18             I would suggest that Mr. Hewson raises a red herring

19   when he opines that if the Commission approves recovery of this

20   project, it will have to approve recovery of virtually all O&M

21   projects.  As Mr. Portuondo explains in his rebuttal testimony,

22   most O&M projects, including costs incurred in planned and

23   unplanned outages, are recognized and anticipated when base

24   rates are determined because they are meant to repair or

25   replace existing equipment due to natural wear and tear.  By

FLORIDA PUBLIC SERVICE COMMISSION

14

1   contrast, the costs of the modular cooling project were not

2   recognized or anticipated in the cost levels used to determine

3   the company's base rates.  We're not talking about a normal

4   foreseeable O&M project here.  No one could have foreseen the

5   unprecedented cooling water intake temperatures that

6   necessitated this project and they were simply beyond the

7   company's control.  These are the types of volatile and

8   unpredictable costs that the Commission previously has

9   recognized that cost recovery clauses are designed to cover.

10             Now I'd like to touch upon one other point raised by

11   OPC Witness Merchant.

12             CHAIRMAN EDGAR:  And, Mr. Perko, you're over time, so

13   I'll need you to wrap.

14             MR. PERKO:  Okay.  I just wanted to touch on one

15   point that Ms. Merchant raises.  She goes into great detail

16   talking about ratemaking theory and the effect of this project

17   on Progress's earned rate of return.  And I would suggest that

18   that discussion is irrelevant because this Commission has

19   established specific criteria in determining whether a project

20   is, is recoverable under the cost recovery clauses, and it has

21   specifically rejected a rate of -- an earnings test in

22   establishing whether costs are recoverable either under the

23   ECRC and also under the fuel clause.  And with that, Madam

24   Chair, I'll conclude.

25             CHAIRMAN EDGAR:  Thank you, Mr. Perko.

FLORIDA PUBLIC SERVICE COMMISSION

15

1             Mr. McGlothlin.

2             MR. McGLOTHLIN:  Yes.  Thank you.

3             Commissioners, in the scheme of things this docket

4   and the amount of money involved in this docket is not as

5   impressive as some of the other things that come your way, but

6   the case does involve some important principles.  And also from

7   the customer standpoint a thousand small cuts can be as painful

8   as a single large one.  And we predict that if you approve this

9   request, others will follow.

10             We're going to sponsor the testimony of two

11   witnesses, Thomas Hewson and Patricia Merchant.  Mr. Hewson is

12   a civil engineer by training and has been involved as a

13   consultant on environmental matters to the energy industry for

14   some 30 years and has offered expert testimony in more than a

15   dozen states.  Ms. Merchant is our office's resident CPA and

16   has substantial regulatory experience, as you're aware.

17             The principle that I mentioned is discussed in

18   Ms. Merchant's testimony.  It is that base rates continue to be

19   the primary means of overseeing and regulating a regulated

20   utility's financial condition.  Base rates are designed to

21   recover general costs as opposed to tracking a specific one,

22   and they are designed to function in an environment of changing

23   customer patterns, changing revenue, changing costs, with the

24   objective of maintaining a reasonable return over time.

25             Cost recovery mechanisms are an exception to this

FLORIDA PUBLIC SERVICE COMMISSION

16

1   basic and fundamental ratemaking approach, and they are

2   designed to track precisely a single item of cost.  Because

3   they are an exception they have eligibility criteria.  And I

4   think it's important for the Commission to emphasize in this

5   case and others that it intends to police those eligibility

6   criteria to ensure that utilities do not attempt to enlarge the

7   scope of a cost recovery mechanism beyond the original intent.

8   Because the effect of allowing a cost that is technically

9   ineligible for inclusion to go through a cost recovery

10   mechanism is to increase the customers',  the size of

11   customers' bills and is tantamount to an unwarranted and

12   backdoor rate increase.  For that reason, we ask you to take a

13   close look at the rationale offered by the company in this

14   case.

15             To begin with, the, the ECRC claim, again, the

16   criterion is that the activity is legally required to comply

17   with the government-imposed environmental regulation that was

18   enacted or became effective or whose effect was triggered after

19   the company's last test year upon which rates are based.  And I

20   agree with counsel that the question presented by this

21   application is the meaning of the word "triggered."  It's

22   undisputed that the regulation in question has been in effect

23   since 1988, has been continuously in effect since that time,

24   which predates the last rate case.  So the question is what

25   does the phrase "triggered by," "triggered" mean?  We contend

FLORIDA PUBLIC SERVICE COMMISSION

17

1   that triggered means that regulation is in place but the

2   requirement to comply occurs later.  And as a matter of fact,

3   the rule that is cited in Mr. Portuondo's rebuttal testimony is

4   of that ilk.  In other words, the regulation is in place in

5   Year A, but it says that by Year B you will do thus and so.

6   That isn't what the company is arguing in this case.  Instead,

7   the company argues that a change in climatic conditions, in

8   other words, the increase in temperatures is a triggering

9   effect.  We contend that that is not a triggering event, it is

10   simply a change in operating conditions that may have the

11   effect of increasing the costs necessary to comply with a

12   regulation that has been in effect since 1988, and that's where

13   the dispute focuses.  And we see the question as follows:

14   Should the Commission stretch the definition of trigger to

15   allow the utility to flow this cost through the ECRC in case,

16   in which case the customers' bills go up, or should it enforce

17   the definition of eligible costs, in which case the utility

18   absorbs those costs through base rates?

19             If you recall, the recovery mechanism is already a

20   utility favoring device.  It has the effect of reducing risk,

21   ensuring recovery of the costs defined for inclusion.  But to

22   extend it to include increases in what is basically O&M would

23   be an abuse of the clause.  That would be detrimental to

24   customers.

25             With respect to the fuel cost recovery clause, I hope

FLORIDA PUBLIC SERVICE COMMISSION

18

1   the Commission will take time to review the number of times in

2   which the word "fossil" precedes "fuel" in the order that's

3   cited by counsel, and also to take into account the example

4   that is included in that order.  The example of costs that can

5   be flowed through the clause even though they're base rate in

6   nature gave the example of the leasing of an oil terminal for a

7   short-term to make possible the purchase of oil to be burned in

8   generating units at a particularly attractive price.  What we

9   see here has reached -- is far afield from anything that, that

10   resembles that.

11             Bear in mind also that the company describes the

12   situation as follows.  They are currently derating generating

13   units in order to lessen the impact on the temperature of the

14   water that exits the system.  Economic dispatch is the norm,

15   it's the normal objective.  That means you're using the lowest

16   cost resources available to meet customer demand.  If you are

17   derating, that means you are departing from the norm and you're

18   imposing on the system abnormally high costs.  So when a

19   measure is designed to eliminate abnormally high costs and get

20   back to the norm, can you really call that fuel savings?  We

21   think instead it's another example of O&M that's necessary to,

22   to realize the objective of every utility, which is to operate

23   efficiently.

24             The company also says that it has two options:  It

25   can continue to derate the unit or it can incur the costs here.

FLORIDA PUBLIC SERVICE COMMISSION

19

1   That's a bit like saying I have two options:  I can buy a tire

2   or I can continue to run on a flat.

3             We think that the option of derating should not be

4   regarded as coequal with the objective of returning from an

5   abnormally expensive situation to one in which the units are

6   operating in economic dispatch.

7             So for those reasons, we think that the proposed

8   measure fails to meet the criteria of either the environmental

9   cost recovery clause or the fuel cost recovery clause.

10             And I would end simply by noting that when

11   Ms. Merchant performs her exercise, it is not to impose an

12   earnings test, per se, but it's to make the point that if an

13   ineligible cost is precluded from going through a clause, that

14   is not a harsh result for the utility because the result would

15   be to require it to absorb those costs of base rates.  And that

16   is the third option in this case.  Counsel for the utility

17   would, would like to portray this as an either/or, being one

18   clause or the other, but the third alternative is to tell the

19   utility to look to its base rate earnings as it must with

20   respect to other costs that don't qualify for inclusion.  And

21   the fact is that the, the impact on, on earnings in this case

22   would be de minimis.  And base rates continue to have a

23   function, and the function is to ensure that the company has an

24   opportunity to continue to achieve a fair rate of return.  And

25   in the event the impact of additional costs on that return is

FLORIDA PUBLIC SERVICE COMMISSION

20

1   to make it less than fair, then the alternative is not to abuse

2   the cost recovery mechanism, but to seek an increase in base

3   rates, at which time the Commission would have the opportunity

4   to look at the totality of the company's circumstances.  Thank

5   you.

6             CHAIRMAN EDGAR:  Thank you, Mr. McGlothlin.

7             Commissioners?

8             Ms. Brown.

9             MS. BROWN:  We can turn to the record at this point

10   and admit the testimony and exhibits.

11             Preliminarily, I would ask that you look at your

12   staff's comprehensive exhibit list.  On Page 2 we corrected the

13   title of one exhibit.  It's reflected correctly in the

14   prehearing order, but I just wanted to point that out to you.

15   And then before we get started, I think Mr. Perko has some

16   changes to the testimony of one of his witnesses.

17             CHAIRMAN EDGAR:  Okay.  Mr. Perko.

18             MR. PERKO:  Yes.  Madam Chair, in order to resolve an

19   objection that Mr. McGlothlin had to Mr. Portuondo's rebuttal

20   testimony, we've deleted some of the exhibit that originally

21   appeared in that testimony and changed the discussion within

22   the testimony to reflect that.  There's no real substantive

23   change, but we just felt like it was probably easier to change

24   that testimony and exhibit to make it clear to understand.  So

25   I've left that with each of you, with staff and the court

FLORIDA PUBLIC SERVICE COMMISSION

21

1   reporter, and I believe Mr. McGlothlin has reviewed it.  I

2   don't want to speak for him, but I think he's okay with that.

3             CHAIRMAN EDGAR:  Mr. McGlothlin.

4             MR. McGLOTHLIN:  I have reviewed it.  It's

5   acceptable.

6             CHAIRMAN EDGAR:  Okay.  All right.  Thank you,

7   Mr. Perko.

8             MS. BROWN:  With that, Madam Chairman, we ask that

9   the prefiled testimony of the witnesses identified in

10   Section VI of the prehearing order be entered into the order.

11             CHAIRMAN EDGAR:  Okay.  The prefiled testimony of the

12   witnesses with the substituted revised rebuttal testimony of

13   Witness Portuondo will be entered into the record.

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

77

1             MS. BROWN:  We have also prepared, as I mentioned, a

2   comprehensive exhibit list that includes staff's stipulated

3   composite exhibit and all exhibits prefiled with the parties'

4   testimony.  We ask that the exhibit list itself be marked as

5   Exhibit 1 and all other exhibits be marked as identified on the

6   list.

7             CHAIRMAN EDGAR:  Okay.  Seeing no objection -- no

8   objection.  The comprehensive exhibit list will be marked

9   Exhibit 1 and the composite list with all of the, the, all the

10   rest of the exhibits will be so marked.

11             MS. BROWN:  We ask that the marked exhibits all be

12   admitted into the record.

13             CHAIRMAN EDGAR:  And the exhibits as marked will be

14   entered into the record.

15             (Exhibits 1 through 11 marked for identification and

16   admitted into the record.)

17             MS. BROWN:  And I think, Madam Chairman, unless the

18   parties have anything more, we can conclude the hearing.

19             Let me point out that the transcript of the hearing

20   will be due May 7th, the briefs will be due May 31st, staff

21   recommendation June 27th for an Agenda July 10th.

22             CHAIRMAN EDGAR:  To the parties, any other matters or

23   questions or comments?

24             MR. McGLOTHLIN:  I have none.

25             CHAIRMAN EDGAR:  None?  Mr. Perko?

FLORIDA PUBLIC SERVICE COMMISSION

78

1             MR. PERKO:  I have none.

2             CHAIRMAN EDGAR:  None.  Commissioners?  No.

3             Okay.  Well, then as always, thank you to our staff,

4   thank you to the parties for the cooperation in getting us to

5   this point so that the issues could be laid out for

6   consideration.  And, Ms. Brown, thank you, and we are

7   adjourned.

8             (Proceeding adjourned at 10:10 a.m.)

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

79

1   STATE OF FLORIDA    )

:         CERTIFICATE OF REPORTER

2   COUNTY OF LEON      )

3

4             I, LINDA BOLES, RPR, CRR, Official Commission

Reporter, do hereby certify that the foregoing proceeding was

5   heard at the time and place herein stated.

6             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

7   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

8   proceedings.

9             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

10   or employee of any of the parties' attorneys or counsel

connected with the action, nor am I financially interested in

11   the action.

12              DATED THIS ______ day of May, 2007.

13

14                  ________________________________

LINDA BOLES, RPR, CRR

15                  FPSC Official Commission Reporter

(850) 413-6734

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION