1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. UNDOCKETED

3

4     In the Matter of

5   REVIEW OF TEN-YEAR SITE PLANS

OF ELECTRIC UTILITIES.

6                                          /

7

8

9

10

11             ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

12               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

13

14   PROCEEDINGS:        10-YEAR SITE PLAN WORKSHOP

15   DATE:               Wednesday, August 15, 2007

16   TIME:               Commenced at 9:44 a.m.

Concluded at 11:20 a.m.

17

PLACE:              Betty Easley Conference Center

18                       Room 148

4075 Esplanade Way

19                       Tallahassee, Florida

20   REPORTED BY:        LINDA BOLES, RPR, CRR

Official Commission Reporter

21                       (850)413-6734

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1   PARTICIPANTS IN ATTENDANCE:

2             SARAH ROGERS, representing the Florida Reliability

3   Coordinating Council.

4             GREG RAMON, representing Tampa Electric Company.

5             STEVEN SCROGGS, representing Florida Power & Light.

6             R. ALEXANDER GLENN, ESQUIRE, representing Progress

7   Energy Florida.

8             KATHERINE FLEMING, ESQUIRE, and TOM BALLINGER,

9   representing the Commission Staff.

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1                        P R O C E E D I N G S

2             CHAIRMAN EDGAR:  Good morning.  We are going to get

3   started.  So I call this workshop to order, and we're going to

4   begin by asking our staff to read the notice.  Ms. Fleming.

5             MS. FLEMING:  Good morning.  Pursuant to notice

6   issued by the Commission Clerk on July 12th, 2007, this time

7   and place has been set for a Commission workshop in the

8   undocketed review of Ten-Year Site Plans.

9             CHAIRMAN EDGAR:  Thank you.  And I'd like to ask

10   Mr. Ballinger of our staff to give us a few overview comments

11   and describe what we are hoping to accomplish today, and a

12   little overview of our agenda as well.  Mr. Ballinger.

13             MR. BALLINGER:  Good morning, Commissioners.

14             As you know, Section 186.801, Florida Statutes,

15   requires that all major generating utilities in Florida submit

16   a Ten-Year Site Plan to the Commission for review.  The

17   Commission performs a preliminary study of each plan and takes

18   in comments from state, regional and local planning agencies as

19   part of our review process.

20             After compiling the pertinent information, we will

21   bring it to the Commission at Internal Affairs and the

22   Commission must make a finding of either suitable or unsuitable

23   for each plan.  The Commission workshop today is part of our

24   review process, and a brief agenda has been provided to all

25   parties and is part of your notebook that you have before you.

FLORIDA PUBLIC SERVICE COMMISSION

4

1             To begin with, Ms. Sarah Rogers will, who is

2   President and CEO of the Florida Reliability Coordinating

3   Council, will summarize the 2007 Regional Load Resource Plan,

4   which is basically an aggregate of all the utilities in

5   Florida.

6             Part of her discussion will talk on conservation

7   efforts, new renewable, coal-fired and nuclear generating

8   facilities, and also Ms. Rogers will give a presentation on the

9   FRCC transmission planning process and natural gas

10   deliverability for Florida.

11             In summary, the FRCC is giving you kind of a state of

12   the state of the electric utility industry in Florida, and

13   that's really the sole purpose, if you will, of this workshop

14   to kind of give you an overview.

15             Following Ms. Rogers will be Mr. Greg Ramon from

16   TECO, who is the ringleader, if you will, of a task force that

17   the FRCC has put together to look at cost-sharing for joint

18   transmission facilities.  He will give you an update.  You

19   heard a little bit of one at a previous Internal Affairs, and

20   this is a spillover from last year's Ten-Year Site Plan

21   workshop.

22             And to wrap up the workshop we have Mr. Steve Scroggs

23   from Florida Power & Light who will give you a brief overview

24   of pending nuclear projects, both uprates and new units, that

25   FPL is planning.

FLORIDA PUBLIC SERVICE COMMISSION

5

1             Staff -- to give you a little information, staff will

2   provide a report to the Commission in early December.  We'll go

3   to Internal Affairs.  Usually we have two choices.  So if you

4   have some input and comments you want to do, we can bring it

5   back for a second look before it gets submitted to the DEP.

6             The real purpose of this whole review in determining

7   suitability or unsuitability is to forward our comments to the

8   DEP that they can use in future site proceedings for power

9   plants.  And that's a brief wrap-up of what we're here to do.

10             CHAIRMAN EDGAR:  All right.  Thank you,

11   Mr. Ballinger.

12             There will, of course, be the opportunity,

13   Commissioners, for discussion and for questions, and I'm

14   expecting that our staff may have some questions as well as we

15   move through the presentations.  Before we ask Ms. Rogers to

16   kick us off with the first presentation, are there any opening

17   comments or questions for our staff?  No?

18             Okay.  Then we'll jump right in to the next part of

19   the agenda.  Ms. Rogers, welcome.

20             MR. BALLINGER:  Chairman Edgar, if I might.  I'm

21   sorry, Sarah.

22             CHAIRMAN EDGAR:  That's all right.  Mr. Ballinger.

23             MR. BALLINGER:  I want to make sure that you got

24   updated presentations from Florida Power & Light that they

25   delivered this morning.  They were delivered to all of your

FLORIDA PUBLIC SERVICE COMMISSION

6

1   offices.  I want to make sure they're in your notebooks.  I

2   think they are.  Okay.

3             CHAIRMAN EDGAR:  Oh, yes.

4             MR. BALLINGER:  Okay.

5             CHAIRMAN EDGAR:  And thank you for checking.

6             MR. BALLINGER:  Thank you.

7             CHAIRMAN EDGAR:  Ms. Rogers.

8             MS. ROGERS:  Good morning, Chairman and

9   Commissioners.  Thank you for having us here today.

10             As Tom mentioned, I'm going to review for you our

11   2007 load and resource plan, as well as a report on renewables,

12   the coal forecast and the nuclear forecast, the impact of the

13   20 percent renewables.  We have a very brief, high-level

14   analysis of that.  We're going to go over the natural gas

15   deliverability analysis and go over some contingencies that

16   we've run and some next steps where we are in that process.

17   Update on the regional planning process and then an update on

18   the Florida central coordinated study that was of much interest

19   at last year's workshop.

20             (Technical difficulty.)

21             Thank you for your patience on this.

22             For those of you who may not be familiar with the

23   FRCC, our purpose is to ensure and enhance the reliability and

24   adequacy of the bulk power system in the State of Florida now

25   and into the future.  We are a not-for-profit organization.  We

FLORIDA PUBLIC SERVICE COMMISSION

7

1   own no generation, no transmission, no distribution assets.  We

2   consist of 27 members.  Our members are investor-owned

3   utilities, cooperatives, municipals, Federal Power Agency,

4   power marketers and independent power producers.  Our technical

5   activities are carried out by two committees, our planning

6   committee and our operating committee.  And what you'll see

7   here today is the culmination of a lot of work by our planning

8   committee.

9             So with that, I'll go into the load and forecast.  In

10   comparison to 2006, the 2007 forecast has been reduced, and

11   there's two reasons for that.  One is the amount of demand-side

12   management that is being forecasted by the utilities.  As these

13   programs are implemented, that will reduce the peak demand

14   forecast.  And additionally the impact of the 2005 Energy

15   Policy Act, which required more energy efficient appliances, we

16   see an impact of that in the later years as less efficient

17   appliances are replaced with more efficient appliances.  So

18   that's the primary driver for the reduction in the demand

19   forecast for the summer.

20             This is the winter forecast.  The explanation is the

21   same there.  There is a small impact of less of a robust

22   economic forecast.  That has reduced it slightly as well.

23             When we look at our total available capacity over the

24   next ten years, the blue line there is the existing capacity,

25   red is cumulative additions, green is our nonutility

FLORIDA PUBLIC SERVICE COMMISSION

8

1   generators, which we lump together both the traditional

2   nonutility generators and the independent power producers.  And

3   the white, of course, is the transactions.

4             One cautionary note on this is that we do have a fair

5   amount of generation in the plan that has yet to be sited.  For

6   example, in 2010, about 17 percent of that new generation has

7   yet to be sited.  And, of course, as we get into later years,

8   that's to be expected.

9             Our planned reserve margin, we have a requirement of

10   a 15 percent reserve margin, and then there has been a

11   stipulated agreement between the investor-owned utilities and

12   the Commission to have a 20 percent reserve margin for their

13   systems.  And as you can see, we look very good in that area.

14             Our reserve margin review is to ensure that the

15   15 percent FRCC standard is met.  And as you saw from the

16   previous slides, we exceed 20 percent for all peak periods

17   except for 19 percent in 2008.  This is something we really

18   need to keep an eye on because as our reserve margin is

19   comprised more and more of demand-side management instead of

20   generating units, we must ensure that that 15 or 20 percent is

21   adequate.

22             One way to think about this is the reserve margin

23   also is an insurance for us as generating units go out on

24   maintenance or unexpected long-term outages.  So if our reserve

25   margin is comprised solely of demand-side management, that

FLORIDA PUBLIC SERVICE COMMISSION

9

1   would mean that we would have to invoke that demand-side

2   management throughout the period of the generation outage, and

3   that's something that I don't think our customers or consumers

4   would want to see.  So we want to ensure that our reserve

5   margin is comprised not only of demand-side management programs

6   but also of generating assets.

7             Our conclusion at FRCC is the results of the resource

8   adequacy review indicate that our region is reliable for the

9   next ten years, and we are going to be evaluating the impact of

10   planned coal plants being changed to natural gas or other

11   technologies.

12             Our load and resource plan fuel mix, as you can

13   see -- and this is what was submitted to us by the utilities in

14   2007, so this does not have the removal of some of the coal

15   units.  But our gas continues to grow to 44 percent in 2016.

16   And as a point of reference, in the United States in general

17   the amount of gas capacity is 19 percent.  So we far exceed the

18   rest of the United States in that area.

19             And in the summer demand it's -- this is megawatt

20   versus megawatt hours.  You can see that gas is more than

21   50 percent from, just from a capacity standpoint in 2016.  And

22   so these numbers do include Glades, Taylor, Stanton, Polk and

23   the Seminole Generating Station.

24             To give you a little history of how gas has continued

25   to grow in the State of Florida, this is an historical

FLORIDA PUBLIC SERVICE COMMISSION

10

1   perspective of the amount of generation or energy, rather, that

2   has been fueled by natural gas.  And if we look at that going

3   forward on Slide 13, you'll see if we remove -- the green line

4   is removing the Taylor and the Glades unit and assuming that

5   those units are replaced by natural gas.  Now I'm not going to

6   argue that that's the perfect assumption, but that's the

7   assumption that we made for this slide.  And then the red line

8   is the, the removal of the rest of the units with the exception

9   of Polk and Seminole 3, Seminole Generating Station 3.

10             Conservation, we've got a good story here.  Florida

11   really does an excellent job in the area of conservation, and

12   our utilities are continuing to improve those programs and

13   expand those programs.  This is in the summertime.

14             In our renewable resources, there our story probably

15   isn't as good as the rest.  In 2007, we've got 1,441 -- there

16   was an error on this, on either this slide or the next slide

17   where there was a typo.  But this is supply side, so this would

18   not include residential solar systems at this point in time.

19   But as you can see, the bulk of our renewables is made up of

20   municipal solid waste.

21             Going forward, there's been announcements of

22   125 megawatts of biomass, 13 megawatts of landfill gas and

23   88 megawatts of wood products.  And I included Progress

24   Energy's recent announcement in late July for their wood

25   products plant.

FLORIDA PUBLIC SERVICE COMMISSION

11

1             On the coal forecast, and this is what was submitted,

2   that's a total of 4,652 megawatts.  And of that, 58 percent of

3   that has been cancelled.  So we will have to replace that

4   generation with other resources.

5             On the nuclear forecast there's planned upgrades at

6   Crystal River 3, and then Progress Energy is entertaining the

7   concept of putting a nuclear plant in as well in 2016.

8             Let's take a look now, if you will, at the 20 percent

9   renewables on the net energy for load by 2016.  We project our

10   total load to be 308,000 gigawatt hours.  So 20 percent of that

11   is about 62,000 gigawatt hours.

12             If we were to serve that load from large municipal

13   waste generators or biomass generators, we would need about

14   85 new plants between now and 2016.  Another way to look at it

15   is if we were to try to meet this totally from wind, we would

16   need about 23,000 new windmill plants by 2016.  And that would

17   take up, just using sort of some industry average types of

18   numbers where there's about five windmills per mile, that would

19   be about 2,600 square miles of land that would be needed for

20   this.

21             And then we used a fairly low capacity rate on, on

22   that slide, the 15 percent capacity, and I wanted to give you

23   an idea of why we did that.

24             This slide comes to us from the Department of Energy

25   and it's an estimate of wind capability.  And as you can see,

FLORIDA PUBLIC SERVICE COMMISSION

12

1   the installations for wind would primarily be along our

2   coastline in Florida to get sufficient capacity.

3             All right.  Changing gears a little bit, I'm going to

4   talk to you now about natural gas deliverability.  We have two

5   major sources of gas into the State of Florida.

6             CHAIRMAN EDGAR:  Sarah, can I -- I'm sorry.  I need

7   to break in.  It's a lot of information and really great

8   information.  I thank you for that, and I will thank you again

9   I'm sure.

10             But before we move on to the next kind of subtopic, I

11   did want to see, Commissioners, certainly the opportunity

12   later, but while these slides are fresh if there are any

13   questions or comments before we move on to the next kind of

14   topic of your presentation.

15             Commissioner Skop.

16             COMMISSIONER SKOP:  Thank you, Madam Chair.

17             I had a quick question with respect to the reserve

18   margin review.  Currently I guess the target is the 15 percent

19   FRCC standard and we exceed 20 percent.

20             In your opinion, how do you feel, given Florida's

21   continued growth rate, do you feel those numbers are adequate

22   as they exist today or need to be more closely monitored?

23             MS. ROGERS:  I believe that they are adequate.  The

24   thing that I think we need to keep our eye on is the percentage

25   of those reserves that are made up of nongenerating assets.

FLORIDA PUBLIC SERVICE COMMISSION

13

1             COMMISSIONER SKOP:  Okay.

2             MS. ROGERS:  And right now we look good.

3             COMMISSIONER SKOP:  And as a follow-up to that with

4   respect to reducing peak demand to demand-side management, what

5   would be your opinion with respect to time of use metering to

6   smooth the demand curve to reduce those peaks to avoid cutting

7   into that reserve margin?

8             MS. ROGERS:  I'm actually not that familiar with the

9   success of those plans.  That might be better addressed to the

10   utilities.  They may have more information on that.

11             COMMISSIONER SKOP:  Thank you.

12             CHAIRMAN EDGAR:  Commissioners, any other comments or

13   questions at this time?

14             Mr. Ballinger, did you have question?

15             MR. BALLINGER:  If I may.

16             CHAIRMAN EDGAR:  You may.

17             MR. BALLINGER:  Ms. Rogers, on the -- let me go first

18   to the renewable slide you had there where you had the

19   20 percent.  And what I get out of this is that --

20             CHAIRMAN EDGAR:  Tom, can you give us the number?

21             MR. BALLINGER:  I'm sorry.

22             CHAIRMAN EDGAR:  That's all right.

23             MR. BALLINGER:  Slide Number 19.

24             CHAIRMAN EDGAR:  Thank you.

25             MR. BALLINGER:  Sorry.

FLORIDA PUBLIC SERVICE COMMISSION

14

1             MS. ROGERS:  I'm trying to find it.

2             MR. BALLINGER:  That's it.

3             MS. ROGERS:  Sorry.

4             MR. BALLINGER:  What I get from this is that if we

5   were to try to make a 20 percent renewable percentage by the

6   year 2016, it would be very difficult because, I mean, 85 new

7   100 megawatt plants is quite an achievement.  I think we have

8   about, what, ten maybe in Florida now.  So would this kind of

9   indicate that it's going to be difficult and it might need some

10   new technology to meet that, if we set that as a target?

11             MS. ROGERS:  I agree with you.  I think that new

12   technology would definitely help in assisting, achieving this

13   goal.

14             Additionally, it depends on how you define

15   renewables.  Some states define renewables to include load

16   management and conservation.  That certainly would help us if

17   that was included in the definition.  I'm not sure exactly how

18   we're defining the renewables at this stage.

19             MR. BALLINGER:  I understand.  Okay.  And the other

20   slides, we don't need to go there, but basically we've seen

21   changes in the utilities' plans since they filed them in April:

22   The Glades unit, the Taylor unit has been removed or canceled.

23   We haven't updated the plans and the utilities will go through

24   that process; they're in the process now of developing next

25   year's plans and it's a very fluid process.  But can you get

FLORIDA PUBLIC SERVICE COMMISSION

15

1   from this that because of these changes of recent events and

2   things of that nature that the utilities' only options right

3   now I guess in the interim in the next five, six years maybe is

4   to go to more natural gas generation to meet reliability needs?

5             MS. ROGERS:  That's probably better answered by the

6   utilities themselves.  I'm not sure what's been available.  I

7   know several utilities have had RFPs out for renewables, and I

8   think that most of those plants are coming in in a later time

9   frame.  So I would think that it would be a good assumption

10   that in the early years that the coal would be replaced by gas

11   unless there's some significant renewables that are identified.

12             MR. BALLINGER:  Okay.  I agree to try to meet our

13   fuel diversity goals, if you will, that that's what we're

14   looking at now to carry us through to maybe we get to nuclear

15   in the later thing.

16             Would it be appropriate then to -- or at least to

17   give you a heads up, I guess, of next year to have more of a

18   focus on natural gas deliverability?  And I know you're going

19   to get into that in your next section, but I see that as being

20   kind of next year's topic, if you will, of the day because

21   that's kind of where we're structured.  Is that a fair

22   assessment, do you think?

23             MS. ROGERS:  I think so.  I think what you'll see

24   from the next presentation will provide you with some comfort

25   going forward with natural gas deliverability.  I'm revealing

FLORIDA PUBLIC SERVICE COMMISSION

16

1   the conclusions, but we're very -- the utilities here have

2   planned very well by having a significant number of plants that

3   have backup fuels, and that really makes a big difference when

4   you look at -- our percentage of gas units that are solely

5   reliant upon natural gas and only one pipe is small relative to

6   the overall size.  So I think that's the thing that we'll have

7   to keep an eye on going forward.  As utilities announce new

8   natural gas plants, a natural question might be about backup

9   fuel or alternate fuel capability.

10             MR. BALLINGER:  Okay.  Okay.  Thank you.  That's all

11   I had.

12             CHAIRMAN EDGAR:  Thank you.

13             Commissioners, anything else before we move to the

14   next?  No?  Okay.

15             MS. ROGERS:  As you can see, we do have two pipelines

16   into the state, the Florida Natural Gas and Gulfstream.  This

17   slide does depict it correctly.  The number of pipes on the

18   Florida Natural Gas is several parallel pipes coming into the

19   state, and they're generally spaced about ten feet apart, but

20   the pipeline coming in from Gulfstream is a single pipe that

21   comes in under the Gulf.

22             Our pipeline capacity into the FRCC region is

23   3.5 billion cubic feet per day, and that is fully subscribed.

24   There is no excess.  But that does not mean that they can't,

25   the gas companies cannot add compressor stations or additional

FLORIDA PUBLIC SERVICE COMMISSION

17

1   looping of pipe, which they call it, from an electrical world

2   that would be paralleling.  But so we do have, we are fully

3   subscribed today for gas.

4             And you may ask questions as I go along, if you'd

5   like.  I don't mind that.

6             Our high-level assessment, we worked with a firm to

7   put together a modeling system quite like the electrical

8   modeling system we use to model the generation and the

9   transmission on our, in the FRCC region.  Our high-level

10   assessment is that we do have almost 40,000 megawatts of

11   generation that can burn natural gas.  Of that,

12   28.8 thousand megawatts is dual fuel capability, and that's

13   either Number 2 fuel oil or Number 6 fuel oil.  There's 1,100

14   megawatts that have dual pipeline access, meaning that they can

15   be served from either Gulfstream or Florida Gas Transmission.

16   Overall, there's 7,600 megawatts of generation that has no

17   alternative fuel capability or alternative pipe access.  So

18   that is somewhat of a vulnerability for us going forward.

19             And to give you a point of reference, if all of the

20   generation capable of running gas ran gas for a full 24 hours,

21   that would be, they would consume 8.5 billion cubic feet per

22   day, which, as you saw from the previous slide, we're only

23   capable of delivering 3.54 BCF per day.  So we are dependent

24   upon our alternates.

25             CHAIRMAN EDGAR:  And I think you have fostered some

FLORIDA PUBLIC SERVICE COMMISSION

18

1   questions.  So Commissioner Carter.

2             COMMISSIONER CARTER:  Thank you very kindly.  I'm

3   really impressed with the information you've given us here.

4             You may have that later on and, if so, I'll just wait

5   until then.  But if you're looking at a total capacity with a

6   plus factor based upon what our current capacity is when you

7   get to the 8.5 billion cubic feet a day, are you going to

8   address that on what's been done to deal with that in the

9   coming time frame?

10             MS. ROGERS:  Well, essentially most of our gas plants

11   do not run 24 hours a day.  Gas is primarily used in the

12   combined cycle plants, sort of dispatching after the baseload

13   generation and then used for peaking.  So this scenario where

14   we would run 24 hours a day totally on gas is not very likely

15   to occur.  But I did want to include that to, to demonstrate if

16   we were to be totally reliant on the gas plants, we certainly

17   couldn't supply that today.

18             COMMISSIONER CARTER:  Just a follow-up, Madam Chair.

19             But based upon in your previous presentation on

20   Page 17 where you noticed that there were, the Taylor Energy

21   Center was canceled, the Glades 1 and 2 were canceled, has

22   there, has there been any thought given to replacing that

23   capacity with gas or --

24             MS. ROGERS:  That question would be best addressed by

25   the utilities themselves.

FLORIDA PUBLIC SERVICE COMMISSION

19

1             COMMISSIONER CARTER:  Okay.

2             MS. ROGERS:  I would only be speculating.

3             COMMISSIONER CARTER:  Okay.  Thank you.

4             Thank you, Madam Chair.

5             MS. ROGERS:  As I mentioned, we worked with a company

6   to develop a gas flow model to simulate transient gas flow

7   conditions.  We were very lucky to get a lot of cooperation

8   from the utilities to give us information that was very market

9   sensitive on how much pressure their turbines needed to run and

10   how much their consumption was, et cetera.  So the details of

11   this study will remain confidential at FRCC because of all that

12   market data there.  But we did want to give you some good

13   valuable information on that.

14             The simulation provides a detailed assessment of the

15   gas pipeline contingencies, so we run this model very similarly

16   to what we run our power flow studies where you have sort of a

17   steady state where everyone is consuming, all the plants are

18   consuming and all the pipeline is available.  And then you can

19   take contingencies, meaning you can simulate failures of the

20   gas pipeline and then see the results of that and how that

21   would impact the generation.  And that's -- I'm going to show

22   you three of those cases, but not on this slide.

23             We did look at, we actually did sort of a base case

24   study with a maximum natural gas transportation capacity into

25   West Central Florida, which is where the majority of our gas

FLORIDA PUBLIC SERVICE COMMISSION

20

1   plants are concentrated.

2             One of the scenarios we looked at was a complete

3   outage to a compressor station or pumping station feeding into

4   the West Central Florida area.  We looked at a catastrophic

5   failure or guillotine cut of the pipeline serving the West

6   Central Florida generation area, and then an impact to the

7   transportation capacity to FRCC for a complete outage of a

8   pumping station into Florida.  And we did not include a

9   depiction of that for critical infrastructure security reasons,

10   so if you can just sort of imagine in your mind these.

11             In the base case analysis what we, what we found is

12   the available capacity into the West Central Florida area is

13   1.66 BCF per day.  Of that, we have firm contractual rights for

14   generation usage of 1.44.  So that means that .22 is being used

15   for other reasons.

16             We have 14,800 megawatts of gas generation in that

17   region.  Of that, we've got 10.8 thousand megawatts of

18   generation that has alternate fuel capability.  Our minimum

19   consumption of natural gas is .058 per day or 4,000 megawatts.

20   And in a steady state capacity there's sufficient gas

21   deliverability into that region today with no outages, which

22   should not be a surprise.  That's what we would expect.

23             In analysis number two, as a reminder, this was the

24   loss of a pumping station or compression station that

25   essentially helps push the gas through the pipeline.  If we

FLORIDA PUBLIC SERVICE COMMISSION

21

1   look at that outage, that would reduce us down to 1.45 BCF per

2   day of the 1.66, and then it would reach a new equillibrium

3   point and about 775 megawatts of gas-fired generation would be

4   impacted.  So that would mean that we would need to switch

5   775 megawatts from gas to fuel oil, which would be equivalent

6   to approximately 23,000 barrels a day to replace that.  So in

7   this scenario we're all right if we lose a compression station;

8   however, we will be burning fuel oil as opposed to natural gas.

9             In analysis number two, we looked at a guillotine

10   break of the gas pipeline and what the impact to generation

11   would be.  This is a -- this analysis is really dependent upon

12   time of day impacts.  Impacts could be delayed up to three

13   hours, but approximately 2,900 megawatts of gas-fired

14   generation would be impacted.  And, again, we do have enough

15   generation that can run on alternate fuel to protect us from

16   this situation.

17             And the last analysis we looked at was a complete

18   outage of a pumping station into the State of Florida, so

19   closer to the Panhandle, impacting the FG,the Florida Gas

20   Transmission supply.  Again, this is time dependent on day, on

21   the time of day.  But approximately 900 megawatts of gas-fired

22   generation would be impacted, which is less than 2 percent.

23   So, again, we do have enough generation that has dual fuel

24   capability to cover us in this situation.

25             So we do have redundancies to mitigate natural gas

FLORIDA PUBLIC SERVICE COMMISSION

22

1   outages:  The dual fuel capability, the dual pipeline, supply

2   alternatives and possibly if the utilities pursue a liquid

3   natural gas project.

4             Our next steps are to reassemble our Gas Study Group

5   and share with them these results.  You're getting a preview

6   before the study group has.  And to review the summary

7   reference document, the results of the analysis, increase the

8   understanding of the current pipeline operations, refine the

9   modeling parameters as things have changed.  We also want to

10   look at the amount of gas storage that has been procured by the

11   utilities and see how that impacts us from a supply standpoint,

12   and there's been a lot of positive progress made in that area.

13   And we also -- and we'll continue to do that.  So those are our

14   sort of next steps there.

15             And that's all I have on natural gas deliverability,

16   so if you have any questions.

17             CHAIRMAN EDGAR:  Commissioners, any questions at this

18   point?  No?  Mr. Ballinger, no questions from staff?

19             Okay.  We're ready to move on.

20             MS. ROGERS:  All right.  Now I'm going to cover with

21   you the FRCC regional planning process.  For some of you this

22   will be somewhat of a review.  There have been some minor

23   changes in it.  For some of you it may be new to you.

24             The planning committee promotes the reliability of

25   the bulk power system in the FRCC region.  We assess and

FLORIDA PUBLIC SERVICE COMMISSION

23

1   encourage generation and transmission adequacy.  We provide a

2   vehicle for ensuring that the transmission planning within FRCC

3   will provide for the development of a robust transmission

4   network within our region.  We have three working groups that

5   also assist that:  We have the transmission working group that

6   develops the long-term plans, we have a stability working plant

7   that assesses the stability of the bulk power system by doing

8   contingency and sensitivity analyses, and a reliability working

9   group that performs reliability assessments of the resource

10   adequacy or the generation side for the future ten years.

11             In July of 2005 the FRCC board of directors approved

12   our transmission planning process.  It started with

13   transmission owners' plans and sought comments from

14   stakeholders.  The transmission working group and the staff,

15   the FRCC staff reviewed these plans to ensure the robust

16   reliable system.  Members include FERC jurisdictional and

17   nonjurisdictional entities.  And we provide Ten-Year Site Plans

18   and reports to the Florida Public Service Commission.

19             We have revised the planning process to support FERC

20   Order 890 objectives.  These revisions have been approved by

21   the FRCC planning committee and by the FRCC board of directors.

22             In our planning process we compile a database of all

23   the data from our members, so it's a very dynamic database.  As

24   changes are made, we update that database.  So, for example, as

25   the utilities identify replacement sources for their coal

FLORIDA PUBLIC SERVICE COMMISSION

24

1   generation that has been cancelled, our database will be

2   updated, we'll do an analysis of that, we'll make sure that the

3   planned transmission associated with that will support that new

4   generation, always looking to ensure for reliability and

5   robustness.

6             Our first step in our planning process is the

7   transmission owners submit their plans that they've done sort

8   of for their footprint to the FRCC, and those plans are posted

9   for comments from stakeholders.

10             We collect the feedback from our customers and other

11   stakeholders.  We review and assess the plans to ensure that

12   the composite plans meet the customer's need and ensures

13   reliability.  And then we conduct sensitivity analysis to

14   ensure that under most predictable circumstances that these

15   plans will continue to work.  And when we run studies, we run

16   everything at peak periods.  So we run sort of worst-case

17   analysis from the beginning.  And then when we do the

18   sensitivity analyses, we're sort of making that worst-case even

19   worse.  And this supports the FERC 890 requirements to have

20   coordination, openness and transparency in the regional

21   planning process, and supports comparability and information

22   exchange principles in the Order 890.

23             We issue a preliminary regional plan, then the

24   transmission planning group approves the regional plan.  And we

25   also have a dispute resolution process for unresolved issues.

FLORIDA PUBLIC SERVICE COMMISSION

25

1   If there are any disputes, we do have a process to address

2   those.

3             Some of the key aspects of our planning process is it

4   does provide coordination amongst all the participants, it

5   provide openness and transparency.  People have an opportunity

6   to have input into the plans.  We coordinate the information

7   exchange and we ensure that there is comparability throughout

8   the process.

9             I mentioned we have the dispute resolution process.

10   Regional participation is also ensured.  We coordinate with

11   participation from the entire region.  We do inter-regional

12   studies with SERC, which is the FRCC equivalent to our north

13   and west of the Apalachicola River.  We do economic planning

14   studies, and we also are including a cost allocation agreement,

15   which Greg Ramon will be covering in a little bit where we

16   stand on that.

17             Our latest version of the transmission planning

18   process will be approved by our board of directors later this

19   year, which will include the cost allocation.

20             In summary, our planning process does meet all the

21   objectives outlined in FERC Order 890 for regional transmission

22   activities.  It's consistent with all nine principles outlined

23   in the order.  It's supported by our transmission owners,

24   customers and stakeholders, and, most importantly, it has

25   continued to be supported by our Public Service Commission.

FLORIDA PUBLIC SERVICE COMMISSION

26

1             We do three studies a year.  The Ten-Year

2   Transmission Reliability Study, we do summer and winter

3   assessments for the upcoming summer, upcoming winter.  We're

4   working on the 2008 winter right now.  And we do inter-regional

5   transmission studies to ensure that our system is compatible

6   with our neighboring systems.

7             Our Reliability Standards Test, we look for single

8   component outages with no loss of electrical demand.  So that

9   means at the peak period with all the generation dispatched we

10   can withstand the loss of a generator or a transmission line or

11   a transformer and still serve all of the load in our region.

12             We also look at multiple component outages.  And in

13   those cases we look -- the standards require us to have a

14   controlled loss of electrical demand or no loss of electrical

15   demand.  So we can withstand at the peak period the loss of two

16   components and not have a cascading effect like they had in the

17   northeast in August of 2003.

18             And then extreme component outages, again, we looked

19   for no wide area cascading outages.  So we want to ensure what

20   happened in the northeast does not happen here in Florida.  And

21   our analysis of the transmission plans for 2007 through 2016 do

22   satisfy these tests.

23             I mentioned we do an inter-regional transmission

24   study.  The purpose there is to determine the amount of

25   reliable import and export capability into the FRCC Southern

FLORIDA PUBLIC SERVICE COMMISSION

27

1   Company transmission interface.  And we completed that study,

2   and for the summer of 2007 we continue to have 3,600 megawatts

3   import capability in the summer and 1,500 megawatts export

4   capability, and then for the winter we'll have 37 import and

5   2,000 export.  These numbers haven't changed much over the

6   recent years.

7             And that's what I have for you on the planning

8   process, and if you have any questions.

9             CHAIRMAN EDGAR:  Commissioners, questions?  No?

10   Staff, questions?  No?  No questions.

11             You're giving us all the answers.

12             MS. ROGERS:  Well, good.

13             Now I'd like to update you on one of the products of

14   our planning process, and that's the Florida Central

15   Coordinated Study.  As you -- those of you who were here last

16   year, we got a lot of interesting information on that.

17             We have updated the study to include the years 2014

18   through 2016, and we do not see any problems in those years.

19   And this is an update on the schedule of the lines that were

20   committed to by the utilities, and it's a very good story.

21   We've got several projects that have been moved up; one project

22   that was delayed because of the moving up of another project

23   and we had some dates swap.  I'm not sure whether that was our

24   error in that or a change in priorities.  But overall this is

25   good news.  They're making a lot of progress on the, on

FLORIDA PUBLIC SERVICE COMMISSION

28

1   building these lines.  The Lake Agnes/Gifford line is a TLSA

2   line, and Progress Energy and TECO have applied for the needs

3   application.  So everything is moving along very smoothly in

4   this area.

5             And that's all I have on the coordinated study.  Any

6   questions?

7             CHAIRMAN EDGAR:  Sarah, you had -- and this may be a

8   question that's better posed to Mr. Ramon, and, if so, that's

9   fine.  But you had mentioned a few slides back about the cost

10   allocation plan that would be approved by or put to a committee

11   here in a couple of months.  Cost allocation is an issue that

12   has come to us occasionally, not often actually but

13   occasionally.  Could you elaborate just a little bit on some of

14   the issues that go into that, the cost allocation and how that

15   process works for the FRCC?

16             MS. ROGERS:  Well, actually that's what Greg is just

17   going to cover next.

18             CHAIRMAN EDGAR:  Okay.

19             MS. ROGERS:  But that completes my presentation.  So

20   if you have any other questions for me, I'd be happy to

21   entertain those.

22             CHAIRMAN EDGAR:  Okay.  Questions, Commissioners, on

23   any of the other points?

24             Okay.  I have one also.  Towards the, and there's no

25   reason -- oops, excuse me -- no reason to go to the slide, but

FLORIDA PUBLIC SERVICE COMMISSION

29

1   one of the earlier slides at the beginning you had mentioned,

2   or a couple of them mentioned to us that in a number of the out

3   years that some of the units in, that are being considered for

4   reliability and robustness purposes are not yet sited, and, of

5   course, that makes sense.  Then you also discussed a process or

6   the need and the ongoing review and evaluation of possibly

7   replacing planned coal units that will not go into effect.  And

8   then I'm also wondering with, with -- let me try again because

9   I realize I'm wandering.

10             Realizing that siting is always difficult, and

11   probably even becoming more so just due to growth and

12   environmental issues and other related factors, how does that

13   evaluation process work in the out years to assure that

14   robustness and reliability and 20 percent reserve margin when,

15   indeed, some of the units being considered are not sited and

16   could potentially run into permitting problems?

17             MS. ROGERS:  That's an excellent question.  We, what

18   we look at is an assumption of where they're going to be

19   located regionally.  The out years are much less reliable

20   because so many things change, as we've seen over the years.

21   The plans change, the load forecasts change, et cetera.  But we

22   do, what we do look at is will there be enough generation to

23   match the load?  And we don't really address the will there be

24   the transmission there, et cetera.  We address that as it

25   becomes closer in the time frame.  Would you agree with that?

FLORIDA PUBLIC SERVICE COMMISSION

30

1             CHAIRMAN EDGAR:  Commissioners, any questions for

2   Ms. Rogers before we move on to the next presentation?  No.

3   Okay.  Seeing none.  Sarah, thank you so much.  Excellent,

4   excellent presentation.

5             MS. ROGERS:  Thank you.  I appreciate your time.

6             CHAIRMAN EDGAR:  And next on our agenda we have

7   Mr. Ramon with TECO.  Good morning.

8             MR. RAMON:  Good morning, Chairman Edgar,

9   Commissioners.  I am the ringleader of the Florida Cost Sharing

10   Task Force.  Knowing my colleagues, I'll never be able to shed

11   that title.  So thank you, Tom.

12             This morning I'm going to provide you -- if I can get

13   the slide to -- how do you get it up?

14             (Technical difficulty.)

15             MR. RAMON:  There you go.  Technical difficulties

16   aside, this is a work in progress.  And today I want to provide

17   you a status of where we're at, a time line.  But along with

18   that, I also want to provide you a better understanding of the,

19   in the FRCC region of the issues that we're trying to use the

20   cost allocation methodology to resolve.

21             (Technical difficulty.)

22             All right.  Okay.  I want to spend a minute, if I

23   can, on this slide to give you some context for the FRCC effort

24   on the cost allocation because it's important to know that

25   there are two regulatory initiatives that are driving us on

FLORIDA PUBLIC SERVICE COMMISSION

31

1   cost allocation.  It's the initiative before this Commission

2   which we reported on a bit last year and the one at FERC, Order

3   890, and I want to share a little bit about those two

4   initiatives.

5             The development of a cost allocation methodology for

6   this region is an outgrowth of needed enhancements to the FRCC

7   transmission planning process that Sarah just talked to you

8   about.  In the Commission order in the closing of the "Good

9   Florida" docket, to quote from the Commission's order, "Florida

10   would still benefit from laying additional basic framework for

11   wholesale competition and efficiencies that may be gained by

12   making modifications to the current market structure."  And you

13   identified at least two initiatives there, and that was the

14   transmission planning process and the development of a

15   cost-based spot market.  And as you recall, back in June we

16   were at your Internal Affairs meeting to report on how that's

17   moving along rather well.  So cost allocation as a part of the

18   transmission planning process was identified early on, and

19   Sarah mentioned this task force was created.

20             Regarding last year, as you all know, the Central

21   Florida study underscored the need in the region to have a

22   methodology to address third-party impacts, which I'm going to

23   define that term a little bit better for you in a moment.

24             But lastly, the other regulatory initiative is FERC

25   Order 890, which is the reform of the Open Access Transmission

FLORIDA PUBLIC SERVICE COMMISSION

32

1   Tariff.  That added further impetus to developing the cost

2   allocation methodology.  Just quickly, the OATT, the acronym

3   for Open Access Transmission Tariff, was a landmark ruling back

4   in '96 aimed at fostering competition in wholesale power

5   markets by standardizing the provisions for transmission

6   service.

7             This reform is very broad in scope and covers many

8   facets of the provision of transmission service which I won't

9   cover except for transmission planning.  In their order, FERC

10   is requiring each public utility transmission provider to

11   submit a proposal for a coordinated and regional planning

12   process that complies with the planning principles and other

13   requirements in the final rule.  They enunciated nine

14   principles, which I won't go over in detail, from coordination,

15   openness, transparency, some of what Sarah talked to you about

16   before, but the ninth principle is cost allocation.

17             Fortunately, FERC doesn't prescribe any specific cost

18   allocation methodology and they do allow regional flexibility.

19   But when they review and approve the cost allocation that we're

20   going to, transmission providers will have to have in their

21   tariff, they will weigh three factors.

22             Real briefly, the one factor would be does the

23   proposal fairly assigned costs among participants who cause

24   incurrence of cost and to those who benefit from them?  And

25   another factor would be does the proposal provide adequate

FLORIDA PUBLIC SERVICE COMMISSION

33

1   incentives to construct new transmission?  And lastly, but

2   importantly, whether the proposal is generally supported by

3   state authorities and participants across the region.

4             So with that background, let, let's talk about the

5   conceptual framework of where we're at at this point.  What the

6   cost allocation methodology in the FRCC region is about is

7   so-called third-party impacts.  A real simple definition of

8   that would be transmission expansion that's required on one

9   system due to additions; an example being generation on another

10   transmission system.

11             We have a very integrated network in Florida, and

12   it's important that however the electrons flow, that a

13   transmission owner is responsible for upgrading their

14   respective systems to meet all the various planning standards.

15   But because of the third-party impacts, we need, we need to and

16   we are developing a cost allocation methodology to address

17   those impacts.

18             So let's make sure we're all on the same page what we

19   mean by third-party impacts with this very simple example.  And

20   I'm going to give credit to the task force.  There's a lot of

21   illustrative examples that are being developed for

22   clarification purposes, and this is just one of the many

23   examples.

24             So we have for purposes of the example two utilities

25   here.  We have Alpha, which is the white portion of the slide,

FLORIDA PUBLIC SERVICE COMMISSION

34

1   and Bravo, the other utility, which is a rectangle with dots.

2   Alpha is interconnecting a generator at Point B, the red

3   circle, and the line from Note A to the city across the Bravo

4   system overloads.  And the fix for that is to rebuild Line A to

5   the city.  So the situation here is Alpha is installing the

6   generator and has a request to Bravo to be able to fix that.

7   And Bravo definitely has the overload and the remedy.  So this

8   is a third-party impact for which this cost-sharing proposal

9   will apply.  Now this is a very simple example.  It gets quite

10   complicated in an interconnected network to identify all the

11   generators that would have to contribute to the cautionary and

12   that type of thing.

13             Let's drill down just a little bit.  This is still

14   very high level.  Two parts here.  We are developing threshold

15   criteria to determine whether the request by an affected

16   transmission owner, Bravo is the affected transmission owner in

17   the simple example, is qualified for this cautionary proposal.

18   And some of the criteria that we're working on is a

19   prespecified change in flow on the affected transmission owner

20   facility which results in a reliability standards violation.

21   We're saying that the transmission expansion must be 230kV or

22   above and the costs associated with the transmission expansion

23   must exceed a prespecified amount.  And lastly, but

24   importantly, the transmission owner must identify itself with a

25   potential affected transmission owner in a very timely manner.

FLORIDA PUBLIC SERVICE COMMISSION

35

1             The next part, who pays and how much, as you would

2   well imagine is quite an area of discussion.  But we do have a

3   framework, believe it or not, that we're working on in which a

4   portion of the load in an area or zone associated with the deed

5   for the transmission expansion would contribute to the cost of

6   building the new facilities on the Bravo system in that

7   example, any portion to the sources or cluster of sources which

8   are causing the need for the transmission.  And we have a lot

9   of work on that and a lot of clarification going on, but that

10   at a high level is the framework.

11             Lastly, we have a very, very aggressive schedule

12   driven largely by the FERC Order 890.  By December 7th of this

13   year -- by the way, it used to be October 11th and there was an

14   extension.  It would have been nice if we had had more time.

15   But December 7th is the date, and transmission providers must

16   file a compliant filing with the FERC by that date.  So backing

17   up from that stake in the ground, this Friday the FRCC board

18   will review the detailed framework that I've presented to you

19   at a very, very high level.

20             And as a part of the FERC process to develop the

21   transmission planning process, remember, there's nine

22   principles, not just cost allocation, but September 14th of

23   this year the transmission providers, and there are what we

24   call sponsors of the transmission planning requirements that

25   have worked on a single document, and that's Tampa Electric,

FLORIDA PUBLIC SERVICE COMMISSION

36

1   Florida Power & Light, Progress, JEA and Orlando, we will file

2   on our OASIS sites on September 14th the latest strawman

3   document that includes cost allocation but also the other

4   principles and how we are going to meet those requirements.

5   And we have a stakeholder process providing input into that

6   document that we will post September the 14th.

7             October and November, FERC is conducting a second

8   round of technical conferences to review the planning

9   processes.  Our work will be quite heated and quite a lot of

10   work to be done between September through November to develop

11   further additional detail and clarification on this cost

12   allocation methodology and principles, final board approval,

13   and last, but not least, review and approval by this body.

14   We're -- staff is following this work and I'm in conversation

15   with staff to design the regulatory review process for this

16   cost allocation method.

17             And then last, but not least, December 7th -- I

18   wonder if that's a Friday, Day of Infamy -- we have to make our

19   compliance filing.  So it's a work in progress.  I'm sorry I

20   don't have the solution for you, but that's, that's where we

21   are.

22             CHAIRMAN EDGAR:  You mentioned some of the principles

23   that were being used to, at a very high level conceptually to

24   try to meet the goals and requirements.  Could you run through

25   those again?

FLORIDA PUBLIC SERVICE COMMISSION

37

1             MR. RAMON:  This is -- the principles of the FERC?

2             CHAIRMAN EDGAR:  Uh-huh.

3             MR. RAMON:  Okay.  Coordination, openness,

4   transparency, information exchange, comparability, dispute

5   resolution, regional participation, and economic planning

6   studies and, lastly, cost allocation.

7             CHAIRMAN EDGAR:  All laudable goals.

8             Commissioners, any questions for Mr. Ramon?  Staff?

9   No?

10             All right.  Thank you.

11             MR. RAMON:  Thank you.

12             CHAIRMAN EDGAR:  And next we have Mr. Steve Scroggs

13   with Florida Power & Light.

14             MR. SCROGGS:  Good morning.

15             CHAIRMAN EDGAR:  Good morning.

16             MR. SCROGGS:  Thank you, Chairman Edgar and

17   Commissioners.  We're glad to have this opportunity to share

18   FPL's plans for pursuing future nuclear generation in the State

19   of Florida.

20             Just to let you know, I'm sure you know nuclear

21   generation is a proven technology, a reliable generation

22   technology that we've used to provide approximately 20 percent

23   of the energy needs today.  That's down from 30 percent in the

24   mid '70s.  The need for emission-free sources of electrical

25   generation combined with the desire for greater fuel diversity

FLORIDA PUBLIC SERVICE COMMISSION

38

1   and energy independence has created an opportunity for nuclear

2   generation to reemerge as a credible alternative to supply our

3   customers' needs.

4             FPL, as a leading provider of nuclear generation both

5   in the state and nationally, is responding to these challenges

6   of meeting our customers' needs by two initiatives that I look

7   forward to sharing with you today.  In general we see both

8   initiatives as supportive of Florida's goals overall.  Nuclear

9   generation provides a real means to help substantially meet

10   these goals.

11             The primary goal articulated by Governor Crist's

12   Executive Order 07-127 is to achieve meaningful greenhouse gas

13   reductions.  Nuclear generation is the only baseload generation

14   technology that produces no emissions, neither greenhouse gas

15   emissions or other pollutants such as mercury or sulfur

16   dioxide.

17             The incorporation of new nuclear baseload generation

18   into the FPL portfolio reduces greenhouse gas emissions in two

19   ways.  First, by new nuclear capacity being placed online,

20   we're avoiding the need for fossil-based generation that does

21   emit gas.  Secondly, as new nuclear generation comes on to the

22   system as baseload generation, existing older fossil generation

23   moves into an intermediate or peaking role, which reduces the

24   capacity factor, again reducing the amount of generation that

25   fossil generation provides.

FLORIDA PUBLIC SERVICE COMMISSION

39

1             By its nature, nuclear generation can play an

2   important role in increasing energy independence and supply

3   reliability into the state.  Earlier, Ms. Rogers gave us a good

4   summary of the gas infrastructure into the state.  As it

5   affects FPL, approximately 50 percent of our energy needs are

6   met using gas-fired generation today.  We have a considerable

7   amount of dual oil or gas fuel capability on our system, and

8   that was put to the test in the summers of 2004 and 2005 when

9   we received a number of hurricanes that disrupted supply in the

10   Gulf of Mexico requiring us to maintain system reliability

11   through the use of a combination of alternative fuels for our

12   gas-fired generation and the oil, coal and nuclear generation

13   that exists on the system today.  Increasing the contribution

14   of nuclear in the portfolio provided direct means of increasing

15   reliability and energy independence to the state.

16             Additionally, we feel that these benefits can be

17   accomplished in concert with and not at the expense of

18   enhancing the contributions of renewable resources,

19   conservation and other demand-side management programs.  Over

20   the next ten years we project a need of over 6,000 megawatts of

21   new capacity to be required.  Nuclear can supply some of this

22   generation but not all.

23             Contributions from renewable resources, conservation

24   programs, demand-side management programs will be just as

25   important to meeting the needs of FPL's customers in an

FLORIDA PUBLIC SERVICE COMMISSION

40

1   environmentally responsible way.

2             Just a little more detail in terms of -- I've talked

3   about baseload, intermediate and peaking capacity.  FPL's

4   capacity demand shape has two components:  A baseload

5   component, which is demand that is required for most of the

6   hours or if not all of the hours of the day.  And the second

7   component is a variable component.  It peaks in the late

8   afternoon with the minimum occurring early in the mornings.

9             FPL's baseload plants are used to serve the baseload

10   portion of the daily demand curve.  Intermediate and peaking

11   units are brought on as needed during the day to serve the

12   variable portion.  Non-emitting renewable generation

13   technologies like sun and wind can provide energy when the

14   resource is available.  FPL would use all available renewable

15   generation to replace fossil fuel baseload, intermediate or

16   peaking generation resources, while nuclear generation would

17   remain online serving baseload needs without emissions

18   throughout the day.

19             Now I'll go through the specifics of our plan.  We're

20   looking at two different initiatives.  The first relates to

21   providing uprate or power capacity additions to our existing

22   facilities.  The second would be introducing new nuclear, a

23   program to pursue new nuclear on the system.

24             The industry has been very adapted in the past years

25   to increase additional capacity at existing facilities.  In

FLORIDA PUBLIC SERVICE COMMISSION

41

1   fact, over 4,000 megawatts of additional capacity has been

2   approved by the NRC at existing facilities in the last 20

3   years.

4             FPL has conducted uprates in the past.  In 1981 and

5   1986 we conducted uprates at the St. Lucie facility and in

6   1996 at the Turkey Point facility.  The process is proven,

7   efficient, and it leverages the existing investments for the

8   benefit of customers, and we believe additional uprates at our

9   existing facilities will serve customers well.

10             As previously announced, FPL is also pursuing two

11   options, two new nuclear plants at Turkey Point as an option.

12   These units would be among the first new nuclear generation

13   units designed, licensed and constructed in the United States

14   in over 30 years.

15             Specifically to the schedule for the power uprate,

16   we're looking at the first step obviously being the need

17   determination process with the Commission.  FPL would follow

18   that by pursuing the necessary licensing approvals at the state

19   and federal levels.  We would pursue state and federal

20   licensing in parallel.

21             In concert with that in order to maintain the

22   aggressive schedule that we've set for the uprates we would

23   need to begin the engineering and design work necessary to

24   support the upgrades.

25             The plan for implementing the upgrades involves

FLORIDA PUBLIC SERVICE COMMISSION

42

1   utilizing the current maintenance schedule for refueling and

2   coordinating the upgrades to be accomplished during these

3   already scheduled outages.  The outage time periods will be

4   extended a bit longer than they would otherwise, but it's a

5   nice fit within an already scheduled maintenance outage.

6             The option for new nuclear is something that we have

7   been exploring for a couple of years and we have been taking

8   action on.  We see now that the action is needed to preserve

9   this option.  We need to take concrete steps now to investigate

10   the ability to license and construct new nuclear in Florida.

11             The NRC and state licensing processes are the next

12   step in this investigation following the need determination and

13   would provide the appropriate means to develop the information

14   needed to guide future decisions.  In order to obtain the

15   earliest possible operation of new nuclear decisions regarding

16   preliminary expenditures will be required.  Postponing

17   decisions on preliminary expenditures could result in

18   disproportionate delays to the project as supply sources

19   tighten with the increase in the number of announced new

20   nuclear projects in the United States and internationally.

21             New nuclear generation no doubt will present many

22   challenges for us as the construction and licensing process

23   emerges from about 30 years as a hiatus.  These challenges are

24   not insurmountable, but they will require a consistent

25   disciplined approach to resolve uncertainties and to develop

FLORIDA PUBLIC SERVICE COMMISSION

43

1   the true potential of new nuclear generation.

2             Specifically as to schedule in the near term, the

3   process to deploy new nuclear generation will certainly be much

4   longer than the uprate process.  Following the need

5   determination, the state and federal license applications would

6   be developed.  The application development process itself will

7   take between 15 and 18 months, and then there's a review

8   process at both the state and federal levels.  These

9   applications are extremely detailed and will review all

10   technical, geological, environmental and socioeconomic issues

11   from a number of perspectives.  The application review process

12   offers a significant opportunity for involvement of the public

13   and their representatives in local, state and federal oversight

14   positions.

15             As the applications are prepared and reviewed, FPL

16   will have the option of making these incremental investments I

17   had talked about earlier that will help keep the timing of the

18   units on track.  In order for these units to be available by

19   the end of this next decade, design and site preparation

20   activities will be required prior to the expected receipt of

21   the licenses.  FPL will communicate the timing and the need for

22   these incremental investments to the Commission via the nuclear

23   power plant cost recovery filing process.

24             In terms of the two major decisions to embark on a

25   nuclear project, there's a site selection and a design

FLORIDA PUBLIC SERVICE COMMISSION

44

1   selection process.  FPL has conducted two important studies in

2   the past year to address the selection of these two important

3   areas.  A site alternative study was conducted that reviewed

4   over 20 candidate sites, ranking each site against a number of

5   criteria specific to nuclear site suitability.  This process

6   identified Turkey Point above others as a very well-qualified

7   site for additional nuclear capacity.

8             FPL has also been reviewing five nuclear designs as

9   candidates for implementation.  An engineering review was

10   conducted that determined that all five designs are technically

11   viable and would be technically capable of providing good,

12   safe, reliable generation.  The choice of design, therefore,

13   will be based on a balance of cost and risk management features

14   that will be offered by the vendors.  We expect to complete the

15   design selection process early next year.

16             Coordination is the hallmark throughout this upcoming

17   process.  We cannot succeed without the support of the

18   Commission and without the support of government at local,

19   state and federal levels.  Coordinating the concurrent reviews

20   of the needed applications at the state and federal level will

21   be a significant challenge and will require the good faith

22   efforts of many just to manage the total volume of information

23   that's contained in both of those applications.  FPL's

24   customers are relying on us to execute these steps in a timely

25   fashion and to deliver the benefits of new nuclear as soon as

FLORIDA PUBLIC SERVICE COMMISSION

45

1   possible.

2             Certainly financing these initiatives will be a

3   challenge.  A stable regulatory environment with continued

4   support is necessary to maintain cost to customers as low as

5   possible.

6             That's my prepared remarks.  If I have any questions,

7   I'd be happy to answer them.

8             CHAIRMAN EDGAR:  Thank you.  If I could just make one

9   comment first.

10             As I was coming in to work this morning I was

11   listening to NPR, as I do most mornings, and there was a story,

12   many of you probably heard it as well, a story about the

13   resurgence of support for nuclear generation across the

14   country, and that was the way the reporter characterized it.

15   So very timely discussions that we are all having obviously.

16             And on that point you had, I think you mentioned in

17   your presentation that the proposed potential new units at

18   Turkey Point would be the first new nuclear generating units in

19   the country.  And so I guess my question was realizing that

20   there is interest by other entities and there are other, and

21   other states as well looking at potential new nuclear

22   generation, is this potential project by FPL that far ahead of

23   some of those others so that it, right now it's scheduled to be

24   the first?

25             MR. SCROGGS:  No.  No.  I'm sorry if I implied that.

FLORIDA PUBLIC SERVICE COMMISSION

46

1             CHAIRMAN EDGAR:  I may have misheard.

2             MR. SCROGGS:  It's in the first wave of new projects.

3             CHAIRMAN EDGAR:  First wave.

4             MR. SCROGGS:  There are approximately seven

5   applications for the combined construction operating license

6   that will be submitted by year's end 2007.  There will be

7   another five to seven submitted next year.  And then FPL is

8   looking to be in early 2009 to provide its application.  So

9   we're not in the vanguard but we're in the first wave.

10             CHAIRMAN EDGAR:  First wave.  Thank you.

11             Commissioner Argenziano.

12             COMMISSIONER ARGENZIANO:  Thank you.  And thank you

13   for the presentation.

14             So what FPL anticipates is for the plant, if all goes

15   well and on time, the first plant to be built at the Turkey

16   Point plant site, I guess, in 2018 built?

17             MR. SCROGGS:  2018 is our target date for the first

18   unit to be commercial.  Yes, ma'am.

19             COMMISSIONER ARGENZIANO:  Okay.  And then the second

20   is 2020 at the same site?

21             MR. SCROGGS:  Again, that's our target date.  Yes,

22   ma'am.

23             COMMISSIONER ARGENZIANO:  Okay.  And that is if, of

24   course, everything goes accordingly.

25             MR. SCROGGS:  Correct.

FLORIDA PUBLIC SERVICE COMMISSION

47

1             COMMISSIONER ARGENZIANO:  Okay.  Thank you.

2             MR. SCROGGS:  Again, we look at this as, as an option

3   that we need to explore.  There's a certain, certainly a

4   significant amount of uncertainty that we are cognizant of.  I

5   think the state legislation that has inspired the rule changes

6   has recognized that, and that's the process that we've agreed

7   to move forward on.

8             CHAIRMAN EDGAR:  Commissioner Skop.

9             COMMISSIONER SKOP:  Thank you, Madam Chair.

10             Thank you for the presentation today.  I think it's

11   very, very informative.

12             With respect to the -- I think the uprates or the

13   potential uprates speak for themselves, and I think that's good

14   because it leverages existing nuclear generation capacity

15   furthering on what already exists.

16             With respect to the two nuclear units proposed for

17   Turkey Point and the targeted in-service dates of 2018 and

18   2020, is there any thought that's been given or ability to

19   leverage accelerating those by any degree?  I know that the

20   permitting process and the long lead materials are certainly

21   important, but is there any margin in the schedule to perhaps,

22   if things go well, to have them come in service on an earlier

23   date?

24             MR. SCROGGS:  At this stage it would be very

25   difficult for us to project how much margin is in the schedule.

FLORIDA PUBLIC SERVICE COMMISSION

48

1   But we know and recognize that there are opportunities that

2   will become available as the early process of applications that

3   go into the NRC this year and next start to wind their way

4   through the review process.  That will give us a lot of

5   feedback on what is expected in terms of timing and content of

6   the application review and will give us the best opportunity to

7   put forth an application that will have the minimum amount of

8   review necessary.  So we think that in this position there's a

9   number of opportunities for us to learn.

10             Again, the key to an earlier and accelerated

11   commercial operation date is some of the early steps and

12   expenditures that we would need to take to facilitate the

13   construction schedule.  Particularly there's some large, heavy

14   forgings that are needed at the beginning of construction.  So

15   you actually have to manufacture and purchase those, have those

16   shipped to site a year or two in advance of actually starting

17   construction.  So if you want to, if you want to make the most

18   accelerated schedule, you would make investments early to

19   facilitate that enhanced construction schedule.

20             COMMISSIONER SKOP:  And a quick follow-up to a point

21   you just made with respect to the existing technology base.

22   You know, the pipeline is pretty small because the last time I

23   checked we don't have a lot of nuclear procurement options.

24   But would it be better to, as you mentioned, to put those firm

25   orders in place earlier rather than later to the extent that

FLORIDA PUBLIC SERVICE COMMISSION

49

1   the pipeline would be -- similar to wind turbines now, you

2   can't get a turbine for a couple of years because the pipeline

3   is so already backed up, if you will.  Is there some benefit

4   to, to doing that, to making those orders to get your order

5   locked in for those forgings and such?

6             MR. SCROGGS:  Yes.  And back on Slide 12 I think

7   you'll see we've identified that some of those long lead

8   procurement activities could actually start next year.

9             COMMISSIONER SKOP:  Okay.  And then just two more

10   quick follow-up questions.

11             With respect to the nuclear designs under review, are

12   those all pressurized water reactors?

13             MR. SCROGGS:  No.  There are two designs that are

14   boiling water reactors.  GE has an ABWR, advanced boiling water

15   reactor, that's actually been under construction in Japan and

16   Taiwan.  Then they also have a larger unit, an economic

17   simplified boiling water reactor.  Those are both BWR

18   technologies.  The other three designs are pressurized water

19   reactors.

20             COMMISSIONER SKOP:  Okay.  And just -- I don't want

21   to hold you too much to the carpet on this because it's early

22   in the stage, but FPL's existing generation is all pressurized

23   water reactor; is that correct?

24             MR. SCROGGS:  In the State of Florida it's

25   pressurized water reactors.

FLORIDA PUBLIC SERVICE COMMISSION

50

1             COMMISSIONER SKOP:  Right.

2             MR. SCROGGS:  But we do have boiling water reactors

3   in our FPL energy fleets, particularly Duane Arnold.

4             COMMISSIONER SKOP:  And with respect to your service

5   experience, like in, I think, the technology, how do you just

6   generally trade off between those two, having the existing

7   experience with pressurized water versus the boiling water?

8             MR. SCROGGS:  In reality, our operational folks are

9   comfortable with either technology.  We think both provide very

10   safe, reliable designs that have been proven.  There are, you

11   know, other minor differences that are more operationally

12   related, but either design technology would be satisfactory to

13   us.

14             COMMISSIONER SKOP:  Okay.  And finally, is FPL -- you

15   know, I commend the collocation on the existing footprint,

16   which I think is a very, very good opportunity for expanding.

17             Is there, given the need for additional nuclear

18   generation within the state, any consideration to considering

19   other sites that would allow additional expansion in the future

20   for nuclear plants?

21             MR. SCROGGS:  Let me -- we are looking at other

22   opportunities for nuclear generation siting in the United -- in

23   the State of Florida and within FPL's territory.

24             COMMISSIONER SKOP:  Okay.  Thank you.

25             CHAIRMAN EDGAR:  Commissioner McMurrian.

FLORIDA PUBLIC SERVICE COMMISSION

51

1             COMMISSIONER McMURRIAN:  Thank you.  And thank you

2   for your presentation.

3             Just a follow-up on some of Commissioner Skop's

4   questions about the design options.  Are all of those design

5   options, all five that you're looking at, are all those

6   preapproved by NRC?

7             MR. SCROGGS:  No.  They're in various stages of

8   approval.

9             The ABWR, which is GE's 1,350 megawatt reactor, is a

10   design that has been certified.  The Westinghouse AP1000

11   reactor, which is 1,100 megawatts per unit, is also design

12   certified.  General Electric has submitted their design

13   certification application for the larger ESBWR.  It's under

14   consideration at the Nuclear Regulatory Commission right now.

15   And then there are two other larger pressurized water reactor

16   designs:  One by Mitsubishi Heavy Industries and the other by

17   Areva, a French company, that are both in the process of filing

18   their design certification documents to the NRC now.

19             COMMISSIONER McMURRIAN:  Okay.  I have several

20   questions, Chairman.  Thank you.

21             On that point, at some point whenever I was on a trip

22   to, for meetings on the Nuclear Waste Strategy Coalition, an

23   NRC representative made us aware of concerns that they had

24   about staffing.  Apparently they have a lot of -- a lot of

25   their senior staff members, they're at the stage where they

FLORIDA PUBLIC SERVICE COMMISSION

52

1   have a lot of retiring staff members and things and they

2   identified that as being a concern.  Do you have any

3   information if they've addressed those concerns?  I realize

4   they'll probably get a lot of applications for new nuclear

5   coming in, perhaps uprate projects and things like that, that's

6   going to really put a, add to their workload significantly.

7   Have you heard any --

8             MR. SCROGGS:  Absolutely.  We are aware and we have,

9   of course, close, regular communication with the NRC.  As you

10   may be aware, they have opened a new division, Office of New

11   Reactors.  It's based out of Atlanta, and it's solely to focus

12   on the new reactor licensing efforts in the United States.

13   They're staffing up, they're budgeted, they feel that they're

14   very ready to go.  In fact, some of the more recent discussions

15   have been very optimistic that time lines that had been

16   discussed three years ago might be able to be accelerated.

17             And, again, one of the keys to that is a

18   standardization of design so that the third unit of a given

19   design that the NRC reviews looks very much like the first unit

20   with the exception of site-specific items that can't be the

21   same.

22             COMMISSIONER McMURRIAN:  Thank you.  Also, given your

23   proposed time line, do you think your company will qualify for

24   the federal tax credits that are available?

25             MR. SCROGGS:  At this point our time line would not

FLORIDA PUBLIC SERVICE COMMISSION

53

1   support us qualifying because we would target to file our

2   combined operating license application in 2009, which would be

3   beyond the December 2008 time line.

4             COMMISSIONER McMURRIAN:  I guess along those lines,

5   do you think -- does FPL project that there's going to be

6   continued support at the federal level for new nuclear?

7             MR. SCROGGS:  We feel that there is a signal from the

8   state and federal legislature of strong continued support for

9   new nuclear.

10             COMMISSIONER McMURRIAN:  Good.  And another one along

11   sort of the federal policy debate, I have to ask about the

12   nuclear waste debacle.  And do you see that -- I don't know how

13   else to put it.  It's been years.  Do you see that as a barrier

14   to new nuclear plant construction?

15             MR. SCROGGS:  Again, we see it as an issue that needs

16   to be addressed throughout the process, but we don't see it as

17   a significant barrier.  As you're aware, dry cast storage has

18   been an engineered and licensed process for the safe handling

19   and storage of spent fuel.  If that were necessary, we could

20   rely on that for a continued period of time.

21             COMMISSIONER McMURRIAN:  Okay.  And one last one,

22   Chairman.

23             I've been hearing a lot and reading some about

24   uranium supply and demand and concerns about whether or not,

25   especially if a lot of the plants that are being proposed come

FLORIDA PUBLIC SERVICE COMMISSION

54

1   to fruition, that there are concerns about that and at least

2   the price.  Can you give us some extra information about that?

3             MR. SCROGGS:  I'm not an expert in nuclear fuel

4   price.  I can tell you certainly there is more pressure on the

5   nuclear fuel industry now as the resurgence becomes more

6   palpable, as these projects move towards reality.  But nuclear

7   fuel purchasing is done in general on a much longer term

8   contractual basis.  There's a lot more stability provided to

9   the pricing by purchasing in very, in large lots in long-term.

10   So it's not as volatile or as liquid as the fuels market for

11   natural gas or for oil.

12             COMMISSIONER McMURRIAN:  That's definitely good.

13   Thank you.  Thank you.

14             CHAIRMAN EDGAR:  Commissioners, other questions?

15             Commissioner Carter.

16             COMMISSIONER CARTER:  Thank you, Madam Chairman.

17   Just a couple of questions.

18             CHAIRMAN EDGAR:  Sure.

19             COMMISSIONER CARTER:  Maybe I didn't hear.  I know

20   that my colleagues, Commissioner Skop and Commissioner

21   McMurrian, asked you about the approved standard designs by the

22   Nuclear Regulatory Commission.  Did I hear you say whether or

23   not you guys are going to use one of the standard designs or

24   you're going to -- that's what I was listening to.

25             MR. SCROGGS:  We're still in our technology selection

FLORIDA PUBLIC SERVICE COMMISSION

55

1   process.  We have yet to finalize that.  And as I said, we've

2   gone through the engineering phase where we've looked

3   technically at all the designs, and we're comfortable that each

4   of these designs will be able to be licensed in the United

5   States, will provide safe and reliable generation.  It's more

6   now of determining what leverage and benefits we can obtain in

7   commercial terms and in risk management terms by going with an

8   individual vendor.  So we're at that stage of the process now.

9             COMMISSIONER CARTER:  Madam Chairman.

10             And the NRC came up with these standard designs to

11   shorten the process; correct?

12             MR. SCROGGS:  The NRC has been advocating the

13   industry to develop standardized designs, and the industry has

14   responded by providing a small subset by vendor of a single

15   design that each vendor, or in the case of General Electric,

16   two designs that the vendor is putting forth.  And each of

17   those designs, if we were to choose one design from Vendor A,

18   that design would contain all the similar technical

19   specifications, design background that anyone else, any other

20   utility in the United States that would deploy that same

21   technology would have the same diagrams, the same reliability

22   and safety studies supporting it.  So it would all be very,

23   very similar.

24             COMMISSIONER CARTER:  And just a final, Madam

25   Chairman.

FLORIDA PUBLIC SERVICE COMMISSION

56

1             I think you mentioned in response to a question of

2   Commissioner Skop about five different designs that you were

3   looking at.  And I didn't hear, excuse me, just difficult

4   hearing, I didn't hear whether or not you said that of the five

5   which ones were approved by the NRC and which ones you were

6   considering.

7             MR. SCROGGS:  Okay.  I'll go through those again.

8   The Westinghouse design is an AP1000, 1,100 megawatts.  It is

9   approved as a design, certified design by the NRC.  The other

10   design that has been through the design certification process

11   and is approved is General Electric's advanced boiling water

12   reactor.  So those are two of the five designs that have

13   achieved design certification.

14             The other three are in some stage of the design

15   certification review process.  General Electric's economic

16   simplified boiling water reactor has been submitted and is

17   under review.  The other two candidate technologies are

18   Mitsubishi's, I think it's APR.  That, that has been, the

19   design certification document has been developed for that and

20   will be submitted later this year.  For the Areva EPR, which is

21   the fifth unit, that is along the same time line.  They expect

22   to submit their design certification to the NRC for review

23   within the next six months.

24             COMMISSIONER CARTER:  Thank you, Madam Chair.

25             CHAIRMAN EDGAR:  Commissioners, further questions at

FLORIDA PUBLIC SERVICE COMMISSION

57

1   this time?  No?

2             Questions from staff?

3             MR. BALLINGER:  I have a couple, if you don't mind.

4             Mr. Scroggs, earlier you talked about the success of

5   this project would require regulatory commitment and

6   coordination amongst everyone and significant expenditures as

7   we go through.  Do you have a ballpark to tell us of the first

8   year or two when we start getting into permitting of

9   expenditures FPL is looking at?

10             MR. SCROGGS:  I think that, that information will be

11   provided more detailed in our need filing in the next near

12   term.  But on the order of, of $40 million a year for the next

13   two years would be devoted to the licensing process.

14             MR. BALLINGER:  Okay.

15             MR. SCROGGS:  To support development and initiation

16   of the license reviews at the state and federal level will be

17   on the order of $40 million a year.

18             MR. BALLINGER:  And I think those would be funds that

19   will be discussed in an annual review in cost recovery at the

20   Commission; correct?

21             MR. SCROGGS:  Yes, sir.

22             MR. BALLINGER:  Okay.  Thank you.

23             CHAIRMAN EDGAR:  Commissioners, other questions?  No?

24   No.

25             All right.  Thank you so much.

FLORIDA PUBLIC SERVICE COMMISSION

58

1             Commissioners, next on our agenda it says "Other

2   Related Issues."  I'm not sure what that is, so I'm going to

3   ask.  Mr. Ballinger, is there another related issue?

4             MR. BALLINGER:  Just trying to be thorough in case

5   something popped up between when the plans were filed and

6   anything else.  I don't have anything off the top of my head to

7   discuss.  We're open to -- the Commissioners have asked

8   questions they wanted to of the presenters, so I think we can

9   move on to the next topic.

10             CHAIRMAN EDGAR:  All right.  Well, let me see.

11   Commissioners, other related issues?

12             Commissioner Skop.

13             COMMISSIONER SKOP:  Thank you, Madam Chair.

14             I just was wondering whether, if we have anyone from

15   Progress that might be able to give an update on their 2016

16   reactor or just a quick status on that.

17             CHAIRMAN EDGAR:  Commissioner, I'm so sorry.  I was

18   having a hard time hearing you.  Could you repeat that, please?

19             COMMISSIONER SKOP:  Thank you.  Yeah.  I was just

20   wondering if we happen to have anyone from Progress here today

21   that might be able to comment upon the, their 2016 reactor?

22             CHAIRMAN EDGAR:  I don't know, but we can, we can

23   pose it to the room.  Commissioner Skop is asking if there's

24   anybody from Progress who can speak to the 2016 proposal.

25             Mr. Glenn, thank you for coming forward.

FLORIDA PUBLIC SERVICE COMMISSION

59

1             MR. GLENN:  I'm Alex Glenn on behalf of Progress

2   Energy Florida.

3             As part of our balanced solution to serving our

4   customers' needs, we are looking at and continue to look at new

5   nuclear in Florida to meet the 2016 time frame.  We are doing

6   that in a thorough, methodical process and analysis, given the

7   significant capital expenditures required for this type of

8   project, and also given the significant risks associated with

9   this type of project, given the scope and the complexity and

10   the time period involved.  This is a ten-year time period from

11   concept to actual in-service date in 2016.  And when we

12   complete that analysis we'd be happy to give you a very

13   detailed presentation on that when we make a decision and if we

14   choose to move forward with new nuclear for the 2016 time

15   frame.  But I'd be happy to answer any questions that you all

16   might have.

17             COMMISSIONER SKOP:  Thank you, Madam Chair.

18             No.  I just was looking for just a quick status

19   update in terms of whether they were, you know, moving forward

20   in that direction.  But thank you for that.  Appreciate it.

21             CHAIRMAN EDGAR:  Commissioner Argenziano.

22             COMMISSIONER ARGENZIANO:  Yes.  Given the time frame

23   and how quickly and how many problems could arise, do you have

24   an idea of when you may, you know, the company may make some

25   decisions?

FLORIDA PUBLIC SERVICE COMMISSION

60

1             MR. GLENN:  By the end of this year in all

2   likelihood.

3             COMMISSIONER ARGENZIANO:  By the end of the year.

4             MR. GLENN:  We are continuing to negotiate with our

5   vendor.  We have selected a technology.  It is the AP, the

6   Westinghouse AP1000 pressurized water reactor technology.

7   That's 1,100 megawatts.  And our desire is to put two units at

8   the Levy County nuclear site, so that would be 2,200 megawatts

9   going in in 2016 and 2017, with a need application by January

10   of '08 to meet the 2016 in-service date with our filing with

11   the DEP for site certification application following that

12   shortly.

13             However, we are still continuing to evaluate really

14   the critical issues, which are:  Financial, what is the cost

15   going to be ultimately?  What are the financial risks?  What

16   are the technical risks associated with this project?  What are

17   the reputational risks?  This may not be a completely popular

18   decision to build new nuclear, and particularly with associated

19   transmission facilities that will be required to put such a

20   large unit onto our system.  So that analysis is still ongoing

21   with the company, but we anticipate that we will make a

22   decision by the end of the year.

23             COMMISSIONER ARGENZIANO:  And if you feel, if the

24   company decides to go forward, do they feel that the end of the

25   year will give them enough time to make that deadline, 2016?

FLORIDA PUBLIC SERVICE COMMISSION

61

1             MR. SCROGGS:  Absolutely.  We're already,

2   Commissioner Argenziano, we're already taking steps.  We

3   actually have 21 NRC inspectors onsite at our Levy County site

4   on Monday and Tuesday of next week.  We are preparing the COLA

5   application.  We are taking all steps necessary at this time to

6   preserve that option.  But again -- and that would allow us to

7   have a -- if all, like Mr. Scroggs indicated, if all things,

8   the stars align, that would support a June 2016 in-service

9   date.  But that's a significant and it's an aggressive

10   schedule, but it can be, it can be achieved.  But, again, you

11   know, the regulatory risks, the financial risks and the

12   technical risks we're still evaluating.

13             COMMISSIONER ARGENZIANO:  Thank you.

14             CHAIRMAN EDGAR:  Any other questions for Mr. Glenn at

15   this time?

16             Commissioner Skop.

17             COMMISSIONER SKOP:  Thank you, Madam Chair.

18             I just wanted to thank you for that, for that quick

19   overview and with respect to the additional discussion on the

20   technology choice and some of the other related details.  So

21   thank you again.

22             MR. GLENN:  Sure.

23             CHAIRMAN EDGAR:  Thank you, Mr. Glenn.

24             And next on our agenda we have public input.

25   Mr. Ballinger, are you aware of anybody who has asked to speak

FLORIDA PUBLIC SERVICE COMMISSION

62

1   to address the Commission at this time?

2             MR. BALLINGER:  I'll let Katherine address that.  I

3   don't think so.

4             CHAIRMAN EDGAR:  Ms. Fleming.

5             MS. FLEMING:  We are not aware, we haven't been

6   contacted by anyone.  But if -- I would suggest that we check

7   to see if anyone is here that we're not aware of.

8             CHAIRMAN EDGAR:  Absolutely.  And so for those of you

9   that are with us here this morning, is there anybody that would

10   like to address the Commission at this time on the subject of

11   the Ten-Year Site Plans?  No?

12             All right.  Well, thank you all for your interest.

13   Thank you to our presenters.  A lot of excellent, excellent

14   information.  Commissioners, thank you for your questions, and

15   to our staff.  And we are adjourned.

16             (Workshop adjourned at 11:20 a.m.)

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

63

1   STATE OF FLORIDA    )

:         CERTIFICATE OF REPORTER

2   COUNTY OF LEON      )

3

4             I, LINDA BOLES, RPR, CRR, Official Commission

Reporter, do hereby certify that the foregoing proceeding was

5   heard at the time and place herein stated.

6             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

7   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

8   proceedings.

9             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

10   or employee of any of the parties' attorneys or counsel

connected with the action, nor am I financially interested in

11   the action.

12              DATED THIS ______ day of August, 2007.

13

14                 ___________________________________

LINDA BOLES, RPR, CRR

15                  FPSC Official Commission Reporter

(850) 413-6734

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION