John T. Burnett

ASSOCIATE GENERAL COUNSEL

PROGRESS ENERGY SERVICE COMPANY, LLC

October 11, 2007

VIA ELECTRONIC FILING

Ms. Ann Cole, Commission Clerk

Florida Public Service Commission

2540 Shumard Oak Boulevard

Tallahassee, Florida  32399-0850

Re:	Quarterly report of customer interruptions and curtailments.

Dear Ms. Cole:

Pursuant to Commission Rule 25-6.018(3), F.A.C., enclosed for filing on behalf of Progress Energy Florida, Inc., is the quarterly report of customer interruptions and curtailments for the quarter ending September 30, 2007.

Please acknowledge your receipt of this filing as provided in the Commission’s electronic filing procedures.  Thank you for your assistance in this matter.

Respectfully,

s/  John T. Burnett

JTB/lms

Customer Interruption and Curtailment (Bulk Power)

Quarterly Report (3rd Quarter 2007)

Date:	October 8, 2007

| Reason for Interruption | Crystal River 4 tripped – failure of Temperature Control Valve |
| --- | --- |
| Date | August 20, 2007 |
| Time | 5:04 pm (17:04) |
| Duration of Interrruption | 2 hours 24 minutes (17:04 – 19:28) |
| Amount of Load shed | 144.08 MW |