Notice of Proposed Rule

PUBLIC SERVICE COMMISSION

RULE NO: RULE TITLE
25-22.081: Contents of Petition
PURPOSE AND EFFECT: The purpose of the rule is to implement 2007 amendments to 403.519, F.S., dealing with the contents of an electric utility's petition for determination of need and extending the statute's applicability to integrated gasification combined cycle (IGCC) power plants. Docket No. 070672-EI.
SUMMARY: The rule is amended to include IGCC power plants, and to specify that a petition for determination of need must include information to allow the Commission to consider the electric utility's use of conservation measures and renewable energy sources and technologies in the determining need for new generation capacity.
SUMMARY OF STATEMENT OF ESTIMATED REGULATORY COSTS: The additional costs to electric utilities to comply with the rule should be minimal. Any person who wishes to provide information regarding a statement of estimated regulatory costs, or provide a proposal for a lower cost regulatory alternative must do so in writing within 21 days of this notice.
Any person who wishes to provide information regarding a statement of estimated regulatory costs, or provide a proposal for a lower cost regulatory alternative must do so in writing within 21 days of this notice.
SPECIFIC AUTHORITY: 350.127(2), 366.05(1), FS
LAW IMPLEMENTED: 403.519, FS
IF REQUESTED WITHIN 21 DAYS OF THE DATE OF THIS NOTICE, A HEARING WILL BE SCHEDULED AND ANNOUNCED IN FAW.
Pursuant to the provisions of the Americans with Disabilities Act, any person requiring special accommodations to participate in this workshop/meeting is asked to advise the agency at least 48 hours before the workshop/meeting by contacting: Office of Commission Clerk, 2540 Shumard Oak Blvd., Tallahassee, FL 32399-0850 (850)413-6770. If you are hearing or speech impaired, please contact the agency using the Florida Relay Service, 1(800)955-8771 (TDD) or 1(800)955-8770 (Voice).
THE PERSON TO BE CONTACTED REGARDING THE PROPOSED RULE IS: David E. Smith, Office of General Counsel, 2540 Shumard Oak Blvd., Tallahassee, FL 32399-0850, (850) 413-6199.

THE FULL TEXT OF THE PROPOSED RULE IS:

25-22.081 Contents of Petition.

(1) Petition for Fossil, Integrated Gasification Combined Cycle, or Nuclear Fuel Electric Plants. Petitions submitted to commence a proceeding to determine the need for a proposed fossil, integrated gasification combined cycle, or nuclear fuel electrical power plant or responses to the Commission’s order commencing such a proceeding shall comply with the other requirements of Chapter 25-22, F.A.C., as to form and style except that a utility may, at its option, submit its petition in the same format and style as its application for site certification pursuant to Sections 403.501 through 403.517, F.S., so long as the informational requirements of this rule and Chapter 25-22, F.A.C., are satisfied. The petition, to allow the Commission to take into account the need for electric system reliability and integrity, the need for adequate reasonable cost electricity, the need for fuel diversity and supply reliability, and the need to determine whether the proposed plant is the most cost effective alternative available, and the need to determine whether renewable energy sources and technologies, as well as conservation measures, are utilized to the extent reasonably available, the petition shall contain the following information:

(a) – (b) No change.

(c) A statement of the specific conditions, contingencies or other factors which indicate a need for the proposed electrical power plant including the general time within which the generating units will be needed. Documentation shall include historical and forecasted summer and winter peaks, number of customers, net energy for load, and load factors with a discussion of the more critical operating conditions. Load forecasts shall identify the model or models on which they were based and shall include sufficient detail to permit analysis of the model or models. If a determination is sought on some basis in addition to or in lieu of capacity needs, such as fuel diversity, then detailed analysis and supporting documentation of the projected costs and benefits is required. Where a determination is sought for a nuclear or integrated gasification combined cycle power plant, the nonbinding estimate provided for in paragraph (2)(b) below shall be considered to be sufficient for purposes of this paragraph.

(d) A summary discussion of the major available generating alternatives which were examined and evaluated in arriving at the decision to pursue the proposed generating unit. The discussion shall include a general description of the generating unit alternatives, including purchases where appropriate; and an evaluation of each alternative in terms of economics, reliability, long-term flexibility and usefulness and any other relevant factors such as fuel diversity and fuel supply reliability. These major generating technologies generally available and potentially appropriate for the timing of the proposed plant and other conditions specific to it shall be discussed. In addition, each investor-owned utility shall include a detailed description of the selection process used and a detailed description of the generating unit alternatives proposed by each finalist, if any, selected to participate in subsequent contract negotiations pursuant to Rule 25-22.082, F.A.C. No provision of Rule 25-22.082, F.A.C., shall be applicable to a nuclear or integrated gasification combined cycle power plant sited after June 19, 2006.

(e) – (g) No change.

(2) In addition to complying with paragraphs (1)(a) through (g) above, a nuclear or integrated gasification combined cycle power plant petition shall contain the following information:

(a) The description required by Section 403.519(4)(a)2., F.S., including a discussion about how the proposed nuclear or integrated gasification combined cycle power plant will enhance the electric supply reliability by reducing the exposure to fossil fuel supply disruptions;

(b) A description of and a nonbinding estimate of the cost of the proposed nuclear or integrated gasification combined cycle power plant, including associated transmission facilities;

(c) The annualized base revenue requirement for the first 12 months of operation of the proposed nuclear or integrated gasification combined cycle power plant, based on the nonbinding estimate of the cost provided pursuant to paragraph (2)(b) above; and

(d) No change.

Specific Authority 350.127(2), 366.05(1) FS.

Law Implemented 403.519 FS.

History–New 12-22-81, Formerly 25-2.133, 25-22.81, Amended 1-10-94, 2-20-07,         .

NAME OF PERSON ORIGINATING PROPOSED RULE: Kathy Lewis, Division of Economic Regulation, 2540 Shumard Oak Blvd., Tallahassee, FL 32399-0850, (850) 413-6594.
NAME OF SUPERVISOR OR PERSON WHO APPROVED THE PROPOSED RULE: Florida Public Service Commission
DATE PROPOSED RULE APPROVED BY AGENCY HEAD: November 20, 2007
DATE NOTICE OF PROPOSED RULE DEVELOPMENT PUBLISHED IN FAW: August 31, 2007

/tmp/in/input.doc