1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. 070650-EI

3   In the Matter of:

4   PETITION TO DETERMINE NEED FOR TURKEY

POINT NUCLEAR UNITS 6 AND 7 ELECTRICAL

5   POWER PLANT, BY FLORIDA POWER & LIGHT

COMPANY.

6   _______________________________________/

7

8

9             ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

10               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

11

VOLUME 1

12                         Pages 1 through 76

13   PROCEEDINGS:        HEARING

14   BEFORE:             CHAIRMAN MATTHEW M. CARTER, II

COMMISSIONER LISA POLAK EDGAR

15                       COMMISSIONER KATRINA J. McMURRIAN

COMMISSIONER NANCY ARGENZIANO

16                       COMMISSIONER NATHAN A. SKOP

17   DATE:               Wednesday, January 30, 2008

18   TIME:               Commenced at 9:41 a.m.

19   PLACE:              Betty Easley Conference Center

Room 148

20                       4075 Esplanade Way

Tallahassee, Florida

21

REPORTED BY:        LINDA BOLES, RPR, CRR

22                       Official Commission Reporter

(850) 413-6734

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1   APPEARANCES:

2             R. WADE LITCHFIELD, JOHN T. BUTLER, MITCHELL S. ROSS,

3   BRYAN S. ANDERSON, ANTONIO FERNANDEZ and JESSICA A. CANO,

4   ESQUIRES, Florida Power & Light Company, 700 Universe

5   Boulevard, Juno Beach, Florida 33408-0420; STEPHEN L. HUNTOON,

6   Florida Power & Light Company, Suite 200, 801 Pennsylvania

7   Avenue N.W., Washington, DC 20004; and KENNETH A. HOFFMAN,

8   ESQUIRE, Rutledge, Ecenia, Purnell & Hoffman, P.A., 215 South

9   Monroe Street, Suite 420, Tallahassee, Florida 32302-0551,

10   appearing on behalf of Florida Power & Light Company.

11             ROY C. YOUNG, ESQUIRE, Young van Assenderp, P.A.,

12   225 South Adams Street, Suite 200, Tallahassee, Florida 32301,

13   and ZOILA PUIG EASTERLING, ESQUIRE, Orlando Utilities

14   Commission, 500 South Orange Avenue, Orlando, Florida 32802,

15   appearing on behalf of the Orlando Utilities Commission.

16             JODY L. FINKLEA and DANIEL B. O'HAGAN, ESQUIRES,

17   Florida Municipal Power Agency, Post Office Box 3209,

18   Tallahassee, Florida 32315-3209, appearing on behalf of Florida

19   Municipal Power Agency and Florida Municipal Electric

20   Association.

21             SUZANNE S. BROWNLESS, ESQUIRE, 1975 Buford Boulevard

22   Tallahassee, Florida 32308-4466, and BRUCE PAGE, ESQUIRE, 117

23   West Duval Street, Suite 480, Jacksonville, Florida 32202,

24   appearing on behalf of JEA.

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1   APPEARANCES (Continued):

2             VICKI GORDON KAUFMAN, ESQUIRE, Anchors, Smith,

3   Grimsley, 118 North Gadsden Street, Tallahassee, Florida 32301,

4   appearing on behalf of Seminole Electric Cooperative, Inc.

5             J. R. KELLY, PUBLIC COUNSEL, and CHARLES J. BECK,

6   ESQUIRE, Office of Public Counsel, c/o The Florida Legislature,

7   111 West Madison Street, Room 812, Tallahassee, Florida

8   32399-1400, appearing on behalf of the Citizens of the State of

9   Florida.

10             BOB and JAN M. KRASOWSKI, 1086 Michigan Avenue,

11   Naples, Florida 34103-3857, appearing pro se (Krasowski).

12             KATHERINE FLEMING, JENNIFER BRUBAKER and CAROLINE

13   KLANCKE, ESQUIRES, FPSC General Counsel's Office, 2540 Shumard

14   Oak Boulevard, Tallahassee, Florida 32399-0850, appearing on

15   behalf of the Commission Staff.

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

4

1                              I N D E X

2                              WITNESSES

3

NAME:                                               PAGE NO.

4

GORDON HANSEN

5        Direct Statement                                10

Cross Examination by Mr. Krasowski              14

6

BARRY PARSONS

7        Direct Statement                                16

Cross Examination by Mr. Krasowski              22

8

DAWN SHIRREFFS

9        Direct Statement                                25

10   ERIC DRAPER

Direct Statement                                35

11        Cross Examination by Mr. Krasowski              42

12

13

14

15

16

17   CERTIFICATE OF REPORTER                              76

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

5

1                              EXHIBITS

2   NUMBER:                                           ID.    ADMTD.

3   1 through 13  Exhibits produced at Miami Service          55

Hearing

4

5   14            Comprehensive Exhibit List          52      52

6   15            Composite Stipulated Exhibit        53      53

7   91            Gordon Hansen Documents             10      55

8   92            Barry Parsons Documents             21      55

9   93            Dawn Shirreffs Documents            33      55

10   94            Stipulation to Issue 7              45      56

11   95            Notice/Proof of Publication         57      57

12   96            Need Study and Appendices           57

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

6

1                         P R O C E E D I N G S

2             CHAIRMAN CARTER:  Good morning.  I'd like to call

3   this hearing to order.  And before we get started, Commissioner

4   Argenziano, are you with us?

5             COMMISSIONER ARGENZIANO:  Yes.  Yes, I am, Mr.

6   Chairman.

7             CHAIRMAN CARTER:  Commissioner, what I want to do for

8   you, I know -- and we hope that you get well soon.  I know that

9   you're still not well and I know that we have you on the line,

10   that you can hear and make your comments and you're also

11   watching us online.

12             COMMISSIONER ARGENZIANO:  Yes.

13             CHAIRMAN CARTER:  But what we'll do, Commissioner

14   Argenziano, I won't call on you.  But if you have a question or

15   an issue or something that you'd like to do, to mention, just

16   chime in.  That way we can protect your voice.  Is that okay

17   with you?

18             COMMISSIONER ARGENZIANO:  Thank you very much, Mr.

19   Chairman.  I appreciate that.

20             CHAIRMAN CARTER:  All righty.  Okay.  Thank you.

21             Staff, would you please read the notice.

22             MS. FLEMING:  Pursuant to notice issued by the

23   Commission Clerk, this time and place has been set for a

24   hearing in Docket Number 070650-EI.

25             CHAIRMAN CARTER:  Okay.  Now let's take appearances.

FLORIDA PUBLIC SERVICE COMMISSION

7

1             MR. LITCHFIELD:  Thank you, Chairman Carter.  Wade

2   Litchfield, John Butler, Mitchell Ross, Bryan Anderson, Antonio

3   Fernandez, Jessica Cano and Steve Huntoon on behalf of Florida

4   Power & Light Company, with the address as set forth in the

5   Prehearing Order, and also Mr. Ken Hoffman of the Rutledge,

6   Ecenia firm here in Tallahassee with his address as set forth

7   in the Prehearing Order.

8             CHAIRMAN CARTER:  Okay.

9             MR. YOUNG:  Yes.  My name is Roy Young appearing on

10   behalf of Orlando Utilities Commission, along with

11   Ms. Easterling, who is here somewhere.  Thanks.

12             CHAIRMAN CARTER:  Okay.

13             MS. BROWNLESS:  Suzanne Brownless appearing on behalf

14   of JEA.  And with me also entering a notice of appearance is

15   Bruce Page from JEA.

16             CHAIRMAN CARTER:  Okay.

17             MR. FINKLEA:  Good morning, Commissioners.  Jody

18   Finklea appearing on behalf of Florida Municipal Power Agency

19   and Florida Municipal Electric Association.  And with me as

20   co-counsel is Dan O'Hagan.

21             CHAIRMAN CARTER:  Okay.

22             MS. KAUFMAN:  Good morning, Commissioners.  Vicky

23   Gordon Kaufman.  I'm with the Anchors, Smith, Grimsley firm

24   here in Tallahassee, and I am appearing on behalf of Seminole

25   Electric Cooperative, Inc.

FLORIDA PUBLIC SERVICE COMMISSION

8

1             MR. BECK:  Good morning, Commissioners.  J. R. Kelly

2   and Charlie Beck, Office of Public Counsel, appearing on behalf

3   of Florida's citizens.

4             CHAIRMAN CARTER:  Okay.

5             MRS. KRASOWSKI:  Good morning, Jan Krasowski,

6   Intervenor as an FP&L ratepayer.

7             CHAIRMAN CARTER:  Okay.  Did we get all of the

8   parties before I recognize staff?

9             MR. KRASOWSKI:  I'd like to introduce myself, if I

10   may, Mr. Chairman.  I'm Bob Krasowski.  I'm Jan's husband and

11   also an Intervenor, and will probably be doing most of the

12   speaking to represent the both of us as a matter of efficiency.

13   Good morning.  Thank you.

14             CHAIRMAN CARTER:  Good.  Staff.

15             MS. FLEMING:  Katherine Fleming, Jennifer Brubaker

16   and Caroline Klancke on behalf of the Commission.

17             CHAIRMAN CARTER:  Okay.  Staff, preliminary matters.

18             MS. FLEMING:  Staff is aware of several preliminary

19   matters.  We would recommend that those matters be taken up

20   when we convene the technical portion of the hearing.

21             CHAIRMAN CARTER:  Okay.  Let's do it then.

22             Okay.  So would you get us in the posture for our

23   public testimony?

24             MS. BRUBAKER:  At your preference, Mr. Chairman, we

25   do have a number of members of the public who have signed up to

FLORIDA PUBLIC SERVICE COMMISSION

9

1   speak at this proceeding.  My proposal would be to call them in

2   turn.  If you have any preliminary comments, we can go ahead

3   with those at this time, or you might just want to go ahead and

4   swear in the witnesses.

5             CHAIRMAN CARTER:  Okay.  I'm going -- in a minute

6   I'll swear the witnesses in as a group.  But I would like to

7   advise the speakers that you will be subject to

8   cross-examination by the parties and/or possibly by the

9   Commissioners.

10             Any documents offered by the speakers will be

11   identified.  And we'll be dealing with documents introduced at

12   a later portion of the program probably as we get into our

13   technical portion of it but not during the public testimony,

14   although they'll be marked for identification.

15             Let me just say from the standpoint of time, I

16   believe that we do want to hear from the public, and what we're

17   going to try as best as possible, if we can give the, an

18   opportunity for people to be heard, I'm looking at maybe six

19   minutes.  That will give a person an opportunity to be heard.

20   That way I won't have to, you know, crunch, you know, take off

21   time from people on the back end and so everybody will have a

22   fair opportunity to be heard.  Okay?

23             Now if there's no other preliminary matters, I guess

24   I'm ready to swear in the witnesses.  Ms. Brubaker, any other?

25             MS. BRUBAKER:  I have none.

FLORIDA PUBLIC SERVICE COMMISSION

10

1             CHAIRMAN CARTER:  Those of you that are wishing to

2   speak and be heard in this matter for the public testimony,

3   would you please stand and raise your right hand.

4             (Witnesses collectively sworn.)

5             Thank you very much.

6             Okay.  Ms. Brubaker, would you call our first

7   witness.

8             MS. BRUBAKER:  Thank you, Chairman.  First to speak

9   is Gordon Hansen.

10             CHAIRMAN CARTER:  Okay.  Mr. Hansen.  Oh, do you have

11   some exhibits?  Go ahead.  Give -- Mr. Hansen, give her a

12   moment to pass those out.  Leave one there for Commissioner

13   Argenziano.  Leave one right there.  Thank you.  Thank you.

14             MS. FLEMING:  Mr. Chairman, if I may, I would note

15   that this handout that's being handed out be identified as

16   Exhibit 91.

17             CHAIRMAN CARTER:  Exhibit 91?  Let's make it

18   Composite Exhibit 91 so we can kind of keep this as one

19   exhibit.  So all of this will be Exhibit 91.  Make sure you

20   give one to the parties.

21             Okay.  Do all the parties have one?  Please make sure

22   that the parties -- this would be Exhibit 91.

23             (Exhibit 91 marked for identification.)

24             Mr. Hansen, you are recognized.

25                            GORDON HANSEN

FLORIDA PUBLIC SERVICE COMMISSION

11

1   appeared as a witness and, swearing to tell the truth,

2   testified as follows:

3                          DIRECT STATEMENT

4             MR. HANSEN:  Thank you.  I'm a homeowner from

5   Chuluota, Florida.  Thank you for this opportunity to speak.

6   It will take about six minutes.  This talk will be very brief.

7   Backup information is included in the handouts.

8             I am treating this like a slide presentation.  I am

9   here to show that a simple solar hot water heating program can

10   offset a billion watt electric generators.

11             Slide 1 -- and you'll notice that they are labeled in

12   the very low right-hand corner.  Slide 1 is contact

13   information.

14             Slide 2, a national solar hot water heating program

15   will save homeowners $72 billion a year, save

16   600 billion pounds CO2 a year, reduce consumption by 1 trillion

17   kilowatt hours per year, eliminate over 100 power plants of one

18   billion watts each, and save mining 1 trillion pounds of coal

19   per year if they're coal plants.

20             Slide 3, this is the plan of the talk.

21             Slide 4, solar power, as you know, is about 100 watts

22   per square foot.  Our drive up here this morning, 300 miles,

23   would receive about the same amount of power as ten nuclear

24   power plants would produce.

25             Slide 5, solar panels.  Solar electric panels, which

FLORIDA PUBLIC SERVICE COMMISSION

12

1   many times are referred to as photovoltaic, I'm going to refer

2   to them as electric.  Solar electric panels cost 28 times more

3   than hot water panels and they are seven times less efficient.

4             Slide 6, solar systems.  Solar electric systems

5   receive eight times more incentive money.  Utilities make

6   $30 per month on the systems while the customer makes $20 per

7   month or saves $20.  Under a solar hot water heater the

8   utilities make zero money and the customer saves $50 per month.

9             Slide 7, in my opinion the utilities do not favor

10   solar.  Why?  Grid tied solar electric does not reduce

11   capacity, at least not very much.  And solar hot water does

12   not -- does reduce capacity, but the utilities end up losing

13   $600 per year per customer.

14             Slide 8, offsetting power plants.  In this case if

15   just two-thirds of the customers of FPL were to install a solar

16   hot water heating system, there would be no need for the two

17   nuclear power plants.

18             Slide 9, nuclear versus solar.  Solar has few unknown

19   costs, provides customers $600 a year savings, it is a

20   disbursed type of power and has no terrorist, meltdown or

21   radiation problems.

22             Slide 10, solar and nuclear prevent the same

23   pollution, the CO2 pollution, but nuclear has many other

24   problems, especially with spent fuel storage.  Solar is squeaky

25   clean.

FLORIDA PUBLIC SERVICE COMMISSION

13

1             Slide 11, getting started.  Governor Crist got his

2   tax bill introduced and passed in a very short order.  Solar

3   hot water required by law or code could be implemented in a

4   very similar manner.  Solar hot water for new homes would

5   require a simple code change.

6             Slide 12, solar hot water for existing homes could be

7   phased in over a ten-year period.  The key is that no up-front

8   money would be required and it pays for itself over time; for

9   example, three to four years.

10             Slide 13, I show several other energy sources.

11             And in summary, Slide 14, solar hot water is a low

12   tech solution that helps everyone.  Nationally it could replace

13   over 100 electric power plants.  I'm asking you please do not

14   rush to nuclear.  Solar is the best option.  Thank you.

15             CHAIRMAN CARTER:  Mr. Hansen, that was perfect.

16   Exactly five minutes.  And, I mean, very, very, very well done

17   in the presentation.

18             MR. HANSEN:  I was going to ask then, what was

19   perfect?

20             CHAIRMAN CARTER:  That was --

21             MR. HANSEN:  Thank you.

22             CHAIRMAN CARTER:  And I actually learned -- hold on.

23   Don't go away.  Don't go away.  Hold on.  It's a very good

24   presentation and I learned something and it was perfect, five

25   minutes.

FLORIDA PUBLIC SERVICE COMMISSION

14

1             Let me do this, ask, first of all -- Commissioners,

2   before I come to either of you, let me just check with the

3   parties first and see if any of the parties have any questions,

4   and then we'll -- are there any questions from Mr. Litchfield?

5             MR. LITCHFIELD:  No questions from FPL.

6             MR. YOUNG:  No questions from OUC.

7             MR. FINKLEA:  No questions from the municipals.

8             MR. BECK:  No questions.

9             MR. KRASOWSKI:  I have a couple of quick questions

10   for clarification, please, Mr. Chairman.

11             CHAIRMAN CARTER:  Okay.

12                          CROSS EXAMINATION

13   BY MR. KRASOWSKI:

14        Q    Mr. Hansen, on Slide Number 8, did I hear you

15   correctly that you said if, if, if two-thirds of FPL's

16   4.2 million customers had solar hot water, then the tabulation

17   would be accurate?

18        A    That's correct.

19        Q    Okay.  I see on your, your, in the box here it

20   identifies if one-third.  So would you say there's a need for a

21   correction there?

22        A    No.  On this slide I started out with calculating

23   based on one-third and say that was for one power plant.  And

24   then if 2.8 million customers, it would offset two.

25        Q    Okay.  Thank you.  And then one other question.  Are

FLORIDA PUBLIC SERVICE COMMISSION

15

1   you speaking of FP&L's Florida operation or the FP&L nationwide

2   in relation to Slide Number 8?

3        A    It's the Florida operation because they stipulate

4   that they have 4.2 customers.

5        Q    4.2 million?

6        A    So it takes, so it takes two-thirds of that amount of

7   customers.

8             MR. KRASOWSKI:  Thank you very much.

9             That's all, Mr. Chair.

10             CHAIRMAN CARTER:  Okay.  Commissioners?  Staff.

11             MS. BRUBAKER:  Thank you.  The next speaker is Eric

12   Draper.

13             CHAIRMAN CARTER:  Eric Draper.  I said it right,

14   didn't I?  Mr. Draper?  Okay.  Let's call the next speaker.  We

15   may double back.

16             MS. BRUBAKER:  Next speaker then, Barry Parsons,

17   please.

18             CHAIRMAN CARTER:  Barry Parsons.  Very good.  Mr.

19   Parsons.  Before you get started, Mr. Parsons -- welcome, by

20   the way, to the Florida Public Service Commission.

21             Do you have any handouts or anything?

22             MR. PARSONS:  Yes.  If, if the Commission is

23   amenable, I would prefer to hand these out afterwards so that I

24   may have your undivided attention, if that's --

25             CHAIRMAN CARTER:  I don't know if having our

FLORIDA PUBLIC SERVICE COMMISSION

16

1   undivided attention is possible.  No, just kidding.

2   (Laughter.)

3             MR. PARSONS:  Relatively speaking.

4             CHAIRMAN CARTER:  Okay.  Mr. Parsons, we'll do it

5   that way.  You are recognized, sir.

6                            BARRY PARSONS

7   appeared as a witness and, swearing to tell the truth,

8   testified as follows:

9                          DIRECT STATEMENT

10             MR. PARSONS:  Thank you.  My name is Barry Parsons

11   and I'm from Madison.  I'm a 33, 33-year resident of this

12   state.  I am a retired State of Florida vocational

13   rehabilitation counselor.

14             I want to make it clear I'm not an expert witness.  I

15   am merely a concerned citizen who has followed these power and

16   environmental issues for the past 45 years.

17             I feel -- I sense a need here, Commissioners, for

18   some perspective particularly for the benefit of the public and

19   I'd like to make a stab at that, if I may, here.

20             I find it incomprehensible that this Commission and

21   this state is actually seriously considering approving a new

22   nuclear power plant or two new power plants.  Ladies and

23   gentlemen, I'm going to ask you to think what you have here

24   with nuclear.  You have at once an energy choice that requires

25   the single most toxic mining process in the world; that

FLORIDA PUBLIC SERVICE COMMISSION

17

1   involves the use of the single most dangerous fuel stock on a

2   day-to-day basis; that demands the single most complex and

3   expensive safety, technology and processes; that produces the

4   single most hazardous, indeed lethal waste product in the

5   world; and that is the single most expensive energy option

6   utterly dependent on ongoing, ongoing subsidies, tax breaks,

7   federal loans, insurance guarantees, exemption from liability

8   in case of release of radioactive substances into the

9   community; and, to top it off, comprises the single most

10   tempting terrorist targets.  And I'm using that plural when

11   we're talking about the state and the nation as a whole,

12   because not only the plants themselves, but the many trucks and

13   trains that presumably will be hauling this deadly cargo across

14   45 states in our country to a single national waste repository,

15   which is probably the greatest terrorist dream of all.  Do you

16   really want to be a part of this?

17             Now your very capable staff, I'm told, stands ready

18   to perhaps rubber stamp this proposed plan.  I hope I'm wrong.

19   I believe maybe I am.  But as you know, Harry Truman's buck

20   stops with you, not with them.  And I would remind you that

21   last year at this time your staff was solidly behind the Perry

22   coal plant proposal, but you or the three of you that were on

23   board then listened to issues that many of us raised at those

24   hearings and asked questions about those issues of the

25   applicant, whom, as you may recall, had trouble coming up with

FLORIDA PUBLIC SERVICE COMMISSION

18

1   satisfactory answers.  And I know Mr. Carter remembers that

2   very well.  You all had the courage to reject a contemporaneous

3   coal plant proposal in the Glades and the Perry plant withdrew

4   its application, and a grateful Florida remembers.

5             I trust it is obvious, Commissioners, that we are

6   once again at a critical juncture.  And it is a very big buck

7   that has stopped at your table this time because your decision

8   could contribute to this artificial revival of a formerly

9   moribund industry best left to the dustbin of history.  Or your

10   decision, like the coal plant decision, could contribute

11   mightily to a new era of energy, sanity and safety in Florida

12   and perhaps across the country.

13             Make no mistake about it, folks, we are being watched

14   here in Florida by concerned people all across this country.

15   It is Florida and Tennessee that are putting up these first new

16   nuclear plant proposals and it's going to have a ripple effect

17   across this country.

18             Let me leave you with a quick final perspective.  The

19   striking example of Germany, and I think this is highly

20   relevant to your considerations here in Florida, Germany is not

21   only not building any new nuclear power plants, it is on track

22   to decommissioning all 16 of their existing nuclear power

23   plants.  Ask yourself, why would a leading developed industrial

24   country, a mature democracy purposely take offline a source of

25   one-fourth of its current national electrical power?

FLORIDA PUBLIC SERVICE COMMISSION

19

1             And two fresh facts from Germany I want to plug in

2   real fast too.  One is a new study that found that children who

3   live near nuclear power plants have higher rates of leukemia.

4   This is done by the Germany Registry of Childhood Cancer.  Two,

5   the City of Freeburg, Germany, has become the first solar city

6   in the world, all power being met by solar.  This, I would add,

7   in a country that has only one-seventh of the radiant solar

8   power of the State of Florida.

9             So I hope that you will keep perspective in your

10   minds and vision and courage in your hearts, Commissioners,

11   because we are depending on you.  Thank you.

12             CHAIRMAN CARTER:  Thank you very kindly, Mr. Parsons.

13   We sincerely appreciate that.

14             I notice you said you had some exhibits, but before

15   you pass -- let's let your passing out be the last thing that

16   we do.  Let me see if there are any questions from either of

17   the parties or staff or the Commissioners.  Any questions from

18   the parties?

19             MR. LITCHFIELD:  None at this time.  Although when

20   the exhibits are passed out, if we have a question, we'd like

21   the opportunity to come back and ask that, if that's

22   acceptable.

23             MR. YOUNG:  No questions from OUC.

24             CHAIRMAN CARTER:  Hang on a second.

25             Staff, while Mr. Parsons is there, can one of you

FLORIDA PUBLIC SERVICE COMMISSION

20

1   just kind of -- Mr. Ballinger, could you just kind of pass

2   those out?  Let's just see.  Let's see now.  Mr. Parsons, just

3   hold on for a second, please, sir.  We will assist you in

4   passing those out.

5             MR. PARSONS:  I need to apologize to the Commission.

6   I have only six copies, and so that was one each for the

7   Commissioners.  I'd love to have you all look at it.  The one

8   remaining copy for the applicant, it would have to be

9   duplicated.  Or I could get more of these at a later date.

10             CHAIRMAN CARTER:  No, we'll work through it.  We'll

11   work through it.  Here's what we'll do is that -- give us, give

12   it to the parties, let them look it over, and then just give it

13   to the Commissioners and we can look it over if we have any

14   questions from there.  We have to have one for the court

15   reporter, of course.

16             MR. PARSONS:  I'd like to mention, if I may -- can I

17   mention for the record, sir, that the information in this

18   booklet put out by the Southern Alliance for Clean Energy is

19   based in large part, as was my testimony, on the work of

20   Mr. Peter Bradford, who is former Chair of the New York State

21   Public Service Commission, former Chair of the Maine Public

22   Utilities Commission and former Commissioner of the U.S.

23   Nuclear Regulatory Commission.

24             CHAIRMAN CARTER:  Okay.  One for the court reporter.

25   And let the parties see it first, and then at that point in

FLORIDA PUBLIC SERVICE COMMISSION

21

1   time, if any Commissioner would like to see it, we can look at

2   it and then we'll go from there.  Let's just kind of take a

3   second to do that.  Commissioners, I beg your indulgence on

4   this.

5             (Pause.)

6             Wait.  Wait.  Don't go away.

7             Mr. Litchfield, are you ready?

8             MR. LITCHFIELD:  Yes.  Thank you, Mr. Chairman.

9   This, I assume, is marked as 92?

10             CHAIRMAN CARTER:  This will be Exhibit 92.

11   Ms. Fleming, is that where we are now, 92?  Exhibit 92.

12             (Exhibit 92 marked for identification.)

13             MR. LITCHFIELD:  Chairman Carter, FPL would simply

14   note that this is really hearsay that's being offered here.  We

15   understand that we are in the public portion of this proceeding

16   as opposed to the technical portion, so we would simply state

17   for the record that it is hearsay.  It is, purports to be a

18   report by somebody who is not here as a witness today that we

19   have no right or opportunity to cross-examine.  But we

20   understand that it'll be given the weight that it deserves, and

21   with that we would not oppose it going into the, into the

22   record as such.

23             CHAIRMAN CARTER:  Okay.

24             MR. LITCHFIELD:  And we have no questions for this

25   witness on this report since, after all, it is not his report.

FLORIDA PUBLIC SERVICE COMMISSION

22

1             CHAIRMAN CARTER:  Thank you.  Thank you.  Other

2   parties?

3             MS. BROWNLESS:  No, sir.

4             MR. YOUNG:  No from OUC.

5             CHAIRMAN CARTER:  Mr.  Krasowski?

6                          CROSS EXAMINATION

7   BY MR. KRASOWSKI:

8        Q    To be consistent I would just ask the gentleman if

9   he's a volunteer in this regard or if he's being paid by anyone

10   to appear here today.

11        A    Total volunteer.

12             MR. KRASOWSKI:  Thank you, sir.

13             CHAIRMAN CARTER:  Okay.  So you have no questions

14   about the report then?

15             MR. KRASOWSKI:  No, sir.

16             CHAIRMAN CARTER:  So we know that the court reporter

17   has a copy, so that's good.  So we'll get through it.  And,

18   Commissioners, I'm going to give you a second to kind of make

19   sure that all of us have had an opportunity to look at that.

20   And --

21             COMMISSIONER EDGAR:  Mr. Chairman, if I may.

22             CHAIRMAN CARTER:  You're recognized, Commissioner

23   Edgar.

24             COMMISSIONER EDGAR:  Thank you very much.  I just

25   wanted to make a brief comment and it seems like it might be

FLORIDA PUBLIC SERVICE COMMISSION

23

1   the right time.

2             CHAIRMAN CARTER:  You're recognized.

3             COMMISSIONER EDGAR:  Thank you.  And, Mr. Parsons, I

4   know later we will take up the exhibits that have been offered

5   and the Chairman will rule as to whether they will be admitted

6   or not.  And if at that point this document is admitted into

7   evidence, I know our staff will get each of us copies and I

8   will be sure to look at it very closely if we get to that

9   point.

10             Very brief comment.  I want to thank you as well for

11   participating.  It's very important to our processes that we

12   have citizens who come and appear before us.  So thank you for

13   taking the time to do that.

14             MR. PARSONS:  Thank you.

15             COMMISSIONER EDGAR:  You said in your comments that,

16   I think you said that you would ask us to use vision and

17   courage, and I assure you that I pray for vision and courage

18   every night.  So thank you for that.

19             I would say that the comment that you made earlier

20   about the potential for a rubber stamp of this decision is a

21   characterization that I personally do not agree with.  I know

22   that our staff work very hard to look at all the issues, as do,

23   as do each of us.

24             MR. PARSONS:  Fair enough.

25             COMMISSIONER EDGAR:  But thank you genuinely for your

FLORIDA PUBLIC SERVICE COMMISSION

24

1   interest and for coming to appear before us.

2             Thank you, Mr. Chairman.

3             MR. PARSONS:  Thank you.  I appreciate it.

4             CHAIRMAN CARTER:  Thank you, Commissioner.

5             Ms. Brubaker, would you call our next person, please?

6             MS. BRUBAKER:  Certainly.  The last person we have

7   currently signed to speak is Dawn Shirreffs.

8             CHAIRMAN CARTER:  Dawn Shirreffs.

9             MS. BRUBAKER:  Excuse me.  Shirreffs,

10   S-H-I-R-R-E-F-F-S.

11             CHAIRMAN CARTER:  Spell it this time slowly.  You

12   know I'm a product of the South Georgia public school system,

13   so spell it slowly this time.  Okay.  I'm ready.

14             MS. BRUBAKER:  S-H-I-R-R-E-F-F-S.

15             CHAIRMAN CARTER:  That sounds familiar.  Have we met

16   before?

17             MS. SHIRREFFS:  Yes.  I was in Miami.

18             CHAIRMAN CARTER:  Great.  Excellent.  Excellent.  Do

19   you have any exhibits or anything you'd like to pass out so we

20   can kind of --

21             MS. SHIRREFFS:  Well, I don't have sufficient copies.

22             CHAIRMAN CARTER:  That doesn't matter.  We can get

23   through that.  As long as we get one for the court reporter,

24   she'll put it in the record and then make sure that all the

25   Commissioners get a copy.

FLORIDA PUBLIC SERVICE COMMISSION

25

1             MS. SHIRREFFS:  Okay.  I'm going to grab them when

2   I'm done.

3             CHAIRMAN CARTER:  You're recognized.  You may do so.

4   Okay.  We'll do that when you're done.  All right?

5                           DAWN SHIRREFFS

6   appeared as a witness and, swearing to tell the truth,

7   testified as follows:

8                          DIRECT STATEMENT

9             MS. SHIRREFFS:  Thank you.  Good morning.  I am here

10   on behalf of Clean Water Action's 50,000 members in Florida who

11   are deeply concerned about the unanswered questions and unknown

12   costs of Florida Power & Light's proposed nuclear expansion at

13   Turkey Point.  The function of today's hearing is to determine

14   whether the cost of this project is not just reasonable, but

15   according to Florida Statute 403.519 it must be the most

16   cost-effective alternative possible.

17             The application before you does not identify the

18   source of 70 to 90 million gallons a day.  That means you

19   cannot evaluate the cost of pumping, the cost of piping, the

20   need and cost of treatment, the cost of operating a treatment

21   facility, the cost of backup sources in case of destruction if

22   a facility fails, et cetera.

23             This list of unanswered costs does not even begin to

24   address factors considered in an October 2007 report by Moody

25   Investors which cites, quote, a nuclear generating facility

FLORIDA PUBLIC SERVICE COMMISSION

26

1   could come in at between $5,000 to $6,000 per kilowatt, but

2   concedes that, quote, our estimate is only marginally better

3   than a guess, end quote.

4             Nuclear industry construction costs have historically

5   come in two to 300 percent over estimated costs.  The bonding

6   record of nuclear is more deplorable than Enron stocks.  A

7   guess is simply not good enough for Florida.

8             Moody's report goes on to acknowledge that, quote,

9   plants are likely to add approximately $5 to $10 billion to the

10   rate base, in some cases doubling the existing rate base.  It

11   goes on to say, eventually end-use customers may find it very

12   difficult to balance their family budgets if their electric

13   bill continues to go up by roughly 10 percent a year.  On

14   Monday -- end quote.

15             On Monday, MidAmerican, a subsidiary of billionaire

16   Warren Buffett's company, cancelled plans for a nuclear plant

17   citing that it does not make economic sense.

18             Commissioner Skop in previous hearings has emphasized

19   the importance of a stable regulatory environment.  In order to

20   achieve that goal, we must be sure of a plentiful, dependable

21   source of water.

22             The capacity of the Floridan Aquifer is unknown.

23   Corrosive minerals would likely require treatment prior to use.

24   Reclaimed water is reliant on Miami-Dade Water and Sewer's

25   flawless operation.

FLORIDA PUBLIC SERVICE COMMISSION

27

1             The relationship between water and nuclear is

2   complex.  A January 23rd Associated Press article titled

3   "Drought Could Close Nuclear Power Plants" cited

4   drought-related shutdowns in the southeast U.S.

5             In Europe, climate change is rendering nuclear plants

6   unusable because source water temperatures have gotten too high

7   to cool reactors.  Miami-Dade County is a high-risk drought

8   zone.  Climate change threatens severe water temperature rises

9   and sea level rise within the next decade during which this

10   project will still be under construction.

11             The simple fact is nuclear expansion at Turkey Point

12   is not the most reliable, most cost-efficient or the right

13   choice for Florida as we face a recession, drought and climate

14   change impacts.

15             Florida Power & Light has not performed their due

16   diligence.  MidAmerican invested $13 million of research before

17   cancelling its plants.  Florida Power has not addressed the

18   most basic issues regarding cost, feasibility and water before

19   coming to you today.  Instead, they await your approval so that

20   risky investments into due diligence can be done on the

21   ratepayer's dime while Florida Power & Light earns interest.  I

22   ask you, if Warren Buffett can't find a way to make this

23   economically viable, are you really willing to give that risk

24   to Florida's ratepayers and citizens?  Thank you.

25             CHAIRMAN CARTER:  Okay.  Would you get the handouts

FLORIDA PUBLIC SERVICE COMMISSION

28

1   now and then just, and come back just in case there's some

2   questions, please?  And it's wonderful to see you again.

3             COMMISSIONER ARGENZIANO:  Mr. Chair?

4             CHAIRMAN CARTER:  You're recognized, Commissioner.

5             COMMISSIONER ARGENZIANO:  Just a question.  Is it

6   proper at this time to ask staff a question?

7             CHAIRMAN CARTER:  Sure.  Yes, Commissioner, you're

8   recognized.

9             COMMISSIONER ARGENZIANO:  Okay.  I've heard many

10   times -- two different -- two questions, please.  I've heard

11   many times now that Germany was decommissioning its nuclear

12   power plants.  Does staff have -- has staff done any research

13   on this and is there any knowledge as to why, if they are

14   decommissioning their plants, why they are decommissioning the

15   plants?  I think that's an important issue, and staff may be

16   able to address that.

17             Second question --

18             CHAIRMAN CARTER:  Hang on a second, Commissioner.

19   Hang on a second.  They're having trouble hearing you.  Let me

20   get this first one out and I'll repeat it for staff.

21             COMMISSIONER ARGENZIANO:  Sorry.

22             CHAIRMAN CARTER:  The question was Commissioner

23   Argenziano has heard this about Germany decommissioning its

24   nuclear power plants, and what she wants to know is whether or

25   not we have any information on that, do we have any

FLORIDA PUBLIC SERVICE COMMISSION

29

1   documentation to that effect, on Germany's decommissioning of

2   their nuclear power plants?

3             MR. BALLINGER:  I don't believe so.

4             CHAIRMAN CARTER:  Nuclear power plants.  It sounds

5   like I'm from Texas.

6             MR. BALLINGER:  I don't believe so.

7             CHAIRMAN CARTER:  Say again, Mr. Ballinger.

8             MR. BALLINGER:  I'm sorry.  This is Tom Ballinger

9   with Commission staff.  I don't believe we have information on

10   Germany's decommissioning efforts.

11             COMMISSIONER ARGENZIANO:  Mr. Chairman?

12             CHAIRMAN CARTER:  Yes, ma'am.

13             COMMISSIONER ARGENZIANO:  Is it too much to ask if we

14   can find out if that's true or not?  I'd like to know.  I think

15   it seems to be an equation in the discussion and I'd like to

16   know.

17             And also if there are -- do we have an idea -- the

18   young lady who just spoke, I remember her speaking in Miami.

19   Is there an idea -- I mean, when we do have to consider costs,

20   do we know where the water source is going to come from and if

21   the costs are factored into that in expanding the Turkey Point

22   plant?  I mean, that's, that's a good point.  And I'd like to

23   know if we have determined yet where the water would be coming

24   from and what cost it would be to get the water to that point?

25             CHAIRMAN CARTER:  Thank you, Commissioner.

FLORIDA PUBLIC SERVICE COMMISSION

30

1             Did you guys hear the question about the water?  She

2   was asking about the --

3             COMMISSIONER ARGENZIANO:  I'm sorry, Mr. Chairman.

4   My voice is just not working.

5             CHAIRMAN CARTER:  That's okay.  I'm pleased as punch

6   to repeat it.

7             Did you guys hear that?  Mr. Ballinger?

8             MR. BALLINGER:  Commissioner Argenziano, this is Tom

9   Ballinger again.  I apologize.  I was writing down what I need

10   to do for decommissioning and I missed the question.  Was it

11   about the water supply for this project?

12             COMMISSIONER ARGENZIANO:  Yes, for the plant.  The

13   young lady who spoke basically made a point that we have to

14   take into consideration all costs.  And, of course, the water

15   and getting it to the expansion, to the plant would be part of

16   the cost.  And I think that's something that I would need to

17   know to make a decision since the statute does indicate that

18   costs are essential in looking at the project.

19             MR. BALLINGER:  I believe some of that is included in

20   some of the discovery that we got.

21             COMMISSIONER ARGENZIANO:  Is it -- are the

22   calculations included also?

23             MR. BALLINGER:  I'm going from memory.  I believe

24   there was an interrogatory to estimating the cost of different

25   water supply technologies.

FLORIDA PUBLIC SERVICE COMMISSION

31

1             COMMISSIONER ARGENZIANO:  So then the cost, the cost

2   that we will be looking at will have the total cost factored in

3   to the expansion of the plant?

4             MR. BALLINGER:  I believe so.

5             COMMISSIONER ARGENZIANO:  Okay.  Thank you.

6             MR. BALLINGER:  And that will be, that will be a

7   subject of cross-examination.

8             COMMISSIONER ARGENZIANO:  Okay.  Thank you.

9             CHAIRMAN CARTER:  Also, Commissioner, as we get into

10   the technical portion, if there's any of the witnesses that are

11   on the stand that are testifying for specific areas of

12   expertise, if we have any questions, we can ask them or, and

13   have them to go further or ask for additional information on

14   that.

15             MR. LITCHFIELD:  And, Chairman Carter, I would offer

16   Mr. Steven Scroggs appearing on behalf of FPL for both of

17   Commissioner Argenziano's questions.

18             CHAIRMAN CARTER:  Commissioner, were you able to hear

19   that?  Steven Scroggs.

20             COMMISSIONER ARGENZIANO:  Yes, I was.  I just want to

21   make sure that, you know, when you have public testimony, that

22   they bring up points, that we address those.  And I definitely

23   want to find out if they're correct or if they need to be

24   looked at or if they're not correct.  Or, you know, if they are

25   correct, let's check out why.  And I will ask Mr. Scroggs at

FLORIDA PUBLIC SERVICE COMMISSION

32

1   the appropriate time also.

2             CHAIRMAN CARTER:  Okay.  Thank you, Commissioner.

3             COMMISSIONER ARGENZIANO:  Scroggs.  I'm sorry.  Thank

4   you.

5             CHAIRMAN CARTER:  Not a problem.  Not a problem.

6   Thank you for your questions.

7             Ms. -- I've drawn a blank here.  Ms. Shirreffs, you

8   had some exhibits that you were going to distribute.

9             MS. SHIRREFFS:  Yes.

10             CHAIRMAN CARTER:  And how many do you have?  How many

11   copies do you have?

12             MS. SHIRREFFS:  It's two full sets.  There's four

13   separate documents that I'm submitting, so two full sets of

14   them.

15             CHAIRMAN CARTER:  Oh, two full sets.

16             MS. SHIRREFFS:  Yeah.  When we were in Miami we only

17   needed one.

18             CHAIRMAN CARTER:  Not a problem.  I know you had to

19   make a long trip, and we appreciate you doing that.  Let's do

20   this.  One stack for the court reporter.  Everybody, whether

21   you're a party or not, you can get it from the court reporter.

22   Even the Commissioners can do that.  Let's do that so we'll at

23   least have it on record.

24             And I suppose, could you just, just read the titles

25   of each one of them so we'll have it in the record?

FLORIDA PUBLIC SERVICE COMMISSION

33

1             MS. SHIRREFFS:  Those documents are a --

2             CHAIRMAN CARTER:  Because I think you were quoting

3   from a couple of them, weren't you?

4             MS. SHIRREFFS:  Correct.

5             CHAIRMAN CARTER:  Okay.  Just read them.

6             MS. SHIRREFFS:  The first one is a January 29th

7   letter from the Everglades Coalition.

8             CHAIRMAN CARTER:  And excuse me one second.  Just so

9   that we can be procedurally correct, I think we're at Exhibit

10   93.  Is that correct?

11             MS. BRUBAKER:  That's correct.

12             CHAIRMAN CARTER:  Okay.  Exhibit 93.

13             (Exhibit 93 marked for identification.)

14             Ms. Shirreffs, you're recognized.

15             MS. SHIRREFFS:  The second document is an --

16             CHAIRMAN CARTER:  I'm sorry.  Would you again repeat

17   the first, the title of the first document?

18             MS. SHIRREFFS:  Sure.  Sorry.  It is a January 29th,

19   2008, letter from the Everglades Coalition.

20             CHAIRMAN CARTER:  Okay.

21             MS. SHIRREFFS:  The next document is an Environmental

22   Statement on Nuclear Energy and Global Warming signed by 313

23   environmental organizations.

24             CHAIRMAN CARTER:  Okay.

25             MS. SHIRREFFS:  The next document is the special

FLORIDA PUBLIC SERVICE COMMISSION

34

1   report by Moody's Corporate Finance dated October 2007.

2             CHAIRMAN CARTER:  Okay.

3             MS. SHIRREFFS:  And the fourth document is the

4   Associated Press article dated January 23rd, 2008, titled

5   "Drought Could Close Nuclear Power Plants."

6             CHAIRMAN CARTER:  Thank you so kindly, Ms. Shirreffs.

7   Now if you would just hang on for one second; let me see if

8   there are any questions from the parties.  And then,

9   Commissioners, we'll come to you and then staff.

10             Any questions from any of the parties?

11             MR. LITCHFIELD:  Florida Power & Light has no

12   questions for this witness, but again would note that the

13   articles that she perhaps intends to have admitted into this

14   record are going to be pure hearsay with, with no basis and

15   foundation to be admitted.

16             CHAIRMAN CARTER:  Duly noted.  And what we'll do is

17   as we convene the technical portion, we'll have an opportunity

18   to look at most of these documents so we're going to be fair to

19   all the parties.  Okay?

20             MR. YOUNG:  OUC has no questions of this witness.

21             MS. BROWNLESS:  We have no questions, sir.

22             CHAIRMAN CARTER:  All right.

23             MR. FINKLEA:  No questions from FMPA or FMEA.

24             MS. KAUFMAN:  Seminole has no questions.

25             MR. BECK:  No questions.

FLORIDA PUBLIC SERVICE COMMISSION

35

1             CHAIRMAN CARTER:  Mr. Krasowski?

2             MR. KRASOWSKI:  We have no questions at this time.

3   We had asked a question of the witness in Miami when she was

4   there.  So thank you.

5             CHAIRMAN CARTER:  All right.  Good deal.  Ms. --

6   thank you so kindly, Ms. Shirreffs.  Thank you for making the

7   trip.

8             We had earlier Eric Draper called.  But, Eric, have

9   you been sworn?

10             MR. DRAPER:  No.

11             CHAIRMAN CARTER:  Okay.  When you get to the stand,

12   we'll just swear you in.  We're kind of backing up there, Ms.

13   Brubaker.

14             MS. BRUBAKER:  With Mr. Draper, that is everybody I

15   have signed up to speak.

16             CHAIRMAN CARTER:  Okay.  Mr. Draper, if you would

17   approach the place there.  And as you're standing, just raise

18   your right hand and I'll be glad to swear you in.

19             (Witness sworn.)

20             You may be seated.  You are recognized, sir.

21                             ERIC DRAPER

22   appeared as a witness and, swearing to tell the truth,

23   testified as follows:

24                          DIRECT STATEMENT

25             MR. DRAPER:  Thank you very much, Mr. Chairman.

FLORIDA PUBLIC SERVICE COMMISSION

36

1             I'm Eric Draper.  I'm Deputy Director for Audubon of

2   Florida, a statewide conservation organization with roughly

3   35,000 members, considerable membership and activities within

4   South Florida; a long-time advocacy organization involved in

5   Everglades restoration issues with a specific highly targeted

6   focus on the area of the Everglades, Biscayne Bay coastal area,

7   in addition to Florida Bay.  And in that capacity our

8   organization has long been an advocate of special treatment of

9   the area around Turkey Point, all the lands west of, I'm sorry,

10   east of Carson (phonetic) Road and U.S. 1 are of particular

11   concern to us.  Recognizing that's not a basis for your

12   consideration today, I just wanted to, to say that that's why

13   Audubon particularly has a very special interest in the

14   location of additional generation capacity in that particular

15   area.

16             We have long requested from FP&L, Florida

17   Power & Light that they look at using their land holdings there

18   and their activities there as a way to support and advance

19   Everglades restoration activities so that we can restore a

20   sheet flow of water across that land into the Biscayne Bay area

21   helping to restore Biscayne Bay.

22             That said, I think that the -- I have sent you a

23   letter previously and you should have that in your record dated

24   January 14th regarding this same issue.  I won't go through all

25   of the points of the letter.  I think that the main thesis of

FLORIDA PUBLIC SERVICE COMMISSION

37

1   the points that we want to make today is that you have a

2   responsibility, I think, in finding the need for additional

3   generation to look at whether or not alternative means of

4   reaching the same goals are being met, and I just wanted to

5   touch on those points.

6             So you have -- in determining the need for additional

7   electric generation to meet the demands you should be concerned

8   with investment not just in new generation capacity but in

9   demand reduction efficiency and energy conservation.  And we

10   would encourage you if in lieu of, if not concurrent with

11   consideration of applications for new need, that you look

12   according to Florida Statutes 403.519 to the need for adequate

13   electric, adequate electricity to reasonable costs, whether

14   renewable sources and technologies, as well as conservation

15   measures are utilized to the extent reasonably available.

16             And what we would encourage you to do in the context

17   of looking at this plant which would have these additional

18   generating facilities which would have such a tremendous impact

19   in the Everglades and would require a considerable amount of

20   water use is that you look at whether or not the applicant has

21   done everything necessary, available to reduce demand in that

22   region as you're considering the need for the additional

23   demand.

24             It's our conclusion, having looked at the

25   conservation activities, the demand-side reduction activities

FLORIDA PUBLIC SERVICE COMMISSION

38

1   engaged in by all the investor-owned utilities and specifically

2   with FPL, that much more could be done.  I think that this is

3   also a finding of the Governor's energy commission, I'm sorry,

4   the Florida Energy Commission that recently met.  And if you

5   look at their findings, you can see that there's a

6   recommendation not only that more be done in terms of

7   demand-side management and energy conservation in looking at

8   renewables and energy efficiency, but actually made

9   recommendations about changing the RIM test, which I know that

10   you can't do by yourself, you would need some amount of

11   legislative authority.  We would anticipate, and certainly

12   we're going to go to the Legislature this year even though it

13   was not one of the legislative recommendations of the Florida

14   Energy Commission, and ask that they look at the rate structure

15   as a way to accomplish more conservation, utility-funded and

16   ratepayer-financed conservation.

17             Now while that is not in place right now and I'm not

18   sure whether legally you can require that to be done at this

19   point, we certainly think it's something that as you're looking

20   at this additional need, you know, you should anticipate that

21   something is going to be done from a policy point of view, and

22   the Public Service Commission should probably push that along

23   in terms of, you know, changing the test, the rate test to

24   encourage more conservation.  That coupled with the utility

25   itself making the determination that they could accomplish a

FLORIDA PUBLIC SERVICE COMMISSION

39

1   significant amount of conservation, therefore, would not need

2   as much additional generation if they did, that should be,

3   should factor into your, your thoughts on this.

4             Just taking that further, the Governor's action team,

5   the Climate Action Team in their report said, "It should be

6   recognized that under Florida's current utility rate structure

7   for investor-owned utilities, additional energy efficiency

8   conservation measures may have a negative financial impact for

9   utilities; however, historically utility rate structures

10   encourage the sale of power.  Florida should examine

11   alternative rate structures that might provide a more realistic

12   economic basis for utilities to implement viable climate change

13   policies without harming return on the investment."

14             Now with regard to this generation, it clearly

15   doesn't have a climate, you know, the operation doesn't have a

16   climate impact that we know of.  There still is an argument for

17   using this point of the require, of the request for additional

18   generation capacity to basically encourage the utility to go

19   back and look first at conservation activities as a way to

20   reduce need as opposed to just claiming the additional need.

21             I think I'll wrap up there.  That's the best I can

22   do.

23             CHAIRMAN CARTER:  Thank you.  Hold on.  Don't go away

24   though.  Let me kind of reverse the order and ask the

25   Commissioners first if you have any questions.  I know that we

FLORIDA PUBLIC SERVICE COMMISSION

40

1   want to do that.  Let's just do that before we ask the parties.

2   Any Commissioners?  Commissioner Edgar, you're recognized.

3             COMMISSIONER EDGAR:  Thank you, Mr. Chairman.  I'll

4   try to get a question in here, but maybe a brief comment.  So

5   I'd note the letter that you referenced that you had sent to us

6   earlier, and I believe that that has been placed in the docket

7   file and is available to, to everyone.

8             You mentioned the recommendation of the energy

9   commission and also of the action team, and I am familiar with

10   both of those.  And I think that the way each of those

11   recommendations, in my mind, are worded is, is asking for, as I

12   think you pointed out, additional examination and analysis, and

13   that is something that I know that I welcome.

14             I'd point out that this Commission had a workshop to

15   try to begin some of that discussion here in this forum, and I

16   personally was a little disappointed at the level of

17   participation that we had.  So I would once again just give a

18   plug for everyone to please participate as we within our role

19   try to look at what alternatives may or may not be possible and

20   how that flows into the legislative discussions as well.  So

21   that was my comment.

22             Very briefly a question, which was right there at the

23   end of your comments, Eric, I think you were asking us to, to

24   look a bit beyond or consider some of the issues that go beyond

25   the more narrow scope of the need determination.  But, quite

FLORIDA PUBLIC SERVICE COMMISSION

41

1   frankly, I wasn't sure I got your last point.  So if you could

2   maybe just repeat that for me.

3             MR. DRAPER:  Yeah.  And I apologize.  I'm serving on

4   the state's Strategic Advocates Task Force which is meeting

5   right now, so I rushed over here to get this.  And I feel a

6   little disorganized and less than coherent in my comments.

7             So the point that I'm trying to make is that, is that

8   you -- while in your need determination decision-making that

9   you are granted the statutory authority to look at this

10   question about whether or not enough has been done to, to,

11   through conservation.  I was just saying that the, the

12   Governor's Climate Action Team, the Florida Energy Commission

13   and just common sense tells us that to the degree that you can

14   possible in this need determination hearing, that you should

15   look at whether or not Florida Power & Light has done

16   everything necessary to invest in, to anticipate using

17   conservation as a way to reduce need before you actually

18   approve a finding of additional need related to these.

19             COMMISSIONER EDGAR:  Thank you.  And thank you for

20   your participation.  And I know we all understand needing to be

21   in two places at once.  So thank you for joining us.

22             CHAIRMAN CARTER:  Thank you, Mr. Draper.  Would you

23   hang on for one second there.  And, again, thank you for -- I

24   mean, don't go away.  Don't go away.  We may have some

25   questions for you from the parties.  But I do want to say even

FLORIDA PUBLIC SERVICE COMMISSION

42

1   though you may think that you were kind of harried, we

2   understood exactly what you were saying.  You did a good

3   presentation.

4             Any questions from the parties?

5             MR. LITCHFIELD:  No, sir.

6             MR. YOUNG:  No questions from OUC.

7             MS. BROWNLESS:  No, sir.

8             MR. FINKLEA:  No, sir.

9             MS. KAUFMAN:  No questions.

10             MR. KRASOWSKI:  A couple of quick questions, please.

11                          CROSS EXAMINATION

12   BY MR. KRASOWSKI:

13        Q    Mr. Draper, as I've asked all the other witnesses,

14   and I think you've addressed this, but could you tell me if

15   you're being paid by anyone to be here today?

16        A    Well, I'm an employee of the National Audubon

17   Society.

18        Q    Okay.  Thank you.  And as, for a point of

19   clarification, I believe I heard you say that this plant has no

20   climate impact.  Could you, could you straighten me out on

21   that?  Do you believe that?

22        A    Yeah.  I'm glad you asked me, allowed me to clarify

23   that.  I think that I corrected even as I was making that

24   statement that it, it is not apparent, that climate impact.  In

25   other words, this plant is a nuclear generation facility.  It's

FLORIDA PUBLIC SERVICE COMMISSION

43

1   our understanding, therefore, it would not be producing carbon

2   emissions.

3             Now there are other, there may be other carbon -- I

4   mean, there may be other issues associated with climate change

5   associated with the plant.  But in the traditional sense of

6   climate greenhouse gases, I don't think so.

7             Now I do, would acknowledge that the construction of

8   the plant, there's a carbon footprint involved just in the

9   activity of going out and building any kind of facility.  There

10   probably is some greenhouse gas/climate change issue there.

11   But I was not making -- I was trying to make a point to, to

12   make a distinction between the recommendation that the

13   Governor's Climate Action Team had made which was oriented

14   around climate change and was saying that was not relevant

15   here.  What was relevant from the recommendation of the Climate

16   Action Team was that more needs to be done in terms of

17   conservation.

18        Q    And one, one last question.  The Florida Audubon

19   Society and National Audubon Society is a large, well-respected

20   organization with, with many resources.  Is there a reason why

21   you're not represented here legally in this case today as an

22   intervenor?

23             CHAIRMAN CARTER:  Mr. Krasowski, I give you a lot of

24   leeway, but I think that's an inappropriate question.

25             MR. KRASOWSKI:  I'll withdraw the question, sir.

FLORIDA PUBLIC SERVICE COMMISSION

44

1   Sorry.  My apologies.

2             CHAIRMAN CARTER:  Good.  Okay.  That's -- we know the

3   Audubon Society is a well-respected organization, and whether

4   they choose to participate officially or not is not relevant.

5   They're here today and that's what we have before us.  So I'm

6   not going to allow that question.

7             Staff, do you have any questions?

8             MS. BRUBAKER:  No questions.

9             CHAIRMAN CARTER:  Thank you, Mr. Draper.

10             MR. DRAPER:  Thank you, Mr. Chairman.

11             CHAIRMAN CARTER:  Ms. Brubaker.

12             MS. BRUBAKER:  At this time staff has no other

13   persons signed up to speak.  Perhaps we might poll the room.

14             CHAIRMAN CARTER:  Let me ask this before -- are

15   there -- is there anyone that came in after we swore all the

16   witnesses in that wanted to participate for -- part of the

17   public to testify in this matter before we go into our

18   technical hearing, just in case?  We don't want to -- we want

19   to hear from -- okay.  Hearing none, let's do this.

20             Let's, Commissioners, what I'd like to do is take a

21   moment before we go into our technical portion of our hearing.

22   So I'm looking at the clock, this time I'm actually looking at

23   it, and I see 10:33.  Is that correct?  Close to it?  The clock

24   I'm using says 10:33, so that's the clock we're going by today.

25   Okay?  And we'll come back about -- staff, what do you need, 15

FLORIDA PUBLIC SERVICE COMMISSION

45

1   minutes?

2             MS. BRUBAKER:  I think that would be fine, sir.

3             CHAIRMAN CARTER:  Okay.  Fifteen minutes.  Let me do

4   the math here.  This is high level stuff here.  It would be

5   10:48.  We are on recess.

6             (Recess taken.)

7             Okay.  We are back on the record with our matter

8   that's before us today.  And as we get going, I'm going to look

9   to staff to kind of get us going as we begin our -- I'd like to

10   convene our technical hearing and the preliminary matters.

11   Ms. Fleming, you're recognized.

12             MS. FLEMING:  Good morning, Chairman and

13   Commissioners.  There's several preliminary matters to address.

14   As far as the first preliminary matter staff recommends be

15   taken up, there is a proposed stipulation to Issue 7 between

16   FPL, FMEA, FMPA, OUC, JEA and Seminole.  It is my understanding

17   Mr. Krasowski and OPC are not parties to the stipulation.  We

18   recommend that the stipulation language that has been handed

19   out be identified as the next hearing exhibit, which would be

20   Exhibit 94.

21             CHAIRMAN CARTER:  Exhibit 94.  Okay.

22             (Exhibit 94 marked for identification.)

23             MS. FLEMING:  And at the appropriate time we would

24   ask that this exhibit be moved into the record.

25             CHAIRMAN CARTER:  Okay.  Let's get in our posture on

FLORIDA PUBLIC SERVICE COMMISSION

46

1   this so we can move forward and then dispose of other matters.

2             I know it may, because it relates to Issue 7 it also

3   relates to some of our preliminary matters, so let's just kind

4   of take this up now then.

5             MS. FLEMING:  That's correct.  And as far as -- it is

6   staff's understanding that this stipulation on Issue 7 would

7   render moot the motions for reconsideration that have been

8   filed by JEA, Seminole and FPL.

9             CHAIRMAN CARTER:  Okay.  Let's do this.  Let me hear

10   from the parties.  Is this correct, starting with FPL?

11             MR. LITCHFIELD:  Yes, Chairman Carter.  Ms. Fleming

12   has accurately characterized our position on this.  We have

13   reached stipulation with the parties.  We think it does resolve

14   the issues.  And we would, if the Commission accepts this

15   stipulation, move for Exhibit 94 to be entered into the record.

16             CHAIRMAN CARTER:  Okay.

17             MR. YOUNG:  OUC agrees with the staff recommendation

18   and would likewise agree with the suggestion made by Florida

19   Power & Light.

20             CHAIRMAN CARTER:  Ms. Brownless.

21             MS. BROWNLESS:  Yes, sir.  JEA accepts the

22   stipulation and agrees with the representations made.

23             CHAIRMAN CARTER:  Excellent.

24             MS. KAUFMAN:  And --

25             MR. FINKLEA:  And FMPA --

FLORIDA PUBLIC SERVICE COMMISSION

47

1             CHAIRMAN CARTER:  In stereo.

2             MR. FINKLEA:  FMPA and FMEA are also in agreement

3   with the stipulation and in agreement with staff's

4   characterization of the procedure.

5             CHAIRMAN CARTER:  Okay.  Ms. Kaufman.

6             MS. KAUFMAN:  And last but not least, Seminole agrees

7   as well.  We agree with the stipulation and that it would

8   render all the pending motions for reconsideration moot, with

9   the exception of Mr. Krasowski's.

10             CHAIRMAN CARTER:  Okay.  They're not -- Mr. Krasowski

11   and OPC are not party to this; right?

12             MR. KRASOWSKI:  Correct.

13             MR. BECK:  Yes.

14             CHAIRMAN CARTER:  Okay.  Good.  So, staff, have you

15   had an opportunity to review this?

16             MS. FLEMING:  Yes.  Staff has had an opportunity to

17   review this and staff recommends that the Commission approve

18   this stipulation.

19             CHAIRMAN CARTER:  Commissioners, would you take a

20   moment to kind of look this over?  And at the appropriate time

21   I'll open for a motion.

22             COMMISSIONER SKOP:  Make the motion.

23             CHAIRMAN CARTER:  Commissioner Skop, you're

24   recognized.

25             COMMISSIONER SKOP:  Thank you, Chairman Carter.

FLORIDA PUBLIC SERVICE COMMISSION

48

1   Based on the stipulation of the parties to Issue 7, I'd

2   recommend the Commission approve the proposed stipulation as

3   presented herein.

4             COMMISSIONER EDGAR:  Second.

5             CHAIRMAN CARTER:  Seconded, moved and properly

6   seconded.  Commissioners, any questions?

7             Hearing none, all those in favor, let it be known by

8   the sign of aye.

9             (Unanimous affirmative vote.)

10             Those opposed, like sign.

11             Show it done.

12             Next preliminary matters.

13             MS. FLEMING:  Commissioners, if I may, it's my

14   understanding that the parties that were part of the

15   stipulation will ask to be excused from this proceeding.

16             CHAIRMAN CARTER:  Show it done.

17             MS. FLEMING:  Except for FPL, of course.

18             (Laughter.)

19             CHAIRMAN CARTER:  Let the record reflect it's done.

20   Show it done.

21             Our next preliminary matter.

22             MS. BRUBAKER:  Actually if I could also interject

23   just briefly.

24             CHAIRMAN CARTER:  Ms. Brubaker, you're recognized.

25             MS. BRUBAKER:  Just for clarification of the record,

FLORIDA PUBLIC SERVICE COMMISSION

49

1   Issue 7 remains itself a live issue so that FPL, OPC,

2   Mr. Krasowski and staff can address that issue.

3             CHAIRMAN CARTER:  Okay.  And the language will be

4   part of the record.

5             MS. BRUBAKER:  That's correct.

6             CHAIRMAN CARTER:  It will be entered into part of the

7   record as a stipulation.  Okay.  But the parties to the

8   agreement other than FPL are released.  Thank you so kindly.

9             Our next preliminary matter.

10             MS. FLEMING:  Chairman, there is a motion for

11   reconsideration and request for oral argument that was filed by

12   Mr. Krasowski.  Staff understands that Mr. Krasowski intends to

13   withdraw the motion for reconsideration, but I'll allow -- I

14   would ask Mr. Krasowski to address that, please.

15             CHAIRMAN CARTER:  Mr. Krasowski, you're recognized.

16             MR. KRASOWSKI:  Mr. Chairman, thank you.  It is our

17   intention to withdraw the motion for reconsideration and the

18   accompanying requests for oral argument.  We apologize.  Our

19   understanding of the process was not accurate.  Our issue with,

20   on this subject is addressed within the docket and, as a matter

21   of fact, it relates to number seven that's being discussed now.

22             CHAIRMAN CARTER:  Good deal.

23             MR. KRASOWSKI:  And we had thought that a complete

24   application was required before the proceeding, and now we

25   understand this is the proceeding to determine whether or not

FLORIDA PUBLIC SERVICE COMMISSION

50

1   that application is going to be --

2             CHAIRMAN CARTER:  That is correct.

3             MR. KRASOWSKI:  So thank you very much.  Our humble

4   apologies to everyone.

5             CHAIRMAN CARTER:  Thank you, and show it done.

6             And let's move to further preliminary matters, staff.

7             MS. FLEMING:  And at this time I'd like to address

8   exhibits.  Staff has prepared a Comprehensive Exhibit List,

9   which is identified as Exhibit Number 14, and staff has a

10   Composite Stipulated Exhibit, which is identified as Exhibit

11   Number 15.  At this time staff would ask that Exhibits 14 --

12   well, excuse me.  Let me backtrack.

13             Exhibits 1 through 13 pertain to exhibits that were

14   provided at the service hearing, at the Miami service hearing

15   for public testimony.

16             CHAIRMAN CARTER:  Hang on a second.  They are

17   identified, they are marked on the exhibit list for

18   identification purposes only just so that the parties

19   understand.  It's primarily, it's for identification purposes.

20             MS. FLEMING:  That's correct.  And the list also

21   includes all the prefiled exhibits as well so that when the

22   witnesses take the stand we can take those up in turn.

23             CHAIRMAN CARTER:  And this document, Exhibit 14, is

24   actually staff's list of the prefiled documents during the

25   hearing in Miami and then also the documents that have been

FLORIDA PUBLIC SERVICE COMMISSION

51

1   filed by the parties.  Is that -- that's correct?

2             MS. FLEMING:  That's correct.

3             CHAIRMAN CARTER:  So what staff is really saying at

4   this point in time is to accept the exhibit list, Exhibit 14,

5   which is actually the composite exhibit list.  Are we clear on

6   that?  Clear as mud; right?  Is that right?

7             MS. FLEMING:  I'm getting little looks from FPL.  To

8   make it clear, Exhibit 14 is the Comprehensive Exhibit List,

9   which includes the exhibits from the service hearing, the

10   prefiled testimony, as well as any exhibits we've had raised or

11   submitted this morning.  Generally it's identified as Exhibit

12   Number 1.  But since we had a service hearing in this docket,

13   it's Exhibit Number 14.

14             MR. BUTLER:  You're only moving the exhibit itself.

15             MS. FLEMING:  At this point we're asking to move in

16   the exhibit list, and then we can address --

17             CHAIRMAN CARTER:  Just the exhibit list, just the

18   exhibit list itself.

19             MR. LITCHFIELD:  No objection.

20             MR. YOUNG:  Mr. Chairman?

21             CHAIRMAN CARTER:  Yes, sir.

22             MR. YOUNG:  Hector Sanchez is a Florida Power & Light

23   witness, and I believe that everyone agreed that he could be

24   excused other than OUC.  And based on the action taken just

25   recently, we would also agree that he could be excused from the

FLORIDA PUBLIC SERVICE COMMISSION

52

1   hearing.

2             CHAIRMAN CARTER:  Okay.  So all the other parties

3   have already agreed, it just was OUC.  Commissioners, is there

4   any reason why Mr. Sanchez should -- okay.  Show it done.

5   Thank you so kindly.  Appreciate that.

6             MR. YOUNG:  Thank you.

7             CHAIRMAN CARTER:  We just -- Mr. Krasowski and

8   Mr. Beck, what we had done was we explained to FPL that the

9   list presented here as Exhibit 14 is just the list of exhibits.

10   We're not saying that the exhibits are entered or anything,

11   just the list.  So any objections or any --

12             MR. BECK:  No objection from OPC.

13             MR. KRASOWSKI:  We have no objections.

14             CHAIRMAN CARTER:  Okay.  Show it done.  Thank you

15   kindly.

16             (Exhibit 14 marked for identification and admitted

17   into evidence.)

18             All righty.  Let's take a moment to kind of give

19   everybody a chance to get settled in and we'll begin with

20   opening statements in fairly short order.

21             MS. KAUFMAN:  Mr. Chairman?

22             CHAIRMAN CARTER:  Yes, ma'am, Ms. Kaufman.

23             MS. KAUFMAN:  I wondered if it would be appropriate

24   to move Exhibit 94, which is the stipulation that you all just

25   voted on.

FLORIDA PUBLIC SERVICE COMMISSION

53

1             CHAIRMAN CARTER:  Okay.  I see.  When you say move

2   materials, you're saying if I'm going to leave, I want to make

3   sure that my document -- that makes sense.  Ms. Fleming.

4             MS. FLEMING:  If I may before we get to Exhibit 94,

5   staff would request that the stipulated exhibit, staff's

6   stipulated Exhibit Number 15 be moved into the record.

7             CHAIRMAN CARTER:  Okay.  Staff exhibit.

8             MR. LITCHFIELD:  No objection.

9             MR. YOUNG:  No objection.

10             MS. BROWNLESS:  No objection, sir.

11             MR. BECK:  No objection.

12             MS. KAUFMAN:  No objection.

13             MR. KRASOWSKI:  No objection.

14             CHAIRMAN CARTER:  Okay.  Show it done.

15             (Exhibit 15 marked for identification and admitted

16   into evidence.)

17             MS. FLEMING:  And at this point it may be appropriate

18   to discuss the Exhibits 1 through 13 from the Miami service

19   hearing as well as Exhibits 91 through 93 that were submitted

20   during public testimony today.

21             CHAIRMAN CARTER:  91 through 94?  No.  91 through 93.

22             MS. FLEMING:  91 through 93, just the public

23   testimony.

24             CHAIRMAN CARTER:  Because 94 is the agreement that

25   Ms. Kaufman just raised for us here.

FLORIDA PUBLIC SERVICE COMMISSION

54

1             Okay.  Let's hear from FPL.

2             MR. LITCHFIELD:  Thank you, Mr. Chairman.

3             From FPL's standpoint, we recognize that there are

4   two phases to this hearing and that one involves receiving

5   input from the public, which is certainly within the purview of

6   this Commission and I think an appropriate public policy

7   initiative.

8             The drawback from our standpoint, however, is that a

9   number of the articles and publications that are offered by

10   members of the public who show up at the hearing really is

11   nothing more from an evidentiary standpoint than pure hearsay.

12   It's not sworn testimony, we really don't have an opportunity

13   to cross-examine the authors of those articles, there's no real

14   showing that the authors themselves are experts in the fields

15   for which the subject matter is offered and so on and so forth.

16   So we have a little bit of difficulty with that.  Having said

17   that, we recognize the special place that that part of the

18   process has in the overall framework of the hearing.  We feel

19   as though we have the witnesses here that can respond to

20   questions from the Commission to the extent that they came up

21   during the public portion of the hearing.

22             I would note that many of the subjects that, that

23   came up during this morning's public hearing and the Miami

24   edition of the public hearing are largely outside the scope of

25   the proceeding that this Commission is going to be deciding and

FLORIDA PUBLIC SERVICE COMMISSION

55

1   relate more properly to other matters that may be before other

2   agencies.  So there's that issue as well.

3             So having said all of that, we're not going to object

4   to the materials going in.  We recognize that the appropriate

5   weight will be given those materials.

6             CHAIRMAN CARTER:  Thank you very kindly.  We, we do,

7   in our republic we do value citizen input and public input, and

8   the ratepayers as well as the citizens that are within the

9   confines of the area.  And you're right, Mr. Litchfield, we'll

10   give it the appropriate weight that's required.

11             Any objections?  There was none by FPL.  Are there

12   any objections about any of the exhibits that were presented by

13   the, during our public testimony portion?  Any objections?

14             MS. BROWNLESS:  No, sir.

15             MR. BECK:  No objection.

16             MR. KRASOWSKI:  No objections.

17             CHAIRMAN CARTER:  Okay.  Show it done.

18             (Exhibits 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, 13,

19   91, 92 and 93 admitted into evidence.)

20             Ms. Fleming, you're recognized.

21             MS. FLEMING:  And that would lead us to Exhibit 94.

22             CHAIRMAN CARTER:  Exhibit 94.

23             MS. FLEMING:  And staff would recommend that we move

24   this into the record.

25             CHAIRMAN CARTER:  Which is the stipulation of the

FLORIDA PUBLIC SERVICE COMMISSION

56

1   parties and also it's been approved by the Commissioners.  So I

2   suppose out of courtesy I'll just ask if there are any

3   objections.

4             MR. BUTLER:  No.

5             CHAIRMAN CARTER:  But I don't think there would be.

6             MR. KRASOWSKI:  No objection.

7             Mr. Chairman, can I ask a question?

8             CHAIRMAN CARTER:  You're recognized for a question.

9             MR. KRASOWSKI:  Thank you.  I appreciate it.

10             In regards to the public testimony of Mr. Hansen,

11   Mr. Hansen's work that was represented is his own.  So FPL had

12   an opportunity to --

13             CHAIRMAN CARTER:  Let's don't do that, Mr. Krasowski.

14             MR. KRASOWSKI:  Okay.

15             CHAIRMAN CARTER:  We'll give it the appropriate

16   weight.

17             MR. KRASOWSKI:  The appropriate weight.  Yes.  That's

18   what my question was about.

19             CHAIRMAN CARTER:  All right.

20             MR. KRASOWSKI:  Thank you.

21             CHAIRMAN CARTER:  Hearing no objections, Exhibit

22   Number 94 entered into the record.

23             (Exhibit 94 admitted into evidence.)

24             MS. FLEMING:  And now I'm not aware of any other

25   preliminary matters.

FLORIDA PUBLIC SERVICE COMMISSION

57

1             CHAIRMAN CARTER:  No other preliminary matters.

2   Okay.  Now let's get ourselves together because we're getting

3   ready to go for our formal opening statements and all.  And the

4   parties that have been excused, you can take a moment.

5             MS. BROWNLESS:  Thank you.

6             CHAIRMAN CARTER:  Let's -- I've got 11:06 on the

7   clock here.  We'll reconvene at 11:11.

8             (Recess taken.)

9              Okay.  We're back on the record in our proceeding.

10   And it's just come to my attention we've got another

11   preliminary matter before we go forward with our opening

12   statements.

13             Ms. Fleming, you're recognized.

14             MS. FLEMING:  That's correct.  During the break I had

15   an opportunity to speak with FPL, and they would like to

16   introduce the notice of publication as Exhibit Number 95.

17             CHAIRMAN CARTER:  Number 95.

18             MS. FLEMING:  And ask that it be moved into the

19   record at this time.

20             CHAIRMAN CARTER:  No objection?  I know that you guys

21   have provided it to her, but this is a formality.  So show it

22   done.  This will be Exhibit 95, the proof of publication.

23             (Exhibit 95 marked for identification and admitted

24   into evidence.)

25             Ms. Fleming.

FLORIDA PUBLIC SERVICE COMMISSION

58

1             MS. FLEMING:  And FPL would also like to identify the

2   Need Study and Appendices as Exhibit 96.

3             CHAIRMAN CARTER:  One second.  Let me write my notes

4   here.  Exhibit 96 will be the Need Study.

5             (Exhibit 96 marked for identification.)

6             MS. FLEMING:  And we would recommend as far as that

7   exhibit be moved into the record after the witnesses that

8   address the Need Study and Appendices are heard.

9             CHAIRMAN CARTER:  Okay.  Commissioners, so that we're

10   all on the same page, Exhibit 95, proof of publication, is into

11   the record.  Exhibit 96, the Need Study, is marked for

12   identification and it'll be presented at a later point in time

13   for introduction.

14             With that, Ms. Fleming, do we have any other

15   preliminary matters?

16             MS. FLEMING:  I'm not aware of any more.

17             CHAIRMAN CARTER:  Okay.  Hearing none --

18   Commissioners, any preliminary matters?  Hearing none, let's --

19   we shall proceed with our opening statements.  And that is ten

20   minutes per party; correct?

21             MS. FLEMING:  That's correct.

22             CHAIRMAN CARTER:  Okay.  Mr. Litchfield, you're

23   recognized.

24             MR. LITCHFIELD:  Thank you, Mr. Chairman.

25             We have distributed during the break a set of four

FLORIDA PUBLIC SERVICE COMMISSION

59

1   slides that I'll be referring to during the course of my

2   opening statement.

3             This is an historic opportunity for this Commission,

4   for Florida Power & Light Company and for the State of Florida,

5   as today we take the first step toward preserving nuclear

6   generation as an important potential baseload resource option,

7   a choice that would bring many benefits to FPL's customers in

8   the State of Florida, including a diversification of fuel mix,

9   less reliance on fossil fuels and reduction in greenhouse gas

10   emissions.

11             Cost structures for generating resources are

12   changing.  Natural gas and oil prices have increased both in

13   absolute terms and in their volatility.  Concerns about

14   continued supply reliability of such fuels delivered into the

15   state also have manifest, particularly in the event of severe

16   storm events or other possible supply disruptions, and fuel

17   diversity, therefore, has become increasingly important.

18             Collectively also our consciousness of the potential

19   impact of greenhouse gases on our environment has certainly

20   sharpened.  We look to Europe and we see some countries with as

21   much as 80 percent of their power supplied by nuclear, while

22   here in the United States we generate no more than 20 percent

23   of our power through this same source.

24             FPL's resource need leading up to the anticipated

25   in-service dates of the proposed nuclear units is immense.  Now

FLORIDA PUBLIC SERVICE COMMISSION

60

1   as you know, FPL's conservation and demand-side management

2   efforts are industry leading.  But despite these efforts, we

3   anticipate that we will need approximately 6,200 additional

4   megawatts of power supplied by 2020.  That's more load than the

5   vast majority of utilities in this country serve today.  As

6   FPL's total load grows, so too does the need for additional

7   generating resources that can run cost-effectively around the

8   clock, something that is often referred to as a baseload

9   option.  And nuclear power is that backbone for Florida

10   Power & Light Company's system, providing safe and continuous

11   low-cost energy 24/7.  But if we do not initiate steps today to

12   preserve new nuclear as an option, the relative contribution of

13   nuclear on our system will drop from 21 percent to 16 percent

14   by 2021 and, conversely, the contribution of gas could increase

15   to as much as 75 percent.

16             Now the sheer magnitude of FPL's resource needs also

17   demonstrates another key point, and that is that Turkey

18   Point 6 and 7 will only be a part of the solution.  And I would

19   refer you to the first graphic in your, in your package there.

20   And as you can see on this chart, what shows on the one side,

21   FPL's resource needs, and on the other side, known resource

22   additions, there is a significant gap.  We will need nearly

23   4,000 megawatts of additional resources over and above the

24   addition of Turkey Point 6 and 7.  And this means that there is

25   plenty of room within FPL's portfolio for additional

FLORIDA PUBLIC SERVICE COMMISSION

61

1   renewables, more cost-effective conservation and demand-side

2   management.

3             Now some will contend that renewable energy and

4   conservation programs can defer or even displace the need for

5   new baseload generating capacity such as nuclear, and this is

6   simply not the case.  Renewables and conservation do occupy a

7   very important place in our resource portfolio today and will

8   continue to do so, but most of these resources are just not

9   capable of providing needed baseload capacity in any material

10   amounts.

11             Now I'll refer you to the next graphic in your packet

12   there, and this is simply a checklist that shows the additional

13   benefits illustrated throughout the testimony in this case,

14   including enhanced fuel diversity, reduced reliance on natural

15   gas, reduced greenhouse gas emissions and compliance costs, low

16   and stable fuel costs, and overall system reliability and

17   integrity, in addition to the baseload benefits that I

18   mentioned earlier.  These are all criteria relative to this

19   proceeding and the determination of need.

20             I'll refer you to the next graphic, which is RS-2.

21   This is out of Mr. Silva's testimony.  And as he depicts,

22   relative to building a comparable amount of gas-fired

23   generation, these nuclear units will increase our share of

24   nuclear generation from about 16 percent to about 27 percent

25   and will also significantly reduce FPL's share of gas

FLORIDA PUBLIC SERVICE COMMISSION

62

1   generation.

2             Another significant point:  FPL's existing nuclear

3   fleet has already helped FPL to avoid over 500 million tons of

4   carbon dioxide emissions since 1972, and the addition of Turkey

5   Point 6 and 7 will result in the additional displacement of

6   hundreds of millions of tons of CO2.

7             Now I'll refer you to the last of the graphics in

8   your package.  As illustrated in this exhibit sponsored by

9   Mr. Kosky on behalf of FPL, new nuclear generation is essential

10   if we are to meet any meaningful CO2 reduction goals such as

11   those that have been articulated by Governor Crist.  As

12   Mr. Kosky will demonstrate and as this graphic shows, the

13   addition of these two units alone would contribute 76 percent

14   of the actual reductions required by Florida Power & Light to

15   meet such targets in 2021.  There is no other resource option

16   that can achieve such reductions.

17             Now in addition to all of these benefits under a

18   broad range of fuel and environmental cost compliance

19   scenarios, FPL Witness Sim and others will show that Turkey

20   Point 6 and 7 also represents the most cost-effective source of

21   power based on current projections.

22             Now it is important to keep in mind that the

23   continued feasibility of this project will be evaluated on an

24   annual basis in proceedings contemplated by the Commission's

25   Nuclear Power Plant Cost Recovery Rule.  This annual step-wise

FLORIDA PUBLIC SERVICE COMMISSION

63

1   approach does recognize the unique character of new nuclear

2   generation, the lengthy development schedule and the licensing

3   process involved, and the many uncertainties that will be

4   related to this project.

5             Now this approach to the development of potential new

6   nuclear here in Florida is intended to be very different;

7   different relative to the more recent experience in developing

8   fossil-fueled options and different relative to the approach

9   taken in the last round of nuclear expansion.

10             I'll mention one unique aspect of this project

11   already is the need to make significant financial commitments

12   for certain long-lead procurement items such as heavy forgings

13   in order to obtain and maintain a spot in manufacturers'

14   queues.

15             We have asked the Commission in this docket to

16   approve the need for us to make such a commitment, not because

17   it is a conventional or a necessary part of past need

18   proceedings for fossil units, but because it is a necessary

19   decision to allow us to take steps intended to preserve the

20   projected in-service dates for these units and because the

21   first annual cost recovery proceeding will not be completed

22   before that commitment has to be made.  It is simply a question

23   of timing and there is no other available docket.  The amount

24   of that commitment, however, would be subject to the

25   Commission's prudence review in a subsequent annual proceeding.

FLORIDA PUBLIC SERVICE COMMISSION

64

1             Nuclear generation provides today the country with an

2   exceptionally attractive source of power providing a safe and

3   steady stream of low-cost, reliable energy.  But the path of

4   the last generation of nuclear construction was anything but

5   smooth.  As FPL Witness Reed will testify, the regulatory and

6   permitting processes in general were lengthy, extremely

7   adversarial and in some cases highly politicized, resulting in

8   enormous disallowances and destroying significant shareholder

9   value.  Florida's experience, I would note, was significantly

10   better than the national experience overall.

11             Nevertheless, the national experience in combination

12   with relatively low-cost fuel-fired generation, fossil

13   fuel-fired generation at the time, options that are far easier

14   to permit and to construct, has effectively resulted in a

15   hiatus of nearly 30 years since an order was placed for a

16   nuclear power plant in the United States and nearly 25 years

17   since the last nuclear power plant was completed in Florida.

18             But conditions are changing at the federal level, and

19   here in the State of Florida we have seen public policy move

20   steadily to a position that favors nuclear.  Legislation

21   supportive of nuclear has been passed both by Congress and the

22   Florida Legislature, Governor Crist and members of his Cabinet

23   have individually expressed support for nuclear, and this

24   Commission has taken steps intended to promote the development

25   of this resource option specifically by adopting the Nuclear

FLORIDA PUBLIC SERVICE COMMISSION

65

1   Cost Recovery Rule.  We will need this Commission's strong

2   support throughout this entire process.

3             An affirmative, an affirmative determination of need

4   that merely recites that this project meets the individual

5   criteria we do not believe will be sufficient to alleviate many

6   of the concerns of the industry and the investment community

7   over a project of such enormous scale and challenge.  Explicit

8   and consistent regulatory support will be imperative to the

9   successful development and deployment of new nuclear generation

10   in this state.

11             We believe, Commissioners, that the petition before

12   you presents the right project at the right time and the right

13   location and to be pursued in the right way, and we urge you to

14   grant the determination of need and to indicate your strong

15   support and commitment for the project and for the framework

16   within which it is to be pursued in order to preserve this

17   important resource option for the benefit of FPL's customers.

18   Thank you.

19             CHAIRMAN CARTER:  Thank you, Mr. Litchfield.

20             Mr. Beck.

21             MR. BECK:  Thank you, Mr. Chairman and Commissioners.

22   Good morning.

23             Section 403.519, Florida Statutes, provides a number

24   of factors the Commission must consider when determining

25   whether there is a need for the two nuclear plants proposed by

FLORIDA PUBLIC SERVICE COMMISSION

66

1   Florida Power & Light.  Some of those factors are the effect of

2   the proposed plants on system reliability and integrity, the

3   effect on fuel diversity and whether the plants are the most

4   cost-effective source of power available.  I'd like to take a

5   few moments to address the issue of whether the plants are the

6   most cost-effective alternative available.

7             These plants, if built, will be the most expensive

8   power plants ever built in Florida.  Cost estimates for two

9   1,100 megawatt plants range from about $12 billion to almost

10   $18 billion, and for two 1,520 megawatt plants the cost

11   estimates range from about $16 billion to about $24 billion.

12   As expensive as these plants are from the customer's

13   perspective, the total cost of these plants includes not only

14   the cost to build the plants, but also the cost of fuel for the

15   plants and the cost of any emission taxes which might come into

16   place during the 40-plus-year-economic lives of the plants.

17             One of the dilemmas facing the Commission in this

18   case is that you have to make a judgment as to what these costs

19   will be even though you don't know exactly what they are.

20   Among emission costs carbon taxes present what is perhaps the

21   most difficult issue because there aren't any carbon taxes or

22   cap-and-trade systems in place in Florida or in the United

23   States, but it's widely believed that they will be in place in

24   the not too distant future.

25             We think the Commission must make its best judgment

FLORIDA PUBLIC SERVICE COMMISSION

67

1   about the level of this cost in this case because you can't

2   make a determination about cost-effectiveness of the plants if

3   you don't take this into account.

4             In the recent Glades coal plant need determination

5   case the Commission never adopted a specific forecast of

6   emission costs.  Instead, the Commission determined that

7   Florida Power & Light had failed to demonstrate that the

8   proposed plants were the most cost-effective alternative

9   available.  In making this decision, the Commission cited

10   uncertainty associated with future natural gas and coal prices

11   and the uncertainty associated with emerging energy policy

12   decisions at the state and federal level.  There is uncertainty

13   about fuel prices and emissions taxes, but that can't stop you

14   from making decisions about the most likely fuel prices and

15   emission costs that will be in place during the lives of these

16   proposed plants.  If it did, we'd be frozen in our tracks and

17   the Commission would be unable to make decisions about meeting

18   the energy needs of our citizens.  We all have to live with

19   uncertainty in our lives, but we deal with it by making our

20   best judgments about the future and then acting on those

21   judgments.

22             In this case, Florida Power & Light presents three

23   fuel cost scenarios and four emission cost scenarios for a

24   possibility of 12 different scenarios.  FPL claims that they

25   have not selected a most likely scenario out of the many

FLORIDA PUBLIC SERVICE COMMISSION

68

1   possibilities they present, but the evidence will show you that

2   their scenarios should not all be given equal weight.

3             With respect to carbon emission costs, the evidence

4   will show a mild emission cost case, an expected emission cost

5   case, a stringent, and a stringent case provided by a firm

6   specializing in such forecasts, and then there's a fourth

7   scenario more stringent than the stringent case which Florida

8   Power & Light created in this proceeding.  We will urge you to

9   use the second scenario, which is the expected scenario, as the

10   scenario to which you should give the greatest weight.

11             The Commission can take some comfort from the fact

12   that not only is this scenario for emission cost the scenario

13   which the outside firm considered as the expected case, but

14   also from the fact that this same scenario was presented in the

15   Glades coal case.  And it compares well with the middle

16   scenario for emission cost that was presented by the Sierra

17   Club and the Natural Resources Defense League in the coal case.

18             Forecasts of emission costs cut in different

19   directions for a coal plant and a nuclear plant.  For coal, the

20   more stringent the scenario, the less likely the coal plant

21   would be the most cost-effective alternative.  For nuclear the

22   opposite is true.  The more stringent the scenario, the more

23   likely the nuclear plant would be the most cost-effective

24   alternative.

25             What is good for analyzing the emission costs for a

FLORIDA PUBLIC SERVICE COMMISSION

69

1   coal plant should also be good for analyzing the emission costs

2   for a nuclear plant.  It's our position that you should give

3   greatest weight to the same emission cost projection in this

4   case that we asked you to consider in the Glades case, and that

5   is the emission cost scenario number two.

6             That concludes the opening statement.  Thank you,

7   Commissioners.

8             CHAIRMAN CARTER:  Thank you, Mr. Beck.

9             Mr. Krasowski or Mrs. Krasowski.

10             MR. KRASOWSKI:  Good morning.  I'm Bob Krasowski for

11   the record, and I will lead off, if I may.

12             CHAIRMAN CARTER:  Before you get going, you're going

13   to share.  So you've got ten minutes.  So you're going to do

14   five minutes each, is that the way you're going to do it?

15             MR. KRASOWSKI:  No.  Actually I was going to take a

16   few minutes to make our initial statement.  But as we proceed,

17   one or the other of us, if it's, if it's okay, would like to

18   cross-examine.

19             CHAIRMAN CARTER:  Right now we're just doing the

20   opening statements and you've got ten minutes to state your

21   case.

22             MR. KRASOWSKI:  Yes.  Thank you.

23             CHAIRMAN CARTER:  You're recognized.

24             MR. KRASOWSKI:  Okay.  Good morning once again.  Bob

25   Krasowski speaking for Bob and Jan Krasowski, Jan and Bob

FLORIDA PUBLIC SERVICE COMMISSION

70

1   Krasowski.

2             We are 27-year residents of Florida.  Through the

3   course of our entire lives we have pursued our personal

4   education in environmental and energy-related issues.  So being

5   that we fully recognize the seriousness of the matter before

6   you, we would, we would like to say that essentially the

7   reason -- and I apologize for this because my things aren't

8   well-organized.  But primarily the reason we're here today is

9   that we are ratepayers with, and customers of FP&L.  We have in

10   reading the testimony provided by FP&L come to see that they

11   provide information that contradicts what we have learned

12   through the course of our life in relation to energy

13   opportunities or technologies.  And so pretty much the reason

14   we're here is to take advantage of the opportunity to engage

15   their witnesses in cross-examination so that we can draw them

16   out to explain some of the positions they represent so we could

17   have a better understanding of, of what is accurate so as this,

18   as you have the difficult task to make a determination in this

19   case, a full representation, a greater representation of ideas

20   is before you.

21             In particular, we've noticed comments about CO2

22   emissions, emissions in general that are associated with, with

23   this project, the cost of the project in relation to

24   alternative options, all of the issues that are identified in

25   the Florida Statute 403.519, these criteria established by the

FLORIDA PUBLIC SERVICE COMMISSION

71

1   Legislature that have to be considered before determination of

2   need is allowed or permitted.

3             So I'll just leave it with that.  It's -- we have an

4   interest in a broad view of, of this issue, this project, and

5   as it moves through the different venues, we plan to monitor

6   it.  But we firmly believe that this, some of these issues and

7   positions presented should not pass by the Public Service

8   Commission without an effort to expand the discussion on those

9   issues, and that's what we hope to do here over the next day or

10   two or three.  Thank you.

11             CHAIRMAN CARTER:  Thank you, Mr. Krasowski.

12             And let me kind of lay the lay of the landscape

13   before we swear in the witnesses and get on with our direct.

14   It seemed like a good breaking point before we get started in

15   the next phase of the trial.  So, Commissioners, why don't

16   we -- Commissioner Edgar, you're recognized.

17             COMMISSIONER EDGAR:  Thank you, Mr. Chairman.  I just

18   wondered if there would be an opportunity to ask, I promise, a

19   brief question of the parties that came up from their opening

20   statement?

21             CHAIRMAN CARTER:  Of course.  You're recognized.

22             COMMISSIONER EDGAR:  Thank you.

23             Mr. Litchfield, I, I think I heard you say that if

24   this Commission were to approve Issues 1 through 8, that that

25   would not be enough but that more would be needed.  And I was

FLORIDA PUBLIC SERVICE COMMISSION

72

1   unclear as to what more it is or was that you were asking of

2   this Commission in this proceeding is my first question.  And

3   as part of that, I would think if, and I do mean if because I,

4   you know, each of us will listen to all of the testimony and

5   we'll go through the process, but if this Commission were to

6   approve Issues 1 through 8, I would think that that would be a

7   significant policy statement and affirmation of the project as

8   proposed.  And so to hear you already say that that would not

9   be enough gives me some concern.  And if you could just respond

10   to that.  Thank you.

11             MR. LITCHFIELD:  Thank you, Commissioner Edgar.  No.

12   It is an excellent question, a very fair question.  And I think

13   we're approaching this proceeding -- we recognize, we recognize

14   as well as anyone the size of the investment that is going to

15   be required over the next several years in order to construct

16   and eventually operate this plant.  It is going to be enormous,

17   you know, Mr. Beck is right, on all counts.

18             Now we, we've done need proceedings in the past and

19   more or less the Commission has gone through the list and they

20   have made a decision as to whether it meets those particular

21   criteria.  And I think what we're saying -- and I'm not

22   disputing your proposition that, in fact, that would send a

23   very solid signal if you go through that list and you determine

24   that we have met the criteria and it is eligible for

25   determination of need from this Commission.  But I think what,

FLORIDA PUBLIC SERVICE COMMISSION

73

1   what we're suggesting to you, what our witnesses are suggesting

2   to you in testimony, Mr. Reed in particular who's got extensive

3   knowledge with, regarding the experience of the nuclear

4   construction during the last generation of nuclear expansion,

5   there are some very, very unsettled investors, I think, out

6   there.  I think everybody believes that nuclear has to be

7   constructed in this country, I think everybody is willing to

8   move forward on that premise, but I think there is still a

9   tremendous amount of uncertainty out there as to whether these

10   projects can get done given the last round of nuclear expansion

11   and the painful experience that it was for regulators and for

12   companies and for their shareholders.

13             And so I think what, what we're asking for -- and I

14   don't think we're asking for a supplemental issue.  In fact,

15   what we're really asking for is that as you go through this

16   case and as you decide Issues 1 through 8, that to the

17   extent that you can as a matter of policy that you evidence

18   your clear public policy support for nuclear in this state.

19   And I think that can be done within the context of addressing

20   the issues, frankly.  So I think -- does that answer your

21   question?  I'd be happy to elaborate if I didn't quite cover

22   it.

23             COMMISSIONER EDGAR:  Thank you.  Actually it was

24   helpful.  And, you know, I may have further comments and

25   questions, but I will hold them to the opportunity as we

FLORIDA PUBLIC SERVICE COMMISSION

74

1   proceed through.  But thank you for the opportunity.  Thank

2   you, Mr. Chairman.

3             CHAIRMAN CARTER:  Thank you, Commissioner Edgar.

4             Commissioners, any further questions before -- okay.

5   Well, here's what I was thinking from a housekeeping

6   standpoint.  And we, we have completed the public portion of

7   our testimony, we've completed the preliminary issues and

8   matters and we've had a good day so far.  And I want to have a

9   better day.  We want to go -- we wanted to kind of go ahead on

10   and take lunch now and come back in an hour so we can hit the

11   ground running.  And my plans are to go until 5:00 today.  So

12   if that helps you with your witnesses and their planning times

13   and those of you that are from out of the city and all like

14   that, if that helps you with the planning time, we'll try to

15   work on that.

16             Commissioners, I hope that that will help you -- I

17   know that a lot of you have got calls to make and things to do

18   in the office and all like that, but I want to be respectful of

19   your time.

20             So with that, I'm looking at us returning -- this

21   time I'll change to the clock on the wall and we'll come

22   back -- oh, I don't like the clock on the wall.  Come back

23   at -- I'm looking at 11:45 now by my watch.  So why don't we

24   come back at 12:45 -- I mean, no, no, not -- yeah.  12:45.

25   That's an hour.  Is that right?  I'm really struggling with

FLORIDA PUBLIC SERVICE COMMISSION

75

1   time today.  12:45.  We're on recess.

2             (Recess taken.)

3             (Transcript continues in sequence with Volume 2.)

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

76

1   STATE OF FLORIDA    )

:         CERTIFICATE OF REPORTER

2   COUNTY OF LEON      )

3

4             I, LINDA BOLES, RPR, CRR, Official Commission

Reporter, do hereby certify that the foregoing proceeding was

5   heard at the time and place herein stated.

6             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

7   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

8   proceedings.

9             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

10   or employee of any of the parties' attorneys or counsel

connected with the action, nor am I financially interested in

11   the action.

12              DATED THIS ________ day of January, 2008.

13

14                  ________________________________

LINDA BOLES, RPR, CRR

15                  FPSC Official Commission Reporter

(850) 413-6734

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION