449

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. 070650-EI

3   In the Matter of:

4   PETITION TO DETERMINE NEED FOR TURKEY

POINT NUCLEAR UNITS 6 AND 7 ELECTRICAL

5   POWER PLANT, BY FLORIDA POWER & LIGHT

COMPANY.

6   _______________________________________/

7

8

9

VOLUME 5

10

Pages 449 through 576

11

12             ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

13               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

14

PROCEEDINGS:        HEARING

15

BEFORE:             CHAIRMAN MATTHEW M. CARTER, II

16                       COMMISSIONER LISA POLAK EDGAR

COMMISSIONER KATRINA J. McMURRIAN

17                       COMMISSIONER NANCY ARGENZIANO

COMMISSIONER NATHAN A. SKOP

18

DATE:               Thursday, January 31, 2008

19

TIME:               Commenced at 9:30 a.m.

20

PLACE:              Betty Easley Conference Center

21                         Room 148

4075 Esplanade Way

22                       Tallahassee, Florida

23   REPORTED BY:        JANE FAUROT, RPR

Official FPSC Reporter

24                       (850) 413-6732

25   APPEARANCES:        (As heretofore noted.)

FLORIDA PUBLIC SERVICE COMMISSION

450

1                              I N D E X

2                              WITNESSES

3

NAME:                                               PAGE NO.

4

STEVEN D. SCROGGS

5

Continued Cross Examination by Ms. Fleming       465

6        Cross Examination by Ms. Brubaker                479

Cross Examination by Mr. Butler                  482

7

8   DR. NILS J. DIAZ

9        Direct Examination by Mr. Ross                   484

Prefiled Direct Testimony Inserted               487

10        Cross Examination by Ms. Krasowski               532

Cross Examination by Ms. Brubaker                545

11        Redirect Examination by Mr. Ross                 554

12

LEONARDO E. GREEN

13

Direct Examination by Mr. Huntoon                556

14        Prefiled Direct Testimony Inserted               558

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

451

1                              EXHIBITS

2   NUMBER:                                      ID.    ADMTD.

3   23 through 31                                         483

4   32 through 39                                         555

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

452

1                         P R O C E E D I N G S

2             (Transcript continues in sequence from Volume 4.)

3                          STEVEN D. SCROGGS

4   continues his testimony under Oath from Volume 4:

5             COMMISSIONER ARGENZIANO:  Okay.  So, then, it is

6   different, obviously, as to -- your explanation is different

7   than what you perceived previously.

8             And, Mr. Chair, I couldn't agree more, we need to

9   find out what is really going on.

10             Thank you.

11             CHAIRMAN CARTER:  Thank you, Commissioner.

12             That's one of the good things about what we are doing

13   now is we are listening, and we are going into and digging into

14   the details and all like that.  And it is great for each one of

15   us to be able to look at this issue from -- because, wherever

16   we go, we are going to have to defend what we do, and it has

17   got to make sense.

18             So, Commissioner Edgar, you are recognized.

19             COMMISSIONER EDGAR:  Thank you, Mr. Chairman.

20             If I may be given a little latitude to just get some

21   thoughts together, and hopefully it will all tie together.

22             You know, in my mind, we have got -- it's a

23   multi-step process, and we have a couple of different

24   proceedings going on within a larger proceeding.  And there

25   was, of course, the prehearing conference, prehearing.  And

FLORIDA PUBLIC SERVICE COMMISSION

453

1   from that was issued the prehearing order, which put us in the

2   proper posture in order to come to the next step, the

3   evidentiary hearing.

4             I did have some frustration yesterday, and I

5   apologize to my colleagues for showing that, because I

6   generally try to have a better poker face, but I had some

7   frustration because I felt that we were at an evidentiary

8   hearing and that part of the reason we are here live and in

9   person, or audio, was to be able to ask questions to flesh out

10   the information that we had been provided.

11             And if not, then we would have a paper hearing and we

12   would not have to, you know, spend all this time altogether in

13   this room.  So I had some frustration.  And part of that was

14   that I was trying to ask what to me seemed to be direct

15   questions, and I didn't feel like, in some instance, I was

16   getting direct answers.  Perhaps my questions were not as clear

17   as I thought they were.

18             But that brings me back around to -- I think the

19   prehearing conference appropriately laid out issues for

20   additional record building and questions and discussion at this

21   point in the process.  And at this point in the process I think

22   it is appropriate for the parties and for staff and for each

23   Commissioner to ask questions if we have them.  So I am pleased

24   that we have been able to have some discussion on this point.

25   I realize that we may seem to be belaboring a fine -- one fine

FLORIDA PUBLIC SERVICE COMMISSION

454

1   point when there are so many, but I think it is helpful to

2   clarify.  I did have some question, and I continue to, as to if

3   this issue were to be approved, if that is the direction this

4   Commission wants to go, whether is that a finding of prudence,

5   and that may be what is the right thing to do.  If it is, I

6   just wanted to have a better understanding that, indeed, that

7   is what we would be doing.

8             If, indeed, this Commission deems it appropriate and

9   the best instance in light of the statute and the rule and

10   every other factor that we approve Issue 9, then to me it is

11   helpful for us to have some discussion as to what the actual

12   language means.  And maybe, you know, maybe the language needs

13   to be adjusted slightly.  And I see that as a good part of the

14   process, and not as a criticism or anything like that.  So I

15   thank each of you for your questions that are helping me think

16   through, but in my mind, you know, the prehearing is one step,

17   but we are at just a different step in the process.  Thank you.

18             CHAIRMAN CARTER:  Thank you very kindly.

19             And, Staff, I'm sorry to interrupt you, but, you

20   know, sometimes when you ask a question, and each one us are

21   kind of listening for certain things, and we hear that.  So

22   this was kind of -- I really enjoyed the questions yesterday in

23   terms of looking at this issue from a multi-faceted

24   perspective, and I just wanted to make sure as we go forward,

25   first of all, I want to say, because I don't want anybody to

FLORIDA PUBLIC SERVICE COMMISSION

455

1   get the wrong idea, we, the Florida Public Service Commission,

2   are not trying to put a chilling impact on any company trying

3   to do the right thing.  None of us, none of the five of us are.

4   And I think that if you look at every vote that we have ever

5   taken, it doesn't show that.  Our votes show that we are going

6   to be diligent, dutiful, responsible, and we are going to try

7   to ensure that we keep the lights on.  So, I do want to say

8   that.  And because we are talking about one -- this is like one

9   of, what, one of ten issues.  And we are talking about one

10   issue.  This doesn't mean that we have an axe to grind, no pun

11   intended, for Japan Steel Works or any other works.  It's just

12   that in this process here, when we get into the evidentiary

13   hearing, as we were down in Miami and later on yesterday when

14   we talked to the public and said there is a public hearing

15   where the public comes and they get a chance to say the things

16   that are important to them, and we take that very serious, and

17   then we told the public that after that there is a more

18   formalized hearing, an evidentiary hearing where people are

19   sworn in, have their depositions, we have cross-examinations

20   not only from the parties but also from the Commissioners and

21   our staff.

22             So I think this is a dynamic process.  Commissioner

23   Argenziano served many years in the Legislature, so she is well

24   aware of how important it is to have the public, you know, for

25   the public to know what's going on, but, also, making the

FLORIDA PUBLIC SERVICE COMMISSION

456

1   decisions.  And that is the kind of thing about it, we want to

2   make a decision, but we need to have all of the facts.  We want

3   to have all of the facts.

4             And I know that sounds like I'm on a soap box, but I

5   just wanted to kind of set the tone for where we are.  We are

6   going to work through the process, and as we always do, we are

7   going to have the best possible position one for the ratepayers

8   and two for the companies.

9             Commissioner Skop, you're recognized, sir.

10             COMMISSIONER SKOP:  Thank you, Chairman Carter.

11             And touching upon the points that Commissioner Edgar

12   raised, which I think were excellent points.  Again, I don't

13   think that necessarily FPL has precluded itself from the issue

14   as written.  Because, again, that certainly is one option we

15   have heard.  But, again, the secondary option, the fallback

16   option or the option that maybe was not as further definitized

17   via through a vendor or not being able to be readily

18   transferable, I think what I heard from Mr. Scroggs, if the

19   contractual terms could entail reserving a queue directly with

20   Japan Steel Works, that works directly -- and he did say that

21   was one of the options.  But, again, I think part of the issue

22   is we don't know what the commercial terms are yet.

23             But, again, if it has gone through the vendor and

24   directed for the benefit of, then the portability of that -- we

25   have had portability used in the news lately for a good reason.

FLORIDA PUBLIC SERVICE COMMISSION

457

1   But, again, I think that it is equally important to make sure

2   that that is portable, if it is done in the indirect payment

3   method as opposed to the direct.  But, again, that's not

4   predetermined to even getting to that issue until we have a

5   determination on need.  So, again, I think that this issue is

6   being properly fleshed out.  And I do think that if

7   representations were made by FPL to the extent that it would be

8   a direct contractual arrangement with Japan Steel Works that

9   would probably be more on line, or that issue about moving it

10   from one vendor to the other without penalty or harm to the

11   consumer or the ratepayer, that would also be another thing

12   that would probably be consistent with the issue as currently

13   framed.

14             But I am concerned.  I do share Commissioner Edgar's

15   concerns, as well as Commission Carter's concerns, and

16   Commissioner Argenziano's concerns, and Commissioner McMurrian

17   may have even chimed in, so my colleagues' concerns about we

18   need to make sure we know with certainty what we are doing to

19   the extent that we are making the right decisions before us.

20   So, again, I still am supportive, but I need to make sure that

21   we haven't substantially departed from the way the issue was

22   framed before us.

23             Thank you.

24             COMMISSIONER EDGAR:  Thank you.

25             Commissioner McMurrian.

FLORIDA PUBLIC SERVICE COMMISSION

458

1             COMMISSIONER McMURRIAN:  Thank you.  I have, of

2   course, managed to remain quiet on this so far, but I just want

3   to throw out something, I guess, to Commissioner Skop and to my

4   other colleagues about this.

5             Commissioner Edgar mentioned that perhaps there is

6   some way to modify the issue.  And I know that we don't

7   normally look at modifying issues at this stage, and I'm not

8   necessarily suggesting that.  Given the confusion it seems that

9   we are having, I just wonder is there, and I wanted to pose it

10   to Commissioner Skop, is there some way to -- and I have played

11   with it a little bit myself, but I don't think that it answers

12   all the questions that have been raised about whether or not

13   this issue is asking for a determination of prudence, and

14   perhaps that is something that we deal with in how we answer

15   the issue.

16             I think that it is clear from the prehearing

17   positions that I believe that FPL is seeking a prudence

18   determination.  It may be more broad or more limited than

19   exactly what the issue is.  But I just wanted to throw out is

20   there some way -- would it be helpful at this point to

21   entertain perhaps making a little more broad, especially with

22   respect to whether the payment goes directly to Japan Steel

23   Works or through another vendor to perhaps take out the

24   language that says to Japan Steel Works.  And it just leaves

25   the concept of approximately 16 million in order to preserve

FLORIDA PUBLIC SERVICE COMMISSION

459

1   the potential for the in-service dates.  And perhaps taking out

2   the language about should FPL commit, and just leave it should

3   FPL -- and then you have the phrase set off in commas, and then

4   strike the to, as well, and say make advanced payments.

5             I'm not sure that still clarifies whether or not the

6   Commission is giving them direction to make those payments or

7   not, but it would, perhaps, tone it down somewhat and take out

8   the commit language.  But I just throw that out for your

9   consideration.  I think it would still leave the ability for

10   all the parties to still make the arguments that they have been

11   making, but at this stage of the process I don't intend to try

12   to confuse it and make the testimony not fit the issue, as

13   well.

14             COMMISSIONER SKOP:  And, Commissioner Edgar, may I be

15   recognized?

16             COMMISSIONER EDGAR:  Yes, sir.

17             COMMISSIONER SKOP:  Thank you.

18             And, again, I think that's an excellent point.

19   Again, it may be a little non-traditional and have to tweak an

20   issue on the fly, but certainly we can make the issue conform

21   to the evidence if we choose to do so.  But, again, it is an

22   excellent point that you raised, and I think Commissioner Edgar

23   has touched upon.

24             Just as a point of information, a little background,

25   when this issue came before me, again, it was a difficult

FLORIDA PUBLIC SERVICE COMMISSION

460

1   decision at best.  There was merit, as I explained yesterday,

2   but as the issue originally came, there were some iterations,

3   and there was a potential staff modification floating around

4   out there.

5             My concern was that if we came with broad language,

6   again, it would put us, or my colleagues in a very difficult

7   position to the extent that it was not as definitized as it

8   should be to make this type of thing.  And that was my

9   whole-hearted concern is that we are not in the process, nor

10   should we be, nor should I put my colleagues in the position of

11   being forced to consider writing a blank check.  So, to me it

12   was very, very, very important to make it as discreetly

13   definitized as possible.  We vetted that in detail with the

14   parties, OPC and FPL.  So, again, we got to the issue as it

15   stands now.

16             Certainly I'm open to the possibility of tweaking

17   that, to do the right thing for the ratepayer, if that is the

18   direction that we need to do.  You know, I am concerned about

19   the portability aspect.  The issue may, as written, be properly

20   framed if FPL could figure out in short order whether they are

21   willing to go directly to Japan Steel Works to have the option

22   to use it for either vendor to reserve the queue, then there is

23   no problem as written.  But certainly I'm open and flexible to

24   addressing the issue that has cropped up before us to the

25   extent that we are trying, I think, to do the right things when

FLORIDA PUBLIC SERVICE COMMISSION

461

1   it is necessary to do so.  However, we need to make those

2   issues discreetly conform to what is being presented.  And so

3   I'm certainly open to that suggestion that Commissioner

4   McMurrian presented, Commissioner Edgar.  And I think you and

5   Chairman Carter had some concerns there, too.  So I'm willing

6   to work with everyone to get the right result.  It is just,

7   again, my concern was I didn't want to present it as broad or

8   it to come in as long lead payments.  To me that is pretty

9   nebulous.  We need to know discreetly what we are being asked

10   to do, and I would certainly not put my colleagues in that

11   position.  So that is why, again, it was supposed to be very

12   discreet.  But, again, there is some uncertainty now.  So I

13   think I have said enough on that issue, but hopefully that

14   explains it.  And, yes, I am willing to entertain that, should

15   we need go there.  Thank you.

16             COMMISSIONER EDGAR:  Thank you, Commissioner Skop and

17   Commissioner McMurrian.  The word collegial is in my mind, and

18   that makes me so happy.

19             A couple of thoughts.  Again, and I am repeating

20   myself.  I wanted to be clear as to what this issue would mean

21   if we decided to go forward.  And having the discussion of the

22   questions, I'm not yet completely clear, but it has helped, it

23   has absolutely helped my thinking.  So thank you for that.

24             I do continue, just for me, to have a concern that

25   this issue, as worded, would put this Commission further into

FLORIDA PUBLIC SERVICE COMMISSION

462

1   management decisions than I am completely comfortable with, and

2   that is still a concern that I have.  I also recognize that we

3   have another witness later in this hearing who I think can

4   address some of those points, and I'm looking forward to asking

5   some questions and hearing the other questions and, hopefully,

6   that will flesh that out a little bit more.

7             I also would make the point, again, that one of the

8   questions still in my mind is because it is a new statute, as

9   you have pointed out, Commissioner Skop, and, therefore,

10   whatever we do on this, one way or the other, yes, no, up,

11   down, somewhere in between, I do see as very precedent setting,

12   and, therefore, I want to be all the more clear as to what it

13   really means.

14             So with that, those comments, I would ask if perhaps,

15   you know, Commissioner McMurrian, you have made some

16   suggestions.  We do have additional witnesses, and at least one

17   that I think is going to be on point some to this specific

18   issue, in addition to the current witness, that I know that the

19   parties are listening carefully, which I appreciate, and our

20   staff, and perhaps there could be further discussions between

21   the parties and staff.  And, again, of course, we do have the

22   additional witness.  So, I say we let the process kind of

23   proceed.  It generally works, and we will see where it takes

24   us.

25             Commissioner Skop.

FLORIDA PUBLIC SERVICE COMMISSION

463

1             COMMISSIONER SKOP:  Thank you, Commissioner Edgar.

2             And, again, I think those points are extremely well

3   taken.  And also, too, I would just add before we went back to

4   staff conducting its questions to round out the record, it

5   would probably help this Commission immensely if FPL in terms

6   of lunch or over the course of this proceeding can kind of

7   definitize which direction they think they may want to go with

8   this.  I mean, I'm not hearing -- I'm hearing concerns for the

9   right reasons, and I think Commissioner Edgar has properly

10   raised those, as I think that all Commissioners probably have

11   that in the back of their mind.  I do think that it would

12   facilitate the decision-making process substantially if we can

13   get some further definitization of where you guys think you may

14   want to go with this in very short order.

15             COMMISSIONER EDGAR:  And, again, we have witnesses

16   for the rest of the day.  And although I know some of us had

17   hoped that maybe we would be done today, I don't know that I

18   can optimistically project that.  So I think we will be

19   probably gathered together tomorrow, and so I think there is

20   opportunity for some of that, again, those discussions between

21   all parties and staff.  So, thank you.

22             Commissioner Argenziano, do you have any additional

23   comment at this point?

24             COMMISSIONER ARGENZIANO:  No, Madam Chair, I'm fine.

25   Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

464

1             COMMISSIONER EDGAR:  Thank you.

2             COMMISSIONER SKOP:  Thank you, Commissioner Edgar.

3             And, again, I think I have one quick question before

4   we turn it over to staff for Mr. Scroggs.

5             Would it be possible, hypothetically, and, again, I

6   don't want to be thinking for anyone, but, again, the way your

7   testimony is reflected there is currently two options floating

8   around.  One is a direct payment to Japan Steel Works based on

9   contractual terms through one of the two respective potential

10   vendors.  Is there some reverse notion where it could go

11   directly to Japan Steel Works and then be assigned to the

12   particular vendor for the benefit of?

13             Like, typically, if you were going to go directly to

14   one of your vendors like Westinghouse or GE, that payment would

15   be made to the vendor for the benefit of.  And I guess what I'm

16   asking is perhaps the opposite of that.  If you made the

17   payment to Japan Steel Works as the issue is framed, then it

18   could be assigned for the benefit of the respective vendor

19   source selection that you chose.

20             THE WITNESS:  Yes, sir, that is a possibility, I

21   assume, at this stage.  Let me just say that in terms of reason

22   that we might consider going through a vendor would be to

23   leverage the buying power of that vendor who is going to be

24   buying multiple sets, and that we also do business with our

25   existing fleet so that we may be able to get a better deal for

FLORIDA PUBLIC SERVICE COMMISSION

465

1   the customers in risk mitigation through a vendor than we could

2   being one entity buying one set of forgings from Japan Steel

3   Works.  We just haven't fleshed that out at this stage.

4             COMMISSIONER SKOP:  And as a quick follow up, again,

5   I think that the concern that Chairman Carter raised as echoed

6   by Commission Edgar, that portability function, I think, is a

7   very, very, very, very important contractual term to flesh out

8   in short order for this Commission to, perhaps, even get more

9   comfortable or go entertain that.  Because, again, if it's not

10   portable, I think as Chairman Carter stated and I think

11   Commissioner Edgar has kind of stated, that is an issue.  So,

12   again, hopefully we can resolve those in short order.

13             COMMISSIONER EDGAR:  Thank you.  Questions from

14   staff.

15             MS. FLEMING:  Yes, we still have more questions.

16   Thank you.

17                     CONTINUED CROSS EXAMINATION

18   BY MS. FLEMING:

19        Q    Mr. Scroggs, could I have you turn to your Late-filed

20   Exhibit Number 2 from your deposition, please.

21        A    Yes, ma'am.

22        Q    Can you explain -- just briefly explain the substance

23   of this exhibit?

24        A    This exhibit is this spreadsheet that I relied upon.

25   The first page that is entitled FPL AP 1000 COD July 2018 and

FLORIDA PUBLIC SERVICE COMMISSION

466

1   July 2020, that page was the information provided directly from

2   Westinghouse.  And then --

3        Q    I'm sorry, if I may interject for a moment.

4             Commissioners, this is identified as Exhibit Number

5   15 to Staff's Composite Exhibit Bates stamped Number 712 and

6   713.

7             I'm sorry.  Go ahead, Mr. Scroggs.

8        A    This was the base information that we were provided

9   with from Westinghouse Nuclear, and then the second page where

10   it says summary of long lead would be where I took that

11   information and instead of 2007 dollars, escalated it out in

12   time to years spent dollars, and represented it in a way that

13   is more consistent with how we represented costs in this

14   filing.

15        Q    At the table appearing at the top of the FPL API 1000

16   COD July 2018 and July 2020, which is Bates stamped Number 712.

17   Do you see that?

18        A    Yes, ma'am.

19        Q    This table appears to indicate that Japan Steel Works

20   forging slots, is that correct?

21        A    That's correct.

22        Q    And this table appears to indicate that it would cost

23   FPL 100 million in 2008 and 2009, is that correct?

24        A    That is not correct.

25        Q    Okay.  Can you explain that for me, please?

FLORIDA PUBLIC SERVICE COMMISSION

467

1        A    You see on the title above the years in that specific

2   table, it reads expenditure schedule, paren, percent of price

3   per year, end paren.  That represents that that 100 is an

4   indication of 100 percent of the payment for the forging slots

5   would be required in 2008.

6        Q    And is that 100 percent referring to the 16 million?

7        A    That is the number that we developed, yes, ma'am.

8        Q    Now, below that there are several notes, 1 through 6.

9   Note 2, specifically, has an asterisk and it says forging slots

10   reservation fee applies to SG and RV for 2 AP 1000 units.

11        A    That's correct.

12        Q    Does SG and RV, does that refer to steam generator

13   and reactor vessels?

14        A    Correct.

15        Q    Now, in the table at the bottom of that same page, is

16   it my understanding that this also shows the forging slots and

17   the expenditures in 2007 dollars, is that correct?

18        A    That's correct.

19        Q    And there is a dollar amount there of 12 million for

20   2008?

21        A    That's correct.

22        Q    And why is there is a dollar amount of 12 million

23   when we have been stating that it's a $16 million reservation

24   fee?

25        A    12 million was the specific value provided to us by

FLORIDA PUBLIC SERVICE COMMISSION

468

1   Westinghouse in 2007 dollars.

2        Q    And there is a column there that is labeled

3   reservation year.  Is that the year where you intend to put in

4   specific forging slots?

5        A    That is correct.

6        Q    And is it my correct reading that you have -- for

7   2008 reservation year you have RV 1, RV 2, SG 1, SG 2, RCP 1,

8   and RCP 2?

9        A    That's correct.

10        Q    Now, looking at the table above, you had designated

11   the forging reservation fee, it applies to RV 1, RV 2, SG 1,

12   and SG 2, correct?

13        A    Correct.

14        Q    What does the RCP 1 and RCP 2 refer to in the bottom

15   table?

16        A    These would refer to forgings associated with the

17   reactor coolant pumps for Unit 1 and the reactor cooling pumps

18   for Unit 2.

19        Q    And were those costs or expenditures included as part

20   of the table above?

21        A    Yes.

22        Q    Okay.  Can you explain that to me?  I guess I'm

23   confused as far as looking at the column in 2008 to 2009 you

24   have asterisk designations.  And looking at your note, it says

25   forging slots reservation fees apply for SG and RV for two AP

FLORIDA PUBLIC SERVICE COMMISSION

469

1   1000 units, but I don't see that designation for RCP 1 and RCP

2   2.  Can you explain that for me, please?

3        A    This is the specific spreadsheet provided to us by

4   Westinghouse, so this is not my document with my notes.  These

5   are notes that were provided to us in discussions with them.

6   We were asking is this reservation fee sufficient for the

7   complete set of all forgings we need for a two-unit project.

8   And the answer we received was yes.  So that is how we have

9   represented them to you.

10             MS. FLEMING:  Okay.

11             COMMISSIONER EDGAR:  Commissioner Skop.

12             COMMISSIONER SKOP:  Thank you, Madam Chair.

13             Also, again, this is a point of information.  Because

14   I see where staff is rounding this out on the Late-filed

15   Exhibit 2, on the first page of that hearing exhibit where it

16   was the 12,000, and then the subsequent page looks at rounded

17   and escalated pricing.  If staff would look at Staff 6th Set of

18   Interrogatories, Interrogatory Number 92, Page 1 of 1.  And

19   also followed by Staff's 6th Set of Interrogatories,

20   Interrogatory Number 89, Page 1 of 1.  To me, I mean, that's

21   the information I had available, again, when we definitized the

22   issue.  Again, this was late-filed.  I recognize there may be

23   some variability which we are trying to flesh out.  But I think

24   if you correlate what I was seeing on Interrogatory Number

25   92 for costs incurred, the 16,208,000 on this document, you

FLORIDA PUBLIC SERVICE COMMISSION

470

1   guys probably don't have it, but then it has the breakdown of

2   each item, the forging fee, and the long lead materials that

3   are also kind of articulated on the late-filed exhibits.

4             I think between the two there probably is that

5   correlation and comfort level because at the end of the day the

6   dollar numbers at least to me seem to be somewhat consistent,

7   but I just wanted to point that out as a point of information.

8   Because, again, the Staff's 6th Set of Interrogatories on 89

9   and 92 are the ones I kind of looked at, and I am seeing some

10   sort of consistency.  But, again, I will let staff flesh that

11   out.  Thank you.

12             COMMISSIONER EDGAR:  Thank you.

13             Ms. Fleming.

14   BY MS. FLEMING:

15        Q    Mr. Scroggs, with respect to the late-filed exhibits,

16   as we have had different dollar amounts, and on the top of Page

17   713 there is a $15 million amount in 2007 dollars, correct?

18        A    Correct.

19        Q    And I guess what I'm trying to reconcile is the

20   $12 million on the prior page versus the 15 million on the

21   following page.  Can you explain the discrepancy to me, please?

22        A    There is no discrepancy.  Again, we used as an input

23   as information from the vendor an estimate that they gave.  And

24   if you will look on that first page, right next to the term

25   forging slots in the lower graph it gives an estimate between

FLORIDA PUBLIC SERVICE COMMISSION

471

1   8 to 12 million.  Okay.  And then they used 12 million.

2             Given the uncertainty of this, we wanted to make sure

3   that we covered appropriately the range that could occur.  So I

4   made a decision that 15 million would give me an adequate cover

5   over an uncertain price estimate, and recognized we are using

6   the Westinghouse estimate to represent not only the

7   Westinghouse, but if we went with GE, as well.  So, again, that

8   was a judgment call on my part.

9        Q    Thank you for clearing that up.  I appreciate it.

10             Now, earlier you stated that the reservation fee, the

11   16 million, is still subject to further negotiations, is that

12   correct?  Is that my understanding?

13        A    That is correct.

14        Q    So is it fair to assume that the 16 million

15   reservation fee could go up or down at this point?

16        A    That's correct, it could.  But we feel that we have

17   provided a number that is very representative of what we expect

18   it will turn out to be.

19             COMMISSIONER EDGAR:  Commissioner Skop.

20             COMMISSIONER SKOP:  Thank you, Madam Chair.

21             And also to staff, again, on Issue 9 it was framed as

22   approximately 16 million.  My concern, again, was when I framed

23   that issue is making sure it was very definitized and more of

24   a, kind of, not to exceed number so we are not writing a blank

25   check.  But, again, it does say approximately.

FLORIDA PUBLIC SERVICE COMMISSION

472

1             COMMISSIONER EDGAR:  Ms. Fleming.

2   BY MS. FLEMING:

3        Q    Mr. Scroggs, earlier you testified that there will be

4   some remarket opportunity in the future if FPL decides not to

5   proceed with this project, is that correct?

6        A    That's the information we have available.  We believe

7   that there may be remarket opportunity.

8        Q    And is that remarket opportunity for the reservation

9   for -- can you explain that remarket opportunity?

10        A    Yes, ma'am, associated with the forging slot

11   reservation fee.

12        Q    If reservation payment is made and for some reason

13   FPL does not proceed with this project, and the remarket value

14   is less than what FPL paid, would the incremental difference

15   between the price paid and the price you received, would it be

16   borne by FPL customers?

17        A    It would be a part of the project costs, yes, ma'am.

18        Q    So, conversely, if the incremental difference between

19   the price paid and the price received is higher, then would

20   that flow through for the benefit of the customers?

21        A    Absolutely.

22        Q    I just want to touch on a few points you made

23   yesterday.  You discussed yesterday, you touched on why it's

24   necessary to get a Commission approval now for the advance

25   payment for the forgings.  Is it correct that in the past FPL

FLORIDA PUBLIC SERVICE COMMISSION

473

1   has made advanced procurements or reservations?

2        A    If you are speaking of conventional generation

3   equipment, yes, it is practice to make some advance payments.

4   However, the lead time associated with those payments are much

5   smaller than the lead time specifically associated with these

6   long lead components.

7        Q    And what were those advanced payments, were they

8   combustion turbines and steam generators?

9        A    I believe that is correct, yes, ma'am.

10        Q    And if you know approximately, what was the lead time

11   for those?

12        A    Those would be measured on the order of months,

13   whereas with the nuclear project we are looking on the order of

14   years.

15             MS. FLEMING:  Okay.

16             COMMISSIONER EDGAR:  Commissioner Skop, did you have

17   a question?

18             COMMISSIONER SKOP:  Thank you, Madam Chair.

19             With respect to those payments in that context, what

20   is the difference in the order of magnitude between, like for a

21   combined cycle plant versus these ultraheavy forgings in terms

22   of what is typically expended for those, or is it different

23   because it is such a short lead time between them?  I mean,

24   typically you put a combined cycle plant up in four years, or

25   three years, depending on how quick you get the long lead

FLORIDA PUBLIC SERVICE COMMISSION

474

1   components.  So would it be fair to make any sort of comparison

2   between the order of magnitude of what's necessary to get the

3   forging reserve for the proposed nuclear units, or would that

4   be not a good comparison?

5             THE WITNESS:  I would be -- having no specific

6   information in front of me to compare, I would say in general

7   the percentage of project cost being necessary to secure the

8   reservation in the nuclear issue is much less on a percentage

9   basis compared to the final cost of the components being

10   procured.

11             COMMISSIONER SKOP:  Thank you.

12             COMMISSIONER EDGAR:  And, Ms. Fleming, before I call

13   on you again for questions, let me ask you this question.

14             Chairman Carter had to step away.  He had said that

15   he had intended to stop around noon, and I want to, of course,

16   keep us on his time frame.  However, I also kind of like to

17   round out witnesses or portions of the proceeding, and we have

18   kept you here for a very long time.  Thank you for your

19   patience.  About how much longer do you have with questions?

20             MS. FLEMING:  Just two questions.

21             COMMISSIONER EDGAR:  Oh, okay.  Then let's go ahead.

22             MS. BRUBAKER:  Actually, if I may, I hate to impinge

23   on Commissioner Carter's time frame, but I also have maybe

24   five, maybe ten, at the most, minutes of questions, if I may.

25             COMMISSIONER EDGAR:  Commissioners, are you okay to

FLORIDA PUBLIC SERVICE COMMISSION

475

1   go ahead, or do you want to break?

2             All right.  Then, again, let me just make sure,

3   because he had said that we would break around noon.  Is there

4   a problem with anybody else's time frame if we go just a little

5   while longer and take a lunch break?  No?  Okay.  If there is,

6   let me know.

7             Ms. Fleming.

8             MS. FLEMING:  Thank you.

9   BY MS. FLEMING:

10        Q    Mr. Scroggs, we were just talking about the past

11   projects and how FPL has made advanced payments, and they were

12   something that were on a much smaller magnitude than a nuclear

13   power plant.  Of those forging reservation fees that FPL had to

14   make in the past, do you know how many were approved by the

15   Commission in advance of making such commitments?

16        A    I do not know.

17        Q    Do you know if there is another witness that may be

18   better suited to respond to that question?

19        A    I don't know, but I'm sure we could get you that

20   answer.

21             MS. FLEMING:  Okay.  That would be appreciated.

22             Thank you.

23             COMMISSIONER EDGAR:  Commissioner Skop.

24             COMMISSIONER SKOP:  Sorry to keep butting in, but,

25   again, I think a technical distinction to staff's question is

FLORIDA PUBLIC SERVICE COMMISSION

476

1   in order.  I think that the components that we are talking

2   about for ultraheavy forging that are pertinent to reactor

3   design are much different from being able to get a forging for

4   a steam turbine casing which, to my knowledge, we still have a

5   U.S. industrial base that is adequate to do that.  So I just

6   wanted to point that out as a point of information.  I'm not

7   exactly sure and perhaps technical staff, Mr. Ballinger might

8   be able to chime in, but I'm not exactly sure that was a fair

9   comparison, if you will.

10             COMMISSIONER EDGAR:  And, Commissioner McMurrian, I

11   think, had a comment or question.  So why don't you go ahead

12   and we'll see where we're at.

13             COMMISSIONER McMURRIAN:  I did.  It was to the

14   witness.  And thank you.  I didn't mean to interrupt in that

15   flow, but it was going back to the 12 million estimate, or at

16   least the high end of the estimate versus the 16 million that

17   is at least referenced in the issue.

18             Mr. Scroggs, can you help me again.  I think you said

19   that 12 million was at the top of the range, and then you

20   essentially added sort of a buffer to get to the 16 in case you

21   went with a different technology.  Is there anything in these

22   exhibits that shows what that estimate might be with respect to

23   the GE models?

24             THE WITNESS:  No, ma'am.  We have received no similar

25   specific information from General Electric.

FLORIDA PUBLIC SERVICE COMMISSION

477

1             COMMISSIONER McMURRIAN:  And then just for follow-up,

2   Chairman, and I'm sorry if I missed something from earlier, so

3   then the 12 from the 16 just, basically, you sort of added a

4   buffer so that if you went with the other design, you believe

5   that would account, at least give a more reasonable estimate

6   considering that that design is a larger design and you believe

7   that the costs would be higher than the estimate for the

8   Westinghouse if you were to go with the GE.  Do I understand

9   that correctly?

10             THE WITNESS:  That's a reasonable basis behind why I

11   would, you know, add 25 percent essentially to the estimate

12   provided by Westinghouse, yes, ma'am.

13             COMMISSIONER McMURRIAN:  And one other one, Chairman.

14             I want to better understand the difference.  We were

15   talking about the worst-case scenario and how if there might be

16   a possibility of two $16 million payments that would get us to

17   the 32 million.  Help me understand again what is the case that

18   might lead to that worst-case scenario of two $16 million

19   payments?  And I realize that those are estimates, as well, but

20   can you help me -- go back to that one more time.  Thank you.

21             THE WITNESS:  Again, in response to staff asking the

22   question, we talked about a very unlikely event that would

23   potentially occur in the case that we chose one reactor vendor,

24   made a decision to pay for long lead components with that

25   vendor, and then chose a different vendor.

FLORIDA PUBLIC SERVICE COMMISSION

478

1             A lot of things would have to happen for two full

2   payments to need to be made.  One, the commercial terms that we

3   would have negotiated with the first vendor, the commercial

4   arrangement would not have allowed for any recovery either via

5   work in kind from that vendor, or other consideration for that

6   vendor, or remarket value from the option purchased through

7   that vendor.  So all of those fail-safe mitigation techniques

8   that we would pursue in the contract terms would have to fail,

9   and then we would need to have no portability of the

10   reservation, no rights for assignability would allow us to take

11   that to another vendor, and then we would have to make full

12   payment for the other vendor.  So a lot of things that we don't

13   expect to have to happen would have to occur in order for that

14   worst-case scenario to occur.

15             COMMISSIONER McMURRIAN:  One more, I suppose, along

16   those lines.  If the Commission were to approve the issue that

17   is before us now, and that worst-case scenario developed, do

18   you believe that FPL would have the ability to pass on that

19   worst-case scenario given approval, if that happened, of that

20   issue?

21             THE WITNESS:  I believe the decision would be made in

22   the context of the overall benefits that would be coming to the

23   customer from the project.  I think we would be able to justify

24   that it would still be in the best interest of the customers to

25   proceed with the project, even if we had to do that.  But,

FLORIDA PUBLIC SERVICE COMMISSION

479

1   again, I don't believe that that would be a likely scenario to

2   occur.

3             COMMISSIONER McMURRIAN:  Thank you.

4             COMMISSIONER EDGAR:  Commissioner Skop.

5             COMMISSIONER SKOP:  Actually, I was going to make a

6   question about the most likely scenario which, again, if I were

7   a betting man, but I think I will withdraw the question.  Thank

8   you.

9             COMMISSIONER EDGAR:  Ms. Fleming, was that the end of

10   your questions?

11             MS. FLEMING:  Yes, ma'am.

12             COMMISSIONER EDGAR:  Thank you.

13             Ms. Brubaker.

14                          CROSS EXAMINATION

15   BY MS. BRUBAKER:

16        Q    Jennifer Brubaker, Legal staff, Mr. Scroggs; just

17   your indulgence for a few quick questions.

18             Now, we have spoken about the selection of

19   essentially the two designs that FPL is considering for this

20   project.  And is it correct that design selection is expected

21   to be finalized sometime in the middle of this year?

22        A    Yes, ma'am.

23        Q    Approximately?

24        A    The June time frame.

25        Q    Has FPL filed its site certification application with

FLORIDA PUBLIC SERVICE COMMISSION

480

1   DEP for this project?

2        A    We are preparing that application, and it is our

3   intention to file that concurrently or prior to the combined

4   operating license in March of 2009.

5        Q    So by the time the site certification application is

6   to be filed, you do expect to have finalized the design?

7        A    Absolutely.

8        Q    Thank you.  A few more.

9             Would you agree, generally speaking, that FPL makes

10   decisions about how and when to spend money for the purposes of

11   providing electric service to its customers essentially every

12   day?

13        A    Yes, ma'am.

14        Q    And would you agree with the statement that FPL in

15   making its decisions on those expenditures tries to make sure

16   that those expenditures are handled prudently or made

17   prudently?

18        A    Yes, ma'am.

19        Q    Now, you are a project manager for FPL, so you have

20   worked on a number of different types of plants.  Currently,

21   you are on this plant, which is a nuclear plant, but you have

22   also worked on more traditional designs like gas and coal,

23   correct?

24        A    Yes, ma'am.

25        Q    Now, for those more traditional types of plants --

FLORIDA PUBLIC SERVICE COMMISSION

481

1   let me rephrase that.

2             For the nuclear plant that is currently under

3   consideration, there is a specific rule, is there not, that

4   contemplates the cost-recovery for the cost associated with the

5   building of that plant?

6        A    Yes, ma'am.

7        Q    Is there a similar rule that addresses the specific

8   recovery of costs, the annual review and prudence

9   determinations regarding more traditional type of plants like

10   coal or gas?

11        A    Yes, ma'am.

12        Q    Could you identify what that rule is?

13        A    There is a process, but not an annual cost-recovery

14   process.  Maybe I misunderstood your question.

15             There is not a similar annual cost-recovery filing

16   for fossil fuel generation or other types other than nuclear.

17        Q    With regard to those types of plants, for instance,

18   that you would use gas or coal, or what have you, would you

19   agree that FPL is still expected to make prudent choices in

20   putting forward and constructing that plant?

21        A    Yes, ma'am.

22        Q    Even though there is not an annual review process

23   specifically contemplated for that recovery?

24        A    Yes, ma'am.

25        Q    Would you agree that expenditures associated with

FLORIDA PUBLIC SERVICE COMMISSION

482

1   constructing gas or coal plants could reach $16 million,

2   hypothetically speaking?

3        A    Certainly they are more expensive than $16 million.

4        Q    Now, in your testimony you do address, to a limited

5   extent, the cost-recovery rule for nuclear, correct?

6        A    Yes.

7        Q    In your opinion, would you agree that the provisions

8   in that rule, to some extent, reduce the financial risk that

9   FPL is exposed to in pursuing the construction of a nuclear

10   power plant?

11        A    Yes.

12             MS. BRUBAKER:  Thank you.  I have no more questions.

13             COMMISSIONER EDGAR:  Commissioners, any other

14   questions at this time?  No.

15             Any questions from you, Mr. Butler?

16             MR. BUTLER:  I do have some brief redirect.  Would

17   you like me to do it now, or after the lunch break, your

18   preference.

19             COMMISSIONER EDGAR:  Can you give me an approximate?

20   Five minutes?  Twenty minutes?

21             MR. BUTLER:  I think it is probably less than five.

22             COMMISSIONER EDGAR:  Well, then let's go ahead and

23   move forward.  Thank you.

24                        REDIRECT EXAMINATION

25

FLORIDA PUBLIC SERVICE COMMISSION

483

1   BY MR. BUTLER:

2        Q    Mr. Scroggs, you were asked on several occasions

3   about the issue of portability of the forging reservation that

4   would be achieved if we pay a forging reservation fee.  Is it

5   FPL's intent in negotiating to negotiate as much portability of

6   the forging reservation as possible, consistent with other

7   commercial considerations?

8        A    Yes.  And we would also look for other commercial

9   vehicles that in the lieu of specific portability would

10   compensate us for that potential.

11             MR. BUTLER:  Thank you.  That's all the redirect that

12   I have.

13             COMMISSIONER EDGAR:  Exhibits?

14             MR. BUTLER:  Yes, I would move Exhibits 23 through

15   31, I believe it is.

16             COMMISSIONER EDGAR:  That is what I have, 23 through

17   31.  Seeing no objection, we will show those entered into the

18   record.

19             (Exhibits 23 through 31 admitted into the record.)

20             COMMISSIONER EDGAR:  Mr. Scroggs, thank you for your

21   patience.  You are excused.

22             THE WITNESS:  Thank you.

23             COMMISSIONER EDGAR:  Okay.  We will go to lunch

24   break.  Does 1:30 work?  Commissioners, is that -- okay.  We

25   will come back from lunch at 1:30, and then it will be your

FLORIDA PUBLIC SERVICE COMMISSION

484

1   witness.  Thank you.

2             (Lunch recess.)

3             CHAIRMAN CARTER:  We are back on the record.  And the

4   last time we left another witness was called.

5             MR. ROSS:  FPL calls Doctor Nils Diaz.

6             CHAIRMAN CARTER:  Has the witness been sworn?

7             MR. ROSS:  He has not.

8             CHAIRMAN CARTER:  Mr. Diaz, would you please stand

9   and raise your right hand.

10             (Witness sworn.)

11                          DR. NILS J. DIAZ

12   was called as a witness on behalf of Florida Power and Light

13   Company, and having been duly sworn, testified as follows:

14                         DIRECT EXAMINATION

15   BY MR. ROSS:

16        Q    Would you please state your name and business

17   address?

18        A    My name is Nils J. Diaz.  You said my business?

19        Q    Your business address, please.

20        A    Business address.  2508 Sunset Way, St. Pete Beach,

21   Florida.

22        Q    By whom are you employed and in what capacity?

23        A    I am employed by the ND2 Group as Managing Director,

24   and by Florida Power and Light as a consultant.

25        Q    Doctor Diaz, have you prepared and caused to be filed

FLORIDA PUBLIC SERVICE COMMISSION

485

1   42 pages of prefiled direct testimony in this proceeding on

2   October 18th, 2007?

3        A    Yes.

4        Q    Do you have any changes to your prefiled direct

5   testimony?

6        A    No.

7        Q    If I asked you the same questions contained in your

8   prefiled direct testimony today, would your answers be the

9   same?

10        A    Yes.

11             MR. ROSS:  Mr. Chairman, FPL requests that the

12   prefiled direct testimony of Doctor Diaz be inserted into the

13   record as though read.

14             CHAIRMAN CARTER:  The prefiled testimony will be

15   inserted into the record as though read.

16   BY MR. ROSS:

17        Q    Doctor Diaz, are you also sponsoring exhibits to your

18   testimony?

19        A    Yes.

20        Q    And do those exhibits consist of documents marked

21   NJD-1 through NJD-8?

22        A    Yes, sir.

23             MR. ROSS:  Mr. Chairman, I would note that Doctor

24   Diaz' exhibits have been premarked for identification as

25   Exhibits 32 through 39.

FLORIDA PUBLIC SERVICE COMMISSION

486

1             CHAIRMAN CARTER:  Okay.

2

3

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

529

1   BY MR. ROSS:

2        Q    Doctor Diaz, have you prepared a summary of your

3   testimony?

4        A    Yes, sir.

5        Q    Would you please provide that summary to the

6   Commission?

7        A    Yes, sir, thank you.  Good afternoon, Chairman

8   Carter, Commissioners.  It is indeed my privilege to testify in

9   my home state before the Florida Service Commission in support

10   of the deployment of new nuclear power plants at Florida Power

11   and Light's Turkey Point site.

12             I have spent 40 years of my life in the design,

13   construction, operation, and regulation of nuclear power

14   plants.  I was a Commissioner of the United States Nuclear

15   Regulatory Commission, the NRC, from 1996 to 2006, serving as

16   its Chairman since 2003.  I now wear different hats, but I

17   remain committed to the same goals that were the focus of my

18   career, protection of the public health and safety, protection

19   of the environment, and protection of the common defense and

20   security.  And on that note, I am convinced that nuclear power

21   electrical generation should increasingly contribute to

22   maintain and enhance our energy security, our economical and

23   reliable electricity supply, and our environmental stewardship

24   regionally and globally.

25             Nuclear power generation is especially needed in

FLORIDA PUBLIC SERVICE COMMISSION

530

1   Florida to diversify the fuel portfolio, to balance the

2   dominant role of carbon in generators, to decrease price

3   volatility, and to achieve national and global environmental

4   goals.  New nuclear power deployment in Florida is supported by

5   a combination of key favorable converging factors.  The safety,

6   security, and generation reliability of the current fleet of

7   light water reactors is proven and is sustained.  Improvements

8   made to the design, construction, and operational safety of new

9   standard reactors are enabling factors.  New reactors are

10   safer, simpler, easier to operate and maintain.  The much

11   improved yet new reactor licensing framework is in place at the

12   NRC providing comprehensive safety and environmental

13   evaluations completed prior to construction limiting financial

14   risk and enabling better decision-making by all concerns.

15             Nuclear electrical generators have high initial

16   capital cost and become economically competitive by their low

17   production cost supported by low fuel cost, state of the art

18   operation and high capacity factors.  The key factor bearing on

19   this determination is the proven capability of Florida Power

20   and Light to construct and operate nuclear units safely and

21   reliably.

22             The issue of the final disposition of used or spent

23   fuel is not fully resolved and needs to be addressed, but it

24   does not have to be solved now.  Used fuel is currently safely

25   and securely stored, and can be so stored for up to 100 years.

FLORIDA PUBLIC SERVICE COMMISSION

531

1   The disposition, processing, and ultimate disposal of remaining

2   radioactive residues will be resolved to the benefit of our

3   society long before that time.

4             In summary, large capacity, high reliability,

5   efficient power electricity generation without carbon or

6   pollution issues should be added to Florida's energy portfolio

7   at the Turkey Point site.  That concludes my summary, Mr.

8   Chairman.

9             MR. ROSS:  Doctor Diaz is available for cross

10   examination.

11             CHAIRMAN CARTER:  Commissioners, I'm going to allow

12   the parties, and then at any time if you have a question, no

13   problem whatsoever, we can move in.

14             Ms. Krasowski.  Wait a minute.

15             Mr. Beck.  I'm so sorry, Mr. Beck.

16             MR. BECK:  I have no questions.

17             CHAIRMAN CARTER:  Ms. Krasowski.

18             MS. KRASOWSKI:  Good afternoon.  Before we begin, I

19   would ask that the FPL legal counsel identify themselves,

20   because I'm not familiar with who they are.

21             CHAIRMAN CARTER:  Okay.

22             MR. ROSS:  Mitchell Ross for FPL.

23             MR. FERNANDEZ:  Antonio Fernandez for FPL.

24             CHAIRMAN CARTER:  Mr. Ross and Mr. Fernandez.

25             MS. KRASOWSKI:  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

532

1                          CROSS EXAMINATION

2             MR. KRASOWSKI:  Thank you.

3   BY MS. KRASOWSKI:

4        Q    Good afternoon, Doctor Diaz.

5        A    Good afternoon.

6        Q    On Page 31 of your testimony -- well, let me begin

7   first by asking you, are you familiar with Witness Sanchez's

8   testimony?

9        A    Am I familiar with the Sanchez testimony?

10        Q    Yes.

11        A    I have, you know, read the testimonies, but I cannot

12   say that I am familiar to the point of being cross-examined

13   over them.

14        Q    All right.  On Page 32, Line 4.

15        A    Page 32?

16        Q    Yes, please.

17        A    Yes.

18        Q    Hydrology is included as a significant factor for

19   safety in the plant, and I was wondering would the drought that

20   we are experiencing in southeast Florida, would that have any

21   kind of impact on your estimation of what kind of security

22   might be needed in regards to water?

23        A    I don't believe that temporary droughts would

24   actually have an impact on the initial determinations that will

25   be made, because this issue will be thoroughly analyzed both by

FLORIDA PUBLIC SERVICE COMMISSION

533

1   the Nuclear Regulatory Commission on the federal part, which

2   will have NEPA determinations on the issue, and by the state

3   and community permits.  So I believe the issue of hydrology

4   will be exhaustively analyzed and by the time that they do

5   their filing for their permits, this issue should be very well

6   established and determined.  Including any factors or

7   variations.

8        Q    Thank you.  On Page 39.  Let's see.  Can you tell

9   me -- well, this is just in your testimony in general on Page

10   39.

11        A    Uh-huh.

12        Q    How many dry cask storage sites are there currently

13   in the United States?

14        A    You know, I don't remember the exact number, because

15   I have been out of there a year and a half, but I believe there

16   are over a dozen established sites, and they are growing in

17   number every year as the plants select the dry cask storage as

18   a referred option for keeping their fuel on-site and

19   maintaining the capabilities of their own, you know, authority

20   over those casks.

21        Q    Do some of the plants ship their waste to other

22   places after they dry cask them?

23        A    Some plants have done some small shipments.  Some

24   shipments have been made to the Idaho National Reactor Testing

25   Site, but the majority of the plants keep their fuel even after

FLORIDA PUBLIC SERVICE COMMISSION

534

1   they have been decommissioned.  Several plants of late since

2   1996 have decommissioned and they have removed the fuel from

3   the reactor and placed them on dry storage casks in a portion

4   near where their original facility was and provided the

5   security factors.  Other utilities have decided that in order

6   to maintain operational capabilities to do full core offloads

7   when they are working with the fuel, have moved their fuel from

8   the spent fuel pools to dry cask storage right on the plants.

9        Q    And when they moved the fuel from the pool to the dry

10   casks, they have to let the fuel cool in the pools for a number

11   of years before they can move them into dry cask or can they

12   just move it directly into dry cask?

13        A    They normally cool from a period of seven to ten

14   years in the spent fuel pools.

15        Q    And how long has dry cask storage been -- how long

16   have they used dry cask storage?

17        A    We have been using dry cask storage for over

18   30 years.  However, their increased use is now more pronounced.

19   More people are deciding that dry cask offers them a very safe

20   and reliable alternative and so they are moving more and more

21   fuel from the spent fuel pools to the dry cask.  It seems to be

22   economical.  We believe it is a very safe and secure way of

23   storing the fuel.

24        Q    And how much does it cost for one dry cask, do you

25   have any idea?

FLORIDA PUBLIC SERVICE COMMISSION

535

1        A    I don't have the numbers per dry cask, but, you know,

2   a complete dry cask facility is millions of dollars, okay.

3   Fundamentally, there is an issue in here that that fuel

4   technically belongs to the DOE, so there is issues of

5   compensation.  Other people just start to do it, but the

6   reality is that the utilities have put the safety and security

7   of the fuel ahead of what the compensation is, so they are

8   moving with it, they are doing it right.  I have been in many

9   of those facilities and I am very pleased with both their

10   safety and their security.

11        Q    By the DOE, you mean the Department of Energy?

12        A    The Department of Energy, correct.

13        Q    And, who pays for the DOE, is that run off of tax

14   dollars?

15        A    Well, it is not taxpayers' money.  There is an

16   assessment of one mill per kilowatt hour that is assessed to

17   every kilowatt hour that it is produced by a nuclear power

18   plant.  That goes into this waste fund and that waste fund is

19   administered by the United States government, supposedly by the

20   DOE, and that money has been used for different purposes.

21   First, it was used to try to get the suppository called Yucca

22   Mountain going, and other parts of the money are now being to

23   compensate the utilities for not having moved the fuel, or for

24   dry cask storage, or purposes related to the waste.

25        Q    As former Chairman of the Nuclear Regulatory

FLORIDA PUBLIC SERVICE COMMISSION

536

1   Commission, do you foresee spent fuel remaining on-site because

2   of the problems that have arisen with Yucca Mountain?

3        A    I do see fuel remaining on-site for at least the next

4   20 to 40 years, and that depends when the fuel was discharged

5   or not.  I don't see Yucca Mountain coming on-line before the

6   year 2025.  I believe that the alternative that has been

7   developed with dry cask is an excellent alternative.  It is one

8   that avoids the question and would allow the government of the

9   United States to find the best solution possible.  Not a

10   temporary solution, but a solution that actually will serve the

11   country best.

12        Q    And on what do you base your belief that the problems

13   with waste will be solved?

14        A    Well, Madam, how long do you have?  Let's just say

15   that I have spent a lifetime working in all of these issues,

16   and, therefore, I am convinced that we have solutions.  Now,

17   the way that the solutions will be arrived at are not going to

18   be quick.  The reason is that the country is both concerned in

19   maintaining the capability of the fuel that still exists, of

20   disposing of whatever residues there are that will no longer

21   have, you know, radiotoxicity for thousands of years.  For

22   maybe 300, 600 years there are small amounts of residues and

23   also to maybe come up with a scheme that prevents in other

24   countries, not a question in this country, the potential misuse

25   of fuel for proliferation purposes.  So, we are looking for a

FLORIDA PUBLIC SERVICE COMMISSION

537

1   complete solution, and I think that is the right way to go.

2   And complete solutions do not come very easy.  They have to be

3   done in stages, and I think that that is precisely what the

4   government is studying and actually doing.  It might require

5   more than one stage, by the way, but that is the way we are

6   actually going.

7        Q    Well, thank you.  Let's see.  Do you have an idea, do

8   you have an idea like what the carbon dioxide and other

9   greenhouse gases would be made during the dry cask storage

10   stage?

11        A    Madam, whatever it is is just from the use of the

12   trucks or industrial equipment, just like in any other

13   construction.  Like in construction of this building.  You

14   know, the reality is that any human application or any

15   industrial application, especially in the United States, is

16   carbon based right now.  Carbon dominates, okay, the energy,

17   you know, domain in this country.  And so all of these

18   activities, whether related to transporting children to school,

19   or opening a uranium mine, or transporting uranium from one

20   location to another, they all consume a little bit, a little

21   bit of carbon bearing materials which are burned, and so there

22   is a small amount that will come out.

23             And when people talk about, you know, carbon

24   producing or not carbon producing generation they are really

25   looking at the generation point.  They are not looking at, you

FLORIDA PUBLIC SERVICE COMMISSION

538

1   know, what happens before because those uses are so small that

2   they really do not enter into any equation.  What happens is

3   that the generation of gases and particulates from burning

4   fossil fuels is very large, like 3 million tons per year for

5   1,000 megawatts.  In a nuclear power plant, there is not zero,

6   it is probably ten kilograms, or 100 kilograms a year when you

7   turn the diesels on.  So, there are orders of magnitude, five

8   six orders of magnitude smaller from a nuclear power plant than

9   from a fossil plant, and that is where the comparison comes to

10   be.  The rest of the fuel cycles, it doesn't matter what the

11   actual cycle is, it doesn't matter whether you are building

12   windmills, they will all use fossil fuels until that time,

13   which I don't know where it is, where we have electrified our

14   society and we have other sources to do it.  But presently they

15   are carbon based and they will generate a small amount.  But

16   the main generation of gases occurs at this plant and it goes

17   on for years and years and years until the plant is ended.

18        Q    Doctor Diaz, I have -- and I apologize, I don't know

19   exactly where this particular chart fits in with the exhibition

20   numbers.

21             CHAIRMAN CARTER:  Could you tell us what it is?

22             MS. KRASOWSKI:  It is Exhibit NJD-2.

23             MR. ROSS:  That is Exhibit 33.

24             MS. KRASOWSKI:  Thank you.

25             THE WITNESS:  Yes.

FLORIDA PUBLIC SERVICE COMMISSION

539

1   BY MS. KRASOWSKI:

2        Q    In Exhibit 33, you have the collective radiation

3   exposure, and I have a few questions about -- I have a few

4   questions about the operations of nuclear plants.  How are

5   these radio -- how are these collective radiation exposures

6   measured?

7        A    Very good question.  The present power plants have a

8   variety of ways of determining what is the radiation exposure

9   of a person.  It depends on how long will the person or the

10   type of radiation that a person is going to be in a certain

11   area, what is the predominate type of radioisotopes.  Right now

12   every power plant has a team of what we call health physicists,

13   which are involved in radiation protection.  These health

14   physicists actually set up monitoring devices around the plant,

15   but especially around people that are going to be working with

16   radiation.  The sophistication of these techniques is now

17   really very, very, very high.  And they have been able to

18   pinpoint what is happening in what places, and that has been

19   one of the major reasons for the reduction of doses to

20   personnel, which have continued to be going down.  It used to

21   be much higher than what it is.  And this Person-REM, what is

22   here, it says all of the people that are in the plant, you

23   know, multiplied by the radiation doses they have received, and

24   it is a cumulative annual and, you know, plant personnel

25   indication of how good are the radiation protection measures.

FLORIDA PUBLIC SERVICE COMMISSION

540

1   So when we look at this, we want to see that there are no

2   peaks.  Mostly we want them to be going down.

3             The assessments that we make compares this to actual

4   programs.  They are essentially graded according to their

5   performance.  I think Witness Stall talked about the green bars

6   and the white bars.  This is one of the programs that we

7   include in the evaluations of the NRC.

8        Q    Thank you.  When the radiation builds up in the

9   containment areas and places where people might be working, is

10   that released during a purge?

11        A    No.  We can do controlled releases.  If there is a

12   certain amount of gases or steam, what we do is we make sure

13   that we do not provide any uncontrolled releases to the

14   environment.  Power plants work on the basis of control,

15   management and control of every single aspect of the operation,

16   but most especially of the radioactive effluents and whether

17   they are gases or liquids.  Those effluents are monitored.

18   They are released only when we want them to be released and

19   always in quantities much smaller than those that are allowed

20   by law.  And the facts, you know, more than that, every power

21   plant self-imposes what we call a LARAL, as low as reasonable

22   achievable limits.  So, even below the limits of what is legal.

23   They institute programs to make sure that the releases are

24   small, controlled, and so we really have controlled releases

25   for any time that people are visiting an area.

FLORIDA PUBLIC SERVICE COMMISSION

541

1        Q    Nuclear power plants, are nuclear power plants

2   allowed to have 22 purges per year?

3        A    22 purges per year?  Nuclear power plants don't have

4   a set number of purges.  They look at it quarterly and they

5   look at it annually and they have a certain amount of allowable

6   releases that are done under controlled conditions.  And if

7   their releases are under those volumes then that is how you are

8   allowed to release it.

9             MR. ROSS:  Mr. Chairman, I would just like to

10   interpose an objection.  The prehearing order granting the

11   Krasowskis intervention in this proceeding specifically stated

12   that the decision should not be construed to permit the

13   Krasowskis to raise arguments relating to nuclear safety.  And

14   we have permitted some level of questioning of Doctor Diaz on

15   nuclear safety issues, but I think it is appropriate now to

16   object and to try to keep the scope of this cross examination

17   within the permitted intervention.

18             MS. KRASOWSKI:  Commissioner Carter?

19             CHAIRMAN CARTER:  Yes, ma'am.

20             MS. KRASOWSKI:  I am not asking this from a safety

21   point of view, I am just asking these things from a plant

22   operational point of view, and that has to do with the

23   economics of the plant, also.  So that is the only reason.  I

24   haven't said anything about safety.

25             MR. ROSS:  I don't think any of the questions, Mr.

FLORIDA PUBLIC SERVICE COMMISSION

542

1   Chairman, have gone to the issue of cost.  She is asking

2   questions about radiation exposure, which can't be separated

3   from safety.

4             CHAIRMAN CARTER:  Let me think a moment here.

5             Staff recommendation.

6             MS. BRUBAKER:  Well, I have to concur that that

7   language is in the order.  And, of course, the Commission does

8   not have within its legislative mandate issues of nuclear

9   safety, so if the issues are directed to cost-effectiveness

10   perhaps the Krasowskis could focus on that issue and help us

11   all stay within the scope of the proceeding.

12             CHAIRMAN CARTER:  Let's do this, could you use about

13   five minutes to get your notes together?  Would you think that

14   would be helpful?

15             MS. KRASOWSKI:  No, I don't really need five minutes.

16             CHAIRMAN CARTER:  You don't need five minutes?

17   You're ready?  Just kind of -- but, I mean, I want to give you

18   some latitude to kind of help, but we do want to stay within

19   the confines of the order and within the confines of our

20   jurisdiction.

21             MS. KRASOWSKI:  Okay.  Thank you.

22             CHAIRMAN CARTER:  So, I will have to sustain the

23   objection.

24             MS. KRASOWSKI:  May I say it is not every day I get

25   to speak to the former chairman of the Nuclear Regulatory

FLORIDA PUBLIC SERVICE COMMISSION

543

1   Commission.

2             CHAIRMAN CARTER:  I told you, I'm fascinated.

3             MS. KRASOWSKI:  And in the presence of PSC here.

4             CHAIRMAN CARTER:  And we have allowed great latitude.

5   As I said, if you need a moment to kind of get your notes

6   together, we are more than happy to do that.  We want to

7   cooperate in every way possible.

8             MS. KRASOWSKI:  Okay.

9             CHAIRMAN CARTER:  But if you don't need a break, you

10   are recognized.

11             MS. KRASOWSKI:  Thank you.

12   BY MS. KRASOWSKI:

13        Q    Doctor Diaz, can you describe what crud is?

14        A    Yes, ma'am, I can describe what crud is.  In the

15   language of the nuclear power plants, crud is an accumulation

16   of salts, oxides, that during the operation of the plant stick

17   to the surfaces of the plant.  And many times the crud, and I

18   see your question coming, is radioactive because it contains

19   radioisotopes of iron.

20        Q    And how is the crud cleaned and how much does that

21   cost?

22        A    The crud is occasionally cleaned.  There are two

23   ways, one is by chemical processes and the other is by thermal

24   processes.  Thermal processes are a little cheaper, but they

25   are not as effective as chemical processes.  If I remember

FLORIDA PUBLIC SERVICE COMMISSION

544

1   correctly, but please don't hold me to it, a nuclear power

2   plant when it actually does what are called a crud burst, they

3   could spend as much as $100,000 doing that crud burst.  And

4   that includes mostly the fact that the radiological protection

5   devices in capturing this radioactive material is then

6   captured, encapsulated, put in a manner that is not released to

7   the environment.  And so, since it is more radioactive than the

8   normal substances that are normally being handled in the plant

9   on a day-to-day basis, special care is put onto this.

10             The reason that we do crud burst is to increase the

11   thermal efficiency of the plant.  So even though it has a cost,

12   eventually the efficiency of the plant increases and the

13   ratepayers will pay less for the electricity.

14             MS. KRASOWSKI:  Thank you.  Just one minute, please.

15             CHAIRMAN CARTER:  Okay.  Take your time.

16             MS. KRASOWSKI:  Well, thank you.  And sometime I

17   would love to just have a conversation outside of the PSC arena

18   here.

19             THE WITNESS:  Madam, it would be my distinct pleasure

20   to sit with you and your husband and have a long conversation.

21   I would be delighted to do that.  I have been doing it all of

22   my life, and I am looking forward to it.

23             MS. KRASOWSKI:  Thank you.

24             CHAIRMAN CARTER:  No further questions, Ms.

25   Krasowski?

FLORIDA PUBLIC SERVICE COMMISSION

545

1             MS. KRASOWSKI:  No more questions.

2             CHAIRMAN CARTER:  Thank you so kindly.

3             Commissioners, I'm going to go to staff unless either

4   of you have a question at this point in time.

5             Staff, you are recognized.

6             MS. BRUBAKER:  Thank you.  Just a few quick

7   questions, if I may, Doctor Diaz.

8                          CROSS EXAMINATION

9   BY MS. BRUBAKER:

10        Q    Were you present at the beginning of the hearing

11   yesterday morning?  Did you listen to the public testimony

12   portion?

13        A    No.  I listened to part of it on the radio at the

14   hotel.  They told me to stay out of here.

15        Q    There was a comment made about Germany

16   decommissioning or exploring the decommissioning of its nuclear

17   plants.  Are you familiar with the status of nuclear plants and

18   power production in countries other than the United States?

19        A    Yes.

20        Q    Do you have any comments to offer regarding whether

21   that comment is accurate regarding the decommissioning of the

22   German plants?

23        A    I'm sorry, you are going to have to say that again.

24        Q    Certainly.  Do you have any comments to offer, do you

25   agree with the statement that Germany is pursuing

FLORIDA PUBLIC SERVICE COMMISSION

546

1   decommissioning of its nuclear plants?

2        A    Yes.  I agree that Germany has been pursuing the

3   decommissioning of their nuclear power plants.  However, it is

4   not as straightforward as it looks.  If I might ask the

5   Chairman of the Commissioners, it might take two minutes, maybe

6   I will tell you what the story is.  In Germany for many years

7   there has been a large and growing concern regarding

8   transportation of nuclear waste that used to come from Germany

9   all the way to LaHague in France.  And you have seen it in the

10   TVs, you know, people putting themself across a railroad track.

11   So actually, the Green movement got to be very strong focused

12   precisely on the issue of transportation.  Eventually, when

13   there was a transition in the government, the government of

14   Mr. Kohl did not have a majority to rule, and so he was really,

15   you know, made a coalition with the Greens that allowed them to

16   then rule, so he became the majority party.

17             One of the conditions of that alliance was that

18   nuclear power plants -- there will be no new nuclear power

19   plants.  So there is a moratorium.  And second, that nuclear

20   power plants will be decommissioned in accordance to a schedule

21   and they will be all decommissioned by 2021.

22             Surprisingly, the utilities say yes.  There was a

23   time they were saying no, and why the utilities say yes is a

24   very surprising thing.  They actually got a lot of benefits

25   from the government.  For example, they got no more problems

FLORIDA PUBLIC SERVICE COMMISSION

547

1   with transportation of nuclear waste.  The government took that

2   out.  They got some rate relief.  They got allowance for

3   capital investments.  So it is a very convoluted type of

4   negotiations that took place, but the result is that right now,

5   you know, there are plants that are supposed to be

6   decommissioned, to be shut down and then decommissioned and

7   that has been argued.

8             There is one famous plant that is supposed to be shut

9   down, I believe, in two years, and the owners are saying no, we

10   are not going to shut down, because in the law there are

11   credits that you can pass from one plant to another.  In other

12   words, plants that are younger, you know, have more megawatt

13   hour of operation, are supposed to lend other plants the

14   megawatts hours of operation.  And the reason for this deal

15   which the government approved was that nobody ever believed

16   that all nuclear power plants in Germany would be ever

17   decommissioned because Germany cannot survive without nuclear

18   power plants.  There is absolutely no way they can comply with

19   the Kyoto agreements, with all of the things that they have

20   established for their economic growth, for everything else

21   without the support of the power plants.

22             So, when the government changed again, they thought

23   that this was going to take place, but it didn't take place.

24   What happened was that another status quo was established and

25   supposedly some new arrangements were being made.  Right now

FLORIDA PUBLIC SERVICE COMMISSION

548

1   the situation is in an impasse.  There is still a date in which

2   they are supposed to be decommissioned, but only two plants

3   have been decommissioned.  The rest of them are not, and the

4   rest of them are intended not to.  And the states in which

5   these plants are almost rebellious to the federal state in

6   saying we are not going to do that.

7             That is, of course, in contrast with the very, you

8   know, normal situation developing in the rest of the world

9   where actually there is a reverse.  For example, in the United

10   Kingdom which I just returned from, they just established that

11   they are going to go nuclear.  There is no longer the

12   capability to use renewables anymore, so windmills, they now

13   have a policy and that policy will be now firmed out, I

14   believe, in the third week in March.  They are going to replace

15   their existing power plants with new nuclear power plants,

16   light water reactors like the United States.  There is the fact

17   that in Sweden there was a moratorium.  The moratorium has now

18   been terminated.  There was a moratorium in Belgium.  That

19   moratorium I understand will be terminated this year.

20             There is now growth in many, many countries in the

21   world.  Not only Japan and Korea, but China, India, Indonesia.

22   You know, the countries of the east, they are all realizing

23   that to be able to have better reliability of supply and to at

24   the same time comply with environmental concerns they need to

25   have some baseload nuclear power generation.

FLORIDA PUBLIC SERVICE COMMISSION

549

1             It is a long answer.  I apologize, but it is a

2   historically very, very interesting story.

3             MS. BRUBAKER:  Thank you.  I have no other questions.

4             CHAIRMAN CARTER:  Commissioners?

5             Commissioner Argenziano, do you have any questions?

6             COMMISSIONER ARGENZIANO:  No, Mr. Chairman.

7             I'm glad that staff asked that question, because it

8   was one of my questions yesterday.  I kept hearing that and I

9   wanted to know the facts behind it, and that gentleman

10   certainly cleared that up.  Thank you.

11             CHAIRMAN CARTER:  Thank you.

12             Doctor Diaz, this probably has nothing to do with

13   your testimony, but just from your opinion -- and, parties, I

14   hope this is okay -- I just want to ask, you have a person with

15   this knowledge and expertise you hate to let it go without

16   using it.

17             Do you have some kind of feel, you know, based upon

18   your experience nationally in the movement in the country in

19   the context of nuclear power and in the context of whether or

20   not there may be some movement on storage and that sort of

21   thing for the spent rods and those kinds of things?  I'm

22   justing asking -- it is kind of vague, but I would hate to have

23   you here and not ask you that and not take advantage of your

24   brain.

25             THE WITNESS:  Yes, I think I know a little bit about

FLORIDA PUBLIC SERVICE COMMISSION

550

1   it.  But take it with a grain of salt, because most of the time

2   I'm wrong on this issue.  There has been movement during the

3   last two years in the Congress of the United States to reach

4   some compromise, and the compromise is going more and more to

5   the issue that nuclear power plants have means via the spent

6   fuel pools or dry cask to safely store the fuel for significant

7   periods of time.

8             At the same time there is a limit and an obligation

9   that the United States government has, and like the Chairman of

10   the Appropriations Committee told me once, we do not intend to

11   bankrupt the government because we are not fulfilling our

12   obligations.  So there is a move to try to see if the fuel is

13   eventually moved, or especially the older fuel, the one that

14   has decayed the most, or has been longer in dry cask, move them

15   in stages to -- we don't want to use the word interim, because

16   the nuclear waste law says there will no be interim repository.

17   So we call it the temporary repositories, which are probably

18   going to be in special, you know, designated sites like

19   Savannah River Laboratory or the Hanford Reservation, places

20   that already have a significant amount of waste storage and

21   experience with handling.

22             At the same time, there is hope that Yucca Mountain

23   will eventually serve, you know, a purpose.  It might be the

24   same purpose it was designed to, it might be a different

25   purpose, but so much money has been spent and so much is known

FLORIDA PUBLIC SERVICE COMMISSION

551

1   about Yucca Mountain that people are really saying it should be

2   used.  There is a companion movement that goes back to where we

3   were 30 years ago looking at salt mines.  We are already

4   storing the transuranium elements, the plutonium from the

5   weapons, we are storing them in a salt mine in New Mexico,

6   2000 feet below sea level in rock salt.  Those are wonderful

7   storage spaces.

8             We have three such places in this country.  But I

9   think that the bottom line is what are we going to put in a

10   repository, and I think that question has not been answered.  I

11   think we will put all of the weapons, you know, legacy that

12   cannot be misused, I think we are going to put those

13   radioisotopes for which we have no use, but are we eventually

14   going to bury those things that are so valuable to mankind.

15   You know, the uranium and the plutonium and the transuraniums,

16   those things that we know how to handle and that have unique

17   value to us as a society.  Does that answer your question?

18             CHAIRMAN CARTER:  Thank you so kindly.  I saw Mr.

19   Ross look like he was reaching for his objection button there.

20             MR. ROSS:  No, Mr. Chairman, it was an excellent

21   question.

22             CHAIRMAN CARTER:  Commissioners, any further

23   questions?

24             Commissioner McMurrian.

25             COMMISSIONER McMURRIAN:  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

552

1             Unlike Ms. Krasowski, we won't get a chance to sit

2   down and chat with Doctor Diaz because of our very strict rules

3   that are there for a good reason, I might add.  And so I do

4   want to ask you while you are here, Doctor Diaz.  In your

5   opinion, how will utilities make a satisfactory showing of

6   waste confidence when they make their license applications to

7   the NRC?

8             THE WITNESS:  The utilities don't make a waste

9   confidence determination, the NRC makes the waste confidence

10   determination.  Waste confidence determination was established,

11   and I have done it twice, on the fact that there is a

12   confidence by the Commission that the United States government

13   will assume the responsibility of safely, you know, store,

14   dispose of spent fuel, or waste from the weapons, or any of

15   those materials that have high levels of radioactivity in a

16   manner that is conforming to the environmental loss of the

17   nation, conforming to the security of the nation, the common

18   defense and security, protection of public health and safety.

19   And, therefore, that determination has always been based on the

20   fact that the government is pursuing the issue.

21             There is an active roadmap.  That roadmap, you know,

22   needs to be there.  There has been discussions of the Congress

23   because of the problems with Yucca Mountain to say we are going

24   to make the determination.  I think there is a strong

25   opposition to that because the Commission is -- and the NRC

FLORIDA PUBLIC SERVICE COMMISSION

553

1   Commission is an independent body of the government.  We are

2   set to make decisions that are nonpolitical, that are unbiased,

3   that takes facts into effect, but the Commission will have to

4   have from the government the assurance that there is a pathway.

5   That pathway could include GNEP, it could include interim

6   repository, but the Commission will need, you know, a

7   determination by the Congress that this issue is resolved,

8   okay, within a certain, you know, period of time.

9             The date that it was put before was arbitrarily set

10   because the Department of Energy said they were going to have

11   Yucca Mountain running by that time.  I think the Congress is

12   revisiting the issue.  I do believe that waste confidence will

13   be maintained and we will realize that we are no different than

14   any other country in the world.  No country in the world has a

15   geologic repository established.  None, nobody.  And the reason

16   is very simple is that it hasn't been needed because it is

17   safely and securely stored.  It hasn't been economical.  People

18   have not wanted to dispose of materials that they could then

19   use, and so everybody is kind of waiting to see who comes with

20   the best solution.

21             I think that people are getting very serious.  France

22   just passed a law that will do that.  Sweden is actually

23   beginning there escalations for a geologic repository.  But I

24   believe that the GNEP and the combination of the potential for

25   new nuclear power plants coming in is going to be a force and

FLORIDA PUBLIC SERVICE COMMISSION

554

1   function that will provide resolution to the waste issue.

2             COMMISSIONER McMURRIAN:  Thank you, Doctor Diaz.  I

3   appreciate that.

4             CHAIRMAN CARTER:  Commissioners, any further

5   questions?

6             Mr. Ross.

7             MR. ROSS:  One question on redirect in response to

8   the staff's question regarding Germany.

9                        REDIRECT EXAMINATION

10   BY MR. ROSS:

11        Q    Doctor Diaz, do you know what the German carbon

12   emissions profile is for power plants in Germany compared to,

13   for example, the carbon emissions profile for a country like

14   France that relies more heavily on nuclear?

15        A    Yes.  The carbon emissions profile of Germany is --

16   actually, it not even in compliance with the Kyoto Protocol.

17   They actually use an averaging technique that included East

18   Germany to be able to determine the Kyoto Protocols, and that

19   is why they were able to use for saying that we could close the

20   power plants.  If you do not use those averages, they are a

21   serious problem.  And right now they are in serious problems we

22   think in the European community.  Although they have developed

23   a significant amount of wind power, but that amount of wind

24   power which, you know, has a limited capacity factor, is not

25   sufficient.  Yes, they are not even in competition with the

FLORIDA PUBLIC SERVICE COMMISSION

555

1   best.  They are actually one of the worst country in western

2   Europe.

3             MR. ROSS:  That is all the questions we have.

4             CHAIRMAN CARTER:  Okay.  Let's take up our exhibits.

5             MR. ROSS:  Your Honor, we would move admission of

6   Exhibits 32 through 39 at this time.

7             CHAIRMAN CARTER:  Any objections?  With no objection,

8   show it done.

9             (Exhibits 32 through 39 admitted into the record.)

10             CHAIRMAN CARTER:  Doctor Diaz, thank you so very

11   kindly for coming to be with us today.  Very educational and

12   very thorough.  You gave good answers.

13             THE WITNESS:  It's my pleasure, sir.

14             CHAIRMAN CARTER:  Mr. Butler, you are recognized.

15             MR. BUTLER:  Shall we move on to our next witness?

16             CHAIRMAN CARTER:  Yes, sir.

17             MR. BUTLER:  We would call Doctor Green.

18             MR. HUNTOON:  Thank you, Mr. Chairman and

19   Commissioners.  My name is Steve Huntoon.  I'm an attorney for

20   Florida Power and Light Company.  I will be presenting Doctor

21   Green and Mr. Dennis Brandt to follow.

22             CHAIRMAN CARTER:  Okay, excellent.  Let me take a

23   moment here, Mr. Huntoon.  Give me the correct spelling of your

24   name, because I will spell it phonetically.  Being from South

25   Georgia, that wouldn't work.

FLORIDA PUBLIC SERVICE COMMISSION

556

1             MR. HUNTOON:  Well, I'm told it's close.

2   H-U-N-T-O-O-N.

3             CHAIRMAN CARTER:  Oh, I could have done that.

4             MR. HUNTOON:  Doctor Green, I don't believe you have

5   been sworn?

6             THE WITNESS:  No, I haven't.

7             CHAIRMAN CARTER:  Would you please stand and raise

8   your right hand.

9             (Witness sworn.)

10                          LEONARDO E. GREEN

11   was called as a witness on behalf of Florida Power and Light

12   Company, and testified as follows:

13                         DIRECT EXAMINATION

14   BY MR. HUNTOON:

15        Q    Doctor Green, would you state your name and your

16   business address, please?

17        A    Yes.  My name is Leonardo Green, and my business

18   address is 1601 Bryan Street, Dallas, Texas 75214.

19        Q    By whom are you employed and in what capacity?

20        A    I am currently employed by Texas Utilities as Senior

21   Director of Finance.  At the time this forecast was prepared, I

22   was employed by Florida Power and Light as Manager of Load

23   Forecasting.

24        Q    Have you prepared and caused to be filed 16 pages of

25   prefiled direct testimony in this proceeding?

FLORIDA PUBLIC SERVICE COMMISSION

557

1        A    Yes, I have.

2        Q    Do you have any changes or revisions to your prefiled

3   direct testimony?

4        A    No changes.

5        Q    If I asked you the same questions contained in your

6   prefiled direct testimony today, would your answers be the

7   same?

8        A    Yes, they would.

9             MR. HUNTOON:  Chairman Carter, FPL requests that the

10   prefiled direct testimony of Doctor Green be inserted into the

11   record as though read.

12             CHAIRMAN CARTER:  The prefiled testimony will be

13   accepted into the record as though read.

14             MR. HUNTOON:  Thank you.

15   BY MR. HUNTOON:

16        Q    Doctor Green, are you also sponsoring any exhibits to

17   your direct testimony?

18        A    Yes, I am.

19        Q    Do the exhibits consist of Documents LEG-1 through

20   LEG-12?

21        A    Yes, they do.

22             MR. HUNTOON:  Chairman Carter, I would note that

23   Doctor Green's exhibits have been premarked for identification

24   as Exhibits 40 through 51.

25             CHAIRMAN CARTER:  Okay.

FLORIDA PUBLIC SERVICE COMMISSION

574

1   BY MR. HUNTOON:

2        Q    Doctor Green, have you prepared a summary of your

3   direct testimony?

4        A    Yes, I have.

5        Q    Would you please provide it to the Commission?

6        A    Sure.  Good afternoon, Commissioners.  The purpose of

7   my testimony is to describe the load forecasting process,

8   identify the methodologies and assumptions that are used, and

9   present the results of these forecasts that are used in this

10   need determination.

11             My testimony demonstrates that FPL will continue to

12   experience good growth in the future.  In fact, we are

13   predicting that between 2007 and 2020 we are going to add just

14   over 8,000 megawatts of new peak demand and about

15   12,500 megawatts of winter peak demand.

16             FPL relies on econometrics to do their forecasting.

17   We have used that in many proceedings and they have proven to

18   be very, very effective in doing a good forecast.  The growth

19   is determined primarily by population growth, the economy,

20   weather, and price.  And we rely on the best sources for this

21   information.  For example, total population projections.  We go

22   to the University of Florida.  The economic outlook is provided

23   to us by Global Insight.  The weather information comes from

24   NOAA, the National Oceanographic and Atmospheric

25   Administration, and the price of electricity is the approved

FLORIDA PUBLIC SERVICE COMMISSION

575

1   base rates by this Commission, plus the also approved fuel

2   budget.  Once we have all of these assumptions, we feed them

3   into the models that we have developed and that yields the

4   forecast that I just mentioned.  We believe that we have a good

5   forecast and that should be used in this need determination.

6             That concludes my summary.

7             MR. HUNTOON:  Mr. Chairman, Doctor Green is available

8   for cross examination.

9             CHAIRMAN CARTER:  Mr. Beck.

10             MR. BECK:  No questions.

11             CHAIRMAN CARTER:  Ms. Krasowski.

12             (Transcript continues in sequence with Volume 6.)

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

576

1

2   STATE OF FLORIDA    )

3                       :              CERTIFICATE OF REPORTER

4   COUNTY OF LEON      )

5

I, JANE FAUROT, RPR, Chief, Hearing Reporter Services

6   Section, FPSC Division of Commission Clerk, do hereby certify

that the foregoing proceeding was heard at the time and place

7   herein stated.

8             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

9   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

10   proceedings.

11             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

12   or employee of any of the parties' attorney or counsel

connected with the action, nor am I financially interested in

13   the action.

14             DATED THIS 1st day of February, 2008.

15

16             ___________________________________________

JANE FAUROT, RPR

17                   Official FPSC Hearings Reporter

(850) 413-6732

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION